965

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 070650-EI

3   In the Matter of:

4   PETITION TO DETERMINE NEED FOR TURKEY

POINT NUCLEAR UNITS 6 AND 7 ELECTRICAL

5   POWER PLANT, BY FLORIDA POWER & LIGHT

COMPANY.

6   _______________________________________/

7

8

9

VOLUME 8

10

Pages 965 through 1078

11

12             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

13               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

14

PROCEEDINGS:        HEARING

15

BEFORE:             CHAIRMAN MATTHEW M. CARTER, II

16                       COMMISSIONER LISA POLAK EDGAR

COMMISSIONER KATRINA J. McMURRIAN

17                       COMMISSIONER NANCY ARGENZIANO

COMMISSIONER NATHAN A. SKOP

18

DATE:               Friday, February 1, 2008

19

TIME:               Commenced at 9:30 a.m.

20

PLACE:              Betty Easley Conference Center

21                         Room 148

4075 Esplanade Way

22                       Tallahassee, Florida

23   REPORTED BY:        JANE FAUROT, RPR

Official FPSC Reporter

24                       (850) 413-6732

25   APPEARANCES:        (As heretofore noted.)

FLORIDA PUBLIC SERVICE COMMISSION

966

1                              I N D E X

2                              WITNESSES

3

NAME:                                               PAGE NO.

4

DR. STEVEN R. SIM

5

Continued Cross Examination by Ms. Klancke      968

6        Cross Examination by Ms. Brubaker               978

7

KIM OUSDAHL

8

Prefiled Direct Testimony Inserted              989

9

10   JOHN J. REED

11        Direct Examination by Mr. Butler                998

Prefiled Direct Testimony Inserted             1001

12        Cross Examination by Mr. Krasowski             1052

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

967

1                              EXHIBITS

2   NUMBER:                                      ID.    ADMTD.

3   76 through 86                                        968

4   96        Need Study for Electrical Power    998     998

5   87 through 90                                       1063

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

968

1                        P R O C E E D I N G S

2             CHAIRMAN CARTER:  Okay.  We are back on the record.

3             The last time we left we had Mr. Sim on cross, and I

4   think staff was in the process of getting ready to ask some

5   questions.  If that serves my memory correctly.  Is that right?

6             Staff, you're recognized.

7             MS. KLANCKE:  Thank you, Chairman.

8                          DR. STEVEN R. SIM

9   continues his testimony under oath from Volume 7:

10                     CONTINUED CROSS EXAMINATION

11   BY MS. KLANCKE:

12        Q    Doctor Sim, let me refresh your memory about where we

13   left off.  I was going to ask you a few questions about your

14   late-filed exhibits to your deposition testimony, Exhibits 1,

15   2, and 3.  Okay?

16        A    Okay.

17        Q    With regard to Late-filed Exhibit 1 to your

18   deposition testimony, this exhibit compares the break-even cost

19   values for the year 2060 versus the break-even cost values --

20             CHAIRMAN CARTER:  Excuse me.  Let's make sure that we

21   are all on the same page.

22             Commissioners, that's found in -- let's thumb through

23   here -- Staff's Composite Exhibit Number 14, and that's --

24             MS. KLANCKE:  Bates stamped Number 550.

25             CHAIRMAN CARTER:  Okay.  You may proceed.

FLORIDA PUBLIC SERVICE COMMISSION

969

1   BY MS. KLANCKE:

2        Q    With regard to this exhibit, it reflects a comparison

3   between the break-even cost values for the year 2060 versus the

4   break-even cost values for the year 2050, is that correct?

5        A    That's correct.

6        Q    What effect would the 2007 ICF projection that we

7   discussed this morning have on the analysis contained in this

8   exhibit illustrated in the break-even capital costs for the

9   year 2050?

10        A    Since an analysis was not done with the ICF numbers

11   that were just released, I can just answer in the direction the

12   numbers would go.  The break-even costs for both the

13   2060 break-even point and for the 2050 break-even point would

14   all go up, so the break-even costs would all be higher.

15        Q    You were also asked to file a similar late-filed

16   exhibit to your deposition testimony, which is Bates stamped

17   551, that illustrates the break-even capital costs for the year

18   2040, isn't that correct?

19        A    Yes.

20        Q    And could you describe the general trend that

21   theoretically would similarly apply with regard to the effect

22   of a 2007 ICF report on this late-filed exhibit?

23        A    My answer would be the same as for the 2060 and

24   2050 exhibit.  In other words, the higher CO2 costs would

25   result in higher break-even costs for nuclear.

FLORIDA PUBLIC SERVICE COMMISSION

970

1        Q    So, is it still correct, therefore, with regard to

2   both of these exhibits, in light of the 2007 ICF study figures,

3   that the results of your analysis would reflect the break-even

4   cost values would be -- eight of nine of which would be higher

5   than or within the cost estimate range -- let me rephrase.  I'm

6   getting a little convoluted.

7             With regard to the impacts of the 2007 ICF study on

8   your two late-filed exhibits, would they have any impact on the

9   conclusions that you came to in the notes portion of these two

10   exhibits?  And I'll describe further.  It states in the notes

11   portion of Late-filed Exhibit 1 that, quote, the break-even

12   costs in the left-hand matrix show the break-even costs are

13   higher than or within the current cost estimate for nuclear in

14   nine of the nine scenarios.  Is that still the same?

15        A    For the 2060 break-even, that's correct.

16        Q    And with regard to the 2050, it shows that the

17   break-even cost estimates are higher than or within the current

18   cost estimates for nuclear in eight of the nine scenarios.

19   Would that still be the same?

20        A    Yes.

21        Q    Similarly, with regard to Late-filed Exhibit Number

22   2, it also reflects that the break-even costs for the year

23   2040 analysis are higher than or within the current cost

24   estimate for nuclear in eight of the nine scenarios and lower

25   than the range in one scenario.  Is that still the case with

FLORIDA PUBLIC SERVICE COMMISSION

971

1   regard to any impact that may be incurred by the 2007 ICF

2   study?

3        A    I think the only thing we can safely conclude at this

4   point would be that the results that we have using the

5   Appendix F CO2 numbers are that for either 2040 or 2050, our

6   break-even costs are higher than or within eight of the nine

7   scenarios.  If we were to apply higher CO2 costs, it would get

8   no worse than that.  It might turn out that we would move from

9   eight of nine to nine of nine, but I can't tell at this point.

10   But it would certainly move it in the direction, again, of

11   nuclear's break-even costs going higher than what are currently

12   shown here.

13        Q    I would like to turn your attention now to Exhibit

14   SRS-3 of your prefiled testimony.  Could you please turn to

15   that page for me?

16        A    Yes.

17             MS. KLANCKE:  Commissioners, this is Exhibit 78.  It

18   has been identified as Exhibit 78.

19   BY MS. KLANCKE:

20        Q    Does this exhibit show that even with the addition of

21   Turkey Point 6 & 7, that FPL would still have a reliability

22   need for additional capacity in the years 2018 and 2020 to meet

23   its 20 percent reserve margin?

24        A    The answer would be yes, if as assumed in this table

25   we were not adding any capacity after our West County Units

FLORIDA PUBLIC SERVICE COMMISSION

972

1   1 and 20 that come in in 2009 and 2010.

2        Q    So to clarify, even if FPL chose the 1,500-megawatt

3   design, your testimony is that FPL would still require

4   additional capacity in the years 2018 and 2020 in order to meet

5   its 20 percent reserve margin, is that correct?

6        A    No, I don't believe so.  Except in the one instance

7   in this exhibit in which we were to assume that no capacity

8   would be added within the -- from 2011 through 2020.  I think

9   the point I would like to make with this exhibit is we have

10   assumed in 2018 and 2020, Commissioners, that we are adding the

11   two nuclear units, one in 2018 and one in 2020, and it shows

12   that we have a capacity need by 2020 of 3,956 megawatts.  So,

13   let me round that off to 4,000 megawatts.

14             What it says in the time period between 2011 and

15   2020, there is a capacity need even after the nuclear units

16   have been assumed to be added that will need to be filled and

17   could be filled by a variety of resource options, DSM,

18   renewables, other fossil fuel units, et cetera.

19        Q    Now, could you please turn to Exhibit SRS-4, the next

20   exhibit in your prefiled testimony.

21        A    Yes.

22        Q    This exhibit shows FPL's expansion plans with and

23   without the nuclear units, is that correct?

24        A    It shows a trio of expansion plans that were assumed

25   for the purpose of these analyses.

FLORIDA PUBLIC SERVICE COMMISSION

973

1        Q    And these plans are identical up through the year

2   2018 in that each plan contemplates the addition of

3   approximately 4,400 megawatts of new gas-fired combined cycle

4   generators before the nuclear units come on-line, is that

5   correct?

6        A    Yes, with one slight correction, they are identical

7   through the year 2017 up until 2018.  At 2018, the plans

8   diverge.

9        Q    Now, if this Commission were to grant the need for

10   Turkey Point 6 & 7, and then something in the future were to

11   happen, such as a drastic change in the load growth or

12   reduction of FPL's reserve margin criterion, would the most

13   likely result be the removal of some of these gas plants from

14   FPL's generation plans?

15        A    Yes.  The more immediate effect of any change such as

16   that would be that the capacity need and, therefore, the

17   capacity options that FPL would select to meet that need in the

18   years prior to 2018 would change.  And, again, let me stress

19   that FPL has not committed at this point to build the gas-fired

20   units that are shown in this exhibit.  We have merely selected

21   those as reasonable and representative capacity options for

22   purposes of analysis, and we sought to keep them identical for

23   all three plans so we would not bias the analysis of nuclear

24   versus combined cycle versus IGCC from 2018 forward.

25        Q    You stated this morning in your testimony that the

FLORIDA PUBLIC SERVICE COMMISSION

974

1   prime driver of savings associated with these units is fuel

2   cost, is that correct?

3        A    Yes.

4        Q    I would like to turn your attention now to your

5   Exhibit SRS-9, identified as Exhibit 84 of your prefiled

6   testimony.  Would you agree that there are long lead

7   projections associated with your analysis, as is reflected in

8   SRS-9?

9        A    I'm sorry, could you clarify long lead projections

10   of.

11        Q    By that I mean that it is a long-term analysis, by

12   those -- those long lead projections include a long-term

13   analysis?

14        A    The analysis shown on this exhibit does run a number

15   of years from 2009 through 2021, yes.

16        Q    Does the long lead time associated with your payback

17   analysis reflected in this document, indicate that the current

18   ratepayers will be paying for benefits received by future

19   ratepayers?

20        A    Can you repeat the question, please.

21        Q    Does the long lead time analysis that's undertaken

22   with regard to -- as illustrated in SRS-9, reflect a general

23   trend that the current ratepayers will be paying for benefits

24   that will be received by future ratepayers?

25        A    I will agree in part.  But using myself as an

FLORIDA PUBLIC SERVICE COMMISSION

975

1   example, if a need determination for the nuclear units is

2   approved in this proceeding, I would be paying for the early

3   capital costs of nuclear units, but I certainly hope I would

4   be, as you call, a future ratepayer by 2021.  I hope I'm still

5   around by then.

6        Q    Of course, I'm sure we all do.  Subject to check,

7   what is the annual level of increased rates that will have to

8   be paid for by the current ratepayers in each of the scenarios

9   reflected in SRS-9?

10        A    SRS-9 only presents one scenario, so I'm afraid I

11   will have to ask for a clarification on the question, please.

12        Q    I will just move on.  Not to belabor the point, I

13   will just move on.

14             Have you developed any rate mitigation plans to

15   lessen the impact of potential increased costs in the earlier

16   plant operation years?

17        A    In the early years of the nuclear plant operation?

18        Q    Yes.

19        A    I would have to say no, because as shown in this

20   example, once we get to 2021, which would be the first full

21   year in which both new nuclear units would be operating, we

22   would be seeing a savings on our customers' bill due to the

23   massive savings in fuel and the concurrent savings in

24   environmental costs.  So customers would be saving as early as

25   2021, and this savings would continue for all years thereafter

FLORIDA PUBLIC SERVICE COMMISSION

976

1   and be increasing all years thereafter.

2        Q    I just have a few more questions for you.  I would

3   like to turn your attention back briefly to Exhibit SDS-7 of

4   Witness Scroggs' testimony?

5        A    Okay.

6        Q    I would like for you to elucidate the origins of

7   these capital costs used in SDS-7.  In particular, are the

8   capital costs used in SDS-7 based on generic screening cost

9   estimates, engineering cost estimates, or site-specific bids

10   from vendors?

11        A    Which costs are you referring to on this page,

12   please, the left or the right?

13        Q    The one on the left, 3108?

14        A    All right.  And could you repeat your question as to

15   what the options were you were providing me, please.

16        Q    Certainly.  Are the capital costs associated with the

17   3108 figure represented on the left-hand side of SDS based on

18   generic screening cost estimates, engineering cost estimates,

19   or site-specific bids from vendors?

20        A    I'm not sure any of those categories would accurately

21   capture how I would describe these costs.  I would describe

22   them as a range of costs that we are seeing after discussions

23   with potential vendors and manufacturers of new nuclear units,

24   what we think it would cost.

25        Q    With regard to this range of costs that is depicted

FLORIDA PUBLIC SERVICE COMMISSION

977

1   in this exhibit, what would you attribute the margin of error

2   to be with regard to this range?

3        A    I could not answer that.  I think among our

4   witnesses, Witness Scroggs would have been the appropriate

5   witness for that.  I will point out that that range is a fairly

6   large one, and would, I think, cover a lot of territory here in

7   regard to costs.

8        Q    When will the Commission know the exact capital costs

9   associated with Turkey Point 6 & 7?

10        A    I think in each annual review that FPL would bring

11   forward before the Commission those numbers would be refined

12   until the point where we got to a specific technology selection

13   at which point the cost numbers would be nailed down with much

14   greater precision than they are now.

15        Q    You mentioned the technology selection.  What is the

16   first year when cumulative present value fuel savings would

17   exceed the cumulative present value of revenue requirements for

18   the Westinghouse unit?

19        A    I would have to say that we cannot answer that

20   question with any sort of precision at this point because we

21   don't know what the Westinghouse technology cost will be.  That

22   will be one of the items that FPL seeks to determine in our

23   discussions with the different vendors.  So we would need to

24   know what the actual Westinghouse costs would be in order to

25   perform that calculation.

FLORIDA PUBLIC SERVICE COMMISSION

978

1        Q    And that is the same with the GE unit, is that

2   correct?

3        A    That's correct.

4             MS. KLANCKE:  Commissioners, I have no further

5   questions for this witness, but Ms. Brubaker does.

6             CHAIRMAN CARTER:  Ms. Brubaker, you're recognized.

7             MS. BRUBAKER:  Thank you.  And just for clarity --

8             CHAIRMAN CARTER:  Ms.

9             MS. BRUBAKER:  Still single.

10             CHAIRMAN CARTER:  I finally got it right today, Ms.

11   Brubaker.

12                          CROSS EXAMINATION

13   BY MS. BRUBAKER:

14        Q    Good afternoon, Doctor Sim.  Just a few questions.

15   You spoke just a few minutes ago about the large range of cost

16   that has been discussed in this proceeding, correct?

17        A    Yes.  We were speaking about the nuclear capital

18   costs, the nonbinding estimate range we have.

19        Q    And that has largely to do, would you agree, with the

20   fact that there has not been a final selection of the unit to

21   be involved between the two main competing vendors?

22        A    I would say that would certainly be a large

23   contributor to that, yes.

24        Q    Your analyses are -- basically in terms of using the

25   unit capacity, your analyses used the Westinghouse unit, is

FLORIDA PUBLIC SERVICE COMMISSION

979

1   that correct?

2        A    Yes, 1100 megawatts.

3        Q    Are you confident that your analyses can accommodate

4   both unit designs depending on what the final selection is?  In

5   other words, do you believe that this large range of costs that

6   are used can comfortably accommodate either the GE or the

7   Westinghouse unit?

8        A    I believe so.  If I can expand on that a little bit.

9        Q    Please.

10        A    We use no capital costs in our analysis and worked

11   backwards, so to speak, in order to come up with the break-even

12   cost.  We did use two costs or two cost and performance numbers

13   that we think correspond equally well to both Westinghouse and

14   GE.  That would be a heat rate and a fixed O&M cost, and we

15   think the numbers that were selected are reasonable for both of

16   those two technologies.

17             Likewise, we used a transmission cost not only for

18   the nuclear units, but also for the comparable capacity of IGCC

19   and combined cycle of $500 million.  All of this, our analysis

20   was based on the 1,100-megawatt unit.  If we were to ultimately

21   select the 1,500-megawatt unit, what would happen is assuming

22   that our heat rate and our fixed O&M cost numbers are still

23   accurate for the larger sized unit, we feel like we have

24   adequately captured that in the analysis.

25             The fuel savings and the environmental compliance

FLORIDA PUBLIC SERVICE COMMISSION

980

1   costs savings would go up commensurate with the increased size

2   of the unit.  The one item that would be subject to change in

3   theory would be the transmission costs.  We would be running

4   into, I think, two aspects of transmission costs increase.  One

5   would be the sheer size of the total capacity.  Instead of

6   2,200 megawatts, there would be 3,000 megawatts added to the

7   system, and we think that that would be, I guess, comparable

8   across all three resource plans.  Whether we move from 2,200 to

9   3,000 of nuclear, 2,200 to 3,000 of combined cycle, or IGCC,

10   there are going to be certain system integration costs that

11   will have to be captured regardless of the technology.

12             Now, nuclear does have one aspect that differentiates

13   it in regard to transmission from combined cycle and IGCC, and

14   that is the largest unit on our system component of

15   transmission costs, if the loss of that unit requires us to

16   keep a certain amount of spending reserve, et cetera, that is

17   not specifically captured in our cost calculations if we were

18   to move to that number.  However, in looking at the break-even

19   costs and looking at how we did the break-even analysis, I

20   would say we are reasonably well covered there.

21             My rationale for that is our calculations said that a

22   one dollar per kW increase in the cost of the unit equates to

23   roughly a $2 million CPVRR number.  Let's say that our

24   $500 million transmission cost would be increased by another

25   500 million due to this aspect of the largest generating unit.

FLORIDA PUBLIC SERVICE COMMISSION

981

1   That would equate to about a $250 a kW value added onto our

2   break-even costs.  The majority of our break-even costs would

3   still be higher than the current capital cost range.

4   And, in fact, even if it were to go to a billion dollars higher

5   transmission cost, which I think is highly unlikely, we would

6   see $500 per kW of break-even costs being added on.  And I

7   think we would move from our current situation of perhaps

8   eight scenarios of break-even costs above the current nuclear

9   capital cost range and one within, so an eight and one, to we

10   would move within, I think, seven, one, and one.

11             So, it would be a relatively minor change even if we

12   were to assume a billion dollars more of transmission cost for

13   nuclear compared to combined cycle and IGCC, which I think is

14   highly unlikely.  I think any increase for the higher nuclear,

15   the larger nuclear-sized unit would be less than that.  A

16   long-winded answer to yes, is the short answer to your

17   question.

18        Q    Well, you discussed a little bit about the difference

19   between the cost in the scenarios and also the break-even cost.

20   And would you agree that the difference in those amounts

21   indicate a high probability that there will be savings?

22        A    From everything we have seen in our analysis so far,

23   yes.  I would say regardless of the technology that we are

24   choosing between, we would anticipate at this point that there

25   would be significant savings.  And, again, going back to the

FLORIDA PUBLIC SERVICE COMMISSION

982

1   comment I made earlier of a billion dollars a year in fuel

2   savings starting in 2021, that's for an 1,100-megawatt unit.

3   If we were to go from 2,200 megawatts to 3,000, that is roughly

4   a 50 percent increase.  I would expect to see fuel savings go

5   up 50 percent off of one billion, so it would be significant.

6        Q    You used the term reasonably well covered in terms of

7   the costs and the estimates in this proceeding, especially when

8   compared to the break-even analysis.  Would you agree that this

9   provides a buffer or a cushion to allow FPL to adjust to

10   changes in costs associated with the plant?

11        A    I don't understand the meaning to adjust.

12        Q    In other words, let's say that FPL experiences

13   increases in construction costs.  Given the cost projections,

14   you believe that there is still room to adjust for those costs

15   and yet still come under the break-even analysis, correct?

16        A    In all likelihood, yes.  I would expect that if there

17   were increases in capital costs to a nuclear unit, we would

18   also see some increase in capital cost to the competing units

19   of combined cycle and IGCC.  And I believe that is -- or it is

20   items like that which is why FPL has advanced the approach

21   where we will be coming back before this Commission on an

22   annual basis with updated costs, more recent assumptions, a

23   greater refinement of the nuclear unit costs, et cetera, just

24   to provide that sort of refinement to the analysis as we go

25   forward.

FLORIDA PUBLIC SERVICE COMMISSION

983

1        Q    And you also discussed some transmission cost aspects

2   if FPL were to go with the 1,500-megawatt units.  Is it also

3   your opinion that any increases in transmission costs due to

4   going with those units is still going to be covered within the

5   existing cost projection range?

6        A    From what we know now, that would be my guess, yes.

7        Q    You also mentioned coming back to the Commission

8   during the nuclear cost-recovery process.  Would you agree it

9   is important to continue reviewing cost effectiveness in that

10   proceeding for the plant?

11        A    I'm sorry, I'm having trouble associating the

12   cost-recovery portion of your question with the term

13   cost-effectiveness.  Can you clarify?

14        Q    In other words, in the cost-recovery process items

15   are reviewed for prudence, correct?

16        A    Yes.

17        Q    Would it not be reasonable to expect that items are

18   also reviewed on an ongoing basis just to make sure that the

19   plant is still cost-effective?

20        A    Yes, I would.

21        Q    Okay.

22        A    Thank you.

23        Q    Certainly.  Would part of the cost-recovery process,

24   in your mind, also include additional or updated break-even

25   analyses?

FLORIDA PUBLIC SERVICE COMMISSION

984

1        A    I would have to think yes, although I have not been

2   involved in discussions as to exactly what we would be

3   providing and when, but I have been told that we will be

4   performing these similar analyses on a going-forward basis at

5   least on an annual basis.

6             MS. BRUBAKER:  Thank you, Doctor Sim.  I have no more

7   questions.

8             CHAIRMAN CARTER:  Commissioner Skop.

9             COMMISSIONER SKOP:  Thank you, Chairman Carter.

10             Good afternoon, Doctor Sim.

11             THE WITNESS:  Good afternoon, sir.

12             COMMISSIONER SKOP:  Just one quick question referring

13   back to, I believe, SRS-7.

14             THE WITNESS:  Yes, sir.

15             COMMISSIONER SKOP:  And this matrix is similar to the

16   one that was performed in the Glades need determination, is

17   that correct, in terms of showing, you know, the various

18   scenarios that are applicable to this need determination?

19             THE WITNESS:  Yes.  The format of the presentation is

20   very similar.  However, as I believe has been mentioned before,

21   both are fuel cost forecasts, and our environmental cost

22   forecast differ from what was in Glades.  Those have been

23   updated.

24             COMMISSIONER SKOP:  And, again, I was just more

25   looking at the matrix concept.  But based upon the data, the

FLORIDA PUBLIC SERVICE COMMISSION

985

1   best available data that we have today as reflected in these

2   matrices, it seems that in every scenario the addition of

3   nuclear, the proposed nuclear units would benefit your

4   customers, as well as being cost-effective to them, is that

5   correct?

6             THE WITNESS:  Yes, sir, it would.  However, let me

7   make sure that while this table may not be clear, let me try to

8   clarify it.  The analyses that were done whose results are

9   shown on this page assume zero capital cost for nuclear, so we

10   would have anticipated before we even started the analysis that

11   this page would have shown the plan with nuclear present value

12   revenue requirements calculation would have been lower than

13   those with either gas or IGCC.  It's the magnitude of the

14   difference here that leads to our break-even costs on the next

15   slide.

16             COMMISSIONER SKOP:  And thank you for that.  Again, I

17   think what I'm trying to ascertain, which is, I think, readily

18   apparent from looking at the matrix is that in all possible

19   scenarios based upon the best available data that we have

20   today, that there is a substantial benefit for the addition of

21   the nuclear units based on this matrix.

22             THE WITNESS:  Yes, sir.

23             COMMISSIONER SKOP:  Thank you.

24             CHAIRMAN CARTER:  Thank you very kindly.

25             Commissioners, any other questions?

FLORIDA PUBLIC SERVICE COMMISSION

986

1             Mr. Anderson, I believe you are on for redirect.

2             MR. ANDERSON:  FPL has no redirect for this witness.

3             CHAIRMAN CARTER:  Excellent.  Excellent.

4             Mr. Anderson, you are on for the exhibits.

5             MR. ANDERSON:  May we please offer into evidence

6   Exhibits 76 through 86, I believe.  Let me just double-check

7   that.

8             CHAIRMAN CARTER:  Okay.

9             MR. ANDERSON:  That may be the wrong note.  It is

10   76 to 86.

11             CHAIRMAN CARTER:  76 through 86.  Any objections?

12   With no objection, show it done.

13             (Exhibits 76 through 86 admitted into the record.)

14             CHAIRMAN CARTER:  Staff, you are recognized for

15   exhibits.

16             MS. FLEMING:  I believe all of the staff's exhibits

17   have already been moved in.  There aren't any additional.

18             CHAIRMAN CARTER:  I know that we had moved in 14, but

19   I didn't know if had moved in 15 or not.  Have we done that?

20             MS. FLEMING:  Yes, we have, Chairman.

21             CHAIRMAN CARTER:  I didn't check it off.  All right,

22   then.  Let's do this, staff.

23             Okay.  Commissioner Argenziano, our legal staff needs

24   a moment to get together, and we are going to allow them to

25   chat.  I know they need to talk to our Public Counsel.  And

FLORIDA PUBLIC SERVICE COMMISSION

987

1   Mr. Beck is going a great job.  He's here by himself right now,

2   but I know that they need to get with him, so we are going to

3   give them a moment.  Ten minutes.

4             COMMISSIONER ARGENZIANO:  Okay.  Thank you, Mr.

5   Chairman.

6             CHAIRMAN CARTER:  Thank you.  We are on recess for

7   ten minutes.

8             (Recess.)

9             CHAIRMAN CARTER:  Okay.  We are back on the record.

10   We are a couple of lawyers short, but we will go on

11   nevertheless.

12             Staff, you are recognized.

13             MS. FLEMING:  Thank you, Chairman.  It is my

14   understanding that all parties can stipulate to Witness

15   Ousdahl.  And I have checked with all the Commissioners, and I

16   think it is appropriate to state that I believe none of the

17   Commissioners have questions for Witness Ousdahl; and if that

18   is the case, I believe that we could stipulate Witness Ousdahl,

19   move her testimony into the record at the appropriate time, and

20   I believe she could be excused.  Is that correct?

21             CHAIRMAN CARTER:  Okay.  Commissioner Argenziano,

22   were you able to hear that?

23             COMMISSIONER ARGENZIANO:  Yes, Mr. Chair.  I have no

24   problem with that at all.

25             CHAIRMAN CARTER:  Okay.

FLORIDA PUBLIC SERVICE COMMISSION

988

1             Mr. Butler, or is it Mr. Anderson?  Mr. Anderson, you

2   are recognized.

3             MR. ANDERSON:  Thank you, Chairman Carter.  FPL moves

4   into the record the Prefiled Direct Testimony of Kim Ousdahl

5   consisting of eight prefiled pages of questions and answers.

6   We ask this be reflected in the record as though read.

7             CHAIRMAN CARTER:  The prefiled testimony of Witness

8   Ousdahl is entered into the record as though read.

9             MR. ANDERSON:  She has no exhibits.

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

997

1             MR. ANDERSON:  The other housekeeping matter is we

2   would like to at this time offer into the record the need study

3   for electrical power.

4             CHAIRMAN CARTER:  Whoa.  Back up.  Hang on a second.

5             MR. ANDERSON:  Yes, sir.

6             CHAIRMAN CARTER:  Whoa Kemosabe.  Let's do this.  Now

7   we need to move into the record her testimony.  We just entered

8   it into the record as though read.  Since there is no objection

9   to it, it has been stipulated, so it is now officially part of

10   the record.

11             Now, let's move.  We have got Witness Ousdahl.  Okay.

12   Got it.  All right.  Now, Mr. Anderson, sir, you are

13   recognized.

14             MR. ANDERSON:  Thank you.  Pardon me for rushing

15   ahead like that.

16             CHAIRMAN CARTER:  No problem.  I'm here to help.

17             MR. ANDERSON:  Thank you very much.  We have the need

18   study for electrical power and the Appendices A through K,

19   which has been remarked as Exhibit 96.

20             CHAIRMAN CARTER:  Exhibit 96.

21             MR. ANDERSON:  We would offer that into the record at

22   this time, also.

23             CHAIRMAN CARTER:  Okay.  See, I knew that we hadn't

24   entered that in yet, Exhibit 96.  And show it done without --

25   because there was no objection.  If fact, we all asked for it,

FLORIDA PUBLIC SERVICE COMMISSION

998

1   did we not?  All the parties.  So show that done without

2   objection.  That would be -- Commissioners, Exhibit Number

3   96 is now entered in.  It is the need study.  The FPL Need

4   Study is entered in without objection.  Show that done.

5             (Exhibit 96 marked for identification and admitted

6   into the record.)

7             CHAIRMAN CARTER:  Mr. Anderson, you're recognized,

8   sir.

9             MR. ANDERSON:  Thank you.  That is the end of my work

10   before you, and I will turn this over to my colleague.

11             CHAIRMAN CARTER:  Mr. Butler, you're recognized.

12             MR. BUTLER:  Thank you.  I would call our last

13   witness, Mr. Reed, to the stand.  And I don't believe that Mr.

14   Reed has be sworn previously.

15             CHAIRMAN CARTER:  Mr. Reed has not been sworn.

16             (Witness sworn.)

17             CHAIRMAN CARTER:  Mr. Butler.

18             MR. BUTLER:  Thank you.

19                            JOHN J. REED

20   was called as a witness on behalf of Florida Power and Light

21   Company, and having been duly sworn, testified as follows:

22                         DIRECT EXAMINATION

23   BY MR. BUTLER:

24        Q    Could you please state your name and business address

25   for the record.

FLORIDA PUBLIC SERVICE COMMISSION

999

1        A    My name is John J. Reed.  My business address is

2   293 Boston Post Road, Marlborough, Massachusetts.

3        Q    Thank you.  And by whom are you employed and in what

4   capacity?

5        A    I am the Chairman and Chief Executive Officer of

6   Concentric Energy Advisors and CE Capital Advisors.

7        Q    Have you prepared and caused to be filed 47 pages of

8   Prefiled Direct Testimony in this proceeding on October 16,

9   2007?

10        A    Yes, I have.

11        Q    Do you have any corrections or additions to your

12   testimony?

13        A    No, I do not.

14        Q    Do you adopt this as your prefiled direct testimony

15   in this proceeding?

16        A    Yes, I do.

17             MR. BUTLER:  Chairman Carter, I would ask that

18   Mr. Reed's prefiled direct testimony be inserted into the

19   record as though read.

20             CHAIRMAN CARTER:  The prefiled testimony will be

21   accepted into the record as though read.

22             MR. BUTLER:  Thank you.

23   BY MR. BUTLER:

24        Q    Mr. Reed, do you have attached to your testimony

25   exhibits designated RS-1, 2, 3, and 4?  I'm sorry, that

FLORIDA PUBLIC SERVICE COMMISSION

1000

1   wouldn't work right.  JJR-1, 2, 3, and 4.

2        A    Yes, thank you, I do.

3             MR. BUTLER:  And, Mr. Chairman, I would note that

4   these have been previously identified as Exhibits 87, 88, 89,

5   and 90.

6             CHAIRMAN CARTER:  Thank you, sir.  For the record.

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

1049

1   BY MR. BUTLER:

2        Q    Would you please summarize your direct testimony for

3   the Commission, Mr. Reed?

4        A    Certainly.  As I have said, I am the Chairman and

5   Chief Executive Officer of Concentric Energy Advisors and CE

6   Capital.  My background includes providing expert testimony on

7   economic and financial issues related to the energy industry on

8   more that than 100 occasions over the past 30 years.

9             The purpose of my testimony here is to provide my

10   analysis of the appropriateness of FPL's proposal to pursue the

11   development of new nuclear generation from both a resource

12   planning and a public policy perspective.  My conclusions are

13   as follows:  First, while the precise timing and details remain

14   uncertain, we should expect that there will soon be some form

15   of greenhouse gas regulation.  Whether it is federal, regional,

16   or state regulation, this regulation is likely to include

17   requirements for significant GHG reductions within FPL's

18   current resource planning horizon.

19             Florida's electric demand growth is among the highest

20   in the nation, and Florida's indigenous resources which can be

21   used for renewable generation, for example, hydro, wind, wood,

22   solar, and geothermal, are not abundant and are economically

23   disadvantaged by higher than average costs and lower than

24   average capacity factors.

25             At the same time, fossil fuel prices have risen

FLORIDA PUBLIC SERVICE COMMISSION

1050

1   dramatically, and natural gas and fuel oil price volatility has

2   increased significantly.  The cost of alternative baseload

3   generating technologies, likes new nuclear and IGCC, are still

4   evolving in this time frame.

5             The renewable resources that are available to FPL are

6   largely unable to meet baseload generating needs.  But, more

7   importantly, renewable resource projects should not be viewed

8   as a competitive alternative or threat to the development of

9   new nuclear resources.  Florida needs to maximize the economic

10   development of both resource types.

11             In this environment of heightened uncertainty, the

12   addition of new nuclear resources could be a major step towards

13   the decarbonization of FPL's resource mix and achieving any GHG

14   reductions targets, as well as providing needed baseload

15   generating capacity, greater reliability, and a more robust

16   fuel mix.  It is clear that if FPL does not commit to at least

17   enabling this alternative now, new nuclear resources will not

18   be available to FPL and its customers within the next 15 years

19   or more.  Preserving this option has significant value in and

20   of itself and deserves your approval.

21             Even with all of the federal support that has been

22   developed to encourage nuclear power's renaissance in the

23   United States, it is unreasonable to expect any regulated

24   utility to pursue this option under the regulatory regime that

25   existed 20 years ago when the last group of nuclear power

FLORIDA PUBLIC SERVICE COMMISSION

1051

1   plants became operational.  The nuclear prudence cases of that

2   era, which consumed years of hearing time and cost utility

3   investors more than $18 billion in disallowances, left a

4   lasting impression on all who participated in those processes.

5             As one of those participants, I fully endorse FPL's

6   proposed approach to creating an option for new nuclear

7   resources.  This approach substitutes an open options-based

8   collaborative and comprehensive resource planning process

9   instead the all or nothing used and useful regulatory paradigm

10   that existed in the 1980s.

11             This new regulatory paradigm asks the Commission to

12   engage in active and near realtime reviews of FPL's decisions

13   beginning with this case.  The proposed process permits

14   rational and economically efficient decision-making and aligns

15   customer and investor interests far better than the regulatory

16   processes of the 1980s did.  In exchange for a high level of

17   assurance of recovery of prudently incurred costs, FPL's

18   customers will benefit from a process that provides assurance

19   that uneconomic projects will not be pursued, and that allows

20   FPL to continue to secure capital on reasonable terms.

21             The utility industry, the nuclear power community,

22   and the financial community are all closely watching this

23   proceeding and have high hopes for the successful

24   implementation of this framework.  Approval of this need

25   petition is an appropriate and important first step in

FLORIDA PUBLIC SERVICE COMMISSION

1052

1   achieving that success.  Thank you.

2             MR. BUTLER:  Thank you, Mr. Reed.

3             I tender the witness for cross-examination.

4             CHAIRMAN CARTER:  Thank you.  Mr. Krasowski.

5             MR. KRASOWSKI:  Thank you, Mr. Chairman.

6             CHAIRMAN CARTER:  You're recognized.

7                          CROSS EXAMINATION

8   BY MR. KRASOWSKI:

9        Q    Hello, Mr. Reed.

10        A    Hello.

11        Q    My name is Bob Krasowski, and I am here with my wife,

12   Jan, and we are ratepayers and customers of FPL, and we have an

13   interest in energy policy, and have taken the opportunity to

14   participate in this hearing in order to have the opportunity to

15   ask questions of people who have submitted pre-testimony.  So

16   we look forward to the opportunity of talking to you today.

17        A    I look forward to it, as well.

18        Q    Thank you, sir.

19             If we could go to your prefiled testimony, Page 4,

20   Lines 1 through 3.

21        A    I have that.

22        Q    You refer to Florida's indigenous resources, and I

23   have two questions, but let me ask you about one.

24             What do you mean by geothermal?

25        A    Geothermal is the ability to tap into the heat energy

FLORIDA PUBLIC SERVICE COMMISSION

1053

1   in the earth's crust.

2        Q    How would you classify the type of geothermal that

3   allows for heating and cooling by the use of the earth's

4   temperature to mitigate the need to heat or cool from the

5   existing temperature outside?

6        A    Well, I think we may be talking about different

7   things.  Geothermal here to me is essentially tapping hot water

8   and steam sources underneath the earth's crust.  I think you

9   may be talking about what are generally referred to as ground

10   source heat pumps, or end use technologies.  Not generation

11   technologies, but end use technologies that provide a basis for

12   reducing energy consumption.  Those are different things.  This

13   refers to renewable generating technologies for electric

14   generation.

15        Q    Yes, you're correct in your understanding of my

16   understanding of the question I'm asking you.

17             So what is your assessment of the availability of the

18   heat pump geothermal type that I'm asking about to customers in

19   Florida to mitigate the need for electricity?

20        A    I think that technology is emerging.  Again, it's not

21   a generation technology, it is really more of a DSM or

22   conservation measure, an energy efficiency measure.  But it is

23   a technology that is still developing.

24        Q    I notice you comment on solar energy in your

25   testimony.  But, once again, on Page 4, Lines 1 through 3, you

FLORIDA PUBLIC SERVICE COMMISSION

1054

1   don't list solar as a resource, an indigenous resource in

2   Florida.  Could you speak to that?

3        A    Yes.  The potential for grid connected solar

4   generation in Florida is actually quite limited.  There are a

5   lot of programs, as you know, for rooftop solar for end use

6   applications, but not for grid connected generation.  So, as a

7   vehicle for, again, providing the need we are addressing in

8   this case, baseload generation on a large scale, right now

9   solar technology does not provide that opportunity within

10   Florida.

11        Q    Thank you.  Are you familiar with the Ausra Company?

12        A    In general terms.  I am familiar with the joint

13   venture that they have with FPL in very general terms.

14        Q    What opportunities now and in the future might they

15   present for mitigating the need for peak load and then also

16   contributing to baseload generation?

17        A    I think Witness McBee probably would have been the

18   best witness to speak to that.  I would say, again, that is

19   still in the development stage and not on the large scale

20   format.  But, again, the point I would make is that the

21   resource plan for FPL certainly has the ability to accept all

22   of the contribution that those types of programs can make to

23   the generation mix without doing anything to reduce, or

24   obviate, or eliminate the need for new baseload generating

25   resources like the Turkey Point plants.

FLORIDA PUBLIC SERVICE COMMISSION

1055

1        Q    Thank you.

2             Are you familiar with the RIM standards test that is

3   used to determine which DSM programs to pursue in Florida?

4        A    In general terms.

5        Q    Thank you.  Are you familiar with the amount of

6   participants -- let me rephrase this.

7             MR. KRASOWSKI:  Mr. Chair, I have a document here

8   that has been submitted already that identifies the percentage

9   rate of participants.

10             CHAIRMAN CARTER:  Hang on a second.  Let's see what

11   document you are talking about there.  Is it an exhibit that

12   has been introduced already?

13             MR. KRASOWSKI:  Yes, sir.  It is Interrogatory Number

14   76.

15             CHAIRMAN CARTER:  One second.

16             MR. KRASOWSKI:  Sure.

17             CHAIRMAN CARTER:  Okay.  That would be on Staff's

18   Exhibit Number 14, and that is Interrogatory Number 4, which

19   covers Number 75 through 79.

20             MR. KRASOWSKI:  Okay.  Well, this is Number 76, Page

21   1 of 1, and it is the chart that Mr. Brandt and I discussed in

22   terms of percentages.  And what I would like to do --

23             CHAIRMAN CARTER:  Hang on a second.  Staff, do you

24   have a copy of this document that Mr. Krasowski is referencing?

25   Just hang on.  We may have a copy, Mr. Krasowski.  Give one to

FLORIDA PUBLIC SERVICE COMMISSION

1056

1   the witness.  Okay.  That's fine.

2             Commissioners, it's in our documents already.

3             Okay, Mr. Krasowski, you made proceed.

4   BY MR. KRASOWSKI:

5        Q    Are you familiar with this document, Mr. Reed?

6        A    No, I have never seen it before.

7        Q    Are you familiar with the content of the document?

8             MR. BUTLER:  Mr. Chairman, I'm going to object to the

9   questions as irrelevant to Mr. Reed's testimony.  He just

10   testified he hasn't seen the document before.  Mr. Krasowski

11   addressed it with our Witness Brandt yesterday, who is very

12   familiar with it.  I don't see what this is adding.

13             CHAIRMAN CARTER:  I'm going to have to sustain the

14   objection.  You won't you able to use this witness for this.

15   He said he is not familiar with it, so you won't be able to ask

16   him any questions pertaining to it.

17             MR. KRASOWSKI:  Okay.  I was going to try to pursue

18   the content of the document, but as you are directing, I will

19   move on.

20             CHAIRMAN CARTER:  No problem.

21             MR. KRASOWSKI:  So we can just forget that for now.

22   BY MR. KRASOWSKI:

23        Q    Are you familiar with Florida's DSM programs?

24        A    With FPL's programs?

25        Q    Yes.  Well, actually, they are true to all

FLORIDA PUBLIC SERVICE COMMISSION

1057

1   investor-owned utilities in Florida.  The PSC sets the

2   demand-side management programs from my understanding, but

3   let's stay specific to FPL.

4        A    Again, in general terms I'm familiar with their

5   programs.

6        Q    Okay.  Are you familiar with what percentage of

7   people participate in those programs?

8             MR. BUTLER:  Same objection as before.  This is way

9   beyond the scope of Mr. Reed's testimony and is a subject that

10   could be and actually was pursued with the witness who is more

11   appropriate for it.

12             MR. KRASOWSKI:  Mr. Chair --

13             CHAIRMAN CARTER:  Hang on a second, because I

14   remember this line of questioning yesterday, and let me look at

15   my notes, because I remember -- Mr. Butler, which witness was

16   that?

17             MR. BUTLER:  That would have been Mr. Brandt.

18             CHAIRMAN CARTER:  Mr. Brandt.  Yes, we went through

19   that with Mr. Brandt, so I'm going to have to sustain the

20   objection.

21             MR. KRASOWSKI:  Mr. Chair, in his testimony he speaks

22   of the DSM programs in Florida and relates a lot of his

23   assumptions based on what he knows about it.

24             MR. BUTLER:  Would you refer us to the page and line

25   reference and perhaps that will clarify it for me.  Perhaps I

FLORIDA PUBLIC SERVICE COMMISSION

1058

1   won't have the objection, but I need to have it grounded in

2   Mr. Reed's testimony.

3             MR. KRASOWSKI:  It's on Page 5 and 6.

4             CHAIRMAN CARTER:  Hang on a second.  Don't ask any

5   questions here, just hold up.  Hold up.  Page 5 and 6.

6             Mr. Butler, I'm going to look to you to see if this

7   purports to --

8             MR. BUTLER:  I will withdraw my objection for the

9   moment and see if these questions are legitimately related to

10   Mr. Reed's brief discussion of DSM.

11             CHAIRMAN CARTER:  Okay.  Mr. Krasowski, you're

12   recognized, sir.

13             MR. KRASOWSKI:  Thank you, sir.

14   BY MR. KRASOWSKI:

15        Q    Mr. Reed, in your testimony you refer to the DSM

16   programs FPL has, and I was curious to know if -- let me

17   rephrase.  Okay.  We will pass on this, I'm sorry.  We have

18   already asked what we were going to ask, so let's forget it.

19             CHAIRMAN CARTER:  That's okay.  I know you had a

20   great discussion with Mr. Brandt yesterday.  Very informative,

21   by the way.

22             MR. KRASOWSKI:  A very positive exchange.

23   BY MR. KRASOWSKI:

24        Q    Mr. Reed, do you include nuclear power in your

25   non-greenhouse gas emitting category?  And let me direct you to

FLORIDA PUBLIC SERVICE COMMISSION

1059

1   Page 6, Line 1 through 3.

2        A    Yes, I do include nuclear power in the category of

3   new non-GHG emitting baseload resources.

4        Q    Could you qualify that statement as far as nuclear

5   power being non-greenhouse gas emitting?

6        A    I'm not sure what you mean by qualify it.

7        Q    Well, if I can explain.  What we're looking for is

8   could you speak to the issue of full understanding of the

9   nuclear fuel cycle as it relates to greenhouse gas emissions?

10        A    I think I can -- I understand your question now.  I

11   think I explain that.  My answer here is limited to the

12   production of electricity from the plant.  It's not by what one

13   would call a fuel cycle or a life-cycle analysis.  As we have

14   said and as other witnesses have said, all human activity

15   produces greenhouse gases.  Respiration, people breathing

16   produces greenhouse gases.  But when we are comparing them to

17   the magnitude of what is produced in a coal plant or even a gas

18   plant, those are truly de minimis.  So my statement here is

19   based upon the production of electricity at the plant, not on

20   the fuel cycle or a life-cycle analysis.

21        Q    Thank you.  Thank you, Mr. Reed.

22             You identify the fact that there is a target in

23   Florida to reduce greenhouse gas levels to 2000 levels by 2017.

24   This is Page 9, Line 20.

25        A    Yes.

FLORIDA PUBLIC SERVICE COMMISSION

1060

1        Q    Since these power plants aren't projected to come on

2   line until 2018, how do you suggest that will be accomplished?

3        A    Well, of course, what you have reviewed there are the

4   standards established or proposed by Governor Crist for 2017,

5   2025, and 2050.  These plants are not going to help, on their

6   own, to get to the 2017 target, but they will be very important

7   to continue to meet that target past 2017 and have any chance

8   of getting towards the 2025 or 2050 targets.

9        Q    Okay, thank you, sir.  Page 10, Line 1 through 3.

10   Are you aware that what is now identified as renewable resource

11   power generation in Florida is primarily waste-to-energy

12   facilities?

13        A    Yes, that is the largest component of the total.

14        Q    Are you familiar with the greenhouse gas and other

15   emissions from waste-to-energy facilities?

16        A    In general terms, yes.

17        Q    Do you agree that waste-to-energy facilities

18   represent renewable resources?

19        A    They are renewable in terms of their fuel source,

20   both biomass plants as well as MSW plants.  Some states

21   consider MSW to be renewables, others do not.  I think all

22   states consider biomass plants to be renewable.

23        Q    On Page 10, as well, Lines 12 to 15.  I would like to

24   ask you, Mr. Reed, are you familiar with Doctor Diaz's

25   testimony of yesterday?

FLORIDA PUBLIC SERVICE COMMISSION

1061

1        A    Yes.

2        Q    In your testimony, you say on Line 15 that there is

3   no cookie cutter or shortcut approach to getting a nuclear

4   facility built and operational.  But yesterday Doctor Diaz

5   mentioned that the standardization of design is important.

6   Could you speak to that?

7        A    Yes, it certainly is important.

8             My point here was that even once you get beyond the

9   reference case at the NRC for any plant design, or get any

10   design certified you still have a lot of site-specific issues

11   and you still have obviously issues related to need and

12   environmental impacts that are very local or regional.  The

13   process is going to take a substantial amount of time, even if

14   you move forward with an approved design.

15        Q    Okay, thank you.  On Page 11, Lines 3 through 10.  I

16   would just like to ask you, are you familiar with Florida's

17   distributed energy efforts?

18        A    Again, I'm generally familiar with FPL's distributed

19   energy efforts.

20        Q    Are you familiar with the Florida Solar Energy

21   Center?

22        A    I have seen reference to it, yes.

23        Q    Are you familiar with their renewable energy

24   research?

25        A    In general terms.

FLORIDA PUBLIC SERVICE COMMISSION

1062

1        Q    Thank you.  On Page 13, 5 through 14.  Okay.  I'll

2   pass on that.  I think you have said what -- made your position

3   known.

4             Page 21, Lines 4 through 8.  Could you specify what

5   project, ocean current project you are referring to in this

6   paragraph?

7        A    It is the one that Ms. McBee referred to with the

8   university co-sponsoring it.

9        Q    Do you know of any utilities that are working on

10   research in the same -- along the same lines as tapping ocean

11   currents for power?

12        A    No, not yet.  The other research that is going on,

13   which is primarily in the Pacific Northwest, is researched

14   being conducted by vendors and by universities.  I'm not aware

15   of any other utility that has gone as far as FPL has on this

16   item.

17        Q    Are you familiar with the matrix that was developed

18   to compare nuclear to other available technologies for the

19   generation of the power need we see?

20             MR. BUTLER:  What matrix are you referring to,

21   Mr. Krasowski?

22             MR. KRASOWSKI:  The one that compares -- I'll

23   withdraw that question.  It's not in his testimony.  Sorry.

24             Thank you very much, Mr. Reed.  We appreciate your

25   comments.  Those are all the questions we have for now.

FLORIDA PUBLIC SERVICE COMMISSION

1063

1             THE WITNESS:  Thank you, Mr. Krasowski.

2             CHAIRMAN CARTER:  Thank you.  Commissioners,

3   obviously I will come back to you after staff, but at this

4   point in time are there -- after staff?  Okay.

5             Staff, you're recognized.

6             MS. FLEMING:  We don't have any questions for this

7   witness.  Thank you.

8             COMMISSIONER SKOP:  That was quick.

9             CHAIRMAN CARTER:  Commissioner Skop, you're

10   recognized.

11             COMMISSIONER SKOP:  Good afternoon, Mr. Reed.  How

12   are you?

13             THE WITNESS:  Good afternoon, Commissioner Skop.

14             COMMISSIONER SKOP:  Just one quick thing.  Not to

15   belabor the point, but, again, if I could draw you to Page

16   21 of your testimony, prefiled testimony.  And, again, I

17   believe that you mentioned you are familiar with Ms. McBee's

18   comprehensive testimony.

19             THE WITNESS:  That's correct.

20             COMMISSIONER SKOP:  When you speak to the wind

21   potential in Florida, you mentioned there is some potential,

22   but it is quite modest.  And also you relate the state is

23   ranked as wind power class one, which equates to essentially

24   zero winds resources.  And then you speak that the only

25   measurable wind resources are offshore.  Again, I don't want to

FLORIDA PUBLIC SERVICE COMMISSION

1064

1   get in a big debate, but I was trying to print something to

2   suggest that perhaps that is not consistent with Ms. McBee's

3   testimony to the extent that I think that she spoke to

4   different wind studies and some coastal wind resource

5   capability.

6             And would you admit that -- I don't want to put words

7   in your mouth, but would you suggest that there may be other

8   studies that would support that Florida does have a marginal

9   wind resource along the coastal areas?

10             THE WITNESS:  Yes, I would describe it as marginal on

11   the coastal areas.  I can accept that.

12             COMMISSIONER SKOP:  Thank you.

13             CHAIRMAN CARTER:  Thank you.  Any other

14   Commissioners?

15             Mr. Butler, we need to -- do you want to redirect?

16             MR. BUTLER:  No, no redirect.  I was just going to

17   move the exhibits.

18             CHAIRMAN CARTER:  I was reading your expression.

19   That would be --

20             MR. BUTLER:  We move Exhibits 87, 88, 89, and 90 into

21   the record.

22             CHAIRMAN CARTER:  Any objections?  No objections,

23   show it done.

24             (Exhibits 87 through 90 admitted into the record.)

25             CHAIRMAN CARTER:  Commissioners, I think that as we

FLORIDA PUBLIC SERVICE COMMISSION

1065

1   get prepared to -- I really look forward to getting the other

2   information that we had in the late-filed exhibits and get

3   those and incorporate it within the confines of our docket

4   here, and let staff have an opportunity to go through it and

5   review it and make their recommendations.  And we can

6   individually make our own.

7             But I do look forward to an opportunity for us to go

8   forward in this bold new frontier in Florida.  Because, in my

9   opinion, the bottom line is we have got to keep the lights on.

10   You know, we have got to keep the lights on.  And we have got

11   some good information; there is still more information to be

12   gathered.  And I really look forward to reading staff's

13   recommendation.  I really look forward to reading the

14   additional late-filed exhibits that we have admitted today.

15             I want to thank -- first of all, Commissioners, with

16   your indulgence I want to thank all of the parties that

17   participated.  FPL, the Office of Public Counsel, the

18   Krasowskis, Jan and her driver, Bob.  Thank you for your

19   participation.  To the witnesses, to our staff, the finest

20   staff in the country, for your deliberation and your dedication

21   to duties.

22             Before we have our final recommendation from staff

23   about briefing and scheduling and all like that, I did want to

24   take a moment to make some comments and then have an

25   opportunity for our Commissioners to have some comments.

FLORIDA PUBLIC SERVICE COMMISSION

1066

1             So, with that, Commissioner Edgar, you're recognized.

2             COMMISSIONER EDGAR:  Thank you, Commissioner Carter,

3   Mr. Chairman.

4             I have, if I may, one question and then a brief

5   comment.  And my question would be when we were -- gosh, it

6   seems like weeks ago, so I don't remember if it was yesterday

7   or the day before, but at one of the days earlier in this

8   proceeding, we had some discussion, and I think we had asked

9   staff to work with the parties with the possibility of maybe

10   some different language coming forward for consideration on

11   Issue 9.  And I'm just wondering if that is something that

12   would come forward, if, indeed, there is that possibility at

13   the agenda conference, or come forward with briefs, or if it is

14   the sort of thing that staff will continue to work on, and just

15   wondering where we are kind of in that direction.

16             CHAIRMAN CARTER:  Okay.  Excellent question.  I'm

17   sorry, I overlooked that, Commissioner.  Thank you for bringing

18   it to my attention.

19             Staff?  Mr. Cooke.

20             MR. COOKE:  Commissioners, we have had discussions,

21   but we haven't got any proposed changes to present.  We believe

22   the issue should go forward as it is at this point.  We will

23   continue to have discussions with the parties to the point of

24   seeing if there can be a stipulation at some point, but right

25   now it is the way it is.

FLORIDA PUBLIC SERVICE COMMISSION

1067

1             COMMISSIONER EDGAR:  Can I ask a follow-up question,

2   Mr. Chairman?

3             CHAIRMAN CARTER:  You're recognized.

4             COMMISSIONER EDGAR:  Realizing that when we gather

5   together the next time to talk about this issue, that will be a

6   post-hearing, closed, no participation from the parties.  If

7   discussions go on between staff and the parties on this point,

8   and any other, would that then be included as maybe discussion

9   in the staff recommendation?  Or I'm just wondering

10   procedurally if, indeed, there is some other language that the

11   parties are interested in us reviewing, how that would come

12   before us?

13             CHAIRMAN CARTER:  Mr. Cooke, before you respond, what

14   I would think, Commissioner, is that, first of all, as staff

15   continues their discussion, we certainly want to make sure that

16   the Office of Public Counsel is part of this discussion and

17   this dialogue.  And I think that when that is the case, then

18   with that participation, both from the Office of Public

19   Counsel, then whatever recommendation is brought to us is

20   something that -- you know, we won't have to go through that

21   litany, did you talk to the Public Counsel, what did the Public

22   Counsel -- we won't have to do that.  So whatever

23   recommendation we have will be fully, you know, disclosed among

24   all the parties.

25             COMMISSIONER EDGAR:  Absolutely.  And when I said

FLORIDA PUBLIC SERVICE COMMISSION

1068

1   staff discussion with the parties, that meant all the parties,

2   which certainly included OPC.

3             CHAIRMAN CARTER:  And I cut you off, but I was going

4   to let Mr. Cooke respond, and then Commissioner Skop would like

5   to respond -- speak on this issue, too.  But I did want you to

6   finish your question before I cut Mr. Cooke off.

7             COMMISSIONER EDGAR:  Thank you.

8             And the point I was trying to get clarification of

9   just in my own mind, maybe inartfully, is, Mr. Cooke, you have

10   told us that discussions may still go on between staff and all

11   the parties.  And, again, I'm just wondering how, if indeed,

12   how the product of those discussions would come to us for

13   potential consideration.

14             MR. COOKE:  Thank you, Commissioner.

15             The normal process would be likely to be in the form

16   of a proposed stipulation among the parties that we likely

17   would present at the final decision-making agenda for approval

18   or not by the Commission.  That's the normal course of what we

19   would be talking about at this stage.

20             And there has been discussion with OPC, and we need

21   to involve other parties, as well, to the extent they are

22   willing to participate, and see if the parties can reach a

23   stipulation.  And in that case if there is one reached then we

24   would bring that to the Commission.

25             COMMISSIONER EDGAR:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

1069

1             And just to close out my thought on that.  We did

2   have some discussion, we had a number of questions, I know

3   there was a desire from all of the parties to try to help us

4   clarify the answer to some of those questions, and so I'm very

5   pleased to know that staff will continue to work on that.  And

6   I look forward to seeing any product, if, indeed, one may be

7   arrived at.  And that's my only question.  Is it time for

8   comment, or should I yield?

9             CHAIRMAN CARTER:  We will come back for your

10   comments.  Yield for a question, because in this area -- I

11   think Commissioner Skop had a question or comment on this

12   particular area.

13             COMMISSIONER SKOP:  Thank you, Chairman Carter, I

14   appreciate it.

15             I just wanted to ask FPL -- because, again, it's my

16   understanding as represented by our General Counsel that the

17   parties have been maybe engaging in some discussions.  And,

18   again, I think where we left it yesterday was that certainly we

19   wanted to find some compromise language or something that our

20   colleagues could all be comfortable with.  And I just wanted

21   to -- because, again, I don't have the opportunity of picking

22   up the phone and calling you guys, I have to do it here.

23             CHAIRMAN CARTER:  That could be a problem.

24             COMMISSIONER SKOP:  Yeah, that could be a problem,

25   that's why I don't go there.

FLORIDA PUBLIC SERVICE COMMISSION

1070

1             But, essentially, I just wanted to ask publicly

2   whether, you know, as the issue was framed, it essentially

3   spoke to making a payment directly to the forgery and is that

4   something that is still a possibility under the existing

5   language or is it something that -- I mean, can you just give

6   me a status of kind of where you guys are at.

7             MR. LITCHFIELD:  Commissioner Skop, this is Wade

8   Litchfield for Florida Power and Light.  That is a fair

9   question.

10             And I think as among Office of Public Counsel and

11   staff, we are comfortable -- and Florida Power and Light, we

12   are comfortable with the wording of the issue remaining as it

13   stands, provided that there is at least an implicit notion

14   within the construct of that issue that the payments, in fact,

15   could be made to a vendor who would be then be remitting the

16   payment to Japan Steel Works itself.  So whether the payment is

17   direct or indirect, we would hope that for purposes of

18   disposing of this issue that it would be treated equivalently.

19             COMMISSIONER SKOP:  Thank you.

20             And, again, I do think that, again, it is predicated

21   by a need determination and not predisposed to one way another

22   or on that.  But I do think that if it is predicated by

23   affirmative determination of need, it is a very important

24   issue, I think, for this Commission to address should we come

25   to some consensus language to the extent that it does show a

FLORIDA PUBLIC SERVICE COMMISSION

1071

1   commitment to having a stable regulatory environment for

2   nuclear construction in Florida.

3             So, thank you.

4             CHAIRMAN CARTER:  Thank you, Commissioner.

5             Now we are in our comments phase.

6             MR. BUTLER:  Before we get to that, a very minor

7   housekeeping matter.  Could Mr. Reed be excused?

8             CHAIRMAN CARTER:  Sorry, Mr. Reed.

9             MR. BUTLER:  Thank you very much.

10             CHAIRMAN CARTER:  We took in his exhibits?

11             MR. BUTLER:  We took in the exhibits, I just didn't

12   ask for him to be excused and we just skipped over that.

13             CHAIRMAN CARTER:  You may be excused, Mr. Reed.

14   Sorry about that.

15             We are now in the phase of Commissioner comments, and

16   then at the end, after we finish our comments, then I will come

17   back to staff for the briefing schedule and all.

18             Commissioner Edgar, you are recognized.

19             MR. KRASOWSKI:  Mr. Chairman, if I may.  Bob

20   Krasowski, intervenor, with Jan here.  We would just like to

21   understand that we are the only party that has identified a no

22   response to Number 9, and have presented an explanation of our

23   position, so I am just curious to know if we will be included

24   in the future discussions.

25             CHAIRMAN CARTER:  Absolutely.

FLORIDA PUBLIC SERVICE COMMISSION

1072

1             MR. KRASOWSKI:  Okay, thanks.  We hadn't heard our

2   name mentioned, and in that frenzy of --

3             CHAIRMAN CARTER:  Commissioner Edgar said all the

4   parties.  I don't know if you got that.  She said all the

5   parties.

6             MR. KRASOWSKI:  Sorry.  I might have missed that.

7             CHAIRMAN CARTER:  That's okay.  That's all right.

8   It's a beautiful and lyrically sounding name, Krasowski.  You

9   know, I know you like hearing it, but --

10             MR. KRASOWSKI:  Thank you, Mr. Matthew Carter.

11             CHAIRMAN CARTER:  It rolls off your tongue, doesn't

12   it?

13             MR. KRASOWSKI:  It's wonderful.  I see how you got to

14   where you are.

15             CHAIRMAN CARTER:  You will be involved in all

16   portions of the proceedings.

17             MR. KRASOWSKI:  Thank you.  Thank you very much.

18             CHAIRMAN CARTER:  Commissioner Edgar, you are

19   recognized.

20             COMMISSIONER EDGAR:  Thank you.  And to follow up

21   from that, what I wanted to begin by saying is just as you did,

22   but to repeat, I want to say thank you to all the parties.  I

23   have said it many, many, many times.  Our processes and our

24   decisions are best when we have full and diverse participation,

25   and hearings are certainly more beneficial to me when we have

FLORIDA PUBLIC SERVICE COMMISSION

1073

1   intervening parties who help us flesh out the record and flesh

2   out the issues, and that includes OPC and Mr. and

3   Mrs. Krasowski.  And, of course, in other proceedings when we

4   have multiple parties participating, I think that is a very,

5   very good thing and very, very helpful.  So, thank you to all

6   the parties.

7             MR. KRASOWSKI:  Thank you.  We agree with you 100

8   percent that the more the better.  Thank you.

9             COMMISSIONER EDGAR:  And as to a little more of the

10   larger issue at hand, as has been stated, this the first

11   proceeding that this Commission has under a new statute, and we

12   are learning as we go.  I think it is incredibly interesting,

13   fascinating, and I am very, very proud, personally, to be a

14   part of how Florida moves forward on our energy policy.  And I

15   think that this proceeding is a very important part of that,

16   and I would just come back to when I am doing my consideration

17   over the next few weeks, and the briefs, and the next stages of

18   the process on this, I'm going to focus back to the statutory

19   criteria in Issues 1 through 8, what does this project do as

20   proposed for reliability, for fuel diversity, for baseload

21   generating capacity, for adequate electricity at a reasonable

22   cost.  And I think that that is probably where we all are

23   trying to go and to accomplish.  So, again, thank you.  Thank

24   you for everyone's patience, and thank you for not rolling into

25   Monday.  And it has been good day.

FLORIDA PUBLIC SERVICE COMMISSION

1074

1             CHAIRMAN CARTER:  Thank you, Commissioner.

2             Commissioner McMurrian.

3             COMMISSIONER McMURRAN:  Thank you, Chairman.  I don't

4   have very lengthy comments.  I will just thank everyone for

5   providing the information that helped clarify the issues before

6   us, and we look forward to the next part of the process, which

7   is reviewing all the information that you have helped put into

8   the record and moving forward to the decision.  And thank you

9   particularly to our staff, who have worked a lot of long hours

10   to get us where we are today.  Anyway, I appreciate it, and

11   thank you all.

12             Thank you, Chairman.

13             CHAIRMAN CARTER:  Thank you, Commissioner.

14             Commissioner Argenziano.

15             COMMISSIONER ARGENZIANO:  Can you hear me?

16             CHAIRMAN CARTER:  We can now.

17             COMMISSIONER ARGENZIANO:  Well, first of all, let me

18   say hopefully some day -- I really hope to see you all soon,

19   and I really appreciate the accommodation.  Because not only do

20   I look kind of weird, having an allergic reaction to the drug

21   they gave me to make me feel better, but I probably would have

22   been very disruptive in the hearing room, and very loud.  So I

23   appreciate the accommodation.

24             I also want to thank everybody for participating and

25   staff for doing an excellent job, and really am looking forward

FLORIDA PUBLIC SERVICE COMMISSION

1075

1   to gathering more information, and more input is always better,

2   and moving this along to where we need to be.

3             CHAIRMAN CARTER:  Thank you, Commissioner.

4             Commissioner Skop.

5             COMMISSIONER SKOP:  Thank you, Chairman Carter.

6             And, again, I just want to echo the views of my

7   colleagues.  Again, I would like to thank all the parties.  The

8   Krasowskis, you guys did an admiral job for not being

9   practitioners in representing your intervention interests and

10   the parties.  Staff, legal staff, a tremendous job.  We had

11   quite a lot of things going on getting up to the prehearing and

12   the intervention order, so I would like to recognize all my

13   legal staff, and technical staff, and our General Counsel for

14   all their assistance in getting us through this process.

15             And, again, I don't want to be predisposed to our

16   decision, because it will reflect the staff recommendation

17   whatever that may be.  But I look forward to ultimately

18   bringing this forward, back to decision, and see where we go

19   from there.  So, thank everyone again.

20             CHAIRMAN CARTER:  Excellent, excellent.  And there is

21   a group of people who are not here with us now, but I do on

22   behalf of my colleagues, and I from the depths of my heart I

23   sincerely appreciate the amount of public participation that we

24   had both down in Miami and here in Tallahassee.  The process

25   works better when the people are involved.

FLORIDA PUBLIC SERVICE COMMISSION

1076

1             And I think that when people feel like they have got

2   a fair shake in the decision, you know, then they feel like it

3   may be more palatable.  It may not be approved, but at least

4   they feel like they got a fair shake.  I am just pleased about

5   our process on how we allow the public to participate.  And

6   they are not here now, but they were here for the public

7   testimony portion both in Miami and here in Tallahassee, and I

8   just want to thank them for their support, because when the

9   public is involved then government is better run.

10             With that, staff, recommendations and close out for

11   our housekeeping matters on briefings and, et cetera, et

12   cetera, et cetera.

13             MS. FLEMING:  Thank you, Chairman.

14             The briefs are due February 15th, which is two weeks

15   from today.  The staff recommendation is scheduled to be filed

16   March 6th, and this will be heard, the posthearing

17   recommendation will be addressed at the posthearing agenda on

18   March 18th.

19             CHAIRMAN CARTER:  Mr. Krasowski, did you get those

20   dates?  Were you able to get those?

21             MR. KRASOWSKI:  Yes, we did.

22             CHAIRMAN CARTER:  Excellent.  It has been a great

23   day, guys and dolls.  It is a wonderful day, and we are here on

24   the forefront of a bold and courageous new frontier.  I look

25   forward to reading your report.  I look forward to making a

FLORIDA PUBLIC SERVICE COMMISSION

1077

1   decision.  And, again, Commissioners, thank you for your

2   participation.  We are adjourned.

3             (The hearing concluded at 2:35 p.m.)

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

1078

1

2   STATE OF FLORIDA    )

3                       :              CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

6   Section, FPSC Division of Commission Clerk, do hereby certify

that the foregoing proceeding was heard at the time and place

7   herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 4th day of February, 2008.

15

16             ___________________________________________

JANE FAUROT, RPR

17                   Official FPSC Hearings Reporter

(850) 413-6732

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION