1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 070183-WS

3

In the Matter of:

4

PROPOSED ADOPTION OF RULE 25-30.4325,

5   F.A.C., WATER TREATMENT PLANT USED

AND USEFUL CALCULATIONS.

6   _____________________________________/

7

8

9

10

11

12

13

14

15   PROCEEDINGS:        AGENDA CONFERENCE

ITEM NO. 3

16

BEFORE:             CHAIRMAN MATTHEW M. CARTER, II

17                       COMMISSIONER LISA POLAK EDGAR

COMMISSIONER KATRINA J. McMURRIAN

18                       COMMISSIONER NANCY ARGENZIANO

COMMISSIONER NATHAN A. SKOP

19

DATE:               Tuesday, April 8, 2008

20

PLACE:              Betty Easley Conference Center

21                         Room 148

4075 Esplanade Way

22                       Tallahassee, Florida

23

REPORTED BY:        JANE FAUROT, RPR

24                       Official FPSC Reporter

(850) 413-6732

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1   APPEARANCES:

2

3             ROSANNE GERVASI, ESQUIRE, PATTI DANIEL, STAN RIEGER,

4   and MARSHALL WILLIS, appearing on behalf of the Florida Public

5   Service Commission Staff.

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                         P R O C E E D I N G S

2             CHAIRMAN CARTER:  Let's back up to Item 3.  Staff,

3   let's get ready for the item.

4             MS. GERVASI:  Thank you.

5             This is Rosanne Gervasi with the Commission legal

6   staff.  Item 3 is staff's post-hearing recommendation to adopt

7   Proposed Rule 25-30.4325, Water Treatment Plant Used and Useful

8   Calculations, with certain changes based on the evidence of

9   record and as set forth on Attachment C to the recommendation.

10             I would note that if the Commission agrees with staff

11   on Issue 2, then Issues 16 through 20 of the recommendation are

12   moot and need not be ruled upon, because those issues address

13   proposed changes to the definition of storage facilities as set

14   forth in Issue 2.

15             CHAIRMAN CARTER:  Thank you.

16             And, Commissioners, this item, Item 3 is limited to

17   Commissioners and staff.  So, at this point in time,

18   Commissioners, we'll go into our question phase, and then we

19   will go into discussion and then debate.  We are in our

20   question phase on Item 3.

21             Commissioners, any questions?

22             Commissioner Argenziano, you're recognized.

23             COMMISSIONER ARGENZIANO:  Thank you.  The question I

24   have, I guess, for staff is have they done any calculations

25   regarding the 18-hour calculation?  I know OPC wanted 24, and

FLORIDA PUBLIC SERVICE COMMISSION

4

1   at the last time -- I think the last time we spoke on this I

2   had heartburn about the 12 hour, and particularly wanted to

3   know about how that pans out if we went to somewhere in

4   between.  And also if there were -- and I'm not sure if you can

5   answer this, if there were -- I remember the water management

6   district gentleman testifying, but it was very -- I don't know

7   what the term would be -- Milquetoast.  I'm not sure.  I

8   couldn't really derive an answer from him whether there were

9   environmental impacts of 24-hour pumping.

10             MR. RIEGER:  Right.  This is Stan Rieger with

11   Commission staff, and your question about the 18-hour thing,

12   no, there has not been particular identification of what the

13   18-hour thing would do.  But it is a consideration that is

14   possible, but we have no information.  In fact, we have little

15   information based on past Commission decisions.

16             Typically when we come up with this type of criteria,

17   we normally have gone in the past using the 12-hour route, and

18   that appeared to be fair overall to allow the customers to have

19   adequate service and for the utilities to have adequate rate of

20   return on their investment.

21             As far as the water management district is concerned,

22   basically that testimony referred in generalities, which our

23   witness was unable to determine the benefits pros or cons,

24   either way, and you could find the 24, or you could make an

25   argument on the 12.  There was actually a discussion of the 12

FLORIDA PUBLIC SERVICE COMMISSION

5

1   and overall that this related to me as a response as to it's

2   hard to put your finger on such a thing.

3             And I think at the end of the day, he didn't really

4   have trouble with the 12, and he said that in some cases it

5   could eliminate possible problems with the groundwater using a

6   lesser amount of pumping time.  So that's what we know now.

7             COMMISSIONER ARGENZIANO:  Mr. Chairman, if I may.

8             CHAIRMAN CARTER:  You're recognized.

9             COMMISSIONER ARGENZIANO:  Well, I guess you

10   determined the 12 hour to be fair, but OPC doesn't see it that

11   way.  And trying to get a little bit closer to where they want

12   to be as far as determining the best use and you have a pump

13   that's only working 12 hours a day.  Can you help me -- I want

14   to see if you have a clear definition of what OPC is really

15   trying to do in the 24-hour pumping rather than the 12.

16             MR. RIEGER:  As far as a clear definition, we know

17   that OPC wants to start with a 24-hour day because there are

18   naturally 24 hours in a normal day, but --

19             COMMISSIONER ARGENZIANO:  And just a reason of what

20   you think their reasoning is behind it?  I'm sorry, Mr.

21   Chairman.

22             MR. RIEGER:  Well, it would lean more towards the

23   rates, as far as the impact on the rates.  That's obvious.  But

24   what it doesn't adhere to is to the actual needs of the

25   customers during the peak usage hours.  So actually to answer

FLORIDA PUBLIC SERVICE COMMISSION

6

1   your question, we have more reasons not to go for the 24-hour

2   thing because it does not reflect what is actually out there.

3   There are various reasons other than, of course, the obvious

4   ones about the usage patterns as we already spoke about and the

5   salvage of the quality of the groundwater.

6             We also know that these facilities with these

7   storage, which there are not that many of them, most of our

8   systems out there, particularly our smaller ones, do not have

9   storage.  Those that do have storage primarily for the reason

10   to accommodate treatment, such as aeration, and filtration, and

11   those type of items.  Plus, we also know that the construction

12   of these facilities, a lot of them may not have 24 hours worth

13   of pumping capacity of storage.  They are built much smaller

14   than that, and so there is really no way to put the 24 hours

15   worth of flow to accommodate that.

16             COMMISSIONER ARGENZIANO:  Right.  But in that

17   instance wouldn't it be that, of course, if you don't have the

18   storage then you just couldn't possibly do 24 hours.

19             MR. RIEGER:  That's correct.

20             COMMISSIONER ARGENZIANO:  I think it would be only in

21   the instance that if you did have the storage that the

22   possibility could even come to 24 hours or 18 hours.

23             MR. RIEGER:  That's right.

24             COMMISSIONER ARGENZIANO:  So it wouldn't be that it

25   would apply to everybody, it would only apply to a very small

FLORIDA PUBLIC SERVICE COMMISSION

7

1   amount of those facilities that have that capacity.

2             MR. RIEGER:  Yes.  And we also know that the

3   impact -- staff is concerned that at the end the day do the

4   customers have the water during the times that they need it the

5   most, those peak hours.  Those peak 12 hours.  We are concerned

6   that if the utilities do not earn a fair rate of return on

7   their investment it might affect design criteria when they

8   think about building.

9             They could build smaller units, and then you have

10   that step increase of as time goes on they will build another

11   unit at a higher cost, and then you have problems with the

12   customers paying the impact of the newer facilities at

13   inflation cost.  So it's better to build bigger initially to

14   have that volume there rather than to step increase and have

15   the footprint of the plant larger, and that was brought up at

16   the hearing, with multiple smaller tanks than to have one

17   larger tank to cover all of this at a smaller price.

18             COMMISSIONER ARGENZIANO:  But then, again, we are

19   only talking about a small amount of facilities that would be

20   subject to a longer hour day of pumping.

21             MR. RIEGER:  Right.

22             COMMISSIONER ARGENZIANO:  And I guess my concern is,

23   and I understand what you're saying, the rate of return in

24   building up front a larger facility is probably a lot smarter

25   to do.  My concern is, of course, the rate impact on the

FLORIDA PUBLIC SERVICE COMMISSION

8

1   consumer.  And OPC, you know, I guess that's their concern,

2   also.

3             MR. RIEGER:  Right.

4             COMMISSIONER ARGENZIANO:  And then I'm just having a

5   hard time understanding where the 12 hour really -- you know,

6   why not a 16 hour?

7             MR. RIEGER:  12 hour is not a golden number, that is

8   true.  It is not a live or die number.  The meter is 24.  There

9   was little or no testimony during the hearing that brought out

10   any other offering of a different hour to that case.

11             COMMISSIONER ARGENZIANO:  Well, I think there was.  I

12   think I asked about it.  But I understand, I'm really trying to

13   balance it all.  I just think -- and, Commissioner, just my

14   feeling about it is that I don't know that 12 hour is the magic

15   number.  And because it applies to so few facilities, perhaps

16   bumping it up has less of an impact on the ratepayer.  Although

17   I don't want to really get into the rate of return for the

18   company, also.

19             MR. RIEGER:  Yes.  It is a familiar number.  It's a

20   number that has been, in my view, tested over the years.

21             COMMISSIONER ARGENZIANO:  Maybe it wasn't tested, it

22   just remained.

23             MR. RIEGER:  But over the years it seems to be a

24   familiar workable number for staff and for the Commission to

25   use.

FLORIDA PUBLIC SERVICE COMMISSION

9

1             COMMISSIONER ARGENZIANO:  Thank you.

2             CHAIRMAN CARTER:  Commissioners?

3             Commissioner Edgar, you're recognized for a question.

4             COMMISSIONER EDGAR:  Thank you, Chairman Carter.

5   Could I ask our staff to respond in a little more detail on the

6   point that Commissioner Argenziano raised about potential

7   impacts to ratepayers with the 12 hour versus the 24 hour,

8   recognizing that we are, I think, talking about just a few

9   systems probably.  But if you could speak to that point more

10   specifically.

11             MR. RIEGER:  Basically, what we have seen in the past

12   is that the customers desire flow, desire water when it's time

13   for them to have it, and during those peak waking hours that

14   was discussed so much.  There is also concern that the

15   facilities, about the storage facilities and their capacity to

16   generate the volume when it's needed.  The impact as far as

17   what I said earlier is the idea of perhaps smaller is better in

18   a step thing, we don't believe that is because of the economies

19   of scale to construct such facilities, and inflation costs and,

20   just -- due to inflation, you know, everything is more

21   expensive now if you have to repurchase something new rather

22   than have an existing structure there to accommodate the needs

23   of the customer base.

24             We believe in the long run the customers do benefit

25   from having these type of facilities at the stage of what has

FLORIDA PUBLIC SERVICE COMMISSION

10

1   been determined in the past, and it's a good design criteria.

2   And overall, we know that since most of our systems have

3   started off basically as a developer related system and over

4   time actual utilities have taken over, we know that developers

5   do not overbuild.  They build just enough to supply what they

6   think are the immediate needs of a customer base at a

7   reasonable capacity.  And we are finding that with most of our

8   systems.

9             Most of our systems are older now.  We have very few

10   new systems coming on-line.  We know from experience that as

11   rate cases come and go and staff goes out there and reviews

12   these facilities, we know physically what we see out there is

13   for more the most part the minimum size necessary to serve the

14   customer base.  I can't think of anything else right now at

15   this time.

16             CHAIRMAN CARTER:  Commissioner Argenziano.

17             COMMISSIONER ARGENZIANO:  Just another question,

18   because I have no idea what their rate of return is, and I

19   don't know if it is reasonable, or just, or what it would be if

20   it was bumped up to 18 hours.  So I don't know -- without

21   having that information, I have to look at it and say, okay,

22   without severely impacting the rate of return, which I'm not

23   sure what percent it is or if it's reasonable or not, how bad

24   would it be for the company if you could get lower rates.

25   Because everywhere I look, especially with those older systems

FLORIDA PUBLIC SERVICE COMMISSION

11

1   out there, rates are just going up and up and up.  And I'm more

2   concerned at this point -- not more concerned, equally

3   concerned with the rate of return, but having a big question

4   mark of what that I was.  And just because it has been accepted

5   for how many years doesn't mean that I have any idea of what it

6   is.

7             So my concern now is when OPC brings up a point that

8   this could -- if you do it a different way, if you calculate it

9   a different way you could start bringing rates down maybe and

10   it wouldn't be such an impact, because that's all I hear from

11   people out there is we can't even afford the water to drink.

12   And I know the company has to provide it and make a profit,

13   too, but having missing that information, all I can think of

14   is, well, then I have to move towards the possibility that

15   maybe we can reduce the rates by maybe moving to somewhere in

16   the middle, an 18-hour day.

17             CHAIRMAN CARTER:  Staff, you're recognized.

18             MS. DANIEL:  Commissioners, Patti Daniel on behalf of

19   staff.  Just to address, from a ratemaking standpoint, a little

20   more than Stan is giving you with the engineering standpoint,

21   what this rule will address is not the rate of return

22   percentage, it will address the amount of dollars that will be

23   included in rate base.  Is it going to be 100 percent of the

24   cost of these pumps, or is it going to be something less than

25   100 percent?  And that is what the 12 versus 24 hours gives

FLORIDA PUBLIC SERVICE COMMISSION

12

1   you.  It is that fractional adjustment as to whether all of the

2   rate base will be included for purposes of setting rates.

3             COMMISSIONER ARGENZIANO:  Mr. Chair, I understand

4   that.  But he brought up rate of return, and I thought if that

5   is being considered in this 12 hour -- well, it must be, but my

6   point is that if you have got 100 percent return, then maybe

7   you should be getting 100 percent of what your pumps could be

8   giving.  And I think that's OPC's concern.  So I'm trying to

9   meet somewhere in the middle.

10             I would think that maybe we can look at moving to an

11   18-hour or 16-hour day to try to relieve some of the burden

12   that's on the consumer whose bills are ever increasing.

13   Because if you have got a pump that can pump 24 hours and you

14   calculate it that way, boy, it comes down to a little bit less

15   impact.  So let's then go to 100 percent of that pump can do.

16             MS. DANIEL:  It is a judgment call.  Bear in mind

17   that this what we call a default rule, something that will work

18   the majority of the time.  Whatever you choose, 12, 24, or

19   anything in between, that would be the default, and any party

20   would have the opportunity to offer an alternative.

21             COMMISSIONER ARGENZIANO:  Mr. Chair.

22             CHAIRMAN CARTER:  You're recognized.

23             COMMISSIONER ARGENZIANO:  I understand that people do

24   things a certain way and don't like shaking the trees, but

25   sometimes you have to shake the tree to figure out what's going

FLORIDA PUBLIC SERVICE COMMISSION

13

1   on.  And I'm not new here anymore, but I'm kind of new, and

2   what I'm trying to figure out is the missing components that I

3   can't see, okay?  And that's what I'm trying to express.  Just

4   because maybe it is the way we have done something for how many

5   years, it may be time to change it, I don't know, but I'm

6   trying to derive that information.  So, I'm not trying to get

7   on anybody's case, but as a Commissioner I'm here, I'm going to

8   try to get as much information as I can, and if I can't, then

9   the only way I can come down is, hey, what I have got available

10   to me says that this may reduce rates for our consumers and

11   that's probably the way I'm going to go.

12             MS. DANIEL:  There was one other little piece of

13   information that was compelling to me, and still it's just a

14   judgment call, I mean, you're going to have to pick a number

15   and there will be adjustments to the rule, or alternatives to

16   the rule.  The engineers have described to me, that is they go

17   and look at these systems, they just generally don't see those

18   systems pumping 24 hours.  They see those systems pumping

19   something less than 24 hours.  So, again, that kind of leads

20   you, you know, is 12 hours the right number or something in

21   between.

22             COMMISSIONER ARGENZIANO:  Okay.  But, now to that

23   point, if I may, before we lose track of it, the engineers I

24   have spoken to -- and now if you have a delapidated system,

25   well, it's probably not one that has a major storage facility

FLORIDA PUBLIC SERVICE COMMISSION

14

1   anyway, so you can't even apply more than the capacity can

2   have.  So the ones that we are talking about, let's go back to

3   that, are very few that would have storage and would have that

4   capacity.  And engineers tell me that it's actually worse on

5   the pumps to turn them on and off.

6             MS. DANIEL:  I did see that in the testimony.  That

7   having been said, I prefer Mr. Rieger to speak to that, he's

8   the engineer, but my understanding was his observations in the

9   field --

10             COMMISSIONER ARGENZIANO:  You understand my dilemma.

11             MS. DANIEL:  I do.

12             COMMISSIONER ARGENZIANO:  I'm hearing one thing and I

13   find out another and it's like, okay, now I have to come to the

14   conclusion.

15             MS. DANIEL:  Well, I think what you are seeing is

16   there are --

17             COMMISSIONER ARGENZIANO:  Variables.

18             MS. DANIEL:  -- a lot of different types of

19   facilities in Florida, and we're just trying to come up with a

20   rule that will address the majority of them.  And I'm sure

21   there are going to be times you are going to see 24 hours of

22   pumping, and there will be other times you will see something

23   else.  So you have just got to pick one.  But, you know, if

24   Stan can address --

25             MR. RIEGER:  Basically, these pumps, the turning on

FLORIDA PUBLIC SERVICE COMMISSION

15

1   and off scenario, in essence that does not really exist out

2   there.  These pumps are pumping against pressure or they are

3   pumping into a facility such as a hydro tank or whatever, they

4   will run for many minutes to fill up or to equalize the

5   pressure on the system.  We don't have that situation out

6   there.  If it does, the quick turning on off, that does

7   indicate that there is a problem.  Either a hydromatic tank is

8   waterlogged or there is something -- float switches are

9   malfunctioning or something like that.  That is an indication

10   that there is a technical problem that needs to be addressed.

11   It doesn't really apply in the scenario that we're speaking of.

12             COMMISSIONER ARGENZIANO:  I don't think you

13   understood my point.  I don't think I was going to what you

14   just addressed.  I think what I was saying is that I have told

15   not only through the testimony, but other engineers I have

16   spoken to tell me that a lot of times with the pumps -- rather

17   than having them turn on and off, that they actually have a

18   longer life probably by keeping them running.

19             MR. RIEGER:  Yes, that is true.

20             COMMISSIONER ARGENZIANO:  Okay.  Thank you.

21             CHAIRMAN CARTER:  Mr. Willis, did you want to

22   comment?

23             MR. WILLIS:  I would like to add to that response.

24             Commissioner, you're exactly right.  If you went to

25   an 18 month or an 18-hour time frame, it would have some effect

FLORIDA PUBLIC SERVICE COMMISSION

16

1   on lowering rates.  But my only concern there is something that

2   Mr. Rieger said a minute ago, which I have been aware of for

3   many, many years working here, is that the industry does listen

4   to the Commission when they act, and if the Commission did go

5   to an 18 month or something different other than 12 month --

6             CHAIRMAN CARTER:  Twelve hour.

7             MR. WILLIS:  I'm sorry, 12 hours -- it might have an

8   effect upon what the industry does in the future as far as

9   construction.  They --

10             COMMISSIONER ARGENZIANO:  I'm sorry, I don't mean to

11   cut you off.  And I understand that, but I have to look at what

12   is at me today.  And I don't want to cripple an industry by any

13   means.  But sometimes, you know, if you just -- I have to

14   scratch my head to that, because I'm just not sure that that is

15   the right way to do things.  Well, in the future we may not do

16   it this way.  Well, in the future maybe you design it a little

17   different and maybe in the future some of these systems that

18   are going to be off line before you know it because they are

19   old will be designed with better storage and be done a whole

20   different way.  So there is always two ways of looking at it.

21             I'm not trying to put limits on the industry, and I

22   understand your concern, we need them to be building systems,

23   but I have a feeling they are going to be built a different way

24   in the future.

25             CHAIRMAN CARTER:  Mr. Willis, and then I am going to

FLORIDA PUBLIC SERVICE COMMISSION

17

1   go to Commissioner McMurrian.  And if any of the other

2   Commissioners have any further questions, because we are in our

3   questioning phase.

4             Mr. Willis, I think you were in the middle of a

5   point.  Did you complete that thought that you were --

6             MR. WILLIS:  I was going to add to it a little bit.

7   The only point I was trying to make is the industry does depend

8   on Commission decisions in their decisions on how to construct.

9   Mr. Rieger made a point a minute ago that the industry may

10   construct smaller units.  It's very possible they could

11   construct smaller wells, which would mean they would have to

12   construct multiple wells to continue to have the peak capacity

13   when available.

14             Right now if you look at some of the small systems we

15   have out there that are 100 percent used and useful, they are

16   not pumping for 24 hours.  They have the capability of pumping

17   24 hours.  They have the capability of pumping more than 12

18   hours a day, but in reality what my engineers tell me and what

19   I have seen out there is that the 12 hours pretty much match an

20   average time for what the wells pump out there, especially when

21   you don't have storage.

22             If you have storage, yes, there is pumping, there is

23   the capability of storing water, but it's like Mr. Rieger said,

24   you can't store 24 hours worth of water out there.  They just

25   don't have that size of facilities to do that.  And that was

FLORIDA PUBLIC SERVICE COMMISSION

18

1   the only point I was trying to make.

2             CHAIRMAN CARTER:  Okay.  Let me go to Commissioner

3   McMurrian, and I will come back if there's further questions.

4             Commissioner McMurrian, you're recognized.

5             COMMISSIONER McMURRIAN:  Thank you.

6             And, to something you just said, I wanted to start

7   with that, first, Mr. Willis.  You said it pretty much matches.

8   Do we have an idea or is there a number in the record anywhere

9   of how much these things are actually pumping?  Because we're

10   saying that they are not pumping 24 hours a day, we think 12 is

11   pretty close, but do we know what the number is?

12             MR. WILLIS:  No, we do not have an exact number in

13   the record.

14             COMMISSIONER McMURRIAN:  Okay.  And I'll move on to

15   something else, and then maybe we will come back to that.  I

16   think Ms. Daniel said something about this being a default,

17   because it's the rule, it would apply in any case where someone

18   didn't make an alternative calculation or an argument for an

19   alternative calculation.  Do we have any idea how many of the

20   small Class C utilities have storage, and if we were to adopt

21   24, something larger than 12 would be subject to this?  Because

22   I guess I'm most concerned about those smaller entities that

23   aren't going to have the ability or the means, perhaps, and, of

24   course, it would add to a lot of rate case expense to argue

25   these issues on a case-by-case basis.

FLORIDA PUBLIC SERVICE COMMISSION

19

1             MS. DANIEL:  I don't have an exact number for you.  I

2   can tell you that my experience in the industry has been

3   that -- let's say we have 200 water systems in Florida, 25 or

4   30 might have storage.  And when they do, it's going to be a

5   very small storage facility.

6             COMMISSIONER McMURRIAN:  So most of the smaller ones

7   probably don't have storage and wouldn't be impacted by what

8   this number goes to one way or the other.

9             MS. DANIEL:  That's fair.

10             MR. RIEGER:  And those that do have storage,

11   Commissioner, are only primarily there because they have to

12   have storage as a result of treatment, and that's very small

13   sometimes.

14             COMMISSIONER McMURRIAN:  I guess one of the things I

15   was thinking about when Commissioner Argenziano was asking

16   about the 18 was do we have any kind of examples, and maybe

17   this is better posed to the legal staff.  Is there some way

18   that we could look at examples of what happens, maybe in prior

19   cases, if you were to use 12 hours, 18 hours, or 24, or would

20   that be looking at some information that is outside the record?

21             MS. GERVASI:  I think so.  I think that you can

22   always look at legal precedence or legal principles, but I

23   don't think we want to be picking factual matters out of prior

24   cases and using that as evidence for this case, that the facts

25   should and need to be based on competent substantial evidence

FLORIDA PUBLIC SERVICE COMMISSION

20

1   in this record.

2             And there is conflicting testimony about what the

3   right number is, and I think that there is evidence in this

4   record that would support maybe something different than 12.  I

5   think that most of the witnesses, including the staff witness,

6   testified that the use of 12 hours a day of pumping reflects

7   the general usage pattern of customers.  Of course, OPC

8   differed with that, but their argument was not that customers

9   used 24 hours, but that because pumps are designed to be able

10   to pump 24 hours per day that that's the reason.  So it is

11   really a policy difference as to whether you want the number to

12   more closely reflect customer usage or whether you want to use

13   design criteria.

14             COMMISSIONER McMURRIAN:  Well, it seems like -- I'm

15   sorry, Chairman, I am forgetting.

16             CHAIRMAN CARTER:  You're recognized.

17             COMMISSIONER McMURRIAN:  It seems like in the rec you

18   talked about, I think, three different criteria at the end of

19   Page 31.  "That the rule must reflect a wide variety of

20   ratemaking issues, including whether the system was prudently

21   designed, whether the design capacity exceeds current customer

22   demand, and whether the system provides quality water."  And it

23   seemed to me that you were saying that the proposed rule, you

24   thought, gave a reasonable balance of each of those three.  But

25   I have to admit I'm struggling with this, too, because it seems

FLORIDA PUBLIC SERVICE COMMISSION

21

1   like -- I don't agree with 24.  I think there are plenty of

2   reasons not to have 24.  I do think that it has probably got

3   less of a rate impact, but I think maybe it doesn't -- maybe it

4   doesn't quite get us to fair, just, and reasonable, which we

5   have to think about, too.  That maybe it's not fair, especially

6   to smaller utilities that are probably going to have a harder

7   time arguing that.  At the same time you have also told me that

8   there aren't many of the smaller utilities that have storage

9   and would be subject to this anyway.  So I guess I'm just

10   sharing with you my quandary.

11             I think there was testimony, and Commissioner

12   Argenziano mentioned this, about the water management district,

13   too; but when I reviewed it, I felt like it wasn't very

14   decisive either way, and probably that is the same with a lot

15   of the testimony we received.  It was 24 from OPC, 12 from our

16   staff witness, and then the other witnesses seemed to lean, the

17   utility witness seemed to lean more toward the staff proposal.

18   But, quite frankly, with AUF and UI, I think they are going to

19   be able to make a case in whatever cases they bring for what

20   would be specific to them.

21             So it is really the utilities other than those

22   largest utilities, and perhaps not the smallest of the small

23   utilities that this is probably going to be most likely to

24   apply to.  And I'm trying to think what is the best thing to do

25   for them, and perhaps it is bigger than 12, but not 24.

FLORIDA PUBLIC SERVICE COMMISSION

22

1             MS. DANIEL:  It is the case that often the systems

2   that have the greater amount of storage capacity are the larger

3   systems, so don't think that -- you are talking, yes, about a

4   small number of utilities, but it is not necessarily the

5   smallest systems that we are addressing here.  I mean, the ones

6   with storage and the ones with significant storage are going to

7   be a little bit bigger-sized utility.

8             The best I can tell you, the thing you want to focus

9   in on is we're setting rates, we are not designing systems.

10   And that is the balance that we are struggling with here.

11   That's the pull that you feel is how generous or how

12   conservative do you want to be in a default rule when it comes

13   to how much of the utility's facilities will ultimately be

14   included in rate base for purposes of setting rates.  Is it

15   going to be -- you know, 12 hours is 50 percent of 24 hours, so

16   it's that much of an impact on used and useful.

17             CHAIRMAN CARTER:  One second, and I will come back to

18   you.  Had you completed your questions?

19             COMMISSIONER McMURRIAN:  Yes.

20             CHAIRMAN CARTER:  Let me check with -- Commissioner

21   Argenziano, you're recognized.

22             COMMISSIONER ARGENZIANO:  Well, just to that point.

23   Yes, you are correct; 50 percent impact to used and useful, but

24   also a 50 percent impact to the consumer.  So it goes both

25   ways.  And because we are talking about having such a small

FLORIDA PUBLIC SERVICE COMMISSION

23

1   amount who could do this, and possibly the newer facilities

2   that will be built in the future, I think it's not going to

3   apply to those many, many facilities who have no storage or

4   have very little storage, because they just can't do it.  It's

5   impossible.  So I just don't see -- and I guess the point was

6   that the impact is equal to the customer as it is to the

7   utility, and that's where I'm just trying to find that

8   difference.

9             And the other point I just wanted to make was that we

10   say that the 12-hour day is the average customer.  I'm not so

11   sure that is very true or has been for a number of years,

12   because we have the CUPs all over the state being violated.

13   They are above and beyond.  There's little communities

14   everywhere that are above and beyond their old numbers of what

15   they are using on a daily basis, and I think that probably

16   needs to be looked at as to what they -- and maybe the water

17   management districts, the five water management districts,

18   because it may be different geographically throughout the

19   state, can shed some light in the future as to what the real

20   general use is and what hours per day, because I think that has

21   changed.

22             CHAIRMAN CARTER:  Commissioners, we are in our

23   question phase.

24             Commissioners, any further questions?

25             COMMISSIONER McMURRIAN:  I have one.

FLORIDA PUBLIC SERVICE COMMISSION

24

1             CHAIRMAN CARTER:  Commissioner McMurrian, you're

2   recognized.

3             COMMISSIONER McMURRIAN:  This probably goes back to

4   some of what I was asking already, but how is this going to

5   impact when we have staff-assisted rate cases and the staff is

6   sort of setting these numbers for the whole case?

7             MS. DANIEL:  This default rule will be applicable in

8   staff-assisted rate cases, and should the staff in a

9   staff-assisted rate case want to use some alternative, then it

10   would be incumbent on the staff to come up with that

11   calculation.

12             CHAIRMAN CARTER:  You're recognized.

13             COMMISSIONER McMURRIAN:  I'm going to throw this out,

14   but I'm hesitant to do so, to the attorneys.  If we were to

15   perhaps need more information with respect to the 12 versus 24

16   hours, what would be our options?

17             MR. COOKE:  Commissioners, I am not directly familiar

18   with the record in that case, so I would probably defer to

19   staff a little bit.  But we have had a record hearing, the

20   record is closed, we would, in general, have to reopen the

21   record if there isn't sufficient evidence to try to find an

22   in-between number the way you have been talking about.  I'm

23   just not familiar whether there is enough evidence in the

24   record for you to support some in-between at this point.  We

25   need to explore that further because the record is not built up

FLORIDA PUBLIC SERVICE COMMISSION

25

1   enough.  You would need to vote to reopen the record and we

2   would have to have additional hearings and try to find a source

3   for that.

4             COMMISSIONER McMURRIAN:  A follow-up on that.  And I

5   guess Ms. Gervasi probably wants to follow up, but we have in

6   the record 12, we have in the record 24, there might have

7   been -- I think there was some discussion of some number in

8   between, perhaps in questions of the Commissioners during the

9   hearing.  Do we have the ability to use any number between 12

10   and 24?

11             MS. GERVASI:  Yes.  There is case law that says you

12   don't have to pick an exact number on something just because

13   those are the only numbers that were being used, and I can't

14   think of the exact case offhand, but so long as your decision

15   is based on competent substantial evidence in the record.  If

16   you look at the evidence and you disagree with the arguments

17   for 24 and you also disagree with the arguments for 12, and

18   explain -- and you have a reason based on the record and based

19   on your own knowledge that you think a different number or some

20   number in between works, I know that has been supported before.

21   Not with respect to used and useful, but the same argument

22   would apply, I think, or the same policy.

23             CHAIRMAN CARTER:  Mr. Cooke, did you also want to

24   make a comment on that?

25             MR. COOKE:  In general I agree with that.  There is

FLORIDA PUBLIC SERVICE COMMISSION

26

1   case law where we have had hearings and looked at extremes of a

2   continuum, and there was sufficient information in the record

3   to be able to interpolate between numbers.  I think we would

4   need to have something in this record that gives us a basis to

5   do that interpolation, but it may be there.

6             Also, I think, Commissioner McMurrian, you focused on

7   those criteria that are discussed in the staff rec on this

8   issue, some of which is policy, so I'm not uncomfortable

9   thinking that there may be a way to come to a middle ground

10   here.  But, again, I'm just not that directly familiar with the

11   record itself.  But I agree with what Ms. Gervasi said, there

12   is case law that allows us to interpolate between extremes on a

13   continuum.  There does need to be competent substantial

14   evidence in the record that would support picking a number in

15   between.

16             CHAIRMAN CARTER:  Commissioners, any further

17   questions?

18             Commissioner Skop, you are recognized.

19             COMMISSIONER SKOP:  Thank you, Mr. Chair.

20             I think that Commissioner Argenziano and also

21   Commissioner McMurrian raised some excellent points in

22   listening to the debate and the discussion to the extent that,

23   you know, having the ability to have additional information in

24   some instances is a good thing, because it has a predictive

25   effect, I mean, on looking at, you know, how such an assumption

FLORIDA PUBLIC SERVICE COMMISSION

27

1   would weigh into, like was mentioned, previous hypothetical

2   rate cases or something like that.  But apparently from the

3   discussion I have heard from legal, that doing something like

4   that would require reopening the record as opposed to perhaps

5   just arbitrarily picking an alternate number over and above

6   what staff has recommended.  So I think there's merits to going

7   either way.

8             CHAIRMAN CARTER:  Commissioners, any further

9   questions?

10             Commissioner McMurrian, you're recognized.

11             COMMISSIONER McMURRIAN:  This is to staff, and it is

12   going put them on the spot, and I apologize, but it's what I

13   do.  If the Commission were not to adopt staff's recommendation

14   as is with the 12 hours, what would your next best

15   recommendation be for the number of hours?

16             MR. WILLIS:  Commissioners, this would be totally not

17   in the record, but if it was up to me for a next best, I

18   wouldn't go to 16.  I wouldn't go any higher than 14.

19             CHAIRMAN CARTER:  Commissioners, any further

20   questions?  Thank you.  We are beyond our questioning, now we

21   are into our discussion and debate on the issues, and to our

22   debate and discussion on the issues.  Or discussion and debate.

23             Commissioner Argenziano, you're recognized.

24             COMMISSIONER ARGENZIANO:  That brings up another part

25   of the recommendation on the high service pumping.

FLORIDA PUBLIC SERVICE COMMISSION

28

1             CHAIRMAN CARTER:  What page is that?

2             COMMISSIONER ARGENZIANO:  Let me try to find it.  I

3   think it's several pages.

4             MS. DANIEL:  Commissioners, you can look at Issue

5   2 on Page 6.  That's the beginning of whether to exclude high

6   service pumping from the definition of storage.

7             COMMISSIONER ARGENZIANO:  Right.  I'm sorry, what

8   page did you say again?

9             MS. DANIEL:  On Page 6, Issue 2.  That's the

10   beginning of whether or not to exclude high service pumping

11   from the definition of storage.

12             COMMISSIONER ARGENZIANO:  Right.

13             CHAIRMAN CARTER:  You're recognized.

14             COMMISSIONER ARGENZIANO:  I have questions on that.

15   I was looking -- I think that, and I'm not sure whether I just

16   need more information, because, again, OPC has some points that

17   I think are legitimate points on the high service pumping, not

18   to include them.  And I guess I just need an understanding of

19   why staff or what you think about OPC's opposition.

20             MS. DANIEL:  I can give you a pretty succinct answer

21   to that.  Although there was testimony that it should be -- a

22   separate calculation might be the best alternative, the

23   majority of the testimony was that that calculation would be

24   very complex and would require a lot of judgment and, in my

25   opinion, would not be easy to put into a rule format.

FLORIDA PUBLIC SERVICE COMMISSION

29

1             MR. RIEGER:  In addition, Commissioner, the high

2   service pumping percentage-wise as to the total cost combined

3   with the storage is very, very minimal.  And the idea that a

4   high service pump and storage as far as staff's perspective is

5   that they are considered as a unit.  You can't have one without

6   the other, and that's what traditionally we have looked at

7   overall that the storage -- when storage is necessary, you have

8   high service pumps to deliver flow out of that storage and they

9   are traditionally considered a one-unit item, even though they

10   operate differently, and as was pointed out that the pumps are

11   gallons per minute and storage is just basically gallons,

12   volume.  But they are linked together and the difference in

13   price or cost is minimal and basically should be considered as

14   a unit more individually determined out between each other,

15   storage and high service.

16             CHAIRMAN CARTER:  We are in discussion and debate.

17             Commissioner Argenziano.

18             COMMISSIONER ARGENZIANO:  A question may pop up.

19             CHAIRMAN CARTER:  That's all right go ahead and ask

20   your question.

21             COMMISSIONER ARGENZIANO:  But if you don't separate

22   the storage facility when you -- let me see if I can rephrase

23   it, because in my mind it is mumbo jumbo, and I am reading some

24   of the testimony as I speak.  But I guess OPC believes that if

25   you don't separate for the purposes of percentage and in used

FLORIDA PUBLIC SERVICE COMMISSION

30

1   and useful it's -- I didn't say that right, either.

2             MS. DANIEL:  Commissioner, may I help you?

3             COMMISSIONER ARGENZIANO:  Yes, please.

4             MS. DANIEL:  It's a mismatch.  The storage is based

5   on quantity, the high service pumping is based on gallons per

6   minute.  My response to that is we looked at some annual

7   reports for some utilities.  What we found was that for those

8   systems that did have storage, we looked at the NARUC system of

9   accounts where you would find the high service pump.

10   Oftentimes there was no dollar amount in the high service pump

11   category, it was all lumped in with the cost of the storage.

12             When we did see the cost of high service pumping,

13   let's say, for example, you had a twenty or $50,000 storage

14   facility.  The cost of the pump was $2,000.  Now, I didn't look

15   at every system that had storage, but what I'm telling you is

16   we're talking about an adjustment on two, or five, maybe

17   $10,000, and to us that was not a cost-effective calculation to

18   be putting in a default rule.

19             If there is an opportunity or a question as to

20   whether those high service pumps are perhaps oversized, that to

21   us made more sense to put as an alternative calculation, to do

22   a separate calculation.  That combined with the complexity of

23   what that calculation would look like, it just didn't make

24   sense for a default rule to us.

25             COMMISSIONER ARGENZIANO:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

31

1             CHAIRMAN CARTER:  Commissioners, any further?  We are

2   in discussion and debate.  Any further discussion; any further

3   debate?

4             Commissioner Argenziano, you're recognized for a

5   motion.

6             COMMISSIONER ARGENZIANO:  Well, I don't where it is

7   going to go, but I move to deny staff's recommendation and move

8   to a 16-hour, only because I think it is somewhere in the

9   middle and may reduce rates.

10             CHAIRMAN CARTER:  Before I ask for a second, let me

11   ask Mr. Cooke does this mean we will have to surgically remove

12   a section of the rule, or does it rise and fall in toto?

13             MR. COOKE:  Commissioner, I think there is just the

14   one issue that there are questions about, which is the 12

15   versus 24 hours.  I think that is Issue 10.  And what the

16   motion is proposing is an alternative, or to not accept staff's

17   recommendation, but the Commission would be making a decision

18   on that.  At this stage of the rulemaking we are going to have

19   to issue a notice of change, because as a result of the hearing

20   a number of changes are being proposed to what was proposed in

21   the original language.  So we can go forward with the whole

22   rule as long as the Commission comes to closure on all of these

23   issues.

24             Now, if you're asking me procedurally, it sounds to

25   me like what the Commission wants to do is accept all of the

FLORIDA PUBLIC SERVICE COMMISSION

32

1   staff's recommendations on all issues but Issue 10, and there

2   is a proposal to change Issue 10, if that's clear.

3             CHAIRMAN CARTER:  I'm kind of thinking aloud with

4   you, too.  Does that mean that the process in terms of where we

5   are procedurally we will have to go back and begin anew?

6             MR. COOKE:  With the rulemaking, no, Chairman.

7             CHAIRMAN CARTER:  Commissioners, I was asking a

8   question to kind of help us all be on the same page at the same

9   time.  You have heard from -- as I said, I wanted to wait

10   before asking for a second on that.  You heard what Mr. Cooke

11   has said.  Are there any questions based upon where we are now?

12             Commissioner Edgar, you're recognized.

13             COMMISSIONER EDGAR:  Thank you, Chairman Carter.

14             I guess -- Commissioner McMurrian said earlier that

15   she was struggling, and I wasn't, but now I am.  You know, we

16   have had a lot of good questions and a lot of good discussion,

17   and our staff has pointed out, and I think a few of us have

18   chimed in, potentially in agreement, that there doesn't seem to

19   be that one magic number that everything points to.

20             I have, though, some discomfort with choosing a

21   number that seems more arbitrary to me than the 12 that our

22   staff has recommended.  So I guess I am struggling, again, to

23   use Commissioner McMurrian's earlier phrase, as to what points

24   to 16.  Realizing that rarely when we sit up here are things

25   absolutely crystal clear and 100 percent in one direction or

FLORIDA PUBLIC SERVICE COMMISSION

33

1   another, but I have heard some testimony and met with staff to

2   hear in more detail than we have today their analysis and

3   thought process pointing to the 12 and that seemed to make some

4   sense to me.

5             So I guess I'm looking for is there something in the

6   record that points to 16 as more appropriate than 12, just to

7   help flesh it out a little more.

8             CHAIRMAN CARTER:  Staff.

9             MS. GERVASI:  There is evidence in the record that

10   questions whether there is a magic number, whether 12 is always

11   going to work.  And there are other factors involving aquifer

12   recharge and so forth, as well.  I think that the record shows

13   that 12 is supportable because it seems to fit all of the

14   criteria that we are looking at.  It also is more reflective of

15   what the past Commission practice has been over many years or

16   in many cases where 12 has been used.

17             OPC certainly put that into question, and I think

18   that there is probably enough in there to show that 12 may not

19   be the exact right number, it's probably most reflective, but

20   at least one party disagrees with it for various reasons.  I

21   don't think there is anything in the record to say that 16 is

22   the right number, but I think you could probably come up with

23   something in between the two if you believe it's most

24   appropriate to do so.

25             CHAIRMAN CARTER:  Commissioner Skop.

FLORIDA PUBLIC SERVICE COMMISSION

34

1             Well, had you completed your line of questioning?

2   Commissioner Edgar.

3             COMMISSIONER EDGAR:  Thank you, Mr. Chairman, just to

4   kind of round out on that.

5             I appreciated Commissioner Argenziano's comment

6   earlier about shaking the tree sometimes, and when we talk

7   about in many instances when we are here as to what was perhaps

8   deemed determinative in some prior decisions and past policy,

9   and incipient policy, and I always find that helpful because,

10   of course, we were always here all of us for all of that.  And

11   so to hear kind of what has lead up to some of the decisions,

12   and I like to be able to put, you know, the eye of current

13   knowledge on all of those and look forward, but I do continue

14   to have some discomfort with, in an analytical post-hearing

15   process, choosing a number that seems to be somewhat arbitrary,

16   and I'm still thinking that through.

17             CHAIRMAN CARTER:  Commissioner Skop, you're

18   recognized.

19             Remember, Commissioners, just for the sake of

20   posture, we did not take a second because I wanted you to hear

21   from our General Counsel on procedurally where we were, and we

22   were talking primarily about Issue 10.

23             Commissioner Skop, you're recognized.

24             COMMISSIONER SKOP:  Thank you, Mr. Chair, and that

25   was the subject of my question I was going to ask, to direct it

FLORIDA PUBLIC SERVICE COMMISSION

35

1   to our General Counsel.  With respect to, again, the

2   hypothetical, assuming for the sake of discussion the proper

3   motion on the table was properly second, and the Commission

4   ruled affirmatively on adopting the 16 hours in lieu of the 12

5   proposed by staff.  Ultimately, we'd issue, I think, another

6   notice in the Florida F.A.C., notice that the rule had been

7   changed, and then I guess that would be subject to protest by

8   parties, or if no protest was received, then it could go into

9   effect.  Is that my correct understanding?

10             MR. COOKE:  There would be a 21-day period in which

11   parties could challenge the rule, but at that point the rule

12   would go over to the Division of Administrative Hearings.  It

13   wouldn't come back to us.

14             COMMISSIONER SKOP:  Thank you.

15             CHAIRMAN CARTER:  Commissioner Argenziano, you're

16   recognized.

17             COMMISSIONER ARGENZIANO:  Just to kind of make

18   additional comments to some of the things that we have had said

19   and some of the great discussion going on.  And what I see,

20   Commissioner Edgar, is that the arbitrary number has been 12,

21   because I can't find any definitive answer as to why 12 is

22   there.  Every time I get an answer, I have a response, and it

23   is like, okay, that's true, too.  So 12 is just as arbitrary as

24   my 16.  But I think that, you know, hearing that this is what

25   we have done in the past, or this is just the way it always has

FLORIDA PUBLIC SERVICE COMMISSION

36

1   been done doesn't make me feel that that is something that was

2   specifically designed.

3             And I want to read something very quickly from OPC's

4   testimony which really sticks to me, because I'm a Commissioner

5   here, I look for efficiencies, also, and that is part of my

6   statutory goal.  So if you can run the pump at 16 hours then

7   you are definitely getting greater efficiency.  But reading

8   this it says, "Basing the reliable capacity on 12 hours of

9   pumping after removing the largest well for service essentially

10   doubles the used and useful of a water treatment system for no

11   reason other than it has storage."

12             So without having any real understanding of why 12 is

13   the arbitrary number that has been picked without good cause to

14   show me, I'm thinking that it is just the used and useful

15   calculation that is being looked at.  So to split that and give

16   the consumer a little bit of a break and getting a greater

17   efficiency, which I'm statutorily required to do, I believe

18   that the 16 hour does that for both the company and the

19   consumer, and that is why I moved to deny staff and move to 16.

20             CHAIRMAN CARTER:  Commissioners, any further

21   questions on Item 10?  It has been moved.  Any further

22   questions before I --

23             COMMISSIONER EDGAR:  Yes, sir, I have a question.

24             CHAIRMAN CARTER:  Commissioner Edgar and then

25   Commissioner Skop.

FLORIDA PUBLIC SERVICE COMMISSION

37

1             Commissioner Edgar, you're recognized?

2             COMMISSIONER EDGAR:  A question to staff.  Is the

3   recommendation of 12 in Issue 10 arbitrary?

4             MS. GERVASI:  No.  The answer is no, it is not

5   arbitrary.  It is based on testimony of various witnesses, and

6   I think perhaps Witness Guastella may have summed it up best by

7   saying that 12 hours provides a reasonable balance, and it is a

8   balancing act that we are looking for.  It recognizes typical

9   consumption characteristics in terms of time periods, and also

10   recognizes the typical practice of resting wells to allow time

11   for recharge.  Three of the four witnesses agreed with that.

12             If you wanted to choose 16 hours, you probably would

13   want to find that that would be enough time for recharge.  At

14   least it provides some time for recharge.  I don't know that

15   there is anything in the record to say that it recognizes

16   typical consumption characteristics.  You would probably want

17   to find that there is not a need to recognize typical

18   consumption characteristics, because I think 12 hours is the

19   number that the record reflects as being the right number for

20   usage.

21             COMMISSIONER EDGAR:  And I guess to follow up on my

22   question then, I recognize we all bring our own experiences and

23   individual interpretations, but my listening through the

24   hearing and to the testimony and reviewing the information that

25   we have and discussing with staff prior to today, I did not in

FLORIDA PUBLIC SERVICE COMMISSION

38

1   my own individual interpretation as only, of course, one person

2   see 12 as arbitrary, nor did I see 12 as being the staff

3   recommendation simply because it is something that has been at

4   times used in the past.  But that is just my own

5   interpretation.

6             CHAIRMAN CARTER:  Commissioner, let me go to

7   Commissioner Skop first, and then I will come back to you.

8             Commissioner Skop, you're recognized.

9             COMMISSIONER SKOP:  Thank you, Mr. Chair.  Just a

10   quick follow up to the point that was just made by staff.

11   Correct me if I'm wrong, but I think that we talk about well

12   resting and whatever, but aren't we, in effect, talking about

13   apples and oranges.  Because the assumption of the number for

14   the purposes that we are using it, and, believe me, I will

15   stand to be corrected if I'm wrong, but the number that we are

16   choosing is just merely a number that reflects a number that is

17   used in rate calculation and so forth and so on in the used and

18   useful calculation.  It doesn't reflect the actual operation of

19   the pump.  So, how does the well resting -- I mean, I think it

20   tends to take actual practice and put it into theory in terms

21   of used and useful calculation, but that is not necessarily the

22   case.  I mean, one is the pump may or may not be operating for

23   16 hours a day, or 12 hours a day, or any time at all.  So the

24   whole well resting thing seems to be a little bit -- you know,

25   it's instructive, but to me not dispositive of the number we

FLORIDA PUBLIC SERVICE COMMISSION

39

1   choose for the used and useful calculation.  Is that correct?

2             MR. RIEGER:  That is correct.  Even staff's own

3   witness from the water management district, as we discussed

4   earlier, it was pretty indecisive about what he was pointing

5   out as to, well, maybe it does and maybe it doesn't, and that

6   is pretty much the way we walked around that scenario.

7             COMMISSIONER SKOP:  Okay.  Because the reason I ask,

8   because what you guys just said didn't come across that way.

9   It came across as being decisive and definitive that well

10   resting in a consideration for driving the 12.

11             MR. RIEGER:  No.

12             COMMISSIONER SKOP:  Which really I don't think is the

13   case.

14             MR. RIEGER:  It is just a recommended value based on

15   prior experience, and to do this you would have to definitively

16   determine on a case-by-base basis of what actually is going on

17   for the utility's individual wells, and there may or may not be

18   studies out there reflecting that.

19             And on the other side as far as customer usage, as

20   far as I know there is very little recordkeeping on an

21   hour-to-hour basis as to when do the customers or how often do

22   the customers actually use the system.  These meters are read

23   on a daily basis, and although some of the larger systems may

24   have flow charts that indicate on an hour-to-hour basis,

25   typically that is not the case.

FLORIDA PUBLIC SERVICE COMMISSION

40

1             COMMISSIONER SKOP:  So correct me again if I'm wrong,

2   but I know the intent is to take best practice and apply it

3   into rulemaking for some relevance of used and useful

4   calculation, but I think from what I am hearing is that the 12

5   is just as arbitrary as the 16.

6             MR. RIEGER:  There is some foundation based on just

7   past history and experiences, but it was based on some

8   determined number; but as far as pinpointing, no, you are

9   correct.

10             COMMISSIONER SKOP:  Okay.  And like I said, it's not

11   to be debated or anything like that, I just wanted to further

12   clarify, because again what came out to the bench I thought was

13   definitive in, no, that 12 is supported by that.

14             Again, I don't know what the right number is.  You

15   know, we rely on testimony.  We want to model it to actual

16   experiences, but, again, I think that equally staff has the

17   duty of candor, too, not to come across in some -- I wanted to

18   flesh that out a little bit, because what I was hearing made no

19   technical sense to me.  So I'll yield.

20             And then one other question to Mr. Cooke.  What would

21   be the proceeding if we wanted to get additional testimony to

22   reflect further definitization of what the number should be if

23   there are some differences of opinion on the Commission as to

24   whether 12 or 16 or 14 or 11 is the right number, what posture

25   would we have to go into?  Would it be full rulemaking or could

FLORIDA PUBLIC SERVICE COMMISSION

41

1   we go into a limiting proceeding to readily establish that

2   number and take additional testimony?

3             MR. COOKE:  In this rulemaking we went into a

4   hearing, an evidentiary hearing, and if we need additional

5   testimony we would have to vote to reopen that hearing.  We

6   would to get dates and do proper notice and conduct additional

7   presentation of evidence through witnesses, et cetera.

8             COMMISSIONER SKOP:  Mr. Chair, again, I think that as

9   you properly stated, we're in discussion as to the pending

10   motion before us.  To me I do see merit in both positions.  You

11   know, I think that there has been some expressed desire to get

12   some additional information.  Typically, I do support staff's

13   recommendation, but I recognize that this number is not easily

14   or readily fixed, so I just kind of wanted to throw that out

15   there and hear some additional --

16             CHAIRMAN CARTER:  Thank you, Commissioner.

17             Before I come back to Commissioner Argenziano, Mr.

18   Willis, you were sitting on the edge of your seat.  I don't

19   want you to fall down, so tell us what was on your mind.

20             MR. WILLIS:  Thank you, Chairman.

21             I just wanted to point out that both Mr. Cooke and

22   Ms. Gervasi pointed out awhile ago that this is a lot like rate

23   of return testimony.  You have heard evidence on both ends, and

24   I think you are free to select something in between if you do

25   not like either result.  I think case law does support that,

FLORIDA PUBLIC SERVICE COMMISSION

42

1   even though I'm not an attorney, but I do know a lot about rate

2   of return testimony and case law does support that.

3             CHAIRMAN CARTER:  He's not an attorney, but he plays

4   one on TV.  (Laughter.)

5             Commissioner Argenziano, you're recognized.

6             COMMISSIONER ARGENZIANO:  Thank you.  Because it is

7   an important issue, I just have to respond to a couple of

8   things.  I don't believe that the 12 hour is definitive.  I

9   really assumed, because for your answer you went for a stretch

10   there well resting and also aquifer recharge.  That is not what

11   we are here about, and I did ask the water management district

12   that the last time, because just as a citizen of the state of

13   Florida aquifer recharge has been a real concern of mine over

14   the years.  But that is another story.  That is called carry

15   capacity, and maybe DCA should stop the build-out of Florida, I

16   don't know.

17             But that is not what is in front of me.  I did ask

18   that.  And what was in front of me is rates and efficiencies.

19   And 12 hour is just as arbitrary as the 16 hour, because I

20   don't hear anything other than -- no specifics, nothing

21   definitive other than this is the way we have done it, well

22   resting and aquifer recharge.  That's not, to me, definitive.

23   And just because it has been done that way and there is case

24   law that does show that you don't have to have the exact

25   numbers just because they were used in the past.  They may have

FLORIDA PUBLIC SERVICE COMMISSION

43

1   been wrong in the past, or they may have been right for the

2   past but not right for now.  And that's my concern, because I

3   don't hear anything definitive as to why to use 12 other than

4   those that I just mentioned.

5             I think that the 16 hour goes to very few facilities,

6   but in those facilities that can do that we would get a greater

7   efficiency for the consumer, and that is my number one goal

8   along with making sure that the company is healthy and doing

9   business.  But to me the 12 hour just -- I didn't have enough

10   basis there.  I don't think I heard enough to convince me that

11   wasn't anything but just as arbitrary as the 16.

12             And there was one other thing I wanted to say and

13   that is -- oh, the customer use.  I am almost certain if you

14   look around the state, and I have been involved in water issues

15   for probably the last 20 years.  It may be a little different

16   than the ratemaking, but if you look around the state the

17   customer use has changed dramatically, and I think the 12 hour

18   day is not realistic anymore.

19             You have growth that needs to be taken into

20   consideration, and those numbers have changed, and to me that

21   says what is coming in the future.  When our new plants are

22   built, they are going to have to change also.  So I don't use

23   the customer number that you are using today.  I look at it a

24   little differently out in the real world, what I think it

25   really is.  So, Mr. Chair, that is just all I have to say.  I

FLORIDA PUBLIC SERVICE COMMISSION

44

1   don't want to beat it to death.  That is just my concern with

2   it.  And I wish there was more of a basis for the 12 hour

3   because it wouldn't leave me hanging.  And so I don't agree

4   with 24 hours either.  But, you know, aquifer charge, a very

5   important thing.  The water management districts needs to be

6   dealing with that with DEP, and they are.  So with that, I

7   would move to deny staff and move to the 16 hour.

8             CHAIRMAN CARTER:  Thank you, Commissioner.

9             Before we do it, let me get one further question from

10   Commissioner McMurrian and just kind of put us in the

11   procedural posture, Commissioners.  We are only looking at

12   pulling out Issue 10.  That's all we are looking at out of Item

13   3.  We are just look at pulling out Issue 10; that's all we are

14   talking about.

15             So, Mr. Cooke, we're on solid ground on dealing with

16   that, correct?

17             MR. COOKE:  Yes, Chairman.

18             CHAIRMAN CARTER:  Okay.  Commissioner McMurrian,

19   you're recognized.

20             COMMISSIONER McMURRIAN:  Thank you.

21             I wanted to go back to that point of Ms. Gervasi, I

22   think, before she said well resting, and we all heard that, and

23   talked about that a good deal.  She said that Mr. Guastella's

24   testimony pointed to the 12-hour period providing a reasonable

25   balance, and then she went on to say it also recognizes well

FLORIDA PUBLIC SERVICE COMMISSION

45

1   resting, which is what was on the Staff rec on Page 29.  And

2   this was something I was thinking about asking earlier, and I

3   think I want to ask it now.

4             We have talked about how we have used 12 hours for

5   years.  My guess is that we have used 12 hours because it was

6   halfway between zero and 24, and that that gets to that

7   reasonable balance point.  Is that really the basis for the

8   12-hour time frame?

9             MR. RIEGER:  Typically, the 12 hours, or the two

10   criteria, the majority of the customer usage does reflect

11   customer usage, which there are arguments one way or another

12   towards that, plus the use of the aquifer recharge.  And,

13   basically, we're concerned that the utility has to provide the

14   service during the peak more times than the average to have

15   that capacity to be there, and the facilities just seemed to

16   match with that number.  And we basically have seen over the

17   years little negative impact as far as that was the wrong

18   number to use.

19             COMMISSIONER McMURRIAN:  That 12 was the wrong

20   number?

21             MR. RIEGER:  I mean, that wasn't the wrong number to

22   use, the 12.

23             COMMISSIONER McMURRIAN:  I see.

24             MS. DANIEL:  And, Commissioner, if I could add to

25   that.  The 12 hours reflects when people are awake and using

FLORIDA PUBLIC SERVICE COMMISSION

46

1   water.  That's the 12 hours.

2             COMMISSIONER McMURRIAN:  I guess, Commissioners, just

3   to sort of share my thoughts out loud, and I did say I was

4   struggling with this, and I think it was because I didn't feel

5   like -- I do not think that 12 is arbitrary, but nor do I think

6   the 16 is arbitrary.  I think that you can make a reasonable

7   basis for these numbers somewhere between 12 and 16.  I would

8   feel more comfortable staying closer to 12.

9             I think consistent with what Mr. Willis said 14, I

10   was thinking, you know, if we were to move off of it a little

11   bit, I think I could feel comfortable, it's a default, we're

12   not moving far off 12, but perhaps with the comments that have

13   been made about customer usage may not track exactly to 12, but

14   we don't think it tracks exactly 16 either, perhaps, that that

15   may be a little bit too far.  But I think it could be

16   reasonable to move a little bit further than 12 and to 14.

17             I have a lot of discomfort about 16, I guess, because

18   I feel like maybe that is going a little bit too far for a

19   default, because this is going to apply in any case where

20   someone doesn't make a separate calculation.  But they do

21   always have that provision of the rule, whether it is OPC or

22   any of the parties, to use that alternate calculation.  I'm

23   comforted there that at least whenever we have separate

24   circumstances that justify it, we could do 16, or even more

25   than 16, or perhaps 12 is not even the right number and you

FLORIDA PUBLIC SERVICE COMMISSION

47

1   could even go the other way in a case.

2             So I guess where I am is I would feel more

3   comfortable if we were going to move from 12 -- and, again, I

4   don't think 12, 14, or 16 would be arbitrary based on the

5   discussion we have had and the evidence in the record.  I'm not

6   sure how to go about this, but perhaps I could offer a friendly

7   amendment to the motion to make it 14 instead of 16 and see

8   where that gets us.

9             CHAIRMAN CARTER:  Hang on one second.

10             Mr. Cooke, I'm trying to keep us procedurally,

11   because we are on Issue 10 from Item 3, and you said that there

12   is a way to deal with that without having to go back through

13   the entire rulemaking process.

14             Now, you heard what Commissioner McMurrian said, and

15   all of the Commissioners have said on this, and you heard the

16   motion by Commissioner Argenziano, as well as Commissioner

17   McMurrian's modification of that motion.  What can you advise

18   us in terms of where we are now in the context of Issue 10?  I

19   just want to be able to make sure that we have -- obviously we

20   have had a vigorous and forthright debate.  I just want to make

21   sure that we do the right thing based upon the procedures here.

22   Can you help us out, please, sir?

23             MR. COOKE:  Commissioner, we don't follow Roberts

24   Rules of Procedure, per se.  I think that the issue here is

25   trying to come to consensus on Issue 10, which I'm hearing is

FLORIDA PUBLIC SERVICE COMMISSION

48

1   the only issue that the Commission might want to make changes

2   to.

3             Commissioner Argenziano made a motion; so far it

4   hasn't been seconded.  I think if she would like to entertain

5   Commissioner McMurrian's suggestion that would be good

6   information to have at this point, and then see where it goes.

7             CHAIRMAN CARTER:  Let me do this.

8             Commissioner Skop, I will come to you in a minute.

9             Let me do this.  Commissioner Argenziano, you heard

10   General Counsel and you heard Commissioner McMurrian, what is

11   your -- let me hear your thoughts on that.

12             COMMISSIONER ARGENZIANO:  Okay.  And I will make it

13   very short, but when I read Mr. Guastella's testimony once

14   again, he testified that designing a system to have only 12

15   hours of operation is not prudent.  So I tried not to go to 24.

16   I tried to meet in the middle, so I would rather just vote no

17   if it is anything less than 16.  And I can lose the motion, I

18   don't care.  As an individual Commissioner, I think I met

19   halfway, and --

20             CHAIRMAN CARTER:  Excuse me for cutting you off,

21   Commissioner, but I do believe that Commissioner McMurrian, and

22   correct me if I'm wrong, I think you did say 16, did you not?

23             COMMISSIONER ARGENZIANO:  No.

24             COMMISSIONER McMURRIAN:  14.

25             CHAIRMAN CARTER:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

49

1             COMMISSIONER ARGENZIANO:  I said 16.

2             CHAIRMAN CARTER:  Oh, you said 16.  I knew I heard it

3   someplace.

4             Commissioner Skop.

5             COMMISSIONER SKOP:  Thank you, Mr. Chair.

6             Just one quick follow up on Commissioner McMurrian's

7   question to our General Counsel.  Would I be correct to

8   understand that -- I mean, if we change this from 12 to 16 and

9   vote on it, we still have to go through the 21-day notice and

10   then subject to protest.  If we, for the sake of discussion,

11   and I have heard this, I think, once or twice, but it seems to

12   me that there wants to be discretion, or at least there is some

13   view to have the discretion within the rule to apply the

14   appropriate number, whether it be 12 in some cases, or 16 in

15   others, if something were fashioned in a manner like that that

16   would provide the -- you know, 12 is a default with the

17   discretion to use 16 or another appropriate number as the

18   Commission deems appropriate.  Would that put us in the same

19   posture where the rule, if it were changed on the fly like

20   that, would still go through the same procedure, a 21-day

21   notice and then protest or then go into effect?

22             MS. GERVASI:  The notice of change will need to be

23   published if the Commission makes any changes at all to what

24   the rule looked like when it was initially proposed.

25             MR. COOKE:  I thought you were asking whether this is

FLORIDA PUBLIC SERVICE COMMISSION

50

1   a default number.

2             COMMISSIONER SKOP:  Well, let me clarify.

3   Commissioner McMurrian raised the point, and actually I thought

4   she was going to go in one direction and then she kind of

5   pulled back from that.  Instead of 14, if we had the

6   discretion, say we made it 16 with the discretion to choose a

7   different number less than that, or 12 with the discretion to

8   use a higher number at our discretion within the scope of the

9   modified rule that we are changing here.  So, my understanding,

10   if that were to happen, other than me just seconding the

11   motion, which I'm willing to do, but tweaking it like that

12   would just go through the same procedural process to the extent

13   that if it was 12 by default with the discretion of the

14   Commission to choose a higher number as deemed appropriate by

15   the Commission, then it's just a matter of changing that

16   language, noticing for 21 days, and then subject to it not

17   being protested, it becomes a proper rule.  Is that correct?

18             CHAIRMAN CARTER:  Commissioners, hang on a second.

19   And, Mr. Cooke, hold on, just to give you an opportunity to

20   kind of just collect your thoughts and all like that.  I did

21   promise to give the court reporter a break, and I think it

22   seems like we are at a breaking point.  We are talking

23   primarily about Issue 10 from Item 3, and there may be an

24   opportunity with our legal staff to look at that to give the

25   Commissioners some leeway.  You have heard our discussion and

FLORIDA PUBLIC SERVICE COMMISSION

51

1   heard our debate and all like that, and let's just kind of take

2   ten minutes and let you guys look at the law books, and Black's

3   Law Dictionary, or whatever you look at, and you have gotten a

4   feel for where the Commissioners are, and if we can resolve

5   this, let's resolve it.  If we can't, let's move on and take

6   care of the rest of the portion of the issues that are confined

7   within Item 3.

8             So, with that, Commissioners, we are on a ten-minute

9   break.

10             (Recess.)

11             CHAIRMAN CARTER:  We are back on the record.  And

12   when we last left there was a motion by Commissioner Argenziano

13   to deny staff's recommendation on Issue 10.

14             Commissioner Skop, you're recognized.

15             COMMISSIONER SKOP:  Thank you, Mr. Chair.

16             And to that point, I would like to second the motion.

17   And I'm comfortable doing so just simply by virtue of Item

18   Number 3 and the rule where the utility would have the burden

19   of proof, and under that Subsection 3 of showing that a

20   different calculation should apply.  So, again, they have that,

21   but they also have the burden of proof, so I'm comfortable

22   seconding Commissioner Argenziano's motion, and I will leave

23   that burden to the utility should they wish to do that on a

24   case-by-case basis.

25             CHAIRMAN CARTER:  Okay.  Commissioners, we have

FLORIDA PUBLIC SERVICE COMMISSION

52

1   had -- I mean, if there is any further discussion or debate?

2             Hearing none, there is a motion that has been

3   properly seconded on the floor that we deny staff's

4   recommendation on Issue 10.  All those in favor let it be known

5   by the sign of aye.

6             COMMISSIONER SKOP:  Aye.

7             CHAIRMAN CARTER:  Aye.

8             COMMISSIONER ARGENZIANO:  Aye.

9             CHAIRMAN CARTER:  Those opposed?

10             COMMISSIONER McMURRIAN:  Nay.

11             COMMISSIONER EDGAR:  Nay.

12             CHAIRMAN CARTER:  Show it approved.

13             Now we are back on the issues in Item 3 over and

14   above Item 10.  Any discussion?

15             Commissioner Edgar, you are recognized.

16             COMMISSIONER EDGAR:  Thank you, Mr. Chairman.

17             I will vote to approve the staff recommendation,

18   excuse me, make the motion to approve the staff recommendation

19   on the remaining issues for Item 3.

20             COMMISSIONER McMURRIAN:  Second.

21             CHAIRMAN CARTER:  It has been moved and properly

22   seconded that we adopt staff's recommendation on the remaining

23   issues in Item 3.  All those in favor, let it be known by the

24   sign of aye.

25             (Unanimous affirmative vote.)

FLORIDA PUBLIC SERVICE COMMISSION

53

1             CHAIRMAN CARTER:  Those opposed, like sign.

2             Show it done.

3                             * * * * * *

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

54

1

2   STATE OF FLORIDA    )

3                       :              CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

6   Section, FPSC Division of Commission Clerk, do hereby certify

that the foregoing proceeding was heard at the time and place

7   herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 21st day of April, 2008.

15

16             ___________________________________________

JANE FAUROT, RPR

17                   Official FPSC Hearings Reporter

(850) 413-6732

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION