| SOURCE |  | Company Name: |  | Florida Industrial Cogeneration Association | Florida Industrial Cogeneration Association |
| --- | --- | --- | --- | --- | --- |
|  |  | Applicable Utility Service Area | (if any) | Florida Power & Light, Progress Energy, Tampa Electric | Florida Power & Light, Progress Energy, Tampa Electric |
|  |  | Energy Resource: | (Individual Type) | Waste heat from sulfuric acid manufacturing process | Waste heat from sulfuric acid manufacturing process |
|  |  | Energy Resource Type: | (Category) | Waste Heat | Waste Heat |
|  |  | Resource Scale | (Unit or Aggregate) | UNIT --Heat recovery technology available in 8 MW increments (1) | AGGREGATE -- 140 MW |
|  |  | Unit Status | (Existing or Planning) | Potential | Potential |
| COMMERCIAL AVAILABILITY |  | Typical Unit Annual Capacity Rating | (MW) | Increments of about 8 MW dependent on site specifics(2) | 140 MW aggregate potential new generating capacity |
|  |  | Earliest Commercial In-Service Date | (Year) | 2010 | 2010 |
|  |  | Typical Construction & Permitting Time | (Years) | 2 to 3 years | 2 to 3 years |
|  |  | Useful Life of Unit | (Years) | 30 years | 30 years |
|  |  | Fuel Type |  | No fuel used except minimal natural gas or oil for startup | No fuel used except minimal natural gas or oil for startup |
| PERFORMANCE CHARACTERISTICS |  | Contribution to Summer Peak Demand | (MW) | Heat recovery technology available in 8 MW increments | 140 MW aggregate potential new generating capacity |
|  |  | Contribution to Winter Peak Demand | (MW) | Heat recovery technology available in 8 MW increments | 140 MW aggregate potential new generating capacity |
|  |  | Average Annual Heat Rate | (BTU/kWh) | Not applicable/available(3) | Not applicable/available(3) |
|  |  | Equivalent Availability Factor | (%) | 95% | 95% |
|  |  | Average Annual Generation | (MWH) | Estimated at 55,000 MWH | Estimated at 1,000,000 MWH |
|  |  | Resulting Capacity Factor | (%) | Approximately 80%(2) | Approximately 80%(2) |
| ENVIRONMENTAL CHARACTERISTICS | Emission Rates | Carbon Dioxide (CO2) | (lb/kWh) | ZERO lb/kWh | ZERO lb/kWh |
|  |  | Sulfur Dioxide (SO2) | (lb/kWh) | ZERO lb/kWh | ZERO lb/kWh |
|  |  | Nitrogen Oxide (NOX) | (lb/kWh) | ZERO lb/kWh | ZERO lb/kWh |
|  |  | Mercury (Hg) | (lb/kWh) | ZERO lb/kWh | ZERO lb/kWh |
|  |  | Water Usage | (gal/kwh) | ZERO lb/kWh | ZERO lb/kWh |
| ESTIMATED COST DATA |  | First Year of Commercial Operation | (Year) | 2010 | 2010 |
|  | Installed Capital | Cost(1) | ($/kw) | $3,500 to $4,000 per kW in 2008 dollars(4) | $3,500 to $4,000 per kW in 2008 dollars(4) |
|  |  | Escalation Rate | (%) | Greater of 5% or CPI | Greater of 5% or CPI |
|  | O & M - Fixed | Cost(1) | ($/kw-year) | $40/kW-year (estimated and subject to change) | $40/kW-year (estimated and subject to change) |
|  |  | Escalation Rate | (%) | Greater of 5% or CPI | Greater of 5% or CPI |
|  | O & M - Variable | Cost(1) | ($/kwh) | Not available at this time | Not available at this time |
|  |  | Escalation Rate | (%) | Not available at this time | Not available at this time |
|  | Fuel | Cost(1) | ($/kwh) | Not Applicable - nominal natural gas or oil for start up | Not Applicable - nominal natural gas or oil for start up |
|  |  | Escalation Rate | (%) | Not Applicable and/or not available at this time | Not Applicable and/or not available at this time |
|  |  | Discount Rate | (%) | Not Applicable | Not Applicable |
|  |  | Levelized Cost(2) - Life of Unit | (cents/kwh) | 10 cents/kWh (2008 dollars) plus annual CPI excluding energy (4) | 10 cents/kWh (2008 dollars) plus annual CPI excluding energy(4) |

FOOTNOTES:  See Next Sheet

FOOTNOTES / ADDITIONAL NOTES

(1)	The latest technology for additional waste heat recovery is typically available in increments of approximately 8 megawatt as a retrofit to 	existing sulfuric acid plants or as original equipment on new plants.  Depending on site specifics incremental generating capacity could be as 	small as 8 megawatt or multiples of 8 megawatts

(2)	The data forms request information sufficient to calculate and compare “effective” capacity contributions each technology.  FICA strongly 	encourages the Commission to do so. For Example:

An 800 mW coal plant, with an installed cost of $4 Billion would equate to a nominal installed cost $5,000 per kW.  Assuming an 80% 	capacity factor, the effective capacity would be 640 mW and the effective cost would be $6250 per kW. (This cost does not include the 	cost of fuel or environmental costs which are substantial)

An 80 mW solar facility with an installed cost of $500 Million would equate to a nominal installed cost of $ $6,250 per kW.  Assuming a 22% 	capacity factor, the effective capacity would be 17.6 mW and the effective cost would be in excess of $28,000 per kW.  (This cost does not 	include environmental costs associated with some solar technologies.)

At $4,000 per kW), the effective installed cost of waste heat capacity would be $5,000 per kW - over 80% less than the effective cost 	of solar. 	Waste heat has all the positive attributes of solar photo-voltaic but at a much lower nominal and effective capacity cost per kW. Like solar 	photo-voltaic, waste heat has zero environmental costs or impacts.

(3)	Waste heat produces both process steam for manufacturing and byproduct electricity.  As such, heat rate in the sense of a

dedicated “fuel consuming” generating plant is not monitored or applicable in this instance.

(4)	This number is a representative estimate that can vary by specific application and various facility specific factors.

(The remainder of this page is blank.)

RESPECTFULLY submitted the 11th day of August, 2008.

/s/	Richard A. Zambo

__________________________________

Richard A. Zambo

Florida Bar No. 312525

Richard A. Zambo, P.A.

2336 S.E. Ocean Boulevard, #309

Stuart, Florida 34996

Phone:	 (772) 221-0263, FAX:  (772) 232-0205

Email:	richzambo@aol.com

Attorney for:	Florida Industrial Cogeneration Association