1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO:  UNDOCKETED

3

4   In the Matter of

5   REVIEW OF TEN-YEAR SITE

PLANS OF ELECTRIC UTILITIES.

6                                   /

7

8

9

10             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

11               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

12

13

PROCEEDINGS:        WORKSHOP

14

BEFORE:             CHAIRMAN MATTHEW M. CARTER, II

15                       COMMISSIONER LISA POLAK EDGAR

COMMISSIONER KATRINA J. McMURRIAN

16                       COMMISSIONER NATHAN A. SKOP

17   DATE:               Wednesday, August 12, 2008

18   TIME:               Commenced at  9:30 a.m.

Concluded at 10:41 a.m.

19

PLACE:              Betty Easley Conference Center

20                       Room 148

4075 Esplanade Way

21                       Tallahassee, Florida

22   REPORTED BY:        LINDA BOLES, RPR, CRR

Official FPSC Reporter

23                       (850) 413-6734

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1   IN ATTENDANCE:

2             SARAH ROGERS and JOHN ODOM, representing the Florida

3   Reliability Coordinating Council.

4             GARY FREEMAN, representing the Florida Cost-Based

5   Broker System.

6             CAROLINE KLANCKE, ESQUIRE, TOM BALLINGER and ROBERT

7   GRAVES, representing the Florida Public Service Commission

8   Staff.

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                              I N D E X

2   PRESENTATION BY:                                     PAGE NO.:

3        SUSAN ROGERS, FRCC                                 5

4        GARY FREEMAN, Florida Cost-Based                  32

Broker System

5

6

7

8

9

10

11

12

13

14

15   CERTIFICATE OF REPORTER                                45

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1                         P R O C E E D I N G

2             CHAIRMAN CARTER:  Good morning to everyone.  I'd like

3   to call this workshop to order.  I want to welcome everyone

4   here this morning on our electric utilities Ten-Year Site

5   Plans.  And with that, Counsel, would you please read the

6   notice.

7             MS. KLANCKE:  Pursuant to notice, this time and place

8   has been set for the purpose of conducting a Commission

9   workshop in the undocketed review of Ten-Year Site Plans.

10             CHAIRMAN CARTER:  Thank you.  Commissioners, a brief

11   agenda for today's workshop has been provided to each of you as

12   well as to all of the parties.  It's been sent to them.  The

13   Florida Reliability and Coordinating Council is here to

14   summarize our 2008 Regional Load and Resource Plan.  They're

15   also going to give us an update on the evaluation of the energy

16   dependency of the electric generation and natural gas

17   pipelines.  We're also going to have an update from the Florida

18   Cost-Based Broker System.  And we -- at any time our staff or

19   Commissioners may ask questions as we proceed.

20             At this time, staff, you're recognized.

21             MR. GRAVES:  Thank you, Chairman.  Our first

22   presenter today will be Ms. Sarah Rogers, who is the President

23   and CEO of the FRCC.  And following Ms. Rogers will be

24   Mr. Gary Freeman, who has been appointed Chairman of the

25   Florida Cost-Based Broker System.

FLORIDA PUBLIC SERVICE COMMISSION

5

1             CHAIRMAN CARTER:  Good morning and welcome.

2             MS. ROGERS:  Thank you, Chairman, Commissioners.

3   It's good to see you all.  And I appreciate the opportunity to

4   present results of our analysis of the Ten-Year Site Plan at

5   this workshop.

6             In our analysis, we really look at three basic

7   things.  We look at does the generation match the load?  Will

8   we have sufficient generation for the load growth that's

9   projected within the state?  We also look at whether or not

10   we've got sufficient fuel supply and delivery for that

11   generation, the existing generation and the planned generation.

12   And then thirdly we look at whether or not the transmission

13   system is robust enough to carry that generation to the load

14   centers.  And really that's sort of the picture I want to paint

15   for you today, and I'll take each one of those separately.

16             So the purpose of the Florida Reliability Council is

17   to ensure and enhance the reliability and adequacy of the bulk

18   power supply in Florida now and into the future, and that's

19   been our mission for a long time and it hasn't changed.

20             So first I'm going to go over the load and resource

21   plan.  And really the message here is do we have enough

22   generation to meet our load forecast?  So this is part one.

23   This is the load forecast compiled from all the utilities.  And

24   you'll note the solid line is the 2008 forecast, and the 2007

25   forecast, the previous forecast is on the dotted line.  Again

FLORIDA PUBLIC SERVICE COMMISSION

6

1   this year we see a decrease in the load projection, and that's

2   primarily due to a decrease in the economy.  It is the net

3   peak, which is the total demand minus load management and

4   interruptibles.  So there may be an impact because I know there

5   has been a projection of more demand-side management than in

6   the past.  But this represents a 1.3 percent compound annual

7   growth rate as opposed to 2.0 from last year.  So we continue

8   to see a more and more conservative load forecast as our

9   economy has struggled somewhat.

10             This is the winter demand, and again it's the same

11   story.  The compound annual growth rate is 1.5 versus

12   2.0 compared to last year.  And, again, it's the depressed,

13   more depressed economy than we've seen in the past.

14             If we look at our total capacity, in blue we show the

15   existing capacity and red is the cumulative additions.  Green

16   is the nonutility generators and white is the interchange,

17   essentially what we're importing into the state.  The

18   nonutility generators would also include municipal solid waste

19   and heat recovery and things like that.

20             If we look at our reserve margin, we see that it is

21   above the FRCC minimum of 15 percent.  And there's three points

22   I'd like to make about the reserve margin.  First of all,

23   30 percent of our reserve margin is made up of demand-side

24   management.  So it's not all iron in the ground.  30 percent of

25   that is cutting off water heaters or interrupting interruptible

FLORIDA PUBLIC SERVICE COMMISSION

7

1   load.  So we analyze that every year because we want to ensure

2   that the demand-side management percentage of the reserve

3   margin doesn't get so great that we're interrupting customers

4   on a regular basis.  Because we found in the past that when you

5   interrupt customers on a regular basis, they, there's a mass

6   migration out of the plans, because these are voluntary plans.

7   And what happens when you invoke demand-side management on a

8   regular basis and people leave the plans, then the utilities

9   are forced to scramble and put in additional peaking power to

10   make up for that sudden load increase.  So it's a very delicate

11   balance.  And last year we were about 30 percent.  This year

12   again we're about 30 percent.  So that's something that we

13   really keep a very close eye on and look at.

14             Additionally, the numbers here are higher than last

15   year because the load forecast has decreased.  So if we

16   suddenly have a change in our economy, and history has shown

17   that there tends to be a big upwards swing in Florida when the

18   economy recovers, this gives us a little margin in the event

19   that our economy does recover between now and 2017, which I

20   think we all hope happens sooner rather than later.  So those,

21   those are the points that I would really want you to look at.

22             And I can also show you a slide that shows the

23   reserve margin without demand-side management.  So how much of

24   that is really made up of generation?  Would you like me to

25   show you that slide?

FLORIDA PUBLIC SERVICE COMMISSION

8

1             CHAIRMAN CARTER:  Absolutely.

2             MS. ROGERS:  Okay.  Or I can't really.  He can make

3   that happen.

4             CHAIRMAN CARTER:  The wizardry of high technology.

5             MR. POTTS:  Is that the right one?

6             MS. ROGERS:  Yes.  That's the correct one.

7             So you can see in the winter we're closer to that

8   20 percent.  And in the summertime we're well below the

9   15 percent for, for near-term years.

10             One of the questions that has come up is what would

11   happen if the stipulated agreement between the Public Service

12   Commission and the investor-owned utilities were changed or

13   reversed?  And the concern I would have there is that suddenly

14   the, if we did that, the percentage of reserve margin that was

15   made up of demand-side management would remain constant;

16   whereas, the -- or the number of megawatts for demand-side

17   management would remain constant while the generation would

18   shrink.  So we would have a much greater percentage of

19   demand-side management, and we would then be in the danger of

20   people abandoning those plans and be forced to put in more

21   peaking power, which is exactly what the state doesn't need.

22   We need baseload power, which by nature is kind of chunky and

23   gives us this uneven look.

24             If you want to switch back for me.

25             MR. POTTS:  Is that correct?  That's the other one.

FLORIDA PUBLIC SERVICE COMMISSION

9

1             MS. ROGERS:  There we go.

2             Okay.  So when we look at reserve margin, we want to

3   ensure that the regional minimum criteria of 15 percent is met.

4   And from the slides you could see that the planned reserve

5   margin exceeds 20 percent for all peak periods over the next

6   ten years.  And I will mention that there, again, that there is

7   a stipulated agreement between the Public Service Commission

8   and the investor-owned utilities for a 20 percent reserve

9   margin, which was really based on the fact that we were in the

10   past invoking demand-side management very regularly and people

11   were abandoning the plan, so.

12             MR. GRAVES:  Excuse me, Ms. Rogers.

13             MS. ROGERS:  Certainly.

14             MR. GRAVES:  I just have a couple of quick questions

15   back on Slide 8.  And I think you had mentioned that the change

16   in the forecast, which I guess would affect the new units

17   coming in, do you know how many of the new units before 2013

18   are certified or under construction currently?

19             MS. ROGERS:  The majority of them are.  I don't have

20   an exact number for you, but the majority have been committed.

21             MR. GRAVES:  Okay.  And do you know if any of the

22   utilities are studying ways to minimize cost by reducing the

23   reserve margin planning criteria?

24             MS. ROGERS:  I am not aware of that.

25             MR. GRAVES:  Okay.  Thank you, ma'am.

FLORIDA PUBLIC SERVICE COMMISSION

10

1             CHAIRMAN CARTER:  Commissioners, any questions?

2             Thank you.

3             MS. ROGERS:  I've talked a lot about demand-side

4   management and I wanted to show you a slide from some figures

5   we got from NERC.  What this slide shows is the percentage of

6   demand-side management relative to regional peak.  And I think

7   this is a really great story for Florida.  We lead North

8   America in the percentage of demand-side management that we

9   have.  And the message here is that's generation that doesn't,

10   so long as people continue to stay in the programs, doesn't get

11   built.  And, you know, people often say the cheapest megawatt

12   is a megawatt you don't use.  And at 6.2 percent we do lead the

13   nation, and I think that's a great reflection on the Commission

14   and the utilities that they regulate.

15             MR. GRAVES:  Sorry.

16             MS. ROGERS:  Certainly.

17             MR. GRAVES:  I have one more question.  Back on Slide

18   10, that 6.2 percent, does that figure include dispatchable DSM

19   such as load management and non-dispatchable DSM such as attic

20   insulation and AC rebate programs?

21             MS. ROGERS:  It does not include energy efficiency.

22   It includes demand-side management like water heaters and pool

23   pumps and it includes interruptibles.  So it's load management

24   and interruptibles.  But I do have a slide later on on energy

25   efficiency, which is also a very good story.

FLORIDA PUBLIC SERVICE COMMISSION

11

1             Any other questions?  Okay.

2             Well, let's look at our fuel diversity.  This slide

3   has changed significantly since last year.  As you may recall,

4   last year there were a number of utilities that were planning

5   to build coal units and all of the coal units have been

6   canceled, and the majority of that generation has been planned

7   as gas going forward.  So last year we were about 39 percent of

8   our energy came from natural gas.  This year we're projecting

9   42 percent and we're expecting it to grow to 55 percent.

10             Additionally, another change this year is last year

11   we went up to 2016, and I don't know if that showed the nuclear

12   units that were planned for Levy County there.  So we show an

13   increase in 2017 in the nuclear side.

14             If we look at, if we look at the numbers from a pure

15   capacity standpoint, you can see that the majority of our

16   capacity in the state today is gas and is expected to be that

17   in the future.  And just to sort of put that in perspective,

18   nationwide it's about 20 percent.  So Florida is much more

19   dependent upon natural gas than the rest of the nation.  Maybe

20   Texas is in sort of the same situation as we are.

21             Renewables, this has been -- a lot of talk about

22   renewables.  In Florida, our renewables are still, today are

23   municipal solid waste.  And this is the nameplate rating of

24   the -- so it's an iron in the ground picture of where we stand

25   today.  Any questions on --

FLORIDA PUBLIC SERVICE COMMISSION

12

1             CHAIRMAN CARTER:  Commissioner Edgar.

2             COMMISSIONER EDGAR:  Going back a moment, if I could,

3   on Slide 11.  I'm sorry.  You blew right by me there.

4             MS. ROGERS:  I'm sorry.

5             COMMISSIONER EDGAR:  That's okay.  On Slide 11, could

6   you shed a little light for me on the difference in the yellow

7   for the other category of the pie charts from 14 percent to

8   5 percent?

9             MS. ROGERS:  Other represents net sales and

10   purchases, so it's net imports.  And also unsorted fuels like

11   pet coke, things that don't fall into the -- they're not really

12   renewables and they don't fall into the other categories.

13             COMMISSIONER EDGAR:  So is the difference there,

14   generalizing, taken up by the increase in natural gas over that

15   time period as well?

16             MS. ROGERS:  Yes.

17             COMMISSIONER EDGAR:  As well as the coal primarily?

18             MS. ROGERS:  Correct.

19             COMMISSIONER EDGAR:  All right.  Thank you.

20             CHAIRMAN CARTER:  Commissioners, anything further?

21   Thank you.

22             MS. ROGERS:  Any questions on --

23             CHAIRMAN CARTER:  I think you were on 13.

24             MS. ROGERS:  -- on renewables, on Slide 13?

25             CHAIRMAN CARTER:  You were on 13?

FLORIDA PUBLIC SERVICE COMMISSION

13

1             MS. ROGERS:  Yeah.

2             CHAIRMAN CARTER:  Any questions on Slide 13?  Thank

3   you.

4             MS. ROGERS:  Okay.  Please do stop me because I will

5   kind of move along, and I don't mind going back at all.

6             This is what the renewable forecast, what's been

7   planned through 2017, and we see a big increase compared to

8   last year in solar.  The biomass and wood products have also

9   increased.  But we're not yet projecting where some of the

10   targets have been laid out, you know, to have a 20 percent

11   renewables forecast at this point in time.  But any questions

12   on the -- yes.

13             MR. GRAVES:  Yes, ma'am.  I have one quick question.

14   Do you know if these planned renewable generators are under

15   contract with the utilities or not?

16             MS. ROGERS:  I believe so.  John?

17             MR. ODOM:  Some of them are, but many of them are in

18   the development stages where they're just looking to trying to

19   determine how, how best to get started.  But some of them are

20   under contract and others are under development.

21             CHAIRMAN CARTER:  Any idea about the amount of

22   megawattage that's under contract?

23             MS. ROGERS:  I think it's all but 12.  There's 2 on

24   feasibility.

25             CHAIRMAN CARTER:  Is that such a word, megawattage?

FLORIDA PUBLIC SERVICE COMMISSION

14

1             MR. ODOM:  Scott just said there's 12 under the

2   feasibility, so, yes.

3             MS. ROGERS:  Yeah.  So all but 12.

4             MR. GRAVES:  Okay.

5             CHAIRMAN CARTER:  So of the 468 megawatts, all but 12

6   are under contract or in the process of negotiation?

7             MS. ROGERS:  That's correct.  And this includes both

8   firm purchases and nonfirm.

9             CHAIRMAN CARTER:  Thank you.  Commissioners, any

10   further questions?

11             Commissioner Skop, you're recognized, sir.

12             COMMISSIONER SKOP:  Good morning.

13             MS. ROGERS:  Good morning.

14             COMMISSIONER SKOP:  Thank you, Mr. Chair.

15             Just with respect to the expected forecast, I don't

16   see any wind element there and I was just wondering whether

17   that might have been inadvertently left off or if there's --

18   because at least, I guess, FPL was proposing to do some wind.

19   I know that's kind of bogged down right now, but I just wanted

20   to see whether that element was --

21             MS. ROGERS:  That's a very good question.

22             MR. ODOM:  Yes.  I'm John Odom of FRCC.  The wind

23   element, in the individual breakdown there are small wind

24   projects but they weren't of a size that, that would be

25   significant in this chart and so, so we left those off.

FLORIDA PUBLIC SERVICE COMMISSION

15

1             COMMISSIONER SKOP:  Okay.  Well, I guess with respect

2   to the proposed project, it was supposed to be, I think, 13

3   plus megawatts, so I guess it would be at least greater than

4   landfill gas on there.  But, anyway, I was just -- I know in

5   RPS and pursuant to legislative mandates, you know, we're

6   supposed to look at solar and wind, so I keep beating the drum

7   there for both.  So thank you.

8             MS. ROGERS:  We appreciate that.

9             Any further questions on this slide?

10             CHAIRMAN CARTER:  Any idea about the -- I notice you

11   said that there was some wind.  Any idea about a range, the

12   amount?  I don't want to say megawattage again, but the number

13   of megawatts that may possibly be available for that?

14             MS. ROGERS:  For wind?

15             CHAIRMAN CARTER:  Yes.  I know we've got -- well, I

16   think probably you've got hydro here with zero and probably

17   Commissioner Skop was looking at the schedule and was probably

18   saying, well, maybe there should have been a category that said

19   wind and maybe zero or maybe one or whatever the case may be.

20             MS. ROGERS:  And we can make that modification.

21             CHAIRMAN CARTER:  Okay.  We'd appreciate that.

22             MS. ROGERS:  Okay.

23             CHAIRMAN CARTER:  Thank you.

24             MS. ROGERS:  This next slide represents conservation

25   or avoided generation.  And this is increased attic insulation,

FLORIDA PUBLIC SERVICE COMMISSION

16

1   you know, generation needs that will not appear because of

2   proactive measures of the utilities and homeowners and

3   businesses to avoid the need for generation.  And the good news

4   here is that we continue to see that grow.  And

5   4,000 megawatts, that's a significant amount of generation that

6   the State of Florida has been able to avoid building through

7   having very proactive conservation and energy efficiency

8   programs.

9             Next we'll look at the nuclear forecast.  We

10   currently have five nuclear plants in the state.  There's going

11   to be some uprates on those existing plants to squeeze the

12   extra megawatts out of what we have.  And then we also show

13   Levy 1 and 2 coming on in 2016 and 2017.

14             CHAIRMAN CARTER:  Commissioners?  Staff?  Thank you.

15             MS. ROGERS:  If we look at our energy production from

16   natural gas, this slide obviously has changed a lot from last

17   year as well.  We continue to see a very sharp rise in the

18   percentage in the state that comes from natural gas.  And, and

19   that's mainly because the -- we had seen that tapering off last

20   year as the utilities planned coal generation.  And with the

21   coal projects being canceled, the majority of that generation

22   has been replaced with natural gas.

23             So the conclusion of the load and resource

24   assessment, and, again, this is do we have the generation we

25   need to match the load that we project, is that we -- the

FLORIDA PUBLIC SERVICE COMMISSION

17

1   answer is yes.  The results of the resource adequacy review

2   indicate that the FRCC region has planned adequate reserves to

3   remain reliable over the next ten years.  So we have the answer

4   to the first question.

5             CHAIRMAN CARTER:  Commissioners, any, any questions

6   on this first section?  Staff, any further questions on this

7   first section?  Thank you.  You may proceed.

8             MS. ROGERS:  Since Florida is becoming more and more

9   reliant upon natural gas, it's very incumbent upon FRCC to, to

10   look at that situation and make sure that we have adequate

11   supply and delivery for the plants that are planned.  But we

12   also recognize that, you know, today the issue is natural gas.

13   Tomorrow the issue could be another fuel.  So we want to look

14   at fuel more holistically rather than just at natural gas.

15             So what I want to talk to you about today regarding

16   fuel is a new working group that we've created called the FRCC

17   Fuel Reliability Working Group, I want to give you an update on

18   the Gas Study Project and I want to talk to you a little bit

19   about some fuel reliability coordination plans that we've put

20   in place since the last workshop.

21             Several years ago it was recognized that there is a

22   tremendous interdependency upon electric generation and fuel

23   availability.  That's kind of an obvious statement, I think.

24   But we want to understand the fuels and the potential impacts

25   to reliability, so FRCC identified the need for a long-term

FLORIDA PUBLIC SERVICE COMMISSION

18

1   solution and we created the Gas Study Project.  And it was,

2   part of it was spurred on and made more urgent by the hurricane

3   history that we had in 2005 when Katrina and Rita interrupted

4   some of the supply from the Gulf Coast and that impacted

5   Florida, and we want to make sure that that doesn't happen

6   again going forward.  We want to look at the potential impacts

7   of fuel reliability on electricity reliability, the need for a

8   forum to continue to enhance fuel awareness, develop a better

9   understanding of the interdependencies and an efficient way to

10   respond to issues on a regional basis when we do have them.

11             So we created the Fuel Reliability Working Group last

12   year.  And it's -- they sort of -- it's run jointly by the

13   Operating Committee and the Planning Committee at the FRCC, and

14   it reports to the Operating Reliability Subcommittee, which we

15   call ORS, so you may hear me say that word, ORS.  It's a good

16   fit because the potential fuel impacts can clearly have an

17   impact on transmission and generation, and we need to

18   coordinate short-term fuel issues within the state.  And all

19   these deliverables bubble up to the standing committees being

20   the Operating Committee and the Planning Committee.  So we've

21   got a group that's really focused on this and looking at it.

22             And their scope, the regional fuel reliability forum

23   that studies the interdependencies of fuel reliability and

24   electric reliability and supports the coordinated regional

25   responses to fuel issues and emergencies.  They now have

FLORIDA PUBLIC SERVICE COMMISSION

19

1   oversight of the Gas Study Project, its support for real-time

2   emergency response regarding any potential fuel impacts to

3   system reliability, we provide input on regional fuel

4   reliability positions for NERC when we do our long-term

5   reliability assessments and the responsibility for development

6   of regional fuel reliability positions as requested by any

7   external regulatory bodies such as yourselves.

8             The Gas Study Project, as you may recall, I gave a

9   fairly detailed update on this last year.  We've created a

10   model that is very similar to the power flow model that enables

11   us to look at contingency analysis on the gas system, on the

12   pipeline system and see how that impacts the generation.  And

13   my message to you last year was that because the majority of

14   our plants run on, have dual fuel capability or are, have dual

15   pipeline capability, we really did not have a lot of risk.  It

16   was about 7,100 megawatts of risk for the loss, you know, for a

17   major loss of a gas pipeline.  So on an ordinary day we could

18   sustain that.  On a peak day clearly there would be some impact

19   to our customers.

20             We continue to update the flow models.  The

21   infrastructure for gas continues to expand.  As more gas plants

22   are announced, their associated pipelines, you know, follow or

23   maybe slightly precede that.

24             We look at the alternate fuel capability, fuel

25   storage, dual pipeline capability and the usage data.  And

FLORIDA PUBLIC SERVICE COMMISSION

20

1   these flow models and database are very, very valuable tools

2   for us in evaluating reliability for the electrical system.

3             CHAIRMAN CARTER:  Sarah, excuse me.  On the, what do

4   you call it, the LNG, anything on those in your consideration

5   or your evaluation?

6             MS. ROGERS:  Right now we're not modeling them.

7   Until those plants get certified and licensed, we continue to

8   not model them.  But any supply diversity is a good thing for

9   reliability, but the cost of that is more between you and the

10   electric utilities.

11             CHAIRMAN CARTER:  Isn't that always the way it is?

12             MS. ROGERS:  Absolutely.

13             CHAIRMAN CARTER:  Commissioners, anything?

14             Thank you, Sarah.

15             MS. ROGERS:  This is a representative diagram of the

16   gas system today.  You can see at the very top coming into

17   Jacksonville is the Cypress Pipeline which does have LNG

18   capability and that gives us some fuel diversity.  And one

19   thing I'll point out on this, we often think of the fuel

20   supply, the gas supply into the state as being two pipelines.

21   But if you look at the Florida natural gas network in red, it's

22   actually several looped lines, and those pipes are buried about

23   12 feet apart on a, on a common right-of-way.  So when we think

24   about, you know, a cutoff to the entire supply from Florida Gas

25   Transmission, it's more unlikely.  It's not a farmer with a

FLORIDA PUBLIC SERVICE COMMISSION

21

1   backhoe that's going to hit all three of those pipes that are

2   12 feet apart buried underground.  Now the Gulfstream Natural

3   Gas pipe is one pipe, but it does come in through the Gulf of

4   Mexico.

5             I mentioned that we've got some plans in place to

6   help address fuel supply or fuel delivery issues, and one of

7   them is the Generating Capacity Shortage Plan.  We used to have

8   a separate plan for fuel issues.  We've merged those two

9   together.  And the Public Service Commission adopted this

10   latest revision later last, late last year.  This enables us

11   for our state emergency coordinator function of the Reliability

12   Coordinator, when they issue generating capacity alerts or

13   advisories, they can specify now whether it's related to actual

14   lack of generation or whether it's a fuel supply issue or a

15   fuel delivery issue.  So this is a good thing.

16             And then additionally we've formalized the

17   communication and the relationship between the pipeline

18   companies and our Reliability Coordinator, and this was in

19   response to FERC Order 698.  But we had a communications

20   process in place but it wasn't well-documented and formalized.

21   And so we formalized that in October of last year and have

22   adopted that.  So we have a formalized communication plan

23   between the gas supply and pipeline companies and our

24   Reliability Coordinator for the state.  So that's another good

25   thing.

FLORIDA PUBLIC SERVICE COMMISSION

22

1             So in conclusion, the question of do we have the fuel

2   supply, do we have the, to meet our generation, the delivery to

3   the generation, is fuel delivery capacity constraints can be

4   mitigated and that's due to the dual fuel plants that we have

5   as well as dual pipeline plants.  We have improved

6   communications between the State Capacity Emergency

7   Coordinator, the Reliability Coordinator and the pipelines.  We

8   have enhanced tools and processes for regional fuel status.

9   We've incorporated fuel issues into our generation, Generating

10   Capacity Shortage Plan.  We've created the Fuel Reliability

11   Working Group that reports up through our standing committees

12   to promote fuel reliability awareness, to continue to refine

13   the processes for minimizing the impacts of fuel issues and to

14   perform proactive fuel assessments and studies.

15             CHAIRMAN CARTER:  Commissioner Edgar.

16             COMMISSIONER EDGAR:  On that, your first point there

17   about the capacity constraints could be mitigated, I didn't

18   hear you say anything about on, on-site -- well, excuse me.

19   Let me start over.  In-state gas storage, does that enter into

20   the analysis as to, you know, how to potentially plan for

21   delivery issues?

22             MS. ROGERS:  It does not currently factor into our

23   plans.  But we have seen a large increase in storage, not

24   necessarily within state.  But I've got some numbers here.

25             Since 2005 -- between 2005 and now our storage

FLORIDA PUBLIC SERVICE COMMISSION

23

1   capacity has increased from 13.9 Bcf to 51.9.  So that's a

2   significant increase in storage capability.  And what's planned

3   between 2008 and 2010 is to go from about 52 Bcf to 156.  Now

4   whether all those projects will materialize, you know, is

5   questionable at this point in time.  But that's, that's very

6   positive for the state to have more storage capacity whether

7   it's in state or out of state.

8             COMMISSIONER EDGAR:  And for those proposed projects

9   out of state for onshore storage, is the delivery onshore

10   pipelines, the delivery to pipeline, pipeline delivery system

11   onshore?

12             MS. ROGERS:  It would be through -- I believe the

13   majority of it is with Florida Gas Transmission.  Actually all

14   those numbers were with Florida Gas Transmission, so that's

15   onshore.  We do have storage from Gulfstream, let me see,

16   that's under construction with an in-service date of 2010 of 50

17   Bcf on the Florida Gulfstream.  So that would be coming in from

18   offshore.

19             COMMISSIONER EDGAR:  Thank you.

20             MS. ROGERS:  Additionally, too, one thing I will

21   mention is later this year there should be the completion of

22   the Southeast Supply Header, which will connect the gas

23   pipeline system to sources, to many more sources that come from

24   onshore, Texas and Oklahoma type of, type of gas that we can

25   bring in.  So the pipelines have expanded and we're not as

FLORIDA PUBLIC SERVICE COMMISSION

24

1   dependent upon the offshore production as we were in 2005.  And

2   after September with the completion of the Southeast Header

3   we'll be even less dependent upon that because we'll have

4   access to a lot of the onshore oil wells in Texas and

5   Oklahoma -- gas wells.  I'm sorry.

6             COMMISSIONER EDGAR:  Thank you.  Commissioners,

7   anything further?  Thank you.

8             MS. ROGERS:  So where we stand right now is we've

9   answered the question of do we have enough generation to meet

10   the load and do we have the fuel supply and delivery to get

11   there?  So the next question is can the wires handle it?  So

12   that's what I want to talk to you about next.

13             I mentioned the FRCC Planning Committee in the

14   previous slide.  The Planning Committee promotes the

15   reliability of the bulk power system in the FRCC region, they

16   assess and encourage generation and transmission adequacy, and

17   they provide a vehicle for ensuring that the transmission

18   planning within the FRCC region will provide for the

19   development of a more robust transmission network.

20             So each utility essentially evaluates their own

21   transmission systems.  And then when we pull it all together in

22   FRCC, we make sure that those seams between the utilities all

23   match up and that their plans mesh together to provide Florida

24   with a more robust transmission network.

25             Some of the key aspects of the planning process is it

FLORIDA PUBLIC SERVICE COMMISSION

25

1   does provide coordination between all the participants.  It's

2   an open and transparent process.  We coordinate information

3   exchange.  There's comparability ensured throughout the

4   process.  We do have a method for dispute resolution which we

5   have not had to invoke so far.  And regional participation is

6   ensured.

7             We have a coordinated participation for the entire

8   region.  We also perform inter-regional studies to make sure

9   that the Florida system as planned will interface with our ties

10   to the north and the SERC, which is the Southeast Reliability

11   Coordinating Council or Corporation.

12             We also participate in a group that looks at the

13   whole eastern interconnection reliability and that group is

14   called ERAG.  And we also have a cost allocation part of the

15   planning process which we presented to you all last year.  Do

16   you have any questions?

17             CHAIRMAN CARTER:  I was just thinking about you might

18   want -- that name, ERAG.

19             MS. ROGERS:  ERAG.  Our planning process does meet

20   all the objectives outlined in FERC's Order 890 for regional

21   planning activities.  They have nine principles in that.  I

22   won't go through that again this year as I did last year, but

23   we are consistent with all those nine principles.  And it's

24   supported by all of the transmission owners in the FRCC region,

25   as well as customers and stakeholders.  And, of course, as all

FLORIDA PUBLIC SERVICE COMMISSION

26

1   of our committee meetings are, it's open to the Public Service

2   Commission staff.

3             Recent enhancements.  With the NERC planning

4   standards now becoming, now being mandatory and being monitored

5   much more closely, one activity that we went through in the

6   planning process is to map those planning requirements to our

7   planning documents to demonstrate compliance, which is a good

8   thing to do that proactively.  And then we've enhanced the FRCC

9   website and OATI website to improve accessibility amongst the

10   participants.  So they have more accessibility to the data and

11   the models.

12             Essentially we perform four types of studies through

13   the Planning Committee in our planning process.  The first is

14   our summer and winter assessments.  And these are near-term

15   look-aheads.  We will -- have we completed the winter one or

16   are we beginning to work on that or we will shortly, John?

17             MR. ODOM:  That's underway right now.  We haven't

18   completed it yet.

19             MS. ROGERS:  So it's, so it's a near-term look-ahead

20   based on actual generation availability, you know, where we

21   have many more knowns.  And we do report that to the Public

22   Service Commission as well as to NERC and we use the latest

23   data on availability, et cetera.  We perform a Ten-Year

24   Transmission Reliability Study, and that's very key in this

25   evaluation.  We also do Inter-Regional Transmission Studies and

FLORIDA PUBLIC SERVICE COMMISSION

27

1   we look at Resource Deliverability Evaluation.  And this is

2   something that's a little unique to the FRCC region and I think

3   it's very, very valuable and it's sort of intuitive.  You want

4   to make sure that those resources that are planned, that new

5   generation is going to be able to get that generation to the

6   load centers.  And we look at that not just on an individual

7   generator in their interconnect, but how it impacts all of the

8   transmission associated in that region, and I'll cover that a

9   little more.

10             In the Ten-Year Site, Ten-Year Transmission Study we

11   look at a number of contingencies as we call them.  We look at,

12   we first look at the system in a steady state, make sure it's

13   reliable with everything available, and then we look at it with

14   a loss of a single element.  And an element could be a

15   transmission line, it could be a generator, it could be a major

16   transformer.  And what we look for there is that there's very

17   minimal loss of local, local load.  And a great example of that

18   is a radial transmission line that serves a substation.

19   Clearly if you lose that transmission line, that substation is

20   going to be impacted.

21             Then we also look at multiple element outages.  And

22   what we look for there is that there's a controlled loss of

23   load.  And an example of that might be the event that we had in

24   South Florida where we had multiple elements out and we had the

25   underfrequency load shed.  So it was a controlled loss of load.

FLORIDA PUBLIC SERVICE COMMISSION

28

1   And then -- well, maybe that's more of an extreme event.

2   Multiple may be where they actually shed load on a, on a

3   purposeful basis, but then we have the extreme event outages

4   like South Florida.  But the key there is to prevent cascading

5   outages of the transmission system.  And an example of an

6   extreme outage with cascading loss of load would be what

7   happened in the northeast in 2003, and that's certainly what we

8   want to prevent from happening.

9             And we have done these tests for the FRCC

10   transmission region and the 2008-2017 transmission plans do

11   satisfy these tests.  So that's good news.

12             MR. BALLINGER:  Excuse me.  Ms. Rogers?

13             MS. ROGERS:  Yes.

14             MR. BALLINGER:  I may have a question.  Actually it

15   might be for Mr. Odom.  He might know the answer.

16             The transmission plans go out through 2017.  Do you

17   know if they include the Levy Units 1 and 2?  Or I know they

18   don't include the Turkey Point units because those are later

19   on.

20             MR. ODOM:  Yes.  I'll go ahead and answer that.

21   Those are loaded into our plans.  They were not last year, so

22   this plan did not include them.  But we are undertaking the new

23   study for next year, and those plants are included along with

24   the associated transmission needed for those plans.  So, so

25   they will be included as a part of next year's study but they

FLORIDA PUBLIC SERVICE COMMISSION

29

1   weren't particularly included this year.

2             MR. BALLINGER:  But only the Levy Units.

3             MR. ODOM:  That's correct.

4             MR. BALLINGER:  Okay.

5             CHAIRMAN CARTER:  Any further questions?  Thank you.

6             MS. ROGERS:  Okay.  We also perform an Inter-Regional

7   Transmission Study, and the purpose there is to determine the

8   amount of reliable import and export capability across the

9   Florida Southern transmission interface.  And what we see there

10   from the most recent analysis is that we continue to have the

11   ability to import 3,600 megawatts in the summer and 3,700 in

12   the winter.  We've seen a slight change on the export from

13   FRCC.  It's now 1,000 megawatts in the summertime, last year it

14   was 1,500, so that's a decrease of 500 megawatts export

15   capability in the summer.  But there's an increase of

16   100 megawatts export in the winter.  And the reason for the

17   decrease is due to a decrease of dispatched generation in the

18   Savannah, Georgia, area of the Southern Company's control area.

19   So that -- it's hard to imagine that those things all

20   interrelate, but that's why we do these studies, to make sure

21   that we have a clear understanding of what our capabilities

22   are.

23             CHAIRMAN CARTER:  Commissioner Skop.

24             COMMISSIONER SKOP:  Thank you, Mr. Chairman.

25             Ms. Rogers, I guess with respect to the comment you

FLORIDA PUBLIC SERVICE COMMISSION

30

1   made about the, the generation in the Savannah area, is that

2   just expected outage or planned outage in the summer of 2008

3   and that would be back online?

4             MS. ROGERS:  That's a very good question.  John?

5             MR. ODOM:  The way I understand that, Commissioner

6   Skop, is that that is, that is a planned outage.  But, and I

7   believe it is just the fact that the generation in that area is

8   not as economic as it was before.  And so I believe that that

9   number is going to sustain.  But, you know, as, as fuel prices

10   continue to change, we're not sure, so we continue to evaluate

11   that each year.

12             COMMISSIONER SKOP:  Thank you.

13             CHAIRMAN CARTER:  Commissioners?  Thank you.

14             MS. ROGERS:  Okay.  As I mentioned earlier, we also

15   look at resource deliverability, and I mentioned that this was

16   a little unique in the FRCC region compared to the other seven

17   regions in the United States.  Each individual utility is

18   required to evaluate service requests, whether it's

19   transmission service or generation interconnection service, and

20   they perform those studies and they provide the results of

21   those studies to the Planning Committee.  And then we look at

22   it holistically to ensure that those plans in place do not

23   cause overloads on adjacent transmission systems, another

24   owner's transmission system.  And we've -- in the last year or

25   so, roughly a year we've performed nine of those evaluations as

FLORIDA PUBLIC SERVICE COMMISSION

31

1   shown on this slide here.

2             So the question, can the wires handle it question,

3   is, yes, the results of the transmission reliability assessment

4   indicate that the planned transmission system within the FRCC

5   region is expected to be reliable for the next ten years.  So

6   we now know the answer, do we have the generation that we need,

7   do we have the fuel that we need, do we have the wires that we

8   need, and, as planned, the answers are yes today.

9             But we have had an issue that, where we've got some

10   congestion in the state and it's been ongoing for a couple of

11   years now, and I wanted to give you an update on that.  And

12   that's in the Central Florida area where we have a lot of gas

13   pipeline, a lot of generation, and they're trying to get -- the

14   load is elsewhere.  And these are the projects that had been as

15   a result, had been planned as a result of the Florida Central

16   Coordinated Study and the restudy, and we've got just some

17   updates on that highlighted in yellow.  We see that that first

18   line, the West Lake Wales to Dundee Number 2, there's a

19   six-month delay on that.  But the project, the whole project is

20   the West Lake Wales to Intercession City Number 2, and so the

21   need date is May of 2010.  So it's a, it's a delay, but it's

22   not going to impact the system.

23             We also see on the Cane Island to Cane Island North

24   Tap, that one is actually early by two months.  And then we

25   have our first project completed, which is a Lake Agnes/Osceola

FLORIDA PUBLIC SERVICE COMMISSION

32

1   plant that was a joint project between OUC and Tampa Electric.

2   And that's been completed, so that's good news.  And that's

3   sort of my message to you all.  I welcome any other questions

4   that you might have.

5             CHAIRMAN CARTER:  Commissioners, any further

6   questions.  Staff, any further questions?

7             Thank you, Sarah.  Once again, a dynamic and

8   insightful presentation.

9             MS. ROGERS:  Well, thank you.  And I'll turn it over

10   to Gary Freeman.

11             MR. FREEMAN:  Thank you and good morning.  Thank you

12   for -- good morning, but thank you for letting me come and give

13   you an update on the Florida Broker System.

14             Let me expand first on my role because I think that's

15   important related to the success of the broker system.  I am

16   the Chairman of the broker system now.  That's kind of a

17   voluntary position.  But my primary role is a market

18   participant.  I'm the Director of Power Trading Operations for

19   Progress Energy, and it's my group of traders and our portfolio

20   managers that, that are going to actually make this system work

21   going forward.  So we've got the system and the development of

22   the system in the right hands, I feel like, and that's in the

23   hands of the market participants.  You know, our group is

24   responsible for unit commitment, load forecasting, things like

25   that, and trying our best to optimize, you know, the system on

FLORIDA PUBLIC SERVICE COMMISSION

33

1   a day-to-day basis.  So I think that's important going forward.

2             If you turn -- okay.  All right.  I'll leave you with

3   a couple of messages here.  One, you know, kind of our overall

4   message is that the project is progressing well.  A lot has

5   been accomplished so far.  There's still a lot to do.  We've

6   got a high level of stakeholder collaboration and support from

7   the municipalities, the co-ops and the IOUs.  And as we get

8   more and more into this project, we are very encouraged by the

9   potential benefits that we can extract from this system.

10             So let me start with, you know, kind of a little

11   history review of where we were and where we are today.  If you

12   think back into the late 2005, early 2006 time frame, you know,

13   an RTO study was done and the results were presented, I think,

14   to you and, you know, the rest of the Florida community.  And

15   what came out of that study was there are a lot of benefit

16   opportunities to forming an RTO, but the costs to form that RTO

17   exceeded, you know, the benefits.  So, you know, in discussions

18   with you and the IOUs, a commitment was made to look at ways

19   to, you know, try and get at some of those benefits without the

20   cost.  So, you know, we're kind of rebirthing the old Florida

21   Broker System that worked so well back in the '80s and early

22   '90s.  And then, you know, with all the market uncertainty and

23   a lot of, you know, new NERC reliability requirements, a lot of

24   kind of electronic and automation took place and that system

25   just kind of, you know, kind of fell off the radar screen.  So

FLORIDA PUBLIC SERVICE COMMISSION

34

1   we believe it makes sense to kind of reenact that system.  So

2   that decision was made back in the middle of 2006.

3             Early on it was primarily the regulatory entities

4   within the three IOUs and the transmission groups with some

5   participation from some of the market participants.  You know,

6   we started re, reestablishing that system.  So we worked really

7   from, you know, the August time frame of '06 through almost the

8   end of November at developing a new what we call functional

9   spec document, and that document really details out how the

10   system would work in terms of how bids would be matched, you

11   know, all the credit issues.  I mean, the list goes on and on

12   about the issues that come up when you get into kind of

13   redesigning this system.  So that work took roughly a year or

14   so primarily between the three IOUs.

15             When we felt comfortable enough to send that document

16   out, we went out to the, to the industry and we looked at

17   roughly 12 different vendors that we thought could provide a,

18   this service to us.  And we actually invited, oh, a half a

19   dozen or so to participate in some workshops with us to learn

20   more about what we were looking for and learn what their

21   capabilities were.  That resulted in a number of estimates from

22   these, these vendors on what they felt like they could build

23   this system for.  So that really kind of formed the basis going

24   forward of what we thought the cost might be.

25             In late '07, believing that this now made sense to

FLORIDA PUBLIC SERVICE COMMISSION

35

1   move forward, we developed what we refer to as an

2   administrative document and incorporation documents to kind of,

3   you know, kind of birth this thing.  So in December of '07 we

4   actually incorporated the Florida Cost-Based Broker System as a

5   nonprofit entity in the state.  The reason for that is we were

6   not sure ultimately where this was going to go, but we felt

7   like, you know, ownership needed to be kind of defined, you

8   know, in an entity.  You know, this entity, you know, will not

9   be involved in, in exchanging energy but it's just to house the

10   vendor solution and just provide a way to, you know, manage

11   costs and the administration functions of this system.

12             Once we incorporated, in January of this year there

13   was kind of a handoff, if you will, from the regulatory

14   transmission side to the market participants.  Thus I got

15   heavily involved at this point along with my counterparts at

16   the IOUs and the municipalities and co-ops.  We right now have

17   11 members committed to move forward with us.  They've all

18   provided the initial funding to take the project forward.

19   We've elected a board of directors and officers and we've

20   approved our bylaws, and each of us are required to signed a

21   member agreement that basically describes what each of our

22   obligations are in terms of cost and participation and also

23   what the broker system, you know, will do for us.

24             So once we kind of expanded our group and shifted it

25   from, you know, kind of regulatory transmission to market

FLORIDA PUBLIC SERVICE COMMISSION

36

1   participants, we went back through a process of revising the,

2   the technical document or functional spec document.  With a

3   broader group there were new perspectives and some new

4   requirements that needed to be incorporated into the system.

5   So that's taken -- that took us, you know, two to three months

6   to accomplish that and get the functional spec document ready

7   for, ready to be submitted to our vendor of choice.  So we did

8   that.

9             And based on the original budget estimates we found

10   one vendor that just really fit our needs, and that's OATI.

11   OATI is, has a big presence in the market.  They provide a lot

12   of the OASIS and transmission reservation services for a lot of

13   entities throughout the country.  And they had developed a

14   system back several years ago up in the northern midwestern

15   area that was developed.  And then, you know, that area went

16   kind of in a different direction, so they had put this system

17   on the shelf.  So the majority of the development costs were

18   kind of already sunk, if you will, with OATI.  So they're able

19   to offer us, pull this application off the shelf with some, you

20   know, fairly significant modifications.  They're going to take

21   that as kind of the foundation to build the system for us.  So

22   we negotiated a contract with them and actually signed that

23   contract just last month, and, you know, so we're moving

24   forward with OATI.

25             I want to talk now a little bit about the

FLORIDA PUBLIC SERVICE COMMISSION

37

1   collaboration and support that we're getting from all the

2   market participants.  I think, as I said earlier, this has been

3   kind of a consensus-building process.  We're all in this

4   together and the success is going to be dependent on all of us,

5   you know, supporting and moving forward together.  So we've got

6   involvement from really three of the four sectors at this

7   point.  The four sectors expressed a lot of interest in moving

8   forward with us as we get closer to implementation.  But all

9   three investor-owned utilities are participating.  We have, I

10   think it's seven of the municipal utilities involved.  We have

11   the Energy Authority, which is a joint action agency that

12   provides kind of services for Jacksonville Electric and

13   Gainesville and a couple of others.  They represent kind of

14   those municipal utilities.  We also have a lot of participation

15   from Seminole Electric who represents all the electric co-ops

16   in the state.  And, you know, the fourth sector, the nonutility

17   generators or independent power producers, we've had a lot of

18   interest from them and inquiry from them at this point.  We

19   suspect that they will join.  But the way the system is set up

20   right now, there's not a lot of incentive for them to pay money

21   and participate in kind of the uncertainty of getting the

22   system up and running.  But we've, we've had a lot of

23   discussion with them and there is an indication that they, they

24   will join as we get closer to implementation.

25             We've also had some interest from some utilities

FLORIDA PUBLIC SERVICE COMMISSION

38

1   outside of the state, you know, kind of watching very closely

2   how this works, especially in the southeast.  Because, you

3   know, the whole, the entire southeast is not part of an RTO,

4   but, you know, everybody is looking at, you know, how can we do

5   things better or does this make sense to potentially

6   participate or expand this further?

7             Our board and project leadership is supported by a

8   number of us.  I was elected as the Chair and I'm part of the,

9   obviously the IOU sector.  But our Vice Chair is one of the

10   municipalities and our administration or Administrative

11   Committee, which actually owns the implementation of the

12   system, that's being led by Mace Hunter, who is with Lakeland

13   Electric.

14             Each year the bylaws require us to reelect new

15   officers, and our plan is to, you know, rotate that leadership

16   among all the sectors so that, you know, we're all kind of

17   leading and involved in the effort going forward.

18             Now I want to talk a little bit about the benefits.

19   I bucketed them really in three, three buckets.  One is just

20   efficiency improvements.  You know, if you think about how the

21   market has evolved for us, you know, it used to be all of our

22   interaction with each other was done by telephone calls.  So if

23   you had, you know, 20 participants in the market, you made 20

24   phone calls to each participant, and that takes time and it's

25   inefficient, you know, trying to, trying to find the

FLORIDA PUBLIC SERVICE COMMISSION

39

1   opportunities.  You know, we've evolved since those days to

2   using more of an instant messaging process, you know, so we're

3   somewhat evolving with technology.  But instant messaging, all

4   it does is kind of enhance the communication.  You've still got

5   to identify, you know, where is the best opportunity.

6             You know, the beauty of this system is it will

7   automatically match what we refer to as bids and offers.  You

8   know, bids are, are prices that somebody is willing to buy and

9   offers are a price where somebody is willing to sell.  So each

10   of us will be required every hour of every day to, you know,

11   provide cost information in the system on whether we'll buy or

12   sell.  And the system will match those transactions in a, kind

13   of a methodology where you take the, the lowest cost, highest

14   cost, you know, bids and offers and match those and that

15   creates the biggest savings.  And then you kind of iterate down

16   and try and get as many transactions matched up as we can.

17             You know, the beauty of this is that, you know, once

18   the bids and offers are in the system, it will automatically

19   create the tags and notify, you know, the entities that, you

20   know, that they've been matched.  And this will be loaded into

21   the tagging system, which, you know, kind of tracks

22   transmission usage.  So there's a real opportunity here to

23   improve our overall efficiency of the market.

24             The second point is, you know, kind of the, the real

25   benefit of what we're trying to accomplish, which is maximizing

FLORIDA PUBLIC SERVICE COMMISSION

40

1   energy interchange.  You know, through interchange you are, you

2   know, trying to, you know, lower the cost to the entire state

3   by, you know, exchanging, you know, energy back and forth.  One

4   of the, one of the neat things going forward is kind of

5   concurrent with this effort is an effort going on in the

6   transmission side where we're moving towards a, kind of a

7   regional trans, I'll call it a regional transmission

8   availability model where the entire transmission system will,

9   will kind of look as a, you know, kind of a combined system.

10             The other benefit with that is generally transmission

11   availability is, is modeled, and any time you model something

12   there's a lot of conservatism built into your assumptions.

13   With this new system that they're developing, they will look at

14   real-time transmission flows, you know, within the hour and

15   look at transmission or transactions that are going to occur in

16   the next hour.  And the belief there is if you can move from

17   modeling to more, you know, real-time kind of flow analysis,

18   you can reduce or, you know, reduce significantly the amount of

19   conservatism you've got, you know, in your modeling.  So, you

20   know, there's a belief or we believe that this is going to free

21   up transmission capacity so that we can accomplish more energy

22   interchange between entities.

23             The third point here is that we, we should be able to

24   accomplish this for a fairly minimal amount of money.  I

25   mentioned earlier that OATI had this system sitting on the

FLORIDA PUBLIC SERVICE COMMISSION

41

1   shelf.  You know, they've offered to modify that system for our

2   use for about $350,000.  So, you know, compared to the other

3   vendor offers that were out there, this is a significantly

4   lower cost.  So it's really a win for us.  It's a win for them

5   because, you know, this thing was sitting on the shelf, you

6   know, and essentially collecting dust.

7             We feel like our annual operating expenses will be

8   roughly in the $150,000 range.  This is really tied to two

9   things:  The vendor will charge us an annual operating and

10   maintenance fee of a little less than $100,000, and then we've

11   got, you know, accounting activities, administrative activities

12   that account for the remainder of that expense.

13             So where are we going next?  Like I said earlier, we

14   signed our contract with our vendor.  The first point here is

15   we've been negotiating a contract with the FRCC under their FCG

16   or Florida Coordinating Group to provide these administrative

17   and accounting services for us.  We feel like this makes sense

18   because we've got a good relationship with them, they've got

19   staff in place.  And, you know, the costs to do this will be,

20   you know, incremental on their part and very minimal for us.

21             Second, our administrative committee is working with

22   the vendor currently to, you know, ensure that the vendor, you

23   know, gets this system implemented here as quickly as we can.

24             We expect completion in late 2008, early 2009.  A lot

25   of that is going to depend on this last point here, which is

FLORIDA PUBLIC SERVICE COMMISSION

42

1   the interface to our transmission providers in this regional

2   transmission engine.  I understand they are close to contract

3   with the vendor that's going to provide that service for them.

4   Depending on who that is, you know, there will be an interface

5   requirement between the two systems.  That may slow us down

6   slightly or potentially even speed us up.  But we're trying our

7   best to hold our vendor accountable for delivery at the end of

8   the year, but we're trying to allow a little bit of flexibility

9   in that delivery.

10             So I want to close just with my starting message,

11   which is we feel like the project is progressing well.  You

12   know, we've been at this now for a while but we can see the

13   light at the end of the tunnel.  You know, the collaboration

14   support, the enthusiasm in the market is high, and we're all

15   engaged, encouraged and committed to try and, you know, get

16   benefits out of the system.

17             And I'll close with one other, one other thought.

18   You know, our plan is to put this system in place.  You know,

19   it's going to take a year or two to see, you know, how well

20   this goes.  I think there are some next steps after that to get

21   at some more savings, but, you know, I think this is a good

22   start for us.  So thank you for your time.  I will entertain

23   any questions that you have.

24             CHAIRMAN CARTER:  Okay.  Commissioners?

25             I was going to kind of mess with him a little bit.

FLORIDA PUBLIC SERVICE COMMISSION

43

1   On your bylaws, is that bilateral bylaws or --

2             MR. FREEMAN:  Well, it's --

3             CHAIRMAN CARTER:  You got it right.

4             MR. FREEMAN:  I guess it's bilateral in that we all

5   had a chance to, you know, participate in the, in the

6   development of the bylaws and we all voted on them.  So, yeah,

7   I guess it's bilateral.

8             (Laughter.)

9             CHAIRMAN CARTER:  Staff, any questions?

10             Thank you, Gary.  Appreciate that.

11             MR. FREEMAN:  Thank you.

12             CHAIRMAN CARTER:  Staff, we are, we're now on other

13   related issues.  You are recognized.

14             MR. GRAVES:  At this time we're not aware of any

15   other related issues.

16             CHAIRMAN CARTER:  Let's open up now, Commissioners,

17   for -- we can open up for public input or we can take a break.

18   I say we press on.  What do you guys say?

19             COMMISSIONER SKOP:  Let's press on.

20             CHAIRMAN CARTER:  Let's press on.  We're now open for

21   public input.  Anyone wishing to speak on the issues before us

22   today?  We haven't bitten anyone yet.

23             COMMISSIONER MCMURRIAN:  No one wants to be first.

24             CHAIRMAN CARTER:  Okay.  Nobody wants to be first.

25   Okay.

FLORIDA PUBLIC SERVICE COMMISSION

44

1             Staff, anything further?  Hearing no requests for

2   public input, anything further from staff?

3             MR. GRAVES:  No, sir.

4             CHAIRMAN CARTER:  Commissioners?  Commissioner Edgar,

5   you're recognized.

6             COMMISSIONER EDGAR:  Just to say thank you, Sarah.

7   As always, an excellent presentation, very informative and

8   concise the way I like them.  But, you know, obviously things

9   are going well in Florida and we're also obviously continuing

10   to improve and take the information that we have and use it to

11   move forward, and I'm very pleased.

12             CHAIRMAN CARTER:  Thank you to staff.  Gary, you guys

13   did a great job.  Interesting to see -- I notice you said that

14   the nongenerators are still in the, you're still maintaining

15   communication with them.  That's a very good thing to do.  And,

16   of course, you knew I was going to pull your leg about the

17   bylaws; right?  But we do thank you for that.  And we thank our

18   staff.  And with that, Commissioners, we are adjourned.

19             (Workshop adjourned at 10:41 a.m.)

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

45

1   STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2   COUNTY OF LEON      )

3

4             I, LINDA BOLES, RPR, CRR, Official Commission

Reporter, do hereby certify that the foregoing proceeding was

5   heard at the time and place herein stated.

6             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

7   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

8   proceedings.

9             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

10   or employee of any of the parties' attorneys or counsel

connected with the action, nor am I financially interested in

11   the action.

12              DATED THIS ________ day of August, 2008.

13

14                  ________________________________

LINDA BOLES, RPR, CRR

15                  FPSC Official Commission Reporter

(850) 413-6734

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION