1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 080007-EI

3        In the Matter of

4   ENVIRONMENTAL COST RECOVERY

CLAUSE.

5   ____________________________/

6

7

8

9

10

11

ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

12                 A CONVENIENCE COPY ONLY AND ARE NOT

THE OFFICIAL TRANSCRIPT OF THE HEARING,

13            THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

14

PROCEEDINGS:        HEARING

15

BEFORE:             CHAIRMAN MATTHEW M. CARTER, II

16                       COMMISSIONER LISA POLAK EDGAR

COMMISSIONER KATRINA J. McMURRIAN

17                       COMMISSIONER NANCY ARGENZIANO

COMMISSIONER NATHAN A. SKOP

18

DATE:               Tuesday, November 4, 2008

19

TIME:               Commenced at 9:30 a.m.

20

PLACE:              Betty Easley Conference Center

21                         Room 148

4075 Esplanade Way

22                       Tallahassee, Florida

23   REPORTED BY:        JANE FAUROT, RPR

Official FPSC Reporter

24                       (850) 413-6732

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1   APPEARANCES:

2             LEE L. WILLIS, ESQUIRE and JAMES D. BEASLEY, ESQUIRE,

3   Ausley Law Firm, Post Office Box 391, Tallahassee, 32302,

4   appearing on behalf of Tampa Electric Company.

5             JEFFREY STONE, ESQUIRE, RUSSELL BADDERS, ESQUIRE, and

6   STEVEN GRIFFIN, ESQUIRE, Beggs & Lane Law Firm, Post Office Box

7   12950, Pensacola, Florida 32591-2950, appearing on behalf of

8   Gulf Power Company.

9             JOHN W. MCWHIRTER, JR., ESQUIRE, c/o McWhirter Law

10   Firm, Post Office Box 3350, Tampa, Florida 33601-3350,

11   appearing on behalf of Florida Industrial Power Users Group.

12              JOHN T. BUTLER, ESQUIRE, and WADE LITCHFIELD,

13   ESQUIRE, Florida Power & Light Company, 700 Universe Boulevard,

14   Juno Beach, Florida 33408-0420, appearing on behalf of Florida

15   Power & Light Company.

16             GARY V. PERKO, ESQUIRE, Hopping Law Firm, Post Office

17   Box 6526, Tallahassee, Florida 32314, appearing on behalf of

18   Progress Energy Florida, Inc.

19             PATRICIA CHRISTENSEN, ESQUIRE, and STEPHEN BURGESS,

20   ESQUIRE, and JOE MCGLOTHLIN, ESQUIRE, Office of Public Counsel,

21   c/o The Florida Legislature, 111 W. Madison St., #812,

22   Tallahassee, Florida 32399-1400, appearing on behalf of the

23   Citizens of Florida.

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1   APPEARANCES (continued):

2             JOHN T. BURNETT, Progress Energy Service Co., LLC,

3   Post Office Box 14042, St. Petersburg, Florida 33733-4042,

4   appearing on behalf of Progress Energy Florida, Inc.

5             KAREN S. WHITE, ESQUIRE, and CAPTAIN SHAYLA L.

6   McNEILL, ESQUIRE, AFCESA/ULT, 139 Barnes Drive, Suite 1,

7   Tyndall Air Force Base, Florida  32403, appearing on behalf of

8   the Federal Executive Agencies.

9             MARTHA BROWN, ESQUIRE, and ERIK L. SAYLER, ESQUIRE,

10   FPSC General Counsel's Office, 2540 Shumard Oak Boulevard,

11   Tallahassee, Florida 32399-0850, appearing on behalf of the

12   Commission Staff.

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1                              I N D E X

WITNESSES

2   NAME:                                               PAGE NO.

KOREL M. DUBIN

3        Prefiled Direct Testimony Inserted               7

4   RANDALL R. LaBAUVE

Prefiled Direct Testimony Inserted              35

5

ERIC SILAGY

6        Prefiled Direct Testimony Inserted              61

7   WILL GARRETT

Prefiled Direct Testimony Inserted              91

8

DONALD R. ENNIS

9        Prefiled Direct Testimony Inserted             100

10   PATRICIA Q. WEST

Prefiled Direct Testimony Inserted             110

11

DALE WILTERDINK

12        Prefiled Direct Testimony Inserted             133

13   J. MICHAEL KENNEDY

Prefiled Direct Testimony Inserted             146

14

JOSEPH McCALLISTER

15        Prefiled Direct Testimony Inserted             156

16   DANIEL L. RODERICK

Prefiled Direct Testimony Inserted             162

17

LORI CROSS

18        Prefiled Direct Testimony Inserted             168

19   HOWARD T. BRYANT

Prefiled Direct Testimony Inserted             187

20

PAUL L. CARPINONE

21        Prefiled Direct Testimony Inserted             221

22   JAMES O. VICK

Prefiled Direct Testimony Inserted             241

23

RHONDA J. MARTIN

24        Prefiled Direct Testimony Inserted             280

25   SUSAN D. RITENOUR

Prefiled Direct Testimony Inserted             285

FLORIDA PUBLIC SERVICE COMMISSION

5

1                              EXHIBITS

2   NUMBER:                                      ID.    ADMTD.

3   1         Comprehensive Exhibit List         6        6

2         Staff's Composite Exhibit          6        6

4               Stipulated

3         KMD-1                              6        6

5   4         KMD-2                              6        6

5         KMD-3                              6        6

6   6         RRL-1                              6        6

7         RRL-2                              6        6

7   8         RRL-3                              6        6

9         ES-1                               6        6

8   10        ES-2                               6        6

11        ES-3                               6        6

9   12        WG-1                               6        6

13        WG-2                               6        6

10   14        PQW-1                              6        6

15        DW-1                               6        6

11   16        LC-1                               6        6

17        LC-2                               6        6

12   18        LC-3                               6        6

19        LC-4                               6        6

13   20        HTB-1                              6        6

21        HTB-2                              6        6

14   22        HTB-3                              6        6

23        JOV-1                              6        6

15   24        JOV-2                              6        6

25        RJM-1                              6        6

16   26        SDR-2                              6        6

27        SDR-3                              6        6

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

6

1                         P R O C E E D I N G S

2             CHAIRMAN CARTER:  I will give one second now for

3   staff to make a little adjustment here.

4             Next, Commissioners, we will be on Docket Number

5   080007-EI.  Docket Number 080007-EI.

6             Staff, you're recognized.

7             MS. BROWN:  Mr. Chairman, there are proposed

8   stipulations on all issues in this docket and all witnesses

9   have been excused.  Parties do not intend to make any opening

10   statements.  We ask that the prefiled testimony of all

11   witnesses identified in Section VI of the prehearing order be

12   inserted into the record as though read.  Cross examination has

13   been waived.

14             CHAIRMAN CARTER:  The prefiled testimony of the

15   witnesses will be entered into the record as though read.

16             MS. BROWN:  Staff has prepared a Comprehensive

17   Exhibit List, and we ask that you mark and move the stipulated

18   exhibit list into the record as numbered 1 through 27 on the

19   list.

20             CHAIRMAN CARTER:  Any objections?  Without objection,

21   show it done.

22             (Exhibit Numbers 1 through 27 marked for

23   identification and admitted into the record.)

24

25

FLORIDA PUBLIC SERVICE COMMISSION

298

1             MS. BROWN:  Mr. Chairman, this would be a time if the

2   Commission have any questions before we move to consider the

3   stipulations.

4             CHAIRMAN CARTER:  Okay.  Let's take a second before

5   we do that and get this handout passed out, and at that point

6   in time we will recognize Commissioner Skop.

7             Commissioner, you're recognized.

8             COMMISSIONER SKOP:  Thank you, Mr. Chairman.

9             I apologize to my colleagues that we had to take the

10   time to move forward with this.  I had a legitimate question.

11   And apparently in the haste to stipulate, the question that I

12   had did not get resolved.  And I am dealing with computer

13   difficulties which makes my job a little bit more difficult,

14   because I have it on my computer, but I have a blank screen

15   right now.  So not a perfect day.

16             But, anyway, the handout that Bill had just provided

17   each of you, and hopefully Mr. Butler has a copy, I just want

18   to come out and say I am in full support of the three solar

19   projects that the Commission and my colleagues have approved

20   and the cost-recovery pursuant to statute.

21             I do have one question with respect to a warranty

22   provision.  Again, I think that as FPL moves to mitigate their

23   risk, equally the consumers should be protected.  And if we

24   look at the Appendix K, which is the module warranty -- and I

25   want to commend FPL in their turnkey contract.  This is a very

FLORIDA PUBLIC SERVICE COMMISSION

299

1   good one.  They have gotten a very good warranty.  It spans 25

2   years for a limited power warranty.  And just briefly

3   summarizing the warranty, it is ten-year limited product

4   warranty where -- you know, the panels -- it is kind of like a

5   car, they are covered completely.  And then they have a limited

6   power warranty which at year twelve, Sun Power has represented

7   that the arrays, the solar PV arrays at the Spacecoast and

8   DeSoto facility will meet 90 percent of the rated minimum peak

9   power after 12 years.  So that's a warranty provision that is

10   very good.

11             And then the second provision in 2B, Sun Power

12   additionally warrants that if within the first 25 years that

13   the array will also meet 80 percent of its minimum peak power.

14   Now, that's a very good warranty.  Where I think that it has a

15   little bit of weakness, though, is in Appendix E, and this is

16   the credit trigger event.

17             And, again, I would have hoped that staff could have

18   helped resolve this, but they didn't, so I'm having to take the

19   time to do it here, because I believe it is a very legitimate

20   question.

21             But if we would look at Appendix E and the credit

22   trigger event, particularly Paragraph 3, and in the chart on

23   the bottom right column.  Basically, to put it in a nutshell,

24   the warranty is only as good as Sun Power being a going

25   concern, and this warranty spans 25 years.  And I think if

FLORIDA PUBLIC SERVICE COMMISSION

300

1   history has taught us anything recently, you know, companies

2   may be here one day and gone the next.  I would cite Lehman.  I

3   would also cite the Kenotech (phonetic) bankruptcy, which I

4   think Mr. Butler would be familiar with.

5             But the issue I see is that if Sun Power's tangible

6   net worth declines, they are required to post various letters

7   of credit as a protection pursuant to the negotiated agreement.

8   And if you look at, again, Paragraph 3, the far right column,

9   it lists the required stated amount after the tenth anniversary

10   of the final acceptance date until the end of all warranty

11   periods.

12             And my concern is that certainly this warranty is a

13   very good one, but it is reasonably foreseeable that the

14   amounts of warranty claims in the out-year period, i.e., year

15   12 or year 25, because of the need to meet the limited power

16   warranty, if the solar panels degrade prematurely it would --

17   the expense of the warranty claim in the out-years could be

18   that or greater than the warranty claim amounts in the

19   near-years.  So the zeros in terms of the letter of credit in

20   the de minimis amounts, that concerned me.

21             Now, again, I think that the costs are prudent, but I

22   think that it is also important to adequately protect the

23   ratepayer so that they get the full benefit of the warranty

24   that FPL has negotiated.  So I would ask -- and I hate to put

25   you on the spot like this, Mr. Butler.  Again, I had hoped that

FLORIDA PUBLIC SERVICE COMMISSION

301

1   we would be able to resolve this, but everyone seems content on

2   stipulating instead of answering legitimate questions.  So if

3   you might be able to comment, or is that something that given

4   the amount of business that FPL, along with the options, has

5   contracted with Sun Power, that they might be able to amend

6   that to more reasonable amounts in the out-year to the extent

7   that, you know, prior to the tenth anniversary the letter of

8   credit amounts are significantly higher than those in the

9   out-years.

10             And I would hate to get in a situation where, you

11   know, year 20 we have a degrading array, Sun Power is

12   financially on the ropes, and the ratepayer, you know, would be

13   obligated to replace an array that is theoretically covered by

14   warranty but has no effect.

15             So if you could briefly respond to that.  I

16   apologize, and I also apologize to my colleagues for having to

17   take the time to resolve something that hopefully could have

18   been resolved before we got to hearing.

19             MR. BUTLER:  I would be happy to address your

20   question, Commissioner Skop.

21             One thing I will observe, and I will be somewhat

22   vague in the responses because much of this information is

23   confidential and I don't want to end up making it more public

24   than necessary.

25             COMMISSIONER SKOP:  Okay.  Let me stop you there,

FLORIDA PUBLIC SERVICE COMMISSION

302

1   because, again, the document that I have -- and, again, I see

2   two different versions floating around, but the document I have

3   is not stamped confidential.  And hopefully I didn't disclose

4   any confidential information.  I think I referred to it

5   generically.  But, if I have, I apologize, and that is due to

6   the document that was provided to me.

7             MR. BUTLER:  I think we are fine, but I just wanted

8   to preface it so that you would understand why my responses may

9   be not as specific as they would otherwise.  FPL has negotiated

10   and worked diligently with Sun Power to get the warranty

11   protections and the backup, the financial backup to those

12   warranty protections that are here.  It is substantially beyond

13   what -- as I understand it, what Sun Power would ordinarily be

14   providing.  And, you know, FPL has deliberately chosen Sun

15   Power in large measure because it is, you know, one of the

16   largest, most experienced, and best capitalized companies in

17   the solar business.  It really stands out significantly from a

18   lot of the other sort of newer and more start-up entities that

19   are in this business.

20             The protection -- the warranty structure, to try to

21   answer your question directly, you know, it divides into two

22   basic pieces.  There is a piece that is in place for the first

23   period of time you mentioned for ten years that is directed at

24   warranting, essentially, the entire operation of the project,

25   and then that changes after ten years to a warranty that is

FLORIDA PUBLIC SERVICE COMMISSION

303

1   particularly on what is referred to as the modules, and it is

2   referring to the individual solar panels.

3             You know, two things that FPL has seen.  First of

4   all, the experience in the industry has been that if the panels

5   fail, you know, they are mechanically operating components, it

6   is basically a large silicone wafer, that is something that

7   very significantly or substantially occurs in the early years

8   of operation, not later once they have been in service for an

9   extended period of time.  And so the real expectation, if we

10   have problems with the panels, is that they would be in the

11   earliest years when the warranty protection and the sort of

12   financial integrity assurances are the greatest.

13             In the later years, you are right that the protection

14   isn't as substantial.  That is based on FPL's evaluation,

15   working with Sun Power, observing the industry experience that

16   is now over 20 years old with the operation of these silicone

17   wafer photovoltaic modules that they are a very low probability

18   of failing.  If one fails, what you do is you replace that one.

19   There are for the DeSoto project something like 90,000 of the

20   panels.  I think it is something like 35,000 for the Spacecoast

21   project.  They only cost to remove and replace about $4,000

22   each.  So you could end up having quite a few panels failing.

23   You would simply go in -- or degrading -- you would simply go

24   in and replace the ones that are there and go about the

25   business.

FLORIDA PUBLIC SERVICE COMMISSION

304

1             It is fundamentally different, I think, from

2   something like say, you know, turbine blades failing in a gas

3   turbine where you can't use the unit until you have everything

4   back in order, and that probably if you have a failure are

5   likely to be dealing with a very large expensive piece of

6   equipment.

7             So, fundamentally, the response is that the

8   warranties were structured to provide the greatest protection

9   in the earlier years when the perception was that the potential

10   of system problems was the greatest, to have the financial

11   integrity track that greatest period of warranty liability.  It

12   is not as great at the back end because that's what FPL was

13   able to negotiate.

14             The letters of credit are expensive.  And, obviously,

15   if we negotiate more protection from letters of credit,

16   particularly out so far in time, we would expect to have to be

17   compensating the vendor accordingly.  This was the compromise

18   FPL reached that seemed to provide the best protection at the

19   fairest price.

20             COMMISSIONER SKOP:  Thank you, Mr. Butler.

21             And, again, I appreciate that explanation.  But, you

22   know, the concern I have -- again, I agree with you

23   wholeheartedly that if you are going to have a failure, just as

24   any piece of electronic component, a failure of the system, you

25   should see that early on.  But Florida has harsh environmental

FLORIDA PUBLIC SERVICE COMMISSION

305

1   conditions.  A concern that has been widely expressed by many

2   people that I have spoken to has been the long-term degradation

3   of the efficiency of each individual module, and that could be

4   a realistic problem in the out-years.

5             I'm not saying that it is or isn't.  Again, we'll

6   have to wait 25 years to see that.  But at the end of the day,

7   again, making sure the consumer is adequately protected,

8   because they are the ones, pursuant to the legislative

9   direction, that have been required to pay for this, and you

10   guys have full cost recovery -- and, again, I commend FPL on

11   the warranty.  It is one of the best I have seen.  But, again,

12   it loses some of its teeth in the out-years.  And to put that

13   into perspective, you mentioned the number of modules that were

14   in each of the respective arrays.  That $500,000 letter of

15   credit would only buy 125 modules.

16             So, again, you know, it's a concern in passing, but I

17   think it is a valid concern.  I mean, each of these arrays

18   are -- the number is probably confidential.  I'm not sure

19   whether it is or not, but they are very expensive pieces of

20   equipment.  And, again, if they were to fail or degrade

21   sufficiently, which we don't know, I mean, Sun Power has been

22   in business for 20 years.  I have read their company history.

23   But, you know, should the consumer bear that additional risk,

24   because I don't think that if 15 years, 25 years down the line

25   if Sun Power is not in business, and we come to FPL and we say

FLORIDA PUBLIC SERVICE COMMISSION

306

1   are you going to step into the shoes?  I don't think you guys

2   would be willing to do that.

3             So, again, my concern.  I recognize letter of credits

4   are very important, but I just think that for what -- for the

5   excellent job that they did on negotiating the warranty, if the

6   numbers in that far right column would be a little bit

7   different I would feel a little bit more comfortable.

8             MR. BUTLER:  I understand, I think we all would.  The

9   challenge is that letters of credit are excellent protection,

10   they are also quite expensive, and this was FPL's judgment as

11   the best compromise.  That if we had insisted on a larger

12   volume and longer lasting letters of credit, it would have come

13   at a price.  FPL's assessment of the experience in the industry

14   is that there isn't a traditionary history of kind of common

15   failure mode problems degrading these modules.  So the sense

16   was that we were looking at protection against the sort of odd

17   module failing as opposed to -- or degrading -- as opposed to

18   something that was a blanket issue.

19             If it turns out that is not right, that there is some

20   widespread problem, and it has to be coupled with Sun Power

21   being an extremely well capitalized, large, substantial firm

22   with a lot of history getting into severe financial difficulty,

23   then obviously we could find ourselves in a position where we

24   wished we had had more in the way of letters of credit.

25             But, by the same token, if that doesn't happen and we

FLORIDA PUBLIC SERVICE COMMISSION

307

1   paid much, much more money for that protection and it never

2   ended up being used, then we would wish we hadn't put so much

3   money into letters of credit.  And this is what FPL saw as

4   being the best balance between what are admittedly competing

5   considerations in trying to decide what the right level of

6   contract protection is.

7             COMMISSIONER SKOP:  Okay.  And, like I say, I respect

8   that.  Again, I think I would feel a little bit more

9   comfortable if the out-year numbers were a little bit more

10   substantial.  I guess the issue before the Commission is

11   obviously cost-recovery, not necessarily review of the

12   warranty, but the way that this is all come before us this is

13   the first time that the Commission has actually had

14   the opportunity to review, you know, the underlying contracts,

15   the warranty, and the land purchase -- I mean, the land lease

16   and all those other things.

17             So, again, that was just one point in passing that,

18   you know, I wanted to raise to FPL.  It is a legitimate

19   question.  It is remote and attenuated that we would ever find

20   ourselves in that position, but if all those -- if we go down

21   that path and certain things happen, you know, Sun Power goes

22   out the business, you know, obviously we don't have full

23   protection to otherwise enforce a warranty or mitigate the

24   impact to the ratepayer as a result of not having, you know,

25   standing letters of credit if the company were to decline in

FLORIDA PUBLIC SERVICE COMMISSION

308

1   their net worth substantially.  So, thank you.

2             CHAIRMAN CARTER:  Thank you, Commissioner.

3             Commissioners, let's do this.  Let's take about --

4   I'm looking at the clock to my right.  We will come back at 25

5   after.  We'll take a brief recess.

6             (Recess.)

7             CHAIRMAN CARTER:  We are back on the record.

8             And we took a break as we were going through a

9   question.

10             Commissioner Skop, sir, you're recognized.

11             COMMISSIONER SKOP:  Thank you, Mr. Chairman.

12             And I just want to clarify a previous remark that I

13   made.  I know that our hard-working staff is really busy and

14   has been working very had on all these dockets.  But, you know,

15   as a Commissioner, you know, I asked a legitimate question and

16   it did not get answered prior to coming today.

17             So, again, my comments are not directed in any way

18   towards the bench.  But, again, as a Commissioner, again, I

19   feel that this is a very legitimate question.  You know, we

20   have an excellent warranty, but all I was merely trying to

21   articulate was that now that I have my computer in front of me

22   halfway working, that the warranty is a very good one, but what

23   I see is that the protection breaks down with a contracting

24   weakness in Appendix E.  So --

25             CHAIRMAN CARTER:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

309

1             Commissioner Argenziano.

2             COMMISSIONER ARGENZIANO:  You know, as an individual

3   Commissioner, what I detect from Commissioner Skop is he feels

4   he needs to apologize for asking a question, and I'm here to

5   tell you, just as a colleague of yours, you never have to

6   apologize for asking a question.  That's what we are all here

7   for.  So if you have a legitimate question -- and knowing

8   staff, we are swamped here at the PSC, so things are going to

9   happen.  We are going to ask things the wrong way.  They are

10   swamped with all kinds of things that they need to take care

11   of.  It's going to happen.  So I don't think you need to

12   apologize for any question you have to ask.

13             CHAIRMAN CARTER:  Thank you, Commissioners.

14             Anything further from the bench?

15             Staff, you're recognized.

16             MS. BROWN:  Mr. Chairman, since the parties are

17   proposing stipulations on all the issues, I would note that OPC

18   has taken no position.  We suggest that the Commission could

19   make a bench decision in the case.

20             CHAIRMAN CARTER:  Commissioners, we have had a

21   proposed stipulation for the testimony.  We did enter the

22   testimony, did we not?

23             MS. BROWN:  Yes.

24             CHAIRMAN CARTER:  And the exhibits, we did enter the

25   exhibits?

FLORIDA PUBLIC SERVICE COMMISSION

310

1             MS. BROWN:  Yes.

2             CHAIRMAN CARTER:  And at this point in time the staff

3   is recommending that we accept the stipulation.  Commissioners,

4   if there is any further discussion on anything to be heard on

5   prior to moving forward?

6             Hearing none.  The chair is now open for a motion.

7             Commissioner Edgar, you're recognized.

8             COMMISSIONER EDGAR:  Thank you, Mr. Chairman.

9             I would make a motion that we adopt the stipulations

10   in the 07 environmental cost-recovery docket.

11             COMMISSIONER SKOP:  Second.

12             CHAIRMAN CARTER:  Moved and properly seconded.

13             Commissioners, any questions, any concerns, any

14   debate?

15             Hearing none.  All those in favor, let it be known by

16   the sign of aye.

17             (Simultaneous aye.)

18             CHAIRMAN CARTER:  All those opposed, like sign.  Show

19   it done.

20             Commissioners, as we get prepared for your next --

21             MS. BROWN:  Mr. Chairman, if I just might mention --

22             CHAIRMAN CARTER:  You're recognized.

23             MS. BROWN:  -- since the Commission has made a bench

24   decision, the final order in the case will be issued by

25   November 24th.

FLORIDA PUBLIC SERVICE COMMISSION

311

1             CHAIRMAN CARTER:  And that's on Docket Number

2   080007-EI.

3                            * * * * * * *

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

312

1   STATE OF FLORIDA    )

2                       :              CERTIFICATE OF REPORTER

3   COUNTY OF LEON      )

4

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

5   Section, FPSC Division of Commission Clerk, do hereby certify

that the foregoing proceeding was heard at the time and place

6   herein stated.

7             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

8   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

9   proceedings.

10             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

11   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

12   the action.

13             DATED THIS 14th day of November, 2008.

14

15             ___________________________________________

JANE FAUROT, RPR

16                   Official FPSC Hearings Reporter

(850) 413-6732

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION