| State of Florida |  | Public Service Commission Capital Circle Office Center ● 2540 Shumard Oak Boulevard Tallahassee, Florida 32399-0850 -M-E-M-O-R-A-N-D-U-M- |  |
| --- | --- | --- | --- |
| DATE: | November 18, 2008 |  |  |
| TO: | Office of Commission Clerk (Cole) |  |  |
| FROM: | Division of Economic Regulation (Hudson, Bruce, Bulecza-Banks, Fletcher, Daniel, Lingo, Stallcup, Redemann) Office of the General Counsel (Klancke) |  |  |
| RE: | Docket No. 070680-WS – Application for staff-assisted rate case in Pasco County by Orangewood Lakes Services, Inc. |  |  |
| AGENDA: | 12/02/08 – Regular Agenda – Proposed Agency Action Except for Issues 12, 14, 15, 16, and 17 – Interested Persons May Participate |  |  |
| COMMISSIONERS ASSIGNED: |  |  | All Commissioners |
| PREHEARING OFFICER: |  |  | McMurrian |
| CRITICAL DATES: |  |  | 04/07/09 (15-Month Effective Date (SARC)) |
| SPECIAL INSTRUCTIONS: |  |  | None |
| FILE NAME AND LOCATION: |  |  | S:\PSC\ECR\WP\070680.RCM.DOC |

Table of Contents

Issue	Description	Page

Case Background	3

1	Quality of Service (Daniel, Redemann)	4

2	Used and Useful (Daniel, Redemann)	6

3	Rate Base (Hudson)	7

4	Rate of Return (Hudson)	9

5	Billing Determinants (Bruce)	10

6	Test Year Revenues (Hudson)	11

7	Operating Expenses (Hudson)	12

8	Revenue Requirement (Hudson, Bruce)	17

9	Rate Structure (Bruce)	19

10	Repression (Bruce)	25

11	Rates (Bruce)	26

12	Interim Refund (Hudson)	27

13	Miscellaneous Service Charges (Hudson)	28

14	Four Year Rate Reduction (Hudson)	29

15	Temporary Rates (Hudson)	30

16	Show Cause for Unauthorized (Klancke, Hudson)	32

17	Show Cause for Serving Outside Territory (Klancke)	33

18	Close Docket (Klancke)	35

Schedule No. 1-A	36

Schedule No. 1-B	37

Schedule No. 1-C	38

Schedule No. 2	39

Schedule No. 3-A	40

Schedule No. 3-B	41

Schedule No. 3-C	42

Schedule No. 3-D	44

Schedule No. 3-E	45

Schedule No. 4-A	46

Schedule No. 4-B	47

Case Background

Orangewood Lakes Services, Inc. (Orangewood or Utility) is a Class C utility serving 223 water and 190 wastewater customers in Pasco County.  According to the Utility’s 2007 Annual Report, total gross revenue was $60,586 and $47,552 for water and wastewater, respectively.  The Utility’s operating expenses were $58,690 for water and $102,540 for wastewater.

Orangewood was granted water and wastewater Certificate Nos. 315-W and 260-S, respectively, in 1979.  The Utility had been in existence since 1973 providing service to a mobile home community without compensation, and therefore, was exempt from Commission regulation.  Subsequently, developers of property adjacent to the mobile home community contacted Orangewood to obtain water and wastewater service.  At that time, the Utility began providing service to those developments for compensation, and therefore, was no longer exempt from Commission regulation.  Orangewood requested and was granted a certificate and rates and charges for only the adjacent development areas, and failed to include the original mobile home community.  This issue was not discovered by staff until the current rate proceeding.  Issues 16 and 17, respectively, address staff’s recommendation regarding the Utility charging unauthorized rates and serving outside of its authorized territory.

This Utility has never had a rate proceeding before this Commission.  On November 9, 2007, in the instant docket, Orangewood filed a request for a staff-assisted rate case (SARC).  The Utility also requested emergency wastewater rates.  By letter dated December 7, 2007, Orangewood withdrew its request for emergency wastewater rates and instead requested interim wastewater rates.  By Order No. PSC-08-0063-PCO-SU, issued January 28, 2008, the Commission approved a 63.57 percent interim rate increase, subject to refund with interest. However, to date, the Utility has not implemented the interim rates.

The Commission has the authority to consider this rate case pursuant to Section 367.0814, Florida Statutes (F.S.).

Discussion of Issues

Issue 1:1

Should the quality of service provided by Orangewood be considered satisfactory?

Recommendation:

Yes.  The Utility’s quality of product, operational condition, and attempts to address customer complaints are satisfactory; therefore, the overall quality of service provided by Orangewood should be considered satisfactory.  (Daniel, Redemann)

Staff Analysis:

Pursuant to Rule 25-30.433(1), Florida Administrative Code (F.A.C.), the Commission determines the overall quality of service provided by a utility by evaluating three separate components of water and wastewater operations, including the quality of the Utility's product, the operational condition of the Utility's plant and facilities, and the Utility’s attempts to address customer satisfaction.

Quality of Utility’s Product and Operational Condition of the Plant

The Orangewood water and wastewater facilities are regulated by the Department of Environmental Protection (DEP) and Southwest Florida Water Management District (SWFWMD).  The DEP conducted a sanitary survey of the Utility’s water facilities on August 23, 2007, and the wastewater facilities were inspected on November 27, 2007.  Orangewood has conformed to all testing and chemical analyses required by DEP and the test results have been satisfactory; however, DEP found minor deficiencies in the Utility’s reporting and leaks in several locations at the wastewater plant.  DEP received a letter from Orangewood dated December 18, 2007, indicating that the reporting requirements had been corrected and the leaks repaired.  Maintenance at the water and wastewater plant-sites appears to have been given adequate attention.  Therefore, the Utility’s quality of product and operational condition should be considered satisfactory.

Utility’s Attempt to Address Customer Satisfaction

An informal customer meeting was held in Orangewood’s service area on May 7, 2008, to give customers an opportunity to address specific concerns about the quality of the Utility’s water and wastewater service, as well as ask questions about the regulatory process.  Approximately 15 customers attended the meeting and six customers offered comments about Orangewood.

Most customers were very concerned about the amount of the potential rate increase and several customers expressed concerns about the safety of the water.  Staff explained that the Utility has never had a rate case even though it has been in operation since 1978.  In addition, staff explained that Orangewood is in compliance with environmental requirements for its water and wastewater facilities and further addressed each of the individual customer concerns.

Staff reviewed the Commission’s complaint tracking system and found that no complaints have been filed against the Utility in the past three years.  Staff believes that Orangewood is putting forward a good faith effort to respond to the customer complaints that it has received.  Therefore, the Utility’s attempts to resolve customer complaints should be considered satisfactory.

Quality of Service Summary

Based on all of the above information, staff recommends that Orangewood’s quality of product, operational condition, and attempts to address customer complaints are satisfactory; therefore, the overall quality of service provided by the Utility should be considered satisfactory.

Issue 2:2

What are the used and useful percentages for Orangewood’s water and wastewater systems?

Recommendation:

The Utility’s water and wastewater treatment, distribution, and collection facilities are 100 percent used and useful.  (Daniel, Redemann)

Staff Analysis:

Orangewood’s water system includes one 8-inch well with a capacity of 500 gallons per minute (gpm) and an emergency interconnection with a neighboring water system for backup supply during emergencies.  The raw water is treated with a liquid sodium hypochlorite solution which is injected prior to entry into the 5,000 gallon hydropneumatic tank.  The treated water from the tanks is then pumped into the water distribution system which serves the Orangewood Lakes mobile home park (251 mobile homes and a clubhouse), an apartment complex (75 connections), Cypress Knolls (43 homes), and Lakewood Villas’ (115 homes) service areas.  Pursuant to Rule 25-30.4325, F.A.C., a system with one well is considered 100 percent used and useful.  In addition, the Utility’s water service area is built out with no apparent potential for development.  Therefore, staff recommends that the water treatment and distribution facilities be considered 100 percent used and useful.

Orangewood’s wastewater treatment plant has the capacity to treat 75,000 gallons per day (gpd) based on three-months of average daily flow (TMADF) utilizing extended aeration.  The TMADF for the test year was 43,840 gpd.  All of the Utility’s water customers are also wastewater customers with the exception of the 43 homes in Cypress Knolls, who receive wastewater treatment from a neighboring wastewater utility.  Orangewood’s wastewater service area is built out with no apparent potential for development.  Therefore, pursuant to Rule 25-30.432, F.A.C., staff recommends that the wastewater treatment and collection facilities be considered 100 percent used and useful.

Issue 3:3

What is the appropriate average test year rate base for the Utility?

Recommendation:

The appropriate average test year rate base for Orangewood is $32,751 for water and $46,546 for wastewater.  (Hudson)

Staff Analysis:

The appropriate components of the Utility’s rate base include, utility plant in service (UPIS), contributions-in-aid-of-construction (CIAC), accumulated depreciation, amortization of CIAC, and a working capital allowance.

Staff selected a test year ended December 31, 2007, for this rate case.  Rate base for Orangewood has never been established.  Pursuant to Audit Finding No. 2, the Utility was unable to provide any original cost records to substantiate its 2006 rate base balances.  Records necessary to determine the cost of original construction were not available and are considered lost.  Absent these records, the auditor requested that an original cost study be performed by the staff engineer.  The original cost study was derived by the use of an available map, DEP records, and a physical inspection of the facilities during the engineer’s investigation.  Adjustments have been made to match rate base component balances with the engineer’s original cost study and to update rate base through December 31, 2007.  A summary of each component and the adjustments follows.

Utility Plant in Service:   Orangewood recorded $30,629 and $78,040 of UPIS for the test year ended December 31, 2007, for water and wastewater, respectively.  Staff has made an adjustment to increase UPIS by $79,164 for water and $27,931 for wastewater to reflect the appropriate plant balances per the original cost study and the audit review.  The Utility owner provided additional invoices in support of plant additions that were not available at the time of the original cost study and audit review.  Staff has reviewed the invoices and determined that the additions should be included in UPIS.  Thus, staff increased UPIS by $6,217 for water and $33,153 for wastewater.  Staff has decreased UPIS by $1,383 and $1,107 to reflect averaging adjustments for water and wastewater, respectively.

Staff’s net adjustment to UPIS is an increase of $83,998 for water and $59,977 for wastewater.  Staff’s recommended UPIS balance is $114,627 and $138,017 for water and wastewater, respectively.

Non-used and Useful Plant:  As discussed in Issue No. 2,  the Utility’s water treatment plant and water distribution system should be considered 100 percent used and useful.  Also, Orangewood’s wastewater treatment plant and wastewater collection systems should be considered 100 percent used and useful.  Therefore, a used and useful adjustment is unnecessary.

Contribution in Aid of Construction :  The Utility recorded CIAC of $21,159 and $39,477 for water and wastewater, respectively, for the test year ended December 31, 2007.  Pursuant to Audit Finding No. 3, Orangewood’s tariff includes a meter installation fee of $50 for the initial commencement of water service.  The Utility, without prior Commission approval, increased its charge as follows:  $125 in 1980; $200 in 1981; $275 in 1986; $375 in 1989; and $500 in 2007.  Based on the connections provided in the audit, staff has calculated CIAC based on Orangewood’s increased charges.  Staff is recommending that the Utility keep the additional CIAC on its books.  Other than the single charge collected in 2007, staff believes Orangewood would have a difficult time locating the customers who are entitled to a refund due the time that has past since the charge was originally collected.  As discussed in the show cause issue (Issue 16), the increased CIAC will benefit customers by decreasing rate base and thereby the return on investment the Utility will be allowed to earn.  Therefore, staff has increased CIAC by $10,416 for water and $498 for wastewater.  Staff has also decreased wastewater by $250 to reflect an averaging adjustment.  Staff’s recommended CIAC is $31,575 for water and $39,725 for wastewater.

Accumulated Depreciation:  Orangewood recorded a balance for accumulated depreciation of $20,335 for water and $52,867 for wastewater for the test year.  Staff has calculated accumulated depreciation using the prescribed rates set forth in Rule 25-30.140, F.A.C.  As a result, staff has increased this account by $61,684 for water and $56,824 for wastewater to reflect depreciation calculated per staff.  Staff has decreased this account by $906 and $1,855 to reflect an averaging adjustment for water and wastewater, respectively.  The aforementioned adjustments result in an average accumulated depreciation of $81,113 for water and $107,836 for wastewater.

Accumulated Amortization of CIAC:  The Utility recorded $11,818 and $24,805 for amortization of CIAC for water and wastewater, respectively.  Amortization of CIAC has been recalculated by staff using composite depreciation rates.  In order to reflect amortization of CIAC as calculated by staff, this account has been increased by $11,009 for water and $10,631 for wastewater.  Staff has decreased this account by $514 and $699 for water and wastewater, respectively, to reflect an averaging adjustment.  Staff’s net adjustments to this account results in Amortization of CIAC of $22,313 for water and $34,737 for wastewater.

Working Capital Allowance:  Working capital is defined as the investor-supplied funds necessary to meet operating expenses or going-concern requirements of the utility.  Consistent with Rule 25-30.433(2), F.A.C., staff used the one-eighth of the operation and maintenance (O&M) expense formula approach for calculating working capital allowance.  Working capital has been increased by $8,499 (based on water O&M of $67,996) and $21,353 (based on wastewater O&M of $170,828) to reflect one-eighth of staff’s recommended O&M expenses for water and wastewater, respectively.

Rate Base Summary:  Based on the forgoing, staff recommends that the appropriate test year average rate base is $32,751 for water and $46,546 for wastewater.  Rate base is shown on Schedule Nos. 1-A and 1-B, and staff’s adjustments are shown on Schedule No. 1-C.

Issue 4:4

What is the appropriate rate of return on equity and overall rate of return for this Utility?

Recommendation:

The appropriate return on equity is 12.01 percent with a range of 11.01 percent - 13.01 percent.  The appropriate overall rate of return is 7.67 percent.   (Hudson)

Staff Analysis:

The Utility recorded the following items in its capital structure for the test year:  common stock of $112,482, long term debt of $225,336, and customer deposits of $13,135.  The appropriate rate of return on equity is 12.01 percent using the most recent Commission-approved leverage formula.  The Utility’s capital structure has been reconciled with staff’s recommended rate base.  Staff recommends a return on equity of 12.01 percent with a range of 11.01 percent - 13.01 percent, and an overall rate of return of 7.67 percent.  The return on equity and overall rate of return are shown on Schedule No. 2.

Issue 5:5

What are the appropriate pre-repression billing determinants for ratesetting purposes for the respective water and wastewater systems?

Recommendation:

The appropriate pre-repression billing determinants for ratesetting are 4,507 equivalent residential connections (ERCs) and 27,816.3 kgals for the water system and 3,991 ERCs and 21,483 kgals for the wastewater system.  (Bruce)

Staff Analysis:

The customer base is comprised of four subdivisions consisting of single-family homes and a mobile home park.  Staff’s engineer discovered that the customers of the mobile home park were not individually metered and had not been billed for their water and wastewater services.   Mr. Heiler is the owner of the utility and has indicated in his response to Staff Audit Finding No. 4, dated January 16, 2008, that as provided in the lease documents, dated March 1, 1999, in exchange for services provided by Orangewood Lakes Mobile Home Community, Orangewood Lakes Mobile Home Community receives water and wastewater service from Orangewood Lakes Services.

There are approximately 224 metered residential customers for the water system and approximately 181 metered customers for the wastewater system.  However, the mobile home park is neither individually billed nor is it master metered.  Therefore, the water and wastewater customers should be classified as residential bulk rate customers with usage billed to the owner of the park.  This will be discussed in more detail in Issue 9.  The mobile home park has a clubhouse, plus 251 small mobile homes occupied by retirees.  The mobile homes are approximately 700 square feet in size.   To calculate the appropriate number of ERCs, staff assigned one ERC per single-family home, 0.6 ERC per mobile home, and one ERC to the clubhouse.  Based on these assigned values, staff recommends that the appropriate number of ERCs served by the utility for the residential class is 4,495 ERCs for water and 3,979 ERCs for the wastewater system. Furthermore, staff recommends that the appropriate number of ERCs served by the utility for the general service class is 12 ERCs for both the water and wastewater systems.

The appropriate kgals for the residential water system and wastewater system is 14,843 and 8,510, respectively.  Also, the appropriate total kgals for the mobile home park is 12,973 (12,884 for the residents and 89 for the clubhouse).  This number was calculated based on the total number of gallons taken from the 2007 Monthly Operating Reports less 10 percent unaccounted-for-water, minus the gallons billed for the residential class.

Based on the foregoing, the appropriate pre-repression billing determinants for ratesetting are 4,507 ERCs and 27,816.3 kgals for the water system, and 3,991 ERCs and 21,483 kgals for the wastewater system.

Issue 6:6

What are the appropriate amounts of test year revenues in this case?

Recommendation:

The appropriate amount of test year revenues for the Utility is $110,623 for water and $89,676 for wastewater.  (Hudson)

Staff Analysis:

Orangewood was not charging the Orangewood Lakes mobile home park for water and wastewater service.  As discussed in Issue 5, staff is including the mobile home park in its billing determinants for ratesetting purposes.  For the test year, staff is imputing the revenues associated with the mobile home park.  Staff has applied the Utility’s tariffed rates to staff’s recommended billing determinants, resulting in test year revenues of $110,623 for water and $89,676 for wastewater.  Test year revenues are shown on Schedule Nos. 3-A and 3-B.  The related adjustments are shown on Schedule No. 3-B.

Issue 7:7

What is the appropriate amount of test year operating expenses?

Recommendation:

The appropriate amount of operating expense for the Utility is $77,815 for water and $181,865 for wastewater.  (Hudson)

Staff Analysis:

Pursuant to Audit Finding No. 5, Orangewood does not separate its water expenses from its wastewater expenses.  The test year O&M expenses have been reviewed, and invoices, canceled checks, and other supporting documentation have been examined.  As discussed in Issue 5, the Utility does not charge the mobile home park, a related party, for water and wastewater service in exchange for the mobile home park not charging for services it provides to Orangewood.  In order to appropriately establish the expenses related to the Utility operations, staff is including the expenses for services provided by the mobile home park.  Staff made several adjustments to the Orangewood’s operating expenses, as summarized below:

Salaries and Wages – Employees – (601/701) – The Utility has one employee, an office manager, who works 40 hours per week.  To determine the proper amount of salary expense to allocate between water and wastewater, staff evaluated the responsibilities and determined that 60 percent of time was dedicated to water service and 40 percent for wastewater.  The Utility pays the employee an annual salary of $25,175, which staff believes is reasonable.  Based on this salary, staff recommends salary expense for water of $15,105 and $10,070 for wastewater.

Salaries and Wages – Officers – (603/703) – Orangewood president’s salary is $10,400.  Staff believes the salary is reasonable.  To determine the proper amount of salary expense to allocate between water and wastewater, staff evaluated the responsibilities and determined that 60 percent of time was dedicated to water service and 40 percent for wastewater.  Based on this salary, staff recommends salary expense for water of $6,240 and $4,160 for wastewater.

Purchased Water – (610) –  The Utility paid $2,256 for purchased water from the City of New Port Richey.  Staff believes this amount is reasonable.  Staff’s recommended purchased water expense is $2,256.

Sludge Removal Expense – (711) – Orangewood provided invoices that indicated sludge removal for the test year was $33,056 for wastewater.  The Utility uses Arthur Price Septic Service (Arthur Price) for sludge removal.  Arthur Price disposes the sludge at Pasco County Utilities (Pasco).  Arthur Price provided the Utility a letter indicating that Pasco would be increasing its sludge disposal rates.  During the test year, the price per thousand gallons for sludge disposal to Pasco was $29.00.  Pasco will begin charging a rate of $106.50 per thousand gallons effective October 1, 2008.  Staff verified the accuracy of the rate with Pasco.  As a result of the increase in the sludge disposal rate, the Utility’s sludge removal expense would increase by $34,619.  Therefore, staff has increased this account by $34,619 to reflect a pro forma increase in sludge removal expense.  Staff’s net adjustment to this account is $67,675 ($33,056 + $34,619).  Staff’s recommended sludge removal expense is $67,675 for wastewater.

Purchased Power – (615/715) – Orangewood provided invoices that indicated the purchased power for the test year was $5,666 for water and $6,536 for wastewater.  Staff believes that the purchased power amounts are reasonable and has made an adjustment to include these amounts in the test year expense.

Chemicals – (618/718) –  The Utility provided invoices that indicated the chemicals for the test year were $2,742 for water and $11,035 for wastewater.  Staff believes that the chemical amounts are reasonable and has made an adjustment to include these expenses.

Materials and Supplies – (620/720) –  Orangewood provided invoices that indicate material and supplies for the test year was $76 for wastewater.  Staff believes that the amount is reasonable and has made an adjustment to include this expense.

Contractual Services – Billing – (630/730) – The Utility provided invoices indicating its total billing expenses for the test year were $13,846 for water and wastewater.  Staff believes these amounts are reasonable.  To determine the proper amount of billing expense to allocate between water and wastewater, staff evaluated the billing process.  Based on this evaluation, staff recommends contractual services – billing for water of $11,366 and $2,480 for wastewater.

Contractual Services - Professional – (631/731) – The Utility provided invoices indicating its accounting services for the test year were $2,100.  The accounting services consisted of the year-end closing of the books and the preparation of Orangewood’s annual report and tax return.  Staff believes this amount is reasonable.  Staff has increased this account by $1,050 each for water and wastewater.  The Utility provided an invoice indicating engineering expense of $2,800 for its wastewater permit renewal.  Staff believes this amount is reasonable.  Pursuant to Rule 25-30.433(8), F.A.C., staff amortized the permit renewal cost over five years resulting in a $560 increase to wastewater.  Staff’s recommended contractual services – professional is $1,050 for water and $1,610 for wastewater.

Contractual Services – Testing – (635/735) – Each utility must adhere to specific testing conditions prescribed within its operating permit.  These testing requirements are tailored to each utility as required by Rule Chapter 62-550, F.A.C. for water and Rule Chapter 62-600 F.A.C. for wastewater and enforced by DEP.  Staff made an adjustment to increase water by $1,799 and wastewater by $1,667 to reflect all DEP required testing.

Contractual Services – Other – (636/736) – The Utility recorded $0 in this account during the test year.  Orangewood provided invoices from Gator Water and Wastewater Management, Inc. (Gator) indicating it spent $9,180 or $765 monthly for operator services during the test year.  For 2008, the Utility indicated the operator expense increased to $1,150 per month.  Staff believes that the amount spent for operator services is reasonable.  To determine the proper amount of operator expense to allocate between water and wastewater, staff evaluated the duties and determined that the expense should be allocated equally.  Therefore, staff has increased this account by $6,900 each for both water and  wastewater.  During the test year, Orangewood paid $1,951 and $1,274 for normal contracted repairs for water and wastewater, respectively.  Staff believes these amounts are reasonable and has increased this account accordingly.  The Utility spent $1,450 for cleaning of the lift stations.  Staff believes this amount is reasonable and increased this account accordingly.  Orangewood indicated its yearly contracted engineering expense will be $500.  The Utility indicated the engineer expense is due to changes in DEP rules that require periodic engineering certification of the hydro pneumatic water tank and certification as to the interior cleanliness and condition of the interior tank coating.  Staff believes this amount is reasonable and increased this account accordingly.  Staff has included expenses incurred by the mobile home community on behalf of Orangewood.  Staff has reviewed the documentation provided by the Utility and included the expense staff believes are reasonable.  Thus, staff has increased this account as follows:  maintenance of the percolation pond at $16,680 annually for wastewater; the drain field piping at $22,765 annually for wastewater; and the plants at $7,020 for water and $10,920 for wastewater.  Based on the above, staff’s recommended contractual services – other is $15,871 for water and $60,489 for wastewater.

Rents  –  (640/740) – The Utility recorded $0 in this account during the test year.  Orangewood is located in a building owned by Heiler Trust, a related party.  The Utility leases the office space for $3,600, which includes water, electricity, and the use of the copy room.  Orangewood allocated 30 percent of the rent to water and 70 percent to wastewater.  Staff believes the rent amount is reasonable.  However, the allocation should be divided 60 percent for water and 40 percent for wastewater based on the allocation of employee time to each system.  Therefore, the account should be increased by $2,160 for water and $1,440 for wastewater.

Rule 25-30.433(10), F.A.C., specifies that a utility is required to own the land on which the utility treatment facilities are located, or possess the right to continued use of the land, such as by holding a 99-year lease.  The Utility has a 99-year lease agreement with the mobile home park for the use of the land at $0 annually.

Staff believes that the rental agreement for the land is a related party transaction.  By Order No. PSC-00-1513-TRF-WS, issued August 21, 2000, in Docket No. 991835-WS, In Re:  Application for allowance for funds prudently invested (AFPI) charge for additional water improvements and for additional lines associated with wastewater extension into George Mayo subdivision in Marion County, by Tradewinds Utilities, Inc., the Commission found the following:

Related party transactions require heightened scrutiny.  Although a transaction between related parties is not per se unreasonable, it is the utility’s burden to prove that its costs are reasonable.  Florida Power Corporation v. Cresse, 413 So. 2d 1187, 1191 (Fla. 1982).  This burden is even greater when the transaction is between related parties.  In GTE Florida, Inc. v. Deason, 642 So. 2d 545 (Fla. 1994), the Court established that when affiliate transactions occur, that does not mean that unfair or excessive profits are being generated, without more evidence to contrary.  The standard is to evaluate affiliate transactions and determine whether those transactions exceed the going market rate or are otherwise unfair.

In exchange for water and wastewater services, the mobile home community is leasing the land to Orangewood at $0.  As discussed previously, staff is recommending that the expenses incurred by the mobile home community on behalf of the Utility should be reflected on the Orangewood’s books.  Thus, staff believes a rental amount should be included on the Utility’s books for the lease of the land.  Orangewood has chosen not to purchase the land but to lease or rent it from a related party.  The Commission has found that the appropriate rent amount for the land between related parties shall be the annual rate of return, based on the Utility’s current capital structure, times the original cost of the land in service.  In order to determine the original cost of land, staff researched the Pasco County property appraiser database and found sales of land during the time the mobile home park came into existence as well as being within the vicinity of the mobile home park.  Staff determined that land was sold for approximately $8,611 an acre at that time.  The water plant is located on .51 acres of the property and the wastewater plant is located on 1.58 acres.  Staff has determined that the value of the land for the water plant should be $4,392 and the value of land for the wastewater plant should be $13,605.  Staff’s recommended rate of return is 7.67 percent.  Therefore, staff has determined rent for the land to be $337 ($4,392 x 7.67 percent) for water and $1,044 ($13,605 x 7.67 percent) for wastewater.  Staff has increased this account according for the land rent.

Orangewood leases a generator from the mobile home community as a back-up for any power losses.  The lease amount is $2,200 a year.  Staff believes this amount is reasonable and increased this account accordingly.  Staff’s recommends contractual services – rents of $4,697 for water and $2,484 for wastewater.

Insurance Expense – (655/755) – The Utility provided documentation that indicated insurance expense for the test year was $69 for water and $1,107 for wastewater.  Staff believes the amounts are reasonable and has made adjustments to include these expenses.

Regulatory Commission Expense – (665/765) – Orangewood recorded $0 in this account during the test year.  Pursuant to Section 367.0816, F.S., rate case expense is amortized over a 4-year period.  The Utility is required by Rule 25-22.0407, F.A.C, to mail notices of the customer meeting and notices of final rates in this case to its customers.  For these notices, staff has estimated $191 for postage expense, $163 printing expense, and $23 for envelopes.  The above results in a total rate case expense for noticing of $377.  Orangewood paid a $2,000 rate case filing fee for water and wastewater.  Staff recommends that total rate case expense is $2,377 ($2,000 + $377), which amortized over four years is $594, allocating $297 each for water and wastewater.

Miscellaneous Expense – (675/775)  –  During the test year, the Utility spent the following on miscellaneous expenses:  $348 for computer upgrades; $523 for bank charges; $150 for State of Florida Annual Report filing fee and $100 on collection fees.  Staff believes these amounts are reasonable.  The expenses totaled $610 and were allocated equally between water and wastewater.  Orangewood paid telephone expense of $228 for water and $532 for wastewater.  Staff believes this amount is reasonable and has increased this account accordingly.  Staff recommends miscellaneous expense of $838 for water and $1,142 for wastewater.

Operation and Maintenance Expense (O&M Summary) – The total O&M adjustment is an increase of $67,996 for water and $170,828 for wastewater.  Staff’s recommended O&M expenses are $67,996 for water and $170,828 for wastewater.  O&M expenses are shown on Schedule 3-D and 3-E.

Depreciation Expense (Net of Amortization of CIAC) – Staff calculated test year depreciation of $3,335 for water and $4,855 for wastewater using the rates prescribed in Rule 25-30.140, F.A.C.  Staff has calculated amortization of CIAC of $919 for water and $1,397 for wastewater based on composite rates.  Staff’s recommended net depreciation expense is $2,416 for water and $3,458 for wastewater.

Taxes Other Than Income (TOTI) – The Utility recorded taxes other than income of $3,624 for water and $4,161 for wastewater.  The amounts included in this account for payroll taxes are $769 for water and $2,081 for wastewater.  Staff’s calculated payroll taxes are $1,633 ($21,345 x .0765) for water and $1,089 ($14,230 x .0765) for wastewater.  Staff has increased this account by $864 ($1,633 - $769) for water and decreased this account by $993 ($2,081 - $1,089) to reflect payroll taxes on staff’s recommended salary.  As discussed in Issue 6, staff has increased test year revenues to reflect the imputation of revenues for the mobile home park.  Based on staff’s recommended test year revenues, Orangewood’s regulatory assessment fees (RAFs) should be $4,978 for water and $4,035 for wastewater.  The amounts included in this account for RAFs are $2,855 for water and $2,080 for wastewater.  Staff has made adjustments to increase RAFs by $2,123 ($4,978 - $2,855) for water and by $1,956 ($4,035 - $2,080) for wastewater.  The mobile home park paid $62,159 of property taxes for the park.  In order to determine the Utility’s portion of the property taxes, staff has determined that the Orangewood’s facilities occupy 1.28 percent of the property for water and 3.95 percent for wastewater.  Based on these percentages, staff has determined property taxes for the Utility to be $793 for water and $2,455 for wastewater.  Staff’s net adjustment to this account is an increase of $3,780 for water and $3,418 for wastewater.

Income Tax  –  The Utility recorded income tax of $0 water and wastewater.  The Utility is an 1120 S corporation.  As such, the tax liability is passed on to the owner’s personal tax returns.  Therefore, staff did not make an adjustment to this account.

Operating Expenses Summary  –  The application of staff’s recommended adjustments to the audited test year operating expenses results in staff’s calculated operating expenses of $77,815 for water and $181,865 for wastewater.  Operating expenses are shown on Schedule Nos. 3-A and 3-B.  The related adjustments are shown on Schedule 3-C.

Issue 8:8

What are the appropriate revenue requirements?

Recommendation:

The appropriate revenue requirements are $78,900 for the water system and $189,947 for the wastewater system.  (Hudson, Bruce)

Staff Analysis:

Based on staff’s calculated revenue requirement below, the Utility earned more than the recommended rate of return for its water system.  Orangewood is overearning on its water system and a revenue decrease is normally the appropriate action undertaken under these circumstances.  According to staff’s calculations, the appropriate revenue change is a decrease of $31,723 (or 28.68 percent) for the water system and an annual increase of $100,271 (or 111.82 percent) for the wastewater system.  This would allow the Utility the opportunity to recover its expenses and earn a 7.67 percent return on its investment.  Staff’s recommended revenue requirement is as follows:

|  | Water |  | Wastewater |
| --- | --- | --- | --- |
| Adjusted Rate Base | $32,751 |  | $46,546 |
| Rate of Return | 7.67% |  | 7.67% |
| Return on Rate Base | $2,512 |  | $3,570 |
| Adjusted O & M Expense | 67,996 |  | 170,828 |
| Depreciation expense (Net) | 2,416 |  | 3,458 |
| Taxes Other Than Income | 5,976 |  | 12,091 |
| Income Taxes | 0 |  | 0 |
| Revenue Requirement | $78,900 |  | $189,947 |
| Less Adjusted Test Year Revenues | 110,623 |  | 89,676 |
| Annual Increase/(Decrease) | -$31,723 |  | $100,271 |
| Percent Increase/(Decrease) | -28.68% |  | 111.82% |

The calculation above results in a 28.68 percent annual decrease (or $31,723) for water and a 111.82 percent annual increase (or $100,271) for wastewater.

Orangewood serves approximately 475 water customers and 432 wastewater customers. Forty-three water customers receive wastewater services from another entity.  In prior cases when the customer bases are similar for water and wastewater, staff recommends that the water system overearnings be netted against the wastewater system underearnings, resulting in net utility underearnings.  In this case, the customer bases are dissimilar, and netting would result in the water system subsidizing the wastewater system.  Therefore, staff recommends reducing the water system revenues.

Staff realizes that reducing the water rates can promote customers to use an excessive amount of water and also undercuts SWFWMD’s effort to promote conservation.  However,  staff’s only option was to reduce rates since the Utility’s water system is overearning.  As mentioned earlier,  in this case, staff could have netted the water system overearnings against the wastewater system to avoid the reduction in rates, however; the two customer bases are dissimilar.  Staff has been in contact with SWFWMD, and SWFWMD’s staff has stated that Orangewood has not exceeded their per capita limit.   Furthermore, District staff also indicated that due to low per capita water use, no conservation requirements have been adopted for this utility.  Based on the above, staff believes that reducing the water rates is appropriate in this case.  The recommended revenue requirements are shown on Schedule Nos. 3-A and 3-B for water and wastewater, respectively.

Issue 9:9

What are the appropriate rate structures for the Utility’s various customer classes?

Recommendation:

The appropriate rate structure for the water and wastewater systems’ residential and non-residential class is a base facility charge (BFC)/uniform gallonage charge rate structure.  The unmetered residential customers of the mobile home park should be charged a bulk water rate wherein the BFC should be based on 80 percent of the ERCs.  The water system’s 2 kgals allotment should be removed from the BFC, and the  BFC cost recovery should be set at 50 percent.  The appropriate rate structure for Orangewood’s wastewater system should be changed to a BFC/gallonage charge rate structure.  The unmetered residential customers of the mobile home park should be charged a bulk wastewater rate wherein the BFC should be based on 80 percent of the ERCs.   The residential monthly wastewater cap should be set at 6,000 gallons (6 kgal). The non-residential gallonage charge should be 1.2 times greater than the corresponding residential charge, and the BFC cost recovery percentage for the wastewater system should be set at 50 percent.  (Bruce)

Staff Analysis:

The Utility’s current rate structure for the water system consists of a monthly BFC/gallonage charge rate structure, in which the BFC of $12.50 includes a 2 kgal allotment in the BFC, and all gallons in excess of 2 kgal used are charged $2.80 per kgal.  In prior cases, it has been Commission practice to eliminate allotments in the base charge.  This type of rate structure is not considered conservation-oriented because it discourages conservation.

Water Rates:  Staff performed a detailed analysis of Orangewood’s billing data in order to evaluate various BFC cost recovery percentages for the residential rate class.  The goal of the evaluation was to select rate design parameters that: 1) allow the Utility to recover its revenue requirement; 2) equitably distribute cost recovery among Orangewood’s customer; and 3) implement, where appropriate, water conservation rate structures consistent with the Commission’s Memorandum of Understanding with the state’s five Water Management Districts.

The Commission’s preferred rate structure had traditionally been the BFC/uniform gallonage charge rate structure.  However, over the past several years, the Water Management Districts have requested, whenever possible, that an inclining block rate structure be implemented.

As discussed in Issue 8, staff has recommended that the water system’s revenue requirement be reduced.  In prior cases, when a utility is overearning on its water system, if appropriate, staff recommends that the water system overearnings be netted against the wastewater system underearnings.  However, in this case, there are dissimilarities in the water and wastewater customer bases.  Of the 475 water customers, approximately ten percent (43 customers) do not receive wastewater service from the Utility.  If the water system overearnings were netted against the wastewater system underearnings, these 43 customers would be subsidizing the wastewater service of the remaining 432 customers.  Therefore, staff recommends that the water system overearnings not be netted against the wastewater underearnings.

The traditional BFC/uniform gallonage charge rate structure has been the Commission’s water rate structure of choice for nonresidential classes. This is consistent with Rule 25-30.437(6), F.A.C.  The uniform gallonage charge should be calculated by dividing the total revenues to be recovered through the gallonage charge by the total of gallons attributable to all rate classes.  With this methodology, nonresidential customers would continue to pay their fair share for the cost of service.

Staff recommends that the residential BFC allocation be set at 50 percent.   The Commission typically sets BFC cost recovery no greater than 40 percent.  However, in this case, a large portion of the customer base is seasonal.   The higher allocation percentage will help insure that the Utility will have sufficient cash flow to cover fixed costs while seasonal customers are not in residence.   In recent cases, the Commission has approved  a BFC allocation greater than 40 percent.

Based on the foregoing, staff recommends that a BFC/uniform gallonage charge rate structure be implemented.  This rate structure is considered a conservation-oriented rate structure because customers’ bills increase as their consumption increases.  Furthermore, staff does not believe it is appropriate to continue the kgal allotment in the BFC because it is a non-conserving rate structure.

As discussed in Issue 5, the customers of the Orangewood Lakes Mobile Home Park are neither individually metered nor master metered.  The mobile home customers have not been billed for their water and wastewater services because in exchange for utility service, they maintain the utility’s water and wastewater transmission, distribution, and collection plant.   This indicates characteristics of a bulk rate user for the customers of the mobile home park.

Staff researched prior cases to determine the appropriate bulk water and wastewater rate for the customers of the mobile home park.  Staff was unable to find a case where a bulk water rate was set; however, staff discovered many cases where the Commission has approved bulk wastewater rates in prior cases.   To set the bulk water rate for the mobile home customers, staff used the same methodology the Commission has used in the past for setting bulk wastewater rates.

While researching, staff found a 1984 case involving Martin Down Utilities, Inc. and Martin County (County),  in which the County was responsible for all water distribution beyond the point of delivery.  The Commission approved a BFC for Martin County based on 80% of the number of ERCs, plus the tariff approved usage charge.  The Order states, “[t]he 20% reduction in the base facility charge reflects the savings to the maintenance responsibility for the mains on the discharged side of the meter.”   Also, in a case involving Lake Placid Utilities, Inc., the Commission recognized that the utility owned its own lift station.  However, the Commission decided in that docket that since the customers, not the utility, were paying for the electrical pumping power and maintenance of the lift station, the appropriate wastewater rate structure for the residents was a bulk rate BFC/gallonage charge rate structure.  The BFC was based on 80% of the ERCs connected to the system, while the gallonage charge was set at 20% less than the general service wastewater gallonage charge to reflect the fact that the customer paid for all costs associated with its lift station.

Staff believes the circumstances in the instant case are similar to those from the prior cases referenced above.  As previously discussed, the Orangewood Lakes Mobile Home Community maintains all water and wastewater transmission, distribution, and collection plant.   Therefore, staff believes that it is appropriate for the water and wastewater customers of the mobile home park to be served by a bulk rate for the BFC only.  Furthermore, the BFC should be based on 80% of the ERCs.

Staff’s recommended rate design for the water system is shown on Table 9-1 on the following page.  Staff also presented two alternative rate structures to illustrate other recovery methodologies.  The current rate structure and Alternatives 1 and 2 result in price decreases at all levels of consumption.

TABLE 9-1

| ORANGEWOOD LAKE SERVICES, INC. STAFF’S RECOMMENDED AND ALTERNATIVE WATER RATE STRUCTURES AND RATES (1) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Current Rate Structure and Rates |  |  |  |  | Recommended Rate Structure and Rates |  |  |
| BFC/uniform kgal charge For water service, with 2 kgal allotment in BFC |  |  |  |  | BFC/uniform kgal charge BFC = 50% |  |  |
| BFC (incl 2 kgals) |  | $12.50 |  |  | BFC |  | $8.52 |
| 2+ kgals |  | $2.80 |  |  | All kgals |  | $1.38 |
| Typical Monthly Bills (1) |  |  |  |  | Typical Monthly Bills |  |  |
| Cons (kgal) |  |  |  |  | Cons (kgal) |  |  |
| 0 | $12.50 |  |  |  | 0 |  | $8.52 |
| 1 | $12.50 |  |  |  | 1 |  | $9.90 |
| 3 | $15.30 |  |  |  | 3 |  | $12.66 |
| 5 | $20.90 |  |  |  | 5 |  | $15.42 |
| 10 | $34.90 |  |  |  | 10 |  | $22.32 |
| 20 | $62.90 |  |  |  | 20 |  | $36.12 |
| Alternative 1 |  |  |  |  | Alternative 2 |  |  |
| BFC/uniform kgal charge BFC = 40% |  |  |  |  | BFC/uniform kgal charge BFC =30% |  |  |
| BFC | $6.81 |  |  |  | BFC |  | $5.11 |
| All kgals | $1.66 |  |  |  | All kgals |  | $1.93 |
| Typical Monthly Bills |  |  |  |  | Typical Monthly Bills |  |  |
| Cons (kgal) |  |  |  |  | Cons (kgal) |  |  |
| 0 | $6.81 |  |  |  | 0 |  | $5.11 |
| 1 | $8.47 |  |  |  | 1 |  | $7.04 |
| 3 | $11.79 |  |  |  | 3 |  | $10.90 |
| 5 | $15.11 |  |  |  | 5 |  | $14.76 |
| 10 | $23.41 |  |  |  | 10 |  | $24.41 |
| 20 | $40.01 |  |  |  | 20 |  | $43.71 |

Based on the foregoing, staff recommends that the current water system rate structure, which includes a 2 kgal water allotment in the BFC, be changed to a traditional BFC/uniform gallonage charge rate structure with no usage allotments.  The unmetered residential customers of the mobile home park should be charged a bulk water rate wherein the BFC should be based on 80 percent of the ERCs.   The BFC cost recovery percentage for the water system should be set at 50 percent.

Wastewater Rates:  Orangewood’s current rate structure for the wastewater systems’  residential and non-residential classes consists of a flat rate charge of $24.07.

The initial allocation for the wastewater BFC cost recovery percentage was 66 percent.  Typically, staff recommends that the BFC cost recovery allocation be changed to at least 50 percent due to the capital-intensive nature of wastewater plants.  In this case, staff recommends an allocation of 50 percent in order to increase the gallonage charge and send a greater price signal to help offset the effects of the lower water gallonage charge.

As discussed earlier in Issue 5, on a going forward basis, the mobile home park should be classified as residential bulk rate customers.  Therefore, staff has also calculated a bulk wastewater rate for the mobile home park.  Staff’s initial review of the billing data suggests setting the wastewater cap at 8 kgal.  However, the mobile home park is excluded from the billing data.  The park represents half of the customer base and the average water consumption per park resident is 4.3 kgal.  Therefore, staff believes it is appropriate to set the cap at 6 kgal.  The total cap for the mobile home park residents is 1,506 kgal. Furthermore, staff recommends that the general service gallonage charge should be 1.2 times greater than the residential charge.

Staff’s recommended rate design for the wastewater system is shown on Table 9-2 on the following page.  Staff also presented two alternative rate structures to illustrate other recovery methodologies.  The current rate structure and Alternatives 1 and 2 result in price increases at all levels of consumption.

TABLE 9-2

| ORANGEWOOD LAKE SERVICES, INC. STAFF’S RECOMMENDED AND ALTERNATIVE WASTEWATER RATE STRUCTURES AND RATES |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Current Rate Structure and Rates |  |  |  |  | Recommended Rate Structure and Rates |  |  |
| Flat rate structure No gallonage Charge |  |  |  |  | BFC/uniform kgal charge BFC = 50% |  |  |
| BFC |  | $24.07 |  |  | BFC |  | $23.72 |
| All kgals |  | $0.00 |  |  | All kgals |  | $4.51 |
| Typical Monthly Bills (1) |  |  |  |  | Typical Monthly Bills |  |  |
| Cons (kgal) |  |  |  |  | Cons (kgal) |  |  |
| 0 | $24.07 |  |  |  | 0 |  | $23.72 |
| 1 | $24.07 |  |  |  | 1 |  | $28.23 |
| 3 | $24.07 |  |  |  | 3 |  | $37.25 |
| 5 | $24.07 |  |  |  | 5 |  | $46.27 |
| 6 | $24.07 |  |  |  | 6 |  | $50.78 |
| Alternative 1 |  |  |  |  | Alternative 2 |  |  |
| BFC/uniform kgal charge BFC = 60% |  |  |  |  | BFC/uniform kgal charge BFC =40% |  |  |
| BFC | $28.04 |  |  |  | BFC |  | $18.84 |
| All kgals | $3.67 |  |  |  | All kgals |  | $5.46 |
| Typical Monthly Bills |  |  |  |  | Typical Monthly Bills |  |  |
| Cons (kgal) |  |  |  |  | Cons (kgal) |  |  |
| 0 | $28.04 |  |  |  | 0 |  | $18.84 |
| 1 | $31.71 |  |  |  | 1 |  | $24.30 |
| 3 | $39.05 |  |  |  | 3 |  | $35.22 |
| 5 | $46.39 |  |  |  | 5 |  | $46.14 |
| 6 | $50.06 |  |  |  | 6 |  | $51.60 |

Based on the foregoing, staff recommends that the appropriate rate structure for the wastewater systems’ residential and non-residential class should be a BFC/uniform charge rate structure. The unmetered residential customers of the mobile home park should be charged a bulk wastewater rate wherein the BFC should be based on 80 percent of the ERCs.  The residential wastewater gallonage cap should be set at 6 kgal per month.  The general service gallonage charge should be 1.2 times greater than the residential charge, and the BFC cost recovery percentage for the wastewater system should be set at 50 percent.

Issue 10:10

Is a repression adjustment appropriate in this case?

Recommendation:

No.  However, in order to monitor the effects of the changes in revenues, the Utility should prepare monthly reports for the water and wastewater systems, detailing the number of bills rendered, the consumption billed, and the revenues billed.  These reports should be provided to staff.  In addition, these reports should be prepared, by customer class and meter size, on a quarterly basis for a period of two years, beginning the first billing period after the approved rates go into effect.  (Bruce)

Staff Analysis:

As discussed in Issue 5, staff recommends a decrease to the water system revenue requirement, resulting in price decreases at all levels of consumption.  Consistent with Commission decisions in similar prior cases, staff recommends that monthly reports be prepared to monitor the effects of the changes in revenues to both the water and wastewater systems.  These reports should reflect the number of bills rendered, the consumption billed, and the revenues billed.  These reports should be provided to staff.  In addition, these reports should be prepared, by customer class and meter size, on a quarterly basis for a period of two years, beginning the first billing period after the approved rates go into effect.

Issue 11:11

What are the appropriate rates for the Utility?

Recommendation:

The appropriate water and wastewater monthly rates are shown on Schedule Nos. 4-A and 4-B, respectively.  The recommended rates should be designed to produce revenue of $76,781 for water and $187,549 for wastewater, excluding miscellaneous service charges.  The Utility should file revised tariff sheets and a proposed customer notice to reflect the Commission-approved rates.  The approved rates should be effective for service rendered on or after the stamped approval date on the tariff sheet, pursuant to Rule 25-30.475(1), F.A.C.  In addition, the approved rates should not be implemented until staff has approved the proposed customer notice and the notice has been received by the customers.  Orangewood should provide proof of the date notice was given no less than 10 days after the date of the notice  (Bruce)

Staff Analysis:

The recommended rates should be designed to produce revenue of  $78,900 for the water system and $189,947 for the wastewater system.  Excluding miscellaneous service revenues of $2,119 for the water system and $2,398 for the wastewater system, results in revenues from monthly service of $76,781 for the water system and $187,549 for the wastewater system.

As discussed in Issue 9, the appropriate rate structure for the water and wastewater systems’ residential and non-residential class is a base facility charge (BFC)/uniform gallonage charge rate structure.  The unmetered residential customers of the mobile home park should be charged a bulk water rate wherein the BFC should be based on 80 percent of the ERCs.  The water system’s 2 kgals allotment should be removed from the BFC, and the  BFC cost recovery should be set at 50 percent.  The appropriate rate structure for Orangewood’s wastewater system should be changed to a BFC/gallonage charge rate structure.  The unmetered residential customers of the mobile home park should be charged a bulk wastewater rate wherein the BFC should be based on 80 percent of the ERCs.   The residential wastewater cap monthly gallon age cap should be set at 6,000 gallons (6 kgal). The non-residential gallonage charge should be 1.2 times greater than the corresponding residential charge, and the BFC cost recovery percentage for the wastewater system should be set at 50 percent.

The approved rates should be effective for service rendered on or after stamped approval date on the tariff sheet, pursuant to Rule 25-30.475(1), F.A.C.  In addition, the approved rates should not be implemented until staff has approved the proposed customer notice and the notice has been received by the customers.  The Utility should provide proof of the date notice was given no less than 10 days after the date of the notice.

If the effective date of the new rates falls within a regular billing cycle, the initial bills at the new rate may be prorated.  The old charge shall be prorated based on the number of days in the billing cycle before the effective date of the new rates.  The new charge shall be prorated based on the number of days in the billing cycle on and after the effective date of the new rates.  In no event shall the rates be effective for service rendered prior to the stamped approval date.

Based on the foregoing, the appropriate rates for monthly service for the water and wastewater systems are shown on Schedules 4-A and 4-B.

Issue 12:12

In determining whether any portion of the interim increase granted should be refunded, how should the refund be calculated, and what is the amount of the refund, if any?

Recommendation:

The Utility did not implement the Commission approved interim rates. Therefore, no refund is necessary.  (Hudson)

Staff Analysis:

In Order No. PSC-08-0063-PCO-WS, issued on August 4, 2006, interim wastewater rates were approved subject to refund, pursuant to Section 367.0814(4), F.S.  The approved interim revenue from rates is shown below:

| Wastewater | Revenues | Increase | Percentage |
| --- | --- | --- | --- |
|  | $89,765 | $34,880 | 63.57% |

Orangewood did not implement the Commission approved interim rates. Therefore, no refund is necessary.

Issue 13:13

Should the Utility be authorized to collect miscellaneous service charges, and, if so, what are the appropriate charges?

Recommendation:

Yes.  Orangewood should be authorized to collect miscellaneous service charges.  The appropriate charges are reflected below.  The Utility should file a proposed customer notice to reflect the Commission-approved charges.  The approved charges should be effective for service rendered on or after the stamped approval date of the tariff, pursuant to Rule 25-30.475(1), F.A.C., provided the notice has been approved by staff.  Within 10 days of the date the order is final, Orangewood should be required to provide notice of the tariff changes to all customers.  The Utility should provide proof the customers have received notice within 10 days after the date that the notice was sent.  (Hudson)

Staff Analysis:

Orangewood’s billing is contracted to an unrelated third party.  The third party is responsible for all aspects of the Utility’s billing such as processing the bill, collecting the payment, setting up new accounts as well as making premise visits.  Orangewood provided invoices which document that the third party invoices the Utility and bills the customers miscellaneous service charges of $30 for new accounts, $15 for premise visits, and $25 for non-sufficient fund (NSF) check returns.  Staff believes these charges are reasonable.  However, staff believes the NSF should be tariffed as actual cost in the event the financial institution changes its fees, thereby, eliminating the need for frequent tariff revisions.

Based on the above, Orangewood should be authorized to collect miscellaneous service charges.  The Utility should file a proposed customer notice to reflect the Commission-approved charges.  The approved charges should be effective for service rendered on or after the stamped approval date of the tariff, pursuant to Rule 25-30.475(1), F.A.C., provided the notice has been approved by staff.  Within 10 days of the date the order is final, Orangewood should be required to provide notice of the tariff changes to all customers.  The Utility should provide proof the customers have received notice within 10 days after the date that the notice was sent.

Issue 14:14

What is the appropriate amount by which rates should be reduced four years after the established effective date to reflect the removal of the amortized rate case expense as required by Section 367.0816, F.S.?

Recommendation:

The water and wastewater rates should be reduced as shown on Schedule No. 4, to remove rate case expense grossed-up for regulatory assessment fees and amortized over a four-year period.  The decrease in rates should become effective immediately following the expiration of the four-year rate case expense recovery period, pursuant to Section 367.0816, F.S.  The Utility should be required to file revised tariffs and a proposed customer notice setting forth the lower rates and the reason for the reduction no later than one month prior to the actual date of the required rate reduction.  If Orangewood files this reduction in conjunction with a price index or pass-through rate adjustment, separate data should be filed for the price index and/or pass-through increase or decrease and the reduction in the rates due to the amortized rate case expense.  (Hudson)

Staff Analysis:

Section 367.0816, F.S., requires that the rates be reduced immediately following the expiration of the four-year period by the amount of the rate case expense previously included in the rates.  The reduction will reflect the removal of revenues associated with the amortization of rate case expense and the gross-up for RAFs which is $311 annually for both water and wastewater. Using the Utility's current revenues, expenses, capital structure and customer base the reduction in revenues will result in the rate decreases as shown on Schedule No. 4.

Orangewood should be required to file revised tariff sheets no later than one month prior to the actual date of the required rate reduction.  The Utility also should be required to file a proposed customer notice setting forth the lower rates and the reason for the reduction.

If Orangewood files this reduction in conjunction with a price index or pass-through rate adjustment, separate data should be filed for the price index and/or pass-through increase or decrease and the reduction in the rates due to the amortized rate case expense.

Issue 15:15

Should the recommended rates by approved for the Utility on a temporary basis, subject to refund, in the event of a protest filed by a party other than Orangewood?

Recommendation:

Yes.  Pursuant to Section 367.0814(7), F.S., the recommended rates should be approved for the Utility on a temporary basis, subject to refund, in the event of a protest filed by a party other than Orangewood.  Prior to implementation of any temporary rates, the Utility should provide appropriate security.  If the recommended rates are approved on a temporary basis, the rates collected by Orangewood should be subject to the refund provisions discussed below in the staff analysis.  In addition, after the increased rates are in effect, pursuant to Rule 25-30.360(6), F.A.C., the Utility should file reports with the Commission’s Division of Economic Regulation no later than the 20th of each month, indicating the monthly and total amount of money subject to refund at the end of the preceding month.  The report filed should also indicate the status of the security being used to guarantee repayment of any potential refund.  (Hudson)

Staff Analysis:

This recommendation proposes an increase in water and wastewater rates.  A timely protest might delay what may be a justified rate increase resulting in an unrecoverable loss of revenue to the Utility.  Therefore, pursuant to Section 367.0814(7), F.S., in the event of a protest filed by a party other than the Orangewood, staff recommends that the recommended rates be approved as temporary rates.  The recommended rates collected by the Utility should be subject to the refund provisions discussed below.

Orangewood should be authorized to collect the temporary rates upon the staff’s approval of appropriate security for the potential refund and the proposed customer notice.  Security should be in the form of a bond or letter of credit in the amount of $67,939.  Alternatively, the Utility could establish an escrow agreement with an independent financial institution.

If Orangewood chooses a bond as security, the bond should contain wording to the effect that it will be terminated only under the following conditions:

- The Commission approves the rate increase; or

- If the Commission denies the increase, the Utility shall refund the amount collected that is attributable to the increase.

If Orangewood chooses a letter of credit as a security, it should contain the following conditions:

1)	The letter of credit is irrevocable for the period it is in effect, and.

2)	The letter of credit will be in effect until a final Commission order is rendered, either approving or denying the rate increase.

If security is provided through an escrow agreement, the following conditions should be part of the agreement:

1)	No refunds in the escrow account may be withdrawn by the Utility without the express approval of the Commission;

2)	The escrow account shall be an interest bearing account;

3)	If a refund to the customers is required, all interest earned by the escrow account shall be distributed to the customers;

4)	If a refund to the customers is not required, the interest earned by the escrow account shall revert to Orangewood;

5)	All information on the escrow account shall be available from the holder of the escrow account to a Commission representative at all times;

6)	The amount of revenue subject to refund shall be deposited in the escrow account within seven days of receipt;

7)	This escrow account is established by the direction of the Florida Public Service Commission for the purpose(s) set forth in its order requiring such account.  Pursuant to Cosentino v. Elson, 263 So. 2d 253 (Fla. 3d DCA 1972), escrow accounts are not subject to garnishments; and

- The Commission Clerk must be a signatory to the escrow agreement.

- The account must specify by whom and on whose behalf such monies were paid.

In no instance should the maintenance and administrative costs associated with the refund be borne by the customers.  These costs are the responsibility of, and should be borne by, the Utility.  Irrespective of the form of security chosen by Orangewood, an account of all monies received as a result of the rate increase should be maintained by the Utility.  If a refund is ultimately required, it should be paid with interest calculated pursuant to Rule 25-30.360(4), F.A.C.

Orangewood should maintain a record of the amount of the bond, and the amount of revenues that are subject to refund.  In addition, after the increased rates are in effect, pursuant to Rule 25-30.360(6), F.A.C., the Utility should file reports with the Commission Division of Economic Regulation no later than the 20th of each month indicating the monthly and total amount of money subject to refund at the end of the preceding month.  The report filed should also indicate the status of the security being used to guarantee repayment of any potential refund.

Issue 16:16

Should the Utility be required to show cause, in writing within 21 days, why it should not be fined for assessing additional meter installation charges without an authorized tariff?

Recommendation:

No.  Show cause proceedings should not be initiated at this time.  Orangewood should be put on notice that pursuant to Sections 367.081(1) and 367.091(3), F.S., it may only charge rates and charges approved by the Commission.  (Klancke, Hudson)

Staff Analysis:

Section 367.081(1), F.S., provides that a utility may only charge rates and charges that have been approved by the Commission.  Section 367.091(3), F.S., provides that “each utility’s rates, charges, and customer service policies must be contained in a tariff approved by and on file with the Commission.”

As stated previously, the Utility increased its meter installation charge.  Orangewood’s current approved tariff allows for the collection of a $50 meter installation charge.  Over a twenty-nine period, the Utility periodically increased its meter installation charge to $500 ($125 in 1980; $200 in 1981; $275 in 1986; $375 in 1989; and $500 in 2007).

Utilities are charged with the knowledge of the Commission's rules and statutes.  Additionally, "[i]t is a common maxim, familiar to all minds, that ‘ignorance of the law’ will not excuse any person, either civilly or criminally."  Barlow v. United States, 32 U.S. 404, 411 (1833).  Section 367.161(1), F.S., authorizes the Commission to assess a penalty of not more than $5,000 for each offense if a utility is found to have knowingly refused to comply with, or to have willfully violated, any provision of Chapter 367, F.S., or any lawful order of the Commission.  By failing to comply with the above-noted requirements of the above-noted Orders in a timely manner and Rule 25-30.115, F.A.C., the utility’s acts were “willful” in the sense intended by Section 367.161, F.S.  In Commission Order No. 24306, issued April 1, 1991, in Docket No. 890216-TL titled In Re: Investigation Into The Proper Application of Rule 25-14.003, F.A.C., Relating To Tax Savings Refund for 1988 and 1989 For GTE Florida, Inc., the Commission, having found that the company had not intended to violate the rule, nevertheless found it appropriate to order it to show cause why it should not be fined, stating that “willful” implies an intent to do an act, and this is distinct from an intent to violate a statute or rule.  Id. at 6.

Although regulated utilities are charged with knowledge of the Commission’s rules and statutes, staff does not believe that the Utility’s apparent violation of Sections 367.081(1) and 367.091(3), F.S., rises in these circumstances to the level which warrants the initiation of a show cause proceeding.  The additional meter installation charge increased CIAC, which benefitted customers by decreasing rate base and thereby the return on investment that Orangewood would be allowed to earn.  Therefore, staff does not believe that the Utility’s current customers would be harmed by the increase in the meter installation charge.  For the foregoing reasons, staff does not believe that Orangewood’s apparent violation of Sections 367.081(1) and 367.091(3), F.S., rises in these circumstances to warrant a show cause proceeding.  However, the Utility should hereby be put on notice that it may only charge rates and charges that have been approved by the Commission.

Issue 17:17

Should the Commission order Orangewood to show cause, in writing within 21 days, why it should not be fined for apparent violation of Section 367.045(2), Florida Statutes?

Recommendation:

No.  Show cause proceedings should not be initiated; however, the Utility should be given until January 5, 2009, to file an amendment application to include the mobile home community in Orangewood’s authorized territory.  (Klancke)

Staff Analysis:

As discussed in the case background, prior to 1978, the Utility provided water and wastewater service to its residents within Orangewood Lakes Mobile Home Community without specific compensation for its service.  Section 367.022(5), F.S., contains an exception from Commission regulation for “[l]andlords providing service to their tenants without specific compensation for the service.”  Therefore, Orangewood was exempt from Commission regulation pursuant to Section 367.022(5), F.S.  In 1979, Orangewood was granted water and wastewater Certificate Nos. 315-W and 260-S which authorized the Utility to provide service only to the area immediately adjacent to the Orangewood Lakes Mobile Home Community.  Orangewood did not realize that, as a result of serving the adjacent developments, all service provided by the Utility became subject to Commission regulation.  This places Orangewood in the position of serving a customer outside of its certificated area, which is in fact the Utility’s original customer that was previously exempt pursuant to Section 367.022(5), F.S.

Pursuant to Section 367.045(2), F.S., a utility may not delete or extend its service area outside the area described in its certificate of authorization until it has obtained an amended certificate of authorization from the Commission.  Section 367.161(1), F.S., authorizes the Commission to assess a penalty of not more than $5,000 for each offense, if a utility is found to have knowingly refused to comply with, or to have willfully violated, any provision of Chapter 367, F.S.

Staff first became aware that Orangewood was serving outside of its certificated area through the filing of this application.  Utilities are charged with the knowledge of the Commission's rules and statutes.  Additionally, "[i]t is a common maxim, familiar to all minds that 'ignorance of the law' will not excuse any person, either civilly or criminally."  Barlow v. United States, 32 U.S. 404, 411 (1833).  The Utility's failure to obtain antecedent Commission approval to extend its service area outside the area described in its certificate of authorization appears to be willful in the sense intended by Section 367.161, F.S.  In Order No. 24306, issued April 1, 1991, in Docket No. 890216-TL titled In Re: Investigation Into The Proper Application of Rule 25-14.003, F.A.C., Relating To Tax Savings Refund for 1988 and 1989 For GTE Florida, Inc., the Commission, having found that the company had not intended to violate the rule, nevertheless found it appropriate to order it to show cause why it should not be fined, stating that "'willful' implies an intent to do an act, and this is distinct from an intent to violate a statute or rule."  Id. at 6.

Staff is recommending that no show cause proceedings be initiated for violation of Section 367.045(2), F.S.  In the instant case, the failure of Orangewood to identify the mobile home park in its certificated area appears to be the result of an inadvertent oversight of the Utility.  In addition, Orangewood has never charged the customers in the mobile home community for water or wastewater service.  Instead, the cost of water and wastewater service is included in the customers lot rent.  Moreover, the Utility only gained knowledge of the error when it prepared a territorial map for this application.  Upon learning of the discrepancy in the Utility’s territory, Orangewood put forth a good faith effort to correct the error.  Staff has contacted the Utility and provided them with the information needed to complete an amendment application.  If the Commission approves staff’s recommendation with respect to this issue, staff further recommends that Orangewood be given until January 5, 2009, to file an amendment application to include the mobile home community in the Utility’s authorized territory.

In consideration of the foregoing, staff does not believe that this Utility's violation of Section 367.045(2), F.S., rises to the level of warranting that a show cause order be issued.  Therefore, staff recommends that the Commission not order Orangewood to show cause why it should not be fined for failing to obtain the Commission's approval for extending its service area prior to serving that area.  However, the Utility should be given until January 5, 2009, to file an amendment application to include the mobile home community in the Utility’s authorized territory.

Issue 18:18

Should this docket be closed?

Recommendation:

No.  If no person whose substantial interests are affected by the proposed agency action issues files a protest within 21 days of the issuance of the order, a Consummating Order will be issued.  However, the docket should remain open for staff’s verification that the revised tariff sheets and customer notice have been filed by the Utility and approved by staff.  When the PAA issues are final and the tariff and notice actions are complete, this docket may be closed administratively.  (Klancke)

Staff Analysis:

If no person whose substantial interests are affected by the proposed agency action issues files a protest within 21 days of the issuance of the order, a Consummating Order will be issued.  However, the docket should remain open for staff’s verification that the revised tariff sheets and customer notice have been filed by the Utility and approved by staff.  When the PAA issues are final and the tariff and notice actions are complete, this docket may be closed administratively.

|  | ORANGEWOOD LAKES SERVICES, INC. |  | SCHEDULE NO. 1-A |  |
| --- | --- | --- | --- | --- |
|  | TEST YEAR ENDING 12/31/07 |  | DOCKET NO. 070680-WS |  |
|  | SCHEDULE OF WATER RATE BASE |  |  |  |
|  |  | BALANCE | STAFF | BALANCE |
|  |  | PER | ADJUST. | PER |
|  | DESCRIPTION | UTILITY | TO UTIL. BAL. | STAFF |
| 1. | UTILITY PLANT IN SERVICE | $30,629 | $83,998 | $114,627 |
| 2. | LAND & LAND RIGHTS | 0 | 0 | 0 |
| 3. | NON-USED AND USEFUL COMPONENTS | 0 | 0 | 0 |
| 4. | CIAC | (21,159) | (10,416) | (31,575) |
| 5. | ACCUMULATED DEPRECIATION | (20,335) | (60,778) | (81,113) |
| 6. | AMORTIZATION OF CIAC | 11,818 | 10,495 | 22,313 |
| 7. | WORKING CAPITAL ALLOWANCE | 0 | 8,499 | 8,499 |
| 8. | WATER RATE BASE | $953 | $31,798 | $32,751 |

|  | ORANGEWOOD LAKES SERVICES, INC. |  |  | SCHEDULE NO. 1-B |  |
| --- | --- | --- | --- | --- | --- |
|  | TEST YEAR ENDING 12/31/07 |  |  | DOCKET NO. 070680-WS |  |
|  | SCHEDULE OF WASTEWATER RATE BASE |  |  |  |  |
|  |  |  | BALANCE | STAFF | BALANCE |
|  |  |  | PER | ADJUST. | PER |
|  | DESCRIPTION |  | UTILITY | TO UTIL. BAL. | STAFF |
| 1. | UTILITY PLANT IN SERVICE |  | $78,040 | $59,977 | $138,017 |
| 2. | LAND & LAND RIGHTS |  | 0 | 0 | 0 |
| 3. | NON-USED AND USEFUL COMPONENTS |  | 0 | 0 | 0 |
| 4. | CIAC |  | (39,477) | (248) | (39,725) |
| 5. | ACCUMULATED DEPRECIATION |  | (52,867) | (54,969) | (107,836) |
| 6. | AMORTIZATION OF CIAC |  | 24,805 | 9,932 | 34,737 |
| 7. | WORKING CAPITAL ALLOWANCE |  | 0 | 21,353 | 21,353 |
| 8. | WASTEWATER RATE BASE |  | $10,501 | $36,045 | $46,546 |

|  | ORANGEWOOD LAKES SERVICES, INC. | SCHEDULE NO. 1-C |  |  |
| --- | --- | --- | --- | --- |
|  | TEST YEAR ENDING 12/31/07 | DOCKET NO. 070680-WS |  |  |
|  | ADJUSTMENTS TO RATE BASE |  |  |  |
|  |  | WATER | WASTEWATER |  |
|  | UTILITY PLANT IN SERVICE |  |  |  |
| 1. | To reflect plant per original cost study. | $79,164 | $27,931 |  |
| 2. | To reflect additional plant. | 6,217 | 33,153 |  |
| 3. | To reflect averaging adjustment. | (1,383) | (1,107) |  |
|  | Total | $83,998 | $59,977 |  |
|  | CIAC |  |  |  |
| 1. | To reflect the appropriate CIAC balance. | ($10,416) | ($498) |  |
| 2. | To reflect averaging adjustment. | 0 | 250 |  |
|  | Total | ($10,416) | ($248) |  |
|  | ACCUMULATED DEPRECIATION |  |  |  |
| 1. | To reflect accumulated depreciation per Rule 25-30.0140. | ($61,684) | ($56,824) |  |
| 2. | To reflect an averaging adjustment. | 906 | 1,855 |  |
|  | Total | ($60,778) | ($54,969) |  |
|  | AMORTIZATION OF CIAC |  |  |  |
| 1. | To reflect the appropriate amort of CIAC | 11,009 | $10,631 |  |
| 2. | To reflect an averaging adjustment | (514) | (699) |  |
|  | Total | 10,495 | $9,932 |  |
|  | WORKING CAPITAL ALLOWANCE |  |  |  |
|  | To reflect 1/8 of test year O & M expenses. | $8,499 | $21,353 |  |

|  | ORANGEWOOD LAKES SERVICES, INC. |  |  |  |  | SCHEDULE NO. 2 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | TEST YEAR ENDING 12/31/07 |  |  |  |  |  | DOCKET NO. 070680-WS |  |  |  |
|  | SCHEDULE OF CAPITAL STRUCTURE |  |  |  |  |  |  |  |  |  |
|  |  |  |  | BALANCE |  |  |  |  |  |  |
|  |  |  | SPECIFIC | BEFORE | PRO RATA | BALANCE | PERCENT |  |  |  |
|  |  | PER | ADJUST- | PRO RATA | ADJUST- | PER | OF |  | WEIGHTED |  |
|  | CAPITAL COMPONENT | UTILITY | MENTS | ADJUSTMENTS | MENTS | STAFF | TOTAL | COST | COST |  |
| 1. | COMMON EQUITY | $112,482 | $0 | $112,482 | ($90,452) | $22,030 | 27.78% | 12.01% | 3.34% |  |
| 2. | LONG TERM DEBT | 225,336 | $0 | 225,336 | (181,203) | 44,133 | 55.65% | 6.00% | 3.34% |  |
| 3. | CUSTOMER DEPOSITS | 13,135 | $0 | 13,135 | 0 | 13,135 | 16.56% | 6.00% | 0.99% |  |
| 4. | TOTAL | $350,953 | $0 | $350,953 | ($271,655) | $79,298 | 100.00% |  | 7.67% |  |
|  |  |  |  | RANGE OF REASONABLENESS |  |  | LOW | HIGH |  |  |
|  |  |  |  | RETURN ON EQUITY |  |  | 11.01% | 13.01% |  |  |
|  |  |  |  | OVERALL RATE OF RETURN |  |  | 7.39% | 7.95% |  |  |

|  | ORANGEWOOD LAKES SERVICES, INC. |  |  |  | SCHEDULE NO. 3-A |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | TEST YEAR ENDING 12/31/07 |  |  |  | DOCKET NO. 070680-WS |  |  |
|  | SCHEDULE OF WATER OPERATING INCOME |  |  |  |  |  |  |
|  |  |  |  | STAFF | ADJUST. |  |  |
|  |  | TEST YEAR | STAFF | ADJUSTED | FOR | REVENUE |  |
|  |  | PER UTILITY | ADJUSTMENTS | TEST YEAR | INCREASE | REQUIREMENT |  |
| 1. | OPERATING REVENUES | $63,522 | $47,101 | $110,623 | ($31,723) | $78,900 |  |
|  |  |  |  |  | -28.68% |  |  |
|  | OPERATING EXPENSES: |  |  |  |  |  |  |
| 2. | OPERATION & MAINTENANCE | $0 | $67,996 | $67,996 | $0 | $67,996 |  |
| 3. | DEPRECIATION (NET) | 0 | 2,416 | 2,416 | 0 | 2,416 |  |
| 4. | AMORTIZATION | 0 | 0 | 0 | 0 | 0 |  |
| 5. | TAXES OTHER THAN INCOME | 3,624 | 3,780 | 7,404 | (1,428) | 5,976 |  |
| 6. | INCOME TAXES | 0 | 0 | 0 | 0 | 0 |  |
| 7. | TOTAL OPERATING EXPENSES | $3,624 | $74,191 | $77,815 | ($1,428) | $76,388 |  |
| 8. | OPERATING INCOME/(LOSS) | $59,898 |  | $32,808 |  | $2,512 |  |
| 9. | WATER RATE BASE | $953 |  | $32,751 |  | $32,751 |  |
| 10. | RATE OF RETURN | 6285.20% |  | 100.17% |  | 7.67% |  |

|  | ORANGEWOOD LAKES SERVICES, INC. |  |  |  | SCHEDULE NO. 3-B |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | TEST YEAR ENDING 12/31/07 |  |  |  | DOCKET NO. 070680-WS |  |
|  | SCHEDULE OF WASTEWATER OPERATING INCOME |  |  |  |  |  |
|  |  |  |  | STAFF | ADJUST. |  |
|  |  | TEST YEAR | STAFF | ADJUSTED | FOR | REVENUE |
|  |  | PER UTILITY | ADJUSTMENTS | TEST YEAR | INCREASE | REQUIREMENT |
| 1. | OPERATING REVENUES | $49,011 | $40,665 | $89,676 | $100,271 | $189,947 |
|  |  |  |  |  | 111.82% |  |
|  | OPERATING EXPENSES: |  |  |  |  |  |
| 2. | OPERATION & MAINTENANCE | $0 | $170,828 | $170,828 | 0 | $170,828 |
| 3. | DEPRECIATION (NET) | 0 | 3,458 | 3,458 | 0 | 3,458 |
| 4. | AMORTIZATION | 0 | 0 | 0 | 0 | 0 |
| 5. | TAXES OTHER THAN INCOME | 4,161 | 3,418 | 7,579 | 4,512 | 12,091 |
| 6. | INCOME TAXES | 0 | 0 | 0 | 0 | 0 |
| 7. | TOTAL OPERATING EXPENSES | $4,161 | $177,704 | $181,865 | $4,512 | $186,377 |
| 8. | OPERATING INCOME/(LOSS) | $44,850 |  | ($92,189) |  | $3,570 |
| 9. | WASTEWATER RATE BASE | $10,501 |  | $46,546 |  | $46,546 |
| 10. | RATE OF RETURN | 427.10% |  | -198.06% |  | 7.67% |

|  | ORANGEWOOD LAKES SERVICES, INC. |  | SCHEDULE NO. 3-C |  |
| --- | --- | --- | --- | --- |
|  | TEST YEAR ENDING 12/31/07 | DOCKET NO. 070680-WS |  |  |
|  | ADJUSTMENTS TO OPERATING INCOME |  | PAGE 1 OF 2 |  |
|  |  | WATER | WASTEWATER |  |
|  | OPERATING REVENUES |  |  |  |
| 1. | To reflect the appropriate test year revenues. | $44,982 | $38,267 |  |
| 2. | To include test year miscellaneous revenues per audit | 2,119 | 2,398 |  |
|  | Subtotal | $47,101 | $40,665 |  |
|  | OPERATION AND MAINTENANCE EXPENSES |  |  |  |
| 1. | Salaries and Wages - Employees (601,701) |  |  |  |
|  | a. To reflect the appropriate employee salary. | $15,105 | $10,070 |  |
| 2. | Salaries and Wages - Officers (603,703) |  |  |  |
|  | a. To reflect the appropriate officer's salary. | $6,240 | $4,160 |  |
| 3. | Purchased Water (610) |  |  |  |
|  | a. To reflect the appropriate purchased water expense. | $2,256 | $0 |  |
| 4. | Sludge Removal Expense (711) |  |  |  |
|  | a. To reflect the appropriate sludge removal expense. | $0 | $67,675 |  |
| 5. | Purchased Power (615,715) |  |  |  |
|  | a. To reflect the appropriate purchased power expense. | $5,666 | $6,536 |  |
| 6. | Chemicals (618, 718) |  |  |  |
|  | a. To reflect the appropriate chemical expense. | $2,742 | $11,035 |  |
| 7. | Materials and Supplies (620,720) |  |  |  |
|  | a. To reflect the appropriate material and supplies expense. | $0 | $76 |  |
| 8. | Contractual Services - Billing (630, 730) |  |  |  |
|  | a. To reflect the appropriate billing cost. | $11,366 | $2,480 |  |
| 9. | Contractual Services - Professional (631, 731) |  |  |  |
|  | a. To reflect the appropriate accounting services. | $1,050 | $1,050 |  |
|  | b. To reflect the appropriate engineering services. | 0 | 560 |  |
|  | Subtotal | $1,050 | $1,610 |  |
|  | (O & M EXPENSES CONTINUED ON NEXT PAGE) |  |  |  |

|  | ORANGEWOOD LAKES SERVICES, INC. | SCHEDULE NO. 3-C |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | TEST YEAR ENDING 12/31/07 | DOCKET NO. 070680-WS |  |  |  |
|  | ADJUSTMENTS TO OPERATING INCOME |  |  | PAGE 2 OF 2 |  |
|  | (O & M EXPENSES CONTINUED) | WATER |  | WASTEWATER |  |
| 10. | Contractual Services - Testing (635, 735) |  |  |  |  |
|  | a. To reflect the appropriate test expense per engineer. | $1,799 |  | $1,667 |  |
| 11. | Contractual Services - Other (636,736) |  |  |  |  |
|  | a. To reflect the appropriate operator expense. | $6,900 |  | $6,900 |  |
|  | b. To reflect expenses for repairs. | 1,951 |  | 1,274 |  |
|  | c. To reflect expenses for cleaning. | 0 |  | 1,450 |  |
|  | d. To include pro forma engineering expense. | 0 |  | 500 |  |
|  | e. To reflect the appropriate expense for percolation pond maintenance. | 0 |  | 16,680 |  |
|  | f. To reflect the appropriate expense for drain field piping maintenance. | 0 |  | 22,765 |  |
|  | g. To reflect the appropriate expense for plant maintenance. | 7,020 |  | 10,920 |  |
|  |  | $15,871 |  | $60,489 |  |
| 12. | Rents (640,740) |  |  |  |  |
|  | a. To reflect the appropriate rent expense for office | $2,160 |  | $1,440 |  |
|  | b. To reflect land rent for plant facilities. | 337 |  | 1,044 |  |
|  | c. To reflect rent for generator. | 2,200 |  | 0 |  |
|  | Subtotal | $4,697 |  | $2,484 |  |
| 13. | Insurance Expense (655/755) |  |  |  |  |
|  | a. To reflect insurance expense for plant facilities. | $69 |  | $1,107 |  |
| 14. | Regulatory Commission Expense (665) |  |  |  |  |
|  | a. To reflect the 4 year amortization of rate case expense. | $297 |  | $297 |  |
| 15. | Miscellaneous Expense (675,775) |  |  |  |  |
|  | a. To reflect miscellaneous expense. | $610 |  | $610 |  |
|  | b. To include telephone expense. | 228 |  | 532 |  |
|  | Subtotal | $838 |  | $1,142 |  |
|  | TOTAL OPERATION & MAINTENANCE ADJUSTMENTS | $67,996 |  | $170,828 |  |
| 1 | DEPRECIATION EXPENSE |  |  |  |  |
|  | a. To reflect the depreciation expense. | $3,335 |  | $4,855 |  |
|  | b. To reflect CIAC Amortization. | (919) |  | (1,397) |  |
|  | Subtotal | $2,416 |  | $3,458 |  |
| 2 | TAXES OTHER THAN INCOME |  |  |  |  |
|  | a. To reflect payroll taxes on staff's recommended salaries. | $864 |  | ($993) |  |
|  | b. To reflect appropriate RAFs. | 2,123 |  | 1,956 |  |
|  | c. To reflect the appropriate property taxes. | 793 |  | 2,455 |  |
|  |  | $3,780 |  | $3,418 |  |

|  | ORANGEWOOD LAKES SERVICES, INC. | SCHEDULE NO. 3-D |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | TEST YEAR ENDING 12/31/07 |  | DOCKET NO. 070680-WS |  |  |  |
|  | ANALYSIS OF WATER OPERATION AND |  |  |  |  |  |
|  | MAINTENANCE EXPENSE |  |  |  |  |  |
|  |  | TOTAL | STAFF |  | TOTAL |  |
|  |  | PER | PER |  | PER |  |
|  |  | PER UTILITY | ADJUST. |  | PER STAFF |  |
|  | (601) SALARIES AND WAGES - EMPLOYEES | $0 | $15,105 |  | $15,105 |  |
|  | (603) SALARIES AND WAGES - OFFICERS | 0 | 6,240 |  | 6,240 |  |
|  | (604) EMPLOYEE PENSIONS AND BENEFITS | 0 | 0 |  | 0 |  |
|  | (610) PURCHASED WATER | 0 | 2,256 |  | 2,256 |  |
|  | (615) PURCHASED POWER | 0 | 5,666 |  | 5,666 |  |
|  | (616) FUEL FOR POWER PRODUCTION | 0 | 0 |  | 0 |  |
|  | (618) CHEMICALS | 0 | 2,742 |  | 2,742 |  |
|  | (620) MATERIALS AND SUPPLIES | 0 | 0 |  | 0 |  |
|  | (630) CONTRACTUAL SERVICES - BILLING | 0 | 11,366 |  | 11,366 |  |
|  | (631) CONTRACTUAL SERVICES - PROFESSIONAL | 0 | 1,050 |  | 1,050 |  |
|  | (635) CONTRACTUAL SERVICES - TESTING | 0 | 1,799 |  | 1,799 |  |
|  | (636) CONTRACTUAL SERVICES - OTHER | 0 | 15,871 |  | 15,871 |  |
|  | (640) RENTS | 0 | 4,697 |  | 4,697 |  |
|  | (650) TRANSPORTATION EXPENSE | 0 | 0 |  | 0 |  |
|  | (655) INSURANCE EXPENSE | 0 | 69 |  | 69 |  |
|  | (665) REGULATORY COMMISSION EXPENSE | 0 | 297 |  | 297 |  |
|  | (670) BAD DEBT EXPENSE | 0 | 0 |  | 0 |  |
|  | (675) MISCELLANEOUS EXPENSES | 0 | 838 |  | 838 |  |
|  |  | $0 | $67,996 |  | $67,996 |  |

|  | ORANGEWOOD LAKES SERVICES, INC. |  | SCHEDULE NO. 3-E |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | TEST YEAR ENDING 12/31/07 |  | DOCKET NO. 070680-WS |  |  |  |
|  | ANALYSIS OF WASTEWATER OPERATION AND |  |  |  |  |  |
|  | MAINTENANCE EXPENSE |  |  |  |  |  |
|  |  | TOTAL | STAFF |  | TOTAL |  |
|  |  | PER | ADJUST- |  | PER |  |
|  |  | UTILITY | MENT |  | STAFF |  |
|  | (701) SALARIES AND WAGES - EMPLOYEES | $0 | $10,070 |  | $10,070 |  |
|  | (703) SALARIES AND WAGES - OFFICERS | 0 | 4,160 |  | 4,160 |  |
|  | (704) EMPLOYEE PENSIONS AND BENEFITS | 0 | 0 |  | 0 |  |
|  | (710) PURCHASED SEWAGE TREATMENT | 0 | 0 |  | 0 |  |
|  | (711) SLUDGE REMOVAL EXPENSE | 0 | 67,675 |  | 67,675 |  |
|  | (715) PURCHASED POWER | 0 | 6,536 |  | 6,536 |  |
|  | (716) FUEL FOR POWER PRODUCTION | 0 | 0 |  | 0 |  |
|  | (718) CHEMICALS | 0 | 11,035 |  | 11,035 |  |
|  | (720) MATERIALS AND SUPPLIES | 0 | 76 |  | 76 |  |
|  | (730) CONTRACTUAL SERVICES - BILLING | 0 | 2,480 |  | 2,480 |  |
|  | (731) CONTRACTUAL SERVICES - PROFESSIONAL | 0 | 1,610 |  | 1,610 |  |
|  | (735) CONTRACTUAL SERVICES - TESTING | 0 | 1,667 |  | 1,667 |  |
|  | (736) CONTRACTUAL SERVICES - OTHER | 0 | 60,489 |  | 60,489 |  |
|  | (740) RENTS | 0 | 2,484 |  | 2,484 |  |
|  | (750) TRANSPORTATION EXPENSE | 0 | 0 |  | 0 |  |
|  | (755) INSURANCE EXPENSE | 0 | 1,107 |  | 1,107 |  |
|  | (765) REGULATORY COMMISSION EXPENSES | 0 | 297 |  | 297 |  |
|  | (770) BAD DEBT EXPENSE | 0 | 0 |  | 0 |  |
|  | (775) MISCELLANEOUS EXPENSES | 0 | 1,142 |  | 1,142 |  |
|  |  | $0 | $170,828 |  | $170,828 |  |

|  | ORANGEWOOD LAKES SERVICES, INC. |  |  | SCHEDULE NO. 4-A |
| --- | --- | --- | --- | --- |
|  | TEST YEAR ENDING 12/31/07 |  | DOCKET NO. 070680-WS |  |
|  | MONTHLY WATER RATES |  |  |  |
|  |  | UTILITY'S | STAFF | FOUR-YEAR |
|  |  | EXISTING | RECOMMENDED | RATE |
|  |  | RATES | RATES | REDUCTION |
|  | Residential and General Service |  |  |  |
|  | Base Facility Charge by Meter Size: |  |  |  |
|  | 5/8"X3/4" | $12.50 | $8.52 | $0.03 |
|  | 3/4" |  | $12.78 | $0.05 |
|  | 1" |  | $21.30 | $0.08 |
|  | 1-1/2" |  | $42.60 | $0.17 |
|  | 2" |  | $68.16 | $0.27 |
|  | 3" |  | $136.32 | $0.54 |
|  | 4" |  | $213.00 | $0.84 |
|  | 6" |  | $426.00 | $1.68 |
|  | BFC Bulk Rate (Orangewood Lakes Mobile Home Park) |  | $4.09 | $0.02 |
|  | Residential Service Gallonage Charge |  |  |  |
|  | * Base Facility Charge includes 2,000 Gallons | $0.00 | $0.00 | $0.00 |
|  | 2,000+ Gallons | $2.80 | $0.00 | $0.00 |
|  | Per 1,000 Gallons (Residential and Bulk Customers) |  | $1.38 | $0.01 |
|  | General Service Gallonage Charge |  |  |  |
|  | Per 1,000 Gallons | $2.80 | $1.38 | $0.01 |
|  | Typical Residential 5/8" x 3/4" Meter Bill Comparison |  |  |  |
|  | 3,000 Gallons | $15.30 | $12.66 |  |
|  | 5,000 Gallons | $20.90 | $15.42 |  |
|  | 10,000 Gallons | $34.90 | $22.32 |  |

|  | ORANGEWOOD LAKES SERVICES, INC. |  |  | SCHEDULE NO. 4-B |  |
| --- | --- | --- | --- | --- | --- |
|  | TEST YEAR ENDING 12/31/07 |  |  | DOCKET NO. 070680-WS |  |
|  | MONTHLY WASTEWATER RATES |  |  |  |  |
|  |  | UTILITY'S | COMMISSION | STAFF | FOUR -YEAR |
|  |  | EXISTING | APPROVED | RECOMMENDED | RATE |
|  |  | RATES | INTERIM | RATES | REDUCTION |
|  | Residential Service |  |  |  |  |
|  | All Meter Sizes (Flat Rate) | $24.07 | $39.37 | $0.00 | $0.00 |
|  | All Meter Sizes | $0.00 | $0.00 | $23.72 | $0.04 |
|  | BFC Bulk Rate (Orangewood Lakes Mobile Home Park) |  |  | $11.38 | $0.02 |
|  | Per 1,000 Gallons (Residential and Bulk Customers) | $0.00 | $0.00 | $4.51 | $0.01 |
|  | Residential Gallonage Cap – 6,000 Gallons Bulk Gallonage Cap – 1,506,000 Gallons |  |  |  |  |
|  | General Service |  |  |  |  |
|  | Base Facility Charge by Meter Size: |  |  |  |  |
|  | All Meter Sizes | $24.07 | $39.37 | $0.00 | $0.00 |
|  | 5/8"X3/4" | $0.00 | $0.00 | $23.72 | $0.04 |
|  | 3/4" | $0.00 | $0.00 | $35.58 | $0.06 |
|  | 1" | $0.00 | $0.00 | $59.30 | $0.10 |
|  | 1-1/2" | $0.00 | $0.00 | $118.60 | $0.19 |
|  | 2" | $0.00 | $0.00 | $189.76 | $0.31 |
|  | 3" | $0.00 | $0.00 | $379.52 | $0.62 |
|  | 4" | $0.00 | $0.00 | $593.00 | $0.97 |
|  | 6" | $0.00 | $0.00 | $1,186.00 | $1.94 |
|  | Gallonage Charge per 1,000 gallons | $0.00 |  | $5.41 | $0.01 |
|  | Typical Residential 5/8" x 3/4" Meter Bill Comparison |  |  |  |  |
|  | 3,000 Gallons | $24.70 | $39.37 | $37.25 |  |
|  | 5,000 Gallons | $24.70 | $39.37 | $46.27 |  |
|  | 10,000 Gallons | $24.70 | $39.37 | $50.78 |  |

See Order Nos. 8683, issued January 23, 1979, in Docket No. 780660-S, In re:  Application of Orangewood Lakes Services, Inc., for a certificate to operate a sewer utility in Pasco County, Florida. Section 367.041, F.S. and 8703, issued February 1, 1979, in Docket No. 780457-W, In re:  Application of Orangewood Lakes Services, Inc., for a certificate to operate a water system in Pasco County, Florida.

See Order No. PSC-07-0472-PAA-WS, issued June 1, 2007, in Docket No. 070006-WS, In Re: Water and Wastewater Industry Annual Reestablishment of Authorized Range of Return on Common Equity for Water and Wastewater Utilities Pursuant to Section 367.081(4)(f), Florida Statutes.

See Order Nos. PSC-04-1464-PAA-SU, issued December 21, 2004, in Docket No. 040300-SU, In Re:  Application for staff-assisted rate case in Volusia County by Tymber Creek Utilities, and PSC-05-0621-PAA-WU, issued June 6, 2005, in Docket No. 041145-WU, In Re:  Application for staff-assisted rate case in Pasco County by Holiday Utility Company, Inc.

See Order Nos. PSC-07-0609-PAA-WS, issued July 30, 2007, in Docket No. 060246-WS, In Re: Application for increase in water and wastewater rates in Polk County by Gold Coast Utility Corp.; and PSC-08-0262-PAA-WS, issued in April 28, 2008, in Docket No. 070414-WS, In Re: Application for staff-assisted rate case in Polk County by Hidden Cove, Ltd.

See Order No. 17269, issued March 10, 1987 in Docket No. 840315-WS, In re: Application of Martin Downs Utilities, Inc., for increase in water and sewer rates in Martin County, Florida, p.3

See Order No. PSC-07-0287-PAA-WS, issued April 3, 2007 in Docket No. 060260-WS, In re:  Application for increase in water and wastewater rates in Highlands County by Lake Placid Utilities, Inc.

See Order Nos. PSC-99-0513-FOF-WS, issued March 12, 1999 in Docket No. 980214-WS, In re:  Application for rate increase in Duval, St. Johns and Nassau Counties by United Water Florida Inc., pp. 58-59; PSC-03-1250-PAA-WU, issued November 6, 2003 in Docket no. 030250-WU, In re:  Application for staff-assisted rate case in Pasco County, by Floral no Properties, Inc., p. 31; PSC-04-0356-PAA-WU, issued April 5, 2004 in Docket No. 030423-WU, In re:  Investigation into 2002 earnings of Residential Water Systems, Inc., in Marion County, p. 34; PSC-06-0170-PAA-WS, issued March 1, 2006 in Docket No. 050281-WS, In re:  Application for increase in water and wastewater rates in Volusia County by Plantation Bay Utility Company, p. 50; and PSC-06-0378-PAA-WU, issued May 8, 2006 in Docket No. 050449-WU, In re:  Application for staff-assisted rate case in Pasco County by Dixie Groves Utility Company, p. 13.

See Order Nos. 8683, issued January 23, 1979, in Docket No. 780660-S, In re:  Application of Orangewood Lakes Services, Inc., for a certificate to operate a sewer utility in Pasco County, Florida. Section 367.041, F.S. and 8703, issued February 1, 1979, in Docket No. 780457-W, In re:  Application of Orangewood Lakes Services, Inc., for a certificate to operate a water system in Pasco County, Florida.