1

1                              BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. UNDOCKETED

3       In the Matter of:

4       UNDOCKETED FILINGS FOR 2009 RE:

2009 HURRICANE SEASON PREPARATION

5       BRIEFING BY ELECTRIC UTILITIES AND

THE THREE MAJOR INCUMBENT LOCAL

6       EXCHANGE CARRIERS.

____________________________________/

7

8

9       PROCEEDINGS:        HURRICANE PREPAREDNESS WORKSHOP

10       COMMISSIONERS

PARTICIPATING:      CHAIRMAN MATTHEW M. CARTER, II

11                           COMMISSIONER LISA POLAK EDGAR

COMMISSIONER KATRINA J. McMURRIAN

12                           COMMISSIONER NANCY ARGENZIANO

COMMISSIONER NATHAN A. SKOP

13

DATE:               Wednesday, May 6, 2009

14

TIME:               Commenced at 9:30 a.m.

15                           Concluded at 12:51 p.m.

16       PLACE:              Betty Easley Conference Center

Room 148

17                           4075 Esplanade Way

Tallahassee, Florida

18

REPORTED BY:        LINDA BOLES, RPR, CRR

19                           JANE FAUROT, RPR

Official FPSC Reporters

20                           (850) 413-6732/(850) 413-6734

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1       PARTICIPATING:

2                 RICHARD SHAHEEN, Florida Power & Light

3       Company.

4                 JASON CUTLIFFE, Progress Energy Florida.

5                 REGAN HAINES, Tampa Electric Company.

6                 ANDY McQUAGGE, Gulf Power Company.

7                 BUDDY SHELLEY, Florida Public Utilities.

8                 JODY FINKLEA, Florida Municipal Electric

9       Association and Florida Municipal Power Association.

10                 PAUL KALV, City of Leesburg.

11                 MICHELLE HERSHEL, Florida Electric

12       Cooperatives Association.

13                 JODY DOTSON, Glades Electric Cooperative.

14                 TRACY HATCH, JENNIFER CAIN, KIRK SMITH, JEFF

15       PATTON and DAVE CUNDIFF, AT&T Florida.

16                 CHRIS CARDENAS, DAVID CHRISTIAN and BRETT

17       REELFS, Verizon.

18                 SANDRA KHAZRAEE, Embarq Florida.

19                 KEINO YOUNG, ESQUIRE, and STEVE GARL, Florida

20       Public Service Commission.

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                              I N D E X

2

NAME:                                         PAGE NO.

3

4       RICHARD SHAHEEN                                   11

5       JASON CUTLIFFE                                    22

6       REGAN HAINES                                      32

7       ANDY McQUAGGE                                     40

8       BUDDY SHELLEY                                     58

9       MICHELLE HERSHEL                                  65

10       JODY DOTSON                                       66

11       JODY FINKLEA                                      78

12       PAUL KALV                                         80

13       KIRK SMITH                                        90

14       JEFF PATTON                                       94

15       DAVE CUNDIFF                                      99

16       CHRIS CARDENAS                                   104

17       SANDRA KHAZRAEE                                  116

18

19

20

21

22

23

24       CERTIFICATE OF REPORTERS                         127

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1                        P R O C E E D I N G S

2                 COMMISSIONER McMURRIAN:  Good morning,

3       everyone, and welcome to the 2009 Hurricane Season

4       Preparation Workshop.

5                 Staff, would you please read the notice.

6                 MR. YOUNG:  By notice issued April 10th, 2009,

7       by the Commission Clerk this time and place has been set

8       for a workshop in the undocketed matter.  The purpose of

9       the workshop is set out in the notice.

10                 COMMISSIONER McMURRIAN:  Thank you, Mr. Young.

11                 Mr. Chairman, are you with us?

12                 CHAIRMAN CARTER:  I am with you, Commissioner,

13       Madam Chairman.  I wanted to say good morning to you and

14       I wanted to let you know that to avert any telephone

15       disasters like I had yesterday, staff has given me a

16       website that I can go on and watch.  So I'll just be

17       participating and then I'll go online and watch.  And if

18       I have any questions, I'll call in.

19                 COMMISSIONER McMURRIAN:  Okay.  Thank you, Mr.

20       Chairman.  We will wave at you every once in a while.

21                 CHAIRMAN CARTER:  Thank you very much.

22                 COMMISSIONER McMURRIAN:  All right.  Thank you

23       for that.  And I guess we'll go ahead and take

24       appearances.  And we'll start --

25                 MR. HAINES:  Regan Haines, Tampa Electric

FLORIDA PUBLIC SERVICE COMMISSION

5

1       Company.

2                 MR. CUTLIFFE:  Jason Cutliffe, Progress

3       Energy.

4                 COMMISSIONER McMURRIAN:  Thank you.

5                 MR. SHELLEY:  Buddy Shelley with Florida

6       Public Utilities.

7                 MR. McQUAGGE:  Andy McQuagge, Gulf Power

8       Company.

9                 MS. HERSHEL:  Michelle Hershel, Florida

10       Electric Cooperatives Association, and I have Jody

11       Dotson with Glades Electric Cooperatives.

12                 COMMISSIONER McMURRIAN:  Thank you.

13                 MR. SHAHEEN:  Richard Shaheen, Florida Power &

14       Light Company.

15                 COMMISSIONER McMURRIAN:  Thank you.

16                 MS. FINKLEA:  Jody Finklea, Florida Municipal

17       Electric Association.  And I have Paul Kalv, Utility

18       Director of the City of Leesburg.

19                 COMMISSIONER McMURRIAN:  Thank you.

20                 CHAIRMAN CARTER:  I didn't hear -- I'm sorry,

21       Madam Chairman.  I didn't hear the last person.

22                 COMMISSIONER McMURRIAN:  Just a second, Mr.

23       Chairman.  They didn't come to a microphone.  We could

24       hear them pretty well in here.

25                 CHAIRMAN CARTER:  I'm sorry.

FLORIDA PUBLIC SERVICE COMMISSION

6

1                 COMMISSIONER McMURRIAN:  That's okay.  We'll

2       get them to repeat it.

3                 MS. FINKLEA:  My apologies, Mr. Chairman.

4       Jody Finklea, Florida Municipal Electric Association,

5       with Paul Kalv, Utility Director of the City of

6       Leesburg.

7                 COMMISSIONER McMURRIAN:  Thank you.

8                 MR. HATCH:  This is Tracy Hatch with AT&T

9       Florida, also with Jennifer Cain, Kirk Smith and the

10       usual suspects.

11                 COMMISSIONER McMURRIAN:  Thank you.

12                 MR. CHRISTIAN:  David Christian with Verizon

13       Communications.  With me is Chris Cardenas and Brett

14       Reelfs, R-E-E-L-F-S.

15                 COMMISSIONER McMURRIAN:  Thank you.

16                 MS. KHAZRAEE:  Sandy Khazraee with Embarq.

17                 COMMISSIONER McMURRIAN:  Thank you,

18       Ms. Khazraee.

19                 And now with our staff.

20                 MR. YOUNG:  Keino Young and Steve Garl with

21       Commission staff.

22                 MR. GARL:  Steve Garl, Commission staff.

23                 COMMISSIONER McMURRIAN:  Thank you all.  And I

24       should say that Commissioner Edgar is under the weather

25       this morning as well, so we'll do our best.  I don't

FLORIDA PUBLIC SERVICE COMMISSION

7

1       think that we've had a swine flu outbreak, just to let

2       everyone know, and hopefully we'll be back to full

3       strength by next week.  But our thoughts are with

4       everyone, including you, Mr. Chairman.

5                 CHAIRMAN CARTER:  Thank you.

6                 COMMISSIONER McMURRIAN:  And I guess we'll get

7       started and I'll open up with a few remarks.

8                 In 2006, the Commission adopted a multifaceted

9       approach and a response to ensure all utilities'

10       infrastructures will be better able to withstand the

11       impact of hurricanes and to implement lessons learned

12       from the 2004 and 2005 storm seasons.  We adopted ten

13       storm hardening initiatives and required IOUs to file

14       formal storm hardening plans.

15                 In our July 2007 report to the Legislature we

16       cited our most critical recommendation that Florida

17       maintain a high level of storm preparation.  The annual

18       Hurricane Season Preparation Workshop provides utilities

19       and local exchange companies a forum to advise us of

20       their individual hurricane season preparation

21       activities.  This is the fourth year that we've done

22       this.

23                 The hurricane forecasting experts at Colorado

24       State University updated their forecast for the 2009

25       hurricane season just last month.  Their report tells us

FLORIDA PUBLIC SERVICE COMMISSION

8

1       to expect that the 2009 season will have about as much

2       activity as the average season.  Specifically they

3       expect 12 named storms in the Atlantic Basin, including

4       the Gulf of Mexico, with six reaching hurricane status

5       and two of the six growing to Category 3, 4 or 5 in

6       intensity.

7                 Next slide.  To put this forecast into

8       perspective, the projection for the 2008 hurricane

9       season was for a well above average season with 15 named

10       storms, eight reaching hurricane status, and four of the

11       eight growing to Category 3, 4 and 5 in intensity.  The

12       actual 2008 storm activity is shown in the slide now

13       being displayed.  You will note there were 16 storms,

14       eight reaching hurricane intensity and five major

15       hurricanes.  Florida was fortunate not having a

16       hurricane make landfall in the state last year, but we

17       didn't escape nature's wrath entirely.  Our challenge

18       last year was Tropical Storm Faye, as many of you

19       remember.  After making an unprecedented four landfalls

20       in Florida, the slow-moving storm left us with as much

21       or more damage than many hurricanes.  We hope to be

22       spared an active hurricane season this year and even

23       tropical storms like Faye.  Nonetheless, preparedness is

24       still key.

25                 Historically we have seen that the single

FLORIDA PUBLIC SERVICE COMMISSION

9

1       greatest detriment to hurricane preparation is time,

2       specifically time since the last storm.  As a Commission

3       we must remain diligent and not allow the time between

4       hurricanes to lull us into complacency.  We must do all

5       we can in preparation to protect the consumers of our

6       great state.

7                 Therefore, today we ask each of our presenters

8       here to address the status of their company's

9       preparation for the 2009 hurricane season.  Please

10       include the status of work achieved to protect

11       facilities to date, work in progress and work to be

12       accomplished in the near future.

13                 Finally, we ask that you specifically and

14       frankly address items of concern or areas of

15       vulnerability within your service areas.  It's

16       understood that while the electric utilities own the

17       vast majority of the electric transmission and

18       distribution infrastructure in the state, local exchange

19       companies own many of the poles upon which the electric

20       utility infrastructure is placed.  The ILECs therefore

21       also have a vital role in preparation for the hurricane

22       season.

23                 We welcome everyone's participation today.

24       And before we get started with the presentations, I'll

25       just ask if any Commissioners would like to make any

FLORIDA PUBLIC SERVICE COMMISSION

10

1       opening comments or if, or if staff would?

2                 COMMISSIONER SKOP:  No opening.

3                 CHAIRMAN CARTER:  Madam Chairman, I'd just

4       like to say that this is, as you said, our fourth year

5       doing this, and we do this to be proactive, to protect

6       lives and also to save property, and I think it shows

7       that Florida is a leader in the nation in terms of what

8       we're doing with our storm hardening and our

9       preparedness for hurricanes and disasters and all.  And

10       I really, I appreciate all of the participation of all

11       of the parties, both those that we regulate and those

12       that we don't regulate.  And I just, I think this is a

13       great opportunity for us in a nonadversarial way to

14       prepare for the best and hope for -- I mean prepare for

15       the worst and hope for the best.  Thank you.

16                 COMMISSIONER McMURRIAN:  Thank you, Mr.

17       Chairman.

18                 And, Mr. Young, any comments?

19                 MR. YOUNG:  No.

20                 COMMISSIONER McMURRIAN:  Okay.  Well, I guess

21       we'll get started with the presentations.  And I believe

22       first up we'll hear from Florida Power & Light Company.

23       And any of you throughout the day are welcome to either

24       come to the podium or come to the microphones.  As long

25       as we have you at a microphone for the court reporter,

FLORIDA PUBLIC SERVICE COMMISSION

11

1       that will be fine for me.  Thank you.

2                 Mr. Shaheen.

3                 MR. SHAHEEN:  Thank you, and good morning,

4       Commissioners and staff.  My name is Richard Shaheen.  I

5       am FPL's Senior Director of Distribution, Engineering

6       and Technical Services.  Included in my responsibilities

7       are oversight of FPL's storm restoration and

8       preparedness activities, hardening and pole inspection

9       program.

10                 Thank you for providing us the opportunity to

11       review FPL's hurricane preparedness plans for the 2009

12       storm season.  My presentation will address activities

13       and results for our distribution and transmission

14       systems.

15                 Let me start off first by saying FPL is well

16       prepared and we are ready to respond should our

17       communities be faced with hurricane activity this year.

18       Additionally, our continued efforts to improve our

19       systems and processes as well as strengthen our

20       distribution and transmission infrastructure are also

21       better preparing us for storm seasons as well.

22                 FPL's hurricane preparations are a year-long

23       effort that is concentrated on four key elements.

24       First, we continue to strengthen our distribution and

25       transmission infrastructure.  This is being accomplished

FLORIDA PUBLIC SERVICE COMMISSION

12

1       through our hardening plans, our pole inspection

2       programs and our vegetation management programs, all of

3       which have been reviewed and approved by the Commission.

4                 Second, as we do every year, we're preparing

5       our storm organization, ensuring we have the right

6       people in the right roles with the necessary training

7       and knowledge so that they can respond quickly and

8       safely.

9                 Third, we continue to improve our already

10       well-tested restoration plan by incorporating lessons

11       learned and utilizing technology.

12                 Finally, we continue to look for ways to

13       provide more and better information for our customers.

14                 Now let me discuss each of these elements in a

15       little more detail.

16                 Hardening.  Hardening is a key component of

17       our plan to strengthen our infrastructure.  For our

18       distribution system FPL is using a three-prong approach.

19                 One, we're hardening our critical

20       infrastructure facilities, for instance, hospitals,

21       911 centers, police and fire stations to the National

22       Electric Safety Code extreme wind loading criteria.

23                 Two, we're incrementally hardening what we

24       refer to as our community projects.  These are major

25       thoroughfares where key community needs are located like

FLORIDA PUBLIC SERVICE COMMISSION

13

1       grocery stores, gas stations and pharmacies.

2                 And, three, we're utilizing our new design

3       guidelines to construct all new facilities, major

4       planned work and relocation projects, as well as our

5       daily work activities to the extreme wind loading

6       criteria.

7                 For critical infrastructure we've initially

8       concentrated on infrastructure serving acute care

9       facilities throughout our system.  Since 2007 we have

10       hardened infrastructure serving 77 acute care

11       facilities.  For 2009, an additional 44 of these

12       projects are planned, resulting in by the end of this

13       year all acute care facilities and hospitals in our

14       service territory being hardened.

15                 Further, in 2009 we have begun to harden

16       911 centers, EOCs and police and fire facilities.  We

17       also continue to target what we refer to as critical

18       poles such as poles where our lines cross major

19       interstate highways or the first feeder poles outside

20       our substations referred to as the 01 switch, which are

21       critical to expediting restoration efforts.  The

22       combination of 93 of these projects are planned for

23       2009.  And, finally, since 2007 we have completed

24       incremental hardening on 55 community projects and plan

25       to complete an additional 11 in 2009.

FLORIDA PUBLIC SERVICE COMMISSION

14

1                 With FPL's transmission system already

2       constructed to extreme wind loading criteria, our

3       original plan for hardening the transmission system

4       centered on replacing single unguyed wood poles and

5       replacing ceramic post insulators on concrete

6       structures.  In 2008, FPL enhanced this plan to replace

7       all wood transmission structures in our system.  This is

8       a long-term effort which we estimate will take us 25 to

9       30 years to complete, but will result in an even

10       stronger transmission system than we have today in the

11       end.

12                 Since 2007 FPL has replaced 3,437 wood

13       transmission structures and 1,366 ceramic post

14       insulators.  In 2009 we're planning to replace over

15       900 wood structures as well as 1,200 ceramic post

16       insulators on 400 concrete structures.  Although the

17       slide says 400 post insulators, it's 1,200 insulators on

18       400 structures.

19                 Pole inspections.  FPL began the

20       implementation of its eight-year distribution pole

21       inspection program in May of 2006 ensuring that each

22       pole meets strength and loading requirements.  At the

23       end of 2008 FPL has inspected approximately one-third of

24       its 1.1 million poles and is on target with its

25       eight-year pole inspection cycle.

FLORIDA PUBLIC SERVICE COMMISSION

15

1                 In 2009 we again plan to inspect approximately

2       one-eighth of our poles, nearly 140,000 inspections.

3       These pole inspections are taking place throughout our

4       entire service territory.

5                 All of our transmission structures are

6       required to be inspected on a six-year cycle.  In 2008

7       we met this requirement and for 2009 we will again meet

8       this requirement by inspecting at least one-sixth of our

9       system.

10                 Additionally, to complement our distribution

11       hardening and storm preparation efforts we plan to

12       complete inspections on all 500kV lines and transmission

13       facilities serving critical infrastructure facilities

14       before June 1.  These inspections are underway and on

15       schedule to be completed as planned.

16                 Vegetation management.  Like hardening,

17       vegetation management is a key component in our plan to

18       strengthen the infrastructure.  For 2008 we executed and

19       met our plan to maintain our feeders on a three-year

20       average trim cycle and continued to implement our

21       approved six-year average trim cycle plan for laterals.

22       In 2009 we will do the same.

23                 Consistent with our efforts over the last

24       couple of years, we're complementing the trimming of all

25       lines serving our top critical infrastructure facilities

FLORIDA PUBLIC SERVICE COMMISSION

16

1       prior to June 1.  Today we're over 95 percent complete,

2       and we'll be 100 percent complete by the June 1 target.

3                 Finally, as we all know, no vegetation

4       management program can be effective without the

5       cooperation of our customers.  We continue our proactive

6       promotion of our "Right Tree - Right Place" program with

7       our community leaders to ensure that future planting of

8       trees will avoid conflicts with our lines.  Also, we

9       continue seeking their support in trying to remove

10       existing trees that are interfering with our lines.

11                 The vegetation management plan for FPL's

12       transmission right-of-way is very straightforward.

13       Twice a year we inspect all of our transmission

14       right-of-way and we make sure that the required NERC

15       standard clearances are maintained.  This was completed

16       in 2008, and we are on schedule to complete this again

17       in 2009.

18                 Annual preparations.  Each year we ensure that

19       all storm roles and key personnel are identified and

20       placed into the right roles.  We conduct extensive

21       training, including our annual hurricane dry run

22       exercise.  This year's exercise will actually be held

23       tomorrow.  This is a company-wide exercise that includes

24       our field as well as support personnel.  The exercise

25       tests our systems and processes to ensure they're ready.

FLORIDA PUBLIC SERVICE COMMISSION

17

1       As in the past, we have invited several officials from

2       county EOCs to join us during the dry run to further

3       improve our understanding of one another's storm

4       operations.  Also, we're continuing our efforts to

5       integrate the incident command system concepts as

6       outlined by the National Incident Management System in

7       order to better facilitate communications with both

8       state and county EOCs.

9                 Additionally, the roles of our forensic teams

10       are now formally established within the storm

11       organization.  These teams are responsible for

12       observations and the collection of data associated with

13       damaged infrastructure.  This will allow us to better

14       understand how our infrastructure performed, thus

15       providing valuable lessons for future evaluation and

16       action.

17                 Restoration plans.  Our restoration plan has

18       one clear objective:  To safely restore our customers',

19       our communities' critical infrastructure functions and

20       needs along with the greatest number of customers in the

21       shortest time possible.  For the 2009 storm season all

22       of our resource plans are in place.  For example, we

23       have the necessary arrangements for catering, housing,

24       water, staging sites throughout our system, equipment

25       for these sites, arrangements with foreign utilities

FLORIDA PUBLIC SERVICE COMMISSION

18

1       through our mutual assistance agreements, agreements

2       with contract crews and increased material and fuel

3       inventories.  We also continue to make refinements in

4       our plans as a result of lessons learned through our own

5       experience, benchmarking storm processes with other

6       utilities and leveraging new technologies such as Google

7       Earth tools along with our distribution management and

8       asset management systems.

9                 And once power is restored, our work is still

10       not done.  That's when our recovery plan takes over.

11       We've refined and improved these plans as well.  For

12       example, we've refined our final patrol sweep processes

13       to ensure that all infrastructure damage is identified,

14       repaired and returned to pre-storm condition.

15                 Communications.  After the 2004 and 2005 storm

16       seasons, we learned that communicating with our

17       customers and communities can be just as important to

18       them as our restoration efforts.  As a result, we meet

19       annually with county emergency managers to identify

20       critical infrastructure locations within each

21       jurisdiction.  We also make certain that we've assigned

22       representatives to support each of the 27 county and

23       seven satellite EOCs located throughout our service

24       territory.

25                 We have a dedicated government update website

FLORIDA PUBLIC SERVICE COMMISSION

19

1       to be utilized for major storm events.  This has been

2       customized to provide media alerts and releases,

3       customer outage information and maps specific to

4       municipalities, critical infrastructure facility

5       information, staging site locations, crew work location

6       maps, as well as estimated times of restoration

7       information.

8                 In 2008, FPL enhanced its e-mail distribution

9       process targeting key messages to all governmental

10       audiences.  FPL also sponsored workshops at the

11       Governor's Hurricane Conference and the National

12       Hurricane Conference discussing with government and

13       community leaders about how to bring communities back to

14       normal after severe storm events.  Additionally, FPL's

15       community outreach teams conducted over 250

16       presentations including the topic of storm readiness.

17                 And, finally, the most frequent question asked

18       of us:  "When will my power be back on?"  In response

19       we've made improvements to our outage communication

20       system that will allow us to provide even more detailed

21       estimates of times of restoration.

22                 Commissioners, we were again all asked to

23       address in our presentations any areas of concern or

24       vulnerability.  Our four items mentioned here are the

25       same as last year.

FLORIDA PUBLIC SERVICE COMMISSION

20

1                 The first one is that it's likely that our

2       service territory will be affected by a storm or storms

3       before we're able to complete all of our hardening

4       efforts.  As you know, we've made significant changes in

5       our construction standards which require certain

6       portions of our system to be upgraded, and our system is

7       geographically large and diverse.  Unfortunately these

8       changes will take many years to complete.

9                 The other three items include concerns and

10       vulnerabilities that are common to all, yet their nature

11       make them difficult to fully prepare for.  Being

12       affected by multiple storms over a short time period

13       like we experienced in 2004 and 2005, catastrophic

14       storms like Hurricane Andrew or Hurricane Katrina that

15       can destroy everything in their path, and a shortage of

16       sufficient resources, whether it be materials, equipment

17       and/or personnel, while some of these are beyond our

18       control and means, we still do what we can to reasonably

19       mitigate these occurrences.

20                 In summary, FPL is confident that it's well

21       prepared for the 2009 season.  Our hardening, vegetation

22       management and pole inspection -- and pole inspection

23       plans and programs are strengthening our system.  Our

24       storm organization is in place, well trained and ready.

25       We've refined our already well-tested restoration plan.

FLORIDA PUBLIC SERVICE COMMISSION

21

1       And, lastly, we're in position to better communicate

2       with our customers.

3                 We, like all of you, are hoping for an

4       inactive hurricane season.  However, should hurricanes

5       affect our communities in 2009, FPL is ready to respond.

6       Thank you.

7                 COMMISSIONER McMURRIAN:  Thank you,

8       Mr. Shaheen.

9                 Are there any questions?

10                 MR. GARL:  Yes, ma'am.

11                 COMMISSIONER McMURRIAN:  Go ahead, Mr. Garl.

12                 MR. GARL:  Mr. Shaheen, is FPL represented in

13       all 27 counties' emergency operations center operations

14       when they're activated?

15                 MR. SHAHEEN:  As the EOCs are activated, we

16       coordinate and staff every one of those EOCs.

17                 MR. GARL:  Okay.  In, in those counties that

18       are served by more than one utility does FPL's county

19       emergency operations center representative coordinate

20       with that other utility's representatives?

21                 MR. SHAHEEN:  As, as the situations occur,

22       those representatives at the EOC are there and able to

23       respond.  So part of their purpose is to help coordinate

24       at the local county level.  So if some of that

25       coordination is necessary, that would be a key point for

FLORIDA PUBLIC SERVICE COMMISSION

22

1       that to take place.

2                 MR. GARL:  Thank you.  And one final question.

3       Subject to your own needs for FPL's restoration, can

4       other utilities in Florida, including munis and co-ops,

5       obtain supplies such as poles from FPL after a storm?

6                 MR. SHAHEEN:  You know, it's going to depend

7       on the circumstances at the time.  Certainly we, we

8       coordinate at local levels and at a combined command

9       center level to help where we can.  So that, that

10       potential exists.  I don't know of an experience

11       personally to draw upon to, to give you an example, but

12       certainly those sorts of coordination are something that

13       we would work out.

14                 MR. GARL:  Okay.  Thank you very much.

15                 COMMISSIONER McMURRIAN:  Thank you,

16       Mr. Shaheen.  I guess that's all for now.

17                 MR. SHAHEEN:  Thank you very much.

18                 COMMISSIONER McMURRIAN:  Thank you.  And

19       Mr. Cutliffe.

20                 MR. CUTLIFFE:  Good morning, Mr. Chairman,

21       Commissioners.  I'm Jason Cutliffe, the Director of

22       Distribution Asset Management with Progress Energy

23       Florida.  And my responsibilities include major storm

24       restoration, preparation, planning and execution, as

25       well as distribution system hardening.

FLORIDA PUBLIC SERVICE COMMISSION

23

1                 I appreciate the opportunity to report to you

2       the status of Progress Energy Florida's 2009 storm

3       season preparation.  In summary, our transmission and

4       distribution systems have been well maintained and

5       thoroughly inspected.  Our storm response organization

6       is drilled and prepared, and critical labor and material

7       resources have been obtained in advance or secured

8       through commitments from external suppliers.

9                 Our T&D delivery infrastructure performed well

10       during the recent hurricane seasons, and we have

11       improved the system since that time.  We've taken

12       additional aggressive steps to harden our system in

13       conjunction with the Public Service Commission

14       initiatives such as the wood pole inspection process,

15       ongoing ten-point preparedness plan and storm hardening

16       docket.

17                 Our hurricane restoration operational plan

18       functioned well in 2004 and 2005 and we continue to make

19       improvements.  All lessons learned from drills, storms

20       and other utility experience has been incorporated into

21       our written response plan and is included in our 2009

22       hurricane drill conducted this week.  Progress Energy's

23       organization and T&D delivery system are prepared for

24       the 2009 hurricane season.

25                 I will now review the four key components of

FLORIDA PUBLIC SERVICE COMMISSION

24

1       our annual storm plan:  The distribution system

2       readiness, transmission system readiness, organizational

3       readiness and coordination with local governments.

4                 Distribution system inspection, maintenance

5       and replacement work is the cornerstone of Progress

6       Energy's overall annual resource work plan.  Manpower

7       and material needs are identified in the prior year to

8       ensure that all work is prioritized, constructed

9       efficiently and completed on schedule.  The wood pole

10       plant is on a firm eight-year cycle for inspections and

11       maintenance and is in compliance with the Commission's

12       storm preparedness initiative.  Inspections are targeted

13       and prioritized.  Since this time last year over 96,000

14       wood poles have been inspected, 36,000 treated for decay

15       and 3,000 replaced.  Other 2009 system maintenance

16       activities include over 650 pad mount transformer

17       replacements and 96,000 circuit feet of hardening pilot

18       projects.

19                 Our 2008 vegetation management program is on

20       schedule and 2009 is starting off on schedule as well.

21       As of April 30th of this year, 100 percent of our

22       3,800 backbone circuit miles have been surveyed and

23       100 percent of our priority pruning and tree removal

24       will be complete by June 1st.  We've removed over

25       1,200 trees, hot spot trimmed over 6,800 trees and

FLORIDA PUBLIC SERVICE COMMISSION

25

1       applied herbicide to nearly 200 miles of right-of-way

2       floor.

3                 Progress Energy has implemented the Public

4       Service Commission's ten-point preparedness plan as

5       well.  All planned audits of joint use attachments were

6       completed in 2008 and are on schedule in 2009.  A GIS

7       upgrade was completed in the fourth quarter of 2008, and

8       post-storm forensic data collection teams have been

9       formed and were deployed following Tropical Storm Faye.

10                 We've increased linkage and engagement with

11       the academic community through continuing work with the

12       University of Florida's Public Utility Research Center.

13       As part of this effort we worked with UF's staff and

14       other utilities to assimilate statewide weather station

15       data into the forensics process and standardized the

16       data that is collected during the forensic patrols.

17       And, as mentioned earlier, review and update of our

18       written hurricane restoration operational plan is

19       complete.

20                 Finally, as described in our storm hardening

21       plan filed in 2007, we continue to deploy a

22       comprehensive process to identify, prioritize and

23       analyze storm hardening options within our service

24       territory.

25                 The transmission system readiness begins with

FLORIDA PUBLIC SERVICE COMMISSION

26

1       structure inspections and system maintenance.  In 2008,

2       inspections were completed on 104 transmission circuits,

3       which included over 11,900 structures.  Over 6,700 wood

4       pole structures were inspected, and more than

5       1,900 replaced with steel or concrete in accordance with

6       NESC extreme wind design.

7                 Since 2006 we have replaced 5,467 wood poles

8       with steel or concrete on the transmission system.  The

9       vast majority of our system is comprised of wood poles

10       which we are systematically replacing via maintenance

11       upgrades, DOT relocations and line rebuilds.  Aerial

12       patrols of all circuits were completed last month and a

13       second pass will be completed in October.  Inspections

14       have also been completed on all of our 461 substations

15       and critical follow-up maintenance identified through

16       those inspections is complete.  2009 vegetation

17       management work is also on schedule.  Since this time

18       last year over 360 circuit miles have been trimmed and

19       cleared, which include 7,000 trees trimmed and the

20       removal of over 1,900 danger trees.  And the PSC

21       ten-point storm preparedness plan and storm hardening

22       rule have been implemented, including enhanced GIS

23       capability, post-storm forensic data collection,

24       PSC-initiated inspection cycles, and most notably the

25       hardening of transmission structures continues through

FLORIDA PUBLIC SERVICE COMMISSION

27

1       wood pole replacement with concrete and steel.

2                 The annual storm plan review and update

3       process is also complete for the 2009 season.  This

4       year -- new this year was enhanced, enhancement of

5       proactive communication to critical care customers.

6       Prior to a hurricane making landfall, customers

7       identified in our system as having critical care needs

8       receive a phone call, and Progress Energy phone center

9       agents provide information concerning preparation for

10       the storm.  This information includes locations of

11       various shelters equipped to provide critical care

12       assistance and a reminder to check the working condition

13       of backup life support equipment.

14                 Progress Energy will complete its annual storm

15       drills on Friday, May 8th.  Individual storm

16       organizations and process owners are tested on their

17       preparation efforts and ability to react to changing

18       storm conditions.  This year's drill scenario is based

19       on a Category 2 hurricane entering from the Gulf of

20       Mexico over Hernando County and moving easterly across

21       Central Florida impacting all four of Progress Energy's

22       regions and then exiting near Daytona Beach.  The drills

23       were designed to clearly demonstrate readiness for the

24       2009 season.

25                 We've also taken steps to ensure that critical

FLORIDA PUBLIC SERVICE COMMISSION

28

1       restoration material and fuel are ready and available

2       for multiple sources.  Inventory levels of critical

3       materials have been increased over and above normal

4       stock levels in preparation for the upcoming storm

5       season.  Our supply chain organization has assembled 16

6       storm kits at our central warehouse.  These storm kits

7       have been staged at each region in the central warehouse

8       and the kits contain enough emergency material to supply

9       400 linemen for up to three days.

10                 Our transmission organization has also

11       increased its inventory of poles, insulators and other

12       critical hardware to supply contract and company

13       resources for three to five days, and we've negotiated

14       retainer contracts with fuel, with fuel vendors to

15       ensure fuel needs are met, arrangements that also

16       improve access to fuel when sending Progress Energy

17       repair crews off-system in support of our mutual

18       assistance partners in Florida and elsewhere.  Even

19       though we have supplier agreements in place, these

20       additional measures ensure that restoration can begin as

21       soon as weather clears.

22                 External line and tree trimming resources are

23       critical components of a successful restoration effort.

24       We've taken steps to ensure they are ready and available

25       through arrangements with the contractors and

FLORIDA PUBLIC SERVICE COMMISSION

29

1       relationships with the other utilities through regional

2       mutual assistance organizations such as the Edison

3       Electric Institute and the Southeastern Electric

4       Exchange.

5                 Our communication and coordination with local

6       governments and EOCs is stronger than ever.  We've

7       established a cross-functional government coordination

8       team to ensure a high level of critical information

9       sharing and engagement in both internal and external

10       storm planning and preparation activities.  Progress

11       Energy is equipped to provide local governments with

12       resource and restoration information before, during and

13       after storm events to assist them with local emergency

14       response.

15                 In 2007, the ability to produce electronic

16       outage information for each county EOC during storm

17       events was introduced.  By placing PE, Progress Energy

18       contacts inside county EOCs and sharing information

19       we're able to incorporate local government restoration

20       priorities into our overall plan.

21                 We've also continued the "Know Where You Grow"

22       program, which informs the public and community

23       organizations on the most compatible tree species to

24       place near power lines, and we cosponsor public expos

25       and emergency first responder events designed to educate

FLORIDA PUBLIC SERVICE COMMISSION

30

1       and increase preparedness.

2                 In conclusion, Progress Energy's transmission

3       and distribution systems which performed well in the

4       2004 and 2005 seasons have been checked, maintained and

5       hardened; the storm response organization is drilled and

6       prepared; and internal and external resources have been

7       secured or committed.

8                 At this point I'd like to comment on areas of

9       concern or vulnerability, and, like others you'll hear

10       today, they center around two main areas.  One would be

11       the intensity or frequency of hurricanes that could make

12       landfall in Florida, and the other would be impacts to

13       the availability of restoration resources.  We were

14       reminded of that this week with the Swine Flu outbreak

15       and the need to be prepared in advance with pandemic

16       plans.  All of those things could affect our ability to

17       respond in a major event.  And we deal with those by

18       ensuring that we reach as far and wide as we can to all

19       partners and providers that could provide assistance in

20       a major event and ensure we have strong relationships

21       there.

22                 As a seven-time Edison Electric Institute

23       emergency award winner, Progress Energy has a track

24       record of high performance.  The most recent EEI

25       assistance award was presented in March and given for

FLORIDA PUBLIC SERVICE COMMISSION

31

1       our efforts in support of Entergy and CenterPoint in

2       Texas.  We've taken steps to ensure our system continues

3       to perform well, steps that include initiatives

4       implemented since the PSC began its ongoing storm

5       hardening efforts.  Progress Energy's organization and

6       T&D systems are prepared for the 2009 hurricane season.

7                 Thank you, Commissioner.  That concludes my

8       prepared remarks, and at this time I'll take any

9       questions.

10                 COMMISSIONER McMURRIAN:  Thank you.

11                 Any questions?  Mr. Garl, go ahead.

12                 MR. GARL:  In addition to its own preseason

13       storm drill that you mentioned would happen this Friday,

14       has Progress Energy participated in any county storm

15       drills?

16                 MR. CUTLIFFE:  Yes, we have.  The larger

17       counties in our territory that conduct more, more

18       detailed and comprehensive storm drills, we provide the

19       same person who is assigned as the EOC liaison in a

20       major event to each of those counties as they do their

21       drill on preparation to ensure the contact.

22                 MR. GARL:  All right.  Thank you very much.

23       Thank you, Commissioner.

24                 COMMISSIONER McMURRIAN:  Okay.  Quicker than I

25       thought.  Thank you, Mr. Cutliffe.  And now we'll hear

FLORIDA PUBLIC SERVICE COMMISSION

32

1       from Tampa Electric, Mr. Haines.

2                 MR. HAINES:  Good morning, Mr. Chairman,

3       Commissioners and staff.  My name is Regan Haines.  I'm

4       Director of Engineering for Tampa Electric Company, and

5       I appreciate the opportunity this morning to be here

6       with you and discuss Tampa Electric's activities and

7       accomplishments as we prepare for the upcoming storm

8       season.

9                 My briefing today will cover Tampa Electric's

10       storm preparation activities which employ a multi-prong

11       approach and includes ensuring our system infrastructure

12       is constructed and maintained in such a manner that it

13       will be able to perform during a major storm event;

14       coordination exists with our local governmental

15       agencies, community groups and other utilities; and

16       pre-storm season preparation activities such as

17       training, mock storm drills and inventory reviews have

18       occurred.  Tampa Electric continues to improve on each

19       of these elements, and we are prepared for the upcoming

20       storm season.

21                 Hardening our system infrastructure is a key

22       element of Tampa Electric's storm preparation plan.

23       This includes the three storm hardening programs put in

24       place by this Commission back in 2006 and consists of

25       the eight-year wood pole inspection program, the

FLORIDA PUBLIC SERVICE COMMISSION

33

1       ten-point plan initiatives and the three-year storm

2       hardening plans filed by each utility in 2007.

3                 As part of our eight-year wood pole inspection

4       program, Tampa Electric inspects approximately 39,000

5       distribution poles each year, which led to the hardening

6       of over 2,800 distribution wood poles by either

7       reinforcement or replacement in 2008.  In addition, over

8       170 structural repairs were made as a result of these

9       inspections that will also harden our system.  These

10       inspections also include performing wind loading

11       analysis on all joint use poles, and the company targets

12       having repairs made that were required by these

13       inspections prior to the peak of storm season.

14                 Tampa Electric hardens its transmission system

15       through the company's eight-year wood pole inspection

16       program and six-year transmission structure inspection

17       program.  The aboveground inspections were performed by

18       helicopter to identify issues such as broken crossarms,

19       cracked insulators, woodpecker holes and potential

20       conductor problems.  In addition, a wind load screening

21       analysis was performed on structures with joint use

22       attachments to ensure that the National Electrical

23       Safety Code extreme wind criteria is met.  Our annual

24       infrared helicopter patrol was completed this past

25       January, and the 2009 aboveground inspections were

FLORIDA PUBLIC SERVICE COMMISSION

34

1       completed in February.  Finally, ground patrols are

2       underway with a goal of patrolling all 230kV, 138kV and

3       69kV transmission circuits by the peak of storm season.

4       Repairs have been made and, in total, 650 wooden

5       structures were replaced with steel or concrete

6       structures in 2008 on the transmission system.

7                 Tampa Electric's vegetation management program

8       is another key element of storm hardening and it's

9       critical to both the day-to-day reliability of our

10       system as well as preparing our system for hurricane

11       season.  The company is transitioning to a three-year

12       tree trim cycle on our distribution system which

13       includes all main feeders and laterals and plans to

14       increase the level of trimming by 30 percent in 2009,

15       with a goal to be at a three-year cycle by the end of

16       2010.  On the transmission system the company patrols

17       all 230kV circuits as well as critical 138 and 69kV

18       circuits twice a year for vegetation issues.

19                 As outlined in the company's ten-point plan,

20       it is essential that we coordinate our activities with

21       the telecommunications, cable and other utilities that

22       may attach to our poles.  In 2008, the company completed

23       the physical audit of its joint use poles that it began

24       back in 2007.  It is the company's goal to complete this

25       type of joint use audit every three years, and we'll

FLORIDA PUBLIC SERVICE COMMISSION

35

1       begin a new audit in 2010.  This will help ensure that

2       each of our poles has been designed to accommodate

3       everything that's attached to it and that they meet the

4       company's wind loading criteria.  The company has also

5       held meetings with our third party attachers to review

6       and coordinate our storm hardening plans and specific

7       storm hardening projects.

8                 In addition, Tampa Electric completed

9       implementation of a new geographical information system

10       or GIS in June of 2008 which will improve data access to

11       our engineers, inspectors and construction and

12       maintenance teams and provide more timely and accurate

13       system information.  We continue to participate with the

14       Public Utility Research Center or PURC at the University

15       of Florida and the other Florida utilities in joint

16       research on various storm hardening initiatives such as

17       the benefits of undergrounding, wind data collection and

18       vegetation management practices.  And our post-storm

19       forensic analysis process has been established and is

20       ready to be implemented should we experience a major

21       storm event.

22                 In addition to the previous activities

23       mentioned that will benefit Tampa Electric and its

24       customers this hurricane season, I also want to briefly

25       mention some of the storm hardening items that were

FLORIDA PUBLIC SERVICE COMMISSION

36

1       approved in our three-year hardening plan filed in 2007.

2       A key element of the plan that has been benefiting Tampa

3       Electric customers for many years is our distribution

4       system construction standard.  While the National

5       Electrical Safety Code's Grade C criteria is utilized by

6       most utilities, Tampa Electric's construction standard

7       utilizes Grade B criteria, which is 50 percent stronger

8       than Grade C.

9                 Tampa Electric has also committed to evaluate

10       extreme wind construction standards for its distribution

11       system serving critical facilities, and it has completed

12       one project serving Saint Joseph's Hospital and is

13       partially completed with a second project which serves

14       the Port of Tampa.  These projects will be part of a

15       pilot program to evaluate the benefits of utilizing NESC

16       or National Electrical Safety Code extreme wind loading

17       standards for distribution systems, and the company will

18       monitor the performance of this system following a major

19       storm event.

20                 The Port of Tampa project is highlighted in a

21       brief video clip shown on this slide that was shared

22       with local media and our customers.

23                 (Video clip shown.)

24                 A little technical difficulty there, but I

25       think you get the idea.

FLORIDA PUBLIC SERVICE COMMISSION

37

1                 Some of the other hardening projects that the

2       company completed last year include the conversion of

3       four overhead distribution interstate crossings to

4       underground, the conversion of our remaining 4kV

5       overhead distribution system to our standard 13kV, and

6       the inspection and repair of nine network protectors in

7       low-lying areas of downtown Tampa.  We also plan to

8       convert another four overhead distribution interstate

9       crossings to underground this year, as well as test

10       additional network protectors in downtown Tampa.

11                 As part of our three-year storm hardening

12       plan, Tampa Electric is transitioning to a new standard

13       for all pad mounted equipment, transitioning from mild

14       steel to stainless steel, and the company will also

15       establish pilot projects this year to evaluate the

16       performance of submersible switchgear and storm secure

17       break away overhead service connectors.

18                 While a hardened electric service system will

19       reduce outages following a major storm event,

20       coordinated hurricane planning with emergency operation

21       centers is paramount to ensure a synchronized response.

22       Tampa Electric emergency management coordinates with the

23       local governmental agencies like the EOCs, hazard

24       mitigation groups, those fire departments acting as

25       EOCs, regional planning councils and other utilities on

FLORIDA PUBLIC SERVICE COMMISSION

38

1       an ongoing basis.  These meetings consist of review of

2       the critical facilities in our service territory,

3       developing and updating communication and response plans

4       and a discussion of any special coordination needs

5       during a response.

6                 The company also participates and helps

7       develop many training exercises and workshops for

8       governmental and private industry groups, and some of

9       the 2008 workshops included working with the U.S. Coast

10       Guard, the City of Tampa and Hillsborough County.

11                 Finally, as storm season approaches each year,

12       Tampa Electric performs several pre-storm season

13       activities that assists in the company's preparations.

14       These include a review and update of our disaster

15       recovery plans and circuit priorities with the county

16       EOCs and a mock storm circuit patrol training exercise

17       to familiarize new personnel on what to look for and how

18       to assess and document system damage.  All inventory

19       levels of storm material will be reviewed and ordered,

20       and on May 14th the company will conduct a mock storm

21       exercise with several functional areas within the

22       company that are involved in restoration activities.

23                 We have also reviewed and updated our storm

24       damage model that is used to estimate the number of

25       personnel and material resources needed based on the

FLORIDA PUBLIC SERVICE COMMISSION

39

1       predicted strength, size and landfall of a hurricane.

2                 Before summarizing, I would also like to

3       address our areas of concern of vulnerabilities, and for

4       us the major concern would be a direct hit of a

5       hurricane up the mouth of Tampa Bay and the storm surge

6       that, that that type of storm would bring, as well as

7       what's been mentioned with multiple hurricanes back to

8       back in a short period of time and the limited resources

9       that would be available should multiple utilities in the

10       state be impacted by the storms.

11                 In summary, Tampa Electric continues to make

12       improvements to its storm preparedness activities each

13       year including the number of inspections and repairs

14       made, the amount of tree trimming performed,

15       implementing our storm hardening plans, increase in the

16       coordination with our local governmental groups,

17       communities and fellow utilities, and improving our

18       pre-storm season training programs.  Tampa Electric is

19       well prepared and ready for the upcoming 2009 storm

20       season.

21                 Thank you, Commissioners, and this concludes

22       my presentation.

23                 COMMISSIONER McMURRIAN:  Thank you,

24       Mr. Haines.

25                 Any questions?  Mr. Garl.

FLORIDA PUBLIC SERVICE COMMISSION

40

1                 MR. GARL:  Mr. Haines, are any of your lines

2       attached to poles that are owned and maintained by

3       telecommunications companies?

4                 MR. HAINES:  Yes, they are.

5                 MR. GARL:  Do those poles meet the same

6       standards as your poles?

7                 MR. HAINES:  Those poles would meet the

8       standards set by the pole owner.  So not necessarily

9       would be an answer to your question.

10                 MR. GARL:  Okay.  Thank you.

11                 Thank you, Commissioner.

12                 COMMISSIONER McMURRIAN:  Thank you,

13       Mr. Haines.

14                 And now we'll hear from Gulf Power Company.

15       Mr. McQuagge.

16                 MR. McQUAGGE:  Good morning, Mr. Chairman and

17       Commissioners.  My name is Andy McQuagge.  I'm the Power

18       Delivery Services Manager for Gulf Power Company, and I

19       will be providing our 2009 preparedness briefing this

20       morning.

21                 Our storm preparedness activities basically

22       fall into two main categories:  Storm hardening projects

23       and initiatives, which encompass our vegetation

24       management program, our inspection and maintenance

25       programs, our extreme wind loading projects, our Grade B

FLORIDA PUBLIC SERVICE COMMISSION

41

1       construction, and our third-party attachers and local

2       government coordinating; the second category is our

3       storm restoration and recovery plan which includes our

4       recovery plans, our annual storm drill, our Southern

5       Company affiliate and mutual assistance support, and

6       employee awareness.

7                 In the area of transmission vegetation

8       management, on our 444 miles of 230 kV transmission, our

9       ground inspections are 100 percent complete, and all

10       vegetation hazards that have been identified have been

11       corrected.  On our 1,037 miles of 115 kV, our ground

12       inspections are at 80 percent complete, and the

13       vegetation hazards that have been identified are being

14       corrected as we go, and we are on schedule to be

15       completed with both the inspections and the corrections

16       by June 1st of 2009.

17                 On our 114 miles of 46 kV right-of-way, we

18       plan to start those inspections on June 1st, with a

19       schedule completion of June 30th for the inspections and

20       the corrections.

21                 In the area of distribution vegetation

22       management, in the area of mainline trim in which we

23       trim -- do a full maintenance trim of one-third of our

24       system each year, we are at 100 percent and have

25       completed all 289 mainline miles.  On our mainline

FLORIDA PUBLIC SERVICE COMMISSION

42

1       inspection and correction schedule, which is actually

2       the other two-thirds of our mainline feeders, we have

3       completed all 527 mainline miles.  So all 816 miles of

4       our main feeders have been inspected and corrected.

5                 On our lateral trim, which is 1/6th of our

6       system each year, we have 843 miles scheduled for 2009,

7       and we are in the process of that program right now, and

8       we have completed to date 250 miles.

9                 And in our off right-of-way danger tree

10       removal program, we typically do that in the last

11       quarter of the year, but to date in that program we have

12       removed 13,600 trees since 2007 when we implemented that

13       program.

14                 In the area of inspections and maintenance for

15       our transmission system, the complete transmission

16       system has been flown aerially once this year.  We do

17       that quarterly.  We will have another one done in either

18       May or June.  Our comprehensive walking/climbing

19       inspection of our structures, which is a six-year

20       program, it commenced on May 1st and we will be complete

21       with that by fall of '09.

22                 In addition to that, we have storm hardened by

23       additional guying 63 structures.  We have replaced

24       year-to-date 62 wood arms with cross arms, which is

25       28 percent of the total that we plan to do for the year,

FLORIDA PUBLIC SERVICE COMMISSION

43

1       and we have looked at 79 of the 100 structures, steel

2       structures that we have scheduled for 2009.  All of our

3       wood ground line treatment inspections for 2009, which

4       was 990 poles, have been completed.

5                 In the area of distribution pole inspections,

6       we have completed our second year of our eight-year

7       inspection cycle, and we did that in the last quarter of

8       2008.  Those inspections were contracted to Osmose.  We

9       met our target of inspecting 1/8th of our wood poles,

10       which is for Gulf Power about 33,000 poles.  We actually

11       looked at a little over 35,000 poles last year.

12                 In the area of joint use audits, pole strength

13       assessments, we look at 500 poles each year.  In 2008,

14       we actually looked at 516.  We had one failure due to

15       loading, and those repairs have been completed.  In

16       2009, we have identified the 500 poles that we will be

17       looking at.  The slide says that we have completed

18       two-thirds of it, we are actually at about 80 percent

19       now, and we have identified five to six poles that will

20       possibly need to be replaced.

21                 We continue to conduct our semi-annual

22       third-party attachers meetings, and I will go into a

23       little more detail later on in the presentation, but we

24       held our face-to-face meetings in Pensacola and Panama

25       City during February of this year.  Our annual feeder

FLORIDA PUBLIC SERVICE COMMISSION

44

1       inspections with our field engineering personnel in our

2       eastern and central districts is 100 percent complete,

3       and all issues that were found have been corrected.  In

4       our western district, we are 95 percent on our patrols,

5       and we anticipate that all the patrols and corrections

6       will be made by June 1st.

7                 In addition to that, we do an annual infrared

8       inspection with thermal imaging cameras.  We have

9       completed those inspections and are in the process of

10       prioritizing the issues that we found and we will be

11       addressing those in the upcoming months.

12                 We have completed our transition to Grade B

13       construction that we implemented in 2008, and we have

14       completed training for all of our field personnel on

15       Grade B construction.  We continue to do that as new

16       employees come into the power delivery area so that we

17       make sure that everybody understands what we are trying

18       to accomplish with the Grade B construction.

19                 In the area of extreme wind loading projects,

20       the focus of these projects has been on interstate

21       crossings and lines that serve critical infrastructure.

22       My second bullet here is actually incorrect, and I would

23       like to review the EWL projects that we have and give

24       you a status on each.

25                 Basically, we have six projects instead of

FLORIDA PUBLIC SERVICE COMMISSION

45

1       seven.  There's 22 Interstate 10 crossings, of which

2       will be -- they are in various design and construction,

3       but all will be complete by June 1st.  We have seven

4       I-110 (phonetic) crossings that will be complete by

5       June 1st.  The primary and backup feeds to Gulf Breeze

6       Hospital is in the design phase.  Our sewage treatment

7       facility in Ocean City is in the design phase and will

8       be completed before year end.  Our fuel depot project in

9       Valparaiso is scheduled to be completed by July 1st, and

10       our Sacred Heart facility in Destin, that project is

11       complete.

12                 In addition to the EWL projects we have

13       listed, we have also in addition to the PURC weather

14       monitoring stations, Gulf Power is installing our own

15       weather monitors.  We have presently installed and have

16       active 12 locations, and many of these are in proximity

17       to our EWL projects.  We did this so that we will have

18       weather data to compare -- wind data to compare in the

19       event we have a major event this summer.  We have seven

20       additional sites that will be on-line and completed

21       before year end, which will give us a total of 19, which

22       will complete that project.

23                 In the area of third-party attachers, we

24       continue to have our on-going meetings with our

25       third-party attachers.  We do those twice a year.  We

FLORIDA PUBLIC SERVICE COMMISSION

46

1       held our face-to-face meetings in Pensacola on

2       February 4th and in Panama City on February 8th.  They

3       have been very well attended by all of our third-party

4       attachers, and in those meetings we distribute area

5       maps, contact names, numbers, e-mail addresses, and we

6       provide all of that to our third-party attachers.

7                 In addition, we go over what our Grade B

8       construction standards are.  We review our extreme wind

9       loading projects.  We go over our 500 pole inspection

10       program with them, and we give them a feel of what we

11       are seeing with our on-going OSMOSE program, so that

12       they know what transfers that they may be facing.

13                 In addition to that, following a major event,

14       AT&T and Gulf Power will each have a member of their

15       staff and the others CEMC, or emergency management

16       system, emergency management center.  We hope that this

17       will expedite -- since we are primarily the first two

18       attachers on poles, we hope this will expedite

19       restoration for both of us, and then allow the other

20       third-party attachers to attach.

21                 In the area of local government coordination,

22       our district and local managers interact with city and

23       county officials on a daily or weekly basis, and that

24       includes emergency preparedness as needed.  We have EOC

25       representatives at all the major counties in our service

FLORIDA PUBLIC SERVICE COMMISSION

47

1       territory.  There are a couple of small counties that we

2       don't, but they have a one point of contact that they

3       know who to get with at Gulf Power.

4                 You can see the list of the planned storm

5       drills for the major counties in our service area, and

6       we will be participating in each of those storm drills

7       as they are held.  And any others that we are made aware

8       of, we will also participate.

9                 Our storm recovery plan, our 2009 storm

10       procedures are completed.  Our employees have received

11       their storm assignments.  Our storm training and

12       refresher courses are underway.  We have our storm

13       contracts in place.  We are ramping up our storm stock.

14                 All of our staging sites have been pre-mapped,

15       and so if we have to activate those we know exactly

16       where everything will be set up.  And we are our

17       forensic data process in place and it has been tested.

18                 In the area of mutual assistance, we continue

19       to be an active member of the Southeastern Electric

20       Exchange, and we have our sister Southern Company

21       affiliates that we can call on for support with Alabama

22       Power, Georgia Power, and Mississippi Power.

23                 My areas of concern would be consistent with

24       what the other utilities have proposed this morning,

25       multiple events or an event back to back before

FLORIDA PUBLIC SERVICE COMMISSION

48

1       restoration is fully completed.  I share the concern of

2       resources being available as the economy has been scaled

3       back.  The utilities have scaled back their contractors

4       and in turn contractors have scaled back their work

5       forces.  Our customers expectations for quick

6       restoration times are high, and it just may involve us

7       having to go further away to get resources in the event

8       we have a major event.  Sorry, I got behind in my

9       slides.

10                 In summary, Gulf is fully prepared.  We are on

11       target with our transmission and distribution storm

12       hardening initiatives.  We continue our on-going

13       coordination with government and community groups,

14       third-party attachers, and other utilities.  Our storm

15       recovery plan is proven and battle tested as evidenced

16       by our response in the 2004/2005 storm seasons with Ivan

17       and Dennis.  We continue to make improvements based on

18       lessons earned.  We are in the process of doing our

19       training and refreshers, and they continue to be

20       on-going.  And we have experienced teams necessary and

21       ready in the event we do have a major event this summer.

22                 And that concludes my presentation.  Is there

23       any questions?

24                 COMMISSIONER McMURRIAN:  Thank you.

25                 Mr. Garl.

FLORIDA PUBLIC SERVICE COMMISSION

49

1                 MR. GARL:  Thank you, Commissioner.

2       Mr. McQuagge, we know that Gulf will be participating in

3       drills with four of the counties in your service areas.

4       Are there similar activities with other counties in

5       Gulf's service area?

6                 MR. McQUAGGE:  In our eastern district, I had

7       asked when the Bay County drill was, and we did not

8       receive word back, but we will participate in that drill

9       when we are made aware of when it is.

10                 CHAIRMAN CARTER:  Madam Chairman --

11                 MR. McQUAGGE:  We do participate in any drill

12       that we are asked to.

13                 COMMISSIONER McMURRIAN:  Mr. Chairman.

14                 CHAIRMAN CARTER:  Yes, ma'am.  I did have a

15       question.

16                 COMMISSIONER McMURRIAN:  Go ahead.

17                 CHAIRMAN CARTER:  I noticed that the gentleman

18       from Gulf was talking about cutting back on contractors

19       and services and things.  I didn't get the basis for

20       that in terms of -- it seems like to me in the time of

21       need you would need to add on, but I didn't get the

22       basis of why he was cutting back on those services as

23       well as cutting back on contractors that would help the

24       recovery process.

25                 COMMISSIONER McMURRIAN:  Okay.

FLORIDA PUBLIC SERVICE COMMISSION

50

1                 Mr. Chairman, I think we are having a little

2       bit of tough time hearing you, but I know your question

3       went to the cutting back of contractors, which was

4       discussed in that last part of Mr. McQuagge's

5       presentation.

6                 Mr. McQuagge, did you get enough of the

7       question?

8                 MR. McQUAGGE:  I believe so.  What we found

9       is -- and the basis for that comment was we recently

10       held an SEU mutual assistance committee meeting, and as

11       utilities have had less work because of the slow down in

12       the economy, they in turn have laid off some of their

13       contractors.  If the contractor doesn't have work, they

14       in turn turn around and layoff some of their employees.

15       So some of your major independent contractors that may

16       have had several thousand resources available maybe in

17       the southeast may only have a few hundred or a thousand

18       less.  So I say all of that to say is we will just

19       probably have to go further out to get resources to do

20       that restoration effort.

21                 CHAIRMAN CARTER:  Do you find that to be a

22       systemic process in terms of a problem with all of

23       utilities or just within the confines of the North

24       Florida area?

25                 MR. McQUAGGE:  No.  I mean, I think that would

FLORIDA PUBLIC SERVICE COMMISSION

51

1       be a concern for the whole industry, not just for Gulf

2       Power.

3                 CHAIRMAN CARTER:  Okay.  Thank you, Madam

4       Chair.

5                 COMMISSIONER McMURRIAN:  No problem, Mr.

6       Chairman.  Would you like the other utilities to address

7       that at all?

8                 CHAIRMAN CARTER:  I really would like to hear

9       that.  I'm sorry I didn't chime in before, but I was

10       just trying to get a feel for how we would move along

11       for today, but I would like to get some feedback from

12       them on that.

13                 COMMISSIONER McMURRIAN:  Perhaps what we will

14       do, the ones that have already presented, if they could

15       answer that question quickly, and then as the rest of

16       the presenters come up they can address that at the time

17       that they make their presentation.

18                 So perhaps, Mr. Haines, I'll look to you first

19       and then we will go to Mr. Cutliffe and then Mr.

20       Shaheen.

21                 CHAIRMAN CARTER:  Thank you.

22                 COMMISSIONER McMURRIAN:  You're welcome.  No

23       problem.

24                 MR. HAINES:  Regan Haines, Tampa Electric.

25                 I would agree with the concerns raised by Gulf

FLORIDA PUBLIC SERVICE COMMISSION

52

1       as far as we certainly have less contractors locally now

2       than we did before, and so we would have less resources

3       to respond locally should we get impacted with a storm.

4       So we would have to reach further to get those

5       resources.

6                 MR. CUTLIFFE:  Jason Cutliffe, Progress

7       Energy.

8                 I completely agree with Mr. McQuagge's

9       comments.  You know, when we bring in resources for

10       hurricanes, we grow our workforce by a factor of five or

11       six.  It's a huge expansion of people working on our

12       property.  So small changes in our workforce don't have

13       a large impact.  But when we bring that many people in

14       in the region, if they are not available, just as Mr.

15       McQuagge said, we have to go farther to get them.  And

16       that is the net result of the resource constraints he's

17       describing.

18                 MR. SHAHEEN:  Richard Shaheen with Florida

19       Power and Light.  And I would end up repeating a lot of

20       what was just said, but basically it's going to be a

21       challenge for coordination.  It's kind of hard to

22       predict the level of which we will encounter the issue,

23       because we have yet to face that sort of challenge yet,

24       but we have had experience at going pretty far outside

25       the state and territory to retrieve resources, and we

FLORIDA PUBLIC SERVICE COMMISSION

53

1       have been able to retrieve resources.  Now, to what

2       level has yet to be seen, but I agree with everyone

3       else, it would be a challenge going forward considering

4       the times we are in.

5                 COMMISSIONER McMURRIAN:  Thank you.

6                 Mr. Chairman, is that --

7                 CHAIRMAN CARTER:  Yes, ma'am.  I wanted to

8       follow up.  In the context of reaching out, when you

9       guys say you are reaching out, are you reaching out

10       within the southeast, are you reaching out nationally,

11       or is there some body of contractors that exist out

12       there to where they are just kind of on hold, or is

13       there a process where you are taking resources from one

14       area to bring to another area?  Or is there -- what I'm

15       trying to find, is there a universe of contractors out

16       there that are available, because we may find

17       ourselves -- if the predictions are true, and I don't

18       have any reason to doubt otherwise, we may find

19       ourselves where we have multiple areas of, like, maybe

20       the hurricanes in the southeast, floods in the midwest,

21       and maybe ice storms in the northeast.  And if that's

22       the case, then what do you draw from?

23                 MR. McQUAGGE:  Yes, we would need to draw from

24       a national level.  To answer the question specifically,

25       all the Florida utilities are member of the Southeastern

FLORIDA PUBLIC SERVICE COMMISSION

54

1       Electric Exchange, which is a regional mutual assistance

2       group.  There are other regional mutual assistance

3       groups out there, of which SEE has members that are

4       members of those other groups.  So we do have access to

5       resources from other regional mutual assistance groups

6       in addition to independent contractors that we may find

7       on our own.  So there is a network of regional mutual

8       assistance groups, but we would still probably need to

9       do beyond that to get any resources that we might need.

10                 COMMISSIONER McMURRIAN:  I guess a follow-up

11       -- go ahead, Mr. Chairman.

12                 CHAIRMAN CARTER:  The basis for my question

13       was maybe there could be some opportunities for some of

14       our local small businesses that may -- obviously they

15       may not be able to do the electrical work, but certainly

16       in terms of debris clearing, as long as it is not within

17       the confines of a live wire or anything like that, but

18       certainly with the debris clearing and some of the more

19       mundane kinds of things.  We could possibly look at

20       that.  Are there any companies looking at that?

21                 MR. McQUAGGE:  We are looking at using for

22       staging sites some local vendors to do clean-up, site

23       clean-up, in addition to the actual site people that set

24       up the tent cities and all.  We are using -- looking at

25       using some locals just for smaller tasks, but I'm not

FLORIDA PUBLIC SERVICE COMMISSION

55

1       sure that that addresses the Chairman's question.

2                 COMMISSIONER McMURRIAN:  Anyone else want to?

3       Just to follow up on that train of thought, is there

4       reason to think that to the extent there have been a lot

5       of people that have been laid off with these contractors

6       and things, and the job market is what it is, is there

7       reason to think that they would be able to go to that

8       job pool that perhaps haven't found another job yet,

9       given this economy, and try to rehire some of the people

10       that are already trained to do some of these tasks, too?

11                 MR. McQUAGGE:  I think, and this is my

12       opinion, there is some concern because most of these

13       people do have a skill set, and they do have a

14       commercial driver's license.  There are opportunities

15       for them to find work since they are -- do have a CLD

16       license, so they may be driving a truck or some other --

17       I think there is the opportunity that some of those may

18       be hired back, but I think that process would be slower

19       than it normally would have been had they already been

20       working for a contractor.  But I certainly think that is

21       a possibility.

22                 COMMISSIONER McMURRIAN:  Okay.  Mr. Chairman,

23       I think that they have all heard you, and will probably

24       go back and look at opportunities to use local small

25       businesses, perhaps, in those kinds of situations.

FLORIDA PUBLIC SERVICE COMMISSION

56

1                 CHAIRMAN CARTER:  Yes.  Particularly in areas

2       that doesn't require licensure.  Obviously when you are

3       dealing with electricity and things of that nature you

4       have a certain skill set and a licensure requirement, a

5       certification requirement.  But there are some more

6       mundane kinds of things that can be done.  And as you

7       say, that way it is an opportunity to bring back in the

8       highly trained people to do the really technical things

9       and probably not have them doing the mundane things,

10       having them doing the more specific things that are

11       pertinent to their certification and their credentialing

12       and getting the power back up in a timely manner.

13                 COMMISSIONER McMURRIAN:  Thank you, Mr.

14       Chairman.  Do you have other questions?

15                 CHAIRMAN CARTER:  No, that's it, Madam

16       Chairman.  I just wanted to -- and I apologize to you,

17       but I do thank you for allowing me to break in there.  I

18       have been listening, and I just wanted to kind of zero

19       in on that.  And I do think that maybe looking at this

20       problem -- I think it's a problem nationwide for us in

21       terms of the skill sets necessary when we do have these

22       catastrophes and all like that.  I don't think it's

23       something that is specific to Florida, but I do think

24       that when you consider, as you said, the contraction of

25       the labor pool, then we have to do a little bit

FLORIDA PUBLIC SERVICE COMMISSION

57

1       out-of-the-box thinking to be able to do more with less.

2       And I appreciate you allowing me to break in at this

3       point, and I will be listening for the rest of the day.

4       Thank you so kindly.

5                 COMMISSIONER McMURRIAN:  You are more than

6       welcome to break in whenever, Mr. Chairman.

7                 Mr. Garl, do you have any other questions?

8                 MR. GARL:  Yes.  Thank you, Commissioner.

9                 And you were talking about joint attachment

10       agreements, and I will ask again, are any of your lines

11       attached to poles owned and maintained by a

12       telecommunications company?

13                 MR. McQUAGGE:  Yes, they are.

14                 MR. GARL:  And are those poles that are

15       carrying Gulf Power's lines meeting the same standards

16       as your own poles?

17                 MR. McQUAGGE:  They would not be meeting Grade

18       B construction.

19                 MR. GARL:  Okay.  Thank you, Commissioner.

20                 MR. McWHIRTER:  Thank you, Mr. McQuagge.

21                 And I think we will take a short five-minute

22       break, and so we will go on recess for five minutes.

23                 (Recess.)

24                 COMMISSIONER McMURRIAN:  Let's get started

25       again, everyone.

FLORIDA PUBLIC SERVICE COMMISSION

58

1                 Mr. Shelley, is that right?  We will go ahead

2       and get started with you.

3                 I don't give warnings.  Everyone is noticing

4       that.

5                 MR. SHELLEY:  We'll get there.

6                 COMMISSIONER McMURRIAN:  Thanks.

7                 MR. SHELLEY:  Good morning, Chairman,

8       Commissioners, and staff.  And I want to thank you all

9       for allowing us to put on this presentation on our

10       hurricane preparedness at Florida Public Utilities.

11                 My name is Buddy Shelley.  I'm the Northwest

12       Division General Manager.  And, of course, Florida

13       Public Utilities, we are a small utility of about 28,000

14       customers, and we have two divisions.  One is the

15       northeast division, which is Amelia Island and

16       Fernandina Beach; the northwest division serves parts of

17       Jackson County, Calhoun County, and Liberty County.

18                 Our hurricane preparations mainly focus on our

19       vegetation management, pole replacements, beach

20       inspections, substation and line inspections.  On our

21       vegetation management, prior to the hurricane season we

22       perform a visual inspection of our main feeders, plus

23       other areas that we suspect have tree or limb issues.

24                 We have one tree-trimming crew that we

25       contract in our northeast division and three crews in

FLORIDA PUBLIC SERVICE COMMISSION

59

1       our northwest division.  And when it becomes necessary,

2       we also use our own crews to assist in doing trimming.

3                 Both divisions will be focusing on replacing

4       decayed poles prior to the storm season and a lot of

5       those that we have identified from our inspection

6       programs.  Of course, we will do the worst ones first,

7       and we make an effort to get our residents to let us

8       know when they have decayed poles in their areas.

9                 The northeast division serving Amelia Island

10       inspects regularly all the equipment and hardware along

11       the beach areas for deterioration and corrosion, and

12       before the hurricane season we make a special effort to

13       make sure that we correct any problems we find in those

14       areas.

15                 We regularly do substation inspections in both

16       divisions, and we do a special effort prior to the

17       hurricane season to look those over and make any

18       corrections that we may find.  We also do a similar

19       visual inspection of all of our line equipment

20       reclosers, voltage regulators, and capacitors.

21                 Part of both divisions' emergency procedures

22       is a detailed list of the materials and equipment we

23       feel we need in inventory prior to the hurricane season

24       to handle any amount of damage that we would normally

25       think may occur.  We try to verify that this level of

FLORIDA PUBLIC SERVICE COMMISSION

60

1       inventory is available, and we have very good relations

2       with local suppliers in case we need additional

3       supplies.

4                 FPU continues to be involved with the

5       Southeast Electric Exchange and all of our neighboring

6       utilities to share resources if and when we need those.

7       We also stay in direct contact with contractors that we

8       have been discussing here recently, and trying to make

9       sure that they have resources available to assist us

10       when needed.  We do feel that that is a big concern,

11       because we have seen that a lot of them are laying off

12       their employees, but we feel that we have an adequate

13       amount of help from contractors if we need it.

14                 Prior to the hurricane season, both divisions

15       are required to review and update our respective

16       emergency procedures, and we also have refresher

17       training sessions with our employees that will be -- are

18       on-going and will be continuing until the hurricane

19       season.

20                 We update all of our relevant information such

21       as telephone numbers, responsible parties, who our

22       personnel are going to be that handle all of our EOC

23       contacts and those kinds of things.  We place special

24       attention on the safety of our employees, and

25       contractors, and the general public.  We double-check

FLORIDA PUBLIC SERVICE COMMISSION

61

1       all of our equipment, trucks, tools, and all of that to

2       make sure they are in good working order prior to the

3       hurricane season.

4                 We have completed our GIS and outage

5       management systems in our northeast and northwest

6       divisions, which allows us to identify and locate

7       outages and makes our restoration process more

8       efficient.  Additionally, in our northwest division we

9       have also completed a SCADA system that allows us to

10       operate our substation equipment from our office.

11                 FPU has implemented a three-year vegetation

12       management program on our main feeders and a six-year

13       vegetation management system on our laterals.  We do an

14       annual inspection of main feeders in critical areas

15       prior to the hurricane season, and we pay special

16       attention to danger trees and overhanging limbs.  We

17       cleared 391 danger trees in 2008 and we have implemented

18       our storm hardening plan by adopting extreme wind

19       loading criteria.  We use 130-mile an hour wind loading

20       in our northeast division, and 120-mile an hour winds in

21       our northwest division for all of our new construction

22       and replacements.

23                 Our overhead distribution circuits are

24       designed to NESC Grade B construction, and we are

25       currently using a software program called Pole Foreman

FLORIDA PUBLIC SERVICE COMMISSION

62

1       to verify loading on our poles and all of our equipment.

2                 FPU has hired a contractor, which is OSMOSE,

3       that has performed detailed inspections of our poles,

4       and we started that this year.  We inspected 1,849

5       poles.  1,485 were done in the northwest division and

6       364 were done in the northeast division.  This also

7       included a strength and loading assessment, and these

8       pole inspections are going to be on an eight-year cycle.

9                 Florida Public has a transmission only in our

10       northeast division, and we do a visual inspection

11       yearly, and a climbing inspection is scheduled to be

12       completed on that in 2010.  Our 138 kV system is

13       constructed of concrete and steel poles and/or towers,

14       and they are already up to the storm hardening criteria.

15       The 69 system consists of 212 poles.  Twenty-two of

16       those are concrete.  Plans are to replace all the wood

17       poles with concrete as time permits, and we have started

18       on some of that.

19                 As I said, our vegetation management is on a

20       three-year cycle for our main feeders and six years for

21       our laterals.  We cleared in the northwest division

22       50 miles of main feeders and 86 miles of laterals during

23       2008, and in the northeast division cleared 21 miles of

24       main feeders during 2008.

25                 During our inspection of poles, we did start a

FLORIDA PUBLIC SERVICE COMMISSION

63

1       joint use audit.  Our contractor began that this year,

2       and they did go in and do a load assessment of those

3       attachments.

4                 We work closely with all of the EOCs in our

5       areas.  We participate in all of the centers that are

6       affected, and we continue to make sure that we relate

7       and keep up with all of the activities and participate

8       in all of their projects.  FPU participated in the PURC

9       forensics research team that developed standard

10       reporting forms to be used in documenting damage after a

11       hurricane.  We also implemented our own standard

12       forensics data collection and reporting procedure that

13       outlines employee responsibilities, the processes that

14       we go through, and the tasks that need to be performed.

15                 We will use a contractor to perform the

16       collection and analysis of the data.  Since, you know,

17       we are a small utility, we really don't have the forces

18       and crews to be able to do that ourself.  And all of our

19       crews will be used to try to restore service in case of

20       a hurricane.  We intend to have the contractor hired and

21       ready to do that this year.

22                 We completed one storm hardening project in

23       2008, which was to extreme wind loading standards.  This

24       project was a critical infrastructure project in the

25       Marianna, Florida, area.  It included seven class G

FLORIDA PUBLIC SERVICE COMMISSION

64

1       concrete poles and 25 Class 1 wood poles, and it

2       provides service to a sewer treatment plant and parts of

3       downtown Marianna.  It also runs along Highway 90, and

4       crosses the Chipola River, and we made sure that the

5       concrete poles were placed on the adjacent sides of the

6       river so that we don't have to get in there and do those

7       anymore.

8                 As I said, we have the same concerns that all

9       of the other utilities have mentioned on the

10       hurricane -- you know, redundant hurricanes and

11       retaining forces to -- you know, if we have extreme

12       amounts of damage, because we do realize that we are a

13       smaller utility, and it makes it a little more difficult

14       to get contract crews to come to our area because of our

15       small size.

16                 In conclusion, we feel we are adequately

17       prepared for the 2009 hurricane season, and we want to

18       thank the Commission for allowing us to continue to be

19       proactive in pursuing the storm hardening plans.  And

20       that concludes my -- is there any questions?

21                 COMMISSIONER McMURRIAN:  Thank you,

22       Mr. Shelley.  I guess I'll ask you, and I know you

23       touched on this a little bit, about the Chairman's

24       question about opportunity to use local small

25       businesses.  Is there any information you would like to

FLORIDA PUBLIC SERVICE COMMISSION

65

1       share with respect to that?

2                 MR. SHELLEY:  We haven't looked at any of that

3       at this point.  I think he has a good point.  In, you

4       know, some of the redundant areas I think we could use

5       some smaller contract companies and smaller firms that

6       don't do the technical part of the job.  And, of course,

7       that would allow some of other people to help in the

8       restoration process.  But I think that is a good idea.

9                 COMMISSIONER McMURRIAN:  Thank you.  Any other

10       questions?

11                 MR. YOUNG:  No questions.

12                 COMMISSIONER McMURRIAN:  Okay.  Thank you.

13                 MR. SHELLEY:  Thank you.

14                 COMMISSIONER McMURRIAN:  Thank you,

15       Mr. Shelley.  And next we will hear from the Florida

16       Electric Cooperatives Association.  Ms. Hershel.

17                 MS. HERSHEL:  Good morning, Commissioners, Mr.

18       Chairman.  I'm Michelle Hershel with the Florida

19       Electric Cooperatives Association.  Thank you for

20       accommodating our schedule this morning, also.

21                 Typically for this workshop we bring in one or

22       more cooperatives to sort of showcase their system and

23       tell you what they have been doing to prepare for storms

24       in the future.  But just for your information, all of

25       our co-ops also file and submit their standard of

FLORIDA PUBLIC SERVICE COMMISSION

66

1       construction reports to your staff and all of their

2       information on what they're doing to prepare for storms

3       with your staff for your review.

4                 With that I would like to introduce Jody

5       Dotson, who is the Power Supply Manager for Glades

6       Electric Cooperative.  Thank you.

7                 COMMISSIONER McMURRIAN:  Thank you.  Go ahead,

8       Mr. Dotson.

9                 MR. DOTSON:  Good morning, Commissioners and

10       Mr. Chairman.  Thank you for allowing me the opportunity

11       to be here and share with you some of our success and

12       hard work.

13                 A little bit about our cooperative.  We're

14       located in south central Florida along Lake Okeechobee.

15       We serve Highlands, Okeechobee, Glades, and Hendry

16       Counties.  We have been impacted pretty hard by the

17       storms of 2004/2005.  We serve approximately 16,402

18       meters; 2,213 miles of line total on our system; 2,180

19       on overhead distribution, 33 miles of underground

20       distribution, and 87 miles of transmission.  We do

21       average about seven meters per mile of line, so we are a

22       very rural area that we serve.  By county, we serve

23       7,610 meters in Highlands; 2,190 in Okeechobee; 3,197 in

24       Glades; and 3,405 in Hendry County.

25                 I wanted to take this opportunity, we have

FLORIDA PUBLIC SERVICE COMMISSION

67

1       adopted a system restoration plan that we call -- not to

2       be confused with storm restoration.  Back in 1998, this

3       plan was put in place to have a systematic approach to

4       maintenance and upgrades on our system.  We have found

5       over the years that putting out fires on our

6       distribution and transmission system just did not get

7       the job done.  This program includes all the elements of

8       system maintenance on distribution, transmission,

9       substation, grounding, inspections, and the normal

10       testing.

11                 Under this program -- it was originally

12       instituted as a one-time program.  We figured it would

13       take five years to complete.  Once we got into it, we

14       got a little more involved, added to it, and we finally

15       got the final procedure in place, and it has evolved

16       into an eight-year program to where we have two

17       different phases.

18                 Phase I is the three-phase line sections that

19       are connected directly to the supplying substation.  A

20       section of those circuits downstream are the three-phase

21       or single-phase line breakers are considered part of the

22       main line.

23                 Phase II are typically the taps, laterals,

24       sections of line under fuses.  Under our system

25       restoration, we look at all poles and structures, guys,

FLORIDA PUBLIC SERVICE COMMISSION

68

1       attachments, cross arms, insulators, switches, fuse

2       switches.  We look at coordination issues on each

3       circuit as we go through, and we do it on a

4       circuit-by-circuit basis.  The lightning arrestors,

5       installing additional protection, transformers,

6       capacitors, right-of-way line breakers, line regulators,

7       and, of course, our substations, and code violations.

8                 Under our line breaker OCR program, our

9       program on OCRs are on a five-year -- every year we do a

10       fifth of the OCRs on our system.  We take them down and

11       put up refurnished or new units and any upgrades that

12       are necessary at that time.

13                 On line regulators -- I think I jumped ahead.

14       They're on a four-year maintenance cycle, and every

15       quarter we do an operational check and make sure

16       everything is operating as they are supposed to.

17                 On the right-of-way trimming, we have been on

18       a three-year cycle since 2003.  We do it by circuit at a

19       fixed cost so we know where our budget is at all times.

20       And on our circuits, we trim the main lines, laterals,

21       and service drops all at the same time.  And it's hard

22       to see on the slide, but this is the current three-year

23       cycle that we are in.  Last year we trimmed 798 miles of

24       distribution, and this year I think we are scheduled to

25       do 500 -- and I can't make out the number, but over

FLORIDA PUBLIC SERVICE COMMISSION

69

1       500 miles this year.

2                 On our transmission system, every year we do

3       an aerial inspection in the spring and we find items

4       that need to be addressed, and we classify them in two

5       categories.  Category 1 are items that need to be

6       repaired or corrected immediately, and Category 2 is a

7       watch list that are not as critical, and we are

8       recording them on the inspection for future reference.

9       And then the following inspection that we do after that

10       we pay special attention to those items to see if they

11       have gotten any worse.  And I will report that in 2007

12       we did a complete transmission system climbing

13       inspection and pole inspection.

14                 Our substation program.  We inspect them two

15       times a month.  One is a visual inspection, the other

16       one includes operational checks of the equipment.

17       Batteries are tested quarterly for all of the relays and

18       electronics, and then any problems or concerns that we

19       find are addressed immediately.

20                 Now, we do a major maintenance and testing

21       every four years on all the substations.  Tests include

22       circuit switcher where we power factor the circuit

23       switcher, we clean and retorque connections, operational

24       check, voltage drop open and close, and visual

25       inspections.  We also do the same for transformers,

FLORIDA PUBLIC SERVICE COMMISSION

70

1       power transformers in the substation.  We do the power

2       factor test, connections, turns ratio test, dielectric

3       test the oil, we do a dissolved gas analysis and the

4       transformer test, along with visual inspection.  We do

5       the same for our surge arrestors.  Power factor test,

6       clean and retorque connections, visual inspection.  And

7       then on the bus and bus insulators we do visual

8       inspections.

9                 Again, in the substation in our circuit

10       breakers, it's the same test.  I don't want to sound

11       redundant, but these are all the same tests that we do.

12       In our substation regulators we do the power factor and

13       the retorque the connections, dielectric oil tests, and

14       operations.  And then relays, we check the settings,

15       test and clean contacts.

16                 Now, on our transmission upgrades as part of

17       our system restoration, we take the opportunity if we

18       are going to do maintenance, we decide if the existing

19       line needs to be upgraded or completely rebuilt for that

20       matter, and we have identified weaknesses in the past,

21       and one of our weaknesses was a transmission line that

22       fed two of our substations.

23                 This line was located in a cane field about

24       150 or 200 yards off of Highway 27.  We did have some

25       issues with this line during Hurricane Wilma getting

FLORIDA PUBLIC SERVICE COMMISSION

71

1       access, so we decided in 2008 to relocate and upgrade

2       almost four and a half miles of 69 kV line and decided

3       at that time if we are going to do that to go ahead and

4       do the distribution underbuild.  There was another

5       circuit on the opposite side of the road.  So we were

6       able to complete the job in 2008 and had improved

7       access.  We improved the sectionalizing on that line to

8       split it up between the two substations, upgraded the

9       line capacity.  We did do improved storm strengthening.

10       We relocated the existing distribution, and I will share

11       with you a picture of the existing line.

12                 This was right of a Wilma, and we have a crew

13       on track equipment trying to get out to the structure.

14       The water varied from three feet to four, five,

15       sometimes six feet deep.  And this is a very difficult

16       line to patrol in the daytime.  At night it's nearly

17       impossible.

18                 So this is our new line that we have got

19       completed.  It was finished up in December right

20       alongside 27 using round spun concrete poles, and it's

21       one of our projects we really like to showcase right

22       now.

23                 On the distribution side, during 2008 we did

24       major maintenance on 23.5 miles on three different

25       distribution circuits.  One of those circuits involved a

FLORIDA PUBLIC SERVICE COMMISSION

72

1       complete rebuild of approximately 6.8 miles, and also we

2       have done some reengineering on our regulator banks and

3       stations for better wind resistance, and as part of our

4       right-of-way program, 721 miles of distribution

5       right-of-way.

6                 One of the distribution circuits we redid was

7       on a very rural area.  It didn't serve a lot of people,

8       but we had some problems.  The line was aged, and we had

9       a flooding area that impacted a number of residential

10       areas.  We could not access the line during the rainy

11       season.  We rebuilt the line, improved conductor size,

12       shortened our span lengths, and upgraded the

13       classification of poles used on the new line for storm

14       strengthening.  And we have relocated the areas prone to

15       flooding.

16                 In the past when we would install regulators,

17       we would put the three regulators on a platform together

18       at a regulator station, and we found during the

19       hurricanes of 2004, and in Wilma of 2005, it was a

20       repeat, we dealt with this problem probably three or

21       four times where either the structures would break off

22       or we would find the regulators on the ground next to

23       the poles regardless of the bolts used to hold them in

24       place.  So we went back and we looked at it, and we

25       decided to go with a single pole mount installation.  We

FLORIDA PUBLIC SERVICE COMMISSION

73

1       may lose one, we may lose two, but the possibility of

2       losing three is a lot less than having them on a

3       platform.  And we have -- in 2008, we completed

4       converting all of our regulator platforms to the new

5       design.

6                 Every year we do a strategic work plan, and

7       all the employees at the co-op are involved in this

8       planning process from the meter readers to the customer

9       service, and we identify our strengths, weaknesses,

10       opportunities, and threats.  And we come up with action

11       steps to meet the plan and address any of the weaknesses

12       and threats that we see.

13                 And it's hard to see on the slides, but this

14       is just a couple of examples of the action items in the

15       assigned steps that have been given to my department.

16       These are documented on the Harvard scorecard format.

17       We are reporting these to our board on a quarterly basis

18       and by the end of the year we are expected to finish

19       within the 90 percentile range.

20                 Part of the plan for this year is to reconduct

21       a number of taps in a populated residential area on our

22       system.  All of these taps that have been identified are

23       back lot easements, hard to access, and every one of

24       these are being built out on the road and removed and

25       replacing copper conductor with ACSR conductor.

FLORIDA PUBLIC SERVICE COMMISSION

74

1                 One of the biggest weaknesses that we have

2       found and have identified over the number of years, we

3       have one substation in Okeechobee that feeds all of our

4       members in Okeechobee County.  This substation is fed by

5       a transmission line that is approximately one mile off

6       of a paved road that runs parallel with the paved road

7       through pastures, flag ponds, bogs, and not too far back

8       a retention pond that was built that ended up taking

9       eight -- I believe it is eight of our structures are now

10       in the retention pond where at times of the year we have

11       no access to.

12                 And when we looked at this weakness, we looked

13       at rebuilding, or building a new transmission line as an

14       alternate feed.  We ultimately came up with an idea to

15       build a new substation in Okeechobee County.  That is an

16       ongoing project now.  It is scheduled to be on-line by

17       the end of 2009.  We do have the distribution network

18       going in now, and when this is complete we will have the

19       ability to transfer all load from the existing

20       substation to the new substation if need be during

21       storms.

22                 And just to give you an example, here is a

23       picture of the structures in the retention pond.  We do

24       have a partnership with Progress Energy in the event

25       that something were to happen in the retention pond.

FLORIDA PUBLIC SERVICE COMMISSION

75

1       They do have the equipment, and we do stay in contact

2       with them.  We just had a meeting with them last week,

3       and they have partnered with us to help us in any way to

4       get these lines back up in the retention pond.

5                 And, speaking of Progress, in the past they

6       have partnered with us as far as materials, needing

7       poles, and we just discussed this in our biennial

8       meeting last week with them, and we have an

9       understanding as far as motel rooms, additional crews,

10       materials.  If we have any needs, or if they have any

11       needs, we do have lines of communication established

12       where we can try to help each other out in areas we are

13       out.

14                 And no matter how hard we prepare there is

15       always instances where it is just never enough, and we

16       do all we can do to minimize the impact.

17                 That's it, unless there's some questions.

18                 MR. GARL:  No questions.

19                 MR. McWHIRTER:  Commissioner Skop, do you

20       have -- go right ahead.

21                 COMMISSIONER SKOP:  Thank you, Madam Chair.

22       Just a quick question with respect to the new regulator

23       installations.  The one picture that showed the platform

24       regulator failure, if we could go back to that, please.

25                 MR. DOTSON:  Okay.

FLORIDA PUBLIC SERVICE COMMISSION

76

1                 COMMISSIONER SKOP:  And with respect to that

2       picture, I guess, was there any analysis done as to the

3       failure mode?  Was it the platform itself or the

4       combined wind loading?

5                 MR. DOTSON:  It was the combined wind loading.

6       These units were bolted down on the aluminum platform

7       and the bolts had actually pulled out of the platform.

8                 COMMISSIONER SKOP:  Okay.  So the platform

9       itself -- is that the remnants of the platform?

10                 MR. DOTSON:  That is a boardwalk that allows

11       employees to walk in front of the units.

12                 COMMISSIONER SKOP:  Okay.  All right.  So the

13       aluminum platform itself would have been above that, not

14       shown on the picture?

15                 MR. DOTSON:  Right.  Yes, it's beyond that.

16                 COMMISSIONER SKOP:  Okay.  And with respect to

17       the next picture that shows the new regulator

18       installation where they have put them on a single pole

19       installation and separated them, obviously that, I

20       guess, provides for reduced wind loading.  I guess the

21       question I would have is there any certain distance that

22       the regulators need to be placed in proximity to each

23       other, or would it be more appropriate to spread them a

24       little bit further apart to the extent that, you know,

25       in storm damage, in hurricanes, we also have tornadic

FLORIDA PUBLIC SERVICE COMMISSION

77

1       activity, and, you know, I would think that

2       notwithstanding the wind loading, the more distance that

3       they are between each other, you know, the less

4       probability perhaps that, you know, if a tornado came

5       through there all three would get taken out at once.

6       And I don't know if there is a constraint on how far

7       they can be separated.

8                 MR. DOTSON:  Typically they are located pretty

9       close to one another.  They can be stretched out a few

10       spans.

11                 COMMISSIONER SKOP:  Okay.  All right.  And

12       then just, I guess, for my own knowledge, has any

13       thought been given since, again, those are specialized

14       electrical components, but in terms of hardening those

15       with perhaps concrete and, you know, metal type

16       structure supports as opposed to the single pole

17       installations?

18                 MR. DOTSON:  On our distribution we have not

19       addressed using concrete or steel.  On our transmission

20       lines, however, all of our replacements are concrete and

21       steel as of 2008.

22                 COMMISSIONER SKOP:  Okay.  And do you know if

23       other utilities -- I mean, is this standard practice in

24       the state to do it this way, or is there some best

25       practices?

FLORIDA PUBLIC SERVICE COMMISSION

78

1                 MR. DOTSON:  It varies.  Typically after the

2       storms you see more and more of the single pole mount.

3       There are some cases where we do additional guying on

4       these pole-mounted regulators.  This was one of the

5       first ones we had converted and we have revised some of

6       them since then.

7                 COMMISSIONER SKOP:  Okay, thank you.

8                 COMMISSIONER McMURRIAN:  Okay.  Thank you very

9       much, Mr. Dotson.  Now we will hear from the Florida

10       Municipal Electric Association.  We may need a couple of

11       minutes while Chris works on the battery.

12                 MR. FINKLEA:  I could sing to test it, but no

13       one would want to hear that.

14                 COMMISSIONER McMURRIAN:  Better than me

15       singing.  Go right ahead.

16                 MR. FINKLEA:  Good morning.  My name is Jody

17       Finklea and I represent the Florida Municipal Electric

18       Association, and FMPA, as well.  We appreciate the

19       opportunity to attend this session every year and speak

20       to the Commission about FMEA and our members.

21                 Of course, FMEA has 34 municipal electric

22       utility members.  We serve about 1.3 million customers

23       across the state of Florida.  Our largest utilities are

24       JEA and OUC, and we serve all the way down to our

25       smallest utilities, the City of Bushnell and the City of

FLORIDA PUBLIC SERVICE COMMISSION

79

1       Blountstown, as an example.  But combined, we consider

2       all of our retail utilities together, FMEA and the

3       municipal electric utilities of the state of Florida

4       make up the third largest utility in the state behind

5       FPL and Progress Energy.  As you can see, we're

6       dispersed from the City of Blountstown down to Key West,

7       one of my favorite meeting places.

8                 You might ask how do our members generate

9       power?  Well, the answer is they don't.  12 of our 34

10       cities do generate some.  Of those 34, 15 buy all of

11       their wholesale power needs from the Florida Municipal

12       Power Agency through its all requirements project.

13       Eight additional municipalities buy entitlement shares

14       in particular plants, the Stanton units and the

15       St. Lucie unit in St. Lucie County, from FMPA.  As well,

16       the other providers are, of course, Progress, TECO, FPL,

17       Gulf Power and Glades.  As a market share, you can see

18       that we, we rank right there among the larger utilities.

19                 As a matter of mutual aid, FMEA is proud of

20       its record.  We have lots of options for mutual aid

21       from Florida, the southeast and nationally.  All of the

22       FMEA members have agreements amongst themselves and

23       other mutual aid agreements that members are very

24       reliant upon.  You can see here that in the past we've

25       received mutual aid from as far away as Wisconsin and

FLORIDA PUBLIC SERVICE COMMISSION

80

1       Maine.  Most mutual aid though comes from closer to home

2       in the southeast.  We have a lot of relationships with

3       the Carolinas particularly.

4                 Today we're going to, I'm going to introduce

5       to you the Electric Utility Director of the City of

6       Leesburg, Mr. Paul Kalv.  We always bring, like the

7       cooperatives, each year one of our members to showcase

8       what they're doing for storm preparedness.  If there

9       aren't any questions, then I'll introduce Mr. Kalv.

10                 COMMISSIONER McMURRIAN:  Thank you.

11                 Thank you, Mr. Kalv.  Go right ahead.

12                 (Technical difficulties.)

13                 Give us just a minute.  We'll get Chris.  Ah,

14       there he is.  We have to keep him on his toes; right?

15       Thank you, Chris.  You're doing a good job.

16                 MR. KALV:  Fantastic.  Thank you.

17                 Good morning, Mr. Chairman, Commissioners and

18       staff.  My name is Paul Kalv and I'm the Director of the

19       City of Leesburg Electric Department.  This year I

20       celebrate my 40th year in this challenging and fun

21       industry, having spent 22 years with an investor-owned

22       utility in the state and the last 18 years with public

23       power.

24                 Leesburg is one of the 34 not-for-profit

25       municipal electric utilities.  We're located in Central

FLORIDA PUBLIC SERVICE COMMISSION

81

1       Florida between Orlando and Ocala.  Leesburg is located

2       in the northwest corner of Lake County south of The

3       Villages.  Our 50 square mile electric service territory

4       includes the City of Leesburg, the City of Fruitland

5       Park and portions of unincorporated Lake County.  We're

6       surrounded by Progress Energy and Sumter Electric

7       Cooperative service territories.  We are one of the 15

8       utilities Mr. Finklea mentioned that procures all of our

9       electric requirements from the Florida Municipal Power

10       Agency.

11                 Our electric utility is also somewhat unique

12       in that we do not own or operate any transmission

13       facilities.  We are totally dependent on the

14       transmission facilities owned and operated by Progress

15       Energy for delivery of our power supply to the five

16       substations that the city owns and operates.

17                 Electricity is distributed over 25 feeders to

18       serve 22,000 electric meters.  More than 80 percent are

19       residential customers.

20                 I learned a new term not long ago called

21       scrivener's error.  I won't attribute this, my new math

22       error to a scrivener's error.  It was my own.  Our

23       commercial customers represent about 17 percent of our

24       total customers, not 27.

25                 We are very proud to report that the City of

FLORIDA PUBLIC SERVICE COMMISSION

82

1       Leesburg was one of only two municipal utilities in

2       Florida to be designated by the American Public Power

3       Association, our national association, as a reliable

4       public power provider during 2006, the inaugural year of

5       the award.  In 2008, Leesburg also received the award.

6       The detailed evaluation criteria encompasses the areas

7       of service reliability, safety, workforce development

8       and system improvement.  We'll be submitting our

9       application this fall for consideration in 2010.

10       Leesburg also has a history of assisting other Florida

11       and out-of-state utilities and is prepared and willing

12       to help in the future.

13                 Reliability of the utility system begins with

14       a design and construction criteria.  Because of our

15       geographic location, Leesburg lies within the National

16       Electrical Safety Code 100 mile an hour extreme wind

17       contour.  This is the lowest in the state.  However,

18       during the mid 1990s the utility upgraded its overhead

19       design standard to require all new and replacement poles

20       supporting three-phase feeders and poles that supported

21       underground cable terminations and, and voltage

22       regulators to be on hardened concrete poles, not wood.

23       For aesthetic consideration our city Commission has also

24       requested that all overhead feeders located along major

25       arterial roadways be converted to underground or be

FLORIDA PUBLIC SERVICE COMMISSION

83

1       relocated to local roadways when those opportunities

2       arise.

3                 Leesburg's inland location shelters us

4       somewhat from both storm winds and tides.  All new

5       construction is front lot line, and we're converting

6       rear lot line construction to front when appropriate.

7       We are -- we also require our foreign utility attachees

8       to adhere to our wind loading standards.

9                 Leesburg's approximately 16,500 poles are

10       inspected on an eight-year cycle and just over

11       60 percent of our poles are wood.  During the summer and

12       fall of 2007 more than 38 percent of all of our poles

13       were inspected, and just five one-hundredths of 1

14       percent required immediate replacement.  2.6 percent of

15       the poles failed minimum strength standards and have

16       been replaced.  We're continuing our pole maintenance

17       inspection this, either later this month or in June.

18                 Leesburg has a very aggressive pole inspection

19       and treatment program since the 1970s, and we believe it

20       to be a very cost-effective measure to extend the useful

21       life of this valuable resource.  This round our

22       inspectors are also replacing pole tags and they perform

23       other minor maintenance repairs while they're onsite.

24                 Our service territory has a lot of oak and

25       other trees, so vegetation management is an important

FLORIDA PUBLIC SERVICE COMMISSION

84

1       factor in maintaining service reliability.  Our 2008

2       vegetation outages point to the negative impact

3       vegetation outages can have on reliability.  I'm a firm

4       believer in the 80/20 rule, and here you see that

5       20 percent of our vegetation outages caused almost

6       90 percent of our vegetation customer minutes

7       interrupted.  We trim trees across our entire service

8       territory every four years with a ten foot standard.  We

9       also have a tree crew that focuses primarily on

10       excessive growth within the four-year time frame.

11                 Much of our system improvement work throughout

12       the year supports the viability of our distribution

13       system to withstand storm conditions, and our storm

14       season planning starts in February with reviews of

15       established plans, confirming informal agreements, and

16       ensuring that new staff receives basic National Incident

17       Management System training.

18                 Leesburg has adopted a philosophy of prepare

19       for the worst and hope for the best, and our annual

20       planning activities involve the entire community.

21       Critical material stock is brought to their maximum

22       levels or higher, feeder patrol assignments are

23       confirmed and utility plans and priorities are

24       coordinated with public works, police and fire.  The

25       electric utility is completely plugged in to the

FLORIDA PUBLIC SERVICE COMMISSION

85

1       communications with the local emergency response and

2       emergency management operations.

3                 Depending upon the projected storm track, the

4       days and hours immediately preceding the arrival of a

5       storm may be filled with completing personal

6       preparations and ensuring that all final utility

7       preparations are complete.  A large contingent of

8       personnel including management, system operators and an

9       interested lineman or two typically ride out the storm

10       in our operation center with family, a large number of

11       families in campers on our com -- within our compound.

12                 Second only to responding to life safety

13       issues following the storm, our initial damage

14       assessment is our most important initial activity.

15       Based upon the feeder breakers that locked out during

16       the storm, initial assessment assignments are

17       rearranged, assignment crews are briefed, and the

18       assigned, the assessment begins.  The results of this

19       initial assessment helps us to prepare the forecasted

20       need for additional resources or to project our ability

21       to release resources to assist others.  While the

22       assessment is progressing, system operators are

23       finalizing their internal restoration priorities.

24       Within the first few daylight hours following a storm's

25       passing, we should be in a reasonably good start on our

FLORIDA PUBLIC SERVICE COMMISSION

86

1       initial restoration planning.  And, of course, we're

2       passing information up to FMEA for reporting to the

3       Public Service Commission.

4                 While I believe that all utilities do very

5       well with their internal preparations, occasionally

6       where our utility bumps into a larger utility's

7       preparation competition for scarce resources becomes an

8       issue.  This is particularly evident in competing for

9       local contract crews, pole and conductor materials and

10       temporary housing for contractors and visiting utility

11       crews.  One thought to consider in an effort to minimize

12       the adverse effects of this competition would be to

13       establish a working group at the state emergency

14       operations center to be a clearinghouse for

15       investor-owned utilities, municipals and electric

16       cooperatives to share information and needs as issues

17       arise during the emergency events.

18                 To address the Chairman's concern, we, we have

19       no contract line crews as part of our line operation.

20       All of our, all of our line crews are City of Leesburg

21       employees.  And while we are somewhat sheltered from the

22       impacts of wind and storm surge, we certainly prepare

23       and all of our people, all of our employees are

24       intimately familiar with our distribution system, and we

25       will rely on assistance from our other 33 municipal

FLORIDA PUBLIC SERVICE COMMISSION

87

1       utilities.  We do have a close relationship with a North

2       Carolina organization that has promised us line crews if

3       they're necessary.  But the Leesburg experience has, has

4       been that we are always a, we are more often a provider

5       of assistance rather than the recipient of assistance.

6       All of our tree contractors, that organization has also

7       promised us any additional needs that they can draw from

8       if we need them from out-of-state locations.

9                 Many municipal utilities and especially

10       Leesburg are dependent upon the transmission networks of

11       other utilities.  So if the transmission system that

12       serves the City of Leesburg is not hardened and in good

13       shape, no amount of system hardening by Leesburg will

14       keep my customers from spending an inordinate amount of

15       time in the dark or in the heat.

16                 My 3:00 a.m. cold sweats come not from

17       distribution system failure worries but from the effects

18       of multiple transmission system failures.  Keys Energy

19       also has a unique dilemma caused by the state-ordered

20       evacuation that include medical personnel.  While

21       electrical workers are trained to perform their duties

22       safely, the lack of an active local emergency facility

23       is a concern.  We raise this issue with you in case we

24       need your help in the future.

25                 Keys Energy has also brought up an issue

FLORIDA PUBLIC SERVICE COMMISSION

88

1       related to intermingled pole ownership in a distribution

2       line.  Keys Energy designs distribution facilities to

3       the National Electric Safety Code 150 mile an hour

4       extreme wind loading standards, while AT&T is not

5       required to do so.  Both utilities share the poles,

6       while Keys Energy pays the incremental cost for storm

7       hardening the entire pole line.  Keys questions the

8       fairness of this.

9                 I thank you very much for this opportunity to

10       share our stories, and I look forward to responding to

11       your questions.

12                 COMMISSIONER McMURRIAN:  I have one, Mr. Kalv.

13       On your suggestion about the ad hoc committee, what do

14       you think it would take to form such a committee?  I

15       mean, how difficult would it be?

16                 MR. KALV:  Well, I think that all of the

17       interested parties have representatives at the, at the

18       state, and I believe that -- and all of the utilities

19       report the local assessment and they roll up to --

20       eventually all that information gets reported at the

21       state level.  You know, I know what's impacting me.  I

22       don't know what's impacting other, other folks and

23       certainly not other utilities.  And, again, while we

24       would probably be the least likely folks to, to bring in

25       a lot of additional resources because of our location,

FLORIDA PUBLIC SERVICE COMMISSION

89

1       you know, I raise this as a statewide issue, not, not

2       particularly so much for Leesburg itself.

3                 COMMISSIONER McMURRIAN:  I appreciate that.  I

4       mean, do any of the other participants have any thoughts

5       on forming such an ad hoc committee?  Hearing none, I

6       guess it's something that everyone can, can think about

7       and maybe have discussions among yourselves about doing

8       that.  It seems like -- well, we always appreciate

9       suggestions.

10                 MR. KALV:  Thank you.

11                 COMMISSIONER McMURRIAN:  And, of course, I

12       think we're all working toward the same goal.  So we

13       appreciate you throwing out an idea like that, and

14       perhaps everyone will take it back and give it some

15       thought along with some of the ideas that the Chairman

16       has thrown out earlier.  So I appreciate that.

17                 MR. KALV:  Thank you.

18                 COMMISSIONER McMURRIAN:  Any other questions?

19                 Commissioner Skop.

20                 COMMISSIONER SKOP:  Thank you, Madam Chair.

21                 Just a quick question with respect to the

22       comment by Keys Energy on the healthcare after

23       evacuations and the comments on the subsequent page.

24                 With respect to the healthcare after

25       evacuations, I guess I'm trying to figure out how that's

FLORIDA PUBLIC SERVICE COMMISSION

90

1       interrelated with the City of Leesburg, or is that --

2       hold on real quick -- or is that a FEMA type issue?

3                 MR. KALV:  Right.  Right.  That's really not

4       so much an issue for us.  But it's my understanding that

5       it is a concern with Keys when, with Keys Energy when

6       all the medical personnel are evacuated.  And then, you

7       know, while the linemen perform their job normally very

8       safely, it's a concern for the management of Keys

9       Energy.

10                 COMMISSIONER SKOP:  Okay.  Thank you.

11                 COMMISSIONER McMURRIAN:  Mr. Garl.

12                 MR. GARL:  No questions.  Thank you.

13                 COMMISSIONER McMURRIAN:  Okay.  Thank you very

14       much, Mr. Kalv.

15                 MR. KALV:  Thank you very much.

16                 COMMISSIONER McMURRIAN:  And I know some are

17       wondering about lunch, but I've noted that we have three

18       presentations left, so I think perhaps we might continue

19       through.  And so next we'll start with our presentation

20       from the ILECs, start with AT&T.

21                 MR. SMITH:  Good morning.

22                 COMMISSIONER McMURRIAN:  Good morning.

23                 MR. SMITH:  My name is Kirk Smith.  I'm an

24       Area Manager with AT&T.  We appear on behalf of the AT&T

25       Florida team.  We appreciate the opportunity to be here

FLORIDA PUBLIC SERVICE COMMISSION

91

1       today and to talk to you about some of the progress we

2       made through the last 12 months with respect to our

3       emergency preparedness.

4                 Within AT&T we understand the importance of

5       emergency preparedness, and this is part of our everyday

6       business.  And we feel very strongly that our continued

7       preparation, the national pool of resources we have to

8       draw from now puts AT&T in a good position to not only

9       protect its network from storm damage but to restore

10       service efficiently following severe weather events.

11                 What happened here?

12                 (Technical difficulties.)

13                 It's very difficult to expand on the benefits

14       of our technologies if I can't operate a remote.

15                 Thank you.  In our presentation today we'll

16       concentrate our communication on several different

17       areas.  Our ongoing pole inspection program, our

18       increase in our generator inventory, an overview of our

19       preparation and restoration processes both with the

20       wireline and wireless sides of our business, and to help

21       with a better understanding of the hierarchy of support

22       all the way from the local level to an AT&T Global

23       Network Operations Center.

24                 With regard to our ongoing pole inspection

25       program, AT&T has 460,811 poles in Florida, and we are

FLORIDA PUBLIC SERVICE COMMISSION

92

1       inspecting these on an eight-year cycle.  For joint use

2       poles we have prioritized our inspection activities in

3       concert with our power company partners looking at areas

4       as a first priority, coastal exposure critical

5       infrastructure type areas.  We have inspected

6       156,542 poles through year-end 2008.  That actually puts

7       us about some 12,000 poles ahead of target to meet the

8       eight-year cycle inventory.  We have inspected more than

9       20,000 poles in 2009 and anticipate closing out with

10       40,000 additional poles inspected this year, and have

11       replaced as part of this program 4,610 poles across our

12       footprint in Florida since 2006.

13                 With regards to our first line of defense in

14       emergency restoration, we have added a significant

15       number of portable generators to support our digital

16       loop carrier sites in Florida.  We have established a

17       seasonal generator pool site in Hialeah, Florida, and we

18       have a third site that's coming online in Lakeland,

19       Florida.  We now have 1,010 digital loop carrier sites

20       that are supported by permanent generators, and

21       nationally we have over 9,000 generators available for

22       storm recovery efforts.

23                 As we went through some of the merger activity

24       and looking at best practices across the AT&T 22-state

25       footprint, the model that we have for emergency

FLORIDA PUBLIC SERVICE COMMISSION

93

1       preparedness and storm restoration activities with

2       deployment of portable generators, as they looked at

3       what we did in the State of Florida, it was accepted as

4       best practice.  And additional sites are being built in

5       Texas and other areas that have coastal exposure within

6       the AT&T footprint that has dramatically increased our

7       pool of resources.

8                 As you can see here, we have a pool that we

9       operate 12 months out of the year in Jacksonville,

10       Florida.  We'll have a 12-month generator pool

11       established in Lakeland, Florida, and a seasonal pool

12       that we bring generators down from the northern part of

13       our footprint in the Carolinas, Tennessee and Kentucky

14       that we, that we establish and hold there during the

15       hurricane season in Hialeah, Florida.

16                 As you can see here, these are just some

17       snapshots of some of the things that we do to protect

18       our more critical sites that house our digital loop

19       electronics.  You see here a couple of pictures of some

20       of the portable generators that we established, our

21       permanent generators we established at these sites.  And

22       some of the wraps that we actually put over some of our

23       critical sites to protect from blowing wind, sand, rain

24       and hopefully minimal floods.

25                 As I mentioned, we're going to talk about

FLORIDA PUBLIC SERVICE COMMISSION

94

1       other aspects of our business, and at this point in time

2       I'd like to hand it over to another partner of ours

3       within AT&T, Mr. Jeff Patton.

4                 MR. PATTON:  Good morning.  As Kirk said, I am

5       Jeff Patton.  I'm the Emergency Operations Manager for

6       the southeast region of AT&T.  What I'm going to talk

7       about briefly is what we recognize as our strongest

8       asset, and that is our employees and their families.  We

9       hold annual, throughout the year annually informational

10       training and awareness meetings with all of our

11       employees preparing them for emergency situations, not

12       just hurricanes, any type of event throughout the

13       22-state region of AT&T preparing them for maintaining

14       our services to our customers, as well as preparation

15       for themselves and their families at home.

16                 We also have established two toll-free

17       telephone numbers that we use for our employees to

18       provide them information at all times, as well as the

19       second number is where we ask our employees to contact

20       the company, let us know where they're located and what

21       their situation is that they're either in -- their

22       condition as well or if they're in need of assistance.

23                 We have localized employee care that we move

24       into the affected areas after an event to maintain our

25       employees as well as their families.  I don't know if

FLORIDA PUBLIC SERVICE COMMISSION

95

1       you remember back in 2004, I believe it was, yeah, we

2       called them tent cities, BellSouth tent cities, and we

3       have that capability maintained at this, at this time.

4                 We have exercises, mock disasters that we run

5       through periodically throughout the year.  Again, not

6       just hurricanes, but all types of events that would

7       affect us throughout the entire region.  And we

8       participate at state, federal and local level emergency

9       events.  Right now we're scheduled for May the 8th to

10       participate in Broward County, and then in June we're

11       going to participate in the Miami-Dade exercise as well

12       in -- just in Florida alone.  We participate in all 22

13       states in those type of activities.

14                 We have, excuse me, we have in -- the slide

15       refers to restoration teams.  I call them strike teams.

16       We have identified managers and nonmanagement employees

17       with special skills and to affect all different aspects

18       of the AT&T network that are on standby 24/7 that will

19       move closer to the potentially affected area prior to an

20       event, and then immediately upon the event moving

21       through we will move these folks into the area as our

22       first re-entry teams to start our restoration efforts.

23       We have materials in our supply warehouses staged for

24       disastrous events at all times, and we have identified

25       areas throughout the 22-state region that we will move

FLORIDA PUBLIC SERVICE COMMISSION

96

1       those supplies and materials to to give us the ability

2       to hopefully have a quicker restoration turnaround.

3                 We have negotiated and partnered with local

4       businesses, hotels, restaurants, gas stations where we

5       will move into an affected area and have access, the

6       ability to house our restoration teams, provide food to

7       these technicians and managers and maintain our needs

8       for fuel.

9                 The structure for emergency operations within

10       AT&T begins at the local level.  In Florida we have two

11       local response teams, the North Florida local response

12       team and the South Florida local response team.

13       Dependent upon the scope of the event, the local

14       response team would handle complete control and

15       restoration of the services of our network.  If the

16       event was larger than a local response team could

17       handle, they would then contact their local response

18       center, which for Florida also supports the State of

19       Alabama.  If that event then becomes so large that they

20       need additional resources, manpower, assets, they would

21       call the emergency operations center for the southeast

22       region.  And then, of course, if it was a scope that

23       required a tremendous amount of support, we would then

24       contact GNOC in New Jersey, which looks across the

25       entire AT&T corporation and where we have access to

FLORIDA PUBLIC SERVICE COMMISSION

97

1       300,000 employees to pull the assets into the affected

2       areas as needed.

3                 The wireless organization has a similar

4       structure, and shortly after I finish, Dave Cundiff

5       will, will refer to that when he talks from the wireless

6       side.

7                 These are just some of the systems and

8       processes that we have that we use to track the weather,

9       the hurricanes, disastrous events.  The organizations

10       within the company, I made reference to some of the

11       strike teams.  The safety team, the generators that Kirk

12       referred to, cell site strike teams that Dave will talk

13       about cell site information and 911, and it's, the list

14       of strike teams goes on and on as it affects every

15       aspect of our organization and our network.

16                 We have -- I made reference a moment ago to

17       the Global Network Operations Center, the GNOC, which is

18       located in Bedminster, New Jersey.  These folks monitor

19       the entire network throughout the world, all of AT&T,

20       and it's -- what they, what they watch is phenomenal.  I

21       would take a whole lot more time than we have today for

22       me to try to explain to you what they see and what they

23       do, but they are a tremendous resource of timeliness of

24       our network and monitoring the traffic of communications

25       across our network.

FLORIDA PUBLIC SERVICE COMMISSION

98

1                 We also have a network disaster recovery team

2       which is highly skilled managers and nonmanagement

3       employees, all volunteer, that have duffle bags

4       underneath their desks or in the trunk of their cars,

5       and at a moment's notice when they receive a call they

6       will deploy anywhere in the world to do whatever it

7       takes to restore our network services to our customers.

8       They have, it says 500 generators have been, they've

9       deployed across the United States, they have central

10       offices on wheels, wireless satellite microwave

11       communications capability on vehicles, generators to

12       power all the central office needs that we have, HVAC

13       units that they, they pull behind and install.  I was

14       fortunate enough to be invited to one of their exercises

15       in Charlotte in October, I'm sorry, yeah, October of

16       last year, and I was personally -- and I've been with

17       the company for 30 years and I know a lot about

18       telecommunications, but this was a phenomenal occurrence

19       that I witnessed.  And it's, it's something that had --

20       being with BellSouth until two years ago I had not seen

21       the capability that we at AT&T now have with this

22       network disaster recovery team to go into an area that

23       has been affected by some type of major service

24       disruption.

25                 With that, I will turn the microphone over to

FLORIDA PUBLIC SERVICE COMMISSION

99

1       Dave Cundiff.

2                 MR. CUNDIFF:  Good afternoon.  My name is Dave

3       Cundiff.  I'm the Area Vice President for the Southeast

4       United States for mobility with the responsibility for

5       all of engineering and operations, of which includes our

6       hurricane preparations and recovery efforts.

7                 In the State of Florida we have over 2,000

8       cell sites that provide critical voice and data needs to

9       all of our customers.  We understand the importance of

10       these, of this service and ensuring that these assets

11       are, are continuing to be on the air throughout, before

12       during and after a storm.

13                 To ensure that, we have over 35 percent of our

14       cell sites with permanent generators.  These generators

15       are strategically placed to ensure that we do properly

16       take care of the residents of the State of Florida.

17       These critical areas that we provide coverage from a

18       permanent generator perspective include ensuring that

19       the cell sites that do cover the EOCs, the county EOCs

20       have generators, we ensure all the major hospitals and

21       medical facilities have generators on cell sites that

22       cover those areas, as well as all of the evacuation

23       routes.  We want to make sure that, that the assets we

24       are putting in the ground are definitely there before,

25       during and after, after a storm.

FLORIDA PUBLIC SERVICE COMMISSION

100

1                 Similar to what was said earlier, we also from

2       a, from a management perspective break the state up into

3       two specific local response teams, LRTs.  Those specific

4       storm, those specific teams will, will address the

5       issues and the hurricanes in their specific geographic

6       area.

7                 If, if there is multiple storms in the state

8       or multiple storms on the coast or in the U.S., we then

9       roll up to what we call our Mobility Network Reliability

10       Center that's based out of Atlanta.  And, again,

11       depending on the severity of the events or the, or the

12       multiple of the events, we then roll up to the GNOC that

13       was mentioned earlier.

14                 We utilize realtime management tools prior to,

15       during and after these events.  These tools allow us to

16       stay with clear visibility to our network throughout the

17       entire event.  As you can see a snapshot up there, we

18       can, we can tell you at any one time the situation of

19       any one of our cell sites that's covering a geographic

20       area, whether it's lost commercial power, whether it's

21       lost telco, whether it's lost off the air at any one

22       point.  By monitoring this obviously during, during an

23       event we can, we can properly plan our restoration so

24       that when it is clear for us to go in there, we can go

25       in there quickly and effectively and address the cell

FLORIDA PUBLIC SERVICE COMMISSION

101

1       sites and the equipment that we have in the most, most

2       efficient and effective manner.

3                 Also as mentioned earlier, we have, we have

4       quite a bit of employees, internal employees mobility in

5       the State of Florida, again, broken down into two

6       specific markets.  We also pull resources from

7       throughout the country.  We have over 6,000 wireless

8       network employees that we pull from.  And having had

9       responsibility for just the State of Florida during the

10       early part of this, this decade, we pulled from

11       everywhere from Los Angeles to Seattle to even Hawaii at

12       times.  So we do have a very, a very good network of

13       employees.

14                 Contractors are also extremely important to

15       our restoration.  As a matter of fact, there's many more

16       contractors that we pull in as opposed to employees.

17       There's our local contractors, there are contractors and

18       residents that need to know the geographic areas, given

19       that the placement of a lot of our cell sites are in

20       areas that are remote and rural.  They have to be able

21       to have their own equipment, their trucks and their

22       local knowledge to be able to address the cell sites

23       that we have to, have to get with.

24                 Given the power situations and the need for

25       power within our network, we also maintain a very large

FLORIDA PUBLIC SERVICE COMMISSION

102

1       pool of portable generators in Lakeland, Florida, about

2       140 of those.  Those generators are much larger than the

3       average telco generators.  They're upwards to 40 to

4       60kW.  And we also maintain a fleet of over 300 in the

5       southeast in our specific pool locations.  Those are

6       owned, those are AT&T-owned generators that we can

7       utilize at any one time, and we also have access for

8       leased generators throughout the region as well.

9                 We have over 300 what we call cell sites on

10       wheels and we have a multitude of towers on wheels in

11       case we are to lose a tower.  Knock on wood, we have not

12       lost a tower in the last decade in the State of Florida,

13       so we're very proud about that record.  But in case we

14       do need to bring coverage to an area that does not have

15       coverage, we have what we call cell on wheels.  Those

16       are, we have some that are satellite based so that we

17       can get out there very quickly to restore, to either

18       restore coverage or provide new coverage.

19                 An example would be working with the Air

20       National Guard.  If they want to put a tent city up,

21       they may not have mobile communications, whether it's

22       data or voice.  We will work in conjunction with them

23       generally to get the exact location that their tents are

24       going to be deployed, and generally we will have a

25       cellular network waiting on them while they're

FLORIDA PUBLIC SERVICE COMMISSION

103

1       restoring, while they're building their tent so that we

2       can ensure that we meet their, their critical needs.  We

3       do that with EOCs in case we have a tower or electronics

4       that get submerged into water.  We can quickly roll a

5       COW out and have it on the air with transport within 12

6       hours.  So utilizing these assets, again, we're able to

7       quickly restore our network so we can continue to, to

8       take care of our customers' needs.

9                 The last slide here is just a follow-up.

10       After every event we physically visit every one of our

11       cell sites in the affected area and even, even that

12       borders the affected area.  The main issues that we have

13       from a network perspective besides loss of power is, is

14       some antennas may be tilted in a different direction.

15       So we physically go out there and observe every cell

16       site, every sector, every antenna to ensure that it is

17       in the proper order.  And this database tool that I have

18       up there just shows the online logging of every single

19       issue, whether it's a foilage issue or whether it's an

20       antenna that's fallen off the tower issue.  We do not

21       stop until every issue in the affected area is

22       absolutely resolved in a network working pre-storm

23       fashion.  And that concludes our presentation.  Is there

24       any questions?

25                 COMMISSIONER McMURRIAN:  Thank you all.

FLORIDA PUBLIC SERVICE COMMISSION

104

1                 Mr. Garl.

2                 MR. GARL:  Thank you, Commissioner.

3                 We noted the coastal location of the local

4       response center and wondered what the backup plan was

5       for LRC support if a major storm approaches the Fort

6       Pierce area.

7                 MR. PATTON:  I can answer that one.  The LRT

8       located in Fort Pierce is the local restoration group.

9       And if the event affects that area too much or more than

10       they can handle, then they will be supported by the LRC,

11       which is located in Macon, Georgia.  And then my EOC

12       where I, my office is is in Atlanta.  And we would, we

13       would actually come in and take over responsibility to

14       make sure that they have everything they need.

15                 MR. GARL:  Thank you.

16                 Thank you, Commissioner.

17                 COMMISSIONER McMURRIAN:  Any others?

18                 Okay.  We'll move on to Verizon.

19                 MR. CARDENAS:  Good afternoon, Commissioners,

20       Mr. Chairman.  I appreciate the opportunity for us to

21       discuss our emergency plans with you today.  We've

22       worked very hard over the last few months to update all

23       our preparedness plans before we move on into hurricane

24       season.  We've also been meeting with our vendors and

25       suppliers to ensure that we've got our plans and

FLORIDA PUBLIC SERVICE COMMISSION

105

1       materials in place and ready to go for hurricane season,

2       and we've taken steps of preventative maintenance across

3       several of our business units.

4                 So what I'd like to do today is talk about

5       three key topics.  One is the emergency operation

6       structure for Verizon.  Then I want to move on to the

7       roles and responsibilities for our Florida EOC, then

8       discuss actions to help us be more prepared for 2009.

9                 Our structure for our emergency operations is

10       designed to provide a centralized point of control and

11       direction prior to, during and after an emergency event.

12       While this provides the ability to maintain control for

13       an event, it allows us to, the management team to

14       perform at their highest levels by having a single point

15       of contact that has a holistic view.  This also allows

16       us the efficiency for our front line teams to focus on

17       the restoration roles and the damage assessments.

18                 With that overview, at the highest level we

19       have our corporate EOC, and this is our national liaison

20       that manages multiregional events.  For example, we have

21       a hurricane that comes across Florida and up the

22       northeast and affects all the states.  Our corporate EOC

23       gets involved in helping to facilitate those restoration

24       efforts.  They also do the communications to our

25       company's senior leaders and provide national level

FLORIDA PUBLIC SERVICE COMMISSION

106

1       support as needed by our regional control centers and

2       other groups.

3                 For Florida, our EOC consists of our region

4       executive staff under the direction of our emergency

5       control officer.  We're the policy group for the, for

6       the area, so we determine when to keep centers open,

7       when to close them, when to move work and when to move

8       the people.  We establish conference calls with key

9       business units to bring together to make sure we get

10       status updates continually on their restoration and

11       damage assessments and make sure they're aligned with

12       the holistic view to make sure we bring everything back

13       to normal as soon as possible.  We also are the

14       interface between the affected area within Florida and

15       all resources outside of the State of Florida, and we

16       manage the internal and external communications.

17                 We have what's called the division control

18       center, which is really our frontline technical team

19       that consists of our dispatch group, engineering group,

20       our analysis group, operations support and our local

21       managers, and this is where we have our checks and

22       balances can be applied for the preparation and

23       restoration of the event.

24                 They do a lot of the coordinating around

25       safety, supplies, materials, time reporting, lodging and

FLORIDA PUBLIC SERVICE COMMISSION

107

1       those type of initiatives.  And working with the damage

2       assessment group they develop the restoration plans to

3       maximize the efficiency and the effectiveness of the

4       resources that they have.  And they report preliminary

5       damages from the damage assessment group and functions

6       as the tracking mechanism for insurance purposes to get

7       the total cost and what's needed to complete

8       restorations.  They also track and provide trouble

9       volume and other critical information up to the RCC EOC

10       as required.

11                 The damage assessment group is the underlying

12       group that's mentioned of the division control center,

13       and this consists of departmental work groups within the

14       region as required.  Employees that are identified for

15       this group are identified in advance, trained and

16       prepared for the damage assessment and the first-in

17       teams that are needed for the effected areas.  They work

18       under the direction of the local manager within that

19       affected area and they're responsible to protect the

20       outside plant facilities through the advanced

21       preparation, the pre-events that we go through and the

22       checklist associated with that, and within the first-in

23       teams as they come in to do the damage assessment.

24       They're also responsible to assist the division control

25       center in developing restoration plans based upon the

FLORIDA PUBLIC SERVICE COMMISSION

108

1       information that they've gathered from their damage

2       assessments.

3                 On Slide 5 here is a visual of what we've just

4       talked about.  As you see, we've got the corporate EOC

5       up at the top, we've got the Florida EOC, which is

6       really the, the hub for all information coming up and

7       down from the DCC and the EOC, the technical team which

8       is the division control center, and then our first-in

9       teams which are the damage assessment groups.

10                 And here's an example of a typical bridge

11       strategy that we implement before, during and after the

12       events.  As you can see, we provide key personnel from

13       each of our business units, including real estate,

14       public affairs, our dispatch group, security.  We make

15       sure we bring in all the key units that were aligned in

16       the holistic view and how we need to get service back to

17       normal as soon as possible.

18                 Now I want to move on to the roles and

19       responsibilities in a little more detail for the Florida

20       EOC.  What we do here is we develop and continually

21       update our emergency prepared plans.  Contact

22       information is a vital part of the success of our plans.

23       We update that information as needed as changes are

24       made, but in addition at a minimum we update that

25       quarterly.  Critical information is also updated as we

FLORIDA PUBLIC SERVICE COMMISSION

109

1       continue to grow to make sure we've got critical

2       information within our plans to support and maintain.

3                 We also conduct annual exercises.  We do

4       widespread events like, for example, a hurricane that

5       may hit the State of Florida, but we also do individual

6       events like building, single building drills like fire

7       drills, shelter in place drills to make sure that the

8       safety of our employees are, are, you know, well

9       managed.  So we do these annually.

10                 We also provide linkage to governmental

11       agencies.  We partner with the county EOCs that we have

12       presence in.  We provide dedicated representatives that

13       will be there when the county EOC calls upon us.  We

14       also provide communication to the PSC on the impact and

15       progress of our restoration, and we also communicate to

16       the Division of Management Services and Wireless

17       Services.

18                 We also do continuity planning.  We have

19       mission critical center plans for our major hubs like

20       our call centers that we have plans specific for them so

21       we can have a seamless move of work and move of people.

22       We also have plans in the event of work stoppage.  And

23       then also with pandemics like the H1N1, we have plans

24       associated with that.

25                 Now I want to move on to what we're doing for

FLORIDA PUBLIC SERVICE COMMISSION

110

1       our 2009 strategy.  We have our dedicated emergency

2       operations center in Temple Terrace, Florida, that we

3       continue to maintain as our dedicated hot site.  It's

4       not in an evacuation zone.  It has full generator

5       backup.  It has the food, the bedding, the cots,

6       everything needed for an emergency event and fairly new

7       equipment that's in the hot site itself.

8                 We are conducting region emergency exercises

9       for hurricanes, and in most cases we use a hurricane

10       coming through Florida as an example of a format.  And

11       in addition to that, we go to multiregion exercises with

12       the corporate EOC to make sure that we have good linkage

13       between each of the EOCs amongst the different regions.

14                 We have our annual updated emergency plans

15       which are certified by our corporate EOC.  Each year our

16       plans are updated with lessons we've learned from events

17       within our own organization as those that we've learned

18       externally, and we are required to send those to

19       corporate certified each year.  We partner with the

20       seven county emergency management teams and the PSC.  As

21       mentioned earlier, we're part of the county's planning

22       and working teams.  We provide the manpower to staff the

23       county EOCs during the event.  We work very closely with

24       the counties to establish those first-in teams to make

25       sure that, you know, we get in there as soon as

FLORIDA PUBLIC SERVICE COMMISSION

111

1       possible, protect the equipment that's still working and

2       also get an assessment of the equipment that we need to

3       fix, and we communicate to and from the Florida PSC.

4                 I talked about lessons learned and I also want

5       to talk about best practices, which is key to updating

6       our plans.  We implement best practices that we've

7       learned from our county emergency partnerships and from

8       our other Verizon EOCs.  We do best practice sharing, we

9       have monthly conference calls at minimum with our other

10       EOCs within Verizon, but we also provide annual

11       face-to-face meetings with our other EOCs to share best

12       practices.

13                 We continue to be very proactive in

14       preventative maintenance.  From a central office

15       perspective we do annual battery testing to ensure site

16       redundancy.  We do monthly generator testing to ensure a

17       reliable power source in the event of commercial power

18       outages.  And if there is risk of a hurricane coming in,

19       we'll do these tests a lot more frequently than what's

20       listed here.  Then we'll do our daily preventative

21       maintenance routines that are done by the staff to make

22       sure we have a reliable network.  Just recently we had a

23       vendor coming out to inspect and do repair of our

24       portable fuel tanks to make sure we don't have any

25       surprises when those become used this year.

FLORIDA PUBLIC SERVICE COMMISSION

112

1                 With pole hardening we've inspected 35,000

2       poles with our program to date, which is about a third

3       of our pole inventory.  Poles that are failing

4       inspection are replaced.  With material, as we get into

5       hurricane season, we stock up on key material that we

6       use out in the field about 10 percent to help us get

7       through those first days.  We also have coordination

8       with our corporate EOC where we can bring in additional

9       material from an external -- from the event location as

10       needed and also resources as needed.

11                 And just to touch base on that a little more,

12       as we talked about resources, we have what's called

13       fluid workforce within our organization where we have

14       quite a few employees who are trained on different job

15       functions.  So during an emergency event we have the

16       ability to move folks from one position to another to

17       help us with either the damage assessment or the

18       restoration piece.  We also do annual survey updates

19       across the whole Verizon footprint so we have up-to-date

20       information on the skill sets that all our employees

21       have so if we do need to extract them to come in for

22       some of the restoration piece, we have a list of who

23       they are and their availability.

24                 So with all that said, any questions?

25                 CHAIRMAN CARTER:  Madam Chairman.

FLORIDA PUBLIC SERVICE COMMISSION

113

1                 COMMISSIONER McMURRIAN:  Chairman Carter, go

2       right ahead.

3                 CHAIRMAN CARTER:  I don't so much have a

4       question as much as a comment.

5                 First of all, I thought I'd have the

6       opportunity to haze Dave Christian from Verizon.  I know

7       he was there this morning.

8                 But anyway I do want to, I do want to say to

9       the companies how much we appreciate them.  I know

10       having worked through the storm system, going through

11       the EOC whenever we had the tropical storm last year as

12       well as the hurricanes the year before, and each one of

13       the companies had representatives there -- I'm talking

14       about the state EOC now.  It's a lot easier for us to

15       have, you know, one place and one point of contact --

16       when we have an area in different parts of the state, if

17       we can have one place to contact, to coordinate

18       everything.

19                 The most significant thing I think I've

20       learned out of the workshop is most often times when you

21       ask companies to say, you know, tell us, you know, where

22       you're short or tell us where you're long, everybody

23       beats their chest and talks about the good things

24       they've done.  But I've been very impressed by the

25       companies talking about some of the things that they

FLORIDA PUBLIC SERVICE COMMISSION

114

1       need to improve on.  And I think that by virtue of us

2       doing this workshop in a nonadversarial manner, then

3       companies are more willing to come and say, well, you

4       know, we're kind of short here, we learned some things.

5       I think the gentleman from Verizon was talking about

6       maybe having someone to provide fuel on the site.

7       That's one of the things they've learned.  And I just

8       wanted to say, over the course of the morning I wanted

9       to say to the companies and those that are participating

10       how much I'm impressed with their candor and

11       transparency in terms of telling us about some of the

12       lessons learned, how we can do a better job.  With that,

13       Commissioner, I appreciate your time.  Thank you for

14       allowing me to butt in there.

15                 COMMISSIONER McMURRIAN:  Thank you, Mr.

16       Chairman.  I think Mr. Christian wants to respond.

17                 MR. CHRISTIAN:  Mr. Chairman, I'm here, and I

18       certainly understand your criticisms of our use of the

19       word "rolls," and that will be corrected in the final

20       presentation we submit for the website.

21                 CHAIRMAN CARTER:  Thank you, Dave.

22                 (Laughter.)

23                 MR. CHRISTIAN:  Thank you, Mr. Chairman.

24                 COMMISSIONER McMURRIAN:  And I had one.  I

25       didn't quite catch your name at the beginning, so I

FLORIDA PUBLIC SERVICE COMMISSION

115

1       wanted to make sure --

2                 MR. CARDENAS:  I'm sorry.  It's Chris

3       Cardenas.

4                 COMMISSIONER McMURRIAN:  Okay.  Thank you,

5       Mr. Cardenas.

6                 Any other questions for Mr. Cardenas?

7                 MR. GARL:  No questions.

8                 COMMISSIONER McMURRIAN:  Okay.  Thank you.

9                 MR. CARDENAS:  All right.  Thank y'all very

10       much.

11                 COMMISSIONER McMURRIAN:  And last but not

12       least, Ms. Khazraee from Embarq.

13                 CHAIRMAN CARTER:  I have a lot of questions

14       for her.

15                 MS. KHAZRAEE:  Oh, no.

16                 (Laughter.)

17                 COMMISSIONER McMURRIAN:  She always gets, she

18       always get stuck at the end.

19                 MS. KHAZRAEE:  I was just going to say, I had

20       guessed correctly that once again I'm going to be the

21       last thing standing between a room full of people and

22       lunch, so I'll try and --

23                 CHAIRMAN CARTER:  Okay.  Let me, let me get

24       all my sheets, I've got to get all my sheets of paper

25       together first.  Thank you.  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

116

1                 (Laughter.)

2                 MS. KHAZRAEE:  All right.  Thank you for the,

3       for allowing us the opportunity to come and tell you

4       that Embarq is prepared for this hurricane session.  And

5       as I was pulling all this together and talking to all

6       the various organizations within the company who have a

7       role in our preparedness, I came to the conclusion that

8       this is really business as usual or routine for us.  And

9       I almost hate to use those words because for a lot of

10       people that has a connotation of unimportant, not

11       critical, you know.  And that's not what I mean because

12       this is very important and it is really critical that we

13       be prepared not only for hurricanes in Florida but for

14       ice storms in Ohio and floods in Minnesota and wildfires

15       out west; anywhere that we have territory we can have

16       these type of disasters that occur.

17                 And as I was thinking about the idea of

18       routine or business as usual, I was thinking that when I

19       leave my house every morning, I have a routine.  I turn

20       off the coffee pot, turn down the thermostat, make sure

21       nothing is on the stove, make sure the iron is

22       unplugged, all very important things.  When I go on

23       vacation for two weeks I do those things, but I do even

24       more.  I stop the paper, I hold the mail, I turn my

25       water heater down, I ask the neighbor to watch the area.

FLORIDA PUBLIC SERVICE COMMISSION

117

1       And those are also somewhat routine, but because I do

2       them only once a year or twice a year, I might have to

3       sit and think about it a while and remind myself in

4       order to make sure I do them all.

5                 So the first slide that I show is sort of on

6       the same thought pattern as leaving the house every

7       morning for work.  These are things that we've

8       incorporated, they are things that we do on an ongoing

9       basis.  Whenever engineering is designing a project,

10       whether it's in a completely new area or it's replacing

11       existing plant, they take into account the likelihood of

12       damage from a storm, whether it's flooding, possible

13       wind damage, storm surge, whatever could happen, and

14       they include that in their design process in order to

15       make that plant as hardened as possible.

16                 I want to say this, too.  96 percent of our

17       plant is under the ground.  Only 4 percent is aerial.

18       So we have a lot less that's there I guess possible to

19       be damaged by wind, but you will see as I go through

20       this that there are still some things that we have to

21       think about even though so much of our plant is

22       underground.

23                 Another thing we do is we have both fixed and

24       portable generators.  Our fixed generators at all of our

25       host offices, at very many of our remotes, at our

FLORIDA PUBLIC SERVICE COMMISSION

118

1       administration buildings where we have our command

2       centers during these type of events, and we routinely

3       check those.  Once a month they are run for an hour with

4       full load to ensure that they are operating properly.

5       At least once a year they are run for six to eight hours

6       with full load to ensure that they can handle a load

7       over an extended period of time.  We also have the

8       routine maintenance checks of those generators.  We have

9       contracts with the vendor who provides us the fuel for

10       those.  It's a proven vendor.  We've had no problem with

11       them, so that we feel confident if we get into a

12       situation where we're going to have to be using

13       generators over an extended period of time, we will have

14       no difficulty getting our fuel.

15                 Another project that we've done is we have

16       gone in and made sure that all of our digital loop

17       carriers have an engineered capacity for eight hours of

18       battery life given the load on each individual digital

19       loop carrier.  That project has been going on for a

20       couple of years now.  It should be completed third

21       quarter this year so that all digital loop carriers will

22       have at least eight hours of battery capacity.  That's

23       very important because one of the biggest issues we have

24       is commercial power outages, and we need to be able to

25       keep our plant running in order to keep service to our

FLORIDA PUBLIC SERVICE COMMISSION

119

1       customers.  We do have portable generators that can be

2       taken out to these digital loop carriers, but having

3       eight hours of battery gives us more time to let the

4       conditions settle down and let the hazards be removed

5       from the roads before we have to start trying to get the

6       portable generators out there.

7                 We're continuing our pole inspection process.

8       We only have 39,900 poles in our network that we own.

9       We are on an eight-year pole inspection.  We began it in

10       November of 2006.  We are roughly one-third through.

11       We've completed inspection on about 13,000 poles.  So we

12       are pretty much right on schedule to be finished in the

13       eight years.  So far we've replaced approximately

14       700 poles.

15                 And just -- I threw this in about engines to

16       say that I've been glad to hear the IOUs up here talking

17       about their hardening projects and that they're working

18       with the companies, and I will agree that they have been

19       very good to make sure that we get invited to the

20       meetings and we participate.  And as they've done their

21       hardening projects and they have poles that we have

22       attachments to, generally because they are sponsors of

23       NJUNS they put that information into NJUNS.  We get

24       email notification and we know we need to go out and

25       move our attachment off the old pole so that they can

FLORIDA PUBLIC SERVICE COMMISSION

120

1       actually remove the old pole.  And it works the other

2       way too.  If we have a pole that they're on, we can do

3       that, we can put it into NJUNS, they know they need to

4       go out and move their attachments, and that process is

5       working very well.

6                 As the storm approaches, we implement our

7       disaster preparedness plan.  I have seen the plans.  We

8       have plans for each of our individual districts.  We

9       have a plan for the overall state.  It is very

10       comprehensive.  It's got a level of detail that is

11       extremely useful so that if for some reason there was an

12       employee that had to come in and participate in that

13       plan, even if they didn't know Florida and didn't know

14       the people, they have everything they could possibly

15       need.  We have employees' names, phone numbers, home

16       numbers, cell numbers, we have directions to all of our

17       employee facilities, I mean actual directions written

18       out, we have the list of the hotels that we have

19       agreements with where we can house contract workers and

20       our own employees.  We've got the vendors that we use

21       for fuel, for engine repair, for vehicle repairs, for

22       fixing flat tires.  I mean, it's got everything in it.

23       And, in fact, next week we will be having our annual

24       kickoff meeting where we go through that plan with all

25       of the parties on the conference call in order to ensure

FLORIDA PUBLIC SERVICE COMMISSION

121

1       that everything in that plan is up-to-date and everyone

2       knows what they're supposed to do.  Every, every

3       requirement is covered by somebody having an assignment

4       to that specific requirement.  So it's very thorough.

5                 We coordinate with the other utilities and

6       with the governments through our presence at the

7       emergency operations centers.  We're there, we man them,

8       so we are available both to the government and to the

9       power companies and any other utility companies that we

10       might need to coordinate with.

11                 We also communicate regularly and frequently

12       internally to the employees and externally.  We have a

13       website, our Embarq website that we put information on.

14       We release pieces to the media, the print media, the TV,

15       the radio.  So we take full advantage of the ability to

16       communicate.  We also provide regular updates to the EOC

17       and to the Florida Public Service Commission on the

18       status of outages in our network and where we believe we

19       will be with regard to repairs and when we think we will

20       have customers back online.

21                 After the storm we continue to follow this

22       disaster preparedness plan for our post-storm recovery.

23       We have what we call rapid response teams.  These are

24       teams that are made up of three different groups of

25       techs.  We have the outside techs, the ones that go out

FLORIDA PUBLIC SERVICE COMMISSION

122

1       and install and repair the phone service, we have the

2       business techs which are the ones who know how to work,

3       you know, install a PBX, repair an ISDN line, anything

4       that has to do with business type communications, and

5       then we have the central office techs.  These people

6       were hand selected because of their high level of

7       knowledge of their job, their experience level.  They

8       are preidentified and they are mobilized in fact when we

9       know that the storm is coming.  Their trucks are

10       completely stocked and they are sent to a location that

11       is close to where we believe the storm will hit but far

12       enough that they will be out of the danger zone and

13       where they will be able to freely work from until

14       they're able to get in.

15                 These rapid response teams are the first ones

16       to go into an area.  And in part, as part of our

17       disaster preparedness plan we actually have identified

18       the circuits that need priority restoration.  These

19       could be to law enforcement, to hospitals, to power

20       companies who need communication ability, anything

21       that's been identified as a priority, and those are the

22       ones that they will work on first.

23                 Likewise, once we've been given the all clear

24       to get into an area, that it's now safe to move in, we

25       mobilize our area survey teams.  We send people out by

FLORIDA PUBLIC SERVICE COMMISSION

123

1       twos, these are company employees, to canvass the area.

2       They're all given a specific geographic area to canvass.

3       They go out and they are required to report in every 30

4       minutes.  That helps us know that they're safe and it

5       also gives us very realtime feedback on what the status

6       of our network is so that we can begin to order and

7       deploy equipment in the right areas, the right types of

8       equipment, we can begin to know how many contractors

9       we're going to have to ask for, and it just helps us to

10       keep that information flowing.

11                 We begin restoration immediately, and as we do

12       it we try to collect forensic data.  I will tell you in

13       the heat of trying to restore service it is difficult to

14       collect forensic data, and that's an area that we're

15       actually trying to improve.  That's kind of a lesson

16       learned from the '04 hurricanes and we are still working

17       on that.

18                 That's the end of my prepared presentation.

19       If anybody has any questions.

20                 CHAIRMAN CARTER:  Madam Chairman.

21                 COMMISSIONER McMURRIAN:  Chairman Carter, go

22       right, go right ahead.

23                 CHAIRMAN CARTER:  I like what Sandy was saying

24       about it's routine, and it is routine in Florida and I

25       like the fact that we're doing this.  It's become part

FLORIDA PUBLIC SERVICE COMMISSION

124

1       of our routine, it's part of our DNA to take our good

2       programs in Florida and make them better.  Because even

3       as we sit here today and discuss our, our workshop, I

4       was reading in the paper this morning where one state, I

5       won't, I'll leave them nameless, but it's Louisiana, the

6       senator from there was holding up the appointee to FEMA

7       because they're still fighting the aftermath of

8       Hurricane Katrina.  And that's, that's a situation where

9       you become so heavily dependent upon outside and federal

10       intervention to where, you know, your homegrown program

11       is not really up to par.  And that's why I was saying

12       I'm quite pleased with the fact that we've come up with

13       our storm hardening process as well as the process of

14       having these workshops prior to the storm season, as

15       well as coordinating with our utilities both here from

16       the statewide EOC and locally within our regional and

17       local EOCs to ensure that whenever there's an outage we

18       don't start pointing fingers.  The first thing we do is

19       try to fix it.  And so I'm quite pleased with that.  And

20       I like the way Sandy said it is a routine.  Let's keep

21       the routine and let's keep doing it and let's keep

22       making a good program better.  And with that,

23       Commissioner, thank you for your indulgence.

24                 COMMISSIONER McMURRIAN:  Thank you, Chairman.

25       Any other questions?

FLORIDA PUBLIC SERVICE COMMISSION

125

1                 Mr. Garl.

2                 MR. GARL:  No questions.  Thank you.

3                 COMMISSIONER McMURRIAN:  Okay.

4                 MS. KHAZRAEE:  Thank you.

5                 COMMISSIONER McMURRIAN:  I think that's it.

6       Are there any other questions and comments?  Go ahead,

7       Mr. Young.  I'm sorry.

8                 MR. YOUNG:  Thank you, Madam Chairman.

9                 Staff will note that staff will upload all

10       presentations that we heard today on the Commission

11       website by Friday, May 15th, 2009.  To that end, any

12       participant that wishes to correct any errors or any

13       statements made today in their presentation are asked to

14       submit all presentations by the 13th, May -- Wednesday,

15       May 13th, 2009.

16                 CHAIRMAN CARTER:  Madam Chairman.

17                 COMMISSIONER McMURRIAN:  Yes, Chairman Carter.

18                 CHAIRMAN CARTER:  Let me just say for the

19       record that you have done an outstanding job in chairing

20       today and I sincerely appreciate it.  Thank you so very

21       much.

22                 COMMISSIONER McMURRIAN:  Thank you, Chairman.

23       And I'll just say to everyone in closing, thank you for

24       sharing your company's storm preparation plans, and I

25       personally enjoy hearing how proud you all are of your

FLORIDA PUBLIC SERVICE COMMISSION

126

1       work and your people.  And I'm always real proud to see

2       when your trucks are heading, or your vans are heading

3       out around the state or out of state to help others who

4       need it.  And, anyway, I guess now I know everyone is

5       hungry.  Get out and support our local small businesses,

6       spend your money here.  And thank you, Commissioners and

7       Chairman, and this workshop is adjourned.

8                 (Workshop adjourned at 12:51 p.m.)

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

127

1       STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTERS

2       COUNTY OF LEON      )

3

4                 WE, JANE FAUROT, RPR, and LINDA BOLES, RPR,

CRR, Official Commission Reporters, do hereby certify

5       that the foregoing proceeding was heard at the time and

place herein stated.

6

IT IS FURTHER CERTIFIED that we

7       stenographically reported the said proceedings; that the

same has been transcribed under our direct supervision;

8       and that this transcript constitutes a true

transcription of our notes of said proceedings.

9

WE FURTHER CERTIFY that we are not a relative,

10       employee, attorney or counsel of any of the parties, nor

are we a relative or employee of any of the parties'

11       attorneys or counsel connected with the action, nor are

we financially interested in the action.

12

13                 DATED THIS ______ day of _______________,

14       2009.

15

16       _________________________  ___________________________

JANE FAUROT, RPR           LINDA BOLES, CRR, RPR

17       FPSC Official Commission   FPSC Official Commission

Reporter                   Reporter

18       (850) 413-6732             (850) 413-6734

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION