1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3       In the Matter of:

DOCKET NO. UNDOCKETED

4

REVIEW OF TEN-YEAR SITE PLANS

5       OF ELECTRIC UTILITIES.

_______________________________/

6

7

8

9

10

11

12

PROCEEDINGS:             WORKSHOP

13

14       BEFORE:                  CHAIRMAN NANCY ARGENZIANO

COMMISSIONER LISA POLAK EDGAR

15                                COMMISSIONER NATHAN A. SKOP

COMMISSIONER ART GRAHAM

16                                COMMISSIONER RONALD A. BRISÉ

17

DATE:                    Thursday, August 5, 2010

18

TIME:                    Commenced at  9:30 a.m.

19                                Concluded at 10:20 a.m.

20       PLACE:                   Betty Easley Conference Center

Room 148

21                                4075 Esplanade Way

Tallahassee, Florida

22

23       REPORTED BY:             JANE FAUROT, RPR

Official FPSC Reporter

24                                (850) 413-6732

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1                         P R O C E E D I N G S

2                 CHAIRMAN ARGENZIANO:  Good morning.

3                 We'll call our workshop to order.  And I just

4       want to welcome -- I didn't get the chance, the

5       opportunity the other day to welcome our two new

6       Commissioners.  Welcome aboard.  And I want to thank you

7       for your kind condolences.  I appreciate that very much.

8       I think that compassion is probably the finest trait

9       that we have as humans.  So thank you, guys.  I

10       appreciate it.  And with that said, let's start our

11       meeting.  If counsel will read the notice.

12                 MR. MURPHY:  Pursuant to notice, this time and

13       place has been set aside for the purpose of conducting a

14       Commission workshop in the undocketed review of ten-year

15       site plans.

16                 MR. ELLIS:  Good morning, Commissioners.

17                 Phillip Ellis with Commission staff.  Today's

18       workshop will consist of a presentation from the FRCC

19       concerning several topics.  Our presenter today is Eric

20       Senkowicz, FRCC's manager of operations.  Please feel

21       free to ask questions at any time during the

22       presentation.  Staff may also ask questions during the

23       presentation.

24                 There was also an extra page that I provided

25       two copies for you on the dais that is to go after Page

FLORIDA PUBLIC SERVICE COMMISSION

3

1       7 in your notebooks which will not be in the power point

2       presentation.

3                 CHAIRMAN ARGENZIANO:  Who's starting us off?

4                 Welcome.

5                 MR. SENKOWICZ:  Good morning, Commissioners.

6       As Phillip said, my name is Eric Senkowicz.  I'm the

7       manager of operations for the FRCC, and because I'm with

8       operations, I'm used to a ten-day planning horizon, but

9       in this case we're looking out ten years, so I did bring

10       back-up.

11                 We have Richard Becker here with our regional

12       transmission planning process; he is a staff member of

13       the FRCC.  And Scott Beecher, who is our planning

14       engineer who compiles a lot of this data that we get all

15       of this good regional information from.

16                 So with that, we will go ahead and get

17       started.  We have a lot of information here, and I'm

18       going to touch on some these slides, but to respect the

19       effective use of your time, I'll let you slow me down if

20       you need me to or ask me any questions at any time.

21                 CHAIRMAN ARGENZIANO:  If we could,

22       Commissioners, if you have any questions, just speak up

23       and we'll just do it that way.  Thank you.

24                 MR. SENKOWICZ:  As far as the agenda, what we

25       are going to cover today is the FRCC load and resource

FLORIDA PUBLIC SERVICE COMMISSION

4

1       plan.  We're going to touch on our FRCC response to the

2       Gulf oil spill.  We're going to talk about our ongoing

3       improvements at ensuring FRCC fuel reliability within

4       the region, and then, finally, we'll talk about our FRCC

5       transmission planning process.

6                 I'd also like to note that representatives

7       from our member companies are also present in the

8       audience.  So if you do have questions that veer into

9       utility-specific questions, we do have members available

10       that would be happy to address those.

11                 The FRCC, again, for those of you that might

12       not know, is a coordinating council and it's to ensure

13       and enhance the reliability and adequacy of the bulk

14       electric supply in Florida.  It is a council funded by

15       utilities and stakeholders within the state of Florida

16       that has been formed since 1996.

17                 We do have a unique power grid in Florida.  It

18       is a peninsula, and it requires close coordination and

19       the reliability of Florida as evidenced, you know, by

20       the performance of our utilities.  FRCC is a big part of

21       that and we take pride in that.

22                 To start off, the FRCC load and resource plan,

23       which is really a culmination of the utility ten-year

24       site plans.  We take a lot of the utility data and load

25       it into this, what we call our load and resource

FLORIDA PUBLIC SERVICE COMMISSION

5

1       database, and what it provides us is a good regional

2       perspective of all the different companies building,

3       planning, and operating in the state.  We can make

4       regional judgments on -- and regional assessments on

5       adequacy, on fuel diversity, and all of these other

6       types of things.

7                 The load and resource database process is an

8       annual process, and it keeps getting improved every year

9       as far as automation and accuracy and also the level of

10       detail that we can get in the database.

11                 In this year's load and resource database

12       there's not a lot of surprises.  The trends continue.

13       Last year when we presented the load and resource

14       database, we did show a decrease in forecast growth.

15       Some of the load forecast factors that are affecting our

16       forecasts are a continuation of the economic recession;

17       there's lower customer growth; there is a reduction in

18       per customer consumption; there's increases in energy

19       and efficiencies; there's voluntary conservation

20       efforts.

21                 Although we did see a population increase

22       early in 2010, we are still seeing reductions in

23       per-customer consumption.  So that is really driving

24       our -- again, the load is increasing, but it's

25       increasing at a slower rate and a slower pace than it

FLORIDA PUBLIC SERVICE COMMISSION

6

1       was in previous forecasts.

2                 Here we show a comparison of the firm peak

3       demand for the summer.  We are comparing 2009's forecast

4       versus 2010.  And, as I said, the forecast is

5       increasing, but it is increasing at a lower rate than

6       previously forecast.

7                 The same thing.  Looking at the winter, we

8       look at the firm peak demand forecast.  In 2009 versus

9       2010 we do show a decrease.  Now we do have a step

10       change up at the beginning to account for some of the

11       changes in the forecast's methodologies, but, again, we

12       show a lower rate of increase as was previously forecast

13       last year.

14                 I'm sure most of you are familiar with the

15       January 2010 cold weather that we had because it was

16       cold up here, too.  We had unprecedented cold weather in

17       the state, and it was really -- to quantify it, it was

18       12 consecutive days of below average temperatures with

19       daily highs and lows that were pretty close -- you know,

20       20 degrees below historical high and historical low

21       temperatures.  So our highs were low and our lows were

22       really low.

23                 And we did have a record winter peak demands.

24       The actual recorded peak was at 52,368 megawatts.  That

25       was an instantaneous peak measurement that was taken

FLORIDA PUBLIC SERVICE COMMISSION

7

1       down at the FRCC Reliability Coordinator Control Center

2       down in Miami.

3                 What was pretty unique about the January 11th,

4       it was more or less the perfect storm.  We had no

5       radiant heating on the previous three days.  There was

6       no sun.  The temperatures remained very low, and the

7       peak morning actually occurred on a Monday, which is

8       historically our heavily loaded days during the week, if

9       you will.

10                 During January 11th, we did use demand

11       response, and we had about 1,100 megawatts of load

12       management, about 450 megawatts from voltage reduction,

13       and we did have a projected winter capacity of 59,735

14       with a total available capacity of 54,209 megawatts.

15                 Looking back, we did do some lessons learned

16       looking back at the weather event and documented some

17       good procedure and some good practices to do in the

18       future.  We are still vetting those through our

19       committee process, but it was noted that there was great

20       cooperation between the utilities.  There was great

21       communication with our Reliability Coordinator down in

22       Miami; there was good communication with the gas

23       transportation suppliers, or the gas transportation

24       folks, not necessarily the suppliers; and the

25       transmission system performed very well.

FLORIDA PUBLIC SERVICE COMMISSION

8

1                 Again, load management was a contributor on

2       that morning, and really, you know, helped us meet the

3       load in Florida.  And there was no firm load shedding

4       that occurred on that morning.

5                 Going back to load and resource plan, looking

6       at total available capacity, here we just basically show

7       you the next ten years of what we anticipate, the new

8       generation additions based on the ten-year site plans.

9       And as you can see there is incremental additions within

10       the state as we go forward for meeting summer demand out

11       to 2019.

12                 Based on that data, we compare our load

13       forecast to our available capacity, and we create this

14       planned reserve margin chart.  Which, again, you see the

15       15 percent, which is the FRCC criteria for planned

16       reserve margin, and we also have the 20 percent, which

17       is the PSC stipulation to the IOUs to maintain a planned

18       reserve margin of 20 percent.  So in all years in the

19       next ten years you see that that margin is well -- is

20       above those two criteria.

21                 Again, this includes load management and

22       interruptibles.  This shows if we did not have load

23       management and interruptibles what the margins would be.

24       And, again, it just goes to show what an important piece

25       of flexibility our DSM programs are and our load

FLORIDA PUBLIC SERVICE COMMISSION

9

1       management programs are within the utilities.  About a

2       third of our margin is load management or

3       interruptibles.  And it is, again, a testament to our

4       robust load management and demand-side management

5       programs that are in place within the state.

6                 MR. ELLIS:  Excuse me.  With the load

7       management and interruptible management for the reserve

8       margin on Slide 13, does that -- sorry, Slide 12 -- does

9       that include the new goals set under FEECA for the IOUs?

10       Would the higher goals be embedded in the load forecast

11       for the reserve margins?

12                 MR. SENKOWICZ:  I'm not sure I can answer that

13       right now, and I'm not sure we have any IOU reps that

14       might.  Can I get back to you on that?  And would you

15       repeat the question, again?

16                 MR. ELLIS:  We are just making sure.  Was the

17       higher goals established under FEECA last year included

18       in the reserve margin forecasts that were shown on Pages

19       12 and 13?

20                 MR. SENKOWICZ:  We can follow up with you.

21       So, again, at a macro level, the planned reserve margin

22       exceeds the 15 percent FRCC criteria and the 20 percent

23       PSC stipulation going forward for the next ten years.

24                 Again, I touched on the demand-side management

25       program, and on a national level this is how we look.

FLORIDA PUBLIC SERVICE COMMISSION

10

1       Approximately 7 percent of our peak load we have access

2       to load management or interruptibles.  Which, again,

3       these are all the other regions in the country, and we

4       are right up there at the top.

5                 Basically, if you look at load management and

6       interruptibles we are looking at approximately

7       3,200 megawatts, and if you look at it in a different

8       perspective, you can say that is 3,200 megawatts of

9       generation that was not needed to be constructed.  So

10       that's not insignificant number, either.

11                 Back with our load and resource data base.

12       Looking at fuel diversity as far as energy going forward

13       in the next ten years.  It shows you, again, the

14       different fuels that we are going to burn in Florida to

15       meet the energy demand.  Again, you see a pretty large

16       number of gas there, and I'll talk about how we've tried

17       to address some those issues later.  And this is fuel --

18                 MR. ELLIS:  Sorry about that.  On the last

19       slide, on Slide 16, could you describe what type of

20       facilities other includes?

21                 MR. SENKOWICZ:  Yes.  The other facilities

22       include net of sales and purchases, members and net

23       imports, miscellaneous fuels, like petcoke, some of the

24       unusual fuels that are burnt in the region.

25                 MR. ELLIS:  All right.  Also, with the gas

FLORIDA PUBLIC SERVICE COMMISSION

11

1       pipe, with the increased percentage of gas since the

2       majority of capacity is coming either from nuclear or

3       gas generation, will you be discussing any future

4       pipeline projects and things of that nature later in the

5       presentation?

6                 MR. SENKOWICZ:  I will talk about fuel

7       reliability and how we incorporate that into the FRCC

8       process.  As far as future pipelines, I can talk a

9       little bit about some of the projects that we know are

10       on deck and so forth, but can we save that question

11       until our fuel reliability?

12                 MR. ELLIS:  Yes.

13                 MR. SENKOWICZ:  Okay.  So that was energy.

14       Looking at capacity, this is our fuel diversity when it

15       comes to capacity.  And, again, you see an emphasis

16       there on gas still ten years from now.  So I think that,

17       again, we'll address that later in the presentation.

18                 As far as 2010 renewable resource capacity,

19       this is the actual capacity of renewables that we have

20       in place today.  It includes firm and nonfirm iron in

21       the ground.  Some of the technologies are heat recovery,

22       waste heat, biomass, biomass solids, wood waste,

23       agricultural by-products, biomass liquids, biomass gas,

24       methane.  And all these technologies that we have in the

25       state right now as of 2010 is about 1,291 megawatts.

FLORIDA PUBLIC SERVICE COMMISSION

12

1                 Looking forward, our renewables capacity

2       forecast plan through 2019 right now shows the addition

3       of about 800 megawatts of new renewable type generation,

4       and the categories are there in biomass, landfill gas,

5       municipal solid waste, solar, and wind.

6                 MR. ELLIS:  With renewable capacities, would

7       you also be able to provide us a list by facility?

8                 MR. SENKOWICZ:  Yes, we can.  We can through

9       the -- we break that out in the load and resource plan

10       and actually have unit-by-unit specifics that we can get

11       to you.

12                 Okay, going forward.  Conservation.

13       Basically, these are our cumulative estimates on

14       conservation based on our entity input.  And looking at

15       2010, we're showing about 2,500 megawatts of

16       conservation efforts actual.  We're projecting, as you

17       can see the curve, to increase as far as our

18       conservation efforts, but these efforts are like the

19       duct repair programs, and the lighting changes, and the

20       smart buildings, and energy efficiency audits, and so

21       forth.  So if you look at, again, 2,500 megawatts of

22       conservation is a lot of delayed or avoided generation

23       that is needed to be built.

24                 Nuclear.  As far as our nuclear outlook, and

25       we do have the update there, this is how we look going

FLORIDA PUBLIC SERVICE COMMISSION

13

1       forward.  The ten-year site plan for Progress Energy had

2       Levy coming in at 2019.  Right now that licensing has

3       delayed it to 2020, so that is -- there has been some

4       testimony to that fact, so we just wanted to highlight

5       that on this slide.  But these are the upgrades that are

6       planned for the existing facilities, Crystal River 3,

7       St. Lucie 1, Turkey Point 3 and 4, and St. Lucie 2.  And

8       then, again, looking out to 2021, we're showing Levy 1

9       coming on.

10                 This is a slide showing the energy production

11       from natural gas.  And, again, showing a decrease in the

12       load forecast.  Increased rate kind of shows you that we

13       will be burning -- we are still burning gas, but we'll

14       be burning a little bit less of it.  And where you see

15       the tail end change there from the '09 to '10 is most

16       likely the change -- or the increase in the timing on

17       the nuclear plants coming in.  So, basically, load and

18       resource assessment conclusion, we find that the

19       resource adequacy review indicate that the FRCC region

20       has planned adequate resources to remain reliable for

21       the next ten years.

22                 Okay.  Going forward.  Thankfully, this is not

23       as relevant as it was a couple of weeks ago.  The Gulf

24       of Mexico oil spill response, and I believe you have

25       already had somewhat of a briefing on this, but as the

FLORIDA PUBLIC SERVICE COMMISSION

14

1       FRCC we began very early on in the spill.  The operating

2       committee initiated a voluntary kind of assessment of

3       vulnerability to the spill and the spill products

4       getting into some of our generation and cooling water

5       and so forth.

6                 And we did develop a methodology and

7       categorized it, and, you know, had folks identify what

8       kind of categories they felt were at risk.  And we came

9       up with an assessment for the region, and basically had

10       that in our back pocket in case the spill products

11       started making their way to Florida.  And as you can

12       see, we had a breakdown by east coast and west coast.

13                 At the time these slides were made, again, the

14       spill was still active.  Thankfully, it's not active

15       today, so this is a bit of a look back as to what we

16       did, and kind of an example of what we do for any type

17       of emergency that may threaten the bulk electric system.

18       At the FRCC we usually initiate some kind of a

19       coordinated assessment process, a coordinated

20       communications process, and so forth.

21                 And, again, with the hurricanes, and tornados,

22       and fuel disruptions, our utilities feed right into that

23       process because they have had a lot of experience with

24       dealing with the storms and so forth.  So we kind of

25       bring in a lot of information and make sure that as a

FLORIDA PUBLIC SERVICE COMMISSION

15

1       region we understand where the vulnerabilities are and

2       where we can help, as well.

3                 Again, actually today we will probably -- the

4       operating committee will probably discontinue monitoring

5       of the oil spill and will stand down those procedures

6       that we had put in place.  So that's good news.

7                 Okay.  2010, an update on fuel reliability.

8       And back to your question on pipelines, a few years ago

9       we clearly identified we had an emphasis of natural gas

10       usage in the state, and we wanted to make sure we

11       understand what the impacts were of natural gas on

12       capacity, electric generation capacity, and so forth.

13       So we did start a Fuel Reliability Working Group at the

14       FRCC.  With that, we started a gas study project which

15       independently analyzed certain scenarios in the state as

16       far as generation using a lot of proprietary information

17       from our member companies to come up with assessments

18       and scenario analysis of what if, what would happen if

19       this happens, what would happen to generation capacity

20       if this happens.

21                 So, basically, from that we also developed the

22       fuel reliability coordination tools and plans with the

23       pipelines and so forth.  I'm going to briefly discuss

24       that.  The Fuel Reliability Working Group, again, is a

25       dedicated group at the FRCC.  It meets periodically, and

FLORIDA PUBLIC SERVICE COMMISSION

16

1       it reviews the interdependencies of fuel availability,

2       all fuels, but we have obviously focused on natural gas

3       with electric reliability.  And then they are also used

4       to coordinate regional response to fuel issues and

5       emergencies.  Delivery of coal, any kind of issues that

6       may come up, we have a ready-made team of subject matter

7       experts that we can call on very quickly.

8                 We also have a gas study project which does

9       periodic analysis of the pipelines, and it doesn't just

10       look at one pipeline, it looks at the collective natural

11       gas delivery system in Florida and kind of quantifies

12       what the impacts of certain outages would be on

13       generation capacity within the state.  We also factor in

14       on-site oil storage and backup capabilities into our

15       assessments, and then we also look at diversity of gas

16       pipeline interconnects, where some facilities may be

17       connected to multiple pipelines and so forth.  So that

18       is an ongoing process.

19                 We did have a 2009 analysis that is really

20       right now making its way through our committees as far

21       as understanding and coming up with some plans on what

22       to do next as far as the Fuel Reliability Working Group

23       and the Gas Study Projects.

24                 One of the major analyses that we did in '09

25       was a look back at the hurricanes of '04 and '05.

FLORIDA PUBLIC SERVICE COMMISSION

17

1       Basically, we looked at the natural gas capacity storage

2       availability, contracts, contracted transportation into

3       the Florida system in '04 and '05, compared the

4       capability and capacities that we have today, and came

5       up with basically an assessment, which is a great story.

6       There is much more storage capacity that is available to

7       the companies in Florida.  The new Elba Island LNG

8       facility is now feeding on it from the east coast, so

9       you have the diversity of supply there, and then you

10       also have the SESH pipeline which was up -- which

11       interconnected and gave us a lot more access, gave our

12       companies a lot more access to onshore supply.

13                 So the picture looks a lot better if we had a

14       repeat of Rita and Katrina as far as natural gas supply.

15       And as a matter of fact, we have had very little

16       problems in previous storms as far as supply issues from

17       natural gas, you know, as reported by our members.  As

18       far as -- yes, storage capacity now can offset about

19       70 percent of the hurricane production losses, which is

20       a pretty good number compared to '09, which was

21       9 percent.

22                 And, finally, our fuel reliability

23       coordination tools and plans.  We have our FRCC

24       generating capacity shortage plan, which is, again, an

25       integral part of your rules here, and we do help -- we

FLORIDA PUBLIC SERVICE COMMISSION

18

1       do use that to communicate not only fuel problems, but

2       advisories and so forth up to the Commission staff here.

3       We also have our hurricane manual which looks at

4       expected impacts from the hurricane as far as generating

5       facilities and which ones would be affected and how

6       early you have to shut down and so forth.

7                 We have our communications protocol, which is

8       a very good line of communication between our gas

9       transportation service providers, our pipeline

10       operators, and our electric plant operators, or

11       transmission operators in the state.  So there is a good

12       open line of communication there so that we can quickly

13       react to any issues that may come up from a natural gas

14       pipeline problem.

15                 As far as the gas study projects going

16       forward, we continue gas pipeline modeling updates, and

17       we actually have a model of the pipelines that we

18       maintain.  So back to your question on new pipelines, we

19       are incorporating the FGT Phase 8.  We are incorporating

20       the Gulfstream Phase 5, I think, infrastructure

21       improvements.  Those were the ones that we have in the

22       queue and that we include in our assessments.  As far as

23       any other new ones, we don't necessarily include those

24       in our assessment until those are kind of official.

25                 MR. ELLIS:  So, for example, the FPL pipeline

FLORIDA PUBLIC SERVICE COMMISSION

19

1       project would not be in that gas study project, then?

2                 MR. SENKOWICZ:  No, it wouldn't, because --

3                 MR. ELLIS:  Do you know the status of that

4       project?

5                 MR. SENKOWICZ:  Actually, I don't.  Maybe

6       Florida Power and Light would like to comment.

7                 CHAIRMAN ARGENZIANO:  Commissioner Skop.

8                 COMMISSIONER SKOP:  Thank you, Madam Chair.

9                 Just to that point, on Page 37 of the

10       presentation, which I believe is two pages beyond the

11       current page, the conclusion that FRCC reaches is that

12       the FRCC does not accept any fuel transportation issues

13       affecting resource capabilities, peak periods, or

14       extreme weather based upon fuel studies analysis,

15       current fuel capacity and diversity, and alternate fuel

16       capability.  Is that conclusion based on the entirety of

17       the ten-year site plan to the extent that -- with the

18       conversion projects of Riviera Beach and Cape Canaveral,

19       when those come into service they will have additional

20       gas demands?

21                 MR. SENKOWICZ:  The fuel reliability study

22       process is not as rigorous as the transmission planning

23       process.  As far as looking out ten years, you know, I

24       can't tell you that we have analyzed what the pipelines

25       are going to look at it in ten years and that there is

FLORIDA PUBLIC SERVICE COMMISSION

20

1       adequate supply of natural gas transportation.  Really

2       what we have done is based on a fuel studies analysis is

3       look at near-term capacity, and we know that if we lose

4       a pipeline, certain facilitates have fuel oil backup,

5       certain facilitates have access to multiple pipelines.

6       We have ways to mitigate loss of pipelines.  So, I'm not

7       sure I answered your question, but I don't -- it's not a

8       rigorous ten-year look at an integrated model of the

9       natural gas versus the generation siting kind of thing.

10                 COMMISSIONER SKOP:  So to that point, the

11       conclusion on 37 is based on current generating capacity

12       through the ten-year site plan mitigating for supply

13       interruptions and ensuring that adequate redundancy and

14       reliability is available to support existing generation.

15       But if there were conversion projects that converted

16       from fuel burning to natural gas where it required an

17       increased capacity of natural gas to fire those plants,

18       that may affect the conclusion on Page 37, is that

19       correct?

20                 MR. SENKOWICZ:  Yes.  I mean, I'm not sure it

21       may affect the conclusion, it's just not something we

22       would look at until something is actually on the books

23       and in place.  From a fuel reliability perspective, we

24       are not into looking at optimal siting, or pipeline

25       displacement, and that kind of thing.  We are really

FLORIDA PUBLIC SERVICE COMMISSION

21

1       kind of limited to look at what we have got today and

2       where are our vulnerabilities.

3                 COMMISSIONER SKOP:  All right.  Thank you.

4                 MR. ELLIS:  Do you believe FPL would be able

5       to answer the question relating to transmission

6       capabilities for the Riviera and Canaveral pipeline?

7                 MR. SENKOWICZ:  I think they could.  Would you

8       like them to follow up?

9                 MR. ELLIS:  If possible, yes.

10                 CHAIRMAN ARGENZIANO:  We can do that, but,

11       Commissioner Skop, did you have a follow up?

12                 COMMISSIONER SKOP:  Yes.  Just to add onto

13       that, it probably would be beneficial to have FPL speak

14       on this issue.  I know that the conversion projects for

15       Cape Canaveral and Riviera have been reinstated, and I

16       think rightfully so due to the benefits they provide.

17       But I think that with the delayed entry date of those

18       projects, I think there's also a delayed slightly

19       shifted need for additional natural gas supply, and

20       perhaps FPL could better speak to that in terms of the

21       time frame that additional pipeline capacity would be

22       required within the state.

23                 CHAIRMAN ARGENZIANO:  Okay.  They're coming up

24       to the mike.

25                 MR. SILVA:  Good morning, Chairman,

FLORIDA PUBLIC SERVICE COMMISSION

22

1       Commissioners.  My name is Rene Silva; I am Director of

2       Resource Planning for Florida Power and Light Company.

3                 Regarding the concern about the capacity of

4       gas transportation, as has been indicated with respect

5       to the FGT Phase 8 expansion, we will receive about

6       400 million MMBtu per day that will supplement our need

7       for the West County facility, and that will be adequate

8       for our system for a number of years in the future.  Not

9       just for those facilities, but for the system overall.

10                 As it pertains to additional need that will

11       arise when we add the modernizations at Canaveral and

12       Riviera, as well as growth in our system, our most

13       recent analysis shows that additional capacity will be

14       needed by either 2015 or 2016.  At present, we are

15       undertaking an update in the analysis to determine

16       precisely when that new capacity will be required.  We

17       are also looking at other factors that effect the

18       regulatory process for obtaining approval for an

19       expansion, either the third-party's expansion or one

20       that we build as well as affecting the economics.

21                 In parallel with that, we're developing a

22       draft of an RFP consistent with the Commission's

23       directive.  We don't have a completion date, if you

24       will, for those activities, but they are ongoing right

25       now.  And we, of course, are very intent on bringing

FLORIDA PUBLIC SERVICE COMMISSION

23

1       those to conclusion in the near term.

2                 COMMISSIONER SKOP:  Thank you.  Good morning,

3       Mr. Silva.

4                 MR. SILVA:  Good morning.

5                 COMMISSIONER SKOP:  This is a follow-up to

6       that.  It seems as if the additional capacity

7       requirements for the natural gas for the conversion

8       projects as well as growth have shifted slightly to the

9       right by a year or two or three based on your testimony,

10       and you indicated that FPL is pursuing options to meet

11       that longer term need which we still have some time

12       there.

13                 With respect to the RFP or proposed RFP that

14       you indicated that you may be developing consistent with

15       the Commission's order, would it be correct to expect

16       that that would come back to the Commission staff to

17       review prior to issuance?

18                 MR. SILVA:  I believe that's the plan.

19                 COMMISSIONER SKOP:  Okay.  All right.  Thank

20       you.

21                 MR. SENKOWICZ:  Okay.  On our last section,

22       FRCC transmission planning, I'll just give you a brief

23       update on that.  As part of our ten-year site plan we

24       ensure utility transmission planning is coordinated

25       across the region, and we actually have staff involved

FLORIDA PUBLIC SERVICE COMMISSION

24

1       in performing those studies, and creating those cases,

2       and overseeing that that's done.

3                 Part of our transmission planning process, a

4       key piece of it is the FRCC planning committee, and the

5       charter of the planning committee is to promote the

6       reliability of the bulk system within the region.  We

7       assess and encourage generation and transmission

8       adequacy, and we provide a vehicle for ensuring that

9       transmission planning within the FRCC will provide for

10       the development of a robust network within the state by

11       following the regional transmission planning process.

12       So it's a way the member companies can very easily

13       integrate their plans together to make sure that we

14       develop optimal plans for the region for reliability

15       sake.

16                 Within the planning committee we have several

17       working groups that do periodic work.  We have the

18       transmission working group that creates and assesses the

19       FRCC long-term transmission plan.  We have a stability

20       working group that assesses the stability of the bulk

21       electric system, and we have a reliability working group

22       which performs reliability assessments of the resource

23       adequacy for the next ten years.

24                 And, again, within that reliability assessment

25       group we have a load forecasting group.  So all of these

FLORIDA PUBLIC SERVICE COMMISSION

25

1       pieces come together and culminate in what you have with

2       the load and resource database.  And all of that

3       information is a nice integrated package that we create

4       at the FRCC and gives us a good perspective of the

5       region.

6                 Within the transmission planning process we

7       have several recurring transmission reliability studies.

8       We have summer and winter seasonal assessments.  We have

9       the ten-year transmission reliability study.  And again,

10       that is done each year looking out ten years.  We have

11       an interregional transmission study.  As I said earlier,

12       we are unique being a peninsula.  We have a single

13       interface to the north, so it's important that we

14       coordinate any changes or activity on that interface

15       very closely with our neighbor.  And then we also have a

16       resource deliverability evaluation process which looks

17       at generation siting and getting the deliverability of

18       that generation on a regional basis, getting it

19       reviewed.

20                 Basically, we like to test the transmission

21       system to ensure it meets the reliability standards, and

22       the new reliability -- not new, but the reliability

23       standards that are mandatory and enforceable at NERC now

24       are a big part of that.  We call it the reliability

25       standards test.  And basically it looks at your

FLORIDA PUBLIC SERVICE COMMISSION

26

1       transmission system.  It looks at single element outages

2       where you have minimal local area loss of load, and you

3       can survive those with no problem, or multiple element

4       outages where you can have a controlled loss of load

5       without having a transmission system fall apart.  Or you

6       can have extreme event outages with no wide area

7       cascading loss of load.  And based on our assessments of

8       the 2010 to 2019 transmission plans, these tests are all

9       satisfied.

10                 As far as our interregional transmission

11       study, again, we look at that on an annual basis to

12       determine the amount of reliable import and export

13       capability on the interface with the SERC region to the

14       north.  Looking at the summer of 2010, we were at 3,600

15       with an export limit from FRCC at 1,000 megawatts going

16       north.  Looking forward at the winter of 2010/'11, we're

17       looking at a 3,800-megawatt import capability into the

18       state and an export limit of 1,800 megawatts out of the

19       state.  These are very similar to last year's numbers.

20                 As far as resource deliverability evaluations,

21       these are transmission service requests, and we have one

22       evaluation completed for a total of 151 megawatts.  And

23       as far as generator interconnection service requests, we

24       have five evaluations completed for a total of

25       3,900 megawatts.  In 2010, within those five GISRs

FLORIDA PUBLIC SERVICE COMMISSION

27

1       (phonetic), we do have the Levy Units 1 and 2 in there.

2                 Okay.  As far as FRCC transmission

3       reliability, obviously the results of the transmission

4       assessments indicate that the planned transmission

5       system within the region is expected to remain reliable

6       for the next ten years.  So we do have plans in place to

7       operate -- build and operate a reliable system for the

8       next ten years.

9                 MR. BALLINGER:  Excuse me, Eric.  Tom

10       Ballinger with staff.  Several years ago there was an

11       area in Central Florida identified as a transmission

12       problem, if you will, congestion.  I presume that has

13       been taken care of either through some planned projects

14       or already constructed projects, or do you know the

15       status of that?

16                 MR. SENKOWICZ:  There has been some work in

17       the area of Central Florida.  And what's going on, you

18       know, transmission planning, as I said, it is a ten-year

19       cycle.  I mean, it's a yearly cycle, and you have

20       projects and they are looking out and they plan

21       projects, and then the next year maybe they come up with

22       a different project or a more optimal solution.

23                 We do have a -- we do have plans in place

24       approved by the board to deal with transmission in

25       Central Florida, but that's not to say that that plan

FLORIDA PUBLIC SERVICE COMMISSION

28

1       doesn't change.  So right now specifically I can't

2       comment on that area specifically, but I do know that

3       sometimes projects move around, and they change, and

4       optimal solutions get developed depending on the

5       stakeholders.

6                 That's kind of a unique area.  You have

7       different systems that are kind of overlapping each

8       other, so it's a little more complicated.

9                 MR. BALLINGER:  That's fine.  Thank you.

10                 MR. SENKOWICZ:  Okay.  And, again, at the FRCC

11       we do maintain a database, as you alluded to, Tom, of

12       projects that are in the queue to make sure that this

13       transmission planning process remains integrated and

14       coordinated, and that the utilities plan around each

15       others' plans, if you will.

16                 And that concludes my presentation.  Any

17       questions?

18                 CHAIRMAN ARGENZIANO:  Commissioners, any

19       questions?

20                 Commissioner Skop.

21                 COMMISSIONER SKOP:  Thank you.  Just two

22       follow-up questions.

23                 First on that last page of significant

24       transmission projects, to Mr. Ballinger's question about

25       the, perhaps, long-term congestion or transmission

FLORIDA PUBLIC SERVICE COMMISSION

29

1       constraints in Certain Florida, is it correct that some

2       of those projects listed there would address some of

3       those concerns?

4                 MR. BECKER:  Yes, sir.  Many of those projects

5       on that list are in the Central Florida region.

6                 COMMISSIONER SKOP:  Okay.  And those would be

7       primarily Progress making transmission infrastructure

8       investments, or would it be other projects on that list?

9                 MR. SENKOWICZ:  You have an ownership column

10       there, and it kind of shows you.

11                 COMMISSIONER SKOP:  Okay.  All right.  And

12       then I don't know who would best be able to answer a

13       follow up question on a different point, but in the 2010

14       regional load and resource plan of July, it's the bound

15       copy, I don't know if everyone has a copy of that, but

16       on Page 23 of that report, in Section 2, which is

17       generating facilities, it lists planned and proposed

18       prospective generation facility additions and changes

19       from January 1, 2010, through December 31, 2019, which

20       is the ten-year horizon.  For Riviera and Cape Canaveral

21       it shows the primary fuel being the existing fuel source

22       and the changed status OP for Riviera and FC for FPL.

23       Could they just comment?  I didn't see a legend as to

24       what the status codes mean, but if you happen to know

25       what those are it would be beneficial.

FLORIDA PUBLIC SERVICE COMMISSION

30

1                 MR. SENKOWICZ:  There is a glossary tab on

2       that.  You may be able to --

3                 COMMISSIONER SKOP:  Okay.

4                 MR. BALLINGER:  Commissioner Skop, it's on

5       Page G-2.

6                 COMMISSIONER SKOP:  Got it.  Thank you.

7                 MR. BALLINGER:  And FC is planned for

8       conversion.

9                 COMMISSIONER SKOP:  Okay.  That is what I

10       suspected it might be, but I was being --

11                 MR. SENKOWICZ:  FC is fuel change?

12                 COMMISSIONER SKOP:  Yes, fuel conversion or

13       fuel change.  So is that code correct for Riviera, OP,

14       or should that also be in the FC status?

15                 MR. SENKOWICZ:  We've got our expert looking

16       at it.

17                 MR. BALLINGER:  It may be, because I think

18       that comes off the next year.  But we'll look at that.

19                 COMMISSIONER SKOP:  That's what I thought.

20       Okay.

21                 All right.  Just as a constructive comment, it

22       might be good to annotate that chart to reflect they

23       are -- I mean, it shows fuel status change, but an

24       asterisk or something to show that it's converting to

25       natural gas, because I think this flows in.  That caused

FLORIDA PUBLIC SERVICE COMMISSION

31

1       the disconnect on the conclusion as to fuel transmission

2       capabilities were adequate through the ten-year horizon,

3       which clearly when those conversions come into service,

4       there's going to be additional transmission capacity

5       required that is not embodied within the conclusion, so

6       I think that's where I was looking.  Thank you.

7                 CHAIRMAN ARGENZIANO:  Good point.  Any other

8       questions, Commissioners?

9                 Staff?

10                 MR. ELLIS:  (Indicating no.)

11                 CHAIRMAN ARGENZIANO:  Okay.  Thank you.

12                 MR. SENKOWICZ:  Thank you.

13                 MR. ELLIS:  That would conclude the

14       presentations for the workshop.  If there's any public

15       comment, I believe, is the last section.

16                 CHAIRMAN ARGENZIANO:  Anyone out there wishing

17       to comment on the presentation or ask questions?  Okay.

18       Hearing none, we will just move on.  Tom?

19                 Okay.  Who's up, me?

20                 That's it.  We're done.  Okay.  All right. I

21       thought we had another component.  All right.  With

22       that, any questions from Commissioners?  Okay.

23                 Commissioner Skop.

24                 COMMISSIONER SKOP:  I'd just like to thank

25       FRCC and the respective investor-owned utilities for

FLORIDA PUBLIC SERVICE COMMISSION

32

1       taking the time to prepare the materials and come and

2       present today.

3                 CHAIRMAN ARGENZIANO:  Yes.  It's a good

4       presentation.  It really fills in a lot of the questions

5       and it was done well.  Thank you.  Thank you very much.

6                 With that, we are adjourned.

7                 (The workshop concluded at 10:20 a.m.)

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

33

1

2       STATE OF FLORIDA    )

3                           :    CERTIFICATE OF REPORTER

4       COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing Reporter

6       Services Section, FPSC Division of Commission Clerk, do

hereby certify that the foregoing proceeding was heard at

7       the time and place herein stated.

8                 IT IS FURTHER CERTIFIED that I

stenographically reported the said proceedings; that the

9       same has been transcribed under my direct supervision; and

that this transcript constitutes a true transcription of my

10       notes of said proceedings.

11                 I FURTHER CERTIFY that I am not a relative,

employee, attorney or counsel of any of the parties, nor am

12       I a relative or employee of any of the parties' attorney or

counsel connected with the action, nor am I financially

13       interested in the action.

14                 DATED THIS 12th day of August, 2010.

15

16

___________________________________________

17                         JANE FAUROT, RPR

Official FPSC Hearings Reporter

18                          (850) 413-6732

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION