BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

| In re: Request to revise 2010 overhead/underground residential differential cost data by Gulf Power Company. | DOCKET NO. 100165-EI ORDER NO. PSC-10-0563-TRF-EI ISSUED: September 14, 2010 |
| --- | --- |

The following Commissioners participated in the disposition of this matter:

NANCY ARGENZIANO, Chairman

LISA POLAK EDGAR

NATHAN A. SKOP

ART GRAHAM

RONALD A. BRISÉ

ORDER APPROVING UNDERGROUND CONVERSION TARIFFS

BY THE COMMISSION:

Background

Rule 25-6.078, Florida Administrative Code (F.A.C), sets forth the responsibilities of electric investor-owned utilities’ (IOU) for filing updated underground residential distribution (URD) tariffs for new subdivisions.  This rule requires each IOU to file updated URD charges for our approval at least every three years, or sooner if its underground cost differential for the standard low-density subdivision varies from the last approved charge by 10 percent or more.  The rule requires IOUs to annually file on or before October 15, a schedule showing the increase or decrease in the differential for the standard low-density subdivision.

On October 15, 2009, Gulf Power Company (Gulf) notified this Commission, pursuant to Rule 25-6.078, F.A.C., that its underground cost differential for the standard low-density subdivision decreased from the last approved differential by 16 percent.  Gulf’s current URD charges were approved in 2009.

To comply with the 10 percent filing requirement of the rule, on April 1, 2010, Gulf filed a petition for our approval of revisions to its URD Tariff Sheet Nos. 4.25, 4.26, 4.26.1, and 4.26.2, and their associated charges.  The URD tariffs apply to new residential developments and represent the additional costs Gulf incurs to provide underground distribution service in place of overhead service.

By Order No. PSC-10-0354-PCO-EI, issued on June 4, 2010, we suspended Gulf’s proposed tariffs, to allow our staff to conduct further investigation.  On June 25, 2010, Gulf filed responses to staff’s data requests.

This Order addresses Gulf’s revised URD tariffs and their associated charges.  We have jurisdiction over this matter pursuant to Sections 366.03, 366.04, 366.05, and 366.06, Florida Statutes.

Underground Residential Distribution (URD) Tariffs

The URD charges represent the additional cost Gulf incurs to provide underground distribution service in place of overhead service, and are calculated as the differential between the costs of underground versus overhead service.  Costs for the underground service have historically been higher than for standard overhead construction.  The URD differential is paid by the customer (usually the developer) as a contribution in aid of construction (CIAC).  The URD tariffs provide standard charges for certain types of underground service, and apply to new residential developments such as subdivisions and townhouses.

Gulf URD charges are developed based on two model subdivisions: (1) a 210-lot low density subdivision with a density of one or more, but less than six, dwelling units per acre; and (2) a 176-lot high density of six or more, dwelling units per acre.  All four of the largest investor-owned electric utilities use the same standardized model subdivisions to develop their URD charges.

As stated in Rule 25-6.078(1), F.A.C., the URD differential is based on the utility’s standard engineering and design practices.  The difference between these numbers is the per-lot charge that customers must pay when requesting underground service in lieu of standard overhead service.  The cost of both underground and overhead service includes the material and labor costs to provide primary, secondary, and service distribution lines, and transformers.  The costs to provide overhead service also include poles.  The costs to provide underground service also include trenching and backfilling.  The utilities are required to use current cost data.

The following table shows Gulf’s current and proposed URD differentials:

| Table 1-1 |  |  |  |
| --- | --- | --- | --- |
|  | Current URD differential per lot | Proposed differential per lot | Percent change |
| 210-lot low density subdivision | $312 | $263 | -16% |
| 176-lot high density subdivision | $213 | $259 | +22% |

The above per-lot charges apply if Gulf supplies and installs all equipment and materials. Gulf’s URD tariff also provides for reduced charges if the customer chooses to supply and/or install the primary and secondary trench and duct system.

The calculation of Gulf’s proposed URD charges includes the following steps.  First, Gulf updates its charges to reflect actual 2008 labor and material costs.  This is how the traditional installed cost of the underground project has been calculated.  Second, in addition to the initial installation costs, Gulf’s proposed URD charges incorporate the differences in the net present value of operational costs between underground and overhead systems, including average historical storm restoration costs over the life of the facilities, as required by Rule 25-6.078(4), F.A.C.

The effect of each of the calculations on the URD differential is shown in the table below.

| Table 1-2 |  |  |  |
| --- | --- | --- | --- |
| Line |  | 210-lot low density subdivision | 176-lot high density subdivision |
| A. | Current URD differential per lot | $312 | $213 |
| B. | Impact of updated material and labor costs | $19 | $69 |
| C. | Impact of operational costs differential | ($68) | ($23) |
| D. | Proposed URD charge per lot – rounded (A+B+C) | $263 | $259 |
| E. | Net difference (A-D) | ($49) | $46 |

Updated Material and labor costs

As shown in Line B of Table 1-2, material and labor costs increased by $19 for the low density subdivision and by $69 for the high density subdivision.  Gulf explained in its answer to staff’s first data request, that the cost per-lot charge for the high density subdivision was understated in the previous 2009 filing.  This was due to an inadvertent error in the calculation of overhead construction labor costs, resulting in a differential that was understated.  The correction of this error would have resulted in a higher URD charge for the high density subdivision in the 2009 filing.

Labor costs in the URD calculation consist of two parts: direct labor costs, and an engineering and staff adder.  Direct labor costs represent the labor costs of the actual construction crew installing the overhead and/or underground system.  The engineering and staff adder captures the cost of supervision and of the engineers who design the system, and is applied to the total cost of the job (less meters and transformers).  Gulf explained that due to an internal restructuring, Gulf shifted certain positions from the direct labor costs to the engineering and staff adder.  This move of positions resulted in a decrease of the direct labor costs, and an increase of the engineering and staff adder from 22 percent to 44 percent, resulting in a slight increase in the overall material and labor costs.  Gulf stated that the restructuring was done to gain efficiencies in the way Gulf operates its business.

Calculation of operational cost difference

Rule 25-6.078(4), F.A.C., requires that the differences in net present value (NPV) or operational costs, including storm restoration costs, over the life of the facilities, between underground and overhead systems, be included in the URD charge.  Operational costs include operations and maintenance (O&M) costs and capital costs.  Gulf’s methodology to calculate the operational cost difference has been approved in Order No. PSC-09-0815-TRF-EI.  Gulf’s analysis of its historical 2008 operational costs shows that overhead facilities are more expensive to operate and maintain than equivalent underground facilities, resulting in a decrease in the differential for both subdivision models as shown in Line C of Table 1-2.  In accordance with Rule 25-6.078, F.A.C., Gulf began implementing new record keeping and accounting measures to separately identify operational costs for underground and overhead facilities, including storm related costs.  Gulf used actual 2008 data to identify its overhead and underground operational costs, including storm restoration expenses.

To account for overhead and underground operational costs in the URD charge, Gulf determined its overhead and underground 2008 distribution plant in service costs and the operational expenses associated with that investment.  Gulf then escalated the O&M expenses at 2 percent (a decrease from 2.2 percent in the previous filing), to adjust for inflation over a period of 32 years, which is the expected plant life.  To calculate the NPV of the operational costs, Gulf used the after-tax weighted average cost of capital of 7.92 percent.  Gulf then calculated operational cost multipliers for overhead and underground subdivisions, which are based on the NPV of the operational expenses as a percentage of the investment.  The resulting overhead lines operating cost multiplier is 0.62184, and underground lines operating multiplier is 0.35591, which is a slight decrease for both multipliers from the previous filing.  The multipliers are applied to the overhead and underground labor and material costs for each subdivision.

Upon reviewing Gulf’s proposed URD charges and their accompanying work papers, we find the charges are reasonable and they are approved.

Based on the foregoing, it is

ORDERED by the Florida Public Service Commission that the Petition for approval of revisions to underground residential distribution tariffs filed by Gulf Power Company is approved as set forth in the body of this Order.  It is further

ORDERED that the tariffs shall be effective as of August 31, 2010.  It is further

ORDERED that if a protest is filed within 21 days of issuance of the Order, the tariff shall remain in effect with any charges held subject to refund pending resolution of the protest.  It is further

ORDERED that if no timely protest is filed, this docket shall be closed upon the issuance of a Consummating Order.

By ORDER of the Florida Public Service Commission this 14th day of September, 2010.

|  | /s/ Ann Cole |
| --- | --- |
|  | ANN COLE Commission Clerk |

This is an electronic transmission.  A copy of the original signature is available from the Commission's website, www.floridapsc.com, or by faxing a request to the Office of Commission Clerk at 1-850-413-7118.

( S E A L )

RRJ

NOTICE OF FURTHER PROCEEDINGS

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing or judicial review of Commission orders that is available under Sections 120.57 or 120.68, Florida Statutes, as well as the procedures and time limits that apply.  This notice should not be construed to mean all requests for an administrative hearing or judicial review will be granted or result in the relief sought.

Mediation may be available on a case-by-case basis.  If mediation is conducted, it does not affect a substantially interested person's right to a hearing.

The Commission's decision on this tariff is interim in nature and will become final, unless a person whose substantial interests are affected by the proposed action files a petition for a formal proceeding, in the form provided by Rule 28-106.201, Florida Administrative Code.  This petition must be received by the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on October 5, 2010.

In the absence of such a petition, this Order shall become final and effective upon the issuance of a Consummating Order.

Any objection or protest filed in this docket before the issuance date of this order is considered abandoned unless it satisfies the foregoing conditions and is renewed within the specified protest period.

Order No. PSC-09-0815-TRF-EI, issued December 10, 2009, in Docket No. 090173-EI, In re: Request to revise underground residential differential rates by Gulf Power Company.