1

1                              BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3

In the Matter of:

4

REVIEW OF 2010 ELECTRIC            DOCKET NO. 100262-EI

5       INFRASTRUCTURE STORM HARDENING

PLAN FILED PURSUANT TO RULE

6       25-6.0342, F.A.C., SUBMITTED BY

PROGRESS ENERGY FLORIDA, INC.

7       --------------------------------

REVIEW OF 2010 ELECTRIC            DOCKET NO. 100263-EI

8       INFRASTRUCTURE STORM HARDENING

PLAN FILED PURSUANT TO RULE

9       25-6.0342, F.A.C., SUBMITTED BY

TAMPA ELECTRIC COMPANY.

10       --------------------------------

REVIEW OF 2010 ELECTRIC            DOCKET NO. 100264-EI

11       INFRASTRUCTURE STORM HARDENING

PLAN FILED PURSUANT TO RULE

12       25-6.0342, F.A.C., SUBMITTED BY

FLORIDA PUBLIC UTILITIES COMPANY.

13       --------------------------------

REVIEW OF 2010 ELECTRIC            DOCKET NO. 100265-EI

14       INFRASTRUCTURE STORM HARDENING

PLAN FILED PURSUANT TO RULE

15       25-6.0342, F.A.C., SUBMITTED BY

GULF POWER COMPANY.

16       --------------------------------

REVIEW OF 2010 ELECTRIC             DOCKET NO. 100266-EI

17       INFRASTRUCTURE STORM HARDENING

PLAN FILED PURSUANT TO RULE

18       25-6.0342, F.A.C., SUBMITTED BY

FLORIDA POWER & LIGHT COMPANY.

19       _________________________________/

20

21       PROCEEDINGS:        COMMISSION CONFERENCE AGENDA

ITEM NO. 10 (Excluding Issue 5)

22

COMMISSIONERS

23       PARTICIPATING:      CHAIRMAN ART GRAHAM

COMMISSIONER LISA POLAK EDGAR

24                           COMMISSIONER NATHAN A. SKOP

COMMISSIONER RONALD A. BRISÉ

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1       DATE:               Tuesday, October 26, 2010

2       PLACE:              Betty Easley Conference Center

Room 148

3                           4075 Esplanade Way

Tallahassee, Florida

4

REPORTED BY:        LINDA BOLES, RPR, CRR

5                           Official FPSC Reporter

(850) 413-6734

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1

2

3

4

5

6

7

8       (REPORTER'S NOTE:  Issue 5 was deferred and a transcript

9       pertaining to said deferral was filed under separate

10       cover.)

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1                        P R O C E E D I N G S

2                              * * * * *

3                 CHAIRMAN GRAHAM:  Next item up is Item Number

4       10.  Please note that we have already deferred Issue 5

5       of Item Number 10.

6                 MR. DOWDS:  Good morning, Commissioners.  Dave

7       Dowds with Commission Staff.

8                 I'd like to introduce the analyst that will do

9       the introduction to this item, Melissa L'Amoreaux.  This

10       is her first presentation.

11                 CHAIRMAN GRAHAM:  That's all right.  This is

12       my first meeting chairing.  It's all right.

13                 MS. L'AMOREAUX:  Good morning, Commissioners.

14       Melissa L'Amoreaux with Staff.

15                 Item 10 is staff's recommendation regarding

16       the updated storm hardening plans of Progress Energy

17       Florida, Tampa Electric Company, Florida Public

18       Utilities Company and Gulf Power Company.

19                 Rule 25-6.0342, also known as the storm

20       hardening rule, requires all Florida investor-owned

21       utility companies or IOUs to file updated storm

22       hardening plans every three years with the Commission.

23       The storm hardening rule requires that each plan contain

24       a description of the IOU's construction standards,

25       policies, practices and procedures to enhance the

FLORIDA PUBLIC SERVICE COMMISSION

5

1       reliability of overhead and underground electrical

2       transmission and distribution facilities.

3                 This recommendation addresses the IOUs' plan

4       updates as required by the storm hardening rule.  Staff

5       recommendation addresses the company's wooden pole

6       inspection program, ten storm hardening initiatives,

7       National Electric Safety Code compliance, extreme wind

8       loading standards, mitigation of flood and storm damage,

9       facility placement, deployment strategies and attachment

10       standards and procedures.

11                 Staff recommends the Commission approve the

12       four investor-owned utilities' updated storm hardening

13       plans.  Staff is available for any questions.

14                 CHAIRMAN GRAHAM:  Thank you.

15                 To the board, any questions?  Commissioner

16       Edgar.

17                 COMMISSIONER EDGAR:  Thank you, Mr. Chair.

18                 Actually just a, a very brief comment,

19       although I am appreciative of the representatives of the

20       companies that are here in case there are other

21       questions.

22                 I would just like to note that the updated

23       plans that are before us are largely a continuation of

24       the current Commission-approved plans, which is a result

25       of an initiative that we began back in '96 after the

FLORIDA PUBLIC SERVICE COMMISSION

6

1       storms of '94 and '95.  That at that time was and

2       continues to be a multifaceted collaborative approach

3       that had participation from a broad base of citizens,

4       local governments, communities and businesses.

5                 At the time that we embarked on that

6       initiative as a Commission with support and interest

7       from many, many, many participants, we knew that

8       strengthening our electric infrastructure would be and

9       should be an ongoing process and one that should provide

10       good value over time to the ratepayers.

11                 I am appreciative of the continued work of the

12       companies and all of the interest groups that continue

13       to work with them, particularly local governments that

14       provide their input and points of contact and

15       communication, and I'm just glad to see this good work

16       continue.

17                 And I'm glad to make a motion, Mr. Chair, at

18       the appropriate time.

19                 CHAIRMAN GRAHAM:  Thank you, Commissioner

20       Edgar.

21                 Any other questions or concerns?  Seeing none,

22       Commissioner Edgar, it looks like you're up.

23                 COMMISSIONER EDGAR:  Thank you.  Then I would

24       move Staff on Issues 1 through 4, recognizing that we

25       are deferring Issue 5, and modify Issue 6 so that the

FLORIDA PUBLIC SERVICE COMMISSION

7

1       applicable --

2                 MR. KONUCH:  Commissioner, Commissioner Edgar.

3                 COMMISSIONER EDGAR:  Oh, yes.

4                 MR. KONUCH:  I, I would just like to state for

5       the record -- this is Dave --

6                 CHAIRMAN GRAHAM:  Sir, sir, your name.

7                 MR. KONUCH:  Dave Konuch from Florida Cable

8       Telecom Association.

9                 CHAIRMAN GRAHAM:  Thank you.

10                 MR. KONUCH:  And that as regards the

11       attachment standards and procedures, as was the case

12       with the last storm hardening cycle, FCTA had entered

13       into stipulations with all of the IOUs.  And we've,

14       we've worked to do that again this time, so we've been

15       negotiating with everybody.  And we have agreements

16       assigned with all but one of the IOUs, and we've been

17       negotiating and working on it even up until the

18       beginning of this, this meeting.

19                 COMMISSIONER EDGAR:  Good.

20                 MR. KONUCH:  So as of right now we believe

21       that, we hope that we will reach accord with that final

22       IOU.  If we cannot, then we may have to file something

23       before the PAA deadline elapses.  But right now we're

24       continuing to negotiate and we feel pretty good about

25       our chances of getting that done.

FLORIDA PUBLIC SERVICE COMMISSION

8

1                 COMMISSIONER EDGAR:  Thank you.  If I may

2       respond.  Thank you, Mr. Konuch.  And I'm sorry that I

3       didn't see that you were trying to get our attention.  I

4       appreciate you highlighting that point.  And I also

5       think that that highlights some of my comments that this

6       is a collaborative approach with a broad array of

7       stakeholders that are working.  If you are not able to

8       all reach agreement on that issue, you know we will be

9       here to hear all concerns and discuss them.  But I

10       appreciate your comments and that everybody is working

11       together to move it forward.

12                 MR. KONUCH:  Thank you.

13                 COMMISSIONER EDGAR:  And so with that, I would

14       go ahead, if I may, and --

15                 CHAIRMAN GRAHAM:  Are there any other

16       comments?  I just wanted to make sure I didn't overlook

17       anybody's hand.

18                 Commissioner Edgar, I'm sorry.

19                 COMMISSIONER EDGAR:  Thank you.  That's all

20       right.  Move Issues 1 through 4, modify Issue 6 to close

21       the docket on, or to close the dockets for the

22       applicable dockets for Issues 1 through 4.

23                 CHAIRMAN GRAHAM:  That's the motion.  Second?

24                 COMMISSIONER BRISÉ:  Second.

25                 CHAIRMAN GRAHAM:  Seconded by Commissioner

FLORIDA PUBLIC SERVICE COMMISSION

9

1       Brisé.  Any further discussion?  Seeing none, all in

2       favor, say aye.

3                 (Unanimous vote.)

4                 Those opposed.  By your action, you've

5       approved Item Number 10, all items except for Issue 5,

6       and that was deferred earlier.  Thank you, Staff.

7                 (Agenda item concluded.)

8                              * * * * *

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

10

1       STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2       COUNTY OF LEON      )

3

4            I, LINDA BOLES, RPR, CRR, Official Commission

Reporter, do hereby certify that the foregoing

5       proceeding was heard at the time and place herein

stated.

6

IT IS FURTHER CERTIFIED that I stenographically

7       reported the said proceedings; that the same has been

transcribed under my direct supervision; and that this

8       transcript constitutes a true transcription of my notes

of said proceedings.

9

I FURTHER CERTIFY that I am not a relative,

10       employee, attorney or counsel of any of the parties, nor

am I a relative or employee of any of the parties'

11       attorneys or counsel connected with the action, nor am I

financially interested in the action.

12

DATED THIS _____ day of _____________________,

13       2010.

14

15                   ________________________________

LINDA BOLES, RPR, CRR

16                  FPSC Official Commission Reporter

(850) 413-6734

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION