178

1                              BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

In the Matter of:

3                                      DOCKET NO. 100304-EU

4       PETITION TO RESOLVE TERRITORIAL

DISPUTE WITH GULF POWER COMPANY IN

5       OKALOOSA COUNTY BY CHOCTAWHATCHEE

ELECTRIC COOPERATIVE, INC.

6       ___________________________________/

7

8

9

10

VOLUME 2

11

Pages 178 through 392

12

ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

13                 A CONVENIENCE COPY ONLY AND ARE NOT

THE OFFICIAL TRANSCRIPT OF THE HEARING,

14            THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

15

PROCEEDINGS:        HEARING

16

COMMISSIONERS

17       PARTICIPATING:      CHAIRMAN ART GRAHAM

COMMISSIONER LISA POLAK EDGAR

18                           COMMISSIONER RONALD A. BRISÉ

19       DATE:               Tuesday, May 17, 2011

20       PLACE:              Betty Easley Conference Center

Room 148

21                           4075 Esplanade Way

Tallahassee, Florida

22

REPORTED BY:        JANE FAUROT, RPR

23                           Official FPSC Reporter

(850) 413-6732

24

APPEARANCES:        (As heretofore noted.)

25

FLORIDA PUBLIC SERVICE COMMISSION

179

1                              I N D E X

2                              WITNESSES

3

NAME:                                         PAGE NO.

4

JACQUELYN N. SULLIVAN

5            Prefiled Direct Testimony Inserted         184

Prefiled Supplement Direct

6              Testimony Inserted                       194

7       DR. MARTIN J. BLAKE

Prefiled Rebuttal Testimony Inserted       198

8

P. BERNARD JACOB

9            Prefiled Direct Testimony Inserted         225

10       BERNARD H. JOHNSON, JR.

Prefiled Direct Testimony Inserted         231

11

WILLIAM M. FEAZELL

12            Direct Examination by Mr. Griffin          240

Prefiled Direct Testimony Inserted         244

13            Prefiled Rebuttal Testimony Inserted       258

Cross Examination by Mr. Early             270

14            Cross Examination by Mr. Jaeger            298

Redirect Examination by Mr. Griffin        299

15            Recross Examination by Mr. Early           303

16       DR. RICHARD K. HARPER

Prefiled Direct Testimony Inserted         306

17

THEODORE S. SPANGENBERG, JR.

18            Direct Examination by Mr. Badders          316

Prefiled Direct Testimony Inserted         320

19            Prefiled Rebuttal Testimony Inserted       349

Cross Examination by Mr. Horton            380

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

180

1                              EXHIBITS

2

NUMBER:                                      ID.  ADMTD.

3

14-17                                              181

4

18                                                 182

5

27                                                 224

6

28-32                                              304

7

33                                                 305

8

34-37                                              389

9

63        2010 Census for City of Freeport   390   390

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

181

1                        P R O C E E D I N G S

2                 CHAIRMAN GRAHAM:  Okay.  Welcome back,

3       everyone.  I hope you all had an enjoyable lunch.  I

4       know I did.  We are on -- we finished with Witness

5       Avery, so we are on to the third witness for CHELCO.

6                 MR. HORTON:  That is correct, Mr. Chairman.

7       And Ms. Smith -- Ms. Smith.  Ms. Sullivan has been

8       stipulated, so I would, at this time, move her Prefiled

9       Direct Testimony into the record.

10                 CHAIRMAN GRAHAM:  Let it so be moved, that her

11       Prefiled Direct Testimony is entered into the record.

12                 MR. HORTON:  And she had four exhibits that

13       have been identified as Exhibits 14 through 17.  I would

14       move those exhibits at this time.

15                 CHAIRMAN GRAHAM:  We will move those into the

16       record, as well.

17                 (Exhibit Number 14 through 17 admitted into

18       the record.)

19                 MR. HORTON:  Ms. Sullivan also had

20       Supplemental Direct Testimony, which I would move into

21       the record at this time.

22                 CHAIRMAN GRAHAM:  Let's move that into the

23       record.

24                 MR. HORTON:  And an exhibit was attached to

25       that, which has been identified as Exhibit 18.  I would

FLORIDA PUBLIC SERVICE COMMISSION

182

1       move that at this time.

2                 CHAIRMAN GRAHAM:  So we are moving 14 through

3       18 into the record.  Okay.

4                 (Exhibit Number 18 admitted into the record.)

5                 MR. HORTON:  And I would jump ahead.  The next

6       witness is Doctor Blake, and Doctor Blake has been

7       stipulated, and I would ask that his Prefiled Direct

8       Testimony be inserted into the record as though read.

9                 CHAIRMAN GRAHAM:  Well, let's move his

10       Prefiled Direct Testimony into the record as though

11       read.

12                 MR. HORTON:  And he had an exhibit attached to

13       his, which has been premarked as Exhibit 19, which I

14       would move at this time.

15                 CHAIRMAN GRAHAM:  Let's move 19 into the

16       record, as well.

17                 (Exhibit Number 19 admitted into the record.)

18                 MR. HORTON:  And that would conclude CHELCO's

19       witnesses.

20                 CHAIRMAN GRAHAM:  Staff, anything before we go

21       on to Gulf?

22                 MR. JAEGER:  I was wanting to make sure that

23       there were no corrections to, you know, any of

24       Sullivan's testimony or Blake's testimony.

25                 MR. HORTON:  There may be one to Doctor

FLORIDA PUBLIC SERVICE COMMISSION

183

1       Blake's.

2                 MR. JAEGER:  Doc, on Page 12, I believe, was a

3       mistaken reference to 366.04(3)(b), when it should be

4       (2)(e), is that correct, Line 15?

5                 MR. HORTON:  That would be correct.

6                 CHAIRMAN GRAHAM:  One more time.

7                 MR. JAEGER:  Page 12, Line 15, and the section

8       number should be 366.04(2)(e) instead of (3)(b).

9                 CHAIRMAN GRAHAM:  Okay.  Is that the only

10       correction that we know of?

11                 MR. HORTON:  That's the only correction I'm

12       aware of; yes, sir.

13                 CHAIRMAN GRAHAM:  Okay.  Let the record show

14       we will move that into the record as corrected.

15                 Staff, is there anything else?

16                 MR. JAEGER:  No, Chairman Graham.

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

224

1                 CHAIRMAN GRAHAM:  Okay.  Gulf, you're up.

2                 MR. BADDERS:  Good afternoon.  Our first

3       couple of witness are stipulated witnesses, so let me go

4       ahead and get those moved into the record.

5                 CHAIRMAN GRAHAM:  Sure.

6                 MR. BADDERS:  Witness Jacob's Prefiled

7       Testimony consisting of six pages, we ask that that be

8       moved into the record as though read.

9                 CHAIRMAN GRAHAM:  We will move that in as

10       though read.

11                 MR. BADDERS:  He did not have any exhibits.

12       Witness Johnson, we also ask that his Prefiled Direct

13       Testimony be moved into the record as though read.

14                 CHAIRMAN GRAHAM:  Let's move Witness Johnson

15       into the record as though read.

16                 MR. BADDERS:  And we also move for the

17       admission of an exhibit that has already been identified

18       as Exhibit 27 to his testimony.

19                 CHAIRMAN GRAHAM:  Let's also put Exhibit 27,

20       Hearing ID Number 27.

21                 (Exhibit Number 27 admitted into the record.)

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

240

1                 MR. BADDERS:  And that moves us to Witness

2       Feazell.

3                 CHAIRMAN GRAHAM:  Okay.

4                 MR. GRIFFIN:  I call Mr. Feazell to the stand.

5                 CHAIRMAN GRAHAM:  Welcome, Mr. Feazell.

6                 THE WITNESS:  Thank you.

7                       WILLIAM MICHAEL FEAZELL

8       was called as a witness on behalf of Gulf Power Company,

9       and having been duly sworn, testified as follows:

10                          DIRECT EXAMINATION

11       BY MR. GRIFFIN:

12            Q.   Mr. Feazell, were you previously sworn in the

13       hearing room this morning?

14            A.   Yes, I was.

15            Q.   Please state your name and business address

16       for the record.

17            A.   My name is William Michael Feazell.  My

18       address is 140 Hollywood Boulevard, Fort Walton Beach,

19       Florida 32548.

20            Q.   And by whom are you employed and in what

21       capacity?

22            A.   Gulf Power Company as the District Operations

23       Manager for the Fort Walton Beach district.

24            Q.   And you are the same Mike Feazell who prefiled

25       Direct Testimony on March 3rd, 2011, consisting of 14

FLORIDA PUBLIC SERVICE COMMISSION

241

1       pages?

2            A.   Yes, sir.

3            Q.   Do you have any changes or corrections to that

4       testimony?

5            A.   Yes, sir.  I'll go through that.  The changes

6       I have would be on Page 3, Lines 11 through 12.  It

7       would be to strike April 2008 and insert June 19th,

8       2006.  The second change would be on Page 5, Line 15,

9       strike "Or construct an entirely new substation."  And

10       these changes came about as a result of the changes of

11       the Direct Testimony from Witness Avery.

12                 The last one on Page 9 would be Lines 13

13       through 19.  I'd like to strike both the question and

14       the answer.

15            Q.   With the exception of those changes, if I were

16       to ask you the same questions today, would your answers

17       be the same?

18            A.   Yes.

19                 MR. GRIFFIN:  Mr. Chair, we would ask that Mr.

20       Feazell's Prefiled Direct Testimony and accompanying

21       changes be inserted into the record as though read?

22                 CHAIRMAN GRAHAM:  I have to apologize.  Let's

23       go back to that change on Page 5.  I missed that one.

24                 THE WITNESS:  On Page 5, Line 15, strike, "Or

25       construct an entirely new substation."

FLORIDA PUBLIC SERVICE COMMISSION

242

1                 CHAIRMAN GRAHAM:  Okay.

2                 MR. GRIFFIN:  Will Mr. Feazell's testimony be

3       inserted into the record as though read?

4                 CHAIRMAN GRAHAM:  Let's enter his testimony

5       into the record as though read.

6                 MR. GRIFFIN:  Thank you, sir.

7       BY MR. GRIFFIN:

8            Q.   Mr. Feazell, did you also have four exhibits

9       attached to your direct testimony labeled as WMF-1

10       through WMF-4?

11            A.   Yes, I do.

12                 MR. GRIFFIN:  And, Mr. Chair, I would note

13       that those exhibits are identified as Hearing Exhibits

14       28, 29, 30, and 31.

15                 CHAIRMAN GRAHAM:  Okay.

16       BY MR. GRIFFIN:

17            Q.   Do you have any changes or corrections to any

18       of those exhibits?

19            A.   No, sir, I don't.

20            Q.   Did you also submit Prefiled Rebuttal

21       Testimony on April 27th, 2011, consisting of nine pages?

22            A.   That is correct.

23            Q.   And do you have any changes or corrections to

24       that testimony?

25            A.   No, I don't.

FLORIDA PUBLIC SERVICE COMMISSION

243

1            Q.   If I were to ask you the same questions, your

2       answers would be the same today, correct?

3            A.   That's correct.

4                 MR. GRIFFIN:  Mr. Chair, we have ask that Mr.

5       Feazell's Prefiled Rebuttal Testimony be inserted into

6       the record as though read.

7                 CHAIRMAN GRAHAM:  Let's enter his rebuttal

8       testimony into the record as though read.

9       BY MR. GRIFFIN:

10            Q.   And, Mr. Feazell, did you have one exhibit to

11       your rebuttal testimony listed as WMF-5?

12            A.   That is correct.

13                 MR. GRIFFIN:  And, Mr. Chair, I would note

14       that that exhibit is identified as Hearing Exhibit 32.

15                 CHAIRMAN GRAHAM:  Okay.

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

267

1       BY MR. GRIFFIN:

2            Q.   Do you have any changes or corrections to that

3       exhibit?

4            A.   No, I don't.

5            Q.   With that, Mr. Feazell, please summarize your

6       testimony.

7            A.   Good afternoon, Commissioners.  My name is

8       Mike Feazell, and I am Gulf Power's District Operations

9       Manager for the Fort Walton Beach district.  My job is

10       to safely provide reliable electric service to our

11       customers in the Fort Walton Beach, Destin, Crestview,

12       along with the DeFuniak areas.  In my testimony, I will

13       explain why Gulf Power is capable of providing safe,

14       reliable electric service to the Freedom Walk

15       Development.  I will also explain why Gulf Power is able

16       to provide that service at a cost below that of CHELCO.

17                 In order to safely and reliably serve the

18       Freedom Walk Development, Gulf Power will extend its

19       three-phase line 2,130 feet along Old Bethel Road

20       without crossing any CHELCO primary distribution

21       facilities at a cost of $89,738.  In contrast, in order

22       to safely and reliably serve the development, CHELCO

23       will be required to upgrade a 1.3-mile segment of its

24       394 AAAC conductor along Highway 85.  The cost for this

25       upgrade alone totals $227,404.  In addition to the

FLORIDA PUBLIC SERVICE COMMISSION

268

1       conductor upgrade, CHELCO would also be required to

2       perform significant upgrades at its Auburn substation,

3       and to install new voltage regulators and capacitors.  I

4       have estimated these costs to be at least $114,000.

5                 It is clear from Witness Sullivan's own

6       engineering studies that the additional load associated

7       with the Freedom Walk Development will cause this

8       1.3-mile conductor segment to not only exceed CHELCO's

9       own system design and operational criteria, but to

10       exceed 100 percent of the conductor's maximum rated

11       capacity.

12                 CHELCO argues that the costs associated with

13       the conductor upgrade should not be considered as part

14       of CHELCO's cost to serve the development because the

15       upgrade would be performed by CHELCO in 2014, even if

16       CHELCO is not awarded the right to serve Freedom Walk.

17       However, based on my review of CHELCO's load projections

18       for that area, I believe it highly improbable that

19       CHELCO would have a legitimate need to proceed with the

20       conductor upgrade in 2014 if they did not serve the

21       development.

22                 Witness Avery and Grantham have taken the

23       position that CHELCO can serve the full load associated

24       with Freedom Walk without making any upgrades to the

25       Auburn substation.  This position ignores the testimony

FLORIDA PUBLIC SERVICE COMMISSION

269

1       of CHELCO Witness Sullivan, and is simply not prudent

2       from an engineering or system planning perspective.  The

3       load projected for Freedom Walk will cause the Auburn

4       substation loadside bank breaker and breaker by-pass

5       switches to be operated at 97 percent of their maximum

6       capacity, and the Auburn Circuit 3 recloser to be

7       operated at 93 percent of its maximum capacity.  And

8       that is just the probable loading, and without any

9       consideration for weather extremes.

10                 Ms. Sullivan recognized this problem and

11       recommended two options that CHELCO could use to reduce

12       the loading on these substation components.  One option

13       was to upgrade the loadside bus work and circuit

14       recloser for Auburn Circuit 3.  The second option was to

15       build approximately 1.5 miles of new line from the

16       Auburn substation and transfer that load to the new

17       line.  Each of these options comes with significant

18       costs.

19                 Mr. Avery has ignored these recommendations

20       and suggested that CHELCO could simply monitor the

21       situation.  Based on my experience, this is not a

22       realistic solution.  Operating these substation

23       components so close to their maximum ratings leaves an

24       inadequate safety margin in the event that weather or

25       other conditions result in increased load on the system.

FLORIDA PUBLIC SERVICE COMMISSION

270

1                 Finally, my testimony addresses CHELCO's

2       contention that it will be using a loop-fed system to

3       serve the Freedom Walk Development.  I explain why

4       CHELCO's system is not truly loop-fed as the term is

5       typically understood in the industry.  While a portion

6       of the feeder is loop, the entire feeder is not.  There

7       are approximately two miles of this feeder that are

8       radial.  Consequently, CHELCO's suggestions that this

9       system is capable of providing more reliable service to

10       the development are overstated at best.

11                 Thank you.

12                 CHAIRMAN GRAHAM:  Thank you, sir.

13                 MR. GRIFFIN:  We tender Mr. Feazell for

14       cross-examination.

15                 CHAIRMAN GRAHAM:  Thank you.  FECA.

16                 MR. WILLINGHAM:  We have no questions.

17                 CHAIRMAN GRAHAM:  Okay.  Thank you.  CHELCO.

18                          CROSS EXAMINATION

19       BY MR. EARLY:

20            Q.   Good afternoon, Mr. Feazell.  Good to see you

21       again.

22            A.   Good afternoon, sir.

23            Q.   Mr. Feazell, do you have your testimony and

24       your deposition with you today?

25            A.   Yes, sir, I do.

FLORIDA PUBLIC SERVICE COMMISSION

271

1            Q.   Okay.  Deposition transcript, I suppose.  Let

2       me start -- let me talk a little bit with you about

3       conductors and electrical equipment in general.  Is it

4       correct to say that the rated capacity of a conductor is

5       the amount of current that can be carried by that

6       conductor?

7            A.   Yes, sir.

8            Q.   Okay.  And the rated capacity is a specific

9       number, correct?

10            A.   That's correct.

11            Q.   Okay.  If conductors are installed in a manner

12       that they don't experience limitations caused by lines

13       sagging, or terrain issues, or things like that, can a

14       conductor safely be operated at 100 percent of its rated

15       capacity?

16            A.   Yes, sir.

17            Q.   And can a conductor likewise be safely

18       operated at 100 percent of its operating capacity?

19            A.   I believe it would be, yes.

20            Q.   Would your testimony as to electrical

21       conductors apply to other electrical equipment that

22       carries a load rating?  That is, can electrical

23       equipment that carries a load rating be safely operated

24       at 100 percent of its rated capacity?

25            A.   In some instances, yes.  I would have to know

FLORIDA PUBLIC SERVICE COMMISSION

272

1       the specifics of what you're talking about.

2            Q.   As a general matter, I mean, is that an

3       accurate statement that a piece of equipment, if

4       operated and installed correctly, can be operated at

5       100 percent of its rated capacity?

6            A.   Yes, sir.

7            Q.   And, in fact, doesn't a load rating provide an

8       engineer or someone in your position with the

9       information as to how much current can be carried by

10       that particular piece of equipment?

11            A.   Yes, sir.

12            Q.   And since you have a specific number

13       attributed to a piece of equipment, doesn't that give

14       people who are in charge of planning the information

15       that they might use to be able to start the upgrade

16       process?

17            A.   Could you please restate that?

18            Q.   Yes.  Since you have a specific number as to a

19       piece of electrical equipment, does that give people who

20       are in charge of planning the information to know when

21       they might want to start upgrading that equipment?

22            A.   It could, yes.

23            Q.   Okay.  Now, let's discuss other types of

24       electrical equipment.  Would you agree that an

25       electrical switch can be operated safely at 100 percent

FLORIDA PUBLIC SERVICE COMMISSION

273

1       of its rated capacity?

2            A.   Yes, I would agree that a switch could be

3       operated at 100 percent of its rated capacity and not

4       above that.

5            Q.   Would you agree that a breaker can be operated

6       safely at 100 percent of its rated capacity?

7            A.   I would agree, yes.

8            Q.   Would you agree that a bus can be operated

9       safely at 100 percent of their rated capacity?

10            A.   I would agree, yes.

11            Q.   Okay.  Now, Mr. Feazell, you have reviewed,

12       and I believe it is an exhibit to your testimony, you

13       have reviewed the CHELCO 2011 through 2014 construction

14       work plan, have you not?

15            A.   Yes.

16            Q.   Does that construction work plan contemplate

17       the replacement of a 394 AAAC conductor segment with a

18       741 AAAC conductor segment on the CHELCO Auburn

19       substation feeder?

20            A.   Could you point me to where you are referring

21       to that?

22            Q.   Well, is that your recollection of what CHELCO

23       is going be doing as part of their construction work

24       plan or not, or do you recall?

25            A.   I recall, but could you point me to where we

FLORIDA PUBLIC SERVICE COMMISSION

274

1       are talking about?

2                 MR. EARLY:  Just one second, please.  I

3       apologize for the delay.

4                 CHAIRMAN GRAHAM:  Take your time.

5       BY MR. EARLY:

6            Q.   Mr. Feazell, if I could direct you to your

7       Exhibit WMF-4 to your Direct Testimony, Page 21 of 44.

8            A.   Okay.

9            Q.   So to repeat my question, does the

10       construction work plan contemplate the replacement of a

11       394 AAAC conductor segment with a 741 AAAC conductor

12       segment on the CHELCO Auburn substation feeder?

13            A.   Yes, sir.

14            Q.   Okay.  And after that replacement is complete,

15       will the CHELCO distribution system be capable of

16       handling the full 4700 kW load projected for Freedom

17       Walk?

18            A.   After the 394 conductor, this specific one on

19       here, not the other one, correct?

20            Q.   Correct, after that 394 AAAC conductor segment

21       is replaced with a 741 AAAC conductor segment as

22       depicted in the construction work plan, after that is

23       complete, will the CHELCO distribution system be capable

24       of handling the full 4700 kW load projected for Freedom

25       Walk?

FLORIDA PUBLIC SERVICE COMMISSION

275

1            A.   Yes, sir.

2            Q.   If that replacement is completed on

3       December 31, 2014, would CHELCO be able to handle the

4       full 4700 kW load on that date, on December 31, 2014?

5            A.   I don't know about that specific thing.

6            Q.   I'm asking you to assume that that is the date

7       that the 741 replacement is complete.  And on that date,

8       after completion of the 741 AAAC conductor segment,

9       would CHELCO's distribution system be capable of

10       handling the Freedom Walk load?

11            A.   Yes, sir, it would.

12            Q.   Okay.  Now, based on your review of the

13       construction work plan, as you were preparing, as you

14       indicated you did in preparation of your testimony, were

15       you able to determine whether that upgrade was being

16       planned by CHELCO prior to the addition of any Freedom

17       Walk load?

18            A.   Please restate that.

19            Q.   Yes.  Based on your review of the construction

20       work plan, were you able to determine whether that

21       upgrade was being planned by CHELCO prior to the

22       addition of any Freedom Walk load?

23            A.   It was listed in the 2011 through 2014

24       construction work plan.

25            Q.   Were you able to determine whether or not the

FLORIDA PUBLIC SERVICE COMMISSION

276

1       2011 through 2014 construction work plan included a

2       specific provision for the Freedom Walk load?

3            A.   I'm not aware of any Freedom Walk load

4       included in that plan.

5            Q.   Okay.  Now, let me ask you, we have talked a

6       bit -- I want to move to substation issues, and we have

7       talked a good bit about MVA ratings, the rating in the

8       MVA.  Does MVA have a corresponding relationship to --

9       we have seen with Freedom Walk 4700 kW is the projected

10       load.  Is 4700 kV, would that be the equivalent of 4.7

11       MVA?

12            A.   Not necessarily.  Please restate that question

13       one more time.

14            Q.   Does MVA, does the rating in MVAs correspond

15       to a rate, to kilowatts, to kW?

16            A.   If you are factoring in the bank rating, you

17       have to take into account both the kW load and the VAr

18       flow or VAr load that is associated with that.

19            Q.   Do you recall having your deposition taken on

20       April 20th, 2011?

21            A.   Yes, sir, I do.

22            Q.   Do you have your deposition with you?

23            A.   Yes, sir.

24            Q.   Could you turn to Page 86, at Lines 11 through

25       13?

FLORIDA PUBLIC SERVICE COMMISSION

277

1            A.   On 86, Lines 11 through 13?

2            Q.   Yes.  And I asked you would a 10.5 MVA as

3       referenced here be the equivalent of 10,500 kW in terms

4       of its carrying capacity, and you responded I believe it

5       would.  Is that a correct statement today?

6            A.   Are we referring specifically to the 10 MVA

7       transformer that exists today?

8            Q.   I was referring to a 10 MVA as referenced

9       here, and we were talking about a transformer at the

10       Airport Road substation.  But, in general, would a 10.5

11       MVA transformer be able to have the carrying capacity of

12       10,500 kW?

13            A.   That is correct, on the nameplate rating.

14            Q.   Okay.  Now, in your testimony, and I

15       understand that you have withdrawn this piece of your

16       testimony, but I'm going to ask you a question that

17       doesn't necessarily relate to that specifically.  But

18       you indicated that -- well, do you recall earlier in

19       this proceeding there was a discussion that CHELCO might

20       have to do a substation upgrade in order to handle the

21       load when the understanding was that the transformer at

22       the Auburn Road was 20 MVA, do you recall that?

23            A.   Yes, sir.

24            Q.   And at that time it was Gulf's understanding

25       that there would have to be an upgrade of the actual

FLORIDA PUBLIC SERVICE COMMISSION

278

1       transformer at the Auburn substation, is that accurate?

2            A.   That is correct.

3            Q.   Okay.  And at that time, it was your testimony

4       that if CHELCO had to do that at the Auburn Road

5       substation that it was going to cost somewhere between

6       700,000 and $1.2 million, do you recall that testimony?

7            A.   Could you point me in the direction where that

8       is?

9            Q.   Well, it's Page 9, Lines 13 through 19, which

10       have been withdrawn, but do you recall --

11            A.   Is that in my direct?

12            Q.   Yes.  I'm sorry, yes, it's Page 9 of your

13       direct, at Lines 13 through 19.

14            A.   Okay.

15            Q.   Do you recall making that statement?

16            A.   Yes.

17            Q.   And you were able to conclude at that time

18       that based on -- quote, "Based on my knowledge of

19       transmission construction, the cost of a transformer

20       replacement ranges from 700,000 to 1.2 million."  That

21       was your understanding at that time of what it would

22       cost CHELCO to do that replacement, correct?

23            A.   That is correct.

24            Q.   Okay.  Now, based on the information available

25       today, do you believe any transformer replacement is

FLORIDA PUBLIC SERVICE COMMISSION

279

1       necessary for CHELCO?

2            A.   Based on today's information?

3            Q.   Correct.

4            A.   No, I don't feel like the transformer needs to

5       be replaced.

6            Q.   Okay.  Now, let me hand you Exhibit Number 24,

7       which is Exhibit CSC-5, which is Gulf Power responses to

8       CHELCO's second set of interrogatories.  If I could

9       direct you to Interrogatory Number 39, is it your

10       understanding that Gulf has proposed replacing the

11       existing 10.5 MVA transformer at its Airport Road

12       substation with a bank of three transformers to meet the

13       Freedom Walk load?

14            A.   Excuse me while I read this.

15            Q.   Yes.  It's Interrogatory Response 39.

16            A.   Okay.  Please restate your question, sir.

17            Q.   Yes.  Is it your understanding, based on

18       Interrogatory Number 39, that absent a larger upgrade

19       that we will discuss later, Gulf would need to replace

20       three single-phase substation transformers at the

21       Airport Road substation in order to handle Freedom Walk,

22       the load associated with Freedom Walk?

23            A.   It says here that Gulf would need to replace

24       three single-phase substation transformers at the

25       Airport Road sub at a cost of approximately $40,000.

FLORIDA PUBLIC SERVICE COMMISSION

280

1            Q.   Okay.  In order to serve the estimated --

2            A.   To serve the estimated 4.7 load associated

3       with Freedom Walk.

4            Q.   Okay.  And let me hand you -- this is response

5       to staff Interrogatory Number 1, which is Exhibit 60,

6       and I'd ask you to take a look at the answer to Question

7       1A.  And that question is using your existing facilities

8       as of January 1, 2010, provide information and all

9       associated costs in relation to providing service to an

10       assumed 4.7 megawatt of total load for Freedom Walk

11       development reaching build-out in December 2014.  Were

12       you responsible for the preparation --

13            A.   Please restate the original.  I was waiting on

14       the document.

15            Q.   Well, were you responsible for the preparation

16       of that interrogatory response?

17            A.   Yes, sir.

18            Q.   Okay.  And in response to staff's Question

19       Number 1A, is it the position of Gulf today that it will

20       have to provide a replacement transformer or series of

21       transformers at 12.5 MVA in order to serve Freedom Walk?

22            A.   Restate that again.

23            Q.   Is it Gulf's position today that it will have

24       to provide a replacement transformer or series of

25       transformers at the Airport Road substation with a total

FLORIDA PUBLIC SERVICE COMMISSION

281

1       capacity of 12.5 MVA in order to meet the 4,700 kW load

2       of Freedom Walk by December 31st, 2014?

3            A.   In order for Gulf to serve the Freedom Walk

4       load, we would upgrade the 10.5 MVA bank to a 12.5 MVA

5       bank that has got a 100 percent loading factor that's

6       associated with it, which would give us 15 MVA on that

7       transformer bank.  Conversely, the 10.5 MVA bank will

8       handle 12.6 MVA.  We load the transformer to

9       120 percent, so at that point in time, yes.

10            Q.   And you have attributed, or Gulf has

11       attributed a cost of $40,000 to that, to the replacement

12       of that transformer?

13            A.   That's correct.

14            Q.   Okay.  Now, you have indicated in your

15       testimony that you have a knowledge of transmission

16       construction that was sufficient to allow you to

17       conclude that a transformer replacement by CHELCO would

18       have cost between 700,000 and 1.2 million, we discussed

19       that earlier?

20            A.   Yes, sir.

21            Q.   Does your knowledge of transmission

22       construction as you have testified, does that -- given

23       that knowledge, what would a fair replacement cost be

24       for a 12.5 MVA transformer?

25            A.   The cost that's stated here, the $40,000 cost

FLORIDA PUBLIC SERVICE COMMISSION

282

1       is a fully depreciated transformer that we are talking

2       about.  The depreciation on a transformer is roughly in

3       the neighborhood of 38 years depreciation -- or, excuse

4       me, the transformer age that we used when we looked at

5       this was a 45-year-old transformer.  So we are talking

6       about the labor cost associated with a fully depreciated

7       transformer.

8            Q.   Okay.  But that wasn't my question.  My

9       question is what is the fair replacement cost of a

10       12.5 -- if I were to go today and pull out my checkbook

11       and go to the transformer store and ask them for a 12.5

12       MVA transformer, what might I be expected to pay?

13            A.   I didn't do any research into what a 12.5 MVA

14       would cost.

15            Q.   So your knowledge of transmission construction

16       doesn't given you sufficient information to come to any

17       conclusion as to what that might cost?

18            A.   I have never been involved in the upgrade of a

19       12.5 as far as what you are referring to as a new

20       transformer.

21            Q.   Okay.  You assumed when you were looking at

22       CHELCO that CHELCO was going to be buying a new

23       transformer?

24            A.   We took a new transformer and that is what

25       that price was, was a new transformer; yes, sir.

FLORIDA PUBLIC SERVICE COMMISSION

283

1            Q.   Okay.  Do you have any sense as you sit here

2       today, based on your experience as you have indicated,

3       what an approximate cost or what a fair market cost

4       might be for a 12.5 MVA transformer?

5            A.   No, I don't.

6            Q.   No?

7            A.   No, I don't.

8            Q.   How about if I were to go buy a used one, you

9       know, a retail transformer.  Do you have any idea what

10       that would cost?

11            A.   No, I don't.

12            Q.   Would you assume it would be more than zero?

13            A.   I would assume it to be more than zero; yes,

14       sir.

15            Q.   Okay.  Now, as part of Interrogatory Response

16       39, you discuss an upgrade of the Airport Road

17       substation as part of a larger plan to convert Gulf's 46

18       kV system in the area to a 115 kV system.  Do you recall

19       that?

20            A.   Yes, sir.

21            Q.   And in response to Interrogatory 41, you have

22       given some costs on the second page, on Page 2 of 2, the

23       costs that Gulf has estimated to convert the Airport

24       Road substation to 115 kV with new relaying and new

25       11A/12 kV transformer, and new high-side protection

FLORIDA PUBLIC SERVICE COMMISSION

284

1       would be 1.5 million, is that correct?

2            A.   I don't have that document in front of me.

3            Q.   You do, it is the --

4            A.   It's in the same document, 41?

5            Q.   Yes, it is 41.

6            A.   Okay.  Thank you.  All right.

7            Q.   Okay.  So the cost of the project that I just

8       described to you Gulf estimated at 1.5 million, correct?

9            A.   That is correct.

10            Q.   Okay.  And then to serve the Airport Road

11       substation on the existing Crestview Airport 115 kV line

12       would be another $100,000?

13            A.   That's what it says.

14            Q.   Okay.  Now, these upgrades to the system,

15       those are upgrades that Gulf was planning to perform

16       independent of Freedom Walk, were they not?

17            A.   That is exactly right.

18            Q.   Okay.  And because of that, Gulf has not

19       attributed any of those costs to serving Freedom Walk,

20       is that correct?

21            A.   That is correct.

22            Q.   But the load that is made available by those

23       upgrades will be used to serve Freedom Walk if Gulf is

24       awarded that territory, would they not?

25            A.   Airport Sub will serve the Freedom Walk

FLORIDA PUBLIC SERVICE COMMISSION

285

1       substation, or Freedom Walk development if Gulf is

2       awarded the right to serve.

3            Q.   Okay.  So that is yes?

4            A.   That's yes.

5            Q.   Okay.  Now, if 4700 kW load of Freedom Walk --

6       well, let me ask you, you were here for Mr. Avery's

7       testimony, were you not?

8            A.   Yes, sir.

9            Q.   And did you hear Mr. Griffin as he was

10       questioning Mr. Avery, I believe he asked Mr. Avery

11       several questions about what would happen if the 4700 kV

12       load came on tomorrow.  Were you here for those

13       questions?

14            A.   Yes, sir.

15            Q.   Okay.  Now, if the 4700 kW load of Freedom

16       Walk came on tomorrow, would the Airport Road substation

17       be able to handle that load today?

18            A.   Yes.

19            Q.   Do you recall having your deposition taken on

20       April 20th, 2011?

21            A.   Yes, sir.

22            Q.   If I could have you turn to Page 63, and I

23       asked you at Pages 8 through 11 -- I'm sorry, Lines 8

24       through 11, I asked you if a 4700 kW load came on

25       tomorrow in its current configuration and capacity, the

FLORIDA PUBLIC SERVICE COMMISSION

286

1       Airport Road substation would not be able to handle that

2       load today.  And your response was that is correct.

3       Have you changed your answer?

4            A.   No, sir.

5            Q.   Okay.  How do those two statements --

6            A.   The answer is that with the $40,000

7       transformer change-out, we can serve that.

8            Q.   Okay.  But without that -- as Airport Road

9       sits today, at this moment, it would not be able to

10       handle the full 4700 kW build-out of Freedom Walk?

11            A.   That's correct.

12            Q.   Okay.  Now, you discuss at some length in your

13       testimony, I believe, and in the response to the

14       interrogatories that we have been discussing, the

15       upgrade of the Airport Road along with a number of other

16       substations to the 115 kW system, do you recall?

17            A.   Yes, sir.

18            Q.   Okay.  If I could have you, again, take a look

19       at -- I'm sorry, yes, Item Number 41 in CHELCO's second

20       set of interrogatories, which you have.  And on the

21       second page it discusses convert the Airport Road

22       substation to 115 kV with new relaying and new 115/12 kV

23       transformer and high-side protection, and then hooking

24       it up as we have discussed.

25                 Can I get a plan -- can I get a copy of the

FLORIDA PUBLIC SERVICE COMMISSION

287

1       plan that incorporates that work?

2            A.   We have developed a plan, as I have stated in

3       my rebuttal, that what we planned on doing was upgrading

4       the substations as you see in this document right here.

5            Q.   Okay.

6            A.   And we've got a timeline that is associated

7       with what we are going to do here.

8            Q.   Okay.

9            A.   And with or without the load of Freedom Walk.

10            Q.   Okay.  And can I get a copy of that plan?

11            A.   You have a copy of it here, sir.

12            Q.   This is it?

13            A.   That's what we have discussed in the planning

14       criteria that we have gone through in developing how we

15       are going to implement the 46 kV conversion project.

16            Q.   Okay.  In terms of the conversion of the

17       Airport Road substation, if I were to ask for the

18       planning document that would be involved in the

19       construction of that improvement, I wouldn't be able to

20       get it because it doesn't exist, is that correct?

21            A.   There isn't a physical document that says that

22       we are going to take the high side, the work that is

23       associated in specifics at the Airport sub; no, sir.

24            Q.   Okay.  So the answer to my question then is

25       yes, there is not a document that exists, is that

FLORIDA PUBLIC SERVICE COMMISSION

288

1       correct?

2            A.   Not at this time there isn't; no, sir.

3            Q.   Okay.  What is the construction timeline for

4       that substation upgrade?

5            A.   Specifically, which one?

6            Q.   The upgrade of the Airport Road substation to

7       115 kV with new relaying, et cetera, as set forth on

8       Page 2 of Interrogatory Response 41.  What's the

9       timeline for that?

10            A.   The timeline for the project itself, the

11       entire project, is between 2011 and 2015.

12            Q.   Okay.  Do you recall our discussion -- well,

13       with particular attention to the Airport Road substation

14       portion of this, this plan, this is the plan, these two

15       pages, that is what I have, right?

16            A.   That is an overview of what we plan on doing,

17       that is correct.

18            Q.   Okay.  With regard just to the Airport Road

19       substation element of that plan, what is the

20       construction timeline for that substation upgrade?

21            A.   It would be in the neighborhood of somewhere

22       between 2011 and 2015, an end date of 2015 is what we

23       have discussed.

24            Q.   Do you recall -- if I could have you take a

25       look at your deposition at Page 79, Lines 17 through 21,

FLORIDA PUBLIC SERVICE COMMISSION

289

1       in which I asked you, okay, and today you can't tell me

2       what the timeline would be for that work, can you?

3                 And your answer was specifically within the

4       next three to five years is the plan that we have to do

5       this work that you are looking at.  So is that not an

6       accurate statement today?

7            A.   Can I make sure I'm on the right page again.

8            Q.   Page 79.

9            A.   79, Lines 19.

10            Q.   Lines 17 through 21.

11            A.   Okay.  Ask your question, please.  I'm sorry.

12            Q.   At that time you indicated that the timeline

13       that you had was somewhere between three and five years,

14       is that no longer accurate?  Have you moved that up?

15            A.   We have not moved it up.  It's just that the

16       timeframe between three and five years is what we had

17       planned on doing, with the expectation that the Airport

18       sub or the final leg of this, which is actually the

19       retirement of the South Crestview to Baker line, and all

20       of that would be within that three to five year time

21       frame.  But you had asked specifically about when we

22       were talking about doing the Airport Road substation

23       conversion.  There are other elements to this that have

24       to be done along with that.

25            Q.   Okay.  But as far as the Airport Road

FLORIDA PUBLIC SERVICE COMMISSION

290

1       substation conversion element, that would be three to

2       five years?

3            A.   No, sir.  That would be within time frame that

4       we are talking about, between 2011 and 2015.

5            Q.   Okay.  Are there land associated issues

6       involved, right-of-way, title issues, land records,

7       survey issues, those types of things that could slow the

8       operation down?

9            A.   No, sir.  The actual second part of this where

10       it states in there to convert the Milligan substation to

11       a 115 line and build a half-mile tap, that is in the

12       design stages at this point, and there are no

13       right-of-way issues associated with that.

14            Q.   Okay.  How about title or land use?

15            A.   No, sir.

16            Q.   Okay.  So has any of the work that you have

17       discussed with regard to the upgrade of the Airport Road

18       substation been budgeted?

19            A.   The Airport Road sub specifically, I'm sorry?

20            Q.   Yes.

21            A.   The Airport Road substation has not been

22       budgeted, but will be budgeted in the 2011 budget year,

23       which will be this year.

24            Q.   Okay.  Now, let me ask you, Mr. Feazell, are

25       you familiar -- I believe on Page 2 of your rebuttal you

FLORIDA PUBLIC SERVICE COMMISSION

291

1       speak to the outparcels that are involved in the area in

2       dispute.  Do you recall that statement?

3            A.   Can you point me to where you are talking

4       about?

5            Q.   I'm sorry, Mr. Feazell, I thought it was on

6       Page 2, but I may be incorrect.  Actually, I'm sorry,

7       it's on Page 2 of your rebuttal testimony.  I apologize

8       for that.

9            A.   I'm there.

10            Q.   And you discuss the outparcels for the

11       property?

12            A.   I'm sorry?

13            Q.   In that testimony, you discuss, I believe,

14       certain outparcels that Gulf believes are not within the

15       area in dispute in this case.

16            A.   The exact wording is, "However, these

17       outparcels were included within the development.  It is

18       misleading to suggest the removal of CHELCO's facilities

19       would be necessitated if Gulf Power prevails in this

20       dispute."  In fact, the outparcels were included -- "If

21       the outparcels were included in the development, the

22       facilities would be removed, even if CHELCO is awarded

23       the right to serve the development."

24            Q.   Okay.  Let me have you take a look at one of

25       the exhibits in this case, and see if I understand what

FLORIDA PUBLIC SERVICE COMMISSION

292

1       Gulf's position is with regard to the outparcels.  Let

2       me put up a depiction of the property that was included

3       as Exhibit B to the CHELCO petition for territorial

4       dispute.  And, Mr. Feazell, we have heard Mr. Griffin

5       discuss the bold black lines several times.  Is it the

6       areas that are south of Old Bethel Road, but within the

7       parameters of those bold black lines that Gulf believes

8       to be the outparcels?

9            A.   Do you mind pointing to them?

10            Q.   Sure.  This area and this area.

11            A.   That's correct.

12            Q.   And it's Gulf's position that those areas,

13       those outparcels are not properly within the scope of

14       this territorial dispute, is that correct?

15            A.   They are not within the scope of what we have

16       defined as the territorial dispute, that is correct.

17            Q.   Okay.  Let me have you take a look at a

18       document -- have you take a look at a document that

19       was -- it shows as Hearing ID Number 25, and this is a

20       document -- I'll set it up there in just a second.  This

21       is a document that is prepared by Moore Bass Consulting

22       bearing a date of April 9, 2008, that was produced as a

23       Response to POD Number 14.

24                 And do you recall ever having seen that

25       document?

FLORIDA PUBLIC SERVICE COMMISSION

293

1            A.   Yes, sir, I have seen it.

2            Q.   Okay.  And that document -- who is Moore Bass

3       Consulting?

4            A.   They are the engineering firm that was

5       associated with Freedom Walk and the developer.

6            Q.   And that document from 2008, that shows

7       Freedom Walk lots and streets in the area that would be

8       encompassed by the outparcels as you have previously

9       described them, do they not?

10            A.   Well, it doesn't show the streets in those

11       outparcels.  It shows an outline of it with dashed

12       areas, which differs in what they show in the main body

13       of the subdivision.  But it does depict them, yes.

14            Q.   Okay.  Let me ask you to have a look -- I'm

15       going to place for your review the document that was

16       produced as Response to POD 15, this document bearing a

17       date of June 15th, 2010, prepared by Gulf Power.  Do you

18       recognize that, have you seen that document before?

19            A.   Yes, sir.

20            Q.   Would that be a document that depicts proposed

21       service connections that are going to be made in the

22       Freedom Walk development?

23            A.   Proposed service connections?

24            Q.   Yes.

25            A.   It depicts our layout of what we used for

FLORIDA PUBLIC SERVICE COMMISSION

294

1       depicting what size cable and facilities might be

2       necessary on that particular plat as the plat did change

3       or has changed.  So on that particular plat, that is

4       what that was in place for is to look at conductor sizes

5       and layouts.

6            Q.   Okay.  And on that exhibit, which was prepared

7       by Gulf, was it not?

8            A.   That is correct.

9            Q.   Okay.  And on that exhibit, Gulf is showing

10       connections and conductors and all of those things on

11       lots within the area that you have described as the

12       outparcels, does it not?

13            A.   It depicts that as part of what we were

14       looking at to determine cable size for that particular

15       plat, yes.  Again, there has been other plats associated

16       with this, as well.

17            Q.   So at least according to those two diagrams,

18       POD 14 and POD 15 -- and these documents were produced

19       by Gulf Power in response to a POD, were they not?

20            A.   Yes, that is correct.

21            Q.   Okay.  So at least according to these two

22       diagrams, it would appear that both the developer and

23       Gulf have plans that would include lots and electrical

24       equipment being placed in the area that Gulf has argued

25       are outparcels?

FLORIDA PUBLIC SERVICE COMMISSION

295

1            A.   Well, there is another plat that exists that

2       was --

3            Q.   I understand.  I'm just asking with regard to

4       these two documents.

5            A.   On these two particular ones?  Restate your

6       question, please.

7            Q.   As to POD 14, which is the Moore Bass

8       document, and POD 15, which is the Gulf document, that

9       document was prepared less than a year ago, correct?

10            A.   To the best of my knowledge, yes.

11            Q.   Okay.  Both of those documents show lots being

12       created and electrical service being provided in the

13       area that Gulf argues is not within the scope of this

14       territorial dispute, is that correct?

15            A.   The Moore Bass document that you showed me the

16       first time does not show anything as far as design.

17       This one right here does show what we had proposed to

18       determine the size of the cable and equipment necessary

19       in those areas that you have defined as not being part

20       of the dispute, the outparcels.

21            Q.   Okay.  Now, one last question.  Going back to

22       the document that was included as Exhibit B to the

23       CHELCO petition, there are a number of -- and I'm going

24       to get up and point them out -- but a number of

25       residential developments and homes on both the north and

FLORIDA PUBLIC SERVICE COMMISSION

296

1       west -- north side of Old Bethel Road and along Normandy

2       Road, and let me show you where I'm talking about.

3       These homes here (indicating).  In this development it

4       doesn't look like there are many homes in it, but there

5       are streets.  These homes here, and these homes along

6       Normandy Road.  Do you see where I am?

7            A.   Yes, sir.

8            Q.   Who serves those homes?

9            A.   To the best of my knowledge, CHELCO currently

10       serves those homes.

11            Q.   Okay.  All right.  Mr. Feazell, going back to

12       the Moore Bass document dated 4/9/2008, and, again, this

13       was POD 14, according -- that document has a dotted line

14       going all the way around the perimeter of the area

15       shown.  Do you see that?  And follows along the entire

16       perimeter of Old Bethel Road.

17            A.   I'm not seeing what you are trying to describe

18       to me.

19            Q.   Do you see the dotted line along -- let's get

20       the most obvious.  Along the south and east boundary

21       there is a dotted line that has a long line and then two

22       short lines, and then a long line and two short lines?

23            A.   Perhaps you could point that out to me to make

24       sure we are talking about the same thing.

25            Q.   A long line, two short lines; a long line, two

FLORIDA PUBLIC SERVICE COMMISSION

297

1       short lines; a long line and two short lines.  Do you

2       see the line that I am referring to?

3                 Does that long line and two short lines go all

4       the way around the perimeter of the area being depicted

5       on that Moore Bass document?

6            A.   Does it go all the way around the perimeter?

7            Q.   Does it follow along the entirety of the

8       northern boundary of Old Bethel Road?

9            A.   One line does, but the other one cuts off the

10       outparcel.

11            Q.   Okay.  Other than the outparcel, though, that

12       long line and two short lines goes all the way along Old

13       Bethel Road, does it not?

14            A.   Yes.  Again, it goes around Old Bethel, but it

15       cuts off those lots that we were talking about earlier,

16       as well.

17            Q.   Let me just ask you very plainly.  Isn't it

18       accurate that that long line and two short line piece

19       goes all the way around, it follows that curve and goes

20       all the way around to Normandy Road?

21            A.   That is correct, but it is also correct that

22       you have one that goes across the bottom half that cuts

23       off those same outparcel lots that we are talking about.

24            Q.   Okay.  And under the key that is provided with

25       that document, that long line and two short lines is

FLORIDA PUBLIC SERVICE COMMISSION

298

1       defined as the property boundary, is it not?

2            A.   I'm sorry, I can't read that as well as you

3       can.

4            Q.   There is a legend, property boundary.

5            A.   It says property something, as best I can

6       tell.  It is quite blurred, I apologize.

7            Q.   Okay.  Thank you.

8                 Mr. Feazell, I appreciate your time.

9            A.   Thank you.

10                 MR. EARLY:  I have no further questions.

11                 CHAIRMAN GRAHAM:  All right.  Staff.

12                          CROSS EXAMINATION

13       BY MR. JAEGER:

14            Q.   Going to that Exhibit 14, I was looking at the

15       legend, and I can't tell the difference between property

16       boundary and proposed lot lines.  They are both a long

17       line, two short lines, and a long line.  Or is one of

18       them more bold and one lighter; is that what it is?  In

19       the legend of what we were just looking at, POD 14, it

20       has property boundaries --

21                 CHAIRMAN GRAHAM:  Hold on a second.  Let him

22       get the illustration back in front of him.

23                 THE WITNESS:  I'm sorry, I don't have that,

24       sir.  Can I borrow your map again?  (Pause.)

25                 CHAIRMAN GRAHAM:  Ask the question, again, if

FLORIDA PUBLIC SERVICE COMMISSION

299

1       you would.

2                 MR. JAEGER:  Okay.

3       BY MR. JAEGER:

4            Q.   In the legend, at the top it says property

5       boundary, and it's a long line, two short lines, and a

6       long line.  And then three more down, again, it is one

7       long line, two short lines, and a long line that doesn't

8       look to be quite as bold.  Is that the difference

9       between property boundary and proposed lot lines?

10            A.   I'm assuming there is, but that could be the

11       printing that may have taken place with the paper.  I'm

12       assuming they are trying to delineate the difference

13       between property lines and property boundary.  To answer

14       your question, I'm having a tough time distinguishing

15       between the two on this particular document.

16            Q.   Yes, I agree, the legend is pretty bad.  Thank

17       you.

18                 CHAIRMAN GRAHAM:  Is that all from staff?

19                 MR. JAEGER:  That's all.

20                 CHAIRMAN GRAHAM:  Commission board?

21                 Redirect?

22                 MR. GRIFFIN:  We do have some redirect, Mr.

23       Chair.

24                         REDIRECT EXAMINATION

25

FLORIDA PUBLIC SERVICE COMMISSION

300

1       BY MR. GRIFFIN:

2            Q.   Mr. Feazell, Mr. Early was asking you about

3       Gulf's planning process for the Airport Road conversion

4       project.  When did Gulf Power first meet to discuss that

5       Airport Road conversion project?

6            A.   We actually met in February of 2008.  We had a

7       meeting that was conducted to talk about not only the

8       Airport Road substation, but the South Crestview, East

9       Crestview, and we also discussed the Baker and Milligan

10       substations that are all involved in the 46 kV

11       conversion project.

12            Q.   And when did Gulf Power or when did you first

13       meet with the developer in this case to discuss Freedom

14       Walk?

15            A.   I met with the developer in April of 2008.

16            Q.   There was some discussion of whether the

17       upgrade to the 394 AAAC segment of the conductor to a

18       741 AAAC segment would enable CHELCO's distribution

19       system to handle the full load of Freedom Walk.  Do you

20       remember that?

21            A.   That's correct.

22            Q.   Would CHELCO also need to add voltage

23       regulators and capacitors to enable that line to handle

24       the full load associated with Freedom Walk?

25            A.   Based on the discussions and the testimony,

FLORIDA PUBLIC SERVICE COMMISSION

301

1       yes, they would have to add voltage regulators and cap

2       banks.

3            Q.   Mr. Early talked with you about the early

4       replacement of the 10.5 MVA transformer with a larger

5       transformer at a cost of $40,000.  Do you recall that?

6            A.   Yes, sir.

7            Q.   Would Gulf have to buy a replacement

8       transformer to enable that replacement?

9            A.   No, we would not.  That's labor cost

10       associated with the movement of a transformer or

11       transformers.

12            Q.   Is that a transformer that Gulf Power or

13       Southern Company already has in inventory, so to speak?

14            A.   That is correct.  It's a fully depreciated

15       transformer that we have available.

16            Q.   Would Gulf Power have to proceed with the

17       $40,000 replacement project if the Airport Road

18       conversion project was completed before Freedom Walk

19       fully develops?

20            A.   No.  Based on the project that we have, the

21       conversion project of the 46 kV system, we would not

22       have to change out any transformer at Airport sub.  Once

23       that project is completed, the 28 MVA that would go in

24       at Airport Sub is a standard 28 115/12 kV transformer, a

25       Southern Company standard transformer that is fully

FLORIDA PUBLIC SERVICE COMMISSION

302

1       capable of handling any load that is associated with

2       Airport sub.

3            Q.   Mr. Early asked you if any component of the

4       Airport Road conversion project has been included in

5       Gulf Power's budgeting process.  Have elements of the

6       North Okaloosa County conversion project been included

7       in Gulf Power's present budgeting in the distribution

8       elements?

9            A.   Yes.  In 2011, as of September is the start

10       date, we will start the elimination of a Baker

11       substation, which is 46 kV sub.  We will eliminate that

12       substation by doing distribution work that is associated

13       with tying the two together.  That work will be

14       completed by the end of 2011.  That is in the 2011

15       budget forecast.

16            Q.   Mr. Early asked you about the outparcels and

17       in doing that he went over some maps with you.  Those

18       were POD 14 and 15.  Please turn to Exhibit 1 to your

19       deposition, please, sir.

20            A.   Is that the Moore Bass map?

21            Q.   Yes.  I was going to ask you what that

22       document is?

23            A.   It's the Moore Bass phasing -- or, excuse me,

24       it is a Moore Bass plat that we received, and that's

25       what Witness Johnson provided us with when I gave my

FLORIDA PUBLIC SERVICE COMMISSION

303

1       testimony as far as the number of lots that were

2       associated with the Freedom Walk development, and it

3       included the phasing of this subdivision.

4            Q.   Okay.  And what does it say right up there

5       when we have been talking about the outparcels?

6                 CHAIRMAN GRAHAM:  Hold on just a second.

7                 Are we good?  Please continue.

8       BY MR. GRIFFIN:

9            Q.   Mr. Feazell, what does it say right up in the

10       area where we have been talking about the outparcels?

11            A.   It says outparcel.

12                 MR. GRIFFIN:  That's all I have.  Thank you.

13                 CHAIRMAN GRAHAM:  Okay.  Exhibits.

14                 MR. EARLY:  Excuse me.  Mr. Chairman, and I

15       know the Commission typically doesn't allow recross, but

16       since that dealt with an entirely different exhibit,

17       could I ask a question with regard solely to the map

18       that Mr. Feazell just offered testimony about?

19                 MR. GRIFFIN:  Mr. Chair, he specifically

20       precluded Mr. Feazell from referring to this document

21       during his cross-examination, and so I would object to

22       any further recross on this.

23                 CHAIRMAN GRAHAM:  Was the document just to

24       clarify a question that he had asked earlier?

25                 MR. GRIFFIN:  That is correct; yes, sir.

FLORIDA PUBLIC SERVICE COMMISSION

304

1                 CHAIRMAN GRAHAM:  I'll overrule the objection.

2                         RECROSS EXAMINATION

3       BY MR. EARLY:

4            Q.   Mr. Feazell, the document that you just

5       identified on the bottom says Freedom Walk Community

6       Development District.  Do you see that?

7            A.   Yes, sir.

8            Q.   Do you know what a community development

9       district is?

10            A.   I'm not familiar enough with a community

11       development district to comment, no, sir.

12            Q.   To the extent that a 0community development

13       district might be different than a subdivision, might

14       this map -- would it appear that this map depicts a

15       particular development district?  Would you draw that

16       conclusion from that?

17            A.   Again, I don't know what a community

18       development district is, so it doesn't indicate to me

19       anything other than a plat.

20                 MR. EARLY:  Okay.  Thank you.

21                 Thank you.

22                 MR. GRIFFIN:  We would move Exhibits 28, 29,

23       30, 31, and 32 into the record, Mr. Chair.

24                 CHAIRMAN GRAHAM:  Let the record show we are

25       going to enter 28, 29, 30, 31, and 32 into the record.

FLORIDA PUBLIC SERVICE COMMISSION

305

1                 (Exhibit Number 28 through 32 admitted into

2       the record.)

3                 CHAIRMAN GRAHAM:  And does this conclude this

4       witness?

5                 MR. GRIFFIN:  Yes, sir.

6                 CHAIRMAN GRAHAM:  Thank you.

7                 THE WITNESS:  Thank you.

8                 CHAIRMAN GRAHAM:  Let's go ahead and take a

9       five-minute recess before we take up the last witness.

10                 (Recess.)

11                 CHAIRMAN GRAHAM:  Okay.  We are to Gulf's last

12       witness.

13                 MR. BADDERS:  Actually, I have two.  We have

14       one extra in the middle that we have to move into the

15       record.  So at this time I will move the Prefiled Direct

16       Testimony of R. K. Harper into the record as though

17       read.

18                 CHAIRMAN GRAHAM:  Let's move the testimony of

19       Mr. Harper as though read.

20                 MR. BADDERS:  Mr. Harper also has one exhibit.

21       It has been previously identified as Hearing Exhibit 33.

22       I would move that into the record also.

23                 CHAIRMAN GRAHAM:  Let's so move Hearing ID

24       Number 33 into the record.

25                 (Exhibit Number 33 admitted into the record.)

FLORIDA PUBLIC SERVICE COMMISSION

316

1                 MR. BADDERS:  Thank you.

2                 And now we are to Gulf's last witness.  Mr.

3       Spangenberg has taken the stand.

4                 Mr. Spangenberg, were you previously sworn?

5                 THE WITNESS:  Yes, I was.

6                     THEODORE S. SPANGENBERG, JR.

7       was called as a witness on behalf of Gulf Power Company,

8       and having been duly sworn, testified as follows:

9                         DIRECT EXAMINATION

10       BY MR. BADDERS:

11            Q.   Please state your name and your business

12       address for the record.

13            A.   I am Theodore S. Spangenberg, Jr.  My business

14       address is 500 Bayfront Parkway, Pensacola, Florida.

15            Q.   Thank you.  And by whom are you employed and

16       in what capacity?

17            A.   I am employed by Gulf Power Company as the

18       Director of Military Affairs and Special Projects.

19            Q.   Are you the same Theodore S. Spangenberg, Jr.

20       who prefiled Direct Testimony on March 3rd, 2011,

21       consisting of 29 pages?

22            A.   Yes, I am.

23            Q.   Do you have any changes or corrections to that

24       testimony?

25            A.   I have two changes to that testimony.  They

FLORIDA PUBLIC SERVICE COMMISSION

317

1       are very minor.  The first would be on Page 13 of that

2       Direct Testimony, Line 15; the word statues should be

3       statutes.

4                 And then on Page 25, I will need to change

5       that as a result of CHELCO's change in their direct

6       testimony.  Page 25, the sentence that begins on Line 7

7       should end after the word required on Line 8, and the

8       rest of that sentence should be struck.

9                 And those are the only corrections to my

10       testimony.

11            Q.   Thank you.

12                 With those corrections, if I were to ask you

13       the same questions today, would your answers be the

14       same?

15            A.   Yes, they would.

16                 MR. BADDERS:  Mr. Chair, we ask that Mr.

17       Spangenberg's Prefiled Direct Testimony be moved into

18       the record.

19                 CHAIRMAN GRAHAM:  Let's enter Mr.

20       Spangenberg's Prefiled Testimony into the record as

21       though read.

22       BY MR. BADDERS:

23            Q.   Mr. Spangenberg, did you also have one exhibit

24       attached to your direct testimony identified as TSS-1?

25            A.   Yes, I did.  I believe it contains several

FLORIDA PUBLIC SERVICE COMMISSION

318

1       schedules.

2            Q.   I would note that that has been previously

3       identified as Hearing Exhibit 34.

4                 Do you have any changes or corrections to that

5       exhibit?

6            A.   No, I do not.

7            Q.   Mr. Spangenberg, did you also submit Prefiled

8       Rebuttal Testimony on April 27th, 2011, consisting of 25

9       pages?

10            A.   Yes, I did.

11            Q.   Do you have any changes or corrections to that

12       testimony?

13            A.   No, I do not.

14            Q.   If I were to ask you the same questions today,

15       would your answers be the same?

16            A.   Yes, they would.

17                 MR. BADDERS:  Mr. Chair, we would move that

18       Mr. Spangenberg's prefiled rebuttal testimony be moved

19       into the record as though read.

20                 CHAIRMAN GRAHAM:  Let's move Mr. Spangenberg's

21       prefiled rebuttal testimony, did you say?

22                 MR. BADDERS:  Yes.

23                 CHAIRMAN GRAHAM:  -- into the record as though

24       read.

25                 MR. BADDERS:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

319

1       BY MR. BADDERS:

2            Q.   Mr. Spangenberg, did you also have three

3       exhibits attached to your prefiled testimony labeled

4       TSS-2, TSS-3, and TSS-4?

5            A.   Yes, I did.

6            Q.   Do you have any changes to any of those

7       exhibits?

8            A.   No, I do not.

9                 MR. BADDERS:  Thank you.  I will note that

10       those have also been given Hearing Exhibit Numbers of

11       35, 36, and 37.

12                 At this time we would tender him to give his

13       summary.

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

374

1                 THE WITNESS:  Good afternoon, Commissioners.

2       My name is Ted Spangenberg, Jr., and I am the Director

3       of Military Affairs and Special Projects for Gulf Power

4       Company, and one of those special projects is

5       territorial affairs.  I have a long history of dealing

6       with territorial matters in Florida, most of it focusing

7       on avoiding the type of dispute which brings us here

8       today.

9                 My testimony steps through the various

10       elements to be considered as outlined in statutes and

11       Commission rules in resolving a dispute.  The first of

12       these involves identifying the area in dispute and its

13       nature.  CHELCO has clearly identified for us in its

14       petition what area or customer it is disputing, and it

15       is the Freedom Walk development as developed, not pine

16       trees, pasture, and palmettos which need no service.

17                 Freedom Walk would be a nonrural urban

18       development based on its population density, the types

19       of urban amenities it would incorporate, and any of the

20       definitions for urban found in Florida law.  It will be

21       located within the corporate limits of the City of

22       Crestview, and it will be within easy walking distance

23       of a variety of other urban areas and amenities already

24       existing in Crestview, as is readily obvious from the

25       composite aerial photo that I have provided.  And that

FLORIDA PUBLIC SERVICE COMMISSION

375

1       photo is on the easel here and up on the screen.

2                 Consideration of the nature of the area is

3       important because of its link to the next consideration,

4       which is the type of utilities seeking to serve.  Gulf

5       Power is a public utility with a statutory obligation to

6       provide the service that has been requested.  As a

7       public utility, there are no limitations on the types of

8       areas in which Gulf Power can provide service.  It is

9       permitted to serve Freedom Walk.

10                 CHELCO is a rural electric cooperative, and

11       hence is not permitted to serve new prospective

12       customers in nonrural areas.  The Commission has a long

13       history of assessing whether a disputed area is rural or

14       not in determining if a cooperative is legally permitted

15       to serve new customers in that area.  CHELCO should not

16       be permitted to serve, as Freedom Walk is not rural.

17                 Florida law allows a cooperative to continue

18       serving its customers in areas that lose their rural

19       nature as long as the number of persons served in such

20       areas does not exceed a 10 percent limit.  CHELCO is

21       already in excess of this limitation as demonstrated by

22       my direct testimony and the data provided in Schedule

23       6 of the exhibit to that testimony.

24                 Another element for consideration in resolving

25       disputes is the general physical ability of each utility

FLORIDA PUBLIC SERVICE COMMISSION

376

1       to provide adequate and reliable service.  Both Gulf

2       Power and CHELCO are stable, well-run, and physically

3       capable utilities and should be able to provide good

4       service.

5                 Other elements for consideration in resolving

6       disputes are the facilities and their cost that each

7       utility would have to install to provide service to the

8       disputed area and within the disputed area.  Service

9       within Freedom Walk will require an extensive array of

10       facilities by either utility, and those facilities and

11       their cost will be substantially equal for either

12       utility.

13                 Both utilities currently have primary voltage

14       distribution facilities abutting Freedom Walk.  CHELCO's

15       is on the northern border of Freedom Walk and Gulf's is

16       on the southeastern border.  However, the existing

17       facilities of either utility are not currently capable

18       of providing adequate and reliable service to Freedom

19       Walk.  Either utility will have to add to or modify its

20       facilities in order to provide adequate and reliable

21       service.

22                 Rather than upgrade its distribution line at

23       the southeastern border, Gulf Power has elected to plan

24       to extend a three-phase feeder a short distance down Old

25       Bethel Road.  CHELCO would use its existing circuit

FLORIDA PUBLIC SERVICE COMMISSION

377

1       further down Old Bethel Road, but will need to make

2       otherwise unnecessary extensive upgrades along that

3       circuit all the way back to and including its Auburn

4       substation.

5                 Mr. Feazell discusses these more fully in his

6       testimony.  However, my rebuttal testimony clearly

7       demonstrates that CHELCO's plan for facility upgrades to

8       serve Freedom Walk has serious shortcomings,

9       particularly with respect to substation components.

10       CHELCO's plans are based on probable load conditions

11       rather than the extreme load conditions as specifically

12       referenced in its own system design and operational

13       criteria.  CHELCO's plan would operate several

14       substation components in excess of their operational

15       ratings during extreme loading.  This is a recipe for

16       disaster with a major risk of substation damage and

17       extensive, unacceptable, and avoidable outages.  The

18       cost for making the necessary and prudent upgrades to

19       the Auburn substation should, without question, be

20       included in CHELCO's cost of providing adequate and

21       reliable service to Freedom Walk.

22                 Additionally, my rebuttal testimony describes

23       why CHELCO, with Gulf Power serving Freedom Walk, will

24       not have any need to upgrade a 1.3-mile segment of the

25       conductor it would use to serve the development.  This

FLORIDA PUBLIC SERVICE COMMISSION

378

1       $227,000 project is only needed if CHELCO serves Freedom

2       Walk; hence, that cost should also be included in

3       CHELCO's cost to provide service to the development.

4                 In resolving territorial disputes, the

5       Commission should consider the cost of providing service

6       to the disputed area in determining if any uneconomic

7       duplication would occur, should each utility provide

8       service, assuming there is more than one utility that is

9       permitted under law or Commission policy to provide

10       service.  My testimony provides an analysis with respect

11       to four tests to be used to determine uneconomic

12       duplication.  These four tests are based on prior

13       Commission and Florida Supreme Court conclusions with

14       respect to such a determination.  Gulf Power serving

15       Freedom Walk will not result in any uneconomic

16       duplication of existing facilities.

17                 The final recommended element for

18       consideration in resolving a territorial dispute is

19       customer preference, and it is to be applied when all

20       other factors are substantially equal.  The only factors

21       that are substantially equal in this case are the

22       general physical capability of each utility and the

23       facilities needed within the Freedom Walk development.

24       All the other factors clearly favor Gulf Power Company.

25       Yet with respect to customer preference, the developer

FLORIDA PUBLIC SERVICE COMMISSION

379

1       is the only logical proxy for the ultimate customers

2       that will reside in Freedom Walk.  The developer has

3       every reason to keep the best interest of the ultimate

4       customers in mind, as that is how he will be most

5       successful in selling the lots and achieving his

6       ultimate goals for the development.  The developer

7       clearly prefers service from Gulf Power rather than

8       CHELCO.

9                 As indicated in my rebuttal testimony, CHELCO

10       offers up additional factors it would have the

11       Commission consider in resolving this dispute.  However,

12       none of these have any basis for consideration in law,

13       Commission rules, or basic business logic, and some have

14       been specifically rejected for consideration in prior

15       Commission rulings in resolving territorial disputes.

16                 In conclusion, Gulf Power serves the abundance

17       of customers in the Crestview area.  If you might look

18       to the chart, to the east of Freedom Walk, to the south

19       of Freedom Walk, and over off to the left here on the

20       west of Freedom Walk, and service to Freedom Walk itself

21       should also be awarded to Gulf Power Company.

22                 Thank you.

23                 MR. BADDERS:  We tender the witness for

24       cross-examination.

25                 CHAIRMAN GRAHAM:  FECA.

FLORIDA PUBLIC SERVICE COMMISSION

380

1                 MR. WILLINGHAM:  I will be consistent.  No

2       questions.

3                 CHAIRMAN GRAHAM:  All right.  CHELCO.

4                 MR. HORTON:  And I will be consistent and have

5       a few.

6                          CROSS EXAMINATION

7       BY MR. HORTON:

8            Q.   Hello, Mr. Spangenberg.  How are you?

9            A.   Fine, Mr. Horton.  And you?

10            Q.   Great.  Thank you.

11                 Do you have a copy of your deposition

12       transcript?

13            A.   Yes, sir, I do.

14            Q.   Would you turn to Page 30, please.

15            A.   Page 30.  I'm there.

16            Q.   Okay.  And on that page, we started off, or I

17       had a question to you about the obligation to serve

18       there on Lines 6 through 8.  Do you see that?

19            A.   Yes, sir, I do.

20            Q.   And we continued on, on Line 10, I asked you

21       what do you understand that to mean; and your answer

22       was, "What that means is that as a public utility, we

23       hold ourselves out to the public in providing service.

24       And for the vast majority of our customers we have no

25       effective competition.  For instance, where we presently

FLORIDA PUBLIC SERVICE COMMISSION

381

1       are, if someone wanted to build a building next door to

2       the building we are here in right now, we are for

3       practical purposes the only utility they can choose.

4       Therefore, we represent a monopoly.  The Public Service

5       Commission represents the -- you know, a replacement for

6       competition in that market."  Did I read that correctly?

7            A.   Yes, sir, you did.

8            Q.   In your Direct Testimony, you address -- you

9       address the fact that CHELCO is in excess of 10 percent,

10       serving in excess of 10 percent of their members in

11       nonrural areas.  Do you recall that?  It was several

12       places in your Direct Testimony.

13            A.   Yes, sir, I do.

14            Q.   And I previously handed you or provided you a

15       copy of 425-03 and 425-04, and those are the -- and I

16       believe the Commissioners also have a copy -- those two

17       sections are the sections that you have generally

18       referred to in your Direct Testimony.  The definition of

19       rural area there is the definition that you have been

20       using, is it not?

21            A.   Yes, sir, it is.

22            Q.   Okay.  Let me ask you to look at Page 17 of

23       your Direct Testimony.  Actually, your Schedule 6, let's

24       look at that first.  You list there -- you address the

25       number of persons served by CHELCO.  You talk about Blue

FLORIDA PUBLIC SERVICE COMMISSION

382

1       Water Bay, Crestview, DeFuniak Springs, and Freeport.

2       Now, with respect to those last three, those are

3       municipalities, Crestview, DeFuniak Springs, and

4       Freeport?

5            A.   Those three would include municipalities and

6       incorporated areas of municipalities.  It might also

7       include urban areas or nonrural areas kind of attached

8       to the actual municipal city limits.

9            Q.   Okay.  But Crestview, DeFuniak Springs, and

10       Freeport are municipalities, are they not?

11            A.   Yes, sir, they are.

12            Q.   All right.  And in your testimony on Page 17,

13       you say that Crestview has a population greater than

14       21,000.  I believe that's on Line 9.  You say in excess

15       of 21,000?

16            A.   Yes, sir.

17            Q.   And that would not be a rural area under the

18       425-03 definitions, correct?

19            A.   That is correct, it would not.

20            Q.   And I believe -- well, it's not on that same

21       page.  DeFuniak Springs on Page 19, and that's -- back

22       up.  The number -- the in excess of 21,000 is strictly

23       within the city limits of Crestview, is it not?

24            A.   Yes, that is correct.

25            Q.   Okay.  And on Page 19, the population solely

FLORIDA PUBLIC SERVICE COMMISSION

383

1       within the city limits of DeFuniak Springs is 5,061,

2       correct?

3            A.   Yes, sir, that is correct.

4            Q.   And that would be in excess -- that would not

5       be a rural area under the definition we have talked

6       about?

7            A.   That is correct, as stated on Line 21.

8            Q.   Now, what's missing is the population of

9       Freeport.  What is the population of Freeport within the

10       city limits?

11            A.   I have estimated that the population of

12       Freeport, using the estimate of 1,151 accounts being

13       inside the city limits, as being in excess of -- well, I

14       used the population as a basis of the 2,256 members of

15       being at least 4,500 people.  I have made no estimate

16       for those that are just within the city limits.

17            Q.   I didn't ask what your estimate was.  You

18       refer there to your -- to the greater Freeport in your

19       method of calculation.  But for Crestview and DeFuniak

20       Springs, you have stated the population within the city

21       limits, and I'm asking you what is the population within

22       the city limits of Freeport?

23            A.   I don't believe I have that information here

24       with me, Mr. Horton.

25            Q.   Did you ever look at anything that listed the

FLORIDA PUBLIC SERVICE COMMISSION

384

1       population for Freeport?

2            A.   I believe I actually recall calling the town

3       clerk of the city of Freeport and their best estimate

4       was around 2,000, maybe a little more than 2,000.  I

5       found that to be consistent with the number of accounts

6       that I list here inside the city limits provided by

7       CHELCO of 1,151.  In my personal opinion, based on

8       looking at demographics and those types of estimates, I

9       believe that population just within the city limits to

10       be somewhere between 2,000 and 2,500 persons.

11            Q.   That would be a rural area under 425.03, would

12       it not?

13            A.   No, sir, it would not, because that would only

14       include those just inside the municipal limits.  It

15       would not include those in the greater Freeport area,

16       which clearly are part and parcel of the Freeport

17       community.

18            Q.   Okay.  We are going to get to the greater area

19       argument in a second.  I'm wanting to know the

20       population strictly within the city limits of Freeport.

21            A.   And I think I just answered that.

22            Q.   Okay.  Mr. Spangenberg, if you would look at

23       that page, or that document I just handed you.  What

24       does that say the total population of the City of

25       Freeport was in 2010?

FLORIDA PUBLIC SERVICE COMMISSION

385

1            A.   If I am reading this correctly, again, without

2       worrying with the disclaimers about non-sampling errors

3       and those types of things, it lists the total

4       population -- it says here the City of Freeport as 1,787

5       persons.

6            Q.   And can you tell from looking at that document

7       the source of that document?

8            A.   What is printed on here is being labeled as

9       being from the U.S. Census Bureau.

10            Q.   All right.  And that would also be reflected

11       in the -- here I go with the technology, the URL across

12       the bottom?

13            A.   Yes, sir.  Seeing that it comes from the

14       factfindertocensus.gov website, I would have to concur

15       with that conclusion.

16            Q.   Okay.  So this appears to be data provided by

17       the U.S. Census Bureau, does it not?

18            A.   Yes, sir, it does.

19            Q.   All right.  And 1,787 is significantly below

20       the number 2,500 found in the definition of rural area

21       in 425.03, is it not?

22            A.   I would agree that 1,787 is below 2,500.  I

23       would disagree that that fits the exact definition,

24       because you have failed to include the unincorporated

25       provisions of Chapter 425.

FLORIDA PUBLIC SERVICE COMMISSION

386

1            Q.   But just by itself we would be able to --

2       CHELCO -- okay, all right.

3                 Is there another utility that provides service

4       to Freeport?

5            A.   Other than who?

6            Q.   Other than CHELCO?

7            A.   Not that I'm aware.  Not electric utility.

8            Q.   Electric utilities.  Gulf doesn't provide

9       service there?

10            A.   No, sir, we do not.

11            Q.   Does Gulf provide service in the greater area

12       of definition that you use?

13            A.   No, sir, it does not.

14            Q.   Do you know the closest service to Freeport

15       from Gulf, provided by Gulf?

16            A.   It would be a toss-up to whether it's

17       Niceville, which is kind of just across the bayou from

18       Blue Water Bay, or whether it would be down in South

19       Walton down towards, you know, towards West Hewitt Road

20       area.  The new Wal-Mart going in there, that might be

21       the closest one.

22            Q.   What's that in distance in mileage, roughly?

23            A.   Oh, a rough estimate, I would guess we're in

24       the neighborhood of ten miles.  It could be 15, it could

25       be 25.  Between 8, 15, somewhere around that range.

FLORIDA PUBLIC SERVICE COMMISSION

387

1       It's that order of magnitude.

2            Q.   Do you know of any other electric utility that

3       would be anywhere near the City of Freeport that could

4       provide electric service other than CHELCO?

5            A.   That could provide?  Yes, sir, there are other

6       that might could provide.  None that could readily

7       provide, based on existing facilities today.

8            Q.   Okay.  Now, under your interpretation and

9       under your testimony, CHELCO cannot serve nonrural

10       areas, and you have persisted in insisting that Freeport

11       is a nonrural area, so who's going to serve the people

12       of Freeport, if it's not CHELCO?

13            A.   Sir, if I might, I believe you may have

14       mischaracterized my testimony.  What I said is it cannot

15       serve prospective new customers.  In particular, we are

16       here in a territorial dispute with respect to Freedom

17       Walk, a large group of prospective new customers, they

18       cannot serve those in nonrural areas.

19            Q.   Then let's apply that to the City of Freeport.

20       If there is -- I don't know, if somebody decides to

21       build a Freedom Walk in the City of Freeport, your

22       testimony would be that CHELCO could not serve them

23       because we are in excess of the 10 percent limit right

24       now, is that not correct?

25            A.   Yes, sir.  Particularly if it came up in the

FLORIDA PUBLIC SERVICE COMMISSION

388

1       context of a territorial dispute, I believe that leaves

2       CHELCO in a legal conundrum because of basically a

3       failure to kind of keep up with the law over the years

4       as facilities have expanded and customers have been

5       added.  And I'm not proposing as part of this

6       territorial dispute that we figure out how to resolve

7       that conundrum.  We are simply trying to apply the

8       provisions of Chapter 425 to the Freedom Walk

9       development there in the City of Crestview.

10            Q.   Well, none of the cities that you have

11       referred to, other than the city, none of the cities are

12       anywhere near the area that is in dispute, are they?

13            A.   I'm sorry?

14            Q.   DeFuniak Springs is how far from Crestview?

15            A.   Oh, I'm sorry.  No, none are very close to

16       Crestview, but certainly Crestview is part and parcel of

17       the dispute.

18            Q.   Blue Water Bay is nowhere near Crestview or

19       Freedom Walk, is it?

20            A.   It depends on your definition of nowhere near.

21       It's in the same county, but it's over ten miles away, I

22       believe.

23                 MR. HORTON:  One moment.

24                 CHAIRMAN GRAHAM:  Sure.

25                 (Pause.)

FLORIDA PUBLIC SERVICE COMMISSION

389

1                 MR. HORTON:  I don't believe I have any more

2       questions.

3                 CHAIRMAN GRAHAM:  Okay.  Staff.

4                 MR. JAEGER:  Staff has no questions.

5                 CHAIRMAN GRAHAM:  Commission board?

6                 Redirect?

7                 MR. BADDERS:  No redirect.

8                 CHAIRMAN GRAHAM:  Okay.  Do we have exhibits?

9                 MR. BADDERS:  Yes, we do.  At this time I will

10       move Exhibits 34, 35, 36, and 37 into the record.

11                 CHAIRMAN GRAHAM:  Let the record show we are

12       moving Exhibits 34, 35, 36, and 37 into the record.

13                 (Exhibit Number 34 through 37 admitted into

14       the record.)

15                 MR. BADDERS:  I believe that's the end of

16       Gulf's part of the case.

17                 CHAIRMAN GRAHAM:  Okay.  Staff, have we moved

18       all the exhibits into the record from what I can tell?

19                 MR. JAEGER:  Let me check.  I think we have,

20       Chairman.

21                 MS. HELTON:  By my check we have, Mr.

22       Chairman.

23                 CHAIRMAN GRAHAM:  Okay.

24                 MR. JAEGER:  Yes, by mine, also.

25                 MR. HORTON:  Mr. Chairman, I don't know if you

FLORIDA PUBLIC SERVICE COMMISSION

390

1       want to mark the Census Bureau report that we just

2       referred to or not.

3                 CHAIRMAN GRAHAM:  Actually, that's probably a

4       fair idea.  If we can mark that and enter that into the

5       record, unless there is some dispute about that.

6                 MR. HORTON:  Then we would identify it --

7                 MR. BADDERS:  I'm sorry, Commissioner, no, we

8       have no objection.

9                 CHAIRMAN GRAHAM:  So that would be Hearing ID

10       Number 63, and the description will be 2010 Census for

11       Freeport City.

12                 MR. HORTON:  Thank you.

13                 CHAIRMAN GRAHAM:  And we will move that into

14       the record, 63.

15                 (Exhibit Number 63 marked for identification

16       and admitted into the record.)

17                 CHAIRMAN GRAHAM:  All right.  Staff, can you

18       provide us with dates for post-hearing decisions?

19                 MR. JAEGER:  Yes, Chairman.  The transcripts

20       are due May 26th.  I don't see any need to move it up a

21       day, since we are finishing a day early.  I think we can

22       just leave that May 26th, and give our court reporters a

23       break.  And that would make the briefs due on June 9th.

24       The staff recommendation is scheduled to be filed on

25       July 14th for the July 26th, 2011, Commission

FLORIDA PUBLIC SERVICE COMMISSION

391

1       Conference.  And that would make the final order due out

2       August 15th, 2011.

3                 CHAIRMAN GRAHAM:  Is everybody okay with those

4       dates?

5                 MR. BADDERS:  Gulf is.

6                 MR. HORTON:  Yes, sir.

7                 CHAIRMAN GRAHAM:  Okay.  Do we have anything

8       else to come before us, while we are all here together?

9                 Staff?

10                 MR. JAEGER:  Nothing from staff, Chairman.

11                 CHAIRMAN GRAHAM:  Gulf?

12                 MR. BADDERS:  Nothing from Gulf.

13                 CHAIRMAN GRAHAM:  CHELCO?

14                 MR. EARLY:  Nothing.

15                 CHAIRMAN GRAHAM:  All right.  That all being

16       the case, I believe that we are adjourned.  Thank you

17       very much for coming.

18                 (The hearing concluded at 3:18 p.m.)

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

392

1       STATE OF FLORIDA    )

2                           :    CERTIFICATE OF REPORTER

3       COUNTY OF LEON      )

4

I, JANE FAUROT, RPR, Chief, Hearing Reporter

5       Services Section, FPSC Division of Commission Clerk, do

hereby certify that the foregoing proceeding was heard

6       at the time and place herein stated.

7                 IT IS FURTHER CERTIFIED that I

stenographically reported the said proceedings; that the

8       same has been transcribed under my direct supervision;

and that this transcript constitutes a true

9       transcription of my notes of said proceedings.

10                 I FURTHER CERTIFY that I am not a relative,

employee, attorney or counsel of any of the parties, nor

11       am I a relative or employee of any of the parties'

attorney or counsel connected with the action, nor am I

12       financially interested in the action.

13                 DATED THIS 23rd day of May, 2011.

14

15

___________________________________________

16                         JANE FAUROT, RPR

Official FPSC Hearings Reporter

17                          (850) 413-6732

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION