BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

IN RE:  Environmental Cost		)		DOCKET NO. 110007-EI

Recovery Clause			)		FILED:  September 12, 2011

# FLORIDA POWER & LIGHT COMPANY’S

PRELIMINARY LIST OF ISSUES AND POSITIONS

1.  	What are the final environmental cost recovery true-up amounts for the period January 2010 through December 31, 2010?

FPL:	$5,036,426 over-recovery.  (KEITH)

2.	What are the actual/estimated environmental cost recovery true-up amounts for the period January 2011 through December 2011?

FPL:	$8,708,682 over-recovery.  (KEITH)

3.	What are the projected environmental cost recovery amounts for the period January 2012 through December 2012?

FPL:	$195,667,760.  (KEITH)

4.	What are the environmental cost recovery amounts, including true-up amounts, for the period January 2012 through December 2012?

FPL:	The total environmental cost recovery amount, adjusted for revenue taxes, is $182,053,636 including true-up amounts and taxes.  This amount consists of $195,667,760 of projected environmental cost for the period January 2012 through December 2012, net of the prior period true-up amounts and taxes.  (KEITH)

5.	What depreciation rates should be used to develop the depreciation expense included in the total environmental cost recovery amounts for the period January 2012 through December 2012?

FPL:	The depreciation rates used to calculate the depreciation expense should be the rates that are in effect during the period the allowed capital investment is in service.  (KEITH)

6.	What are the appropriate jurisdictional separation factors for the projected period January 2012 through December 2012?

FPL:	 Retail Energy Jurisdictional Factor   		98.08128%

Retail CP Demand Jurisdictional Factor    	98.01395%

Retail GCP Demand Jurisdictional Factor    	100.00000% (KEITH)

7.	What are the appropriate environmental cost recovery factors for the period January 2012 through December 2012 for each rate group?

FPL:	Rate Class			  	     	    Environmental Recovery

Factor ($/kWh)

RS1/RST1							.00200

GS1/GST1							.00161

GSD1/GSDT1/HLFT1 (21-499 kW)				.00156

OS2								.00099

GSLD1/GSLDT1/CS1/CST1/HLFT2 (500-1,999 kW)	.00157

GSLD2/GSLDT2/CS2/CST2/HLFT3 (2,000 kW+)		.00135

GSLD3/GSLDT3/CS3/CST3					.00130

ISST1D							.00101

ISST1T							.00179

SST1T								.00179

SST1D1/SST1D2/SST1D3					.00101

CILC D/CILC G						.00123

CILC T							.00117

MET								.00160

OL1/SL1/PL1							.00039

SL2/GSCU1							.00130

(KEITH)

8.	What should be the effective date of the new environmental cost recovery factors for billing purposes?

FPL:	The factors should be effective beginning with the specified environmental cost recovery cycle and thereafter for the period January 2012 through December 2012.  Billing cycles may start before January 1, 2012 and the last cycle may be read after December 31, 2012, so that each customer is billed for twelve months regardless of when the adjustment factor became effective.  These charges should continue in effect until modified by subsequent order of this Commission.    (KEITH)

COMPANY-SPECIFIC ISSUES

A.	Should FPL be allowed to recover the costs associated with its proposed St. Lucie Plant Cooling Water Discharge Monitoring Project?

FPL:	Yes.  This project is required to comply with Florida Department of Environmental Protection (FDEP) Administrative Order AO022TL and conditions in Industrial Wastewater Permit No. FL0002208, which became effective on December 23, 2010 and relate to operation and limitations for the St. Lucie Cooling Water System (CWS). As a result of the increased heat output from the extended power uprate (“EPU”) project at St. Lucie Unit 1 and Unit 2, the discharge temperature of the PSL cooling water is expected to increase.  This anticipated increase led FPL to submit to the FDEP a request to modify the IWW Permit, in order to authorize an increase above the permit’s current discharge temperature limit. The FDEP has approved an increase in the discharge temperature limit, subject to FPL’s complying with new study and monitoring requirements (and corrective action requirements if necessary) that are contained in the AO and IWW Permit. At this time, the Project consists of preparing and implementing plans for (1) monitoring the ambient and CWS discharge water temperature, and (2) biological monitoring to demonstrate that conditions allow for the existence of a balanced, indigenous community of fish, shellfish and wildlife near the CWS discharge of PSL.  If any corrective actions are required as a result of the monitoring activities, FPL will petition the Commission to amend the Project at that time. (LABAUVE)

B.	How should the costs associated with FPL’s proposed St. Lucie Plant Cooling Water Discharge Monitoring Project be allocated to the rate classes?

FPL:	Capital and O&M costs for FPL’s proposed St. Lucie Plant Cooling Water Discharge Monitoring Project should be allocated to the rate classes on an average 12 CP demand basis. (KEITH)

C.	Should FPL be allowed to recover the costs associated with its Industrial Boiler MACT Project?

FPL:	Yes.  This project is required by the Unites States Environmental Protection Agency (EPA), which regulates Hazardous Air Pollutants (HAPs) under Section 112 of the Clean Air Act (CAA) and promulgates emission standards for HAPs under 40 CFR Part 63 for stationary source categories. On February 21, 2011, the final Industrial/Commercial/Institutional Boiler Maximum Achievable Control Technology (IB MACT) rules were signed by the EPA Administrator.  EPA’s two rules address boilers and process heaters under Subpart DDDDD (40 CFR 63.7480) for affected units at major sources and Subpart JJJJJJ (40 CFR 63.11193) for affected units at area sources. The IB MACT rules impose new emission limitations, work practice standards, and operating limits on the affected source categories to reduce the emissions of HAPs.  FPL’s plans to comply with the requirements of these rules include developing site specific monitoring plans, conducting emission stack testing, performing fuel oil sampling and analyses, conducting biennial tune-up practices, performing one-time energy assessment, and installing emission controls or replacing existing units. Subpart JJJJJJ became effective on March 21, 2011.  EPA has stayed the effectiveness of Subpart DDDDD, but FPL anticipates that the stay will be lifted no later than Spring 2012.  FPL expects to begin incurring compliance costs under Subpart JJJJJJ in the near future and to begin incurring compliance costs under Subpart DDDDD promptly after the stay is lifted. Of course, if it turns out that the stay were significantly delayed or the requirements of Subpart DDDDD were substantially revised, then FPL would make appropriate adjustments to the 2012 ECRC recovery via the true-up mechanism.  (LABAUVE)

D.	How should the costs associated with FPL’s proposed Industrial Boiler MACT Project be allocated to the rate classes?

FPL:	Capital and O&M costs for FPL’s proposed Industrial Boiler MACT Project should be allocated to the rate classes on an average 12 CP demand basis. (KEITH)

E.	Should FPL be allowed to recover the costs associated with its proposed NPDES Permit Renewal Requirements Project?

FPL:	Yes. This project is required by the Federal Clean Water Act, which requires all point source discharges to navigable waters from industrial facilities to obtain permits under the National Pollutant Discharge Elimination System (NPDES) program. See 33 U.S.C. Section 1342. NPDES permits must be renewed every five years.  The Florida Department of Environmental Protection (FDEP) has delegated authority to implement the NPDES program in Florida.  The FDEP has amended Rule 62-620.620 (3), F.A.C., to require that all new or renewed wastewater discharge permits for major facilities, including power plants, contain whole effluent toxicity (WET) limits. Additionally, FDEP has required that facilities prepare a Storm Water Pollution Prevention Plan (SWPPP) that conforms to Rule 62-620.100 (m), F.A.C. and 40 CFR Part 122.44(k) when their NDPES permits are renewed.  This project is associated with these new requirements for WET monitoring and reporting, as well as for preparing Storm Water Pollution Prevention Plans that are or will be contained in the latest renewals for FPL’s NPDES permits. (LABAUVE)

F.	How should the costs associated with FPL’s proposed NPDES Permit Renewal Requirements Project be allocated to the rate classes?

FPL:	Capital and O&M costs for FPL’s proposed NPDES Permit Renewal Requirements Project should be allocated to the rate classes on an average 12 CP demand basis.

G.	Should FPL be allowed to include the costs associated with its 800 MW ESP Project in its 2012 ECRC factor?

FPL:	Yes. The Environmental Protection Agency (EPA) issued the proposed Air Toxics Rule on March 16, 2011, which was published in the Federal Register on June 21, 2011. The installation of ESPs at the Martin and Manatee plants is the most effective method to comply with the requirements of the proposed rule.

FPL anticipates that EPA will finalize the Air Toxics Rule by the November 16, 2011 deadline, in compliance with the D.C Circuit Court of Appeal’s order.  Assuming that occurs, then FPL will be entitled by the terms of the stipulation approved in the above mentioned order to recover costs for the 800 MW Unit ESP Project in its 2012 ECRC factors.  As such, FPL believes it is appropriate to include costs associated with the project in the 2012 ECRC factors. Of course, if it turns out that the final Air Toxics Rule were significantly delayed or did not require ESPs at those units, then FPL would make appropriate adjustments to the 2012 ECRC recovery via the true-up mechanism. (LABAUVE)

H.	Should FPL be allowed to recover the costs associated with the additional activities required for the Manatee Temporary Heating System Project at its Cape Canaveral Plant?

FPL:	Yes.  As configured, the heating system installed at the Cape Canaveral Plant does not have enough thermal capacity to maintain the manatee embayment area at the necessary temperature to comply with permit requirements during periods of extreme cold.  FPL determined that a light oil-fired water heating system (Supplemental Heating System) was the best solution to provide the incremental heating capacity needed in the event that the thermal capacity of the existing electric heating system is exceeded.  Due to the approximately two-week anticipated delivery time of the Supplemental Heating System, FPL also entered into a short-term lease for a smaller light oil-fired heater to be used at the Cape Canaveral Plant site during the extreme cold snap that Florida experienced in early December 2010.  Once the reliability and effectiveness of the Supplemental Heating System was proven, FPL terminated the lease and returned the smaller heater.  Other associated activities are the modification of discharge pipes in the primary heating system and the installation of booms to direct and control the flow of warm water in the embayment area.

I.	Should the Commission approve FPL’s updated Clean Air Interstate Rule CAIR), Clean Air Mercury Rule (CAMR) and Clean Air Visibility Rule (CAVR) / Best Available Retrofit Technology (BART) Projects that are reflected in FPL’s April 1, 2011, supplemental filing as reasonable and prudent?

FPL:	Yes.  Completion of the compliance activities discussed in FPL’s Supplemental CAIR/CAMR/CAVR Filing of April 1, 2011, is required by existing federal and state environmental rules and regulatory requirements for air quality control and monitoring; and the associated project costs appear reasonable and prudent.  FPL will continue to file, as part of its annual ECRC final true-up testimony, a review of the efficacy of its CAIR/CAMR/CAVR compliance plans, and the cost-effectiveness of its retrofit options for each generating unit in relation to expected changes in environmental regulations and ongoing state and federal CAIR legal challenges. The reasonableness and prudence of individual expenditures, and FPL’s decisions on the future compliance plans made in light of subsequent developments, will continue to be subject to the Commission’s review in future ECRC proceedings on these matters.  (LABAUVE)

WITNESSES AND SUBJECT MATTER

| WITNESS | SPONSOR | SUBJECT MATTER | EXHIBIT |
| --- | --- | --- | --- |
| T.J. KEITH | FPL | ECRC Final True-up for January 2010 through December 2010 ECRC Actual/Estimated True-up for January 2011 through December 2011 ECRC Projections for January 2012 through December 2012 | TJK-1 Revised TJK-2 TJK-3 |
| R.R. LABAUVE | FPL | Florida Department of Environmental Protection Industrial Wastewater Facility Permit No. FL0002208 St. Lucie Plant Florida Department of Environmental Protection Administrative Order No. AO022TL St. Lucie Power Plant FPL Supplemental CAIR/CAMR/CAVR Filing Changes and Anticipated Changes in WET Testing for FPL Facilities NPDES Permit No. FL0001538 – Port Everglades Plant Pertinent Excerpts from Final Industrial Boiler MACT Rule for AREA Sources 40-CFR Part 63 Subpart DDDDD Pertinent Excepts from Final Industrial Boiler MACT Rule for Area Sources 40-CFR Part 63 Subpart JJJJJJ EPA Delay of Subpart DDDDD ERG Memorandum FPL IB MACT Cost Matrix | RRL-1 RRL-2 RRL-3 RRL-4 RRL-5 RRL-6 RRL-7 RRL-8 RRL-9 RRL-10 |

Respectfully submitted,

R. Wade Litchfield

Vice President and

General Counsel

John T. Butler

Managing Attorney

Florida Power & Light Company

700 Universe Boulevard

Juno Beach, Florida 33408-0420

Telephone:  561-304-5639

Fax:  561-691-7135

- _/s/ John T. Butler_______

- John T. Butler

- Florida Bar No. 283479

- CERTIFICATE OF SERVICE

- Docket No. 110007-EI

- I HEREBY CERTIFY that a true and correct copy of Florida Power & Light Company’s Preliminary List of Issues and Positions has been furnished by electronic delivery on September 12, 2011 to the following:

Martha Brown, Esq.					J. R Kelly, Esq

Division of Legal Services				Patricia Christensen, Esq.

Florida Public Service Commission			Charles Rehwinkel, Esq.

2540 Shumard Oak Blvd.				Office of Public Counsel

Tallahassee, Florida 32399-0850			c/o The Florida Legislature

111 W Madison St. Room 812

Tallahassee, FL 32399-1400

James D. Beasley, Esq.				John T. Burnett, Esq.

J. Jeffrey Wahlen, Esq.				Dianne Triplett, Esq.

Ausley & McMullen					Progress Energy Service Company, LLC

Attorneys for Tampa Electric 				P.O. Box 14042

P.O. Box 391						St. Petersburg, Florida  33733-4042

Tallahassee, Florida  32302

Jeffrey A. Stone, Esq.					Jon C. Moyle, Esq.

Russell A. Badders, Esq.				Vicki Kaufman, Esq.

Beggs & Lane						Co-Counsel for FIPUG

Attorneys for Gulf Power				Keefe, Anchors, Gordon & Moyle, P.A.

501 Commendencia Street				118 N. Gadsden St.

Pensacola, Florida  32502				Tallahassee, FL 32301

Karen S. White, Esq.					Gary V. Perko, Esq.

Staff Attorney						Hopping Green & Sams

AFLOA/JACL-ULT/FLOA/JACL-ULT		P.O Box 6526

139 Barnes Drive, Suite 1				Tallahassee, FL 32314

Tyndall AFB, FL 32403-5317			Attorneys for Progress Energy Florida

Attorney for the Federal Executive Agencies

By:	 /s/ John T. Butler

John T. Butler

Fla. Bar No. 283479