401

1                              BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3       In the Matter of:

4                                     DOCKET NO. 100330-WS

5       APPLICATION FOR INCREASE IN WATER/

WASTEWATER RATES IN ALACHUA,

6       BREVARD, DESOTO, HARDEE, HIGHLANDS,

LAKE, LEE, MARION, ORANGE, PALM

7       BEACH, PASCO, POLK, PUTNAM, SEMINOLE,

SUMTER, VOLUSIA, AND WASHINGTON

8       COUNTIES BY AQUA UTILITIES

FLORIDA, INC.

9       ______________________________________/

10

11                               VOLUME 3

12                        Pages 401 through 594

13       PROCEEDING:         HEARING

14       COMMISSIONERS

PARTICIPATING:      CHAIRMAN ART GRAHAM

15                           COMMISSIONER LISA POLAK EDGAR

COMMISSIONER RONALD A. BRISÉ

16                           COMMISSIONER EDUARDO E. BALBIS

COMMISSIONER JULIE I. BROWN

17

DATE:               Wednesday, November 30, 2011

18

TIME:               Commenced at 9:34 a.m.

19                           Concluded at 1:15 p.m.

20       PLACE:              Betty Easley Conference Center

Room 148

21                           4075 Esplanade Way

Tallahassee, Florida

22

REPORTED BY:        LINDA BOLES, RPR, CRR

23                           FPSC Reporter

(850) 413-6734

24

APPEARANCES:        (As heretofore noted.)

25

FLORIDA PUBLIC SERVICE COMMISSION

402

1                               I N D E X

2                               WITNESSES

3

NAME:                                   PAGE NO.

4

5       PATRICIA CARRICO

6       Examination by Mr. Jaeger               405

Prefiled Direct Testimony Inserted      407

7       Examination by Ms. Christensen          411

Examination by Ms. Bradley              422

8       Examination by Mr. May                  426

9       JEFFRY S. GREENWELL

10       Examination by Mr. Jaeger               436

Prefiled Direct Testimony Inserted      438

11       Examination by Ms. Christensen          444

Examination by Ms. Richards             456

12       Examination by Mr. May                  460

13       TROY RENDELL

14       Examination by Mr. May                  469

Prefiled Direct Testimony Inserted      471

15       Examination by Ms. Christensen          505

Examination by Mr. McBride              533

16       Examination by Mr. Richards             541

Examination by Ms. Bennett              559

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

403

1                              EXHIBITS

2       NUMBER:                                   ID.   ADMTD.

3       68                                                593

4       69                                                593

5       70                                                593

6       157                                               467

7       158                                               467

8       159                                               467

9       177                                               593

10       305       Rule 25-30.4325               504       593

11       306       Rule 25-30.432                504       593

12       307       Citizens' Petition            505       593

Docket 080249

13

308       Social Security Cost          505       593

14                 of Living Adjustment

15       309       Bureau of Labor and           505       593

Statistics, Unemployment

16                 Statistics

17       310       October 2008 Testimony of     541       593

Paul Stallcup

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

404

1                         P R O C E E D I N G S

2                 (Transcript follows in sequence from Volume

3       2.)

4                 CHAIRMAN GRAHAM:  Good morning, everyone.

5       Good morning.

6                 MR. JAEGER:  Good morning.

7                 CHAIRMAN GRAHAM:  Come on.  All right.  I

8       think we can get started.  I believe Commissioner Balbis

9       is probably on his way down.

10                 Staff, you have some witnesses that were taken

11       out of order.  Are they here?

12                 MR. JAEGER:  Yes, Chairman.  Well, we have one

13       here, Patricia Carrico.  Mr. Greenwell is scheduled to

14       come in at 10:45.  And if Ms. Carrico's testimony gets

15       done before then, then we would slide to Rendell, I

16       think is what we would do, and then just pick up with

17       Mr. Greenwell after Rendell is what was planned.

18                 CHAIRMAN GRAHAM:  Let's do this.  Anybody

19       that's in the audience that wasn't sworn in yesterday

20       that needs to be sworn in today, if I can get you to

21       stand and raise your right hand, please.

22                 (Witness sworn.)

23                 Thank you.  Mr. Jaeger.

24                 MR. JAEGER:  Yes, Chairman.  That was

25       Ms. Carrico that was just sworn in.

FLORIDA PUBLIC SERVICE COMMISSION

405

1                 I will call Patricia Carrico from the

2       Department of Health to the stand.

3                           PATRICIA CARRICO

4       was called as a witness on behalf of the Staff of the

5       Florida Public Service Commission and, having been duly

6       sworn, testified as follows:

7                             EXAMINATION

8       BY MR. JAEGER:

9            Q    Okay.  Ms. Carrico, could you please state

10       your name and business address for the record?

11            A    My name is Patricia Carrico.  I work at the

12       Volusia County Health Department, 1854 Holsonback Drive,

13       Daytona Beach, Florida.

14            Q    And have you prefiled direct testimony in this

15       docket consisting of four pages?

16            A    Yes, I have.

17            Q    Do you have any changes, corrections to your

18       testimony?

19            A    No, I do not.

20            Q    With those -- if you were asked the same

21       questions, would your testimony be the same today?

22            A    Yes, it would.

23                 MR. JAEGER:  Chairman, may we have

24       Ms. Carrico's testimony inserted into the record as

25       though read?

FLORIDA PUBLIC SERVICE COMMISSION

406

1                 CHAIRMAN GRAHAM:  We will insert Ms. Carrico's

2       testimony into the record as though read.

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

411

1                 MR. JAEGER:  And there were no depositions to

2       Ms. Carrico's testimony -- I mean, I'm sorry.  There

3       were no exhibits to Ms. Carrico's testimony, and she has

4       waived any summary, and so I will tender her for cross.

5                 CHAIRMAN GRAHAM:  Okay.  I appreciate it.

6                 Ms. Carrico, welcome.  I guess first we'll

7       start with Aqua.

8                 MR. MAY:  Thank you, Mr. Chairman.  We have no

9       questions for this witness.

10                 CHAIRMAN GRAHAM:  Okay.  Any Intervenors?

11                             EXAMINATION

12       BY MS. CHRISTENSEN:

13            Q    Good morning, Ms. Carrico.

14            A    Good morning.

15            Q    I'm Patty Christensen with the Office of

16       Public Counsel, and I just have a few questions about

17       the testimony.

18                 Now in your testimony that you filed

19       October 6th, 2011, you stated the overall operation and

20       maintenance of the Jungle Den, Twin Rivers, Tomoka View

21       water treatment plants and distribution facilities were

22       satisfactory at the present time; is that correct?

23            A    That is correct.

24            Q    Okay.  And would you agree that all three

25       systems have had compliance issues with your department

FLORIDA PUBLIC SERVICE COMMISSION

412

1       over the past three years?

2            A    Yes, they have.

3            Q    Okay.  Well, let's talk a little bit about

4       each of the systems.

5            A    Okay.

6            Q    Let's start with Jungle Den.  Would you agree

7       that Jungle Den has had two instances, which you noted

8       in your testimony, of being out of compliance?

9            A    I only noted, I believe, the consent order

10       that was handled by consent order agreement.  What other

11       one are you referring to?  The --

12            Q    Looking on page 2 of your testimony.

13            A    Yes.

14            Q    You said that there was a warning letter

15       issued by the Department on February 3rd, 2011.  Is that

16       correct?

17            A    That is correct.

18            Q    And that that warning letter resulted in a

19       consent order with an effective date of May 2000 -- or

20       May 27th, 2011; correct?

21            A    That's correct.

22            Q    Okay.  And you -- and let me just clarify.

23       You consider that to be one consecutive incident?

24            A    Yes, it is.

25            Q    Okay.

FLORIDA PUBLIC SERVICE COMMISSION

413

1            A    We send the warning letter out first and then

2       have a consent order agreement.

3            Q    Okay.  So that would be considered one

4       incident.

5            A    Right.

6            Q    Okay.  Let's look at your testimony regarding

7       Twin Rivers system.  Now regarding the Twin Rivers

8       system, you cite to two violations; is that correct?

9            A    Yes.  That is correct.

10            Q    Okay.  And one of those incidences was in the

11       first quarter of 2009?

12            A    That is correct.

13            Q    And then there was a second incident in the

14       second quarter of 2009; correct?

15            A    Yes.

16            Q    And both of those incidents were for exceeding

17       the tri -- excuse me -- trihalomethane maximum

18       containment level; correct?

19            A    That's correct.

20            Q    Okay.  And there was a warning issue or,

21       excuse me, a warning letter issued on the -- April 22nd

22       of 2009 for this violation?

23            A    That is correct.

24            Q    Were both violations included in that warning

25       letter?

FLORIDA PUBLIC SERVICE COMMISSION

414

1            A    No.  There actually were -- the warning letter

2       was done on 4-22-09, which was right after the end of

3       the first quarter of that violation.

4            Q    Okay.

5            A    So we took action right away and wrote that

6       letter, you know, the warning letter saying that you

7       have exceeded this MCL.  You know, we want you to come

8       in and, you know, do something about it basically.  So

9       that letter was sent then.

10                 When we finally got to the consent order

11       agreement stage they had another violation in that

12       second quarter.  So we kind of rolled it into the

13       agreement, saying this will cover both of those

14       violations, the fine and the consent order agreement.

15            Q    Okay.  And so they paid a penalty and fine for

16       both violations?

17            A    They did.

18            Q    Okay.  Now let's take a look at your Tomoka

19       View system.

20            A    Yes.

21            Q    Okay.  And that had six enforcement actions in

22       the last three years; correct?

23            A    That is correct.

24            Q    Okay.  And there -- in March of 2009 there was

25       a exceedance of, what was that, the maximum containment

FLORIDA PUBLIC SERVICE COMMISSION

415

1       level for total dissolved solids; is that correct?

2            A    That is correct.

3            Q    And color.  And then that was -- resulted in a

4       noncompliance letter; is that correct?

5            A    That is correct.

6            Q    Now it appears that the letter talks about

7       addressing both of these violations, but I only see one

8       referenced in your testimony.  Was there a second

9       violation that that noncompliance letter was addressing?

10            A    It addressed the color and the TDS.

11            Q    Okay.  So those were considered two separate

12       violations?

13            A    Yeah.  They're two separate contaminants.  We,

14       you know, call them two separate violations.

15            Q    Okay.  And then you also had an instance, or

16       three violations in the first, second, and third quarter

17       of 2009 for trihalomethane maximum level exceedance; is

18       that correct?

19            A    That is correct.

20            Q    Okay.  And let me just make sure I understand

21       this.  There was a warning letter issued after the first

22       quarter; correct?

23            A    Yes.

24            Q    And then there was a consent order that was

25       entered into in December -- or that was effective

FLORIDA PUBLIC SERVICE COMMISSION

416

1       December 18th, 2009; is that correct?

2            A    Yeah.  The effective date is kind of

3       misleading.  We actually negotiated the consent order

4       agreement in -- during the summer of that year, and then

5       negotiated the settlement package that had to then be

6       signed.  And when it becomes effective, that's when it's

7       signed by the clerk of the court.  So that's usually a

8       month or so after it actually was done.  But essentially

9       that's when it finally was closed out.  But we

10       negotiated that during the August, September months.

11            Q    Okay.  And that consent order encompassed not

12       only the first quarter violation but the second and

13       third quarter violations for that tri maximum -- or

14       trihalomethane maximum containment level exceedances?

15            A    Yes, it did.

16            Q    Okay.  And then there were two other

17       incidences in January and June of 2009; is that correct?

18            A    That's the January to June monitoring period.

19            Q    Okay.

20            A    A six-month monitoring period.

21            Q    And what was that noncompliance violations

22       that you cite in your testimony for?

23            A    Those two -- those are two separate

24       violations.  They're related to the lead copper rule,

25       which requires six, every six months they had to collect

FLORIDA PUBLIC SERVICE COMMISSION

417

1       tap water samples from the residents' homes.  They were

2       supposed to have it done, the actual collection of the

3       samples by June 30th, and then give us the results by

4       July 10th, have them turned in to us, at least

5       postmarked by that date.  I received results late from

6       that January through June monitoring period, I received

7       them in August, some extra samples that they neglected

8       to send in on time.  So that was one violation.

9                 And then the second violation, the water

10       quality parameter samples, they're required to be done

11       when you exceed the action level, they have to collect

12       these water quality parameter samples, two sets of them.

13       And they did one set but they didn't do the second set.

14            Q    And what were -- what had they exceeded?  Was

15       that the --

16            A    They didn't -- oh, to do the water quality

17       parameter samples.  They're required to do water quality

18       parameter samples when they exceed the copper action

19       level, which is -- it's not a violation.  It's a trigger

20       that is something that after they do these lead copper

21       tap samples, then depending on the results, what they

22       get, if they're over 90% of this action level, then they

23       have to do these water quality parameter samples.

24                 So it's not -- the action level is just kind

25       of like a set point.  And if, I should say, over 10% of

FLORIDA PUBLIC SERVICE COMMISSION

418

1       the samples exceed that action level, then they do these

2       water quality parameter samples.  That's, you know, kind

3       of kicks in that they then do this additional

4       monitoring.

5            Q    That's a second leveling of testing, which

6       was --

7            A    Right.  Which they were notified of.  And they

8       were supposed to do two sets, and they did one set but

9       they didn't do the second set.

10            Q    Okay.

11            A    Until late.  I mean, they did do it but they

12       did it late.

13            Q    Okay.  And that resulted in noncompliance

14       letters; correct?

15            A    That resulted -- I'm sorry.  Yes.  That

16       resulted in a noncompliance letter for each one of

17       those, one for the late reporting --

18            Q    Okay.

19            A    -- one for the water quality parameters not

20       being done on time essentially, or during the monitoring

21       period.

22            Q    And no further action was taken other than the

23       noncompliance letter, if I'm understanding your

24       testimony correctly.  Or was something further done by

25       the department?

FLORIDA PUBLIC SERVICE COMMISSION

419

1            A    No, no further action was warranted, you know,

2       as far as that.

3            Q    Okay.

4            A    They came back into compliance.  They did

5       their sampling that they had to do and have stayed on.

6            Q    All right.  And let me refer you down a little

7       bit further to the next paragraph.  You also talk about

8       another violation that occurred September 8th, 2009, for

9       failure to maintain a minimum free chloride residue

10       throughout the distribution system; is that correct?

11            A    Free chlorine residual.

12            Q    Excuse me.  Can you explain a little bit what

13       that violation entailed in a little bit more detail?

14            A    That violation was something that occurred --

15       during this -- I should -- just to give you background.

16       During this time frame of 2009, we, of course, were

17       negotiating the THM, trihalomethane MCL consent order.

18       And during this time we had requested that Aqua

19       Utilities try to minimize the THM formation as much as

20       possible.  By lowering the chlorine residual as much as

21       you can, as much as you can and still maintain the

22       minimum of 0.2, you create less THM.

23                 So during this time frame they had not

24       installed the chloramine treatment yet.  They were

25       running the system, you know, as low as they could, but

FLORIDA PUBLIC SERVICE COMMISSION

420

1       we were getting some complaints of odor in the water.

2       So I was actively going out, the Tomoka View system

3       isn't too far from my office, so I would occasionally

4       actively go out and just check to make sure that they

5       were giving them, you know, the chlorine residual that's

6       required.

7                 And on this day I did not find any at the --

8       in the distribution, it was at the water plant but out

9       in the distribution system at the end of the system.  I

10       could not -- I did not detect any.  So, you know, I

11       called the operator, but in the meantime this occurred.

12       And that was where that violation was generated.

13            Q    Okay.  And let me then take you to the next

14       sets of, or set of violations that you speak about.

15       There was also another incidence in July 2010 for

16       failing to notify your department of unusual color, odor

17       and color in the drinking water; is that correct?

18            A    That is correct.

19            Q    Okay.  And that also resulted in a

20       noncompliance letter by the department?

21            A    Yes, it did.

22            Q    Okay.  And that was for, I think you noted for

23       black and smelly water throughout the distribution

24       system?

25            A    Yes.  That's the -- that is the wording from

FLORIDA PUBLIC SERVICE COMMISSION

421

1       complaints that were generated in the Aqua Utilities

2       records during this time frame.

3            Q    Okay.

4            A    I personally did not get the complaints during

5       this time frame, but I found out about it later from the

6       residents, you know, who asked me about what had

7       happened.  That's how I found out about it.

8            Q    Okay.  And let me ask you this.  You would

9       agree, I think, looking at your testimony on page 4,

10       that there have been 12 boiled water notices over the

11       last three years, or since, excuse me, since 2009;

12       correct?

13            A    Yes.  Basically three years period.

14            Q    Okay.  And of those, you testified that four

15       were planned; is that correct?

16            A    Yes.  That is correct.

17            Q    Okay.  Would you agree that Aqua self-reports

18       with regard to the boiled water notices?

19            A    All our water systems self-report, yes.

20            Q    Okay.  And just to make sure that I

21       understand, you only review the violations for the

22       systems that are within your jurisdiction; correct?

23            A    Yes.  Volusia County.

24            Q    Okay.  So you didn't look at any violations

25       that may have occurred in Aqua systems that were outside

FLORIDA PUBLIC SERVICE COMMISSION

422

1       of Volusia County.

2            A    No.

3                 MS. CHRISTENSEN:  Okay.  Thank you for your

4       testimony today.

5                 CHAIRMAN GRAHAM:  Ms. Bradley?

6                             EXAMINATION

7       BY MS. BRADLEY:

8            Q    You were talking about the TMH [sic] levels

9       that you found and the rust -- and the lead copper,

10       those violations.  Are those violations under the Safe

11       Drinking Water Act?

12            A    Yes.  Well, first of all, the THM,

13       trihalomethane, that is a primary contaminant, health,

14       you know, significance there.  The other is not a

15       violation.  It's an action level trigger, the copper and

16       lead copper rule.  That was an action level trigger.

17            Q    When you say action level treatment --

18            A    Trigger.

19            Q    Trigger.

20            A    Yeah.

21            Q    What does that mean?

22            A    That means when they test a certain number of

23       homes, according to the lead copper rule, depending on

24       their population, I believe Tomoka View was doing 20

25       samples of different homes.  If -- at the 90th

FLORIDA PUBLIC SERVICE COMMISSION

423

1       percentile value, which is you line them up in order of

2       concentration, highest, you know, I mean, lowest to

3       highest, you take the 90% number.  So let's say they

4       took ten samples.  The ninth sample, the ninth highest

5       sample, so the one would be the lowest, the ninth

6       sample, whatever that concentration is, that is your

7       90 percentile concentration.  That concentration cannot

8       exceed the action levels in the lead copper rule.  So

9       the lead, it's a lead copper action level, so the lead

10       is 15 parts per billion and the copper is 1.3 parts per

11       million.  Those are the two action levels.

12                 So if you have a home, if you have homes and

13       that 9th highest value is, is over the action level of

14       1.3, that's considered a trigger for further monitoring

15       and evaluation.  And that's what, in that time frame,

16       they exceeded.  And one of the things they had to do was

17       monitor, do some extra monitoring for pH alkalinity in

18       their orthophosphate feed, and that was where the

19       violation occurred because they did not do that second

20       set they were supposed to do.

21            Q    And the high levels of lead and copper, that

22       poses a health risk?

23            A    There were no high levels of lead.  Lead is

24       definitely a health risk.  The action level was for

25       copper.  I don't have an exact number, but it was over

FLORIDA PUBLIC SERVICE COMMISSION

424

1       1.3, maybe, you know, between 1.3 and 2.0.  It wasn't

2       two times over.  But that ninth home came in over it.

3       So at that point it's called, you know, an action level.

4       You could say exceedance, but it's not an MCL.  In other

5       words, there's no violation, there's no enforcement

6       action generated at that point.  It's just, okay, let's

7       take a look at your system.  Let's do some more

8       monitoring.  Let's check your, you know, treatment and

9       try to see if, you know, what the issue is there.

10            Q    Why do you have trigger points for copper?

11            A    The copper -- well, it's called a corrosion

12       control idea.  You know, the idea is to control

13       corrosion as best they can.  So that is the primary

14       reason.

15            Q    And what about the THM, the trihalomethane?

16            A    The trihalomethane is a primary contaminant

17       that, when exceeded, is a health, a health concern.

18            Q    Are you familiar with what THM can -- what

19       kind of health problems it can cause?

20            A    There is a public notice that includes if you

21       drink the water -- I mean, it qualifies.  It's not an

22       acute, you know, contaminant.  It's something over your

23       lifetime of 60 years there have been some -- I think,

24       you know, the public notice, I don't have it with me

25       right now, but it's, you know, verbiage from the EPA

FLORIDA PUBLIC SERVICE COMMISSION

425

1       basically that, you know, over a lifetime they have

2       found some studies that it does cause cancer in rats,

3       and they, you know, transferred that to humans.

4                 So that is, like I said, it is a health

5       concern and something that we are, you know, we try to

6       take action on pretty quickly when we see that that's

7       over.

8                 MS. BRADLEY:  All right.  I don't have any

9       further questions.  Thank you.

10                 CHAIRMAN GRAHAM:  YES?

11                 MR. CURTIN:  YES has no questions.

12                 CHAIRMAN GRAHAM:  Mr. Richards?

13                 MR. RICHARDS:  No questions.

14                 CHAIRMAN GRAHAM:  Okay.

15                 MR. MAY:  Chairman Graham, I know that I

16       passed initially, but I think that through the

17       questioning there's a couple of issues that, if I could,

18       I'd like to follow up with this witness just briefly.

19       I, I would, I would submit that she is, we would adopt

20       her as our witness, and so I would, it would be more of

21       a redirect, if I could.

22                 MS. CHRISTENSEN:  I mean, I would object to

23       them adopting her as a witness and doing it as redirect.

24       I mean, it's clearly Staff's witness.

25                 CHAIRMAN GRAHAM:  Mary Anne?

FLORIDA PUBLIC SERVICE COMMISSION

426

1                 MS. HELTON:  Mr. Chairman, I do think it's

2       appropriate for Mr. May to ask some questions based on

3       the questioning of OPC and the Attorney General's

4       Office.

5                 CHAIRMAN GRAHAM:  Mr. May?

6                             EXAMINATION

7       BY MR. MAY:

8            Q    Ms. Carrico, I'm Bruce May with, with --

9       representing Aqua.  Good morning.

10            A    Good morning.

11            Q    Just a couple of questions.  With respect to

12       the copper testing, under the Safe Drinking Water Act,

13       isn't that the only test that's done inside a customer's

14       home?

15            A    Yes.  I believe that is the only one that's

16       required to be done inside their home.

17            Q    You were asked several questions regarding

18       trihalomethanes, or TTHMs.  Could you explain to the

19       Commission what causes TTHMs in the water?

20            A    Well, in -- I'm not an expert at this, but as

21       I understand, the primary cause is the chlorination.

22       When you use a disinfectant, it could be chlorine,

23       there's other actually disinfectants that might cause

24       them also, but in this case of Tomoka View, I can speak

25       on, excuse me, when you chlorinate the water, there are

FLORIDA PUBLIC SERVICE COMMISSION

427

1       certain by-products formed in certain waters.  Not all

2       the time.  In fact, in Volusia County some of our

3       systems have no THM problems at all when you chlorinate

4       the water.

5                 So it depends on the source water, the well

6       water that's used.  So some water does have a, will have

7       a tendency to form these THMs over the limit.  And we

8       have found in Volusia County, especially along the

9       coastal area and along the St. Johns River, because that

10       water is, you know, has a higher TO -- total organic

11       carbon in it from, just from its location, close to the

12       ocean.  So a lot -- we're finding -- you know, we do

13       find total trihalomethanes, THMs, in most of our coastal

14       drinking waters.  That's a common occurrence.  When you

15       chlorinate that water, you will get trihalomethanes to a

16       degree, and it seems higher along the coast.

17            Q    Thank you, Ms. Carrico.  Just one -- well,

18       just a couple of follow-up questions.  And I appreciate

19       your time.  I know that you've driven a long way.

20                 As part of this proceeding, there is a,

21       there's what's known as Aqua's aesthetic water quality

22       improvement initiative, where the company has gone out

23       and identified seven systems that had issues with

24       respect to water quality, has tried to address that.

25       Are you familiar with that program?

FLORIDA PUBLIC SERVICE COMMISSION

428

1            A    Not until I read the testimony.  I was not

2       involved in that.

3            Q    As part of that initiative to improve the

4       water quality, the Tomoka View system was included in

5       that aesthetic water quality improvement program, and

6       the company installed a chloramine disinfection system.

7       You're aware of that, aren't you?

8            A    Yes.

9            Q    Okay.  Has that resolved the high TTHM issues?

10            A    It has brought -- yes.  The chloramine system

11       has brought the THM issue into compliance.

12                 MR. MAY:  Thank you, Ms. Carrico.  No further

13       questions.

14                 CHAIRMAN GRAHAM:  Ms. Christensen or

15       Ms. Bradley, do you have any follow-up questions?

16                 MS. CHRISTENSEN:  No.

17                 MS. BRADLEY:  No.

18                 CHAIRMAN GRAHAM:  All right.

19                 Commissioner Balbis.

20                 COMMISSIONER BALBIS:  Thank you, Mr. Chairman.

21       I just have a few questions for this witness.

22                 What is your opinion of the general condition

23       of Aqua's facilities in Volusia County?

24                 THE WITNESS:  I think they are satisfactory.

25                 COMMISSIONER BALBIS:  And you have worked in

FLORIDA PUBLIC SERVICE COMMISSION

429

1       Volusia County for the Department of Health for 12 and a

2       half years, I believe?

3                 THE WITNESS:  Ten and a half.

4                 COMMISSIONER BALBIS:  So in that period of

5       time, has the condition of their facilities improved,

6       remained the same, or worsened?

7                 THE WITNESS:  I would say the Tomoka View

8       system has improved since I have inspected it.  It

9       was -- since the THM issue has been taken care of.  I

10       believe, you know, that I can say it has improved.  The

11       other two have stayed the same.  There really haven't

12       been -- you know, stayed the same.  There hasn't been

13       any changes.

14                 COMMISSIONER BALBIS:  Okay.  Thank you.

15                 CHAIRMAN GRAHAM:  Ms. Carrico, I have a

16       question.  The boil water notices, how are they handled?

17       What is the policy?

18                 THE WITNESS:  The policy is, and this is for

19       all of the water systems, is when they have a pressure

20       loss in their distribution system or another event where

21       they feel would cause the water to possibly be

22       contaminated.  And I should qualify this.  It's called a

23       precautionary boil water notice, and it is a guidance

24       document put out by the Department of Health of how to

25       handle these situations, and it's a ten-page document.

FLORIDA PUBLIC SERVICE COMMISSION

430

1                 But basically it is a self-reporting issue

2       that when they have a problem basically in the

3       distribution system or at the water plant and they lose

4       pressure, or they have a problem in treatment that they

5       feel is a health concern, or, you know, that the water

6       is not properly chlorinated, for example, they issue a

7       boil water notice.  And they issue it, and then are

8       required to notify our office and notify the customers

9       as soon as possible, but within 24 hours of the

10       occurrence, you know, at maximum.

11                 But it's, it is basically a good faith effort

12       that they put these notices out to the people, they

13       notify us, they send us information about what happened,

14       basically report to us that it occurred.  And then they

15       handle -- they, of course, have to handle the repairs as

16       soon as they can.  They handle the bacterial testing,

17       which is commonly two days of bacteria testing after the

18       event to make sure the water is safe.

19                 And then they can rescind the notice, which is

20       what they do on their own, and they just notify us what

21       they did, that the bacteria were good, you know, we get

22       those bacteria sample reports, and they rescind the

23       notice, you know, as, as it happens.

24                 CHAIRMAN GRAHAM:  How are they required to put

25       the notice out there?  Do you give them suggestions or

FLORIDA PUBLIC SERVICE COMMISSION

431

1       is it part of your policy or is it basically however

2       they best see fit?

3                 THE WITNESS:  I forget the wording of the

4       guidance letter.  But essentially they, they distribute

5       the notices as best they can to their customers.  We

6       expect at a small, small system that they would do a

7       hand delivery and -- to the homes, and that's, it's not

8       written in the guidance exactly what is a small system

9       as opposed to a large system.  But obviously if you have

10       10,000 homes affected, you cannot get to every home in

11       time to get that notice out.  It's just too hard to

12       expect a utility to do that.

13                 So we encourage them to use whatever means

14       they can to best get that notice out.  But it's not a

15       rule that you shall, you know, hand-deliver to 10,000

16       homes or something like that.  They have to make their

17       best effort.  And in a smaller system we would expect

18       delivery to each customer who is affected to get a

19       notice that that happened.  And we, yes, we do encourage

20       them, all my, all my systems, try to do phone, you know,

21       a reverse 911.  If they can do it, if they have that

22       capability, that would certainly be something -- you

23       know, a good way to reach people.

24                 CHAIRMAN GRAHAM:  Sometimes I --

25                 THE WITNESS:  But it's not required.

FLORIDA PUBLIC SERVICE COMMISSION

432

1                 CHAIRMAN GRAHAM:  Sometimes I see the media on

2       the newscast, that sort of thing, will say that there's

3       a boil water notice in such and such area.  Is that --

4       does your agency contact the media, or is it, once

5       again, it's the utility that contacts the media.

6                 THE WITNESS:  That is the utility's

7       responsibility to contact the media in the event of a,

8       of a large occurrence.

9                 You know, at a mobile home park or these small

10       systems such as the Twin Rivers or Tomoka View, but 100,

11       200 people, we don't require, we have not told them go

12       on the news with that notice if it affects, you know,

13       their system.  But we do expect a hand delivery.

14                 But they certainly could.  See, they could do

15       all that.  They could go to the TV, radio, they can use

16       whatever methods they wish.  And they could do reverse

17       911, or, you know, phone call notification.  We

18       certainly would encourage that.

19                 CHAIRMAN GRAHAM:  What are the repercussions

20       of your agency if you don't think they're doing a

21       sufficient job or adequate job of getting notices out?

22                 THE WITNESS:  That would be a noncompliance

23       issue if we became aware of a system that was not

24       putting notices out for events.

25                 CHAIRMAN GRAHAM:  Now are these policies all

FLORIDA PUBLIC SERVICE COMMISSION

433

1       just Volusia County, or is it all statewide?

2                 THE WITNESS:  Oh, no.  That's statewide.

3                 CHAIRMAN GRAHAM:  Okay.  Thank you.

4                 Commissioner Brown.

5                 COMMISSIONER BROWN:  Thank you.

6                 And as a follow-up to Chairman Graham's

7       earlier comments here, questions, after the results come

8       back and it's no longer a precautionary notice, what are

9       the requirements?

10                 THE WITNESS:  The requirements are when they

11       do the two days of samples for total chloroform bacteria

12       and then they rescind the notice, so they send a notice

13       out to the people that, you know, their water has been

14       tested and it is now safe to consume, that basically the

15       notice has been cleared, the water has been cleared and

16       it is safe to use.

17                 COMMISSIONER BROWN:  When the, I guess when

18       the results come back and they are problematic, what

19       would the requirements thereafter be?

20                 THE WITNESS:  Oh, they would continue -- the

21       notice goes, you know, out and says we are testing your

22       water.  It doesn't give an end date.  So they would

23       continue until they get samples that are satisfactory

24       two days in a row.  You know, they'll just continue a

25       sampling, keep the boil water notice active.  They would

FLORIDA PUBLIC SERVICE COMMISSION

434

1       not rescind it until they get their satisfactory

2       bacteria.

3                 COMMISSIONER BROWN:  So if they continue, the

4       samples continue to be unsatisfactory, then the boil

5       water notices --

6                 THE WITNESS:  Would continue.

7                 COMMISSIONER BROWN:  -- would continue.  And

8       they, the utility would only be required to keep that

9       notice, that one notice out.  They don't have --

10                 THE WITNESS:  Yes.

11                 COMMISSIONER BROWN:  Okay.

12                 THE WITNESS:  Because the notice says, you

13       know, we've had this incident.  Do not drink your water

14       until we give you a rescission notice.  That's in the

15       boil water notice that they're given.  It'll say do not

16       use the water until we give you notification that it's

17       okay to use.

18                 COMMISSIONER BROWN:  Okay.  Thank you.

19                 THE WITNESS:  Okay.

20                 CHAIRMAN GRAHAM:  Mr. Jaeger, redirect?

21                 MR. JAEGER:  Staff has no redirect.

22                 CHAIRMAN GRAHAM:  Okay.  Are we done with this

23       witness?

24                 MR. JAEGER:  Staff is done with this witness.

25                 CHAIRMAN GRAHAM:  Ma'am, thank you very much

FLORIDA PUBLIC SERVICE COMMISSION

435

1       for coming, and for your travel.

2                 THE WITNESS:  Okay.

3                 CHAIRMAN GRAHAM:  We don't have any exhibits

4       to put into the record?

5                 MR. JAEGER:  No exhibits.

6                 CHAIRMAN GRAHAM:  No?

7                 MR. JAEGER:  There's no exhibits with

8       Ms. Carrico's testimony.

9                 CHAIRMAN GRAHAM:  Okay.

10                 Ma'am, thank you very much for your travel.

11                 THE WITNESS:  Thank you.

12                 CHAIRMAN GRAHAM:  Okay.  We are back on our

13       normal schedule.  And I believe, Mr. May, you have --

14                 MR. JAEGER:  I believe Mr. Greenwell just

15       showed up.  Is that -- Patty, is that correct?  Is he

16       ready to go?  I haven't had a chance to speak with him

17       this morning.  Could we take just a five-minute break

18       and then we can put Mr. Greenwell on?

19                 CHAIRMAN GRAHAM:  All right.  We'll take a

20       five-minute break and come back at a quarter after.

21                 (Recess taken.)

22                 Okay.  Mr. Jaeger.

23                 MR. JAEGER:  Yes, Chairman.  Staff will call

24       Jeffry S. Greenwell.  He has not been sworn.

25                 CHAIRMAN GRAHAM:  Mr. Greenwell, if I can get

FLORIDA PUBLIC SERVICE COMMISSION

436

1       you to raise your right hand.

2                         JEFFRY S. GREENWELL

3       was called as a witness on behalf of the Staff of the

4       Public Service Commission and, having been duly sworn,

5       testified as follows:

6                             EXAMINATION

7       BY MR. JAEGER:

8            Q    Mr. Greenwell, could you please state your

9       name and business address for the record?

10            A    My name is Jeff Greenwell.  I work for the

11       Department of Environmental Protection in the Southwest

12       District in the Temple Terrace office.

13            Q    Okay.  Have you prefiled direct testimony in

14       this docket consisting of five pages?

15            A    Yes, sir.

16            Q    Do you have any changes, corrections to your

17       testimony?

18            A    No, sir.

19            Q    If I were to ask you the same questions today,

20       would your testimony be the same today?

21            A    Yes.

22                 MR. JAEGER:  Chairman, may we have

23       Mr. Greenwell's testimony inserted into the record as

24       though read?

25                 CHAIRMAN GRAHAM:  We will insert

FLORIDA PUBLIC SERVICE COMMISSION

437

1       Mr. Greenwell's testimony into the record as though, as

2       if though read.

3       BY MR. JAEGER:

4            Q    And, Mr. Greenwell, did you also file Exhibit

5       Nos. JSG-1 through JSG-3?

6            A    Yes.

7            Q    Do you have any changes or corrections to any

8       of those exhibits?

9            A    No.

10                 MR. JAEGER:  Chairman, those exhibits have

11       been identified as 157, 158, and 159 in the

12       Comprehensive Exhibit List.  And I will now tender this

13       witness for cross.

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

443

1                 CHAIRMAN GRAHAM:  Okay.  Mr. May.

2                 MR. MAY:  Mr. Chairman, could, could I pass

3       and, and follow up if there's additional information

4       that comes out, as we did in --

5                 CHAIRMAN GRAHAM:  You know, I'm going off this

6       script that we have up here, and I don't know if this

7       was -- the order --

8                 MS. HELTON:  Mr. Chairman?

9                 CHAIRMAN GRAHAM:  Yes.

10                 MS. HELTON:  I have to confess that I did not

11       review the script before you received it.  Had I

12       reviewed the script before you received it, my

13       recommendation would have been to allow the Intervenors

14       to cross-examine the witness first and then for Aqua to

15       cross-examine.  I think that's appropriate.  Aqua has

16       the burden of proof here, and I think Aqua's due process

17       rights provide that they should be able to cross-examine

18       the witness after the Intervenors.

19                 CHAIRMAN GRAHAM:  Well, I guess the only

20       question I have is this the script that was put forth by

21       the Prehearing Officer, or is this something that's put

22       forth by Staff?

23                 MS. HELTON:  That is something that is put

24       forth -- provided to you by Staff.

25                 CHAIRMAN GRAHAM:  Okay.  I didn't want to

FLORIDA PUBLIC SERVICE COMMISSION

444

1       second-guess the Prehearing Officer, especially this

2       current Prehearing Officer.

3                 (Laughter.)

4                 That being said, we'll start off with OPC.

5                             EXAMINATION

6       BY MS. CHRISTENSEN:

7            Q    Good morning, Mr. Greenwell.

8            A    Good morning.

9            Q    Okay.  Now you filed testimony on Aqua -- or

10       testimony on October 6th, 2011, that addresses Aqua's

11       systems for several counties; correct?

12            A    Yes, ma'am.

13            Q    And these systems are Lake Suzy, Peace River

14       Heights, Ridge Meadows, Jasmine Lakes, Palm Terrace,

15       Zephyr Shores, Gibsonia Estates, Lake Gibson, Orange

16       Hill, Sugar Creek, Rosalie Oaks, Village Water, and The

17       Woods; correct?

18            A    The three Polk County potable water systems

19       are delegated to Polk County DOH and are not under my

20       jurisdiction directly.

21            Q    Okay.  Which systems are those?

22            A    Those would be Gibsonia Estates, Lake Gibson,

23       Orange Hill, Sugar Creek, Rosalie Oaks, and Village

24       Water, if they have potable water systems.  I'm not sure

25       they all do.

FLORIDA PUBLIC SERVICE COMMISSION

445

1            Q    Okay.  So you only address those systems

2       regarding wastewater systems; correct?

3            A    Yes, ma'am.

4            Q    Okay.  All right.  In your testimony, you

5       state that the overall operation and maintenance of

6       these systems for the water treatment plants and

7       distribution facilities meets the minimum filing

8       requirements of the Department of Environmental

9       Protection; correct?

10            A    That's correct.

11            Q    Okay.  Now you would agree that over the last

12       three years some of these systems have had DEP

13       enforcement actions against them; correct?

14            A    Yes, ma'am.  Three, I believe.

15            Q    Okay.  Well, let's talk about the individual

16       systems then.

17            A    Okay.

18            Q    Peace River's.  Peace River has had two

19       consent orders for water, for their water treatment

20       system; is that correct?

21            A    Yes, ma'am.

22            Q    Okay.  And one of those consent orders was

23       open at the time you filed testimony; correct?

24            A    Correct.  One remains open.

25            Q    Okay.  Can you tell us what that -- it remains

FLORIDA PUBLIC SERVICE COMMISSION

446

1       open today?

2            A    Yes.  They're in the process of implementing

3       the corrective action for that facility.

4            Q    Okay.  And can you tell us what that consent

5       order was opened for?

6            A    It was to address radiological exceedances of

7       the MCL, maximum contaminant level.

8            Q    Okay.  And how many violations did that cover?

9       Or is that an ongoing continuing violation?

10            A    It's not really an ongoing continuing

11       violation.  At this time they've actually come back into

12       compliance without implementing the treatment system.

13       But they basically exceeded multiple quarters, and it's

14       a running quarterly average over an annual period.

15            Q    Okay.  Now those quarters that were violated

16       were the second, third, and fourth quarters of 2009; is

17       that correct?

18            A    That's correct.

19            Q    And that also would cover MCL violations for

20       March and April of 2010; is that correct?

21            A    Yes.  Yes.

22            Q    Okay.  Other than those quarterly violations,

23       were there any additional ones in 2010 that you can

24       recall?

25            A    Not that I can recall.

FLORIDA PUBLIC SERVICE COMMISSION

447

1            Q    Okay.  And any continuing violations in 2011?

2            A    I do not believe there are any present

3       violations for that constituent right now.

4            Q    Okay.  Now let's talk about Jasmine Lakes.

5       Jasmine Lakes also had a violation in May 2010 that

6       required public notice; is that correct?

7            A    That's correct.  A Tier 2 public notice.

8            Q    Okay.  And can you explain what is a Tier 2

9       public notice?

10            A    A public notice that has to be issued within

11       30 days.  The total -- in this case it was a total

12       coliform exceedance.

13            Q    Okay.  And --

14            A    Which is not an acute constituent.  Tier 2,

15       Tier 2 public notices address MCLs that are not acute.

16            Q    Okay.  And when you mean acute, you mean cause

17       acute public health concerns?

18            A    Yes, ma'am.  Acute constituents would be

19       nitrates, particularly with infants.

20            Q    Okay.

21            A    Fecal or E.coli.

22            Q    Okay.  Those are the acute ones.  And then the

23       Tier 2 contaminants --

24            A    Are the chronic constituents.  Ones that, as

25       the previous witness identified, take a lifetime of

FLORIDA PUBLIC SERVICE COMMISSION

448

1       exposure to be impacted by.

2            Q    Okay.  Okay.  So multiple exposures over time

3       will cause health concerns; is that correct?

4            A    Yes, ma'am.

5            Q    Okay.  Now you also discuss Zephyr Shores in

6       your testimony?

7            A    Yes.

8            Q    And you testified that Zephyr Shores has an

9       MCL violation in August of 2010; is that correct?

10            A    For a secondary constituent, yes.

11            Q    Okay.  And they had a consent order executed

12       in August of 2009 for not timely submitting its

13       quarterly arsenic reports; is that correct?

14            A    That's correct.  Yes.

15            Q    And you would also agree that for the systems

16       that you monitor, there have been multiple precautionary

17       boiled water notices for these systems?

18            A    Yes.

19            Q    And you would agree that not all of the

20       precautionary notices were for planned outages; is that

21       right?

22            A    Yes.  Yes.  Many of them were water main

23       breaks.  That's correct.

24            Q    Okay.  And I think, based on your testimony,

25       if I'm correct, there were 38 nonplanned precautionary

FLORIDA PUBLIC SERVICE COMMISSION

449

1       boiled water notices for the last three years?

2            A    I didn't -- I looked at them on a system

3       basis, but I didn't -- but you may be correct.

4            Q    Okay.

5            A    If it's in the testimony, I pulled it out of

6       the database and it should be correct.

7            Q    Okay.  And Jasmine Lakes had about 16 boiled

8       water notices issued due to main breaks over the last

9       three years; would that be correct?

10            A    That is correct, I believe, yes.  15 or 16.

11            Q    Okay.  Well, let's talk -- you also monitor

12       wastewater systems; is that correct?

13            A    Yes.

14            Q    Okay.  And the wastewater systems that you

15       addressed in your testimony were the Lake Suzy, Peace

16       River Heights, Jasmine Lakes, Palm Terrace, Zephyr

17       Shores, Breeze Hill, Lake Gibson, Rosalie Oaks, Village

18       Water, and The Woods; is that correct?

19            A    That's correct.

20            Q    Okay.  Are there any other additional systems

21       that you monitor for Aqua?

22            A    Yes.  I believe Fruitville.  Now I can't --

23       going by memory, this would be pretty tough.  I do

24       believe there's a couple more, but Fruitville is one I'm

25       definitely aware of.  It's a large system.

FLORIDA PUBLIC SERVICE COMMISSION

450

1            Q    Okay.  And what county would that be in?

2            A    That is in Sarasota County.

3            Q    Okay.  So that would be under their

4       jurisdiction?

5            A    I believe so, yes.

6            Q    Okay.  So these would be the ones that it

7       appears that are under the PSC jurisdiction; correct?

8            A    That's correct.

9            Q    Okay.  In your testimony you stated that the

10       overall operation and maintenance of the Wastewater

11       treatment plants and distribution facilities meet the

12       minimum filing requirements of the Department of

13       Environmental Protection; correct?

14            A    Correct.  With the exceptions of the things

15       that I identified in my testimony.

16            Q    Okay.  Well, let's talk about some of the

17       things that you identified in your testimony.

18            A    Okay.

19            Q    All right.  Now you would agree that some of

20       those systems that you're monitoring have had

21       enforcement actions against them in the last three

22       years; correct?

23            A    Yes, ma'am.

24            Q    Okay.  Jasmine Lakes has had a consent order

25       with penalties in September of 2010; correct?

FLORIDA PUBLIC SERVICE COMMISSION

451

1            A    Jasmine Lakes in September of 2010.  I thought

2       the Jasmine Lakes one was not -- was it in 2010?  I

3       apologize.

4            Q    I'm looking at page 4 of your testimony.

5            A    Let me turn to page 4 real quick.

6            Q    Lines 23 through 25.

7            A    Yes.  You're correct.

8            Q    Okay.  And it says those were for maintenance

9       issue and groundwater exceedances; is that correct?

10            A    Yes.

11            Q    Can you explain to us what those maintenance

12       issues were?

13            A    I believe that they had excessive solids in

14       the plant that were entering their ponds at their

15       disposal system.

16            Q    Okay.  And the groundwater exceedances, would

17       that be related to the ponds as well?

18            A    Yes.

19            Q    Okay.  Now let's look at Palm Terrace.

20            A    Okay.

21            Q    Palm Terrace also received a warning letter

22       because it was out of compliance with construction in

23       operating permits; is that correct?

24            A    They received that this year, earlier this

25       year.  That's correct.

FLORIDA PUBLIC SERVICE COMMISSION

452

1            Q    Does that warning letter still remain open?

2            A    That warning letter remains open.

3            Q    Is that warning letter going to result in a

4       consent order?

5            A    It's unclear at this time whether it will

6       result in a consent order or not.

7            Q    Okay.  What --

8            A    They have returned to compliance.

9            Q    Okay.

10            A    With the, with the findings of the warning

11       letter.

12            Q    Okay.  And so at this point you would continue

13       to monitor to make sure they maintain compliance; is

14       that where you would be at this stage?

15            A    Well, we continue to do that.  But the actual

16       disposition of the enforcement case remains open.  We

17       haven't decided whether to take -- whether to attempt to

18       enter into a consent order with Aqua or not.

19            Q    Okay.  Do you know when you would make that

20       determination?

21            A    In accordance with the wastewater enforcement

22       guidance document, we should be doing it in the next 30

23       days or so.

24            Q    Okay.  Let's talk about one of the other

25       systems that you also review, and that's Rosalie Oaks.

FLORIDA PUBLIC SERVICE COMMISSION

453

1       The wastewater facility had a consent order with a fine

2       in August of 2010; is that correct?

3            A    Rosalie Oaks.  Yes.  There was a -- yes, for

4       operating without a permit.

5            Q    Okay.  And how long were they operating

6       without the permit?

7            A    I, I don't know that off the top of my head.

8            Q    Let me direct you to line 14 and 15 on page 4.

9            A    Okay.

10            Q    And there you testify that the monitoring

11       reports reviewed from February 2010 through July 2011

12       show five exceedances of the permit limit for total

13       plant flow reported as a three-month rolling average; is

14       that correct?

15            A    Yes, ma'am.

16            Q    Is that a separate compliance issue with

17       Rosalie Oaks?

18            A    We, we typically do not take enforcement for

19       flow exceedances, if the utility moves in a timely

20       manner to correct the associated problem with that and

21       there are no violations of water quality standards

22       associated with those exceedances.

23            Q    Okay.

24            A    In this case, they did, I believe they did

25       some infiltration and inflow work and reduced their

FLORIDA PUBLIC SERVICE COMMISSION

454

1       flows substantially.

2            Q    Okay.

3            A    Back within compliance within the permitted

4       capacity of the plant.

5            Q    Okay.  And so would that have -- that would

6       not have resulted in -- would that have resulted in five

7       violations or --

8            A    Each month was a violation, yes.

9            Q    Okay.

10            A    Each month that they exceeded the three-month

11       average.  We use three-month averages for parks that are

12       seasonal.  So parks that see a lot of winter, wintering

13       customers, I guess, they have a very, a peak flow from,

14       say, late October through early March.

15            Q    Okay.  And that would have been five months of

16       exceedances, if I'm --

17            A    That was five months of exceedances.  Yes.

18            Q    Okay.  Now let's discuss Village Water

19       wastewater treatment facility.  That's also been the

20       subject of an ongoing consent order since August 2007;

21       is that correct?

22            A    That's correct.

23            Q    Okay.  And you have said that this order has

24       been amended multiple times and remains open; is that

25       correct?

FLORIDA PUBLIC SERVICE COMMISSION

455

1            A    That's correct.

2            Q    And is that order still open today?

3            A    Yes.

4            Q    Okay.  And that consent order was originally

5       issued for operating the facility without a permit and a

6       failure to maintain ponds and including proper access

7       and control; is that correct?

8            A    Yes.

9            Q    And those conditions still exist today?

10            A    They have a permit that they're operating

11       under.  They have rectified the access control issue,

12       but they continue to have a disposal issue.

13            Q    Okay.  So essentially they still remain out of

14       compliance with the pond issues that remain; correct?

15            A    Yes.  The consent order gives them a certain

16       amount of relief with regard to that, but they are

17       attempting to find a corrective action to address the

18       pond disposal issue.

19            Q    Okay.  Now did you review any system, any Aqua

20       systems outside your area of jurisdiction?

21            A    No, ma'am.

22                 MS. CHRISTENSEN:  Okay.  That's all the

23       questions I have.

24                 CHAIRMAN GRAHAM:  Ms. Bradley.

25                 MS. BRADLEY:  No questions.

FLORIDA PUBLIC SERVICE COMMISSION

456

1                 CHAIRMAN GRAHAM:  YES.

2                 MR. CURTIN:  No questions.

3                 CHAIRMAN GRAHAM:  Mr. Richards.

4                 MR. RICHARDS:  Yes, I have a few questions.

5                 CHAIRMAN GRAHAM:  Sure.

6                             EXAMINATION

7       BY MR. RICHARDS:

8            Q    Good morning.

9            A    Good morning, Joe.

10            Q    I wanted to ask you about the Palm Terrace

11       system, wastewater treatment plant.  You issued a

12       warning letter on June 23rd of this year.  And on page 2

13       of that letter, on paragraph 5, you mentioned a

14       discharge from a broken pipe, 2,000 gallons into a

15       stormwater pond.  Would that be considered a violation

16       of DEP regulations?

17            A    Yes.  Yes.  That's a discharge -- an

18       unauthorized discharge.

19            Q    Also, the pipe that broke, it was an above

20       ground pipe, was not secured from damage.  Was that a

21       violation also?

22            A    That's, that's a tougher question.  I mean, I

23       don't, I don't know the answer to that, whether that

24       would be a violation of our rules.  It certainly was

25       constructed in a manner that did not seem consistent

FLORIDA PUBLIC SERVICE COMMISSION

457

1       with sound engineering practices.

2            Q    Thank you.  Also, at that same system, they

3       have retention ponds for their effluent, and they're

4       required to have an emergency overflow; is that correct?

5            A    That's correct.  They're required, under

6       Chapter 610, to have an -- 62-610 to have an emergency

7       discharge from any perc pond.  That is in an effort to

8       have a controlled release in the event you were to have

9       a release in an emergency and prevent catastrophic

10       failure of that system, and potentially cap a loss to

11       the utility as well as impacts to any surrounding

12       residences.

13            Q    Regarding that overflow pipe, would it be

14       consistent with DEP rules if that overflow pipe had a

15       cap on it that had to be manually removed?

16            A    I think that's a legal question that I'm

17       really not in a position to answer.

18            Q    Okay.  Okay.  I want to ask you about your

19       general opinion of the Palm Terrace wastewater treatment

20       plant.  Could you give us a general opinion about that

21       plant?

22            A    Well, it's, I believe it's about a

23       130,000-gallon-a-day wastewater plant presently doing

24       about 90,000 gallons a day.  It appears to have had some

25       solids issues in the past.  It looks like they're moving

FLORIDA PUBLIC SERVICE COMMISSION

458

1       towards amending those.  That's why I indicated it was

2       back in compliance.  Beyond that, that's the extent of

3       my knowledge of it.

4            Q    Is it true in the past that there have been

5       some of these smaller wastewater treatment plants where

6       the, the long-term solution would be to take them off

7       line and deliver the waste?  Have -- are you aware of

8       any private utilities in Pasco County where that is the

9       case?

10            A    Well, yeah.  There's plenty of them.  There is

11       no question about that.  It's always -- I mean, this is

12       a larger plant.  I wouldn't necessarily consider this a

13       small plant.  But particularly when you get into the

14       very small plants, regional control has, has clear

15       advantages.

16            Q    Are you aware of any discussions by your

17       inspectors or anyone on your staff that the long-term

18       solution for the Palm Terrace plant would be to take it

19       off line and send it to a regional plant?

20            A    No, I'm not aware of those discussions.

21            Q    Okay.

22            A    I had heard that you had approached them to

23       try to purchase it, or FGUA did, I guess.  Is it FGUA

24       that approached them?

25            Q    Yes.  Let me, let me ask you about boil water

FLORIDA PUBLIC SERVICE COMMISSION

459

1       notices.  That comes under your jurisdiction as well?

2            A    Yes, sir.

3            Q    What are your general requirements for

4       delivery of the boil water notice to the customers?

5            A    Boil water notices are -- the delivery is to

6       be done and consistent with the Department of Health's

7       guidance document, which is incorporated by rule within

8       the drinking water, Chapter 62-555.  And it should, it

9       should, the delivery should, you know, be consistent

10       with the amount of connections affected.

11                 So as an example, if you have ten service

12       connections affected, you should probably hand-deliver

13       those.  If you have 10,000 service connections affected,

14       you probably need to do a reverse 911 or a radio

15       announcement.  All of these things when you get these

16       large numbers have down sides to them.  But it is a

17       precautionary boil water notice.

18            Q    When you say hand delivery, is there any

19       guidance documents from the department as to how hand

20       delivery should be affected?

21            A    Beyond the Department of Health's guidance,

22       no, I'm not aware of any, no.

23                 MR. RICHARDS:  Okay.  Thank you.  I have no

24       further questions.

25                 CHAIRMAN GRAHAM:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

460

1                 Mr. May.

2                 MR. MAY:  Just a couple follow-up questions,

3       Mr. Chairman.

4                             EXAMINATION

5       BY MR. MAY:

6            Q    Mr. Greenwell, I'm Bruce May with the Holland

7       & Knight law firm.  We represent Aqua.  Good morning.

8            A    Good morning.

9            Q    Excuse me.  I just wanted to refer you back to

10       the discussion regarding the Rosalie Oaks wastewater

11       treatment facility.  You had indicated that there was a

12       consent order executed in August of 2010 for the

13       facility operating without a permit.  That consent order

14       has been closed, has it not?

15            A    Yes, sir.

16            Q    Okay.  And prior to the permit expiration, did

17       Aqua submit the application to renew the permit?

18            A    I believe so, but it wasn't made complete

19       prior to the expiration of the permit.

20            Q    Certainly.  And has that permit now been

21       issued?

22            A    Yes.

23                 MR. MAY:  Okay.  I think that's all the

24       questions I had.  Thank you, Mr. Greenwell.

25                 CHAIRMAN GRAHAM:  Commissioner Brisé -- I'm

FLORIDA PUBLIC SERVICE COMMISSION

461

1       sorry.  Commissioner Balbis.

2                 COMMISSIONER BALBIS:  Thank you, Mr. Chairman.

3                 And thank you for your testimony today.  And I

4       didn't thank the other witness, but I just want to thank

5       both of you for the work that you do and that you are

6       the boots on the ground looking out for the public's

7       health and best interest.  So I appreciate the work that

8       you do, and I think it is underappreciated.

9                 My questions are the warning letters,

10       concerning the warning letters in your Exhibit JSG-2

11       concerning Jasmine Lakes and Palm Terrace Gardens.

12                 THE WITNESS:  Okay.

13                 COMMISSIONER BALBIS:  And you indicated in

14       your testimony today that -- we'll start with Jasmine

15       Lakes had a solids problem with the wastewater plant,

16       and that there was an inspection on February 15th where

17       there was what appeared to be a solids issue identified,

18       and then in May of 2011, again, further indications of a

19       solids problem.

20                 Did you notify the operators at the time of

21       your February -- or the department's February 15th

22       meeting that they had a solids problem?

23                 THE WITNESS:  It would be standard procedure

24       to do that, yes.  But I wasn't the inspector, so I can't

25       verify that.

FLORIDA PUBLIC SERVICE COMMISSION

462

1                 COMMISSIONER BALBIS:  Okay.

2                 THE WITNESS:  But it, but it's standard to

3       usually walk through the facility with the operator and

4       let them know what's happening.  Yes.

5                 COMMISSIONER BALBIS:  And, but again, on

6       May 26th there was another inspection which there were

7       additional indications of a solids problem.

8                 THE WITNESS:  That's correct.

9                 COMMISSIONER BALBIS:  And then you indicated

10       that is now in compliance.  So they have corrected the

11       solids problem to your knowledge?

12                 THE WITNESS:  As of the last inspection they

13       had corrected the solids problem.

14                 COMMISSIONER BALBIS:  When -- prior to the

15       February 15th inspection, when was their last

16       inspection?  So how long could that solids problem have

17       been occurring?

18                 THE WITNESS:  Well, let me see.  I might be

19       able to find that.  We try to inspect all facilities

20       annually, and we do follow-ups for any facilities

21       typically that are significantly out of compliance.

22                 In the case of Palm Terrace, we're saying the

23       previous one was done in February of 2010.

24                 COMMISSIONER BALBIS:  And were there

25       indications of a solids problem at that time?

FLORIDA PUBLIC SERVICE COMMISSION

463

1                 THE WITNESS:  I don't have that information in

2       front of me.

3                 COMMISSIONER BALBIS:  Okay.  Was the issue --

4       was the solids problem caused by operator error or lack

5       of maintenance on maybe the RAS pumps?  In your opinion,

6       what do you think was the cause of it?

7                 THE WITNESS:  Well, I didn't see the site, but

8       solids issues can be a myriad of things individually or

9       working in combination with each other.  I mean, they

10       can be a function of not taking enough return activated

11       sludge back.  They can be a function of not wasting

12       enough.  It can be a sludge age issue.  You know, we've

13       seen it at places where you'll have a holiday break and

14       they'll go in and dewax all the floors.  The next thing

15       you know you've sort of, you've turned the plant upside

16       down, you've killed the plant, and then you end up with

17       a bulking problem, a solids problem.

18                 So it could be a combination of those things.

19       It could be any number of things.  It could be old

20       sludge.  It's really hard to know without having looked

21       at the sludge under a microscope to have a -- and

22       looking at the coloration of the sludge or the return

23       activated sludge to know what exactly that was.  But

24       typically when we find solids problems, we identify them

25       by what we would call a very high sludge blanket in the

FLORIDA PUBLIC SERVICE COMMISSION

464

1       clarifier.

2                 So, for example, if a clarifier is 10 feet

3       deep, you would expect the sludge blanket to be about

4       2.5 feet deep, not much deeper than that.  Everything

5       should settle down.  If you go out and you see a

6       clarifier that's 10 feet deep and the sludge blanket is

7       at 8 feet, you know, you know you've got a problem

8       there.

9                 Another easy way to identify a solids problem

10       is when you find solids in the chlorine contact chamber

11       or, worse, you find them in the disposal pond, which

12       means they're not only getting past the clarifier,

13       they're getting past the disinfection unit, the chlorine

14       contact unit, but they're also getting all the way into

15       the disposal unit.

16                 COMMISSIONER BALBIS:  And at both of those

17       plants you found solids in the disposal ponds; correct?

18                 THE WITNESS:  That's correct.

19                 COMMISSIONER BALBIS:  Is it common for

20       wastewater facilities under your jurisdiction to have

21       this solids problem?

22                 THE WITNESS:  It's not uncommon.  It's a

23       tricky thing.  I mean, you know, they're big, giant

24       biological experiments.  And by not wasting, by not

25       removing activated sludge, there's, there's clearly

FLORIDA PUBLIC SERVICE COMMISSION

465

1       economic benefits to that.  So you're playing a game

2       basically trying to manage that sludge age and minimize

3       your wasting in an effort to minimize your cost.

4                 COMMISSIONER BALBIS:  By minimizing your

5       sludge disposal costs; correct?

6                 THE WITNESS:  That's correct.  And your

7       overall operational costs.

8                 COMMISSIONER BALBIS:  In both of these

9       wastewater plants, Jasmine Lakes and Palm Terrace

10       Gardens, the warning letter indicates that in one the

11       flow chart recorder stopped for five days, indicating

12       there was no record of what flow.  And then in the other

13       it appears that the, the disk was not changed for 13

14       days.

15                 THE WITNESS:  That's correct.

16                 COMMISSIONER BALBIS:  Okay.  I have nothing

17       further.

18                 CHAIRMAN GRAHAM:  Commissioner Brown.

19                 COMMISSIONER BROWN:  Thank you.

20                 And good morning, Mr. Greenwell.  I hope your

21       drive was okay from Tampa.

22                 I have a question regarding some concerns that

23       customers raised during the New Port Richey service

24       hearing with regard to Jasmine Lakes.  Multiple

25       customers testified to red water occurring around

FLORIDA PUBLIC SERVICE COMMISSION

466

1       September 2011 in the Jasmine Lakes territory area.  Was

2       DEP contacted about a potential precautionary boil water

3       matter issue?

4                 THE WITNESS:  Jasmine Lakes on September of

5       2011, this, this past year?

6                 COMMISSIONER BROWN:  Uh-huh.

7                 THE WITNESS:  I am, I'm not aware of it, but

8       it would not -- typically they would let us know.  I

9       mean, we've not had any concerns with them issuing

10       precautionary boil water notices.

11                 COMMISSIONER BROWN:  Okay.  Thank you.

12                 CHAIRMAN GRAHAM:  Mr. Greenwell, I have a

13       question or two.  Who sets the standard for potable

14       water?

15                 THE WITNESS:  Well, it's, I guess it's sort of

16       a two-tier system.  The federal government sets primary

17       drinking water standards.  The state has historically

18       adopted those standards.

19                 In addition, the state has made secondary

20       drinking water standards enforceable in the State of

21       Florida, where they are not enforceable at the federal

22       level.

23                 CHAIRMAN GRAHAM:  Now are the terms "potable

24       water" and "drinking water" synonymous?

25                 THE WITNESS:  Yes.  I mean largely, yes.

FLORIDA PUBLIC SERVICE COMMISSION

467

1                 CHAIRMAN GRAHAM:  Have had you complaints in,

2       not specific to Aqua, but in general, any water

3       complaints that were, they were still within compliance

4       of the potable water standard but they still got quality

5       complaints about them?

6                 THE WITNESS:  Yes.

7                 CHAIRMAN GRAHAM:  Has there been any talk

8       about setting a more restrictive standard?

9                 THE WITNESS:  For?

10                 CHAIRMAN GRAHAM:  Potable water.

11                 THE WITNESS:  I'm really -- that's policy

12       that's beyond the scope -- I'm not aware of anything,

13       sir, actually.

14                 CHAIRMAN GRAHAM:  Okay.  That's all the

15       questions I had.

16                 Mr. Jaeger.

17                 MR. JAEGER:  Staff has no redirect.

18                 CHAIRMAN GRAHAM:  Okay.  Any exhibits?

19                 MR. JAEGER:  We had three exhibits, 157, 158,

20       and 159.  We would move those into the record.

21                 CHAIRMAN GRAHAM:  157, 158, 159, we'll move

22       those into the record.

23                 (Exhibits 157, 158, and 159 admitted into the

24       record.)

25                 Any other exhibits?

FLORIDA PUBLIC SERVICE COMMISSION

468

1                 MR. JAEGER:  None other.

2                 CHAIRMAN GRAHAM:  Are we done with

3       Mr. Greenwell?

4                 MR. JAEGER:  Staff can excuse Mr. Greenwell.

5                 CHAIRMAN GRAHAM:  Sir, thank you very much for

6       coming down.

7                 THE WITNESS:  Thank you.

8                 CHAIRMAN GRAHAM:  Okay.  Is that all we had

9       for out-of-order people?

10                 MR. JAEGER:  That's all the DEP out-of-order

11       witnesses we had.  I think we're back to going to

12       Mr. Rendell.

13                 CHAIRMAN GRAHAM:  Mr. May.

14                 MR. MAY:  Mr. Chairman, there's one nuance

15       with this witness.  He has a confidential exhibit and,

16       in accordance with the Commission's practice, we have

17       the unredacted versions of those exhibits.  And I'm

18       prepared to give them to the appropriate person and let

19       you all take a look at it.

20                 CHAIRMAN GRAHAM:  Sure.

21                 MR. MAY:  And the exhibit that's being passed

22       out now, the confidential, is in a red binder.  And it's

23       confidential Exhibit TR-3, which is Exhibit No. 70 in

24       the master exhibit list.

25                 CHAIRMAN GRAHAM:  You said it's number which

FLORIDA PUBLIC SERVICE COMMISSION

469

1       one?

2                 MR. MAY:  70.

3                 CHAIRMAN GRAHAM:  Okay.  Thank you.

4                 MR. MAY:  Mr. Chairman, with your permission,

5       Aqua would call its direct witness, Mr. Troy Rendell.

6                             TROY RENDELL

7       was called as a witness on behalf of Aqua Utilities

8       Florida and, having been duly sworn, testified as

9       follows:

10                             EXAMINATION

11       BY MR. MAY:

12            Q    Mr. Rendell, have you previously been sworn in

13       this proceeding?

14            A    I have.

15            Q    And would you please state your name and

16       business address for the record.

17            A    My name is Troy Rendell.  My business address

18       is 2228 Capital Circle Northeast, Suite 2A, Tallahassee,

19       Florida 32308.

20            Q    Thank you.  Have you prepared and caused to be

21       filed in this proceeding 30 pages of prefiled testimony?

22            A    I have.

23            Q    Do you have that prefiled direct testimony

24       before you today?

25            A    I do.

FLORIDA PUBLIC SERVICE COMMISSION

470

1            Q    Do you have any corrections or revisions to

2       make to your testimony?

3            A    I do not.

4            Q    If I were to ask you the questions that are

5       contained in your prefiled direct testimony today, would

6       your answers be the same?

7            A    Yes, they would.

8                 MR. MAY:  Mr. Chairman, we'd ask that the

9       prefiled direct testimony of Mr. Rendell be entered into

10       the record as though read.

11                 CHAIRMAN GRAHAM:  We will enter Mr. Rendell's

12       testimony into the record as if it were read.

13       BY CHAIRMAN GRAHAM:

14            Q    And, Mr. Rendell, have you attached any

15       exhibits to your prefiled testimony?

16            A    Yes.  I have Exhibits 1 through 3.

17            Q    And Exhibit TR-3 is the confidential exhibit?

18            A    Correct.

19            Q    Do you have any corrections or revisions to

20       make to those exhibits?

21            A    No, I do not.

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

501

1       BY MR. MAY:

2            Q    Mr. Rendell, have you prepared a brief summary

3       of your prefiled direct testimony?

4            A    I have.

5            Q    Would you please provide that summary now?

6            A    Sure.

7                 Good morning, Chairman and Commissioners.  As

8       I stated, my name is Troy Rendell.  I'm the Rates

9       Manager for Aqua Utilities Florida.  I'm responsible for

10       rate and regulatory matters concerning Aqua, including

11       all filings before the Public Service Commission.

12                 My direct testimony was filed for five primary

13       reasons.  First, I address the appropriate used and

14       useful percentages for those water and wastewater

15       systems protested by the Office of Public Counsel.  The

16       used and useful percentages that AUF relied on to

17       establish rate base in this proceeding have been

18       properly calculated using the methodologies that the

19       Commission approved just over two years ago in AUF's

20       last rate case.

21                 Because there have been no changes to the

22       Commission's used and useful rules or any structural or

23       operational changes to AUF's systems since the last rate

24       case, there is no reason to deviate from those

25       previously approved used and useful methodologies and

FLORIDA PUBLIC SERVICE COMMISSION

502

1       resulting percentages.

2                 Moreover, my testimony shows that ignoring the

3       previously approved used and useful methodologies and

4       percentages would unnecessarily embroil AUF, the

5       Commission, and the parties in protracted disputes that

6       ultimately will lead to higher rate case expense for the

7       customers.

8                 Second, I address the appropriate performance

9       or merit salary increases as well as the appropriate

10       market-based salary increases set forth in AUF's MFRs,

11       which AUF raised in its cross-petition.  The salary

12       increases included in AUF's MFRs are reasonable and

13       necessary in order for AUF to attract and retain

14       qualified employees in this market.

15                 Furthermore, the requested increases are

16       consistent with recent Commission orders, are proven

17       salary increases for other similarly situated utilities.

18                 Third, I address the appropriate

19       Commission-approved leverage formula to establish AUF's

20       return on equity in this case.  As was approved

21       yesterday, this issue has been stipulated to and has

22       been approved by this Commission.

23                 Fourth, I address the appropriate calculation

24       of the regulatory asset related to the deferred interim

25       revenues in this case.  I believe that AUF and the

FLORIDA PUBLIC SERVICE COMMISSION

503

1       Commission Staff now agree on the appropriate

2       methodology and the number of days to use in the

3       calculation of the regulatory asset, as set forth in the

4       positions in the Prehearing Order.  However, I do

5       acknowledge, as well as Staff, that the final amount

6       will be dependent on the overall decisions made by this

7       Commission on the various issues identified in the

8       protest.

9                 Finally, AUF agrees with the Commission's

10       decision on the PAA order on the appropriate rate

11       structure to utilize.  In support, I address the

12       appropriate criteria that the Commission should use in

13       establishing the rate structure of AUF's water and

14       wastewater systems.  I also offer a perspective on past

15       Commission decisions as they relate to uniform rate

16       structures in past dockets.

17                 Thank you.  That concludes my summary.

18                 MR. MAY:  Thank you, Mr. Rendell.

19                 Aqua Utilities would tender the witness for

20       cross-examination.

21                 CHAIRMAN GRAHAM:  Thank you.

22                 Mr. Rendell, welcome.

23                 THE WITNESS:  Thank you.

24                 CHAIRMAN GRAHAM:  Ms. Christensen.

25                 MS. CHRISTENSEN:  Yes.  We have a packet to

FLORIDA PUBLIC SERVICE COMMISSION

504

1       pass out before we start our cross-examination.

2                 CHAIRMAN GRAHAM:  Sure.

3                 (Pause.)

4                 All right.  Let's give these things some

5       numbers.

6                 MS. CHRISTENSEN:  I believe they're in order

7       of how I intend to present them in the

8       cross-examination.  So Rule 25-30.4325 would be 304.

9                 MR. JAEGER:  No.

10                 MS. BENNETT:  305, I believe.

11                 CHAIRMAN GRAHAM:  305.

12                 MS. CHRISTENSEN:  305?  I'm sorry.  You're

13       right.  305.

14                 (Exhibit 305 marked for identification.)

15                 Rule 25-30.3 -- or 432 would then be 306.

16                 (Exhibit 306 marked for identification.)

17                 Exhibit ATW-4 -- is that already in the

18       record -- is already in the record, and I would have to

19       find the number on the list, but if I can pass that up

20       for now.

21                 CHAIRMAN GRAHAM:  Okay.

22                 MS. CHRISTENSEN:  The next exhibit is a court

23       order, so that does not need an exhibit number.

24                 CHAIRMAN GRAHAM:  Okay.

25                 MS. CHRISTENSEN:  The next exhibit, which is

FLORIDA PUBLIC SERVICE COMMISSION

505

1       in Docket 080249, Citizens' Petition, if we can label

2       that 306.

3                 MR. JAEGER:  307.

4                 MS. BENNETT:  307.

5                 MS. CHRISTENSEN:  307?  I'm sorry.  I am

6       losing track of my numbering.

7                 (Exhibit 307 marked for identification.)

8                 The next is an order, so that does not need a

9       number.  The one following that is also an order, which

10       would not need a number.

11                 The following one, Social Security Cost of

12       Living Adjustment, 308.

13                 (Exhibit 308 marked for identification.)

14                 Bureau of Labor Statistics, Unemployment

15       Statistics, 309.

16                 (Exhibit 309 marked for identification.)

17                 And that is the total of the exhibits.

18                 CHAIRMAN GRAHAM:  I want to thank you for

19       doing this.  It makes it a lot easier than getting these

20       things one at a time and all the running around that

21       has -- it's much more efficient.

22                 MS. CHRISTENSEN:  With that said, I think I'm

23       ready to proceed.

24                 CHAIRMAN GRAHAM:  Please continue.

25                             EXAMINATION

FLORIDA PUBLIC SERVICE COMMISSION

506

1       BY MS. CHRISTENSEN:

2            Q    On page -- let me direct you to page 7 and 8

3       of your direct testimony.  Starting at the bottom at

4       line 23, and I believe carrying over to the next page of

5       your testimony, you state that the Commission has

6       established rules for used and useful; correct?

7            A    Correct.

8            Q    Okay.  And you're not here today testifying as

9       an engineer; is that correct?

10            A    I do not have an engineer's degree.

11            Q    Okay.  And you're not intending to have your

12       testimony taken as testimony of an -- with engineering

13       expertise; correct?

14            A    Not as an engineering expert.

15            Q    Okay.  And you are only testifying in your

16       capacity or with regards to past Commission decisions;

17       correct?

18            A    And my experience at the Commission

19       supervising and hiring engineers.

20            Q    Okay.  Now if the Commission was to change

21       policy, you're not here stating that you're qualified to

22       advise the Commission as to a change of policy with

23       regards -- based on an engineering recommendation;

24       correct?

25            A    Not based on an engineering recommendation.

FLORIDA PUBLIC SERVICE COMMISSION

507

1            Q    Okay.  Have you read the direct testimony of

2       OPC Witness Andy Woodcock?

3            A    I have.

4            Q    You said you have; correct?

5            A    Yes, I have.

6            Q    Okay.  Now I want to refer you to the exhibit

7       that we've already marked for identification as 305.

8            A    Correct.

9            Q    Okay.  That's Rule No. 25-30.4325, Florida

10       Administrative Code; correct?

11            A    That is correct.

12            Q    And that is the rule regarding water treatment

13       and storage used and useful calculations; correct?

14            A    That is correct.

15            Q    And have you read this rule?

16            A    I actually was the primary supervisor in

17       charge of this rule when it was first docketed.  This

18       rule was under my direct supervision to draft and

19       present to the Commission.  However, once I left the

20       Commission, that docket was transferred to another

21       supervisor.

22            Q    So then I'm guessing the answer to the

23       question is you're familiar with this rule?

24            A    Very familiar.

25            Q    Okay.  Now you would agree that this rule

FLORIDA PUBLIC SERVICE COMMISSION

508

1       lists factors that must be considered in making a

2       determination of the used -- in the used and useful

3       calculation; correct?

4            A    That is what it states.

5            Q    Okay.  But the rule does not state how these

6       factors must be treated; is that correct?

7            A    Not specifically.  It gives factors to

8       consider when the Commission makes the ultimate decision

9       on used and useful.

10            Q    All right.  So how the Commission decides to

11       treat each factor, what weight the Commission decides to

12       give each factor, is left to the discretion of the

13       Commission; correct?

14            A    Based on past Commission practice and court

15       decisions and the law.

16            Q    Now let me take you to what we've already

17       premarked as Exhibit 306.  And this is the Rule

18       25-30.432, Florida Administrative Code, the wastewater

19       treatment plant used and useful calculation; correct?

20            A    That is correct.

21            Q    Okay.  Have you read this rule?

22            A    I've actually -- when I worked at the

23       Commission, I had engineers that worked under me, and we

24       determined used and useful.  So I actually had to apply

25       this rule in the rate cases that I worked on at the

FLORIDA PUBLIC SERVICE COMMISSION

509

1       Commission.

2            Q    Okay.  So it's fair to say that you're

3       familiar with the rule?

4            A    Extremely.

5            Q    Okay.  Is it true that this rule -- isn't it

6       true that this rule allows the Commission to consider

7       factors such as whether the plant is oversized for a

8       system?

9            A    That is what it states.

10            Q    Okay.  Now let me take you to page 13.

11            A    Of what?

12            Q    Your direct testimony.  Lines 18 through 22.

13       And on those lines you state the Fairways water

14       treatment system should be 100% used and useful;

15       correct?

16            A    That is what I state.

17            Q    Okay.  Isn't it true that the Commission has

18       not yet established that percentage in a previous case?

19            A    Fairways, to the best of my knowledge, has not

20       been the subject of a previous rate case, unlike Breeze

21       Hill.

22            Q    Okay.  When Aqua purchased this system, did it

23       perform any sort of due diligence analysis to evaluate

24       the capacity of the plant compared to the number of

25       connected customers?

FLORIDA PUBLIC SERVICE COMMISSION

510

1            A    I am not personally aware of that because I

2       was not involved in that purchase.

3            Q    Okay.  Would you expect the company to perform

4       due diligence to make that evaluation?

5            A    The utility makes due diligence in every

6       acquisition.  The specifics of what they look at of

7       determining capacity I'm not personally aware.  I

8       believe that's an engineering function.

9            Q    Okay.  Let me turn you to page 14, lines

10       3 through 7 of your direct testimony.  And there you say

11       the Peace River's water distribution system should be

12       considered 100 percent used and useful; correct?

13            A    That is correct.

14            Q    Now isn't it true the Commission has not

15       established that percentage in a previous case for the

16       distribution system?

17            A    Peace River was formerly under the

18       jurisdiction of Hardee County.  They just recently

19       turned that jurisdiction over.  That was something I

20       worked with the county commission on in the last rate

21       case before the county commission.  I worked very

22       closely with the customers and the county commission to

23       reach a settlement in that case, and actually that was

24       precipitous of them turning jurisdiction over to the

25       Commission.

FLORIDA PUBLIC SERVICE COMMISSION

511

1            Q    Okay.

2            A    So it was, it was not before the Public

3       Service Commission until just recently.

4            Q    All right.  Let me ask you this.  Did Aqua,

5       when it purchased the Peace River system, perform any

6       sort of due diligence analysis to evaluate the number of

7       lots fronting the mains compared to the number of

8       connecting customers?

9            A    I am not aware.  That was, I believe, an Aqua

10       Source purchase in 2003, so I was not with Aqua at the

11       time.  I have personally visited Peace River on a couple

12       of occasions and have actually went throughout the

13       system.

14            Q    Well, let me take you to page 16 of your

15       direct testimony.  Okay.  And there you also state that

16       the Fairways wastewater treatment system should be

17       considered 100% used and useful; is that correct?

18            A    That is what I state.

19            Q    Okay.  Isn't it true that the Commission has

20       not established that percentage in a previous case?

21            A    As I previously answered, they have not had a

22       rate case before the Commission.

23            Q    Okay.  And for that system, did Aqua, to your

24       knowledge, perform any sort of due diligence analysis to

25       evaluate the number of lots fronting the main as

FLORIDA PUBLIC SERVICE COMMISSION

512

1       compared to the number of connected customers?

2            A    I believe I answered that.  I was not involved

3       in the due diligence.

4            Q    Okay.  Now would you agree that -- or wouldn't

5       you agree that Fairways' actual used and useful

6       percentage, when calculated, is about 40%?

7            A    I would have to check the MFRs.

8                 (Pause.)

9                 You said for the wastewater treatment?

10            Q    I think we talked about the water treatment

11       system.  Oh, I'm sorry.  The wastewater treatment.  Let

12       me make sure I'm correct.  Wastewater treatment.

13            A    The calculation that was on F6 of the MFRs has

14       39.95%.

15            Q    Okay.  Would you agree that the actual used

16       and useful should have been considered as part of the

17       purchase price?

18            A    I don't believe used and useful is considered

19       in any purchase.

20            Q    Let me take you to Page 17 of your testimony,

21       lines 3 through 8.  And there you state the Peace River

22       wastewater treatment system should be considered 100%

23       used and useful; correct?

24            A    That is what I state.

25            Q    Okay.  And it would also be true to state that

FLORIDA PUBLIC SERVICE COMMISSION

513

1       the Commission has not established a percentage, or

2       established, excuse me, that percentage in a previous

3       case?

4            A    The Commission did not have jurisdiction over

5       Peace River.

6            Q    Okay.  Are you aware of whether or not Aqua

7       performed any sort of due diligence analysis to evaluate

8       the number of lots fronting the mains compared to the

9       number of connections for customers for the Peace River

10       wastewater treatment system?

11            A    Again, that purchase was in 2003 from Aqua

12       Source.  I was not with Aqua at the time, but I do know

13       that that system is completely built out, both water and

14       wastewater.

15            Q    Let me ask you this.  Wouldn't you agree that

16       the Peace River wastewater treatment system's actual

17       used and useful percentage, when calculated, is about

18       55%?

19            A    I'm sorry.  I lost my page.  54.43%.

20            Q    Okay.  Let me take you to page 20, lines 4

21       through 8 of your direct testimony.  You state that the

22       Peace River wastewater collection system should be 100%

23       used and useful.  Is that correct?

24            A    Based on being billed out, correct.

25            Q    Now isn't it true that the Commission has not

FLORIDA PUBLIC SERVICE COMMISSION

514

1       established that percentage in a previous case?

2            A    I believe I already answered that.  They did

3       not have jurisdiction at Peace River.

4            Q    Now would you agree, subject to check, that

5       the used and useful growth factors for several systems

6       in this proceeding, as shown in Andy Woodcock's Exhibit

7       4, have changed from what was established in the 2008

8       rate case?  Are you aware of that?

9            A    They may have.  We have, we have seen

10       reduction in customers, which -- so obviously that would

11       go to show that the growth is either -- there is no

12       growth or actually is a negative in our system.  So that

13       would be indicative of a built-out system, consistent

14       with past Commission practice.

15            Q    Okay.  Are you aware for the Carlton Village

16       system, has seen a waste -- or water treatment used and

17       useful growth factor decline from 1.25 in the 2008 order

18       to 1.9 as filed in the MFRs in this proceeding?

19            A    That is what Exhibit ATW-4 indicates.  And, as

20       I indicated before, we have seen a reduction in

21       customers.

22            Q    Okay.  And are you also aware that a system

23       like Gibsonia Estates has seen its water distribution

24       used and useful factor decline from 1.05 in the

25       October 8th order to 1.00 as filed in the MFRs for this

FLORIDA PUBLIC SERVICE COMMISSION

515

1       proceeding?

2            A    Again, this is -- I'm looking at

3       Mr. Woodcock's exhibit.  I did not prepare this exhibit,

4       but that's what this exhibit indicates.

5            Q    And you would agree, correct, that if

6       everything else were equal, that for a system like

7       Carlton Village where you have a decline in the growth

8       factor, that would cause the used and useful to be

9       different; correct?

10            A    No, I would not agree with that.

11            Q    You disagree that the growth factor has any

12       impact on used and useful in the calculation?

13            A    It is a consideration by statute that you look

14       at a five-year growth, if -- that -- consistent with

15       past Commission practice, if your growth shows, which

16       I've indicated in my testimony there's -- several of

17       these systems have been looked at since 1995 in the last

18       SSU case, and it shows there is no growth.  So that's

19       indicative of a built-out system.

20            Q    Okay.  Well, let me have you actually address

21       my question.  Maybe I can make it much more specific.

22                 Mathematically, if the growth factor declines,

23       you would agree that that would have an impact in the

24       used and useful calculation.  If you used a lower growth

25       rate, that would tend to have an impact on lowering the

FLORIDA PUBLIC SERVICE COMMISSION

516

1       used and useful; correct?

2            A    It would have an impact on the mathematical --

3       once you go through the math of the equation, it would

4       have a slight impact on the actual equation.  It does

5       not have an impact on the actual determination of the

6       used and useful.

7            Q    Okay.  Let me take you to page 10 of your

8       direct testimony.  On page 10 you discuss the

9       installation of an additional well at Zephyr Shores'

10       system as the only operational and structural changes

11       made to AUF's system since the issuance of the final

12       order in the last rate case; correct?

13            A    That is what I state.

14            Q    Okay.  Now isn't it correct that Aqua has

15       requested pro forma additions at Leisure Lakes' system

16       for an AdEdge treatment process that would be considered

17       an operational or structural change?

18            A    That is a treatment.  It has nothing to do

19       with capacity.  It's a treatment of the water.

20            Q    But your -- that would be an operational

21       change; correct?

22            A    I believe those were just installed.

23       They're -- if that's, if that's the one I'm

24       recollecting, they just went through treatment, the test

25       and startup.  So at the time of the filing of the rate

FLORIDA PUBLIC SERVICE COMMISSION

517

1       case and my testimony, there had been no changes.

2            Q    All right.  But as of today there would be;

3       correct?

4            A    There's been an addition of a treatment to

5       address customers' concerns through the aesthetic

6       project with those customers at their request.

7            Q    So your answer to my question would be yes

8       then?

9            A    There's been addition of a treatment.  I would

10       agree to that.

11            Q    Okay.  And that would be an operational and

12       structural change to the Leisure Lakes -- or, yeah, the

13       Leisure Lakes system; correct?

14            A    Sure.

15            Q    Okay.  Now you've also asked for pro forma

16       additions to the Sebring Lakes/Lake Josephine system for

17       additional treatment processes to address secondary

18       water quality issues, and that would also be considered

19       an operational or structural change; correct?

20            A    Yes.  Those changes were made through the

21       aesthetic project at the request of the customers.

22            Q    Okay.  Now would it also be correct that Aqua

23       has requested pro forma additions at the Peace River

24       system to address radium removal that would also be

25       considered an operational or structural change?

FLORIDA PUBLIC SERVICE COMMISSION

518

1            A    Correct.  That was required by a consent

2       order.

3            Q    And it's also correct that Aqua has requested

4       pro forma additions at the Sunny Hills system to add

5       additional storage that would also be considered an

6       operational or structural change; correct?

7            A    Once it is installed and in operation, but

8       currently it is not.

9            Q    Okay.

10            A    There's contracts, but -- and the tank's being

11       built, but it has not been installed.

12            Q    And it would be correct to say that these

13       additions will require changes in operating and

14       maintenance costs.

15            A    Potentially.  Both up and down.

16            Q    Okay.  Referring to page 7 of your direct

17       testimony, line 18, you quote the 1st DCA.  And isn't it

18       true that your quote begins, beginning on line 16 is

19       only part of the court opinion; correct?

20            A    I did not quote the entire court opinion, so I

21       guess that would be yes.

22            Q    Okay.  We, I think we've provided you a copy

23       of the 1st DCA opinion as part of the handout.

24                 Now looking at page 12 of the order, column 2,

25       second full paragraph, beginning with the sentence after

FLORIDA PUBLIC SERVICE COMMISSION

519

1       the citation, could you read that, those following two

2       sentences?

3            A    Sure.  "For this policy shift too, the PSC

4       must give a reasonable explanation on remand and adduce

5       supporting evidence, if it can, to justify a change in

6       policy required by no rule or statute.  That failing,

7       the PSC should adhere to its prior practice -- practices

8       in calculating used and useful percentages for water

9       transmission and distribution systems and wastewater

10       collection systems serving mixed use areas."

11            Q    Okay.  Now isn't it correct to say that the

12       court overturned the Commission's decision because the

13       policy shift -- and if you look up at the beginning

14       portion of that paragraph, the court says essentially it

15       was because it was unsupported by expert testimony,

16       documentary opinion, or other evidence appropriate to

17       the nature of the issues involved; correct?

18            A    Well, what happened in this case, because I

19       was very familiar and involved in this case, is the

20       Commission had changed its methodology --

21                 MS. CHRISTENSEN:  Excuse me.  Chairman, can I

22       get him to answer yes or no, and then I'm sure he can

23       provide an explanation.

24                 THE WITNESS:  Could you restate the question?

25       Because I was confused by the question.

FLORIDA PUBLIC SERVICE COMMISSION

520

1                 MS. CHRISTENSEN:  Certainly.

2       BY MS. CHRISTENSEN:

3            Q    Isn't it true that the court overturned the

4       Commission's decision because its policy, its policy

5       shift, and it states essentially in its order was

6       essentially unsupported by expert testimony, documentary

7       opinion, or other evidence appropriate to the nature of

8       the issue involved?

9            A    Correct.  There is no evidence.

10            Q    Okay.  Would you also agree that the language

11       of the order provides that if the, if the Commission has

12       a reasonable explanation, it may change a prior policy?

13                 MR. MAY:  I'll object to that.  She

14       mischaracterized what Mr. Rendell just read from the

15       order.  It said a reasonable explanation and adduce

16       supporting evidence.

17                 MS. CHRISTENSEN:  Okay.  Then I will reframe

18       my question.

19                 CHAIRMAN GRAHAM:  Please.

20       BY MS. CHRISTENSEN:

21            Q    Would you agree that the language of the order

22       provides that if the PSC has testimony by experts and

23       other appropriate evidence, that it may change its prior

24       policy?

25            A    Yes.  And if I can explain.  What happened in

FLORIDA PUBLIC SERVICE COMMISSION

521

1       this case was the Commission changed the calculation of

2       used and useful without any evidence in the record.  The

3       Commission remanded it back to the Commission to either

4       take additional evidence to support its position or have

5       some other decision made.

6                 When I was with Staff we discussed what

7       options were available, went to the Commission, said,

8       well, you know, your options are you can reopen the

9       record, have an expert witness provide this testimony

10       and make a decision, or you can accept -- or you can

11       reverse your decision.

12                 Southern States worked out a settlement with

13       the Commission, and this is why it's important, is if a

14       court decision is overturned by the -- I mean, I'm

15       sorry, if the Commission decision is overturned by the

16       court, the utility has a right under the GTE case to

17       surcharge its customers.

18                 So this case had been on remand -- or appeal

19       for about a year or two.  SSU had a right to go back and

20       surcharge its customers.  They worked out a settlement

21       with the Commission to accept the decision and create a

22       regulatory asset.  That regulatory asset to this day is

23       still in the rates of the customers on Aqua's books.

24                 MS. CHRISTENSEN:  I'm going to object.  I

25       think we're getting a little far afield of my question.

FLORIDA PUBLIC SERVICE COMMISSION

522

1                 CHAIRMAN GRAHAM:  Sure.  If you can just

2       answer yes or no and then give a brief answer.

3                 THE WITNESS:  Sure.

4                 CHAIRMAN GRAHAM:  I was going to let him

5       editorialize because I thought maybe you were just

6       getting more information.  But as soon as you want to

7       cut it off, just let me know.

8       BY MS. CHRISTENSEN:

9            Q    Okay.  And really nothing in that explanation

10       changes the fact that the court said that as long as you

11       adduce proper evidence at a hearing, that the Commission

12       can change its policy based on that evidence adduced at

13       the hearing; is that correct?

14            A    That's correct.  The Commission can change

15       policy any time based on evidence.

16            Q    Okay.  All right.  Let me take you to page 21

17       of your testimony, lines 1 through 7.  In that -- in

18       your direct testimony you state, "The Commission

19       approved salary increases in Water Management Services,

20       Inc., case and the Labrador rate case."  And I think

21       we've provided, I think we've provided you with a copy

22       of the protest that we had in that case, in Labrador.

23                 Now is it correct to say that the Office of

24       Public Counsel protested the order that you cited in

25       that case -- in your testimony; correct?

FLORIDA PUBLIC SERVICE COMMISSION

523

1            A    Based on this document, that is correct.

2            Q    And looking at, specifically at the protest,

3       you would agree, based under the operating system,

4       operating statements section of the protest, one of the

5       specific issues protested was salary, benefits, payroll

6       taxes; correct?

7            A    Correct.

8            Q    And that protest specifically states that

9       salaries, benefits, and payroll taxes are especially

10       excessive, particularly in light of current economic

11       conditions; correct?

12            A    That is what it states.

13            Q    Okay.  Now let me direct you to the following

14       document that has Order No. 09-0711.  You have that in

15       front of you?

16            A    I do.

17            Q    And I want to direct your attention to page 2

18       of the order, looking at the footnotes, Footnote 3.  Can

19       you read Footnote 3 into the record, please.

20            A    Sure.  "The parties do not agree on the

21       calculation of the appropriate amount for salaries and

22       benefits, and the amount of $125,288 listed in the PAA

23       order shall have no precedential value."

24            Q    Okay.  Thank you.  Now regarding the Waste

25       Management case, and I believe that's the next order

FLORIDA PUBLIC SERVICE COMMISSION

524

1       that we'll refer to, and that's PSC-11-0010-SC-WU.

2                 (Pause.)

3                 Okay.  Let me direct you to page 20 of the

4       order.  Okay.  Okay.  In there -- okay.  Would you agree

5       that the reason that the employee received a 30%

6       increase was because she became certificated, because

7       one of the witnesses --

8            A    Apparently the company witness Brown had

9       indicated that in his testimony.

10            Q    And you would agree that that is not in and of

11       itself a cost of living increase; correct?

12            A    No, and neither is ours.  Ours is not a cost

13       of living increase either.

14            Q    And were you aware in this order that the

15       adjustment was made to reduce the increase that was

16       requested in the test year to a more reasonable 3%

17       level?

18            A    That's my understanding.  Correct.

19            Q    Okay.  All right.  Let me have you turn to

20       page 21, I think you may already be there, but 21 of

21       your direct testimony.

22            A    Yes.

23            Q    Lines 11 through 13.

24            A    Correct.

25            Q    And there you state that the Commission has

FLORIDA PUBLIC SERVICE COMMISSION

525

1       recognized that AUF was entitled to give its employees a

2       cost of living increase in Order No. PSC-09-0385-FOF; is

3       that correct?

4            A    That's what I state.

5            Q    And the prior order included cost of living

6       increases for 2007; correct?

7            A    There is a normalization for 2007 and a pro

8       forma for 2008.

9            Q    Okay.  So that would be two salary increases

10       that were included in the last rate case?

11            A    Correct.  There was a normalization of one

12       which had already occurred, and then there's a pro forma

13       for the one that went into effect in '08.

14            Q    Okay.  And would it be true that the pro forma

15       adjustments in the Aqua MFRs are for 2010 and 2011?

16            A    There's a normalization for the historical

17       year to normalize the increase that went in effect

18       during that year, and there's a pro forma for the

19       following year.

20            Q    Okay.  So that would -- those would be the

21       years 2010 and 2011; correct?

22            A    Correct.  But the increases are, are awarded

23       in April of each year.

24            Q    Okay.  Let me turn your attention to Exhibit

25       308.  Okay.  That's entitled Social Security Cost of

FLORIDA PUBLIC SERVICE COMMISSION

526

1       Living Adjustments; correct?

2            A    Correct.

3            Q    Okay.  And you would agree that there were no

4       cost of living adjustments granted for Social Security

5       in 2009?

6            A    Correct.

7            Q    And there was no cost of living adjustment for

8       Social Security in 2010; correct?

9            A    That's correct.

10            Q    Okay.  And you -- if you're aware, you would

11       agree that the State of Florida budget has not given

12       state employees a cost of living increase for the last

13       five years?

14            A    I can't verify if it's been five years.  But I

15       do know that there has not been an increase given to

16       state employees for quite some time.

17            Q    Okay.  Let me turn your attention to page 22

18       of your testimony, lines 2 through 7.  And you state

19       that the requested market-based salary increases are

20       based on a market study done by -- is that Saje

21       Consulting Group?

22            A    I believe it's Saje.

23            Q    Saje Consulting Group, Inc., using 2007 market

24       information; correct?

25            A    That is correct.

FLORIDA PUBLIC SERVICE COMMISSION

527

1            Q    So it would be fair to say the study does not

2       include an analysis of unemployment for the period from

3       2007 through 2011?

4            A    I don't believe that's what the subject matter

5       of this, what this study was, so I think I can agree to

6       that.

7            Q    Okay.  Now referencing you to Exhibit 309, you

8       would agree, subject to check, that the Bureau of Labor

9       Statistics shows that the Florida unemployment rate at

10       the end of 2010 was 12%; correct?

11            A    Which year?

12            Q    2010, December.

13            A    Oh, correct.  I'm sorry.

14            Q    Okay.  So you agree that the unemployment rate

15       is 12% as of that December 2010 date; correct?

16            A    That's what this document indicates.

17            Q    Okay.  And at the end of 2007, you would agree

18       that the unemployment rate was 4.7%; correct?

19            A    Again, that's what this document indicates.

20            Q    So wouldn't you agree that the fact that there

21       are significantly more people out of work and looking

22       for jobs should be considered in a market study?

23            A    I believe market studies look at what the

24       prevailing rate is for different categories of

25       employee -- employees throughout the market in order for

FLORIDA PUBLIC SERVICE COMMISSION

528

1       utilities, or any, any business to attract and retain

2       employees.  To my knowledge, although I don't do market

3       studies, I don't think that's part of the analysis in a

4       market study.

5            Q    Well, if I understood your explanation

6       correctly, you did state that it was based on what the

7       market was when the study was done, and that would be

8       influenced by what the market conditions are; correct?

9            A    I don't think I can agree to that.

10            Q    Okay.  So your -- is it your testimony today

11       that the conditions of the marketplace and, and what --

12       how readily or not readily available jobs are has no

13       influence on a market study in your opinion?

14            A    I don't believe it does.

15            Q    Okay.  Now you are aware that affordability is

16       an issue in this docket; correct?

17            A    I think that was -- I believe that was struck.

18       It was moved to the rate structure.  So I think it's a

19       rate structure issue.

20            Q    You would agree it still remains,

21       affordability of the rates still remains an issue in

22       this case; correct?

23            A    When establishing rate structure, I would

24       agree with that.

25            Q    I don't -- I think the issue actually as

FLORIDA PUBLIC SERVICE COMMISSION

529

1       reworded, are rates affordable?

2            A    Within the confines of the statute.

3            Q    Well, you would agree that Aqua's rates should

4       be fair and reasonable for its customers in Florida;

5       correct?

6            A    Correct.  That's what the statute says.

7            Q    And you would also agree that the statute, the

8       PSC rules, and prior court cases require that those

9       rates be fair and reasonable; correct?

10            A    Fair, reasonable, and not unduly

11       discriminatory.

12            Q    Okay.  To your knowledge, has Aqua conducted

13       any studies to quantify issues, the issue of the

14       affordability of its rates in Florida?

15            A    To my knowledge, Aqua has not.  I don't

16       believe affordability is defined in the statutes or the

17       rules.  I know that the Commission has looked at

18       affordability in rate structures in previous dockets

19       dating back to 1993 and as recent as 1996.  And we have

20       attempted to address it through our rate structure, as

21       I've indicated on page 28 of my testimony.

22            Q    Would it be correct to say that Aqua has a

23       policy to seek rate increases in its jurisdictions as

24       often as they can in order to improve the company's

25       profits?

FLORIDA PUBLIC SERVICE COMMISSION

530

1            A    Absolutely not.

2            Q    Has Aqua performed or paid for any studies

3       relating to its rates as a percentage of household

4       income?

5            A    I don't believe we performed that study.  I

6       believe there are studies out there, which I presented

7       to the Commission at their workshop.  But Aqua has not

8       personally done that study.

9            Q    Has Aqua performed any or paid for any studies

10       relating to its rate -- relating its rates in relation

11       to poverty levels?

12            A    Not to my knowledge.

13            Q    Has Aqua or does Aqua keep data and analyze

14       the occupancy rates in their systems?

15            A    We know when we lose customers.  I don't -- we

16       don't have the data to determine occupancy rates of

17       apartments or mobile home parks or houses.  We just can

18       track our customers.

19            Q    Okay.  Has Aqua analyzed or done any sort of

20       study to determine whether or not there's a connection

21       between its rates and the occupancy levels?

22            A    I don't believe those two are related in any

23       way.

24            Q    Have you conducted any studies to make that

25       conclusion on which you base that conclusion?

FLORIDA PUBLIC SERVICE COMMISSION

531

1            A    Personally I have not conducted a study.  It's

2       just based on my experience.

3            Q    Okay.  Does Aqua have a forecast of projected

4       system growth for every system that you own?

5            A    Actually they're declining, so the growth is

6       either zero or negative.

7            Q    Does Aqua include negative growth in your

8       forecast model?

9            A    I'm not aware.  I don't do budget forecasts.

10            Q    Have you performed any elasticity studies for

11       Aqua?

12            A    We do -- we did in the last rate case as well

13       as in this rate case.  We have a repression adjustment

14       which has been approved in both rate cases.

15            Q    All right.  Do you know what a demand curve

16       is?

17            A    A what curve?

18            Q    Demand curve?

19            A    I'm aware of the concept.

20            Q    Okay.  Okay.  Can you define price elasticity?

21            A    Sure.  As the price goes up on a commodity,

22       whether it be water, gas, the consumption will drop in

23       response to that increase in price.

24            Q    Okay.  Does Aqua assume that all of its

25       customers will continue to get water from Aqua no matter

FLORIDA PUBLIC SERVICE COMMISSION

532

1       what the rates are?

2            A    Well, we have seen our consumption drop, if

3       that's what you're getting at.  I mean, we have

4       certificated areas which we're required by statute to

5       provide that service.

6            Q    So you would agree that at some point in the

7       demand curve customers could actually stop buying water

8       from Aqua and sink their own wells or buy water

9       elsewhere; would that be correct?

10            A    If it's allowed by the county or the local

11       government to put in potable water.  We have seen

12       significant installation of irrigation water, but in

13       that particular county, that county does not allow

14       potable wells where a centralized water system is

15       located.

16            Q    And as a general principle, you would agree

17       that the usage is price elastic; in other words, the

18       higher the price, the lower the usage?

19            A    Just to a certain level.  The -- it's the

20       discretionary usage that's elastic, that's under the

21       price elasticity.  The nondiscretionary, you're still --

22       you still have to take showers and brush your teeth and

23       cook for your family, so that's less elastic.  And our

24       consumption has dropped, as I indicated, you know, our

25       average consumption is 46 -- just over 4,600 gallons,

FLORIDA PUBLIC SERVICE COMMISSION

533

1       which is extremely low.

2            Q    Well, you would agree that some of the

3       customers have testified that they've even stopped using

4       the water for showering and cooking and other sort of

5       normal type uses; correct?

6            A    I believe the customers testified they've cut

7       back.

8            Q    Okay.  And conversely, you would agree that

9       the lower the price, generally the greater the usage

10       would be; correct?

11            A    As a general concept.  And that's what we

12       experienced.  The systems prior to '08 had extremely low

13       rates and had extremely high consumption.  So once the

14       rates went into effect after 15 years in 2008, the

15       consumption dropped dramatically.

16                 MS. CHRISTENSEN:  Okay.  I have no further

17       questions.

18                 CHAIRMAN GRAHAM:  Ms. Bradley.

19                 MS. BRADLEY:  No questions.

20                 CHAIRMAN GRAHAM:  YES.  Go ahead.

21                             EXAMINATION

22       BY MR. McBRIDE:

23            Q    Good morning, Mr. Rendell.

24            A    Good morning.

25            Q    You state on page 28, line 10 to 16 of your

FLORIDA PUBLIC SERVICE COMMISSION

534

1       testimony, "Question, What would an average AUF customer

2       pay for water and wastewater services under AUF's

3       proposed uniform rate structure?"

4                 You answer, "On a monthly basis, the average

5       AUF customer uses approximately 4,680 gallons of water,

6       3,760 gallons of wastewater."

7                 You go on to state that the average bill would

8       be 48.03 per month for water, 73.70 for wastewater.

9                 And then you conclude, "Thus, AUF's proposed

10       uniform rate structure addresses affordability."

11                 How exactly does an average water bill of

12       $48.03, an average wastewater bill of $73.70 address

13       affordability?

14            A    Well --

15                 MR. MAY:  Excuse me.  I'd like to interpose an

16       objection.  Could counsel provide his definition of

17       affordability?

18                 MR. McBRIDE:  The definition that he's using

19       in his testimony would be fine.

20                 MR. MAY:  Okay.

21                 THE WITNESS:  I'm sorry.  I missed the last

22       part.  Go ahead and answer it?

23                 MR. MAY:  I think he said use the definition

24       that you're using in your testimony.

25                 THE WITNESS:  Okay.  Sure.  Sure.  I'd be glad

FLORIDA PUBLIC SERVICE COMMISSION

535

1       to.

2                 That, that paragraph was an illustration of

3       what our proposed uniform rates would have produced,

4       which, interesting enough for your community, it would

5       have decreased the water bills.  But what I relied on is

6       my experience at the Commission.  The Commission did a

7       year and a half study in a formal docket, 930880, on

8       rate structures and affordability.  They also looked at

9       rate structures in 960495.  They looked at numerous

10       different type of rate structures, if it's affected by

11       treatment type, by level of CIC.

12                 And they concluded in those dockets that they

13       did not -- those factors did not have an effect on rate

14       structure and that uniform rates is affordable even for

15       customers at the poverty level.  There's actually orders

16       that have quoted that.

17       BY MR. McBRIDE:

18            Q    If uniform rates were imposed, as AUF

19       proposes, wouldn't some people's rates, some customers'

20       rates go up while others would go down?

21            A    Of course.

22            Q    So would you agree that it would be less

23       affordable for the customers whose rates would go up?

24            A    I would not agree with that.  I think the

25       uniform rates provide a tool for the Commission to use

FLORIDA PUBLIC SERVICE COMMISSION

536

1       if they, if they elect to do so, to address

2       affordability to all customers across the state.

3            Q    But you agree that some customers' bills would

4       go up under the uniform rate structure?

5            A    Yes.  Correct.

6            Q    Okay.  You testified, and I want to clarify,

7       that AUF has not done any analysis of the cost of water

8       and wastewater service affordability across different

9       counties in the State of Florida?

10            A    Well, again, there is no definition of

11       affordability.  That's a subjective term.  You would

12       have to look at each individual customer's

13       circumstances, whether they're seasonal, if they have

14       two homes, the number of televisions, their income

15       level.  I mean, we have not conducted that type of

16       study.  I'm relying on past Commission decisions and my

17       experience in regulation over the last 24 years.

18            Q    Has AUF conducted any studies or analysis of

19       the average cost of water and wastewater service

20       provided by other utilities in counties where AUF

21       operates?

22            A    You cannot make that comparison.  Counties and

23       cities operate completely different than regulated --

24            Q    If you can just give a yes or no before

25       answering, please.

FLORIDA PUBLIC SERVICE COMMISSION

537

1            A    Well, you can't do that comparison, so the

2       answer would be no.

3            Q    So it has not been done?  Has AUF conducted

4       any studies as to the cost of housing in any of the

5       counties in which it provides water and wastewater

6       service?

7            A    No.

8            Q    So you don't know then what the average cost

9       of water and wastewater rates are in, say, Alachua

10       County or Palm Beach County for other utilities?

11            A    Not for other utilities in those two counties,

12       no.

13            Q    And you wouldn't know what the average cost of

14       housing is in Alachua or Palm Beach County or any other

15       county where AUF operates?

16            A    I'm sure it varies, so, no, I don't.

17            Q    Is it your opinion that it's not relevant?

18            A    To establishing the revenue requirement and

19       the rates in this case?  No, it's not.

20            Q    Entered into evidence yesterday as Exhibit 287

21       is the 2010 annual report by Aqua America, Inc., and its

22       subsidiaries.  On page 2 of that report, under Industry

23       Mission, it states, "The mission of the investor-owned

24       water utility industry is to provide quality and

25       reliable water service at an affordable price to

FLORIDA PUBLIC SERVICE COMMISSION

538

1       customers."

2                 Does the definition of affordable as stated in

3       this industry statement differ from your definition of

4       affordable?

5            A    I don't have an opinion on that.  Sorry.  I

6       can't answer yes or no.

7            Q    So backing away from your definition of

8       affordability, AUF does not endeavor to know whether its

9       customers can afford to make its payments, using the

10       common knowledge definition of affordability?

11            A    Well, I think I would disagree with that.  We

12       strive to reduce all operating costs.  This case is not

13       driven by expenses.  It is driven exclusively by capital

14       costs.  Our expenses have gone down, the ones within our

15       control.  The uncontrolled ones have gone up.  But,

16       again, it's beyond our control.

17                 But we strive to reduce costs to keep the

18       rates as low as possible and to stay out of rate cases

19       as long as possible.  So I cannot agree with your

20       statement.

21            Q    Because you testified that AUF does not study

22       the average cost of water and wastewater rates in

23       different counties where it operates, you're not in a

24       position to dispute the testimony of YES witness Shawn

25       Harpin, who stated in his testimony that the average

FLORIDA PUBLIC SERVICE COMMISSION

539

1       water and wastewater price at Arredondo Farms is $76

2       higher per month than in another existing utility

3       operating within the Gainesville market; is that

4       correct?

5            A    Well, without knowing who he's referring to, I

6       can't agree to that.

7            Q    Okay.  So you're in no position to dispute it?

8            A    I'm in no position to agree or dispute it.

9            Q    Okay.  Have you read the deposition transcript

10       of AUF employee Steve Grisham?

11            A    I have not read the transcript, no.

12            Q    Okay.  Do you have any reason to disagree with

13       your employee's testimony that he receives more

14       complaints regarding the high cost of water at Arredondo

15       Farms than any other -- anywhere else in Alachua County

16       that he services?  And that reference is on page 64.

17            A    I have no reason to disagree with it or agree

18       with it.

19            Q    And you testified that you attended all of the

20       statewide customer service hearings that were held in

21       this case?

22            A    Every single one of them.

23            Q    Okay.  Including the Gainesville hearing then?

24            A    Every single one of them.

25            Q    Okay.  Do you recall Ms. Cassandra Stade's

FLORIDA PUBLIC SERVICE COMMISSION

540

1       testimony, page 195 of the Gainesville transcript, that

2       she, because of the cost of AUF's service, she only

3       bathes once or twice a week?

4            A    I don't have the transcript in front of me,

5       but I've heard those comments.

6            Q    Did you hear those comments at only the

7       Gainesville hearing or did you hear them throughout the

8       state?

9            A    I may have heard them at two or three of the

10       service hearings.

11                 MR. McBRIDE:  I have no further questions.

12       Thank you.

13                 CHAIRMAN GRAHAM:  Okay.  We're going to take a

14       five-minute recess and then, Commissioners, if you have

15       any questions.  We'll take a five-minute recess.

16                 Oh, I'm sorry.  Mr. Richards.

17                 MR. RICHARDS:  Yeah.  I'm going to have some

18       questions.

19                 CHAIRMAN GRAHAM:  Before the recess,

20       Mr. Richardson -- Mr. Richards, please.

21                 MR. RICHARDS:  You want me to go ahead now?

22                 CHAIRMAN GRAHAM:  Yes.

23                 MR. RICHARDS:  There's a couple of things I'd

24       like to pass out.

25                 CHAIRMAN GRAHAM:  All right.  Let's just go

FLORIDA PUBLIC SERVICE COMMISSION

541

1       ahead and take that five minutes then, and we'll let you

2       go after that.

3                 MR. RICHARDS:  Okay.

4                 CHAIRMAN GRAHAM:  Thanks.

5                 (Recess taken.)

6                 Mr. Richards.

7                 MR. RICHARDS:  Thank you.  Of the documents

8       passed out, only one needs to be marked as an exhibit,

9       the one with the yellow cover page.  There's actually a

10       typo on it, the document description.  It's the

11       October 2008 testimony of Paul Stallcup.  I believe that

12       would be Exhibit 310.

13                 CHAIRMAN GRAHAM:  I think we're -- you're

14       correct.  It's 310.

15                 (Exhibit 310 marked for identification.)

16                 MR. RICHARDS:  Thank you.  The other thing

17       that was passed out was an excerpt from the June PAA

18       order.

19                 CHAIRMAN GRAHAM:  We'll have a short title for

20       this being -- the one, 310, short title would be

21       October 2008 Testimony of Paul Stallcup.

22                 Mr. Richards, please.

23                             EXAMINATION

24       BY MR. RICHARDS:

25            Q    Thank you.  Good morning, by two minutes.  I

FLORIDA PUBLIC SERVICE COMMISSION

542

1       wanted to ask you a few questions about your testimony

2       on page 20.  You talk about the necessity for a cost of

3       living increase.  Has, has Aqua studied its retention

4       rates?  Are you having problems retaining employees at

5       your current salary levels?

6            A    From my experience with the company, yes, we

7       are having problems retaining employees.

8            Q    Do you know whether those retention rates

9       compare, how they compare with other utilities?

10            A    I do not.

11            Q    Okay.  And also you talk about the

12       market-based salary increase.  And I had some questions

13       regarding that, because I was looking at the

14       confidential Exhibit No. 3.  And I see that the market

15       study salary ranges seem to be based solely on the job

16       description.  Do you know whether there was any analysis

17       of the geography taken into account, the location of the

18       employee?

19            A    I believe it was based on the type of position

20       that was for the different classifications of those

21       employees.  So I'm not aware if it was based on

22       location.

23                 I am aware that the Commission Staff looked at

24       this when they did their own performance, their own

25       analysis based on the AWWA market study.  They actually

FLORIDA PUBLIC SERVICE COMMISSION

543

1       calculated a higher amount than what we had proposed and

2       recommended that it should be approved.

3            Q    And so the salary range is based on the job

4       description, so that employees in, say, Palm Beach would

5       be paid the same as employees in Alachua County?

6            A    Within AUF, based on their job description,

7       correct.

8            Q    Yeah.  So the cost of living of the location

9       of the employee is not taken into account.

10            A    That would be, that would be correct.

11            Q    Okay.  I'd like to direct your attention to

12       page 27 of your direct testimony.  Just going back to

13       the confidential exhibit for one -- I noticed on -- you

14       have the years of experience, and for a couple of them,

15       some very long-term employees are due for some very

16       large increases.  Number 36, the ideal increase -- I

17       guess we're not supposed to say the number, but you can

18       see that for number 36 the increase is substantial, and

19       his years of service are substantial also.  So it

20       doesn't look like you've had a problem retaining that

21       employee.  Do you believe that that's appropriate, such

22       a large increase?

23            A    I do, based on the market study.  It just

24       indicates that this employee has been under the

25       employment of Aqua for a long time and being underpaid.

FLORIDA PUBLIC SERVICE COMMISSION

544

1            Q    Okay.  All right.  Good.  If you can go to

2       page 27.  On line, on line 4, you use the term "rate

3       shock."

4            A    Correct.

5            Q    Do you have a number for rate shock?  Is there

6       a certain level of rate increase that would meet that

7       definition of rate shock as you use it there?

8            A    What rate shot -- sorry -- rate shock is, is,

9       there's two ways.  One is if there's a substantial

10       capital investment that needs to be made in a small

11       system with very few customers and you come in for a

12       rate case, and you have anywhere, you know, 70%

13       increase to, I've personally seen 131, 200% increases to

14       customers throughout the State of Florida because of

15       different reasons.

16                 One is there's a large investment for a small

17       system and there's not that many customers to spread it

18       over.  The other is if a company stays out of a rate

19       case for an extended period of time and they don't come

20       in for, say, seven or ten years, and then the rate case,

21       the rate increase necessary to cover the operating costs

22       can cause a very large increase in rates.

23                 So what uniform rates do, in any type of

24       uniform rate, including the current cap band, is it

25       consolidates systems to spread the cost over a larger

FLORIDA PUBLIC SERVICE COMMISSION

545

1       number of customers to mitigate rate shock, to enable

2       rate stability, and to address affordability.

3            Q    But you don't have a specific number?

4            A    No.  I think any very large increase in rates

5       could be considered a rate shock.

6            Q    Would, would 50% increase in rates be very

7       large?

8            A    It could, depending on the, the rates prior to

9       the rate increase and how long that rate had been

10       installed.  If it was a low rate and that rate has been

11       around for, say, seven or ten years and the customers

12       were used to using a lot of water or wastewater and

13       having low bills, a 50% increase in rates could be

14       considered a rate shock to those customers.

15            Q    All right.  If you could take a look at the

16       excerpt of the PAA order that was passed out, page 101.

17            A    Page which?  Sorry.

18            Q    101.

19            A    I'm there.

20            Q    So in that table there it talks about the

21       Fairway system.  Their current bill is $19.98, and under

22       your proposed uniform rate that would go up

23       substantially.  The uniform rate would go up to, I

24       believe, $50.  Would that be considered rate shock?

25            A    It could be.  But I would point out that this

FLORIDA PUBLIC SERVICE COMMISSION

546

1       is the Commission's table and it's based on 7,000

2       gallons, and that is not the average consumption for our

3       systems throughout the state.  It's less than 5,000

4       gallons.  So obviously that, that number would be lower

5       based on average usage.

6            Q    Right.  So it would actually be lower than

7       $19, and the number I was using -- I didn't explain, but

8       at 5,000 gallons, under your proposed uniform rate, the

9       water bill would be $50; is that correct?

10            A    Correct.  Correct.

11            Q    So that's a substantial increase over 100%.

12            A    For this particular --

13            Q    For that --

14            A    For this particular system --

15            Q    Right.

16            A    -- which has not come in for a rate case

17       before, that would be correct.

18            Q    And for the Jasmine Lakes system, which is in

19       Pasco County, under their current rate band, the usage,

20       I believe, would be $2 per 1,000 gallons under rate band

21       1.  So their bill would be $24.13, is that correct, for

22       5,000 gallons?

23            A    Prior to the filing, water rate band 1 would

24       have a bill of $24.13 for 5,000 gallons.  Is that what

25       you asked?

FLORIDA PUBLIC SERVICE COMMISSION

547

1            Q    Yes.

2            A    Yes.

3            Q    And so then under the uniform rate you're

4       proposing, that bill would go to $50 for that same

5       5,000 gallons.

6            A    Subject to check, I would agree.  But also

7       Zephyr Shores, also in Pasco County, their bills would

8       go down.

9            Q    Right.

10            A    The water bill.

11            Q    But is it true that the wastewater bill is

12       going up --

13            A    Correct.

14            Q    -- regardless for all bands?

15            A    Correct.

16            Q    Do you know the percentage of that increase?

17            A    It would depend on the individual system and

18       the individual usage.  When the Commission establishes

19       percentage increases, it does so on a revenue

20       requirement totality basis, not on individual customers

21       or not on individual systems.  So, no, I do not.

22            Q    Okay.  Now you mentioned earlier on

23       questioning from YES that you agreed that under this

24       current system there's certain systems that are going to

25       be paying more than they would on a standalone basis,

FLORIDA PUBLIC SERVICE COMMISSION

548

1       and there's certain systems paying less with a certain

2       amount of subsidization.

3            A    When you first go to uniform rates, that is a

4       true statement.  But after that, in the long run that no

5       longer occurs.  It's the first step to the uniform.  And

6       I think that's one of the reasons the Commission has

7       stepped towards that gradually through the use of cap

8       bands.

9            Q    With each one of those steps, the amount of

10       subsidization that those systems that are subsidizing

11       the higher cost systems, the amount of subsidization

12       increases with each step.

13            A    It would actually decrease in each step.

14       That's the whole purpose of stepping, is that those

15       subsidies are gradual so that you don't have a, an

16       initial subsidy, which is a guideline, it's not set by

17       any statute or rule, but the whole purpose of stepping

18       towards the uniform rate through different, different

19       types of rate structure is to minimize that.

20            Q    Well, but for the, for the lower cost systems,

21       such as Jasmine Lakes, where we already said that under

22       the current rate they're paying about $24, under the

23       proposed, the PAA order, that would go up, the water

24       rate would go up a certain amount, as the Staff has

25       recommended going from four rates to two rates.  So

FLORIDA PUBLIC SERVICE COMMISSION

549

1       those lower cost systems, their, their water rates are

2       going up; that's correct?

3            A    Correct.  Their subsidy level goes up, and the

4       subsidized, the ones receiving subsidies, like Zephyr

5       Shores, goes down.

6            Q    Right.  And so then if you went from Staff's

7       recommendation of two bands to your uniform rate, that

8       amount of subsidization for Jasmine Lakes goes up again.

9            A    Well, once you have consolidated rates, there

10       is no such thing as standalone rates anymore.  It cannot

11       be determined.  And so you're looking at the new, the

12       new consolidated rate band it would be in, which now

13       there's two bands to the uniform.  So that subsidy level

14       would be significantly less than if you were to compare

15       it to the standalone.

16            Q    But the rate is going up, the water rate for a

17       system such as Jasmine Lakes.  It's $24 currently.

18       Under the proposed Staff proposal, it would go to $37

19       for 5,000 gallons, the usage rate at $3.59 per 1,000

20       gallons.  And then your uniform rate goes all the way up

21       to $6.49, is that correct, for the 1,000 gallons?

22            A    I would accept that, subject to check.  I

23       don't have the order in front of me.  I apologize.  I

24       left it in my seat.  But, I mean, I would accept those

25       numbers, subject to check.  But, you know, upon

FLORIDA PUBLIC SERVICE COMMISSION

550

1       verification.

2            Q    But you, you would agree that the current

3       usage rate for rate band 1 is $2 per 1,000 gallons,

4       under 5,000?

5            A    Under, under the PAA rates or the pre-PAA

6       rates or the interim rates?  There's been so many rate

7       changes in the last couple of years.

8            Q    Right.  The pre-PAA rates.

9            A    Okay.  For Jasmine Lakes?

10            Q    Yeah.

11            A    The rates prior to filing.

12            Q    Rate band 1, yeah.

13            A    For how many gallons?

14            Q    Under 5,000 gallons, the per 1,000 gallon

15       rate.

16            A    The rates -- oh, you want the actual gallonage

17       rate?

18            Q    Yeah.

19            A    Prior to filing, they had a banding or an

20       inclining block rate based on zero to 5,000 gallons.

21       That first one was $2.

22            Q    Right.

23            A    5,001 to 10,000 was 2.51, and over 10,000

24       gallons was 6.01.  And those inclining blocks have

25       changed based on the PAA rates.

FLORIDA PUBLIC SERVICE COMMISSION

551

1            Q    But the average usage for an Aqua customer is

2       below 5,000 gallons, so let's just talk about that rate,

3       which you said is, currently is $2.

4            A    It's not currently $2, but prior to the

5       filing.

6            Q    Okay.  Excuse me.

7            A    Yes.

8            Q    Prior to the filing it was $2.  And your

9       proposed uniform rate would push that to $6.49.

10            A    For the first 6,000 gallons, correct.

11            Q    Right.  And that would be the average usage.

12            A    The average usage for that group is 4,704

13       gallons.

14            Q    Right.  So they're likely to be charged that.

15       So their overall bill is going to go to from $24 to $50,

16       a 100% increase, roughly.

17            A    From 23.54 to 48.19.

18            Q    Okay.  Also, you -- on line 7, page 27 of your

19       testimony, you say that uniform rate structures also

20       address system efficiency.  Could you expand on that a

21       little bit, what efficiencies are improved with uniform

22       rates?

23            A    Sure.  What, what line number?  I'm sorry.

24            Q    Line 7, page 27.

25            A    Well, uniform rates address many things.  It

FLORIDA PUBLIC SERVICE COMMISSION

552

1       allows utilities to make decisions on where to invest

2       different capital investment so as to minimize the rate,

3       the rate shock to the customers.  It allows us to -- one

4       of the things that consolidating the accounting system

5       allows us to do is we have less transactions for our

6       accountants, have to enter less transactions.  So, for

7       instance, if, if an invoice came in and it applied to

8       two or three systems and those systems are now one rate

9       band, they only have to enter that once, where if there

10       were four systems on that invoice, they'd have to enter

11       it four times.  So there are efficiencies, operational

12       efficiencies.  There's, you know, there's numerous

13       efficiencies that uniform rates and consolidation help

14       to establish.

15            Q    Have you quantified those efficiencies?  Do

16       you know that, okay, if we're going to go to uniform

17       rates, we're going to save X dollars?

18            A    We looked at the transactional, the

19       operational, that through discovery we supplied

20       discovery answers.  We haven't quantified the actual

21       cost savings to go into uniform rate, but I think it's

22       important to, for the customers on a rate standpoint.

23            Q    Okay.  On that same page, down on line 13, 14,

24       you mentioned the EPA recommending over 335 billion in

25       infrastructure improvements.  I was just wondering what

FLORIDA PUBLIC SERVICE COMMISSION

553

1       the relevance of that large number is to Aqua.

2            A    Sure.  What, what the EPA looks at each year

3       is it looks at nationwide the critical infrastructure

4       needs of water and wastewater utilities.  That's

5       nationwide for cities, counties, regulated.  What it

6       recognized is that many of these systems were installed

7       numerous years ago, like 40, 50, 60 years ago, and

8       they're in need of critical capital investment so that

9       you can replace lines.  We have very old lines here in

10       Florida.  We have saltwater infiltration.

11                 So it's basically looking at what the

12       infrastructure needs are for the future and making

13       utilities aware, both cities, counties, and regulated,

14       that they need to start planning for this capital

15       investment and start forecasting how much they're going

16       to need and what the rate impact may be and start

17       planning for future rate cases to cover these critical

18       infrastructure needs.

19            Q    Now do you know if Aqua has quantified its

20       infrastructure needs?

21            A    We have a five-year capital budget which is

22       maintained.

23            Q    Okay.  Do you know what that is in the number?

24            A    Off the top of my head, I do not.

25            Q    I wanted to direct your attention to page 28

FLORIDA PUBLIC SERVICE COMMISSION

554

1       where you're talking about the uniform rates.  And

2       during OPC's examination they passed out a copy of the

3       Southern States Utilities case.

4            A    The court case?

5            Q    Right.

6            A    Yes.

7            Q    DCA opinion.  On page 8.  Before we were

8       talking about Jasmine Lakes and under your proposal

9       would incur close to a 100% increase in its water rates.

10       On page, page 8, the first column, first full paragraph,

11       starts out with nothing inherent in the cap band

12       methodology.  In that case the court found that there

13       was only going to be a 7% increase in each of the

14       systems' rates.

15                 Now would you agree that the percentage of the

16       increase is a factor in whether the uniform rates should

17       be approved by the Commission?

18            A    It was a factor that the Commission at the

19       time considered because at the time there was the Citrus

20       County case, which established that uniform rates could

21       only be established if there's a, an interconnection

22       amongst counties.  This court case overturned that, and

23       basically they said that the Commission, overlooking its

24       shoulder at the Citrus case, went to an intermediate cap

25       band, but it had the statutory authority to approve a

FLORIDA PUBLIC SERVICE COMMISSION

555

1       uniform rate, which did not run afoul of Florida law.

2                 So in that particular instance the court

3       recognized that the Commission considered the subsidy

4       levels when it established, first established the cap

5       band rate structure.

6            Q    My concern is regarding fairness and

7       discrimination against certain customers.  And this

8       court case talked about there wasn't discrimination,

9       because the increase was only 7%.  And there was only --

10       in the next sentence they talk about only a modest

11       deviation from the pure cost of service basis.  Whereas

12       in this case we, there's at least one example where the

13       increase could be as much as 100%.

14                 My concern is do you think at some point your,

15       your rates become discriminatory based on the percentage

16       increase?

17            A    Absolutely not.  The Commission has looked at

18       this numerous times and has stated that the benefits of

19       uniform rates outweigh the cons.

20            Q    And there's -- you give no credence to the

21       percentage of that increase and the impact to the

22       individual customer --

23            A    I believe --

24            Q    -- at some point?

25            A    No.  I believe in the long run the customers

FLORIDA PUBLIC SERVICE COMMISSION

556

1       benefit.

2            Q    So going back to page 101 of the PAA order, in

3       the paragraph below that table it talks about the

4       customers in rate band 4, Breeze Hill and Peace River,

5       two systems that haven't had rates established prior.

6       Would you agree that the standalone bills are

7       significantly greater than the approved rate cap

8       threshold of $65?

9            A    If the standalone rates would have been

10       approved, yes, I agree with that.  Certain ones.

11            Q    Now did Aqua do any investigation of those

12       rates, of those two systems, Breeze Hill and Peace

13       River, before they made that purchase?

14            A    I don't understand what you mean, an

15       investigation of the rates.

16            Q    Did you -- did Aqua know going into that

17       purchase that these two systems would not meet the

18       approved rate cap threshold, that their standalone rates

19       were that high?

20            A    Well, Peace River was not regulated by the

21       Commission, so they do not fall under the cap.  They

22       were standalone.  And Breeze Hill was a standalone,

23       which had had two previous rate cases before the

24       Commission.  So the, one of the things we do look at and

25       we've supplied to the Commission Staff at their request

FLORIDA PUBLIC SERVICE COMMISSION

557

1       on the last two acquisitions is what the impact to the

2       existing customers would be.  And we've established that

3       these acquisitions actually lower the cost -- the rates

4       to the existing customers.

5            Q    But if, if they don't meet the rate cap

6       threshold, those two systems, then your current

7       customers have to subsidize their rates; isn't that

8       correct?

9            A    Well, we proposed a uniform rate.  The rate

10       cap is only a guideline that the Commission can use to

11       establish rates.  There is nothing in statutes, rules,

12       or -- that mandates that there's a rate cap.  It's only

13       a tool to establish the cap band.  We in both last,

14       last, the 2008 case as well as this case recommended

15       uniform rates, not a cap band.  So a cap doesn't come

16       into play in uniform rates at all.

17            Q    But when you're looking at these new systems

18       coming in, if they can't meet that threshold, your

19       current customers have to subsidize their rates.

20            A    Again, the analysis that I performed for the

21       staff showed that the existing customers' rates actually

22       go down, not up.

23            Q    They're going down from what?

24            A    When you add in -- the last two that we looked

25       at, I think it was Fountain Lakes and the one that was

FLORIDA PUBLIC SERVICE COMMISSION

558

1       just approved, Jumper Creek, when you bring in their

2       revenue requirement and their customers and spread the

3       costs, the resulting rates would have went down with

4       those acquisitions, not up, to the existing customers.

5            Q    But the overall rates are going up?

6            A    To which system?

7            Q    To your current customers.

8            A    Potentially in the next rate case.

9            Q    I mean, in this current case at least the

10       wastewater across the board is going up for everybody,

11       wastewater rates.

12            A    I believe, I believe that's correct.

13                 MR. RICHARDS:  I have no further questions.

14                 CHAIRMAN GRAHAM:  Thank you, sir.

15                 Staff.

16                 MS. BENNETT:  Before I start asking questions,

17       Ms. Christensen was going to check.  We have an exhibit,

18       177, that was listed on our Comprehensive Exhibit List,

19       and she had no concerns with all but two of the

20       interrogatories.  She was checking on those last two,

21       and I wanted to inquire if we could stipulate those into

22       the record.

23                 MS. CHRISTENSEN:  Well, I know we're going to

24       have some questions on them for rebuttal testimony, but

25       if Staff wants to use them as part of direct testimony,

FLORIDA PUBLIC SERVICE COMMISSION

559

1       that's -- obviously we have no objection to that.

2                 MS. BENNETT:  Then when it's appropriate, we

3       will put 177 into the record.  And I don't have any

4       questions for him on those interrogatories.

5                             EXAMINATION

6       BY MS. BENNETT:

7            Q    I did want to talk with you a little bit

8       about -- you were in the room yesterday when

9       Mr. Szczygiel and Mr. Luitweiler testified; is that

10       correct?

11            A    That's correct.

12            Q    And we talked a little bit with both of those

13       witnesses about meter replacement.  Do you recall that

14       discussion?

15            A    I do.

16            Q    I think Mr. Szczygiel passed off a question to

17       both you and Mr. Luitweiler, so I'm going to ask to see

18       if this is within your scope of knowledge.  And that is

19       has AUF performed a cost benefit analysis to justify the

20       meter replacement program that was undertaken?

21            A    I can give you my knowledge of what -- of how

22       the meter replacement came about.  And I do want to

23       apologize.  We were not prepared, since this was not an

24       issue in either the PAA or any of the protests, we

25       haven't had an opportunity to provide any testimony.

FLORIDA PUBLIC SERVICE COMMISSION

560

1       There's been numerous discovery questions, and we know

2       the auditor has audited.  But since it was not an issue,

3       we weren't prepared to bring it up.

4                 But the, I think it was an evolving program.

5       The meters that were in place were very old.  They were

6       either from the Aqua Source or the Florida Water.  They

7       had not either been replaced or tested for numerous

8       years when we purchased it.  So we started a pilot

9       project where we're going to install certain systems

10       with these RFs.

11                 What we're trying to do is two things.  One is

12       to meet our customer service metrics on reducing the

13       number of estimated reads, the number of meters read

14       within the meter read window, reducing the cost to the

15       customers through reducing the number of meter readers,

16       as well as reduce -- eliminating all outside contractors

17       that do meter reads.

18                 So I did have occasion to get information from

19       Mr. Jack Lihvarcik, the former President, and he seems

20       to recall that it was in cooperation with the Staff, the

21       Staff, when they, I think it was two rate cases ago,

22       wanted Aqua to test some of the meters, to send them

23       out, get test results, to address customer concerns.

24       There were some concerns if the meters were accurate,

25       why they were getting estimated bills and estimated

FLORIDA PUBLIC SERVICE COMMISSION

561

1       reads.

2                 And in cooperation, or I guess it evolved

3       through that case and the last case that we would go out

4       and replace all the meters to address the customers'

5       concerns, to reduce the number of billing issues or

6       billing concerns, and also to reduce our customer cost.

7       So up front it was going to be a small pilot project and

8       then eventually evolve into the systemwide.

9                 But through working with the Commission and

10       coming in for the last rate case and listening to

11       customers' concerns, it was decided to present a pro

12       forma adjustment, which is significantly different than

13       actual costs.  Pro forma are requested amounts that we,

14       that a utility anticipates to do, and they supply any

15       support documentation.  Unfortunately, as Mr. Szczygiel

16       testified to yesterday, we weren't as efficient as

17       providing the documents necessary to support the total

18       dollar amount.

19                 We learned from our mistakes, and in our

20       current rate case for the pro forma we've done a better

21       job of supporting a pro forma.  So those meters now have

22       been installed, documented, and audited.  So there is a

23       difference between pro forma and actual.

24                 Now we have, we have provided ample discovery

25       responses on, you know, what the reduction costs were on

FLORIDA PUBLIC SERVICE COMMISSION

562

1       the outside services that we eliminated.  We actually

2       have eliminated the maintenance group, which resulted in

3       a reduction of salaries.  Our salaries are less in this

4       rate case than they were in the last rate case, which

5       was acknowledged by the Commission auditor in their

6       audit.

7                 We're able to read the entire state now with

8       two meter readers, who can do the entire state in 12

9       days in a month.  So 12 out of -- what is that, 60

10       hours, we can read the entire state.  So we have two

11       meter readers that spend 12 days a month to do all the

12       meter readings.  So it significantly has cut costs.

13            Q    Thank you.  That answers my question.

14                 I want to move now to some discussions you had

15       with the Office of Public Counsel and Ms. Christensen on

16       elasticity of water.  And first I want to make sure that

17       I understand, you're not testifying as an economist; is

18       that correct?

19            A    I am not an economist.

20            Q    And you'd agree that your answers to

21       Ms. Christensen regarding the elasticity of water are as

22       a layman's understanding of elasticity; is that correct?

23            A    A layman's and my experience at the Commission

24       working with the economic forecast group.

25            Q    Well, for instance, you stated that, during

FLORIDA PUBLIC SERVICE COMMISSION

563

1       Ms. Christensen's direct examination, that water was

2       price elastic.  Would you agree, subject to check, that

3       water is price inelastic in an economist's terminology?

4            A    I would agree, subject to check.

5            Q    And isn't it true that when looking at a cap

6       band rate structure, as a rate cap threshold increases,

7       the subsidy and -- subsidy paid decreases?

8            A    That's correct.

9            Q    Let's assume a move from a rate cap threshold

10       to a -- excuse me -- a rate cap threshold to a lesser

11       uniform rate, the subsidies paid, all things equal, will

12       increase; is that correct?

13            A    I would agree.  I guess it would depend on

14       what you're comparing the subsidies to.  If it's

15       compared to the standalone rate, true standalone, or the

16       subsidies from the previous band that would, that the

17       system was in to where it would move.  So it would

18       depend on what you're comparing the subsidies to.  But

19       all things being equal, I think I could agree with that.

20                 MS. BENNETT:  That's all the questions I have.

21                 CHAIRMAN GRAHAM:  Commissioners?

22                 Commissioner Edgar.

23                 COMMISSIONER EDGAR:  Thank you.

24                 Good afternoon.

25                 THE WITNESS:  Good afternoon.

FLORIDA PUBLIC SERVICE COMMISSION

564

1                 COMMISSIONER EDGAR:  I have just a couple of

2       general questions, and I'm going to be referring to one

3       of the exhibits that was passed out earlier.  It's the

4       Aqua 2010 financial data annual report.  It's got the --

5       wonderful.  Thank you.

6                 CHAIRMAN GRAHAM:  What's the number?

7                 COMMISSIONER EDGAR:  It was Exhibit 287.

8                 And, Mr. Rendell, if you'll just turn to

9       page 3.  And you'll see there are basically two

10       paragraphs with the entry term rate case management

11       capability.

12                 In your response to a question from counsel

13       for YES, you made the statement that the company strives

14       to stay out of rate cases as long as possible.

15                 And when you read through this section of this

16       report, beginning about a third of the way down, there

17       are terms such as the objective of our rate case

18       management strategy, timely recovery of increase in

19       costs, pursuing our rate case strategy.

20                 Reading this paragraph and some of those

21       terms, and the discussion of a rate case management

22       operational perspective, I'm not sure that that's --

23       this reads completely consistent with the statement you

24       made about striving to stay out of rate cases as long as

25       possible.  And I'm just wondering if you could elaborate

FLORIDA PUBLIC SERVICE COMMISSION

565

1       on that a bit.

2                 THE WITNESS:  Sure.  I, I would love to.

3                 In order to stay out of rate cases, when you

4       can control your costs that's controllable, you can

5       reduce your costs and you can just spend at the

6       depreciation level that was approved in a previous rate

7       case, and you would have a stable, stable customer

8       group, stable consumption, that would enable a utility

9       to stay out as much as possible.

10                 Our utility, honestly, is very frugal.  They

11       watch every dime, they cut every cost or expense within

12       their control.  They do it quite effectively, I think.

13       Fortunately, there has been -- and I think our MFRs and

14       records show that we have done that through the expense.

15                 Unfortunately, a lot of these systems need

16       capital improvements, either for environmental purposes

17       with DEP or through customer concerns in aesthetics

18       where they have hydrogen sulfide, where no other utility

19       in the State of Florida has ever addressed secondary

20       water standards, has even attempted to.

21                 So those capital costs unfortunately have

22       driven this rate case, along with the dramatic drop in

23       consumption.  I personally from my experience don't view

24       rate cases as a bad thing.  I think it borderlines

25       mismanagement if a utility doesn't come in for a rate

FLORIDA PUBLIC SERVICE COMMISSION

566

1       case.  If they stay out too long and they get into

2       financial problems because they did not want to raise

3       the rates, I think that's pretty much mismanagement in

4       my book, is that you need to come in and you need to

5       look at the actual operating costs, either good, bad.

6       If they go up, you know, they need to be recovered.  If

7       they go down, that needs to be shared with the

8       customers.  So I don't view rate cases as a bad thing.

9                 I think it's inherent upon utilities to look

10       at their financial, their financial wherewithal, what

11       needs to be done, and then come in when the time comes

12       that they need have that financial recovery of the cost

13       to provide the service that the customers demand and

14       deserve.

15                 COMMISSIONER EDGAR:  I have one more question

16       about just this section.  The last sentence of the

17       second paragraph under that same heading says -- and

18       I'll just read it.  "We are currently in nine active

19       rate proceedings in four of our 13 states, proposing an

20       aggregate annualized rate increase of $14,201."

21                 Can you tell me what that, what that term,

22       "aggregate annualized rate increase," means?

23                 THE WITNESS:  The way I --

24                 COMMISSIONER EDGAR:  Or put it in some kind of

25       context, whichever --

FLORIDA PUBLIC SERVICE COMMISSION

567

1                 THE WITNESS:  Sure.  The way I interpret it is

2       they've looked at the nine active rate proceedings and

3       the increase requested in those proceedings, and they've

4       added them up, and that's the aggregate annual rate

5       increase.  So they've added the requested increase in

6       those nine different proceedings in four of the states,

7       and that's what the current rate cases are requesting.

8                 COMMISSIONER EDGAR:  I'm going to turn to the

9       next page.  And I have two questions referring to --

10       then this discussion here that is headed Growth through

11       Acquisition Strategy.  About two-thirds of the way down

12       the first paragraph, there's a sentence that reads, "A

13       growth through acquisition strategy allows us to operate

14       more efficiently by sharing operating expenses over more

15       utility customers and provides new locations for

16       possible future growth."

17                 You have discussed this, and I believe other

18       witnesses have as well, but I would still like to ask

19       you again.  Using this term, "allows us to operate more

20       efficiently by sharing operating expenses over more

21       utility customers," how does that benefit an individual

22       system, or the customers of an individual system?

23                 THE WITNESS:  Sure.  The way it benefits is

24       you have more customers to spread the cost over.  So if

25       you have, say, $100 and you have ten customers, that's

FLORIDA PUBLIC SERVICE COMMISSION

568

1       $10 apiece.  If you have $100 -- I mean, 100 customers,

2       that's $1 apiece.  So it allows -- it's economies of

3       scale, it's efficiency, and it allows the operating cost

4       to be spread over a larger number of customers.

5                 So growth through acquisition allows for lower

6       rates.  You can stay out of rate cases potentially

7       longer because you can add customers and add revenue to

8       cover the fixed costs.

9                 COMMISSIONER EDGAR:  And coming down what

10       would be basically the third paragraph on the page,

11       there's a brief discussion about systems that have

12       recently been sold, and there's a statement that says,

13       "Pursuant to our plan to evaluate and dispose of

14       underperforming utility systems, we sold the following

15       utility systems," and then it lists a few.

16                 Can you describe to me how that term

17       "underperforming utility system" is defined or, in

18       reverse, what criteria are used to determine if a system

19       is underperforming?

20                 THE WITNESS:  I can give you my personal

21       interpretation, because obviously I wasn't involved in

22       writing this annual report.  But my personal

23       interpretation is if you have a high cost system and it

24       continually needs either upgrades or very high expenses

25       and the revenues are not covering those expenses or

FLORIDA PUBLIC SERVICE COMMISSION

569

1       those capital costs and will not be for the foreseeable

2       future, and that has the potential of causing the rest

3       of the customer base to either increase their rates or

4       they have to absorb some of that cost.

5                 So in my -- my personal opinion is if you have

6       that type of a system and there's just no way that it's

7       going to ever recover the cost and not have a detriment

8       to existing customers, then you look and evaluate, would

9       it be in the best interest of the customers and the

10       company to potentially sell that system.

11                 COMMISSIONER EDGAR:  Thank you.

12                 CHAIRMAN GRAHAM:  Commissioner Brisé.

13                 COMMISSIONER BRISÉ:  Thank you, Mr. Chairman.

14                 A couple of questions.  I guess we'll start

15       from that vantage point of looking at the benefits or --

16       yeah, the benefits of being part of a larger company

17       such as Aqua versus being a standalone.  And I'm

18       thinking about, say, if you're an Arredondo Farms

19       customer, what is the true benefit that that customer

20       receives by being a customer of Aqua Utilities versus

21       Arredondo Farms Utility?

22                 THE WITNESS:  It's tremendous.  You know, I've

23       traveled all over the State of Florida meeting with

24       customers of almost every utility within the State of

25       Florida.  I worked on rate cases where I personally felt

FLORIDA PUBLIC SERVICE COMMISSION

570

1       bad because the cost and the increase to customers would

2       be significant.

3                 But unfortunately, when you have these small,

4       either mom and pops, or in the '80s the developers came

5       in the State of Florida and unfortunately built these

6       systems in an effort to sell the homes and you didn't

7       charge for the water, wastewater, or charged very low,

8       sold the homes, and then exited the state.  So there's a

9       proliferation of hundreds of these small systems

10       throughout the State of Florida.

11                 In order to try to keep that under control,

12       the Commission did several things.  They looked at,

13       well, let's see if there's a way to consolidate.  And I

14       think I, in my rebuttal testimony or in one of my, that

15       I refer to some papers that are on the Public Service

16       Commission website about viability of consolidation.

17                 And consolidation allows numerous things.  One

18       is that you have more customers to spread the cost over.

19       In our case, we have national contracts on

20       transportation.  We have, even within the state we have

21       synergies.  We just recently renegotiated some contracts

22       on some chemicals.  We've actually made adjustments in

23       this rate case to reduce those expenses so that we can

24       now have larger contracts on, you know, supplies to

25       provide the service at a less cost.

FLORIDA PUBLIC SERVICE COMMISSION

571

1                 We're able to share, you know, operators that

2       can cover numerous systems, reducing the cost, where if

3       you had a small system, they have to have, they still

4       have to have the same operators and they have to have an

5       accountant, they have to have someone to send the bills,

6       they have to have employees, but they don't have that

7       many customers to spread the cost.

8                 So I think, I think we can attract better

9       qualified employees to provide the service to the

10       customers than a small company can.  A lot of these

11       companies get in serious, serious trouble with DEP.

12       I've seen it all over the State of Florida where they

13       just cannot get the money.  They don't have the capital.

14       They can't go to a bank and correct a deficiency at the

15       wastewater plant who might be leaking into a lake or a

16       pristine water body.

17                 So there's a serious, I guess, problem in

18       Florida with these small systems who, as your workshop

19       that you recently had illustrated, that there's these

20       needs to meet the EPA standards, the DEP standards, to

21       make the investment.  Unfortunately don't have the

22       capability, financial capability to meet those, those

23       requirements.  And then when they do come in for a rate

24       case, it's a significant impact to the customers because

25       they have very high rates.

FLORIDA PUBLIC SERVICE COMMISSION

572

1                 COMMISSIONER BRISÉ:  You and I were at many of

2       the customer hearings --

3                 THE WITNESS:  Correct.

4                 COMMISSIONER BRISÉ:  -- that we had.  And one

5       of the things that was a common chorus across the state

6       was that from the vantage of the customer, that the

7       rates where they are currently are very difficult for

8       them to manage.  And I'm skirting around the word

9       affordability on purpose, or affordable on purpose.  But

10       I'm saying that it's very difficult for them to manage.

11                 How does the, the concept of a uniform rate

12       structure provide current relief and then future relief

13       to those customers, say, a year or two down the line,

14       two years down the line with, with things that are

15       outstanding that we all will agree that things that are

16       outstanding that need to be done to improve these

17       systems to deal with some other aesthetic things and so

18       forth?

19                 So how would that positively impact the

20       customers' experience with respect to how they manage

21       being able to manage -- being able to pay the bill?

22                 THE WITNESS:  Sure.  Several points.  One is

23       short-term it would benefit the systems in the previous

24       water band 4, you know, now they've been merged, but

25       prior to the filing, the systems in water band 4, their

FLORIDA PUBLIC SERVICE COMMISSION

573

1       rate, their bills would have went down.  I believe the

2       wastewater band, I want to say 3 would have went down.

3       So it benefits the ones receiving subsidies where their

4       rates actually will go down, and some of the subsidies

5       they're receiving would be smaller.

6                 Now one case in point, Peace River.  We're

7       having to spend over $200,000 on this gross alpha

8       removal system.  There are 85 customers there, that's

9       it, and many are below, you know, they're at the lower

10       end of the socioeconomic.  They're at poverty level.

11       I've been there.  I've talked to these customers.  I've

12       worked with the county commission.  And that's one of

13       the things I discussed with the county commission, the

14       county administrators, that if you don't consolidate

15       them within a rate band, they can't afford the rates.

16       Especially -- this was even before we were having to do

17       this, this treatment system.

18                 So those customers, I don't know what would

19       have happened to them if they were not brought into the

20       umbrella of AUF under the Commission jurisdiction and we

21       were allowed to consolidate them into a rate structure.

22       So that's a significant benefit to them.

23                 Long-term, you know, we're working on our

24       secondary water aesthetic program.  I've met with the

25       customers of Zephyr Shores.  I've met with the customers

FLORIDA PUBLIC SERVICE COMMISSION

574

1       of Lake Josephine and Leisure Lakes.  Those small

2       systems, they want good water, and they said we're

3       willing to pay for it if you provide the good water and

4       remove the hydrogen sulfide that's been there for years.

5                 But if they were, if they were to pay for it

6       on a standalone basis, they may have a different idea.

7       They may say, well, I can't afford to have my water

8       treated to the level I want to.  Even though it's

9       meeting primary standards, I still want it a little bit

10       better.  I want it to taste good.  I don't want it to

11       smell like rotten eggs.  But they may not be willing to

12       pay for it.  They may say I'm not going to, but I'm not

13       going to pay for it.  So consolidation helps in that

14       aspect too.  When we try to address customers' concerns,

15       we can spread those costs.  And so they have smaller

16       rate increases over a long period of time, and we're

17       able to provide a better service, I think.

18                 COMMISSIONER BRISÉ:  So a follow-up to that.

19       Does that minimize then future -- I mean, frequent

20       future need for rate cases to raise rates potentially?

21                 THE WITNESS:  It could.  If there's no

22       unforeseen large capital investment or any large, you

23       know, environmental need, it could.  That's, that was

24       one of the subject matters of a bill that we worked with

25       at the Legislature, to try to get these small

FLORIDA PUBLIC SERVICE COMMISSION

575

1       incremental increases to address the capital structure

2       need and stay out of rate cases so you don't have 30,

3       40% increases in rates.

4                 COMMISSIONER BRISÉ:  Final question, something

5       completely different.  You have this confidential

6       folder, and I think the question was posed earlier about

7       employee number 36 and the fact that they had been there

8       for a long time and they hadn't received a rate -- not a

9       rate increase, but a salary increase for a while.  Was

10       that someone that was with the system prior to Aqua

11       purchasing the system, or was that individual brought in

12       by Aqua?

13                 THE WITNESS:  If I can look at the -- I don't

14       have the folder.

15                 COMMISSIONER BRISÉ:  Page 1 of 2, number 36.

16                 THE WITNESS:  Unfortunately these employees

17       have been, their names don't appear.  I had another

18       folder which I thought I brought with me that had names.

19                 But I do know that we have numerous employees

20       that used to work for Florida Water that still work for

21       Aqua that -- the last time Southern States, which was

22       Florida Water, has come in for a rate case was 1996.  So

23       theoretically it could be a Florida Water customer who

24       hasn't had a rate increase because there hasn't been a

25       rate case for 16 years.  That could be one of them.  And

FLORIDA PUBLIC SERVICE COMMISSION

576

1       I do apologize if -- maybe by the time I come back up

2       for rebuttal I can get my copy with the actual names on

3       it.

4                 COMMISSIONER BRISÉ:  Thank you.  Because that

5       helps put in perspective the, the increase in salary

6       from that perspective, at least for, for, from my

7       vantage point.

8                 At this time I think those are all the

9       questions that I have for you.  Thank you.

10                 CHAIRMAN GRAHAM:  Commissioner Balbis.

11                 COMMISSIONER BALBIS:  Thank you, Mr. Chairman.

12       I have a few questions.

13                 To follow up on the line of questioning from

14       Commissioner Brisé concerning staffing, you indicated

15       that the proposed increases were not a cost of living

16       increase, but more based on market, market analysis in

17       order to attract and/or retain employees.  Is that

18       correct?

19                 THE WITNESS:  There's actually two increases.

20       And if I may, unfortunately the wording in my testimony

21       is not the best it could be.

22                 The first increase is a merit

23       performance-based.  And, as Mr. Szczygiel testified to

24       yesterday, some customers -- I mean, sorry, some

25       employees may not get any increase.  Some may get a 1%

FLORIDA PUBLIC SERVICE COMMISSION

577

1       increase, some may get a 6% increase.  But across the

2       board, the dollar amount averages around 4% a year.  But

3       it is a performance-based, based on their evaluation

4       made each year on their particular merits.

5                 The second increase is the market study, and

6       that was the market study conducted by Saje that the

7       Commission ruled upon in the last rate case.  That's a

8       comparison of the, the UTs and the operators out in the

9       field.  It's only the ones in the field and what their

10       comparable salaries would be to the market for their

11       positions.

12                 So there's actually two different increases.

13       The one in the, in the folder is the market study, not

14       the merit one.

15                 COMMISSIONER BALBIS:  Okay.  I notice in the

16       confidential folder for the listings of water licenses

17       that you do not have an operator that has an A license.

18                 THE WITNESS:  An A water license?  I see a

19       couple A wastewater licenses.  On 5 and 6 I think

20       there's two A wastewater.

21                 COMMISSIONER BALBIS:  Yeah.  I'm just focusing

22       solely on the water part of it.

23                 THE WITNESS:  Okay.  Sure.

24                 COMMISSIONER BALBIS:  I do know that Florida

25       as a whole has had difficulty in, you know, there's a

FLORIDA PUBLIC SERVICE COMMISSION

578

1       lot of retiring A level operators and it's been very

2       difficult to attract them.  Do you have a lot of -- or

3       any open positions that you're having difficulty filling

4       due to the salary range?

5                 THE WITNESS:  I believe we do.  I know that we

6       had an Area Coordinator hired last year.  He actually

7       attended a couple of the customer service hearings.  He

8       left our employment.  He only stayed for, I believe,

9       three or four months.  I don't know specifically, but I

10       believe we do.

11                 COMMISSIONER BALBIS:  And do you track how

12       long it takes to fill a position?

13                 THE WITNESS:  I, I personally do not.

14                 COMMISSIONER BALBIS:  And is there a lot of

15       turnover in these positions?  I mean, something that we

16       can quantify, especially if a portion of this increase

17       is to retain employees.

18                 THE WITNESS:  That information may have been

19       supplied in discovery.  I personally don't have the

20       information in front of me, the turnover rate.  I know

21       that in both cases we made adjustments to remove the

22       terminations or people leaving, and then we've added in

23       the new employees.  So I might be able to get the

24       information through those files, which I'll provide to

25       the Commission, of how many had left in the last rate

FLORIDA PUBLIC SERVICE COMMISSION

579

1       case and how many had left in this rate case.

2                 COMMISSIONER BALBIS:  Okay.  And let me change

3       gears a little bit and talk a little bit about the rate

4       band and consolidated rate methodology.  Has -- have you

5       or has Aqua benchmarked any of these systems, these

6       small consolidated areas that may be easier to bid out

7       the operations, the billing system, et cetera, just to

8       kind of do a check on how much it costs Aqua to operate

9       these systems?

10                 THE WITNESS:  Well, two things.  One is we do

11       contract operator services in numerous of our systems.

12       I think in Lake Osborne we have a contract operator.  At

13       one time we had one in South Seas, but I believe now we

14       have an employee there.  We have some in some of our

15       small systems.  We do have some contract operators.

16                 As far as billing, that's performed by our

17       Aqua Services, which was the subject of -- or ACO, one

18       of our affiliates that Mr. Szczygiel testified to

19       yesterday.  And we have conducted the market study that

20       shows our costs are below the market for those type

21       services.

22                 COMMISSIONER BALBIS:  Your costs per employee,

23       I believe -- well, I don't want to go into his

24       testimony, and I believe he will be back for rebuttal

25       testimony.  But, okay.

FLORIDA PUBLIC SERVICE COMMISSION

580

1                 And then I want to focus on the meter

2       replacements.  And you indicated to provide better

3       customer service in response to customer complaints, you

4       went forward with replacing the meters.  But you could

5       have replaced the meters with non-RF meters or touch pad

6       type meters; correct?

7                 THE WITNESS:  We could -- the meters

8       themselves were replaced.  The addition of the RF was

9       very minimal.  It's just a, it's a device.  I mean, you

10       had to replace the meter itself, and then the RF is

11       another unit that's attached by a wire.  So the meter

12       replacement was to replace the meters, the actual meters

13       that's registering the water.  The RF unit was added for

14       efficiencies in meter reading, to lower cost, to, to

15       actually be able to read the meters in a more efficient

16       manner to meet, you know, to meet our metrics.

17                 So there's two things.  The meters themselves

18       were old and needed replacing.  The RF was just a unit

19       to add to the meter for meter reading.

20                 COMMISSIONER BALBIS:  And you indicated that

21       there was a pilot program?

22                 THE WITNESS:  That was in, from, from speaking

23       with Mr. Lihvarcik, that was the initial plan, to do a

24       pilot project.  But through the last two rate cases and

25       the customer complaints and working with the Staff, it

FLORIDA PUBLIC SERVICE COMMISSION

581

1       was decided to go ahead and move forward with the entire

2       replacement to address all the concerns of the

3       customers.  I believe originally it was going to be done

4       in phases over a period of time, but because of the

5       concerns with the old meters, it was decided to go ahead

6       and replace them all.

7                 COMMISSIONER BALBIS:  Now did Aqua move

8       forward with adding the RF component of the meters just

9       in Florida or company-wide?

10                 THE WITNESS:  I believe it's prevalent through

11       most of our systems.  So I think it's the majority of

12       our systems in the majority of our states have the RF.

13                 COMMISSIONER BALBIS:  And was that done at the

14       same time, or they were always RF and Florida was the

15       last one that didn't have an RF component?

16                 THE WITNESS:  I'm not sure.  I know that we

17       came in the state in 2003, 2004, and the meters weren't

18       replaced until 2008 and 2009.  So we're probably one of

19       the last states, but that's just my guess.

20                 COMMISSIONER BALBIS:  But it could be that all

21       of the meters throughout all of nationwide Aqua's

22       territory were, the RF component was added to it.  That

23       could be the case and you're just not sure?

24                 THE WITNESS:  I don't know.  I really hate to

25       guess.

FLORIDA PUBLIC SERVICE COMMISSION

582

1                 COMMISSIONER BALBIS:  The additional cost for

2       adding the RF component, do you have any information

3       that indicates how long before that additional cost is,

4       is paid back, the return on investment of that

5       additional cost versus, you know, due to the staffing

6       reductions?

7                 THE WITNESS:  The -- I believe that the

8       depreciation rate on meters are, is either -- I think

9       it's 20 years.  So they're depreciated over a 20-year

10       period, so you get 1/20th of that cost each, in your,

11       excuse me, in your depreciation and a rate of return on

12       it.

13                 In the last rate case we actually got a meter

14       installation charge approved, and in that we broke out

15       the different components of how much the meter costs,

16       the installation costs, and the RF costs.  And if my

17       memory serves me well, the RF was a very small portion

18       of the actual meter replacement.  I think the meters are

19       around $110, and maybe the RF are around 45 or 50 bucks.

20                 COMMISSIONER BALBIS:  But how long before that

21       additional cost is paid off, with the -- realized

22       through the savings of staff reductions and the other

23       efficiencies?

24                 THE WITNESS:  I can't answer that without

25       actually sitting down and analyzing it.

FLORIDA PUBLIC SERVICE COMMISSION

583

1                 COMMISSIONER BALBIS:  Did the company do that

2       sort of analysis?

3                 THE WITNESS:  We looked at the reduction of

4       costs and the metrics.  I don't know if, if that was

5       done by someone before I came to Aqua or not.

6                 COMMISSIONER BALBIS:  Okay.  And last

7       question.  You indicated that, in response to

8       Commissioner Edgar's question on, on growth through

9       acquisition and that you can bring on these additional

10       systems and spread out the, the overhead costs, if you

11       will, and that would be a benefit to the existing

12       customers; is that correct?

13                 THE WITNESS:  That's correct.

14                 COMMISSIONER BALBIS:  And I can't help but

15       make an analogy to used and useful, which is, you

16       discussed at length in your testimony.  But wouldn't

17       that indicate that you have unused overhead, if you

18       will?  That you have, you have a, a system that can

19       handle a million customers but you only have 500,000

20       customers, that 50% of that overhead is not being used

21       as efficiently as it should?

22                 THE WITNESS:  No.  I don't think I would agree

23       with that.

24                 COMMISSIONER BALBIS:  And then a final comment

25       or question.  You -- I agree with the other benefits to

FLORIDA PUBLIC SERVICE COMMISSION

584

1       the customers on the economies of scale, reduction of

2       chemical costs, operator costs.  Basically you seem to

3       list all of the costs in operations and maintenance

4       other than the two largest cost components of operations

5       and maintenance, which is the other contractual services

6       management and other contractual services other -- or

7       contractual services other.

8                 What -- are there any efficiencies realized in

9       those two cost centers for the individual utility, due

10       to the fact of having Aqua be the parent company?

11                 THE WITNESS:  For the one being purchased?

12                 COMMISSIONER BALBIS:  No.  For the existing

13       customer.  Back to Commissioner Brisé's analogy of

14       Arredondo Farms, do they get any benefit of having those

15       services?  Because I agree with the chemical costs, the

16       purchase costs, et cetera, operational costs, but what

17       about the management fees?

18                 THE WITNESS:  I believe those are allocated on

19       a per customer basis from the affiliate, the majority of

20       them.  So they would be allocated down to that system

21       based on the number of customers.

22                 I'm trying to think.  I don't know if I can

23       provide the answer you're looking for, if there are

24       efficiencies in those types of costs.  I think they're

25       shared dollar for dollar.  So I don't know if I can

FLORIDA PUBLIC SERVICE COMMISSION

585

1       answer that.  Mr. Szczygiel may be able to provide more

2       detail since he's testifying to affiliate transactions.

3                 COMMISSIONER BALBIS:  And my line of

4       questioning is that you had answered Commissioner Brisé

5       in listing all of the different efficiencies that are

6       made.

7                 THE WITNESS:  Uh-huh.

8                 COMMISSIONER BALBIS:  And the two that you

9       failed to mention were the management fees and the

10       other.

11                 THE WITNESS:  Sure.  I can, I can provide an

12       answer for the in-state, if that would help.  In-state,

13       there's over -- there's management fees and that's the

14       President, the Controller, the Engineer, who, who's up

15       here who works for Aqua Utilities.  Those costs, yes,

16       there are efficiencies.

17                 The, the lease, the lease for the office

18       building, the corporate office building, the

19       electricity, those are shared by bringing on more

20       customers, reducing the cost of the existing.  So those

21       type management fees, the in-state, yes, there are

22       efficiencies.

23                 What I was alluding to is the out-of-state

24       affiliate costs.  Mr. Szczygiel may have more

25       information on that.  But the contractual services,

FLORIDA PUBLIC SERVICE COMMISSION

586

1       other in-state, there's definitely efficiencies.

2                 COMMISSIONER BALBIS:  Okay.  And I don't know

3       if you understood my question.  So I'm not looking at

4       acquisitions, I'm not looking at any additional

5       customers coming on board.  But if you're an existing

6       utility, Arredondo utility, and the prospect of having

7       Aqua be the owner of the utility where you would receive

8       the benefits of economies of scale, you would have

9       reduced chemical costs, reduced operator costs, et

10       cetera, but on top of that -- or is it on top of that?

11       I don't know.  This is the question.  Is that weighed

12       against the additional costs which are the management

13       fees or the contractual services other?

14                 THE WITNESS:  Based on my experience through

15       working on these over the past 20 years, I think there's

16       definitely efficiencies, because these small systems

17       would still have to have the same functions, the same

18       type of expense, but spread over a smaller customer

19       base.  So I think I can answer you affirmatively, yes,

20       there are efficiencies.

21                 COMMISSIONER BALBIS:  And, but those are not

22       quantified?

23                 THE WITNESS:  You would have to look at each

24       individual acquisition, depending on what their current

25       number of customers are.  I mean, you would have to

FLORIDA PUBLIC SERVICE COMMISSION

587

1       quantify it on each individual acquisition.

2                 COMMISSIONER BALBIS:  And the difficulty in

3       that is that you, they're placed in a rate band, so it

4       makes it difficult to carve out an individual system.

5                 THE WITNESS:  Not initially.  In the State of

6       Florida, when there's a, a transfer, you bring in the

7       existing rates unless you apply for a limited

8       proceeding.  So initially when you come in, there are

9       standalone rates.  Now, are they cost-based rates?  They

10       may not be.  If that utility never came in for a rate

11       case or hasn't been in for numerous years, they may not

12       be cost-based rates.  So that might be one of the

13       reasons they're selling the system, because they can't

14       cover the cost.

15                 So, like I say, it would have to be each

16       individual acquisition to be analyzed individually.

17                 COMMISSIONER BALBIS:  Okay.  Thank you.  I

18       have nothing further.

19                 CHAIRMAN GRAHAM:  Commissioner Brown.

20                 COMMISSIONER BROWN:  Thank you, Mr. Chairman.

21       And seeing that it's lunchtime, I will try to go rather

22       quickly through my questions.  I don't have a lot.

23                 The cost, the cost of, cost of living salary

24       request is based on, is for all employees, including

25       executive management?

FLORIDA PUBLIC SERVICE COMMISSION

588

1                 THE WITNESS:  Well, as I testified, it's not a

2       cost of living adjustment.  It's actually a

3       performance-based.  So some employees may receive an

4       increase and some employees may not, depending on their

5       performance for that particular year.  So it's not

6       across the board and not every customer will receive an

7       increase.

8                 COMMISSIONER BROWN:  You mean employee?

9                 THE WITNESS:  I'm sorry.  Employee.

10                 COMMISSIONER BROWN:  I thought earlier you

11       said to Commissioner Balbis though that there are two

12       different increases, a cost of living, in comparison, I

13       guess -- in accordance with this market-based salary

14       study, and then a merit or incentive-based increase.

15                 THE WITNESS:  The merit one based on

16       performance is what unfortunately was referred to as a

17       cost of living.  The market study, which is in the red

18       folder, is another increase.  There's two actual

19       increases to salary.  One is a performance or

20       merit-based, and the other is a market-based study.

21                 COMMISSIONER BROWN:  Okay.  Then the

22       market-based study, is that increase being requested

23       just for operators and field technicians?

24                 THE WITNESS:  It's -- correct.  There's very

25       few, if you look at the -- I think there's -- let me

FLORIDA PUBLIC SERVICE COMMISSION

589

1       see.  It looks like there's one, two -- it looks like

2       there's very few of them, but, yes, it's only the field

3       employees, the facility operators and the UTs.

4                 COMMISSIONER BROWN:  And that's why the Saje

5       study was limited to just those employees?

6                 THE WITNESS:  Correct.  I believe the thought

7       was, as discussed in the last rate case, is let's do a

8       market study on our field technicians.  And then after

9       those, after that's done, then do a more comprehensive

10       study on the rest of employees so that we look at all

11       the office employees and the officers in the various

12       states and see how they compare to the markets.

13                 But the first one, which I personally think is

14       the most important, are the field operators and the

15       people who have the first line contact with customers

16       and are out there making sure we're environmental --

17       that we are meeting environmental standards.  So I think

18       that was the thought, let's get them to market first.

19                 COMMISSIONER BROWN:  Has the company done a

20       similar market study for the other merit-based

21       considerations, employees?

22                 THE WITNESS:  The way I understand it, they do

23       one every year, and that's how the -- Aqua determines

24       what the appropriate amount of merit base would be, is

25       that our HR department looks at the industry every

FLORIDA PUBLIC SERVICE COMMISSION

590

1       single year before determining what the appropriate

2       amount would be to give employees based on their

3       performance.

4                 COMMISSIONER BROWN:  Has the company provided

5       that as a discovery item?

6                 THE WITNESS:  I don't, I don't think that was

7       asked.

8                 COMMISSIONER BROWN:  Okay.  I do believe

9       earlier you said that there was some turnover among

10       certain employees.  Is that correct?  One of the

11       Intervenors asked you about turnover?

12                 THE WITNESS:  Correct.  To my personal

13       knowledge, I know there has been some turnover.

14                 COMMISSIONER BROWN:  Has the company -- does

15       the company intend to add employees to its current

16       staff?

17                 THE WITNESS:  We've actually done the

18       opposite.  We've actually consolidated functions,

19       consolidated duties, and reduced our employees.  As I

20       indicated, the salary expense in the current case is

21       less than the last rate case, and the auditor has

22       determined that our test year salary is actually 11%

23       less than '08.

24                 The way we did that was we eliminated the

25       maintenance group, and then the, the field operators and

FLORIDA PUBLIC SERVICE COMMISSION

591

1       the UTs were able to absorb that duty.  They're able to

2       absorb the meter reading.  So actually they have more

3       duties come on.  The environmental specialist that we

4       had left about a year ago.  Those duties and

5       responsibilities are now under the engineer that was

6       there, so she's, she's taken on those additional

7       responsibilities.  The administrative secretary left.

8       We're not, we haven't replaced and we may not replace.

9                 So the existing customers [sic] have actually

10       taken on more duties and responsibilities since the last

11       rate case.

12                 COMMISSIONER BROWN:  Thank you.  And my last

13       question, switching gears, Mr. Richards interpreted

14       Southern States in a way that seemed to suggest that the

15       first DCA approved the methodology in that case because

16       it was a modest deviation from a standalone rate

17       structure.  And I think he asked this question too, but

18       for clarity, if you could answer the question, under

19       uniform rate structure, do you believe the rate

20       deviation would be modest for water and wastewater,

21       using the PAA rates?

22                 THE WITNESS:  I do.

23                 COMMISSIONER BROWN:  How about the pre-PAA

24       rates?

25                 THE WITNESS:  Could you restate the question?

FLORIDA PUBLIC SERVICE COMMISSION

592

1       I'm sorry.

2                 COMMISSIONER BROWN:  With the understanding,

3       with the interpretation that Southern States approved

4       the methodology because it was a modest deviation, under

5       a uniform rate methodology, as proposed by Aqua, would

6       it be considered -- would you consider it a modest

7       deviation using the pre-PAA rates in comparison to the

8       uniform rates?

9                 THE WITNESS:  I do.

10                 COMMISSIONER BROWN:  Okay.  Thank you.

11                 CHAIRMAN GRAHAM:  Mr. May, do you have any

12       redirect?

13                 MR. MAY:  No, sir.

14                 CHAIRMAN GRAHAM:  Okay.  I was going to say we

15       can do it after lunch.  But if you don't have any

16       redirect, then let's enter the exhibits that we need for

17       this witness.

18                 MR. MAY:  Mr. Chairman, Aqua would move

19       Mr. Rendell's exhibits, which are designated as hearing

20       Exhibits 68, 69, and 70.

21                 CHAIRMAN GRAHAM:  We'll move 68, 69, and 70.

22                 Intervenors?

23                 MS. CHRISTENSEN:  OPC would move Exhibits 305

24       through 309.

25                 CHAIRMAN GRAHAM:  That's 305, 306, 307, 308,

FLORIDA PUBLIC SERVICE COMMISSION

593

1       and 309.

2                 MR. RICHARDS:  Pasco County would move Exhibit

3       310.

4                 CHAIRMAN GRAHAM:  Pasco is moving 310.

5                 MS. BENNETT:  Staff requests Exhibit 177 be

6       moved in.

7                 CHAIRMAN GRAHAM:  Ms. Bennett wants 177.

8                 Are there any objections on any of those

9       exhibits going into the record?

10                 (No response.)

11                 Okay.  We'll enter those exhibit into the

12       record.

13                 (Exhibits 68, 68, 70, 177, and 305 through 310

14       admitted into the record.)

15                 I have a quarter after 1:00 right now.  Let's

16       break for lunch, be back here at quarter after 2:00.

17                 MS. BENNETT:  Mr. Chairman, before we break,

18       the red folders, Ms. Farley needs to collect them.

19                 CHAIRMAN GRAHAM:  Back here quarter after

20       2:00.

21                 (Recess taken.)

22                 (Transcript continues in sequence in Volume

23       4.)

24

25

FLORIDA PUBLIC SERVICE COMMISSION

594

1       STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2       COUNTY OF LEON      )

3

4                 I, LINDA BOLES, RPR, CRR, Official Commission

Reporter, do hereby certify that the foregoing

5       proceeding was heard at the time and place herein

stated.

6

IT IS FURTHER CERTIFIED that I

7       stenographically reported the said proceedings; that the

same has been transcribed under my direct supervision;

8       and that this transcript constitutes a true

transcription of my notes of said proceedings.

9

I FURTHER CERTIFY that I am not a relative,

10       employee, attorney or counsel of any of the parties, nor

am I a relative or employee of any of the parties'

11       attorneys or counsel connected with the action, nor am I

financially interested in the action.

12

DATED THIS _____ day of _____________________,

13       2011.

14

15                  ________________________________

LINDA BOLES, RPR, CRR

16                 FPSC Official Commission Reporter

(850) 413-6734

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION