901

1

2                       BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

3

4   In the Matter of:

5                                   DOCKET NO. 110138-EI

6   PETITION FOR INCREASE IN

RATES BY GULF POWER COMPANY

7   ______________________________/

8

9                         Volume 6

10                 Pages 901 through 1052

11

PROCEEDINGS:            HEARING

12

COMMISSIONERS

13   PARTICIPATING:          CHAIRMAN ART GRAHAM

COMMISSIONER LISA POLAK EDGAR

14                           COMMISSIONER RONALD A. BRISE

COMMISSIONER EDUARDO E. BALBIS

15                           COMMISSIONER JULIE I. BROWN

16   DATE:                   Tuesday, December 13, 2011

17   TIME:                   Commenced at 1:50 p.m.

Concluded at 4:05 p.m.

18

LOCATION:               Betty Easley Conference Center

19                            Room 148

4075 Esplanade Way

20                           Tallahassee, Florida

21   REPORTED BY:            MICHELLE SUBIA, RPR

Notary Public in and for

22                           the State of Florida

at Large

23

APPEARANCES:             (As heretofore noted.)

24

25

PUBLIC SERVICE COMMISSION

902

1                        I N D E X

2                        WITNESSES

3

4   NAME:                                   PAGE NO.

5   RAYMOND J. GROVE                               905

6   Cross Examination by Mr. Sayler                905

Cross Examination by Ms. Kaufman               918

7   Cross Examination by Ms. Klancke               926

Redirect Examination by Mr. Guyton             929

8

9   CONNIE ERICKSON                                931

10   Direct Examination by Mr. Guyton               931

Cont' Direct Examination by Mr. Guyton         974

11   Cross Examination by Mr. Sayler                978

Cross Examination by Ms. Kaufman               993

12   Cross Examination by Mr. Wright               1014

Cross Examination by Ms. Klancke              1029

13   Redirect Examination by Mr. Guyton            1044

14

15

16

17

18

19

20

21

22

23

24

25

PUBLIC SERVICE COMMISSION

903

1                         EXHIBITS

2   NUMBER:                                    ID.    ADMTD.

3       2                                              930

18                                              931

4      19       CJE-1                          974    1050

148       Grove 11/15/11 Deposition      927     929

5     149       Erickson 11/14/11 Deposition          1031

191       Southern Co. 10-K Excerpt      978    1050

6     192       Gulf's Resp/Inter No. 224      994    1050

193       Erickson Depo Exh. 1, 3, 4    1034    1051

7     194       Interrog. Response/Erickson   1037    1051

8

9

10

11

12

13

14

15

16

17

18

19   CERTIFICATE OF REPORTER                       1052

20

21

22

23

24

25

PUBLIC SERVICE COMMISSION

904

1                  P R O C E E D I N G S

2             (Transcript follows in sequence from

3   volume 5.)

4             MR. STONE:  Mr. Chairman, may I speak briefly?

5             CHAIRMAN GRAHAM:  Sure.

6             MR. STONE:  I was not present when you

7        adjourned for lunch and I apologize for that, but

8        my understanding is prior to the break there was

9        some question about the availability of the

10        intervenor witnesses, and I would like to on Gulf's

11        behalf reaffirm our previously expressed

12        willingness to allow the testimony and exhibits,

13        along with any discovery and deposition

14        transcripts, of any of the remaining intervenor

15        witnesses for whom staff does not have any live

16        cross to be entered into the record without the

17        need for these witnesses to personally appear at

18        this hearing.  I understand that that will be all

19        of the remaining intervenor witnesses, provided

20        that their depositions are entered into the record.

21             CHAIRMAN GRAHAM:  Okay.  Mr. Sayler.

22             MR. SAYLER:  Yet again, we thank Gulf for the

23        offer, but we respectfully decline.

24             CHAIRMAN GRAHAM:  No, I wanted you to start

25        asking questions.

PUBLIC SERVICE COMMISSION

905

1             MR. SAYLER:  Oh, excuse me, I thought you were

2        asking me to respond to that.

3             CHAIRMAN GRAHAM:  No.

4             MR. SAYLER:  All right.

5   Thereupon,

6                    RAYMOND J. GROVE

7   was called as a witness, having been previously duly

8   sworn, was examined and testified as follows:

9                    CROSS EXAMINATION

10   BY MR. SAYLER:

11        Q    Mr. Grove, my name is Erik Sayler.  I

12   represent the Office of Public Counsel and I represent

13   your customers.  And I want to thank you for coming out

14   here today.  I have a few questions for you, and

15   hopefully it will go pretty quickly.  We'll just start.

16             If you will take a moment -- first off, you

17   are the current manager of power generation services for

18   Gulf Power; is that correct?

19        A    That is correct.

20        Q    All right.  Would you please refer to your

21   Schedule 7 attached to your direct testimony, please?

22        A    I have it.

23        Q    All right.  And this is the same schedule you

24   have a few corrections on.  And just give a moment for

25   everyone to be able to turn to it.

PUBLIC SERVICE COMMISSION

906

1             According to the schedule, you would agree

2   that Gulf's projected amount for total production O&M

3   expense is 110 million; is that correct?

4        A    For the test year?

5        Q    For the test year.

6        A    Yes, sir.

7        Q    All right.  And that projected amount is

8   nearly 20 million more than what Gulf actually spent in

9   2010; isn't that correct?

10        A    It's about 18 million.

11        Q    18 million.

12             If you look on your schedule, the line labeled

13   "Total Outages," do you see those lines?

14        A    Yes, sir, I do.

15        Q    And you would agree that the 2012 projected

16   outage expense is 23 million, correct?

17        A    That is correct.

18        Q    And that is at more than twice the actual 2010

19   actual incurred outage costs; is that correct?

20        A    It is.

21        Q    And you would agree that the 2012 projected

22   outage expense is more than -- 7 million more than the

23   2009 outage costs, correct, outage costs for 2009 being

24   14.1 million?

25        A    I would agree, but I would also like to point

PUBLIC SERVICE COMMISSION

907

1   out that the outages in a given year could be for

2   different units.  For example, for 2009 the outages may

3   have been for units -- smaller units or may not have

4   included boiler and turbine work, and in 2011, '12,

5   whatever year, it's different every year.

6        Q    All right.  But it is true, is it not, that

7   the projected outage costs for 2012 are significantly

8   higher than the outage costs for 2009 and 2010?  Is that

9   correct?

10        A    They are higher.

11        Q    All right.  And you would also agree that the

12   projected outage costs is higher than any of the five

13   prior years from 2006 to 2010; is that correct?

14        A    Yes, sir, I would agree with that.

15        Q    And you would agree that the average outage

16   expense for the previous five years is approximately

17   $11 million a year; is that correct, if you were to do

18   the math?

19        A    I would prefer to do the math.

20        Q    Okay.  There's a little adding machine-type

21   calculator over there.

22        A    Unfortunately, these are solar batteries so

23   it's taking me a second.

24        Q    Take your time, we want you to get it right.

25             CHAIRMAN GRAHAM:  There's one that runs off of

PUBLIC SERVICE COMMISSION

908

1        general electricity right there.

2             THE WITNESS:  Yeah, I see it.  It's

3        $11 million.

4   BY MR. SAYLER:

5        Q    All right.  And that average of $11 million

6   for 2006 through 2010 is quite a bit higher -- or excuse

7   me -- quite a bit lower than the average for 2011

8   through 2015; is that correct?

9        A    It is lower.  But once again, I would like to

10   point out, different outages, different scope of work.

11   We're talking about a time where we're holding costs

12   down.  And one of the ways in generation we do that is

13   by limiting the type of work we're doing or doing it

14   differently --

15        Q    Okay.

16        A    -- so that it does cost less.

17        Q    And you said that you're holding costs down.

18   And that's just for 2009; is that right, because 2009

19   seems to be quite a bit higher than the other years,

20   2006 through 2010?

21        A    I would say it's a combination, because even

22   as far back as 2007, we're starting to look at the

23   forecast years '07, '08, '09, '10, '11 and we're

24   starting to see the numbers get larger.

25        Q    Okay.

PUBLIC SERVICE COMMISSION

909

1        A    And so we're starting to manage those outages

2   in a way that we keep the costs a little lower so we

3   don't have to do this.

4        Q    All right.  But it is your testimony now that

5   for 2011 through 2015 you're not holding the costs down?

6        A    No, I would say -- what I would say is that we

7   have budgeted what we feel is the appropriate level to

8   maintain the reliability and efficiency of our

9   generating fleet.

10        Q    And this has been asked of other witnesses,

11   but is Gulf able to keep the lights on at this time with

12   its current level of spending?

13        A    Yes.  And as I pointed out in my testimony,

14   we've reached that point.  Through historical spending,

15   you can do that with a well-maintained system for a

16   period of time.  But then it reaches a time where you

17   can't continue to do that and you have to spend

18   additional money to ensure the reliability of the

19   system.

20        Q    All right.  Thank you, Mr. Grove.  I'm trying

21   to do my best to ask yes or no questions to kind of get

22   through my examination, so to the extent possible -- and

23   if you need to expound upon that, perhaps your counsel

24   on redirect can help with that.

25             If you look at the "Special Projects" lines

PUBLIC SERVICE COMMISSION

910

1   for the same period of time, 2006 through 2010 and '11

2   through '15, you would agree that the special project

3   budget has increased quite a bit?

4        A    I'm just doing simple math.  I would say that

5   it has increased by a couple of hundred thousand dollars

6   a year.

7        Q    Right.  It's a small dollar amount, but it's

8   still a significant increase in that budget line.

9             Now, the last two questions along this line of

10   questioning, hopefully, in your testimony on page 27,

11   you testified that the projected level of production O&M

12   expenses are representative of Gulf's going-forward

13   production O&M beyond 2012; is that correct?

14        A    Could you point me towards the line you're

15   referring to?

16        Q    Line, let's see --

17        A    I'm sorry, I found it.

18        Q    But you would agree that it's your testimony

19   that the production O&M expense in your Schedule 7 is

20   representative of a going-forward O&M expenses; is that

21   correct?

22        A    Yes, sir, it is.

23        Q    To support this going-forward assertion in

24   your testimony, besides the factors addressed in your

25   testimony, did Gulf commission any external studies to

PUBLIC SERVICE COMMISSION

911

1   show that the production O&M expenses for 2012 and

2   beyond are truly representative of going-forward

3   production O&M amounts; yes or no?

4        A    We did not incur external review of those --

5   of our budget amounts.

6        Q    Okay.  Has Gulf Power ever entertained doing

7   such an evaluation?

8        A    I don't know the answer to that.

9        Q    Okay.  To your knowledge, has Gulf Power ever

10   entertained that?

11        A    I really can't say, sir.

12        Q    Okay.  Earlier in your testimony today you

13   said that Gulf was trying to keep expenses down prior to

14   2007, I believe.  Do you recall saying that?

15        A    I don't.  I think I said since around 2007.

16        Q    And since around 2007 has Gulf Power been

17   thinking about filing a rate case?

18        A    I would say that it's on our mind every year.

19        Q    All right.  The next line of questioning

20   regarding production of workforce.  And I do know that

21   you address some of this in your rebuttal testimony, but

22   I'm planning to stick to the areas of your direct

23   testimony and also the current state.

24             In your position as the power generation

25   services manager, you're involved in budgeting the

PUBLIC SERVICE COMMISSION

912

1   number of employees that are needed in your functional

2   area; is that correct?

3        A    I would say it's not correct.  I would say

4   that that is the plant manager's responsibility.

5        Q    Okay.

6        A    And it simply rolls to me.

7        Q    All right.  And do you ever at any time look

8   at the number of employees that the plant manager says

9   they need and then reduce that, say that's too many, we

10   don't have the money?

11        A    That's not my call.  I would leave that

12   decision up to the plant managers and to my boss.

13        Q    All right.  And were you a plant manager at

14   one time for Gulf?

15        A    No, sir, I was not.

16        Q    Okay.  If you know, this next question is when

17   Gulf budgets for an employee in production, do you

18   include only the employees that you believe are

19   absolutely needed?

20        A    We budget for the folks that we feel are

21   necessary to maintain the reliability of our system,

22   yes.

23        Q    Now, would you agree that just because the

24   company may believe that a particular position is

25   justified or needed, would you agree that it may not

PUBLIC SERVICE COMMISSION

913

1   always fill that position?

2        A    I would say there are circumstances that in a

3   situation where you start out the year with a plan --

4   because that's all a budget really is is a plan.  And as

5   you move through the year, certain things happen,

6   somebody leaves the job, you also have an issue with a

7   piece of equipment, there aren't additional dollars

8   available from that plant to take care of that

9   equipment.

10             You might hold off hiring that position or

11   several positions in order to make sure you effectively

12   maintain the unit and then backfill that work with

13   either contract folks or work some folks overtime or

14   just -- you don't do it right then.

15        Q    Okay.  So you said that sometimes -- if I may

16   try to restate -- sometimes you fill the position but

17   another full-time Gulf employee, sometimes with contract

18   labor, and sometimes you just don't fill it; would that

19   be a fair statement or restatement?

20        A    I want to be careful.  What I'm saying is that

21   the position that has become vacant, for example, a

22   mechanic at the plant, you might not fill that position.

23   And you still have the same number of work orders that

24   you have to work and so what you do is you assign the

25   existing workforce to get that work done.  And what may

PUBLIC SERVICE COMMISSION

914

1   happen is you may take care of all of your critical

2   issues, and something that's a little lower down on the

3   priority list you might let go.

4        Q    Okay.  On page 63 of your testimony, you

5   describe the number of full-time equivalents that Gulf

6   is projecting for their test year.  Are you there?

7        A    Yes, sir.

8        Q    Okay.  And in your direct testimony for the

9   test year, you have budgeted labor costs equivalent to

10   394 full-time employees for production.  Do you see

11   that?

12        A    I see that.

13        Q    Is that number still current; 394?

14        A    No, it is not.  And as I discussed in my

15   rebuttal, we went back to the plants to talk to them

16   about what we -- what's really going to happen, is this

17   what we think is going to happen.  And we made the

18   decision to move those dollars, ten employees, most of

19   them at Plant Schultz, from labor to contract labor.  It

20   did not change the bottom line of our O&M budget for

21   2012, we simply moved the dollars from labor dollars

22   into another category.

23        Q    Okay.  And just to be sure that I'm clear,

24   when you talk about labor dollars, you're talking about

25   Gulf full-time employees or full-time equivalents,

PUBLIC SERVICE COMMISSION

915

1   correct?

2        A    That is correct.

3        Q    And then for contract labor, that would be an

4   employee that -- or somebody that Gulf would employ but

5   does not get benefits and you can hire and let go as

6   needed?

7        A    Yes, sir.  In general what we would do is we

8   would hire somebody to fill some of the work that would

9   have otherwise been done by that employee.

10        Q    All right.  Also in your testimony you said

11   Gulf has budgeted labor costs.  When you said "budgeted

12   labor costs," you're referring to 394 full-time Gulf

13   employees, correct?

14        A    That is correct.

15        Q    But your total budget dollar, is that still

16   the same or are you just saying that now it's 394

17   full-time Gulf employees plus ten contract labor

18   employees?

19        A    Maybe the simplest way to answer this is to

20   look at Schedule 7.  And on Schedule 7 you would see

21   that for 2012 the budgeted labor dollars is

22   approximately 30 million 828.  And what I'm suggesting

23   is that that number has now dropped by ten full-time

24   equivalents and those dollars are now embedded in

25   baseline other.

PUBLIC SERVICE COMMISSION

916

1             So as we go though and -- and I apologize, but

2   what we're looking at here is a budget that was a budget

3   cycle.  We do a five-year budget cycle -- in this case

4   '11 through '15.  In the current budget cycle which is

5   now being developed for '12 though '16, for 2012 we have

6   shifted those dollars from labor to contract labor.

7        Q    Okay.  And how much would that be?

8        A    I could not answer that question.

9        Q    All right.  Would that be something that you

10   would be able to tell us on your rebuttal, be able to

11   come up with that number?

12        A    I will make a point of getting that ready,

13   sir.

14        Q    All right.  Thank you.

15             So going forward with my examination, should

16   we now instead of referring to 394 production FTE,

17   should we call that 384 production full-time

18   equivalents?

19        A    Yes, sir.  And, in fact, in my rebuttal

20   testimony, I've made that change.

21        Q    To date how many of that 389 full-time Gulf

22   employees has Gulf actually hired?

23             MR. GUYTON:  Objection.  I think he misstated

24        a number here.

25             MR. SAYLER:  Okay.  Is it --

PUBLIC SERVICE COMMISSION

917

1             MR. GUYTON:  I think you meant to say 384 and

2        you said 389.  I just want to make sure the record

3        is clear.

4             MR. SAYLER:  Okay.  My apologies.  Thank you.

5        I meant 384.

6   BY MR. SAYLER:

7        Q    Of the 384 full-time Gulf employees for

8   production, how many are currently hired?

9        A    I don't know that, sir.

10        Q    Would that be something you would know on your

11   rebuttal?

12        A    In my rebuttal?

13        Q    I mean, would you be able to tell us when we

14   asked you -- examined -- asked you again when you come

15   up for rebuttal?

16        A    Yes, I think so.

17        Q    Okay.

18        A    And keep in my mind what I was focusing on in

19   my testimony, in my rebuttal testimony, was the delta

20   between the full-time equivalent -- the actual full-time

21   equivalence at the end of 2010 and the budgeted

22   full-time equivalence at the end -- or for the year

23   2012.  And we're trying to give you a flavor through all

24   discovery of what was happening with those positions.

25        Q    Okay.  Most of the remainder of my questions

PUBLIC SERVICE COMMISSION

918

1   would potentially relate to those numbers and I will

2   reserve that for rebuttal, just to give you time to find

3   out some of those answers to save Commission time

4   because I know we're trying to move things along.

5             So just really the questions I have for you to

6   think about for your rebuttal would be how many

7   employees have you hired to date as opposed to what

8   you're projecting and a few questions that may relate to

9   that, and we'll go from there.

10             MR. SAYLER:  So with that, Mr. Chairman,

11        I'll --

12             CHAIRMAN GRAHAM:  Ms. Kaufman.

13                    CROSS EXAMINATION

14   BY MS. KAUFMAN:

15        Q    Good afternoon, Mr. Grove.  Vicki Gordon

16   Kaufman on behalf of the Florida Industrial Power Users

17   Group, some of your biggest consumers of electricity.

18             Let me start by saying that I think that

19   Mr. Burroughs referred a question to you in my

20   examination and that was what is the number of

21   megawatts, ballpark, needed currently to serve customers

22   of the Gulf service territory?

23        A    Today?

24        Q    Yes.

25        A    Ballpark?

PUBLIC SERVICE COMMISSION

919

1        Q    Ballpark.

2        A    I don't have it with me, but once again, I

3   think witness Caldwell talked about it and witness Moore

4   talked about it.  We have to have megawatts to serve the

5   very peak and so I would say that our peak for 2012 is

6   somewhere around 2,700 megawatts, maybe -- 2,700 to

7   3,000.  I don't have that number with me, but it's

8   close.

9        Q    Thank you.  I recognize that it's not a static

10   number, but that's helpful.

11             In your opening I -- and this relates to some

12   of the questions that Mr. Sayler was asking you about

13   the increase in the number of FTEs in your area of

14   production O&M.  Correct me if I'm wrong, but did you

15   say that you didn't want to add those new employees

16   during the period when your customers were struggling

17   and you are adding them on now?

18        A    We intentionally withheld filling some

19   positions and redirected those dollars to other

20   resources.

21        Q    And did you also say that you did that in the

22   prior year because your customers were -- I think you

23   said struggling, but I interpreted that to mean, you

24   know, in dire economic straits.

25             MR. GUYTON:  Objection to the form of the

PUBLIC SERVICE COMMISSION

920

1        question.  It's kind of a -- she's putting words in

2        the witness's mouth.

3   BY MS. KAUFMAN:

4        Q    Okay.  Well, when you -- I think you did use

5   the word that your customers were struggling; would you

6   agree with that?

7        A    I think I used the word in my summary.

8        Q    In your summary, yes.

9        A    That at a time when the customers were

10   suffering or "struggling" I think is word I used.

11        Q    And what did you mean by your comment that the

12   customers were struggling?

13        A    The word was "struggling."  What I meant was

14   that there were a lot of events that occurred across the

15   nation, and particularly in Northwest Florida, that had

16   resulted in financially some people struggling to

17   make -- you know, to get things done.

18        Q    And would you agree with me that you still

19   have many customers that are struggling?

20        A    I would agree there are customers that are

21   having a difficult time, as there have been for years.

22        Q    Yeah.  And would you also agree that the

23   impacts of, for example, the BP oil spill and I guess

24   what people are calling the Great Recession clearly have

25   not been fully mitigated, have they?

PUBLIC SERVICE COMMISSION

921

1        A    I don't know that much about the BP oil spill

2   and what the effects have been to our customers.  I

3   think the second part of your question was --

4        Q    The Great Recession.

5        A    -- the Great Recession.  I don't think there's

6   a person that hasn't felt that in some way.

7        Q    I wanted to ask you some questions about the

8   planning process that you talk about on page eight of

9   your testimony, and I want to be sure that I understand

10   when Gulf Power engages in planning, it does that in

11   conjunction with the other Southern Company, the other

12   Southern Company, sister companies like Georgia Power,

13   Alabama Power?

14        A    We do.

15        Q    Okay.  So Gulf is not part of in Florida what

16   we call the FRCC as far as planning?

17        A    That is a true statement.

18        Q    Okay.  And I think you also say that Gulf is a

19   very small part of the Southern System, right?

20        A    Yes, I would say that we're about 7 percent of

21   the Southern System, which really provides our customers

22   with some incredible benefits.

23        Q    So if Gulf Power were intending to add a large

24   amount of generation, would it do that in conjunction in

25   planning with the other sister companies?

PUBLIC SERVICE COMMISSION

922

1        A    You would have to define for me when you say

2   "large" what exactly do you mean?

3        Q    Over 1,000 megawatts.

4        A    I think that we added -- I think the question

5   your answering is --

6        Q    Yes, sir.

7        A    The answer to your question -- one goes before

8   the other -- but I think the other is no.  I think the

9   fact that we did the Central Alabama project, which was

10   almost 1,000 megawatts, clearly shows that we did that

11   project on our own.

12        Q    And so that that project there was no

13   consultation with the other Southern Companies?

14        A    Only to the extent that we agreed on load and

15   what generation resources were needed to meet that load.

16        Q    If you turn to page 27, please.

17        A    I'm there.

18        Q    Okay.  Line 15 -- you discussed this topic a

19   little bit with Mr. Sayler -- but you say "Historical

20   average leveling of production O&M for the years 2006

21   through 2010 are not representative of Gulf's

22   going-forward level of production O&M," correct?

23        A    Yes, ma'am, that's my testimony.

24        Q    Okay.  Did you forego maintenance that was

25   required, for example, in 2008?

PUBLIC SERVICE COMMISSION

923

1        A    I would not characterize it as forego.  What I

2   would characterize it as we extended cycles, we did

3   things differently.

4             Some examples:  Instead of going in and

5   cutting out a whole section of the boiler that might

6   need to be replaced, we might do weld overlays.  We did

7   things differently that in the short-term you can do and

8   maintain the reliability and efficiency of the unit.  In

9   the long-term, that's not going to work.

10        Q    Okay.  So am I correct to say that you did not

11   forego any maintenance in -- did we say 2008 -- that the

12   company felt was necessary to continue to safely and

13   reliably generate power?

14        A    I would say that we --

15        Q    If you can answer yes or no, I think that

16   would be helpful.

17        A    Could you ask me the question again?

18        Q    I don't know if I can.

19             Would it be your testimony that in 2008 then,

20   the company did not forego any maintenance that was

21   necessary to safely and reliably operate its plants?

22        A    I would say we did not.  I think the proof is

23   in our performance.

24        Q    And would you say similarly in 2009 and 2010

25   you did not forego any maintenance that was needed to

PUBLIC SERVICE COMMISSION

924

1   safely and efficiently operate your plants?

2        A    It's difficult when you're saying "forego"

3   anything because what we did is we did things

4   differently.

5        Q    Okay.

6             MS. KAUFMAN:  Again, I don't mean to interrupt

7        the witness.

8             CHAIRMAN GRAHAM:  No, it's all right.

9             Sir, if you can answer the question either yes

10        or no and a brief explanation.  If you don't

11        understand the way the question is worded, you're

12        able to restate the question and she can

13        acknowledge yes or no and then you can answer that

14        question.

15   BY MS. KAUFMAN:

16        Q    Okay.  And it's really the same question that

17   I asked you about 2008, I just want to be clear that I

18   understand your testimony to be that in neither 2009 nor

19   2010 did the company -- I say "forego" -- but did the

20   company fail to do any maintenance that was needed to

21   keep your plants operating reliably and efficiently?

22        A    No, and I think my -- the answer is no, we did

23   things differently.  And once again, had we foregone

24   something, I think what you would have seen was a

25   degradation in our reliability or our heat rate.  We did

PUBLIC SERVICE COMMISSION

925

1   the things that were necessary.

2        Q    So your testimony would be you did the things

3   that were necessary during the 2006 through 2010 period

4   to keep your plants operating reliably and efficiently?

5        A    I would say that my answer is yes, but we did

6   them differently.  I think had you given an engineer the

7   choice of how we would have addressed that issue, we

8   might have addressed it differently.

9        Q    But you certainly didn't jeopardize it in any

10   way that would have hindered the safety or reliability

11   of the operation of your plants, did you?

12             MR. GUYTON:  Objection, asked and answered.

13             CHAIRMAN GRAHAM:  I think she's just

14        verifying.

15             THE WITNESS:  One more time.  I apologize.

16   BY MS. KAUFMAN:

17        Q    That's okay, it gets hard sometimes.  I just

18   wanted to have you be clear that in the 2006 to 2010

19   period, you did not jeopardize those plants in any way

20   as to their operational -- operations and reliability by

21   the way you maintained them?

22        A    I think by -- I think the answer is -- it's

23   just not a simple yes or no.  I would say that we did

24   the things that were needed to keep the plants running.

25   Certainly there was potentially more risk with some of

PUBLIC SERVICE COMMISSION

926

1   the decisions we made, but they were decisions that were

2   made based on engineering assessments.

3        Q    Thank you, Mr. Grove.

4             MS. KAUFMAN:  That's all I have, Mr. Chairman.

5             CHAIRMAN GRAHAM:  Major Thompson.

6             MAJOR THOMPSON:  No questions.

7             CHAIRMAN GRAHAM:  Mr. Wright.

8             MR. WRIGHT:  No questions, Mr. Chairman.

9        Thank you.

10             CHAIRMAN GRAHAM:  Staff.

11                    CROSS EXAMINATION

12   BY MS. KLANCKE:

13        Q    Mr. Grove, as the manager of generation

14   services for Gulf Power Company, you were Gulf's witness

15   regarding issue numbers seven, 11, 70, 82, and 84; is

16   that correct?

17        A    I apologize, I do not have a copy of that in

18   front of me.

19        Q    That's okay.

20        A    Thank you.

21        Q    With respect to the substance of those issues,

22   they deal with -- number seven has been stipulated, the

23   quality of service; number 11, the capital costs of the

24   Perdido renewable landfill gas facility, which we

25   discussed extensively in your deposition; number 70,

PUBLIC SERVICE COMMISSION

927

1   Gulf's proposed increase in employee positions?

2        A    Yes, ma'am.

3        Q    Number 82, adjustments to O&M expenses to

4   normalize the scheduled outages?

5        A    Yes, ma'am.

6        Q    And finally 84, the appropriate amount of

7   production O&M plant expense?

8        A    Yes, ma'am.

9        Q    Is that correct?

10        A    (Nodding head affirmatively.)

11        Q    Do you recall having your deposition taken on

12   Tuesday, November 15th, 2011 in this case?

13        A    Yes, I do.

14        Q    I've had passed out and before you a document.

15   Is that document the transcript of that deposition?

16        A    Yes, I believe it to be that.

17        Q    Did you have an opportunity to review and sign

18   this deposition?

19        A    Many times review, sign once.

20             MS. KLANCKE:  For your ease of reference,

21        Commissioners, this deposition transcript has been

22        identified in composite exhibit as Staff's Exhibit

23        Number -- Hearing Exhibit No. 148.

24             (Exhibit No. 148 was marked for

25        identification.)

PUBLIC SERVICE COMMISSION

928

1   BY MS. KLANCKE:

2        Q    Having reviewed and signed this deposition

3   transcript, if I were to ask you these same questions

4   today, would you have the same or similar responses?

5        A    Similar.

6             MS. KLANCKE:  At this time, I would like to

7        have this deposition transcript moved into the

8        record.

9             MR. SAYLER:  OPC objects for the reasons

10        stated earlier.

11             MS. KLANCKE:  FIPUG objects as well.

12             MR. WRIGHT:  Join the objection.

13             MR. GUYTON:  Gulf has no objection.  I would

14        note for the record that issue 82 was dropped.

15             MS. KLANCKE:  That's correct, and seven was

16        stipulated.

17             For clarity of the record, I would like to

18        note that there are two-late filed deposition

19        exhibits with regard to what I'm asking to be moved

20        into the record.  Contained in 148 is only with

21        respect to the deposition transcript and not with

22        respect to the two late filed exhibits to the

23        deposition.

24             CHAIRMAN GRAHAM:  Ms. Klancke, you're going to

25        have to state that one more time.

PUBLIC SERVICE COMMISSION

929

1             MS. KLANCKE:  Contained in Hearing Exhibit

2        No. 148 were two late-filed exhibits to the

3        deposition transcript.  I am not seeking to have

4        them moved in.  I am only seeking to have moved in

5        the deposition transcript.

6             CHAIRMAN GRAHAM:  Okay.  So we are just moving

7        just the deposition?

8             MS. KLANCKE:  Correct.

9             CHAIRMAN GRAHAM:  And the three objections are

10        noted.  We will move this into the record, Exhibit

11        148.

12             (Exhibit No. 148 received in evidence.)

13             CHAIRMAN GRAHAM:  Ms. Klancke, while we're

14        here, I just want to point out to you we did not

15        move 146 into the record.  You are aware of that?

16             MS. KLANCKE:  Correct.

17             CHAIRMAN GRAHAM:  Okay.  Continue.

18             MS. KLANCKE:  With respect -- with that being

19        done, staff has no questions for this witness.

20             CHAIRMAN GRAHAM:  Okay.  Commissioners.

21             (No response.)

22             CHAIRMAN GRAHAM:  Redirect.

23                   REDIRECT EXAMINATION

24   BY MR. GUYTON:

25        Q    Mr. Grove, Ms. Kaufman asked you about the

PUBLIC SERVICE COMMISSION

930

1   megawatts needed to serve peak.  Do you recall that line

2   of questions?

3        A    I do, sir.

4        Q    What are the company's reserve margin

5   requirements?

6        A    Our planning reserve margin is 15 percent.

7        Q    When the company is serving its peak, does it

8   plan to match that peak identically or does it count on

9   having additional operating reserves available?

10        A    We have what we call spending reserves.  You

11   would have more megawatts online, not at full load, so

12   that if something should happen, if a line should -- if

13   a unit should trip, you can simply ramp the other units

14   up and maintain the system.

15        Q    Would those megawatts and spending reserve be

16   included on the total that would be necessary to serve

17   peak load?

18        A    They would.

19             MR. GUYTON:  That's all we have.  Thank you.

20             CHAIRMAN GRAHAM:  Exhibit 2 is entered into

21        the record.

22             (Exhibit No. 2 received in evidence.)

23             MR. GUYTON:  We move Exhibit 18.

24             CHAIRMAN GRAHAM:  Page six, move Exhibit 18

25        into the record.

PUBLIC SERVICE COMMISSION

931

1             (Exhibit No. 18 received in evidence.)

2             CHAIRMAN GRAHAM:  Is that all of the exhibits?

3             (Affirmative response.)

4             CHAIRMAN GRAHAM:  Okay.  Your next witness.

5             Thank you, Mr. Grove.

6             MR. GUYTON:  We call Ms. Erickson to the

7        stand.

8   Thereupon,

9                     CONNIE ERICKSON

10   was called as a witness, having been previously duly

11   sworn, was examined and testified as follows:

12                    DIRECT EXAMINATION

13   BY MR. GUYTON:

14        Q    Ms. Erickson, were you previously sworn?

15        A    I was.

16        Q    Would you please state your name for the

17   record?

18        A    My name is Connie Erickson, and I work at One

19   Energy Place, Pensacola, Florida 32520.

20        Q    And what is your position?

21        A    I am Gulf's comptroller.

22        Q    Ms. Erickson, did you or did Gulf have

23   occasion to file with the Commission on July 8th your

24   direct testimony containing 40 pages?

25        A    Yes.

PUBLIC SERVICE COMMISSION

932

1        Q    Do you have any corrections to your direct

2   testimony?

3        A    I do.

4        Q    Would you share those with the Commission,

5   please?

6        A    Sure.  I have organized them, actually, in

7   terms of topic, and I have two topics.  One is a wrong

8   joint ownership.  On page eight, line 25, 874,000 should

9   be 846,000.  On page nine, line five, 10,682,000 should

10   be 10,654,000.  And then on line 21 -- or on page 21, I

11   have two corrections.  Line 24, 4.184 million should

12   have been 4.881 million.  And on line 25, 874,000 should

13   be 846,000.

14             And then on page 32 in relation to the

15   property damage accrual, on line nine, 97.7 million

16   should be 93.9 million.  And on line 11, 51.7 should be

17   50.5 million.

18        Q    Ms. Erickson, if I were to ask you the same

19   questions as appear in your direct testimony today,

20   would your answers be the same as you've just amended

21   them?

22        A    Yes, they would.  But I also have some

23   corrections to the exhibits.

24        Q    We'll get to that in just a minute.

25        A    Okay.

PUBLIC SERVICE COMMISSION

933

1             MR. GUYTON:  We would ask that Ms. Erickson's

2        direct testimony be inserted into the record as

3        though read.

4             CHAIRMAN GRAHAM:  We will insert

5        Ms. Erickson's direct testimony into the record as

6        though read.

7             (Whereupon, prefiled direct testimony

8        inserted.)

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

PUBLIC SERVICE COMMISSION

974

1               CONTINUED DIRECT EXAMINATION

2   BY MR. GUYTON:

3        Q    Ms. Erickson, you also had occasion to prefile

4   Exhibit CJE-1 consisting of five schedules?

5        A    Yes.

6        Q    And you say you have changes to those?

7        A    I do, I have two changes.  On Schedule 3 where

8   it says, "Joint Ownership," the number 874 should be 846

9   and the total should be 20 -- 20,798 should be 20,770.

10   And then on Schedule 5, page 21, on line five, eight

11   year should be five year.

12        Q    And with those changes to your exhibit, is it

13   true and correct to the best of your knowledge and

14   belief?

15        A    Yes.

16             MR. GUYTON:  Mr. Chairman, I believe that

17        exhibit has been identified in the prehearing order

18        as Exhibit 19.

19             CHAIRMAN GRAHAM:  So noted.

20             (Exhibit No. 19 was marked for

21        identification.)

22   BY MR. GUYTON:

23        Q    Ms. Erickson, would you please summarize your

24   testimony for the Commission?

25        A    Sure.  Good afternoon, Commissioners.  I

PUBLIC SERVICE COMMISSION

975

1   appreciate this opportunity to provide an overview of my

2   testimony.  As you know, a lot has happened since Gulf

3   was here in 2001 for a base rate increase; from the

4   terrorists attacks on 9/11 to the hurricane seasons of

5   2004 and '05 to the Great Recession, a number of

6   significant items have impacted Gulf's overall cost

7   structure.

8             My testimony addresses three primary items.

9   First I discussed Gulf's requested increase in its

10   annual property damage accrual, then I'll address two

11   O&M increase requests, one in customer accounts and one

12   in administrative and general or A&G expenses.

13             I'll start with the property damage accrual.

14   Gulf requests to increase its property damage accrual

15   from 3 and a half million to 6.8 million.  The current

16   accrual was established in 1995 before Gulf and its

17   customers experienced two Category 3 hurricanes:  Ivan

18   in 2004 and Dennis in 2005.

19             Remember, it is not possible for Gulf to

20   obtain cost effective insurance coverage on its

21   transmission and distribution or T&D assets so this

22   accrual serves as the self-insurance premium for the

23   risk related to T&D.  The reserve was inadequate for

24   Ivan and Dennis and as a result, Gulf's customers

25   incurred storm surcharges for 51 months at a time when

PUBLIC SERVICE COMMISSION

976

1   they were also recovering from their own personal

2   property damage and facing higher insurance premiums and

3   insurance deductibles.

4             Gulf proposes to increase its annual accrual

5   in an effort to diminish the likelihood of a negative

6   reserve and thus a storm surcharge.  This requested

7   increase in the accrual is in the best interest of

8   Gulf's customers.

9             Now for the benchmark variances.  Gulf has two

10   functional benchmark variances that I address.

11   Benchmark variances arise from comparing the 2002

12   approved O&M expenses escalated by inflation and

13   customer growth to the 2012 requested amounts.

14             The first benchmark variances is in customer

15   accounts.  It is attributable entirely to the growth and

16   uncollectable accounts.  While Gulf's base rates have

17   not increased in over a decade, its clause revenues have

18   increased causing total revenues to increase.  That

19   revenue increase combined with an overall increase in

20   the bad-debt factor due to the Great Recession has

21   resulted in an overall higher level of uncollectable

22   expenses.  These expenses have outpaced the O&M

23   benchmark by almost $2 million despite our enhanced

24   collection efforts.

25             The other O&M benchmark variance I address is

PUBLIC SERVICE COMMISSION

977

1   in A&G expenses.  The total benchmark variance is almost

2   $21 million.  Gulf witnesses Twery and Crumlish address

3   11 and a half million of this variance and my testimony

4   covers the remaining nine and a half million.

5             Most of what I justify is in three areas:

6   Insurance premiums, external audit, and internal

7   controls expenses and treasury costs.

8             First the increase in insurance premiums.

9   Premiums were 4.6 million over the benchmark driven

10   primarily by the terrorist attacks on 9/11, the impact

11   on the insurance markets related to hurricanes, and the

12   property damage accrual I discussed earlier.

13             Next external audit and internal controls

14   expenses are approximately 1.4 million over the

15   benchmark.  These costs are driven by the passage of the

16   Sarbanes-Oxley Act of 2002.

17             Finally, treasury cost increases of million

18   over the benchmark were driven by the recent instability

19   in financial markets and an increase in short-term

20   financing needs of the company as a result of an overall

21   higher level of capitalization.

22             Commissioners, each of the expenses I address

23   in my testimony are justified and are in the interest of

24   Gulf's customers.  Because these expenses are necessary

25   for the provision of service, Gulf's base rates should

PUBLIC SERVICE COMMISSION

978

1   be established to allow for their recovery.  Thank you.

2             MR. GUYTON:  We tender the witness.

3             CHAIRMAN GRAHAM:  Mr. Sayler.

4             MR. SAYLER:  Good afternoon, Mr. Chairman.

5                    CROSS EXAMINATION

6   BY MR. SAYLER:

7        Q    Good afternoon, Ms. Erickson, how are you

8   today?

9        A    I'm fine.

10        Q    I have a few questions for you today, and I

11   also have an exhibit that's being passed out, so we'll

12   wait a moment and let that exhibit get to you.

13        A    Okay.

14             MR. SAYLER:  And just to note, one of the

15        exhibits is an excerpt from Gulf Power -- or,

16        actually, Southern Company's Form 10-K.  The other

17        exhibit is a collection of two responses to staff

18        interrogatories which I'm not moving those into the

19        record, I just wanted to use those for

20        cross-examination purposes.  But the other exhibit,

21        the Form 10-K, I would like to identify as an

22        exhibit.

23             CHAIRMAN GRAHAM:  We will number the 10-K as

24        191.

25             (Exhibit No. 191 was marked for

PUBLIC SERVICE COMMISSION

979

1        identification.)

2             MR. SAYLER:  I note that that Form 10-K is an

3        excerpt.  If the company would prefer that the

4        entire Southern Company 10-K would go into the

5        record, I can provide that at a later date

6        electronically, if that's amenable.

7             CHAIRMAN GRAHAM:  Okay.  We'll let them ask

8        for that at the time.

9             MR. SAYLER:  Okay.

10   BY MR. SAYLER:

11        Q    Ms. Erickson, would you turn to Schedule 5 of

12   your direct testimony?

13        A    Is there a particular page?

14        Q    No, just in general.

15        A    Okay.

16        Q    For you to have access to it.  And you may or

17   may not be aware that this schedule was subject to a

18   Motion to Strike that was overruled.

19             Are you familiar with that?

20        A    I am aware of that.

21        Q    Okay.  And my understanding is that Gulf Power

22   commissioned this transmission distribution, hurricane

23   loss and reserve performance analysis; is that correct?

24        A    We did.

25        Q    All right.  For ease of the record, we'll just

PUBLIC SERVICE COMMISSION

980

1   call it the storm study.

2        A    Okay.

3        Q    Now, is it true that Gulf doesn't have the

4   ability to create such a storm study for themselves?  Is

5   that correct?

6        A    No, we do not have that expertise.

7        Q    And have you personally ever participated in

8   the development of a storm study?

9        A    I have provided information to the consultant

10   who does -- who we hired to do the study.

11        Q    And what information would that have been?

12        A    He requests information -- he requests

13   information on replacement costs and he requests

14   information on historical damage losses related to the

15   actual storms that occurred in Gulf's territory where we

16   experienced losses.

17        Q    Okay.  And those were just data inputs to the

18   storm study, the US windstorm that's described inside

19   the study; is that correct?

20        A    Yes, amongst other things.

21        Q    All right.  And the person that -- I guess

22   it's EQECAT or -- am I pronouncing that right?

23        A    I'm not sure.  I call it EQECAT.  That sounds

24   like a good -- I think we all know who we're talking

25   about.

PUBLIC SERVICE COMMISSION

981

1        Q    Okay.

2             MR. SAYLER:  For the record, it is capital E

3        capital Q capital E capital C capital A capital T,

4        EQECAT, or the storm study.

5   BY MR. SAYLER:

6        Q    Now, who for EQECAT performed that study?  Was

7   that a Mr. Harris?

8        A    Mr. Harris.

9        Q    And he would be the -- he or the persons that

10   work for him at EQECAT would be the ones who really know

11   the intricacies of how the storm study works and how to

12   go about doing that; is that correct?

13        A    Yes.

14        Q    But you are not personally familiar with the

15   details of that storm study, are you?

16        A    The details I'm familiar with are just the

17   questions I've asked him as I've reviewed his study.

18        Q    All right.  And both OPC and Commission staff

19   asked a number of interrogatories related to the storm

20   study; is that correct?

21        A    Yes, they did.

22        Q    And whether you're aware or not, some of them

23   are subject to standing objections by one of my fellow

24   intervenors, just to make you aware.

25        A    Okay.

PUBLIC SERVICE COMMISSION

982

1        Q    Now, the responses to staff and OPC's

2   questions, did you participate in developing those

3   responses?

4        A    Yes, some of them.

5        Q    All right.  And for others you had to contact

6   EQECAT or Mr. Harris to provide those responses; is that

7   correct?

8        A    Mr. Harris also provided some input.  I

9   reviewed -- if Mr. Harris provided input, I reviewed all

10   of the input that he provided.

11        Q    All right.  Would it be fair to say that

12   information that Mr. Harris provided, you would be

13   responsible for answering those questions at the

14   hearing?

15        A    I will do my best.

16        Q    Okay.  And those are really the technical

17   details of how the study works and operates and the

18   thousands of thousands of synthetic storms and things of

19   that nature; is that right?

20        A    Yes, related to his statistical model.

21        Q    Isn't it true that when Gulf commissioned the

22   storm study, storm hardening efforts by Gulf were not

23   considered; is that correct?

24        A    No, there was no data available.  And in

25   addition, Mr. Harris doesn't necessarily have a way to

PUBLIC SERVICE COMMISSION

983

1   incorporate storm hardening into his model at this point

2   in time.

3        Q    Okay.  Just to be clear, it sounded like you

4   said two things, one, that there was no data on storm

5   hardening, and two, that Mr. Harris' model doesn't take

6   that into account; is that right?

7        A    Yes.

8        Q    If you'll look at the exhibit that contains

9   staff interrogatories, I would like for you to turn to

10   the second one.  It is staff's 18th set of

11   interrogatories, item number 224.  Just take a moment to

12   familiarize yourself with it.

13        A    I'm ready.

14        Q    All right.  And you're aware that your company

15   has said that you're the witness responsible for

16   responding to this interrogatory?

17        A    Yes.

18        Q    Okay.  If you will look at -- well, would you

19   agree that essentially this question is asking please

20   explain why Erickson is sponsoring this study and

21   describe the witness's experience with respect to

22   hurricane loss analyses; is that correct?

23        A    Yes, that's what it says.

24        Q    All right.  And here it says you're the

25   comptroller, you commissioned the study, and that you

PUBLIC SERVICE COMMISSION

984

1   rely upon the study in recommending -- making

2   recommendations to the senior management; is that

3   correct?

4        A    Yes, I relied upon this study and my own

5   professional judgment in terms of analyzing what's

6   occurred with Gulf specifically over the last ten years

7   since we came in for a base rate increase.

8        Q    Okay.  And other than just reading the study

9   itself, you don't have any personal knowledge of --

10   other than reading the study itself and the data inputs

11   that you provided, you really don't have any personal

12   knowledge of this study; is that right?

13        A    Can you tell me what you mean by "personal

14   knowledge"?

15        Q    Yeah.  You don't know how it works, how it

16   operates?

17        A    Like I said, what I know about it is just

18   simply the questions in my curiosity from reading the

19   study when it was provided to us and just in a curiosity

20   to understand as much as I could about how it worked,

21   that's all I know.

22        Q    Sure.  And in your response -- or in the

23   company's response, it lists you as the -- it lists your

24   name, it says that you rely upon this study in the

25   general course of business; is that correct?

PUBLIC SERVICE COMMISSION

985

1        A    Yes.

2        Q    Can you explain how you rely upon the study in

3   the normal course of your business?

4        A    I often receive reports from experts in order

5   to make accounting judgments associated with -- in

6   particular, usually liabilities associated with the

7   company.  So this is one of several studies that I

8   receive periodically in order to be sure that the books

9   and records of Gulf reflect actual financial information

10   and are in accordance with generally-accepted accounting

11   principles and FERC requirements.

12        Q    All right.  But is this a study that you refer

13   to daily, weekly, or monthly in the course of your --

14        A    No, sir.

15        Q    It's just a one-time report that Gulf

16   commissioned for the purposes of the five-year storm

17   study or for purposes of a rate case; is that right?

18        A    Well, this particular study was commissioned

19   as it relates to compliance with the Commission rule as

20   stated in the interrogatory.  When we chose to begin

21   this rate case process, we needed to assess what the

22   appropriate level was for the accrual request and so

23   this was where we went initially along with our

24   historical information.

25        Q    All right.  If you will turn to page four of

PUBLIC SERVICE COMMISSION

986

1   your storm study, the one that's labeled "Disclaimer."

2        A    Yes.

3        Q    And is it normal in reports that you rely upon

4   through the normal course and scope of your business to

5   get disclaimers like this?

6        A    It's very common when people are making

7   projections that they include disclaimers.

8        Q    Okay.  But do you have disclaimers that are

9   like this that say really you can't rely upon this

10   study?

11             MR. GUYTON:  Objection.  That's an unfair

12        characterization and summary of three paragraphs of

13        disclaimer.

14             CHAIRMAN GRAHAM:  I agree with the objection.

15             MR. SAYLER:  Okay.  I withdraw the question.

16   BY MR. SAYLER:

17        Q    It would be fair to say that of all of the

18   data outputs from this study, it's recommending that

19   Gulf accrue $6.8 million a year?

20        A    It calculated the estimated annual damage over

21   a long time period, and that estimate was 3.8 million.

22   When you look at our actual experience, about 20 percent

23   of the storm damage that we have experienced was

24   actually appropriately categorized as capital.

25        Q    Okay.  And of that 8.3 million that EAD, as

PUBLIC SERVICE COMMISSION

987

1   it's referred to in the study, you're seeking from this

2   Commission 6.3 million a year or 6.8 million a year in

3   accrual; is that right?

4        A    We are seeking 6.8 million.

5        Q    All right.  Now, the storm reserve -- there

6   was a question to another witness about this reserve --

7   the storm reserve is also known as the property reserve;

8   is that correct?

9        A    It's known as the property damage reserve.

10        Q    Property damage reserve.

11             And I believe another witness testified that

12   it was a funded reserve; is that correct?

13        A    It is a funded reserve.  This Commission in

14   1972 determined that Gulf's storm reserve should be

15   funded.

16        Q    And what is the difference between a funded

17   and unfunded reserve?

18        A    With a funded reserve, you're required to take

19   the after-tax portion and move it to its own separate

20   account and you're unable to use it for any other

21   operating expenses so that it's available in the event

22   that you should have a storm or other property damage.

23        Q    All right.  And are the funds for that funded

24   reserve, are they moved into that reserve as they are

25   accrued?

PUBLIC SERVICE COMMISSION

988

1        A    They are moved into that reserve annually.

2        Q    And what time of year?  What's the date of

3   that?

4        A    Usually in January.

5        Q    So January -- so funds were -- just so I

6   understand, so funds collected in 2010 were moved into

7   the reserve in January of 2011, would that be accurate?

8        A    Yes, that's a fair characterization.

9        Q    Okay.  And the way Gulf collects that is

10   usually an incremental amount of one-twelfth of the

11   actual amount every month for a 12-month period; is that

12   right?

13        A    That's what's embedded in our rates today,

14   yes.

15        Q    And during the calendar year, that incremental

16   one-twelfth accrued monthly, up until the time you

17   actually have to fund the reserve, what does Gulf do

18   with that money?  Is that cash flow?

19        A    It is a part of cash flow, in the event,

20   again, that you have storms that are under -- you know,

21   that are smaller in nature.  A good example is this year

22   Tropical Storm Lee cost us about $600,000.  And then

23   that money is used for that.  So we didn't go tap the

24   funded reserve for that 600,000.

25        Q    Okay.  So it's fair to say until you actually

PUBLIC SERVICE COMMISSION

989

1   fund the reserve, there's a slight cash flow benefit for

2   Gulf, correct?

3        A    Yes.

4        Q    And now Gulf is asking to increase that from

5   3.5 to 6.8, correct?

6        A    Yes.

7        Q    Okay.  If you will turn to the second exhibit

8   that I provided which has been identified as Exhibit

9   Number 191.  Would you take a moment to review it?

10        A    Which particular section are you interested

11   in, Erik?

12        Q    Actually all three pages.  First I want to

13   establish that this is truly in fact Southern -- an

14   excerpt from Southern Company's Form 10-K that was filed

15   this year, February 25th.  And then once we have

16   established that, then we'll move to the last page which

17   is called Gulf Power Company 2010 Annual Report?

18        A    Yeah, I only have one page.

19        Q    You should have -- well, you have one page --

20   there should be a cover sheet.

21        A    Okay.

22        Q    The first page says "Southern Form 10-K."  Do

23   you see that?

24        A    Yeah, I have that page.

25        Q    Okay.  And then the next page says that again,

PUBLIC SERVICE COMMISSION

990

1   because this is the official cover page that's filed

2   with the SEC.  And would you agree that this appears to

3   be an excerpt from Southern Company's Form 10-K or the

4   cover sheets for that Form 10-K?

5        A    Yes, it appears to be that.

6        Q    All right.  If you'll turn to that last page,

7   which is identified by Roman Numeral II-299.  Do you see

8   that page?

9        A    Yes.

10        Q    At the top of the page it says, "Table of

11   contents, notes, continued Gulf Power Company 2010

12   Annual Report."  Do you see that page?

13        A    Uh-huh.

14        Q    Do you agree that this appears to be part of

15   the annual report related to Gulf Power Company?

16        A    Yes, it appears to be that.

17        Q    Okay.  And are you familiar with Gulf's annual

18   report that's part of the 10-K that is filed on an

19   annual basis?

20        A    Yes, I am very familiar.

21        Q    So that means you help participate in

22   preparing it?

23        A    I do.

24        Q    Okay.  And on this page, there's a heading

25   labeled "Property Damage Reserve."  Would you take a

PUBLIC SERVICE COMMISSION

991

1   moment to look at those two paragraphs?

2             And my question is are you familiar with that

3   description of the property damage reserve in the Form

4   10-K?

5        A    Yes, I'm familiar with this.

6        Q    Okay.  And prior to today, were you familiar

7   with the description of the property damage reserve?

8        A    Yes, I was.

9        Q    Okay.  I thought you were, I was just making

10   sure.

11        A    Yeah.  It's a much smaller section, I'll tell

12   you, than it used to be.

13        Q    Okay.  And according to the Form 10-K, it's

14   not called a storm reserve; it's called a property

15   damage reserve, correct?

16        A    That's correct.

17        Q    All right.  And would it be fair to say in

18   looking at the first of those two paragraphs that that

19   first paragraph sets out the purpose of the reserve, the

20   amount that's in the reserve and how much is currently

21   in it; is that correct?

22        A    Yes.

23        Q    All right.  And would it be fair to say that

24   the second paragraph describes the surcharge mechanism

25   that is available to Gulf should a surcharge be needed?

PUBLIC SERVICE COMMISSION

992

1   Is that correct?

2        A    It does describe that.  But I will note for

3   you that the piece that we talk about in the middle

4   there related to the -- it's the sentence that reads:

5   "According to the 2006 Florida PSC order" --

6        Q    You're actually getting to where I wanted you

7   to go.

8        A    Oh, sorry.

9        Q    If you'll go ahead and read that sentence

10   through the end of the paragraph for us, we would

11   appreciate it.

12        A    Oh, you want me to read all of it?

13        Q    Yes, ma'am.

14        A    Okay.  "According to the 2006 Florida PSC

15   Order, in the case of future storms, if the company

16   incurs cumulative costs for storm recovery activities in

17   excess of 10 million during any calendar year, the

18   company will be permitted to file a streamlined formal

19   request for an interim surcharge.  Any interim surcharge

20   would provide for the recovery, subject to refund, of up

21   to 80 percent of the claimed costs for storm recovery

22   activities.  The company would then petition the Florida

23   PSC for full recovery through a final or non-interim

24   surcharge or other cost recovery mechanism."

25        Q    You would agree that the statements in your

PUBLIC SERVICE COMMISSION

993

1   Form 10-K are accurate and true, correct?

2        A    They are accurate as of today.  But as soon as

3   this increase -- or this filing completes, that

4   particular provision expires.

5        Q    Which filing?

6        A    Well, from the order in 2010 that this

7   particular statement relates to, essentially what

8   happens is the provision regarding the expedited

9   implementation of an interim surcharge expires at the

10   earliest of the effective date of new base rates.  So

11   since this is a base rate proceeding, that provision

12   will expire when these base rates are in fact put in

13   place.

14        Q    All right.  Thank you, Ms. Erickson, I have no

15   further questions at this time.  I'll see you back on

16   rebuttal.

17        A    Thank you.

18             CHAIRMAN GRAHAM:  Ms. Kaufman.

19             MS. KAUFMAN:  Thank you, Mr. Chairman.

20                    CROSS EXAMINATION

21   BY MS. KAUFMAN:

22        Q    Good afternoon, Ms. Erickson.

23        A    Hello.

24        Q    Nice to see you again.

25        A    Nice to see you again too.

PUBLIC SERVICE COMMISSION

994

1        Q    Mr. Sayler is distributing three documents

2   that I'm going to talk about so we'll give him a moment.

3             MS. KAUFMAN:  Mr. Chairman, just to expedite

4        this, the only one that I'm going to need an

5        exhibit number for is -- I'm sorry, you all might

6        not have gotten it yet.

7             CHAIRMAN GRAHAM:  That's all right, I can

8        remember.  Which one?

9             MS. KAUFMAN:  It's the top one and it has a

10        FIPUG cover sheet on it and it says, "Gulf's

11        Response to Staff Interrogatory Number 224."

12             CHAIRMAN GRAHAM:  We'll put a number of 192 on

13        that one.

14             (Exhibit No. 192 was marked for

15        identification.)

16             CHAIRMAN GRAHAM:  And what's the description

17        again?  What's the short title, rather?

18             MS. KAUFMAN:  Gulf's Response to Staff

19        Interrogatory Number 224.

20             CHAIRMAN GRAHAM:  Thank you.  You can

21        continue.

22             MS. KAUFMAN:  I think we have all of our

23        papers together.

24   BY MS. KAUFMAN:

25        Q    To start out, Ms. Erickson, you are Gulf's

PUBLIC SERVICE COMMISSION

995

1   comptroller, correct?

2        A    Yes, that's correct.

3        Q    And in that vein, would you agree with me that

4   you're an expert in regulatory finance and accounting?

5        A    I am.

6        Q    Okay.  If you would look at 224, which has

7   been Numbered Exhibit 192.  And Mr. Sayler already

8   discussed this interrogatory with you.  I just want to

9   be sure you get there.

10        A    (Nodding head affirmatively.)

11        Q    Okay.  Part of this interrogatory asks you --

12   the very last part of the question asks you to describe

13   the witness's experience with respect to hurricane loss

14   analysis.  Do you see that?

15        A    I do.

16        Q    And no experience is set forth in this answer

17   in regard to hurricane loss analysis, is it?

18        A    Well, I think the only thing that it says as

19   it relates to that is that I'm responsible for the storm

20   study which is required every five years.  The last time

21   we did a storm study is when we filed our filings for

22   recovery from the 2004 and 2005 seasons which I was

23   involved in.

24        Q    Does it describe in here anywhere your

25   expertise with regard to hurricane loss analysis?

PUBLIC SERVICE COMMISSION

996

1        A    I think it implies as the comptroller that I'm

2   responsible for those elements.

3        Q    Nowhere in this answer does it relay any of

4   your -- any expertise that you have in hurricane loss

5   analysis, does it?

6        A    Not directly.

7        Q    Now, you talked with -- well, let me go back.

8   It doesn't say anything about you having any experience

9   in hurricane loss analysis, right?

10        A    I think it's implied by the fact that I'm the

11   company's comptroller.  That's the answer.

12        Q    Okay.  And is there some reason that you

13   didn't set it out specifically when the question asked

14   you to do so?

15        A    I think when I answered the question, I

16   responded with the most recent experience that we had,

17   which is the requirement to file the storm study with

18   the Commission.

19        Q    Yeah, I don't want to belabor this point so

20   just one more question.

21        A    Okay.

22        Q    This was directed to you specifically and

23   asked you to describe your experience with respect to

24   hurricane loss analysis.  And you have provided no

25   description of any expertise you have in that area,

PUBLIC SERVICE COMMISSION

997

1   correct?

2        A    I have described for you what my

3   responsibilities are as it relates to that and what I

4   have done in compliance with Commission rules.  In

5   addition, I'll note that I was a witness in the

6   securitization filing of Gulf Power's -- Gulf Power's

7   securitization filing in 2006.

8        Q    But you don't put that in the answer to 224,

9   do you?

10        A    I did not put that in that answer.

11        Q    Mr. Sayler discussed with you exhibit -- well,

12   what we have all come to fondly call the storm study,

13   and I just want to talk to you for a moment about that.

14   If you would turn to page five, stamped five at the

15   bottom.

16        A    Okay, I'm there.

17        Q    And I'm going to be looking at the very first

18   paragraph of the executive summary, and the last

19   sentence of that paragraph says, "Loss analyses were

20   performed by EQECAT using an advanced computer model

21   simulation program, WorldCat Enterprise, US Wind

22   Trademark."  Do you see that?

23        A    Uh-huh.

24        Q    Do you have any experience in running the

25   computer model simulation US Wind?

PUBLIC SERVICE COMMISSION

998

1        A    No, ma'am.

2        Q    You have never run that model, have you?

3        A    I have not.

4        Q    And this was run by -- I'm blanking on the

5   gentleman's name -- the EQECAT --

6        A    Steve Harris.

7        Q    Mr. Harris, okay.

8             And you have relied, have you not, on the

9   output of US Wind Model to form the basis of some of

10   your opinions in this case?

11        A    It was a portion of it, yes.

12        Q    Now, I understand from your testimony and from

13   your comments in your summary that the reason that Gulf

14   is seeking to increase more than double the accrual for

15   storm recovery is because you want to have those funds

16   on hand in the event that a storm occurs in the future

17   so as to perhaps avoid a surcharge of your customers; is

18   that correct?

19        A    Well, the first thing I'll correct is it's not

20   quite doubled so it's not more than doubled.  But when

21   considering -- for us when considering --

22             MS. KAUFMAN:  Excuse me, Mr. Chairman.  Could

23        I just get a yes or no and then an explanation?

24             CHAIRMAN GRAHAM:  I will allow the witness, if

25        she doesn't understand or wants to clarify your

PUBLIC SERVICE COMMISSION

999

1        question, to restate the question, and then you can

2        nod if that's a fair restatement of the question

3        then and she can answer it.

4             MS. KAUFMAN:  Thank you.

5             THE WITNESS:  Okay.  I'll get you to ask it

6        again though because I'm not -- after you made the

7        error initially I lost --

8   BY MS. KAUFMAN:

9        Q    All right.  Let me try again.

10        A    -- you lost my attention.

11        Q    I understand.  As I understood your testimony,

12   and in your opening, the reason that the company wants

13   to increase the storm accrual is so that in the event of

14   a storm in the future, it will have enough money on hand

15   to do the restoration without imposing a surcharge on

16   its customers?

17        A    I don't quite agree with your

18   characterization.  The way I view it is this:

19   Hurricanes are a part of our business, they are a part

20   of doing business on the coast of Florida.  What's

21   important is to make sure that we accrue for what we

22   believe is the long-term expected damage so that when a

23   storm occurs it may or may not be enough to cover the

24   damage that is incurred.

25             But if we're accruing at the expected annual

PUBLIC SERVICE COMMISSION

1000

1   damage or something similar to that, kind of around what

2   we've experienced -- and, again, if you look at all of

3   the information, you can determine that -- we really

4   need to have that available so that we can minimize the

5   dollars that might be involved in a surcharge if there

6   is an extreme storm because it's very difficult for

7   customers at that time.

8             Insurance policies for homeowners have changed

9   dramatically, you know, they now have deductibles for

10   named wind storms that are 2 percent of the value of the

11   home as opposed to a regular deductible.  That's very

12   difficult for customers.

13             So if you put a surcharge in place at that

14   point in time that is ten times the amount that they

15   would have to pay for this expected annual damage

16   accrual, it will be a big burden on most folks.

17        Q    So at least part of your rationale, so I

18   understand what you said, is to, to the extent you can,

19   minimize any surcharge that you might have to charge if

20   there's a storm in the future?

21        A    Yes.

22        Q    Okay.  And I think that you said in your

23   summary that it's your position that this is in the best

24   interest of your customers, correct?

25        A    Yes.

PUBLIC SERVICE COMMISSION

1001

1        Q    Would you agree with me that sitting at the

2   table here you've got a pretty broad cross-section of

3   Gulf's customer groups; you have Mr. Wright with the

4   Federal -- excuse me -- Florida Retail Federation, you

5   have the Public Counsel, you have FIPUG, large users,

6   you have the military represented here, so that's a

7   pretty broad group of your customers, isn't it?

8        A    Yes, it is.

9        Q    And you would agree with me as well that

10   there's not one of those customer groups that thinks

11   your proposed accrual is in their best interest?

12        A    I would agree with you that they don't agree

13   with our position.  But none of their positions are the

14   same either.  It's very varied.

15             And I will tell you that it surprises me that

16   the folks that represent our customers don't see that

17   it's appropriate to put away for a company that does

18   business on the coast of Florida the appropriate amount,

19   the expected annual damage related to storms.  I mean,

20   it just -- and I'll just be honest with you,

21   Ms. Kaufman, that's surprising to me because it makes

22   sense.

23        Q    And while it may be surprising to you, you

24   would agree that as far as this pretty broad

25   cross-section, that none of the customers whose

PUBLIC SERVICE COMMISSION

1002

1   interests you have at heart are aligned with Gulf's

2   position on this issue?

3             MR. GUYTON:  Objection, asked and answered.

4             MS. KAUFMAN:  I don't think that was asked and

5        answered.

6             CHAIRMAN GRAHAM:  I would like to hear it

7        again.

8             THE WITNESS:  What I will tell you is that

9        while I --

10   BY MS. KAUFMAN:

11        Q    If you could give me a yes or no first, that

12   would be great.

13        A    Okay.  I'm sorry.  Then you'll have to ask it

14   again.

15        Q    Okay.  I will do my best to ask it again.

16        A    Okay.

17        Q    And my question was despite the fact that you

18   commented in your summary that you believe Gulf's

19   approach to the accrual is in the best interest of

20   Gulf's customers, none of the diverse customer groups

21   represented here agree that your proposal is in their

22   best interest, regardless of whether they vary as to the

23   approach they suggest?

24        A    Well, they all do agree that an accrual is

25   appropriate.  Each intervenor had agreed an accrual is

PUBLIC SERVICE COMMISSION

1003

1   appropriate.  What they disagree about is the amount.

2   And, you know, as I started working on this --

3             CHAIRMAN GRAHAM:  Ms. Erickson, you're going

4        just a bit further than the question.

5             THE WITNESS:  Okay.  Thank you.

6   BY MS. KAUFMAN:

7        Q    And would you agree that as you've come in for

8   this rate case -- and we've heard a lot of discussion

9   about the economic conditions across the nation and in

10   Gulf's territory as well -- that to the extent customers

11   today can keep money in their pocket, they would

12   certainly prefer to do that to help them continue to

13   come out of the -- what we've called the Great

14   Recession?

15             MR. GUYTON:  Objection.  I think that calls

16        for speculation as to the mental operation of the

17        customer base.

18             MS. KAUFMAN:  Well, I think that -- if I might

19        respond.

20             CHAIRMAN GRAHAM:  Please.

21             MS. KAUFMAN:  I think that Ms. Erickson is

22        trying to tell us what the company believes is in

23        the company's best interest.  I mean, I guess she

24        is speculating.  I'm permitted to ask her my

25        question as well.

PUBLIC SERVICE COMMISSION

1004

1             CHAIRMAN GRAHAM:  I'll allow the witness to

2        answer it if she chooses to answer it.

3   BY MS. KAUFMAN:

4        Q    Can you answer it?

5        A    You're going to have to say it again, I'm

6   sorry.

7        Q    I will try.  I was wondering if you would

8   agree with me that given all the discussion we've had

9   about the recession and the oil spill and the struggling

10   customers, that as we sit here today, customers would

11   certainly prefer to keep money in their pocket rather

12   than to pay it toward an increased storm accrual?

13        A    I think there are some customers that would

14   prefer that and I think there's some that would be

15   fearful of a storm surcharge after a storm that could be

16   ten times that amount.

17             For people on a fixed income, a storm

18   surcharge that's ten times what we're asking would be

19   much more difficult for them to absorb.  As a matter of

20   fact, I've asked some folks what their impression is.

21   As I began working on this, I talked to -- you know,

22   people would ask me about the rate increase.

23             CHAIRMAN GRAHAM:  Ms. Erickson, you're going

24        just a bit deep.

25             THE WITNESS:  Okay.

PUBLIC SERVICE COMMISSION

1005

1             MS. KAUFMAN:  Sorry, I have to be a bit

2        quicker.

3             CHAIRMAN GRAHAM:  That's all right.

4   BY MS. KAUFMAN:

5        Q    I got a little lost in your answer there.  I

6   think you said some people would and some people

7   wouldn't?

8        A    Some people escrow their taxes and some people

9   don't.

10        Q    You haven't done any survey or study of your

11   customers to determine their view on this issue, have

12   you?  And I'm talking about a formal study where you

13   polled your customers and said would you rather keep

14   this money now or would you rather pay it to the

15   utility?

16        A    No, I haven't done a formal study, only an

17   informal, an informal question of folks that have

18   inquired to me about the rate case since they're well

19   aware that I work at Gulf Power and they happen to be

20   customers also.

21        Q    I handed out to you, Ms. Erickson, two orders

22   of the Public Service Commission.  And as I said, we

23   don't need to have a number for these.

24             If you would look at the first one which is

25   dated March 4, 2005, it's PSC Order 05-0250PAA-EI.  It

PUBLIC SERVICE COMMISSION

1006

1   should have been distributed to you by --

2        A    I have it.

3        Q    Okay.

4        A    I'm just trying to make sure I understand

5   which one it is.

6        Q    It's the one that relates to Hurricane Ivan.

7        A    Uh-huh.

8        Q    Okay.  Do you have that in front of you?

9        A    Uh-huh.

10        Q    Okay.  In this order, would you agree with me

11   that there was severe damage from Hurricane Ivan, I

12   guess it was in the fall of 2004, and Gulf had the need

13   to engage in restoration activities, correct?

14        A    Yes, there was extensive damage from Hurricane

15   Ivan.

16        Q    And would you also agree with me that this

17   shows that Gulf came to the Commission and sought from

18   them a surcharge in order to accomplish those

19   activities?  Do you agree with that?

20        A    Yes.

21        Q    And not only did Gulf come to the Commission,

22   but they came with a stipulation among the interested

23   parties, did they not?

24        A    Yes.

25        Q    And was this proceeding, to your knowledge,

PUBLIC SERVICE COMMISSION

1007

1   expeditiously processed by the Commission?

2        A    What I can tell you is that as it relates to

3   the speed of that, that's partially why we asked for the

4   expedited process in the second stipulation that was

5   done on the securitization filing, because of the

6   concern about the timely recovery of storm damage.

7        Q    So are you saying that the Commission did not

8   timely process your request regarding Hurricane Ivan in

9   2004?

10        A    Well, I think as timely as the Commission can

11   actually operate.  But from Gulf's perspective and for

12   Gulf's purposes, it was important to put an expedited

13   process in place.

14        Q    Do you have any reason to assume that if you

15   were to need a surcharge in the future, the Commission

16   would not process it on an expedited basis?

17        A    I think we had those concerns and that's why

18   it was a part of the stipulation.  In exchange for that

19   expedited process, we gave up our request to bring our

20   reserve up to 70 million.

21             I mean, an integral part of that request was a

22   reserve balance of 70 million.  In exchange for that

23   stipulation and that expedited process we gave up that

24   70 million.

25        Q    Here is my question -- and I really think it's

PUBLIC SERVICE COMMISSION

1008

1   a yes or no -- do you have concerns that were you to be

2   in this situation again, needing to restore service and

3   impose a surcharge, are you concerned that the

4   Commission would not expeditiously deal with your

5   request?

6        A    I believe the Commission will expeditiously --

7   as expeditiously as the Commission can operate.

8        Q    Okay.  If you take a look at the second order,

9   which is PSC 06-0601-S-EI.  Do you have that one?

10        A    Uh-huh.

11        Q    You would agree with me that this order

12   relates to Hurricane Dennis and its impact on your

13   service territory, correct?

14        A    Yes, Dennis and Katrina.

15        Q    Oh, and Katrina, yes.  And similarly, you

16   also -- Gulf and the intervenors came to the Commission

17   seeking approval in a stipulation resulting in a

18   surcharge to deal with those costs, correct?

19        A    Yes, that was the ultimate decision.

20        Q    Okay.  I just have one more line of

21   questioning for you, Ms. Erickson, and that has to do

22   with your storm hardening activities.  And the last

23   piece of paper that I distributed is Gulf's response to

24   Citizen's fourth set of interrogatories, number 205.

25             MS. KAUFMAN:  And, Chairman, this has already

PUBLIC SERVICE COMMISSION

1009

1        been admitted, I believe, as part of Exhibit 115.

2             CHAIRMAN GRAHAM:  It's been admitted as which

3        exhibit?

4             MS. KAUFMAN:  I thought it was 115, but I can

5        check.

6             MS. KLANCKE:  That's correct, it's part of

7        Exhibit 115.

8             CHAIRMAN GRAHAM:  Okay.

9   BY MS. KAUFMAN:

10        Q    Are you there?

11        A    (Nodding head affirmatively.)

12        Q    Okay.  Great.  I'm correct, am I not, that

13   Gulf has engaged in storm hardening activities, correct?

14        A    Yes, Gulf has an approved storm hardening plan

15   from this Commission.

16        Q    And Gulf is seeking to recover the costs of

17   those activities in this rate case, correct?

18        A    Yes.

19        Q    Okay.  And would you also agree with me that

20   engaging in storm hardening activities is supposed to

21   harden the system and make it more resistant to

22   hurricanes and tropical storms?

23        A    We are certainly hopeful that will be the

24   case.

25        Q    And you would hope that those activities would

PUBLIC SERVICE COMMISSION

1010

1   result in quicker restoration time of service to your

2   customers?

3        A    We hope that to be true.

4        Q    Okay.  In interrogatory number 205, am I

5   correct that you have shown the amounts that Gulf is

6   seeking to recover related to storm hardening?

7        A    Yeah, these are the incremental amounts

8   related to the extreme wind loading projects.

9        Q    Okay.  And am I also correct -- I think you

10   might have discussed this with Mr. Sayler -- that the

11   amounts that you are seeking to recover for these

12   activities have not been taken into consideration in

13   your request for an increased accrual?

14        A    They were not taken into consideration in

15   determining the -- in the storm study that was provided.

16   But there were a couple of other things that also

17   wouldn't have been taken into consideration in the storm

18   study, and that is any other property damage that might

19   be incurred on our system.  We incurred over the last

20   ten years --

21        Q    Ms. Erickson, again, I don't mean to cut you

22   off, but I'm simply asking you if the dollars that are

23   reflected here that were spent for storm hardening, I'm

24   correct that those were not considered in the accrual

25   increase that you're requesting?

PUBLIC SERVICE COMMISSION

1011

1        A    They were not considered because there was no

2   data to consider.

3        Q    Okay.  So when you say there was "no data to

4   consider," would I be correct in understanding you mean

5   that luckily we haven't had a storm or a big weather

6   event since you performed these activities?

7        A    Yes, we've not been able to collect any

8   forensic data related to the investment.

9        Q    So by that you mean I guess -- would it be

10   correct to say that you're not sure as to the effect

11   that these activities might have on the quickness of

12   restoration, for example?

13        A    We are not sure.

14        Q    Okay.  Well, if that's the case, would Gulf be

15   willing to pull these dollars out until it has some

16   evidence of data to suggest that these activities have

17   contributed to, say, a quicker storm restoration?

18        A    No, ma'am.  We believe that it's important to

19   recover the costs that we need to invest in our system.

20   And, again, we're hopeful that these may some day result

21   in lower restoration costs.  But at this point, I think

22   it's very early to make that determination.

23        Q    So I guess what you're saying is you would

24   like the ratepayers to pick up these costs even though

25   you don't have any information that these activities

PUBLIC SERVICE COMMISSION

1012

1   will actually be of any benefit in storm restoration

2   until an actual storm occurs?

3        A    I believe our customers would expect us to

4   harden our -- or to work toward hardening our system and

5   to look for that data to determine that, so I believe

6   that our customers would agree that this is an

7   appropriate investment.

8        Q    Okay.  Well, again, looking at the

9   cross-section here, certainly the customer groups

10   represented here don't agree with that, correct?

11             MR. GUYTON:  Objection, I move to strike that

12        remark.  That is pure testimony by an attorney.

13             CHAIRMAN GRAHAM:  I believe she asked a

14        question.

15             MS. KAUFMAN:  I'm sorry.

16             CHAIRMAN GRAHAM:  I was agreeing with you.

17             MS. KAUFMAN:  Okay.

18             CHAIRMAN GRAHAM:  I believe that she was

19        asking a question.

20             MS. KAUFMAN:  Yes.

21             MR. GUYTON:  In that case, I apologize.  I

22        thought it was just commentary.

23             CHAIRMAN GRAHAM:  No, she said would you agree

24        at the end.  She slipped that in.

25             MR. GUYTON:  I was too quick to jump.  I

PUBLIC SERVICE COMMISSION

1013

1        apologize.

2   BY MS. KAUFMAN:

3        Q    Okay.  I'm sorry.  I know you want me to ask

4   the question again.

5             I just wanted to ask you that you would agree

6   that certainly the cross-section of customers

7   represented at this table don't agree that you should

8   recover these costs until there is some proof these

9   costs are going to earn their benefit?

10        A    I believe that's true.

11        Q    And I just have one more question for you,

12   Ms. Erickson.  I think you testified that you are the

13   comptroller of the company, correct?

14        A    Yes.

15        Q    And you have to be familiar with the financial

16   situation of the company and I imagine that you have to

17   be involved in preparing a lot of financial reports; is

18   that correct?

19        A    I am.

20        Q    Okay.  Can you tell us how much 100 basis

21   points is worth in regard to your requested ROE?

22        A    Yeah.  Hang on a second.  I actually computed

23   that the other day and dropped it in here to make sure.

24        Q    Thank goodness.

25        A    But I didn't do exactly the question that you

PUBLIC SERVICE COMMISSION

1014

1   asked so hang on.  And, actually, the calculation I did

2   was eight basis points equals a million dollars.

3        Q    Eight basis points?

4        A    Approximately.  And, again, I'm not an ROE --

5   I'm not, you know, the rate-making witness, so to speak,

6   so I did that just for my own benefit on the back of an

7   envelope, so you might want to ask him.

8        Q    Okay.  But I guess for walking-around

9   purposes --

10        A    Yes.

11        Q    -- we can take that and extrapolate that about

12   eight basis points is about a million dollars?

13        A    Yes.

14             MS. KAUFMAN:  Thank you, Mr. Chairman.

15             CHAIRMAN GRAHAM:  Thank you.

16             Major Thompson.

17             MAJOR THOMPSON:  No questions.

18             CHAIRMAN GRAHAM:  Mr. Wright.

19             MR. WRIGHT:  Thank you, Mr. Chairman.  I'm

20        doing one quick little calculation before I proceed

21        here.

22             CHAIRMAN GRAHAM:  Sure.

23             MR. WRIGHT:  Thank you four your indulgence.

24                    CROSS EXAMINATION

25

PUBLIC SERVICE COMMISSION

1015

1   BY MR. WRIGHT:

2        Q    Good afternoon, Ms. Erickson.

3        A    Hi there.

4        Q    Hi.  My name is Schef Wright and I represent

5   the Florida Retail Federation in this proceeding.

6             MR. WRIGHT:  Before I start, I just want the

7        record to be clear.  If you'll look at our

8        positions on issues 27 and 76, we take the position

9        that an accrual of no greater than $600,000 is

10        appropriate and we take the position further that

11        we're not sure they need any accrual at all.  I'll

12        develop that in our brief.

13             CHAIRMAN GRAHAM:  Okay.

14             MR. WRIGHT:  Just so -- it's not true that all

15        customers agree that there should be an accrual.

16             CHAIRMAN GRAHAM:  Okay.

17             MR. WRIGHT:  Thank you.

18             THE WITNESS:  Thank you for clarifying that

19        because I wasn't aware of that.

20   BY MR. WRIGHT:

21        Q    You're welcome.

22             In response to a question I believe by

23   Mr. Sayler, you stated that your storm reserve is a

24   funded reserve and I believe that you said that that

25   means you keep the money in your own separate accounts

PUBLIC SERVICE COMMISSION

1016

1   or Gulf does, that is, and that it is unavailable for

2   other purposes; is that correct?

3        A    The after-tax portion.

4        Q    Thank you.

5             Is that like equivalent to saying it's sitting

6   in the bank?

7        A    Yes.

8        Q    Does it earn interest?

9        A    It does.

10        Q    It does?

11        A    Yes.

12        Q    At what rate?

13        A    I don't know the rate off the top of my head,

14   but it is in money market funds right now.

15        Q    So it's probably in the order of some number

16   of basis points less than 100?

17        A    Likely.

18        Q    Thank you.

19             Do you know what the surcharge that Gulf

20   collected from its customers from 2005 until June of

21   2009 was?

22        A    It was about 110 or a $111 million.

23        Q    Thanks.  I was meaning to ask do you know what

24   the rate was --

25        A    I do.  It was --

PUBLIC SERVICE COMMISSION

1017

1        Q    -- for 1,000 kilowatt hours?

2        A    Well, the rate actually changed twice, but the

3   ending surcharge was the $2.71 per 1,000 kilowatt hours.

4        Q    That would be for residential customers,

5   right?

6        A    For residential customers.

7        Q    And would you agree -- and I can show you the

8   order if you want -- the total company number was about

9   $2.36?

10        A    I would like to see that.

11             MR. WRIGHT:  While Mr. Sayler is showing her

12        that, just so it's clear, we and probably the other

13        parties will be asking the Commission to take

14        official recognition of the two orders that

15        Mr. Sayler distributed or I guess Ms. Kaufman

16        distributed, 05-0250 and 06-0601.

17             CHAIRMAN GRAHAM:  Okay.

18             MR. WRIGHT:  And what Mr. Sayler has handed

19        her is a copy of the -- I think the 06-0601

20        stipulation order coming out of Docket 06-0154.

21             THE WITNESS:  That was the second recovery

22        docket?

23   BY MR. WRIGHT:

24        Q    Yes, ma'am, what I call the '06 storm docket.

25   You know what, actually, I take it -- I misspoke.

PUBLIC SERVICE COMMISSION

1018

1        A    This looks like the '05 docket.

2        Q    It is the '05 docket.  Do you recall that the

3   '06 docket simply continued the surcharges from '06

4   until '09?

5        A    Well, the '06 docket actually required a

6   true-up so there was a true-up that was done as it

7   related to the '05 docket and then the '06 charges were

8   considered.

9             So I don't know if you have a similar schedule

10   for the '06.  I don't have that order with me.  I don't

11   know if you have a similar schedule for the '06 docket.

12             MR. WRIGHT:  Mr. Chairman, I don't have the

13        schedule but I do have the order and I just hand

14        marked a sentence on page seven of that order.  And

15        if I can, I'll ask Mr. Sayler to show her that.

16   BY MR. WRIGHT:

17        Q    If you could turn to page seven of the 06-0601

18   order, Ms. Erickson.

19        A    I'm there.

20        Q    Thanks.  If you would look at the first full

21   paragraph there that begins "The current storm recovery

22   surcharge."  Will you agree that by its order, the

23   Commission approved the stipulation and the provision to

24   extend the current surcharge until the last billing

25   cycle of June 2009?

PUBLIC SERVICE COMMISSION

1019

1             MR. GUYTON:  I'm sorry, Schef, I thought I had

2        the right order, but I apparently don't.

3             THE WITNESS:  Schef, this talks about the

4        tariff sheet.  You don't happen to have that, do

5        you?

6   BY MR. WRIGHT:

7        Q    I do not.

8        A    Okay.

9        Q    Regardless, can you --

10        A    I mean, what I can tell you -- what I do have

11   with me that I think might be helpful is --

12        Q    Great.

13        A    -- just the -- well, go ahead.

14        Q    No, you go ahead, that will be fine.

15        A    Is the fact that -- I can tell you what the

16   actual surcharge was for residential customers for both

17   periods --

18        Q    Yeah, that would be great.

19        A    -- if that's helpful.

20             Okay.  Let me just turn to it.  The storm

21   surcharge for residential customers, again, on a per

22   1,000 kilowatt hour basis, was $2.71 from April of 2005

23   through March of 2006 and $2.57 from April of 2006

24   through June of 2009.

25        Q    Thank you.

PUBLIC SERVICE COMMISSION

1020

1             And would you agree, having looked at the

2   order Mr. Sayler handed you first, that the total

3   company average surcharge is $2.36 for that first period

4   per 1,000 --

5        A    Yes, that was what was in that order for the

6   total company.

7        Q    And would I be at least -- would I be on base

8   to infer that the total company surcharge for the second

9   period, the '06 to '09 period, was correspondingly a

10   little bit less than $2.36?

11        A    I would have to look at it to know that for

12   sure.

13        Q    Okay.  I was trying to make that inference

14   from the fact that the residential surcharge declined.

15   Is that a reasonable inference?

16        A    I can't tell you that without looking at it.

17        Q    Okay.  Well, we'll stick with residential.

18             What's the company's requested base rate

19   increase in this case for residential customers on a per

20   1,000 kWh basis?

21        A    I don't have that with me.  Do you have it?

22        Q    Yeah.  On Schedule A2 it shows that the

23   company's current residential base rate for 1,000 kWh is

24   $49.30 and that the bill under proposed rates is $61.15

25   for an increase of $11.85.

PUBLIC SERVICE COMMISSION

1021

1        A    Okay.  I would like to see it.

2        Q    Sure.

3        A    I've got it.

4        Q    Okay.  Did I make a faithful and accurate

5   statement of what the company's proposed base rate

6   increase in the case is?

7        A    The proposed increase on schedule A2 is 11.85.

8        Q    Per residential 1,000 kWh, correct?

9        A    Yes.

10        Q    Okay.  Thank you.

11             Now, I understand from your testimony during

12   cross examination by Ms. Kaufman that you don't agree

13   that customers would rather have money to spend today --

14   is that accurate -- than to pay the company an

15   additional amount toward accruing to the storm reserve?

16        A    I believe customers would rather put away

17   27 cents a month -- an incremental 27 cents a month, as

18   opposed to face a surcharge for over four years of ten

19   times that.

20        Q    Okay.  Well, let me ask you this:  What is

21   your deductible on your hurricane -- your property

22   damage policy for hurricane damage?

23        A    For wind driven -- for named storm and wind

24   driven water, it is $25 million.

25        Q    I'm sorry, I mean, your personal homeowner's

PUBLIC SERVICE COMMISSION

1022

1   insurance policy, if you have one.

2        A    Then you'll need to rephrase that.

3        Q    Okay.

4             MR. GUYTON:  Objection, relevance.  This

5        witness's homeowner's policy is hardly relevant to

6        this issue.

7             MR. WRIGHT:  Mr. Chairman, I believe it goes

8        directly to the credibility of her testimony that

9        customers wouldn't rather have it.  And I'll get

10        there in about 45 seconds if she'll answer this

11        question.

12             CHAIRMAN GRAHAM:  I agree with the objection.

13   BY MR. WRIGHT:

14        Q    Do you personally have a separate savings

15   account to cover your hurricane insurance deductible?

16        A    I do think about that when I plan my savings

17   because I recognize that it could be a large number.

18             CHAIRMAN GRAHAM:  Mr. Wright, I see another

19        objection coming.  She's answering for the company

20        and the company's point of view, and asking about

21        what she personally does at home behind her door I

22        think is going beyond the scope.

23             MR. WRIGHT:  Mr. Chairman, she is testifying

24        as to what she believes customers' preferences

25        would be, I think this goes --

PUBLIC SERVICE COMMISSION

1023

1             CHAIRMAN GRAHAM:  As the company's

2        comptroller.

3             MR. WRIGHT:  Okay.  Thank you.

4   BY MR. WRIGHT:

5        Q    Have you ever taken a course in principles

6   with macroeconomics or a general macroeconomic theory

7   course?

8        A    I've taken graduate-level courses.

9        Q    Great.  Then I bet you understand the concept

10   of the marginal propensity to consume?

11        A    I do.  Now, I couldn't recall it at this

12   moment in time, but I do understand it.

13        Q    Okay.  Well, would you agree that the marginal

14   propensity to consume, it is a measure of the percentage

15   of each additional dollar that a customer with money in

16   hand will spend on consumption goods?

17        A    If you'll provide me a definition of that, I

18   would be happy to evaluate it.

19        Q    I just offered you a definition.  You've taken

20   graduate courses.  Do you or do you not agree that

21   that's a reasonable definition of the marginal

22   propensity to consume as used in economic theory?

23        A    Can you restate it?

24        Q    Will you agree that the marginal propensity to

25   consume as a concept of macroeconomics is a measure of

PUBLIC SERVICE COMMISSION

1024

1   the percentage of each additional dollar of income that

2   a customer having said dollars' income will spend on

3   consumption goods?

4             MR. GUYTON:  Objection.  I think it goes

5        beyond the scope of the witness's testimony.

6             CHAIRMAN GRAHAM:  I'll let her answer it if

7        she can.  She can always say she doesn't know.

8             THE WITNESS:  Without refreshing my memory at

9        this time, I'm not going to answer that.

10   BY MR. WRIGHT:

11        Q    Would you agree that it would do more to

12   promote economic activity for Gulf's customers to have

13   money in their pockets than to have it sitting in the

14   bank in your storm reserve account?

15        A    I'd like to believe those customers would save

16   that money because they recognize they have that

17   liability.  At least I would hope they would.  Any

18   prudent customers would.

19        Q    Well, if they saved it, they would have it for

20   themselves, would they not?

21        A    And it would be available to pay that hefty

22   surcharge when it came.

23        Q    At page 30 of your testimony, you made the

24   statement that all customers should pay for storm --

25   towards storm cost recovery, correct?

PUBLIC SERVICE COMMISSION

1025

1        A    What line?

2        Q    Line ten and 11.

3        A    Yes, that goes to the generational equity

4   concern.  One of the things that's important to note is

5   that typically after a storm we have fewer customers

6   over which to apply that storm surcharge, so the

7   customers that are left end up paying more.  If that

8   money is not put away along the way -- because, again,

9   storms are a part of doing business.  And many, many of

10   our assets are within 15 miles of the coast.

11        Q    How many customers did Gulf lose after

12   Hurricane Ivan?

13        A    I believe it was around 4 percent.

14        Q    After Dennis?

15        A    It was fewer.

16        Q    If you went another what -- we've had five

17   years, '06, '07, '08, '09, '10 -- five years now with no

18   storms, correct, six years, other than Lee?

19        A    Yes.

20        Q    Okay.  If you went another six years -- well,

21   if you went another six years and you collected the

22   money, Gulf's current body of customers during those

23   years would have paid for it and gotten no benefit other

24   than the presence of that fund in Gulf's account, right?

25        A    Again, it's a generational equity issue so

PUBLIC SERVICE COMMISSION

1026

1   that all -- you know, basically the people who are

2   living and doing business on the coast of Florida should

3   pay their fair share for what it costs to do business

4   there.

5        Q    Well, if a customer pays for five years and

6   then moves away, that customer won't have gotten any

7   benefit, will they?

8        A    Well, that's their choice.

9        Q    It's not their choice -- excuse me.  But isn't

10   it true it's not their choice if in order to get

11   electric service from Gulf Power they have to pay toward

12   your storm accrual?

13        A    They should pay what it costs to do business.

14        Q    Wouldn't it be true that the body of customers

15   who would benefit from restoration would be most closely

16   aligned in time with the period immediately following

17   the storm as opposed to collecting over ten years before

18   a storm event?

19        A    Again, what's uncertain about storms is when

20   they'll occur, not that they will.

21             MR. WRIGHT:  Mr. Chairman, she did not answer

22        my question.

23             CHAIRMAN GRAHAM:  If we can get you to answer

24        the specific question.  If you don't understand it,

25        you can restate the question.

PUBLIC SERVICE COMMISSION

1027

1             THE WITNESS:  Okay.  Can you restate it?

2   BY MR. WRIGHT:

3        Q    Wouldn't it be true that the body of customers

4   benefiting from storm restoration would be most closely

5   aligned with the storm restoration cost in the period

6   after a storm as opposed to five or ten years before the

7   storm?

8        A    I don't agree with the way you characterized

9   that question so, no, I don't agree with you.  I agree

10   that the cost of doing business should be spread across

11   the whole time frame.

12             That's like saying, Schef, that everybody who

13   is there should pay for the plant when it's built and

14   you shouldn't depreciate it over the 55 years that

15   you're going to have it.  And I think you've got to look

16   at the fact that it's a generational equity situation

17   and there are going to be hurricanes on the Gulf Coast

18   of Florida, we just don't know when.

19        Q    Well, let's follow your power plant analogy.

20   A power plant comes into service and it serves for 55

21   years, correct?

22        A    Some do.

23        Q    Some serve for 30 and some for whatever other

24   numbers?

25        A    It depends on the kind of generation it is.

PUBLIC SERVICE COMMISSION

1028

1        Q    Okay.  But generally speaking, customers don't

2   start paying for those power plants until they come in

3   service and become used and useful, do they?

4        A    When the plant goes in service, the customers

5   begin paying.  But they pay for it in an equal amount

6   over 55 years.

7        Q    And by analogy, when storm restoration costs

8   are incurred, those assets either get recovered through

9   a surcharge or through base rates as they are rolled

10   into rate base throughout the time, correct?

11        A    Well, what happens with storm restoration is

12   assets that are repaired, the incremental costs

13   associated with repairing those assets gets charged to

14   the reserve.  If there's any -- if we have to replace

15   assets, that's new capital investment that goes into

16   rate base.

17        Q    And it's then paid for over the life of those

18   assets, correct?

19        A    Yes.

20        Q    I wasn't sure what you said regarding the

21   $600,000 or so in costs that you incurred as restoration

22   costs after Tropical Storm Lee this year.  Did you say

23   that the reserve was not charged for that $600,000?

24        A    The reserve was charged for that 600,000.

25        Q    Oh, it was, okay.  I'm sorry, I thought I

PUBLIC SERVICE COMMISSION

1029

1   heard wasn't and I just wondered where it came from.

2   Thank you.

3             When was the last significant storm to strike

4   Gulf's area before Ivan in 2004?

5        A    Erin and Opal both struck in 1995.  There were

6   a series of -- I have data from 2001 -- there were a

7   number of tropical storms in the years 2001 through 2003

8   before Ivan.  But Erin and Opal were the significant

9   ones in recent history in '95.

10        Q    Thank you.

11             MR. WRIGHT:  That's all the questions I have.

12             CHAIRMAN GRAHAM:  Staff.

13                    CROSS EXAMINATION

14   BY MS. KLANCKE:

15        Q    Good afternoon, Ms. Erickson.  I'm having

16   several documents passed out.  And just for clarity,

17   we're going to go from the top down.

18        A    Okay.  I'm accumulating quite a pile.

19        Q    As am I.

20             Let's begin with your deposition transcript.

21   Do you recall having your testimony taken in deposition

22   on Monday, November 14th, 2011 in this case?

23        A    I do.

24        Q    And as comptroller, you were Gulf's witness

25   with respect to a whole host of issues, including the

PUBLIC SERVICE COMMISSION

1030

1   storm damage reserve and accrual and a myriad of tax and

2   financial issues; is that correct?

3        A    Yes, ma'am.

4        Q    Before you is the transcript of that

5   deposition.  Would you please review it and verify that

6   it is in fact the transcript with which you are

7   familiar.

8        A    It's an awful lot of pages to verify but it

9   looks like it.

10        Q    Did you have an opportunity to review this

11   transcript and sign it?

12        A    I did.

13        Q    Having reviewed the deposition transcript

14   before signing, your answers to the questions remain the

15   same today; is that correct?

16        A    They do with the exception of the errata.

17        Q    Certainly.

18             MS. KLANCKE:  Mr. Chairman, at this time I

19        would like to have the deposition transcript of

20        this witness Erickson moved into the record.  For

21        your ease of reference, it is contained in Exhibit

22        Number 149.

23             CHAIRMAN GRAHAM:  Mr. Sayler.

24             MR. SAYLER:  Mr. Chairman, OPC would make the

25        same objection for this deposition transcript that

PUBLIC SERVICE COMMISSION

1031

1        it made for prior deposition transcripts.

2             CHAIRMAN GRAHAM:  Ms. Kaufman.

3             MS. KAUFMAN:  Yes, Mr. Chairman, we would have

4        the same objection.  However, I just want to be

5        clear based on some comments that OPC made earlier,

6        that their questions were going to be excised from

7        the deposition.  Is that true?

8             MS. KLANCKE:  No, ma'am.

9             MR. SAYLER:  I believe the company objected to

10        a shortened deposition transcript, so the entirety

11        of the deposition transcript goes in, OPC's

12        questions, FIPUG's question, and their redirect.

13             MS. KAUFMAN:  Thank you.

14             MR. SAYLER:  That's my understanding.

15             MS. KAUFMAN:  I just wasn't clear.  And if

16        that's the case, I don't need to comment any

17        further other than to preserve my objection.

18             CHAIRMAN GRAHAM:  Okay.

19             MR. WRIGHT:  Join the objection.  Thank you,

20        Mr. Chairman.

21             MR. GUYTON:  No objection.

22             CHAIRMAN GRAHAM:  So we'll enter Exhibit 149

23        into the record.

24             (Exhibit No. 149 received in evidence.)

25

PUBLIC SERVICE COMMISSION

1032

1   BY MS. KLANCKE:

2        Q    I would like to turn your attention now to the

3   next packet of materials before you labeled as "Late

4   filed exhibits to the deposition of witness Erickson."

5   I would like to note that this packet contains only late

6   filed Exhibits 1, 3 and 4 that were taken at the

7   deposition or requested, rather, at the deposition.

8             Would you please review this document?

9        A    Okay.

10        Q    Are you familiar with these late filed

11   exhibits?

12        A    I am.

13        Q    I would like to address each one in turn.

14   With respect to late filed Exhibit No. 1, would you

15   please describe what this document contains?

16        A    Yes.  Late filed Exhibit No. 1 contains the

17   internal controls, the incremental internal controls

18   expenses that Gulf incurred from years 2002 through 2010

19   as it relates to the implementation of the required

20   provisions of Sarbanes-Oxley.

21        Q    And this late filed exhibit arose in your

22   deposition pursuant to an extensive conversation that we

23   had pertaining to your prefiled testimony in which you

24   discussed the financial impacts of regulatory compliance

25   associated with Sarbanes-Oxley; is that correct?

PUBLIC SERVICE COMMISSION

1033

1        A    Yes.

2        Q    Turning to Exhibit No. 3, late filed Exhibit

3   No. 3, what does this contain?

4        A    This particular exhibit contains the

5   calculation of the revenue impact or the rate impact of

6   the incremental $3.3 million we're requesting related to

7   the property damage accrual.

8        Q    And that was associated with your testimony

9   which we discussed extensively relating to issues 27 and

10   76?

11        A    Yes.

12        Q    And turning to late filed Exhibit No. 4,

13   please explain what this entails.

14        A    This particular exhibit includes the test year

15   request related to tree trimming expense, distribution

16   pole inspection expense, transmission inspection

17   expense, and the property damage accrual amounts that

18   are included in this rate request.

19        Q    And these are covered in your testimony as it

20   pertains to issue 79; is that correct?

21        A    The only item covered in my testimony related

22   to this is the 6.8 million.  Witness Moore has

23   responsibility and witness Caldwell for the other

24   elements.

25        Q    Were these exhibits that we've just discussed

PUBLIC SERVICE COMMISSION

1034

1   created by you or under your control or supervision?

2        A    Yes.

3             MS. KLANCKE:  At this time, Chairman, I would

4        like to have this marked for the record, given a

5        exhibit number, and moved in.

6             CHAIRMAN GRAHAM:  We'll mark it as Exhibit

7        193.

8             (Exhibit No. 193 was marked for

9        identification.)

10             CHAIRMAN GRAHAM:  And what's your title for

11        this?

12             MS. KLANCKE:  Late filed exhibits to the

13        deposition of witness Erickson, Nos. 1, 3 and 4.

14             MS. KAUFMAN:  Excuse me, Mr. Chairman, I think

15        it might be 193 because I thought FIPUG's exhibit

16        was 192.

17             CHAIRMAN GRAHAM:  I thought I said 193.

18             MS. KAUFMAN:  Okay.  I'm sorry, I thought you

19        said 192.  I missed it.  I might have

20        misunderstood.

21             CHAIRMAN GRAHAM:  I may have mispoken.  I

22        wrote 193 if I didn't say it.

23   BY MS. KLANCKE:

24        Q    I would like to turn your attention now to the

25   third packet of materials that you have in front of you.

PUBLIC SERVICE COMMISSION

1035

1        A    Okay.

2             MS. KLANCKE:  These contain discovery

3        responses which are contained within hearing

4        Exhibits 102 and 115.  For ease of reference, so

5        that we're all on the same page, particular

6        objections were raised by intervenor FIPUG with

7        regards to numbers 220, 226, 228, 229, 230 through

8        234 or 232 and 234.

9             And with regard to hearing Exhibit 15,

10        specific objections were raised with regard to

11        numbers 204, 206, 207, 208, and 209.  That is what

12        this packet contains.

13             For the ease of reference of the witness, I

14        have placed them in the order in which they were

15        responded to by date.  OPC's was the first

16        interrogatories to be propounded on Gulf and thus

17        the first responses to come in.  And they were a

18        progenitor of staff's line of interrogatories that

19        are contained later on in the stack.

20             MS. KAUFMAN:  Mr. Chairman, I am not meaning

21        to interrupt Ms. Klancke in her examination, but I

22        think I could short-circuit the process if you

23        would like to do that.

24             CHAIRMAN GRAHAM:  I would love for you to do

25        that.

PUBLIC SERVICE COMMISSION

1036

1             MS. KAUFMAN:  I knew you would.

2             CHAIRMAN GRAHAM:  I'm still trying to figure

3        out progenitor.

4             MS. KAUFMAN:  First of all, I think I've

5        withdrawn the objection to 15 which we have

6        previously discussed.

7             MS. KLANCKE:  I believe that's associated with

8        witness McMillan but --

9             MS. KAUFMAN:  Okay.  And secondly, this stack

10        of interrogatories that Ms. Klancke was about to

11        discuss with Ms. Erickson, all of them relate to

12        the storm study questions about the modeling and

13        areas that we have explored in regard to

14        Ms. Erickson's expertise.

15             I understand your ruling on the Motion to

16        Strike and I object to these documents coming in on

17        that basis.  If I can preserve my objection that

18        she is not the competent witness to sponsor these.

19        I don't think it is necessary for her to verify

20        each one.  We understand that the company responded

21        to these interrogatories.  So that might save some

22        time.

23             MS. KLANCKE:  Staff is amenable to that.  With

24        that being said, are you stipulating with regard to

25        the foundational elements with respect to this

PUBLIC SERVICE COMMISSION

1037

1        or --

2             MS. KAUFMAN:  Well, I'm stipulate with regard

3        to these are interrogatories that the company has

4        provided the answers to.  I'm just maintaining my

5        objection based on the fact that it's our position

6        that Ms. Erickson is not competent to answer these

7        questions related to the storm study.

8             CHAIRMAN GRAHAM:  Do you need individual

9        numbers for these?

10             MS. KLANCKE:  I believe that we can move them

11        in as a composite exhibit, so if we can get

12        number one with respect to these.

13             CHAIRMAN GRAHAM:  So the number would be 194.

14             MS. KLANCKE:  194.

15             (Exhibit No. 194 was marked for

16        identification.)

17             CHAIRMAN GRAHAM:  And you want to move it in

18        and Ms. Kaufman wants to object to them.

19             MS. KLANCKE:  Yes, sir.

20             MS. KAUFMAN:  I think that's right.

21             MS. KLANCKE:  With that, I have no questions

22        for this witness.

23             CHAIRMAN GRAHAM:  What's the short title,

24        composite --

25             MS. KLANCKE:  Composite interrogatory

PUBLIC SERVICE COMMISSION

1038

1        responses by Gulf witness -- by Gulf witness

2        Erickson.

3             CHAIRMAN GRAHAM:  Okay.

4             MS. KLANCKE:  No further questions for this

5        witness.

6             CHAIRMAN GRAHAM:  Okay.  Commissioners.

7        Mr. Balbis, Commissioner Balbis.

8             COMMISSIONER BALBIS:  Thank you, Mr. Graham, I

9        mean Chairman Graham.

10             I have two questions for this witness.  Do you

11        know from an accounting standpoint where any

12        revenues from the marketing and sales of coal

13        combustion residues would be located?

14             THE WITNESS:  I'm sorry, I couldn't quite hear

15        you.

16             COMMISSIONER BALBIS:  The revenues associated

17        with coal combustion residues in the marketing and

18        sales of that.

19             THE WITNESS:  Of -- I assume you're talking

20        about the byproducts as a result of the scrubber?

21             COMMISSIONER BALBIS:  Yes.

22             THE WITNESS:  I'm not sure whether or not

23        those are -- whether those are included.  I think

24        they are in miscellaneous revenues, if in fact

25        there are any.

PUBLIC SERVICE COMMISSION

1039

1             COMMISSIONER BALBIS:  And would you know if

2        the company has projected those revenues to

3        increase or remain the same?

4             THE WITNESS:  I don't know that.  It's been a

5        very small component of that element in terms of --

6        that's my understanding.

7             COMMISSIONER BALBIS:  Okay.  Are you aware

8        that this Commission prepared a report recommending

9        that Gulf Power increase the marketing of those

10        residuals to increase revenue?

11             THE WITNESS:  I was not aware of that.

12             COMMISSIONER BALBIS:  Okay.  Back to your line

13        of answers concerning what's in the best interest

14        to the customers concerning storm accruals.

15        Regardless of what's in the best interest of the

16        customers, from an accounting standpoint or a cash

17        flow standpoint for Gulf Power, what is in the best

18        interest of Gulf Power concerning storm accruals,

19        provided that you have an ability to add a storm

20        surcharge after the fact?

21             THE WITNESS:  In terms of when we collect the

22        revenue and we put the reserve away, there's really

23        no benefit from that perspective.  It's a wash, so

24        to speak.

25             From a perspective of the evaluation that the

PUBLIC SERVICE COMMISSION

1040

1        rating agencies do, when we are in a negative

2        reserve position, that is of concern to them.  And

3        so consequently in looking at the reserve balance

4        over the last 17 years, seven of those 17 years

5        Gulf Power was in a negative reserve position.

6             So a benefit from that perspective is it's

7        better for us to be in a positive reserve position

8        overall.  But as far as in terms of does Gulf Power

9        benefit from having those funds, there's no

10        benefit.

11             COMMISSIONER BALBIS:  And then just to clarify

12        what a negative reserve position is, does that mean

13        not having any amount within the reserve fund or --

14             THE WITNESS:  Not only that, but my -- I mean,

15        we were $95 million under reserve essentially or a

16        negative reserve of 95 million in September of '05.

17             COMMISSIONER BALBIS:  Okay.  Prior to the

18        accruals going into effect or the surcharge going

19        into effect?

20             THE WITNESS:  Well, we had accruals in place

21        but they were clearly inadequate at that point in

22        time.

23             COMMISSIONER BALBIS:  And I know you've

24        answered this probably several times, but how much

25        has been accrued either through surcharges or

PUBLIC SERVICE COMMISSION

1041

1        otherwise in the current account, the reserve

2        account?

3             THE WITNESS:  Right now the reserve account at

4        the end of the year will be about $30 million.

5             COMMISSIONER BALBIS:  So it's certainly not a

6        negative amount?

7             THE WITNESS:  It is not -- currently, knock on

8        wood, it is not a negative amount.

9             COMMISSIONER BALBIS:  Okay.  Thank you.

10             CHAIRMAN GRAHAM:  Ms. Erickson, I got a quick

11        question for you.  In the reserve account, if

12        there's a positive amount in that account and it

13        attracts interest -- it collects interest, correct?

14             THE WITNESS:  It does.

15             CHAIRMAN GRAHAM:  And if there is a negative

16        dollar associated with that amount, there's also

17        interest to be paid to the -- to you, to Gulf?

18             THE WITNESS:  Yes.

19             CHAIRMAN GRAHAM:  Is that the same interest

20        going either way?

21             THE WITNESS:  It's the commercial paper rate,

22        which is a very low rate as well.

23             CHAIRMAN GRAHAM:  So both ways it's the same

24        interest?

25             THE WITNESS:  It's not the same interest, it's

PUBLIC SERVICE COMMISSION

1042

1        different.  What goes to the customers is exactly

2        what is actually earned on those accounts.  If it

3        goes negative, it's the commercial paper rate that

4        is credited back to Gulf Power so it's a very --

5        again, a very low interest rate.  I don't know if

6        they're exactly the same.  I don't believe they're

7        exactly the same but they are very close.

8             CHAIRMAN GRAHAM:  Okay.  Commissioner Edgar.

9             COMMISSIONER EDGAR:  Thank you.  I think just

10        one question.  On page 34 of your testimony, you

11        sum up the prefiled portion of the discussion of a

12        storm or property damage reserve.

13             The first four out of the five points you've

14        been asked about and discussed at length today, but

15        the fifth I don't believe we have.  And it says

16        here in your prefiled testimony "An adequate

17        reserve allows for insurance deductibles to be

18        met," and goes on.

19             Could you discuss that fifth point?

20             THE WITNESS:  Okay.  Can you tell me what page

21        you're on?

22             COMMISSIONER EDGAR:  Sure.  Page 34.

23             THE WITNESS:  Thirty-four, okay.

24             COMMISSIONER EDGAR:  And it's the last two

25        sentences right above "depreciation."

PUBLIC SERVICE COMMISSION

1043

1             THE WITNESS:  Yes.  Since Gulf -- since 2001

2        when Gulf was here, our deductibles have gone from

3        1 to 2 million to 10 million for what you might

4        call all-risk insurance and $25 million for named

5        wind storms and wind driven water, which are very

6        different.

7             So to the extent that, for example, we

8        actually had an insurance recovery with Ivan.  But

9        if we incurred Ivan today, all of that would have

10        gone to the property damage reserve and been

11        charged against the property damage reserve, which

12        would have been another $15 million.

13             COMMISSIONER EDGAR:  Thank you.

14             CHAIRMAN GRAHAM:  Commissioner Brown.

15             COMMISSIONER BROWN:  Thank you.  In your

16        direct filed testimony you state that "Gulf has

17        attempted to mitigate the impact of cost drivers."

18        And I just want to know how does Gulf attempt to do

19        that?  Do you have a formal bid process; if so,

20        what is the standard?

21             THE WITNESS:  Commissioner Brown, what page

22        are you referring to?

23             COMMISSIONER BROWN:  Page five, lines 13

24        through 15, and this is with regard to A&G

25        expenses.

PUBLIC SERVICE COMMISSION

1044

1             THE WITNESS:  What I was really referring to

2        there are some of the things that don't track with

3        inflation and that would be around the benchmark.

4        So, for example, the enactment of Sarbanes-Oxley,

5        you know, that was a law that we must comply with.

6             In addition, you know, medical expenses have

7        outpaced inflation, and those are the kinds of

8        things that are really -- you know, while we made

9        some modifications to our plans, we were unable to

10        mitigate the impact of all of those things.

11             COMMISSIONER BROWN:  And I understand that.

12        My question is when you seek out an insurance

13        provider or a health care insurance provider, do

14        you have a formal bid process to see if there's a

15        lowest reasonable -- a lowest provider, lowest

16        cost?

17             THE WITNESS:  We try to do that where it's

18        possible.

19             COMMISSIONER BROWN:  Is it a formal bid

20        process?

21             THE WITNESS:  Yes, it's an RFP.

22             COMMISSIONER BROWN:  Okay.  Thank you.

23             CHAIRMAN GRAHAM:  Redirect.

24             MR. GUYTON:  A few questions.

25                   REDIRECT EXAMINATION

PUBLIC SERVICE COMMISSION

1045

1   BY MR. GUYTON:

2        Q    Mr. Sayler asked you about the collection of

3   the storm property reserve, a series of questions about

4   one-twelfth collected each month.  Do you recall that

5   question?

6        A    Yes.

7        Q    Is one-twelfth collected each month or is

8   one-twelfth accrued each month?

9        A    One-twelfth is accrued each month.

10        Q    And it's collected on a per-kilowatt-hour

11   basis?

12        A    It is collected -- yes, it's collected on a

13   per-kilowatt-hour basis.

14        Q    Which may or may not be one-twelfth per month?

15        A    Right.

16        Q    Okay.  Ms. Kaufman asked you some questions

17   about customer preference, and you stated in one of your

18   answers that some customers may prefer an additional

19   accrual and others may not.  And you made reference to a

20   survey that you had performed.

21             Do you recall that answer?

22        A    I do.

23        Q    Would you explain that to the Commission,

24   please?

25        A    Sure.  You know, essentially as a part of this

PUBLIC SERVICE COMMISSION

1046

1   rate case, I receive -- I work on various things in the

2   community or I go to my children's school or I go to my

3   church and people will ask me about the rate case.

4             The best way for me to talk to them about that

5   is, hey, I've got a question for you, if you -- you

6   know, this is one of the things -- they are people who

7   have lived in Florida and generally for a long time,

8   they probably were a part of Ivan and Dennis -- and I

9   simply said, if you have the choice between accruing --

10   or between paying 27 cents a month all the time or

11   paying a surcharge of ten times that after a storm

12   occurs what would you prefer?  And without exception,

13   every person I talked with actually said I would pay 27

14   cents.

15             And it was -- I was curious, actually, because

16   I worked on this, I looked at it, I evaluated the

17   information very carefully because I recognized that our

18   customers are -- I mean, it's a tough time out there,

19   the Great Recession has been difficult on people.  So I

20   wanted to make sure that our request was reasonable and

21   that it really made sense so I would ask them whenever I

22   got the opportunity.

23        Q    And how many people have you conducted that

24   informal survey with?

25        A    Probably somewhere 100 or less.

PUBLIC SERVICE COMMISSION

1047

1        Q    Now, you were also asked a question about

2   whether you had any concern about whether the Commission

3   would move expeditiously in a storm surcharge

4   proceeding.

5             Do you have any concern about whether parties

6   to that might cause that situation to move more slowly

7   than the company would like?

8             MS. KAUFMAN:  I'm going to object.  I think

9        this is beyond the scope of any questions she was

10        asked on cross.  I merely asked her about how the

11        Commission would process any request for a

12        surcharge.

13             CHAIRMAN GRAHAM:  I'll allow the question.

14             THE WITNESS:  My observation would be the more

15        intervenors that are involved in the process, the

16        longer it will take to come to agreement.

17   BY MR. GUYTON:

18        Q    Okay.  You were also asked about storm

19   hardening costs not having been included or recognized

20   in the storm studies damage evaluation.  And you began

21   an answer by saying there were other things in the storm

22   study that were also not considered, but you were cut

23   off.

24             Would you expand upon that answer?

25        A    Yeah.  While we did not take into

PUBLIC SERVICE COMMISSION

1048

1   consideration storm hardening in the storm study, other

2   items that impact the property damage reserve are

3   property damage incurred, for example, in a fire.  We

4   had a small fire at Smith Plant in the last ten years,

5   $2 million was charged to the reserve for that.  So over

6   the time -- over the ten-year time period, about

7   $500,000 a year has been incurred in incremental

8   property damage that would be charged to that reserve

9   that's not related to weather or storm events.

10             In addition, as Commissioner Edgar alluded to,

11   any sort of deductibles associated with -- because those

12   deductible levels are higher, no consideration of the

13   deductible impact was taken into consideration in

14   determining the storm damage accrual or the property

15   damage accrual that was requested.

16        Q    You were asked about whether or not the

17   company would be willing to forego the storm hardening

18   expenditures that it's made.  Has the company's storm

19   hardening expenditures been made pursuant to

20   Commission-approved plans?

21        A    Yes.

22        Q    And were those plans promulgated to Commission

23   approved rule?

24        A    They were.

25        Q    Okay.  Do you consider those to be a cost of

PUBLIC SERVICE COMMISSION

1049

1   providing service?

2        A    I do.

3        Q    And what is the rate impact of the storm

4   surcharge increase?

5        A    It is 27 cents per 1,000 kilowatt hours per

6   month per residential customer.

7             MR. GUYTON:  That's all the redirect I have.

8        Thank you.

9             CHAIRMAN GRAHAM:  Ms. Erickson, I have a quick

10        question.  Your informal survey, did you talk to

11        any large commercial users that you know of?

12             THE WITNESS:  I'm not sure if any of the --

13        I'm not sure of where those folks worked so I

14        didn't -- I think they would have been responding

15        to my question as a residential customer.  I don't

16        think they would have been responding for their

17        company.

18             CHAIRMAN GRAHAM:  Okay.  I was just curious.

19             Exhibits.

20             MR. GUYTON:  We move Exhibit 18.

21             MR. WRIGHT:  OPC would move exhibit --

22             CHAIRMAN GRAHAM:  Exhibit 19?

23             MR. GUYTON:  I'm sorry?  I'll move 19.  Thank

24        you.

25             CHAIRMAN GRAHAM:  Page seven, Exhibit 19.

PUBLIC SERVICE COMMISSION

1050

1             (Exhibit No. received in evidence.)

2             MR. SAYLER:  OPC would move Exhibit 191.

3             MS. KAUFMAN:  FIPUG would move Exhibit 192.

4             MR. GUYTON:  Mr. Chairman, I would note that

5        191 is an excerpt from a 10-K and the entire 10-K

6        is in the MRFs and Schedule F too.

7             CHAIRMAN GRAHAM:  And OPC said that they would

8        present that.

9             MR. SAYLER:  We're happy to provide it, but I

10        believe Mr. Guyton said the entire 10-K is already

11        in the MFRs, which are --

12             MR. GUYTON:  I don't think it's necessary, I

13        just wanted to make sure --

14             CHAIRMAN GRAHAM:  Okay.

15             MR. GUYTON:  -- that the record reflected that

16        it was in the record.

17             CHAIRMAN GRAHAM:  Okay.  The entire 10-K will

18        go into the record.

19             (Exhibit Nos. 191 and 192 received in

20        evidence.)

21             CHAIRMAN GRAHAM:  Ms. Klancke.

22             MS. KLANCKE:  Staff would like to move in

23        Exhibits 193 and 194.

24             CHAIRMAN GRAHAM:  Okay.  We'll move those two

25        into the record as well.

PUBLIC SERVICE COMMISSION

1051

1             (Exhibit Nos. 193 and 194 received in

2        evidence.)

3             CHAIRMAN GRAHAM:  Ms. Erickson --

4             MS. KAUFMAN:  Excuse me, Mr. Chairman, just

5        noting my objection to 194.

6             CHAIRMAN GRAHAM:  194, thank you.  And,

7        Ms. Kaufman, thank you for helping me short-circuit

8        Ms. Klancke.

9             MS. KAUFMAN:  My pleasure.

10             CHAIRMAN GRAHAM:  I appreciate that.

11             Ms. Erickson, thank you very much.  We are

12        going to take a ten-minute break.  I got five after

13        four, so a quarter after four.

14             (Whereupon, the hearing was recessed at 4:05

15         p.m.)

16             (Whereupon, the transcript continues in

17        sequence to volume 7.)

18

19

20

21

22

23

24

25

PUBLIC SERVICE COMMISSION

1052

1                 CERTIFICATE OF REPORTER

2

3   STATE OF FLORIDA   )

COUNTY OF LEON     )

4

5             I, MICHELLE SUBIA, Registered Professional

6   Reporter, certify that the foregoing proceedings were

7   taken before me at the time and place therein

8   designated; that my shorthand notes were thereafter

9   translated under my supervision; and the foregoing

10   pages, numbered 904 through 151, are a true and correct

11   record of the aforesaid proceedings.

12

13             I further certify that I am not a relative,

14   employee, attorney or counsel of any of the parties, nor

15   am I a relative or employee of any of the parties'

16   attorney or counsel connected with the action, nor am I

17   financially interested in the action.

18             DATED this 16th day of December, 2011.

19

20

21                       ____________________________

MICHELLE SUBIA

22                       NOTARY PUBLIC

COMMISSION #DD987077

23                       EXPIRES JUNE 7, 2014

24

25

PUBLIC SERVICE COMMISSION