## Technology Acceptance Curves
Measure Number | Measure | % Incentive | Max | Mid | Fit | Net Energy | Gross Energy | 1st Yr Net to Gross Ratio
101 | 14 SEER Split-System Air Conditioner | 90.78% | 0.8 | 2 | 1.7 | 9895.3942 | 9935.9574 | 99.59%
102 | 15 SEER Split-System Air Conditioner | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
103 | 17 SEER Split-System Air Conditioner | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
104 | 19 SEER Split-System Air Conditioner | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
105 | 14 SEER Split-System Heat Pump | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
106 | 15 SEER Split-System Heat Pump | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
107 | 17 SEER Split-System Heat Pump | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
108 | 13 EER Geothermal Heat Pump | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
109 | HVAC Proper Sizing | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
110 | Attic Venting | 0% | 0.5 | 0.2 | 1.7 | 0 | 0 | N/A
111 | Sealed Attic w/Sprayed Foam Insulated Roof Deck | 0% | 0.8 | 0.1 | 1.7 | 0 | 0 | N/A
112 | AC Maintenance (Outdoor Coil Cleaning) | 18.67% | 0.8 | 0.1 | 1.7 | 7176.2705 | 8280.2419 | 86.67%
113 | AC Maintenance (Indoor Coil Cleaning) | 39.99% | 0.8 | 0.1 | 1.7 | 33175.2018 | 35628.3508 | 93.11%
114 | Proper Refrigerant Charging and Air Flow | 27.32% | 0.8 | 0.1 | 1.7 | 41921.3995 | 50983.9049 | 82.22%
115 | Electronically Commutated Motors (ECM) on an Air Handler Unit | 20.46% | 0.8 | 0.2 | 1.7 | 36577.138 | 56946.8542 | 64.23%
116 | Duct Repair | 85.25% | 0.8 | 0.2 | 1.7 | 187103.725 | 187953.3961 | 99.55%
117 | Reflective Roof | 52.46% | 0.8 | 0.1 | 1.7 | 19769.1931 | 21129.5178 | 93.56%
118 | Radient Barrier | 0% | 0.8 | 0.1 | 1.7 | 0 | 0 | N/A
119 | Window Film | 54.47% | 0.8 | 0.2 | 1.7 | 76246.1625 | 82865.5967 | 92.01%
120 | Window Tinting | 62.83% | 0.8 | 0.2 | 1.7 | 1283.8618 | 1356.7598 | 94.63%
121 | Default Window With Sunscreen | 55.56% | 0.25 | 0.1 | 1.7 | 14723.9673 | 15359.9706 | 95.86%
122 | Single Pane Clear Windows to Double Pane Low-E Windows | 55.56% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
123 | Double Pane Clear Windows to Double Pane Low-E Windows | 66.64% | 0.8 | 2 | 1.7 | 26940.8641 | 30379.8453 | 88.68%
124 | Ceiling R-0 to R-19 Insulation | 0% | 0.25 | 0.1 | 1.7 | 0 | 0 | N/A
125 | Ceiling R-19 to R-38 Insulation | 0% | 0.25 | 0.1 | 1.7 | 0 | 0 | N/A
126 | Wall 2x4 R-0 to Blow-In R-13 Insulation | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
127 | Weather Strip/Caulk w/Blower Door | 70.01% | 0.8 | 0.1 | 1.7 | 1406.6211 | 1419.0085 | 99.13%
131 | 14 SEER Split-System Heat Pump | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
132 | 15 SEER Split-System Heat Pump | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
133 | 17 SEER Split-System Heat Pump | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
134 | 13 EER Geothermal Heat Pump | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
135 | HVAC Proper Sizing | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
136 | Attic Venting | 0% | 0.5 | 0.2 | 1.7 | 0 | 0 | N/A
137 | Sealed Attics | 0% | 0.8 | 0.1 | 1.7 | 0 | 0 | N/A
138 | AC Maintenance (Outdoor Coil Cleaning) | 34.2% | 0.8 | 0.1 | 1.7 | 1441.9455 | 1544.4885 | 93.36%
139 | AC Maintenance (Indoor Coil Cleaning) | 51.23% | 0.8 | 0.1 | 1.7 | 24154.9222 | 25114.9323 | 96.18%
140 | Proper Refrigerant Charging and Air Flow | 26.1% | 0.8 | 0.1 | 1.7 | 168879.4331 | 220674.9225 | 76.53%
141 | Electronically Commutated Motors (ECM) on an Air Handler Unit | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
142 | Duct Repair | 87.16% | 0.8 | 0.2 | 1.7 | 74299.4905 | 74492.7466 | 99.74%
143 | Reflective Roof | 61.77% | 0.8 | 0.1 | 1.7 | 10082.5781 | 10427.4738 | 96.69%
144 | Radient Barrier | 0% | 0.8 | 0.1 | 1.7 | 0 | 0 | N/A
145 | Window Film | 59.63% | 0.8 | 0.2 | 1.7 | 20709.3434 | 21990.3805 | 94.17%
146 | Window Tinting | 48.24% | 0.8 | 0.2 | 1.7 | 1611.6464 | 1992.3429 | 80.89%
147 | Default Window With Sunscreen | 47.73% | 0.25 | 0.1 | 1.7 | 15629.3434 | 17583.3745 | 88.89%
148 | Single Pane Clear Windows to Double Pane Low-E Windows | 47.73% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
149 | Double Pane Clear Windows to Double Pane Low-E Windows | 75.2% | 0.8 | 2 | 1.7 | 14398.2724 | 15064.9135 | 95.57%
150 | Ceiling R-0 to R-19 Insulation | 0% | 0.25 | 0.1 | 1.7 | 0 | 0 | N/A
151 | Ceiling R-19 to R-38 Insulation | 0% | 0.25 | 0.1 | 1.7 | 0 | 0 | N/A
152 | Wall 2x4 R-0 to Blow-In R-13 Insulation | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
153 | Weather Strip/Caulk w/Blower Door | 0% | 0.8 | 0.1 | 1.7 | 0 | 0 | N/A
161 | 14 SEER Split-System Air Conditioner | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
162 | 15 SEER Split-System Air Conditioner | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
163 | 17 SEER Split-System Air Conditioner | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
164 | 19 SEER Split-System Air Conditioner | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
165 | HVAC Proper Sizing | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
166 | Attic Venting | 0% | 0.5 | 0.2 | 1.7 | 0 | 0 | N/A
167 | Sealed Attic w/Sprayed Foam Insulated Roof Deck | 0% | 0.8 | 0.1 | 1.7 | 0 | 0 | N/A
168 | AC Maintenance (Outdoor Coil Cleaning) | 37.97% | 0.8 | 0.1 | 1.7 | 916.9786 | 980.4448 | 93.53%
169 | AC Maintenance (Indoor Coil Cleaning) | 54.99% | 0.8 | 0.1 | 1.7 | 10907.2685 | 11247.5175 | 96.97%
170 | Proper Refrigerant Charging and Air Flow | 31.91% | 0.8 | 0.1 | 1.7 | 83377.0094 | 102761.1198 | 81.14%
171 | Electronically Commutated Motors (ECM) on an Air Handler Unit | 40.09% | 0.8 | 0.2 | 1.7 | 15864.8549 | 19734.8078 | 80.39%
172 | Duct Repair | 89.55% | 0.8 | 0.2 | 1.7 | 21659.7078 | 21694.8127 | 99.84%
173 | Reflective Roof | 64.77% | 0.8 | 0.1 | 1.7 | 4702.9923 | 4835.8072 | 97.25%
174 | Radient Barrier | 0% | 0.8 | 0.1 | 1.7 | 0 | 0 | N/A
175 | Window Film | 58.83% | 0.8 | 0.2 | 1.7 | 4826.4271 | 5100.4711 | 94.63%
176 | Window Tinting | 45.7% | 0.8 | 0.2 | 1.7 | 536.2584 | 638.9376 | 83.93%
177 | Default Window With Sunscreen | 52.14% | 0.25 | 0.1 | 1.7 | 3685.5228 | 3962.3835 | 93.01%
178 | Single Pane Clear Windows to Double Pane Low-E Windows | 52.14% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
179 | Double Pane Clear Windows to Double Pane Low-E Windows | 79.42% | 0.8 | 2 | 1.7 | 4876.5951 | 4986.768 | 97.79%
180 | Ceiling R-0 to R-19 Insulation | 0% | 0.25 | 0.1 | 1.7 | 0 | 0 | N/A
181 | Ceiling R-19 to R-38 Insulation | 0% | 0.25 | 0.1 | 1.7 | 0 | 0 | N/A
182 | Wall 2x4 R-0 to Blow-In R-13 Insulation | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
183 | Weather Strip/Caulk w/Blower Door | 75.95% | 0.8 | 0.1 | 1.7 | 488.1308 | 490.5076 | 99.52%
191 | HE Room Air Conditioner - EER 11 | 75.02% | 0.8 | 2 | 1.7 | 14429.7134 | 15197.0891 | 94.95%
192 | HE Room Air Conditioner - EER 12 | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
196 | Reflective Roof | 72.82% | 0.8 | 0.1 | 1.7 | 600.7319 | 610.3921 | 98.42%
197 | Window Film | 69.91% | 0.8 | 0.2 | 1.7 | 2857.1829 | 2933.5835 | 97.4%
198 | Window Tinting | 52.59% | 0.8 | 0.2 | 1.7 | 193.3955 | 220.8627 | 87.56%
199 | Default Window With Sunscreen | 56.5% | 0.25 | 0.1 | 1.7 | 2144.7068 | 2326.2987 | 92.19%
200 | Single Pane Clear Windows to Double Pane Low-E Windows | 56.5% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
201 | Double Pane Clear Windows to Double Pane Low-E Windows | 78.35% | 0.8 | 2 | 1.7 | 1078.5327 | 1142.4598 | 94.4%
202 | Ceiling R-0 to R-19 Insulation | 90.63% | 0.25 | 0.1 | 1.7 | 40.4847 | 40.5343 | 99.88%
203 | Ceiling R-19 to R-38 Insulation | 0% | 0.25 | 0.1 | 1.7 | 0 | 0 | N/A
204 | Wall 2x4 R-0 to Blow-In R-13 Insulation | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
205 | Weather Strip/Caulk w/Blower Door | 0% | 0.8 | 0.1 | 1.7 | 0 | 0 | N/A
221 | CFL (18-Watt integral ballast), 0.5 hr/day | 24.65% | 0.5 | 0.1 | 1.7 | 73094.9197 | 98058.137 | 74.54%
231 | CFL (18-Watt integral ballast), 2.5 hr/day | 0% | 0.5 | 0.1 | 1.7 | 0 | 0 | N/A
241 | CFL (18-Watt integral ballast), 6.0 hr/day | 0% | 0.5 | 0.1 | 1.7 | 0 | 0 | N/A
251 | ROB 2L4'T8, 1EB | 0% | 0.8 | 0.1 | 1.7 | 0 | 0 | N/A
252 | RET 2L4'T8, 1EB | 0% | 0.8 | 0.1 | 1.7 | 0 | 0 | N/A
261 | CFL - medium screw based <30 Watts | 0% | 0.5 | 0.1 | 1.7 | 0 | 0 | N/A
262 | Photocell/timeclock | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
301 | HE Refrigerator - Energy Star version of above | 40.41% | 0.8 | 0.2 | 1.7 | 82442.3748 | 96435.2699 | 85.49%
351 | HE Freezer | 63.96% | 0.8 | 0.2 | 1.7 | 3592.6546 | 3697.8118 | 97.16%
401 | Heat Pump Water Heater (EF=2.9) | 82.53% | 0.8 | 0.2 | 1.7 | 38810.5553 | 38986.398 | 99.55%
402 | HE Water Heater (EF=0.93) | 82.53% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
403 | Solar Water Heat | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
404 | AC Heat Recovery Units | 0% | 0.5 | 0.1 | 1.7 | 0 | 0 | N/A
405 | Low Flow Showerhead | 18.85% | 0.5 | 0.1 | 1.7 | 15331.0544 | 20280.1992 | 75.6%
406 | Pipe Wrap | 0% | 0.5 | 0.1 | 1.7 | 0 | 0 | N/A
407 | Faucet Aerators | 6.086% | 0.5 | 0.1 | 1.7 | 6088.1205 | 9848.8725 | 61.82%
408 | Water Heater Blanket | 0% | 0.5 | 0.1 | 1.7 | 0 | 0 | N/A
409 | Water Heater Temperature Check and Adjustment | 0% | 0.5 | 0.1 | 1.7 | 0 | 0 | N/A
410 | Water Heater Timeclock | 68.57% | 0.5 | 0.1 | 1.7 | 18666.4771 | 19023.5683 | 98.12%
411 | Heat Trap | 0% | 0.5 | 0.1 | 1.7 | 0 | 0 | N/A
501 | Energy Star CW CEE Tier 1 (MEF=1.8) | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
502 | Energy Star CW CEE Tier 2 (MEF=2.0) | 69.1% | 0.8 | 2 | 1.7 | 136343.655 | 144485.8558 | 94.36%
503 | Energy Star CW CEE Tier 3 (MEF=2.2) | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
610 | High Efficiency CD (EF=3.01 w/moisture sensor) | 84.07% | 0.8 | 2 | 1.7 | 46187.9679 | 46961.3739 | 98.35%
701 | Energy Star DW (EF=0.68) | 0% | 0.8 | 2 | 1.7 | 0 | 0 | N/A
801 | Two Speed Pool Pump (1.5 hp) | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
802 | High Efficiency One Speed Pool Pump (1.5 hp) | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
803 | Variable-Speed Pool Pump (<1 hp) | 75.92% | 0.8 | 0.2 | 1.7 | 19438.5432 | 19616.4946 | 99.09%
804 | PV-Powered Pool Pumps | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
901 | Energy Star TV | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
911 | Energy Star TV | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
921 | Energy Star Set-Top Box | 0% | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
931 | Energy Star DVD Player | 0 | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
941 | Energy Star VCR | 0 | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
951 | Energy Star Desktop PC | 0 | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
961 | Energy Star Laptop PC | 0 | 0.8 | 0.2 | 1.7 | 0 | 0 | N/A
[6 empty] | 1400609.5901 | 1587423.7577 | 88.23%