1

1                                 BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3       In the Matter of:

DOCKET NO. 110138-EI

4

PETITION FOR INCREASE IN

5       RATES BY GULF POWER COMPANY.

_____________________________/

6

7

8

9

10

11

12

13

14

DEPOSITION OF:      MICHAEL O'SHEASEY

15

TAKEN AT THE

16       INSTANCE OF:        The Staff of the Florida

Public Service Commission

17

PLACE:              Room 382D

18                           Gerald L. Gunter Building

2540 Shumard Oak Boulevard

19                           Tallahassee, Florida

20       TIME:               Commenced at  9:30 a.m.

Concluded at 12:04 p.m.

21

DATE:               Wednesday November 16, 2011

22

23       REPORTED BY:        JANE FAUROT, RPR

Official FPSC Reporter

24                           (850) 413-6732

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1       APPEARANCES:

2                 RUSSELL BADDERS, ESQUIRE and STEVEN GRIFFIN,

3       ESQUIRE, Beggs & Lane Law Firm, Post Office Box 12950,

4       Pensacola, Florida  32591-2950, appearing on behalf of Gulf

5       Power Company.

6                 RICHARD D. MELSON, ESQUIRE, 705 Piedmont Drive,

7       Tallahassee, Florida 32312, appearing on behalf of Gulf Power

8       Company.

9                 VICKI GORDON KAUFMAN, ESQUIRE, Keefe, Anchors,

10       Gordon & Moyle Law Firm, 118 North Gadsden Street,

11       Tallahassee, Florida 32301, appearing on behalf of Florida

12       Industrial Power Users Group.

13                  MARTHA BARRERA, ESQUIRE, FPSC General Counsel's

14       Office, 2540 Shumard Oak Boulevard, Tallahassee, Florida

15       32399-0850, appearing on behalf of the Florida Public Service

16       Commission Staff.

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                                  I N D E X

2

3                                  WITNESSES

4       NAME:                                          PAGE NO.

5       MICHAEL O'SHEASEY

6            Direct Examination by Ms. Barrera            5

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1                                  EXHIBITS

2       NUMBER:                                             ID

3       1         Exhibit MTO-2, Schedule 6.1 to 6.9.       8

4       2         Gulf's Response to Staff's Fourth

Set of Request for Production Number 12   9

5

3         (Late-filed; untitled)                   11

6

4         Excerpts from the textbook titled

7                 Statistics by McClave and Deitrich       11

8       5         Data used in regression of MDS as

presented in Schedule 6.1                15

9

6         Final Gulf MDS, underscore,              19

10                 06-11 markup.xlsm

11       7         Attachment A to Schedule E-1             26

12       8         Gulf's Response to Staff's Fifteenth

Set of Interrogatories, Number 194,

13                 196, and 200                             31

14       9         Florida Electric Utilities:  A

Reference Guide, Revised 1994 Edition,

15                 Page 209, Page 47, and Page 211          36

16       10        Charging for Distribution Utility

Services:  Issues in Rate Design         43

17

11        Gulf Power's Response to Staff's

18                 Sixth Request for Production of

Documents Number 22                      53

19

12        Pages 15 and 16 of Mr. O'Sheasey's

20                 Direct Testimony in Docket 010949-EI     65

21       13        Gulf Power's Response to

Interrogatory 61 in Staff's Sixth

22                 Set of Interrogatories                   69

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

5

1       Exhibits (continued)

2       Number                                              ID

3       14        MFR Schedule E-16                         77

4       15        Staff's calculated percentages

of customers at Level 5                   78

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

6

1                             P R O C E E D I N G S

2                 MS. BARRERA:  Martha Barrera with the Public

3       Service Commission.  And with me is Bill McNulty also

4       with the Public Service Commission.

5                 THE WITNESS:  I'm Mike O'Sheasey with

6       Christensen Associates.  I'm representing Gulf Power.

7                 MR. GRIFFIN:  I'm Steven Griffin with the law

8       firm of Beggs and Lane on behalf of Gulf Power Company.

9                 MR. MELSON:  Richard Melson on behalf of Gulf

10       Power.

11                 MR. BADDERS:  Russell Badders on behalf of

12       Gulf Power.

13                 MS. RITENOUR:  Susan Ritenour with Gulf Power.

14                 MS. AUSTIN:  I'm Anne Austin with Southern

15       Company Services.

16                 MS. KAUFMAN:  Vicki Kaufman with Keefe,

17       Anchors, Gordan and Moyle on behalf of FIPUG.

18                            MICHAEL T. O'SHEASEY

19       was called as a witness and, after being duly sworn by the

20       court reporter, testified as follows:

21                             DIRECT EXAMINATION

22       BY MS. BARRERA:

23            Q.   Okay.  We are here on the deposition of Mr.

24       O'Sheasey, which was duly noticed for today, Wednesday,

25       November 16th, 2011, at 9:30.  This is in Docket Number

FLORIDA PUBLIC SERVICE COMMISSION

7

1       110138.

2                 The witness having been sworn in -- Mr.

3       O'Sheasey, please state your name for the record.

4            A.   Michael Thomas O'Sheasey.

5            Q.   And your business address?

6            A.   5001 Kingswood, K-I-N-G-S-W-O-O-D, Drive,

7       Roswell, R-O-S-W-E-L-L, Georgia 30075.

8            Q.   And where are you employed?

9            A.   With Christensen Associates, a consulting firm

10       out of Madison, Wisconsin.

11            Q.   And please state your duties.

12            A.   I'm Vice-President in charge of costing and

13       pricing.

14            Q.   Okay.  And state your duties as

15       Vice-President?

16            A.   I have to advise utilities on costing and

17       pricing methodologies; I have to testify as an expert

18       witness, and I have to direct a staff who does much of

19       the analytical work in support of these utilities in the

20       filings that I participate in.

21            Q.   And what's your involvement in this matter?

22            A.   I am Gulf Power's cost-of-service witness in

23       this rate case.

24                 MS. BARRERA:  Can you please mark this as

25       Exhibit 1.  It would the Exhibit MTO-2, Schedule 6.1 to

FLORIDA PUBLIC SERVICE COMMISSION

8

1       6.9.

2                 (Exhibit 1 marked for identification.)

3       BY MS. BARRERA:

4            Q.   This is the exhibit to your testimony.  Can

5       you refer to Schedule 6.1, Page 1.

6            A.   Yes, ma'am.

7            Q.   And the data in the column labeled $/ft for

8       size #2 conductor is .0498.  Should this number be

9       corrected to 0.498?

10            A.   Could you clarify that question one more time,

11       please?

12            Q.   Okay.  There is a column -- let's see, 6.1 --

13       where you are down to -- where it says size, and the #2,

14       then MCM 77.47, then .0498 in that column?

15            A.   Yes, I do see what you are referring to.  And

16       so the question?

17            Q.   The question is should the number be corrected

18       to 0.498 instead of .0?

19            A.   I will have to review that.  Visually, it

20       looks like on the graph that that is the case, but I

21       will have to go back and check that out.

22                 MS. BARRERA:  Okay.  Can you mark this

23       document as Exhibit 2.  It is a document titled primary

24       overhead conductors worksheet to Chart 20811.  This

25       document is found in Gulf's Response to Staff's Fourth

FLORIDA PUBLIC SERVICE COMMISSION

9

1       Set of Request for Production Number 12.

2                 (Exhibit Number 2 marked for identification.)

3       BY MS. BARRERA:

4            Q.   Did you perform the statistical analysis to

5       support the models appearing in Schedules 6.1 and 6.2 of

6       the Depo Exhibit 1?

7            A.   I did not actually do it.  It was done under

8       my direction.

9            Q.   And who actually did it?

10            A.   Southern Company Services actually performed

11       the analysis.

12                 If I could go back to your earlier question.

13       I think I can agree with what your question was.  As I'm

14       looking at the second attachment that you just sent me,

15       Account 365, Attachment 2 of 4.  If I look in the upper

16       right-hand corner, and I look down at the Number 2,

17       indeed it does say .49669.  So I think I would agree

18       with your earlier question as to whether this Exhibit

19       6.1, Page 1 of 1, the Number 2 should read .498, so I

20       would agree with that.

21            Q.   Okay.  Thank you.

22                 Now, can you describe the statistical analysis

23       that was performed by Southern Company Services?

24            A.   Yes.  We took the data, which you see there in

25       terms of wire size, MCM, and that is -- MCM stands for

FLORIDA PUBLIC SERVICE COMMISSION

10

1       thousands of circular mills, and it indicates the size

2       of a wire.  And the greater the size of the wire, the

3       greater the load-carrying capability.  So what we are

4       trying to do here is regress.  Do a linear regression

5       analysis where the independent variable is the size of

6       the wire, and, therefore, it's load-carrying capability,

7       versus the vertical, or Y axis, which is the cost per

8       unit, dollars per foot of the different size wires.  So

9       we basically took the data which you see there, and

10       performed what is called a linear regression analysis on

11       it, and produced the results that you see on that page.

12            Q.   In reference to Schedules 6.1 and 6.2, and to

13       what has been marked as Deposition Exhibit 2, is this

14       worksheet -- in this worksheet staff was unable to find

15       the data, the data set for Account 365 and 368 that is

16       identical to those shown in Schedules 6.1 and 6.2, and

17       they were also unable to find all the statistical

18       analysis which goes with those data sets.  Can you point

19       out where the statistical analysis of the distribution

20       cost classification models appear to support the models

21       in Schedules 6.1 and 6.2?

22            A.   Well, the data is provided, that you see

23       there.  That's the unit cost that was used in the

24       regression analysis.  The statistical data and analysis

25       that you are seeing has not been provided at this time.

FLORIDA PUBLIC SERVICE COMMISSION

11

1       We could do so, but that was not part of the schedule

2       itself.  So I can't point you to it.  I would have to

3       provide that.

4                 MS. BARRERA:  Okay.  Will you be able to

5       produce that?

6                 (Off-the-record discussion.)

7                 (Late-filed Exhibit 3 marked for

8       identification.)

9                 MS. BARRERA:  Back on the record.

10       BY MS. BARRERA:

11            Q.   Do you know whether in your statistical

12       analysis of these models did you specify the probability

13       distribution of the random error component of the

14       models; that is, the standard deviation of the error

15       term divided by the degrees of freedom?

16            A.   I don't know specifically if we did that exact

17       calculation.  I do know that the model that we used

18       produces indicators of statistical accuracy such as R

19       square, such as T squared, such as the t statistic.  And

20       the model passed all of those statistical tests that I

21       just referred to extremely well.  The exact test that

22       you're talking about there, I would have to go back and

23       see if we performed that one or not.

24                 MS. BARRERA:  This is Exhibit 4.

25                 (Exhibit Number 4 marked for identification.)

FLORIDA PUBLIC SERVICE COMMISSION

12

1       BY MS. BARRERA:

2            Q.   Turning to Exhibit 4, which are excerpts from

3       the textbook titled Statistics by McClave and Deitrich,

4       are you familiar with this textbook?

5            A.   No, I am not.

6            Q.   Can you turn to Page 489 of the book?

7            A.   Yes, ma'am.

8            Q.   There are four assumptions of the error term,

9       are you familiar with these four assumptions?

10            A.   Only at a high level, not to any great degree.

11       I'm not a statistician.  I am basically an engineer and

12       a cost of service analyst.  We do have statisticians

13       that work for us that I'm sure could address these

14       specific assumptions, but I'm not intimately familiar

15       with these assumptions.

16            Q.   Okay.  Can you read the four assumptions for

17       the record?

18            A.   Read Number 4?

19            Q.   No, the four assumptions.

20            A.   The four assumptions.  Okay.  Assumption 1,

21       the mean of the probability distribution of the error

22       term is zero.  That is, for each setting of the

23       independent variable x, the average of the errors over

24       an infinitely long series of experiments is zero.

25                 Assumption 2, the variance of the probability

FLORIDA PUBLIC SERVICE COMMISSION

13

1       distribution of the error term is constant for all

2       settings of the independent variable x.  This means that

3       the variance of the error term is equal to a constant,

4       say, the standard deviation for all values of x.

5                 Assumption 3, the probability distribution of

6       the error term is normal.

7                 Assumption 4, the errors associated with any

8       two different observations are independent.  That is,

9       the error associated with one value of y has no effect

10       on the errors associated with the other values of y.

11            Q.   Okay.  Can you please refer back to your

12       Schedules 6.1 and 6.2, and the Exhibit 1, and can you

13       explain whether these models violate the four

14       assumptions of the error term?

15                 MR. GRIFFIN:  I object to the form of the

16       question.  The witness testified that he is not familiar

17       with this publication, this document, that he is not a

18       statistician, and so I just want to lodge that objection

19       at this point in time.  Of course, we reserve the right

20       to take that up with the Prehearing Officer, but you can

21       answer the question, if you understand it.

22            A.   Well, unfortunately, I can't answer it.  It's

23       my presumption that they do not violate it.  But, as I

24       say, I'm not a statistician, and I can't really speak to

25       it to any great degree.

FLORIDA PUBLIC SERVICE COMMISSION

14

1                 MS. BARRERA:  Off the record for a minute.

2                 (Off the record.)

3       BY MS. BARRERA:

4            Q.   In developing these models in Schedules 6.1

5       and 6.2, did you calculate the standard errors for the Y

6       intercept terms and the independent variables?

7            A.   The people that did the test themselves for

8       me, under my direction at Southern Company, they would

9       have done this.  I did not myself, but they would have.

10            Q.   Do you know what they found?

11            A.   Specifically, no, I don't, other than that

12       they passed the statistical test that we commonly

13       consider to indicate that the model is performing

14       accurately.  So they passed the test.  But the exact

15       value of the result, no, I do not know what that was.

16            Q.   Did you perform any tests of the statistical

17       inferencing capability of the models, such as tests or a

18       confidence interval?

19            A.   Well, what I did look at, what I did review

20       was the results of the model in terms of the R square,

21       and the R square indicates how much of the variation of

22       the data is addressed by the equation, the predictive

23       equation that results from it.  And normally an R square

24       anywhere at .8 or above is considered good.  In this

25       particular case, the R squares for both of these models

FLORIDA PUBLIC SERVICE COMMISSION

15

1       were well over 98 percent, so they were extremely

2       accurate.

3                 There's another test called a t statistic, and

4       normally a t statistic is valid if it's over 2.  I think

5       the Y intercept value for the t statistic was over 4, so

6       that is a very valid result.

7                 There's also a p statistic which indicates the

8       validity of an intercept, and I believe that for those

9       you want a p statistic of, like, .05 or less to be

10       considered valid.  In this particular case, as I recall,

11       what we produced was a Y intercept p statistic, like,

12       .005, which is very, very accurate.  So to address your

13       question, I did review many of the statistical tests

14       that were done on both of these models, and they passed

15       with flying colors.

16                 MS. BARRERA:  This would be Exhibit 5.

17                 (Exhibit Number 5 marked for identification.)

18       BY MS. BARRERA:

19            Q.   The document should be titled data used in

20       regression of MDS as presented in Schedule 6.1.  And

21       this document was prepared by staff.

22                 Did you have a chance to review it?  We did

23       provide it Monday.

24            A.   It was provided to me late night before last,

25       so I did have a chance to look at it at a high level,

FLORIDA PUBLIC SERVICE COMMISSION

16

1       but I was not able to document or validate the numerical

2       calculations on this page.  But I did look at it.  And,

3       by the way, as I looked at it, you didn't ask me for

4       this, but I would offer that the input data looks like

5       what we input to our model.  In other words, the dollars

6       per foot, the size of the wire, and it also looked like

7       the Y intercept that we produced with our results is

8       similar, .308, it looks like what we had for our model.

9                 The statistical test that this model seems to

10       have implied, the R square is similar to the R square

11       that we had.  It's like .988, which is about, as I

12       recall, what our model produced, which indicates it's

13       very good.

14                 The t statistic on this sheet of paper is

15       4.26.  It seems like the t statistic that we produced,

16       as I said earlier, was over 4, which indicates a t

17       statistic for the Y intercept is quite good.  And the

18       P-value is below .05, which as I was indicating before

19       indicates that it is a very P-value.  So some of the

20       numbers on here look familiar.  But as I said, I cannot

21       validate or corroborate the computation of the numbers

22       here.

23            Q.   Can you answer whether or not it's correct

24       that this confidence interval is relatively large due to

25       the small number of degrees of freedom in the model?

FLORIDA PUBLIC SERVICE COMMISSION

17

1            A.   I can't say.

2            Q.   Would you know whether the confidence interval

3       would be smaller if the sample was larger?

4            A.   My intuition says yes, that's probably true.

5       But as I say, I'm not a statistician, so I can't assert

6       that with 100 percent confidence.  But I can also say

7       that apparently this sheet of paper here was based on a

8       95 percent confidence interval.  I can also say that if

9       you wanted to lower the confidence interval to, say,

10       90 percent then the bounds would constrict.  So there

11       are different ways that you can address a model that

12       impacts the confidence intervals that result.

13            Q.   Okay.  Does the fact that the lower bound of

14       this interval, .020, is close to zero indicate that the

15       true value of the intercept could also be close to zero?

16            A.   Well, first off, I cannot validate that the

17       .02 is, indeed, the right lower bound or not, because I

18       haven't done the calculation.  But I will say that

19       whether we're talking a lower bound or an upper bound,

20       that is basically a bell-shaped curve, and what that

21       indicates is the extreme positions.  The likelihood that

22       any one of those extreme position would occur, the lower

23       bound or the upper, is very low.

24            Q.   Okay.  And can you please refer to the tabular

25       information at the bottom of Schedule 6.1?

FLORIDA PUBLIC SERVICE COMMISSION

18

1            A.   Yes, ma'am.

2            Q.   Is it correct that you limited your

3       transformer sizes in your model to single phase overhead

4       transformers which were 100 kVa or less?

5            A.   I believe it's Schedule 6.2  I misunderstood

6       if you said 6.1, but it's 6.2, I think, that you are

7       referring to.  And, yes, the single-phase overhead

8       transformer --

9            Q.   I'm sorry, go ahead.

10            A.   That's okay.  Do you want to finish that?

11            Q.   Okay.  In your late-filed exhibit can you

12       provide a 95 percent confidence interval?

13            A.   Yes.

14                 MS. KAUFMAN:  I hate to keep interrupting.

15       Could just go off the record?

16                 (Off-the-record discussion.)

17       BY MS. BARRERA:

18            Q.   All right.  When you refer to the tabular

19       information at the bottom of Schedule 6.2, is it correct

20       that you limited your transformer sizes in your model to

21       single-phase overhead transformers, which were 100 kVa

22       or less?

23            A.   Yes.

24            Q.   Why is it appropriate to limit your sample

25       size by not including single-phase overhead transformers

FLORIDA PUBLIC SERVICE COMMISSION

19

1       larger than 100 kVa?

2            A.   The distribution engineers at Gulf Power

3       indicated that these were the type transformers that

4       they would be purchasing in this particular case.  This

5       is what they buy that would be applicable to a minimum

6       distribution system analysis.

7                 MS. BARRERA:  This would be Exhibit 6 to the

8       deposition.

9                 (Exhibit Number 6 marked for identification.)

10       BY MS. BARRERA:

11            Q.   This document is entitled Final Gulf MDS,

12       underscore, 06-11 markup.xlsm.  They are Pages 1 through

13       4, and was produced in response to our Request for

14       Production Number 12 of Staff's Fourth Set of Requests

15       for Production.  Do you recognize that?

16            A.   This data looks familiar.

17            Q.   Okay.  It's not in the form of an Excel

18       spreadsheet, so it's the best we could get.

19            A.   Sure, I understand.

20            Q.   Okay.  When you are referring to this exhibit,

21       Page 3 shows that Gulf has 522 167 kVa transformers

22       installed.

23            A.   Uh-huh.

24            Q.   Why was the 167 kVa transformer not included

25       as a data point in your sample in Schedule 6.1?

FLORIDA PUBLIC SERVICE COMMISSION

20

1            A.   The engineers that we worked with indicated

2       that when performing a minimum distribution system

3       analysis, and basically what you're trying to do is

4       construct a system that would be there if the purpose of

5       the system was merely to enable service, that these

6       sized transformers would be the appropriate-sized

7       transformers to include in the analysis, and

8       transformers larger than 100 would not be appropriate

9       for this analysis.  So we didn't include 167 kVa, just

10       like we didn't include 833 kVa.  They would not be

11       applicable to a minimum distribution system.

12            Q.   Referring to Schedule 6.1, the first column in

13       the table at the bottom, do the five conductor sizes

14       shown in this table include all of Gulf's overhead

15       primary conductors currently in service which are less

16       than or equal to 100 kVa?

17            A.   I don't know.

18            Q.   Referring back to Exhibit 6, is it correct

19       that Gulf has 8,035 10 kVa transformers, but only 2,711

20       75 kVa transformers, and only 1,215 100 kVa

21       transformers?

22            A.   I'm trying to look on your handout here to see

23       the total number of transformers, and I don't see that

24       on here.

25            Q.   Okay.

FLORIDA PUBLIC SERVICE COMMISSION

21

1            A.   I can't add all of that up in my head.

2            Q.   Okay.  It's under the -- on the second page --

3       first page?  Okay.  It's on the third page under the

4       heading 367 underground conductors, devices total.

5            A.   I see $118 million, is that what you're

6       referring to?

7            Q.   Yes.  It's the section under that.

8            A.   All right.  So you're referring to Page 4, I

9       presume?

10            Q.   No, Page 3.  It's where the 10 kVa overhead

11       transformers --

12            A.   Okay.  And so your question was what is the

13       number of those transformers?

14            Q.   Is it correct that they have -- that it is

15       what it says in there?

16            A.   8,035 transformers?

17            Q.   Right.

18            A.   I have to believe that is correct.

19            Q.   Okay.  And that goes for the other numbers, as

20       well?

21            A.   Yes.  Obviously, I didn't compute all of these

22       numbers myself, but I presume that they are correctly

23       done by Gulf Power.

24            Q.   Okay.  With over 8,000 10 kVa transformers

25       installed on Gulf's system, why weren't the 10 kVa

FLORIDA PUBLIC SERVICE COMMISSION

22

1       transformers and their associated unit costs included in

2       your regression analysis of single-phase overhead

3       transformers?

4            A.   Let's see here.  My guess is when I asked the

5       engineers to perform this analysis, they would have

6       included the kVa transformers that Gulf Power is

7       currently buying or would buy for a minimum distribution

8       system, and it was determined that the 10 kVa and the 7

9       kVa would not be bought in the case of a minimum

10       distribution system.

11            Q.   Excuse me a second.  Okay.  Why would Gulf, if

12       you know, include the ones that will be bought and not

13       the ones already in the system?

14            A.   Well, the idea is that you would want to

15       replicate a system that was as real as possible.  In

16       other words, as representative of what the system would

17       look like.  And if you have equipment out there that no

18       longer would be used in the system, you wouldn't want to

19       include it.  For example, Gulf -- as you look into that

20       page here, in fact, you will see that it has many

21       different size of poles.  It turns out that Gulf has

22       some 30-foot poles.  However, Gulf is not buying 30-foot

23       pole anymore.  That is not part of their system planning

24       process, 30-foot poles aren't, but they still have them

25       on the books and records.  But it's not something that

FLORIDA PUBLIC SERVICE COMMISSION

23

1       would be rebuilt.  In other words, if that 30-foot pole

2       were to go away they wouldn't replace it with a 30-foot

3       pole.  The smallest size would be a 35-foot.  So all I'm

4       trying to do is demonstrate that sometimes you will have

5       equipment in your books and records that have been

6       bought in the historical perspective that are no longer

7       applicable today, and so what you want to do is have a

8       system that represents what you would do if you were

9       constructing it today, not like it may have looked 25

10       years ago.

11            Q.   Okay.  If the 10 kVa and, for example, 7 or 5

12       kVa transformers were included in your sample, do you

13       know what the impact would have been on the results of

14       your model?

15            A.   I do not.  (Pause.)

16                 To answer your question, I do not know if we

17       were to include the 10 kVa and the smaller sized kVa, I

18       believe it was 7.5 kVa, what that would do to the

19       results.

20            Q.   Do you know whether Gulf is planning to buy

21       any 10 kVa?

22            A.   I don't know.  We would have to check with

23       Gulf.

24            Q.   What does MCM mean as used in Schedule 6.1?

25            A.   Thousands of circular mills.  It's an

FLORIDA PUBLIC SERVICE COMMISSION

24

1       indication of the width of the wire, the thickness.

2            Q.   Is that equivalent to 1,000 circles each with

3       a diameter of one-thousandth of an inch?

4            A.   I can't say specifically, but that sounds

5       reasonable subject to check.

6            Q.   Is it correct that all the values of x, or

7       MCM, in your sample range from 77.47 to 795.00 MCM?

8            A.   Yes.

9            Q.   Is it correct that the Y intercept falls

10       outside the range of the sample range you have presented

11       here?

12            A.   Yes.

13            Q.   Okay.  Can you please refer back to Exhibit 3

14       statistics?

15                 MR. GRIFFIN:  I think 3 was the late-filed.

16                 MS. BARRERA:  Okay.  Exhibit 4, sorry.  Page

17       521.

18                 THE WITNESS:  I'm there.

19       BY MS. BARRERA:

20            Q.   In your opinion, is simple regression -- I

21       mean, in simple regression analysis, is it dangerous to

22       use a model to make predictions outside the region of

23       the sample data?

24            A.   Not necessarily.  That's the whole purpose of

25       a model is to create a relationship that will allow you

FLORIDA PUBLIC SERVICE COMMISSION

25

1       to predict what the answer would be not only within a

2       sample range, but outside a sample range.  So I don't

3       think dangerous is the right term I would use.  It's one

4       of the reasons for doing regression analysis.

5            Q.   Okay.  Now, at the top of Page 521 it states

6       that it is dangerous to use the model to make

7       predictions outside the region in which the sample data

8       fall because a straight line might not provide a good

9       model for the relationship between a mean value of y and

10       the value of x when stretched over a wider range of x

11       values.  Do you agree with the authors?

12            A.   Well, I'm not a statistician, but in my use of

13       regression analysis as an engineer and as a cost of

14       service analyst, I would not use the term that it's

15       dangerous.  I would use the term that there are less

16       degrees of confidence as you move outside the range.

17       But I would not describe it as dangerous.  I would just

18       describe it as that is one of the conditions that you

19       must accept when you use regression analysis.

20            Q.   Do you agree with this observation of the

21       authors on Page 521 as it relates to the model described

22       in Schedule 6.1?

23                 MR. GRIFFIN:  I'm sorry to interrupt, but my

24       objection stands with respect to cross-examination on

25       this document.  He has indicated he is not familiar with

FLORIDA PUBLIC SERVICE COMMISSION

26

1       it; he has not seen it before.  And so obviously you can

2       continue to ask the questions, but our objection does

3       stand.

4                 MS. KAUFMAN:  I would also object in that this

5       is an excerpt from, I guess -- is it from a textbook?

6                 MS. BARRERA:  Yes.

7                 MS. KAUFMAN:  You know, I don't even know if

8       this is in context.  I would join in the objection.

9                 MS. BARRERA:  Okay.

10       BY MS. BARRERA:

11            Q.   The question is do you agree with this

12       observation of the authors on Page 521 as it relates to

13       the model described in Schedule 6.1?

14            A.   I cannot say.

15                 MS. BARRERA:  Please mark this as Exhibit 7,

16       and that would be Gulf's MFR Schedule E-1, Attachment A,

17       Schedule 2.1, the analysis of gross plant.

18       BY MS. BARRERA:

19            Q.   In Line 4 under Column 2 -- if you look at

20       Line 4 under Column 2.

21            A.   Line 4, Column 2.  This is not gross plant;

22       this is number of customers.

23                 (Off-the-record discussion.)

24                 (Exhibit Number 7 marked for identification.)

25

FLORIDA PUBLIC SERVICE COMMISSION

27

1       BY MS. BARRERA:

2            Q.   Do you know what the word common means in the

3       term Level 2 common?

4            A.   Yes.

5            Q.   And what does it mean?

6            A.   It means it's equipment cost that is shared by

7       more than one rate class.  It commonly serves more than

8       one rate class.

9            Q.   Okay.  On Deposition Exhibit 7, in the Level

10       4, what does the term Level 4 common mean?

11            A.   It means equipment that falls at Level 4,

12       which is primary distribution, it's common in that it

13       serves more than one rate class.  It's shared by

14       multiple rate classes, the use of that equipment.

15            Q.   Could that also mean demand?

16            A.   Yes.

17            Q.   Are entries identified by the word common,

18       both in this reference and throughout the MFR Schedule

19       E-1, are they referencing demand-related costs?

20            A.   In this particular case here, this analysis,

21       yes.  Throughout E-1, I'm not sure; I would have to go

22       back and make sure.  But I can attest that in terms of

23       rate base, the word common denotes demand-related, and

24       it is highly likely that that is true throughout all of

25       E-1.

FLORIDA PUBLIC SERVICE COMMISSION

28

1            Q.   Do you have your Direct Testimony?

2            A.   I do.

3            Q.   Okay.  Can you please turn to Page 20 of your

4       Direct Testimony, Lines 9 through 16?

5            A.   Yes, I'm looking at it.

6            Q.   In Scenario I and II, you describe

7       hypothetical situations where the cost of the

8       distribution network does not change, is that correct?

9            A.   Yes.

10            Q.   Now, if you turn to your analysis on Page 21,

11       for each scenario you state that the cost of the

12       distribution network is influenced by the number of

13       customers served.  You also state that in Scenario I and

14       II, the cost of the distribution network did not change.

15       If costs of the distribution network did not change in

16       these scenarios, how can the cost of the distribution

17       network be said to be influenced by the number of

18       customers served?

19            A.   You would have to change the number of

20       customers served to see if costs change or not.  In my

21       Scenarios I and II, I did not change the number of

22       customers to be served.

23            Q.   Is it correct that system demand and number of

24       customers normally change in the same direction either

25       both increasing or both decreasing?

FLORIDA PUBLIC SERVICE COMMISSION

29

1            A.   In general, I'd say that's true.

2            Q.   If you can turn to Page 28 in your testimony,

3       Lines 5 through 14.  Here you discuss the inequity

4       imposed by a seasonal customer where certain

5       customer-related costs are classified in the demand

6       component and the misclassifications of costs are

7       reflected in rates.  Is it correct to say that other

8       customers have to pay for those costs not otherwise

9       collected during the seasonal customer's absence?

10            A.   As long as the customer-related costs end up

11       going into the energy charge, that is true.  If the

12       customer-related costs were all-inclusive, in other

13       words, they included all customer-related costs, then

14       there would not be this cross-subsidy to other

15       customers.

16            Q.   In your opinion, is it equitable for a

17       customer receiving customer rates based on the non-MDS

18       methodology who incurs an extended outage and is not

19       able to receive service to pay through his customer

20       service charge for the distribution poles, wires, and

21       transformers which are only serving other customers

22       during the outage?

23            A.   Okay.  Now, I've got to make sure I understand

24       the question right.  The supposition that you are

25       talking about is there is an extended outage, maybe a

FLORIDA PUBLIC SERVICE COMMISSION

30

1       hurricane, maybe the system is down for several days or

2       a week.  And your question is using the non-MDS method

3       of creating a customer charge during the time frame that

4       those particular customers are without service because

5       of the outage, is it right -- I think you used the word

6       fair --

7            Q.   Equitable.

8            A.   Equitable for those customers who are out to

9       have to continue to pay the customer charge under the

10       non-MDS system.  And I really -- I'm an engineer and I'm

11       am a cost-of-service analyst, and I really can't -- I'm

12       just not comfortable saying what is equitable and what

13       is fair.  That's bridging onto rate design and rate

14       recovery mechanisms.  I'm really only here to address

15       cost of service.

16                 I can say that the cost of that equipment

17       behind the customer charge continue to go on.  They

18       don't disappear just because of an outage.  But whether

19       it's equitable or not, I'm just not comfortable

20       answering that.

21            Q.   Also on Page 28, starting at Line 21 and

22       continuing through Page 29, Line 3, you state here that

23       the transmission and subtransmission equipment is much

24       larger and operates at a higher voltage level than

25       distribution equipment, is that correct?

FLORIDA PUBLIC SERVICE COMMISSION

31

1            A.   That is correct.

2                 MS. BARRERA:  We need to go to Exhibit 8.

3       Exhibit 8 to the deposition is titled "Gulf's Response

4       to Staff's Fifteenth Set of Interrogatories, Number 194,

5       196, and 200."

6                 (Exhibit Number 8 marked for identification.)

7       BY MS. BARRERA:

8            Q.   The response to Interrogatory 194 states that

9       actual transmission and subtransmission costs are

10       expected to be much larger than they would be than if

11       they were based upon a minimum-sized distribution

12       system.  Is the range of subtransmission in voltage 26

13       KV up to 69 KV?

14            A.   Let's see.  Gulf's secondary system, I

15       believe, goes as low -- have you got the numbers?  I

16       believe it's as low as 4 KV.  Now, their subtransmission

17       starts at 46 KV and it goes up through transmission, so

18       it would go as high, I believe, as 230 KV.  So I can't

19       remember exactly what you asked, but the subtransmission

20       to transmission for Gulf would go from, I believe, 46 KV

21       to 230 KV.

22            Q.   I asked whether it was 26 to 69?

23            A.   Okay.  You're partially right.  I wouldn't say

24       26.  I would say it goes from 46.  The subtransmission

25       system goes from -- the subtransmission voltage lines

FLORIDA PUBLIC SERVICE COMMISSION

32

1       would go from 46 KV all the way up through high voltage

2       transmission, which is 230 KV.

3            Q.   Okay.  And is the range of the voltage at the

4       primary distribution level 4 KV up to 13 KV?

5            A.   For Gulf, it runs from -- I believe it's 4 KV

6       to 25 KV.

7            Q.   Is it correct to say that both at the

8       subtransmission and distribution primary levels the

9       minimum range of voltage is about a third of the maximum

10       range in voltage?

11            A.   All right.  So the minimum is 46, the maximum

12       is 230.  So it's a small fraction, 46 divided by 230

13       would be a relatively moderate fraction.  I guess that's

14       one-fourth.

15            Q.   Okay.  In its responses to Interrogatories 194

16       and 196, Gulf states that the subtransmission minimum

17       system costs is expected to be small compared to the

18       actual subtransmission system, which is one of the

19       reasons Gulf did not calculate subtransmission

20       customer-related costs, is that correct?

21            A.   It's one of the reasons.  One of the major

22       reasons is that it's common convention in the electric

23       utility industry to quit -- to cease separating costs

24       into a demand piece and a customer piece at the

25       distribution level.  In other words, in my travels, I

FLORIDA PUBLIC SERVICE COMMISSION

33

1       don't see utilities taking subtransmission and

2       transmission and dividing them into a customer piece and

3       a demand piece.  That's not done.

4                 Also, if you look up in the National

5       Association of Regulatory Utility Commissioners Cost

6       Allocation Manual, you will see that they, too, cease

7       separating costs in demand at the distribution level.

8       They have do not separate subtransmission and

9       transmission into a demand and customer piece.  So that

10       is one of the major reasons why we don't do it.

11                 Now, a secondary reason, which is the basis of

12       your question, is I would suspect that if you did do a

13       minimum distribution system for subtransmission and

14       transmission, where all you're trying to do is create a

15       pathway from the distribution system to the generation

16       function, that's all subtransmission and transmission,

17       if you were trying to create a system like that, I would

18       suspect that it is small in size compared to the system

19       that's in place right now for subtransmission and

20       transmission.  I haven't done it, so I don't know for

21       sure.  I don't think it's necessary to do it, but my

22       suspect is indeed that it would be small.

23                 You see, the subtransmission and transmission

24       system, the way that equipment is sized, its purpose in

25       life is to serve what we call the diversified demand

FLORIDA PUBLIC SERVICE COMMISSION

34

1       going through it.  The planner sits in his mind and says

2       what is the maximum load that this equipment is going to

3       have to serve.  And so it's highly driven by the load

4       that goes through it.

5                 The customers that are behind it are not

6       really a major factor.  It's the load that goes through

7       it.  But that's not true with distribution.  With

8       distribution it is the nondiversified demand that

9       impacts the planner's sizing of that equipment.  And the

10       planner has to consider not only that nondiversified

11       demand, but also the customer-related costs behind it.

12                 So the customer-related cost, all I'm saying,

13       is a much larger component of distribution cost than

14       what I would conceptualize it would be of

15       subtransmission and transmission.  I don't know because

16       I haven't actually done the study, but that's just my

17       suspect.

18            Q.   If you know, why did you determine in your MDS

19       cost-of-service study that the distribution primary

20       minimum system costs were sufficiently large to

21       calculate a customer-related component?

22            A.   Would you read the question one more time,

23       please?

24            Q.   Sure.  Why did you determine in your MDS

25       cost-of-service study that the distribution primary

FLORIDA PUBLIC SERVICE COMMISSION

35

1       minimum system costs were sufficiently large to

2       calculate a customer-related component?

3            A.   We have done the analysis in the past.  And in

4       the analysis we have done in the past, yes, indeed, the

5       customer-related component of primary was sufficiently

6       large enough that in our minds it made sense to do it in

7       this case, also.  And it was.

8            Q.   Is voltage level the primary controlling

9       factor in determining the level of costs of

10       subtransmission and distribution primary systems?

11            A.   Subtransmission is separate from primary.

12       It's two different functions.  So imagine that the

13       lowest level of service -- we will call that secondary

14       distribution, that is the lowest voltage level.  Then we

15       move up in voltage level, and we come to the primary

16       distribution system, and that is that 4 to 25 KV that I

17       talked about.  Then we move up another step and we go to

18       a higher voltage level, which is the subtransmission,

19       and that's 46 KV.  Then we move up to an even higher

20       voltage level, which is the high voltage transmission

21       system, which is 115 to 230 KV.  And then we go to the

22       generator.  So I guess to answer your question, each one

23       of those distinct functions was identified by voltage

24       level.

25            Q.   Okay.  Do those various voltage levels

FLORIDA PUBLIC SERVICE COMMISSION

36

1       determine the amount of cost?

2            A.   Those various voltage levels determine the

3       type of equipment that is necessary to provide that

4       functional service, and that required equipment then

5       translates into cost.

6                 MS. BARRERA:  This would be Exhibit 9, which

7       is excerpts from Florida Electric Utilities:  A

8       Reference Guide, Revised 1994 Edition, Page 209, Page

9       47, and Page 211.

10                 MR. GRIFFIN:  I've not seen Page 209.  In my

11       version I've got Page 47 and 211.

12                 (Exhibit Number 9 marked for identification.)

13                 (Off-the-record discussion.)

14                 MS. BARRERA:  All right.  Let's just leave it

15       at Page 47 and 211.

16       BY MS. BARRERA:

17            Q.   Can you refer to Page 211 of Deposition

18       Exhibit 9 at the description of Watt and tell us whether

19       voltage is an input in the measurement of demand?

20            A.   I guess -- this Page 211 that you are

21       referring to, there is a paragraph here on Waste Heat

22       Recovery, there is one on Waste Minimization, there is

23       Wastewater, Waste Management District, and Watt.  So I

24       guess what you are referring to is watt.

25            Q.   Right.

FLORIDA PUBLIC SERVICE COMMISSION

37

1            A.   So what it says is the basic unit of electric

2       power is a watt.  It is equal to the rate of energy

3       transfer of one amp flowing through one volt of pressure

4       with a power factor of 100 percent.  So I'm not sure

5       exactly what your question is.

6                 Voltage and wattage are two different factors

7       in electricity.  You can think of voltage as the

8       pressure or the power.  It's like water pressure, if you

9       want.  The wattage is the power itself.  That is not

10       only the pressure, but think of it as the volume that is

11       coming with it.  So it's two different criteria to

12       describe electricity, both of them have their purpose.

13            Q.   Okay.  And is demand measured in watts, or

14       kilowatts, or megawatts?

15            A.   Demand is normally measured -- when we in our

16       industry use demand, we usually describe that as

17       kilowatts.

18            Q.   Is it true that distribution primary equipment

19       operates at a higher voltage level than distribution

20       secondary equipment?

21            A.   Yes.

22            Q.   And is it true that distribution primary is 4

23       kilowatts up to 13 kilowatts?  I think we said

24       earlier --

25            A.   I think it is 4 to 25.  But for the sake of

FLORIDA PUBLIC SERVICE COMMISSION

38

1       your question, we'll go along with that.

2            Q.   Okay.  And distribution secondary is 120 volts

3       up to 240?

4            A.   It actually, I think, goes as high as

5       480 volts.  So from 120 to 480 would be a reasonable

6       range for secondary.

7            Q.   Is the voltage level for the smallest

8       distribution primary more than 16 times the level of

9       voltage of the largest distribution secondary?

10            A.   I guess it's 4,000 divided by 480, so it's

11       something less than ten times.  It's a lot larger.

12            Q.   Will you go back to Deposition Exhibit 6?

13            A.   Yes.

14            Q.   Is distribution primary equipment typically

15       much larger than secondary distribution equipment?

16            A.   I think it depends on the type of equipment

17       itself.  For example, conductors.  You will have primary

18       conductors that are single-phase aluminum, and you will

19       have secondary conductors that are single-phase

20       aluminum.  In terms of poles, you will have primary

21       poles that may be 35 feet in height.  You will have

22       secondary poles that may be 35 feet in height.  So it's

23       not uncommon that the sizes of the equipment are

24       similar, and they are not always larger at primary,

25       although they can be larger at primary.

FLORIDA PUBLIC SERVICE COMMISSION

39

1            Q.   Can you use Exhibit 6 in response to -- the

2       response to show the distinction in sizes?  Would that

3       be in there?

4            A.   I think that Exhibit 6 just show by FERC

5       account the -- it does distinguish by sizes, yes.

6            Q.   Based on equipment voltage and size

7       differences, is it reasonable to assume that the

8       proportion of costs which is customer-related at the

9       primary level is significantly lower than the proportion

10       of costs which is customer-related at the secondary

11       level?

12            A.   You can't tell that.  You have to go in for

13       each individual FERC account and look at the methodology

14       for classifying customer-related costs.  And to address

15       your question, which is, I think, the relativity of

16       customer-related costs at primary versus secondary, you

17       would have to do the studies separately for each one,

18       and I have not done that, to answer your question, as to

19       whether the secondary would be considerably higher than

20       the primary or not.

21            Q.   If you can refer to Exhibit 8, Interrogatories

22       Number 194 and 200.

23            A.   Yes.

24            Q.   Here Gulf states that in general, as you move

25       further away from the customer premises and closer to

FLORIDA PUBLIC SERVICE COMMISSION

40

1       the supply function, equipment tends to be less

2       customer-related, is that correct?

3            A.   Yes.

4            Q.   And can you go back to Exhibit 1, which is in

5       Schedule 6.3?

6            A.   Yes.

7            Q.   And that's the analysis of customer and

8       demand-related costs for poles and fixtures at the

9       primary and secondary levels of distribution.

10            A.   Yes.

11            Q.   This schedule shows that the percentage of

12       Account 364 costs identified as customer-related, which

13       is 65.22 percent, is the same for the primary and

14       secondary levels, is that correct?

15            A.   All right.  We are on Schedule 6.3, and the

16       question you're asking is does this show that the

17       percentage of primary cost that's customer-related is

18       65 percent, is that what you're asking?

19            Q.   Right.  And is that the same also for the

20       secondary level?

21            A.   My copy is so bad, I really can't -- it looks

22       about right, but let me see if my version of the study

23       might be a little clearer than that copy.

24                 I would agree that the Level 4

25       customer-related cost on Schedule 6.3 is 65 percent.

FLORIDA PUBLIC SERVICE COMMISSION

41

1       Was that the original question?

2            Q.   Right.  And is that the same for primary and

3       secondary levels?

4            A.   It is.

5            Q.   Okay.  Can you explain why this result is

6       contrary to the response stated in Interrogatory Number

7       200, which states that secondary costs are expected to

8       be more customer-related than primary costs?

9                 MR. GRIFFIN:  Objection to the form.  It

10       assumes that it is contrary.

11                 THE WITNESS:  It's not contrary.  When I say

12       that as one moves up and goes further from the customer

13       to the generating source, that the equipment costs --

14       excuse me, I should say the customer-related costs would

15       normally decline.  What I'm talking about is going from

16       function to function.  If you go from the distribution

17       function to the transmission function to the generation

18       function, I would believe that the customer-related cost

19       declines.  In fact, as we have shown it, it basically

20       goes to zero at subtransmission.  That is certainly a

21       decline.

22                 I'm not talking about a voltage level within a

23       function, so that's Issue 1.  Issue 2 is I'm talking about

24       for a specific piece of equipment in a FERC account.  I'm not

25       talking about the comparison of one FERC equipment cost to

FLORIDA PUBLIC SERVICE COMMISSION

42

1       another one.  So you could not, for example, compare, say,

2       364, which is poles, and 365, which is conductors, and expect

3       that the relationship of declining customer costs would hold

4       across equipment.  You could expect it for a specific type of

5       equipment, but even still, I'm talking about across

6       functions, not voltage levels within a function.

7            Q.   In your opinion, are the costs of Gulf Power's

8       primary poles customer-related to the same degree as

9       Gulf's secondary poles?

10            A.   Yes.

11            Q.   And can you explain why?

12            A.   And the way Gulf conducts its accounting, and

13       this is not contrary to other utilities, either, they

14       all do it this way basically.  They record poles by

15       size, okay.  They will say, okay, we have got X dollars

16       invested in 35-foot poles; we have got Y dollars

17       invested in 40-foot poles; and that is pretty much it.

18       It stops there.

19                 Now, as I said earlier, you can use the same

20       size pole at different voltage levels.  You could put a

21       40-foot pole at primary, you could put a 40-foot pole at

22       secondary.  So the size of the pole and the cost of that

23       size of the pole, you can't track it by voltage level of

24       service, okay.  So in order to compute what would be a

25       minimum-sized pole, that is exactly what we did.  We

FLORIDA PUBLIC SERVICE COMMISSION

43

1       went into the database for Gulf Power and we said what

2       is the smallest poles they possibly use, which are

3       30 and 35-foot poles.  And we said if a minimum

4       distribution system were out there, were constructed, it

5       would have the smallest-sized poles.  But, remember, I

6       said I don't know if those poles are going to be used at

7       primary or secondary.  In fact, they are going to be

8       used at both, to be honest with you.  They will be used

9       at both.  So it's highly likely I've got the same pole

10       being used at primary that I've got at secondary.  So

11       it's highly -- by definition, the cost of that pole

12       would be the same.  So it then follows that the share

13       that is customer-related at primary and secondary would

14       be the same, because the poles would be the exact same

15       in primary and secondary.

16                 MS. BARRERA:  Okay.  This would be Exhibit 10,

17       and it is a document entitled "Charging for Distribution

18       Utility Services:  Issues in Rate Design."

19                 (Exhibit Number 10 marked for identification.)

20       BY MS. BARRERA:

21            Q.   If you can please refer to Pages 30 and 31.

22       And let me ask you, are you familiar with this document?

23            A.   This document was -- yes, to answer your

24       question, it was shared by staff.  I reviewed it at a

25       high level.  I am not intimately familiar with the

FLORIDA PUBLIC SERVICE COMMISSION

44

1       document, but I am familiar with it.

2            Q.   Okay.  This exhibit is dated December 12th --

3       I mean, December 2000, and we are going to refer to it

4       as the RAP report, just for short.

5            A.   Okay.

6            Q.   Were you familiar with this publication at the

7       time you filed your direct testimony?

8            A.   No.

9            Q.   If you know, is it correct that the RAP report

10       is the result of the NARUC Committee on Energy Resources

11       and the Environment hiring the Regulatory Assistance

12       Project under a grant from the Energy Foundation to

13       examine cost classification and allocation issues?

14            A.   That's my general understanding.

15            Q.   Did you rely upon information provided in the

16       NARUC Electric Utility Cost Allocation Manual in the

17       preparation of your testimony?

18            A.   I relied on the recommendations and the

19       acceptability of different methodologies in the NARUC

20       Cost Allocation Manual when conducting the

21       cost-of-service study for Gulf.

22            Q.   Doesn't the RAP report reflect decisions that

23       regulators have made about cost classification and

24       allocation issues which are more recent than those

25       included in the NARUC allocation manual?

FLORIDA PUBLIC SERVICE COMMISSION

45

1            A.   I guess in terms of dates.  The NARUC Cost

2       Allocation Manual was dated 1992.  This one was dated in

3       the year 2000.  However, the documents themselves have

4       different purposes.  The 1992 cost allocation manual was

5       a listing of acceptable methodologies for cost

6       allocation.  And those acceptable methodologies in my

7       opinion, and, in fact, in the opinion of the industry,

8       live on.  They are not basically saying that you have

9       got to do your cost analysis this way or that way.  They

10       are giving you a list of acceptable methodologies, and

11       those acceptable methodologies are still viable today

12       like they were in 1992.

13                 However, this document was written, as it

14       appears to me when I read it, that it was done in the

15       year 2000, but it was done basically for several

16       purposes that make it not directly applicable to cost of

17       service allocation today.  One of those, and it is clear

18       in the reading, was this document was in response to a

19       concern at the time that the industry was deregulating

20       and possibly unbundling such that the remaining

21       regulated utility would be a distribution company, and

22       the supply function would continue to be -- or not

23       continue, would become competitive.  And so the document

24       itself seems to be just chock full throughout of -- the

25       purpose is to ready the distribution utility for rate

FLORIDA PUBLIC SERVICE COMMISSION

46

1       designs and pricing that would be more applicable to a

2       competitive environment that we thought we were going to

3       in the year 2000, and it directs rate design in that

4       degree.

5                 So it is not a list of acceptable means, it is

6       a recommendation on what should be done.  Now, I

7       personally think the world has changed dramatically

8       since the year 2000 to the year 2011, because I don't

9       think we are on the edge of deregulation like we thought

10       we were on the edge in the year 2000.  I don't think

11       that the drivers are the same.

12                 I don't think that we are going to deregulate

13       our business certainly not, in my opinion, in Florida,

14       and make the supply function competitive tomorrow and

15       the only regulated entity left is the distribution

16       function.  So to me -- I think they used the term we are

17       not in Kansas any more.  Well, maybe we still are in

18       Kansas.  And, as far as I can tell, we are going to stay

19       that way.  So I don't think that the drivers of this

20       report are applicable to the world we live in today.

21                 And, secondly, this was a document to advise,

22       to recommend rate design changes that would ready the

23       distribution company for that deregulated world.  This

24       is rate design recommendations, not cost of service

25       recommendations or methodologies like that 1992 NARUC

FLORIDA PUBLIC SERVICE COMMISSION

47

1       manual would be.  And you have to be very cautious and

2       careful not to allow rate design to tell you how costs

3       should be allocated.  That is putting the horse in front

4       of the cart.  So I caution this document for that

5       reason, too.  It is primarily a rate design

6       recommendation as opposed to a cost of service.

7                 And even as I read this document, they

8       strongly advocate pricing with a strong influence on

9       marginal cost.  They strongly suggest that the price

10       designs should be like they would be in a competitive

11       world for the distribution company.  And I think they

12       are even wrong in many of their assumptions on what

13       pricing is like in a competitive world.

14                 So this is just a long-winded way of saying

15       the document in 1992 is older, I would agree with that.

16       But I think it is still applicable today because of what

17       its purpose was.  This document here that was written in

18       2000, even those it is of a more recent vintage, it is

19       not applicable today for cost of service especially.

20            Q.   Okay.  Turning Page 16 to 17, where it says

21       recent proposals for pricing distribution services, they

22       cite multiple examples, including Nevada and Maine

23       Public Utilities.  And you refer to -- reading that and

24       then refer to your Direct Testimony on the top of Page

25       27, Lines 1 to 7.

FLORIDA PUBLIC SERVICE COMMISSION

48

1                 MR. GRIFFIN:  I'm sorry, Martha, where were

2       the references to the specific states in the RAP report,

3       what page, 30?

4                 MS. BARRERA:  Page 16 to 17.  It's the top of

5       Page 17.  The top of Page 17 cites the Nevada, okay, and

6       then Maine, it looks like it's about the second

7       paragraph down.  They also cite California.

8                 THE WITNESS:  Okay.  So you're asking me to

9       review the Pages 16 and 17 for Nevada and Maine?

10                 MS. BARRERA:  Uh-huh.

11                 THE WITNESS:  And then you're also asking me

12       to look at my testimony on the top of Page 27.

13                 MS. BARRERA:  Right.

14                 THE WITNESS:  Okay.  I am doing so.

15       BY MS. BARRERA:

16            Q.   In your testimony you identify other utilities

17       in the U.S. and the Southern electric system that use

18       MDS to determine the customer-related costs.  How did

19       you identify these utilities?

20            A.   From my experience working with them.

21            Q.   Did you investigate whether the respective

22       state commissions for those specific utilities approved

23       rates for each based upon cost studies which

24       incorporated MDS?

25            A.   No.

FLORIDA PUBLIC SERVICE COMMISSION

49

1            Q.   Can you state the reason cited by these state

2       commissions for accepting the use of MDS?

3            A.   No.

4            Q.   Were you able to determine whether states

5       other than the ones you identified have denied the use

6       of MDS to classify electric distribution costs?

7            A.   No.

8            Q.   And in the RAP report on Page 17, the second

9       paragraph, the Maine Public Utility Commission

10       explicitly rejected MDS proposals, is that correct?

11            A.   I'm going to read it real quick.

12            Q.   Sure.

13            A.   Okay.  It does appear that the Maine Public

14       Utilities Commission ordered, I guess, the utility,

15       Central Maine Power Company, to charge a customer charge

16       that covered the cost of metering, billing, and customer

17       services only.  I'm reading what it says here.

18            Q.   Uh-huh.

19            A.   So that does appear to be the case.  As I was

20       reading to this paragraph, I happened to notice Southern

21       Cal Edison, on the other hand it appears that they are

22       including a customer charge more than two and a half

23       times that of Maine.  And Southern Cal Ed is arguing

24       that the distribution costs of the most part are fixed

25       and do not vary with load or throughput, and therefore

FLORIDA PUBLIC SERVICE COMMISSION

50

1       should be covered in fixed recurring charges.  So I have

2       to conclude that, yes, you're right.  It appears that

3       the Central Maine -- the Commission there possibly

4       denied the use of any customer-related distribution

5       costs.  It appears, as I glanced through, that Southern

6       Cal Ed took a contrary position.

7            Q.   Okay.  Do you know what other states have

8       denied the use of MDS?

9            A.   I do not.

10            Q.   In your review of the other utilities'

11       methods, or your experience of the other utilities'

12       methods of determining customer-related distribution

13       costs for Accounts 364 through 368 using MDS, what

14       method did you find most utilities use, the minimum size

15       approach or the minimum intercept approach?

16            A.   It's my recollection that it's a mixed bag.  I

17       can't say that one method predominates over the other.

18       Some use minimum size, some use minimum intercept.  And

19       it also varies by FERC account.  Sometimes a utility

20       will do one account one way for various reasons and

21       another account using the other methodology.

22            Q.   Okay.  Excuse me a second.  Do you recall what

23       states mix the methodologies within the accounts?

24            A.   No, I don't.

25            Q.   Do you know which MDS method has been most

FLORIDA PUBLIC SERVICE COMMISSION

51

1       commonly used in the U.S. by state regulators to set

2       rates?

3            A.   And by methodology I presume you're saying

4       minimum size or zero intercept, that's the way I'm

5       interrupting the question.

6            Q.   Right.

7            A.   And, no, I don't.

8            Q.   If you turn to Page 30 of the RAP report, the

9       final paragraph at the bottom and it continues at the

10       top of Page 30, it states there are a number of methods

11       of differentiating between the customer and demand

12       components of embedded distribution plant.  The most

13       common method used is the "basic customer" method, which

14       classifies all poles, wires, and transformers as

15       demand-related and meters, meter reading and billing as

16       customer-related.  This general approach is used in more

17       than 30 states.  A variation is to treat poles, wires,

18       and transformers as energy related -- driven by kilowatt

19       hour sales.  But though it has obvious appeal, only a

20       small number of jurisdictions have gone this route.  Is

21       that accurate?

22            A.   Well, your reading is certainly accurate.  My

23       guess is I would not be surprised if this wasn't true

24       when this was written.  In other words, that in general

25       there are about 30 states that use the basic method.  So

FLORIDA PUBLIC SERVICE COMMISSION

52

1       that doesn't surprise me.

2                 Now, something that does surprise me, however,

3       here is that it says a variation is to treat poles,

4       wires, and transformers as energy related -- driven by

5       kilowatt hour sales.  Even though it says a small number

6       of jurisdictions have gone this route, I haven't seen

7       any jurisdictions that classify distribution costs as

8       energy related.

9            Q.   Do you dispute the RAP rate design report's

10       conclusions in this paragraph that the most common

11       method used for classifying distribution costs in late

12       2000 was the basic customer method?

13            A.   I guess 30 out of 50, I don't dispute that.

14            Q.   Okay.  Would that conclusion be true today?

15            A.   I don't know.  It wouldn't surprise me if it

16       was true, but I don't know.

17            Q.   Is it correct that the 1992 NARUC Electric

18       Cost Allocation Manual you referenced at Page 18 of your

19       Direct Testimony indicated that Accounts 364 through 368

20       have both a customer and demand component?

21            A.   Right, yes.

22            Q.   And can you tell us the reasons why most state

23       jurisdictions recognize only the demand component for

24       these accounts at the time of the RAP report?

25            A.   No, I don't know why they did that.  I guess

FLORIDA PUBLIC SERVICE COMMISSION

53

1       they just didn't have a good cost-of-service analyst

2       working for them.  That's the only thing I can conclude.

3                 It is, I must admit -- and I don't mean to be

4       trite, but it is easier to not classify distribution

5       costs into a customer and demand component.  It's easier

6       to just say it's all or nothing.  Meters all customer,

7       364 all demand.  That's easy.  It doesn't take a real

8       intelligent analyst to perform that study.  And it is

9       harder to get it right, to get it accurate, to break out

10       and show a share of a particular distribution account

11       that is demand-related and customer-related.  So it is

12       more difficult.

13                 That may be part of why some of these other

14       states haven't gone that route, because it is a more

15       difficult thing to do and to do it right.  But in my

16       opinion, those utilities, those states that have taken

17       the challenge to do it right have benefited by doing so,

18       and moving forward with a minimum distribution system

19       concept.

20                 MS. BARRERA:  This would be Deposition Exhibit

21       11, which is a copy of Gulf Power's Response to Staff's

22       Sixth Request for Production of Documents Number 22.

23                 THE WITNESS:  Yes.

24                 (Exhibit Number 11 marked for identification.)

25

FLORIDA PUBLIC SERVICE COMMISSION

54

1       BY MS. BARRERA:

2            Q.   Gulf's response in this document indicates

3       that Gulf has become aware of cost of service

4       methodologies that are in use at various utilities.  How

5       do most investor-owned electric utilities classify

6       Accounts 364 through 368 costs; demand-related,

7       customer-related, or some mixture?

8            A.   I would have to read this entire document to

9       come to a conclusion there.  The document that you have

10       given me, at least the attached hard copy, it shows a

11       list of, I guess, three Florida utilities, and I don't

12       know, maybe 15 other vertically integrated utilities,

13       and some T&D utilities.  And so this is obviously --

14       this is not an entire sample or census of utilities that

15       are out there.  And so I can't say that this represents

16       a large majority, or the majority of utilities.  I can't

17       say that.

18                 Now, if you want to ask the question for these

19       listed here, how do they appear to classify cost, I

20       would presume you would go into that distribution column

21       there and try to deduce from that whether they are using

22       the MDS method or not.  And I'm trying to -- I'm trying

23       to understand the acronyms here, and I guess MDD stands

24       for minimum distribution demand, I guess.  So it's hard

25       for me to conclude from looking at this distribution

FLORIDA PUBLIC SERVICE COMMISSION

55

1       function whether the majority are using the customer

2       demand split or not.

3                 MR. GRIFFIN:  Can I ask a question just for

4       clarification?  I see the answer to Item Number 22, and

5       then we have got this document attached to it.  Is this

6       a document that Gulf Power produced in discovery or is

7       this a document that staff has attached to this

8       response?

9                 (Off the record.)

10                 MS. BARRERA:  We are going to rephrase the

11       question.  I'm going to re-ask the question.

12       BY MS. BARRERA:

13            Q.   How do most investor-owned electric utilities

14       in the United States classify Accounts 364 through 368,

15       whether demand-related, or customer-related, or a

16       mixture?

17            A.   I do not know.

18            Q.   With reference to Page 29 of the RAP report,

19       can you read aloud the first two sentences under the

20       heading cost causation?

21            A.   The first two sentences, did you say?

22            Q.   Uh-huh, right.

23            A.   There is broad agreement in the literature

24       that distribution investment is causally related to peak

25       demand.  Number of customers on the system and energy

FLORIDA PUBLIC SERVICE COMMISSION

56

1       needs are also seen to drive costs, but there is less of

2       a consensus on these points or on their implications for

3       rate design.

4            Q.   Is the author correct, in your opinion, that

5       there is a general agreement in the literature that

6       distribution investment is causally related to peak

7       demand?

8            A.   I would say that there is general agreement in

9       the industry that pieces of distribution equipment are

10       demand-related, and I would also say that there is

11       agreement with a lot of utility practitioners that much

12       of the distribution equipment is also customer-related.

13       I would say it is rare, if it ever happens, that

14       utilities construe that distribution-related equipment

15       is energy related.

16            Q.   So would you agree with the author that there

17       is less consensus on whether distribution investment is

18       causally related to the number of customers and energy

19       needs than there is regarding peak demand?

20            A.   I would say that the authors of this paper

21       asserted early on that their review indicates that there

22       are 30 utilities, I think, that do not use MDS.  So,

23       that right there says the author believes that the

24       majority of the utilities would not see a causal

25       relationship to customer-related.  So that I would say

FLORIDA PUBLIC SERVICE COMMISSION

57

1       you can deduce from the authors of this written in the

2       year 2000.  I would assert that you can't say that that

3       applies today, and I would also assert that even if it

4       were to apply today, that doesn't mean it's the right

5       answer.

6            Q.   On the bottom of Page 31 in the RAP report,

7       the author states that the zero intercept method

8       attempts to model a system that has no demand serving

9       capability whatsoever, but what remains is not

10       necessarily a system whose costs are driven any more by

11       the number of customers than it is by geographical

12       considerations whose causative properties are neither

13       squarely demand nor customer-related.

14                 Do you agree with the author that geographical

15       consideration may be an equal cause of the cost of a

16       minimum distribution system as the number of customers?

17            A.   No, I wouldn't agree with the author.  I think

18       what the author is getting confused on is that they are

19       thinking that a geography is the reason that a utility

20       constructs a distribution system.  That is the reason.

21       But the reason is there because there are customers and

22       there's load behind that geography.  If you went out to

23       a large ranch in Wyoming where there are no customers,

24       and I would doubt very seriously that the utility would

25       construct a distribution system because that's geography

FLORIDA PUBLIC SERVICE COMMISSION

58

1       and we've got to put something out there because it's

2       geography.  The reason you put a distribution network is

3       because of customers and load.  Now, it so happens that

4       if the customers and the load is concentrated in a

5       certain locale, a certain geography, then that affects

6       the resultant unit cost per customer, or per kw, or

7       however you're measuring it.  But the geography itself,

8       I wouldn't say, is the driver.  It is the fact that

9       there is load and customers behind that geography that

10       drives it.

11                 And another point that the author says here is

12       whose causative properties are nearly squarely demand or

13       customer-related.  In the embedded cost-of-service

14       world -- and he uses another term in this document

15       called unequivocally -- in the embedded cost-of-service

16       world it is rare that you ever find costs that are

17       squarely demand or squarely customer or squarely energy

18       unequivocally.  That's rare.

19                 And that's the whole modus operandi behind why

20       we are trying do this MDS is to recognize that much of

21       the equipment cost, especially in distribution, is of a

22       joint nature.  It serves two different purposes.  It

23       enables a customer to receive service and it enables

24       certain load requirements of the customer to be

25       satisfied.  So that equipment is serving a joint -- it

FLORIDA PUBLIC SERVICE COMMISSION

59

1       is not squarely, it is not unequivocally demand, it's

2       not unequivocally customer, in many cases, of Accounts

3       364 through 368.  So what the intelligent analyst has to

4       do is separate those accounts into the portion that

5       share of that joint cost that is customer-related and

6       that share that is demand-related.

7                 There are a few costs that the general --

8       there is general consensus that it is unequivocal.  Like

9       meters.  It's pretty much, although not 100 percent, but

10       it is far and away the majority concede that meters are

11       customer-related, 100 percent.  It is normally

12       considered that fuel cost is unequivocally energy

13       related.  There is not too much debate on that.  But

14       those are rare extremes.  In between those specifically

15       those Accounts 3646 to 368, there are shared costs,

16       there are joint costs that need to be divided up.  It's

17       to me an egregious oversight to go to one of those

18       particular accounts and say it's all or nothing.

19                 MS. BARRERA:  Excuse me a second.

20                 (Off the record.)

21       BY MS. BARRERA:

22            Q.   Is it correct that the geographical locations

23       of customers within rate classes may impact the cost to

24       connect them to Gulf's distribution system, but such

25       costs may not be reflected in the number of customers by

FLORIDA PUBLIC SERVICE COMMISSION

60

1       rate class?

2            A.   That was a long sentence.  Let me paraphrase

3       it.  I'm going to paraphrase it and you tell me if I'm

4       wrong, okay, Bill?

5                 You're asking if the geographical

6       considerations of serving a particular rate class are

7       such that the cost to serve certain customers within

8       that rate class may not be recovered by those customers,

9       was that it?

10                 MS. BARRERA:  Off the record.

11                 (Off-the-record discussion.)

12            A.   (Continuing)  So what I'm construing the

13       question to be is if you had a utility and it had two

14       types of customers, it had one type of customer that was

15       business customers, it had another type of customer that

16       was residential customers, and that environment was such

17       that it was -- it was mostly an urban environment.

18                 Now, that utility is going to incur costs,

19       demand-related and customer-related, that are driven by

20       those two classes of customers, and include the fact --

21       it is influenced by the fact that it is an urban

22       utility.  Now take Utility B, Utility B will just

23       suppose has the exact same business customers as Utility

24       A, but Utility B has mostly rural residential customers.

25       So in that case there, the customer-related cost would

FLORIDA PUBLIC SERVICE COMMISSION

61

1       be higher for the rural customers because obviously you

2       are going to have more poles per customer out on the

3       farm than you do in an apartment complex, for example.

4       So the customer-related costs would be greater in that

5       second scenario, and that's a fact of life.

6                 I think that if you are arguing -- if someone

7       were to argue that right there means that you ought to

8       take customer-related costs and instead of saying they

9       are customer-related, you ought so say they are

10       demand-related.  To me that's an even worse error,

11       because the loads would be the same.  I still think that

12       a customer relationship is more appropriate.  And if you

13       are arguing that, well, doesn't that mean, then, that a

14       rural customer ought to pay more for electricity than an

15       urban customer because they are forcing more costs on

16       the utility?  You could argue that they are forcing more

17       costs on the utility, but whether that would be fair and

18       equitable to charge the rural customer more than the

19       urban customer, that is a rate design question that I

20       wouldn't want to touch.  And I haven't seen any

21       utilities that do that.  They do try to drill down into

22       the nature of the customer, whether he's urban or rural,

23       and charge one more or less than the other, that would

24       be a tough one to advocate, and I wouldn't advocate

25       doing so.

FLORIDA PUBLIC SERVICE COMMISSION

62

1            Q.   Please turn to Page 9 of your testimony, Lines

2       1 to 3, and here you state that there are three primary

3       drivers in causing costs to be incurred by an electric

4       utility which enable accurate cost allocation, and they

5       include peak demand, kilowatt hours, and customers.  Is

6       that correct?

7            A.   That is correct.

8            Q.   Is it your testimony that just two of these

9       drivers, peak demand and customers, are the appropriate

10       drivers in causing distribution costs to be incurred by

11       an electric utility?

12            A.   Yes.

13            Q.   Do you agree that the definition of peak

14       demand is the maximum demand for electric power that

15       determines the generating capacity required by a

16       utility.  More generally, is the maximum load consumed

17       or produced over a stated period?

18            A.   My definition of peak demand has to be

19       specific to the equipment that we're talking about.  So

20       it is the peak demand that that equipment has to serve.

21       Therefore, the peak demand that the generating function

22       has to serve is pretty much the peak demand of the

23       system.  It's a coincident peak that occurs at a

24       particular moment in time, maybe a 15-minute interval.

25       What is the maximum load that Gulf Power has to serve on

FLORIDA PUBLIC SERVICE COMMISSION

63

1       a coincident level over 15 minutes over the course of

2       2012, for example.

3                 But different functions will have different

4       times that they peak.  For example, if you were to look

5       at a line transformer outside of your house, there is a

6       good likelihood that that line transformer's maximum

7       loading will occur at a different time than the system

8       peaks.  It depends on when you get home from work, what

9       appliances you turn on, and so forth as to when it

10       peaks.  So the peak demand for a line transformer is

11       indeed the peak demand that that piece of equipment

12       would serve, but it may occur at a different time than

13       the peak demand on other pieces of equipment.

14            Q.   Okay.  On Page 31 of the RAP report --

15            A.   Yes, I'm there.

16            Q.   -- at the bottom of the page, the author asks

17       two probative questions regarding the minimum size

18       method.  The first is doesn't the minimum size system,

19       in fact, include demand costs in such a system can serve

20       some amount of demand.  How do you answer that question?

21            A.   Is the author supposing that a minimum-size

22       methodology for deriving the customer component, that

23       minimum size could provide some demand?  I think that

24       the author is, indeed, proposing that, and I don't

25       disagree with that.  That when you use the minimum size

FLORIDA PUBLIC SERVICE COMMISSION

64

1       as opposed to the zero intercept there is an underlying

2       premise that that minimum size probably could carry a

3       little load.

4            Q.   The second question the author asks is does

5       use of an abstract minimum system place a

6       disproportionate share of the cost burden on certain

7       customers or classes, in certain cases even resulting in

8       double counting?

9            A.   The zero intercept does not produce double

10       counting because the zero intercept by definition

11       carries no load, so it's not in the load allocator

12       itself.

13            Q.   Okay.  Can you relate that to the minimum

14       system?

15            A.   Minimum size.  Think of it this way.  We have

16       got a minimum distribution concept.  There's two ways to

17       go about defining it, so under that umbrella of minimum

18       distribution there's two ways; minimum size, zero

19       intercept.  Now, I think the question that you want to

20       get at is if you use the minimum size, is there some

21       load in there?  And I would conclude there probably is a

22       little load, and it is -- I don't know how much that

23       minimal load would be.  My guess is it would be

24       relatively small.

25                 If you could estimate it, you could remove it

FLORIDA PUBLIC SERVICE COMMISSION

65

1       from the demand allocator.  That would be one way to

2       treat it.  But even if there is a little load in there

3       that you don't remove for using the minimum size as

4       opposed to the zero intercept, I think that weakness is

5       still stronger, it is still better than, therefore,

6       ignoring the minimum distribution system altogether in

7       terms of trying to come up with the most accurate cost

8       allocation that's possible.

9                 MS. BARRERA:  Off the record.

10                 (Off the record.)

11                 MS. BARRERA:  Back on the record.

12       BY MS. BARRERA:

13            Q.   In your testimony on Page 23, Lines 15 to 17,

14       you state that the minimum-size method has a weakness

15       because even the smallest standard size equipment is

16       capable of carrying load, is that correct?

17            A.   That is correct, I said that.

18            Q.   Okay.  And do you recall submitting Direct

19       Testimony to this Commission in Docket Number 010949-EI?

20            A.   Yes.

21                 MS. BARRERA:  Can you mark this as Exhibit 11,

22       which is comprised of Pages 15 and 16 of Mr. O'Sheasey's

23       Direct Testimony in Docket 010949-EI.

24                 (Exhibit Number 12 marked for identification.)

25       BY MS. BARRERA:

FLORIDA PUBLIC SERVICE COMMISSION

66

1            Q.   Will you review these two pages in Exhibit 12,

2       and do you agree that these two pages are part of your

3       Direct Testimony from that docket?

4            A.   Yes.

5            Q.   Is it correct to say that your testimony in

6       Docket 010949 was that the minimum-size methodology used

7       to categorize the cost of a 10 kVa transformer as

8       customer-related is a flawed approach?

9            A.   I would characterize it as a weaker approach

10       than a zero intercept, if a zero intercept can be done.

11            Q.   Did you conclude in this testimony in Docket

12       010949 that the minimum-size methodology used to

13       categorize the cost of a 10 kVa transformer as

14       customer-related was a flawed approach, because even the

15       smallest standard sized equipment is capable of carrying

16       load which is demand-related and should therefore be

17       embedded within another price component?

18            A.   I would say that what I said in this docket

19       was that the zero intercept is an improved and better

20       approach than the minimum size, even though both

21       approaches are acceptable.  Both approaches are accepted

22       by the NARUC cost allocation manual and used throughout

23       the industry.  The zero intercept is a better method

24       when it can be done.  And, indeed, in this study, the

25       Docket 010949, as well as the filed docket that we are

FLORIDA PUBLIC SERVICE COMMISSION

67

1       in right now, in both cases the zero intercept was used

2       for transformers.

3            Q.   In your Direct Testimony in this Docket

4       110138, did you use the minimum-system method for

5       determining customer-related costs of Account 364?

6            A.   Yes.

7            Q.   Does the flawed process you discussed in your

8       testimony in 010949 regarding the double counting of

9       demand-related costs apply to the customer-related costs

10       you have identified in 110138 related to the wooden and

11       concrete distribution costs?  Distribution poles, I'm

12       sorry.

13            A.   Right.  There is no doubt that in the current

14       case we used the minimum size for 364.  All the other

15       accounts we used zero intercept.  Now, the reason that

16       we used the minimum size for 364 is it was just not --

17       the accounting was just not doable to do a zero

18       intercept on poles, so it couldn't be done with zero

19       intercept.  It wasn't done in the prior case, either.

20                 So we concluded that the other approach,

21       minimum size, would be used.  As I said earlier, the

22       minimum size is accepted just like zero intercept is

23       accepted.  It is not as strong a methodology as zero

24       intercept, but zero intercept couldn't be done.  So to

25       just throw our hands up in the air and surrender and

FLORIDA PUBLIC SERVICE COMMISSION

68

1       say, okay, because I can't do zero intercept for 364, I

2       won't do it is just foolish.  We shouldn't just

3       basically give up, and so we didn't.  We went ahead and

4       used the second method, minimum size, for computing the

5       customer-related component, and it produced a reasonable

6       result.  And so we feel like it is perfectly acceptable

7       to use minimum size in this case for 364, since we

8       couldn't do zero intercept.

9            Q.   Okay.  And is it your position that double

10       counting of demand costs for Account 364, once in the

11       customer-related costs and again in the demand-related

12       costs, was avoided in this case?

13            A.   I wouldn't say it's avoided.  I think -- I

14       want to paraphrase, once again, what you're saying to

15       make sure it's clear.  You're saying that with 364,

16       since minimum size, that minimum size could carry some

17       load, and that's probably a reasonable presumption.  And

18       so if you knew what that load was, you could remove it

19       from the demand allocator.  So you could argue that the

20       customers then are feeling the impact of that load

21       twice, okay.  However, if you knew what it was, like I

22       said, you could remove it, but it would be very

23       difficult to figure out what it was.  And I suspect that

24       it would be relatively small.

25                 And, thirdly, this weakness, I'll call it, of

FLORIDA PUBLIC SERVICE COMMISSION

69

1       including it in the methodology, is still a far-improved

2       method over not presuming any customer-related costs of

3       364 whatsoever in the way you allocate costs.

4                 MS. BARRERA:  Okay.  Deposition Exhibit 13,

5       which is Gulf Power's Response to Interrogatory 61 in

6       Staff's Sixth Set of Interrogatories.

7                 THE WITNESS:  Okay.

8                 (Exhibit Number 13 marked for identification.)

9                 MR. GRIFFIN:  I do not have that.

10                 (Off-the-record discussion.)

11                 MS. BARRERA:  Back on the record.  If you can

12       please turn to Exhibit 13 to Interrogatory Number 64.

13                 MR. GRIFFIN:  61?

14                 MS. BARRERA:  I'm sorry, 61.  Bill wants 64,

15       which is on the back page.  I'm sorry, it's the last

16       page.

17                 THE WITNESS:  It's Number 64.  Yes, I'm

18       looking at it.  It's actually not my last page, but

19       that's okay.

20       BY MS. BARRERA:

21            Q.   The interrogatory asked Gulf to state the

22       controlling factors for its determination on the

23       placement size and type of conductors used at Levels 4

24       and 5 on GPC's distribution system.  Do you agree with

25       the statement in the response that Gulf relies on new

FLORIDA PUBLIC SERVICE COMMISSION

70

1       and existing customer load requirements?

2            A.   Yes.

3            Q.   Please state the definition Gulf uses in the

4       term customer load?

5            A.   I guess it is the load imposed by a customer

6       on the system.

7            Q.   Would it be the sum of the demand of a group

8       of customers?

9            A.   It depends on the equipment.  Some pieces of

10       equipment like we were talking earlier about that rural

11       farmer, that line transformer might only be serving him,

12       where there are other pieces of equipment like primary

13       distribution might be serving multiple customers.  So to

14       answer your question, it might be multiple customers, it

15       might be a single customer.

16                 MR. GRIFFIN:  And I would just note that a

17       couple of days ago we circulated a table with all of the

18       witnesses and the respective interrogatory responses for

19       which they were responsible, and I don't think that Mr.

20       O'Sheasey was designated as being responsible for this

21       Number 64.  To the extent that he can speak to it,

22       that's fine, but I would just note that.

23                 MS. BARRERA:  That's fine.  Off the record.

24                 (Off-the-record discussion.)

25                 MS. BARRERA:  Back on.

FLORIDA PUBLIC SERVICE COMMISSION

71

1       BY MS. BARRERA:

2            Q.   Do you know whether conductor wire sizes in

3       Gulf's distribution system are designed based on the

4       expected demand?

5            A.   That is my understanding.

6            Q.   Would you agree that for purposes of measuring

7       customer load, the basic unit is the number of watts

8       where one watt equals one ampere flowing at one volt of

9       pressure?

10            A.   That sounds reasonable, with a 100 percent

11       power factor.

12            Q.   Okay.  Would you agree that conductors in the

13       distribution system are classified and named according

14       to either their voltage rating, such as 120 volts, or

15       240 volts, or kVa, or kilovolt amperes rating, a measure

16       of power or demand?

17            A.   I don't know the answer to that.

18            Q.   Do you know whether conductors in the

19       distribution system are classified or named according to

20       the number of customers they serve?

21            A.   I don't think so.

22            Q.   Would you agree that the number of customers

23       is not a factor?

24            A.   It depends, once again, on the type of

25       equipment that you're talking about.  If you're talking

FLORIDA PUBLIC SERVICE COMMISSION

72

1       about the primary distribution line, that equipment was

2       sized to serve the maximum load that it was going to

3       experience.  And the distribution engineer, if he is

4       intelligent, and I'm sure that Gulf Power distribution

5       engineers are intelligent, in predicting what is the

6       maximum loading that that wire is going to see

7       incorporate into their mindset, into the logic, well,

8       what are the customers that are going to be behind this

9       load.  For example, is there one customer, one

10       industrial, one large industrial customer, or is there a

11       mix of, say, five commercial and 100 residential

12       customers.  Because what they have to do is anticipate

13       what is the coincident loading that is going to occur on

14       the equipment, and they have to consider what type

15       customers are behind it and what drives their usage of

16       power.

17                 For example, many residential customers may be

18       such that they are at work during the daytime.  They

19       come home at night and their maximum power cuts on about

20       5:00 or 6:00 p.m.  So he would have to consider that.

21                 So to go back to your original question, in

22       sizing of equipment, the load that that equipment is

23       going to see is certainly a driving factor, but the

24       makeup of the customers behind it is also a need of

25       consideration.

FLORIDA PUBLIC SERVICE COMMISSION

73

1            Q.   And on Page 23 of your Direct Testimony --

2            A.   Yes, ma'am, I'm there.

3            Q.   -- at Lines 10 and 11 --

4            A.   Yes.

5            Q.   -- where in describing the minimum-sized

6       method of distribution cost classification, you state

7       that in this example a 10 kVa line transformer

8       represents the smallest sized transformer normally used,

9       is that correct?

10            A.   That is correct.

11            Q.   And you further state that the 10 kVa

12       transformer is used as the basis for determining the

13       customer-related cost of transformers with the residual

14       transformer cost treated as demand-related, is that

15       correct?

16            A.   That is what that says.  And it's talking

17       about if you were to use the minimum size for

18       transformers, we didn't do that, but if you were to use

19       the minimum size, then you would use a 10 kVa in this

20       case.

21            Q.   On Page 23, on Lines 7 to 9, you stated that a

22       minimum size of equipment is necessary when employing

23       the minimum-size method, is that correct?

24            A.   That is correct.

25            Q.   And in Exhibit 1, Schedule 6.3 --

FLORIDA PUBLIC SERVICE COMMISSION

74

1            A.   Yes, I'm there.

2            Q.   -- your classification of poles in this

3       instance is both the 30-foot and the 35-foot wooden

4       poles.

5            A.   It is.

6            Q.   And why did you use the combination of not

7       only the smallest poles, but also the most frequently

8       used poles to determine customer-related pole costs

9       using the minimum-size method?

10            A.   What we're trying to do is create a

11       representation of a minimal distribution system that

12       Gulf Power would have in service.  Well, it's a fact

13       that Gulf Power doesn't purchase 30-foot poles anymore.

14       For whatever reason they don't do that.  The smallest

15       sized pole that Gulf Power purchases today is a 35-foot

16       pole.

17                 So in doing the minimum size for Account 364,

18       we had a choice.  We could -- well, we wanted to

19       construct a system that was reflective of the real

20       world.  The real world says 35-foot pole.  That's the

21       smallest you're going to get.  But we knew that we had

22       30-foot poles in our database, so we felt like it would

23       be probably a reasonable approach to use the smallest

24       size we are currently buying, but also include in that

25       our recorded older poles, those 30-foot poles that are

FLORIDA PUBLIC SERVICE COMMISSION

75

1       still out there, and just combine the two and say that

2       is reflective as opposed to just using the 35-foot

3       poles, which is what we are buying today.

4            Q.   And in Exhibit 13, the response to

5       Interrogatory Number 61.

6            A.   I'm on 13, and where did you want me to go?

7            Q.   Number 61, the response to 61.

8            A.   Uh-huh.

9            Q.   Gulf states in its response that the type,

10       size, quantity, and vintage of its distribution assets

11       in Account 364 through 369 are not directly

12       distinguishable with respect to service to any

13       particular rate class.  Is that correct?

14            A.   Correct.

15            Q.   And from the response to this interrogatory,

16       would it be correct to state that Gulf Power does not

17       know what number or percentage of distribution secondary

18       lines serve its customers of the GSD, GSDT, LP, LPT, or

19       major account classes, and also serve customers of the

20       residential general services and OS classes?

21            A.   Wow, that's another long question.

22            Q.   Uh-huh.

23            A.   Gulf knows how many lines of secondary

24       conductors they have, and I thought that's what you were

25       talking about was conductors.  Is that what you were

FLORIDA PUBLIC SERVICE COMMISSION

76

1       talking about?

2            Q.   Conductors.

3            A.   Yes, they know how many -- let me back up.

4       They know how many primary lines of conductors they

5       have.  They actually don't know how many miles of

6       secondary conductor line they have, but they know how

7       much primary they have.  They know how many of each one

8       of those rate classes you just referred to are served at

9       secondary, they know how many are served at primary,

10       okay, so that's what they do know.

11                 MS. BARRERA:  Excuse me.  (Pause.)

12                 Okay.  Well, what we are trying to get at in this

13       question is when there is a secondary line that serves both

14       larger customers and smaller customers, would Gulf know which

15       part is the large and which part is the smaller.

16                 Let's go off record.

17                 (Off-the-record discussion.)

18                 THE WITNESS:  Regarding the distribution of

19       customers on secondary lines, as to whether those

20       secondary lines are serving a combination of large

21       customers and small customers or not, I don't know the

22       answer to that.  It's possible that some distribution

23       engineers at Gulf Power could give you a better feel for

24       whether those secondary lines are shared in large degree

25       between large and small customers or not.  My guess is

FLORIDA PUBLIC SERVICE COMMISSION

77

1       some are shared and some are not, but I don't know.

2       BY MS. BARRERA:

3            Q.   Would that be the same answer if it involved

4       distribution of secondary poles?

5            A.   Yes.

6            Q.   And is it possible that most of the secondary

7       distribution poles on Gulf's system serve a mixture of

8       residential, general service, or OS classes as well as

9       the bigger classes?

10            A.   It's quite likely that the poles at secondary

11       oftentimes serve a mixture, but whether that is the

12       predominant method or circumstance or not, I don't know.

13       I can't say that 80 percent of the poles on the

14       secondary system serve just one particular rate class or

15       not because it's going be a mixed bag.  Some poles will

16       serve multiple rate classes, some poles will only serve

17       one rate class.

18                 MS. BARRERA:  Please mark this next Deposition

19       Exhibit 14, which is MFR Schedule E-16.

20                 (Exhibit 14 marked for identification.)

21       BY MS. BARRERA:

22            Q.   Please refer to Exhibit 14, MFR Schedule E-16.

23       This schedule shows the number of customers served at

24       transmission, subtransmission, primary distribution, and

25       secondary distribution voltages by rate schedule for the

FLORIDA PUBLIC SERVICE COMMISSION

78

1       projected test year, is that correct?

2            A.   Yes.

3                 MS. BARRERA:  Please mark this exhibit as

4       Exhibit 15.

5                 (Exhibit Number 15 marked for identification.)

6       BY MS. BARRERA:

7            Q.   Please review Exhibit 15, which is staff's

8       calculated percentages of customers at Level 5.  Staff

9       has done some calculations to determine what percent of

10       customers are served at the secondary distribution

11       voltage based on the data in Columns 3 and 7 of

12       Deposition Exhibit 14.  Staff calculated that

13       99.84 percent of the GSD and GSDT classes were served at

14       the secondary distribution voltage, and 100 percent of

15       the general service and residential classes were served

16       at the secondary distribution voltage.

17                 Subject to check, can you agree with these

18       percentages?

19            A.   It's about right.  It looks to me like not all

20       the GS are served at secondary, but certainly the lion's

21       share of them.  All the residential are.  So, in

22       general, you're right.

23            Q.   Okay.  And given more or less these

24       percentages, would you agree that Gulf's residential,

25       general service, GSD, and GSDT classes are very

FLORIDA PUBLIC SERVICE COMMISSION

79

1       dependent on secondary distribution service from Gulf

2       Power?

3            A.   Yes.

4            Q.   Do you know which class or classes of

5       customers caused each expansion or relocation of Gulf's

6       distribution system during the last 50 years?

7            A.   No.

8            Q.   If both large and small classes of customers

9       are potentially served by most or many of Gulf's

10       distribution lines, do you know which of these classes

11       caused Gulf Power to construct each line?

12            A.   No.

13                 MS. BARRERA:  All right.  That's the end of my

14       questions.

15                 MR. GRIFFIN:  I have two questions on redirect

16       that relate to the RAP report that we have talked a lot

17       about.

18                            REDIRECT EXAMINATION

19       BY MR. GRIFFIN:

20            Q.   And, Mr. O'Sheasey, I thought I heard you say

21       that you did not rely upon this article in developing

22       your testimony in this case, is that right?

23            A.   That is correct.

24            Q.   And Ms. Barrera did not ask you whether you

25       believed that this article was authoritative.  Do you

FLORIDA PUBLIC SERVICE COMMISSION

80

1       believe that it's authoritative?

2            A.   Well, I don't think it's relevant to the

3       proceeding we are in right now, and I tried to indicate

4       that earlier.  I gave some reasons why I didn't think it

5       was relevant for the current proceeding.  The fact that

6       it's a different environment that we are working in

7       today.  We are not getting ready for deregulation.  We

8       are not unbundling our services.  This was a document

9       that was driven by a recommendation to redesign rates

10       for a distribution company and that's not what I am here

11       about.  I'm here about cost of service, so it's not

12       relevant for what I'm doing.

13                 MR. GRIFFIN:  Thank you, sir.  That's all I

14       have.

15                 THE WITNESS:  Could I confer with counsel just

16       a quick second?

17                 MS. BARRERA:  Sure.

18                 (Off the record.)

19                 MR. GRIFFIN:  Could we go back on.

20       BY MR. GRIFFIN:

21            Q.   Mr. O'Sheasey, Ms. Barrera did not ask you

22       whether you had any changes or corrections to your

23       testimony or exhibits in this case.  Do you have any

24       changes to your testimony or exhibits?

25            A.   Yes.  I would like to update my

FLORIDA PUBLIC SERVICE COMMISSION

81

1       cost-of-service exhibit, MTO-1, I think it is.  I want

2       to update the cost-of-service study with and without

3       MDS, and what I would like to provide to staff is the

4       revised parity ratios.  Those parity ratios, as you

5       know, they are the rates of return for a rate divided by

6       the company.  And in the course of -- well, we have come

7       upon an improvement or a correction that needs to be

8       made to one of the rates in terms of its revenue, and we

9       would like to revise the parity ratios for both the with

10       and without MDS studies.  So that would be one exhibit.

11       And because the rates of return impact the unit cost, we

12       would also like to provide an updated E-6A and E-6B for

13       with and without MDS.

14                 MS. BARRERA:  Would that mean that you would

15       provide a new Schedule E-8 with the revised MDS?

16                 THE WITNESS:  E-8 is the proposed revenue, I

17       believe?  It's not my exhibit.  I think it is Jim

18       Thompson's.

19                 No, that's not necessary.

20                 MS. BARRERA:  And as far as these exhibits,

21       would that be submitted as supplemental testimony or as

22       an exhibit to this depo?

23                 MR. MELSON:  Off the record.

24                 (Off-the-record discussion.)

25                 MS. BARRERA:  Back on the record.  This would

FLORIDA PUBLIC SERVICE COMMISSION

82

1       be Late-filed Exhibit Number 16, and that would be

2       updates to E-6A --

3                 THE WITNESS:  And E-6B.

4                 MS. BARRERA:  -- and E-6B.

5                 THE WITNESS:  And it will also be an exhibit

6       that shows the new parity ratios for with and without

7       MDS.

8                 MS. BARRERA:  Would that be a separate

9       exhibit?

10                 THE WITNESS:  Yes.

11                 MS. BARRERA:  And that would be Exhibit 17.

12                 MR. MELSON:  We can do it all as a Composite

13       16, I think would work.

14                 MS. BARRERA:  Oh, okay.  Does anybody have

15       anything else?

16                 No?  All right.  This would conclude our

17       deposition.  Thank you.

18                 (The deposition concluded at 12:04 p.m.)

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

83

1                                ERRATA SHEET

2               DO NOT WRITE ON TRANSCRIPT - ENTER CHANGES HERE

3                                IN RE:   DOCKET NO. 110138-EI

NAME:  Michael O'Sheasey

4                                         DATE:  November 16, 2011

5       |PAGE|LINE|_________________CHANGE                        |

|____|____|__________________________________________    _|

6       |____|____|_________________________________________   ___|

|____|____|___________________________________________   _|

7       |____|____|_______________________________________________|

|____|____|_______________________________________________|

8       |____|____|_______________________________________________|

|____|____|_______________________________________________|

9       |____|____|_______________________________________________|

|____|____|_______________________________________________|

10       |____|____|_______________________________________________|

|____|____|_______________________________________________|

11       |____|____|_______________________________________________|

|____| ___|_______________________________________________|

12       |____|____|_______________________________________________|

|____|____|_______________________________________________|

13       |____|____|_______________________________________________|

|____|____|_______________________________________________|

14       |____|____|_______________________________________________|

|____|____|_______________________________________________|

15       |____|____|_______________________________________________|

|____|____|_______________________________________________|

16       |____|____|_______________________________________________|

|____|____|_______________________________________________|

17       |____|____|_______________________________________________|

|____|____|_______________________________________________|

18       |____|____|_______________________________________________|

|____|____|_______________________________________________|

19       |____|____|_______________________________________________|

|____|____|_______________________________________________|

20       |____|____|_______________________________________________|

|____|____|_______________________________________________|

21

Under penalties of perjury, I declare that I have read my

22       deposition and that it is true and correct subject to any

changes in form or substance entered here.

23

___________            _________________________________

24        DATE               Michael O'Sheasey

25

FLORIDA PUBLIC SERVICE COMMISSION

84

1       STATE OF FLORIDA    )

2                           :             CERTIFICATE OF OATH

3       COUNTY OF LEON      )

4

5

6

7                 I, the undersigned authority, certify that Michael

8       O'Sheasey personally appeared before me and was duly sworn.

9                 WITNESS my hand and official seal this 22nd, 2011.

10

11

12                ____________________________________________

JANE FAUROT

13                        Notary Public - State of Florida

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

85

1       STATE OF FLORIDA    )

:    CERTIFICATE OF REPORTER

2       COUNTY OF LEON      )

3                 I, JANE FAUROT, Official FPSC Commission Reporter,

do hereby certify that I was authorized to and did

4       stenographically report the foregoing deposition at the time

and place herein stated.

5

I FURTHER CERTIFY that this transcript, consisting

6       of 85 pages, constitutes a true record of the testimony given

by the witness.

7

I FURTHER CERTIFY that I am not a relative,

8       employee, attorney or counsel of any of the parties, nor am I

a relative or employee of any of the parties' attorney or

9       counsel connected with the action, nor am I financially

interested in the action.

10

DATED THIS 22nd day of November, 2011.

11

12                      ________________________________

JANE FAUROT, RPR

13                      Chief, Hearing Reporter Services

Office of Commission Clerk

14                               (850) 413-6732

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION