1

1                              BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3       In the Matter of:

DOCKET NO. 110309-EI

4

PETITION TO DETERMINE NEED FOR

5       MODERNIZATION OF PORT EVERGLADES

PLANT, BY FLORIDA POWER & LIGHT

6       COMPANY.

_________________________________/

7

8

9

10

11

12

13       PROCEEDINGS:        HEARING

14       COMMISSIONER

PARTICIPATING:      CHAIRMAN RONALD A. BRISÉ

15                           COMMISSIONER LISA POLAK EDGAR

COMMISSIONER ART GRAHAM

16                           COMMISSIONER EDUARDO E. BALBIS

COMMISSIONER JULIE I. BROWN

17

18       DATE:               Monday, February 20, 2012

19       TIME:               Commenced at   9:30 a.m.

Concluded at  12:32 p.m.

20

PLACE:              Betty Easley Conference Center

21                            Room 148

4075 Esplanade Way

22                           Tallahassee, Florida

23       REPORTED BY:        JANE FAUROT, RPR

Official FPSC Reporter

24                           (850) 413-6732

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1       APPEARANCES:

2                 JOHN T. BUTLER, ESQUIRE, and MARIA J.

3       MONCADA, Esquire, Florida Power & Light Company, 700

4       Universe Boulevard, Juno Beach, Florida 33408-0420,

5       appearing on behalf of Florida Power & Light Company.

6                 CHARLES MURPHY, ESQUIRE, FPSC General

7       Counsel's Office, 2540 Shumard Oak Boulevard,

8       Tallahassee, Florida 32399-0850, appearing on behalf

9       of the Florida Public Service Commission Staff.

10                 JON C. MOYLE, JR., ESQUIRE, Keefe Law Firm,

11       118 North Gadsden Street, Tallahassee, Florida 32301,

12       appearing on behalf of the Florida Industrial Power

13       Users Group.

14                 CURT KISER, GENERAL COUNSEL, and MARY ANNE

15       HELTON, Deputy General Counsel, Florida Public Service

16       Commission, 2540 Shumard Oak Boulevard, Tallahassee,

17       Florida 32399-0850, Advisor to the Florida Public

18       Service Commission.

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                              I N D E X

2

3                                                    PAGE NO.

4       Opening Statement by Mr. Butler                169

5       Opening Statement by Mr. Moyle                 175

6

7

8                              WITNESSES

9

NAME:                                        PAGE NO.

10

RENE SILVA

11            Prefiled Testimony Inserted                18

12       JOHN C. GNECCO

Prefiled Testimony Inserted                56

13

DR. ROSEMARY MORLEY

14            Prefiled Testimony Inserted                78

15       HEATHER C. STUBBLEFIELD

Prefiled Testimony Inserted               101

16

KENNARD F. KOSKY

17            Prefiled Testimony Inserted               107

18       PEDRO MODIA

Prefiled Testimony Inserted               125

19

JUAN ENJAMIO

20            Prefiled Testimony Inserted               145

21

RENE SILVA

22            Summary of Prefiled Testimony             182

Cross Examination by Mr. Moyle            186

23            Redirect Examination by Mr. Butler        257

24

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1

EXHIBITS

2

NUMBER:                                 ID.    ADMTD.

3

1         Comprehensive Exhibit List    17      17

4

2-40      (Description contained in     17      17

5                 Exhibit l.)

6       41        PPAs from Summer 2006 to      204    260

Summer 2011

7

42        Transcript of NextEra         212    260

8                 Investors Call -

November 4, 2011

9

43        Excerpt of Witness Morley's   237

10                 Testimony

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

5

1                         P R O C E E D I N G S

2                 CHAIRMAN BRISÉ:  Good morning, everyone.

3       Happy Monday morning this Presidents Day.  We're going

4       to go ahead and call this hearing to order; Docket

5       Number 110309.  Today is February the 20th, 2012.  And

6       at this time we're going to ask our staff to read the

7       notice.

8                 MR. MURPHY:  We are here pursuant to notice

9       for the hearing in Docket Number 110309-EI.

10                 CHAIRMAN BRISÉ:  Okay.  At this time I'm going

11       to take appearances.

12                 MR. BUTLER:  Good morning, Mr. Chairman.  John

13       Butler and Maria Moncada on behalf of Florida Power and

14       Light Company.

15                 CHAIRMAN BRISÉ:  Thank you.

16                 MR. MOYLE:  Jon Moyle on behalf of the Florida

17       Industrial Power Users, FIPUG.

18                 CHAIRMAN BRISÉ:  All right.  Thank you.

19                 And I understand that we may have the

20       opportunity, if there is interest from the public, for

21       individuals to speak.  So at a time a little bit later

22       we will provide that opportunity.

23                 MR. MURPHY:  Mr. Chairman.

24                 CHAIRMAN BRISÉ:  Staff.

25                 MR. MURPHY:  Charles Murphy on behalf of

FLORIDA PUBLIC SERVICE COMMISSION

6

1       Commission staff.

2                 MS. HELTON:  And Mary Anne Helton, Advisor to

3       the Commission.  I'd also like to make an appearance for

4       the General Counsel, Curt Kiser.

5                 CHAIRMAN BRISÉ:  Thank you very much.

6                 At this time we are moving on to our

7       preliminary matters.  Are there any preliminary matters

8       that we need to deal with?

9                 MR. MURPHY:  I believe we would want to

10       establish the scope of the case as you find it.  And I

11       think that staff would recommend that FIPUG be permitted

12       to make an opening statement, to cross-examine the

13       available witness, to participate in the proceeding as

14       any party would, and to file a post-hearing brief if

15       they are not agreeable to the stipulation in the case.

16       And that's based on the Commission's latitude to grant

17       that.  It is broader than literally they took the case

18       as they found it.  However, in trying to give meaning to

19       the notion that they can come in as a party, which they

20       are entitled to do up to five days, I believe, before

21       the hearing, absent this, it would be hard to

22       participate as a party.  So trying to give meaning to

23       that, that is what staff would recommend.

24                 CHAIRMAN BRISÉ:  Okay.  I'm sure there

25       probably is divergence of opinion on that, so FPL.

FLORIDA PUBLIC SERVICE COMMISSION

7

1                 MR. BUTLER:  Thank you, Mr. Chairman.

2                 FPL believes that FIPUG, at this point in the

3       proceeding, is not in a position to take positions on

4       issues in this case.  You know, there was an order

5       establishing procedure that made it very clear, as the

6       Commission routinely does in these proceedings, that

7       parties are to take a position on issues no later than

8       the prehearing conference unless they can establish that

9       they are unable to do so in spite of diligence and good

10       faith attempt to take a position, and that there is no

11       prejudice to the other parties from failing to take a

12       position until later than that point.

13                 We don't believe that FIPUG meets either

14       component of that test.  I mean, they are routinely

15       involved in proceedings before this body.  They

16       certainly were aware of FPL's petition for this need

17       determination that was filed in November of last year.

18       The prehearing conference was noticed.  The order

19       establishing procedure was on the Commission's website.

20       You know, they have not participated in any of the

21       prehearing process, and we feel it would be appropriate

22       for them to be held to no position consistent with the

23       order establishing procedure.

24                 If that is the case, if they have no position,

25       this Commission has routinely, as recently as the

FLORIDA PUBLIC SERVICE COMMISSION

8

1       adjustment clause proceedings back in November of last

2       year, approved stipulations where there is agreement

3       between the staff and the utility and other parties take

4       no position.  We believe that's where this case stands.

5                 We have no objection if you choose to allowing

6       FIPUG to make an opening statement, but beyond that we

7       think the prehearing order makes it pretty clear that

8       the only purpose for which Mr. Silva is appearing today

9       is to answer your questions, and we think that it would

10       be appropriate to stay with that process.

11                 If this were sort of an unfamiliar,

12       uninformed, you know, pro se ratepayer who was here

13       wanting to participate and didn't understand the

14       process, we would certainly expect you to be

15       accommodating to their unfamiliarity.  But that

16       absolutely is not the case for FIPUG.  We think it is

17       fair and in the interest of this proceeding to, you

18       know, conduct it pursuant to the prehearing order

19       without the exceptions that staff has described.

20                 Thank you.

21                 CHAIRMAN BRISÉ:  All right.  Thank you.

22       FIPUG.

23                 MR. MOYLE:  Thank you.

24                 We think staff is on the right track with

25       respect to the ability of FIPUG to participate.  And,

FLORIDA PUBLIC SERVICE COMMISSION

9

1       you know, my understanding of the prehearing order is

2       it's designed to facilitate getting everybody here

3       dressed up and ready to go for the hearing, but that the

4       hearing is governed by Florida Statutes.  It's a

5       120 hearing, and it's here to have evidence presented to

6       you, and you will make a decision about whether to grant

7       a need determination or not grant a need determination

8       for Florida Power and Light's Everglades Plant.

9                 I will argue the law, but before I do I just

10       think, as a matter of policy, to the extent that the

11       issue before you is a request for approximately 1,300

12       new megawatts and nearly 1.3 billion going into rate

13       base, that a consumer voice should be heard to, I think,

14       build-out a complete record and to maybe make some

15       arguments and present some evidence that would suggest

16       this is not the best way to proceed at this time.  So we

17       think it would fully develop the record, and I think

18       staff is on the right page.

19                 I would cite 120.57(1)(b), which in your

20       notice you have said that this hearing is conducted

21       under 120.  It says, and I quote, "All parties," which,

22       you know, FIPUG is now a party, there has been an order

23       entered granting FIPUG party status, "shall have an

24       opportunity to respond, to present evidence and argument

25       on all issues involved, to conduct cross-examination and

FLORIDA PUBLIC SERVICE COMMISSION

10

1       submit rebuttal evidence, to submit proposed findings of

2       fact in orders, to file exceptions to the presiding

3       officer's recommended order, and to be represented by

4       counsel or other qualified representative."

5                 We think the law is clear under 120.57(1)(b)

6       that we do have the ability to be here today to conduct

7       cross-examination and to take issues in the case.  I

8       would also point out in your notice that was issued in

9       this case, you said that -- this was the notice of

10       meeting workshop hearing.  I think it was filed on

11       January 5th of 2012 in this docket, and under the

12       section general subject matter to be considered at

13       hearing it talks about the modernization of the Port

14       Everglades Plant, and it says the proceeding, which the

15       proceeding is today, the proceeding shall allow Florida

16       Power and Light to present evidence and testimony,

17       evidence and testimony in support of their petition for

18       a determination of need of the proposed modernization of

19       the Port Everglades plant; two, permit any intervenors

20       to present testimony and exhibits concerning this

21       matter; and, three, permit members of the public who are

22       not parties to the need determination proceeding the

23       opportunity to present testimony concerning this matter.

24                 We think the law supports staff's position,

25       and the public policy would support FIPUG being given an

FLORIDA PUBLIC SERVICE COMMISSION

11

1       opportunity to participate and conduct

2       cross-examination.  I mean, it doesn't, to my mind, make

3       a lot of sense that the Commission can ask questions,

4       but a party can't.  I mean, if questions are going to be

5       asked, we would respectfully ask the Commission to give

6       us the ability to ask some questions, as well.

7                 So thank you for your consideration.

8                 CHAIRMAN BRISÉ:  Thank you very much.  I guess

9       it's my call, right?

10                 Commissioners, before I make a decision, I

11       suppose I'll give you an opportunity to express an

12       opinion, if you have an interest in doing so.

13                 All right.  Thank you.

14                 (Laughter.)

15                 CHAIRMAN BRISÉ:  I think I understand the

16       argument that FPL brings forward with respect to what it

17       means to take the case as it is because there was ample

18       opportunity prior to five days before we got to this

19       point to intervene.  But I think in an abundance of

20       caution I am going to proceed the way staff has laid out

21       for us to move forward, not foreclosing on the idea that

22       we could arrive at a bench decision today and the

23       process will flow the way it would with a bench

24       decision, if we arrive at that point today.

25                 So we will allow for an opening statement, we

FLORIDA PUBLIC SERVICE COMMISSION

12

1       will allow for cross-examination of the one witness, and

2       participation as any other party would participate at

3       this juncture today.  And that is the way that we are

4       going to proceed today.

5                 All right.  So at this time we are going to

6       move forward with what needs to be in the record.

7                 MR. MURPHY:  Thank you.

8                 In accordance with Section VI of the

9       Prehearing Order, staff asks that the Prefiled Testimony

10       of Witnesses Silva, Gnecco, Morley, Stubblefield, Kosky,

11       and Enjamio and Modia -- I don't know how to pronounce

12       it -- be inserted into the record as though read.

13                 CHAIRMAN BRISÉ:  Okay.

14                 MR. MOYLE:  Is this when it's being admitted,

15       or is it going to be admitted later?

16                 MR. MURPHY:  I think it would be admitted now.

17                 MR. MOYLE:  Okay.  I just, for the record,

18       want to make an objection to it coming in.  And I want

19       to refer you to 120.569(2)(g).  120.569 is entitled,

20       "Decisions which affect substantial interests," and

21       FIPUG's substantial interests are being affected here.

22       (G) says any evidence may be received in written form

23       and all testimony of parties and witnesses shall be made

24       under oath.

25                 And in the case of BellSouth v. Unemployment

FLORIDA PUBLIC SERVICE COMMISSION

13

1       Appeals, 654 So.2d 292 out of the Fifth and others

2       suggest that receiving -- what you, in effect, are

3       receiving, you are receiving prefiled testimony, but it

4       is hearsay.  It's an out-of-court statement offered by

5       someone for the truth of the matter asserted, and it's

6       not proper and it's not under oath.

7                 They would have a better argument if there had

8       been a verified -- if it had been verified, then it

9       would at least have been under oath, but now what you

10       have is you have the statements coming in.  I can't ask

11       the person whether they were written by a lawyer,

12       whether they're the truth, and I think the courts have

13       been clear with respect to hearsay not being something

14       that you can rely on for the purposes of making factual

15       findings.

16                 Hearsay is suspect for a number of reasons.

17       It's not made under oath; there is no ability to judge

18       the demeanor of the witness.  When the witness is here,

19       is the witness telling the truth, not telling the truth,

20       you don't have that, and there is no opportunity for

21       cross-examination.  So FIPUG's objection would be to

22       object to the hearsay statements, the prefiled testimony

23       coming in as evidence that could be relied on for the

24       basis of a finding of fact.  So two-fold; object to it

25       coming in, and if it does come in, it's hearsay and

FLORIDA PUBLIC SERVICE COMMISSION

14

1       cannot be used for the purposes of any factual findings

2       in the case.

3                 CHAIRMAN BRISÉ:  Thank you.

4                 FPL.

5                 MR. BUTLER:  Mr. Chairman, at this point FIPUG

6       is simply trying to unwind entirely your prehearing

7       order and the prehearing process in this docket.  They

8       had every opportunity to have participated early enough

9       to have had their own witnesses, if they wanted to, to

10       have said, no, we won't agree to the stipulation of

11       these witness' testimony into the record, et cetera,

12       whatever they wanted to do.  They have chosen to come in

13       at the very last moment after the process had already

14       been put in place to have these witnesses stipulated and

15       excused.  They were excused.  We got confirmation of

16       that last Thursday.  They are not here.  This is the

17       last day of the 90-day period to hold a hearing, and as

18       you can see, at this point FIPUG is simply looking to

19       throw grenades, throw landmines into this process.

20                 They clearly could have participated at a

21       point where none of this would have been a challenge for

22       the Commission.  I think that you should abide by your

23       prehearing order.  All of what Mr. Moyle is pointing to

24       is rights that parties have if they, you know, timely

25       and adequately exercise those rights.  FIPUG has sat on

FLORIDA PUBLIC SERVICE COMMISSION

15

1       them until it is so late that they are not in a position

2       to move forward, and their objection is, I think,

3       entirely unfounded at this point.

4                 CHAIRMAN BRISÉ:  Thank you very much.

5                 Staff?

6                 MR. MURPHY:  Well, I think at this point a

7       little weight is due to taking the case as you find it.

8       I mean, they have come in here in a case and admittedly

9       very, very late, and witnesses have been excused.  They

10       are being allowed to cross-examine the witness that's

11       here, to participate, to file a brief if need be, to

12       take positions, and I think it's unreasonable to just

13       destroy the hearing.

14                 I mean, the Panda case, there was a request to

15       defer the hearing so that they could have discovery, and

16       that was found to be not required.  So they are in here

17       so late, I think that I would recommend that we go

18       forward on just what we have.

19                 Thank you.

20                 CHAIRMAN BRISÉ:  Mary Anne.

21                 MS. HELTON:  And I would just like to add, and

22       refer you back to the order establishing procedure on

23       Page 6.  There is a separate subsection there that makes

24       it very clear that if you want to strike any portion of

25       prefiled testimony, you must do so by the time of the

FLORIDA PUBLIC SERVICE COMMISSION

16

1       prehearing conference.  And, in effect, what Mr. Moyle

2       is attempting to do is strike all the testimony that

3       Power and Light has filed in this case, and I don't

4       believe that that's appropriate, as has been expressed

5       by Mr. Butler and Mr. Murphy.

6                 MR. MOYLE:  Can I respond just briefly?

7                 CHAIRMAN BRISÉ:  I think I've reached a point

8       where I'm ready to make a decision.

9                 MR. MOYLE:  Okay.

10                 CHAIRMAN BRISÉ:  All right.

11                 We are going to accept the testimony, prefiled

12       testimony as prescribed by all the parties that have

13       agreed and so forth.  So, therefore, I'm going to

14       overrule your objection, and we're going to continue to

15       move forward.

16                 MR. MURPHY:  With respect to exhibits, staff

17       has compiled a Comprehensive Exhibit List which includes

18       the prefiled exhibits attached to each witnesses'

19       testimony in this case, and staff's discovery which has

20       been compiled as an exhibit.  The list has been provided

21       to the parties, the Commissioners, and the court

22       reporter.  This list should be marked as the first

23       hearing exhibit, and the other exhibits should be marked

24       as 2 through 40 as set forth in the chart.

25                 CHAIRMAN BRISÉ:  All right.  Thank you very

FLORIDA PUBLIC SERVICE COMMISSION

17

1       much.

2                 MR. MURPHY:  Staff moves that Exhibits 1

3       through 40 be included in the record, as set forth in

4       the Comprehensive Exhibit List.

5                 CHAIRMAN BRISÉ:  All right.  We will move

6       Exhibits 1 through 40.  Any objections?

7                 All right.  Seeing none, 1 through 40 have

8       been moved into the record.

9                 (Exhibit Numbers 1 through 40 marked for

10       identification and admitted into the record.)

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

169

1                 CHAIRMAN BRISÉ:  At this time, before we move

2       into opening statements, I want to see if there's

3       anybody from the public that has any interest in

4       speaking.  Going once.  Going twice.  Seeing none, we're

5       going to go ahead and move into opening statements.

6                 MR. BUTLER:  Good morning, Mr. Chairman and

7       Commissioners.  FPL is seeking a determination of need

8       for the modernization of its Port Everglades Power

9       Plant.  The modernization project, which I'll refer to

10       by the acronym PEEC, consists of permanently removing

11       four 1960s era oil and gas-fired steam units from the

12       site that are now in inactive reserve, and replacing

13       them with a highly efficient combined-cycle unit that

14       will have a summer peak rating of about 1,277 megawatts.

15       PEEC is scheduled to go into service in June 2016.

16                 From the perspectives of FPL, its customers,

17       and the State of Florida, PEEC is the right project in

18       the right location at the right time to provide reliable

19       clean energy at significant cost savings and create new

20       jobs to bolster Florida's economic recovery.  I'd like

21       to address each of these points briefly.

22                 PEEC is the right project because it is the

23       most cost-effective alternative available to meet FPL's

24       next resource need.  Its extremely high efficiency and

25       clean emissions profile will help FPL to reduce fuel

FLORIDA PUBLIC SERVICE COMMISSION

170

1       consumption and air emissions substantially.  To

2       determine that PEEC is the most cost-effective

3       alternative, FPL first accounted for all-approved

4       cost-effective demand-side management, or DSM, and firm

5       capacity renewable resources, then evaluated PEEC versus

6       a variety of generation options, including returning the

7       existing Port Everglades units to service, building

8       either combustion turbines or a combined-cycle unit at a

9       greenfield site, and conventional power purchases from

10       third parties.

11                 After accounting for all known cost-effective

12       DSM and firm capacity renewables, FPL has concluded that

13       other self-build alternatives would be more costly to

14       customers and that power purchases from third parties

15       would cost even more than those self-build alternatives.

16       FPL's evaluation shows that building PEEC is projected

17       to reduce oil consumption by 10.4 million barrels and

18       natural gas consumption by 90 million MMBtu over

19       30 years compared to returning the existing Everglades

20       units to service.  In other words, although PEEC is

21       gas-fired, building and operating it instead of

22       continuing to rely on FPL's older and less efficient

23       units will actually reduce the amount of gas needed to

24       meet customers' energy needs.

25                 In addition to those fuel savings, PEEC is

FLORIDA PUBLIC SERVICE COMMISSION

171

1       projected to avoid FPL system air emissions of

2       22 million tons of carbon dioxide, 40,000 tons of sulfur

3       dioxide, and 33,000 tons of nitrogen oxides, again, over

4       30 years and compared to the existing Everglades units.

5       This is a benefit not only to FPL and its customers in

6       the form of lower emission costs, but to the State of

7       Florida as a whole in the form of cleaner air.

8                 Port Everglades is an ideal location for this

9       project.  Using it for PEEC is consistent with the

10       Commission's policy of modernizing existing sites where

11       possible before building on greenfield sites.  If you

12       compare FPL's Exhibits JCG-3 and 4, which are Exhibits 5

13       and 6 on the Comprehensive Exhibit List, you can see how

14       the modernization project will actually improve the

15       aesthetics of the Port Everglades site.  Basically, you

16       get rid of four big smokestacks and a very large

17       superstructure and replace it with much lower profile

18       facilities that use considerably less of the footprint

19       at the site.

20                 The Port Everglades site already has both

21       electric and gas transmission infrastructure that can

22       serve PEEC with only modest upgrades, so the expense and

23       disruption of major expansions to linear facilities are

24       avoided.  As a coastal location, the site provides a

25       natural source of cooling water, one which has served

FLORIDA PUBLIC SERVICE COMMISSION

172

1       the existing units for years, as well as facilitating

2       waterborne deliveries of fuel oil that will be used as a

3       backup fuel for PEEC.

4                 Finally, and perhaps most importantly, the

5       site is in the heart of FPL's southeastern Florida load

6       concentration.  PEEC will be available to serve that

7       concentrated load without either the expense or

8       reliability concerns of long distance power

9       transmission.  FPL does not believe that any other site

10       could provide this tremendous combination of benefits.

11                 The time is right for PEEC.  FPL has projected

12       a need for capacity that PEEC will meet, and it cannot

13       be met as cost-effectively by any other means.  Delaying

14       PEEC beyond its 2016 projected in-service date would

15       have several adverse consequences for FPL, its

16       customers, and the State of Florida.

17                 If PEEC were delayed beyond 2020, FPL would be

18       forced to incur over $600 million in transmission

19       upgrades to continue reliable service into southeastern

20       Florida.  Even a delay of one year could significantly

21       increase FPL's compliance costs for environmental air

22       emissions for both PEEC and the nearby Fort Lauderdale

23       plant site.  This is because of stricter environmental

24       requirements under EPA's prevention of significant

25       deterioration regulations that will apply if PEEC

FLORIDA PUBLIC SERVICE COMMISSION

173

1       doesn't go into service by 2016.

2                 Due to the slow down on plant construction

3       that has accompanied the current economic recession, now

4       is a propitious time for FPL to conclude for PEEC's

5       major components and commodities on favorable terms.  If

6       PEEC is delayed and the economy turns around, FPL could

7       be faced with much higher prices.  This is especially so

8       if emissions restrictions lead to coal plant retirements

9       and a surge in orders for new combined-cycle facilities.

10                 Finally, FPL estimates that PEEC will generate

11       over 650 direct jobs at the peak of its construction.

12       Those jobs are much needed in South Florida now, but

13       they would not materialize until later if PEEC were

14       delayed.

15                 FPL and the Commission staff have entered into

16       a proposed stipulation.  The stipulation would grant an

17       affirmative determination of need for PEEC in 2016,

18       while recognizing two commitments on FPL's part.  First,

19       FPL will report annually to the Commission on the

20       budgeted and actual costs for PEEC compared to the

21       estimated total in-service cost relied upon in this

22       proceeding.  If FPL decides to utilize a different

23       combustion turbine design from the J technology

24       presented in this proceeding, then FPL will include in

25       its annual report the comparative cost advantage of the

FLORIDA PUBLIC SERVICE COMMISSION

174

1       alternative design that it has chosen.

2                 Second, FPL will report on the status of PEEC

3       to the Commission as part of the annual report on

4       construction costs.  This is consistent with the duty of

5       a prudent utility to continue evaluating whether it is

6       in the best interest of customers for the utility to

7       participate in a proposed power plant before, during,

8       and after construction.

9                 FPL prefiled over 150 pages of testimony and

10       50 pages of exhibits in support of its need

11       determination petition.  FPL then responded to nearly

12       100 staff interrogatories and ten document production

13       requests.  FPL appreciates staff's hard work in

14       reviewing the voluminous discovery and testimony.  We

15       also appreciate staff's constructive cooperation in

16       crafting a stipulation and recommended resolution of the

17       issues in this proceeding.  FPL believes that the

18       stipulation is fair, balanced, and in the best interest

19       of FPL and its customers.  Whether by approving the

20       stipulation or in a decision on a contested proceeding,

21       we ask that you approve its terms here today.

22                 Thank you for this opportunity to make an

23       opening statement on FPL's behalf.  As you know, the

24       testimony and exhibits of FPL's witnesses have been

25       stipulated into the record.  We will, however, be

FLORIDA PUBLIC SERVICE COMMISSION

175

1       presenting Mr. Silva after opening statements for

2       questions from the parties and from the Commission.

3                 Thank you.

4                 CHAIRMAN BRISÉ:  Thank you, Mr. Butler.

5                 At this time, Mr. Moyle.  I failed to

6       mentioned that he had ten minutes.  He stayed well

7       within ten minutes, so you have the ten minutes, as

8       well.

9                 MR. MOYLE:  Thank you.  Thank you, Mr.

10       Chairman.

11                 For the record, the Florida Industrial Power

12       Users Group represents large users of electricity.

13       We're concerned with rates and rate increases, and we

14       have intervened in this case and have concerns and

15       oppose the need determination that Florida Power and

16       Light is seeking.  And there are a variety of reasons

17       why we oppose it, and we'll get into some of it in my

18       opening, and also, I think, during cross-examination.

19       But, you know, the facts as Mr. Butler outlined is you

20       have a need of 284 megawatts that shows up in 2006.  The

21       response to that is for a nearly 1300-megawatt plant.

22       So rather than coming in with something that addresses

23       the 300 megawatts, for example, a combustion turbine,

24       and we'll get into this in detail, Florida Power and

25       Light comes back over the top with 1300 megawatts, a

FLORIDA PUBLIC SERVICE COMMISSION

176

1       thousand more than they are even planning for for the

2       need.

3                 We don't think that this is the right decision

4       for the consumers and is not a decision that you should

5       support.  There's a couple of points I wanted to bring

6       up in 403.519 that talks about the things that should be

7       considered.  We don't think Florida Power and Light can

8       convince you that this proposal meets the need for fuel

9       diversity.  Florida Power and Light is very long and

10       very heavy in natural gas.  There's lots of discussions

11       about how do we get weaned from natural gas, and in

12       response to that they are asking you for a need

13       determination for another 1,000 megawatts of natural

14       gas.  We think there are other viable options out there

15       that were not pursued that could be pursued.  And in

16       403.519, another thing that you are charged with

17       considering is whether renewable energy sources and

18       technologies are utilized to the extent reasonably

19       available.  We don't think that that is indeed the case,

20       and we will talk about this in the cross-examination of

21       Mr. Silva, but, you know, Florida Crystals has a plant

22       in Palm Beach County, a 150 megawatts.  There are a

23       couple of plants in Broward County, again, near their

24       load that gets you about 100 megawatts.  So that adds up

25       to 250.  Why not go do a 250-megawatt deal with some

FLORIDA PUBLIC SERVICE COMMISSION

177

1       people who have energy available and able to sell it and

2       satisfy the need that way.  That would be a better deal

3       for consumers, we believe, and would argue.

4                 Another point, you know, the reserve margin is

5       at 20 percent.  They fall just below the 20 percent.

6       The 20 percent is not necessarily a hard and fast line.

7       I mean, they fall just below it.  Rather than looking

8       at, you know, can we manage through with 18-1/2 or 19,

9       no, we need to have $1.3 billion added into the rate

10       base.

11                 For a long time Florida did okay with a

12       15 percent reserve margin.  I think Mr. Silva, I'll ask

13       him the question about the FRCC, but they plan to a 15

14       percent reserve margin.  So, you know, 17-1/2, maybe,

15       but I think that there is the ability, the stipulation

16       that was entered into more than ten years ago says there

17       is not a presumption that if you go below 20 that you

18       automatically need it.  We think there is some

19       flexibility for y'all to look at that, and particularly

20       in these kind of tough economic times say, you know

21       what, putting in a power plant with an additional 1,000

22       megawatt surplus and 1.3 billion is not the right

23       decision.

24                 We are also going to talk a little bit about a

25       contract that was entered into with Seminole Electric.

FLORIDA PUBLIC SERVICE COMMISSION

178

1       It's a wholesale contract.  But if you are planning for

2       your system and you say, well, I might have a need

3       coming up in 2016 of 284 megawatts, why would you enter

4       into a contract with Seminole Electric, a wholesale

5       contract long-term that starts in 2015 for

6       200 megawatts?  We would argue it makes more sense and

7       the prudent thing to have done would have been to not

8       enter into the wholesale contract with Seminole, but to

9       hold back and say we're going to hold onto that 200

10       megawatts, because we think we might need it to serve

11       retail load.  FPL didn't do that.  They entered into a

12       contract with Seminole to serve Seminole's customers.

13                 So really at the end of the day, who needs

14       this plant?  We believe it is not FPL's consumers; we

15       believe it is FPL's shareholders that need this plant.

16       It's about being able to meet earnings on Wall Street,

17       and we have an exhibit, an investor call that we will

18       show you with FPL's own executives that they are

19       projecting their future growth is based on their ability

20       to invest capital and earn a return on the capital.  You

21       all know from other proceedings that the utilities earn

22       a return on their invested capital.  They don't earn a

23       return on purchased power agreements, they don't earn a

24       return on fuel.  So as I think it was either Mr. Hay or

25       Mr. Pimentel in an exhibit that I will be introducing

FLORIDA PUBLIC SERVICE COMMISSION

179

1       says it's better for us to trade-off capital for fuel.

2       Now, he didn't say because we earn the return on the

3       capital, but that's what's happening.  You earn the

4       return on the capital, so FPL, we will show you exhibits

5       that says they are not signing any purchased power

6       agreements.  I think the evidence suggests they have

7       made a decision not to do that because, again, it's

8       about -- it's about satisfying shareholders, not

9       necessarily consumers.  And we think there is good

10       evidence to that point, and we'll present that.

11                 A similar point with respect to the Seminole

12       contract.  I'll ask Mr. Silva, but I think those

13       wholesale contracts are monies that go to the benefit of

14       shareholders.  So that's another situation where I

15       think, you know, money and shareholder wants and desires

16       are driving this plant more so than a real need.  So,

17       for those reasons, we think this is not the right

18       decision at the right time.

19                 We also will note that in a staff

20       interrogatory, and we'll talk about it, but staff

21       suggests rather than doing this 1300 megawatt -- I'm

22       just going to round up to 1300 megawatts for ease of

23       reference, but rather than doing 13 megawatts, why don't

24       you just do one -- how does it look if you do one

25       combustion turbine, just one.  You know, divide it by

FLORIDA PUBLIC SERVICE COMMISSION

180

1       three, maybe 400 megawatts plus.  And we believe that

2       when you don't include projected environmental costs,

3       that there is evidence that shows that is a cheaper

4       alternative, which is one of things in the need

5       determination you have to look at, is there a cheaper

6       alternative out there.

7                 So while FPL didn't go and do an analysis to

8       say, well, what would happen if we did a contract with

9       Florida Crystals and we did contracts with

10       waste-to-energy plants in Broward, both of which are

11       renewable, would increase your renewable and drive down,

12       you know, the over-reliance on natural gas, I don't

13       think they did an analysis and will be able to talk

14       about that.  But we think they should have done that

15       analysis, and, therefore, we think that they can't meet

16       their burden of proof in this case, and that you all

17       ought to either deny it or at least keep it open and

18       direct them to go and pursue some other options.  That

19       would be, arguably, a better deal for consumers, and not

20       necessarily a better deal for the shareholders of

21       Florida Power and Light.  Thank you.

22                 CHAIRMAN BRISÉ:  Thank you, Mr. Moyle.

23                 Okay.  At this time we are going to move into

24       witnesses, or witness, and we are going to ask Mr. Silva

25       to come forward so that we can swear you in.  If you

FLORIDA PUBLIC SERVICE COMMISSION

181

1       would go to our witness area.

2                 MR. BUTLER:  Mr. Chairman.

3                 CHAIRMAN BRISÉ:  Yes, sir.

4                 MR. BUTLER:  In the prehearing order, it did

5       not contemplate Mr. Silva giving the usual oral summary.

6       Of course, that was in part because it was only going to

7       be responding to Commissioner questions.  What is your

8       preference for him giving an oral summary?  We would

9       like him to have the opportunity to do so briefly, you

10       know, given the change in the procedure.

11                 MR. MOYLE:  FIPUG has no objection to him

12       giving a summary.

13                 CHAIRMAN BRISÉ:  Yes, I think that that would

14       be fair for him to provide the oral summary as we

15       usually do.

16                 MR. BUTLER:  Thank you.

17                 CHAIRMAN BRISÉ:  Mr. Silva, if you would rise

18       for me for a second.  Raise your right hand.

19                 (Witness sworn.)

20                 CHAIRMAN BRISÉ:  Thank you very much.

21                 All right.  FPL.

22                              RENE SILVA

23       was called as a witness on behalf of Florida Power

24       and Light Company, and having been duly sworn,

25       testified as follows:

FLORIDA PUBLIC SERVICE COMMISSION

182

1                 THE WITNESS:  Good morning, Mr. Chairman and

2       Commissioners.  Thank you for the opportunity to address

3       you on this matter.

4                 FPL requests that the Commission grant the

5       determination of need for the modernization of its Port

6       Everglades Power Plant to go into service in 2016.  The

7       Port Everglades Modernization Project, or PEEC, consists

8       of building a highly efficient combined-cycle unit that

9       will a summer peak rating of about 1,277 megawatts at

10       the Port Everglades site after permanently removing from

11       that site four 1960's era oil and gas-fired steam units

12       that have been in inactive reserve.

13                 FPL conducted analyses of the need for

14       capacity to meet FPL's reliability criteria and of the

15       most cost-effective alternatives to meet that need.  The

16       analyses were conducted consistent with FPL's standard

17       resource planning procedures.  The analysis relied upon

18       FPL's September 2011 load and fuel price forecasts,

19       which were then most currently available.

20                 The firm generation capacity to be provided by

21       PEEC is necessary for FPL to continue to provide

22       reliable service to its customers.  By 2016, FPL

23       projects that it will have to add new generation

24       capacity just to meet the minimum 20 percent reserve

25       margin criteria.  This need is above projected additions

FLORIDA PUBLIC SERVICE COMMISSION

183

1       of DSM and previously approved capacity additions, and

2       this need will continue to grow in the future.

3                 Also, without new capacity in 2016, FPL

4       reserves from generation only are projected to fall to

5       6.3 percent with DSM providing most of the system

6       reserves.  This would likely lead to excessive use of

7       load control and likely residential customer defections

8       from the program.

9                 The results of FPL's analysis indicate that

10       adding PEEC in 2016 will result in lower costs to FPL's

11       customers than implementing other alternatives.

12       Specifically, the resource plan that includes PEEC in

13       2016 is projected to save FPL's customers at least

14       $425 million in cumulative present value revenue

15       requirements compared to competing resource plans

16       without PEEC, or to a plan that defers PEEC by adding

17       smaller combustion turbines in 2016.

18                 Also, purchasing generating capacity instead

19       of adding PEEC would result in even higher costs to

20       FPL's customers due in part to high costs for

21       transmission lines, gas pipeline facilities, land, and

22       water, none of which are required for PEEC.  Because

23       this unit will have an average heat rate of only

24       6,330 Btus per kilowatt hour, adding it will also

25       improve the fuel efficiency of FPL's entire system by

FLORIDA PUBLIC SERVICE COMMISSION

184

1       1.3 percent, and thereby contribute to a reduction in

2       the quantity of gas and oil needed to serve its

3       customers' needs.

4                 PEEC is also projected to reduce system air

5       emissions of carbon dioxide, sulfur dioxide, and

6       nitrogen oxide by a significant amount over the 30-year

7       period.  These reductions will help FPL meet any

8       emission limits that may be imposed in the future.

9                 A most important consideration relates to the

10       generation demand imbalance in Miami-Dade and Broward

11       County.  Because of its location near the center of load

12       concentration, adding PEEC in 2016 will address the

13       growing imbalance between firm generating capacity and

14       load in the Miami-Dade/Broward County area.  Absent this

15       project, or alternatively the much costlier alternative

16       of returning to service the old Port Everglades steam

17       units, FPL would have to implement a significant

18       transmission upgrade with an estimated cost of more than

19       $630 million.

20                 In addition, this project would add the

21       capacity without increasing allocation of water, or use

22       of land, or the need for new rights-of-way for

23       transmission or gas pipelines.  In terms of fuel

24       reliability, the site has access to a deep water port

25       and is connected to the storage at that facility, so it

FLORIDA PUBLIC SERVICE COMMISSION

185

1       would provide greater reliability to FPL's systems.

2                 Already all the DSM that is cost-effective has

3       been accounted for in our calculation.  DSM will

4       represent 23 percent of our total installed generating

5       capacity in 2016.  In other words, it will be equivalent

6       to 23 percent of all the capacity that FPL owns, a

7       significant amount.  We also have 740 megawatts of

8       qualifying facility, meaning cogeneration and renewable

9       capacity in service under contract, and that is all that

10       we have been able to identify as being cost-effective.

11       We also have done a calculation, as I said, considering

12       the effects of a delay, and delaying the unit by adding

13       smaller combustion turbines has been evaluated to result

14       in 425 million higher costs to FPL's customers.

15                 In conclusion, bringing this unit in service

16       in 2016 is the best, most cost-effective alternative

17       available to reliably meet the growing electricity needs

18       of FPL's customers.  For these reasons, I urge the

19       Commission to grant an affirmative determination of need

20       for this project with a target in-service date of 2016.

21                 Thank you.

22                 CHAIRMAN BRISÉ:  Thank you, Mr. Silva.

23                 Mr. Butler.

24                 MR. BUTLER:  Thank you, Mr. Chairman.

25                 We tender Mr. Silva for cross-examination.

FLORIDA PUBLIC SERVICE COMMISSION

186

1                 CHAIRMAN BRISÉ:  Thank you.

2                 Mr. Moyle.

3                 MR. MOYLE:  Thank you, Mr. Chairman.

4                          CROSS EXAMINATION

5       BY MR. MOYLE:

6            Q.   Good morning, Mr. Silva.

7            A.   Good morning, Mr. Moyle.

8            Q.   You would agree with me, before I get into

9       some specifics of your testimony, that the interest of

10       Florida Power and Light, the interest of Florida Power

11       and Light's shareholders, and the interest of the

12       consumers are not always aligned, correct?

13            A.   No, I would not agree with you.

14            Q.   So that then you would -- the converse of that

15       would be that the interest of the shareholders, the

16       stockholders of Florida Power and Light, that their

17       interests always are aligned with the interest of the

18       consumers, you would agree with that?

19            A.   To the best of my knowledge, yes.

20            Q.   So, you know, the fact that when FPL has a

21       rate case, or even today that consumer interests are

22       here voicing opposition, that doesn't change your

23       testimony that you just gave that the interest of FPL's

24       consumers are always aligned with the interest of FPL's

25       stockholders?

FLORIDA PUBLIC SERVICE COMMISSION

187

1            A.   No, it does not change my opinion.  Whenever

2       we proceed with an evaluation of alternatives, our view,

3       certainly my view is always how can we do this so that

4       it's the best alternative for the customer.  And the

5       support that I get from my management is that that is

6       what also benefits the shareholder.

7            Q.   Let me direct you to Page 30, Line 8 of your

8       testimony.  You're asked the question is there any

9       existing generator owned by a third party in Miami-Dade

10       or Broward County, and you answered no.  What is an

11       existing generator?

12            A.   A generating plant that produces electricity.

13       In this case, the question is broad to ask is there any

14       generator from whom we could purchase power that is

15       located within Miami-Dade and Broward County.

16            Q.   And you believe the answer to that is no?

17            A.   Yes.

18            Q.   Are you aware that you all previously had

19       purchased power agreements with two waste-to-energy

20       facilities in Broward County?

21            A.   Yes, that is correct.

22            Q.   Okay.  And are you aware that those two

23       facilities are still located in Broward County?

24            A.   Yes, I'm aware of that.  I am also aware that

25       when the existing contracts that FPL had with those

FLORIDA PUBLIC SERVICE COMMISSION

188

1       facilities expired, FPL approached those facilities

2       seeking to renew those contracts, and they rejected our

3       approach not because we were not offering sufficient

4       monies, but because they wanted to, in essence, play the

5       market.  They wanted to sell their power to the highest

6       bidder on any given day.  So they simply asked us to

7       wheel their power, but they would not be entering into

8       contracts with us.  So we did not renew the contracts as

9       a result of their decisions.

10            Q.   Isn't there a facility also in Miami-Dade that

11       you all previously had a contract with, the

12       waste-to-energy facility in Miami-Dade?

13            A.   I am not familiar with that facility.  During

14       the period in which I have been involved in resource

15       planning, that facility has always been also selling

16       independently rather than selling to us.

17            Q.   Okay.  And that is the Dade-Montenay facility,

18       is that right?

19            A.   That's correct.

20            Q.   Okay.  So then the answer to the question on

21       Page 30 really should be yes, rather than no.  You would

22       agree with that, correct?  Because the question is is

23       there an existing generator owned by a third-party in

24       Miami-Dade or Broward County, and I think you have

25       talked about two owned by Wheelabrator and one owned by

FLORIDA PUBLIC SERVICE COMMISSION

189

1       Montenay or Covanta.  I mean, so really there are

2       existing generators owned by third-parties in Broward

3       County and Miami-Dade, correct?

4            A.   Yes, it is correct.  And they were not

5       reflected in the answer because they had -- at least in

6       the case of the ones in Broward, which were more

7       substantial in size comparable to our need, they had

8       already rejected our offers to continue to sell power to

9       us.

10            Q.   Did they tell you that that was it, they were

11       never going to talk to you again, that they were not

12       interested in continuing negotiations or discussions?

13            A.   Well, they did at the time that I was involved

14       in attempting to negotiate with them, and there has been

15       no expressed interest on their part.  And at the same

16       time that this has transpired, we have entered into

17       additional contracts with the Solid Waste Authority of

18       Palm Beach County where we continue to take the

19       initiative with each one of these entities to say do you

20       have any more to sell us.  And, in fact, the Palm Beach

21       County Solid Waste Authority is enhancing its production

22       facility with a view towards selling us additional

23       capacity, which is reflected in our planning process.

24       But in the case of the Broward facilities, they have not

25       expressed any interest in doing business with us.

FLORIDA PUBLIC SERVICE COMMISSION

190

1            Q.   And when was your last conversation with them?

2            A.   It has been some years since I have been

3       involved in that aspect of the business, meaning

4       purchasing power, because of reorganization some -- a

5       couple of years ago.  So I'm not familiar with what is

6       going on right now between the entities, but I know that

7       that group continues to be active.  For example, they

8       are in negotiations to purchase up to 180 megawatts of

9       biomass generation, which has yet to be built, but we

10       are pursuing that.  And in the time that this has

11       transpired, FPL issued not one but two requests for

12       proposals for supply of renewable generation which,

13       unfortunately, were not successful, primarily because no

14       entity wanted to offer power at a cost that would fall

15       under the avoided cost.

16                 So those were not successful, but it's an

17       illustration of our ongoing attempts to solicit and

18       encourage third parties to give us offers that will sell

19       us power for the benefit of our customers.

20                 MR. MOYLE:  Mr. Chairman, I know, I guess, in

21       your prehearing order you always direct the witness to

22       say yes or no and then explain.  You know, if he needs

23       to explain, I'm fine with him explaining, but it will

24       move along if he kind of limits his answers to the

25       questions asked.

FLORIDA PUBLIC SERVICE COMMISSION

191

1                 CHAIRMAN BRISÉ:  Okay.  Thank you.

2       BY MR. MOYLE:

3            Q.   And, Mr. Silva, in that lengthy response to my

4       question, my question simply was when was the last time

5       you had talked to the two facilities in Broward, and I

6       think you said a number of years.  But you also said

7       that there is 180 megawatts of biomass that you are in

8       discussions with, is that right?

9            A.   Yes, I did.

10            Q.   Okay.  And tell me about that, if you would,

11       please.

12            A.   I only mentioned in my testimony that we are

13       pursuing negotiation with an entity for three

14       60-megawatt facilities that would produce in the

15       aggregate 180 megawatts of biomass generation, and it is

16       anticipated that the firm capacity out of those

17       facilities will be available to us by around 2019.

18            Q.   Okay.  And who are you in those discussions

19       with?

20            A.   As I said before, I personally am not involved

21       in the discussions for power purchases, so I don't have

22       personal contact with the seller.

23            Q.   Do you know the name of the other entity that

24       you are in these negotiations with?

25            A.   I am not certain that I do.  No, I don't have

FLORIDA PUBLIC SERVICE COMMISSION

192

1       it here.

2            Q.   Do you know that it's not -- and this is a new

3       facility, correct?

4            A.   These would be new facilities to be

5       constructed after the contract is entered into.

6            Q.   And do you know where they are being proposed,

7       what geographic location?

8            A.   I know that they are not in Miami-Dade or

9       Broward County, but I don't know the precise location.

10            Q.   So for all the reasons in your testimony, I

11       mean, you want things close to your load center,

12       correct, if you can get it?

13            A.   Yes.

14            Q.   Let me next refer you to Page 32, Line 13 of

15       your testimony; you were asked whether a third party

16       would offer a capacity sale from an existing generator

17       located outside Miami-Dade and Broward Counties, what

18       inherent disadvantages would that offer have relative to

19       the proposed project.  And in your testimony you say

20       that there is no third-party advanced combined-cycle

21       unit in Florida available to deliver generation to

22       Florida Power and Light.  Do you stand by that

23       statements?

24            A.   Yes, that's my information.  In the area of

25       Miami-Dade and Broward County there is no third-party

FLORIDA PUBLIC SERVICE COMMISSION

193

1       advanced combined-cycle unit generator from whom we

2       could purchase power.

3            Q.   But the question asked about people,

4       generators outside of Miami-Dade.

5            A.   I'm sorry.  My answer says there is none

6       inside the south.  So any offer would necessarily

7       involve using a single cycle, if it were inside.  I

8       agree that the question asked for outside, and it's in

9       the latter part of the answer that says generation from

10       outside southeast Florida would likely contribute to

11       higher transmission losses.  So I do in part of the

12       answer later address the question of outside Miami-Dade

13       and Broward County.

14            Q.   Yes, sir.  And the question that I'm posing to

15       you is do you stand by your testimony that says,

16       "Because there is no third-party advanced combined-cycle

17       unit in Florida available to deliver generation to FPL."

18       Is that true?

19            A.   That is my belief, yes.  I don't know of any

20       advanced combined-cycle unit generator in Florida that

21       is available to sell power to FPL.

22            Q.   Did you do anything to try to ascertain

23       whether there was any advanced combined-cycle units in

24       Florida available to sell generation to FPL?

25            A.   We are on an ongoing basis as part of the

FLORIDA PUBLIC SERVICE COMMISSION

194

1       business.

2            Q.   And I'm just asking you.  I mean, because it's

3       your testimony, I'm just asking what you did to be

4       comfortable making that statement?

5                 MR. BUTLER:  Mr. Chairman, I would observe Mr.

6       Silva is an overview witness and he is describing in his

7       testimony sort of FPL's overall case.  There are many

8       instances in which he is reporting on work that others

9       have done, and certainly his answers are from that

10       perspective.

11                 CHAIRMAN BRISÉ:  Thank you.  Duly noted.

12                 THE WITNESS:  And in order to answer the

13       question, I rely on experts in various areas, which was

14       a reason why originally there were six other witnesses

15       in this case.  But aside from that, because this is not

16       just about what we presented in testimony, on an ongoing

17       basis we have a group, energy marketing and trading, who

18       is regularly talking to would-be suppliers for hourly,

19       daily, and long-term power purchases and evaluating what

20       they have to offer.  I rely on information from that

21       organization to indicate, for example, that we are in

22       negotiations to purchase 180 megawatts of biomass

23       generation, as well as there isn't anybody out there who

24       has an advanced combined style unit in Florida that

25       could offer us power for sale.

FLORIDA PUBLIC SERVICE COMMISSION

195

1       BY MR. MOYLE:

2            Q.   So you relied on somebody telling you that

3       there was no third-party advanced combined-cycle unit in

4       Florida?

5            A.   Yes.

6            Q.   Okay.  Now, are you aware of a project that I

7       think is in Polk County called the Osprey Project which

8       is, I would represent to you, an advanced combined-cycle

9       unit?

10            A.   I am aware of that project from some years

11       ago.

12            Q.   Okay.  And do you agree that it's an advanced

13       combined-cycle unit in Florida?

14            A.   I don't know that it is an advanced

15       combined-cycle unit.  It's a combined-cycle unit, but I

16       don't know if it is what we refer to as an advanced

17       combined unit with high efficiencies.

18            Q.   Okay.  As we sit here today, do you know if

19       that unit has power available for sale?

20            A.   Personally I don't, but based on my reliance

21       on the group that provides the information to me, no.

22       And in any event it's not -- at least my understanding

23       is that it's not an advanced combined-cycle unit.

24            Q.   And what is your understanding of an advanced

25       combined-cycle unit.  Does that have to be something as

FLORIDA PUBLIC SERVICE COMMISSION

196

1       of a certain date or era?

2            A.   Well, for example, we have a combined-cycle

3       unit at our Putnam site that is from before the 2005

4       vintage.  The first of our advanced combined-cycle

5       units, if I recollect, was coming in service around the

6       turn of the century, the year 2000 or so.  Before that

7       we referred to them as simply combined units as opposed

8       to advanced.  And it's not a line that is very well

9       defined, but the units that have come recently have much

10       better heat rate efficiency and so forth.  And, for

11       example, the unit that we are proposing here has a heat

12       rate of only 6,330 Btus per kilowatt hour, which is

13       better than anything that currently exists in our

14       system.

15            Q.   Yes, sir.  So I guess from your answer there

16       is not a term of art in the industry that separates

17       advanced combined-cycle from older combined-cycle.  In

18       your mind it's just advanced because it's newer and has

19       better heat rate, is that right?

20            A.   That's correct, and that's what I'm referring

21       to in this response is that I'm talking about what we

22       call or refer to as advanced combined-cycle units, and

23       in our view there aren't any available in Florida that

24       would sell us power.

25            Q.   Do you know the heat rate for the Osprey

FLORIDA PUBLIC SERVICE COMMISSION

197

1       Project?

2            A.   I don't recall it.

3            Q.   All right.  Let me flip you to Page 4 of your

4       testimony.

5            A.   Sorry, what page?

6            Q.   Page 4.  And up at the top you say, "The

7       project will transform 1,187 megawatts of less efficient

8       oil and gas-fueled steam generation into about

9       1,277 megawatts of highly efficient, state of the art,

10       environmentally sensitive, advanced combined-cycle

11       generation."

12                 Presently, the Port Everglades project, when

13       it was operational, what was it fueled by?  What was its

14       primary fuel source?

15            A.   The Port Everglades project is primarily using

16       natural gas when that is available.

17            Q.   So was oil a backup, or could you dual fuel

18       it?

19            A.   No, you can operate that unit on either -- or

20       those four units on either residual fuel oil or natural

21       gas.

22            Q.   So for the last year that it was operational,

23       do you know -- can you give me just a rough ballpark how

24       much of the time it was fueled by natural gas and how

25       much of the time it was fueled by oil?

FLORIDA PUBLIC SERVICE COMMISSION

198

1            A.   No, I do not.

2            Q.   Would you economically dispatch that unit when

3       it was operational, the Everglades plant?  And what I

4       mean economically dispatch, if you could fuel it either

5       with oil or natural gas, you would make a decision

6       about, well, what is the better deal.  You know, if oil

7       was low and gas was high you might use oil.  Do you

8       understand that question?

9            A.   Yes, I do, and that is definitely the way that

10       we had run that unit within the constraint of where is

11       the best place to use limited amounts of gas.  So the

12       economics of just Port Everglades don't dictate the

13       decision in its entirety.  We have to consider would it

14       be more economic to put that gas, Turkey Point 5, at

15       Lauderdale as opposed to running Lauderdale, for

16       example, on oil instead.  So it's a decision that is

17       economic, but it's more than just for the individual

18       site.

19            Q.   Okay.  And sort of implicit in your last

20       answer was that there is value associated with fuel

21       diversity.  When you're running your Everglades unit,

22       you could make a choice between oil or natural gas

23       depending on the market prices of those two commodities,

24       that's a good thing.  You would agree with that would

25       you not?

FLORIDA PUBLIC SERVICE COMMISSION

199

1            A.   Yes.  Fuel diversity is a good thing, and we

2       are pursuing it in many ways.

3            Q.   All right.  So when you did your analysis that

4       you are presenting to the Commission today, did you

5       ascribe any value for diversity in what you are

6       presenting to the Commission, any value for diversity of

7       fuel mix?  And if you could answer yes or no and then

8       explain, I would appreciate it.

9            A.   Not specifically.  Because when we compared

10       the possibility of returning to service the Port

11       Everglades units and the costs that that would have

12       entailed and the inefficiency with which those units

13       would continue to operate into the future, the savings

14       associated with doing the modernization amounted to

15       $469 million, and we did not see any quantification of

16       fuel diversity at that site that would overcome a $469

17       million disadvantage for the old units.

18            Q.   All right.  So we talked about fuel diversity

19       at this particular site, and I think we've agreed that

20       fuel diversity is a good thing.  Is it true that Florida

21       Power and Light, based on its generation mix, has more

22       generation coming from natural gas than any other

23       investor-owned utility in the state?

24            A.   I believe that's right.

25            Q.   And with respect to this project that you are

FLORIDA PUBLIC SERVICE COMMISSION

200

1       asking the Commission to approve, it does not help in

2       any way in terms of diversifying your fuel mix, correct?

3            A.   Yes and no.  Let me say the no first.

4       Obviously we are not adding nuclear generation at Port

5       Everglades or coal generation at Port Everglades.  On

6       the other hand, what we are doing at Port Everglades of

7       increasing the efficiency of that unit means that we

8       need less gas in the system in order to supply the same

9       need for our customers.  When we go from a heat rate of

10       9,800 Btus to a heat rate of 6,330 at the site, with a

11       little bit more megawatts, then that eliminates a

12       significant amount of natural gas and oil that would

13       otherwise have to be used in the system, and that

14       contributes to fuel diversity by reducing somewhat our

15       dependence on natural gas.

16            Q.   Okay.  So that was the yes part of the answer.

17       Do you have a no part?

18            A.   I said no in the sense that we are not placing

19       in Port Everglades coal generation or nuclear

20       generation.  On the other hand, you know, this issue of

21       fuel diversity is not really about one site, it's really

22       about our system.  And in terms of diversity, because we

23       are very concerned, we are pursuing the nuclear uprates

24       at existing nuclear facilities, we are pursuing

25       permitting and licensing for you new nuclear units for

FLORIDA PUBLIC SERVICE COMMISSION

201

1       when that would be available, and we are adding

2       136 megawatts per year of demand-side management.  That,

3       again, enables us to not produce as much electricity, so

4       it contributes to fuel diversity.

5                 We are pursuing solar generation to try to

6       make it a viable option and negotiating for other

7       sources of renewable power, so we are pursuing globally

8       for the system fuel diversity because we consider it to

9       be this important.  But Port Everglades is a different

10       situation, a different focus because of its location,

11       because of the efficiency, because of the economics.  So

12       that is why that is so important to us.

13            Q.   So at the end of the day, if the Commission

14       approves your need determination, will this make Florida

15       Power and Light in 2016 more dependent on natural gas as

16       compared to where it sits today?

17            A.   I would say that we will use more natural gas

18       in 2016 than where we are today whether we get a

19       determination of need for Port Everglades modernization

20       or not.  You would have to look at, well, if not Port

21       Everglades, what would we do?  And we don't see

22       something that will reduce the increase in use of

23       natural gas.  However, the natural gas that we use and

24       the high proportion of natural gas that we use is to a

25       large extent, not totally, but to a large extent an

FLORIDA PUBLIC SERVICE COMMISSION

202

1       economic choice.

2                 In other words, we have 3,200 megawatts of oil

3       generation at the Martin and Manatee sites.  If those

4       units were to run ahead of our gas units, we could

5       reduce what might be 60-something percent use of natural

6       gas to maybe 48 percent.  But that is not an economic

7       choice.  Oil is more costly.  We have the availability

8       to run natural gas, which is economic, therefore, we run

9       that.

10                 So it's important to not confuse dependence in

11       terms of reliability which at some cost we could change

12       on a daily versus dependence in terms of making the

13       economic choice.  Gas is the most cost-effective and,

14       therefore, we run it as much as possible.

15            Q.   So am I correct in that response to the

16       question that the answer is yes, that adding the Port

17       Everglades project in 2016 will increase Florida Power

18       and Light's reliance on natural gas as compared to where

19       we sit here today?

20                 MR. BUTLER:  I will object to that question as

21       asked and answered.

22                 CHAIRMAN BRISÉ:  I would agree with you that

23       it was asked and answered.

24       BY MR. MOYLE:

25            Q.   Let me direct you to Page of 6 of your

FLORIDA PUBLIC SERVICE COMMISSION

203

1       testimony.  At Line 19 you say that a three-year delay

2       in adding generation in Miami-Dade/Broward County may

3       not be feasible from a system reliability perspective

4       due to the growing imbalance," et cetera, et cetera.  So

5       your testimony -- you're saying that it may, may happen,

6       correct?  Just yes or no.

7            A.   Yes, in the sense that it's a projection of

8       growth into the future.  But we know that in the few

9       years after 2016 if we don't add new generation at Port

10       Everglades or bring back the old generation in Port

11       Everglades, we are going to have to build transmission

12       facilities to enhance the reliability, the import

13       capability into the region.  And one could argue that it

14       could be in 2019 or 2020, but one cannot escape the fact

15       that the area load is growing, and absent additional

16       generating capacity, we would have to import power.  And

17       if we do, we would have to enhance the transmission

18       facilities to import it, and that has a huge cost as

19       well as great other obstacles.  But even before then, in

20       order -- absent this unit, over those years before we

21       have to build the transmission we would still have to

22       import power from outside the area with ensuing

23       transmission losses, and occasionally we would have to

24       run peaking units in the Miami-Dade/Broward area out of

25       economic dispatch in order to balance supply and demand

FLORIDA PUBLIC SERVICE COMMISSION

204

1       within that area which would be avoidable with the

2       addition of the Port Everglades modernization.

3                 MR. MOYLE:  Mr. Chairman, I have an exhibit

4       that I would like to use.  Whatever your preference is

5       in distributing it, I can do it.

6                 CHAIRMAN BRISÉ:  I think we have staff that's

7       going to help with distribution.

8                 MR. MOYLE:  Thank you.

9                 MR. BUTLER:  Mr. Moyle, a question for you on

10       the exhibit.  You have a fair amount of the information

11       on here highlighted in yellow.

12                 MR. MOYLE:  Right.

13                 MR. BUTLER:  Does that mean it's confidential,

14       or something that you wanted to draw attention to?

15                 MR. MOYLE:  No, that means I did that to draw

16       attention to it.

17                 MR. BUTLER:  Okay.

18                 MR. MOYLE:  Thank you.

19                 CHAIRMAN BRISÉ:  So I guess this would be

20       Exhibit Number 41.

21                 Do you have a short title, Mr. Moyle?

22                 MR. MOYLE:  On the description, PPAs from

23       Summer 2006 to Summer 2011.  Maybe FPL PPAs.

24                 CHAIRMAN BRISÉ:  Thank you.

25                 (Exhibit Number 41 marked for identification.)

FLORIDA PUBLIC SERVICE COMMISSION

205

1       BY MR. MOYLE:

2            Q.   Mr. Silva, I will represent to you that what I

3       have taken are excerpts from the Ten-Year Site Plans

4       that your company has filed 2006 up to 2011, and it's a

5       table that I think has appeared in most of them.  If you

6       want to take a minute and look at it and make sure

7       you're comfortable with it, and if you would confirm

8       that is what that is.

9            A.   Yes, I understand.  I agree.

10            Q.   Okay.  So let me first direct your attention

11       to the first page of the document, and the document is

12       numbered with handwritten numbers.  But on Page 1, do

13       you see the handwritten number on the right?

14            A.   Yes.

15            Q.   So we are at the 2006, and at the top -- am I

16       correct in that those show the purchases from the North

17       Broward and South Broward facilities of nearly

18       95 megawatts, is that right?

19            A.   In 2006, yes.

20            Q.   Okay.  And then in the third section, other

21       purchases, in 2006 there's a purchase of 274 megawatts

22       from the Reliant/Pasco/Shady Hills project, correct?

23            A.   Yes.

24            Q.   That's a combined-cycle project, is it not?

25            A.   I don't recall.

FLORIDA PUBLIC SERVICE COMMISSION

206

1            Q.   Do you know if in part of your analysis that

2       you checked to see whether any of that power was

3       available for purchase today?

4            A.   I personally did not.

5            Q.   Did your team?

6            A.   I don't know.

7            Q.   You do not know?

8            A.   No, I don't know.

9            Q.   With respect to making sure the consumers are

10       getting the best deal, do you think maybe that would

11       have been something prudent to do, to check and see

12       whether there is any available power from the

13       Reliant/Pasco/Shady Hills project?  Your need was 276,

14       and this was 474 in 2006.  Wouldn't you agree that maybe

15       should have been something that should have been checked

16       out?

17            A.   I am not saying that it wasn't checked out;

18       I'm saying that I personally don't have knowledge that

19       this particular operation was considered.  I relied on

20       the experts that deal with purchased power when they

21       indicated that there was no advanced combined-cycle unit

22       facilities available to compete with what we were

23       considering.

24            Q.   All right.  And then I guess the same

25       questions.  There is another Reliant project that it

FLORIDA PUBLIC SERVICE COMMISSION

207

1       looks like in 2007 and 2008, I mean, you were projecting

2       pretty big numbers coming out the Reliant Indian River

3       project, correct?

4            A.   Well, the Reliant Indian River plant is a

5       steam plant that I know we purchased power at some

6       junctures and time in the past, and it's a very

7       inefficient facility, and not cost-effective compared to

8       any of the combined-cycle units.

9            Q.   But with respect to exploring whether a

10       purchase was available, I mean, the cost-effectiveness

11       depends on what somebody would sell you the power for,

12       correct?  I mean, if they sell it and make only a small

13       profit, maybe it becomes cost-effective to you.  You

14       would agree with that, that the cost-effectiveness is

15       not necessarily governed by what the equipment in the

16       ground is, but what a willing seller is willing to take

17       for his power?

18            A.   In the case of Reliant Indian River, at the

19       prices of oil compared to natural gas, they could not

20       have sold us power without losing money if they wanted

21       to compete with a combined-cycle unit.  So that

22       particular one, even without being involved in

23       day-to-day discussions, I know that there is no possible

24       way that we could have bought power from them at a

25       competing price.

FLORIDA PUBLIC SERVICE COMMISSION

208

1            Q.   How about the Oleander project, those are

2       combustion turbines, are they not?

3            A.   I don't remember the technology of it, whether

4       they are CTs, or combustion turbines, but the Oleander

5       facilities have been offered to us periodically, and we

6       have evaluated them against our alternatives.  And

7       because of their high heat rate they have not competed.

8       Again, I don't know whether they were available at this

9       time.  My understanding is that all of these facilities,

10       except for Indian River, were committed, but I cannot

11       testify that I know personally about that.

12            Q.   So you have been -- in your current position

13       you are in charge of planning, integrated resource

14       planning, isn't that right?

15            A.   Yes.

16            Q.   Okay.  And you have held that position since

17       2002?

18            A.   Yes.

19            Q.   Okay.  So all of the Ten-Year Site Plan

20       information I'm showing you, you oversaw this, have

21       familiarity with it, correct?

22            A.   Yes.

23            Q.   Okay.  So let me just flip you to the second

24       page.  There's a lot of other purchases that are listed

25       and then under 8, I have highlighted it, other

FLORIDA PUBLIC SERVICE COMMISSION

209

1       short-term purchases.  And it looks like in the years

2       2012/2013, you know, you are showing 800 megawatts.

3       This is summer, correct, this is to cover your summer

4       peak?

5            A.   Yes.

6            Q.   Where were those other short-term purchases

7       coming from, if you know?

8            A.   If they are not listed, which they are not

9       here, and noting that this is a document prepared in

10       2007, and these purchases are five years later, is that

11       these were projected purchases without necessarily

12       identifying the source at this time.  And I do not

13       recall there being a specific seller for these

14       quantities.

15            Q.   All right.  So let me flip you to the very

16       last page, Page 6.  And when you compare Page 6 to Page

17       1, you have gone from -- in 2006, you had over

18       1300 megawatts purchased from third parties, and then in

19       2011 you have only 155 megawatts purchased, is that

20       right?

21            A.   Under other purchases?

22            Q.   Yes, sir.

23            A.   Yes, that's correct.

24            Q.   Okay.  And up above, you know, the Broward

25       facilities there, the large units in 2006 you had 50

FLORIDA PUBLIC SERVICE COMMISSION

210

1       megawatts and 45.  Those are not showing up in the top

2       column, are they?

3            A.   No.  As I said, those were the purchases that

4       expired and they did not want to continue them.

5            Q.   Okay.  And in my opening statement I made a

6       comment that Florida Power and Light earns money on

7       invested capital.  You agree with that, correct?  When

8       you invest capital you get a return on it, including a

9       return on equity?

10            A.   We are given an opportunity to earn a fair

11       return on our investment.

12            Q.   Okay.  Are you also given an opportunity to

13       earn money, to earn a fair return on purchased power

14       agreements?

15            A.   No.

16            Q.   Those are just straight pass-throughs,

17       correct?  So whatever the cost of the purchased power

18       agreement is, you come in in a clause proceeding and

19       seek to recover those costs, correct?

20            A.   Yes.

21            Q.   Treated just like fuel?

22            A.   Yes.

23            Q.   So you would agree there is a financial

24       incentive in deciding what direction to go with respect

25       to generation options, that there is a financial

FLORIDA PUBLIC SERVICE COMMISSION

211

1       incentive to build your own facilities, as compared to

2       signing purchased power agreements, at least as it

3       relates to the opportunity to earn additional monies,

4       correct?

5            A.   I don't know how to answer the question in the

6       sense that I'm not involved in decisions as they pertain

7       to the shareholder.  In my group we determine when a

8       need for capacity is needed and then we treat the

9       alternatives to see which is the one that results in the

10       best outcome for the customer, without any consideration

11       for whether this is a pass-through or that earns a

12       return.  And, frankly, I don't know that I could tell

13       you whether we are better off as a company from a

14       shareholder perspective by adding our own capacity or

15       not.  It's not something that we ever consider when we

16       are going through this process.

17            Q.   All right.  Now, you have a Master's in

18       Business, right?

19            A.   Yes.

20            Q.   And you are familiar with -- I mean, you have

21       been in the electric business with FPL since what year?

22            A.   With FPL?

23            Q.   Yes, sir.

24            A.   Since 1978.

25                 MR. MOYLE:  I have another exhibit.

FLORIDA PUBLIC SERVICE COMMISSION

212

1                 CHAIRMAN BRISÉ:  Just so that everyone is

2       conscious of the time, it's 11:00 o'clock.  We plan to

3       begin another hearing at 1:00 o'clock.  So please bear

4       that in mind.

5                 MR. MOYLE:  I'm not filibustering, I promise.

6                 MR. BUTLER:  It seems like it.

7                 CHAIRMAN BRISÉ:  So this would be Exhibit

8       Number 42.

9                 (Exhibit Number 42 marked for identification.)

10                 CHAIRMAN BRISÉ:  If you could provide us a

11       short title that you would like us to use, Mr. Moyle.

12                 MR. MOYLE:  Sure.  Transcript of NextEra

13       Investors Call, November 4, 2011.

14                 CHAIRMAN BRISÉ:  Thank you.

15       BY MR. MOYLE:

16            Q.   Mr. Silva, you are aware that your company has

17       calls with investors periodically, correct?

18            A.   Yes.

19            Q.   And those are usually with the top executives

20       of the company, correct?

21            A.   Yes.

22            Q.   Do you listen in on those calls, or do you

23       have information as to what takes place on those calls,

24       or general knowledge?

25            A.   I occasionally have listened and otherwise

FLORIDA PUBLIC SERVICE COMMISSION

213

1       read, if not the entire transcript, then summaries.

2            Q.   Okay.  So I just want to bring you to a couple

3       of points and ask you if you agree with this.  The first

4       is on Page 3 of 12, and I'm going -- the numbering is at

5       the top of the page.  So do you see Page 3 or 12?

6            A.   Yes.

7            Q.   Okay.  And there's a statement in there, "For

8       the third quarter of 2011, Florida Power and Light

9       reported net income of 347 million, or 0.83 per share.

10       Florida Power and Light's contributions to earnings per

11       share increased 9 cents relative to the prior year's

12       comparable quarter, driven almost entirely by the

13       substantial investments we have made in the business,

14       including the nuclear uprates in our Martin facility."

15       Do you have any reason to disagree with that statement?

16            A.   No.

17            Q.   And then on Page 5?

18            A.   Yes.

19            Q.   And I'm not going to read the whole thing, but

20       there is a statement made by Mr. Pimentel that he says,

21       "First, as we have indicated before, we expect the major

22       driver of our earnings growth over the next several

23       years will be the investments that we continue to make

24       at FPL."  You would agree that --

25                 MR. BUTLER:  Excuse me, I'm going to object.

FLORIDA PUBLIC SERVICE COMMISSION

214

1       I think it's appropriate for Mr. Moyle to at least read

2       all of the part that he highlighted.

3                 MR. MOYLE:  I'm happy to do that.

4                 MR. BUTLER:  It puts a considerably different

5       spin on matters.

6                 CHAIRMAN BRISÉ:  All right.  Mr. Moyle, if you

7       would --

8                 MR. MOYLE:  You had me worried about the time

9       a little bit, but I'll go ahead and read it.

10                 CHAIRMAN BRISÉ:  I'm sure you're a fast

11       reader.

12                 MR. MOYLE:  All right.  The highlighted

13       portion says, "As far as the earnings outlook beyond

14       2011, we want to give you a bit more detail regarding

15       some factors that are expected to drive results in 2012

16       and '13.  First, as we have indicated before, we expect

17       the major driver of our earnings growth over the next

18       several years will be the investments that we continue

19       to make at FPL.  We expect these investments to reward

20       our customers with operating efficiencies, cleaner

21       generation and reduced fuel costs, all while keeping our

22       bills the lowest in Florida."

23                 All right.  You don't have any reason to

24       disagree with that statement, do you?

25            A.   No, and the last sentence is essentially what

FLORIDA PUBLIC SERVICE COMMISSION

215

1       is my role.  In other words, what the first part talks

2       about is the --

3                 MR. MOYLE:  Mr. Chairman, I got the answer I

4       needed.

5                 CHAIRMAN BRISÉ:  Yes or no is preferable,

6       unless you absolutely have to, and some of it is at Mr.

7       Moyle's discretion on how long you go.

8       BY MR. MOYLE:

9            Q.   All right.  And I'm not going to belabor this,

10       but on the next page, on Page 6 there is guidance that

11       says the highlighted portion looking at 2012

12       specifically as a result of our rate agreement, FPL's

13       earnings will be primarily based on the amount of rate

14       base investment it makes.  We expect total base rate in

15       2012 to be between 24.7 billion and 24.9 billion, or

16       approximately 14 percent higher in 2011.  The growth in

17       total rate base is driven primarily by generation

18       projects that have received prior PSC approval.

19                 Do you know are those -- you don't disagree

20       with this statement, do you?

21            A.   No, although the numbers are not something

22       that I'm personally familiar with, it's a statement of

23       fact.  You know, we add capacity to serve the customer

24       at the lowest possible cost, and then this is the

25       numerical consequence, if you will.

FLORIDA PUBLIC SERVICE COMMISSION

216

1            Q.   Right.  And down below it, "We expect total

2       average rate base in 2013 to be between 26.4 billion and

3       26.8 billion, or approximately 7 percent higher than in

4       2012."  Do you know is the company -- is part of its

5       business strategy to continue to grow the rate base?

6                 MR. BUTLER:  I'm going to object to this line

7       of questioning.  I let it go for awhile, but it's way

8       beyond the scope of Mr. Silva's testimony, and it's an

9       improper examination of him.

10                 CHAIRMAN BRISÉ:  Mary Anne?

11                 MR. MOYLE:  If I could respond?

12                 CHAIRMAN BRISÉ:  Sure.

13                 MR. MOYLE:  I would argue that it's not from a

14       standpoint of, you know, you're tasked with determining

15       whether what is before you is the best deal for the

16       consumers, and as part of the regulatory compact you

17       have to consider the evidence.  I have, in my opening

18       statement, made the proposition that FPL has selected

19       and decided on the Port Everglades project, because it

20       is in the best interest of Wall Street and their

21       shareholders.  Because if it's approved, it gets added

22       to the base rate, and then they can come in and try to

23       seek recovery; whereas purchased power agreements and

24       things like that don't give them a return.  So I think

25       for the point of you determining whether indeed it's the

FLORIDA PUBLIC SERVICE COMMISSION

217

1       best deal, that I think this is a relevant line of

2       inquiry.

3                 MR. BUTLER:  But saying it in his opening

4       statement doesn't make it relevant to Mr. Silva's

5       testimony.  I continue with my objection.

6                 CHAIRMAN BRISÉ:  Thank you.

7                 Mary Anne.

8                 MS. HELTON:  Mr. Chairman, I think you have

9       given Mr. Moyle a great deal of latitude today,

10       especially considering that he did not sponsor any

11       witnesses; he did not participate in the prehearing

12       conference; he intervened five days before the hearing

13       started.  It sounds to me that we have gone beyond the

14       scope of his examination here today.

15                 MR. MOYLE:  I'll tell you what, I'll move it

16       along.

17                 CHAIRMAN BRISÉ:  But for the record, I guess,

18       I'll sustain the objection.  And if we could shift the

19       line of questioning to an appropriate scope, that would

20       be greatly appreciated.

21                 MR. MOYLE:  Sure.  Mr. Chairman, and one more

22       point that I think is a little telling under -- on Page

23       7, the Lew Hay statement, "Our growth for the next few

24       years will be driven primarily by growth at Florida

25       Power and Light where our investments are fundamentally

FLORIDA PUBLIC SERVICE COMMISSION

218

1       substituting capital for fuel and thereby making or

2       delivery system more efficient."

3                 MR. BUTLER:  I would object.  Mr. Moyle has

4       apparently assumed the role of testifying witness at the

5       moment.

6                 MR. MOYLE:  Well, I was going to ask a

7       question.

8       BY MR. MOYLE:

9            Q.   My question would be is the Progress -- I'm

10       sorry, is the Everglades project substituting capital

11       for fuel?  I mean, that's what it.  Is you are saying,

12       well, we can invest this money and we will use less

13       fuel.  Is that an example of substituting capital for

14       fuel?

15                 CHAIRMAN BRISÉ:  Before you answer that

16       question, from your perspective, do you maintain your

17       objection?

18                 MR. BUTLER:  I will withdraw my objection to

19       that particular question.

20                 CHAIRMAN BRISÉ:  Okay.  Thank you.  You may

21       proceed, Mr. Silva.

22                 THE WITNESS:  These are not my words and I

23       would not use this characterization.  We certainly

24       invest in new generation.  Sometimes we purchase power,

25       if that's cost-effective, in order to meet the needs of

FLORIDA PUBLIC SERVICE COMMISSION

219

1       our customers at the lowest cost.  But consider this, in

2       the investments we have made since 2001 to date, we have

3       increased the efficiency of the system by 20 percent,

4       meaning 20 percent less fossil fuel is being burned than

5       would have been at the old efficiency.  And by 2016 we

6       project that it will be 26 percent.  So we are reducing

7       fuel costs, and it requires investment, but the

8       investment is necessary in order to maintain reliability

9       in any event.  And if purchased power is available and

10       it is more cost-effective, then we always select

11       purchased power under those circumstances.

12       BY MR. MOYLE:

13            Q.   So did I understand your answer to be that

14       essentially, yes, that you are substituting capital for

15       fuel to gain more efficient delivery?  That while you

16       are not comfortable with these words, but that is

17       essentially -- I mean, you don't disagree with these

18       words, do you?

19                 MR. BUTLER:  I'll object.  The question is

20       asked and answered.

21                 CHAIRMAN BRISÉ:  I would agree, the question

22       was asked and it was answered.

23                 MR. MOYLE:  Well, let me do this.  Can we take

24       a couple of minutes?  I have some other questions, but I

25       think if we take a morning break I might be able to pare

FLORIDA PUBLIC SERVICE COMMISSION

220

1       some down.

2                 CHAIRMAN BRISÉ:  All right.  So we will take a

3       five-minute break.  So we will be back -- I guess we'll

4       make it six minutes -- at 11:20.

5                 (Recess.)

6                 CHAIRMAN BRISÉ:  Okay.  It seems as if

7       everyone is in place, so at this time we will resume.

8                 Mr. Moyle.

9                 MR. MOYLE:  Thank you, Mr. Chairman.

10       BY MR. MOYLE:

11            Q.   Mr. Silva, when we were going through those

12       purchased power agreements from the ten-year site plans,

13       I didn't see anything in there for purchased power from

14       the Florida Crystals facility.  Do you have familiarity

15       with the Florida Crystals facility in Palm Beach County?

16            A.   Yes.

17            Q.   And that is a 145 or 150 megawatt facility,

18       correct?

19            A.   Yes.

20            Q.   And being in Palm Beach County, it is

21       relatively close to your load center, correct?

22            A.   Yes.

23            Q.   And in putting together your information, did

24       you do any analysis that would have a scenario by which

25       a purchase from them would have been included?

FLORIDA PUBLIC SERVICE COMMISSION

221

1            A.   We have a contract with Okeelanta, the same

2       company.  By their choice it is an as-available energy

3       contract.  They do not want to commit firm capacity to

4       us.  In fact, the last increment in the capacity that

5       they built was built as a result of a determination of

6       need granted by this Commission with FPL support.

7       Despite the fact that they provided no firm capacity,

8       they did sell the power slightly below avoided cost, and

9       as a result the Commission found that there was a need,

10       an economic need for the benefit of the customers.  And

11       we have been in that contract with them since, and as

12       reported in the Ten-Year Site Plan in a different

13       section, because it's not firm capacity resources.

14            Q.   So is it your testimony that they are

15       unwilling to enter into a contract with you for firm

16       capacity?

17            A.   They were when -- yes, they were resistant to

18       enter into a firm capacity contract with us when we

19       entered into the contract.

20            Q.   And what the point in time are you referring

21       to when you entered into the contract?

22            A.   I believe this must have been around 2007,

23       perhaps.

24            Q.   And it is your testimony that the contract is

25       still in existence today?

FLORIDA PUBLIC SERVICE COMMISSION

222

1            A.   Yes.

2            Q.   And it is for as-available, correct?

3            A.   Yes, it is for energy only.

4            Q.   Okay.  And you believe, or it's your testimony

5       that the ability to modify that contract for them to

6       commit firm capacity is not available?

7            A.   I believe that it's not, because the way that

8       they expressed their interest was to use our

9       transmission facilities to sell on an hourly basis

10       wherever they could get the highest price as opposed to

11       committing to one buyer.

12            Q.   Do you know what they are currently being paid

13       for their as-available energy?

14            A.   No, I don't know.  But I might say -- excuse

15       me, to correct my -- I don't know what others may be

16       paying them, but we are paying them just like 99 percent

17       of avoided cost.

18            Q.   And what are your avoided costs presently, do

19       you know?

20            A.   That I cannot tell you.

21            Q.   Now, you testify on Page 11 about -- your

22       testimony assumes that Turkey Point Unit 1 will be

23       removed from service by 2006.  How many units is Turkey

24       Point Unit 1, how many megawatts?

25            A.   Excuse me, it will be removed from service by

FLORIDA PUBLIC SERVICE COMMISSION

223

1       2016.

2            Q.   I'm sorry.

3            A.   Turkey Point 1 is one unit.  There are five

4       units in operation at the site.

5            Q.   Okay.  And just this one unit, how many

6       megawatts does it represent?

7            A.   About 400.

8            Q.   400 megawatts.  Okay.  Now, isn't it true that

9       your plans are to still keep Turkey Point Unit 1 on-line

10       of 2006 to address voltage issues?

11            A.   After 2016, you mean?

12            Q.   Yes, I'm sorry, 2016.

13            A.   Yes, they will continue to operate what they

14       call a synchronous condenser.  It doesn't produce any

15       energy, doesn't contribute capacity to the system, it

16       just maintains system stability from the transmission

17       perspective.

18            Q.   So to the extent that this plant is going to

19       not be retired, it's going stay on-line, and it has

20       400 megawatts, you're not going to get any power out of

21       it, but you are going to keep it on-line for voltage

22       support, is that essentially right?

23            A.   That is correct.

24            Q.   On Page 13, again, you're talking about you

25       determine that there would be cost to FPL customers if a

FLORIDA PUBLIC SERVICE COMMISSION

224

1       long-term agreement, a long-term purchased power

2       agreement was entered into.  Did you consider or do an

3       analysis with respect to the possibility of entering

4       into a short-term agreement?

5            A.   Yes, we have.

6            Q.   And what were the results of that?

7            A.   All our analyses that are related to delaying

8       the unit by virtue of short-term purchased power

9       resulted in higher cost to the customer.  And those

10       analysis are very conservative, conservatively low in

11       terms of penalizing the delay.  But all of them that we

12       did for one year, two year, and three-year delay, they

13       resulted in higher cost to the customer.

14            Q.   And what term did you look at with respect to

15       a long-term agreement, what was the term that you looked

16       at?  Did you do an analysis?  Did you do a document that

17       says here is our analysis where we concluded that

18       entering into a long-term purchased power agreement for

19       286 megawatts is not cost-effective?

20                 MR. BUTLER:  Excuse me.  I'm confused.  Mr.

21       Moyle was just asking Mr. Silva about short-term

22       agreements, and then his follow-up question appears to

23       be about long-term agreements.

24                 CHAIRMAN BRISÉ:  Mr. Moyle, if you can clarify

25       the question.

FLORIDA PUBLIC SERVICE COMMISSION

225

1                 MR. MOYLE:  Sure.

2       BY MR. MOYLE:

3            Q.   Your testimony is you determined that it was

4       not cost-effective to enter into long-term agreements.

5       Did you have a document?  Is there a document that

6       reaches this conclusion?

7                 MR. BUTLER:  I'm going to object to the

8       characterization of his testimony.  He just was asking

9       him about short-term agreements and Mr. Silva answered

10       him about short-term agreements.

11                 MR. MOYLE:  I can go back to short term.

12       Whatever your will is.

13                 CHAIRMAN BRISÉ:  Okay.  Finish with short

14       term.

15                 MR. MOYLE:  Okay.

16       BY MR. MOYLE:

17            Q.   You did an analysis of short-term agreements,

18       correct?

19            A.   Yes, we did.

20            Q.   Okay.  And what period of time did you use for

21       a short-term?  Was it five years, three years, two

22       years?

23            A.   I'm sorry, one, two, and three-year agreement

24       to delay the units, the unit at Port Everglades that

25       long.

FLORIDA PUBLIC SERVICE COMMISSION

226

1            Q.   And what was the purchased price that you

2       assumed?

3            A.   I don't believe I have that information.  I

4       believe it was three dollars per kW month for capacity.

5       And then, of course, the fuel, the energy would be at

6       the fuel price.  But that's a recollection.  I'm not

7       absolutely sure about that number.  But it was

8       reflective of offers that we had received and short-term

9       contracts that we have entered into for this year.  So

10       what we were being quoted for 2012, that's what we used

11       in the analysis for 2016, '17, and '18.

12            Q.   And with respect to long-term, what was the

13       assumed length of a long-term purchase?

14            A.   As my testimony indicates, we did not do a

15       detailed analysis versus a long-term purchase, because

16       we didn't have a proposal for a long-term purchase.  I

17       discuss in my testimony to some length from a logical

18       perspective what challenges a seller would have to

19       overcome in the particular case of competing with Port

20       Everglades, and in particular the fact that a long-term

21       contract from a facility outside of Miami-Dade would

22       have required FPL to spend about $640 million in

23       transmission upgrades into Miami-Dade County.  And it

24       doesn't matter whether it was a purchased power

25       agreement from outside the region or an FPL unit from

FLORIDA PUBLIC SERVICE COMMISSION

227

1       outside the region, it would have had that burden.  And

2       as result of that burden, it just wasn't going to be

3       cost-effective.

4                 On top of that, if it had been a new unit, it

5       would have had to pay for land, which Port Everglades

6       does not, for transmission facilities, which Port

7       Everglades does not, and for gas generation, for a gas

8       pipeline lateral, which Port Everglades does not.  So

9       from a logical perspective, my testimony explains at

10       some length why a long-term purchased power agreement

11       was not going to be competitive with this particular

12       unit, Port Everglades modernization.

13            Q.   Okay.  So I guess the question I asked was the

14       term that you used, and you didn't use any term of

15       years, because you had predetermined that there were

16       additional costs that would work against a long-term

17       purchased power agreement, is that right?

18            A.   We made that determination, yes.

19            Q.   Okay.  And did you also -- did you assume for

20       the purposes of this analysis that there could be an

21       existing facility that could bid in under a long-term

22       purchased power agreement?

23            A.   Yes.  The burden of the transmission facility

24       still would have to be borne by that.  In other words,

25       if we contracted for generation from outside the region,

FLORIDA PUBLIC SERVICE COMMISSION

228

1       we still would have to upgrade the transmission

2       facilities into the region at a cost of over 630 or

3       $640 million.

4            Q.   And when you made that determination, you did

5       it -- the document that you did it in, it wasn't a

6       transmission study of the kind that you would file with

7       FERC to determine those costs, it was a preliminary

8       analysis, correct?

9            A.   No, it was not a preliminary analysis.

10       Mr. Modia refers to the analysis in his prefiled

11       testimony, and it was a standard analysis of system

12       reliability and balance from an engineering perspective

13       and costing out the facilities that would be required to

14       maintain the system stability.

15            Q.   We have talked a little bit about this, but

16       just let me direct you to Page 14, Line 11.  You talk

17       about firm generating capacity, what is firm generating

18       capacity?

19            A.   Firm generating capacity is what we can count

20       on in our evaluations on the peak day or at any time.

21       In other words, there is a commitment either on the part

22       of a seller to us or our own unit that it's going to be

23       available when it's needed.  And the best way would be

24       to contrast where we say when we buy energy only, that

25       means that the seller has the option whether to put to

FLORIDA PUBLIC SERVICE COMMISSION

229

1       us the energy or not, and the contract simply consists

2       of us paying a certain amount for the energy.  But we

3       don't count on it for the purpose of reliability.  Firm

4       capacity means that we count on it for the purpose of

5       reliability.

6            Q.   So you would need a long-term contract for

7       firm --

8            A.   Not necessarily.

9            Q.   -- capacity factor, or no?

10            A.   We have entered into short-term purchases for

11       firm capacity.

12            Q.   So do you consider biomass firm, if you have a

13       contract for it?

14            A.   It can be.

15            Q.   From an operational standpoint it's base load,

16       correct?

17            A.   Well, base load is an economic result, but

18       from a firm capacity perspective, a biomass facility can

19       be a firm capacity facility.

20            Q.   Okay.  Do you consider solar to be firm

21       capacity when you're doing your analysis?

22            A.   No, we don't.

23            Q.   Why not?

24            A.   Because we don't have sufficient data to tell

25       us how much of the installed capacity of a solar

FLORIDA PUBLIC SERVICE COMMISSION

230

1       facility will be able to produce on the day when we have

2       a peak on the hour when we have a peak.

3            Q.   So when you are doing your planning process,

4       to the extent that there's solar out there, is it your

5       testimony that you do not consider it for determining

6       your peak, you know, the generation available to meet

7       peak load?

8            A.   That's correct.  That's correct.  And that has

9       been reported in our Ten-Year Site Plan for a number of

10       years and reflected in our other filings.

11            Q.   So you would agree that from the standpoint of

12       sources of energy, solar has less value related to

13       planning purposes than something like biomass, correct?

14            A.   From the perspective of firm capacity?

15            Q.   Yes, sir.

16            A.   Yes.

17            Q.   Thank you.

18            A.   On the other hand, it's a far cleaner source

19       of energy.

20            Q.   So let me move along and have a discussion

21       with you about the reserve margin.  And you all plan to

22       a 20 percent reserve margin, is that right?

23            A.   Yes, to a minimum of 20 percent.

24            Q.   Okay.  What does FRCC plan to?

25            A.   I believe FRCC requires 15 percent, but most

FLORIDA PUBLIC SERVICE COMMISSION

231

1       of the utilities maintain over 20 percent.

2            Q.   Do you know why FRCC -- who is FRCC?

3            A.   Florida Reliability Coordinating Council.

4            Q.   And what is their job?

5            A.   I think they look at the entire peninsular of

6       Florida system and consider what would maintain

7       reliability within the state.

8            Q.   So do you know why from planning purposes the

9       entity charged with making sure there is enough energy

10       reliability uses a 15 percent reserve margin, whereas

11       you use a 20 percent?

12            A.   From my perspective, the FRCC can plan on a

13       15 percent reserve margin criterion for the rest of the

14       utilities in Florida, because the three Florida IOUs

15       maintain a minimum of 20 percent, and in the aggregate

16       that is sufficient to maintain reliability in the entire

17       state.  I think the FRCC would -- my belief is that they

18       would think differently, if everybody observed only a

19       15 percent minimum.

20            Q.   And isn't it true that Florida Power and Light

21       for many, many, many years safely and effectively served

22       its customers with a 15 percent reserve margin?

23                 MR. BUTLER:  Excuse me, Mr. Chairman.  I'm

24       going to object.  I have held my tongue to this point,

25       but reserve margin isn't an issue in this docket.  It's

FLORIDA PUBLIC SERVICE COMMISSION

232

1       clear that Mr. Moyle is going into the history of

2       reserve margin and policy questions about it, et cetera,

3       and I think it's way off the mark of the subject of this

4       proceeding.  I object to it on that basis.

5                 CHAIRMAN BRISÉ:  Mr. Moyle.

6                 MR. MOYLE:  I would respectfully disagree

7       strenuously and severely to the extent that, you know,

8       there's a 20 percent reserve margin and you fall just

9       under it, and then you come in and go we need

10       1.3 billion.  The stipulation, there is a stipulation in

11       place with respect to reserve margin that I think gives

12       the Commission the ability to look at the facts of every

13       particular case, and so as a particular option, if you

14       decide, you know what, they went from 15 percent to

15       20 percent.  Maybe that was too big of a jump.  Maybe an

16       effective reserve margin -- or for the purposes of this

17       case we can make do with a 17.5 percent reserve margin.

18       I think that is fair game and a fair discussion to have.

19                 CHAIRMAN BRISÉ:  Thank you.

20                 Mary Anne, to the issues specifically of

21       whether the reserve margin is germane to this docket.

22                 MS. HELTON:  Mr. Chairman, I haven't looked

23       today at the issues listed out in the prehearing order,

24       but I assume that they are the same issues that are

25       typical in our prehearing orders for need determination

FLORIDA PUBLIC SERVICE COMMISSION

233

1       cases which track the statute.  My recollection is that

2       the reserve margin is not listed there in the statute

3       and is not one of the matters that you must consider.

4                 And if I might do a little bit of

5       editorializing here, I believe that Mr. Moyle is

6       conducting a lot of discovery here, and I'm not sure

7       that's appropriate, especially given the time period.

8       This is a quarter till noon, and we have a 1:00 o'clock

9       hearing starting.

10                 CHAIRMAN BRISÉ:  Thank you.

11                 Considering that the reserve margin is really

12       not one of the issues that's taken up per the prehearing

13       order, I'm going to sustain the objection on this issue.

14       And I'm going to take the latitude to remind all parties

15       that we intend to begin at 1:00 o'clock, and that we

16       certainly hope that everyone understands the scope of

17       what we are dealing with at this point.

18                 MR. MOYLE:  Okay.  So with all due respect,

19       you already have in evidence, you know, a document where

20       your staff asked them to do an analysis comparing a

21       15 percent reserve margin to a 20 percent reserve

22       margin.  So, you know, that's in and it's part of the

23       record.  There is testimony about the 20 percent reserve

24       margin, so I would just proffer that to the extent I had

25       been allowed to ask questions about the reserve margin,

FLORIDA PUBLIC SERVICE COMMISSION

234

1       I would have explored alternatives that looked at a

2       reserve margin of less than 20 percent.  So I think we

3       can deal with it that way.  And, I guess, for point of

4       clarification -- and, you know, everyone is right, we

5       did intervene late, but we do take the case as we find

6       it and I'm trying to move --

7                 (Pause.)

8                 CHAIRMAN BRISÉ:  You may proceed.

9                 MR. MOYLE:  Okay.  I'm trying to move along

10       and get testimony for a record that I would anticipate

11       presenting findings of fact and -- proposed findings of

12       fact and conclusions of law.  And it's not an easy task

13       without witnesses and having to present, in effect, a

14       whole case based on cross-examination of an adverse

15       witness, so I appreciate the latitude that has been

16       shown.

17                 From a timing standpoint, I don't want to hurt

18       and goof you up, but in terms of also, you know, being

19       able to present my case, I'm a little conflicted there.

20       So if -- you know, is it the intention to take a lunch

21       break and then take up the 1:00 o'clock and come back,

22       or, you know, work right through, or what is the --

23                 CHAIRMAN BRISÉ:  The intention is to -- I'll

24       tell you what my intention is.  Hopefully, we will

25       conclude this prior to the 1:00 o'clock, and then we

FLORIDA PUBLIC SERVICE COMMISSION

235

1       will move into the 1:00 o'clock.  Hopefully, we'll have

2       some break in between there so that all of those who are

3       here that will participate in the next one will have an

4       opportunity to at least take a bite to eat and come back

5       and continue.

6                 So I'm not trying to limit your time

7       explicitly, but I'm trying to make sure that -- you

8       know, we have given a lot of latitude this morning, and

9       I'm just hopeful that you are cognizant of that, and

10       that you will deal appropriately with that.

11                 MR. MOYLE:  Okay.  I appreciate that.  And,

12       you know, again, I mean, if we were talking about 10

13       million or even 100 million, but --

14                 CHAIRMAN BRISÉ:  Understood.

15                 MR. MOYLE:  It's a big case and a lot of

16       money.

17                 MR. BUTLER:  Mr. Chairman, I'm sorry, I'm

18       unable to restrain myself further.  Mr. Moyle knew the

19       size of this case when we filed it in November.  He has

20       had ample opportunity to intervene.  He could have done

21       discovery.  He could have sponsored witnesses.  All of

22       these problems are of his own making, and I don't think

23       it's appropriate for him to be pushing the proceeding

24       longer than it needs to be simply because he's now

25       conducting belated discovery.  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

236

1                 CHAIRMAN BRISÉ:  Thank you.

2                 Before you continue, Mr. Moyle, I think

3       he's -- Mr. Moyle is cognizant of the fact that the

4       Commission has been -- what's the right term here -- has

5       applied a lot of latitude this morning, understanding

6       that FIPUG is a regular intervenor.  So they understand

7       the process and so forth, so I think Mr. Moyle is going

8       to be very cognizant of that fact.

9                 MR. MOYLE:  Thank you.

10       BY MR. MOYLE:

11            Q.   A couple more questions with respect to the

12       evaluations that you did related to third-party options.

13       With respect to a new greenfield that a third party

14       could possibly do, did you talk to any third-party about

15       that, or did you just assume that a third-party could

16       not do it because of the cost of things like land and

17       getting gas transmission to a potential new greenfield

18       site?

19            A.   Our engineering -- no.  The answer is that as

20       far as I know we didn't talk to any specific entity, but

21       our engineering and construction group is knowledgable

22       about what it takes to obtain land because they are in

23       the market all the time, and to buy equipment and build

24       a unit.  So they know what that costs, and they know

25       that nobody had purchased, or selected, or permitted

FLORIDA PUBLIC SERVICE COMMISSION

237

1       land for a site.  So all of that remained ahead of them.

2                 Now, the transmission cost, the pipeline

3       lateral costs, et cetera, there's no doubt that any new

4       entity that builds a greenfield site would have to enter

5       into those purchases and incur those costs.  So we are

6       very comfortable from the estimating perspective of what

7       the cost of those third-party greenfield units would

8       have been.

9            Q.   So you did not talk to a third-party, you just

10       assumed it, correct?

11                 MR. BUTLER:  Object; asked and answered.

12                 CHAIRMAN BRISÉ:  Sustained.

13                 MR. MOYLE:  If I could get help with an

14       exhibit.

15                 CHAIRMAN BRISÉ:  Sure.  This would be Exhibit

16       Number 43.

17                 MR. MOYLE:  And it's actually an excerpt of

18       something that is already in the record, so I don't know

19       that we need to mark it, but I think it would make it

20       easier for the purposes of this cross.

21                 CHAIRMAN BRISÉ:  Sure.

22                 (Exhibit 43 marked for identification.)

23       BY MR. MOYLE:

24            Q.   Mr. Silva, you provided an overview -- you are

25       familiar with the testimony of other witnesses in the

FLORIDA PUBLIC SERVICE COMMISSION

238

1       case, correct?

2            A.   Yes, I am familiar.

3            Q.   Okay.  So let me just direct you to what I

4       have provided to you, which is an excerpt of Witness

5       Morley, and there's a question about incremental

6       wholesale loads on Page 12.  Is it true that FPL signed

7       a long-term agreement with Seminole Electric Cooperative

8       for 200 megawatts that would start in June of 2014?

9            A.   I agree that that is what Doctor Morley

10       testifies to, and I believe that that's correct.

11            Q.   Okay.  And then also on Page 11, it looks like

12       you signed a deal with Lee County that gives them an

13       additional -- you sell them an additional 500 megawatts

14       starting in 2014, is that correct?

15            A.   The numbers are reflected in the testimony.  I

16       assume that they are correct.  This is not a new

17       contract.  This is a contract that was entered into some

18       years ago, and it's simply reflecting what the contract

19       envisioned.  And it's important here that in entering --

20                 MR. MOYLE:  I don't have a pending question, I

21       don't think.  I think he confirmed about the numbers.

22                 CHAIRMAN BRISÉ:  Okay.  Thank you.  The

23       question was quite simple about the number.  I think a

24       yes or no, and then maybe a one sentence would be

25       sufficient.

FLORIDA PUBLIC SERVICE COMMISSION

239

1       BY MR. MOYLE:

2            Q.   All right.  So just so we are clear, to the

3       extent that the company had made a decision based on its

4       forecast and looked at 2016, and said, you know, we're

5       going to be tight in 2016, it could have decided not to

6       enter into a contract with Seminole in which 200 firm

7       megawatts from FPL's system is being sold to Seminole,

8       correct?

9                 MR. BUTLER:  I'm going to object to this line

10       of questioning.  It apparently is going to some sort of

11       assessment of whether FPL should have been entering into

12       certain wholesale contracts, and I don't believe there

13       is any question among those identified or any issue

14       among those identified for resolution in this docket

15       that goes to the question of, you know, appropriateness

16       of wholesale purchases, the timing of them, et cetera.

17       It's way beyond the scope of the identified issues for

18       the proceeding.

19                 CHAIRMAN BRISÉ:  Mr. Moyle.

20                 MR. MOYLE:  Well, I think it is relevant,

21       because it's a need determination case, and you are

22       charged with determining is there a need.  And to the

23       extent that during the planning process that needs were

24       made aware and known at the retail level, and then

25       purchased power agreements, sales were made with

FLORIDA PUBLIC SERVICE COMMISSION

240

1       wholesale customers to take you below a 20 percent

2       reserve margin, you know, that seems to be decisions

3       that are not in the best interest of the customers and

4       should not be the basis upon which a need determination

5       is granted.

6                 MR. BUTLER:  Mr. Chairman, I would say that

7       without conceding whether it would or wouldn't be an

8       appropriate issue if it had been raised, it wasn't

9       raised.  And there is no issue in our list of seven

10       issues that comes close to this.  And, again, had Mr.

11       Moyle intervened earlier and raised it as something for

12       the proceeding, perhaps it would have been appropriate,

13       but it is not among the issues that are identified for

14       resolution today.

15                 CHAIRMAN BRISÉ:  Mary Anne.

16                 MS. HELTON:  Mr. Chairman, once again, this

17       sounds like discovery to me.  I mean, I think this would

18       have been appropriate for Mr. Moyle to have asked in a

19       deposition of Witness Morley prior to today, and to have

20       raised as an issue at the time of the prehearing

21       conference.  But I think we are beyond that point.

22                 CHAIRMAN BRISÉ:  Thank you.

23                 And I think I'm going to agree with that

24       assessment so, therefore, I am going to sustain the

25       objection.  And if we could steer clear of, I guess, of

FLORIDA PUBLIC SERVICE COMMISSION

241

1       what would be considered discovery, that, too, would be

2       appreciated.

3                 MR. MOYLE:  I was taught in law school that

4       usually discovery questions were what, where, how, who,

5       and the leading questions were isn't it true, but I'll

6       try to focus on a couple of points.  And given the

7       timing and the fact that there is another one at 1:00

8       o'clock, I'll try to bring this in for a landing.  Thank

9       you for your patience on this.  But, anyway.

10                 Mr. Chairman, I have another exhibit I would

11       like to pass out, if I could.

12                 CHAIRMAN BRISÉ:  Sure.  All right.  This would

13       be Exhibit 43, but it is excerpted.

14                 MR. MOYLE:  It is an excerpt.  It's already in

15       the record, so just out of fairness to the witness to

16       ask some question about it, I wanted to draw his

17       attention to it.  It doesn't hurt, I guess, to mark it.

18                 (Exhibit 43 marked for identification.)

19                 But out of a desire to, you know, move this

20       along, I had questions on all of these.  I'm going to

21       just kind of go through and selectively pick them up.

22       So they are not marked, but for the purposes of

23       following along, I think, we can reference the

24       interrogatories.  So the first one I have a question

25       about that I will ask is on Interrogatory Number 34

FLORIDA PUBLIC SERVICE COMMISSION

242

1       corrected.  And, Mr. Silva, when you are at that point,

2       if you will let me know, I would appreciate it.

3                 MR. BUTLER:  Mr. Moyle, for the benefit of the

4       record, these have, it looks like, the Staff's Bates

5       numbers at the bottom.  Could you refer to the Bates

6       number pages, please.

7                 MR. MOYLE:  Sure.  This would be 61.  And also

8       for the record, the highlight is my highlight, not

9       confidential.

10                 MR. BUTLER:  Thank you.

11                 MR. SILVA:  I am there, sir.

12       BY MR. MOYLE:

13            Q.   Okay.  So the greenfield combustion turbine

14       site is the one at the very bottom, correct, and you

15       have done this analysis also comparing it to the

16       proposed Everglades project, is that right?

17            A.   Yes.  But to be clear, this greenfield

18       combustion turbine is part of the plan that also would

19       include the Port Everglades project, only later.

20            Q.   I'm sorry, could you clarify that?

21            A.   We have a plan that includes Port Everglades

22       in 2016.  That's the one we are trying to -- we are

23       seeking a determination of need for.  We have a

24       different plan that has a combustion turbine in the

25       early year in 2016 so that we can defer the addition of

FLORIDA PUBLIC SERVICE COMMISSION

243

1       the Port Everglades modernization to 2019, but the Port

2       Everglades modernization is part of that resource plan,

3       as well.

4            Q.   Okay.  And deferring -- in your process of

5       integrated resource planning, you often used CTs as

6       filler units, correct, to address a deficiency?

7            A.   We evaluate them.  We haven't added a simple

8       cycle CT since I have been in this job, because they

9       have not been cost-effective.

10            Q.   And the capacity factor is shown as one

11       percent.  Does that mean it's only going to run one

12       percent of the time?  And when I say shows, I'm talking

13       about the greenfield combustion turbine.

14            A.   That's the way I read it, and that would make

15       sense.  A combustion turbine is not efficient, so it

16       doesn't dispatch very frequently.

17            Q.   And the capital costs are 178 million compared

18       to the installed cost of the proposed project of 1.18?

19            A.   Yes.  But if you look at the next line, the

20       capital cost in dollars per kW is higher than that of

21       the Port Everglades facility.  It is listed as smaller

22       installed cost because it is a much smaller unit.

23            Q.   But the reason -- isn't it true that the

24       reason the capital costs are higher is because you take

25       the capital costs and divide them over the amount of

FLORIDA PUBLIC SERVICE COMMISSION

244

1       time that the unit is running?  So because the unit is

2       only running one percent of the time, it has a high

3       capital cost per kW?

4            A.   No.  In this instance, what I am referring to

5       is the third line that says capital costs dollar per kW,

6       1,100, right?  That's the capital costs just to put it

7       in the ground.  It has nothing to do with operation.

8       And similarly above, the capital cost of the

9       combined-cycle unit is only $928 per kW to install it.

10            Q.   Let me flip you over to at the bottom, the

11       Bates stamps number 116.  Staff asked you to run some

12       numbers in different scenarios, one removing two CTs in

13       2006, is that right?

14            A.   Yes; 2016.

15            Q.   I'm sorry, 2016.  And in your answer on Page

16       117, you suggest that you couldn't perform that

17       analysis, is that right?

18                 MR. BUTLER:  I'm sorry, what are you referring

19       to on Page 117?

20                 MR. MOYLE:  The highlighted portion under C.

21                 MR. BUTLER:  I actually don't have any

22       highlighted portion on mine.

23                 MR. MOYLE:  I'm sorry.

24                 THE WITNESS:  Nor mine.

25                 MR. MOYLE:  It's under C, the first sentence.

FLORIDA PUBLIC SERVICE COMMISSION

245

1       "FPL does not have the information required to perform

2       the economic analysis requested regarding the phased

3       construction of PEEC."

4                 MR. BUTLER:  But you are referring to a

5       reference to C.  I thought you were asking your question

6       about A, the removal of the two CTs.

7       BY MR. MOYLE:

8            Q.   Did you do the analysis for A?

9            A.   Yes.

10            Q.   And is that reflected on Page 120 of the Bates

11       stamped number?

12            A.   I believe so, yes.

13            Q.   Okay.  And the removal of the two CTs in 2006,

14       what was removed; how many megawatts were removed from

15       the plant with the removal of those CTs?

16            A.   It would have been two units of 162 megawatts

17       for a little over 320 megawatts, 324 megawatts.

18            Q.   So that is the amount that would be removed?

19            A.   That is what was requested in the

20       interrogatory.

21            Q.   Okay.  And after you did the analysis, isn't

22       it true that the amount shown on Page 120, the

23       cumulative value is less than the Everglades proposed

24       cumulative value number?

25            A.   Excuse me while I look at my data.  Yes.

FLORIDA PUBLIC SERVICE COMMISSION

246

1       However, this comparison, at least we contend, is not a

2       fair comparison because the result that's provided in

3       59, which was directed for us to do, does not maintain

4       the 20 percent reserve margin during the life of the

5       analysis.  So we are not talking about systems with

6       comparable reliability.  And in the analysis we have to

7       begin with some common ground, so maintaining a

8       20 percent reserve margin is essentially the first step

9       in our analysis.  Now, we did perform the analysis, but

10       in our view it's not reflective of a fair comparison.

11            Q.   So that approach requested by staff costs less

12       money, but you quarrel with it because it falls below

13       the 20 percent reserve margin?

14            A.   No, we are not quarreling because of the

15       outcome.  If we had started out a different assumption,

16       i.e., not maintaining a 20 percent reserve margin, then

17       we would have done a different comparison where we might

18       have done a resource plan that was different, consistent

19       with the reserve margin requirement that was being

20       assumed.  But to compare one that was developed, aimed,

21       and maintaining a 20 percent reserve margin to one that

22       was not, you know, it just isn't a fair comparison.  We

23       didn't use the same assumptions is what I'm trying to

24       say.

25                 MR. BUTLER:  Mr. Moyle, may I inquire how much

FLORIDA PUBLIC SERVICE COMMISSION

247

1       more you have?

2                 MR. MOYLE:  I'm going to try to wrap it up

3       shortly.

4                 MR. BUTLER:  That would be good.  Thank you.

5       BY MR. MOYLE:

6            Q.   Referring you to Page 164, staff asked a

7       question about a planning scenario where the reserve

8       margin falls short by 13 megawatts.  Am I understanding

9       how FPL plans, that to the extent that there was a

10       relatively small shortage, 13 megawatts, 50 megawatts,

11       that that then prompts the need to look at things that

12       go much beyond the particular need identified in the

13       shortage?  And, for example, in this case, you know,

14       there's a 287-megawatt need in '16, and you are

15       proposing 1300 megawatts.  So I am correct in assuming,

16       based on those facts, that when you would fall just

17       below the 20 percent, then it's kind of the green light

18       to put in a new plant, is that right?

19            A.   No, it's not a green light to put in a new

20       plant, and there's two parts to the answer.  One of them

21       is if the projected reserves fall below 20 percent,

22       which is the minimum that we consider needed for

23       reliability, yes, we then evaluate how to best meet that

24       need.  The magnitude of what we add could be

25       13 megawatts, or it could be 1300 megawatts.  It's

FLORIDA PUBLIC SERVICE COMMISSION

248

1       whatever the analysis says is best for the customer.  So

2       the first step is do we meet the minimum 20 percent

3       reserve margin?  If not, we need to do something.  It

4       could be a purchase, a small unit, or a large unit,

5       whatever is most cost-effective.  In this instance, Port

6       Everglades is by far the most cost-effective alternative

7       to meet the need in 2016.

8                 MR. MOYLE:  Mr. Chairman, I'm trying to wrap

9       it up here.  I have a process question.  There's a

10       stipulation that was entered into and an order that sets

11       the 20 percent reserve margin.  Will we be able to cite

12       to that in our proposed findings of fact and conclusions

13       of law without having it be introduced, or would your

14       preference be to have it provided as part of the record?

15                 CHAIRMAN BRISÉ:  I think I need to ask my

16       legal staff on that.

17                 MS. HELTON:  Well, the order approving the

18       stipulation back from -- I can't remember now how long

19       ago setting the 20 percent, of course, Mr. Moyle would

20       be able to rely on that order.  With respect to the

21       stipulation, do you mean the stipulation that had not

22       you intervened in the case that staff would have

23       recommended that the Commission approve with respect to

24       its agreed-upon language with the company?

25                 MR. MOYLE:  No.  The reserve margin was set

FLORIDA PUBLIC SERVICE COMMISSION

249

1       after a stipulation with some parties, so the order --

2       there is an order and a stipulation, and I want to cite

3       that in my proposed findings of fact.

4                 MS. HELTON:  My recollection is that that

5       stipulation would have been attached to the order.  So,

6       yes, you would be able to reference that in your

7       post-hearing brief, if there is one.

8                 MR. MOYLE:  Thank you.

9       BY MR. MOYLE:

10            Q.   Let me direct you to Page 190.  So you were

11       asked to assume no CO2 costs for the purposes of

12       responding to this question.  And isn't it true that

13       when you assume no CO2 costs that the plan of removing

14       two CTs results in a savings of monies as compared to

15       what is being proposed with the Everglades plant?

16            A.   Yes, that's the outcome shown in the response

17       to this interrogatory.  However, the case also does not

18       maintain a 20 percent reserve margin.  So, once again,

19       it's not a fair comparison against the proposed Port

20       Everglades case.  It is apples and oranges, so to speak.

21            Q.   All right.  And when you assumed CO2 costs,

22       you assumed that there would be some further regulation

23       of CO2, is that right, in your analysis?

24            A.   Yes.  The original case has a cost assumed for

25       sulfur dioxide, nitrous oxide, and carbon dioxide.

FLORIDA PUBLIC SERVICE COMMISSION

250

1            Q.   And as we sit here today, those additional CO2

2       costs are not in existence, correct?

3            A.   That is correct.

4            Q.   So your assumption was based on future

5       legislative action?

6            A.   Legislation or regulation that may be imposed.

7            Q.   Okay.  And then the very last Exhibit 226, the

8       fuel forecast.

9            A.   Unless it is out of order, I don't have a 226.

10                 MS. HELTON:  It's on the last page.

11                 THE WITNESS:  Oh, okay.  Thank you.

12       BY MR. MOYLE:

13            Q.   So do you know as we sit here today whether

14       the more recent fuel forecast of either November 14th,

15       2011, or January 3rd, 2012, have been used in this

16       proceeding, or is it the August 1 forecast?

17            A.   The original filing and direct testimony were

18       based on the August 1, 2011, fuel price forecast which

19       what was available at the time.  During discovery we

20       have essentially redone all of the cases using the

21       November fuel price forecast, which is consistent in

22       time with the recent midcourse correction in the fuel

23       clause.  The results of those analyses also favor the

24       addition of Port Everglades in 2016.

25            Q.   Okay.  But you didn't do the same analysis

FLORIDA PUBLIC SERVICE COMMISSION

251

1       with respect to the January 3rd fuel forecast?

2            A.   I'm sorry, can you repeat the question?

3            Q.   Yes.  You didn't update -- you didn't update

4       the analysis with respect to using a January 3rd fuel

5       forecast, correct?

6            A.   No.  I'm not aware that there is a long-term

7       fuel price forecast dated January of this year.

8            Q.   Do you know if these fuel forecasts, the

9       November 14th and the January 3rd, are part of the

10       record in this case?

11            A.   I don't know.  From reading the response, we

12       seem to have provided them, but the response is

13       confidential as I read it.

14            Q.   Right.  And I'm trying to understand whether

15       the most recent fuel forecasts are part of this record

16       that the Commission is being asked to decide on?

17            A.   Well, I don't know if it's part of the record.

18       I know that we did analysis based on it and provided

19       responses to discovery based on it, on the November

20       forecast.

21                 MR. MOYLE:  Okay.  Thank you.  And thank you,

22       Mr. Silva.  I appreciate your time.  And also given

23       somewhat the unique situation and circumstances in which

24       I find myself, I'd like to also thank the Commission for

25       its patience and indulgence in allowing me time and

FLORIDA PUBLIC SERVICE COMMISSION

252

1       latitude in conducting some cross-examination.

2                 Thank you.

3                 CHAIRMAN BRISÉ:  Thank you.

4                 Staff.

5                 MR. MURPHY:  Because our exhibits came in, we

6       have no questions.

7                 CHAIRMAN BRISÉ:  All right.  Thank you very

8       much.

9                 Commission?  Commissioner Balbis.

10                 COMMISSIONER BALBIS:  Thank you, Mr. Chairman.

11       I only have a few questions for this witness.

12                 I want to thank you for coming here prepared.

13       You know, I know that in the prehearing order it did

14       list that Commissioners were to be asking questions, but

15       with the latitude that we gave Mr. Moyle, I'm glad to

16       see you were prepared for his questions, as well.

17                 The existing four units at the facility, what

18       is the total capacity of the four units that will be

19       decommissioned?

20                 THE WITNESS:  Summer capability is

21       1187 megawatts.

22                 COMMISSIONER BALBIS:  And this proposed

23       facility will provide 1,277 megawatts?

24                 THE WITNESS:  That's correct.

25                 COMMISSIONER BALBIS:  And one of the other

FLORIDA PUBLIC SERVICE COMMISSION

253

1       drivers for this facility is the existing purchased

2       power agreements that are set to expire.  What is

3       approximately the total amount of those agreements?

4                 THE WITNESS:  In terms of calculating the need

5       for 2016, yes, there are primarily two.  One of them is

6       the UPS contract for about 930 megawatts of capacity and

7       the other one is the suspension of a purchased power

8       agreement with St. Johns River Power Park, and that's

9       380 megawatts, or I'm sorry, 375 summer.

10                 COMMISSIONER BALBIS:  Okay.  So about

11       1300 megawatts?

12                 THE WITNESS:  Yes.

13                 COMMISSIONER BALBIS:  Okay.  And there has

14       been a lot of discussion about fuel diversity.  Could

15       you explain any short-term or long-term either

16       interruptions in natural gas supply or price

17       fluctuations, what the company would be able to do with

18       this facility and switching to alternative fuel on short

19       and long-term?

20                 THE WITNESS:  From a cost perspective, the

21       facility itself would not provide flexibility because

22       the alternate fuel would be light oil, which has, from

23       my recollection, always been higher than the price of

24       natural gas no matter how high natural gas has been.

25                 From the perspective of reliability, the unit,

FLORIDA PUBLIC SERVICE COMMISSION

254

1       the new unit can run on light oil.  And because of the

2       location of the port, being able to bring large ships

3       laden with oil, but also connecting with the significant

4       storage of this fuel at the port itself, which serves

5       airports and other users, is very, very helpful in terms

6       of maintaining reliability.

7                 So although it would cost more to go to light

8       oil, it would be there.  From the perspective of

9       economics, there are other units that use residual fuel

10       oil and typically do not run much because of the low

11       price of gas relative to residual or heavy fuel oil

12       today.  If that condition were to reverse, then, of

13       course, within our system we would run more oil and less

14       natural gas.  That's part of the flexibility.

15                 Now, today, we are even running natural gas

16       ahead of some coal generation.  Again, if the price of

17       gas were to go up, then we would again baseload the coal

18       units in favor of lower cost.

19                 COMMISSIONER BALBIS:  Okay.  Thank you.  And

20       as far as any other supply interruptions in the

21       testimony, I believe it was Mr. Gnecco's testimony, he

22       indicated that the existing natural gas infrastructure

23       will be utilized with the addition of some compression

24       facilities, is that correct?

25                 THE WITNESS:  That's correct, Commissioner.

FLORIDA PUBLIC SERVICE COMMISSION

255

1       In other words, we don't need any more pipeline, only

2       compression to deliver the right pressure to these

3       particular new units, this particular new unit.

4                 COMMISSIONER BALBIS:  So as far as the

5       existing infrastructure, you anticipate that the two

6       main interstate pipelines, Florida Gas Transmission and

7       Gulfstream, would be utilized to bring the natural gas

8       into the state, is that correct?

9                 THE WITNESS:  At the outset, yes.  Through

10       2017, we project that we have -- through the summer, the

11       middle of 2017, we project that we have adequate

12       deliverability capacity for our system.  We are now

13       updating our projection for what happens beginning in

14       the middle of 2017 with a view towards enhancing

15       infrastructure to bring additional gas into the state.

16                 COMMISSIONER BALBIS:  Okay.  And then the last

17       question concerning the fuel source.  Mentioned in the

18       testimony it indicates an order in '09 that required

19       that FPL rebid the intrastate pipeline.  I believe it

20       was the EnergySecure Pipeline.  Is FPL still pursuing

21       that RFP?

22                 THE WITNESS:  That particular RFP was

23       rescinded because the consideration is that the

24       structure, the arrangement or strategy is going to be

25       somewhat different in terms of what pieces might be bid

FLORIDA PUBLIC SERVICE COMMISSION

256

1       separately to help not just FPL, but other users in

2       Florida.  Those discussions are going with other users

3       in Florida to try to design the best arrangement.  And

4       the idea is that once we confirm the timing of the need

5       and the magnitude of the need, not just FPL's but other

6       parties, that we will prepare a new RFP.  It has been in

7       preparation already, finalized in the RFP, then bring it

8       to discussion with the staff, and then subsequently

9       issued.

10                 COMMISSIONER BALBIS:  Okay.  Thank you.  And

11       the last series of questions.  There has been a lot of

12       discussion on third-party providers of energy.  And in

13       August of last year, this Commission approved a waiver

14       of going through the RFP process for FPL to see if there

15       are other possible providers of energy in lieu of this

16       project.  And I believe in that order we stated that it

17       is unlikely for a responder to the RFP to match these

18       desirable attributes and resources.  And I believe that

19       order was not opposed nor were there any intervenors to

20       that docket.

21                 So the other way that FPL can assess whether a

22       third-party provider is through a standard offer

23       contract, and to your knowledge has FPL received any

24       offers utilizing the standard offer contract in lieu of

25       this project?

FLORIDA PUBLIC SERVICE COMMISSION

257

1                 THE WITNESS:  No, Commissioner, we have not.

2                 COMMISSIONER BALBIS:  Okay.  Thank you.  I

3       have nothing further.

4                 CHAIRMAN BRISÉ:  Any further questions from

5       Commissioners?

6                 Mr. Butler, if would you like to redirect.

7                 MR. BUTLER:  I have just a couple.  I'll try

8       to be very brief.

9                         REDIRECT EXAMINATION

10       BY MR. BUTLER:

11            Q.   Mr. Silva, has FPL evaluated the economics of

12       deferring or delaying the in-service date of the

13       Everglades project, the PEEC project beyond 2016?

14            A.   Yes, we have.

15            Q.   Have you done an analysis for a one-year

16       delay?

17            A.   Yes, we have.

18            Q.   And what does that show?

19            A.   The results -- and I might add that this was

20       done using the more recent November fuel price forecast,

21       which is the lower and least favorable to the

22       modernization -- it would save the customers $9 million

23       to delay for one year.  Now, I want it clear that

24       $9 million is a very conservative estimate, because it

25       assumes that any delay is only going to incur a

FLORIDA PUBLIC SERVICE COMMISSION

258

1       3 percent escalation cost increase to the cost of Port

2       Everglades.

3                 We are concerned that that may not at all be

4       the case for two general reasons.  One of them is the

5       economics, the economic situation.  Recovery of the

6       national economics could causer greater competition for

7       labor, materials, and equipment, which could raise the

8       cost of the unit more than just the 3 percent increase.

9                 The other is environmental, and that has two

10       forms.  One of them is if there is regulation or

11       legislation, that combined with low gas prices pushes

12       utilities to shut down coal generation and add new gas

13       generation, that will increase demand for equipment, in

14       particular, for combined-cycle units throughout the

15       country.  And, again, that could raise the cost.

16                 The other is that -- and this is a little bit

17       more difficult to explain -- right now we have the

18       existing or recent emissions from the old units as an

19       outset, if you will, when the environmental regulators,

20       the EPA looks at what the unit will emit in the future,

21       they will compare that to what it has emitted in the

22       past, and they take the highest two years over a

23       five-year period.  Right now the highest two years in

24       our five-year period is the 2006 through 2007.

25                 If there is a delay in the unit, then those

FLORIDA PUBLIC SERVICE COMMISSION

259

1       years will begin to fall out, and we may no longer be

2       able to offset the new emissions, the emissions of the

3       new unit with the lower old emissions because the unit

4       has not been operating as much lately.  So that could

5       require more stringent air emission standards that would

6       cost more money.  So long-winded explanation, I'm sorry,

7       but I needed to explain that.

8            Q.   Mr. Silva, just to clarify in your prior

9       answer, if PEEC were delayed one year in service, would

10       the cost to customers be higher or lower by the

11       $9 million figure that you used?

12            A.   The cost to customers with the delay would be

13       $9 million higher, again, with the delay.

14            Q.   Okay.  And have you done a similar analysis

15       for a two-year delay?

16            A.   Yes, and the analysis shows that the increase

17       in costs from delaying would be $32 million, again, with

18       the same explanation as before.

19            Q.   And, finally, have you done the analysis for a

20       three-year delay?

21            A.   Yes, we have, and the analysis result

22       indicates that a three-year delay would cost the

23       customers $72 million more.

24                 MR. BUTLER:  Thank you, Mr. Silva.

25                 That's all the redirect that we have, Mr.

FLORIDA PUBLIC SERVICE COMMISSION

260

1       Chairman.

2                 CHAIRMAN BRISÉ:  Thank you very much.

3                 At this time let's deal with the exhibits.  So

4       we have Exhibit 41 and 42.  What would have been

5       considered 43 and 44 were all excerpts from the record,

6       so at this time if there are no objections, we will

7       enter Exhibits 41 and 42.

8                 MR. BUTLER:  No objection.

9                 CHAIRMAN BRISÉ:  All right.  Seeing none, no

10       objection, let the record reflect that.

11                 (Exhibit Number 41 and 42 admitted into the

12       record.)

13                 CHAIRMAN BRISÉ:  We have, I guess, a couple of

14       options how we proceed.  My preference would be for us

15       to take a bench decision.  I don't know if that option

16       is still available to us.  Some of that depends on Mr.

17       Moyle, if I'm correct.

18                 MS. HELTON:  Yes, sir, I believe so.  I don't

19       know if Mr. Moyle wants the opportunity to file a brief.

20       If he does, then I don't believe that a bench decision

21       is appropriate under Chapter 120.

22                 CHAIRMAN BRISÉ:  Okay.  Thank you.

23                 So, Mr. Moyle, it's --

24                 MR. MOYLE:  We'd like the opportunity to

25       present, you know, after reviewing the record, our view

FLORIDA PUBLIC SERVICE COMMISSION

261

1       of the case in writing.  So, thank you, we'd like to

2       take advantage of that opportunity.

3                 CHAIRMAN BRISÉ:  All right.  A couple of dates

4       that are important.  Transcripts will be due on the 23rd

5       of February, and post-hearing briefs will be due on the

6       2nd of March.  I don't know if there are any other

7       matters that we need to deal with.

8                 Staff?

9                 MR. MURPHY:  I'm not aware of any.

10                 CHAIRMAN BRISÉ:  Okay.  Seeing that,

11       Commissioners, if there is nothing else on this

12       particular docket, we stand adjourned.

13                 (The hearing concluded at 12:32 p.m.)

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

262

1

2       STATE OF FLORIDA    )

3                           :    CERTIFICATE OF REPORTER

4       COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing

6       Reporter Services Section, FPSC Division of

Commission Clerk, do hereby certify that the

7       foregoing proceeding was heard at the time and place

herein stated.

8

IT IS FURTHER CERTIFIED that I

9       stenographically reported the said proceedings; that

the same has been transcribed under my direct

10       supervision; and that this transcript constitutes a

true transcription of my notes of said proceedings.

11

I FURTHER CERTIFY that I am not a relative,

12       employee, attorney or counsel of any of the parties,

nor am I a relative or employee of any of the

13       parties' attorney or counsel connected with the

action, nor am I financially interested in the

14       action.

15                 DATED THIS 23rd day of February, 2012.

16

17

___________________________________________

18                         JANE FAUROT, RPR

Official FPSC Hearings Reporter

19                          (850) 413-6732

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION