| State of Florida |  | Public Service Commission Capital Circle Office Center ● 2540 Shumard Oak Boulevard Tallahassee, Florida 32399-0850 -M-E-M-O-R-A-N-D-U-M- |  |
| --- | --- | --- | --- |
| DATE: | March 1, 2012 |  |  |
| TO: | Office of Commission Clerk (Cole) |  |  |
| FROM: | Division of Economic Regulation (Ollila, D. Buys, Cicchetti, Higgins, Wu) Office of the General Counsel (Klancke) |  |  |
| RE: | Docket No. 110131-EI – Petition for approval of 2011 depreciation study and annual dismantlement accrual amounts by Tampa Electric Company. |  |  |
| AGENDA: | 03/13/12 – Regular Agenda – Proposed Agency Action – Interested Persons May Participate |  |  |
| COMMISSIONERS ASSIGNED: |  |  | All Commissioners |
| PREHEARING OFFICER: |  |  | Brisé |
| CRITICAL DATES: |  |  | None |
| SPECIAL INSTRUCTIONS: |  |  | None |
| FILE NAME AND LOCATION: |  |  | S:\PSC\ECR\WP\110131.RCM.DOC |

Case Background

Rules 25-6.0436(8)(a) and 25-6.04364(3), Florida Administrative Code (F.A.C.), require investor-owned utilities to file a comprehensive depreciation study and site-specific dismantlement study for each fossil-fueled generating site at least once every four years from the submission date of the previously filed study.  On April 27, 2011, Tampa Electric Company (Tampa Electric or Company) filed its regular depreciation and dismantlement studies in compliance with this rule.  The Commission has jurisdiction pursuant to Sections 350.115 and 366.05, Florida Statutes (F.S.).

Discussion of Issues

Issue 1:1

Should currently prescribed depreciation rates and provision for dismantlement of Tampa Electric Company be revised?

Recommendation:

Yes.  A review of the Company’s plans and activities indicates a need for revision to the currently prescribed depreciation rates and provision for dismantlement.  (Ollila)

Staff Analysis:

Tampa Electric’s last comprehensive depreciation study was filed on April 27, 2007.  By Order No. PSC-08-0014-PAA-EI, the Commission approved revised depreciation rates and provision for dismantlement, effective January 1, 2007.  A review of the Company’s activity data indicates the need to revise the depreciation rates and dismantlement accrual.

Issue 2:2

What should be the implementation date for new depreciation rates and the provision for dismantlement?

Recommendation:

Staff recommends approval of Tampa Electric’s proposed January 1, 2012 implementation date for revised depreciation rates and provision for dismantlement.  (Ollila)

Staff Analysis:

Rule 25-6.0436(6)(b), F.A.C., requires that the data submitted in a depreciation study, including plant and reserve balances or company estimates, “[S]hall be brought to the effective date of the proposed rates.”  The supporting data and calculations provided by Tampa Electric match an implementation date of January 1, 2012.

Issue 3:3

What are the appropriate depreciation rates?

Recommendation:

The appropriate depreciation rates are contained in Attachment A.  Staff recommends that if investment is added to the Phillips Station, previously approved depreciation rates, as contained in Order No. PSC-08-0014-PAA-EI, should be applied until the next depreciation study.  Staff recommends that the Big Bend SCR investments and associated accumulated depreciation be transferred to separate accounts.  Staff recommends that Tampa Electric file a petition for approval to initiate depreciation prior to the in-service date of any proposed units.  (Ollila, Higgins, Wu)

Staff Analysis:

Staff’s recommendations are the result of a comprehensive review of Tampa Electric’s study.  As part of its review, staff issued data requests and participated in an informal meeting with the Company.  Staff notes that only the accounts where staff and the Company initially differed on depreciation parameters are addressed in this staff analysis.  As a result of the review and analytical process, staff and Tampa Electric now agree on lives, net salvages, and the resulting depreciation rates for all accounts.  Attachment A contains a comparison of current rates and components to staff recommended rates and components.

Production Plant

Tampa Electric has five generating stations: Big Bend, Bayside, Polk, Phillips, and City of Tampa (also known as the Partnership Station).  The stations, each comprised of two or more units, include coal-fired steam, combined cycle, combustion turbine, an integrated gasification combined cycle, and internal combustion diesel units.

Phillips Station has been on long-term standby since September 2009.  The Station’s two units are in operable condition but have not been used because of the higher cost of fuel (#6 oil) required to operate the units as compared to natural gas and coal.  As of December 31, 2011, the units were fully recovered.  Tampa Electric does not expect to add any investment to the Phillips units; however, the Company agrees that in the event assets are added, depreciation rate(s) should be applied to those assets.  Tampa Electric proposes that previously approved rates be used if assets are added in the future.  Staff agrees with this proposal.  Staff recommends that if investment is added to the Phillips Station, previously approved depreciation rates, as contained in Order No. PSC-08-0014-PAA-EI, should be applied until the next depreciation study.

Both subsections (5)(a) and (5)(c) of Rule 25-6.04361, F.A.C., (stratification rule) require that each production plant account be stratified “in accord with . . . [its] potential life patterns.” Stratifying components of plant investment into categories that, on average, have expected lives of about the same number of years, enables recovery provisions to be more closely matched to the life characteristics of the investment categories used to generate electric power.  The Company’s stratification life categories are long, medium, and short. As part of its review for this depreciation study, Tampa Electric reviewed the life categories, and moved $76 million from the long category to the medium and short categories for the Big Bend Station.

Subsequent to the 2007 study, Tampa Electric added four Selective Catalytic Reduction (SCR) units to Big Bend Units 1-4.  The SCR investment was added to existing accounts within the Big Bend units.  As part of the current study, the Company stratified the SCR investment contained in property records in accord with the stratification rule.  Similar to prior treatment of the Flue Gas Desulfurization (FGD) units associated with the Big Bend Station, Tampa Electric proposes to transfer the SCR investment and accumulated depreciation to newly created accounts.  Costs associated with SCR units are recovered through the Environmental Cost Recovery Clause (ECRC).  Transferring the SCR units to new accounts would be consistent with the separation of the FGD units, would permit a more accurate determination of the true age and other parameters, and would also prevent mixing these assets with non-ECRC assets.  Staff recommends that the Big Bend SCR investments and associated accumulated depreciation be transferred to separate accounts.

According to Tampa Electric’s 2011 Ten-Year Site Plan, filed on April 1, 2011, Schedule 9, combustion turbine units have been proposed with in-service dates between 2013-2014, prior to the due date of the next depreciation study.  The Company’s preference is to wait until a generating unit is approved and under construction before depreciation rates are established.  Staff agrees with the Company’s preference.  Staff recommends that Tampa Electric file a petition for approval to initiate depreciation prior to the in-service date of any proposed units.

General Plant

Staff reviewed the information pertinent to Tampa Electric’s general plant accounts in its study, and the Company’s responses to staff data requests.  Based on this information, staff proposed depreciation parameters for each of the depreciable accounts listed below.  The Company has agreed with all of staff’s proposed parameters, which include average service life, average remaining life, net salvage percentage, average age, and curve shape.  Staff and the Company are also in agreement with respect to the amortization term for each of the amortizable accounts listed below.

Depreciable Accounts

Account 390.00 – Structures and Improvements

Account 397.25 – Communication Equipment-Fiber

Account 392.02 – Light Trucks-Energy Delivery

Account 392.03 – Heavy Trucks-Energy Delivery

Account 392.04 – Medium Trucks-Energy Delivery

Account 392.12 – Light Trucks-Energy Supply

Account 392.13 – Heavy Trucks-Energy Supply

Account 392.14 – Medium Trucks-Energy Supply

Amortizable Accounts

Account 391.01 – Office Furniture Equipment

Account 391.02 – Computer Equipment-Work Stations

Account 391.03 – Data Handling Equipment

Account 391.04 – Computer Equipment-Mainframe

Account 393.00 – Stores Equipment

Account 394.00 – Tool/Shop Equipment

Account 395.00 – Laboratory Equipment

Account 396.00 – Power Operated Equipment

Account 397.00 – Communication Equipment

Account 398.00 – Miscellaneous Equipment

Reserve Transfers

As part of its review of Tampa Electric’s depreciation study, staff reviewed the book reserve position for each account.  Based on staff’s recommended life and salvage inputs for this study, staff determined the Company’s theoretical or calculated reserve.   The difference between an account’s book and theoretical reserve may be described as a positive or negative imbalance, or as a surplus or deficiency.  When negative or positive imbalances occur, corrective transfers among accounts should be made as quickly as possible, unless this action prevents the Company from earning a fair and reasonable return on its investments.

For electric utilities such as Tampa Electric, corrective reserve transfers ideally are made within each function (e.g., production or transmission) but not between functions.  Jurisdictional separations, purchased power agreements, or other lease arrangements may be affected by reserve transfers between functions.  For example, customers may purchase transmission service under the Company’s Federal Energy Regulatory Commission (FERC)-regulated Open Access Transmission Tariff.  A reserve transfer to or from the transmission function may have a cost or benefit on the cost basis of the rate.

As part of its depreciation study (and following guidance from staff in prior studies), Tampa Electric proposed reserve transfers.  The reserve transfers include the Company’s proposal to transfer an amount sufficient to bring the remaining negative reserve balance of ($188,820) for the previously-retired Gannon Station to zero.  Staff has thoroughly reviewed Tampa Electric’s proposed reserve transfers as well as its explanations as provided in response to staff’s data requests.  Staff agrees with the Company’s proposed reserve transfers, which are contained in Table 3-1.  Staff monitors Tampa Electric’s reserve activity (additions, retirements, and adjustments) on an annual basis.  The annual review includes preparation and submission of data requests as necessary.

Table 3-1: Proposed Reserve Transfers*

| Account | Account Title | Est. Book Reserve | Theoretical | Reserve | Restated |
| --- | --- | --- | --- | --- | --- |
| Number |  | 12/31/2011 | Reserve | Transfer | Reserve |
|  |  | ($) | ($) | ($) | ($) |
|  | BIG BEND STATION |  |  |  |  |
| 31140 | BB Common | 28,432,986 | 35,787,252 | 2,196,441 | 30,629,427 |
| 31240 | BB Common | 34,542,332 | 36,351,796 | (5,090,445) | 29,451,887 |
| 31440 | BB Common | 1,166,507 | 2,065,618 | 899,111 | 2,065,618 |
| 31540 | BB Common | 12,696,727 | 10,882,223 | (1,814,504) | 10,882,223 |
| 31640 | BB Common | 3,468,178 | 3,332,278 | (135,900) | 3,332,278 |
|  | Subtotal | 80,306,730 | 88,419,167 |  | 76,361,433 |
| 31141 | BB Unit No. 1 | 5,309,202 | 4,536,435 | (772,767) | 4,536,435 |
| 31241 | BB Unit No. 1 | 26,106,422 | 38,330,500 | 5,037,662 | 31,144,084 |
| 31441 | BB Unit No. 1 | 13,999,304 | 15,717,627 | (994,149) | 13,005,155 |
| 31541 | BB Unit No. 1 | 7,354,010 | 6,334,917 | (1,019,093) | 6,334,917 |
| 31641 | BB Unit No. 1 | 504,547 | 510,345 | 5,798 | 510,345 |
|  | Subtotal | 53,273,484 | 65,429,824 |  | 55,530,935 |
| 31142 | BB Unit No. 2 | 4,647,553 | 4,128,797 | (518,756) | 4,128,797 |
| 31242 | BB Unit No. 2 | 5,359,106 | 28,510,153 | 17,087,554 | 22,446,660 |
| 31442 | BB Unit No. 2 | 1,442,099 | 11,958,481 | 7,869,324 | 9,311,423 |
| 31542 | BB Unit No. 2 | 5,959,494 | 5,592,260 | (367,234) | 5,592,260 |
| 31642 | BB Unit No. 2 | 445,491 | 340,771 | (104,720) | 340,771 |
|  | Subtotal | 17,853,743 | 50,530,462 |  | 41,819,911 |
| 31143 | BB Unit No. 3 | 10,357,791 | 8,497,884 | (1,859,907) | 8,497,884 |
| 31243 | BB Unit No. 3 | 43,725,058 | 56,426,263 | 4,370,891 | 48,095,949 |
| 31443 | BB Unit No. 3 | 22,363,389 | 19,638,180 | (5,232,556) | 17,130,833 |
| 31543 | BB Unit No. 3 | 12,523,469 | 12,660,571 | 137,102 | 12,660,571 |
| 31643 | BB Unit No. 3 | 635,566 | 595,657 | (39,909) | 595,657 |
|  | Subtotal | 89,605,274 | 97,818,555 |  | 86,980,895 |
| 31144 | BB Unit No. 4 | 28,166,921 | 27,092,074 | (1,074,847) | 27,092,074 |
| 31244 | BB Unit No. 4 | 117,029,074 | 118,510,814 | (15,394,491) | 101,634,583 |
| 31444 | BB Unit No. 4 | 46,616,005 | 42,520,245 | (10,855,983) | 35,760,022 |
| 31544 | BB Unit No. 4 | 21,855,666 | 21,780,062 | (75,604) | 21,780,062 |
| 31644 | BB Unit No. 4 | 3,821,314 | 2,852,667 | (968,647) | 2,852,667 |
|  | Subtotal | 217,488,980 | 212,755,862 |  | 189,119,408 |
| 31146 | No. 1 & 2 FGD System | 5,401,672 | 4,620,199 | (781,473) | 4,620,199 |
| 31246 | No. 1 & 2 FGD System | 24,701,585 | 22,720,358 | (1,981,227) | 22,720,358 |
| 31546 | No. 1 & 2 FGD System | 4,215,526 | 3,658,094 | (557,432) | 3,658,094 |
| 31646 | No. 1 & 2 FGD System | 790,007 | 611,361 | (178,646) | 611,361 |
|  | Subtotal | 35,108,791 | 31,610,012 |  | 31,610,013 |
| 31145 | No. 3 & 4 FGD System | 11,781,764 | 9,841,485 | (1,940,279) | 9,841,485 |
| 31245 | No. 3 & 4 FGD System | 71,245,730 | 73,301,149 | 2,055,419 | 73,301,149 |
| 31545 | No. 3 & 4 FGD System | 12,065,715 | 11,537,510 | (528,205) | 11,537,510 |
| 31645 | No. 3 & 4 FGD System | 407,380 | 588,866 | 181,486 | 588,866 |
|  | Subtotal | 95,500,590 | 95,269,010 |  | 95,269,011 |
| 31151 | No. 1 SCR System | 518,727 | 1,374,658 | 855,931 | 1,374,658 |
| 31251 | No. 1 SCR System | 1,546,002 | 2,974,633 | 1,428,631 | 2,974,633 |
| 31551 | No. 1 SCR System | 350,412 | 1,090,377 | 739,965 | 1,090,377 |
| 31651 | No. 1 SCR System | 10,176 | 50,887 | 40,711 | 50,887 |
|  | Subtotal | 2,425,317 | 5,490,555 |  | 5,490,555 |
| 31152 | No. 2 SCR System | 808,825 | 2,206,663 | 1,397,838 | 2,206,663 |
| 31252 | No. 2 SCR System | 3,767,623 | 4,972,788 | 1,205,165 | 4,972,788 |
| 31552 | No. 2 SCR System | 797,834 | 1,648,354 | 850,520 | 1,648,354 |
| 31652 | No. 2 SCR System | 38,446 | 87,780 | 49,334 | 87,780 |
|  | Subtotal | 5,412,728 | 8,915,585 |  | 8,915,585 |
| 31153 | No. 3 SCR System | 575,871 | 2,348,848 | 1,772,977 | 2,348,848 |
| 31253 | No. 3 SCR System | 5,075,387 | 5,710,290 | 634,903 | 5,710,290 |
| 31553 | No. 3 SCR System | 684,552 | 1,905,197 | 1,220,645 | 1,905,197 |
| 31653 | No. 3 SCR System | 44,544 | 99,029 | 54,485 | 99,029 |
|  | Subtotal | 6,380,354 | 10,063,364 |  | 10,063,364 |
| 31154 | No. 4 SCR System | 4,323,697 | 1,828,439 | (2,495,258) | 1,828,439 |
| 31254 | No. 4 SCR System | 1,639,810 | 5,567,306 | 3,927,496 | 5,567,306 |
| 31554 | No. 4 SCR System | 446,976 | 1,875,963 | 1,428,987 | 1,875,963 |
| 31654 | No. 4 SCR System | 23,400 | 100,978 | 77,578 | 100,978 |
|  | Subtotal | 6,433,883 | 9,372,686 |  | 9,372,686 |
| 31100-01 31617 | Misc. Structures & Equipment | 735 | 0 | (735) | 0 |
| 31617 | Misc. Production Plant | 1,848 | 0 | (1,848) | 0 |
|  | Subtotal | 2,583 | 0 |  | 0 |
|  | BIG BEND STATION |  |  |  |  |
| 34141 | BB CT No. 1 | 24,234 | 0 | (24,234) | 0 |
| 34241 | BB CT No. 1 | (17,613) | 0 | 17,613 | 0 |
| 34541 | BB CT No. 1 | (19,617) | 0 | 19,617 | 0 |
|  | Subtotal | (12,997) | 0 |  | 0 |
| 34342 | BB CT No. 2 & 3 | 6 |  | (6) | 0 |
| 34144 | BB CT No. 4 | 702,316 | 449,446 | (252,870) | 449,446 |
| 34244 | BB CT No. 4 | 289,189 | 262,283 | (26,906) | 262,283 |
| 34344 | BB CT No. 4 | 2,520,074 | 2,540,309 | 20,235 | 2,540,309 |
| 34544 | BB CT No. 4 | 619,690 | 635,517 | 15,827 | 635,517 |
|  | Subtotal | 4,131,268 | 3,887,555 |  | 3,887,555 |
|  | GANNON POWER STATION |  |  |  |  |
| 31130 | GN Common | 820 | 0 | (820) | 0 |
| 31630 | GN Common | (189,641) | 0 | 189,641 | 0 |
|  | Subtotal | (188,820) | 0 |  | 0 |
|  | BAYSIDE POWER STATION |  |  |  |  |
| 34130 | BP Common | 19,410,090 | 19,226,341 | (183,749) | 19,226,341 |
| 34230 | BP Common | 4,356,416 | 4,229,021 | (127,395) | 4,229,021 |
| 34330 | BP Common | 3,889,515 | 4,315,066 | 425,551 | 4,315,066 |
| 34530 | BP Common | 5,021,122 | 4,635,113 | (386,009) | 4,635,113 |
| 34630 | BP Common | 3,690,494 | 3,082,149 | (608,345) | 3,082,149 |
|  | Subtotal | 36,367,637 | 35,487,690 |  | 35,487,690 |
| 34131 | BP Unit No. 1 | 6,426,778 | 5,298,564 | (1,128,214) | 5,298,564 |
| 34231 | BP Unit No. 1 | 17,865,696 | 16,603,948 | (1,261,748) | 16,603,948 |
| 34331 | BP Unit No. 1 | 36,292,565 | 49,253,573 | 11,388,644 | 47,681,209 |
| 34531 | BP Unit No. 1 | 10,162,797 | 9,426,226 | (736,571) | 9,426,226 |
| 34631 | BP Unit No. 1 | 425,842 | 345,765 | (80,077) | 345,765 |
|  | Subtotal | 71,173,678 | 80,928,076 |  | 79,355,713 |
| 34132 | BP Unit No. 2 | 6,755,133 | 5,387,343 | (1,367,790) | 5,387,343 |
| 34232 | BP Unit No. 2 | 21,860,035 | 20,337,261 | (1,522,774) | 20,337,261 |
| 34332 | BP Unit No. 2 | 58,968,877 | 64,228,847 | 3,687,607 | 62,656,484 |
| 34532 | BP Unit No. 2 | 10,536,214 | 10,025,303 | (510,911) | 10,025,303 |
| 34632 | BP Unit No. 2 | 484,576 | 378,867 | (105,709) | 378,867 |
|  | Subtotal | 98,604,834 | 100,357,621 |  | 98,785,258 |
| 34133 | BP CT No. 3 | 471,016 | 289,917 | (181,099) | 289,917 |
| 34233 | BP CT No. 3 | 193,948 | 169,187 | (24,761) | 169,187 |
| 34333 | BP CT No. 3 | 1,690,117 | 1,638,637 | (51,480) | 1,638,637 |
| 34533 | BP CT No. 3 | 415,603 | 409,943 | (5,660) | 409,943 |
| 34633 | BP CT No. 3 | - | - |  | 0 |
|  | Subtotal | 2,770,684 | 2,507,684 |  | 2,507,684 |
| 34134 | BP CT No. 4 | 470,398 | 289,406 | (180,992) | 289,406 |
| 34234 | BP CT No. 4 | 193,693 | 168,888 | (24,805) | 168,888 |
| 34334 | BP CT No. 4 | 1,687,900 | 1,635,747 | (52,153) | 1,635,747 |
| 34534 | BP CT No. 4 | 415,057 | 409,220 | (5,837) | 409,220 |
| 34634 | BP CT No. 4 | - | - | - | 0 |
|  | Subtotal | 2,767,050 | 2,503,261 |  | 2,503,261 |
| 34135 | BP CT No. 5 | 772,525 | 435,586 | (336,939) | 435,586 |
| 34235 | BP CT No. 5 | 318,099 | 254,194 | (63,905) | 254,194 |
| 34335 | BP CT No. 5 | 2,772,002 | 2,461,969 | (310,033) | 2,461,969 |
| 34535 | BP CT No. 5 | 681,640 | 615,918 | (65,722) | 615,918 |
| 34635 | BP CT No. 5 | - | - |  | 0 |
|  | Subtotal | 4,544,265 | 3,767,667 |  | 3,767,667 |
| 34136 | BP CT No. 6 | 771,266 | 434,474 | (336,792) | 434,474 |
| 34236 | BP CT No. 6 | 317,580 | 253,546 | (64,034) | 253,546 |
| 34336 | BP CT No. 6 | 2,767,483 | 2,455,685 | (311,798) | 2,455,685 |
| 34536 | BP CT No. 6 | 680,529 | 614,346 | (66,183) | 614,346 |
|  | Subtotal | 4,536,858 | 3,758,051 |  | 3,758,051 |
|  | POLK POWER STATION |  |  |  |  |
| 34180 | PK Common | 23,293,332 | 20,486,027 | (2,807,305) | 20,486,027 |
| 34280 | PK Common | (370,739) | 379,222 | 749,961 | 379,222 |
| 34380 | PK Common | 1,069,822 | 728,757 | (341,065) | 728,757 |
| 34580 | PK Common | 771,721 | 623,367 | (148,354) | 623,367 |
| 34680 | PK Common | 378,302 | 264,417 | (113,885) | 264,417 |
|  | Subtotal | 25,142,438 | 22,481,790 |  | 22,481,790 |
| 34181 | PK Unit No. 1 | 13,225,774 | 16,403,857 | 3,178,083 | 16,403,857 |
| 34281 | PK Unit No. 1 | 90,510,864 | 98,812,652 | 8,301,788 | 98,812,652 |
| 34381 | PK Unit No. 1 | 67,325,264 | 63,041,342 | (4,283,922) | 63,041,342 |
| 34581 | PK Unit No. 1 | 28,817,984 | 27,265,514 | (1,552,470) | 27,265,514 |
| 34681 | PK Unit No. 1 | 809,555 | 1,950,500 | 1,140,945 | 1,950,500 |
|  | Subtotal | 200,689,440 | 207,473,865 |  | 207,473,865 |
| 34182 | PK CT No. 2 | 641,905 | 637,076 | (4,829) | 637,076 |
| 34282 | PK CT No. 2 | 373,587 | 351,801 | (21,786) | 351,801 |
| 34382 | PK CT No. 2 | 17,042,239 | 11,320,450 | (5,721,789) | 11,320,450 |
| 34582 | PK CT No. 2 | 5,358,503 | 5,116,539 | (241,964) | 5,116,539 |
| 34682 | PK CT No. 2 | 55,427 | 69,247 | 13,820 | 69,247 |
|  | Subtotal | 23,471,661 | 17,495,113 |  | 17,495,113 |
| 34183 | PK CT No. 3 | 2,441,939 | 2,480,212 | 38,273 | 2,480,212 |
| 34283 | PK CT No. 3 | 354,555 | 312,846 | (41,709) | 312,846 |
| 34383 | PK CT No. 3 | 13,361,019 | 12,188,420 | (1,172,599) | 12,188,420 |
| 34583 | PK CT No. 3 | 2,824,472 | 2,460,335 | (364,137) | 2,460,335 |
| 34683 | PK CT No. 3 | 103,754 | 120,923 | 17,169 | 120,923 |
|  | Subtotal | 19,085,738 | 17,562,736 |  | 17,562,736 |
| 34184 | PK CT No. 4 | 851,109 | 613,520 | (237,589) | 613,520 |
| 34284 | PK CT No. 4 | 330,923 | 323,677 | (7,246) | 323,677 |
| 34384 | PK CT No. 4 | 4,412,722 | 3,708,797 | (703,925) | 3,708,797 |
| 34584 | PK CT No. 4 | 792,130 | 879,039 | 86,909 | 879,039 |
| 34684 | PK CT No. 4 | - | - |  | 0 |
|  | Subtotal | 6,386,884 | 5,525,033 |  | 5,525,033 |
| 34185 | PK CT No. 5 | 804,165 | 614,687 | (189,478) | 614,687 |
| 34285 | PK CT No. 5 | 293,460 | 310,743 | 17,283 | 310,743 |
| 34385 | PK CT No. 5 | 4,729,415 | 3,598,809 | (1,130,606) | 3,598,809 |
| 34585 | PK CT No. 5 | 729,644 | 869,753 | 140,109 | 869,753 |
|  | Subtotal | 6,556,684 | 5,393,992 |  | 5,393,992 |
|  | PHILLIPS STATION |  |  |  |  |
| 34128 | Phillips Station | 9,749,048 | 9,481,580 | (267,468) | 9,481,580 |
| 34228 | Phillips Station | 24,236,280 | 23,435,863 | (800,417) | 23,435,863 |
| 34328 | Phillips Station | 20,389,207 | 20,870,850 | 481,643 | 20,870,850 |
| 34528 | Phillips Station | 6,135,666 | 5,887,394 | (248,272) | 5,887,394 |
| 34628 | Phillips Station | 652,860 | 653,047 | 187 | 653,047 |
|  | Subtotal | 61,163,062 | 60,328,734 |  | 60,328,734 |
|  | CITY OF TAMPA |  |  |  |  |
| 34390 | City of Tampa Partnership | 3,078,315 | 3,213,208 | 134,893 | 3,213,208 |
|  | TRANSMISSION PLANT |  |  |  |  |
| 350.01 | Land Rights | 3,820,280 | 3,062,299 | (757,981) | 3,062,299 |
| 352.00 | Structures and Improvements | 903,661 | 934,371 | 30,710 | 934,371 |
| 353.00 | Station Equipment | 62,847,628 | 54,597,688 | (1,989,142) | 60,858,486 |
| 354.00 | Towers and Fixtures | 4,102,868 | 3,897,132 | (205,736) | 3,897,132 |
| 355.00 | Poles and Fixtures | 54,854,738 | 54,541,601 | 5,941,229 | 60,795,967 |
| 356.00 | Overhead Conductors and Devices | 41,803,663 | 35,529,481 | (2,199,963) | 39,603,700 |
| 356.01 | Clearing Rights-of-Way | 1,357,575 | 1,273,702 | (83,873) | 1,273,702 |
| 357.00 | Underground Conduit | 1,582,840 | 1,037,219 | (545,621) | 1,037,219 |
| 358.00 | Underground Conductors and Devices | 2,820,057 | 2,750,599 | (69,458) | 2,750,599 |
| 359.00 | Roads and Trails | 1,536,521 | 1,416,356 | (120,165) | 1,416,356 |
|  | Subtotal | 175,629,831 | 159,040,488 |  | 175,629,831 |
|  | DISTRIBUTION PLANT |  |  |  |  |
| 361.00 | Structures and Improvements | 716,694 | 525,917 | (190,777) | 525,917 |
| 362.00 | Station Equipment | 58,138,630 | 48,491,797 | (7,994,546) | 50,144,084 |
| 364.00 | Poles, Towers and Fixtures | 119,335,706 | 130,352,836 | 15,458,713 | 134,794,419 |
| 365.00 | Overhead Conductors and Devices | 123,078,354 | 97,435,636 | (22,322,741) | 100,755,613 |
| 366.00 | Underground Conduit | 44,907,604 | 39,602,221 | (5,305,383) | 39,602,221 |
| 367.00 | Underground Conductors and Devices | 63,213,480 | 55,248,177 | (7,965,303) | 55,248,177 |
| 368.00 | Line Transformers | 170,818,745 | 195,549,515 | 31,393,835 | 202,212,580 |
| 369.00 | Overhead Services | 30,915,369 | 40,907,590 | 9,992,221 | 40,907,590 |
| 369.02 | Underground Services | 49,409,082 | 39,405,420 | (10,003,662) | 39,405,420 |
| 370.00 | Meters | 10,100,327 | 27,668,066 | 17,567,739 | 27,668,066 |
| 373.00 | Street Lighting and Signal Systems | 90,023,120 | 67,106,469 | (20,630,096) | 69,393,024 |
|  | Subtotal | 760,657,111 | 742,293,644 |  | 760,657,111 |
|  | TRANSPORTATION EQUIPMENT - Energy Delivery |  |  |  |  |
| 392.02 | Light Trucks | 4,407,885 | 2,795,151 | (1,132,840) | 3,275,045 |
| 392.03 | Heavy Trucks | 11,867,168 | 11,059,194 | 907,499 | 12,774,667 |
| 392.04 | Medium Trucks | 580,269 | 444,031 | (52,482) | 527,787 |
|  | Subtotal | 16,855,322 | 14,298,376 |  | 16,577,499 |
|  | TRANSPORTATION EQUIPMENT - Energy Supply |  |  |  |  |
| 392.12 | Light Trucks | 586,798 | 610,954 | 163,816 | 750,614 |
| 392.13 | Heavy Trucks | 386,017 | 333,052 | (4,080) | 381,937 |
| 392.14 | Medium Trucks | 4,900 | 105,343 | 118,087 | 122,987 |
|  | Subtotal | 977,715 | 1,049,349 |  | 1,255,538 |

*Some numbers may not total exactly because of rounding.

Depreciation Expense

Staff’s recommended depreciation rates result in an increase to depreciation expense of $4,246,075.  The primary driver of the increased depreciation expense is the Big Bend Station.  Generating units are studied on a life span basis, whereby the overall unit retires at one time (final retirement), although there will be interim additions and retirements throughout the years of operation of the unit.  In an investment account, the timing of additions and retirements plays a role in determining how fast the account ages.  The age of an account helps to determine the remaining life of the account, which directly translates into the depreciation rate.  When investment is added to a generating unit (such as an SCR unit), the average service life of the investment is directly tied to the remaining life of the generating unit.  This means that if investment with a 30-year average service life is added to a unit with 25 years remaining, then the investment will have an average service life no longer than 25 years.  This shortens the time period for the recovery of the investment.  According to Public Utilities Depreciation Practices,

A general characteristic of property studied using the life span method is the 	gradual increase in the depreciation rate as the property ages.  Plant additions 	subsequent to the initial placement usually exceed the interim retirements, even 	though the additions may replace plant retired, because they are made at a higher 	cost than the plant retired.  The result is a shorter average service life of the life 	span property.

Factors that contribute to the overall increase in expense include the general characteristics of lifespan property, the shorter lifespans of the SCR units, the proposed transfers of the SCR units to separate accounts, and the impacts of the units’ operating history (e.g., retirements and additions).

Conclusion

In conclusion, staff recommends the appropriate depreciation rates as contained in Attachment A.  Staff recommends that if investment is added to the Phillips Station, previously approved depreciation rates, as contained in Order No. PSC-08-0014-PAA-EI, should be applied until the next depreciation study.  Staff recommends that the Big Bend SCR investments and associated accumulated depreciation be transferred to separate accounts.  Staff recommends that Tampa Electric file a petition for approval to initiate depreciation prior to the in-service date of any proposed units.

Issue 4:4

What is the appropriate annual accrual for dismantlement?

Recommendation:

The Commission should approve a total annual provision for fossil fuel dismantlement of $1,186,094, as shown on Attachment C.  This represents a decrease in the annual provision for fossil fuel dismantlement of $150,892. This accrual reflects current estimates of dismantlement costs on a site-specific basis using a November 2011 inflation forecast and a 15 percent contingency factor.  (Higgins, Buys)

Staff Analysis:

The Commission established the methodology for accruing the costs for dismantlement of fossil-fueled production plants by Order No. 24741.  The methodology, codified in Rule 25-6.04364, F.A.C., is dependent on three factors: estimated base costs for dismantlement, projected inflation, and a contingency factor.  Investor-owned electric utilities are required to file site-specific dismantlement studies at least once every four years from the submission date of the previous study unless otherwise required by the Commission.

Dismantlement accruals are based on current cost estimates, escalated to future costs as of the estimated date of dismantlement.  The future costs, less accumulated dismantlement reserves, are discounted over the remaining life of each plant and plant site.  The contingency factor is designed to cover uncertainty in the dismantlement cost estimates.  The factor is comprised of pricing and scope of omission contingencies.  The pricing contingency provides a level of confidence that the estimates are reasonable.  The scope omission contingency  acknowledges the conceptual nature of the base cost estimates and the difficulty in obtaining quantity and weight records.  Rule 25-6.04364, F.A.C., defines the contingency costs as a specific provision for unforeseeable elements of cost within the defined project scope. Tampa Electric has proposed increasing its currently approved contingency factor from 10 percent to 15 percent.  Staff notes a contingency factor of 15 percent is within the range approved by the Commission for other electric utilities. Staff will continue to monitor the Company’s contingency factor in its subsequent dismantlement studies for reasonableness.

Tampa Electric retained Burns & McDonnell (BMcD) to conduct its 2011 dismantlement study.  The plants included in this study are natural gas, fuel oil, and coal-fired generating facilities.  The study is meant to provide a total cost estimate to dismantle each of the aforementioned facilities at the end of its useful life.

Tampa Electric’s currently approved annual accrual for fossil fuel dismantlement is $1,336,986.  In its 2011 study, the Company is requesting a decrease in its annual accrual to $1,117,920.  However, when the Company's study is updated to reflect the November 2011 inflation forecast, this accrual increases slightly to $1,186,094.  The net decrease comes as the total cost to dismantle Tampa Electric’s fossil fleet has increased.  However, this base cost increase has been partially offset by two significant factors.  First, the value for scrap metals has increased substantially since the Company’s 2007 study.  Second, the current study reflects a decreased inflation forecast.  The differences in dismantlement base cost estimates (net of scrap metal values) between Tampa Electric’s current and last study are presented in Table 4-1.

| Table 4-1 |  |  |
| --- | --- | --- |
| FOSSIL PLANT DISMANTLEMENT COST ESTIMATES |  |  |
| Account | 2007 Study | 2011 Study |
| Bayside Power Station | $5,380,794 | $7,506,000 |
| Big Bend Power Station | $33,442,738 | $58,809,000 |
| City of Tampa | $236,357 | $204,050 |
| Gannon Power Station | $33,364,614 | $18,596,550 |
| Phillips Station | $1,420,392 | $2,082,400 |
| Polk Power Station | $6,006,282 | $37,600 |
| Total | $79,851,177 | $87,235,600 |

The inflation factors as of November 2011 used to derive the proposed annual accrual are lower than the September 2007 inflation factors that were used to arrive at the currently approved annual accrual.

Tampa Electric has proposed a series of reserve transfers among the accounts of its dismantlement reserve.  These transfers are presented on Attachment D.  Staff has reviewed the transfer proposals and recommend they be adopted.

Staff recommends that the Commission approve a total annual provision for fossil fuel dismantlement of $1,186,094, as shown on Attachment C.  This represents a decrease in the current annual provision for fossil fuel dismantlement of $150,892.  This accrual reflects current estimates of dismantlement costs on a site-specific basis using a November 2011 inflation forecast and a 15 percent contingency factor.

Issue 5:5

Should the current amortization of investment tax credits (ITCs) and flow back of excess deferred income taxes (EDITs) be revised to reflect the approved depreciation rates?

Recommendation:

Yes.  The current amortization of ITCs and the flowback of EDITs should be revised to match the actual recovery periods for the related property.  The Company should file detailed calculations of the revised ITC amortization and flowback of EDITs at the same time it files its surveillance report covering the period ending December 31, 2012.  (Cicchetti)

Staff Analysis:

In earlier issues, staff has recommended approval of revised depreciation rates for the Company, to be effective January 1, 2012, which reflect changes to most accounts’ remaining lives to be effective January 1, 2012.  Revising a utility's book depreciation lives generally results in a change in its rate of ITC amortization and flowback of EDITs in order to comply with the normalization requirements of the Internal Revenue Code (IRC or Code) set forth in sections 168(f)(2) and (i)(9), IRC sections 167(l) and 46(f), Federal Tax Regulations under the Code sections, and section 203(e) of the Tax Reform Act of 1986 (the Act).

Staff, the Internal Revenue Service (IRS), and independent outside auditors look at a company's books and records, and the orders and rules of the jurisdictional regulatory authorities to determine if the books and records are maintained in the appropriate manner.  The books are also reviewed to determine if they are in compliance with the regulatory guidelines in regard to normalization.  Therefore, staff recommends the current amortization of ITCs and the flowback of EDITs be revised to reflect the remaining useful lives that underlie staff’s proposed depreciation rates.

Section 46(f)(6) of the Code states that “the amortization of ITC should be determined by the period of time actually used in computing depreciation expense for ratemaking purposes and on the regulated books of the utility.”  Since staff is recommending changes to the Company’s remaining lives, it is also important to change the amortization of ITCs to avoid violation of the provisions of IRC section 46 and its underlying Treasury Regulations.  The consequence of an ITC normalization violation is a repayment of unamortized ITC balances to the IRS.

Section 203(e) of the 1986 Act prohibits rapid flow back of depreciation-related (protected) EDITs to the utility’s customers.  Further, Rule 25-14.013, F.A.C., Accounting for Deferred Income Taxes Under SFAS 109, generally prohibits EDITs from being written off any faster than allowed under the Act.  The Act, ASC 740, and Rule 25-14.013, F.A.C,  regulate the flowback of EDITs.  Therefore, staff recommends that the flowback of EDITs be adjusted to comply with the Act, ASC 740, and Rule 25-14.013, F.A.C.

Issue 6:6

Should this docket be closed?

Recommendation:

Yes.  If no person whose substantial interests are affected by the proposed agency action files a timely request for a hearing within 21 days of the issuance of the order, this docket should be closed upon the issuance of a consummating order.  (Klancke)

Staff Analysis:

If no person whose substantial interests are affected files a timely request for a hearing within 21 days, no further action will be required and this docket should be closed upon the issuance of a consummating order.

| Attachment A |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Comparison of Rates and Components |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Current |  |  |  | Staff Recommended** |  |  |  |  |  |
| Account | Account Title | Average | Future | Remaining |  | Average | Reserve |  |  | Future | Remaining |
| Number |  | Remaining Life | Net Salvage | Life Rate |  | Remaining Life |  |  |  | Net Salvage | Life Rate |
|  |  | (yrs) | (%) | (%) |  | (yrs) | (%) |  |  | (%) | (%) |
|  | BIG BEND STATION |  |  |  |  |  |  |  |  |  |  |
| 31140 | BB Common | 33.0 | (5) | 2.0 |  | 31.0 | 16.58 |  | * | (5) | 2.9 |
| 31240 | BB Common | 28.0 | (11) | 2.6 |  | 22.0 | 34.09 |  | * | (8) | 3.4 |
| 31440 | BB Common | 35.0 | (8) | 1.8 |  | 33.0 | 29.26 |  | * | (6) | 2.3 |
| 31540 | BB Common | 14.0 | (7) | 3.0 |  | 15.4 | 49.63 |  | * | (6) | 3.7 |
| 31640 | BB Common | 17.1 | (10) | 3.1 |  | 17.4 | 35.14 |  | * | (8) | 4.2 |
| 31141 | BB Unit No. 1 | 27.0 | (2) | 1.4 |  | 21.0 | 58.12 |  | * | (1) | 2.0 |
| 31241 | BB Unit No. 1 | 23.0 | (7) | 3.3 |  | 19.2 | 28.11 |  | * | (4) | 4.0 |
| 31441 | BB Unit No. 1 | 23.0 | (6) | 2.5 |  | 18.3 | 39.15 |  | * | (4) | 3.5 |
| 31541 | BB Unit No. 1 | 16.7 | (8) | 2.5 |  | 18.2 | 39.18 |  | * | (3) | 3.5 |
| 31641 | BB Unit No. 1 | 26.0 | (2) | 1.2 |  | 18.0 | 49.10 |  | * | (2) | 2.9 |
| 31142 | BB Unit No. 2 | 30.0 | (2) | 1.6 |  | 24.0 | 51.99 |  | * | (1) | 2.0 |
| 31242 | BB Unit No. 2 | 25.0 | (9) | 3.1 |  | 22.0 | 24.12 |  | * | (5) | 3.7 |
| 31442 | BB Unit No. 2 | 24.0 | (8) | 2.6 |  | 22.0 | 20.27 |  | * | (4) | 3.8 |
| 31542 | BB Unit No. 2 | 18.7 | (8) | 2.5 |  | 19.7 | 40.95 |  | * | (5) | 3.3 |
| 31642 | BB Unit No. 2 | 21.0 | (14) | 2.0 |  | 19.2 | 50.10 |  | * | (8) | 3.0 |
| 31143 | BB Unit No. 3 | 32.0 | (1) | 1.2 |  | 25.0 | 55.87 |  | * | (1) | 1.8 |
| 31243 | BB Unit No. 3 | 24.0 | (9) | 2.6 |  | 20.0 | 35.33 |  | * | (6) | 3.5 |
| 31443 | BB Unit No. 3 | 18.4 | (9) | 1.8 |  | 19.7 | 41.07 |  | * | (5) | 3.2 |
| 31543 | BB Unit No. 3 | 16.2 | (7) | 2.5 |  | 14.5 | 53.64 |  | * | (6) | 3.6 |
| 31643 | BB Unit No. 3 | 27.0 | (6) | 2.7 |  | 21.0 | 41.91 |  | * | (4) | 3.0 |
| 31144 | BB Unit No. 4 | 40.0 | (1) | 1.4 |  | 33.0 | 43.52 |  | * | (2) | 1.8 |
| 31244 | BB Unit No. 4 | 26.0 | (10) | 2.4 |  | 22.0 | 42.20 |  | * | (8) | 3.0 |
| 31444 | BB Unit No. 4 | 28.0 | (9) | 2.0 |  | 25.0 | 37.32 |  | * | (7) | 2.8 |
| 31544 | BB Unit No. 4 | 23.0 | (6) | 2.1 |  | 18.2 | 48.57 |  | * | (7) | 3.2 |
| 31644 | BB Unit No. 4 | 25.0 | (5) | 1.7 |  | 22.0 | 48.97 |  | * | (5) | 2.5 |
| 31146 | No. 1 & 2 FGD System | 28.0 | (3) | 2.6 |  | 23.0 | 36.37 | * |  | (4) | 2.9 |
| 31246 | No. 1 & 2 FGD System | 27.0 | (6) | 2.9 |  | 21.0 | 36.62 | * |  | (5) | 3.3 |
| 31546 | No. 1 & 2 FGD System | 22.0 | (6) | 3.3 |  | 18.6 | 40.17 | * |  | (5) | 3.5 |
| 31646 | No. 1 & 2 FGD System | 29.0 | (5) | 2.5 |  | 24.0 | 34.35 | * |  | (4) | 2.9 |
| 31145 | No. 3 & 4 FGD System | 37.0 | (2) | 1.5 |  | 30.0 | 44.06 | * |  | (3) | 2.0 |
| 31245 | No. 3 & 4 FGD System | 29.0 | (9) | 2.3 |  | 24.0 | 46.30 | * |  | (7) | 2.5 |
| 31545 | No. 3 & 4 FGD System | 25.0 | (7) | 2.1 |  | 18.3 | 49.82 | * |  | (7) | 3.1 |
| 31645 | No. 3 & 4 FGD System | 30.0 | (5) | 2.0 |  | 10.4 | 78.30 | * |  | (12) | 3.2 |
| 31151 | No. 1 SCR System |  | (5) | 2.1 |  | 23.0 | 6.07 | * |  | 0 | 4.1 |
| 31251 | No. 1 SCR System |  | (11) | 2.6 |  | 22.0 | 6.57 | * |  | (2) | 4.3 |
| 31551 | No. 1 SCR System |  | (7) | 3.0 |  | 20.0 | 7.22 | * |  | (4) | 4.8 |
| 31651 | No. 1 SCR System |  | (10) | 3.1 |  | 23.0 | 6.07 | * |  | (1) | 4.1 |
| 31152 | No. 2 SCR System |  | (2) | 1.4 |  | 26.0 | 8.75 | * |  | 0 | 3.5 |
| 31252 | No. 2 SCR System |  | (7) | 3.2 |  | 23.0 | 10.06 | * |  | (3) | 4.0 |
| 31552 | No. 2 SCR System |  | (8) | 2.5 |  | 23.0 | 10.36 | * |  | (4) | 4.1 |
| 31652 | No. 2 SCR System |  | (2) | 1.2 |  | 25.0 | 9.16 | * |  | (2) | 3.7 |
| 31153 | No. 3 SCR System |  | (1) | 1.2 |  | 29.0 | 10.83 | * |  | (1) | 3.1 |
| 31253 | No. 3 SCR System |  | (9) | 2.6 |  | 24.0 | 13.43 | * |  | (6) | 3.9 |
| 31553 | No. 3 SCR System |  | (7) | 2.5 |  | 23.0 | 13.92 | * |  | (6) | 4.0 |
| 31653 | No. 3 SCR System |  | (6) | 2.7 |  | 27.0 | 12.01 | * |  | (5) | 3.4 |
| 31154 | No. 4 SCR System |  | (1) | 1.4 |  | 37.0 | 10.85 | * |  | (1) | 2.4 |
| 31254 | No. 4 SCR System |  | (10) | 2.3 |  | 25.0 | 16.87 | * |  | (12) | 3.8 |
| 31554 | No. 4 SCR System |  | (6) | 2.1 |  | 24.0 | 17.63 | * |  | (12) | 3.9 |
| 31654 | No. 4 SCR System |  | (5) | 1.7 |  | 30.0 | 14.68 | * |  | (13) | 3.3 |
| 31647 | Big Bend Amortizable Tools |  |  | 14.3 |  |  |  |  |  |  | 14.3 |
| 34144 | BB CT No. 4 | 26.0 | (11) | 4.3 |  | 37.0 | 6.38 | * |  | (1) | 2.6 |
| 34244 | BB CT No. 4 | 26.0 | (11) | 4.3 |  | 27.0 | 9.05 | * |  | (6) | 3.6 |
| 34344 | BB CT No. 4 | 26.0 | (11) | 4.3 |  | 24.0 | 10.05 | * |  | (6) | 4.0 |
| 34544 | BB CT No. 4 | 26.0 | (11) | 4.3 |  | 25.0 | 10.23 | * |  | (11) | 4.0 |
| 34644 | BB CT No. 4 | 0.0 | 0 | 0.0 |  | 0.0 | 0.0 |  |  | 0 | 0.0 |
|  | BAYSIDE POWER STATION |  |  |  |  |  |  |  |  |  |  |
| 34130 | BP Common | 35.0 | (2) | 2.3 |  | 33.0 | 27.60 | * |  | (2) | 2.3 |
| 34230 | BP Common | 34.0 | (4) | 2.5 |  | 32.0 | 22.83 | * |  | (4) | 2.5 |
| 34330 | BP Common | 33.0 | (11) | 2.9 |  | 31.0 | 12.75 | * |  | (11) | 3.2 |
| 34530 | BP Common | 19.8 | (9) | 4.3 |  | 16.3 | 39.76 | * |  | (8) | 4.2 |
| 34630 | BP Common | 21.0 | (6) | 3.4 |  | 22.0 | 34.64 | * |  | (6) | 3.2 |
| 34131 | BP Unit No. 1 | 35.0 | (1) | 2.3 |  | 31.0 | 24.07 | * |  | (1) | 2.5 |
| 34231 | BP Unit No. 1 | 33.0 | (7) | 2.9 |  | 28.0 | 23.27 | * |  | (5) | 2.9 |
| 34331 | BP Unit No. 1 | 22.0 | (7) | 4.0 |  | 19.5 | 24.82 | * |  | (6) | 4.2 |
| 34531 | BP Unit No. 1 | 30.0 | (11) | 3.2 |  | 25.0 | 28.85 | * |  | (8) | 3.2 |
| 34631 | BP Unit No. 1 | 32.0 | (3) | 2.5 |  | 28.0 | 27.49 | * |  | (3) | 2.7 |
| 34132 | BP Unit No. 2 | 37.0 | (1) | 2.3 |  | 32.0 | 20.71 | * |  | (1) | 2.5 |
| 34232 | BP Unit No. 2 | 34.0 | (7) | 2.9 |  | 29.0 | 21.28 | * |  | (5) | 2.9 |
| 34332 | BP Unit No. 2 | 24.0 | (7) | 3.9 |  | 20.0 | 23.47 | * |  | (6) | 4.1 |
| 34532 | BP Unit No. 2 | 32.0 | (10) | 3.1 |  | 27.0 | 24.76 | * |  | (8) | 3.1 |
| 34632 | BP Unit No. 2 | 33.0 | (3) | 2.6 |  | 28.0 | 24.96 | * |  | (2) | 2.8 |
| 34133 | BP CT No. 3 | 26.0 | (11) | 4.3 |  | 37.0 | 6.38 | * |  | (1) | 2.6 |
| 34233 | BP CT No. 3 | 26.0 | (11) | 4.3 |  | 27.0 | 9.05 | * |  | (6) | 3.6 |
| 34333 | BP CT No. 3 | 26.0 | (11) | 4.3 |  | 24.0 | 10.05 | * |  | (6) | 4.0 |
| 34533 | BP CT No. 3 | 26.0 | (11) | 4.3 |  | 25.0 | 10.23 | * |  | (11) | 4.0 |
| 34633 | BP CT No. 3 | 0.0 | 0 | 0.0 |  | 0.0 | 0.0 |  |  | 0 | 0.0 |
| 34134 | BP CT No. 4 | 26.0 | (11) | 4.3 |  | 37.0 | 6.38 | * |  | (1) | 2.6 |
| 34234 | BP CT No. 4 | 26.0 | (11) | 4.3 |  | 27.0 | 9.05 | * |  | (6) | 3.6 |
| 34334 | BP CT No. 4 | 26.0 | (11) | 4.3 |  | 24.0 | 10.05 | * |  | (6) | 4.0 |
| 34534 | BP CT No. 4 | 26.0 | (11) | 4.3 |  | 25.0 | 10.23 | * |  | (11) | 4.0 |
| 34634 | BP CT No. 4 | 0.0 | 0 | 0.0 |  | 0.0 | 0.0 |  |  | 0 | 0.0 |
| 34135 | BP CT No. 5 | 26.0 | (11) | 4.3 |  | 37.0 | 6.38 | * |  | (1) | 2.6 |
| 34235 | BP CT No. 5 | 26.0 | (11) | 4.3 |  | 27.0 | 9.05 | * |  | (6) | 3.6 |
| 34335 | BP CT No. 5 | 26.0 | (11) | 4.3 |  | 24.0 | 10.05 | * |  | (6) | 4.0 |
| 34535 | BP CT No. 5 | 26.0 | (11) | 4.3 |  | 25.0 | 10.23 | * |  | (11) | 4.0 |
| 34635 | BP CT No. 5 | 0.0 | 0 | 0.0 |  | 0.0 | 0.0 |  |  | 0 | 0.0 |
| 34136 | BP CT No. 6 | 26.0 | (11) | 4.3 |  | 37.0 | 6.38 | * |  | (1) | 2.6 |
| 34236 | BP CT No. 6 | 26.0 | (11) | 4.3 |  | 27.0 | 9.05 | * |  | (6) | 3.6 |
| 34336 | BP CT No. 6 | 26.0 | (11) | 4.3 |  | 24.0 | 10.05 | * |  | (6) | 4.0 |
| 34536 | BP CT No. 6 | 26.0 | (11) | 4.3 |  | 25.0 | 10.23 | * |  | (11) | 4.0 |
| 34636 | BP CT No. 6 | 0.0 | 0 | 0.0 |  | 0.0 | 0.0 |  |  | 0 | 0.0 |
| 34637 | Bayside Amortizable Tools |  |  | 14.3 |  |  |  |  |  |  | 14.3 |
|  | POLK POWER STATION |  |  |  |  |  |  |  |  |  |  |
| 34180 | PK Common | 33.0 | (1) | 2.3 |  | 32.0 | 30.89 | * |  | (1) | 2.2 |
| 34280 | PK Common | 28.0 | (4) | 2.2 |  | 26.0 | 8.77 | * |  | (5) | 3.7 |
| 34380 | PK Common | 33.0 | (2) | 2.0 |  | 33.0 | 30.22 | * |  | (2) | 2.2 |
| 34580 | PK Common | 28.0 | (3) | 2.4 |  | 25.0 | 32.15 | * |  | (4) | 2.9 |
| 34680 | PK Common | 30.0 | (3) | 2.2 |  | 29.0 | 33.13 | * |  | (3) | 2.4 |
| 34181 | PK Unit No. 1 | 32.0 | (1) | 2.5 |  | 26.0 | 35.10 | * |  | (1) | 2.5 |
| 34281 | PK Unit No. 1 | 23.0 | (9) | 3.4 |  | 19.3 | 42.29 | * |  | (7) | 3.4 |
| 34381 | PK Unit No. 1 | 11.5 | (9) | 6.4 |  | 12.9 | 49.44 | * |  | (7) | 4.5 |
| 34581 | PK Unit No. 1 | 22.0 | (4) | 3.1 |  | 17.4 | 46.51 | * |  | (4) | 3.3 |
| 34681 | PK Unit No. 1 | 29.0 | (4) | 3.4 |  | 22.0 | 37.86 | * |  | (5) | 3.1 |
| 34182 | PK CT No. 2 | 31.0 | (1) | 2.7 |  | 26.0 | 29.64 | * |  | (1) | 2.7 |
| 34282 | PK CT No. 2 | 28.0 | (3) | 2.9 |  | 23.0 | 28.51 | * |  | (5) | 3.3 |
| 34382 | PK CT No. 2 | 11.2 | (9) | 7.6 |  | 15.4 | 40.91 | * |  | (8) | 4.4 |
| 34582 | PK CT No. 2 | 29.0 | (2) | 2.9 |  | 25.0 | 30.88 | * |  | (2) | 2.8 |
| 34682 | PK CT No. 2 | 30.0 | (4) | 2.8 |  | 19.3 | 39.98 | * |  | (8) | 3.5 |
| 34183 | PK CT No. 3 | 35.0 | (1) | 2.6 |  | 30.0 | 23.99 | * |  | (1) | 2.6 |
| 34283 | PK CT No. 3 | 30.0 | (3) | 2.9 |  | 26.0 | 26.90 | * |  | (3) | 2.9 |
| 34383 | PK CT No. 3 | 14.7 | (14) | 6.2 |  | 17.0 | 31.60 | * |  | (9) | 4.6 |
| 34583 | PK CT No. 3 | 29.0 | (3) | 3.0 |  | 25.0 | 26.98 | * |  | (3) | 3.0 |
| 34683 | PK CT No. 3 | 32.0 | (3) | 2.9 |  | 25.0 | 27.93 | * |  | (5) | 3.1 |
| 34184 | PK CT No. 4 | 26.0 | (11) | 4.3 |  | 37.0 | 10.99 | * |  | (1) | 2.4 |
| 34284 | PK CT No. 4 | 26.0 | (11) | 4.3 |  | 28.0 | 15.08 | * |  | (6) | 3.2 |
| 34384 | PK CT No. 4 | 26.0 | (11) | 4.3 |  | 22.0 | 16.61 | * |  | (6) | 4.1 |
| 34584 | PK CT No. 4 | 26.0 | (11) | 4.3 |  | 23.0 | 17.29 | * |  | (6) | 3.9 |
| 34684 | PK CT No. 4 | 26.0 | (11) | 4.3 |  | 0.0 | 0.0 |  |  | 0 | 0.0 |
| 34185 | PK CT No. 5 | 26.0 | (11) | 4.3 |  | 37.0 | 10.99 | * |  | (1) | 2.4 |
| 34285 | PK CT No. 5 | 26.0 | (11) | 4.3 |  | 27.0 | 15.28 | * |  | (7) | 3.4 |
| 34385 | PK CT No. 5 | 26.0 | (11) | 4.3 |  | 23.0 | 17.37 | * |  | (6) | 3.9 |
| 34585 | PK CT No. 5 | 26.0 | (11) | 4.3 |  | 23.0 | 17.27 | * |  | (6) | 3.9 |
| 34685 | PK CT No. 5 | 26.0 | (11) | 4.3 |  | 0.0 | 0.0 |  |  | 0 | 0.0 |
| 34687 | Polk Amortizable Tools |  |  | 14.3 |  |  |  |  |  |  | 14.3 |
|  | PHILLIPS STATION |  |  |  |  |  |  |  |  |  |  |
| 34128 | Phillips Station | 5.2 | (5) | 3.4 |  | 0.0 | 100.00 | * |  | 0 | 0 |
| 34228 | Phillips Station | 5.2 | (4) | 3.0 |  | 0.0 | 100.00 | * |  | 0 | 0 |
| 34328 | Phillips Station | 5.8 | (3) | 3.7 |  | 0.0 | 100.00 | * |  | 0 | 0 |
| 34528 | Phillips Station | 4.8 | (5) | 3.5 |  | 0.0 | 100.00 | * |  | 0 | 0 |
| 34628 | Phillips Station | 5.4 | (4) | 4.2 |  | 0.0 | 100.00 | * |  | 0 | 0 |
| CITY OF TAMPA |  |  |  |  |  |  |  |  |  |  |  |
| 34390 | City of Tampa Partnership | 18.5 | (8) | 4.5 |  | 13.6 | 49.45 | * |  | (8) | 4.3 |
|  | TRANSMISSION PLANT |  |  |  |  |  |  |  |  |  |  |
| 350.01 | Land Rights | 28.0 | 0 | 2.3 |  | 51.0 | 32.66 | * |  | 0 | 1.3 |
| 352.00 | Structures and Improvements | 36.0 | (3) | 2.3 |  | 52.0 | 14.67 | * |  | (5) | 1.7 |
| 353.00 | Station Equipment | 32.0 | (5) | 2.5 |  | 35.0 | 25.16 | * |  | (5) | 2.3 |
| 354.00 | Towers and Fixtures | 12.5 | (15) | 2.4 |  | 10.4 | 91.17 | * |  | (15) | 2.3 |
| 355.00 | Poles and Fixtures | 24.0 | (40) | 4.4 |  | 29.0 | 35.76 | * |  | (40) | 3.6 |
| 356.00 | Overhead Conductors and Devices | 24.0 | (30) | 3.7 |  | 40.0 | 29.91 | * |  | (40) | 2.8 |
| 356.01 | Clearing Rights-of-Way | 22.0 | 0 | 2.0 |  | 19.8 | 60.35 | * |  | 0 | 2.0 |
| 357.00 | Underground Conduit | 32.0 | 0 | 1.7 |  | 39.0 | 29.36 | * |  | 0 | 1.8 |
| 358.00 | Underground Conductors and Devices | 27.0 | 0 | 2.4 |  | 27.0 | 39.24 | * |  | 0 | 2.3 |
| 359.00 | Roads and Trails | 35.0 | 0 | 2.2 |  | 48.0 | 26.72 | * |  | 0 | 1.5 |
|  | DISTRIBUTION PLANT |  |  |  |  |  |  |  |  |  |  |
| 361.00 | Structures and Improvements | 30.0 | (3) | 2.4 |  | 48.0 | 20.67 | * |  | (5) | 1.8 |
| 362.00 | Station Equipment | 30.0 | (10) | 2.5 |  | 35.0 | 25.43 | * |  | (10) | 2.4 |
| 364.00 | Poles, Towers and Fixtures | 22.0 | (50) | 4.7 |  | 21.0 | 57.40 | * |  | (50) | 4.4 |
| 365.00 | Overhead Conductors and Devices | 20.0 | (20) | 3.3 |  | 25.0 | 43.44 | * |  | (20) | 3.1 |
| 366.00 | Underground Conduit | 38.0 | 0 | 2.0 |  | 46.0 | 24.11 | * |  | (5) | 1.8 |
| 367.00 | Underground Conductors and Dev. | 23.0 | 0 | 3.2 |  | 26.0 | 26.05 | * |  | (5) | 3.0 |
| 368.00 | Line Transformers | 6.9 | 30 | 4.2 |  | 9.9 | 46.83 | * |  | 10 | 4.4 |
| 369.00 | Overhead Services | 24.0 | (20) | 3.1 |  | 18.8 | 55.66 | * |  | (20) | 3.4 |
| 369.02 | Underground Services | 24.0 | (15) | 3.3 |  | 27.0 | 34.87 | * |  | (10) | 2.8 |
| 370.00 | Meters | 17.8 | (30) | 6.3 |  | 12.8 | 37.63 | * |  | (30) | 7.2 |
| 373.00 | Street Lighting and Signal Systems | 10.9 | 0 | 5.2 |  | 12.5 | 42.39 | * |  | (10) | 5.4 |
|  | GENERAL PLANT |  |  |  |  |  |  |  |  |  |  |
| 390.00 | Structures and Improvements | 24.0 | (20) | 3.5 |  | 24.0 | 48.96 |  |  | (4) | 2.3 |
| 397.25 | Comm. Equipment | 10.0 | (10) | 6.9 |  | 7.3 | 66.14 |  |  | (5) | 5.3 |
|  | TRANSPORTATION EQUIPMENT |  |  |  |  |  |  |  |  |  |  |
|  | Energy Delivery |  |  |  |  |  |  |  |  |  |  |
| 392.02 | Light Trucks | 4.0 | 15 | 12.6 |  | 4.0 | 64.22 | * |  | 15 | 5.2 |
| 392.03 | Heavy Trucks | 3.9 | 10 | 5.9 |  | 3.9 | 70.07 | * |  | 10 | 5.1 |
| 392.04 | Medium Trucks | 3.9 | 15 | 7.8 |  | 3.9 | 59.30 | * |  | 15 | 6.6 |
|  | Energy Supply |  |  |  |  |  |  |  |  |  |  |
| 392.12 | Light Trucks | 5.2 | 15 | 8.5 |  | 5.2 | 50.57 | * |  | 15 | 6.6 |
| 392.13 | Heavy Trucks | 4.4 | 10 | 5.9 |  | 4.4 | 73.52 | * |  | 10 | 3.7 |
| 392.14 | Medium Trucks | 5.9 | 15 | 5.7 |  | 5.9 | 65.59 | * |  | 15 | 3.3 |
|  | GENERAL PLANT AMORTIZED |  |  |  |  |  |  |  |  |  |  |
| 391.01 | Office Furniture and Equipment | 7 year Amortizable |  |  |  | 7 year Amortizable |  |  |  |  |  |
| 391.02 | Computer Equipment - Work Stations | 4 year Amortizable |  |  |  | 4 year Amortizable |  |  |  |  |  |
| 391.03 | Data Handling Equipment | 7 year Amortizable |  |  |  | 7 year Amortizable |  |  |  |  |  |
| 391.04 | Computer Equipment - Mainframe | 5 year Amortizable |  |  |  | 5 year Amortizable |  |  |  |  |  |
| 393.00 | Stores Equipment | 7 year Amortizable |  |  |  | 7 year Amortizable |  |  |  |  |  |
| 394.00 | Tools, Shop and Garage Equipment | 7 year Amortizable |  |  |  | 7 year Amortizable |  |  |  |  |  |
| 395.00 | Laboratory Equipment | 7 year Amortizable |  |  |  | 7 year Amortizable |  |  |  |  |  |
| 396.00 | Power Operated Equipment | 7 year Amortizable |  |  |  | 7 year Amortizable |  |  |  |  |  |
| 397.00 | Communication Equipment | 7 year Amortizable |  |  |  | 7 year Amortizable |  |  |  |  |  |
| 398.00 | Miscellaneous Equipment | 7 year Amortizable |  |  |  | 7 year Amortizable |  |  |  |  |  |
| * | Denotes restated reserve after corrective reserve measures. |  |  |  |  |  |  |  |  |  |  |
| ** | Staff and Tampa Electric now agree on lives, net salvages, and the resulting depreciation rates for all accounts. |  |  |  |  |  |  |  |  |  |  |

| Attachment B |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Comparison of Expenses |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Current |  |  |  | Staff Proposed |  |  |
| Account | Account Title |  |  | Depreciation |  | Annual |  | Depreciation | Annual | Change In |
| Number |  |  |  | Rate |  | Expense |  | Rate | Expense | Expense |
|  |  |  |  | (%) |  | ($) |  | (%) | ($) | ($) |
|  | BIG BEND STATION |  |  |  |  |  |  |  |  |  |
| 31140 | BB Common |  |  | 2.0 |  | 3,694,794 |  | 2.9 | 5,357,451 | 1,662,657 |
| 31240 | BB Common |  |  | 2.6 |  | 2,246,516 |  | 3.4 | 2,937,752 | 691,236 |
| 31440 | BB Common |  |  | 1.8 |  | 127,052 |  | 2.3 | 162,344 | 35,292 |
| 31540 | BB Common |  |  | 3.0 |  | 657,763 |  | 3.7 | 811,241 | 153,478 |
| 31640 | BB Common |  |  | 3.1 |  | 293,949 |  | 4.2 | 398,254 | 104,305 |
| 31141 | BB Unit No. 1 |  |  | 1.4 |  | 109,273 |  | 2.0 | 156,105 | 46,832 |
| 31241 | BB Unit No. 1 |  |  | 3.3 |  | 3,656,648 |  | 4.0 | 4,432,301 | 775,653 |
| 31441 | BB Unit No. 1 |  |  | 2.5 |  | 830,555 |  | 3.5 | 1,162,777 | 332,222 |
| 31541 | BB Unit No. 1 |  |  | 2.5 |  | 404,238 |  | 3.5 | 565,933 | 161,695 |
| 31641 | BB Unit No. 1 |  |  | 1.2 |  | 12,473 |  | 2.9 | 30,143 | 17,670 |
| 31142 | BB Unit No. 2 |  |  | 1.6 |  | 127,075 |  | 2.0 | 158,844 | 31,769 |
| 31242 | BB Unit No. 2 |  |  | 3.1 |  | 2,884,884 |  | 3.7 | 3,443,249 | 558,365 |
| 31442 | BB Unit No. 2 |  |  | 2.5 |  | 1,148,227 |  | 3.8 | 1,745,305 | 597,078 |
| 31542 | BB Unit No. 2 |  |  | 2.5 |  | 341,379 |  | 3.3 | 450,620 | 109,241 |
| 31642 | BB Unit No. 2 |  |  | 2.0 |  | 13,603 |  | 3.0 | 20,404 | 6,801 |
| 31143 | BB Unit No. 3 |  |  | 1.2 |  | 182,529 |  | 1.8 | 273,793 | 91,264 |
| 31243 | BB Unit No. 3 |  |  | 2.6 |  | 3,539,484 |  | 3.5 | 4,764,690 | 1,225,206 |
| 31443 | BB Unit No. 3 |  |  | 1.8 |  | 750,819 |  | 3.2 | 1,334,790 | 583,971 |
| 31543 | BB Unit No. 3 |  |  | 2.5 |  | 590,048 |  | 3.6 | 849,669 | 259,621 |
| 31643 | BB Unit No. 3 |  |  | 2.7 |  | 38,375 |  | 3.0 | 42,639 | 4,264 |
| 31144 | BB Unit No. 4 |  |  | 1.4 |  | 871,534 |  | 1.8 | 1,120,544 | 249,010 |
| 31244 | BB Unit No. 4 |  |  | 2.4 |  | 5,779,822 |  | 3.0 | 7,224,778 | 1,444,956 |
| 31444 | BB Unit No. 4 |  |  | 2.0 |  | 1,916,324 |  | 2.8 | 2,682,853 | 766,529 |
| 31544 | BB Unit No. 4 |  |  | 2.1 |  | 941,752 |  | 3.2 | 1,435,050 | 493,298 |
| 31644 | BB Unit No. 4 |  |  | 1.7 |  | 99,022 |  | 2.5 | 145,620 | 46,598 |
| 31146 | No. 1 & 2 FGD System |  |  | 2.6 |  | 330,328 |  | 2.9 | 368,442 | 38,114 |
| 31246 | No. 1 & 2 FGD System |  |  | 2.9 |  | 1,799,398 |  | 3.3 | 2,047,591 | 248,193 |
| 31546 | No. 1 & 2 FGD System |  |  | 3.3 |  | 300,515 |  | 3.5 | 318,728 | 18,213 |
| 31646 | No. 1 & 2 FGD System |  |  | 2.5 |  | 44,498 |  | 2.9 | 51,617 | 7,119 |
| 31145 | No. 3 & 4 FGD System |  |  | 1.5 |  | 335,037 |  | 2.0 | 446,716 | 111,679 |
| 31245 | No. 3 & 4 FGD System |  |  | 2.3 |  | 3,641,379 |  | 2.5 | 3,958,020 | 316,641 |
| 31545 | No. 3 & 4 FGD System |  |  | 2.1 |  | 486,318 |  | 3.1 | 717,898 | 231,580 |
| 31645 | No. 3 & 4 FGD System |  |  | 2.0 |  | 15,040 |  | 3.2 | 24,065 | 9,025 |
| 31151 | No. 1 SCR System |  |  | 2.1 |  | 475,671 |  | 4.1 | 928,692 | 453,021 |
| 31251 | No. 1 SCR System |  |  | 2.6 |  | 1,177,853 |  | 4.3 | 1,947,988 | 770,135 |
| 31551 | No. 1 SCR System |  |  | 3.0 |  | 453,020 |  | 4.8 | 724,833 | 271,813 |
| 31651 | No. 1 SCR System |  |  | 3.1 |  | 26,007 |  | 4.1 | 34,396 | 8,389 |
| 31152 | No. 2 SCR System |  |  | 1.4 |  | 352,924 |  | 3.5 | 882,310 | 529,386 |
| 31252 | No. 2 SCR System |  |  | 3.2 |  | 1,581,235 |  | 4.0 | 1,976,544 | 395,309 |
| 31552 | No. 2 SCR System |  |  | 2.5 |  | 397,861 |  | 4.1 | 652,492 | 254,631 |
| 31652 | No. 2 SCR System |  |  | 1.2 |  | 11,503 |  | 3.7 | 35,469 | 23,966 |
| 31153 | No. 3 SCR System |  |  | 1.2 |  | 260,273 |  | 3.1 | 672,372 | 412,099 |
| 31253 | No. 3 SCR System |  |  | 2.6 |  | 1,105,255 |  | 3.9 | 1,657,883 | 552,628 |
| 31553 | No. 3 SCR System |  |  | 2.5 |  | 342,274 |  | 4.0 | 547,638 | 205,364 |
| 31653 | No. 3 SCR System |  |  | 2.7 |  | 22,266 |  | 3.4 | 28,039 | 5,773 |
| 31154 | No. 4 SCR System |  |  | 1.4 |  | 236,002 |  | 2.4 | 404,574 | 168,573 |
| 31254 | No. 4 SCR System |  |  | 2.3 |  | 758,911 |  | 3.8 | 1,253,853 | 494,942 |
| 31554 | No. 4 SCR System |  |  | 2.1 |  | 223,483 |  | 3.9 | 415,039 | 191,556 |
| 31654 | No. 4 SCR System |  |  | 1.7 |  | 11,695 |  | 3.3 | 22,702 | 11,007 |
| 31647 | Big Bend Amortizable Tools |  |  | 14.3 |  | 317,298 |  | 14.3 | 317,298 | 0 |
| 34144 | BB CT No. 4 |  |  | 4.3 |  | 302,759 |  | 2.6 | 183,064 | (119,695) |
| 34244 | BB CT No. 4 |  |  | 4.3 |  | 124,666 |  | 3.6 | 104,371 | (20,295) |
| 34344 | BB CT No. 4 |  |  | 4.3 |  | 1,086,371 |  | 4.0 | 1,010,578 | (75,793) |
| 34544 | BB CT No. 4 |  |  | 4.3 |  | 267,140 |  | 4.0 | 248,503 | (18,637) |
| 34644 | BB CT No. 4 |  |  | 0.0 |  | 0 |  | 0.0 | 0 | 0 |
|  | BAYSIDE POWER STATION |  |  |  |  |  |  |  |  |  |
| 34130 | BP Common |  | 2.3 |  |  | 1,601,966 |  | 2.3 | 1,601,966 | 0 |
| 34230 | BP Common |  | 2.5 |  |  | 463,103 |  | 2.5 | 463,103 | 0 |
| 34330 | BP Common |  | 2.9 |  |  | 981,518 |  | 3.2 | 1,083,054 | 101,536 |
| 34530 | BP Common |  | 4.3 |  |  | 501,256 |  | 4.2 | 489,599 | (11,657) |
| 34630 | BP Common |  | 3.4 |  |  | 302,559 |  | 3.2 | 284,761 | (17,798) |
| 34131 | BP Unit No. 1 |  | 2.3 |  |  | 506,264 |  | 2.5 | 550,287 | 44,023 |
| 34231 | BP Unit No. 1 |  | 2.9 |  |  | 2,069,597 |  | 2.9 | 2,069,597 | 0 |
| 34331 | BP Unit No. 1 |  | 4.0 |  |  | 7,684,403 |  | 4.2 | 8,068,623 | 384,220 |
| 34531 | BP Unit No. 1 |  | 3.2 |  |  | 1,045,480 |  | 3.2 | 1,045,480 | 0 |
| 34631 | BP Unit No. 1 |  | 2.5 |  |  | 31,443 |  | 2.7 | 33,958 | 2,515 |
| 34132 | BP Unit No. 2 |  | 2.3 |  |  | 598,216 |  | 2.5 | 650,235 | 52,019 |
| 34232 | BP Unit No. 2 |  | 2.9 |  |  | 2,771,277 |  | 2.9 | 2,771,277 | 0 |
| 34332 | BP Unit No. 2 |  | 3.9 |  |  | 10,412,424 |  | 4.1 | 10,946,395 | 533,971 |
| 34532 | BP Unit No. 2 |  | 3.1 |  |  | 1,255,371 |  | 3.1 | 1,255,371 | 0 |
| 34632 | BP Unit No. 2 |  | 2.6 |  |  | 39,462 |  | 2.8 | 42,497 | 3,035 |
| 34133 | BP CT No. 3 |  | 4.3 |  |  | 195,296 |  | 2.6 | 118,086 | (77,210) |
| 34233 | BP CT No. 3 |  | 4.3 |  |  | 80,416 |  | 3.6 | 67,325 | (13,091) |
| 34333 | BP CT No. 3 |  | 4.3 |  |  | 700,768 |  | 4.0 | 651,877 | (48,891) |
| 34533 | BP CT No. 3 |  | 4.3 |  |  | 172,320 |  | 4.0 | 160,298 | (12,022) |
| 34633 | BP CT No. 3 |  | 0.0 |  |  | 0 |  | 0.0 | 0 | 0 |
| 34134 | BP CT No. 4 |  | 4.3 |  |  | 194,952 |  | 2.6 | 117,878 | (77,074) |
| 34234 | BP CT No. 4 |  | 4.3 |  |  | 80,274 |  | 3.6 | 67,206 | (13,068) |
| 34334 | BP CT No. 4 |  | 4.3 |  |  | 699,532 |  | 4.0 | 650,728 | (48,804) |
| 34534 | BP CT No. 4 |  | 4.3 |  |  | 172,016 |  | 4.0 | 160,015 | (12,001) |
| 34634 | BP CT No. 4 |  | 0.0 |  |  | 0 |  | 0.0 | 0 | 0 |
| 34135 | BP CT No. 5 |  | 4.3 |  |  | 293,422 |  | 2.6 | 177,418 | (116,004) |
| 34235 | BP CT No. 5 |  | 4.3 |  |  | 120,821 |  | 3.6 | 101,152 | (19,669) |
| 34335 | BP CT No. 5 |  | 4.3 |  |  | 1,052,869 |  | 4.0 | 979,413 | (73,456) |
| 34535 | BP CT No. 5 |  | 4.3 |  |  | 258,902 |  | 4.0 | 240,839 | (18,063) |
| 34635 | BP CT No. 5 |  | 0.0 |  |  | 0 |  | 0.0 | 0 | 0 |
| 34136 | BP CT No. 6 |  | 4.3 |  |  | 292,673 |  | 2.6 | 176,965 | (115,708) |
| 34236 | BP CT No. 6 |  | 4.3 |  |  | 120,513 |  | 3.6 | 100,894 | (19,619) |
| 34336 | BP CT No. 6 |  | 4.3 |  |  | 1,050,181 |  | 4.0 | 976,913 | (73,268) |
| 34536 | BP CT No. 6 |  | 4.3 |  |  | 258,241 |  | 4.0 | 240,224 | (18,017) |
| 34636 | BP CT No. 6 |  | 0.0 |  |  | 0 |  | 0.0 | 0 | 0 |
| 34637 | Bayside Amortizable Tools |  | 14.3 |  |  | 0 |  | 14.3 | 0 | 0 |
|  | POLK POWER STATION |  |  |  |  |  |  |  |  |  |
| 34180 | PK Common |  | 2.3 |  |  | 1,525,339 |  | 2.2 | 1,459,020 | (66,319) |
| 34280 | PK Common |  | 2.2 |  |  | 95,171 |  | 3.7 | 160,061 | 64,890 |
| 34380 | PK Common |  | 2.0 |  |  | 48,236 |  | 2.2 | 53,059 | 4,823 |
| 34580 | PK Common |  | 2.4 |  |  | 46,540 |  | 2.9 | 56,236 | 9,696 |
| 34680 | PK Common |  | 2.2 |  |  | 17,557 |  | 2.4 | 19,154 | 1,597 |
| 34181 | PK Unit No. 1 |  | 2.5 |  |  | 1,168,430 |  | 2.5 | 1,168,430 | 0 |
| 34281 | PK Unit No. 1 |  | 3.4 |  |  | 7,945,121 |  | 3.4 | 7,945,121 | 0 |
| 34381 | PK Unit No. 1 |  | 6.4 |  |  | 8,160,846 |  | 4.5 | 5,738,095 | (2,422,751) |
| 34581 | PK Unit No. 1 |  | 3.1 |  |  | 1,817,456 |  | 3.3 | 1,934,711 | 117,255 |
| 34681 | PK Unit No. 1 |  | 3.4 |  |  | 175,174 |  | 3.1 | 159,718 | (15,456) |
| 34182 | PK CT No. 2 |  | 2.7 |  |  | 58,025 |  | 2.7 | 58,025 | 0 |
| 34282 | PK CT No. 2 |  | 2.9 |  |  | 35,788 |  | 3.3 | 40,724 | 4,936 |
| 34382 | PK CT No. 2 |  | 7.6 |  |  | 2,103,222 |  | 4.4 | 1,217,655 | (885,567) |
| 34582 | PK CT No. 2 |  | 2.9 |  |  | 480,517 |  | 2.8 | 463,948 | (16,569) |
| 34682 | PK CT No. 2 |  | 2.8 |  |  | 4,850 |  | 3.5 | 6,062 | 1,212 |
| 34183 | PK CT No. 3 |  | 2.6 |  |  | 268,764 |  | 2.6 | 268,764 | 0 |
| 34283 | PK CT No. 3 |  | 2.9 |  |  | 33,721 |  | 2.9 | 33,721 | 0 |
| 34383 | PK CT No. 3 |  | 6.2 |  |  | 2,391,293 |  | 4.6 | 1,774,185 | (617,108) |
| 34583 | PK CT No. 3 |  | 3.0 |  |  | 273,577 |  | 3.0 | 273,577 | 0 |
| 34683 | PK CT No. 3 |  | 2.9 |  |  | 12,554 |  | 3.1 | 13,420 | 866 |
| 34184 | PK CT No. 4 |  | 4.3 |  |  | 240,092 |  | 2.4 | 134,005 | (106,087) |
| 34284 | PK CT No. 4 |  | 4.3 |  |  | 92,285 |  | 3.2 | 68,678 | (23,607) |
| 34384 | PK CT No. 4 |  | 4.3 |  |  | 960,159 |  | 4.1 | 915,500 | (44,659) |
| 34584 | PK CT No. 4 |  | 4.3 |  |  | 218,555 |  | 3.9 | 198,225 | (20,330) |
| 34684 | PK CT No. 4 |  | 4.3 |  |  | 0 |  | 4.3 | 0 | 0 |
| 34185 | PK CT No. 5 |  | 4.3 |  |  | 240,550 |  | 2.4 | 134,261 | (106,289) |
| 34285 | PK CT No. 5 |  | 4.3 |  |  | 87,469 |  | 3.4 | 69,162 | (18,307) |
| 34385 | PK CT No. 5 |  | 4.3 |  |  | 891,101 |  | 3.9 | 808,208 | (82,893) |
| 34585 | PK CT No. 5 |  | 4.3 |  |  | 216,502 |  | 3.9 | 196,362 | (20,140) |
| 34685 | PK CT No. 5 |  | 4.3 |  |  | 0 |  | 4.3 | 0 | 0 |
| 34687 | Polk Amortizable Tools |  | 14.3 |  |  | 138,511 |  | 14.3 | 138,511 | 0 |
|  | PHILLIPS STATION |  |  |  |  |  |  |  |  |  |
| 34128 | Phillips Station |  | 3.4 |  |  | 322,374 |  | 0.0 | 0 | (322,374) |
| 34228 | Phillips Station |  | 3.0 |  |  | 703,076 |  | 0.0 | 0 | (703,076) |
| 34328 | Phillips Station |  | 3.7 |  |  | 772,221 |  | 0.0 | 0 | (772,221) |
| 34528 | Phillips Station |  | 3.5 |  |  | 206,059 |  | 0.0 | 0 | (206,059) |
| 34628 | Phillips Station |  | 4.2 |  |  | 27,428 |  | 0.0 | 0 | (27,428) |
|  | CITY OF TAMPA |  |  |  |  |  |  |  |  |  |
| 34390 | City of Tampa Partnership |  | 4.5 |  |  | 292,435 |  | 4.3 | 279,438 | (12,997) |
|  | TRANSMISSION PLANT |  |  |  |  |  |  |  |  |  |
| 350.01 | Land Rights |  | 2.3 |  |  | 215,643 |  | 1.3 | 121,885 | (93,758) |
| 352.00 | Structures and Improvements |  | 2.3 |  |  | 146,509 |  | 1.7 | 108,289 | (38,220) |
| 353.00 | Station Equipment |  | 2.5 |  |  | 6,046,432 |  | 2.3 | 5,562,718 | (483,714) |
| 354.00 | Towers and Fixtures |  | 2.4 |  |  | 102,591 |  | 2.3 | 98,316 | (4,275) |
| 355.00 | Poles and Fixtures |  | 4.4 |  |  | 7,480,757 |  | 3.6 | 6,120,619 | (1,360,138) |
| 356.00 | Overhead Conductors and Devices |  | 3.7 |  |  | 4,899,126 |  | 2.8 | 3,707,446 | (1,191,680) |
| 356.01 | Clearing Rights-of-Way |  | 2.0 |  |  | 42,212 |  | 2.0 | 42,212 | 0 |
| 357.00 | Underground Conduit |  | 1.7 |  |  | 60,066 |  | 1.8 | 63,599 | 3,533 |
| 358.00 | Underground Conductors and Devices |  | 2.4 |  |  | 168,222 |  | 2.3 | 161,213 | (7,009) |
| 359.00 | Roads and Trails |  | 2.2 |  |  | 116,617 |  | 1.5 | 79,512 | (37,105) |
|  | DISTRIBUTION PLANT |  |  |  |  |  |  |  |  |  |
| 361.00 | Structures and Improvements |  | 2.4 |  |  | 61,052 |  | 1.8 | 45,789 | (15,263) |
| 362.00 | Station Equipment |  | 2.5 |  |  | 4,929,104 |  | 2.4 | 4,731,940 | (197,164) |
| 364.00 | Poles, Towers and Fixtures |  | 4.7 |  |  | 11,037,882 |  | 4.4 | 10,333,336 | (704,546) |
| 365.00 | Overhead Conductors and Devices |  | 3.3 |  |  | 7,653,292 |  | 3.1 | 7,189,456 | (463,836) |
| 366.00 | Underground Conduit |  | 2.0 |  |  | 3,285,685 |  | 1.8 | 2,957,116 | (328,569) |
| 367.00 | Underground Conductors and Devices |  | 3.2 |  |  | 6,786,654 |  | 3.0 | 6,362,488 | (424,166) |
| 368.00 | Line Transformers |  | 4.2 |  |  | 18,137,415 |  | 4.4 | 19,001,102 | 863,687 |
| 369.00 | Overhead Services |  | 3.1 |  |  | 2,278,231 |  | 3.4 | 2,498,705 | 220,474 |
| 369.02 | Underground Services |  | 3.3 |  |  | 3,728,766 |  | 2.8 | 3,163,802 | (564,964) |
| 370.00 | Meters |  | 6.3 |  |  | 4,632,788 |  | 7.2 | 5,294,614 | 661,826 |
| 373.00 | Street Lighting and Signal Systems |  | 5.2 |  |  | 8,512,222 |  | 5.4 | 8,839,615 | 327,393 |
|  | GENERAL PLANT |  |  |  |  |  |  |  |  |  |
| 390.00 | Structures & Improvements |  | 3.5 |  |  | 2,830,521 |  | 2.3 | 1,860,057 | (970,464) |
| 397.25 | Comm. Equipment |  | 6.9 |  |  | 1,563,715 |  | 5.3 | 1,201,114 | (362,601) |
| TRANSPORTATION EQUIPMENT |  |  |  |  |  |  |  |  |  |  |
|  |  | Energy Delivery |  |  |  |  |  |  |  |  |
| 392.02 |  | Light Trucks |  |  | 12.6 | 642,591 |  | 5.2 | 265,196 | (377,395) |
| 392.03 |  | Heavy Trucks |  |  | 5.9 | 1,075,610 |  | 5.1 | 929,764 | (145,846) |
| 392.04 |  | Medium Trucks |  |  | 7.8 | 69,427 |  | 6.6 | 58,746 | (10,681) |
|  |  | Energy Supply |  |  |  |  |  |  |  |  |
| 392.12 |  | Light Trucks |  |  | 8.5 | 126,156 |  | 6.6 | 97,957 | (28,199) |
| 392.13 |  | Heavy Trucks |  |  | 5.9 | 30,651 |  | 3.7 | 19,222 | (11,429) |
| 392.14 |  | Medium Trucks |  |  | 5.7 | 10,688 |  | 3.3 | 6,188 | (4,500) |
|  |  | GENERAL PLANT AMORTIZED |  |  |  |  |  |  |  |  |
| 391.01 |  | Office Furniture and Equipment |  |  | 14.3 | 682,258 |  | 14.3 | 682,258 | 0 |
| 391.02 |  | Computer Equipment - Work Stations |  |  | 25 | 3,647,936 |  | 25.0 | 3,647,936 | 0 |
| 391.03 |  | Data Handling Equipment |  |  | 14.3 | 85,778 |  | 14.3 | 85,778 | 0 |
| 391.04 |  | Computer Equipment - Mainframe |  |  | 20 | 688,941 |  | 20.0 | 688,941 | 0 |
| 393.00 |  | Stores Equipment |  |  | 14.3 | 0 |  | 14.3 | 0 | 0 |
| 394.00 |  | Tools, Shop and Garage Equipment |  |  | 14.3 | 1,416,957 |  | 14.3 | 1,416,957 | 0 |
| 395.00 |  | Laboratory Equipment |  |  | 14.3 | 0 |  | 14.3 | 0 | 0 |
| 396.00 |  | Power Operated Equipment |  |  | 14.3 | 1,190 |  | 14.3 | 1,190 | 0 |
| 397.00 |  | Communication Equipment |  |  | 14.3 | 2,078,135 |  | 14.3 | 2,078,135 | 0 |
| 398.00 |  | Miscellaneous Equipment |  |  | 14.3 | 63,665 |  | 14.3 | 63,665 | 0 |
|  |  | Totals |  |  |  | Current Expenses |  |  | Proposed Expenses | Difference |
|  |  | TOTAL TRANS., DIST., & GEN. PLANT |  |  |  | 105,335,485 |  |  | 99,586,876 | (5,748,609) |
|  |  | TOTAL PRODUCTION PLANT |  |  |  | 115,823,651 |  |  | 125,818,334 | 9,994,684 |
|  |  | FOSSIL DISMANTLEMENT |  |  |  | 1,336,986 |  |  | 1,186,094 | (150,892) |
|  |  | TOTAL PLANT |  |  |  | 222,496,122 |  |  | 226,591,304 | 4,095,183 |

Order No. PSC-08-0014-PAA-EI, issued January 4, 2008, in Docket No. 070284-EI, In re: Petition for approval of 2007 depreciation study and annual dismantlement accrual amounts by Tampa Electric Company.

Order No. PSC-08-0014-PAA-EI, issued January 4, 2008, in Docket No. 070284-EI, In re: Petition for approval of 2007 depreciation study and annual dismantlement accrual amounts by Tampa Electric Company.

The effect of the dismantlement provision (Issue 4) provides for an overall proposed increase in expense of $4,095,183, as shown in Attachment B.

National Association of Regulatory Utility Commissioners (NARUC), Public Utility Depreciation Practices, 142 (1996).

Order No. 24741, issued July 1, 1991, in Docket No. 890186-EI, In re: Investigation of the Ratemaking and Accounting Treatment for the Dismantlement of Fossil-Fueled Generating Stations.

Order No. PSC-10-0153-FOF-EI, issued March 17, 2010, in Docket No. 090130-EI, In re: 2009 depreciation and dismantlement study by Florida Power & Light Company, and Order No. PSC-10-0458-PAA-EI, issued July 19, 2010, in Docket No. 090319-EI, In re: Depreciation and dismantlement study at December 31, 2009, by Gulf Power Company.

26 USC §§168(f)(2) and (i)(9); 26 USC §167(l); 26 USC §46(f).

Treas. Reg. §1.168; Treas. Reg. §1.167; Treas. Reg. §1.46.

Tax Reform Act of 1986, 1986-3 (Vol.1) C.B. 63,  P.L. 99-514 (100 Stat. 2146) October 22, 1986.

26 USC §46(f)(6).

FASB ASC 740 (Topic 740 of the Financial Accounting Standards Board Accounting Standards Codification). Cross Reference: Accounting for Income Taxes, Statement of Financial Accounting Standards No. 109 (Financial Accounting Standards Board, 1992).