1

1                            BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3       In the Matter of:

DOCKET NO. 110309-EI

4

PETITION TO DETERMINE NEED FOR

5       MODERNIZATION OF PORT EVERGLADES

PLANT, BY FLORIDA POWER & LIGHT

6       COMPANY.

_________________________________/

7

8

9

10

11

12

13

PROCEEDINGS:    COMMISSION CONFERENCE AGENDA

14                       ITEM NO. 5

15       COMMISSIONERS

PARTICIPATING:  CHAIRMAN RONALD A. BRISÉ

16                       COMMISSIONER LISA POLAK EDGAR

COMMISSIONER ART GRAHAM

17                       COMMISSIONER EDUARDO E. BALBIS

COMMISSIONER JULIE I. BROWN

18

19       DATE:           Tuesday, March 27, 2012

20

PLACE:          Betty Easley Conference Center

21                       Room 148

4075 Esplanade Way

22                       Tallahassee, Florida

23       REPORTED BY:    JANE FAUROT, RPR

Official FPSC Reporter

24                       (850) 413-6732

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1                      P R O C E E D I N G S

2                 CHAIRMAN BRISÉ:  All right.  Mr. Graves.

3                 MR. GRAVES:  Good morning, Commissioners.

4                 Item 5 is staff's recommendation regarding

5       Florida Power and Light's petition to determine the

6       need for modernization of its Port Everglades plant, or

7       PEEC as I will refer to it.  PEEC involves the

8       construction of a combined cycle power plant with a

9       summer capacity of 1277 megawatts.  PEEC is scheduled

10       to go into service in June of 2016.  The conversion

11       will replace four 1960s era generating units at FPL's

12       Port Everglades site in Broward County.

13                 On February 13th, the Commission issued a

14       prehearing order which contained a proposed stipulation

15       for each issue addressed in staff's recommendation.  On

16       February 14th, the Florida Industrial Power Users Group

17       intervened in this docket, and on February 20th the

18       Commission held a public hearing.  After giving

19       consideration to all the evidence introduced, staff was

20       not persuaded to move from the language contained in

21       the proposed stipulation.  As such, staff is

22       recommending approval of FPL's petition.  Staff is

23       available for questions.

24                 CHAIRMAN BRISÉ:  Commissioner Balbis.

25                 COMMISSIONER BALBIS:  Thank you, Mr.

FLORIDA PUBLIC SERVICE COMMISSION

3

1       Chairman.

2                 And I'd like to ask staff one or two

3       questions and then kind of walk down how I addressed

4       this issue, or the issues associated with this docket.

5                 And for staff, other than the fact that FPL

6       is decommissioning the existing facility which equals,

7       you know, approximately 1300 megawatts, the need for

8       this facility is primarily the expiration of two

9       purchased power agreements, correct?

10                 MR. GRAVES:  That is a driver of the need is

11       the expiration of those purchased power agreements.

12       They are also entering into wholesale agreements and

13       you also have load growth, as well, Commissioner.

14                 COMMISSIONER BALBIS:  Okay.  So let's focus

15       on the expiration of those agreements.  One of them is,

16       I believe, 931 megawatts purchased from Southern

17       Company, and another 375 megawatts from JEA.  And why

18       wouldn't Florida Power and Light simply extend those

19       agreements?

20                 MR. GRAVES:  Based on their response,

21       extension of those agreements is no longer

22       cost-effective for their customers.  And two of those

23       purchases are from natural gas plants located in

24       Georgia, so you are essentially having gas generation

25       being transmitted from Georgia to FPL's load center in

FLORIDA PUBLIC SERVICE COMMISSION

4

1       Broward, whereas the PEEC conversion project puts that

2       generation right there in their load center.

3                 COMMISSIONER BALBIS:  Okay.  So the extension

4       of those contracts is not cost-effective, so now

5       looking at -- and I guess this is more for my fellow

6       Commissioners -- the other options that Florida Power

7       and Light has had for this project has been addressed

8       in their application, primarily looking at a greenfield

9       combined cycle plant somewhere else, looking at a step

10       increase in additional generation, which I believe

11       FIPUG has proposed, and also returning the existing

12       facility back to service.

13                 So with all of those three other options, I

14       believe the cost savings range from 425 million to

15       $838 million.  So, you know, we have a need, we have

16       other options that were looked at that were not

17       cost-effective, and then I focused on, okay, well, are

18       there other powers producers out there that can provide

19       this service.  And I mentioned this during the hearing

20       in that -- I believe it was August we moved forward

21       with a waiver of the RFP process that was not

22       contested, there were no intervenors in the case, and

23       since that time FPL has not received any offers to

24       generate this power.  So we have a clear need, we have

25       different alternatives addressed and were determined

FLORIDA PUBLIC SERVICE COMMISSION

5

1       weren't as cost-effective as this project, and so now I

2       looked at, well, what about looking at the reserve

3       margin criteria.  And looking closely at that, and I

4       think there is a little bit of a misconception out

5       there, and I talked to staff about this in the language

6       of the recommendation on the reserve margin including,

7       you know, primarily DSM with the reserve margin, but it

8       actually is not only DSM, but interruptible load, or

9       voluntary customers being put on a program where they

10       can have their service terminated during peak demands.

11       So I don't believe that relying on interruptible load

12       as part of your reserve margin and lapsing and

13       decreasing that reserve margin is appropriate at this

14       time for this case.

15                 So I just want to point out a couple of the

16       thoughts I had on this project.  I think that

17       alternatives have been looked at.  I think that this is

18       the most cost-effective option, and I agree with

19       staff's recommendation, but I look for other

20       Commissioners' comments on this.

21                 CHAIRMAN BRISÉ:  Commissioner Brown.

22                 COMMISSIONER BROWN:  Thank you.

23                 I have just one question for staff regarding

24       what this Commission can do if the actual costs exceed

25       the estimated costs for the project?

FLORIDA PUBLIC SERVICE COMMISSION

6

1                 MR. BALLINGER:  Commissioner Brown, that

2       would come up at the time that FPL requests cost

3       recovery, which would be at a rate case, or if there is

4       another separate proceeding to look at possible

5       recovery through a clause.  At that juncture, the

6       Commission actually can't deny any costs that were not

7       prudently incurred.  So even if the costs estimates

8       were equal to what was here, if we found some

9       imprudently incurred costs, let's say some contractor

10       issues or something of that nature, or some

11       expenditures rolled in that really weren't appropriate,

12       they could be disallowed.  So, again, it's a basic

13       prudence review at the time of cost-recovery.

14                 COMMISSIONER BROWN:  And other than this

15       annual report that FPL is going to submit to the

16       Commission, how can we continue to monitor, I guess,

17       the cost-effectiveness of the project?

18                 MR. GRAVES:  We would take that opportunity

19       to do that through that report and we could issue

20       discovery in the ten-year site plan, as well, in the

21       ten-year site plan workshop.

22                 CHAIRMAN BRISÉ:  Thank you, Commissioner

23       Brown.

24                 One question.  When this item originally came

25       up it came up as a stipulation, and what difference is

FLORIDA PUBLIC SERVICE COMMISSION

7

1       there in the recommendation with respect to what was

2       looked at within the stipulation, and what impact, if

3       any, did the briefs from FIPUG have or change anything

4       with respect to the recommendation that we have before

5       us today?

6                 MR. GRAVES:  Our recommendation statement and

7       our conclusions remain the same as what was in the

8       stipulation.  Most of FIPUG's arguments staff had

9       already addressed through discovery, and you'll see

10       that a lot on Page 21 where we ask for a lot of

11       economic analyses to be performed by FPL.  So the only

12       difference is really the amount of analysis that went

13       into our recommendation, but the statements and the

14       conclusions remain the same.

15                 CHAIRMAN BRISÉ:  Okay.  All right.  At this

16       time -- I'm trying to see if there's any further

17       comments.

18                 Commissioner Edgar.

19                 COMMISSIONER EDGAR:  Thank you, Mr. Chairman.

20                 I would just add to the discussion that

21       having reviewed the material, the stipulation prior to,

22       of course, the material during the hearing that we had,

23       I am comfortable that this project represents benefits

24       to the grid and to consumers and also has some

25       indirect, perhaps, modernization and environmental

FLORIDA PUBLIC SERVICE COMMISSION

8

1       benefits, and I will be supporting the staff

2       recommendation.

3                 CHAIRMAN BRISÉ:  Okay.

4                 Commissioner Balbis.

5                 COMMISSIONER BALBIS:  Thank you, Mr.

6       Chairman.

7                 And if it's appropriate at this time I would

8       move staff's recommendation on all issues for this

9       docket.

10                 COMMISSIONER GRAHAM:  Second.

11                 CHAIRMAN BRISÉ:  All right.  It has been

12       moved and seconded.  All in favor say aye.

13                 (Vote taken.)

14                 CHAIRMAN BRISÉ:  All right.  Seeing that

15       positive outcome, we are moving on to Item Number 6.

16                           * * * * * *

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

9

1       STATE OF FLORIDA   )

2                          :     CERTIFICATE OF REPORTER

3       COUNTY OF LEON     )

4

I, JANE FAUROT, RPR, Chief, Hearing Reporter

5       Services Section, FPSC Division of Commission Clerk, do

hereby certify that the foregoing proceeding was heard

6       at the time and place herein stated.

7             IT IS FURTHER CERTIFIED that I

stenographically reported the said proceedings; that

8       the same has been transcribed under my direct

supervision; and that this transcript constitutes a

9       true transcription of my notes of said proceedings.

10             I FURTHER CERTIFY that I am not a relative,

employee, attorney or counsel of any of the parties,

11       nor am I a relative or employee of any of the parties'

attorney or counsel connected with the action, nor am I

12       financially interested in the action.

13             DATED THIS 30th day of March, 2012.

14

15

___________________________________________

16                         JANE FAUROT, RPR

Official FPSC Hearings Reporter

17                          (850) 413-6732

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION