1

1                            BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3       In the Matter of:

4                                          DOCKET NO. 110264-WS

5       APPLICATION FOR INCREASE IN WATER

AND WASTEWATER RATES IN PASCO

6       COUNTY BY LABRADOR UTILITIES, INC.

___________________________________/

7

8

9

10

11

12

13

14

PROCEEDINGS:    COMMISSION CONFERENCE AGENDA

15                       ITEM NO. 9

16       COMMISSIONERS

PARTICIPATING:  CHAIRMAN RONALD A. BRISÉ

17                       COMMISSIONER LISA POLAK EDGAR

COMMISSIONER ART GRAHAM

18                       COMMISSIONER EDUARDO E. BALBIS

COMMISSIONER JULIE I. BROWN

19

20       DATE:           Tuesday, March 27, 2012

21

PLACE:          Betty Easley Conference Center

22                       Room 148

4075 Esplanade Way

23                       Tallahassee, Florida

24       REPORTED BY:    JANE FAUROT, RPR

Official FPSC Reporter

25                       (850) 413-6732

FLORIDA PUBLIC SERVICE COMMISSION

2

1                      P R O C E E D I N G S

2                 CHAIRMAN BRISÉ:  Good afternoon.  We are

3       reconvening this afternoon, and we're going to begin

4       with Issue 9, Docket Number 110264-WS.  And if I

5       understand properly, we have participation from some

6       individuals in the public, but we will let staff

7       provide some direction.

8                 MR. SPRINGER:  Good afternoon, Commissioners.

9       I'm Michael Springer with Commission staff.

10                 Item 9 is staff's recommendation regarding

11       the application for increase in water and wastewater

12       rates in Pasco County by Labrador Utilities,

13       Incorporated.  Staff has an oral modification which has

14       been previously provided to the Commissioners and all

15       parties.

16                 The Office of Public Counsel, the utility,

17       Forest Lake's Co-op, as well as the customers are here

18       to address the Commission.  Staff is prepared to answer

19       any questions the Commission may have.

20                 CHAIRMAN BRISÉ:  Thank you very much.

21                 MR. HILL:  And, Mr. Chairman, if I may.  Mr.

22       Rehwinkel on behalf of the Public Counsel has a list of

23       the customers that wish to speak.

24                 CHAIRMAN BRISÉ:  Thank you.

25                 All right.  At this time I think it would be

FLORIDA PUBLIC SERVICE COMMISSION

3

1       appropriate to hear from the public first, and we are

2       going to do that.  Here are the instructions.  We are

3       going to allot three minutes per individual, and when

4       you are up speaking, please be sure to state your name

5       so that we have that information.

6                 The lights, the green light means you are in

7       good condition to keep on talking.  When the yellow

8       light comes on, then it's time for you to probably

9       begin to wrap it up.  When the red light comes on you

10       should stop speaking.  If it's blinking, the podium is

11       probably going to start shaking and moving, so it's

12       time for you to leave that area.  But in all

13       seriousness, when the light starts blinking you should

14       have stopped.

15                 I'll give you a second.  Mr. Rehwinkel is

16       going to call you up to provide -- I mean, actually

17       call you up to speak, and we trust that you will adhere

18       to the order that he calls you up in.  And we trust

19       that you will avoid making noises, and booing, or any

20       type of thing of that nature.

21                 We see that you have signs.  You are

22       definitely welcome to raise your signs to express

23       whatever is on your mind, and that is perfectly

24       reasonable with us.  However, we trust that you will

25       respect the proceeding by not making audible noises.

FLORIDA PUBLIC SERVICE COMMISSION

4

1                 Okay.  Yes.

2                 MR. REILLY:  One small request.  These people

3       have come a long way, and I did tell them of the

4       Chairman's willingness to have them speak and

5       accommodate them and we do thank you for that.  We had

6       thought there were about 50 people showing up, but we

7       did say whether three minutes or five minutes would be

8       allowed would be kind of depending on how many people

9       actually wanted to get up and speak.

10                 So they kind of elected to tone down the

11       number of people speaking with the hope that we would

12       try to achieve more towards the five minutes.  They

13       have only -- they've picked just seven people to speak,

14       so I was just going to make a request that you might

15       give consideration to broadening it to the five minute

16       leeway instead of the three, since they have kind of

17       agreed to limit the number of people speaking.

18                 CHAIRMAN BRISÉ:  Okay.  I will meet you

19       halfway, so we will do four minutes, okay?  So with

20       that we will do four minutes per individual.  Four

21       times seven is, what, 28, so that will be 28 minutes of

22       public testimony.

23                 So at this time I think we are prepared to

24       move into the public testimony or public participation.

25       I don't know if any of the other parties have something

FLORIDA PUBLIC SERVICE COMMISSION

5

1       that they have to say at this time.

2                 If not, then, Mr. Rehwinkel.

3                 MR. REHWINKEL:  Thank you, Mr. Chairman.

4       Charles Rehwinkel, Deputy Public Counsel.  And I

5       appreciate your leeway.

6                 If I could add one more thing to what

7       Mr. Reilly said.  The first witness that we will call

8       is Beverley Culliford, and I believe she is somewhat

9       designated as more of a spokesperson for the group,

10       although all the witnesses you will hear will be

11       testifying.  So perhaps if she had remarks that went

12       closer to five minutes, others might have less to say,

13       so I would beg your indulgence for some leeway there.

14                 And with that, Mr. Chairman, the Citizens

15       call Beverley Culliford to testify.

16                 CHAIRMAN BRISÉ:  The only thing I would like

17       to add as you come up is that if something has been

18       said already, then please refrain from saying the same

19       exact thing again.

20                        BEVERLEY CULLIFORD

21       appeared as a witness and, swearing to tell the truth,

22       testified as follows:

23                         DIRECT STATEMENT

24                 MS. CULLIFORD:  I'm Beverley Culliford and I

25       am President of the Forest Lake Estates Cooperative.

FLORIDA PUBLIC SERVICE COMMISSION

6

1                 First, I'd like to thank you for giving us

2       the opportunity to express our views on the proposed

3       rate increase by Labrador Utilities for the water and

4       wastewater services provided to our community.  It

5       should have become clear over the course of reading and

6       listening to the tapes from the meeting held at our

7       clubhouse on January 18th that the residents are

8       totally dissatisfied with the quality of service that

9       has been delivered by this utility over many years.

10                 Every two years this utility presents you

11       with a request for an increase of rates without having

12       proven that they have complied with or provided the

13       improvements upon which the last increase was based.

14       The increase executed in November of 2009 was settled

15       at 62.8 percent for water and 26.9 percent for

16       wastewater.  Our objections to this new increase remain

17       the same as previously argued.  The quality of water

18       product and wastewater service is unsatisfactory.  Over

19       the years the residents have made numerous complaints

20       regarding the quality of the water being provided.

21       Residents have to purchase either expensive water

22       filter systems or bottled water to have a drinkable

23       supply.

24                 The operational condition of the wastewater

25       treatment plant facilities are unsatisfactory.  This is

FLORIDA PUBLIC SERVICE COMMISSION

7

1       the worst offender.  The noxious odors which emanate

2       from the plant make the area almost around it

3       unpleasant.  In the last three weeks the stench has

4       been so nauseating that residents within three blocks

5       of the plant could not sit outside and enjoy the great

6       weather.  Walking in that area was not possible as the

7       odor made people ill.

8                 It took ten days for an action to be taken.

9       It appears a feed line to the vioxide (phonetic)

10       malfunctioned.  If there is a person there every day,

11       why did it take so long to repair?  In the memorandum,

12       Labrador states that a swampy area at the back of the

13       community and chicken farms caused the odor.  The

14       chicken farm was closed eight years ago, and the

15       residents on Vele (phonetic) who back upon the wildlife

16       preserve do not experience odor from it.  This is

17       another deflection on their part to own up to their

18       responsibility to maintain a well-run facility.  Our

19       realty company has reported loss of sales because the

20       odors the perspective buyers smell.  They just say no

21       way we're buying in here.

22                 The utility's efforts to address customer

23       concerns are unsatisfactory.  After over ten years of

24       complaints being made and seeing no discernable change,

25       residents have become frustrated at the lack of

FLORIDA PUBLIC SERVICE COMMISSION

8

1       improvement or believing that the utility will make an

2       effort to correct the odors.  The Cooperative has

3       initiated a lawsuit against Labrador Utilities over the

4       failure to properly maintain the system, and this

5       remains within the courts at this time.

6                 The overall service provided by the utility

7       to its customers is unsatisfactory.  We are a captive

8       consumer group.  Even though we are experiencing poor

9       and unsatisfactory service and can see no improvement

10       in the future, we cannot just go out and look for a new

11       facility as would be possible if this were happening in

12       any other area of business.

13                 In an undated letter to customers from

14       Patrick Flynn, it states that the rate increase is so

15       that they, quote, may continue to make the investments

16       that affect the quality of our water and wastewater

17       service, unquote.  Since the last increase there has

18       been no noticeable improvement, even though that was

19       the purpose of that increase.

20                 Three areas of increased costs were quoted,

21       but no substantiating background was given to support

22       the statements.  One mentions the renewal of the water

23       use permit.  When calculated out over the 20-year term

24       of the permit, it is a cost of 1/1000th of a cent per

25       month per customer.  Figures given in the letter are

FLORIDA PUBLIC SERVICE COMMISSION

9

1       understated for the cost of water at $28 and for

2       wastewater at 47 as the actual request is for $42 and

3       $65 respectively.

4                 Florida Statutes allow for a fair return on

5       investment.  In this economy a 10 percent return is not

6       realistic.  Social Security had no increase for two

7       years and in the last year only three percent.  So how

8       do seniors manage if the utilities increase by over

9       25 percent?

10                 A business should be held accountable for the

11       service they provide to their customers.  A business

12       should not be rewarded for poor and unacceptable

13       service.  Labrador Utilities is a business and should

14       be required to provide the services for which they are

15       being paid, not receive an unearned increase.  As one

16       of our signs says, "Service first, then profit."  Thank

17       you.

18                 CHAIRMAN BRISÉ:  Thank you very much.  As you

19       noted -- yes, this would be the time.  Please come

20       back.

21                 COMMISSIONER EDGAR:  I'm so sorry.  I was a

22       little slow on the uptake there, Ms. Culliford.  I did

23       want to ask you one or two questions if that's okay.

24       And thank you for coming today and to those that have

25       joined you to speak to us.

FLORIDA PUBLIC SERVICE COMMISSION

10

1                 In your comments that you have given us, in

2       the written version you opened up with some comments

3       about an odor from a plant, and then you go on to say

4       that the customers are experiencing poor and

5       unsatisfactory service.  Could you elaborate a little

6       bit more on what about the service you or others that

7       you are helping to represent as a customer consider to

8       be unsatisfactory?

9                 MS. CULLIFORD:  Well, when you can't sit

10       outside in Florida, you can't use your lanai because

11       the odor is so strong, and people don't want to walk

12       because the odor is so strong.  I know we have a

13       speaker after me who will be addressing that issue

14       because he lives in that surrounding area, but there

15       does seem to be or has been -- I have been there 22

16       years, and I know they haven't owned it for 22 years,

17       but since they have owned it we have had complaints and

18       we have complained.

19                 And, you know, it gets frustrating.  Who do

20       you go to?  If they don't listen, we move up to the

21       next step.  We have taken what we feel is a very

22       serious step right now as we have issued the lawsuit,

23       because that seems to be the only way that we feel we

24       are going to get attention.

25                 COMMISSIONER EDGAR:  So if I may, to make

FLORIDA PUBLIC SERVICE COMMISSION

11

1       sure that I'm clear, the unsatisfactory service

2       primarily -- in your terms primarily is regarding a

3       very strong odor that is clearly unpleasant and

4       constant.

5                 MS. CULLIFORD:  Yes.

6                 COMMISSIONER EDGAR:  Okay.

7                 MS. CULLIFORD:  And we have a speaker after

8       who will suggest a solution to it.

9                 COMMISSIONER EDGAR:  Thank you.

10                 CHAIRMAN BRISÉ:  Ms. Culliford, don't go yet.

11       I just want to make sure that -- if any of the

12       Commissioners have any questions for you.

13                 All right.  Thank you very much for speaking

14       with us this afternoon.

15                 MS. CULLIFORD:  Thank you.

16                 CHAIRMAN BRISÉ:  Before you move forward, Mr.

17       Rehwinkel, what's going to occur, and we provided a

18       little bit more time for Ms. Culliford, as was

19       requested by Mr. Rehwinkel, but as you come up to

20       speak, when your red light comes on as you saw there,

21       your mike will come off.  So please understand that

22       four minutes is four minutes, okay?  Thank you.

23                 MR. REHWINKEL:  Thank you, Mr. Chairman.  The

24       Citizens call Paul Hannon.

25                           PAUL HANNON

FLORIDA PUBLIC SERVICE COMMISSION

12

1       appeared as a witness and, swearing to tell the truth,

2       testified as follows:

3                         DIRECT STATEMENT

4                 MR. HANNON:  Good afternoon.  My name is Paul

5       Hannon.  I reside at 5842 Naples Drive in Forest Lake

6       Estates in Zephyrhills.  Thank you for allowing me to

7       speak this afternoon in regard to Labrador's rate

8       increase request.

9                 As vice-president of the Forest Lake Estates

10       Non-Shareholders Association, I'm speaking on their

11       behalf.  Our association, locally referred to as FLENS,

12       which is an acronym for our organization, represents

13       547 land tenants in Forest Lake Estates.

14                 Our association is vehemently opposed to the

15       rate increase request by Labrador Utilities for both

16       the water and the wastewater treatment services.  As

17       you are well aware, the Commission is charged with

18       setting rates that are just, reasonable, compensatory,

19       and not unfairly discriminatory.  Labrador by its own

20       definition is obliged to deliver clean reliable water

21       and wastewater services at the lowest possible cost.

22                 First, let's address the just and

23       reasonableness of the requested rates.  In 2009,

24       Labrador requested and was granted a substantial

25       increase.  They claimed they needed the increase so

FLORIDA PUBLIC SERVICE COMMISSION

13

1       that they could update their plant.  Now the utility is

2       back again and seeking an unbelievable 30-plus percent

3       increase in the overall adjustments.  This increase

4       percentage to us sounds neither fair nor reasonable.

5       Using the reasonable person common law principle, which

6       I'm sure you're all familiar, is reasonable 30 percent?

7       We think not.

8                 The reasonable person recognizes that

9       supplies, equipment, and manpower are not static costs

10       and they are subject to change.  However, who among us

11       have experienced 30 percent increases in income, or

12       cost of living adjustments, or what have you?  None of

13       is in our 55-plus community have seen increases in

14       Social Security benefits in 2010 or 2011 and just a

15       modest percentage this year.

16                 The utility would have us believe that

17       operating the plant is at a loss.  We find that

18       unbelievable.  For years Labrador has provided water

19       that can only be described as a cut above common gray

20       water.  It's dishonest for them to call it drinking

21       water.  Our community keeps the Pasco County economy

22       going with its purchase of bottled water, water

23       filtering systems, and other alternatives.

24                 Our association and many of our individual

25       members have filed numerous complaints about the

FLORIDA PUBLIC SERVICE COMMISSION

14

1       services provided by Labrador.  As to wastewater,

2       Labrador has failed miserably.  I walk every morning,

3       and I can tell you when I hit the street where the

4       sewage plant is located it changes from a walk to a

5       run.

6                 We understand that the park management at the

7       co-op has instituted a lawsuit, and this lawsuit has

8       been pending for some time.  Perhaps Labrador could

9       spend their time and money and other resources fixing

10       the problem rather than litigating it.

11                 In summary, we recognize that costs cannot

12       remain stagnant.  We feel, however, that we should only

13       be responsible for the true cost and not for creative

14       accounting tricks, operational and management

15       inefficiencies, and corporate greed.  We also believe

16       that Labrador has not lived up to their obligation to

17       provide good service.  Until Labrador delivers on what

18       a reasonable person could call drinkable water, the

19       Commission should deny their request.  Thank you for

20       the opportunity to speak.

21                 CHAIRMAN BRISÉ:  Thank you, Mr. Hannon.

22                 I don't know if any Commissioners have

23       questions for you.

24                 Okay.  Seeing none, thank you very much.

25                 MR. REHWINKEL:  Mr. Chairman, the Citizens

FLORIDA PUBLIC SERVICE COMMISSION

15

1       call Joseph McDonald.

2                         JOSEPH McDONALD

3       appeared as a witness and, swearing to tell the truth,

4       testified as follows:

5                         DIRECT STATEMENT

6                 MR. McDONALD:  Thank you for allowing me to

7       speak to you today.  My name is Joe McDonald.  I'm a

8       resident of Forest Lake Estates and have been since

9       2007.  I live at 6047 Utopia Drive.  That's the street

10       adjacent to the Labrador sewer plant, and I'm here to

11       ask the Public Service Commission to deny the proposed

12       rate increase.  In particular, I'd like to speak on the

13       odor emanating from the Labrador sewer treatment plant.

14                 The odors released by this process are a

15       daily issue.  Some days are better than others, though

16       I believe the days -- the better days are due more to

17       the wind currents than the treatment efficiencies or

18       process control.  On the worse days the odor is

19       suffocating.  From my home relief only comes from

20       leaving.  Closing the house just does not keep the

21       odors out and actually makes us prisoners of the

22       problem.

23                 There are days when the odor travels much

24       farther than my street.  In fact, several nights last

25       week the suffocating odor covered an area several

FLORIDA PUBLIC SERVICE COMMISSION

16

1       hundred homes wide reaching all the way to the lake

2       five streets over.  Calls for help went unanswered for

3       three days as Labrador had no personnel on weekend

4       duty.  Their 800 number was actually out of service for

5       a week.

6                 This problem is persistent.  It has been

7       going on for so long that homeowners are leaving.

8       Please consider this:  On Utopia Drive in the area

9       adjacent to the plant there are 23 building lots.  On

10       those lots are 20 homes.  Of those, seven homes are or

11       were for sale representing 35 percent of the homes in

12       that area.  Adding in the three undeveloped lots, that

13       represents 43 percent of the lots in that area on which

14       people don't want to build or want to sell and move

15       out.

16                 By way of comparison, the entire Forest Lake

17       community has 894 lots of which 83 are for sale

18       representing only 9.8 percent homes for sale, compared

19       with 43 percent in the area of the sewer treatment

20       plant.  And keep in mind that of all these lots there

21       are only four undeveloped lots.  Three of those are

22       right on Utopia adjacent to the sewer treatment plant.

23                 People won't buy here; people won't build

24       here, and a significant number of those there want to

25       sell and leave.  And it's all because of this terrible

FLORIDA PUBLIC SERVICE COMMISSION

17

1       odor coming from this treatment process.  As you

2       deliberate this rate increase, please consider that

3       approving a rate increase will be, in effect, approving

4       the status quo as acceptable when it simply is not.

5       Our community has been patient.  We've requested

6       meetings and filed complaints.  We have even filed a

7       suit to force Labrador to provide adequate services for

8       the rates already in effect, yet over all these years

9       we have made no progress in getting Labrador to address

10       the issue.

11                 With all due respect, please send Labrador

12       packing.  They can fix the system if they choose to;

13       they can come back to the Commission for rate

14       adjustments once the problem is solved.  But I think

15       it's just not right, it's not fair, and it's not

16       appropriate to award a significant rate increase for

17       this system that is not working.  Please join us in our

18       efforts to insist on quality sewage treatment for the

19       residents of Forest Lake who are entirely at your

20       mercy.  Our only real avenue for forcing Labrador to

21       address this problem is your denial of these requested

22       rate increases.

23                 Thank you very much.

24                 CHAIRMAN BRISÉ:  Thank you, Mr. McDonald.

25                 I don't know if Commissioners have any

FLORIDA PUBLIC SERVICE COMMISSION

18

1       questions for Mr. McDonald?

2                 Thank you very much, Mr. McDonald.

3                 MR. REHWINKEL:  Mr. Chairman, the Citizens

4       next call Eva Rush.

5                             EVA RUSH

6       appeared as a witness and, swearing to tell the truth,

7       testified as follows:

8                         DIRECT STATEMENT

9                 MS. RUSH:  I've Eva Rush, Forest Lake

10       Estates, where I have lived almost 20 years.  First, I

11       want to say thank you for giving of your time to listen

12       to us.

13                 In the last ten years with the utilities

14       being sold to private concerns, I have watched prices

15       go from $15 to $92.04 interim rates for 3,000 gallons

16       of water.  In that time, water to drink has gotten

17       worse and the sewer, at times the smell is horrendous.

18       I show to you just as a small amount of work done

19       during these years and to date to try to appeal to

20       somebody that will help us.  This is what Paul -- this

21       is very minor.  I have boxes and boxes at home of

22       letters and everything trying to reach somebody that

23       would help us.

24                 We realize Labrador needs a profit.  We are

25       all business people here, but if my husband and I

FLORIDA PUBLIC SERVICE COMMISSION

19

1       treated our customers in the way that we have been

2       treated, we would not be living in Florida today.  I

3       come to you today not asking, but begging you to give

4       us a fair shake and stop this steamrolling of prices

5       that is killing our park.  Labrador or Utilities

6       Incorporated have gotten their large raises every three

7       to four years, but then by law, which I am well aware

8       of, they take their small raises every year.  Small,

9       yes, but add them up because they never go off our

10       bills.

11                 We have friends and neighbors that are

12       struggling just to live.  For those people that is why

13       this long trip has been made.  We are a very caring

14       people.  Again, I say to you, to all of you for giving

15       this group, I thank you, the opportunity to serve, but

16       I hope you will search deep inside for answers.  Thank

17       you again, and God bless you.

18                 CHAIRMAN BRISÉ:  Ms. Rush.

19                 COMMISSIONER EDGAR:  Thank you.

20                 Ms. Rush, could I ask you a question before

21       you go back to your seat?  I'm right here.

22                 MS. RUSH:  Okay.

23                 COMMISSIONER EDGAR:  Thank you your comments

24       and thank you for coming, but I do have a question.

25                 MS. RUSH:  All right.

FLORIDA PUBLIC SERVICE COMMISSION

20

1                 COMMISSIONER EDGAR:  When you were speaking

2       to us a moment ago you said that you and your husband

3       have been treated poorly by Labrador.  Can you give me

4       a little more information about what type of treatment

5       or what the issue was or is?

6                 MS. RUSH:  Well, I'm talking about the fact

7       of the amount of money that it takes to buy water to

8       drink.  I mean, that water is just terrible.  There is

9       no way that it's fit to drink.  I don't care how they

10       register it, it's not fit to drink.  So, therefore, we

11       are constantly having to buy water, which is a

12       tremendous expense.  It is costing us probably an extra

13       $100 a month, it shouldn't be, and it is just -- now, I

14       will say this, I have called Mike Wilson many, many

15       times, night, day, or anytime, 9:00, 10:00 o'clock at

16       night, who is kind of a manager over our district, and

17       he has gotten right on the phone.  But I call him and I

18       say, "Mike, we cannot stand it."  The smell is

19       horrible.  And they take care of it.

20                 But why, why should we have to be doing this?

21       We have gone to other parks where they have the same

22       systems.  They don't have this, but we do and it's

23       continually getting worse.  The last few weeks has just

24       been horrible all over the park.

25                 COMMISSIONER EDGAR:  And when you say the

FLORIDA PUBLIC SERVICE COMMISSION

21

1       last few weeks it is getting worse, do you mean the

2       odor or taste of the water, or an odor in the air

3       coming perhaps from the plant?

4                 MS. RUSH:  I think I have someone that is

5       getting up to speak on that very -- I left that for

6       him.  I mean, I was the one that was called, but he is

7       the one that has been in that type of work all his life

8       and its the chemicals, and he knows more how to explain

9       it to you if you are willing to wait for him.

10                 COMMISSIONER EDGAR:  Of course.  All right.

11       Thank you.

12                 MS. RUSH:  Thank you.

13                 CHAIRMAN BRISÉ:  Thank you, Ms. Rush.  If you

14       could stay for a while longer.  Commissioner Brown has

15       a few questions for you.

16                 MS. RUSH:  Oh, okay.

17                 COMMISSIONER BROWN:  Thank you.  Thank you,

18       Mrs. Rush, for coming out and speaking to us.  You

19       stated that you have been in this community for

20       20 years, you have lived --

21                 MS. RUSH:  I can't understand what she's

22       saying.  Twenty years.

23                 COMMISSIONER BROWN:  Twenty years.  With

24       regard to the wastewater treatment plant facilities, in

25       your time in this community have you noticed an

FLORIDA PUBLIC SERVICE COMMISSION

22

1       escalating problem with the odor or has it been

2       constant throughout your time?

3                 MS. RUSH:  As I said, it was when it was

4       taken over by a private concern that we noticed.  See,

5       it used to be owned when I moved there and for about --

6       I'm going to say ten years now or close -- well, for 13

7       years now the private concerns, I would say, have owned

8       it.  But up until then, no, it wasn't -- I mean, once

9       in awhile you may, but when they took over it has just

10       gone downhill, that's all there is to it.  I don't know

11       how else to tell you.

12                 And I think a lot of it is the way it's taken

13       care of.  And I'm saying that -- when Ed Harrop gets up

14       I think that he will explain what I'm trying to say to

15       you now.  That it's the chemicals.  They're not using

16       enough chemicals.  There for awhile they weren't using

17       chemicals at all.  And, yes, it has just gotten -- in

18       fact, it has gotten horrible within the last few weeks.

19                 COMMISSIONER BROWN:  Thank you.

20                 MS. RUSH:  Am I through?

21                 CHAIRMAN BRISÉ:  All right.  Thank you,

22       Mrs. Rush, for your participation here today.

23                 MR. REHWINKEL:  Mr. Chairman, the Citizens

24       call Edwin Harrop.

25                           EDWIN HARROP

FLORIDA PUBLIC SERVICE COMMISSION

23

1       appeared as a witness and, swearing to tell the truth,

2       testified as follows:

3                         DIRECT STATEMENT

4                 MR. HARROP:  Thank you and good afternoon,

5       and thank you for this opportunity to be able to speak

6       before the board.  My name is Edwin H. Harrop.  I live

7       at 6306 Forest Lake Drive in Forest Lake Estates.  I

8       have been there now for the past six years.  I come

9       from a community up in Massachusetts where I was in

10       public service.  I was a firefighter for 37 years, but

11       during that time I also served on the board of -- the

12       planning board.  I was chairman for 11 years on that

13       board, and I was also a water and sewer commissioner,

14       and I was chairman of that board for nine years.  So I

15       understand the ins and outs of the water systems and

16       the treatment plants.

17                 And as Mrs. Rush said earlier, and I can tell

18       you, as of 5:00 o'clock this morning when I walked by

19       the plant, I had to do the same thing as many other

20       people have said, you had to run by it because the

21       smell was so bad.

22                 Now, if there is an operator there every day

23       of the week, and I understand it's only part-time maybe

24       on Sundays, as soon as he drives in to that plant and

25       gets out of that vehicle he has to know that there is

FLORIDA PUBLIC SERVICE COMMISSION

24

1       something wrong.  They aren't doing something right.

2       They are not either feeding the proper chemicals or the

3       proper amount to eliminate that smell in that plant.

4       And to me his first job would be to go in and find out

5       exactly what's wrong and correct that problem.

6                 Roughly, and I'm going to say I believe it

7       happened around March 9th, as other speakers said,

8       there was a piece of machinery from what I understand

9       that fed the main feeder line going into the sewage,

10       the chemicals, and that piece of machinery was down for

11       nine days.  So everybody in that area, including my

12       street, and I'm one that lives the fifth street over,

13       had to put up with the smell of that facility.  That's

14       unreasonable.

15                 And the answer that we got is, oh, that is

16       subcontracted out to another company, and they will be

17       taking care of it.  That operator should have called

18       that gentleman that day and made sure that somebody was

19       out to take care of that problem that day so the

20       residents didn't have to smell that odor for ten days.

21                 And here's another thing that's very

22       unreasonable, I believe.  There is one other thing that

23       I do have jotted down here, and I was reading your hard

24       copy of your memo, and in there it says that the water

25       quality is satisfactory by DEP with some deficiencies.

FLORIDA PUBLIC SERVICE COMMISSION

25

1       And I couldn't believe it when I looked at the date.

2       March 9th of 2010.  That was two years ago.  Was that

3       the last time that DEP actually made an inspection of

4       that facility?  Where I came from they would walk in at

5       any time and make an inspection, and you had to show

6       them the paperwork that you had and everything in

7       regards to the operation of the plant, the chemicals,

8       and your daily readings and everything.

9                 I can't believe that according to this report

10       that you feel or people that report to you feel that,

11       yes, they should get a rate increase when it's only

12       satisfactory with defects.  That's not acceptable.  And

13       I thank you for your time.

14                 CHAIRMAN BRISÉ:  If you would wait for a few

15       minutes.  I don't know if any Commissioners have

16       questions.  Okay.  Seeing none, thank you very much --

17                 MR. HARROP:  Thank you.

18                 CHAIRMAN BRISÉ:  -- for your participation

19       today.

20                 MR. REHWINKEL:  Mr. Chairman, the Citizens

21       now call Donald Meader.

22                          DONALD MEADER

23       appeared as a witness and, swearing to tell the truth,

24       testified as follows:

25                         DIRECT STATEMENT

FLORIDA PUBLIC SERVICE COMMISSION

26

1                 MR. MEADER:  I'm watching for the light.

2       You've got plenty of testimony.  I keep -- I have done

3       this before at a hearing we had in Zephyrhills at our

4       park, and it just seems repetitious.  I keep thinking

5       what can I say that is different than what anybody else

6       is saying.  So I will just read this very brief -- the

7       comments that I have.

8                 I am not here to dazzle you with numbers, but

9       there are a few pertinent to the dilemma we face in

10       Forest Lake Estates relative to the rate hike sought by

11       Labrador Utilities.  In the last four consecutive

12       years, the same month each year, the water base has

13       actually decreased 1.5 percent.  The water metered rate

14       has increased 50 percent.  The wastewater base has

15       increased 84.3 percent, while the metered rate has gone

16       up 6 percent.

17                 On top of that, as others have addressed, the

18       service from Labrador is abysmal.  The lack of quality

19       water coming into our homes forces most of us to have

20       some sort of filtering system, and we still purchase

21       bottled water for consumption.  The treatment facility

22       for wastewater is a joke.  The notorious odor from the

23       plant is stifling.  It just isn't fair.  And their

24       request for increased rates is not for an increase in

25       service or to improve anything, it's just to maintain

FLORIDA PUBLIC SERVICE COMMISSION

27

1       what already exists.  Something is terribly wrong with

2       this scenario.

3                 Most of the residents in our development are

4       on fixed incomes.  Some haven't seen a cost of living

5       increase in a couple of years.  Any that have been

6       realized is meager at best and nowhere near the 40 to

7       50 percent Labrador is seeking.  We have come here

8       today to ask -- no, beg the Commission to not only deny

9       the rate hike, but to rescind the amount of the interim

10       rate already allowed.  It is the right thing to do.

11       Thank you.

12                 CHAIRMAN BRISÉ:  Mr. Meader, if you would

13       standby.  I don't know if there are any questions from

14       fellow Commissioners.

15                 All right.  Seeing none, thank you very much

16       for your participation today.

17                 MR. REHWINKEL:  Mr. Chairman, the final

18       witness that we have listed is Doug Sage.

19                            DOUG SAGE

20       appeared as a witness and, swearing to tell the truth,

21       testified as follows:

22                         DIRECT STATEMENT

23                 MR. SAGE:  Good afternoon, Commissioners.  My

24       name is Douglas Sage.  I live at 5724 Viau Way in

25       Forest Lake Estates.

FLORIDA PUBLIC SERVICE COMMISSION

28

1                 I have a degree in biology, post-degree work

2       in environmental sciences.  I have a 40-year work

3       history in drinking water and wastewater disposal.  The

4       Department of Environmental Public Services or whatever

5       they call it -- the Environmental Protection Rule

6       Number 62-302.500-2 prohibits producing conditions so

7       as to create a nuisance.  Odor is a nuisance.  That is

8       a definite fact.

9                 The odor coming from the treatment plant is

10       coming out of the extended aeration treatment

11       compartment.  That's where aerobic bacteria break down

12       the sewage.  The important part of sewage is the

13       quality of the sewage, the volume of the sewage, the

14       amount of air that is blown into the chamber, and the

15       amount of sludge in that chamber, and the health of the

16       sewage.

17                 The treatment process in an aeration

18       treatment compartment is done by aerobic bacteria.

19       There's bacteria in the sewage naturally occurring.

20       This bacteria is used to treat the sewage by adding

21       oxygen into that aeration compartment.  The bacteria

22       will increase and the quality of the treatment will

23       improve.  Any condition that harms or destroys the

24       bacteria reduces the quality of the treatment process

25       resulting in a poor quality effluent and an odor.

FLORIDA PUBLIC SERVICE COMMISSION

29

1                 Conditions that harm bacteria are toxic

2       chemicals discharged from sanitary sewer, very unlikely

3       in a senior citizen community like ours; a sharp

4       increase or decrease in the sewage, such as snowbirds

5       coming and going regularly, which happens every spring

6       and fall; too little or too much air being pumped into

7       the chamber, which the operator should know and know

8       how to adjust; too much sludge in the chamber, which

9       the operator can see the build up during routine daily

10       inspections and arrange to have it removed.

11                 It's the job of the operators of the plant to

12       determine the cause of the problem and make the

13       necessary corrections.  The most important thing to do

14       is to get that bacteria in the aeration chamber healthy

15       again.  Many operators use a product called liquid live

16       microorganisms, better known as LLMO.  It is metered in

17       small amounts for a set period of time.  If it is done

18       correctly, which most operators master that art, there

19       will be very little odor for a very short time.

20                 The wastewater treatment plant and the

21       drinking water treatment plant are inspected and

22       monitored by governmental agencies.  Those reports

23       along with the laboratory reports could be used to

24       provide information and is the operator doing a correct

25       job and are the inspectors of the inspecting agencies

FLORIDA PUBLIC SERVICE COMMISSION

30

1       doing a correct job.

2                 Thank you very much for your time.  Are there

3       any questions?

4                 CHAIRMAN BRISÉ:  Mr. Sage, I don't think

5       there are any questions for you at this time.  Thank

6       you very much for your testimony.

7                 MR. SAGE:  Thank you very much.

8                 MR. REHWINKEL:  Mr. Chairman, those are all

9       the witnesses that have signed up at this time.

10                 CHAIRMAN BRISÉ:  Thank you very much.  At

11       this time we are going to see if any of the parties

12       have anything that they would like to add, and then we

13       will have discussion and questions for you.

14                 So, Mr. Friedman.

15                 MR. FRIEDMAN:  Thank you, Mr. Chairman.

16                 Commissioners, my name is Marty Friedman of

17       the law firm of Sundstrom, Friedman, and Fumero.  We

18       represent Labrador Utilities.  Also with me is

19       Mr. Patrick Flynn, who is the regional manager of the

20       utility.  And Mr. Flynn will address some of the

21       comments made by the customers regarding the quality of

22       the service, and I just want to address one or two

23       other issues.  And some of these issues I have

24       discussed previously and fell flat on my face, and so I

25       won't spend a whole lot of time other than just to

FLORIDA PUBLIC SERVICE COMMISSION

31

1       raise them again for the purposes of that.  And that

2       would be -- the first one would be Issue 4, the Project

3       Phoenix adjustments that the staff is recommending for

4       divested systems.  And as I have argued in the past, we

5       believe that is contrary to 367.141(a) and would ask

6       that you follow the statute and not make that arbitrary

7       adjustment.

8                 (Cell phone ring-tone playing.)

9                 CHAIRMAN BRISÉ:  Mr. Friedman, if you would

10       stop for one second.

11                 MR. FRIEDMAN:  I was about to dance.  I heard

12       some music.

13                 CHAIRMAN BRISÉ:  If you have a cell phone,

14       please put it on vibrate or silence or turn it off.  We

15       would certainly appreciate that.

16                 Thank you, Mr. Friedman.  You may continue.

17                 MR. FRIEDMAN:  Thank you.  The other issue

18       that I would like to address is Issue 14, which is rate

19       case expense.  Two aspects of rate case expense, one is

20       that the staff is recommending that the company be

21       allowed no rate case expense for its in-house

22       employees.  And as I have argued in the past, we think

23       that is also an arbitrary adjustment that does not

24       provide full recovery to the utility.  In the past

25       y'all have ignored that argument, and so I'm not going

FLORIDA PUBLIC SERVICE COMMISSION

32

1       to spend a whole lot of time going over that again.

2                 The last aspect of rate case expense is one

3       that is dear to my heart, and that's the legal rate

4       case expense.  And that deals with the arbitrary

5       recommendation that you reduce the legal rate case

6       expense back to what my hourly rate was in 2008.

7       Several problems with that recommendation, not the

8       least of which is that my hourly rate since 2011 has

9       been unchanged.  This Commission has at least six,

10       eight, maybe more than that cases have reviewed my

11       hourly rate and found that that hourly rate is

12       reasonable, and I believe that to make that change and

13       go back and penalize the company in this case when it

14       has found that rate to be reasonable, I don't think

15       that is sound regulatory policy.

16                 The second issue.  In 2008, if you treated

17       the legal expense just like you do any other expense of

18       the company and allow them to index that amount, I went

19       back and I indexed my hourly rate from 2008 forward,

20       and if you indexed the rate, which is the same

21       amount -- I mean, you have got to admit that the

22       company should be able to at least index the amount.

23       So if you agree that the 2008 amount is reasonable and

24       you index that to today's numbers based upon the

25       indexes, the hourly rate is 336.57 an hour, and our

FLORIDA PUBLIC SERVICE COMMISSION

33

1       rate to this company and our utility clients is $340 an

2       hour.  So it's virtually -- if you go back and say 2008

3       ought to be the number, if you indexed it forward you

4       come out with virtually the same hourly rate that we

5       are charging.  And it is our position that reducing it

6       back to our 2008 rate is an arbitrary adjustment that

7       has no support in any regulatory policy, and we would

8       recommend that the Commission not accept that portion

9       of the staff's recommendation on legal rate case

10       expense.

11                 And now I'm going to ask Mr. Flynn to address

12       the quality of service issues, and I would like to

13       obviously have an opportunity to respond.  I know the

14       Co-op has somebody here, and I know that Public Counsel

15       did a handout, so they must be going to say something

16       that I would like an opportunity to respond to.  Thank

17       you very much.

18                 CHAIRMAN BRISÉ:  Sure, you will be afforded

19       that opportunity.

20                 Mr. Flynn.

21                 MR. FLYNN:  Thank you, Commissioners.  I just

22       have a few comments to make known.

23                 One is that I would want to say that we are

24       responsive to customers.  Ms. Rush mentioned the fact

25       that Mike Wilson, my regional manager, has spent many

FLORIDA PUBLIC SERVICE COMMISSION

34

1       hours, many conversations with her on the phone and

2       with other customers who have called with issues.  He

3       has worked diligently, as the rest of my staff has, to

4       identify the sources of odors.  We have a monthly

5       contractor who manages the chemical we use for

6       pretreatment of the wastewater.  He monitors the

7       presence of hydrogen sulfide at the perimeter of the

8       wastewater plant on a programmed way to make sure that

9       we have independent evaluation of any odors.

10                 Hydrogen sulfide gas is actually a measurable

11       thing, so it is a factual opportunity to quantify what

12       might be present or not.  We typically don't have any

13       values of hydrogen sulfide measured at the fence line.

14       We have employees there every day during the week.  A

15       full-time operator, licensed certified operator who is

16       at the plant running the plant on a daily basis.  We

17       have weekend checks, as well, so we are monitoring our

18       equipment.  We have monitoring equipment that tells us

19       if there is a power outage.  If there is an issue with

20       our equipment to some extent we are notified remotely

21       and can respond promptly.

22                 When our DEP inspections occur, they are

23       typically identifying no problems with the plant's

24       performance.  The plant is working as it should.  The

25       sampling that occurs, the results of the sampling

FLORIDA PUBLIC SERVICE COMMISSION

35

1       indicate the plant is performing properly.  The plant

2       is designed properly according to DEP requirements.  We

3       have had visits by DEP inspectors as well as the staff

4       engineer for the PSC was on-site, and to my

5       understanding was not able to say anything was out of

6       norm from what he's aware of.

7                 So from that perspective, the plant is

8       working as it's designed to work.  If there are

9       problems, as evidently there are with odors generated

10       from the plant, I don't believe it's necessarily the

11       case that the plant is the source of those odors

12       solely.  There is nothing to factually identify it is

13       the source off-site other than anecdotal information.

14                 We certainly take interest in customer

15       complaints and are responsive to them.  We want to make

16       sure we make diligent efforts to identify what the

17       causes might be and to fix them, and we have made

18       efforts over the years to improve our odor control

19       facilities to minimize odor carry off the plant site.

20                 We maintain those facilities and we maintain

21       our equipment.  We do know that we had a breakdown of a

22       piece of equipment at a lift station on March 9th, as

23       was mentioned by the customers, and that's a piece of

24       equipment that is actually owned by the vendor and it

25       was obviously necessary for the vendor to be responsive

FLORIDA PUBLIC SERVICE COMMISSION

36

1       to replace that piece of equipment that was not

2       working, a pump.  It's certainly not acceptable that it

3       would take nine days to get fixed.  I'll certainly

4       follow-up after this meeting and find out what the

5       rationale was for that and take corrective action.

6                 But it is interesting that the absence of

7       that chemical pump functioning correlates with odors

8       being generated.  In other words, when the chemical

9       pump was working, which it has for a number of years

10       now in a routine way, it was very effective in odors

11       not being generated at the headworks.  The breakdown of

12       the equipment correlates with odors being generated at

13       the headworks in this month, so there is a correlation

14       there.  Otherwise I just want to make the point that we

15       certainly take into consideration all the customers'

16       concerns and we want to make every effort to identify

17       what sources there might be and to fix them as rapidly

18       as possible.

19                 MR. FRIEDMAN:  And I would point out in

20       conclusion that as the staff has identified in the

21       staff recommendation, Labrador is currently in

22       compliance with all required chemical analysis and met

23       all standards for both its water and wastewater

24       systems.  And, further, that there are no outstanding

25       consent orders or warning letters from DEP with regard

FLORIDA PUBLIC SERVICE COMMISSION

37

1       to this plant.  So in spite of the complaints that may

2       be outstanding that these folks may have made or not to

3       the DEP, DEP has not seen fit to take any necessary

4       enforcement action against the utility.

5                 CHAIRMAN BRISÉ:  Thank you very much.

6                 I don't know if the Commissioners have any

7       questions for Mr. Friedman and Mr. Flynn at this time.

8       If not, we are going to move on to Mr. Bernstein and

9       Mr. McBride from Forest Lake Co-op.

10                 MR. BERNSTEIN:  Thank you, Mr. Chairman and

11       Commissioners.  I appreciate the opportunity to speak

12       here today.

13                 And I would like to say to Mr. Flynn and

14       counsel clearly there is a disconnect here.  There is a

15       huge problem in packing 858 customers, rate-paying

16       customers at Forest Lakes community, and that problem

17       has been addressed repeatedly with Mr. Flynn's company,

18       with attorneys other than Mr. Friedman who are

19       representing this company in a civil action, and by a

20       court order that required an inspection to take place

21       in order to have an independent engineer review this

22       plant, which did take place, and which Mr. Friedman

23       attached to his January 17th submission, his

24       January 17th, 2012 submission to the PSC.

25                 I am going to draw your attention to that in

FLORIDA PUBLIC SERVICE COMMISSION

38

1       a minute, but before I do, I want to respond first to

2       some comments that we just heard from the utility, from

3       Mr. Friedman and also from Mr. Flynn.  Specifically

4       with regard to Mr. Flynn and the issue of

5       responsiveness, yes, there is a person who has been

6       appointed to speak to customers who complain, and as

7       noted by one of the speakers today, there has been some

8       response to complaints when she made them.  However,

9       there have been many that we are aware of, and I'm here

10       representing 850-some-odd customers who have had their

11       complaints and their comments and concerns fall on deaf

12       ears.  And the proof is in the pudding in that the

13       odors continue and the water quality continues to be

14       below grade.

15                 I appreciate him saying that they wish to be

16       responsive and make every effort to fix the problems as

17       they arise.  Those are his words.  But then he goes on

18       in an earlier remark and says any information that they

19       receive as far as odor is anecdotal.  It's not

20       anecdotal when a customer calls or anecdotal when a

21       customer testifies at a hearing like this to the Public

22       Service Commission.  He has just sat and listened to

23       comments from people who have told you that this system

24       doesn't work.  People with degrees, people who come to

25       you based on personal knowledge under oath swearing to

FLORIDA PUBLIC SERVICE COMMISSION

39

1       what they tell you.  For this gentleman to stand here

2       or sit here today and say it is anecdotal is part of

3       the problem we face.  He is delusional.  He honestly

4       believes it's anecdotal, all right?  It's not

5       anecdotal, it's real.  And the fact is that it's

6       getting tiresome.

7                 If you had to live with odors that you could

8       not open your windows and enjoy the Florida air and

9       sunshine because of, you would be here testifying, as

10       well.  And yet the rate increase that is being

11       requested presumably is because of operational expenses

12       and, in part, improvements that have been made to this

13       plant as evidenced in the letter from Mr. Friedman on

14       January 17th.  But that's, again, erroneous and

15       disingenuous because when you look at -- when you look

16       at the letter, which we'll get to the exhibit attached

17       to in a moment, the letter in a nutshell, which I urge

18       you each to reread, again, evidences that actually

19       there is less labor involved than there was when they

20       took over the plant.  There have been no material

21       improvements made to the plant.  There has been nominal

22       amounts of dollars spent on the plant, if any.  And

23       actually there has been every attempt to lower the

24       expense of operation, which is completely juxtaposed to

25       requesting a rate increase because they don't wish to

FLORIDA PUBLIC SERVICE COMMISSION

40

1       spend the money to correct the problems.

2                 To suggest, again, that it is anecdotal flies

3       in the face of an exhibit that is attached to the

4       letter which was done by a licensed engineering firm,

5       one of the most preeminent firms available as a result

6       of the civil litigation between the parties, and as

7       part of the record you can read it, but I'm going to

8       summarize for brevity simply the conclusion that was

9       reached.

10                 This particular inspection of the plant took

11       place with the utility present, the utility and counsel

12       present.  And in the conclusion the engineering firm

13       states that based on our review there is overwhelming

14       evidence that the operations of the wastewater

15       collection treatment and disposal facility to serve

16       Forest Lake Estates have the potential to generate

17       significant malodorous conditions in the community and

18       that a comprehensive odor control evaluation and

19       improvement program is needed to mitigate the odor

20       issues with the LUI facilities.

21                 In other words, they concluded correctly in

22       2011, September 27, 2011, that a comprehensive odor

23       control improvement program is needed to mitigate the

24       odor issues.  Within weeks of this coming out, and it

25       being in counsels' hands and the utility company's

FLORIDA PUBLIC SERVICE COMMISSION

41

1       hands, the utility seeks a rate increase of

2       30-something percent.  Nowhere in the request does it

3       speak of undertaking the evaluation and the improvement

4       program that is necessary to fix this problem.  It's

5       simply for profit.  It has nothing to do with fixing

6       the problem.  And this is a system that serves one

7       community.  It doesn't serve many other communities.

8       We are not dealing with rate bands and issues that

9       cloud the picture here.  We are dealing with a very

10       straightforward situation.  One system, one utility,

11       one community of 850-plus users, and one very

12       significant ongoing systematic failure of this system

13       which is fixed very easily apparently, not

14       inexpensively, but easily fixed and has simply been

15       ignored.

16                 Comments like anecdotal information in the

17       face of having professional evaluations court ordered

18       from engineers, hearing their own customers in front of

19       the Public Service Commission, being hit with pleadings

20       and motions which directly support the position that

21       there is a problem here flies in the face of being

22       genuine.  It is very disingenuine and the Commission

23       should not be swayed or misled by it.

24                 If there is, as Mr. Flynn says, a genuine

25       concern to use every effort to fix the problem, I ask

FLORIDA PUBLIC SERVICE COMMISSION

42

1       the Public Service Commission to hold them to it.  Make

2       them fix it.  And part of -- you know, when you are

3       looking -- if you are going to look at a rate increase,

4       he needs to consider what he needs to do with the funds

5       to take care of it.  You should be investigating why

6       this hasn't been done before you would consider a rate

7       increase here, because it has been going on for two

8       years.

9                 We had to file a civil suit in order to get

10       this engineering report done.  Within weeks of it there

11       was a rate increase request made of the court order to

12       go forward on this.  Now following that, we find out

13       that they haven't even paid their lease payments under

14       the lease which gives rise to the right to use this

15       system.  There is a long-term lease on this property

16       which is what gives the PSC Commission jurisdiction

17       over this utility.  As you know, there has to be an

18       interest in land, minimum of a 99-year lease, or

19       easement, or long-term agreement, or ownership in order

20       for the certificate to be issued under the Florida

21       Administrative Code and for them to have jurisdiction.

22                 Well, you know, it's interesting.  You would

23       think that they would make the lease payments without

24       any issues and know that those lease payments are made

25       in order to come before the Commission for a rate

FLORIDA PUBLIC SERVICE COMMISSION

43

1       increase.  Since June of 2011, there were issues

2       regarding the lease payments.  In August a demand

3       letter was sent that was ignored.  In January, a second

4       demand was made and a subsequent complaint was filed, a

5       civil suit was filed in February, February 29th,

6       regarding the failure of honoring the lease, which, in

7       turn, gave rise under Florida law to a termination of

8       that lease, and the community has taken steps to

9       terminate that lease.

10                 In response to the nonpayment, Mr. Flynn's

11       company quickly tried to cure the defaults and make the

12       payments, albeit late, and it's not insignificant to

13       note that it required a legal process before that

14       occurred, and then sought an injunction against the

15       community for pursuing their legal rights and that

16       injunction was denied.  The court essentially saying,

17       and the PSC should note, that the claim they were

18       making to enjoin enforcement of the lease did not have

19       merit.  They could not have an injunction against us to

20       prohibit us from terminating the lease.  And so we are

21       in the court over the issue of whether there is even a

22       valid lease now.

23                 The reason I point this out to you is because

24       there is a pending motion before you as to whether you

25       have even jurisdiction over this today, and whether you

FLORIDA PUBLIC SERVICE COMMISSION

44

1       consider that or not at this time it needs to be

2       considered.  All right.  So I leave you with that.  I

3       appreciate your wish to move on, and I hope that you

4       will look back at the letters that were filed by Mr.

5       Friedman, the engineering report, and the conclusion

6       that was reached that contradict the statements made

7       here by Mr. Friedman and his client that there is no

8       problem at this plant.

9                 Thank you for your time.

10                 CHAIRMAN BRISÉ:  Thank you.

11                 Commissioner Edgar.

12                 COMMISSIONER EDGAR:  Thank you, Mr. Chairman.

13                 Perhaps legal counsel who was just addressing

14       us may have been reading my mind just there for a

15       moment.  A number of points have been raised that I

16       know I will have some questions about.  I'm sure most

17       of us will.  I did wonder if perhaps we were getting a

18       little far afield from those issues that are before us

19       today, and perhaps even within our jurisdiction, and

20       that's the point I was going to raise for

21       consideration.

22                 Mr. Chairman, just a suggestion.  If you are

23       amenable, I would like to hear some general comments

24       from OPC, as we have, and then before we get into some

25       of the meat of the issues and discussion, if you would

FLORIDA PUBLIC SERVICE COMMISSION

45

1       indulge -- I would like to ask for maybe five or ten

2       minutes to go over my notes and get my questions in

3       order a little bit, and that would maybe help me be a

4       little more concise.

5                 CHAIRMAN BRISÉ:  Okay.  Now we will hear from

6       the Office of Public Counsel.

7                 Mr. Reilly.

8                 MR. REILLY:  Thank you very much, Chairman

9       Brisé and Commissioners.  Steve Reilly with the Office

10       of Public Counsel.  Also appearing today is Tricia

11       Merchant.

12                 I would offer just a brief comment on the

13       quality of service issue.  We, of course, share the

14       grave concern of the customers on the quality of

15       service issue.  We don't have an answer for this

16       disconnect between what the company has been doing and

17       the fact that the product is still very deficient from

18       the customers' standpoint, both in terms of water and

19       wastewater.  Obviously, if the PAA order that is

20       produced today is protested by either side, that is

21       something certainly the Public Counsel would be

22       exploring very thoroughly to try to understand the

23       problem a little better and maybe, perhaps, make

24       recommendations to this Commission concerning how we

25       might be able to go forward in a better way on that

FLORIDA PUBLIC SERVICE COMMISSION

46

1       issue.

2                 I would add that Public Counsel today would

3       like to offer some comments on just four issues that we

4       take exception to of staff's recommendation.  They are

5       Issue 6 relating to the used and useful of the

6       wastewater treatment plant; Issue 11, the O&M expense

7       related to the tank maintenance and repair; Issue 13,

8       adjustments to O&M expenses; and Issue 14, a few

9       comments on rate case expense.  I was going to handle

10       briefly the used and useful issue, and Ms. Merchant is

11       prepared to make some comments on those other three

12       issues.

13                 Concerning the used and useful issue, we do

14       disagree with the recommendation that the wastewater

15       treatment plant -- that is the only component that we

16       have a problem with -- is that the wastewater treatment

17       plant should be considered 100 percent used and useful.

18       When you apply the Commission's used and useful rule to

19       calculate the plant's percentage, it produces a

20       37 percent used and useful.  All of the parties, the

21       utility, staff, and OPC all agree that under the rule's

22       normal comparison of the plant capacity to the plant

23       flows results in a used and useful percentage of 37

24       percent.  Nevertheless, the utility requested that the

25       plant be, quote, unquote, considered or deemed

FLORIDA PUBLIC SERVICE COMMISSION

47

1       100 percent used and useful for three reasons, and

2       those three reasons can be found on Schedule F6, Page 1

3       of 2.

4                 Their first reason is that a plant

5       constructed to serve full occupancy of the mobile home

6       park alone at design flows of 280 gallons per ERC would

7       require a plant of 250,000 gallons per day.  However,

8       in that same F Schedule they admit that the actual

9       flows are closer to 69 gallons per day, but they

10       basically make the argument that notwithstanding this

11       difference in flows that the plant was properly sized

12       to serve build-out.

13                 And I would argue that if the original design

14       assessment of 280 gallons per day flow per ERC was the

15       assumed design, then that assumption is seriously

16       flawed.  I said if because although they make this

17       little statement in there that it should be 280 gallons

18       per day flow, there is no document, there is no

19       original design criteria that was produced by the

20       company to staff to indicate that that was, in fact,

21       the assumption made for the building of this plant.

22                 But even if it was, we argue that such an

23       assumption is seriously flawed because we're talking

24       about a plant that was originally designed from the

25       very beginning to serve small lots for mobile homes for

FLORIDA PUBLIC SERVICE COMMISSION

48

1       relatively low income, people with fixed income, senior

2       citizens, meaning very little density, one to two

3       persons per connection with a consistent low usage.

4       And that the -- talk about a disconnect, the disconnect

5       between an assumption of 280 gallons versus 69 gallons

6       is a factor of four.  So this is a seriously flawed

7       assumption, and it should not be a basis for deeming

8       anything to be 100 percent used and useful.

9                 The second reason they gave, they made a

10       statement, just a naked statement, the area served by

11       the existing plant is, quote, unquote, built out.  We

12       would strongly argue that that is not true.  There is

13       known and measurable growth within the existing service

14       territory of 94 ERCs.  You have the 90 lots planned for

15       in the 11.6-acre RV park and four lots that are within

16       the existing Forest Lake subdivision.  That right there

17       is obvious growth potential that needs to be considered

18       by this Commission.  Further, you also have vacant

19       land, contiguous and nearby land where the existing

20       service territory could be expanded to service future

21       developments that could use this excess capacity.

22                 Their third argument for saying it should be

23       100 percent used and useful is somewhat of a novel

24       argument.  They also said, and I quote, in addition,

25       the wastewater treatment plant is 100 percent used and

FLORIDA PUBLIC SERVICE COMMISSION

49

1       useful in accordance with the water used and useful

2       rule, 25-30.4325(4).  And my only assumption why they

3       made reference to the water used and useful rule was to

4       provide this Commission with guidance on this issue of

5       what it means when the wastewater rule used -- to give

6       the Commission flexibility, the wastewater use is to

7       the extent to which the area served by the plant is

8       built out the Commission can consider increase.  It

9       doesn't say 100 percent, but can consider the extent to

10       which the area, quote, unquote.

11                 And all I can assume by looking at the water

12       rule is that the water rule's terminology is that a

13       plant, a water plant can be considered 100 percent used

14       and useful if the service territory the system is

15       designed to serve is built out and there is no apparent

16       potential for expansion of the service territory.  So

17       that standard or guidance, as you will, for what might

18       constitute the area to be considered is very important

19       in this case, as well, because there is vacant land

20       absolutely adjacent to this plant, and there is other

21       vacant land even closer to this plant that could be the

22       subject of future development.

23                 Now, in response to these three arguments

24       staff basically agrees.  We are going to make this

25       100 percent used and useful.  The argument -- and it is

FLORIDA PUBLIC SERVICE COMMISSION

50

1       found, by the way, on Page 20 of the recommendation --

2       staff's reasoning is the plant is appropriately sized

3       to meet projected needs of the community that it's

4       intended to serve, including the 90-unit RV park that

5       is proposed for the vacant property in the service

6       territory.  We just strongly disagree with that.  It is

7       not properly sized.  It is hugely by a factor of four

8       inappropriate.

9                 The second reason they say there appears to

10       be no timetable for construction of the proposed RV

11       park addition, and so staff says further development is

12       dependent on the economy.  We would only argue that all

13       development is dependent on the economy.  That would be

14       hardly a standard by which we would need to go to.

15       What the future development is not?

16                 Staff says given the speculative nature of

17       the additional development, staff recommends that the

18       area be considered built out and that the wastewater

19       treatment plant should be considered 100 percent used

20       and useful.  This recommendation is contrary to the

21       very statute that this Commission order is designed to

22       implement, because it's that same Statute 367.081(2)

23       that states that the customers should only bear the

24       cost of plant -- the cost of investment in plant that

25       is used and useful in serving them.  And so we would

FLORIDA PUBLIC SERVICE COMMISSION

51

1       argue that this is just too big of an issue to sweep

2       under the rug or to just deem 100 percent used and

3       useful.

4                 The potential maximum dollar value of this

5       issue is approximately $100,000, which is greater than

6       the entire proposed increase that Labrador has.  So I

7       would also point out that the prior order in this case,

8       the last Labrador order, which was the subject of a

9       settlement agreement, expressly did not have any

10       finding on the used and usefulness of that wastewater

11       treatment plant.  Basically, the parties just agreed to

12       disagree in the last case, and we came to an agreement

13       on the revenue requirement and the rates.  So that has

14       obviously no precedent value.

15                 We were really basically kicking the can down

16       the road to basically take evidence and to fight this

17       out at some future date.  Unfortunately, that date may

18       be approaching, so we would take strong exception to

19       the 100 percent used and useful of the wastewater

20       treatment plant.  I yield quickly on the three other

21       issues.

22                 I have left you very little time, Tricia, I'm

23       sorry.

24                 MS. MERCHANT:  Good afternoon, Commissioners.

25                 The first issue that I would like to talk

FLORIDA PUBLIC SERVICE COMMISSION

52

1       about is deferred maintenance for the tanks.  It's

2       Issue 11 on Page 25 of the staff recommendation.

3                 In the 2010 test year, Labrador included

4       expenses for three deferred maintenance projects that

5       totaled $11,234.  Included in this was one wastewater

6       permit that was addressed by staff in Issue Number 3,

7       and I'm not going to take issue with that.  I agree

8       with staff's adjustment.

9                 The remaining two projects had to do with the

10       water tank deferred maintenance project, which is the

11       largest amount, which is addressed in Issue 11, and

12       there was a smaller amount for wastewater tank

13       maintenance that was not addressed by staff in its

14       recommendation, but it was included in the company's

15       expenses.

16                 The water tank maintenance is a cost that was

17       incurred in 2004.  The company deferred it for five

18       years, and that is how it is included in the test year.

19       They have a schedule in their MFRs, and that schedule

20       shows deferred maintenance projects before and after

21       the test year that are material in nature, and the

22       company put the same dollar amount, the 46,204, as a

23       project that would be upcoming.

24                 Staff made an adjustment to that.  The

25       company has said that they had an engineering

FLORIDA PUBLIC SERVICE COMMISSION

53

1       inspection that took place in January of 2010, and that

2       inspection -- it was not a tank painting, but the

3       inspection said you need to sandblast the tank and make

4       some minor repairs to the tank.  Well, the company did

5       not do that.  They made no repairs to the water tank.

6       It's now 2012; they now say they are going to do it

7       sometime in the middle of 2012.  And the amount that

8       was originally deferred from 2006 is fully amortized.

9       So our position is, yes, they probably need to do this

10       maintenance, but they haven't spent the money.  And

11       similarly to what the Commission did in the recent Lake

12       Utilities Services case, they held up that component of

13       the rate increase until the company came in and

14       supported that they had performed that project.

15                 So we would recommend that the Commission do

16       that for this adjustment also.  Remove the whole

17       deferred maintenance, because it wasn't spent in 2010,

18       it wasn't spent in 2011, and it hasn't been spent to

19       date.  But if they can come in and show that they have

20       spent the amount, and we would recommend that that

21       deadline be set at the end of this year, 2012, that

22       they could get consideration of that amount.  But we

23       would also ask that instead of a five-year amortization

24       period for that tank painting that it would be eight

25       years, because of the time it has been since they last

FLORIDA PUBLIC SERVICE COMMISSION

54

1       painted the tank.  So I think that they would have to

2       come in and support that amount with actual invoices,

3       and then we would recommend that an eight-year

4       amortization period be used instead of the five years.

5       That is my first adjustment.

6                 Additionally, I had mentioned earlier there

7       was a wastewater tank maintenance project, and that was

8       deferred in 2005, and that is fully amortized.  There

9       is no information in the case as to what it is.  It was

10       included in the materials and supplies expense account.

11       It wasn't listed as a pro forma adjustment that they

12       are going to make, so we would recommend that that

13       amount be removed, and that is $1,018 from wastewater

14       expenses.

15                 The next issue that I would like to address

16       is Issue Number 13, and I actually have two subtopics

17       in that issue.  There's actually two that staff

18       addresses and I have one that I would like to bring up

19       in addition to that.  And this deals with computer

20       maintenance and transportation expenses, and I handed

21       you a spreadsheet that has computer maintenance on the

22       first page and then transportation on the second page.

23                 In Issue 13, staff makes an adjustment to

24       miscellaneous expenses for computer maintenance and

25       they showed a comparison of the five years of computer

FLORIDA PUBLIC SERVICE COMMISSION

55

1       maintenance costs, this is computer maintenance at the

2       WSC level, the parent company, the service company, and

3       they show lower amounts in the first two years, and

4       then the middle two, or the third and fourth year they

5       are substantially higher, and then in 2007 they are a

6       lot lower.  And when I looked at 2011, I thought, my

7       goodness, that was such a high amount.  I mean, it

8       dropped from the two prior years higher amounts.

9                 So I started looking into that, and I looked

10       at some information that the company provided in

11       discovery background for computer maintenance, and

12       there was a vendor that they outlined -- they have the

13       dollar amount by vendor by year.  I didn't give this to

14       you, because it is just so many numbers.  But there is

15       one vendor that has charges in 2009 and 2010 of almost

16       a half million dollars.  Those charges go away in 2011.

17       And I think that that is -- and that is a very material

18       amount for the total.

19                 And instead of using a three-year average for

20       the computer maintenance, as staff has done, I would

21       recommend that you use a five-year average.  Not to

22       disallow the costs that were incurred for that one

23       vendor in 2009 and 2010, but to kind of annualize it.

24       And if you take that five-year average, that average

25       that I calculated, and I show that on the top line

FLORIDA PUBLIC SERVICE COMMISSION

56

1       there, it's in the column five-year average.  The

2       five-year average is actually higher than the 2011

3       cost.  And so that would be my recommendation to the

4       Commission.  Instead of -- recognizing there is a known

5       and measurable change in their computer maintenance,

6       and also the fact that in 2008 they implemented their

7       new Phoenix system, so you would have some start-up

8       costs that were in there that might make those two

9       years higher expenses than the prior years or even

10       2011.  So maybe they have kind of figured it out and

11       normalized their costs in 2011.  So that would be the

12       first adjustment I would recommend for computer

13       maintenance costs to actually use the five-year instead

14       of the three-year average.

15                 The second component that I would like to

16       talk about on computer expenses has to do with an

17       adjustment consistent with what is done with the

18       Phoenix project.  A lot of the Phoenix computer system

19       is web-based, and there are a large number of computer

20       services that they have to implement that web-based

21       program.  So if the Commission is making the adjustment

22       to the plant cost of Phoenix, I think it's also

23       consistent to make the same type of an adjustment to

24       the computer maintenance costs.  That if you sell

25       10 percent of your customers, you shouldn't reallocate

FLORIDA PUBLIC SERVICE COMMISSION

57

1       all of your costs to the remaining systems and make

2       them, just by the mere fact that those other systems

3       are gone, make them pay more money in administrative

4       costs.  So that was the second tier of my adjustment

5       that I am recommending.  I have got the numbers shown

6       on this schedule, and if you're interested I can say

7       them, but I will go on to my next topic.

8                 The next issue that I have is transportation

9       expenses, and transportation expenses is not addressed

10       by staff in the recommendation, but the company has

11       seen an -- or they requested an increase in their

12       transportation expenses from 2007, which was the last

13       rate case, to 2010 of 138 percent, which I think is --

14       you know, for this very small system to have

15       138 percent increase in transportation expenses just

16       doesn't seem reasonable.  They don't have any new -- it

17       appears that they have a new operator, but, you know,

18       they wouldn't be paying for that operator's

19       transportation.  I mean, a consulting vendor.  But it

20       just doesn't seem reasonable to go ahead and in three

21       years time increase your transportation expenses

22       138 percent.

23                 The company argues in their case that the

24       cost of gasoline has increased dramatically and the

25       vehicles are getting older and, therefore, that's why

FLORIDA PUBLIC SERVICE COMMISSION

58

1       their transportation expenses have gone up so much.

2       But I did some research and I found out that the cost

3       of gasoline between 2007 and 2010 had actually went

4       down, and that was from a U.S. government agency that

5       reports on gasoline prices.

6                 But in 2011 gas prices did go up, so I did a

7       comparison of 2011 to 2007 and the increase is only 26

8       percent.  The inflation for that same time frame was

9       only about 8 percent, so I believe instead of allowing

10       the 138 percent increase in their transportation

11       expenses, I think it's a reasonable alternative to come

12       in and increase their last test year approved amount,

13       which is also the amount that they requested, and

14       increase that by 26 percent, which is higher than the

15       inflation, but it's the 2011 increase in gasoline

16       costs.

17                 Okay.  The last issue that I have comments on

18       deals with rate case expense, and we do agree with a

19       lot of the issues that staff has taken in rate case

20       expense, but I wanted to address one area, and that was

21       the accounting consulting fees.  And in the last case,

22       the last Labrador rate case, the same accounting

23       consultant performed a lot of work on the case and did

24       not provide any detailed support of the hours that

25       they -- the type of work that they did.  It was all we

FLORIDA PUBLIC SERVICE COMMISSION

59

1       worked on the rate case, we performed analysis on the

2       rate case, prepared the MFRs.

3                 So the Commission in the last Labrador case

4       denied the accounting rate case expenses, and instead

5       they allowed an amount for the WSC allocated cost.  And

6       in this case, the staff has recommended that no WSC

7       costs be allocated, but they have recommended that all

8       of the accounting fees be allowed because somebody had

9       to do the work for the MFRs, and they answered the

10       audit responses, and they did some discovery and things

11       like that.  So I will agree that there was work done,

12       the MFRs were put together.  But to allow recovery of

13       expenses when they don't come in and they don't say,

14       like their attorney does and like their engineer does,

15       this is what I worked on, this is the amount of time I

16       spent preparing rate base, this is the amount of time I

17       spent analyzing expenses.

18                 And if you recall from all the prior cases

19       that we have had for Utilities, Inc., they do a lot in

20       their MFRs on fixing plant accounts.  You can go

21       through and look -- and I don't know if you have look

22       at the MFRs, but there is probably 25 adjustments to

23       plant.  They shift between primary accounts -- this is

24       just three-year past the last rate case, and they did

25       this in the last rate case, too.  They made a lot of

FLORIDA PUBLIC SERVICE COMMISSION

60

1       adjustments.  They are correcting, they are

2       reallocating, they are shifting between accounts.  They

3       do this for water plant and wastewater plant.  They do

4       it for accumulated depreciation, depreciation expense,

5       transportation, equipment.  It's just an astronomical

6       amount of work that they go through in every single

7       case to reshift the cost.

8                 If they actually came in and adjusted their

9       general ledger to match the numbers that they put, say,

10       in this set of MFRs or whatever it is that the

11       Commission approves in this case, they wouldn't have to

12       go through that in every single rate case.  They

13       wouldn't have to spend the amount of rate case expense

14       that they go through in every single case.

15                 So in lieu of not submitting any support

16       behind what type of work they did, we believe that it's

17       a reasonable amount for accounting fees, recognizing

18       they did some work, to give them about $25,000 in

19       accounting MFR preparation, which is a really -- it's a

20       little bit more than what they got in the last rate

21       case for preparing the MFRs.  And I just think that

22       that sends a signal to the company and to their

23       consultants that you have to justify.  You have to

24       show.  It's not just that they spent the money, that

25       you can show that the amounts are reasonable and

FLORIDA PUBLIC SERVICE COMMISSION

61

1       supported.

2                 And that concludes my remarks.  Thank you

3       very much.

4                 CHAIRMAN BRISÉ:  All right.  Thank you very

5       much.

6                 MR. REILLY:  That concludes OPC.

7                 CHAIRMAN BRISÉ:  Thank you very much.

8                 Commissioner Edgar had requested that we take

9       a short break.  I think it make sense for us to do so,

10       so we will reconvene at about 2:40.

11                 (Recess.)

12                 CHAIRMAN BRISÉ:  That was a much-needed

13       break, and so now we are reconvening.  We -- before I

14       come to the Commission board, I'm sure Mr. Friedman

15       probably has some comments that you would like to make,

16       and then you had asked for an opportunity to address

17       some of the points that were brought up.

18                 MR. FRIEDMAN:  Yes, Mr. Chairman.  Thank you

19       very much.

20                 Commissioners, I will try to be brief, and

21       I'm going to let Mr., Mr. Flynn address one thing.

22       But -- and I won't, I won't go into this in great

23       detail, but I noticed counsel said there was an

24       independent, independent engineer evaluation.  Well, it

25       wasn't independent.  It was the expert he hired in a

FLORIDA PUBLIC SERVICE COMMISSION

62

1       rate case in the civil litigation.  So it's not an

2       independent engineer.  It was an engineer, not

3       independent.  And like counsel, I ask you to read, make

4       sure you read what that engineering report said.  "Had

5       the potential to cause odor problems."

6                 I'd implore you, I think every sewer plant

7       has the potential to cause sewer problems.  But I

8       would, I would ask you to read that report very

9       carefully yourself, as, as counsel asked you to

10       himself.  I'm not going to address this lease payment

11       issue.  We've got a lawsuit over that.  I disagree.

12       And, and when counsel says why the injunction was not

13       granted, I disagree with that.  I think if you read my

14       response in the motion to dismiss, you'll see that

15       counsel makes it sound like they didn't pay the rent.

16                 You know, they didn't pay the amount that

17       escalated after six years.  The rents were all the

18       same for six years, then they escalated, and all

19       that wasn't paid was the escalated amount.  And then

20       when they, in January when that was pointed out,

21       they paid most of it -- they misread the letter.

22       And if you look at the letter, as I point out,

23       you'll see why, why that mistake was made.  And it

24       was clearly a mistake and they're trying to make a

25       big deal out of it.

FLORIDA PUBLIC SERVICE COMMISSION

63

1                 Mr. Flynn will address the used and

2       useful, but let me just touch on some of these

3       things.  I'm not sure I fully followed everything

4       that Ms. Merchant said, but, you know, and I think

5       the staff did the correct analysis on those O&M

6       issues.

7                 On the accounting fees rate case expense

8       issue, you know, if, if you, if you try to put

9       yourself -- she wants you to do -- OPC wants you to

10       do the type of detailed rate case expense

11       explanations that we, as a lawyer, do.  And, and if

12       you look at the type of function that somebody does

13       in preparing the MFRs, it doesn't lend itself to

14       that type of specificity.  I mean, you're looking

15       at, at maybe 30 or 40 different schedules, and so

16       the, the identification of what that person putting

17       the schedules together go, we're working on rate

18       base schedules -- I mean, you know, and that may

19       take hours -- or working on O&M expense schedules.

20       That's, that's as much detail as you can get when

21       you're putting together MFRs.  It's not -- the type

22       of work that an accountant does in putting together

23       MFRs is not susceptible to the type of detail that

24       I, as a lawyer, am able to put together and provide

25       in my rate case expense exhibit.  And so I think

FLORIDA PUBLIC SERVICE COMMISSION

64

1       that the staff's analysis of, of the outside

2       accountant rate case expense is correct.  And I'm

3       going to ask Mr. Flynn to, to briefly talk about

4       this used and, used and useful issue.

5                 MR. FLYNN:  Thank you, Mr. -- thank you,

6       Commissioners.

7                 I just want to mention the fact that the

8       plant that was designed many years ago prior to our

9       ownership, and it was designed according to DEP design

10       standards for the development that was built in

11       multiple phases over time by the developer who was the

12       previous utility owner.  In fact, he was the owner when

13       it wasn't a PSC-regulated entity.  It was -- part of

14       the fees for providing service to the park was water

15       and sewer service as a lump sum amount per month.

16                 But the plant has, the wastewater plant's

17       capacity is a function of the design that was evident

18       to the design engineer at the original point in time

19       when that plant was first thought of by the developer

20       and through subsequent phases.  So its current capacity

21       of 216,000 gallons per day reflects that fact, and the

22       computation by the staff I think is right on the money.

23                 Secondly, the 90-unit RV park that was

24       proposed or referenced in the staff rec reflects a

25       piece of property that currently is an RV storage and

FLORIDA PUBLIC SERVICE COMMISSION

65

1       boat storage area used by the customers.  There's been

2       some talk about what it might be utilized for in the

3       future.  There was some discussion by a design engineer

4       they hired at some point to discuss with the utility

5       what might be available there in terms of providing

6       water and sewer service to that portion, and that's as

7       far as it's gone.  It's never gone a bit further from

8       what I understand.  No effort to develop a set of plans

9       or go get county approvals or anything like that.  So

10       basically there's four empty lots in the whole

11       community that we don't have customer homes on.

12                 And the last thing is that the plant has

13       been, the plant is occupied by customers who are often

14       vacant for lengthy time periods where they have other

15       homes in other parts of the country perhaps or other

16       countries, and so the annual peak month flow varies

17       from year to year.  So if it's in a test year at one

18       point, it might be much higher or much lower or about

19       the same in other years.  But the reality is the plant

20       functions as designed and it functions at a capacity

21       that's permitted by DEP and designed according to DEP

22       standards.

23                 Thank you, ma'am.  Thank you, Commissioners.

24                 CHAIRMAN BRISÉ:  Thank you.  At this time

25       we're coming to the Commissioners, and I want to see

FLORIDA PUBLIC SERVICE COMMISSION

66

1       who wants to go first in beginning to ask questions or

2       going to discussion as to some of the issues that are

3       before us.

4                 Commissioner Edgar.

5                 COMMISSIONER EDGAR:  Thank you, Mr. Chairman.

6                 As I'm thinking through everything that we've

7       heard and all the material that we've had to review

8       prior to today, it seems like what, in my mind what is

9       before us falls into maybe three general categories.

10       One category would be the more technical accounting

11       treatment type issues.

12                 The second, certainly, certainly equally

13       important, are the, a little softer perhaps but very

14       important, customer service issues which generally deal

15       with how the utility interacts with its customers and

16       the quality of water, billing, and that type.

17                 And then the third would either be

18       other/maybe legal issues.  We've had some information

19       shared with us or points of view shared with us

20       regarding, you know, lease payments and maybe some

21       other things that would fall more in that legal realm.

22                 And one question I have in that is this other

23       area of the odor from, odor from the lift station that

24       has been described to us by some of the customers to be

25       onerous.

FLORIDA PUBLIC SERVICE COMMISSION

67

1                 So, so that's just kind of how, how I'm

2       approaching it.  And, Mr. Chair, if you want to go in

3       any particular order within that, I'm glad to do so at

4       whatever is the best time here in the little bit of

5       time that we have more together.  I would like to ask

6       staff to respond briefly to some of the more technical

7       accounting issues is the way I would refer to them in

8       my mind, which are the issue about used and useful

9       treatment, the O&M expense, the couple of areas in

10       those from Issue 11 and Issue 13, and then very briefly

11       on the issue within the rate case expense, the

12       accounting piece treatment that was raised by

13       Ms. Merchant, and some of the concerns that were raised

14       by Mr. Friedman as to the hourly rate 2008 versus 2010,

15       et cetera.  So I'd like to ask y'all to respond to

16       those in whatever way, and not overly in depth, since I

17       am not an accountant.

18                 Then a separate category as to -- I have a

19       couple of questions about the DEP information that we

20       have and the odor, and I'm not even sure who to pose it

21       for, so I'm just going to put it out there and please,

22       whomever can, respond.  The information that we have

23       written before us, and it was also pointed out by one

24       of the customers, that the DEP inspection reports were

25       from 2010.  And I recognize that the test year is 2010;

FLORIDA PUBLIC SERVICE COMMISSION

68

1       however, we are in PAA, and so I am wondering if we

2       have information available to us from any DEP

3       inspection reports or similar subsequent to the 2010

4       time period.

5                 MR. McROY:  Commissioner, James McRoy for

6       staff.  That is the current inspection for DEP.  That

7       is the sanitary sewer, sanitary inspection.  They

8       typically do that two to five years.  They do not

9       normally do those annually.  DEP is allowed to do any

10       type of inspection of the facility in an informal way.

11       If they get a call or concern, they have access to any

12       facility that, that they're regulating in that area.

13       But they formally do those sanitary sewer surveys on a

14       time-specific basis.

15                 COMMISSIONER EDGAR:  Okay.  Thank you.

16                 And then I assume, but I always hesitate to

17       assume, so I'm going to go ahead and ask what is

18       probably an obvious question, are we aware of, did we

19       ask the question, any additional information along the

20       same lines that would either be from the State

21       Department of Health or the local county public health

22       unit?

23                 MR. McROY:  Currently the utility is in

24       compliance with, with the DEP.  In certain counties

25       they grant that authority to the different health

FLORIDA PUBLIC SERVICE COMMISSION

69

1       departments.

2                 COMMISSIONER EDGAR:  Uh-huh.

3                 MR. McROY:  In this particular county, they

4       have it themselves.  So they are the, they're the

5       primary, primacy agency for that, for that quality.

6                 COMMISSIONER EDGAR:  Okay.  And then on a

7       separate but perhaps related issue, and it's discussed

8       primarily on page 9, there is a reference to a

9       Commission-approved settlement agreement between

10       Labrador and OPC from about, I believe, three to four

11       years ago, and it's described in here as the Commission

12       approving a settlement agreement for OPC and Labrador

13       to work with customers on the odor problem.  And then

14       at the very end of that discussion it says that the --

15       those two entity -- well, not OPC -- that the utility

16       and FLEC are in litigation regarding odor.

17                 So my question is can you refresh my memory a

18       little bit about that settlement agreement:  If that

19       was something that this Commission approved, what it

20       entailed; what, if any, bearing it has on the, this

21       odor issue as it has been described to us today; and

22       what -- anything else around there that might be

23       useful?

24                 CHAIRMAN BRISÉ:  All right.

25                 MS. DANIEL:  Commissioners, Patti Daniel for

FLORIDA PUBLIC SERVICE COMMISSION

70

1       staff.  I know James doesn't have a copy of that order

2       right in front of him, so if I may, there was a final

3       order approving the settlement agreement in October of

4       2009.

5                 What happened in, in this settlement was that

6       the Commission, having approved the settlement, did not

7       agree to the used and useful calculations, for example,

8       for the wastewater treatment plant.  The company and

9       the customers came together and filed a settlement,

10       which the Commission did approve.  And some of the

11       terms of that were that the company was to work with

12       the customers to consider the odor.  I was trying to

13       figure out -- what page is that?  205?  Has agreed to

14       work with customer representatives to study the problem

15       and, if necessary, propose cost-effective measures to

16       address the wastewater plant odor problem.  And we did

17       follow up with the company during the current rate case

18       with regard to that to ask them what they had done

19       along those lines, and they gave us a letter outlining

20       the points that you see in the staff recommendation

21       that describe the ways in which the company has

22       attempted to work with the customers to address the

23       odors at the wastewater treatment plant.

24                 COMMISSIONER EDGAR:  So what I am

25       understanding you to say is that this was a, a piece of

FLORIDA PUBLIC SERVICE COMMISSION

71

1       a much more comprehensive settlement agreement.  Do we

2       have any, do we have any authority over odor issues?

3                 MS. DANIEL:  Let me refer you to Mr. McRoy.

4                 MR. McROY:  Commissioner, DEP is the agency

5       of primacy of that.  What we typically do is evaluate

6       their reports in regards to all operational issues for,

7       for a plant.  So as far as this Commission is

8       concerned, if the DEP finds that the plant is operating

9       in a professional manner, then we typically review

10       those findings, go to the plant, review their

11       operations.  And if upon that find no issues with the

12       plant, then we'll go along with the primary agency's

13       evaluation.

14                 COMMISSIONER EDGAR:  And to your knowledge

15       there are -- to our knowledge there are no local

16       ordinances that would apply more specifically to odor

17       separate from a public health standard?

18                 MR. McROY:  None, Commissioner.  It's

19       typically the operational issue with the DEP, and I'm

20       sure that in their evaluations that's one of their

21       determinations of whether the operational issues with

22       the plant is correct.

23                 COMMISSIONER EDGAR:  Then, Mr. Chairman, I

24       would at the appropriate time like to ask our staff to

25       comment on those more technical issues.

FLORIDA PUBLIC SERVICE COMMISSION

72

1                 CHAIRMAN BRISÉ:  Sure.

2                 COMMISSIONER EDGAR:  But I will yield in case

3       there are other questions along this subject.

4                 CHAIRMAN BRISÉ:  Sure.  I want to jump in on

5       this odor issue, and then, and then Commissioner Balbis

6       has a few questions.

7                 But on the odor issue, what improvements have

8       been done to the plant to address, what specific

9       improvements, if any, have been done to the plant to

10       address the odor issues?

11                 MR. McROY:  Commissioner, the utility

12       installed covers over the digesters, and which they

13       capture the, the odors, which is the sulfides, off the

14       plant, and pump that out through systems of pumps and

15       filter it through coal, which DEP commented on it that

16       that was an excellent way of disposing of those, that

17       issue.

18                 So the -- in my 20 years of watching,

19       observing plants and testing, that's the first time

20       anybody had come up with that as a way to deal with the

21       sulfides off of a plant.  So I think the utility did a

22       very reasonable attempt to try to control that odor

23       issue that way.

24                 CHAIRMAN BRISÉ:  I want to ask a follow-up

25       question to that.  And I guess this is a question that

FLORIDA PUBLIC SERVICE COMMISSION

73

1       probably is pretty obvious and as the issue of

2       assumption.  Can the odor issue be resolved?

3                 MR. McROY:  The chemical processes of a plant

4       gives off odors.  The proximity of the community around

5       the plant I think in this case causes a lot of issues.

6       The total elimination of odors, I don't think that's

7       capable.  You can control them through some procedures,

8       operational procedures.  The operator typically adjusts

9       certain aspects of his plant depending on what's coming

10       in, on how he treats it, the removal of things off the

11       site so it don't accumulate issues, that seem to be

12       doing -- they're doing that.  So the total elimination

13       of the odors, I would have that -- to say that you

14       could, you could not totally ever eliminate all the

15       odors off that plant.

16                 CHAIRMAN BRISÉ:  But if they were to do some

17       other things to attempt to mitigate the odor even

18       further, would there be a dollar amount attached to

19       that?

20                 MR. McROY:  Yes, Commissioner.  Currently,

21       since they're operating in, within compliance, if we

22       asked them to do additional study or, or improvements,

23       then that will be a cost that will have to be borne by

24       the, the, the customers.

25                 CHAIRMAN BRISÉ:  Okay.  And we don't have a

FLORIDA PUBLIC SERVICE COMMISSION

74

1       sense of potentially a ball park as to, for a system of

2       that size, you know, what, what those numbers would

3       look like if, if that were to be contemplated?

4                 MR. McROY:  We would have, not have a way to

5       determine that without having some serious evaluation

6       done first to come up with the, what it is that we

7       would want to be done and then apply a cost analysis to

8       that.

9                 CHAIRMAN BRISÉ:  Okay.  I don't know if the

10       company may have an answer to, to that question.  If

11       they've entertained addressing, further addressing some

12       of the odor issues as they've already attempted to

13       address some, but if they were to move forward in that,

14       if they looked at it and sort of loosely estimated what

15       that potential cost could be and what that cost would

16       be passed on to, to the customers.

17                 MR. FLYNN:  It's really hard to quantify with

18       any accuracy obviously without some kind of analysis by

19       an engineer to identify what, what the issues are and

20       what the technology might be applied to address them,

21       and then obviously the cost would fall out from that.

22                 It's a plant that has about 13 different

23       tanks on it, which makes it cumbersome and costly to

24       address on a tank-by-tank basis.  The two headworks

25       tanks are covered.  The screen that's at the headworks

FLORIDA PUBLIC SERVICE COMMISSION

75

1       is, is covered.  The splitter boxes are covered.  The

2       dumpster is covered.  There are open aeration tanks

3       which are a function of the aerobic process we talked

4       about, the discussion earlier.  I would say it would be

5       at least six digits in cost to address it.  It could be

6       a million dollars.  I really don't know with any

7       accuracy.

8                 CHAIRMAN BRISÉ:  Okay.  Thank you very much.

9                 Commissioner Balbis.

10                 COMMISSIONER BALBIS:  Thank you, Mr.

11       Chairman.  And I believe when we recently went through

12       this process, we kind of went down the list of issues

13       and tried to block them together for efficiency.  So I

14       would recommend that if there's a way we could do that,

15       at least from my mind, it's better rather than, than

16       jumping around.  But I do have questions on -- I mean,

17       obviously Issue 1 is important, but the first technical

18       question I have is on Issue 2, which is quality of

19       service, which ties into the odor issues.

20                 And, and I have a question for the utility.

21       There was this engineering study which I read, I read

22       it thoroughly, and it was, it seemed to me like a very

23       general inspection of the facilities.  But what I did

24       note is the recommendations that a more comprehensive

25       evaluation be done so that the utility can come up with

FLORIDA PUBLIC SERVICE COMMISSION

76

1       the numbers or recommendations whether you need a

2       control on the lift stations or what needs to happen,

3       and then present it to the, to the community that, you

4       know, these are the costs associated with a certain

5       level of odor control.

6                 And I've been involved in those processes and

7       it is, it is very expensive and, you know, and there's

8       a tradeoff.  And I believe that public involvement with

9       the community that -- you know, to achieve this level

10       of control, it's going to cost X amount.  But the first

11       step is to have this comprehensive evaluation.

12                 So my question is why haven't you moved

13       forward with that where it was very clearly a

14       recommendation in this engineering report?

15                 MR. FLYNN:  Commissioner, I would say that it

16       wasn't an independent engineer.  It was the

17       consultant's -- or the counsel's engineer was hired to

18       provide that document.  I take that document with a

19       grain of salt.  It was a very generalized write-up

20       about what causes odors, what might be odor sources,

21       what steps might be taken.  To me it sounded more like

22       the engineer was trying to drum up business.

23                 I think it would certainly be worthwhile to,

24       to consider an analysis, but I wouldn't base it solely

25       on what the report identified.  I was present when the

FLORIDA PUBLIC SERVICE COMMISSION

77

1       fellow was there.  He didn't take any measurements,

2       didn't take any, any samples or any kind of a factual

3       gathering of information other than his professional

4       training as to what he was looking at and walking

5       around the plant asking questions.

6                 COMMISSIONER BALBIS:  Well, I agree with you

7       that it was a very general report and I think that was,

8       appears to be the purpose.  My point is the first step

9       would be a more comprehensive, detailed report with the

10       sampling that's required or whatever that needs to be

11       done in order for you to come up with alternatives to

12       deal with and address the complaints that you're

13       receiving and that we're receiving here.

14                 So I've recognized it's general.  Why haven't

15       you moved forward with a more comprehensive, detailed

16       one rather than just discounting it?  Because it

17       appears to me that we both agree it's a general report,

18       but you haven't moved forward with the detailed report

19       or study.

20                 MR. FLYNN:  Well, I put in context with the

21       information provided by DEP from their inspections, and

22       for our own knowledge and familiarity with the facility

23       and how it's operating.  I've been there myself.  My

24       staff has been there; not just the operator, but

25       managers.  It's, it's rare that it's generating odors

FLORIDA PUBLIC SERVICE COMMISSION

78

1       that correlate with the customers' complaints, although

2       I know we're not staffing at 7:00 in the morning.

3       We're there 8:00, 8:30, in that time range, and

4       throughout the rest, rest of the day.

5                 So, to me, we could do that.  But I would say

6       that it would probably be best to sit down and talk

7       with, with representatives of the customers to identify

8       what specifically they want to get out of the report,

9       how extensive the report needs to be so there's some

10       kind of a framework for what is generated from this

11       effort and what methodology is used to identify the

12       report, to generate the report.

13                 COMMISSIONER BALBIS:  And have you

14       coordinated -- and, Mr. Chairman, I appreciate the

15       leeway here.

16                 CHAIRMAN BRISÉ:  Sure.  That's fine.

17                 COMMISSIONER BALBIS:  Have you moved forward

18       with setting up that meeting, that process?

19                 MR. FLYNN:  No.  Right now we're in

20       litigation with Forest Lake Estates, which kind of puts

21       a damper on discussions.

22                 COMMISSIONER BALBIS:  Okay.  That's a very

23       good answer.

24                 MR. BERNSTEIN:  Not to interrupt you,

25       Commissioner, I appreciate your line of inquiry and the

FLORIDA PUBLIC SERVICE COMMISSION

79

1       time constraints here, but I would like the opportunity

2       to be recognized, if I might, just to respond to this

3       to clarify one thing for the Commission.  I think it's

4       important.

5                 CHAIRMAN BRISÉ:  You'll be recognized if, if

6       the Commissioner seeks to have input.  Other than that,

7       at this point in the case --

8                 COMMISSIONER BALBIS:  Yeah, and I appreciate

9       that.  I don't, I don't have a specific question for

10       you on this.  I guess my position on, on, on this issue

11       is that, you know, it appears that the company has

12       moved forward with at least the initial steps.  And how

13       litigation plays into it, I'm not sure.  We haven't

14       really been privy to that.  However, you know, once

15       again, we're in a situation where I don't think time

16       has passed enough to have these measures determine

17       their effectiveness or not.  And so that's kind of

18       where we are at this point as far as quality of

19       service.  I think the utility is starting to recognize

20       there may be a problem starting initial steps.  I don't

21       know if they're being hindered by the litigation or

22       not, but at this time I'm not sure if we have enough

23       information or time to see if the measures they've put

24       in place have been effective.  So with that, I don't

25       have any other questions on Issue 2.

FLORIDA PUBLIC SERVICE COMMISSION

80

1                 CHAIRMAN BRISÉ:  Okay.  Commissioner Brown.

2                 COMMISSIONER BROWN:  Thank you.  And I was

3       going to ask a question on Issue 2, unless you have

4       another preference.

5                 CHAIRMAN BRISÉ:  I was going to put us in a

6       posture of beginning to go through the issues.

7                 COMMISSIONER BROWN:  I would like that.

8                 CHAIRMAN BRISÉ:  Okay.  So I'm going to go to

9       Issue 1, and we're going to address Issue 1 and then

10       move right on to Issue 2.

11                 All right.  Issue 1.  And Ms. Brown.

12                 MS. BROWN:  Mr. Chairman, do you want a

13       presentation from me, or shall I just say Issue 1 is

14       staff's recommendation to deny Forest Lake's motion to

15       dismiss?  It's premature.  The substantive issue of

16       whether there is, is ownership of the land could be

17       addressed if there is a protest to the PAA.

18                 CHAIRMAN BRISÉ:  Thank you.

19                 Commissioner Graham.

20                 COMMISSIONER GRAHAM:  Move staff

21       recommendation on Issue 1.

22                 COMMISSIONER BROWN:  Second.

23                 CHAIRMAN BRISÉ:  All right.  It's been moved

24       and seconded.  All in favor, say aye.

25                 (Vote taken.)

FLORIDA PUBLIC SERVICE COMMISSION

81

1                 All right.  It's carried.

2                 Moving on to Issue 2.  Okay.  Mr. McRoy.

3                 MR. McROY:  Commissioners, Issue 2 is staff's

4       recommendation on the overall quality of service for

5       Labrador Utilities.  Staff recommends the Commission

6       find the utility in satisfactory condition.

7                 CHAIRMAN BRISÉ:  Thank you very much.

8                 Commissioner Brown.

9                 COMMISSIONER BROWN:  Thank you.  And,

10       Mr. McRoy, can you go through how staff found that the

11       quality of the product was deemed satisfactory per your

12       recommendation?

13                 MR. McROY:  Are you referring to the

14       wastewater or water?

15                 COMMISSIONER BROWN:  All.

16                 MR. McROY:  Oh, all?  Beginning with the

17       wastewater treatment plant, again, staff reviewed the

18       DEP's findings on the wastewater treatment plant.  That

19       included their less current inspection report.  We also

20       checked with them in regards to the odor complaints.

21       Per DEP, they had received only two complaints in 2010.

22       They, according to DEP, they received none for 2011 and

23       none for 2012.

24                 After reviewing that, staff made a site visit

25       to the plant where we requested all the operational

FLORIDA PUBLIC SERVICE COMMISSION

82

1       paperwork from the utility.  We reviewed that,

2       correlated it with the filings that the utility

3       provided for us, reviewed it with DEP's last inspection

4       report.

5                 We also that day traversed the community

6       with -- to find out if there was any odors present.

7       And that day there were not until you got to the

8       headworks of the utility where you expect it to be seen

9       (phonetic), since that's where all the beginning of the

10       treatment process took place.  Upon reviewing all of

11       that information, we concluded that the utility was

12       operating in a satisfactory condition.

13                 For the water plant, we, during the same

14       period, reviewed all their paperwork, reviewed the last

15       sanitary survey that DEP had for the utility, sampled

16       the product at the customer meeting, and, after

17       reviewing that information, determined that the product

18       was satisfactory.

19                 COMMISSIONER BROWN:  As a follow-up, in the

20       staff recommendation, it -- you suggest that many of

21       the customers have to drink bottled water.  There are

22       some certain aesthetic concerns that the customers have

23       expressed during the customer hearing.  We didn't hear

24       a lot of that today, but I know that you attended the

25       customer meeting and you heard that discussion.

FLORIDA PUBLIC SERVICE COMMISSION

83

1                 Can you elaborate a little bit more on why

2       the actual quality of the product, of the water is

3       deemed satisfactory in your opinion?

4                 MR. McROY:  When you review the DEP's

5       sanitary survey report, they are in compliance.  The

6       utility had an issue with iron in the water.  In their

7       determination with DEP, a sequestrate was added, a

8       sequestrate that, that is a typical solution to that

9       issue.

10                 Taste is a very, it's a secondary standard

11       for DEP, and the reason is because there's no health

12       hazards to it.  It's hard to sometimes get a product to

13       everyone's preference, so we use the DEP's, which is a

14       primary sister utility agency, as our guide, and

15       currently they are meeting all their requirements.  So

16       based on that and our simple sample, we determined that

17       it was in compliance and satisfactory.

18                 COMMISSIONER BROWN:  Thank you.  And just a

19       question for Labrador at this time regarding the

20       aesthetic quality concerns that customers have

21       expressed.  Has the utility contemplated having

22       discussions to address those concerns that customers

23       have expressed even since the last rate case?

24                 MR. FLYNN:  Commissioner, I think the answer

25       is that we have a -- well, we made an effort to

FLORIDA PUBLIC SERVICE COMMISSION

84

1       identify a better sequestrant that would be more

2       successful in having -- keeping the iron in solution.

3       If it comes out of the solution, it tends to generate

4       both taste and staining problems.  And in that context,

5       we did change to a different sequestrant and we also

6       instituted a monthly flushing problem so that the

7       retention time in the water mains would not be lengthy

8       and in that way minimize the impact of iron in the

9       water.

10                 COMMISSIONER BROWN:  I appreciate that

11       answer, but have you had any discussions with customers

12       or representatives from Forest Lake regarding

13       addressing further aesthetic concerns?

14                 MR. FLYNN:  No, we have not.

15                 COMMISSIONER BROWN:  Okay.  Thank you.

16                 CHAIRMAN BRISÉ:  Commissioner Graham.

17                 COMMISSIONER GRAHAM:  Thank you, Mr.

18       Chairman.

19                 I guess my first question would be to

20       Mr. Flynn.  Have you guys determined that the iron

21       problem is coming from problems in the main?

22                 MR. FLYNN:  It's from the source water.  The

23       aquifer contains iron, so we add the sequestrant at the

24       water plant at the wells, and it's in solution

25       throughout the distribution system thereafter.

FLORIDA PUBLIC SERVICE COMMISSION

85

1                 COMMISSIONER GRAHAM:  Is that new sequestrant

2       working?

3                 MR. FLYNN:  It is.  There's less iron present

4       in the, in the water.  A visual indication is that it's

5       working quite well.

6                 COMMISSIONER GRAHAM:  Have you seen a change

7       in complaints or have complaints subsided, I mean,

8       since you've changed project -- since you've changed

9       product?

10                 MR. FLYNN:  I believe we have.  We had

11       certainly frequent complaints with the older

12       sequestrant.  It was the one that was utilized when we

13       first bought the system.  We've been using this

14       sequestrant for a couple of years and it seems to be

15       more consistent in how it works.

16                 COMMISSIONER GRAHAM:  How about --

17                 MR. FLYNN:  We've had a reduction in customer

18       complaints from what I understand.

19                 COMMISSIONER GRAHAM:  Have you guys tried

20       changing the flow to the sequestrant to see if more is

21       working better or more is working less?

22                 MR. FLYNN:  It's, it's, it's fed at a rate

23       that is guided by the engineering analysis of what

24       would be appropriate for that level of concentration of

25       iron.

FLORIDA PUBLIC SERVICE COMMISSION

86

1                 COMMISSIONER GRAHAM:  Is that the same

2       engineering analysis that Mr. Balbis was talking about?

3                 MR. FLYNN:  No, sir.

4                 COMMISSIONER GRAHAM:  I didn't think so.

5                 All right.  Staff, I heard earlier one of the

6       customers was talking about the DEP report.  The most

7       recent one we have is the March 2010.  Unless I'm

8       mistaken, I thought he said that there were some

9       deficiencies, but I see here that we have no

10       deficiencies.  Which is it?  Is it no deficiencies?

11                 MR. McROY:  There was no deficiencies in the

12       report.  There were noted deficiencies in the

13       inspection for the wastewater treatment plant, which

14       they noted that they should keep their drain fields

15       mowed.  So that was that note on there.

16                 COMMISSIONER GRAHAM:  One more time.  There

17       was a deficiency that said what?

18                 MR. McROY:  It was not a deficiency.  It was

19       just a note saying when you do a DEP inspection, they

20       inspect the entire facility.  And if, if the grass is

21       not at an appropriate level in your drain fields or

22       retaining ponds, they note it.  And they noted that

23       specific issue.

24                 COMMISSIONER GRAHAM:  They noted, they noted

25       the grass was too long.

FLORIDA PUBLIC SERVICE COMMISSION

87

1                 MR. McROY:  Yes.

2                 COMMISSIONER GRAHAM:  Okay.  So -- because I

3       know we just came off of a water and wastewater case

4       where even though they're fine with DEP, some of the

5       secondary standards, they didn't meet those.  In this

6       case was there any secondary standards that weren't

7       met?

8                 MR. McROY:  No, sir, there was none.

9                 COMMISSIONER GRAHAM:  Okay.  That's it.

10       Thank you.

11                 CHAIRMAN BRISÉ:  Commissioner Balbis.

12                 COMMISSIONER BALBIS:  Thank you, Mr.

13       Chairman.  As far as the quality of service issue, and

14       staff in their analysis I think correctly pointed out

15       the different components of -- that we evaluate in

16       order to determine quality of service.  And one of the

17       concerns that I have is the last part of the sentence

18       that's listed that part of the components for quality

19       of service is the utility's attempt to address customer

20       satisfaction.  And then something that I have a concern

21       with, we have complaints, odor complaints, whether

22       they're formal or whether they're here or calls that go

23       to the utility that I'm not sure if the company is, is

24       adequately attempting to address those complaints.  The

25       conversations about aesthetic improvements to water,

FLORIDA PUBLIC SERVICE COMMISSION

88

1       those haven't taken place.  I think everyone at least

2       here understands, hopefully in the audience understands

3       that any of these improvements will cost money, but at

4       least an engagement of the customers for them to

5       determine if the cost benefit of those improvements,

6       they need to be engaged.  And I'm not sure that the

7       utility has provided any evidence that they're

8       attempting to adequately address customer satisfaction.

9                 From the water side, you know, I think we

10       still have the same issue with groundwater supply and

11       aesthetic issues associated with that, and I think

12       that's a problem throughout Florida.  And I'm not sure

13       there's too much to do about that other than, again,

14       engaging the customers and having them determine if

15       it's appropriate to spend those dollars.

16                 And I am confused.  Mr. Sage did make some

17       comments and he provided some written comments, so I do

18       appreciate that.  And part of his comments says, "If

19       the quality of water is pristine in part of the

20       community, and it is, then it should be good in the

21       entire community."  And I find that, I find that odd.

22       I just wanted to point that out.

23                 But from the wastewater side I think we, we

24       may have, we have a pretty clear disconnect.  And I

25       don't know if it's appropriate to establish a different

FLORIDA PUBLIC SERVICE COMMISSION

89

1       quality of service for the water and the wastewater,

2       but I think it may be appropriate in this case because

3       I think on the wastewater side there seems to be a

4       little bit more to do to at least identify any

5       potential problems and engage the customers.  So at

6       whatever time is appropriate, I would be in a position

7       to make a motion.

8                 CHAIRMAN BRISÉ:  Okay.  Are there any further

9       comments on, or discussion on Issue 2?

10                 All right.  Seeing none, I think now would

11       be an appropriate time for us to entertain a motion.

12                 COMMISSIONER BALBIS:  Thank you, Mr.

13       Chairman.

14                 Concerning the quality of service, I want, I

15       want to strongly encourage the utility to engage the

16       customers on both the water and wastewater side, do a

17       more detailed investigation to at least come up with

18       some costs for odors or establish that there aren't

19       odor issues, but at least engage the customer.  But I

20       would move that we find that the quality of service for

21       the water system to be satisfactory and for the

22       wastewater system to be marginal.

23                 CHAIRMAN BRISÉ:  All right.  We have a

24       motion.  Is there a second?

25                 COMMISSIONER BROWN:  Second.

FLORIDA PUBLIC SERVICE COMMISSION

90

1                 CHAIRMAN BRISÉ:  All right.  It's been moved

2       and seconded.  Any discussion?

3                 Commissioner Edgar.

4                 COMMISSIONER EDGAR:  I would pose to our

5       staff the question, if the motion were to carry a

6       finding of marginal quality of service for the

7       wastewater portion of the docket, does that have any

8       legal effect or requirement?

9                 MS. BROWN:  I don't know that it does.

10       Section 367.111(2) talks about each utility providing

11       reasonable service and provides the Commission the

12       opportunity to take action if it finds that the service

13       to the, to the customers does not meet the standards

14       promulgated by DEP or the water and wastewater

15       management districts.  And I, I think the evidence is

16       that it does meet the standards.  So I, I'm not -- I

17       don't know how that honestly affects going forward.

18                 We have in the past limited salaries for, for

19       management mismanagement.  If you find that, perhaps

20       some proposal to require the utility to do some more

21       studies might fit with the determination that the water

22       treatment plant was marginal.

23                 COMMISSIONER EDGAR:  So to --

24                 MS. BROWN:  Wastewater.

25                 COMMISSIONER EDGAR:  So, if I may, to

FLORIDA PUBLIC SERVICE COMMISSION

91

1       rephrase, excuse me, back to you, am I hearing

2       correctly that it would be within our discretion if we

3       wanted to take further action based upon a finding of

4       marginal quality of service for wastewater, but that

5       further action on that basis would not be required by

6       either a statute or rule or appellate decision?

7                 MS. BROWN:  To my knowledge, that's correct.

8                 COMMISSIONER EDGAR:  And then if I may as a

9       follow-up.

10                 Commissioner Balbis, would it be accurate to

11       say that your suggestion of a finding of marginal

12       quality of service for wastewater is based upon the

13       concerns that we have heard by customers today about

14       odor, or are there other things that contribute to that

15       suggestion?

16                 COMMISSIONER BALBIS:  I think that

17       specifically odor is one of the main issues, but I

18       think that is a type of complaint.  I'm concerned with,

19       again, the utility's attempt to address customer

20       satisfaction, the, the lack of, apparent lack of

21       engagement.  And a good example of that is the odor

22       issues where there's been complaints, they have a

23       document produced by an engineer that states that has

24       the potential to produce odors and that a more

25       comprehensive study should move forward, and they

FLORIDA PUBLIC SERVICE COMMISSION

92

1       haven't moved forward with that.  So I don't know if

2       that answers your question, but I think odors are a

3       very good example of the types of issues.

4                 CHAIRMAN BRISÉ:  Thank you, Commissioners.

5                 Commissioner Graham.

6                 COMMISSIONER GRAHAM:  Thank you, Mr.

7       Chairman.

8                 I guess I have a question for staff.  I know

9       the most recent water and wastewater case we had, we

10       found quality of service marginal, and I think we

11       dinked them a couple of basis points in ROE.  What's

12       the functionality of, of dinking them a couple of basis

13       points on the wastewater side and not on the water

14       side?  How does, how does that play out?  How does that

15       work?

16                 MR. FLETCHER:  You could do that with the

17       wastewater side, isolate whatever the Commission

18       chooses, be it a 25-basis point or whatever basis point

19       reduction that might be.  And of course just staff

20       would be given administrative authority to have that

21       fall out in the revenue requirement for the wastewater

22       system only.

23                 COMMISSIONER GRAHAM:  So we'd have to make

24       sure that there's a hard line between what are water

25       expenses and what are wastewater expenses.

FLORIDA PUBLIC SERVICE COMMISSION

93

1                 MR. FLETCHER:  Again, we can isolate it.  If

2       the, if the Commission's decision is marginal for

3       wastewater, then we can isolate that.

4                 MR. WILLIS:  Commissioner, Marshall Willis

5       for Economic Regulation.

6                 When you apply the basis point reduction,

7       it's only on the return on equity.  So if you look at

8       the schedules attached to the recommendation, you're

9       going to see we do a calculation for both water and

10       wastewater separately.  It's easily calculated to keep

11       the two separate.  It's just that the two will have

12       different returns on equity applied to them for future

13       proceedings until the next one comes along.  So it's a

14       simple application just to, just to adjust that simple

15       return on equity.  Like if it's 25 basis points for

16       marginal, that's all it would require.  It just means a

17       slight reduction in the revenue requirement for the

18       wastewater system.

19                 COMMISSIONER GRAHAM:  Mr. Willis, while

20       you're there, is there a mechanism?  I appreciate where

21       Commissioner Balbis is coming from and I can't say I

22       disagree with him.  I'm going down this path myself

23       because I, I think my understanding of what this board

24       is doing is trying to make sure that customer service

25       is important and that it's something that people should

FLORIDA PUBLIC SERVICE COMMISSION

94

1       be paying attention to.  And I understand, I appreciate

2       where he's coming from using this as a mechanism of,

3       for lack of a better term, getting somebody's

4       attention.

5                 Is there a way of, short of coming back to

6       another rate case, that we understand that they

7       achieve -- they heard the message and you can

8       basically, if we, if we decrease it 25 basis points, a

9       year from now they come back and then those 25 basis

10       points go away because we're satisfied that they're

11       doing what it is that this board is looking for them to

12       do?  Is there a mechanism for that to happen?

13                 MR. WILLIS:  You could set a time for the

14       company to come back to you with what they've tried to

15       do to resolve the situation.  It would require staff

16       bringing you, keeping this docket open and staff

17       writing a recommendation.  Based on that and the

18       Commission deciding whether or not the parameters or

19       the reasoning that you applied the 25 basis point

20       reduction have now been met, and that would be

21       released.  That would mean the rates would then go up

22       by the 25 basis points at that point.

23                 I've seen cases where the Commission can do

24       it over a period of time.  I know cases in the past

25       where the Commission applied a return and just said

FLORIDA PUBLIC SERVICE COMMISSION

95

1       it's going to be for a two-year period.  And after

2       that, at that point the rates would automatically be

3       adjusted up by 25 basis points.  I believe you have the

4       authority to do any of that.

5                 COMMISSIONER GRAHAM:  I guess back to the

6       board, I, I agree with Commissioner Balbis that this is

7       something we probably should do or this is the path we

8       should go down.  I, I think we should -- there should

9       be some sort of mechanism in there, once again short of

10       coming back for another rate hearing, for if they've

11       met with the, if they've met with the clients and

12       they've done things that, you know, done what they can

13       to address the problem, at least we feel like they've

14       done what they can to address the problem even though

15       they may not be able to fix the problem.  Especially,

16       as the Chairman said earlier, it may not be

17       cost-effective to fix the problem, but, you know, at

18       least they've, they've come up with some solutions.

19       And I guess in that case we could decide if we're

20       satisfied or not satisfied that they are reaching out

21       and listening to the customers.  Maybe that's something

22       we should talk about.  I mean, that, that would get me

23       fully engaged on this, this amendment that's on the

24       floor or the motion on the floor.  Thank you.

25                 CHAIRMAN BRISÉ:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

96

1                 Commissioner Brown.

2                 COMMISSIONER BROWN:  Thank you.  And I --

3       Commissioner Graham asked all of the questions, the

4       line of thinking that I was going down too.

5                 And to elaborate on my support for this

6       motion, I wanted to, to further clarify what it is I'm

7       actually looking for here.  It is engaging the

8       customers, it is attempting to do additional studying

9       towards the aesthetic measures that the company can do.

10       It is looking at a comprehensive odor treatment

11       program.  So those are kind of the things that -- and I

12       don't know if by doing that, necessarily reporting back

13       to the Commission within two years or quarterly or

14       annually, what it is -- what would be the most

15       appropriate means.  And I'm looking to staff really to

16       help provide some guidance whether we have quarterly

17       reports of what they're doing.

18                 MS. BROWN:  Well, Commissioner, if I might

19       answer that.  In the staff recommendation on Issue 2,

20       as you know, there are two parts to the quality of

21       service.  One is the, is the status of the plants.  The

22       other is the utility's attempt to address customer

23       satisfaction.  It seems to me that you might be able

24       here to determine that the utility has not made

25       sufficient attempt to address customer satisfaction and

FLORIDA PUBLIC SERVICE COMMISSION

97

1       then direct them -- and you'd have to ask the engineers

2       about what the timing for reports would be, but that

3       appears to me within the context of this recommendation

4       to be what you're trying to get at, that they haven't

5       made the attempts to address customer satisfaction.

6                 COMMISSIONER BROWN:  I would defer to the

7       maker of the motion.

8                 CHAIRMAN BRISÉ:  Commissioner Balbis.

9                 COMMISSIONER BALBIS:  Thank you, Mr.

10       Chairman.  And maybe I can offer a solution or an

11       attempt at a solution.  I think that, at least for me

12       personally, having the water quality meetings, although

13       we, my motion is to find that satisfactory, I mean,

14       it's still important, having that meeting, performing a

15       comprehensive odor control study with cost estimates or

16       options, and meeting with the customers and

17       determining, you know, the costs associated with it, I

18       think that process should take, being conservative, 18

19       months or so.  So I would recommend that we put maybe

20       an 18-month or two-year window where the ROE would

21       trigger back up to the appropriate amount, unless those

22       activities have not been performed.

23                 And maybe, I guess, a question to staff.

24       Would you have the ability to, if the study hasn't been

25       performed, they haven't met with the customers, to put

FLORIDA PUBLIC SERVICE COMMISSION

98

1       the brakes on it and bring something before us where we

2       could review it, or would it be easier to not have a

3       time frame?  Because I think, I think maybe having a

4       two-year time frame, unless it's brought to us that

5       they're not complying with our order or recommendation.

6                 MR. McROY:  Commissioner, if what we're --

7       you're trying to get them to move on further reporting,

8       having them report to us quarterly on what progress

9       they've made in efforts to answer what you're asking of

10       them would be appropriate, I think.  I think most

11       utilities would probably want to do that as

12       expeditiously as they can since the ROE is tied up in

13       it.  So I think that that would trigger them to move

14       quickly forward.

15                 COMMISSIONER BALBIS:  And just so I'm clear,

16       and I think other Commissioners have the same concern,

17       we don't want to have the utility have to come before

18       us in a rate case in order to reestablish it.  I want

19       to avoid that and make it as administratively efficient

20       as possible.  If they meet those concerns and if they

21       start addressing customer satisfaction, they're no

22       longer penalized.

23                 MR. FLETCHER:  Commissioner, you could do

24       that and institute like a penalty for 18 months to two

25       years.  And then, as Mr. McRoy said, have them provide

FLORIDA PUBLIC SERVICE COMMISSION

99

1       those quarterly reports.  And if it looks like they are

2       addressing, meeting with the customers, addressing

3       their concerns and we have that in writing, we can have

4       a provision where that mechanism can fall off if that's

5       the Commission's intent.  If we have documentation that

6       they have strived forward to meet with the customers

7       and to address those secondary water quality standards,

8       then that could fall out.  I guess I'll defer.

9                 CHAIRMAN BRISÉ:  Sure.

10                 MR. WILLIS:  If I could just add here.

11       Personally I'm not sure quarterly reports are really

12       important if you're getting to the end objective.  And

13       if you think about it, if you put a 25-basis point

14       penalty out there we can call it on the ROE for

15       wastewater, the onus is on the company to do something

16       about it.  You could put a two-year time frame and say,

17       look, we expect something to happen within two years.

18       If it does within that two-year period, you can file

19       information to show what you've done.

20                 I would feel uncomfortable with staff making

21       that decision.  I would, I would want to bring that

22       back to the Commission and let the Commission make that

23       decision on whether they have met your requirements or

24       not.

25                 But I think if you want to make it less

FLORIDA PUBLIC SERVICE COMMISSION

100

1       administratively burdensome here, that you would not

2       have any quarterly reports.  You would just basically

3       say, you know, we expect you to have a two-year period

4       to demonstrate that you're trying to do something with

5       these customers.  If you've done something, you've met

6       with those customers, they're now satisfied that either

7       they don't want to incur more, a higher bill to pay for

8       improvements, fine.  But you've met with them and

9       you've done whatever you needed to do to get that

10       satisfaction.

11                 COMMISSIONER BALBIS:  So then, just to

12       clarify, Mr. Chairman, just one question, so it would

13       be easier not to have a time frame and just have the

14       utility provide evidence that they've increased their

15       attempt to meet customer satisfaction, and you would be

16       able to, or the Commission would be able to remove the

17       penalty.  And, again, to encourage good behavior, you

18       would have the ability to do that without going through

19       this whole process.

20                 MR. WILLIS:  I think, I think that's true.  I

21       would, I would think you'd want to keep a time frame on

22       there.  Because if they don't, they don't incur any

23       improvement within a two-year period, it would just

24       stay in place after that.  We would close the docket

25       after two years, and it would be up to the company at

FLORIDA PUBLIC SERVICE COMMISSION

101

1       that point to come back at some next filing.  Because

2       at that point truly if the company is going to make

3       improvements, they're going to want recovery of those

4       improvements, and they'll be back here with a rate case

5       to do that.

6                 COMMISSIONER BALBIS:  Thank you, Mr.

7       Chairman.

8                 And maybe it would be easier to vote on the

9       motion at hand and then continue the discussion on what

10       we're going to do now if the motion passes.

11                 CHAIRMAN BRISÉ:  Commissioner Graham.

12                 COMMISSIONER GRAHAM:  I guess the question to

13       staff is if they're going to come back before us or

14       just come back as some sort of limited proceeding and

15       basically just remove the, the decrease -- the

16       decretion (phonetic) of -- the decreased basis points?

17                 MR. FLETCHER:  Commissioner, you could keep

18       the docket open I think is what I heard Mr. Willis say.

19                 Mary Anne.

20                 MS. HELTON:  This is what I envision, and

21       this is just me speaking as a, as a lawyer.  What I

22       envisioned sounds like what you're leaning towards at

23       this point in time is conditionally reducing their ROE

24       by 25 basis points.  And upon a showing by the company

25       within a two-year time period that they have

FLORIDA PUBLIC SERVICE COMMISSION

102

1       proactively done the things that you think are

2       necessary to, to remedy the odor issues that the

3       customers are experiencing, then as long as they come

4       back and they show that they have done those things

5       that you -- we have set out in the order, then we would

6       bring that back to you.  It would be -- I don't even --

7       it would probably be a procedural vote showing whether

8       you have, whether they have done that or not.  And upon

9       your vote, if you agree with the company, then the 25

10       points that were reduced conditionally would bring it

11       back up to where they should be in the range.

12                 COMMISSIONER GRAHAM:  Mr. Chairman.

13                 CHAIRMAN BRISÉ:  Yes, Commissioner Graham.

14                 COMMISSIONER GRAHAM:  Yeah.  That's pretty

15       much what I was asking.  It seems I remember we did

16       this before for another utility, not necessarily reduce

17       the basis points, but encouraged them to go back and

18       meet with the residents.  And basically we were going

19       to have them sit down and give the residents a laundry

20       list where, you know, if you want this to happen, it's

21       probably going to cost you this much money.  If you

22       want this to happen, it's probably going to cost this

23       much money.  And for some reason I don't remember that

24       ever coming back.

25                 But I guess, if I may, Mr. Chairman,

FLORIDA PUBLIC SERVICE COMMISSION

103

1       Mr. Friedman or Mr. Flynn, I'd like to hear some words

2       from you before we continue down this path.

3                 MR. FRIEDMAN:  Yeah.  Well, this is Marty

4       Friedman.  Briefly on the, on the legal aspect, I

5       don't -- I know where you're going with this 25 basis

6       points, but I don't think that if you find a system

7       that's marginal, then it's marginal.  And I think that

8       sends the clear indication to the utility that it needs

9       to do something before it comes back for another rate

10       case or you're going to have a problem.  I don't think

11       with a marginal utility you should, you should, you

12       should set the precedence of reducing ROE in that case.

13       I mean, it sends the message by calling it marginal,

14       even though in all other aspects the system is, is

15       satisfactory.  And I'll let Mr., Mr. Flynn address that

16       other part of the question.

17                 MR. FLYNN:  I agree with Mr. Friedman.  What

18       are the questions you had, Mr. Commissioner?

19                 COMMISSIONER GRAHAM:  Well, one of the

20       questions I guess I have is a time frame.  We're

21       talking about two years.  How long do you think it

22       would be before you can come back and, you know, maybe

23       put systems in place where you're meeting with them

24       quarterly, every six months dealing with their

25       questions?

FLORIDA PUBLIC SERVICE COMMISSION

104

1                 The reason why I say that is because

2       Commissioner Balbis asked you a couple of questions,

3       did you do this for the customers, did you do this,

4       have you thought about that?  And the answer to most of

5       those have been no.  Now I understand that there's a

6       pending, there's a pending court case out there.  But I

7       guess what I'm looking for is I'm looking for a time

8       frame.  You know, I'm sure you guys don't want to wait

9       two years before you can justify getting back those 25

10       basis points, you know.  Can you do it in a year, you

11       know?  How long do you think it's going to -- how long

12       do you think it would be before you address some of

13       these issues so you can answer some of Commissioner

14       Balbis's questions as "yes" rather than "I don't know"?

15                 MR. FLYNN:  Well, given the constraint that

16       the litigation is ongoing, which makes dialogue more

17       difficult, it's hard to answer.  I would say at least

18       six months, a year's time would be probably a

19       reasonable expectation for evaluating, for bringing in

20       some kind of a consultant to help us identify options

21       and costs for those options, and then report back and

22       make that step happen in a prompt fashion.

23                 COMMISSIONER GRAHAM:  Okay.  Thank you.

24                 CHAIRMAN BRISÉ:  Commissioner Edgar.

25                 COMMISSIONER EDGAR:  Thank you.  I think we,

FLORIDA PUBLIC SERVICE COMMISSION

105

1       you know, had started down one direction and we've kind

2       of come back around full circle.  I know Commissioner

3       Balbis had made the request that we go in chronological

4       order or groupings, and so I would point out that we

5       aren't at the ROE issue quite yet.

6                 I would have some concerns administratively

7       delegating a finding of customer satisfaction as a

8       change from a finding of this Commission as marginal,

9       not because I have a lack of confidence in our staff,

10       but candidly I think that's our job.  And partially

11       because a finding that uses the term "satisfaction" is

12       by its nature more often of a qualitative than a

13       completely quantitative basis.

14                 And so, again, no lack of confidence in our

15       staff, but back when I was in a staff position, that's

16       something I would have felt more comfortable if it was

17       candidly handled by those who have been appointed to

18       make some of those decisions.

19                 So I think that if, when we get to the ROE

20       discussion, which is just a few items away, that one

21       question I will have is do we, realizing every other

22       issue will impact, but if the recommendation were to

23       carry forward, can you at that point in time when we

24       come to ROE give me an approximation of what 25 basis

25       points -- sorry, you knew that's where I was going --

FLORIDA PUBLIC SERVICE COMMISSION

106

1       would be?  I think that's good information if we are

2       using terms like "penalty."

3                 And, secondly, I would be interested as a, as

4       a lawyer, a non-engineer, if we have estimates of what

5       reasonably meeting some of these -- we talked about

6       time, which is important, but also cost estimates.  How

7       much is an odor study, how -- I've got some questions

8       along those lines when we come to ROE.

9                 So with that, I would ask, Mr. Chairman, if

10       it is appropriate, perhaps to go ahead and dispense

11       with the motion and issue that is before us and then to

12       move into the others.

13                 CHAIRMAN BRISÉ:  All right.  I do believe

14       that as the motion was set, part of the discussion of

15       the ROE led into the conversation.  So there's one or

16       two ways that we can handle this.  There's obviously a

17       motion that's been seconded.  I would like to make sure

18       that the motion is restated so we're clear on what the

19       motion is and we're clear on what we're voting on, and

20       then we could move forward.

21                 Okay.  So if Commissioner Balbis would

22       restate the motion.

23                 COMMISSIONER BALBIS:  Thank you, Mr.

24       Chairman, and hopefully I restate it accurately.  But I

25       move to find that the utility's quality of service for

FLORIDA PUBLIC SERVICE COMMISSION

107

1       the water system be deemed satisfactory, and for the

2       wastewater system be deemed marginal.

3                 CHAIRMAN BRISÉ:  All right.  That is the

4       motion, and it was seconded by Commissioner Brown.

5       Based upon the hearing of the motion, your second still

6       stands?

7                 COMMISSIONER BROWN:  That is correct.

8                 CHAIRMAN BRISÉ:  That is correct.  All right.

9       Seeing that, all in favor, say aye.

10                 (Vote taken.)

11                 All right.  It carries.

12                 Now we're moving on to Issue 3.

13                 MR. FLETCHER:  Commissioners, Issue 3 is

14       staff's recommendation to approve audit adjustments to

15       which the utility agrees with.

16                 CHAIRMAN BRISÉ:  All right.  Is there any

17       question or comments on this or -- all right.

18       Commissioner Graham.

19                 COMMISSIONER GRAHAM:  Move staff

20       recommendation on Issue 3.

21                 CHAIRMAN BRISÉ:  All right.  It's been moved

22       and seconded.  All in favor, say aye.

23                 (Vote taken.)

24                 All right.  Item 3 carried.

25                 Issue No. 4.

FLORIDA PUBLIC SERVICE COMMISSION

108

1                 MR. FLETCHER:  Commissioners, Item 4

2       addresses staff's recommendation to make adjustments to

3       the utility's Phoenix project related to divested

4       systems, and also to make an adjustment to extend

5       the -- or use a ten-year life for the Phoenix project

6       rather than six years proposed by the utility.

7                 CHAIRMAN BRISÉ:  Commissioner Graham.

8                 COMMISSIONER GRAHAM:  Move staff

9       recommendation on Item 4.

10                 CHAIRMAN BRISÉ:  All right.  Is there a

11       second?

12                 COMMISSIONER BROWN:  Second.

13                 CHAIRMAN BRISÉ:  Okay.  There's a second.

14                 All right.  Discussion?  Commissioner Edgar.

15                 COMMISSIONER EDGAR:  Thank you.  I was just

16       going to ask staff, the treatment that is recommended

17       is the same treatment that we have used for this issue

18       for other systems?

19                 MR. FLETCHER:  Yes, Commissioner.  Several

20       sister companies, the Commission has made that, this

21       consistent decision.

22                 COMMISSIONER EDGAR:  Thank you.

23                 CHAIRMAN BRISÉ:  Thank you, Commissioner

24       Edgar.

25                 Commissioner Balbis.

FLORIDA PUBLIC SERVICE COMMISSION

109

1                 COMMISSIONER BALBIS:  Thank you, Mr.

2       Chairman.  And I support the motion.  I just wanted to

3       share with the other Commissioners a discussion that I

4       had with staff during the briefing.

5                 This Phoenix project, you know, as

6       Commissioner Edgar mentioned, was in another docket,

7       and it's something that we'll probably continue to

8       discuss.

9                 One of the discussions I had with staff was

10       the concern that I have is, is that we have a software

11       system that I believe costs upwards of $21 million that

12       I'm not sure the effect of the purchasing of that

13       system, were there billing problems before, are there

14       billing problems after, and the overall effectiveness

15       of a $21 million investment.  It was something that I

16       discussed with staff at length.  I don't think this is

17       the proper forum to discuss it, but it was something

18       that was brought up because it's something that, that

19       definitely caught my attention.  And I'm glad to see

20       we're being consistent in our treatment of this project

21       at least so that the customers are not paying more

22       because the utility divested some of its utility

23       systems.  So with that, I support the motion.

24                 CHAIRMAN BRISÉ:  All right.  It's been moved

25       and properly seconded.  Are there any other items of

FLORIDA PUBLIC SERVICE COMMISSION

110

1       discussion or issues for discussion on this particular

2       issue?

3                 All right.  Seeing none, all in favor, say

4       aye.

5                 (Vote taken.)

6                 All right.  Moving on to Issue No. 5.

7                 MR. FLETCHER:  Commissioners, Issue 5

8       addresses staff's recommendation to remove certain

9       annualized adjustments to the utility's accumulated

10       depreciation and depreciation expense.  We believe that

11       these should be removed because you need to stick to a

12       matching principle with the test year.

13                 CHAIRMAN BRISÉ:  All right.  Any questions or

14       discussion on Issue No. 5 dealing with accumulated

15       depreciation?  All right.  Seeing none, is there a

16       motion?

17                 COMMISSIONER EDGAR:  Move staff.

18                 COMMISSIONER BALBIS:  Second.

19                 CHAIRMAN BRISÉ:  All right.  Moved and

20       seconded.

21                 All in favor, say aye.

22                 (Vote taken.)

23                 All right.  Moving on to Issue 6.

24                 MR. McROY:  Commissioners, Issue 6 is the

25       used and useful for the utility.  Staff recommends that

FLORIDA PUBLIC SERVICE COMMISSION

111

1       the used and useful both for the water treatment plant,

2       storage, wastewater treatment plant, and distribution

3       and collection systems be consider 100% used and

4       useful.

5                 CHAIRMAN BRISÉ:  All right.  Thank you.

6                 Commissioner Brown.

7                 COMMISSIONER BROWN:  Thank you.  I think this

8       is a good opportunity for staff to respond to OPC's

9       argument earlier.

10                 MR. McROY:  Commissioners, when staff

11       reviewed the utility's application, basically the

12       utility area that they're -- that the plant was built

13       for is being served by that plant.  There's only one

14       area that's currently undeveloped, which is that small

15       portion that OPC just talked about.

16                 As for the design factor, that was set by DEP

17       when the facility was being built.  That is not an

18       unusual number for ERCs.  I've seen that before.  So

19       when you look at it from that perspective, with the

20       utility serving the entire area that they're currently

21       permitted to serve, staff believes that the utility has

22       met the criteria of calling it 100% used and useful.

23                 COMMISSIONER BROWN:  So if we were to, if the

24       Commission were to use the rule, the Commission rule,

25       what would the percentage be then for the used and

FLORIDA PUBLIC SERVICE COMMISSION

112

1       useful for the wastewater?

2                 MR. McROY:  If you look at the flow data, it

3       would be 37%.

4                 COMMISSIONER BROWN:  And then that big

5       difference between 37% and what staff is recommending

6       for the 100% is based on the answer that you provided

7       earlier.

8                 MR. McROY:  That's correct.  The flow data is

9       basically gathered based on the design criteria of the

10       plant.  The plant was designed based on that

11       determination of DEP during that period of time that it

12       was going through design.  That was set.  And the plant

13       is appropriately sized for those numbers.

14                 COMMISSIONER BROWN:  I think this is a very

15       significant issue and I'm just not, I'm not clear

16       really on why staff is recommending the 100%.  And,

17       again, it carries a significant cost.  I just would be

18       curious to hear from the other Commissioners on, on it.

19                 CHAIRMAN BRISÉ:  Commissioner Balbis.

20                 COMMISSIONER BALBIS:  Thank you, Mr.

21       Chairman.  And, again, in full disclosure, I would like

22       to share with the Commissioners the heated conversation

23       I had with staff on this issue, and it, and it's about

24       the 280 gallons per day.

25                 I'm used to, in my former professional

FLORIDA PUBLIC SERVICE COMMISSION

113

1       career, using numbers closer to 200 gallons per day for

2       wastewater flow per ERC, and those are areas in Palm

3       Beach County, larger houses, et cetera.  So I was

4       shocked to see a 280 gallons per day per ERC.

5                 So the question for staff, you indicated that

6       the design criteria that was used was set by DEP.  So

7       is there documentation in the record from DEP that

8       shows the 280 gallons per day, or is their original

9       design documentation that the utility provided in the

10       MFR that lists the 280 gallons per day, or was it

11       somehow back calculated out?

12                 MR. McROY:  There's no design data that was

13       submitted for the plant.  I think the plant was built

14       prior to the current owners acquiring it.

15                 Again, that, that design number is not an

16       unusual number.  And what we're looking at now is

17       current flows versus the design flows.  The utility

18       again is serving all the area that it's certificated

19       for.  There's no additional piping to go anywhere other

20       than what they're currently serving, and those are the

21       reasons that we looked at it as being 100%.

22                 COMMISSIONER BALBIS:  But, again, back to the

23       280 number that you said that there was no evidence in

24       the record that shows a 280.  And I'm not sure, and so

25       I'm -- I hesitate to ask a question that, that I don't

FLORIDA PUBLIC SERVICE COMMISSION

114

1       know, but I wasn't aware that DEP set standards.  I

2       thought DEP followed ten state standards, which does

3       not specify the flow per ERC.

4                 MR. McROY:  That's correct.  But they also do

5       the permitting.  So whatever that permitting engineer

6       decides is appropriate for that plant at the time

7       during permitting is the number that the utility

8       typically uses as a design number for the plant.

9                 COMMISSIONER BALBIS:  Okay.  And that, that

10       correlates with my recollection that it's the design

11       engineer that determines it, and then DEP either

12       approves it or not.  But they rely on the professional

13       opinion and experience of the design engineer.  So did

14       the utility provide any documentation from the design

15       engineer that showed it was designed for 280 gallons

16       per day?

17                 MR. McROY:  No.  The utility did not provide

18       any design engineering documents, but that, again,

19       that's not unusual.  We typically don't require that

20       when we're looking at the plants.

21                 COMMISSIONER BALBIS:  Okay.  And then back to

22       the -- changing gears a little bit.  On the statement

23       that the utility is providing service to all of their

24       area, but isn't there a parcel that is undeveloped?  I

25       believe it was mentioned by one of the parties.

FLORIDA PUBLIC SERVICE COMMISSION

115

1                 MR. McROY:  That's correct.  It's a parcel

2       that is undeveloped in the front of the development

3       that, based on the current flows, will probably be

4       around 5% increase in the flows.

5                 COMMISSIONER BALBIS:  Even though on the site

6       plan isn't it designated as commercial?

7                 MR. McROY:  It may be.  I don't think that

8       they even got into permitting whether it was going to

9       be commercial or residential.  But it is noted as a

10       commercial, which would probably make those numbers a

11       little less.

12                 COMMISSIONER BALBIS:  Okay.  So -- but then

13       you estimated about 5% of the flow.  So all of the area

14       has not been developed.

15                 MR. McROY:  That's correct.  There is four,

16       four lots in that area that's, that's not developed.

17                 COMMISSIONER BALBIS:  So one way to look at

18       it is at the most, the highest percentage of used and

19       useful that one could argue is 95%, if 5% isn't even

20       developed.

21                 MR. McROY:  That's correct.  If you look at

22       it from that perspective, at 95%.  But typically the

23       Commission has granted 100% used and useful if the area

24       is at least 90 or greater.

25                 COMMISSIONER BALBIS:  Okay.  So, again, I

FLORIDA PUBLIC SERVICE COMMISSION

116

1       think we have this big discrepancy from the rule and

2       looking at the flows, which is much lower used and

3       useful, and then the overall design capacity, which I'm

4       not sure if we have the backup information.  Because I

5       couldn't, I couldn't find it in the record either to

6       justify the 95% or 100%, but I'd welcome other comments

7       from Commissioners on this issue.

8                 MS. DANIEL:  Commissioner, if I may.  Patti

9       Daniel for staff.  I just did want to clarify, the rule

10       does provide a calculation, which is the 35%.  The rule

11       also contains other criteria that the Commission may

12       also consider in determining the used and useful

13       percentage, one of which is build out.  I just wanted

14       to make sure you knew there was that.

15                 CHAIRMAN BRISÉ:  All right.  It seems like

16       this issue is ripe for discussion.  So if -- I don't

17       know who wants to go first.

18                 Commissioner Balbis.

19                 COMMISSIONER BALBIS:  I have one last

20       question for staff that I forgot to ask.  This utility

21       went through a recent rate case.  Was used and useful

22       percentage for the wastewater plant, was that

23       determined in that proceeding?

24                 MS. BROWN:  Commissioner, I have limited

25       recall of that, but my understanding is that it was a

FLORIDA PUBLIC SERVICE COMMISSION

117

1       settlement, and the used and useful percentage wasn't

2       determined by the Commission in that settlement

3       proceeding.

4                 COMMISSIONER BALBIS:  So if we were to

5       approve a lower percentage, we wouldn't be going

6       against a precedence that was set for this utility; is

7       that correct?

8                 MS. BROWN:  I think so.

9                 COMMISSIONER BALBIS:  Okay.  Thank you.

10                 CHAIRMAN BRISÉ:  Commissioner Graham.

11                 COMMISSIONER GRAHAM:  Thank you, Mr.

12       Chairman.

13                 I am, I'm actually in favor of the staff

14       recommendation on this one.  I don't necessarily see

15       penalizing the utility because four of, of all those

16       lots out there aren't developed.  I mean, if the market

17       was different right now, if people were building houses

18       or people were, more people were moving to Florida like

19       they were five years ago, I'm sure those four lots

20       would be built out now.  And you're talking just a

21       handful of lots.  I mean, you build a system not for

22       the way things flow today but how you expect them to

23       flow ten years from now.  And so I don't have a problem

24       with the staff recommendation, so I'll move staff

25       recommendation on this issue.

FLORIDA PUBLIC SERVICE COMMISSION

118

1                 CHAIRMAN BRISÉ:  All right.  Is there a

2       second?

3                 (No response.)

4                 All right.  Motion fails for a lack of a

5       second.

6                 Commissioner Balbis.

7                 COMMISSIONER BALBIS:  Thank you, Mr.

8       Chairman.  And if there was a second, I would have

9       discussed this at that time.

10                 It's my understanding from staff in reviewing

11       the site plan, these are not lots that just have not

12       been developed.  This is a parcel that's designated, I

13       believe, as commercial that is undeveloped; correct?

14                 MR. McROY:  One parcel, yes.  But there's

15       four separate single lots.

16                 COMMISSIONER BALBIS:  Right.  But the large

17       portion on the north side is an undeveloped parcel

18       designated as commercial, so it's not a case where

19       someone hasn't moved in.  The parcel just has not been

20       developed.

21                 MR. McROY:  That's correct.

22                 COMMISSIONER BALBIS:  Okay.  That's all I

23       had.

24                 CHAIRMAN BRISÉ:  All right.  Any further

25       discussion or are we in posture for a motion?

FLORIDA PUBLIC SERVICE COMMISSION

119

1                 Do we need a breather?  Oh, I see

2       Commissioner Brown.

3                 COMMISSIONER BROWN:  Thank you.  I don't have

4       a problem with the staff recommendation with regard to

5       the water treatment plant.  It's the wastewater

6       treatment plant.  And I don't know what the appropriate

7       percentage for used and useful would be.  I don't

8       support the 100% build out, but I don't know -- if we

9       were to follow the Commission rule, it would be 37%.  I

10       don't know if that's appropriate either.  So that is

11       where I am at.

12                 CHAIRMAN BRISÉ:  Commissioner Balbis.

13                 COMMISSIONER BALBIS:  Thank you, Mr.

14       Chairman.

15                 I, I think that -- and I agree with

16       Commissioner Brown.  I think that if going to the

17       actual flows penalizes a utility for conservation

18       measures, which we're all trying to encourage, so

19       that's not a position that I think we should be in.

20                 However, I think that given a lack of

21       supporting documentation, that I'm also hesitate to

22       move forward with the 100%.  At the least we should do

23       is take into account the undeveloped parcels and adjust

24       the used and useful for water and wastewater because it

25       would affect both, and that way at least it's something

FLORIDA PUBLIC SERVICE COMMISSION

120

1       that's to me logical, doesn't penalize the utility for

2       conservation, and allows -- I mean, what's going to

3       happen when that parcel gets developed, additional

4       revenue is going to come to the utility.

5                 So, so I would move to adjust used and useful

6       percentages.  And if 5% is the number, so 95%, that's

7       for both water and wastewater, I would move that we

8       determine used and useful percentages for water and

9       wastewater to 95% if, again, that is staff's

10       recommendation on the flow differences.  And I saw a

11       lot of nods, so that is my motion.

12                 CHAIRMAN BRISÉ:  That is your motion.  All

13       right.  Is there a second?

14                 COMMISSIONER BROWN:  I'll second it for

15       discussion purposes.

16                 CHAIRMAN BRISÉ:  All right.  It's been

17       seconded.

18                 All right.  So the floor is open for

19       discussion.  Commissioner Brown.

20                 COMMISSIONER BROWN:  I would just like some

21       feedback from staff on the motion and whether you think

22       that's appropriate based on the discussion.

23                 MR. McROY:  Commissioner --

24                 MS. DANIEL:  I'm sorry.  I'll stay put for a

25       few minutes until we finish this issue.  I won't bounce

FLORIDA PUBLIC SERVICE COMMISSION

121

1       around again.

2                 One way that you could look at this,

3       Commissioner, is to assign a capacity that you might

4       expect to be utilized should that 11 acres of vacant

5       property, whether it's commercial or RV, whatever it's

6       going to be.  The company has indicated that at some

7       point there was a discussion that it might be 90 RV

8       lots.  Now an RV lot does not have as much demand, you

9       would expect, as the homes that are there.

10                 In our calculation, we showed on page 20 that

11       the actual flows were about 69 gallons per day per ERC.

12       I don't know if you want to look at today's flows or a

13       design criteria or something in the middle, but let's

14       just say we've got 90 units and we wanted to give it

15       somewhere between 70 gallons per day and 100 gallons

16       per day.  Let's call it 10,000 gallons.  That's about a

17       5% adjustment, leaving that capacity available in the

18       used and useful calculation should that acreage

19       ultimately be developed.  That's, that's one way to

20       look at it.

21                 COMMISSIONER BROWN:  I appreciate that.

22                 CHAIRMAN BRISÉ:  All right.  Any further

23       discussion?

24                 MR. FLETCHER:  If I may, Commissioner, just

25       add a point.

FLORIDA PUBLIC SERVICE COMMISSION

122

1                 CHAIRMAN BRISÉ:  Sure, Mr. Fletcher.

2                 MR. FLETCHER:  Just to throw another option

3       out there, in the 2003 case, the Commission did decide

4       that case was PAA and it was consummated.  The

5       wastewater treatment facility was found to be a 79.94%.

6       I know Commission practice is, is that you don't, once

7       used and useful is established, you usually don't go

8       below that.  Although the 2008 case was subject to a

9       settlement and has no precedential value, you could go

10       back to the 2003 case and use the 79.49% for

11       wastewater.  Just for discussion.

12                 CHAIRMAN BRISÉ:  Commissioner Balbis.

13                 COMMISSIONER BALBIS:  Thank you, Mr.

14       Chairman.  And before I withdraw my motion, I just want

15       to make a comment to staff.  And I understand the

16       difficulty you have in having to think on your feet and

17       respond to questions from wherever they come, but that

18       is why I asked if the Commission has established a used

19       and useful percentage so that we wouldn't go down this,

20       this route.  But I appreciate you doing the backup

21       investigation because that's very important to us in

22       that the Commission has decided at some point this very

23       same issue and we can use that as a sounding board.  So

24       with that, I withdraw my motion.

25                 CHAIRMAN BRISÉ:  All right.  The maker of the

FLORIDA PUBLIC SERVICE COMMISSION

123

1       motion withdraws the motion.  Is the second agreeable

2       to that?

3                 COMMISSIONER BROWN:  Yes.

4                 CHAIRMAN BRISÉ:  Okay.

5                 COMMISSIONER BROWN:  And I'm looking forward

6       to a new motion.

7                 CHAIRMAN BRISÉ:  Okay.  All right.  At this

8       time we're back to square one.  And I don't know if we

9       want to have further discussion before a motion, or are

10       we in a posture for a motion?

11                 Commissioner Balbis.

12                 COMMISSIONER BALBIS:  Thank you, Mr.

13       Chairman.  I would like to give staff five minutes to

14       have everyone get together and agree as to the 2003

15       finding, and it also would give me an opportunity to

16       take a break for five minutes.  So with your

17       permission, I would recommend that I take a five-minute

18       break.

19                 CHAIRMAN BRISÉ:  You're making me feel like

20       I'm the principal here.  So we have -- so we'll have

21       'til 4:15, and so we'll take a quick recess.  Thank

22       you.

23                 (Recess.)

24                 CHAIRMAN BRISÉ:  All right.  We are ready to

25       reconvene.  If my memory serves me right, Commissioner

FLORIDA PUBLIC SERVICE COMMISSION

124

1       Balbis is about ready for a motion?

2                 COMMISSIONER BALBIS:  Yes, Mr. Chairman, but

3       before I do that, I'd like confirmation from staff

4       about the previous rate case and the used and useful

5       percentages that the Commission determined.

6                 MS. DANIEL:  Commissioners, in the Company's

7       2003 rate case, the flows were based on a max month

8       instead of a three-month max month in that particular

9       case, but those flows were 166,065 gallons per day.

10       The capacity of the plant was the same as it is today,

11       216,000.  There is discussion in the order at that

12       point in time that there was an 11.6-acre parcel --

13       this is back in 2003 -- and that there were a few

14       vacant lots in the mobile home park.  Therefore, the

15       Commission added a small growth allowance of

16       6,615 gallons.  So with the flows of 166,000 and the

17       $6,600 (sic) growth allowance divided by the capacity

18       of 216,000, the calculation was 79.94 percent in that

19       2003 docket.

20                 And just for comparison sake, today the flows

21       for -- there has actually been a small reduction in the

22       number of customers, but the flows have diminished

23       significantly.  Today the flows are 79,000 as compared

24       to 166,000 in that 2003 case.

25                 COMMISSIONER BALBIS:  And that 79.94 percent,

FLORIDA PUBLIC SERVICE COMMISSION

125

1       is that for water or wastewater?

2                 MS. DANIEL:  Wastewater.  Water was

3       100 percent, and wastewater was 79.  I was just

4       speaking to wastewater at that point.

5                 COMMISSIONER BALBIS:  And that was 2003?

6                 MS. DANIEL:  Yes, sir, Docket 030443.

7                 COMMISSIONER BALBIS:  Okay.  And I think that

8       there has certainly over the past nine years been a

9       large appropriate push for conservation.  So, again, I

10       don't want to be in a position where we are

11       discouraging conservation by penalizing the utility and

12       backing that out of their used and useful percentage.

13       So, again, given the lack of documentation on design

14       criteria, and the fact that this Commission in 2003

15       determined 79.94 percent for the wastewater, I move

16       that we determine the wastewater system be 79.94

17       percent used and useful and the water system

18       100 percent.

19                 COMMISSIONER BROWN:  Second.

20                 CHAIRMAN BRISÉ:  Okay.  It has been moved and

21       properly seconded.

22                 Commissioner Graham.

23                 COMMISSIONER GRAHAM:  I just want

24       clarification.  Was it 79.4 percent or 79.94 percent?

25                 MS. DANIEL:  .94.

FLORIDA PUBLIC SERVICE COMMISSION

126

1                 COMMISSIONER GRAHAM:  Okay.  Thank you.

2                 CHAIRMAN BRISÉ:  All right.  It has been

3       moved and properly seconded.  Any further discussion on

4       the motion?

5                 Commissioner Edgar.

6                 COMMISSIONER EDGAR:  Thank you, Mr. Chairman.

7                 And I appreciate the time that we have put

8       into this issue.  I will support the motion.  My only

9       comment is as we make decisions on used and useful in

10       the past, in the present, and certainly we will be

11       doing again for other systems in the future, it is

12       important to me that we have a methodology that we can

13       cite to as the reason for our decision.  And I am

14       comfortable with the rationale that has been laid out

15       and I am appreciative of the further discussion that

16       helped us to get there.  So I am supportive of the

17       motion.  Thank you.

18                 CHAIRMAN BRISÉ:  All right.  So we have a

19       motion that is ready for a vote.  All in favor say aye.

20                 (Vote taken.)

21                 CHAIRMAN BRISÉ:  Any opposed?

22                 COMMISSIONER GRAHAM:  Aye.

23                 CHAIRMAN BRISÉ:  All right.  It carries.

24       Moving on to Issue Number 7.

25                 MR. FLETCHER:  Commissioners, Issues 7 and 8

FLORIDA PUBLIC SERVICE COMMISSION

127

1       are fallout issues.  Staff would recommend, definitely

2       in particular with Issue 8, that we be given

3       administrative authority as a result of your decision

4       in Issue 6.  And also, if applicable, administrative

5       authority for the working capital if there are any

6       subsequent decisions here today regarding expenses,

7       because we used the formula approach for working

8       capital.

9                 CHAIRMAN BRISÉ:  All right.  Is there a

10       motion on Issue 7 and 8?

11                 COMMISSIONER EDGAR:  Move staff.

12                 CHAIRMAN BRISÉ:  All right.  Moved.  Is there

13       a second?

14                 COMMISSIONER GRAHAM:  Second.

15                 CHAIRMAN BRISÉ:  Moved and seconded.  All in

16       favor say aye.

17                 (Vote taken.)

18                 CHAIRMAN BRISÉ:  Okay.  So those two items

19       carry.

20                 Moving on to Issue Number 9.

21                 MR. FLETCHER:  Commissioners, Issue 9 is

22       staff's recommendation for the appropriate return on

23       equity.  And at this time, Commissioner Edgar, to

24       answer your question, the 25 basis point reduction

25       would have basically approximately $1700 adjustment

FLORIDA PUBLIC SERVICE COMMISSION

128

1       downward on the revenue requirement for the wastewater

2       system.

3                 CHAIRMAN BRISÉ:  All right.  Any further

4       comments on Issue Number 9?

5                 Okay.  Commissioner Balbis.

6                 COMMISSIONER BALBIS:  Thank you, Mr.

7       Chairman.

8                 In light of our decision to deem their

9       wastewater system marginal, I move that we reduce their

10       ROE by 25 basis points from the 10.51 percent that

11       staff recommends.

12                 CHAIRMAN BRISÉ:  Okay.  That is the motion.

13                 MR. FLETCHER:  If I can clarify, that would

14       be 25 basis points for the wastewater only?

15                 COMMISSIONER BALBIS:  Yes, thank you.  That

16       is correct.

17                 CHAIRMAN BRISÉ:  All right.  All the lights

18       went off all of a sudden.  So it has been moved.  Do we

19       have a second?

20                 COMMISSIONER GRAHAM:  I would second.

21                 CHAIRMAN BRISÉ:  Okay.  So we have a second.

22       Are there further comments that you would like to make?

23                 Commissioner Graham.

24                 COMMISSIONER GRAHAM:  I just want to make --

25       well, I guess the question I have is as we talked

FLORIDA PUBLIC SERVICE COMMISSION

129

1       earlier about some sort of mechanism, we are going to

2       deduct 25 basis points and it stays that way until the

3       rate hearing, or is there something more to this

4       motion?

5                 CHAIRMAN BRISÉ:  Okay.  Commissioner Balbis.

6                 COMMISSIONER BALBIS:  Thank you, Mr.

7       Chairman.

8                 I am willing to amend the motion to add some

9       sort of mechanism as long as it avoids a lot of

10       administrative effort from the utility.  So if there is

11       a process that could come to us to satisfy Commissioner

12       Edgar's concerns, which I do agree with her on that.

13       So, again, for staff, if there is a way that it can

14       come to us, an easy process for the utility so that we

15       are satisfied that customer service has been addressed.

16                 CHAIRMAN BRISÉ:  Okay.  Before staff

17       addresses your concern, I don't know if Commissioner

18       Edgar would like to chime in.

19                 COMMISSIONER EDGAR:  Thank you.

20                 And I do, again, think that we are close to

21       being all of one mind with the message that we are

22       trying to send and the best way to accomplish it.  My

23       thoughts on it, and I also would like to hear from

24       staff if they think that this is workable, would be

25       that if we need to have any further discussion, we give

FLORIDA PUBLIC SERVICE COMMISSION

130

1       to the best of our ability clear direction to the

2       utility as to what our expectations are for a finding

3       of satisfactory customer service for wastewater in the

4       future, and that it would be then the responsibility of

5       the company to petition us for a change in ROE if and

6       when they determine that they have, in their belief,

7       met our expectations and that it is their desire to do

8       so.  And I don't think we need to overly complicate it,

9       but if there is something that I'm missing, I would

10       certainly welcome to hear about it.

11                 MR. WILLIS:  Commissioner Edgar, I think you

12       are correct.  I would prefer you don't overly

13       complicate it, because that does bring in the

14       administrative inefficiencies of the process.  I think

15       you are correct, it would be an ideal situation to go

16       ahead and if you are going to reduce it, reduce it, and

17       leave it up to the company to come forward at the point

18       in time they believe they have met whatever criteria

19       you set out that you want them to do.  That could be

20       one year or two years down the road.  Whenever they

21       believe they have met that criteria, they could

22       petition the Commission very quickly to bring the ROE

23       back up.  It's a simple adjustment at that point.

24                 COMMISSIONER EDGAR:  I guess my only addition

25       would be if my colleagues feel that putting a time

FLORIDA PUBLIC SERVICE COMMISSION

131

1       frame on it as perhaps an additional motivation, or

2       more appropriately an additional signal is something

3       that we would be interested in.

4                 CHAIRMAN BRISÉ:  Commissioner Graham.

5                 COMMISSIONER GRAHAM:  No, I'm fine.  We don't

6       have to put a time frame on it.  I just didn't want for

7       them to have to wait for another rate case to come

8       along.  I like the way it is.  The 25 basis points is

9       there, they just have to come justify it.  And I guess

10       to Commissioner Balbis to start rattling off a list of

11       things he is looking for.

12                 CHAIRMAN BRISÉ:  Before Commissioner Balbis

13       goes we will have Commissioner Graham -- I mean

14       Commissioner Brown, sorry.

15                 COMMISSIONER BROWN:  Thank you.  And just a

16       procedural question.  Then do we leave the docket open

17       if we are just going to keep it open-ended?

18                 MR. WILLIS:  I would prefer you left the

19       docket open, because it relates to this docket, the

20       ROE.

21                 COMMISSIONER BROWN:  Okay.

22                 MS. BROWN:  And I would just point out that

23       we are in the PAA process, so there may be more coming

24       on this case.

25                 CHAIRMAN BRISÉ:  All right.  Commissioner

FLORIDA PUBLIC SERVICE COMMISSION

132

1       Balbis.

2                 COMMISSIONER BALBIS:  Yes, I'll be more than

3       happy to rephrase at least what I'm looking for, and I

4       think what Commissioner Brown and others have

5       indicated.  But before I do that, I believe the motion

6       that I made, and, staff, I want your input on this, I

7       wouldn't have to revise it in order to keep the docket

8       open, and they could come petition for the increase in

9       ROE at any time.

10                 MR. WILLIS:  That is correct, they could.

11                 COMMISSIONER BALBIS:  Okay.  But, again, then

12       to summarize what I wanted to see, and I think I was

13       pretty clear with the utilities, but I think it's a

14       good time to reassess it.  I think moving forward with

15       a comprehensive odor control study, I'm not

16       recommending that you spend $100,000 getting teams of

17       engineers.  I mean, in your experience you may be able

18       to determine, you know, odor control methodologies and

19       options, putting in more better sealed covers, for

20       example, different chemical, biological, or odor

21       control technologies, et cetera, and come up and meet

22       with the customers and discuss the different options,

23       the level of odor control, the odor reduction you would

24       achieve with each technology and the cost associated

25       with it and estimates on revenue impacts to at least

FLORIDA PUBLIC SERVICE COMMISSION

133

1       engage them on those issues.

2                 At the very least it will show them that you

3       are taking their complaints seriously, which you may be

4       doing so, but I didn't see any indications in the

5       record that you were.  So from the wastewater side, I

6       think that would alleviate my concerns.  And then

7       obviously if they want to move forward with

8       implementing those, then you would come to us and move

9       forward with that process.

10                 On the water side, I believe Commissioner

11       Brown indicated, again, engaging the customers on

12       different aesthetic water quality improvements,

13       ballpark estimates associated with that, and engaging

14       the customers on that.  And I don't know if,

15       Commissioner Brown, you had any other requests?

16                 COMMISSIONER BROWN:  (Inaudible; microphone

17       off.)

18                 COMMISSIONER BALBIS:  I believe that

19       hopefully sums it up.

20                 CHAIRMAN BRISÉ:  Commissioner Graham.

21                 COMMISSIONER GRAHAM:  Thank you, Mr. Chair.

22                 I guess I have two questions now.  One of

23       them is to, as Commissioner Balbis said, meet with the

24       customers and have an understanding from them on when

25       the odor is occurring.  I mean, is it occurring at 7:00

FLORIDA PUBLIC SERVICE COMMISSION

134

1       o'clock in the morning when everybody is getting up and

2       taking a shower and getting ready to go to work in the

3       morning?  Does it happen at dusk when everybody is

4       going to bed?  So you can understand, and then it show

5       some indication that you had staff people -- you said

6       they start at 8:30, maybe for a week or so they have

7       got to show up at 7:00 o'clock to make sure that they

8       understand what's going on.  I mean, none of this stuff

9       is rocket science.  That's the first statement I had.

10                 The second one, Commissioner Balbis was

11       talking about the water side of this.  Now, is this

12       25 percent basis points just on the wastewater side, or

13       are we both looking for something coming out of the

14       water side and the wastewater side?  Because you stated

15       the water side, and I guess my question is this is all

16       tied to the 25 percent basis points, which I thought

17       was just to the wastewater side.

18                 CHAIRMAN BRISÉ:  Commissioner Balbis.

19                 COMMISSIONER BALBIS:  Yes.  My motion is just

20       for the wastewater side, but I think that customers --

21       I see where you are going with this is that there is an

22       issue with the water side and it impacts the wastewater

23       side.

24                 Again, I think that is something that the

25       utility probably has a clear message from us for them

FLORIDA PUBLIC SERVICE COMMISSION

135

1       to do.  I don't anticipate them not doing it and just

2       doing the wastewater side, but we'll see how that plays

3       out.  But the 25 basis points would be just on the

4       wastewater side, and when they petition us, and I would

5       assume they have heard us very clearly that included in

6       that petition is handling the water issues, as well.

7                 COMMISSIONER GRAHAM:  Thank you, Mr.

8       Chairman.

9                 CHAIRMAN BRISÉ:  All right.  I think that

10       that provides some clarity.  All right.  Just for the

11       record, I want to make sure that we have the motion

12       clear and that it is 25 percent ROE on wastewater.

13                 COMMISSIONER BALBIS:  Yes, reducing --

14                 CHAIRMAN BRISÉ:  By 25.

15                 COMMISSIONER BALBIS:  -- by 25 basis points.

16                 CHAIRMAN BRISÉ:  Reducing it by 25 basis

17       points for wastewater.  I always 25 percent, because

18       I'm thinking of the percentage in my mind.  Is that

19       clear what the motion is?  And it has been seconded.

20       All in favor say aye.

21                 (Vote taken.)

22                 CHAIRMAN BRISÉ:  All right.  Moving on to the

23       next issue, which would be Issue 10.

24                 MR. FLETCHER:  Commissioners, Issue 10 is a

25       fallout issue.  Staff recommends that it be given

FLORIDA PUBLIC SERVICE COMMISSION

136

1       administrative approval based on the Commission's

2       decision in Issue 9.

3                 COMMISSIONER EDGAR:  Move staff.

4                 CHAIRMAN BRISÉ:  All right.  Is there a

5       second?

6                 COMMISSIONER GRAHAM:  Second.

7                 CHAIRMAN BRISÉ:  All in favor say aye.

8                 (Vote taken.)

9                 CHAIRMAN BRISÉ:  All right.  I'm going to go

10       through a few items, and -- well, maybe not these next

11       few items.  (Laughter.)

12                 Issue Number 11.

13                 MR. FLETCHER:  Commissioners, Issue 11 is

14       staff's recommendation to reduce water operating

15       expense by 32/13.  This relates to the water tank

16       maintenance.  This was one of the issues that OPC had

17       addressed.

18                 Initially, in staff's review of this, we

19       relied on something that was contained in the utility's

20       MFRs, it was a schedule.  They have to provide

21       information regarding any kind of maintenance projects

22       that are two percent or greater than the revenues.  We

23       picked up on that issue where it was a budgeted amount,

24       and as you can see on Page 25 of our recommendation,

25       staff had asked for some information regarding the

FLORIDA PUBLIC SERVICE COMMISSION

137

1       support of that because it had a budgeted amount.  And

2       it turns out that the budget amount that they had for

3       their tank maintenance in the test year was related to

4       the amount that they incurred the last time they did

5       the tank maintenance and the repair.

6                 So what we did is because we had that lack of

7       support documentation in their request, we started

8       building and looking at comparing the engineering

9       reports, and the 2004 was their last report that was in

10       April.  The one came out recently was in January of

11       2010.

12                 Now, looking at what the engineer -- and it's

13       required by DEP that they inspect their tanks every

14       five years, it's a DEP rule requirement.  And looking

15       at the results or conclusion of the engineering reports

16       of the 2004 and the 2010, it didn't require as

17       extensive a repair as it was the last time, so we felt

18       that it was overstated, the amount that they included

19       in the test year for the current take maintenance for

20       the water.  Using the cost of the individual components

21       that they were going to have to do, going back to the

22       '04 numbers where we had cost justification, and the

23       cost of the tank inspection by the engineer, all those

24       costs staff recommended in accordance with our Rule

25       25-34.33, Provision 8, that it be amortized over five

FLORIDA PUBLIC SERVICE COMMISSION

138

1       years.

2                 I will relay to the Commission that in that

3       rule it does say, and have a provision unless a longer

4       or shorter period is proven or supported, and that is

5       what Ms. Merchant brought up earlier at the agenda on

6       this item is that she had recommended an eight year.

7       And one of her bases was in response to the OPC's data

8       request, and I wanted to point out that we had access

9       or that was made available because of the timing when

10       the data request was sent out by OPC.  It was basically

11       filed with the Commission Clerk about nine days prior

12       to the staff recommendation.  So we really quickly

13       tried to review this information, given the internal

14       deadlines there, but what Ms. Merchant has brought out

15       is that according to their response it was in 2006 is

16       when they last -- that's when they completed the tank

17       maintenance.  And, of course, if you carry that out

18       five years, which was done in the last case, it expired

19       on 2011.

20                 Now, the report for the current tank

21       maintenance came out -- it was issued in January of

22       2010.  Presently, the utility has not completed or

23       began, commenced that tank maintenance.  So it is

24       within the Commission's discretion using that rule,

25       unless a greater or shorter period of five years.  If

FLORIDA PUBLIC SERVICE COMMISSION

139

1       the Commission deems that it is necessary to go out

2       eight years, it's purely within your discretion to do

3       that.  Given that it has been '06 since the last time

4       it was actually done, and we were here in 2012, you

5       could extend the amortization period in order to

6       address that concern.

7                 And briefly to Ms. Merchant's other point, in

8       that same response to their discovery there was tank

9       maintenance for the sewer system of about 5,000 was the

10       total cost that the company completed in October of

11       2005.  And, again, they amortized that over five years.

12                 I just wanted to give the overview about the

13       evaluation that staff performs in rate cases very

14       briefly is that we do 100 percent audit of -- our

15       auditors do of the investment side.  But the resources

16       in order to do 100 percent of all operating expenses,

17       it would require a greater amount of resources in order

18       to get that done.  That's why our auditors use a

19       sampling, random sampling to come up with certain

20       expenses.  So that wasn't covered in the audit.  This

21       was covered and basically brought to attention today

22       that that was a concern.  I can tell you that this is

23       also for the tanks for the sewer side, it's the similar

24       rule.  It is the same for DEP.  It requires not only an

25       inspection of the water side, but it also requires that

FLORIDA PUBLIC SERVICE COMMISSION

140

1       for the wastewater side.

2                 We have no documentation for the wastewater

3       whether that 5,000 is going be on a prospective basis.

4       I couldn't tell you.  I can tell you that the revenue

5       requirement impact of that, again, as Ms. Merchant

6       mentioned, it was 1,018.  If you gross it up it's about

7       1,060.  It represents 2.16 of the revenue requirement

8       that staff has.

9                 Again, we just don't have the detail, I

10       guess, to comment to intelligently on the wastewater

11       side, but on the water side you can see -- I do think

12       that there is some room or discretion with the

13       Commission based on the rule as to whether you want to

14       expand that from five years amortization to eight

15       years.  If you do expand it to eight years, it would be

16       an additional reduction of $3,768 is what the effect

17       would be if you extend that.

18                 CHAIRMAN BRISÉ:  Okay.  Thank you.  I wasn't

19       clear, are you seeking to change your recommendation?

20                 MR. FLETCHER:  Not at this point, just that

21       it's at the Commission's discretion.

22                 CHAIRMAN BRISÉ:  Okay.  Thank you.

23                 MR. FLETCHER:  I was just pointing out that

24       the rule has latitude if -- based on Ms. Merchant's

25       concerns.

FLORIDA PUBLIC SERVICE COMMISSION

141

1                 CHAIRMAN BRISÉ:  Thank you.

2                 Commissioner Balbis.

3                 COMMISSIONER BALBIS:  Thank you, Mr.

4       Chairman.

5                 I have a question for staff on this issue,

6       and I believe you covered it in your statements, but

7       DEP requires it every -- I believe it is every five

8       years, is that correct?

9                 MR. FLETCHER:  That is correct.

10                 COMMISSIONER BALBIS:  So I think it makes

11       sense to keep staff's recommendation on amortizing this

12       over five years, and now you are going to have an issue

13       of possibly compounding these repairs if every five

14       years you're going to have to do it again, which is

15       likely.  So with that, I move staff's recommendation on

16       this issue.

17                 COMMISSIONER EDGAR:  Second.

18                 CHAIRMAN BRISÉ:  All right.  It has been

19       moved and properly seconded.  All in favor say aye.

20                 (Vote taken.)

21                 CHAIRMAN BRISÉ:  All right.  Moving on to

22       Issue Number 12.

23                 MR. FLETCHER:  Commissioners, Issue 12 is

24       staff's recommendation to decrease salary and wages for

25       water and wastewater for the utility's recommended pro

FLORIDA PUBLIC SERVICE COMMISSION

142

1       forma adjustment of a 3 percent salary increase.

2                 CHAIRMAN BRISÉ:  Commissioner Brown.

3                 COMMISSIONER BROWN:  Move staff.

4                 CHAIRMAN BRISÉ:  All right.  Is there a

5       second?

6                 COMMISSIONER GRAHAM:  Second.

7                 CHAIRMAN BRISÉ:  Okay.  Moved and properly

8       seconded.  All in favor say aye.

9                 (Vote taken.)

10                 CHAIRMAN BRISÉ:  All right.  Moving on to

11       Issue Number 13.

12                 MR. FLETCHER:  Commissioners, Issue 13 is

13       staff's recommendation regarding further adjustments to

14       O&M expense.  We have recommended adjustments for

15       miscellaneous expense regarding computer maintenance

16       and sludge removal.

17                 I guess at this time I can address the

18       handout by OPC on the first page, and that relates to

19       staff's first adjustment, miscellaneous expenses.  OPC

20       had recommended using a five-year average versus a

21       13 --  excuse me, versus a three-year average for

22       prospective ratemaking purposes for computer

23       maintenance is the top part.  Staff still stands by its

24       recommendation regarding three years for two reasons.

25       One is you can look at the timing of when the Phoenix

FLORIDA PUBLIC SERVICE COMMISSION

143

1       project was implemented.  It was implemented in late --

2       in December of 2008.  So you are going to have an

3       incremental increase in the computer maintenance as a

4       result of bringing in a new pretty massive software

5       package on-line.

6                 So we thought it best appropriate to use a

7       three-year average, given that fact, and I definitely

8       noted that she -- on the sheet that Ms. Merchant stated

9       there was an expense for AT&T.  That was a huge

10       increase in 2009 and 2010.  However, I see a few other

11       ones where it goes the other way.  So it's just kind

12       of -- you never know when one is going to transition

13       from one vendor to another vendor.  We don't have that

14       detail support there, so we stand by our recommendation

15       of the three-year average.  The bottom part of the

16       first page, this is a recommendation by OPC basically

17       to try to make a consistent adjustment with Issue 4 for

18       the Phoenix project that dealt with plant.  This one is

19       for the computer maintenance to try to carve out that

20       percentage of divested systems to make a reduction of

21       computer maintenance.

22                 I believe this is overstated.  You see the

23       10.82.  I agree with the percentage, divested

24       percentage there, but the computer maintenance that is

25       done on the intermediate parent level or WSC, it

FLORIDA PUBLIC SERVICE COMMISSION

144

1       contains a lot of other computer maintenance vendors,

2       not just for customer Oracle care and the J.D. Power

3       systems.  As you can see reflected on the 2008 level,

4       that was 1.2 million.  That was before Phoenix came

5       on-line.

6                 I did a review using the three-year average

7       from '09 to 2011 and it appears that there is only

8       $450,000 related to -- total amount related to the

9       Phoenix project.  So over a three-year average that is

10       only 150,000, and the result would be immaterial.  It

11       would be basically a -- it would be a $90 adjustment to

12       revenue requirement.  If you were to just isolate just

13       the computer maintenance three-year average associated

14       with customer Oracle care and J.D. financial system.

15       So we stand by our -- we believe it is immaterial and

16       there should be no further adjustment made to Issue 13.

17                 CHAIRMAN BRISÉ:  Thank you, Mr. Fletcher.

18                 Any questions or comments?

19                 Commissioner Balbis.

20                 COMMISSIONER BALBIS:  Thank you.

21                 And thank you, Mr. Fletcher, for that

22       explanation.  I know you and I had discussions about

23       the Phoenix project and the IT maintenance costs.  What

24       year did the Phoenix program come on-line?

25                 MR. FLETCHER:  It was December of 2008.

FLORIDA PUBLIC SERVICE COMMISSION

145

1                 COMMISSIONER BALBIS:  Okay.  And then looking

2       at this handout, in '08 you had total costs of about

3       1.2 million for maintenance, IT maintenance and then it

4       increased up to 1.7, and then up to 1.9 in the test

5       year, and then it has dropped back down.  And you

6       attribute a portion of that to the fact that there was

7       some new software put in, so there is a lot of work

8       associated with integrating?

9                 MR. FLETCHER:  Yes, Commissioner.

10                 COMMISSIONER BALBIS:  So wouldn't it be -- I

11       mean, wouldn't one option be to discount that spike in

12       costs and that it's not going to be a recurring cost

13       and, therefore, the more you spread it out the more

14       accurate it reflects on the true costs they are going

15       to have to incur?  And, if not, you're just capturing

16       that spike of activity associated with the

17       implementation of a $21 million computer program.

18                 MR. FLETCHER:  That's what staff was

19       attempting to do to kind of smooth that spike out with

20       the three-year average, but if the Commission -- I do

21       realize that it was a 1.9 million spike and 1.7, so it

22       raised pretty significantly since '08, it was at

23       700,000 and then it went back down.  You could remove

24       the test year and come up with another average or use

25       the 2011.  It's within the Commission's discretion with

FLORIDA PUBLIC SERVICE COMMISSION

146

1       the numbers provided here.  You could go -- it's

2       reasonable to take that out and do another average, if

3       you wish, it's your desire, or you can go with the 2011

4       amount if you believe that is reasonable on a

5       prospective basis.

6                 I was just trying to be consistent with the

7       three years, because we have used that quite commonly

8       with bad debt expense for prospective ratemaking

9       purposes, and then also with miscellaneous -- or,

10       excuse me, materials and supplies.  We have used that

11       in the past, a three-year average, and that tries to

12       smooth out any spikes or anomalies is to use that

13       average.  But I do see your point.

14                 COMMISSIONER BALBIS:  Well, I guess to the

15       Commission then, I think that recognizing the

16       additional work required to integrate that program, I

17       think any way we could smooth out those costs, again,

18       to be more accurate on what the recurring annual

19       maintenance costs will be would be better.  And I think

20       looking at a five-year average would accomplish that.

21       And as far as separating out the IT maintenance charges

22       for the Phoenix project, I think it would be consistent

23       if it's possible to carve out those additional costs

24       and be consistent with what we are doing with the costs

25       per ERC for the project itself to do the same thing.

FLORIDA PUBLIC SERVICE COMMISSION

147

1                 I understand staff's point that it's

2       immaterial, it's 80 or $90, but we are dealing with

3       customers that are paying high rates and, you know,

4       these things add up.  So I think the closer -- as close

5       as we can scrutinize this the better, and I would like

6       to be consistent on excluding the Phoenix charges for

7       the divested systems and going with the five-year

8       average.

9                 CHAIRMAN BRISÉ:  All right.  Any further

10       discussion?  All right.

11                 Then in that case we are ready to entertain a

12       motion.

13                 MR. FLETCHER:  If I may, I'm sorry to

14       interject.  Commissioner, would you like me to address

15       OPC's, I guess, presentation on the second page with

16       regard to transportation?  I believe it was associated

17       with this issue.

18                 It's on the second page.  I apologize.  I

19       didn't do that the first time.  Staff has looked at

20       this for the first time today, and we do see merit in

21       the 26 percent, the difference change in fuel prices.

22       However, there is a little bit of reservation because

23       just to apply the 26 percent to the transportation

24       expenses, that would basically be, you know,

25       overstating the adjustments, because there's a lot of

FLORIDA PUBLIC SERVICE COMMISSION

148

1       other things in there rather than just fuel to make

2       that just a blanket 26 percent increase and then

3       whatever the difference is reduce that from the test

4       year amount of transportation expense.

5                 You have stuff like preventative maintenance,

6       you have oil changes, other preventative maintenance

7       that are done to the vehicles.  As Ms. Merchant

8       suggested in the company's response in their MFRs of

9       why the increase in transportation expense is because

10       there is an aging fleet of their vehicles.  Well, the

11       aging fleet of your vehicles would cause more

12       preventative maintenance that would be required.  And

13       without knowing that I am uncomfortable in recommending

14       any further adjustment to transportation expense at

15       this time.  But I understand her thoughts, but without

16       having any more information, staff wouldn't recommend

17       any further adjustment.

18                 CHAIRMAN BRISÉ:  Thank you.

19                 Commissioner Edgar before we go back to

20       Commissioner Balbis for a motion.

21                 COMMISSIONER EDGAR:  Thank you.  And I did

22       have a question prior to that.  So, thank you.

23                 I appreciate you bringing up the

24       transportation issue, and I understand your response,

25       so thank you for that.  Back to the issue that we were

FLORIDA PUBLIC SERVICE COMMISSION

149

1       just talking about previously, which is how to account

2       and spread the costs appropriately for aspects related

3       to the Phoenix project.  You, I believe, suggested --

4       let me say alternate for lack of a better term --

5       suggested an accounting approach that would be slightly

6       different than what is in the staff recommendation.

7       That alternate approach, would that be different than

8       we have treated this issue for the allied systems that

9       have come to us in the recent past?

10                 MR. FLETCHER:  Yes.  This would be related to

11       the computer maintenance.  This is the first time the

12       Commission would address or make this adjustment

13       related to the computer maintenance associated with

14       what is allocated down from UI, yes.

15                 COMMISSIONER EDGAR:  It is -- and, again, I

16       recognize what the staff recommendation is and that you

17       have not changed from that, but have yet recognized

18       perhaps an alternate approach.  Is there a factor that

19       distinguishes this system on this particular point from

20       the others, to your knowledge?

21                 MR. FLETCHER:  To my knowledge, no.

22                 COMMISSIONER EDGAR:  All right.  Thank you.

23                 CHAIRMAN BRISÉ:  All right.  I think we are

24       prepared to entertain a motion, if there isn't further

25       discussion.

FLORIDA PUBLIC SERVICE COMMISSION

150

1                 Commissioner Balbis.

2                 COMMISSIONER BALBIS:  Thank you.  And if I

3       can just clarify what staff just answered.  So you

4       indicated that this would be the first time the

5       Commissioner has made the adjustment.  Is this the

6       first time we have addressed this issue, or have we

7       addressed it before and have not adjusted the Phoenix

8       expenses?

9                 MR. FLETCHER:  This is the first time we have

10       addressed this issue.  We have not dealt with this.

11       This is the very first time, and that is what makes it

12       different than the Commission's other previous

13       decisions related to Phoenix.  I'm sorry if I didn't

14       appropriately --

15                 COMMISSIONER BALBIS:  Okay.  With that, then

16       I move that we revise staff's recommendation and give

17       them the administrative authority to come up with the

18       proper numbers to do the five-year average for the

19       annual IT costs with the adjustment of removing the IT

20       maintenance for the Phoenix portion of it consistent

21       with what we are doing with the capital costs for that.

22       If that's clear.

23                 CHAIRMAN BRISÉ:  Okay.  Commissioner Edgar.

24                 COMMISSIONER EDGAR:  I can second that if,

25       indeed, the motion does include or the other pieces of

FLORIDA PUBLIC SERVICE COMMISSION

151

1       the item would carry through on the staff

2       recommendation, with that understanding.

3                 CHAIRMAN BRISÉ:  All right.  It has been

4       moved and seconded.  Any further discussion on this

5       issue?

6                 Okay.  Seeing none, all in favor say aye.

7                 (Vote taken.)

8                 CHAIRMAN BRISÉ:  All right.  The motion

9       carries.

10                 Moving on to Issue 14.

11                 MR. FLETCHER:  Commissioners, Issue 14 is

12       staff's recommendation regarding the appropriate amount

13       of rate case expense.  I guess at this time if we could

14       broach the comments made by the utility.  The first one

15       shows up on Page 30 of staff's recommendation.  It is

16       the third paragraph starting right above the utility

17       consultant fees, that paragraph above that.

18                 This was Mr. Friedman's concern on this.

19       Staff believes it should be consistent with the

20       Commission's decision in the Aqua case because of

21       similar circumstances.  In the Aqua case, like in

22       Labrador, they have had a recent rate case.  And like

23       in the Aqua case, the Commission made an adjustment to

24       go with the legal consultant hourly rate back down to

25       the previous rate case expense, or previous hourly rate

FLORIDA PUBLIC SERVICE COMMISSION

152

1       of the legal consultant in the last rate case.  That

2       was your decision, and because there were similar fact

3       patterns here, staff wanted to be consistent with your

4       recent decision and reduce the hourly rate of the legal

5       consultant down to the 2008 level, and we stand by our

6       recommendation to be consistent.

7                 The other one was that was raised by OPC

8       dealing on the same page beginning on Page 30.  The

9       accounting consultant fees is discussed briefly.  I

10       guess, if I could direct your attention to Page 31,

11       actually, the last paragraph.

12                 The Commission did have great discussion at

13       that Commission conference in the last case where OPC

14       actually raised concern regarding -- they argued that

15       it was excessive rate case expense in light of the

16       recent in-service of the Phoenix project and what it

17       should be able to do, and the Commission basically

18       ultimately decided to make an adjustment to remove all

19       of the accounting consultant fees.  They kept the WSC

20       in-house employees in the last case, but did remove

21       that component.

22                 I will note that it could have been

23       elaborated a little bit more fully in that paragraph is

24       that the Commission's last decision that was also

25       subject to a settlement, and that has no precedential

FLORIDA PUBLIC SERVICE COMMISSION

153

1       value for the Commission.  Just because you, the

2       Commission, removed all of the accounting consulting

3       fees the last time because it was in conjunction with

4       ultimately through a settlement, there is no

5       precedential value there.  Basically, you can go back

6       to the drawing board and just look at this case.  What

7       did it take to process this case?  And to us we kind

8       of -- we were aware of that fact, and it came down to

9       the total amount of rate case expense.

10                 With staff's oral modification, it brought

11       the total rate case expense up to about 88,000.  Given

12       the level that was approved in the 2008 case of almost

13       70,000, we didn't feel that -- it would kind of be

14       arbitrary to make adjustment to the accounting

15       consultant fees if we were to do that.  There's nothing

16       that we can just hang our hat on and say, well, we're

17       going to just put it equal to the amount.  No, there

18       was work performed.  And in this case, looking at the

19       overall total rate case expenses, we felt that it was

20       justified, so we stand by our recommendation.

21                 CHAIRMAN BRISÉ:  Thank you very much.

22                 Commissioner Brown.

23                 COMMISSIONER BROWN:  Thank you.

24                 And Mr. Friedman did raise an interesting

25       point regarding the legal fees.  However, I think Mr.

FLORIDA PUBLIC SERVICE COMMISSION

154

1       Fletcher's response regarding the similar fact pattern

2       to our most recent decision is more appropriate.

3                 Getting to the accounting consulting fees, is

4       the Phoenix project designed to address accounting

5       issues associated with rate cases?

6                 MR. FLETCHER:  Well, I guess I would answer

7       this way.  The Phoenix project, it was initially

8       designed in order for you to take the numbers off of

9       their general ledger from the Phoenix, that is

10       generated by Phoenix, and to just input those into the

11       MFRs.  So at that point you're dealing with data entry.

12       I hope that addresses your question.

13                 COMMISSIONER BROWN:  And I'm not arguing that

14       staff didn't come up with an appropriate number

15       recommending for the accounting consulting fees, I just

16       want to know if there are maybe duplicative efforts.

17                 MR. FLETCHER:  I understand now.  I'm sorry.

18       Yes, there are, but they have been addressed with the

19       recommended removal of the WSC in-house employees.

20       There is numerous and time-consuming hours that go into

21       roll-forward adjustments, and that is the result of the

22       utility basically not booking to a certain ledger in

23       their Phoenix project the Commission-ordered

24       adjustments in the last rate case.  So in this case, as

25       we saw in the MFRs, there was a massive amount of time

FLORIDA PUBLIC SERVICE COMMISSION

155

1       that it took to calculate those roll-forward

2       adjustments, and basically in order to get the numbers

3       that need to be inserted into the MFRs.  But, again,

4       that is basically addressed with staff's recommendation

5       with the removal of the WSC in-house employees, that

6       additional expense.

7                 COMMISSIONER BROWN:  I appreciate you

8       bringing that up.  And just a final question really for

9       Labrador about the incremental increase in those

10       numbers of WSC in-house employees and the hours spent

11       that you provided.  Can you explain a little bit that

12       point of why there is such a great increase from the

13       last rate case?

14                 MR. FRIEDMAN:  This is Marty Friedman.  No, I

15       can't.  This issue hasn't arisen and so I haven't

16       discussed with the WSC folks up there why there would

17       be any -- you know, what the difference would be.

18       Honestly I don't know that answer.

19                 COMMISSIONER BROWN:  Okay.  Thanks.

20                 CHAIRMAN BRISÉ:  All right.  Any further

21       discussion on this item?  Okay.  We are ready to

22       entertain a motion.

23                 Commissioner Brown.

24                 COMMISSIONER BROWN:  I move staff

25       recommendation.

FLORIDA PUBLIC SERVICE COMMISSION

156

1                 CHAIRMAN BRISÉ:  All right.  Is there a

2       second?

3                 Okay.  It has been moved and properly

4       seconded.  All in favor say aye.

5                 (Vote taken.)

6                 CHAIRMAN BRISÉ:  The item is approved.

7                 Moving on to Item 15.  I don't know if it is

8       appropriate at this time to begin to look at certain

9       blocks of issues to see if we could expedite the

10       process a little bit.  So, Commissioner Graham.

11                 COMMISSIONER GRAHAM:  I will move staff

12       recommendations on Item 15 through 20.

13                 CHAIRMAN BRISÉ:  Okay.  Take a minute to take

14       a look at that, and if you find that that is

15       appropriate, then we will entertain a second and then a

16       vote.

17                 COMMISSIONER EDGAR:  Mr. Chairman, I can

18       second with the understanding that if there are

19       questions there is the opportunity for them to be

20       addressed.

21                 CHAIRMAN BRISÉ:  Sure.  All right.  So it has

22       been moved and properly seconded.

23                 MR. FLETCHER:  Chairman, if I could just

24       clarify the motion.  And that would be giving, I

25       believe, staff administrative authority to adjust,

FLORIDA PUBLIC SERVICE COMMISSION

157

1       based on the Commission's decision on the previous

2       issues?

3                 CHAIRMAN BRISÉ:  Yes.

4                 MR. FLETCHER:  Thank you.

5                 COMMISSIONER GRAHAM:  That was my motion,

6       yes.

7                 CHAIRMAN BRISÉ:  All right.  Thank you for

8       pushing us toward that clarification.  Issues 15

9       through 20, to see if there is any further questions or

10       discussion on those issues.

11                 Going once.  Twice.  Seeing none, all in

12       favor say aye.

13                 (Vote taken.)

14                 CHAIRMAN BRISÉ:  All right.  We have dealt

15       with Issues 15 through 20 in the affirmative.

16                 Moving on to Issue 21.

17                 MS. BROWN:  Commissioners, I think we had an

18       earlier discussion about your wishing to keep this

19       docket open, and I think I mentioned that there may be

20       some further activity in the docket, but I don't know

21       why we can't keep it open, while you all couldn't

22       decide to keep it open and then we will see what

23       happens from there.

24                 CHAIRMAN BRISÉ:  All right.

25                 Commissioner Edgar.

FLORIDA PUBLIC SERVICE COMMISSION

158

1                 COMMISSIONER EDGAR:  Ms. Brown hit part of

2       the point that I was going to make.  Recognizing that

3       this is a PAA, that there is an administrative time

4       period for the possibility for a petition to be filed

5       for hearing, and that as soon as the recommendation

6       is -- if no petition for hearing were to be filed, then

7       the docket would be administratively closed.  However,

8       as part of our discussion regarding customer

9       satisfaction and ROE, my understanding is that per our

10       staff's comments that to leave the docket open for

11       further addressing that issue in the future, if

12       necessary, is more appropriate, and so consider that a

13       motion.

14                 CHAIRMAN BRISÉ:  All right.  It has been

15       moved.  Do we have second?

16                 COMMISSIONER BALBIS:  Second.

17                 CHAIRMAN BRISÉ:  All right.  It has been

18       moved and seconded.

19                 Commissioner Balbis, did you have some

20       comments that you need to make on this?

21                 COMMISSIONER BALBIS:  I just had to check to

22       make sure that I was not the prehearing officer.  And

23       seeing that it is Commissioner Graham, I have no

24       problem keeping it open.

25                 (Laughter.)

FLORIDA PUBLIC SERVICE COMMISSION

159

1                 CHAIRMAN BRISÉ:  All right.  Understood.

2                 Commission Graham.

3                 COMMISSIONER GRAHAM:  I guess a question to

4       staff.  There is a fixed time frame for PAAs for

5       somebody to object to the Commission outcome.  If we do

6       not close this docket does that change anything to the

7       time frames?

8                 MS. BROWN:  No, I don't think so.  And I can

9       word the order to make that clear.

10                 COMMISSIONER GRAHAM:  You don't think so or

11       you're sure?

12                 MS. BROWN:  This time I'm sure.

13                 COMMISSIONER GRAHAM:  Okay.  So let the

14       record show that you're sure.

15                 MS. BROWN:  I think so.

16                 (Laughter.)

17                 CHAIRMAN BRISÉ:  I don't know if that

18       satisfies you.

19                 MS. BROWN:  Just kidding.

20                 CHAIRMAN BRISÉ:  All right.  So we have a

21       motion that has been properly seconded.  All in favor

22       say aye.

23                 (Vote taken.)

24                 CHAIRMAN BRISÉ:  All right.  Thank you very

25       much for your hard work on this docket.

FLORIDA PUBLIC SERVICE COMMISSION

160

1                 COMMISSIONER EDGAR:  Thank you to the

2       customers.

3                 CHAIRMAN BRISÉ:  We want to thank all the

4       customers for coming out and participating today.  We

5       always appreciate the fact that all of you are

6       generally interested not only because it affects your

7       pocket and your service and all of that, but it just

8       helps in the whole process of decision-making.  So we

9       certainly appreciate your willingness to travel up

10       here, and I know that that could be a strain or a

11       difficulty, particularly in these times.  We hope that

12       you travel well and safely to your destination.  And we

13       have to continue, so if you are to exit at this time,

14       if that was your desire, we will give you a minute or

15       two to do so.

16                 We are going to take maybe a three or

17       four-minute informal recess as there is an exit at this

18       time.

19                          * * * * * * *

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

161

1

2

3       STATE OF FLORIDA   )

4                          :     CERTIFICATE OF REPORTERS

5       COUNTY OF LEON     )

6

WE, JANE FAUROT, RPR, and LINDA BOLES, RPR, CRR,

7       Official Commission Reporters, do hereby certify that

the foregoing proceeding was heard at the time and

8       place herein stated.

9             IT IS FURTHER CERTIFIED that we stenographically

reported the said proceedings; that the same has been

10       transcribed under our direct supervision; and that this

transcript constitutes a true transcription of our

11       notes of said proceedings.

12             WE FURTHER CERTIFY that we are not a relative,

employee, attorney or counsel of any of the parties,

13       nor are we a relative or employee of any of the

parties' attorneys or counsel connected with the

14       action, nor are we financially interested in the

action.

15

16              DATED THIS 30th DAY OF MARCH, 2012.

17

18

19       ________________________    ________________________

20           JANE FAUROT, RPR         LINDA BOLES, CRR, RPR

21                FPSC Official Commission Reporters

850-413-6732/6734

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION