## 2007-2011 Update
Energy Supply
5-Year Capital Forecast
Station | Unit | Project Title | 2007 | 2008 | 2009 | 2010 | 2011 | 5 YEAR FORECAST (2007 thru 2011)
BB | 1 | BB1 2ND RADIANT SH REPL | [5 empty] | 0
BB | 1 | BB1 2ND RADIANT TUBING REPL |  | 200000 | 2000000 | 2000000 |  | 4200000
BB | 1 | BB1 AND 2 CEM REPL |  |  |  | 250000 |  | 250000
BB | 1 | BB1 and 2 NEURAL F GAS REPL | [5 empty] | 0
BB | 1 | BB1 APH Hot and Inter Basket Repl | [5 empty] | 0
BB | 1 | BB1 BFP INTERNAL ELEMENT REPL |  |  |  | 200000 |  | 200000
BB | 1 | BB1 BURNER NOZZLES REPL | [5 empty] | 0
BB | 1 | BB1 CLASSIFIER/CHUTES/BOXES |  |  |  | 800000 |  | 800000
BB | 1 | BB1 Coal Gates/Blast Gates Repl | [5 empty] | 0
BB | 1 | BB1 COALFEEDER REPL | [5 empty] | 0
BB | 1 | BB1 COLD GAS DUCT REPL |  |  |  | 500000 |  | 500000
BB | 1 | BB1 Cold Reheat VVs & Vent Lines | [5 empty] | 0
BB | 1 | BB1 COMPLETE SOFT STATION CONTROLS |  |  |  | 575000 |  | 575000
BB | 1 | BB1 Condenser Repl | [5 empty] | 0
BB | 1 | BB1 Control Rm Relocation/Controls |  |  | 200000 |  |  | 200000
BB | 1 | BB1 E&W PPPTR CONTROLS REPL |  |  | 2665822 | 110000 |  | 2775822
BB | 1 | BB1 E. PRECIPITATOR INLET NOZZLE DUCT REPL | [5 empty] | 0
BB | 1 | BB1 ECONOMIZER ASH REINJECTION | 72644 | 15000 | 452000 | 403000 |  | 942644
BB | 1 | BB1 EH2 REPL |  |  | 600000 |  |  | 600000
BB | 1 | BB1 EH4 REPL |  |  | 500000 | 250000 |  | 750000
BB | 1 | BB1 EH6 REPL | [5 empty] | 0
BB | 1 | BB1 EXCITER | [5 empty] | 0
BB | 1 | BB1 Expansion Jt Rep |  |  |  | 200000 |  | 200000
BB | 1 | BB1 Furnace Floor Refractory | [5 empty] | 0
BB | 1 | BB1 FURNACE FLOOR REPL |  | 200000 | 2000000 | 2000000 |  | 4200000
BB | 1 | BB1 GEN H2 COOLER REPL |  |  | 175000 | 200000 |  | 375000
BB | 1 | BB1 GENERATOR REWIND |  |  |  | 5000000 |  | 5000000
BB | 1 | BB1 Hot Air Duct Expansion Jt Repl | [5 empty] | 0
BB | 1 | BB1 HP TURBINE STEAM PATH IMPR |  |  |  | 1500000 |  | 1500000
BB | 1 | BB1 HYDROGEN DRYER REPL |  |  |  | 75000 |  | 75000
BB | 1 | BB1 IGNITORS REPLACEMENT | [5 empty] | 0
BB | 1 | BB1 LP TURBINE SEALS REPL | [5 empty] | 0
BB | 1 | BB1 MCC ITI & IT2 REPL |  |  | 25000 | 25000 |  | 50000
BB | 1 | BB1 MILL ISOLATION DAMPER |  |  | 0 | 300000 |  | 300000
BB | 1 | BB1 MISC | [5 empty] | 0
BB | 1 | BB1 Nosearch Repl | [5 empty] | 0
BB | 1 | BB1 NOX WASTAGE OVERLAY | [5 empty] | 0
BB | 1 | BB1 PAF WHEEL,SHAFT/HOUSING REPL |  |  |  | 300000 |  | 300000
BB | 1 | BB1 PENTHOUSE SEALS/CASING REPL |  |  |  | 250000 |  | 250000
BB | 1 | BB1 PPTR AVC AND RAPPER CONTROL |  |  |  | 200000 |  | 200000
BB | 1 | BB1 PRECIPITATOR COMMON OUTLET EXP JTS |  |  |  | 800000 |  | 800000
BB | 1 | BB1 PULV LUBE OIL SYSTEM |  | 150000 |  |  |  | 150000
BB | 1 | BB1 PULV MN PINION |  |  |  | 100000 |  | 100000
BB | 1 | BB1 PULV RING GEAR/MN PINION REPL |  |  |  | 300000 |  | 300000
BB | 1 | BB1 PULVERIZER GEARBOX REPL |  |  |  | 100000 |  | 100000
BB | 1 | Bb1 Slag Tank Doghouse Enclosure | [5 empty] | 0
BB | 1 | BB1 Slag Tank Grinders |  |  |  | 0 |  | 0
BB | 1 | BB1 Slag Tank Neck Repl | [5 empty] | 0
BB | 1 | BB1 Slag Tank Roofs & Refractory | [5 empty] | 0
BB | 1 | BB1 Sootblower replacement |  |  | 300000 | 300000 |  | 600000
BB | 1 | BB1 Sootblowing System |  |  | 50000 | 50000 | 500000 | 600000
BB | 1 | BB1 THROTTLE VALVES MOD |  |  |  | 200000 |  | 200000
BB | 1 | BB1 Transformer Deluge system | [5 empty] | 0
BB | 1 | BB1 Turbine Improvement | [5 empty] | 0
BB | 1 | BB1 TURBINE LUBE OIL COOLER ADD |  |  |  | 150000 |  | 150000
BB | 1 | BB1 W PRECIPITATOR INLET NOZZLE DUCT | [5 empty] | 0
BB | 1 | BB1 W. UPPER PPTR OUTLET DUCTS | [5 empty] | 0
BB | 1 | BB1 RELIABILITY PROJECTS |  |  |  | 4113000 |  | 4113000
BB | 1 | BB1 WEST PPPTR ELETRODE/PLATE REPL | [5 empty] | 0
BB | 1 | BB1 West Precipitator Outlet Ducts Repl | [5 empty] | 0
BB | 1 | ECRC BB1 BOILER WINDBOX | 0 |  |  | 0 |  | 0
BB | 2 | BB2 2EH4 REPLACEMENT |  | 250000 | 500000 |  |  | 750000
BB | 2 | BB2 2ND RADIANT SH REPL | 200000 | 1782000 | 2000000 |  |  | 3982000
BB | 2 | BB2 6TH PT HTR REPL | [5 empty] | 0
BB | 2 | BB2 BFP INTERNAL ELEMENT REPL |  | 0 | 100000 |  |  | 100000
BB | 2 | BB2 Burner Front Replacement | [5 empty] | 0
BB | 2 | BB2 CIRC WATER PUMP REFURBISH |  |  |  |  | 150000 | 150000
BB | 2 | BB2 COAL FEEDER REPL | [5 empty] | 0
BB | 2 | BB2 COAL FEEDER REPL | 402851 |  |  |  |  | 402851
BB | 2 | BB2 COAL PIPES & HANGERS |  |  | 150000 |  |  | 150000
BB | 2 | BB2 Complete Soft Station Controls |  |  | 575000 |  |  | 575000
BB | 2 | BB2 Condenser Ball Tube Cleaner (Non-Budgeted) | [5 empty] | 0
BB | 2 | BB2 Condenser Bundle Replacement | [5 empty] | 0
BB | 2 | BB2 Control Rm Relocation/ Controls |  | 200000 |  |  |  | 200000
BB | 2 | BB2 COOLING WATER PIPING REPL |  |  | 500000 |  |  | 500000
BB | 2 | BB2 CRUSHER DRYERS (6) |  |  | 700000 |  |  | 700000
BB | 2 | BB2 DUCTS/INSULATION/LAGGING |  |  | 0 |  |  | 0
BB | 2 | BB2 ECONOMIZER ASH REINJECTION LINE | 72750 | 452000 | 423000 |  |  | 947750
BB | 2 | BB2 Feedwater Heater Drip Lines Repl |  | 150000 | 150000 |  |  | 300000
BB | 2 | BB2 Fuel System/Reliability | [5 empty] | 0
BB | 2 | BB2 Furnace Floor Refractory Replacement |  |  | 500000 |  |  | 500000
BB | 2 | BB2 GENERATOR RETAINING RINGS |  |  | 500000 |  |  | 500000
BB | 2 | BB2 Generator Rewind |  |  | 5000000 |  |  | 5000000
BB | 2 | BB2 H2 DRYER REPL |  |  | 75000 |  |  | 75000
BB | 2 | BB2 Ignition Oil Gun Repl | [5 empty] | 0
BB | 2 | BB2 LP TURBINE SEALS/BLADE COATING REPL | [5 empty] | 0
BB | 2 | BB2 MILL ISOLATION DAMPERS |  | 200000 | 200000 |  |  | 400000
BB | 2 | BB2 PA FANS WHEEL MOD. (7" diam. shafts) |  |  | 300000 |  |  | 300000
BB | 2 | BB2 PENTHOUSE SEALS AND CASING REPL. |  | 75000 | 175000 |  |  | 250000
BB | 2 | BB2 PRECIP AVC/RAPPER CONTROLS REPL |  |  | 200000 |  |  | 200000
BB | 2 | BB2 PRECIP CONTROLS REPL |  |  | 140000 |  |  | 140000
BB | 2 | BB2 PRECIP E&W INLET DUCTS/HOPPERS |  | 0 | 2500000 |  |  | 2500000
BB | 2 | BB2 PRECIP E&W OUTLET DUCT REPL |  | 500000 | 1000000 |  |  | 1500000
BB | 2 | BB2 Reliability | [5 empty] | 0
BB | 2 | BB2 SIDE WATERWALL WELD OVERLAY ADD | [5 empty] | 0
BB | 2 | BB2 SOOT BLOWING SYSTEM | 60000 | 50000 | 50000 |  |  | 160000
BB | 2 | BB2 SOOTBLOWER REPL |  | 300000 | 400000 |  |  | 700000
BB | 2 | BB2 THROTTLE VALVE MODS |  |  | 150000 |  |  | 150000
BB | 2 | BB2 TURBINE SEALS REPL |  |  | 500000 |  |  | 500000
BB | 2 | BB2 UPPER PRECIP INLET NOZZLES |  | 900000 | 1000000 |  |  | 1900000
BB | 2 | BB2 WDPF CONTROLS REPL | [5 empty] | 0
BB | 3 | BB3 #3 TRANSFORMER DELUGE SYSTEM | 30000 | 30000 |  |  |  | 60000
BB | 3 | BB3 2ND PT HTR | 526899 | 974000 |  |  |  | 1500899
BB | 3 | BB3 AIR REMOVAL PUMPS |  | 300000 |  |  |  | 300000
BB | 3 | BB3 AK25 BREAKERS (10) |  | 100000 |  |  |  | 100000
BB | 3 | BB3 ALTERREX IMPROVEMENTS |  | 200000 |  |  |  | 200000
BB | 3 | BB3 APH HOT SIDE SOOTBLOWER |  | 200000 |  |  | 1000000 | 1200000
BB | 3 | BB3 BACKUP POWER FEEDS | [5 empty] | 0
BB | 3 | BB3 BATTERY REPL |  | 125000 | 0 |  |  | 125000
BB | 3 | BB3 Boiler Controls Replacemement | [5 empty] | 0
BB | 3 | BB3 BOILER FLOOR | 1849992 | 1854000 |  |  |  | 3703992
BB | 3 | BB3 BOILER IGNITOR REPL | [5 empty] | 0
BB | 3 | BB3 BOILER STEAM DRUM INTERNALS | 615257 | 985000 |  |  |  | 1600257
BB | 3 | BB3 BURNER FRONT REPLACEMENT | 388716 | 1694000 |  |  |  | 2082716
BB | 3 | BB3 CIRCULATORS SHAFT/BRNGS REPL |  | 400000 |  |  |  | 400000
BB | 3 | BB3 CLASSIFIERS | [5 empty] | 0
BB | 3 | BB3 COAL PIPES & HANGERS |  | 400000 |  |  |  | 400000
BB | 3 | BB3 COALFEEDER REPL | 420394 | 0 |  |  |  | 420394
BB | 3 | BB3 COARSE MESH SCREEN REPLACEMENT |  | 400000 |  |  |  | 400000
BB | 3 | BB3 COLD GAS DUCT REPL | [5 empty] | 0
BB | 3 | BB3 COLD OUTLET DUCT REPL |  | 325000 |  |  |  | 325000
BB | 3 | BB3 COMPUTER PROJECT | 1706912 | 818000 |  |  |  | 2524912
BB | 3 | BB3 CONDENSER BALL CLEANING REP | 146429 | 462000 |  |  |  | 608429
BB | 3 | BB3 CONDENSER DISCHARGE VALVES REPL | 100000 | 40000 |  |  |  | 140000
BB | 3 | BB3 Condenser Replacement | 216260 | 923000 |  |  |  | 1139260
BB | 3 | BB3 Controls/WDPF to Ovation Replacement | [5 empty] | 0
BB | 3 | BB3 COOLING TOWER FILL REPL | 85793 | 350000 |  |  |  | 435793
BB | 3 | BB3 COOLING WATER PIPING REPLACEMENT |  | 500000 |  |  |  | 500000
BB | 3 | BB3 DUCT HARDENING | 299921 | 500000 |  |  |  | 799921
BB | 3 | BB3 DUCT ROOF EAST | 88374 | 100000 |  |  |  | 188374
BB | 3 | BB3 ECON OUTLET ELBOW REPL | 865883 | 220000 |  |  |  | 1085883
BB | 3 | BB3 Economizer Ash Reinjection | 626382 | 431000 |  |  |  | 1057382
BB | 3 | BB3 ECONOMIZER REPLACEMENT (NEW) | 2405083 | 1061000 |  |  |  | 3466083
BB | 3 | BB3 EH1 REPLACEMENT | 526899 | 974000 |  |  |  | 1500899
BB | 3 | BB3 EXCITER REFURBISHMENT |  | 150000 |  |  | 100000 | 250000
BB | 3 | BB3 FDWTR Heater Level Control Repl | [5 empty] | 0
BB | 3 | BB3 FLYASH HOPPER REPL | [5 empty] | 0
BB | 3 | BB3 Furnace Floor Refractory | 7652 | 442000 |  |  |  | 449652
BB | 3 | BB3 Furnace Side Walls Repl | 2593345 | 823000 |  |  |  | 3416345
BB | 3 | BB3 FURNACE WATERWALL WELD OVERLAY | [5 empty] | 0
BB | 3 | BB3 H2 DRYER REPL |  | 100000 |  | 1000000 | 1000000 | 2100000
BB | 3 | BB3 MILL ISOLATION DAMPERS | 219870 | 350000 |  |  |  | 569870
BB | 3 | BB3 Misc Blankets |  |  |  |  | 100000 | 100000
BB | 3 | BB3 Mn Steam & BFP Turbines Control System | [5 empty] | 0
BB | 3 | BB3 NOSE ARCH REFRACTORY WALL REPL | [5 empty] | 0
BB | 3 | BB3 NOSE ARCH REPL | 726641 | 1218000 |  |  |  | 1944641
BB | 3 | BB3 NOX WASTAGE OVERLAY | [5 empty] | 0
BB | 3 | BB3 PENTHOUSE SEALS AND CASING REPL | 22922 | 220000 |  |  |  | 242922
BB | 3 | BB3 PLENUM SECTION BETWN DAMPERS | 650393 | 350000 |  |  |  | 1000393
BB | 3 | BB3 PPTR CONTROLS REPL |  | 100000 |  |  |  | 100000
BB | 3 | BB3 PRECIPITATOR AVC AND RAPPER CNTRL REP | [5 empty] | 0
BB | 3 | BB3 PRECIPITATOR HOPPER REPL (3) | 978909 | 1000000 |  | 5000000 | 5000000 | 11978909
BB | 3 | BB3 PULV. GEAR BOX REPL. | [5 empty] | 0
BB | 3 | BB3 PULV. MAIN PINION REPL. |  | 75000 |  |  |  | 75000
BB | 3 | BB3 PULV. SHELL/HEAD & THROAT LINERS (MATL) | 500000 | 1000000 |  |  |  | 1500000
BB | 3 | BB3 REPLACE 480 VOLT EMERG. GENERATOR |  | 75000 |  |  | 150000 | 225000
BB | 3 | BB3 SALT WATER PIPING SYST REPL |  | 150000 |  |  | 200000 | 350000
BB | 3 | BB3 SERVICE AND RECYCLE WATER PIPING REPLACEMENT |  | 200000 |  |  |  | 200000
BB | 3 | BB3 Settling Basin Sump Controls Repl | [5 empty] | 0
BB | 3 | BB3 SLAG TANK REPLACEMENT | 792110 | 208000 |  |  |  | 1000110
BB | 3 | BB3 SOOTBLOWER REPL | 250000 | 500000 | 250000 |  |  | 1000000
BB | 3 | BB3 Sootblower System Upgrade to Ovation |  |  |  |  | 500000 | 500000
BB | 3 | BB3 Sootblower Control Valve Repl | 50952 | 50000 |  |  |  | 100952
BB | 3 | BB3 SW CORNER PANEL REPL | [5 empty] | 0
BB | 3 | BB3 TAIL END DAMPERS | 281474 | 200000 |  |  |  | 481474
BB | 3 | BB3 TURBINE R7 BLADES REPL |  | 300000 |  |  |  | 300000
BB | 3 | BB3 UPPER PPTR VERT DUCT EXP JT REPL |  | 75000 |  |  |  | 75000
BB | 3 | BB3 UPPER PRECIP OUTLET NOZZ/DUCT | 409024 | 1000000 |  |  |  | 1409024
BB | 3 | BB3 VOLTAGE REGULATOR REP |  | 125000 |  |  |  | 125000
BB | 3 | BB3B1 TRUNNION BEARING REPL | [5 empty] | 0
BB | 4 | BB WDPF to Ovation Migration | [5 empty] | 0
BB | 4 | BB4 #4 TRANSFORMER DELUGE SYSTEM | [5 empty] | 0
BB | 4 | BB4 3RD PT HTR REPLACEMENT | 989926 |  |  |  |  | 989926
BB | 4 | BB4 A BOTTOM ASH PUMP REPL |  | 160000 |  |  |  | 160000
BB | 4 | BB4 AIR REMOVAL PUMPS |  | 450000 |  |  |  | 450000
BB | 4 | BB4 APH HOT SIDE SOOTBLOWER ADDITION | 115409 |  |  |  |  | 115409
BB | 4 | BB4 APH SEAL REPL | 459280 |  |  |  |  | 459280
BB | 4 | BB4 BATTERIES,GOULD 1800 A/H BATTERY | 125000 |  |  |  |  | 125000
BB | 4 | BB4 BLOWDOWN LINE TO SUMP | 0 |  |  |  |  | 0
BB | 4 | BB4 BOILER ACID CLEANING | [5 empty] | 0
BB | 4 | BB4 BOILER FEED PP INTERNAL ELEMENTS | 123800 |  |  |  |  | 123800
BB | 4 | BB4 BOILER IGNITOR REPL |  |  |  |  | 2000000 | 2000000
BB | 4 | BB4 BOILER ROOF | 0 |  |  |  |  | 0
BB | 4 | BB4 BOTTOM ASH GRINDERS | 84000 |  |  |  | 1000000 | 1084000
BB | 4 | BB4 BOTTOM ASH NECK REPLACEMENT | 137420 |  |  |  | 1000000 | 1137420
BB | 4 | BB4 BURNER/AIR NOZZLE AND OIL GUNS REPL | 761122 |  |  | 4950000 |  | 5711122
BB | 4 | BB4 C GRINDING ASSEMBLY | [5 empty] | 0
BB | 4 | BB4 COAL FEEDER REPL |  |  |  |  | 1000000 | 1000000
BB | 4 | BB4 COAL PIPES AND HANGERS | 91336 |  |  |  |  | 91336
BB | 4 | BB4 coalfield conveyors |  |  |  |  | 1500000 | 1500000
BB | 4 | BB4 COOLING WATER PIPING | 282349 |  |  |  |  | 282349
BB | 4 | BB4 CWP SHAFT BEARING REPL |  |  | 0 |  |  | 0
BB | 4 | BB4 DRAIN SYSTEM | 0 |  |  |  |  | 0
BB | 4 | BB4 DUCT PREPAYMENT | [5 empty] | 0
BB | 4 | BB4 ECONOMIZER ASH PLATFORM | 36242 |  |  |  |  | 36242
BB | 4 | BB4 EH1 FEEDWATER HTR REPL |  |  |  | 500000 |  | 500000
BB | 4 | BB4 EH2 FEEDWATER HTR REPL |  |  |  | 500000 | 200000 | 700000
BB | 4 | BB4 FD/ID Fans Variable Speed Drives Upgrades | 904902 |  |  |  |  | 904902
BB | 4 | BB4 FD/ID INLET FAN INLET VANE DRIVES | 0 |  |  |  |  | 0
BB | 4 | BB4 FEEDWATER HEATER LEVEL CONTROLS UPGRADE | 300306 |  |  |  |  | 300306
BB | 4 | BB4 FINISHING SUPERHEATER REPLACEMENT | 1846385 |  |  |  |  | 1846385
BB | 4 | BB4 FRONT REHEATER REPLACE | 2698519 |  |  |  |  | 2698519
BB | 4 | BB4 FRONT REHEATER REPLACE | 0 |  |  |  |  | 0
BB | 4 | BB4 FURNACE FLOOR SLOPES | 2018245 |  |  |  |  | 2018245
BB | 4 | BB4 GENERATOR REWIND | [5 empty] | 0
BB | 4 | BB4 H2 DRYER | 100000 |  |  |  |  | 100000
BB | 4 | BB4 HOT SIDE APH SOOTBLOWER ADD | [5 empty] | 0
BB | 4 | BB4 HOT AIR GATES REP |  |  |  |  | 500000 | 500000
BB | 4 | BB4 HP FLYASH PP REPL | 175000 | 0 |  |  |  | 175000
BB | 4 | BB4 HP Turbine Steam Path Improve |  |  |  |  | 1000000 | 1000000
BB | 4 | BB4 MAIN & BFP TURBINES TSI SYSTEM REPLACEMENT | 292441 |  |  |  |  | 292441
BB | 4 | BB4 MCC4B6 | 20000 |  |  |  | 200000 | 220000
BB | 4 | BB4 MILL FIRE PROTECTION ADDITION | 0 |  |  |  |  | 0
BB | 4 | BB4 NOX WASTAGE OVERLAY | 1358084 |  |  |  |  | 1358084
BB | 4 | BB4 ADM BUILDING MODS | 0 |  |  |  |  | 0
BB | 4 | BB4 OUTLET WATER BOX MANWAY ADD | 80000 |  |  |  |  | 80000
BB | 4 | BB4 Process Computer Repl | 2765907 |  |  |  | 450000 | 3215907
BB | 4 | BB4 PULV. REBUILD W SPRING MOD (2) | 104000 | 100000 | 200000 |  |  | 404000
BB | 4 | BB4 PULVERIZER REBUILD (3) | 450000 | 300000 | 450000 | 300000 |  | 1500000
BB | 4 | BB4 REHEAT OUTLET LEADS AND ELBOWS (SEAM PIPE) |  |  |  |  | 300000 | 300000
BB | 4 | BB4 SNUBBERS | 194549 |  |  |  |  | 194549
BB | 4 | BB4 SOOTBLOWER CONTROL SYSTEM REPLACEMENT | [5 empty] | 0
BB | 4 | BB4 SOOTBLOWING SYSTEM | 80060 | 250000 | 250000 | 250000 |  | 830060
BB | 4 | BB4 SOUTH STACKER MCC REPL | 20950 |  |  |  |  | 20950
BB | 4 | BB4 SPACER COOLED TUBING REPL. | 273061 |  |  |  |  | 273061
BB | 4 | BB4 STACK LINER #3 REPL |  |  |  |  | 2050000 | 2050000
BB | 4 | BB4 STEAM DRUM INTERNALS PARTIAL | [5 empty] | 0
BB | 4 | BB4 SUBFP SUCTION PIPE UPGRADE | 98944 |  |  |  |  | 98944
BB | 4 | BB4 SUPER HEATER ATTEMPERATOR CONTROL VVS |  |  |  |  | 250000 | 250000
BB | 4 | BB4 SUPERHEAT DIVISION PANELS LOWER LOOP REPL. | 708274 |  |  |  | 1500000 | 2208274
BB | 4 | BB4 SUPERHEAT LINKS (SEAMED PIPE) | [5 empty] | 0
BB | 4 | BB4 SUPERHEAT OUTLET LEADS (SEAMED PIPE) | 849489 |  |  |  |  | 849489
BB | 4 | BB4 TURBINE L-O,HP BLADES IMPROVEMENT | 3000000 |  |  |  |  | 3000000
BB | 4 | BB4 TURBINE SEALS REPL | 1000000 |  |  |  |  | 1000000
BB | 4 | BB4 UPPER PPTR OUTLET DUCT | 1299427 |  |  |  |  | 1299427
BB | 4 | BB4 UPPER PPTR PLATE & WIRE REPLC | [5 empty] | 0
BB | 4 | BB4 UPPER PPTR ROOF REPL | 1726725 |  |  |  |  | 1726725
BB | 4 | BB4 RELIABILITY PROJECTS | [5 empty] | 0
BB | 4 | BB4 VIBRATION MON EQUIP/CONTROLS | 149816 |  |  |  |  | 149816
BB | 4 | DUPL | 0 |  |  |  |  | 0
BB | COM | BB #2 AIR COMPR | 111000 |  |  |  |  | 111000
BB | COM | BB #3 AIR COMPR CONTROLS REPL | [5 empty] | 0
BB | COM | BB 3&4 Polisher Controls Upgrade |  | 100000 |  |  |  | 100000
BB | COM | BB AIR COMPRESSOR CLOSE COOLING SYS | 408000 | 400000 |  |  |  | 808000
BB | COM | BB AIR DRYER ADD | 0 |  |  |  |  | 0
BB | COM | BB C02 FIRE SYSTEMS | [5 empty] | 0
BB | COM | BB COALFIELD CONVEYORS/ CHUTES |  |  |  | 0 |  | 0
BB | COM | BB COALFIELD HEAVY EQUIPMENT | 0 | 0 |  |  |  | 0
BB | COM | BB COALFIELD HEAVY EQUIPMENT |  | 0 |  |  |  | 0
BB | COM | BB D6 CAT DOZIER | [5 empty] | 0
BB | COM | BB D9 DOZIER | 0 |  |  |  |  | 0
BB | COM | BB 928G PAYLOADER | 0 |  |  |  |  | 0
BB | COM | BB (3) 1-TON FLATBED TRUCKS | 0 |  |  |  |  | 0
BB | COM | BB (10) PICKUPS | 0 |  |  |  |  | 0
BB | COM | BB AREA LIGHTING ADDITION | 0 |  |  |  |  | 0
BB | COM | BB F CONVEYOR BELT |  |  |  |  | 1500000 | 1500000
BB | COM | BB FUEL OIL TANK REPL |  |  | 1000000 |  |  | 1000000
BB | COM | BB INTERCOOL,AFTERCOOL,/AIR COMPR | 440000 | 400000 | 400000 |  |  | 1240000
BB | COM | BB L2 CONVEYOR | [5 empty] | 0
BB | COM | BB Prefab & Install Hoppers/Chutes |  |  |  |  | 850000 | 850000
BB | COM | BB Q2 CONV |  |  |  | 0 |  | 0
BB | COM | BB RAYGO REPLACEMENT | [5 empty] | 0
BB | COM | BB Relocation of 4th Floor Tech Staff | [5 empty] | 0
BB | COM | BB Station Blanket Improvement Projects | [5 empty] | 0
BB | COM | BB1-3 MILL INERTING |  |  |  |  | 2000000 | 2000000
BB | COM | BBC NORTH STACKER REPL |  |  |  |  | 4800000 | 4800000
BB | COM | BBC SOUTH STACKER REPL |  | 0 |  |  |  | 0
BB | COM | INDETERMINATES | 2245575 | 0 | 2949678 | 2949676 |  | 8144929
BB | CT | BB CT1 Controls | [5 empty] | 0
BB | CT | BB CT3 IMPROVEMENTS |  |  |  |  | 500000 | 500000
BB | FGD | BB FGD C&D TOWER OUTLET DUCT |  |  |  | 0 | 2000000 | 2000000
BB | FGD | BB FGD COM INLET EXP JT/DAMPER |  |  | 700000 |  | 500000 | 1200000
BB | FGD | BB FGD EXP JT INLET FLUE JOINING DUCTS 5A/6A |  |  | 250000 |  |  | 250000
BB | FGD | BB FGD OXID AIR COMPR VIBR EQUIP | 0 |  |  |  |  | 0
BB | FGD | BB FGD Reliability | 0 |  |  |  |  | 0
BB | FGD | BB4 FGD A&B TOWER OUTLET DUCT REPL | 383726 |  |  |  |  | 383726
BB | FGD | BB4 FGD CONTROL ROOM RELOCATION |  |  | 600000 | 600000 |  | 1200000
BB | FGD | BB4 FGD CONTROLS REPL |  |  |  | 200000 |  | 200000
BB | FGD | BB4 FGD CONVEYOR STRUCTURES |  | 200000 | 200000 | 200000 |  | 600000
BB | FGD | BB4 FGD LIMESTONE MILL LINER REPL | 100000 | 100000 | 100000 | 300000 |  | 600000
BB | FGD | BB4/FGD Blankets/Specifics |  |  |  |  | 4000000 | 4000000
BB | FGD | BB FGD INLET / OUTLET DUCT REPL |  |  |  | 2000000 | 3400000 | 5400000
BY | 1 | BS Condenser Cleaning System Unit 1 | 1900000 |  |  |  |  | 1900000
BY | 1 | BS Stack Dampers Unit 1 | 300000 |  |  |  |  | 300000
BY | 1 | BS Diesel Fire Pump & Engine Repl | 150000 | 150000 | 175000 | 200000 | 225000 | 900000
BY | 1 | BS MCC Replacement | 20000 |  |  |  |  | 20000
BY | 1 | BS Reserve Bus MCC's | 62500 | 90000 |  |  |  | 152500
BY | 1 | BS DC Panelboards | 25000 |  |  |  |  | 25000
BY | 1 | BS Reserve Bus 1 Switchgear |  |  | 375000 |  |  | 375000
BY | 1 | BS Service Distribution System |  |  |  | 225000 |  | 225000
BY | 1 | BS Essential Service Generator |  |  |  |  | 325000 | 325000
BY | 1 | BS HRSG SCR CATALYST UNIT1 |  |  | 1500000 |  |  | 1500000
BY | 1 | BS HRSG SCR CATALYST UNIT 2 |  |  |  | 2000000 |  | 2000000
BY | 1 | BS 1A CT OVERHAUL | [5 empty] | 0
BY | 1 | BS1 Circ Wtr PP Discharge vvs | [5 empty] | 0
BY | 1 | BSP CT Purging Bulk CO2 Storage | [5 empty] | 0
BY | 1 | BSP STG Aux Cooling Wtr Chemical Feed Sys | [5 empty] | 0
BY | 1 | Hp&IP Cont. Blowdown Automation | [5 empty] | 0
BY | 2 | BS2 Circ Wtr PP Discharge vvs | [5 empty] | 0
BY | 1 | BS Inlet Air Filters for Unit 2 |  | 250000 |  |  | 0 | 250000
BY | COM | BS DISCHARGE FLUME |  |  | 5000000 | 5000000 |  | 10000000
BY | COM | BS 4160V Circuits | [5 empty] | 0
BY | COM | BS Blankets | 1006500 | 2150000 | 1592000 | 1825000 | 1950000 | 8523500
BY | COM | BS Blankets/carryovers from 2004 | [5 empty] | 0
BY | COM | BS Unit 1 CSA | 7835134 | 20464000 | 23149000 | 19692000 | 23021000 | 94161134
BY | COM | BS Unit 2 CSA | 11233721 |  |  |  |  | 11233721
EC | ECRC | ECRC BB2 Windbox | 0 |  |  |  |  | 0
EC | ECRC | ECRC BB1 WINDBOX REPL |  |  |  | 1000000 |  | 1000000
EC | ECRC | ECRC future years | 0 |  |  |  | 2000000 | 2000000
EC | ECRC | ECRC BB3 Windbox | 1250000 |  |  |  |  | 1250000
EC | ECRC | ECRC BB3 Secondary Air Controls | 604827 | 110000 |  |  |  | 714827
EC | ECRC | ECRC BB1 Neural Network Combustion Optimization | 327408 |  |  |  |  | 327408
EC | ECRC | ECRC BB2 Neural Network Combustion Optimization | 327408 |  |  |  |  | 327408
EC | ECRC | ECRC BB3 Neural Network Combustion Optimization | 427408 | 550000 |  |  |  | 977408
EC | ECRC | ECRC BB4 Neural Network Combustion Optimization | 491600 |  |  |  |  | 491600
EN | ECRC | PK MERCURY TESTING | 53243 |  |  |  |  | 53243
EN | ECRC | BB1 MERC TESTING | 138177 |  |  |  |  | 138177
EN | ECRC | BB2 MERC TESTING | 88177 |  |  |  |  | 88177
EN | ECRC | BB3 MERC TESTING | 362273 |  |  |  |  | 362273
EN | ECRC | BB4 MERC TESTING | 25743 |  |  |  |  | 25743
EN | ECRC | ECRC MERCURY TESTING PROJECT |  | 1230000 | 305000 | 230000 |  | 1765000
EN | ECRC | ECRC PM/CEMs | 489165 |  | 0 |  |  | 489165
EN | EN | Big Bend Coal Yard Liner |  |  |  |  | 6000000 | 6000000
EN | EN | Big Bend 4 Economizer Ash Pond (Line or Close) | 2002674 | 2000000 |  |  |  | 4002674
EN | EN | Big Bend Dissolved Oxygen | 3311882 | 9890000 | 7700000 |  |  | 20901882
EN | EN | ENV BB 316B STUDY |  |  |  | 356000 | 4500000 | 4856000
EN | EN | ENV GN 316B STUDY |  |  | 745000 | 11500000 | 11500000 | 23745000
EN | EN | Big Bend Gypsum Conveyor Relocation/Storage | 0 |  | 3500000 | 15500000 |  | 19000000
EN | EN | Big Bend Recycling Pond | 4028267 | 5413000 | 0 |  |  | 9441267
EN | EN | Big Bend Slag Dewatering Bins | 5465207 |  |  |  |  | 5465207
EN | EN | Big Bend Storm Water System Upgrade | 6939360 |  |  |  |  | 6939360
EN | EV | EHS BLANKETS | 519300 | 100000 | 100000 | 100000 | 150000 | 969300
EN | EN | Environmental AST CONTAINMENT AREAS |  | 400000 | 400000 |  |  | 800000
GN | GN | Dismantlement of coal fired assests | 2400000 | 2400000 | 2400000 | 2400000 | 2500000 | 12100000
OT | OPS | ES OPS ADMIN (HERNANDEZ) | 378105 | 200000 | 200000 | 200000 | 200000 | 1178105
OT | OPS | Warehouse - Flat Bed Truck | 38000 |  |  |  |  | 38000
OT | OPS | Warehouse - Pickup Truck | 22000 |  |  |  |  | 22000
OT | OPS | ES OPS PLANNING (CURRIER) | 100000 | 100000 | 100000 | 100000 | 100000 | 500000
OT | STI | FLYASH BENEFICIATION | 926000 | 0 | 0 | 0 |  | 926000
PK | PK | Polk HRSG Floor and Drains | 375000 |  |  |  |  | 375000
PK | PK | Polk Blankets/Retirements | 2200000 | 2300000 | 5075000 | 5300000 | 5525000 | 20400000
PK | PK | Polk CDC | [5 empty] | 0
PK | PK | Polk CSC Tube Sheet Internals | 125000 | 600000 |  |  |  | 725000
PK | PK | Polk Forced Circ Evap | 200000 |  |  |  |  | 200000
PK | PK | Polk slag screen and #1 settler tank | 425000 |  |  |  |  | 425000
PK | PK | Polk Gasifier Brick |  |  | 1750000 |  |  | 1750000
PK | PK | Polk LTSA's |  | 6487000 | 7075000 | 6286000 | 6230000 | 26078000
PK | PK | Polk Expansion LTSA's | [5 empty] | 0
PK | PK | Polk Projects |  | 875000 |  |  |  | 875000
PK | PK | Polk Rotor Replacement | [5 empty] | 0
PK | PK | Polk Evaporator Condensate Treatment | 300000 |  |  |  |  | 300000
PK | PK | Polk RSC Tube Addition | [5 empty] | 0
PK | PK | Polk SAP Heat Exchanger | 0 | 400000 |  |  |  | 400000
PK | PK | Polk scrubber blowdown containment | 300000 |  |  |  |  | 300000
PK | PK | Polk Slag System |  | 625000 |  |  |  | 625000
PK | PK | Polk Scrubber underflow | 225000 |  |  |  |  | 225000
PK | PK | Polk Unit 1 / Gasifer Major Outage Replacements | [5 empty] | 0
PK | PK | Polk Unit 1 LTSA | 4461532 |  |  |  |  | 4461532
PK | PK | Polk Unit 2 CSA | 946400 |  |  |  |  | 946400
PK | PK | Polk Unit 3 CSA | 907013 |  |  |  |  | 907013
PK | PK | Polk Unit 4 CSA | 975500 | 2693000 | 2883000 | 2498000 | 2704000 | 11753500
PK | PK | Polk Unit 5 CSA | 975500 |  |  |  |  | 975500
PK | PK | PolkGasifier Cont Thermo | [5 empty] | 0
REL | ECRC | BB1-2 Electric Isolation |  | 50000 | 250000 | 250000 |  | 550000
REL | ECRC | BB1-2 FGD Absorber spray pp disch vvs | 18828 | 210000 | 0 |  |  | 228828
REL | ECRC | BB1-2 Gyspum Filter Vacuum Pump Upgrades |  | 311000 | 312000 |  |  | 623000
REL | ECRC | BB1-2 ME Wash Hdr Upgrades |  | 60000 | 773000 |  |  | 833000
REL | ECRC | BB1-2 mist eliminator online cleaning | [5 empty] | 0
REL | ECRC | BB1-2 Mist Eliminator Upgrades |  | 1174500 | 449500 |  |  | 1624000
REL | ECRC | BB1-2 Redundant Gypsum Bleed Line |  | 142000 | 142000 |  |  | 284000
REL | ECRC | BB1-2 Tower Nozzle Online Cleaning | 0 |  | 19000 | 210000 |  | 229000
REL | ECRC | BB1-2 Wallpaper Inlet |  |  | 0 |  |  | 0
REL | ECRC | BB1-2Controls Redundancy Upgrades |  | 18000 | 100000 | 85000 |  | 203000
REL | ECRC | BB3-4 BoosterFan Upgrades | 50000 | 50000 | 300000 |  |  | 400000
REL | ECRC | BB3-4 Electric Isolation | 2455476 | 1511488 | 0 |  |  | 3966964
REL | ECRC | BB3-4 mist eliminator online cleaning |  |  | 0 |  |  | 0
REL | ECRC | BB3-4 Mist Eliminator Upgrades | 208997 |  |  |  |  | 208997
REL | ECRC | BB3-4 Split Inlet Duct |  | 116000 |  |  |  | 116000
REL | ECRC | BB3-4 Split Outlet Duct | 4173824 |  |  |  |  | 4173824
REL | ECRC | BB3-4 Tower Nozzle Online Cleaning | 253242 | 0 | 0 |  |  | 253242
REL | ECRC | BB3-4Controls Redundancy Upgrades | 192897 | 41000 | 0 |  |  | 233897
REL | ECRC | Gypsum Fines Filter |  | 1600000 | 1600000 |  |  | 3200000
REL | ECRC | RELIABILITY PROGRAM CONTINGENCY |  | 336904 | 500000 | 500000 |  | 1336904
SB | SB | DINNER LAKE | [5 empty] | 0
SB | SB | Diesel Engine Component Replacements | 430000 | 300000 | 300000 | 300000 | 300000 | 1630000
|  | Total Non-Generation Expansion Capital | 122048288 | 96358892 | 102875000 | 115757676 | 108430000 | 545469856
SCR | SCR | Big Bend SCR Projects | 87110096 | 70750000 | 44276000 | 10540000 |  | 212676096
RXP | EXP | Generation Expansion - Polk CT5 | 5954060 |  |  |  |  | 5954060
GL | GS | Gas Line Addition | 20579448 | -6000000 |  |  |  | 14579448
|  | E Machines w/o AFUDC |  | 51100000 | 28200000 |  |  | 79300000
|  | IGCC w/o AFUDC | 5000000 | 104600000 | 262600000 | 727700000 | 308700000 | 1408600000
|  | Total Generation Expansion Capital | 118643604 | 220450000 | 335076000 | 738240000 | 308700000 | 1721109604
|  | Total All Capital | 240691892 | 316808892 | 437951000 | 853997676 | 417130000 | 2266579460