## 2009-2013 Update
Energy Supply
5-Year Capital Forecast
Station | Unit | Project Title | 2009 | 2010 | 2011 | 2012 | 2013 | 5 YEAR FORECAST (2009 thru 2013)
BB | 1 | BB1 & 2 Turbine Building Roof Replacement | 675000 |  |  |  |  | 675000
BB | 1 | BB1 1ST PT FW HTR Instr Piping | 65450 | 143566 |  |  |  | 209016
BB | 1 | BB1 Acoustic Monitoring Upgrades |  | 350000 |  |  |  | 350000
BB | 1 | BB1 APH Cold Side Sootblower addition | 76180 | 80680 |  |  |  | 156860
BB | 1 | BB1 APH seals replacement (for SCR) | 298253 | 375394 |  |  |  | 673647
BB | 1 | BB1 ARC Flash Remediation(see B2028) | 1767663 | 655907 |  |  |  | 2423570
BB | 1 | BB1 B2 & B3 MCC Repl | 42911 | 266645 |  |  |  | 309556
BB | 1 | BB1 BFPT lube Oil Conditioner |  | 115000 |  |  |  | 115000
BB | 1 | BB1 Bo. Left & Right Waterwall Repl | 907048 | 1433863 |  |  |  | 2340911
BB | 1 | BB1 Boiler 1st Radiant SH Partial Repl. | 305044 | 1741800 |  |  |  | 2046844
BB | 1 | BB1 Boiler 1st Radiant SH Repl. (full) |  |  | 0 | 0 | 0 | 0
BB | 1 | BB1 Boiler 2nd Radiant SH Repl | 2010561 | 2453839 |  |  |  | 4464400
BB | 1 | BB1 Boiler economizer Ash Reinjection | 857630 | 251946 |  |  |  | 1109576
BB | 1 | BB1 Boiler Furnace Floor Repl with refractory | 4871387 | 943513 |  |  |  | 5814900
BB | 1 | BB1 Boiler HTSH outlet header Repl | 1369719 | 1166181 |  |  |  | 2535900
BB | 1 | BB1 BoilerPrimary SH Partial Repl | 0 | 0 | 0 | 0 |  | 0
BB | 1 | BB1 Classifier Repl | 174782 | 1747691 | 0 |  |  | 1922473
BB | 1 | BB1 Coal Nozzle Replacement - Imp |  | 117000 |  |  |  | 117000
BB | 1 | BB1 Coal Nozzle Replacement - Ret |  | -33000 |  |  |  | -33000
BB | 1 | BB1 Coal pipe system replacement | 2050000 | 1327000 | 0 | 0 |  | 3377000
BB | 1 | BB1 Coal/Chutes/Boxes-3 mills | 600000 | 600000 | 0 | 0 |  | 1200000
BB | 1 | BB1 Control Rm Relocation/Controls | 2856413 | 1649205 |  |  |  | 4505618
BB | 1 | BB1 Crusher dryers/mtrs repl (6) | 90857 | 927567 | 0 | 0 |  | 1018424
BB | 1 | BB1 CW Coarse Mesh Traveling Screens Repl | 35372 | 0 |  |  |  | 35372
BB | 1 | BB1 CW Pumps Repl |  | 230000 |  | 230000 |  | 460000
BB | 1 | BB1 Duct Hardening (scr) | 315409 | 641000 |  |  |  | 956409
BB | 1 | BB1 EH2 Repl | 600589 | 1020639 |  |  |  | 1621228
BB | 1 | BB1 EH3 Repl | 458960 | 812499 |  |  |  | 1271459
BB | 1 | BB1 EH4 Repl | 410012 | 508492 |  |  |  | 918504
BB | 1 | BB1 EH5 Repl | 422805 | 518222 |  |  |  | 941027
BB | 1 | BB1 EJ1 E&W Exp Jt. Repl | 12926 | 0 |  |  |  | 12926
BB | 1 | BB1 Generator Protection Relay Project | [5 empty] | 0
BB | 1 | BB1 Generator Rewind with retaining rings | 939317 | 11934718 |  |  |  | 12874035
BB | 1 | BB1 Hot Air Expansion Joints - Imp | 55000 | 135000 |  |  |  | 190000
BB | 1 | BB1 Hot Air Expansion Joints - Ret |  | 60000 |  |  |  | 60000
BB | 1 | BB1 HP/IP Turbine & Valves Restoration | 2373103 | 2668798 |  |  | 0 | 5041901
BB | 1 | BB1 Main Turbine Lube Oil Conditioner Addition |  | 222000 |  |  |  | 222000
BB | 1 | BB1 mid furnace weld overlay |  |  |  | 0 |  | 0
BB | 1 | BB1 PPTR Grounding Sw and T/R Sets B!4-62 | 225000 | 0 |  |  |  | 225000
BB | 1 | BB1 Precipitator (East) Inlet Nozzle Duct Repl | [5 empty] | 0
BB | 1 | BB1 Precipitator (East) Outlet Duct Repl (scr) | 1020225 | 1178095 |  |  |  | 2198320
BB | 1 | BB1 Precipitator Hopper Feeder Replacement (32) | 0 | 0 |  |  |  | 0
BB | 1 | BB1 Pulverizer Oil Skids Repl |  | 225000 | 0 | 0 |  | 225000
BB | 1 | BB1 Slag Tanks/Necks Repl | 945600 | 773900 |  |  |  | 1719500
BB | 1 | BB1 Sootblower Repl | 350537 | 1802665 |  |  |  | 2153202
BB | 1 | BB1 ST Lube Oil Conditioner |  | 160000 |  |  |  | 160000
BB | 1 | BB1 TD BFP Element Repl |  | 125000 |  |  |  | 125000
BB | 1 | BB1 TD BFP Recir VV repl |  | 100000 |  |  |  | 100000
BB | 1 | BB1 Transformer Deluge System | [5 empty] | 0
BB | 1 | BB1 Turbine Valves O/H |  | 0 |  |  |  | 0
BB | 1 | BB1 Turbine Valves RSH/IV |  | 0 |  |  |  | 0
BB | 1 | BB1 W PPTR HV Ducts |  | 120000 |  |  |  | 120000
BB | 1 | FGD 1&2 Inlet Duct Replacement B22-20 | 700000 | 1300000 | 0 |  | 0 | 2000000
BB | 1 | Major Outage Blankets |  | 1500000 | 500000 | 500000 | 500000 | 3000000
BB | 2 | BB2 Waterwall Platens |  |  | 2000000 |  |  | 2000000
BB | 2 | BB2 A&B Slag Tank Roof, Neck and Sides Repl | 703740 |  |  |  |  | 703740
BB | 2 | BB2 APH Coldside Sootblower Add | 90557 |  |  |  |  | 90557
BB | 2 | BB2 APH seals replacement (for SCR) | 265489 |  |  |  |  | 265489
BB | 2 | BB2 Ball Cleaning System Upgrades | 103634 |  |  |  |  | 103634
BB | 2 | BB2 BFP Internal Element Repl | 177016 |  |  |  |  | 177016
BB | 2 | BB2 BOILER 1ST RADIANT SH FULL REPL |  |  |  | 0 | 0 | 0
BB | 2 | BB2 Boiler 1st Radiant SH Partial Repl. | 1495560 |  |  | 0 |  | 1495560
BB | 2 | BB2 Boiler 2nd Radiant SH Repl | 1507453 |  |  |  |  | 1507453
BB | 2 | BB2 Boiler Furnace Floor Repl. (inc. refractory) | 696009 |  |  | 0 | 0 | 696009
BB | 2 | BB2 Boiler Furnace Upper |  |  | 7000000 |  |  | 7000000
BB | 2 | BB2 Boiler HTSH outlet header Repl | 972105 |  |  |  |  | 972105
BB | 2 | BB2 BOILER PRIMARY SH PARTIAL REPL | 1586895 | 0 | 0 |  |  | 1586895
BB | 2 | BB2 Bunker Liners |  |  | 2000000 |  |  | 2000000
BB | 2 | BB2 CLASSIFIER COAL PLUG VVS REPL | 20696 | 192486 |  |  |  | 213182
BB | 2 | BB2 Classifier Disch Chute Repl |  |  | 1750000 |  |  | 1750000
BB | 2 | BB2 Coal Chutes to Crushers |  |  | 225000 |  |  | 225000
BB | 2 | Bb2 coal Chutes to Feeders |  |  | 225000 |  |  | 225000
BB | 2 | BB2 Coal Chutes to Mills |  |  | 500000 |  |  | 500000
BB | 2 | BB2 Coal Feeder Repl | 290665 |  |  |  |  | 290665
BB | 2 | BB2 Coal Nozzle replacement | [5 empty] | 0
BB | 2 | BB2 Coal pipe system replacement | 1333877 |  |  | 0 | 0 | 1333877
BB | 2 | BB2 Control Rm Relocation/ Controls | 1677122 |  |  |  |  | 1677122
BB | 2 | BB2 CONV/SSTRUCTURES BLANKETS |  | 500000 | 500000 | 1500000 | 500000 | 3000000
BB | 2 | BB2 Crusher Dryers (6) | 768427 |  |  |  |  | 768427
BB | 2 | BB2 Duct Hardening (scr) | 513506 |  |  |  |  | 513506
BB | 2 | BB2 Duct Replacement |  |  | 2342000 |  |  | 2342000
BB | 2 | BB2 Economizer Ash Reinjection Line | 457870 |  |  |  |  | 457870
BB | 2 | BB2 EH1 Repl. | 736735 |  |  | 0 | 0 | 736735
BB | 2 | BB2 EH2 Repl. | 702038 |  |  | 0 | 0 | 702038
BB | 2 | BB2 EH4 Repl. | 484472 |  |  |  |  | 484472
BB | 2 | BB2 EH5 Repl. | 412293 |  |  | 0 | 0 | 412293
BB | 2 | BB2 EXP JT Below Crusher Dryers (6) | 25509 |  |  |  |  | 25509
BB | 2 | BB2 Furnace Sidewall weld overlay | 534333 |  | 0 |  | 0 | 534333
BB | 2 | BB2 Generator Rewind with retaining rings | 2775287 |  | 0 |  |  | 2775287
BB | 2 | BB2 Generator Stator Rewind |  |  | 10000000 |  |  | 10000000
BB | 2 | BB2 Heater Drip Pumps |  |  | 500000 |  |  | 500000
BB | 2 | BB2 Hot Air Expansion Jts |  |  | 250000 |  |  | 250000
BB | 2 | BB2 HP/IP Steam Turbine & Valves Restoration | 3423454 |  |  | 0 | 0 | 3423454
BB | 2 | BB2 L-0 BLADE REPL | 3238841 |  |  |  |  | 3238841
BB | 2 | BB2 LP Turbine Htr Extr Stm Exp Jts repl | 72289 |  |  |  |  | 72289
BB | 2 | BB2 LP Turbine Inspection |  |  | 1000000 |  |  | 1000000
BB | 2 | BB2 MCC2B2 AND MCC2B3 REPLACEMENT | -5818 |  |  |  |  | -5818
BB | 2 | BB2 Mill Inlet/Outlet Boxes |  |  | 1000000 |  |  | 1000000
BB | 2 | BB2 Mill Trunnion Bearings |  |  | 300000 |  |  | 300000
BB | 2 | BB2 PA fan/housing replacement/upgrade (3) | 490639 |  |  |  |  | 490639
BB | 2 | BB2 PPTR (e&w) E&F-ducts,H Roof (scr) | 724580 |  |  |  |  | 724580
BB | 2 | BB2 PPTR ASH AIR LOCK REPL | 469524 |  |  |  |  | 469524
BB | 2 | BB2 PPTR H Duct Expansion Jts (scr) | 32490 |  |  |  |  | 32490
BB | 2 | BB2 PPTR HOPPER HIGH LEVEL PROBE REPL | 241712 |  |  |  |  | 241712
BB | 2 | BB2 PPTR Hopper Vibrators Repl | 299731 |  |  |  |  | 299731
BB | 2 | BB2 PPTR SIR Repl. | 56321 |  |  | 0 | 0 | 56321
BB | 2 | BB2 Precipitator Interlocking System Repl | 26448 |  |  |  |  | 26448
BB | 2 | BB2 Primary Reheater |  |  | 2500000 |  |  | 2500000
BB | 2 | BB2 Primary SH Repl (full) |  |  | 2650000 |  |  | 2650000
BB | 2 | BB2 Pulverizer Liners Repl | [5 empty] | 0
BB | 2 | BB2 Seal Air Fans |  |  | 300000 |  |  | 300000
BB | 2 | BB2 SLAG TANK REFRACTORY REPL | 310594 |  |  |  |  | 310594
BB | 2 | BB2 Sootblower Repl. | 0 | 0 | 1750000 | 0 | 0 | 1750000
BB | 2 | BB2 TURB/AUX BLANKETS |  | 500000 | 1500000 | 500000 | 500000 | 3000000
BB | 2 | BB2 Turbine Lube Oil Conditioner Add | 111322 |  |  |  |  | 111322
BB | 2 | BB2 Turbine Outage (Brngs) | 160000 |  |  |  |  | 160000
BB | 2 | BB2 UPPER PPTR GROUND T/R GROUND SETS | 253835 |  |  |  |  | 253835
BB | 2 | BB2A Circ Water Coarse Mesh Screens | 60902 |  |  |  | 250000 | 310902
BB | 2 | BB2A CWP IMPELLER | 215169 |  |  |  |  | 215169
BB | 2 | BB2A PULV GEAR REDUCER | 0 |  |  |  |  | 0
BB | 2 | BB2B CWP SHAFT | 177100 |  |  |  |  | 177100
BB | 2 | BB2B PULV GEAR REDUCER | -55870 |  |  |  |  | -55870
BB | 2 | BB2E Sootblower Repl. | 0 |  |  |  | 0 | 0
BB | 3 | BB 3C Pulv Gear Reducer | -66259 |  |  |  |  | -66259
BB | 3 | BB3 A PAF Shaft Repl | 17909 |  |  | 1200000 |  | 1217909
BB | 3 | BB3 BFP Turbine/Element/Casing |  |  |  | 150000 |  | 150000
BB | 3 | BB3 Blowdown Tank Repl | 213726 |  | 0 | 0 |  | 213726
BB | 3 | BB3 Boiler Economizer Tubes | 0 |  | 2000000 | 4000000 |  | 6000000
BB | 3 | BB3 Boiler Furnace Floor Refractory |  |  |  | 600000 |  | 600000
BB | 3 | BB3 BOILER HTRH w/HDR |  |  | 2000000 | 4000000 |  | 6000000
BB | 3 | BB3 Boiler Primary Superheater |  |  |  | 4000000 |  | 4000000
BB | 3 | BB3 Bunker Liners |  |  |  | 2000000 |  | 2000000
BB | 3 | BB3 Circ fine mesh screens |  | 1125000 | 1125000 | 0 | 0 | 2250000
BB | 3 | BB3 Classifier/Discharge Chute |  |  |  | 500000 |  | 500000
BB | 3 | BB3 Coal Chutes to Crushers |  |  |  | 225000 |  | 225000
BB | 3 | BB3 Coal Chutes to Feeders |  |  |  | 225000 |  | 225000
BB | 3 | BB3 Coal Chutes w/ Motors |  |  |  | 1000000 |  | 1000000
BB | 3 | BB3 Coal Piping |  |  |  | 3000000 |  | 3000000
BB | 3 | Bb3 Cold Reheat Inlet Header |  |  |  | 2000000 |  | 2000000
BB | 3 | BB3 Computer Controls Project | -3291 |  |  |  |  | -3291
BB | 3 | BB3 DA repl. |  |  | 0 | 2500000 |  | 2500000
BB | 3 | BB3 Economizer Ash Reinjection | -35353 |  |  |  |  | -35353
BB | 3 | BB3 EH1 Repl |  |  | 0 | 1500000 |  | 1500000
BB | 3 | BB3 EH3 Repl |  |  | 0 | 1500000 |  | 1500000
BB | 3 | BB3 Generator Rewind |  |  |  | 5000000 |  | 5000000
BB | 3 | BB3 Hot Air Expansion Jts |  |  |  | 1000000 |  | 1000000
BB | 3 | BB3 HTSH w.outlet headers |  |  | 2000000 | 6000000 |  | 8000000
BB | 3 | BB3 LP Turbine Steam Path Restor | -3907 |  |  | 1000000 |  | 996093
BB | 3 | BB3 Mill Inlet/Outlet Boxes |  |  |  | 1000000 |  | 1000000
BB | 3 | BB3 PPTR Ash Air Lock |  |  |  | 1000000 |  | 1000000
BB | 3 | BB3 Pulv Oil Skid |  |  |  | 150000 |  | 150000
BB | 3 | BB3 Pulv. Inlet chute replacement (3 mills) | 0 | 0 | 0 | 0 | 0 | 0
BB | 3 | BB3 Snubber Repl |  |  | 0 | 0 |  | 0
BB | 3 | BB3 Sootbllower piping replacement (upgrade) |  | 0 | 0 | 0 | 0 | 0
BB | 3 | BB3 Sootblower Repl |  |  |  | 2000000 | 0 | 2000000
BB | 3 | BB3 Stack Lining |  |  |  | 3500000 |  | 3500000
BB | 3 | BB3 Turbine HP/IP |  |  |  | 1000000 |  | 1000000
BB | 3 | BB3 Turbine Valves CRH |  |  |  | 500000 |  | 500000
BB | 3 | BB3 Turbine Valves MSC/CV |  |  |  | 500000 |  | 500000
BB | 3 | BB3 Water Wall Platens |  |  |  | 2000000 |  | 2000000
BB | 4 | BB PIPING/PUMPS/VVS/GEARBOXES BLANKETS |  | 1500000 | 500000 | 500000 | 1500000 | 4000000
BB | 4 | BB4 4B Pulverizer Spring Modification | 50000 | 72740 |  |  |  | 122740
BB | 4 | BB4 4C Pulverizer Spring Modification | 1992 | 0 | 0 |  |  | 1992
BB | 4 | BB4 'A' Fan Inlet Vane Drives | 105346 | 300000 |  |  |  | 405346
BB | 4 | BB4 Acoustic Monitoring Upgrade |  |  |  |  | 350000 | 350000
BB | 4 | BB4 B Coarse Mesh Screen | 294000 |  |  |  |  | 294000
BB | 4 | BB4 B HP Slag Sluice Pp Repl | [5 empty] | 0
BB | 4 | BB4 BFP Element |  |  |  |  | 150000 | 150000
BB | 4 | BB4 Boiler Bottom Ash Refractory |  |  |  |  | 0 | 0
BB | 4 | BB4 Boiler External Roof Repl | 96551 | 652000 | 0 |  |  | 748551
BB | 4 | BB4 Boiler Lower Waterwall |  |  |  |  | 6000000 | 6000000
BB | 4 | BB4 Boiler Platen Superheater Replacement | 1304381 | 1316098 |  |  |  | 2620479
BB | 4 | BB4 Boiler Reheat |  |  |  |  | 4000000 | 4000000
BB | 4 | BB4 Bottom Ash Tank 18610-296 | 169800 | 2712000 |  |  |  | 2881800
BB | 4 | BB4 Bunker Liners |  |  |  |  | 2000000 | 2000000
BB | 4 | BB4 Burner/Air Nozzles & Oil Guns | 0 | 0 | 0 | 0 | 0 | 0
BB | 4 | BB4 Burners |  |  |  |  | 1200000 | 1200000
BB | 4 | BB4 Circ fine Mesh Screens | 0 |  |  | 0 | 0 | 0
BB | 4 | BB4 Coal Chutes to Feeders |  |  |  |  | 225000 | 225000
BB | 4 | BB4 Coal Piping |  |  |  |  | 4000000 | 4000000
BB | 4 | BB4 Condenser Ball Cleaning System | 2106991 | 1278522 | 0 | 0 |  | 3385513
BB | 4 | BB4 Condenser Tube Bundle Replacement | 5132287 | 1640000 |  |  | 0 | 6772287
BB | 4 | BB4 DA Replacement | 310573 | 1253000 | 0 | 0 |  | 1563573
BB | 4 | BB4 Duct Work |  |  |  |  | 8542000 | 8542000
BB | 4 | BB4 EH Replacement |  |  |  |  | 3000000 | 3000000
BB | 4 | BB4 EH1 Feedwater Htr Repl | 1126914 | 351048 | 0 |  |  | 1477962
BB | 4 | BB4 EH2 Feedwater Htr Repl | 977894 | 354739 | 0 |  |  | 1332633
BB | 4 | BB4 FD/ID Fans VSD Upgrade | [5 empty] | 0
BB | 4 | BB4 Fine Mesh Screen |  |  |  | 1125000 | 1125000 | 2250000
BB | 4 | BB4 FW Heater Level Ctrls | [5 empty] | 0
BB | 4 | BB4 Generator Rewind |  |  |  |  | 6000000 | 6000000
BB | 4 | BB4 Hopper Heater | 36000 |  |  |  |  | 36000
BB | 4 | BB4 Hot Air Gates Repl | 0 |  |  |  |  | 0
BB | 4 | BB4 HP Rotor R7 Blades and Shroud Replacement | [5 empty] | 0
BB | 4 | BB4 HRS Header |  |  |  |  | 3000000 | 3000000
BB | 4 | BB4 L-0 Turbine Blades | [5 empty] | 0
BB | 4 | BB4 LP Turbine Steam |  |  |  |  | 2000000 | 2000000
BB | 4 | BB4 Main & BFP Turbines TSI Repl. | [5 empty] | 0
BB | 4 | BB4 PPTR Upgrade |  | 1000000 |  |  |  | 1000000
BB | 4 | Bb4 Primary Air Fan Wheels |  |  |  |  | 250000 | 250000
BB | 4 | BB4 Process Computer Repl | 1675 |  |  |  |  | 1675
BB | 4 | BB4 PULV ISO BOX/PLATE ASSM | 102973 |  |  |  |  | 102973
BB | 4 | BB4 Pulverizer Rebuild(3) | 0 | 500000 | 750000 | 500000 | 750000 | 2500000
BB | 4 | BB4 Sootblower repl | 0 | 0 | 0 | 0 | 2000000 | 2000000
BB | 4 | BB4 Stack Liner #3 | 197024 | 2959000 | 0 |  |  | 3156024
BB | 4 | BB4 Turbine HP/IP |  |  |  |  | 1000000 | 1000000
BB | 4 | BB4 Turbine VVs MSV, CV, CRH |  |  |  |  | 1000000 | 1000000
BB | 4 | BB4A PULV INTERNALS REPL | 50062 |  |  |  |  | 50062
BB | 4 | BB4B Fan Inlet Vane Assm Repl | 191129 |  |  |  |  | 191129
BB | 4 | BB4B GRINDING ASSM REPL | [5 empty] | 0
BB | 4 | BB4D PULV INTERNALS REPL | 380022 |  |  |  |  | 380022
BB | 4 | BB4E PULV INTERNALS REPL | 312928 |  |  |  |  | 312928
BB | 4 | FGD Tower Upgrades |  | 1000000 |  |  |  | 1000000
BB | CF | BB Compressed Air System Upgrade | 494000 | 0 | 0 |  |  | 494000
BB | CF | BB NAVIGATION AIDES | 100000 |  | 750000 |  |  | 850000
BB | CF | BBC #1 Coal Field Crusher Repl | 268000 |  |  |  |  | 268000
BB | CF | BBC #2 Crusher Repl (blanket) |  | 268000 |  |  |  | 268000
BB | CF | BBC 2000 TPH Clamshell to repl Dravo |  |  | 2500000 | 5000000 | 7500000 | 15000000
BB | CF | BBC Blending Bin Bypass Sys |  |  | 1000000 | 1000000 | 4000000 | 6000000
BB | CF | BBC Blending Bin Gates |  | 750000 | 750000 | 750000 | 750000 | 3000000
BB | CF | BBC Blending Bin Liners |  |  | 2000000 | 2000000 | 3000000 | 7000000
BB | CF | BBC Blending Bin to T-1 Transfer |  |  |  | 1500000 |  | 1500000
BB | CF | BBC Blending Bin to T-2 Transfer |  |  | 1500000 |  |  | 1500000
BB | CF | BBC By Products Powerscreen | 194323 |  |  |  |  | 194323
BB | CF | BBC Coal Blending Bin Fire | -271 |  |  |  |  | -271
BB | CF | BBC Coal Dock Rail Replacement | 200000 |  |  |  |  | 200000
BB | CF | BBC Coal Field Equipment | 0 | 500000 | 500000 | 750000 | 750000 | 2500000
BB | CF | BBC Control Repl (DCS) |  |  | 500000 | 2000000 | 2000000 | 4500000
BB | CF | BBC Dock/Seawall Repl |  | 500000 | 1000000 | 2000000 |  | 3500000
BB | CF | BBC Dravo Travel Truck Repl | 250000 |  |  |  |  | 250000
BB | CF | BBC Dribble Pan Repl | 0 |  |  |  |  | 0
BB | CF | BBC E-F Transfer Chute Repl |  |  | 250000 |  |  | 250000
BB | CF | BBC Electrical Upgrades |  | 500000 | 1000000 | 1000000 | 1000000 | 3500000
BB | CF | BBC F-1 to J-1 Transfer Chute |  |  | 250000 |  |  | 250000
BB | CF | BBC Gypsum Truck Weigh Scale/Wheel Wash |  | 100000 |  |  |  | 100000
BB | CF | BBC HVAC REPL - Stevedoring Bldg | 200378 |  |  |  |  | 200378
BB | CF | BBC J2 to Q2 Transfer Chute Repl |  |  |  | 250000 |  | 250000
BB | CF | BBC K1A to K1B to L1 Transfer Chute Repl |  |  | 500000 |  |  | 500000
BB | CF | BBC K2A to K2B to L2 Transfer Chute Repl |  |  |  | 500000 |  | 500000
BB | CF | BBC L1 to M1 Transfer Chute Repl |  |  |  |  | 250000 | 250000
BB | CF | BBC L2 to M2 Transfer Chute Repl |  |  |  |  | 250000 | 250000
BB | CF | BBC M1 Tripper Chute Repl |  |  | 300000 |  |  | 300000
BB | CF | BBC M2 Tripper Chute Repl |  |  |  | 300000 |  | 300000
BB | CF | BBC Mobile Equipment Replacements |  | 1000000 |  |  |  | 1000000
BB | CF | BBC North Stacker Repl | 0 | 0 | 1000000 | 5000000 | 4500000 | 10500000
BB | CF | BBC P to J2 Transfer Chute Repl |  |  |  | 250000 |  | 250000
BB | CF | BBC PECO Clamshell Bucket Repl | [5 empty] | 0
BB | CF | BBC PECO COAL UNLOADING CONTROLS REPL | 350000 |  |  |  |  | 350000
BB | CF | BBC Q1 to R1 Transfer Chute Repl |  |  |  | 250000 |  | 250000
BB | CF | BBC Q2 to R2 Transfer Chute Repl |  |  |  |  | 250000 | 250000
BB | CF | BBC R1 Tripper Chute Repl |  |  | 300000 |  |  | 300000
BB | CF | BBC South S/R Equal Pins/Truck Repl |  | 250000 |  |  |  | 250000
BB | CF | BBC South Stacker w Rail |  |  | 1000000 | 5000000 | 5000000 | 11000000
BB | CF | BBC Stevedoring Work Flat |  |  | 100000 |  |  | 100000
BB | CF | BBC T1 to W1 Transfer Chute Repl |  |  | 100000 |  |  | 100000
BB | CF | BBC T2 to W2 Transfer Chute Repl |  |  |  |  | 100000 | 100000
BB | CF | BBC W1 to L1 Transfer Chute Repl |  |  |  | 250000 |  | 250000
BB | CF | BBC W2 to L2 Transfer Chute Repl |  |  |  |  | 250000 | 250000
BB | CF | BBC Y to Z Transfer Chute Repl |  |  | 250000 |  |  | 250000
BB | CF | BBC Z to P Transfer Chute Repl |  |  |  | 250000 |  | 250000
BB | Com | Alarm Management |  | 500000 | 400000 |  |  | 900000
BB | Com | BB ARC FLASH PROJECT | 0 | 2000000 | 2000000 | 2000000 | 2000000 | 8000000
BB | Com | BB DCS NETWORK SEGREGATION (NERC) | 194881 |  |  |  |  | 194881
BB | Com | BB INDETERMINATES | 4174611 | 1000000 | 1000000 | 1000000 | 1000000 | 8174611
BB | Com | BB1&2 CEM repl. | 0 | 1000000 | 0 |  |  | 1000000
BB | Com | BB1&2 Dry Stack Liner Demolition | 1537303 |  |  |  |  | 1537303
BB | Com | BB1/2 Stack demo |  |  |  | 0 | 0 | 0
BB | Com | BBC #2 Service Air Compressor Impeller Rplcmt | 150000 |  |  |  |  | 150000
BB | Com | BBC #4 Elevator Repl | [5 empty] | 0
BB | Com | BBC #5 Air compressor | 237 |  |  |  |  | 237
BB | Com | BBC Admin Bld 3&4 Floor Add | [5 empty] | 0
BB | Com | BBC Air Compressor Add | [5 empty] | 0
BB | Com | BBC Alarm Management & Overhead Annun | 130000 |  |  |  |  | 130000
BB | Com | BBC Coal Field Polk Blending Conv. | -6405 |  |  |  |  | -6405
BB | Com | BBC F Conveyor Refurbishment Install | 4896 |  |  |  |  | 4896
BB | Com | BBC Intercool., Aftercool., & Air Comp. Rebuild | 0 |  |  |  |  | 0
BB | Com | BBC Misc Roof Repl |  |  | 250000 | 250000 | 250000 | 750000
BB | Com | BBC New Caterpillar D10 Track Type Tractor | [5 empty] | 0
BB | Com | BBC P Conveyor Refurbishment Install | 0 |  |  |  |  | 0
BB | Com | BBC Plant Cooling Water System |  |  |  | 2500000 | 2500000 | 5000000
BB | Com | BBC Plant Infrastructure Upgrade |  | 1000000 | 1000000 | 1000000 | 1000000 | 4000000
BB | Com | BBC Primary Air Fan Roof Repl | 295829 |  |  |  |  | 295829
BB | Com | BBC REVERSE OSMOSIS MEMBRANE REPL | 114000 |  |  |  |  | 114000
BB | Com | BBC Reverse Osmosis System Upgrade |  |  |  |  | 1500000 | 1500000
BB | Com | BBC Stack Lighting- #2 & #3 Stack Repl. | [5 empty] | 0
BB | Com | BBC Tripper Room roof Repl |  | 400000 |  |  |  | 400000
BB | Com | BBC Upgrade CO2 Fire System Storage Tanks | [5 empty] | 0
BB | Com | BBC Waste Handling Elevator Cab Repl | [5 empty] | 0
BB | Com | FGD GD2/GE Conveyor Structure Repl. | -29323 |  |  |  |  | -29323
BB | FGD | BB FGD 3&4 DIBASIC ACID FD SYS | 1653 |  |  |  |  | 1653
BB | FGD | BB FGD 4D Hydroclone Repl | 116000 |  |  |  |  | 116000
BB | FGD | Commited Blanket Projects | 5042000 | 1000000 | 1000000 | 1000000 | 1000000 | 9042000
BB | FGD | FGD C NOZZLE TOWER INLET DUCT REPL | 0 |  |  |  | 0 | 0
BB | FGD | FGD C&D Tower Outlet Duct | [5 empty] | 0
BB | FGD | FGD Controls Upgrade | 0 |  | 4000000 |  | 0 | 4000000
BB | FGD | FGD Spare 1&2 Oxid. Air Comp. |  |  | 1000000 |  |  | 1000000
BB | FGD | FGD Spare 3&4 Oxid. Air Comp. |  |  | 4000000 |  |  | 4000000
BB | FGD | FGD Spray Header Upgrades |  | 0 | 0 |  |  | 0
BB | FGD | FGD Tank Liner (QBT's,AFT's, SST's) | 0 | 0 | 500000 | 500000 | 500000 | 1500000
BY | 1 | BS 1A CT BLADE REPL |  |  | 1150000 | 1800000 |  | 2950000
BY | 1 | BS ARC FLASH | 500000 |  |  |  |  | 500000
BY | 1 | BS CHLORIDE DIOXIDE GENERATOR | [5 empty] | 0
BY | 1 | BS DCS SYSTEM REPL | 170000 |  |  |  |  | 170000
BY | 1 | BS ELECTRICAL UPGRADES | 0 | 0 | 15000 | 65000 |  | 80000
BY | 1 | BS HRSG SCR CATALYST (2 PER YR) |  |  | 500000 | 1000000 | 1000000 | 2500000
BY | 1 | BS HYDROGEN PANEL |  | 200000 |  |  |  | 200000
BY | 1 | BS MAIN STEAM ATTEMPERATORS | 895746 |  |  |  |  | 895746
BY | 1 | BS MISC PUMP REPL | 0 | 20000 | 80000 | 220000 | 260000 | 580000
BY | 1 | BS NITROGEN BLANET SYS |  |  | 250000 | 500000 | 500000 | 1250000
BY | 1 | BS OUTAGE CAPITAL | 0 | 841000 | 1211000 | 716000 | 193000 | 2961000
BY | 1 | BS POLISHER RESIN REPL | 200000 |  |  |  | 250000 | 450000
BY | 1 | BS RESERVE #1 TRANSFORMER REWIND |  | 1100000 |  |  |  | 1100000
BY | 1 | BS Reserve Bus 2 Switchgear | 681000 | 496000 | 0 |  |  | 1177000
BY | 1 | BS RO PRETREATMENT | 1500000 | 225000 |  |  |  | 1725000
BY | 1 | BS STEAM PLANT ELEC CONV | 0 | 855000 | 881000 | 907000 | 934000 | 3577000
BY | 1 | BS TRANSFORMER REPL |  |  |  |  | 1150000 | 1150000
BY | 1 | BS WASTE NEUTRAILIZATION TANK | [5 empty] | 0
BY | 1 | BS WIDE WOBBIE INDEX |  |  |  | 8000000 |  | 8000000
BY | 1 | BS1 GENERATOR REWIND |  |  | 4800000 | 6800000 |  | 11600000
BY | 1 | BS1 STM TURBINE SEALS REPL |  |  |  | 700000 |  | 700000
BY | 1 | BS2 HP/IP/LP STEAM TURBINE SEALS | [5 empty] | 0
BY | 2 | BS 2 CT BLADE REPL |  |  |  | 4000000 |  | 4000000
BY | 2 | BS Condenser Cleaning System Unit 2 | [5 empty] | 0
BY | COM | BS Blankets | 1681808 | 815000 | 760000 | 860000 | 960000 | 5076808
BY | COM | BS CSA ADJUSTMENTS FOR STARTS | 0 |  |  |  |  | 0
BY | Com | BS CSA CREDIT | 0 |  |  |  |  | 0
BY | COM | BS DISCHARGE FLUME | 2300000 | 9961600 |  |  |  | 12261600
BY | COM | BS FLOOD WALL ADD | 0 |  |  |  |  | 0
BY | COM | BS Unit 1 CSA | 9700000 | 21575088 | 19678000 | 23044356 | 23209717 | 97207161
BY | COM | BS Unit 2 CSA | 13000000 |  |  |  |  | 13000000
BY | 2 | BS Inlet Air Filters for Unit 2 |  |  | 0 | 500000 | 500000 | 1000000
BB | ECRC | BB SCR CATALYST | 160000 | 2000000 | 2000000 | 2000000 | 2000000 | 8160000
BB | ECRC | BB1 COMB NEURAL NET | 145506 |  |  |  |  | 145506
BB | ECRC | BB1 MERC TESTING | 133872 | 0 |  |  |  | 133872
BB | ECRC | BB1 PPTR-West electrode/plate repl |  | 0 | 0 |  | 0 | 0
BB | ECRC | BB3 PPTR -East Electrode/Plate Repl |  |  |  | 4500000 |  | 4500000
BB | ECRC | ECRC BB3 Neural Network Combustion Optimization | 122571 |  |  |  |  | 122571
BB | ECRC | ECRC PM/CEMs | 232905 | 0 |  |  |  | 232905
BB | ECRC | Environmental AST CONTAINMENT AREAS | 0 |  |  |  |  | 0
BB | ECRC | Gypsum Fines Filter | -49936 | 2500000 |  |  |  | 2450064
EN | EN | BB 4 Economizer Ash Pond (Line or Close) | 0 | 1002000 | 1002000 |  |  | 2004000
EN | EN | Big Bend Gypsum Conveyor Relocation/Storage | 0 |  | 498000 | 2502000 | 10000000 | 13000000
EN | EN | Big Bend Recycling Pond (CD date Aug. 2010) | 1415592 | 4275267 |  |  |  | 5690859
EN | EN | Big Bend Slag Dewatering Bins | 545717 |  |  |  |  | 545717
EN | EN | Big Bend Slag Dewatering Return Wtr Hdr | 150000 |  |  |  |  | 150000
EN | EN | Big Bend Storm Water System Upgrade | 215021 |  |  |  |  | 215021
EN | EN | ENV BB 316B STUDY |  | 0 | 0 | 0 | 3000000 | 3000000
EN | EN | ENV GN 316B STUDY | 0 | 0 | 500000 | 2500000 | 3500000 | 6500000
EN | EV | EHS BLANKETS | 264643 | 100000 | 150000 | 150000 | 150000 | 814643
GN | GN | Dismantlement of coal fired assests | 1400000 | 5000000 | 5000000 | 5000000 | 5000000 | 21400000
OT | COM | CT 2&3 CREDIT | [5 empty] | 0
OT | FS | Energy Trading Business Process REPORTS | 50000 | 375000 | 850000 | 750000 | 500000 | 2525000
OT | OPS | ES OPS ADMIN (HERNANDEZ) | 599422 | 200000 | 200000 | 200000 | 200000 | 1399422
OT | OPS | ES OPS PLANNING (CURRIER) | 0 | 500000 | 0 | 0 | 0 | 500000
OT | OPS | NERC | 396250 |  |  |  |  | 396250
OT | OPS | PI Upgrade/Plant View Harbaugh |  | 250000 | 200000 | 200000 | 50000 | 700000
OT | OPS | PK1 Permitting Cost (Chicora) | 250000 |  |  |  |  | 250000
OT | OPS | ProMOD Upgrade | 655000 | 100000 | 100000 | 100000 | 50000 | 1005000
OT | OPS | Resource Planning Data Warehouse | 123824 | 50000 | 50000 | 50000 | 50000 | 323824
OT | OPS | RO Enhancements | 231500 | 100000 | 100000 | 100000 | 100000 | 631500
OT | OPS | WAREHOUSE | 412333 |  |  |  |  | 412333
PK | PK | Polk "A" Nozzle Scrubber Assemblies Repl | 143616 |  |  |  |  | 143616
PK | PK | Polk "B" Nozzle Scrubber Assemblies Repl | 231262 |  |  |  |  | 231262
PK | PK | Polk 1 CT Inlet Filter House Rain Hood | 175000 |  |  |  |  | 175000
PK | PK | Polk 2009 Rotor Outage | 4468662 |  |  |  |  | 4468662
PK | PK | POLK 86' manlift | 90 |  |  |  |  | 90
PK | PK | Polk A Mill Liner Repl | 220635 |  |  |  |  | 220635
PK | PK | Polk Adjustment CSA starts | 0 |  |  |  |  | 0
PK | PK | POLK ARC FLASH | 86300 | 1000000 |  |  |  | 1086300
PK | PK | Polk B Mill Liner Repl | 213697 |  |  |  |  | 213697
PK | PK | Polk Blankets/Retirements | 4026517 | 2275000 | 8100000 | 7450000 | 7657000 | 29508517
PK | PK | Polk COS Hydrolysis superheater Replacement | 154045 |  |  |  |  | 154045
PK | PK | Polk CSC East Tube Internals Replacement | 914501 |  |  |  |  | 914501
PK | PK | Polk CSC Tube Addition | [5 empty] | 0
PK | PK | POLK CSC TUBE INTERNALS REPL | [5 empty] | 0
PK | PK | POLK CSC West Tube Internals Replacement | 898642 |  |  |  |  | 898642
PK | PK | Polk CT Inlet Air Filters Repl | 282106 |  |  |  |  | 282106
PK | PK | Polk CT Inlet Air Guards | 185500 |  |  |  |  | 185500
PK | PK | Polk CT Y Strainer Repl | 94076 |  |  |  |  | 94076
PK | PK | Polk DeComp Furnace Brick Repl | 328478 |  |  |  |  | 328478
PK | PK | Polk Dgan Motor Rotor Rewind | [5 empty] | 0
PK | PK | Polk East CSC Ferrules Repl | 62256 |  |  |  |  | 62256
PK | PK | Polk Elevator Repl |  | 1250000 |  |  |  | 1250000
PK | PK | Polk Environmental Compliance |  | 500000 |  |  |  | 500000
PK | PK | POLK EX 2000 CORE REPLACEMENT | [5 empty] | 0
PK | PK | Polk Expansion LTSA's |  |  |  |  | 0 | 0
PK | PK | Polk Fire Protection System | 27348 |  |  |  |  | 27348
PK | PK | Polk Forced Outages |  | 150000 |  |  |  | 150000
PK | PK | Polk Gasifier Brick | 2143118 |  |  | 1850000 |  | 3993118
PK | PK | POLK GASIFIER THROAT BRICK REPL | [5 empty] | 0
PK | PK | Polk Lean Rich amine heat exchanger repl | 105301 |  |  |  |  | 105301
PK | PK | Polk Lockhopper Inlet Vv | 148000 |  |  |  |  | 148000
PK | PK | Polk Lockhopper vv | 11186 |  |  |  |  | 11186
PK | PK | Polk Long Term Reliability |  | 2750000 |  |  |  | 2750000
PK | PK | Polk LTSA's | 0 | 0 | 0 | 0 | 0 | 0
PK | PK | Polk Plant Efficiency |  | 725000 |  |  |  | 725000
PK | PK | Polk RSC Lower Shell Heat Shield Protection Panel | 52454 |  |  |  |  | 52454
PK | PK | Polk RSC Sump Uppper Liner Repl | 94438 |  |  |  |  | 94438
PK | PK | POLK RSC TUBING REPLACEMENT | [5 empty] | 0
PK | PK | Polk Scrubber Blowdown System | 119568 |  |  |  |  | 119568
PK | PK | Polk Slag Crusher Inlet cone Liner | 260115 |  |  |  |  | 260115
PK | PK | Polk Sustained Operations |  | 1945000 |  |  |  | 1945000
PK | PK | Polk Test Equip | 0 |  |  |  |  | 0
PK | PK | Polk Tools | 0 |  |  |  |  | 0
PK | PK | Polk Unit 1 LTSA | 3756842 | 4746000 | 4816000 | 4898000 | 4985000 | 23201842
PK | PK | Polk Unit 2 CSA | 709858 | 931000 | 922000 | 824000 | 1093000 | 4479858
PK | PK | Polk Unit 3 CSA | 859120 | 810000 | 763000 | 680000 | 1006000 | 4118120
PK | PK | Polk Unit 4 CSA | 1227398 | 924000 | 1294000 | 926000 | 1072000 | 5443398
PK | PK | Polk Unit 5 CSA | 1110380 | 1097000 | 1215000 | 1091000 | 1213000 | 5726380
PK | PK | Polk West CSC Ferrules Repl | 52817 |  |  |  |  | 52817
REL | ECRC | BB FGD WASTEWATER TANK RETROFIT | 98098 |  |  |  |  | 98098
REL | ECRC | BB1-2 Electric Isolation | 94326 | 0 |  |  |  | 94326
REL | ECRC | BB1-2 ME Wash Hdr Upgrades | 50154 |  |  |  |  | 50154
REL | ECRC | BB1-2 mist eliminator online cleaning | 0 |  |  |  |  | 0
REL | ECRC | BB1-2 Mist Eliminator Upgrades | 38164 |  |  |  |  | 38164
REL | ECRC | BB1-2 Redundant Gypsum Bleed Line | 73507 |  |  |  |  | 73507
REL | ECRC | BB1-2Controls Redundancy Upgrades | 37837 | 0 |  |  |  | 37837
REL | ECRC | BB3-4 Electric Isolation | -592 |  |  |  |  | -592
REL | ECRC | BB3-4 Tower Nozzle Online Cleaning | -16185 | 0 |  |  |  | -16185
SB | SB | Diesel Engine Component Replacements | 300000 | 300000 | 300000 | 300000 | 300000 | 1500000
|  | Total Non-Generation Expansion Capital | 145293192 | 144268413 | 135252000 | 179388356 | 160074717 | 764276678
SCR | SCR | Big Bend SCR Projects | 51659717 | 15767000 |  |  |  | 67426717
WW | WW | Polk Reclaim Water Project | 3304915 | 12355679 | 21119858 | 14993537 | 1748926 | 53522915
RR | RR | RAILROAD | 53689871 | 2500000 |  |  |  | 56189871
GE | GE | Bayside Aero-Derivative Expansion | 83859335 | 1000000 | 0 | 0 |  | 84859335
GE | GE | Future Aero-Derivative Expansion (units 6-11) | 0 | 0 | 0 | 0 |  | 0
|  | Total Generation Expansion Capital | 192513838 | 31622679 | 21119858 | 14993537 | 1748926 | 261998838
|  | TOTAL CAPITAL | 337807030 | 175891092 | 156371858 | 194381893 | 161823643 | 1026275516