## 5-Year Capital
Energy Supply
5-Year Capital Forecast
PROJECT NUMBER | Project Title | 2011 | 2012 | 2013 | 2014 | 2015 | 5 YEAR FORECAST (2011 thru 2015)
Big Bend Outage - Unit #1
| Accoustic Monitoring System Upgrade |  |  |  | 300000 |  | 300000
| APH Baskets / Seals | [5 empty] | 0
| Blowdown Tank Replacement |  |  |  | 300000 |  | 300000
| Boiler Furnace Floor/Refractory Replacement |  |  |  | 600000 |  | 600000
| Coal Nozzle replacement |  |  |  | 200000 |  | 200000
| Furnace Weld Overlay |  |  |  | 1000000 |  | 1000000
| BFP Element |  |  |  | 250000 |  | 250000
| Circulating Water Pumps |  | 250000 |  | 250000 |  | 500000
| EH1 Replacement |  |  |  | 1500000 |  | 1500000
| EH6 & 7 Level Instrumentation |  |  |  | 150000 |  | 150000
| EH7 Replacement |  |  |  | 1500000 |  | 1500000
| Exciter Rewind |  |  |  | 1500000 |  | 1500000
| Flash Tank Replacement |  |  |  | 500000 |  | 500000
| Generator Rewind with Retaining Rings |  |  |  | 12191000 |  | 12191000
| HTSH DMW Replacement |  |  |  | 1750000 |  | 1750000
| Mill Liners |  |  |  | 2000000 |  | 2000000
| PA Fan Replacement |  |  |  | 1200000 |  | 1200000
| Precip Airlock Replacement |  |  |  | 1000000 |  | 1000000
| Primary SH |  |  |  | 4000000 |  | 4000000
| BFP Recirc Valve |  |  |  | 150000 |  | 150000
| Seal Air Fans |  |  |  | 300000 |  | 300000
| Slag Tanks Necks / Refractory Replacement |  |  |  | 500000 |  | 500000
| Slag Tank Replacement | [5 empty] | 0
| HP/IP Turbine & Valves |  |  |  | 2500000 |  | 2500000
| LP Turbine Inspection | [5 empty] | 0
| WW Platens |  |  |  | 2500000 |  | 2500000
A7100/P7100 | Blankets | 499986 | 500000 | 500000 | 5000000 | 500000 | 6999986
| Total BB Outage - Unit #1 | 499986 | 750000 | 500000 | 41141000 | 500000 | 43390986 | z
Big Bend Outage - Unit #2
| Accoustic Monitoring System Upgrade |  |  |  |  | 300000 | 300000
B1616/Q1616 | Arc Flash Remediation | 2500000 |  |  |  |  | 2500000
| APH Baskets / Seals |  |  |  |  | 1000000 | 1000000
B1617/Q1617 | Blowdown Tank Repl | 164600 |  |  |  |  | 164600
| Circulating Water Pumps |  |  | 250000 |  | 250000 | 500000
| BFP Internal Element Repl |  |  |  |  | 250000 | 250000
B1618/Q1618 | Classifier/Discharge Chute Replacement | 2280000 |  |  |  |  | 2280000
B1619/Q1619 | Coal Inlet Chutes | 1082310 |  |  |  |  | 1082310
B1624/Q1624 | Coal Nozzle replacement | 199999 |  |  |  | 200000 | 399999
| Duct Replacements |  |  |  |  | 4500000 | 4500000
| EH3 Repl. |  |  |  |  | 1500000 | 1500000
B1814/Q1814 | EH6 & 7 Level Instrumentation | 149999 |  |  |  |  | 149999
| EH7 Replacement |  |  |  |  | 1500000 | 1500000
B1813/Q1813 | Exciter Rewind | 1452010 |  |  |  |  | 1452010
B1620/Q1620 | Flash Tank Replacement | 188864 |  |  |  |  | 188864
| Furnace Floor / Refractory |  |  |  |  | 600000 | 600000
| Furnace Upper WW |  |  |  |  | 3000000 | 3000000
| Furnace Weld Overlay |  |  |  |  | 1000000 | 1000000
B1802/Q1802 | Generator Stator Rewind | 10450000 |  |  |  |  | 10450000
B1815/Q1815 | Heater Drip Pumps | 425080 |  |  |  |  | 425080
B1626/Q1626 | Hot Air Expansion Joints | 249999 |  |  |  |  | 249999
| HP/IP Turbine & Valves |  |  |  |  | 2500000 | 2500000
B1649/Q1649 | HTSH DMW Replacement | 1666902 |  |  |  |  | 1666902
| LP Turbine Inspection | [5 empty] | 0
B1627/Q1627 | Mill Trunnion Liners | 299999 |  |  |  | 2000000 | 2299999
| Primary RH |  |  |  |  | 3500000 | 3500000
B1622/Q1622 | Primary SH | 2169237 |  |  |  |  | 2169237
| Seal Air Fans |  |  |  |  | 300000 | 300000
| Slag Tanks Necks / Refractory Replacement |  |  |  |  | 500000 | 500000
| Slag TANK Replacement | [5 empty] | 0
B1623/Q1623 | Sootblower System Replacement | 1630010 |  |  |  |  | 1630010
| WW Platens |  |  |  |  | 2500000 | 2500000
A7200/P7200 | Blankets | 1674255 | 500000 | 500000 | 500000 | 5000000 | 8174255
| Total BB Outage - Unit #2 | 26583264 | 500000 | 750000 | 500000 | 30400000 | 58733264 | z
Big Bend Outage - Unit #3
| Accoustic Monitoring System Upgrade | [5 empty] | 0
| Arc Flash Remediation |  | 2500000 |  |  |  | 2500000
| APH Baskets / Seals |  | 1000000 |  |  |  | 1000000
| BFP Turbine/Element/Casing |  | 250000 |  |  |  | 250000
| Circulating Water Pumps |  | 250000 |  | 250000 |  | 500000
| Classifier/Discharge Chute Replacement | [5 empty] | 0
| Coal Inlet Chutes | [5 empty] | 0
| Coal Crushers w/ motors |  | 1000000 |  |  |  | 1000000
| Coal Nozzle replacement |  | 200000 |  |  |  | 200000
| Coal Piping |  | 3000000 |  |  |  | 3000000
| Cold Air Expansion Joint |  | 200000 |  |  |  | 200000
| CRH Inlet Header | [5 empty] | 0
| DA Tank Replacement |  | 2500000 |  |  |  | 2500000
| Ductwork Replacements | [5 empty] | 0
| Economizer w/ Header |  | 5000000 |  |  |  | 5000000
| EH1 Replacement |  | 1500000 |  |  |  | 1500000
| EH3 Replacement |  | 1500000 |  |  |  | 1500000
| EH5 Replacement | [5 empty] | 0
| EH6 Replacement | [5 empty] | 0
| Furnace Floor / Refractory |  | 600000 |  |  |  | 600000
| Furnace Weld Overlay | [5 empty] | 0
| Generator Rewind |  | 5000000 |  |  |  | 5000000
| Hot Air Expansion Joints |  | 250000 |  |  |  | 250000
| HP/IP Turbine & Valves | [5 empty] | 0
| HTRH Replacement |  | 5000000 |  |  |  | 5000000
| HTSH w/ Outlet Header |  | 5000000 |  |  |  | 5000000
| LP Turbine |  | 1000000 |  |  |  | 1000000
| Mill Liners | [5 empty] | 0
| PA Fan Replacement |  | 1200000 |  |  |  | 1200000
| Precip Airlock Replacement | [5 empty] | 0
| Slag Tanks Necks / Refractory Replacement |  | 1500000 |  |  |  | 1500000
| Slag Tank Replacement | [5 empty] | 0
| Sootblower system Replacement |  | 2250000 |  |  |  | 2250000
| Stack Lining / Repair leaning liner |  | 4000000 |  |  |  | 4000000
| WW Platens | [5 empty] | 0
A7300/P7300 | Blankets | 499986 | 2500000 | 500000 | 500000 | 500000 | 4499986
| Total BB Outage - Unit #3 | 499986 | 47200000 | 500000 | 750000 | 500000 | 49449986 | z
Big Bend Outage - Unit #4
| Accoustic Monitoring System Upgrade | [5 empty] | 0
| Air heater rotor and element replacement |  |  | 2500000 |  |  | 2500000
B2312/Q2312 | Air removal pump replacement | 300000 |  |  |  |  | 300000
| BFP Element |  |  | 250000 |  |  | 250000
| Bottom Ash Tank | [5 empty] | 0
| Bunker Liners |  |  | 1000000 |  |  | 1000000
| Burner Assembly / Coal Nozzle Replacement |  |  | 1200000 |  |  | 1200000
| Circulating Water Pumps |  |  | 250000 |  | 250000 | 500000
| Coal Chutes to Feeders |  |  | 225000 |  |  | 225000
| Coal Piping |  |  | 4000000 |  |  | 4000000
| Duct Replacements |  |  | 4000000 |  |  | 4000000
| EH5 Replacement |  |  | 1500000 |  |  | 1500000
| EH6 Replacement |  |  | 1500000 |  |  | 1500000
| EH7 Replacement | [5 empty] | 0
| FD/ID Fan LCI Controls |  |  | 550000 |  |  | 550000
| Feedwater Piping Replacement |  |  | 1000000 |  |  | 1000000
| Finishing RH |  |  | 4000000 |  |  | 4000000
| Finishing SH | [5 empty] | 0
| Furnace Lower WW |  |  | 3000000 |  |  | 3000000
| Furnace Upper WW | [5 empty] | 0
| Generator Rewind |  |  | 6000000 |  |  | 6000000
| HP/IP Turbine & Valves |  |  | 1000000 |  |  | 1000000
| HRS Header Partial Replacement |  |  | 3000000 |  |  | 3000000
| Low Temp Superheater | [5 empty] | 0
| LP Turbine |  |  | 2000000 |  |  | 2000000
B19xx/Q19xx | Pulverizer Overhauls | 449999 | 500000 | 750000 | 500000 | 750000 | 2949999
| PA Fan Wheels |  |  | 250000 |  |  | 250000
| Radiant RH Replacement | [5 empty] | 0
| BB4 Precipitator Overhaul |  |  | 6500000 |  |  | 6500000
| Sootblower system Replacement |  |  | 2000000 |  |  | 2000000
A7400/P7400 | Blankets | 499986 | 500000 | 2500000 | 500000 | 500000 | 4499986
| Total BB Outage - Unit #4 | 1249985 | 1000000 | 48975000 | 1000000 | 1500000 | 53724985 | z
Big Bend Outage - FGD
A7500/P7500 | Blankets | 1500003 | 1500000 | 1500000 | 1500000 | 1500000 | 7500003
| Total BB Outage - FGD | 1500003 | 1500000 | 1500000 | 1500000 | 1500000 | 7500003 | z
Big Bend Non-Outage Projects
B2031 | Alarm Management | 250760 |  |  |  |  | 250760
| Arc Flash / Misc. Electrical Upgrades |  | 1000000 | 1000000 | 1000000 | 1000000 | 4000000
B2401/Q2401 | Coal Field Electrical Feed Modifications | 1500906 |  |  |  |  | 1500906
B2404/Q2404 | Compressed Air System Upgrades | 500000 |  |  |  |  | 500000
| Demineralizer Resin Replacement |  | 200000 |  |  |  | 200000
| Dry Stack Shell Dismantlement |  |  |  | 1000000 |  | 1000000
B2405/Q2405 | Elevator #5 Code Upgrades | 300000 |  |  |  |  | 300000
B2406/Q2406 | Inerting Steam System Upgrades | 200000 |  |  |  |  | 200000
| Misc. Roof Replacements |  | 250000 | 250000 | 250000 | 250000 | 1000000
B0501/Q0501 | PA Fan Roof Replacement | 250037 |  |  |  |  | 250037
| Plant Cooling Water System |  |  |  | 5000000 |  | 5000000
| Polisher Acid/Caustic Tanks |  | 150000 |  |  |  | 150000
| Polisher Resin Replacement |  | 200000 |  |  |  | 200000
| Reverse Osmosis Membranes |  |  | 125000 |  |  | 125000
B2407/Q2407 | Reverse Osmosis System Upgrades | 1500000 |  |  |  |  | 1500000
B2402/Q2402 | Settling Basin Pump Replacement | 180000 |  |  |  |  | 180000
B2408 | Tagging Management Application | 249996 |  |  |  |  | 249996
B2403/Q2403 | Transformer fire protection upgrade (BB4) | 150000 |  |  |  |  | 150000
B0502/Q0502 | Tripper Room Roof | 700000 |  |  |  |  | 700000
B05xx/Q05xx | Infrastructure / Facilities Upgrades | 1000011 | 1000000 | 1000000 | 1000000 | 1000000 | 5000011
A7700/P7700 | Blankets | 1579689 | 2000000 | 2000000 | 2000000 | 2000000 | 9579689
| Total BB Non-Outage Projects | 8361399 | 4800000 | 4375000 | 10250000 | 4250000 | 32036399 | z
| Sub-Total | 38694623 | 55750000 | 56600000 | 55141000 | 38650000 | 244835623 | z
Gypsum Storage Area / FGD Equipment Replacement & Additions
FGD Common
B27.10 / Q27.10 | Controls Upgrade - Common | 1750000 |  |  |  |  | 1750000
B27.11 / Q27.11 | Controls Upgrade - Unit 3 |  | 1750000 |  |  |  | 1750000
B27.12 / Q27.12 | Controls Upgrade - Unit 4 |  |  | 1000000 |  |  | 1000000
B27.13 / Q27.13 | Controls Upgrade - Unit 1&2 ECRC |  |  |  | 1000000 |  | 1000000
B27.14 / Q27.14 | Tank Liner Replacements | 360876 | 360876 | 360876 | 360876 |  | 1443504
B27.15 / Q27.15 | Alternative Limestone Feed | 300000 |  |  |  |  | 300000
B27.16 / Q27.16 | Limestone reclaimer repairs | 250000 |  |  |  |  | 250000
B27.17 / Q27.17 | Limestone storage building repairs | 340000 |  |  |  |  | 340000
B27.18 / Q27.18 | Pick heater replacement ECRC | 125000 | 125000 |  |  |  | 250000
B27.19 / Q27.19 | Emergency pond reclamation system upgrades | 186000 |  |  |  |  | 186000
| 1&2 Tower | [5 empty] | 0
B27.20 / Q27.20 | Online slurry nozzle cleaning system ECRC | 681000 |  |  |  |  | 681000
B27.21 / Q27.21 | Oxidation air header improvements ECRC | 571000 |  |  |  |  | 571000
| 3&4 Towers | [5 empty] | 0
B27.23 / Q27.23 | Replace 3 Oxidizing Air Compressors | 750000 | 750000 | 750000 | 750000 |  | 3000000
B27.24 / Q27.24 | Replace 4 Oxidizing Air Compressors | 750000 | 750000 | 750000 | 750000 |  | 3000000
B27.25 / Q27.25 | Replace C Booster Fan Inlet Vanes |  |  | 298000 |  |  | 298000
B27.26 / Q27.26 | Replace C & D Booster Fan Lube Oil Skids |  |  | 200000 |  |  | 200000
B27.27 / Q27.27 | C Booster Fan Upgrade (Increase flow to match D tower) |  |  | 2171582 |  |  | 2171582
B27.28 / Q27.28 | Replace D Booster Fan Housing |  |  | 305000 |  |  | 305000
B27.29 / Q27.29 | A-B Tower replace absorber/quencher pump suction valves | 125004 | 125000 | 125000 | 125000 |  | 500004
B27.30 / Q27.30 | C-D Tower replace absorber/quencher pump suction valves | 125004 | 125000 | 125000 | 125000 |  | 500004
B27.31 / Q27.31 | A-D Tower WFC nozzle replacement |  | 400000 | 400000 |  |  | 800000
B27.32 / Q27.32 | A & B Tower sparger & bowl return line mods |  | 1500000 |  |  |  | 1500000
| FGD Ductwork Replacements | [5 empty] | 0
B27.33 / Q27.33 | Replace unit 3 inlet duct |  | 703170 |  |  |  | 703170
B27.34 / Q27.34 | Replace unit 3 outlet duct coating system ECRC |  | 1991750 |  |  |  | 1991750
B27.35 / Q27.35 | Replace A & B Tower Inlet Ducts |  | 815055 |  |  |  | 815055
B27.36 / Q27.36 | Replace unit 4 inlet duct |  |  | 4157600 |  |  | 4157600
B27.37 / Q27.37 | Replace unit 4 outlet duct |  |  | 4649550 |  |  | 4649550
B27.38 / Q27.38 | Replace C & D Tower Inlet Ducts |  |  | 815055 |  |  | 815055
B27.40 / Q27.40 | Wastewater treatment plant reliability ECRC | 800000 | 800000 |  |  |  | 1600000
B27.41 / Q27.41 | Gypsum Storage Area | 3954857 | 24614300 | 10264809 | 6386400 |  | 45220366
| Total Gypsum Storage Area / FGD Reliability | 11068741 | 34810151 | 26372472 | 9497276 | 0 | 81748640 | z
Big Bend Environmental / Other ECRC Projects
L8832 | Fines Removal and Filtration System (10% Moisture) ECRC | 11641000 |  |  |  |  | 11641000
L8833 | SCR Catalyst ECRC | 2000000 | 2000000 | 2000000 | 2000000 | 2000000 | 10000000
L8827/Y8827 | Unit 1&2 Cross Tie Damper ECRC | 89876 |  |  |  |  | 89876
L8836/Y8836 | Unit 1&2 Rebuild Absorber Recycle Pumps ECRC | 300126 |  |  |  |  | 300126
L8829/Y8829 | FGD Vacuum Drum Replacement ECRC | 1100000 |  |  |  |  | 1100000
| Unit 1 Precip Upgrades (PM Consent Decree) |  |  |  | 2000000 |  | 2000000
| Unit 3 Precip Upgrades (PM Consent Decree) |  | 4500000 |  |  |  | 4500000
F0875 | Economizer Ash Ponds / LTFA Pond | 2000000 | 1000000 |  |  |  | 3000000
| 316B Study |  |  |  | 3000000 |  | 3000000
| Total Environmental / Other ECRC Projects | 17131002 | 7500000 | 2000000 | 7000000 | 2000000 | 35631002 | z
| Total All Big Bend Power Station | 66894366 | 98060151 | 84972472 | 71638276 | 40650000 | 362215265 | z
Energy Supply Services - Recurring
A2900/P2900 | Blanket Maintenance | 934636 | 950000 | 1000000 | 900000 | 1000000 | 4784636
B2913/Q2913 | Conveyor(s) | 499998 |  |  |  | 500000 | 999998
B2911/Q2911 | Mobile Equipment | 499998 | 750000 | 750000 | 750000 | 750000 | 3499998
B2904/Q2904 | Rail Crossing Tub Replacement | 199998 |  |  |  |  | 199998
B2905/Q2905 | Stevedore Work Flat | 100002 |  |  |  |  | 100002
| Rail System |  | 300000 | 250000 | 250000 | 250000 | 1050000
B2918/Q2918 | Blending Bin Gates (x12) | 199998 |  |  |  |  | 199998
| Total Recurring | 2434630 | 2000000 | 2000000 | 1900000 | 2500000 | 10834630
Energy Supply Services - Non-Recurring
| Various chutes/belts/conveyors |  |  |  |  | 4200000 | 4200000
| Coal Unloading Dock/Seawall Replacement | 1014500 |  |  |  |  | 1014500
B2906/Q2906 | Coal Field Controls Replacement | 550002 |  |  |  |  | 550002
B2907/Q2907 | E to F / E to Y Chutes Replacement | 399996 |  |  |  |  | 399996
B2908/Q2908 | F to J1 Chute Replacement | 300000 |  |  |  |  | 300000
B2909/Q2909 | T1 to W1 Transfer Chute Replacement | 250020 |  |  |  |  | 250020
B2910/Q2910 | T2 to W2 Transfer Chute Replacement | 250020 |  |  |  |  | 250020
B2914/Q2914 | J2-Conveyor | 400002 |  |  |  |  | 400002
B2915/Q2915 | K1A&K1B to L1 Transfer Chute Replacement | 500004 |  |  |  |  | 500004
B2916\Q2916 | M1 Tripper Chute Replacement | 300000 |  |  |  |  | 300000
B2917\Q2917 | R1 Tripper Chute Replacement | 300000 |  |  |  |  | 300000
B2919/Q2919 | P to J2 Chute Replacement | 300000 |  |  |  |  | 300000
B2920/Q2920 | T3 Tower Major Refurbishment | 300000 |  |  |  |  | 300000
B2921/Q2921 | Y to Z Chute Replacement | 300000 |  |  |  |  | 300000
B2922/Q2922 | Z to P Chute Replacement | 500004 |  |  |  |  | 500004
| Total Non-Recurring | 5664548 | 0 | 0 | 0 | 4200000 | 9864548
Solid Fuel Handling Equipment Replacement & Additions
B28.10 / Q28.10 | Electrical Upgrades | 1000000 | 1000000 | 1000000 | 1000000 |  | 4000000
B28.11 / Q28.11 | Coal Unloading Dock |  | 1000000 | 1500000 | 500000 |  | 3000000
B28.12 / Q28.12 | North Stacker Replacement | 1000880 | 4000000 | 5000000 |  |  | 10000880
B28.13 / Q28.13 | South Stacker Replacement |  | 1000000 | 4000000 | 5000000 |  | 10000000
B28.14 / Q28.14 | Dravo |  | 2000000 | 2500000 | 2500000 |  | 7000000
B28.15 / Q28.15 | PECO |  |  | 2400000 | 2500000 | 2400000 | 7300000
B28.16 / Q28.16 | Cathodic Protection |  | 500000 |  |  |  | 500000
B28.17 / Q28.17 | K2A&K2B to L2 Transfer Chute Replacement |  | 500000 |  |  |  | 500000
B28.18 / Q28.18 | Blending T1 Transfer x6 |  | 1500000 |  |  |  | 1500000
B28.19 / Q28.19 | Blending T1 Transfer x6 |  |  | 1500000 |  |  | 1500000
B28.20 / Q28.20 | Blending Bins |  | 2000000 | 2000000 | 2000000 |  | 6000000
B28.21 / Q28.21 | Blending Bin Bypass System | 2000004 | 2500000 |  |  |  | 4500004
B28.22 / Q28.22 | P-J Chute |  | 250000 |  |  |  | 250000
B28.23 / Q28.23 | Z-P Chute |  | 250000 |  |  |  | 250000
B28.24 / Q28.24 | J2-Q2 Chute |  | 250000 |  |  |  | 250000
B28.25 / Q28.25 | Q1-R1 Chute |  |  | 250000 |  |  | 250000
B28.26 / Q28.26 | Q2-R2 Chute |  | 250000 |  |  |  | 250000
B28.27 / Q28.27 | T2-W2 Chute |  |  | 100000 |  |  | 100000
B28.28 / Q28.28 | L1-M1 |  |  | 250000 |  |  | 250000
B28.29 / Q28.29 | W2-L2 Chute |  | 200000 | 250000 |  |  | 450000
B28.30 / Q28.30 | L2-M2 Chute |  |  | 250000 |  |  | 250000
B28.31 / Q28.31 | M2 Tripper Chute |  | 300000 |  |  |  | 300000
| Total Solid Fuel Handling Equipment Replacement & Additions | 4000884 | 17500000 | 21000000 | 13500000 | 2400000 | 58400884
| Total Energy Supply Services | 12100062 | 19500000 | 23000000 | 15400000 | 9100000 | 79100062
Bayside Outage - Unit #1
G6101/V6101 | BS GENERATOR REWIND | 9249870 |  |  |  |  | 9249870
| BS HRSG SCR CATALYST 1A,1B,1C |  |  |  | 500000 | 1000000 | 1500000
| Steam Turbine Bolting repl | [5 empty] | 0
A5044 | #1 Turbine L.O. Cooler | 20000 |  |  |  |  | 20000
| Hydrogen SO Cooler | 0 |  |  |  |  | 0
A5063 | Air Side SO Cooler | 20000 |  |  |  |  | 20000
| Condenser Inlet Valve repl. | 0 |  |  |  |  | 0
G5501 | Unit 1 HP/IP/LP Steam Turbine ring & seal repl | 1905860 |  |  |  | 2000000 | 3905860
| 1A,1B,1C Inlet Filter repl. |  |  |  |  | 350000 | 350000
G6901/V6901 | Course Mesh Screens and dredging unit 1 | 763117 |  |  |  |  | 763117
A5116/A5216/A5316 | Silencer Repl. Hot Reheat only 1A, 1B, 1C | 30000 |  |  |  |  | 30000
A5115/A5215/A5315 | HRSG Piping Penetration seals Super Heat | 30000 |  |  |  |  | 30000
| Silencer Repl. 1A, 1B, 1C ( IP only ) |  | 150000 | 75000 |  |  | 225000
| Silencer Repl. 1A, 1B, 1C ( MS only ) |  |  |  |  | 225000 | 225000
| 1A, B, C HR Attemp. Upgrade |  |  |  |  | 600000 | 600000
| 1A, B, C HP FD water control valve upgrade |  |  |  |  | 450000 | 450000
| 1A, B, C FAC material upgrade |  |  |  |  | 225000 | 225000
| 1A, B, C pipe support & structure |  |  |  |  | 100000 | 100000
| 1A, B, C HR pipe penetration seals |  |  |  |  | 150000 | 150000
| 1A, B, C Blow down tank repl. |  |  |  |  | 300000 | 300000
| Total BS Outage - Unit #1 | 12018847 | 150000 | 75000 | 500000 | 5400000 | 18143847 | z
| Bayside Outage - Unit #2 | [5 empty] | 0
| BS 2A MAIN STEAM ATTEMPERATORS | [5 empty] | 0
| BS HRSG SCR CATALYST 2A,2B,2C,2D |  |  |  |  | 500000 | 500000
| BS Inlet Air Filters for Unit 2A,2B,2C,2D |  | 470000 |  |  |  | 470000
| Unit 2 blow down tanks repl |  | 200000 |  |  |  | 200000
| Course Mesh Screens 2 sets - Screen well unit 2 |  | 600000 |  |  |  | 600000
| Silencer Repl. Hot Reheat only 2C, 2B |  | 170000 |  |  |  | 170000
| Silencer Repl. Hot Reheat only 2D, 2A |  |  | 150000 |  |  | 150000
| ST2 Voltage Regulator upgd |  | 130000 |  |  |  | 130000
| Silencer Repl. 2A, 2B, 2C, 2D ( IP only ) |  |  | 75000 | 150000 | 75000 | 300000
| Dredging |  | 350000 |  |  |  | 350000
| BS2 HP/IP/LP STEAM TURBINE SEALS |  | 2200000 |  |  |  | 2200000
| Total BS Outage - Unit #2 | 0 | 4120000 | 225000 | 150000 | 575000 | 5070000 | z
G9878 | GE CSA Unit 1 | 5925371 | 7164669 | 7141983 | 7353561 | 2939146 | 30493509
G9981 | GE CSA Unit 2 | 9522694 | 8320261 | 9522643 | 9962890 | 10287011 | 47646720
G11xx | GE Compressor repl unit 1 | 915807 |  |  |  |  | 915807
| GE Compressor repl unit 2 |  | 9221076 |  |  |  | 9221076
| Compressor Replacement - Units 1 & 2 | 16363872 | 24706006 | 16664626 | 17316451 | 13226157 | 88277112 | z
Bayside Non-Outage Projects / Capitalized Maint
10850 | BS Dismantlement of Gannon Coal Assests | 5000000 | 5000000 | 5000000 | 5000000 | 4000000 | 24000000
G5029 | BS Alarm Management | 150320 |  |  |  |  | 150320
G6201 | BS ARC FLASH phase 2 | 866000 | 103000 |  |  |  | 969000
| BS ARCH FLASH phase 1 | [5 empty] | 0
A5000/P5000 | BS Blankets - Routine Corrective Maint. | 1696105 | 1200000 | 1300000 | 1400000 | 1500000 | 7096105
| BS DISCHARGE FLUME | [5 empty] | 0
| Electrical Equipment Repl.(end of life) | [5 empty] | 0
| Hydrogen Panel Repl - Unit 1 outage | [5 empty] | 0
G6701 | Steam Turbine Cooling Tower Repl. | 1007920 | 500000 |  |  |  | 1507920
G6801 | CT Power Block Gas Supply Piping Loop addition | 656149 |  |  |  |  | 656149
A50xx/P50xx | NERC CIP Hardware | 100000 | 100000 | 100000 | 100000 | 100000 | 500000
| BS Reserve Bus 2 Switchgear | [5 empty] | 0
| BS RO PRETREATMENT ( ultra filtration) | [5 empty] | 0
| TRANSFORMER REPL RESERVE 2 |  |  | 1150000 |  |  | 1150000
G5601 | GSU Repl. Unit 2 | 697660 | 3500000 |  |  |  | 4197660
| GSU Repl. Unit 1 |  |  |  | 500000 | 2000000 | 2500000
| Battery Set unit #2 |  |  | 400000 |  |  | 400000
| Back-up Generator Steam Plant |  |  | 120000 |  |  | 120000
| Transformer Repl. Reserve 3 |  |  |  | 1100000 |  | 1100000
| BS WIDE WOBBIE INDEX |  |  |  |  | 3500000 | 3500000
| Bayside Dock Fender replacement | [5 empty] | 0
| PEC NERC | [5 empty] | 0
| Total BS Non-Outage Projects / Capitalized Maint | 10174154 | 10403000 | 8070000 | 8100000 | 11100000 | 47847154 | z
Bayside Environmental / ECRC Projects
| 316B Fine Mesh screens |  |  |  | 2500000 | 6000000 | 8500000
| Total BS Environmental / ECRC Projects | 0 | 0 | 0 | 2500000 | 6000000 | 8500000 | z
| Total Bayside Power Station | 38556873 | 39379006 | 25034626 | 28566451 | 36301157 | 167838113 | z
PolK Unit 1 Outage - Gasification Area
H000 | Maintenance/Reliability Outages |  |  | 5851000 | 5990000 | 4000000 | 15841000
| CT Inlet Air Guards | [5 empty] | 0
| Y-Strainer Addition | [5 empty] | 0
| Sulfuric Acid Piping | [5 empty] | 0
| ASU adsorber replacement | [5 empty] | 0
| Gasifier throat Brick | [5 empty] | 0
| Lockhopper Valve | [5 empty] | 0
H1005 | Emergency Elevator Addition | 350000 |  |  |  |  | 350000
H1020 | Syngas Piping Liner (Ph1) | 100000 |  |  |  |  | 100000
H1019 | SAP Heat Exchanger | 250000 |  |  |  |  | 250000
H1021 | Brine Heat Exchanger | 100000 |  |  |  |  | 100000
| MDEA Tank Liner | [5 empty] | 0
H1106 | SAP SO2 Stripper | 250000 |  |  |  |  | 250000
| MDEA Filtration | [5 empty] | 0
H1109 | Syngas Block Valve | 150000 |  |  |  |  | 150000
H1110 | Lockhopper valve | 150000 |  |  |  |  | 150000
H1107 | ST Main Steam Line Modification | 100000 | 150000 |  |  |  | 250000
| Gasifier skin T/C's |  | 200000 |  |  |  | 200000
H1101 | Syngas Piping Exp Joints | 125000 | 250000 |  |  |  | 375000
H1102 | Syngas piping Liner (Ph2) | 200000 | 100000 |  |  |  | 300000
H1026 | SAP Gas Flare Piping System Replacement | 250000 |  |  |  |  | 250000
H1104 | SAP Preheater | 250000 | 250000 |  |  |  | 500000
| Open Loop Pump Internals |  | 150000 |  |  |  | 150000
| Condensor cooling water pump |  | 200000 |  |  |  | 200000
| RSC Seal box replacement |  | 750000 |  |  |  | 750000
| Gasifer Brick Replacement |  | 2300000 |  |  | 2500000 | 4800000
| Lockhopper Valve |  | 150000 |  |  |  | 150000
| A&B Mill End Liners |  | 200000 |  |  |  | 200000
| Run Tank Liner Replacement |  | 750000 |  |  |  | 750000
| GOX Rotor replacement |  | 500000 |  |  |  | 500000
| Large Motor Replacement |  | 200000 |  |  |  | 200000
| Pk Syngas Block valve |  | 150000 |  |  |  | 150000
H1100 | Misc Other Projects | 563038 |  |  |  |  | 563038
| Total PolK Unit 1 Outage - Gasification Area | 2838038 | 6300000 | 5851000 | 5990000 | 6500000 | 27479038 | z
Polk Unit 2-5 Outage
| Unit #4 R-Zero Blade Replacement | [5 empty] | 0
| Unit #5 R-Zero Blade Replacement | [5 empty] | 0
| Total Polk Unit 2-5 Outage | 0 | 0 | 0 | 0 | 0 | 0 | z
Polk LTSA/CSA
H4788 | Polk LTSA - Unit #1 | 4259604 | 4311805 | 4370269 | 4435749 | 4509086 | 21886513
H4880 | Polk CSA - Unit #2 | 796253 | 721630 | 739976 | 760523 | 783535 | 3801917
H4988 | Polk CSA - Unit #3 | 825227 | 743878 | 762896 | 784196 | 808052 | 3924249
H5088 | Polk CSA - Unit #4 | 1027939 | 1120611 | 1175712 | 1232713 | 1291843 | 5848818
H5288 | Polk CSA - Unit #5 | 1027939 | 1120611 | 1175712 | 1232713 | 1291843 | 5848818
| Total PolK LTSA/CSA | 7936962 | 8018535 | 8224565 | 8445894 | 8684359 | 41310315 | z
Polk Non-Outage Projects / Capitalized Maint
A8100/P8100 | PK Blankets/Retirements | 2725000 | 3400000 | 2950000 | 3050000 | 3400000 | 15525000
A9699 | PK Computer Replacements | 25000
| Greywater evaporator tube replacement | [5 empty] | 0
| Stormwater replacement Ph 2 | [5 empty] | 0
| Greywater filter replacement | [5 empty] | 0
H1024 | DCS Power Panel Replacement | 100000 |  |  |  |  | 100000
H1006 | Instrument Air Compressor Replacement | 100000 |  |  |  |  | 100000
H1022 | Brine Impeller | 300000 |  |  |  |  | 300000
H1004 | Alarm Management | 91054 |  |  |  |  | 91054
H1025 | SAP Piping - Phase 2 | 200000 |  |  |  |  | 200000
H1103 | Scrubber Blowdown Crusher | 300000 |  |  |  |  | 300000
H1105 | Brine Filtration | 650000 |  |  |  |  | 650000
H1108 | Slag Recovery System | 300000 |  |  |  |  | 300000
| PK Unidentified Capital Projects | [5 empty] | 0
| Total PK Non-Outage Projects / Capitalized Maint | 4791054 | 3400000 | 2950000 | 3050000 | 3400000 | 17566054 | z
| Total Reclaimed Water Project | 25532636 | 19938000 | 2738000 | 0 | 0 | 48208636 | z
| Total Polk Power Station | 41098690 | 37656535 | 19763565 | 17485894 | 18584359 | 134564043 | z
Planning, Engineering & Construciton
A2801 | MCS Building Renovations | 100000 |  |  |  |  | 100000
B2501 | Boiler & Boiler Piping Management System | 150000 |  |  |  |  | 150000
A2800 | Capital Program Support | 100000 |  |  |  |  | 100000
| Total Planning, Engineering & Construciton | 350000 | 0 | 0 | 0 | 0 | 350000 | z
Environmental, Health & Safety
A6903 | EHS BLANKETS (981 - LAB SERVICES ONLY) | 52500 | 60500 | 45500 | 211500 | 51500 | 421500
A6903 | EHS BLANKETS (982 - AIR SERVICES ONLY) | 40000 | 40000 | 40000 | 40000 | 40000 | 200000
A6900 | EHS BLANKETS (985 - MVC ONLY) | 78292 | 91000 | 106000 | 53000 | 79000 | 407292
I9900 | EHS ES PROJECT SUPPORT | 96000 | 23500 | 13500 | 39500 | 44500 | 217000
I9900 | EHS ED&G INDETERMINATES | 191212 | 135000 | 135000 | 135000 | 135000 | 731212
| Total Environmental, Health & Safety | 458004 | 350000 | 340000 | 479000 | 350000 | 1977004 | z
| Total All Capital | 159457995 | 194945692 | 153110663 | 133569621 | 104985516 | 746044487 | z
| Total All Capital - Excluding Generation Expansion | 133925359 | 175007692 | 150372663 | 133569621 | 104985516 | 697835851 | z