## 2012-2016 Update
Energy Supply
5-Year Capital Forecast
PROJECT NUMBER | PROJECT TITLE | 2012 | 2013 | 2014 | 2015 | 2016 | 5-YEAR FORECAST (2012 - 2016)
Big Bend Outage - Unit #1
B1413 | BB1 Arc Flash Remediation |  | 0 | 0 | 0 |  | 0
B1454 | BB1 Control Rm Project |  | 0 | 0 | 0 |  | 0
B1472 | BB1 Ignition System |  | 0 | 0 | 0 |  | 0
B14X1 | BB1 Precipitator Exterior Upgrade |  | 0 | 0 | 0 |  | 0
B1473 | BB1 Precipitator Exterior Upgrade |  | 0 | 0 | 0 |  | 0
B1517 | BB1 Generator Rewind |  | 0 | 0 | 0 |  | 0
| Air Removal Pump Replacement |  | 0 | 0 | 575000 |  | 575000
| APH Baskets / Seals |  | 0 | 0 | 1500000 |  | 1500000
| Blowdown Tank Replacement |  | 0 | 0 | 500000 |  | 500000
| Boiler Furnace Floor/Refractory Replacement |  | 0 | 0 | 500000 |  | 500000
| Coal Nozzle replacement |  | 0 | 0 | 300000 |  | 300000
| Furnace Weld Overlay |  | 0 | 0 | 1000000 |  | 1000000
| BFP Element |  | 0 | 0 | 275000 |  | 275000
| Circulating Water Pumps |  | 250000 | 0 | 275000 |  | 525000
| Cooling Tower Replacement |  | 0 | 0 | 1000000 |  | 1000000
| EH1 Replacement |  | 0 | 0 | 2000000 |  | 2000000
| EH7 Replacement |  | 0 | 0 | 2000000 |  | 2000000
| Exciter Rewind |  | 0 | 0 | 1750000 |  | 1750000
| Flash Tank Replacement |  | 0 | 0 | 500000 |  | 500000
| Generator Rewind with Retaining Rings |  | 0 | 0 | 12500000 |  | 12500000
| HP/IP/LP Turbine & Valves |  | 0 | 0 | 4000000 |  | 4000000
| HTSH DMW Replacement |  | 0 | 0 | 2000000 |  | 2000000
| MCC Replacement |  |  |  | 1000000 |  | 1000000
| Mill Liners |  | 0 | 0 | 2000000 |  | 2000000
| PA Fan Replacement |  | 0 | 0 | 1500000 |  | 1500000
| Precip Airlock Replacement |  | 0 | 0 | 1250000 |  | 1250000
| Primary RH |  | 0 | 0 | 4000000 |  | 4000000
| Primary SH |  | 0 | 0 | 4000000 |  | 4000000
| Seal Air Fans |  | 0 | 0 | 500000 |  | 500000
| Slag Tanks Necks / Refractory Replacement |  | 0 | 0 | 1500000 |  | 1500000
| WW Platens |  | 0 | 0 | 2500000 |  | 2500000
| 2014 Portion of 2015 BB1 Major Outage Work |  | 0 | 12600000 | -12600000 |  | 0
A7100/P7100 | Blankets | 500000 | 500000 | 500000 | 1500000 | 500000 | 3500000
| Total BB Outage - Unit #1 | 500000 | 750000 | 13100000 | 37825000 | 500000 | 52675000
Big Bend Outage - Unit #2
B1605 | BB2 Precipitator Purge Air Blower |  | 0 | 0 | 0 | 0 | 0
B1616 | BB2 Arc Flash Remediation | 35000 | 0 | 0 | 0 | 0 | 35000
B1617 | BB2 Blowdown Tank Replacement |  | 0 | 0 | 0 | 500000 | 500000
B1618 | BB2 Classifier/Discharge Chute Replacement | 8500 | 0 | 0 | 0 | 0 | 8500
B1619 | BB2 Coal Inlet Chutes | 8500 | 0 | 0 | 0 | 0 | 8500
B1620 | BB2 Flash Tank Replacement | 6001 | 0 | 0 | 0 | 0 | 6001
B1622 | BB2 Primary SH | 15300 | 0 | 0 | 0 | 0 | 15300
B1623 | BB2 Sootblower system Replacement | 15000 | 0 | 0 | 0 | 0 | 15000
B1624 | BB2 Coal Nozzle Replacement |  | 0 | 0 | 0 | 300000 | 300000
B1626 | BB2 Hot Air Expansion Joints |  | 0 | 0 | 0 | 0 | 0
B1627 | BB2 Mill Trunnion Liners |  | 0 | 0 | 0 | 0 | 0
B1639 | BB2 APH Cold Side Sootblower |  | 0 | 0 | 0 | 0 | 0
B1649 | BB2 HTSH DMW Repl | 10000 | 0 | 0 | 0 | 0 | 10000
B1662 | BB2 Precipitator Upgrades |  | 0 | 0 | 0 | 0 | 0
B1663 | BB2 2nd Radiant Tube Replacement |  | 0 | 0 | 0 | 0 | 0
B1664 | BB2 Cooling Tower Replacement |  | 0 | 0 | 0 | 0 | 0
B1802 | BB2 Generator Stator Rewind |  | 0 | 0 | 0 | 0 | 0
B1813 | BB2 Exciter Rewind | 6750 | 0 | 0 | 0 | 0 | 6750
B1814 | BB2 EH6 & 7 Level Instrumentation |  | 0 | 0 | 0 | 0 | 0
B1815 | BB2 Heater Drip Pumps |  | 0 | 0 | 0 | 0 | 0
B1816 | BB2 Hydrogen Cooler |  | 0 | 0 | 0 | 0 | 0
| Air Removal Pump Replacement |  | 0 | 0 | 0 | 600000 | 600000
| APH Cold End Basket Replacement ECRC |  | 0 | 0 | 0 | 1500000 | 1500000
B1665 | Circulating Water Pumps | 250000 | 0 | 250000 |  | 275000 | 775000
| BFP Internal Element Repl |  | 0 | 0 | 0 | 300000 | 300000
| Duct Replacements |  | 0 | 0 | 0 | 5000000 | 5000000
| EH3 Repl. |  | 0 | 0 | 0 | 2000000 | 2000000
| EH7 Replacement |  | 0 | 0 | 0 | 2000000 | 2000000
| Furnace Floor / Refractory |  | 0 | 0 | 0 | 500000 | 500000
| Furnace Upper WW |  | 0 | 0 | 0 | 3000000 | 3000000
| Furnace Weld Overlay |  | 0 | 0 | 0 | 1000000 | 1000000
| HP/IP/LP Turbine & Valves |  | 0 | 0 | 0 | 4000000 | 4000000
| HTSH Replacement |  |  |  |  | 5000000 | 5000000
| MCC Replacements |  |  |  |  | 1000000 | 1000000
| Mill Liners |  | 0 | 0 | 0 | 2000000 | 2000000
| Primary RH |  | 0 | 0 | 0 | 4000000 | 4000000
| Seal Air Fans |  | 0 | 0 | 0 | 500000 | 500000
| Slag Tanks Necks / Refractory Replacement |  | 0 | 0 | 0 | 1500000 | 1500000
| WW Platens |  | 0 | 0 | 0 | 2500000 | 2500000
A7200/P7200 | Blankets | 500000 | 500000 | 500000 | 500000 | 1750000 | 3750000
| 2015 Portion of 2016 BB2 Major Outage Work |  | 0 | 0 | 8560000 | -8560000 | 0
| Total BB Outage - Unit #2 | 855051 | 500000 | 750000 | 9060000 | 30665000 | 41830051
Big Bend Outage - Unit #3
B1710 | Slag Tanks Necks / Refractory Replacement | 13901 | 1486099 | 0 | 0 | 0 | 1500000
B1711 | BB3 Slag Tank Vent Line Repl. |  | 0 | 0 | 0 | 0 | 0
B1721 | Arc Flash Remediation | 660100 | 1739900 | 0 | 0 | 0 | 2400000
B1767 | BB3 Coal Bunker Lining Addition |  | 0 | 0 | 0 | 0 | 0
B1768 | BB3 Pulverizer Inlet Chutes Replacement |  | 0 | 0 | 0 | 0 | 0
B1772 | Coal Crushers w/ motors | 380715 | 619285 | 0 | 0 | 0 | 1000000
B1773 | Coal Nozzle replacement | 68073 | 181927 | 0 | 0 | 0 | 250000
B1774 | Coal Piping | 763809 | 2236191 | 0 | 0 | 0 | 3000000
B1775 | Cooling Tower Replacement | 223058 | 876942 | 0 | 0 | 0 | 1100000
B1776 | DA Tank Replacement | 387710 | 2112290 | 0 | 0 | 0 | 2500000
B1777 | Economizer w/ Header | 1080760 | 3919240 | 0 | 0 | 0 | 5000000
B1778 | HTRH Replacement | 1082391 | 3917609 | 0 | 0 | 0 | 5000000
B1779 | HTSH w/ Outlet Header | 1311712 | 3688288 | 0 | 0 | 0 | 5000000
B1780 | PA Fan Replacement | 400116 | 1099884 | 0 | 0 | 0 | 1500000
B1782 | Sootblower system Replacement | 540043 | 1709957 | 0 | 0 | 0 | 2250000
B1783 | Stack Lining / Repair leaning liner | 20424 | 4429576 | 0 | 0 | 0 | 4450000
B2120 | Generator Rewind | 4240457 | 6759543 | 0 | 0 | 0 | 11000000
B2121 | EH1 Replacement | 786469 | 1383531 | 0 | 0 | 0 | 2170000
B2122 | EH3 Replacement | 559838 | 1440162 | 0 | 0 | 0 | 2000000
B2123 | HP/IP/LP Turbine & Valves |  | 4000000 | 0 | 0 | 0 | 4000000
| CRH Inlet Header |  | 0 | 0 | 0 | 0 | 0
B1727 | APH Baskets / Seals | 400000 | 1100000 | 0 | 0 | 0 | 1500000
| BFP Turbine/Element/Casing |  | 500000 | 0 | 0 | 0 | 500000
| Circulating Water Pumps |  | 250000 | 0 | 275000 | 0 | 525000
| Cold Air Expansion Joint |  | 200000 | 0 | 0 | 0 | 200000
| DCS Upgrades |  | 1000000 |  |  |  | 1000000
| EH5 Replacement |  | 0 | 0 | 0 | 0 | 0
| EH6 Replacement |  | 0 | 0 | 0 | 0 | 0
B1725 | FD Fan Wheel Replacement | 150000 | 600000 | 0 | 0 | 0 | 750000
| Furnace Floor / Refractory |  | 500000 | 0 | 0 | 0 | 500000
| Furnace Weld Overlay |  | 0 | 0 | 0 | 0 | 0
| Hot Air Expansion Joints |  | 0 | 0 | 0 | 0 | 0
| MCC Replacements |  | 1000000 |  |  |  | 1000000
| 2016 Portion of 2017 BB3 Major Outage Work |  | 0 | 0 | 0 | 10000000 | 10000000
A7300/P7300 | Blankets | 499644 | 1500000 | 500000 | 500000 | 500000 | 3499644
| Total BB Outage - Unit #3 | 13569220 | 48250424 | 500000 | 775000 | 10500000 | 73594644
Big Bend Outage - Unit #4
B1900 | Pulverizer Overhauls | 500000 | 750000 | 500000 | 750000 | 500000 | 3000000
B1918 | BB4 Lower Fuirnace Slope Tubes Overlay |  | 0 | 0 | 0 | 0 | 0
B1948 | BB4 Instrument Air Dryers Replacement |  | 0 | 0 | 0 | 0 | 0
B1960 | BB4 #3 Stack Liner Replacement |  | 0 | 0 | 0 | 0 | 0
B1962 | BB4 Bottom Ash Restoration |  | 0 | 0 | 0 | 0 | 0
B1965 | HP/IP/LP Turbine & Valves |  | 0 | 5000000 | 0 | 0 | 5000000
B1969 | BB4 4C Pulverizer |  | 0 | 0 | 0 | 0 | 0
B1970 | BB4 4D Pulverizer Grindin Assemlies Repl |  | 0 | 0 | 0 | 0 | 0
B1971 | BB4 4A Circulator Repl. |  | 0 | 0 | 0 | 0 | 0
B2207 | BB4 Stack Truning Vane & Expansion JT |  | 0 | 0 | 0 | 0 | 0
B2312 | Air removal pump replacement |  | 0 | 750000 | 0 | 0 | 750000
| Air heater rotor and element replacement |  | 0 | 2500000 | 0 | 0 | 2500000
| BFP Element |  | 0 | 250000 | 0 | 0 | 250000
| Bunker Liners |  | 0 | 1000000 | 0 | 0 | 1000000
| Burner Assembly / Coal Nozzle Replacement |  | 0 | 1200000 | 0 | 0 | 1200000
B1972 | Circulating Water Pumps | 250000 | 0 | 275000 | 0 | 275000 | 800000
| Coal Chutes |  | 0 | 500000 | 0 | 0 | 500000
| Coal Piping |  | 0 | 4000000 | 0 | 0 | 4000000
| Cooling Tower Replacement |  | 0 | 1000000 | 0 | 0 | 1000000
| Duct Replacements |  | 0 | 5500000 | 0 | 0 | 5500000
| EH5 Replacement |  | 0 | 1500000 | 0 | 0 | 1500000
| EH6 Replacement |  | 0 | 1500000 | 0 | 0 | 1500000
| EH7 Replacement |  | 0 |  | 0 | 0 | 0
| FD/ID Fan LCI Controls |  | 0 | 550000 | 0 | 0 | 550000
| Feedwater Piping Replacement |  | 0 | 1000000 | 0 | 0 | 1000000
| Finishing RH |  | 0 | 4000000 | 0 | 0 | 4000000
| Finishing SH |  | 0 |  | 0 | 0 | 0
| Furnace Lower WW |  | 0 | 3000000 | 0 | 0 | 3000000
| Furnace Upper WW |  | 0 |  | 0 | 0 | 0
| Generator Rewind |  | 0 | 10000000 | 0 | 0 | 10000000
| HRS Header Partial Replacement |  | 0 | 3000000 | 0 | 0 | 3000000
| Low Temp Superheater |  | 0 | 0 | 0 | 0 | 0
| MCC Replacement |  |  | 1000000 |  |  | 1000000
| PA Fan Wheels |  | 0 | 250000 | 0 | 0 | 250000
| Radiant RH Replacement |  | 0 | 0 | 0 | 0 | 0
| BB4 Precipitator Overhaul |  | 0 | 6500000 | 0 | 0 | 6500000
| Sootblower system Replacement |  | 0 | 2000000 | 0 | 0 | 2000000
| 2013 Portion of 2014 BB4 Major Outage Work |  | 13800000 | -13800000 | 0 | 0 | 0
B2310 | BB4 Condenser Tube Module Repl | [5 empty] | 0
B2028 | BB4 Arc Flash Remediation Project |  | 0 | 0 | 0 |  | 0
A7400/P7400 | Blankets | 500000 | 500000 | 1500000 | 500000 | 500000 | 3500000
| Total BB Outage - Unit #4 | 1250000 | 15050000 | 44475000 | 1250000 | 1275000 | 63300000
Big Bend Outage - FGD
B2032 | BB FGD Lime Silo |  | 0 | 0 | 0 | 0 | 0
B2221 | BB4 FGD Tower Upgrade
| BB3 Tower Lined Piping Replacement |  | 1000000 |  |  |  | 1000000
| BB4 Tower Lined Piping Replacement |  |  | 1000000 |  |  | 1000000
A7500/P7500 | Blankets - FGD | 1500000 | 1500000 | 1500000 | 1500000 | 1500000 | 7500000
| Total BB Outage - FGD | 1500000 | 2500000 | 2500000 | 1500000 | 1500000 | 9500000
Big Bend Non-Outage Projects
B0101 | BB #1 CT Sale |  | 0 | 0 | 0 |  | 0
B0500 | Infrastructure / Facilities Upgrades (B0500) | 1000000 | 1000000 | 1000000 | 1000000 | 1000000 | 5000000
| New Warehouse |  |  |  | 4000000 |  | 4000000
| 1&2 Wet Stack Elevator Replacement ECRC |  | 500000 |  |  |  | 500000
B0501 | BBC-PA Fan Roof Replacement |  | 0 | 0 | 0 | 0 | 0
B0502 | BBC-Tripper Room Roof |  | 0 | 0 | 0 | 0 | 0
B1770 | BBC 3 & 4 Instrument Air Dryers |  | 0 | 0 | 0 | 0 | 0
B2013 | BBC #7 Elevator Modernization Proj. |  | 0 | 0 | 0 | 0 | 0
B2016 | BBC Machine Shop Water Lab & Wh 23 Roof Repl |  | 0 | 0 | 0 | 0 | 0
B2018 | BB3 & BB4 Condensate Polisher Sulfuric Acid Tank Upgrd |  | 0 | 0 | 0 | 0 | 0
B2019 | BBC Srvc Air Systm Controls Upgrd |  | 0 | 0 | 0 | 0 | 0
B2024 | BBC #4 Stack Elevator | 279559 | 0 | 0 | 0 | 0 | 279559
B2025 | BB1 Onan Replacement | 114085 | 0 | 0 | 0 | 0 | 114085
B2026 | BB2 Onan Replacement | 190683 | 0 | 0 | 0 | 0 | 190683
B2027 | BB1 & BB2 Startup Boiler Feed Pump |  | 0 | 0 | 0 | 0 | 0
B2033 | BBC Condensate Polisher Regeratio |  | 0 | 0 | 0 | 0 | 0
B2034 | BBC F Conveyor Structure Replacemen |  | 0 | 0 | 0 | 0 | 0
B2049 | BBC Gate 32 Upgrades |  | 0 | 0 | 0 | 0 | 0
B2050 | BBC Coal Bunker Level Measurement |  | 0 | 0 | 0 | 0 | 0
B2062 | BBC Constr Elevator Repl |  | 0 | 0 | 0 | 0 | 0
B2083 | Coal Blends Feeder Drive Replace |  | 0 | 0 | 0 | 0 | 0
B2092 | BB 3&4 Station Battery Enclosure |  | 0 | 0 | 0 | 0 | 0
B2093 | BBC 3 & 4 Condensate Polisher Resin |  | 0 | 0 | 0 | 0 | 0
B2095 | BB FGD D2 Quencher Pump Upgrade |  | 0 | 0 | 0 | 0 | 0
B2119 | BB4 Service Air Compressor Rplc |  | 0 | 0 | 0 | 0 | 0
B2223 | BB FGD 1&2 Arc Flash Remediation |  | 0 | 0 | 0 | 0 | 0
B2401 | BBC Coal Field Electrical Feed System (L1-L2) | 147183 | 0 | 0 | 0 | 0 | 147183
B2403 | BBC Transformer Fire Protection Upgrade (BB4) |  | 0 | 0 | 0 | 0 | 0
B2404 | BBC Compressed Air System Upgrades | 200000 | 200000 | 200000 | 200000 | 200000 | 1000000
B2405 | BBC Elevator #5 Code Upgrades |  | 0 | 0 | 0 | 0 | 0
B2407 | Reverse Osmosis System Upgrades | 1500000 | 0 | 0 | 0 | 0 | 1500000
B2408 | BB Tagging Application |  | 0 | 0 | 0 |  | 0
B2409 | Accoustic Monitoring System | 300000 | 0 | 0 | 0 | 0 | 300000
B2410 | Arc Flash / Misc. Electrical Upgrades | 2000000 | 750000 | 750000 | 750000 | 750000 | 5000000
B2411 | Demineralizer Resin Replacement | 200000 | 0 | 0 | 0 | 0 | 200000
| Dry Stack Shell Dismantlement |  | 0 |  | 0 | 5000000 | 5000000
B2412 | Misc. Roof Replacements | 250000 | 250000 | 250000 | 250000 | 250000 | 1250000
B2413 | Polisher Acid/Caustic Tanks | 150000 | 0 | 0 | 0 | 0 | 150000
B2414 | Polisher Resin Replacement | 200000 | 0 | 0 | 0 | 0 | 200000
| Reverse Osmosis Membranes |  | 125000 | 0 | 125000 | 0 | 250000
A7000/P7000 | Big Bend Outage - Common Blankets |  | 0 | 0 | 0 | 0 | 0
A7600/P7600 | BBC Blankets |  | 0 | 0 | 0 | 0 | 0
A7700/P7700 | Blankets (& A9638) | 2009219 | 2000000 | 2000000 | 2000000 | 2000000 | 10009219
| Total BB Non-Outage Projects | 8540729 | 4825000 | 4200000 | 8325000 | 9200000 | 35090729
| Sub-Total | 26215000 | 71875424 | 65525000 | 58735000 | 53640000 | 275990424
FGD Equipment Replacement & Additions / Gypsum Storage Area
B2710 | BB FGD Common Controls Upgrade | 1163609 | 0 | 0 | 0 | 0 | 1163609
B2711 | BB3 FGD Controls Upgrade ECRC | 1044000 | 811327 | 0 | 0 | 0 | 1855327
Q2711 | BB3 FGD Controls Upgrade | 10000 |  |  |  |  | 10000
B2712 | BB4 FGD Controls Upgrade |  | 593358 | 1185535 | 16289 | 0 | 1795182
B2713 | BB1&2 FGD Controls Upgrade ECRC |  | 2615 | 1313323 | 39424 | 0 | 1355362
B2715 | BB Alternative Limestone Feed | 325651 | 0 | 0 | 0 | 0 | 325651
B2716 | BB Limestone Reclaimer Control Upgrades |  | 0 | 0 | 0 | 0 | 0
B2717 | BB Limestone Storage Building Roof Replacement |  | 0 | 0 | 0 | 0 | 0
B2718 | BB FGD A Pick Heater Replacement ECRC |  | 0 | 0 | 0 | 0 | 0
B2719 | BB Emergency Pond Reclamation System Upgrades |  | 0 | 0 | 0 | 0 | 0
B2721 | BB1&2 FGD Tower Oxidation Air Header Improvements ECRC | 811791 | 0 | 0 | 0 | 0 | 811791
B2725 | BB4 C Booster Fan Inlet Vanes Replacement |  | 2202 | 568538 | 4553 | 0 | 575293
B2726 | BB4 C & D Booster Fans Lube Oil Skids Replacement |  | 0 | 477998 | 1622 | 0 | 479620
B2727 | BB4 C Booster Fan Upgrade |  | 883186 | 2847465 | 19947 | 0 | 3750598
B2728 | BB4 D Booster Fan Housing Replacement |  | 0 | 861345 | 3363 | 0 | 864708
B2729 | BB3 A&B Absorber/Quencher Pump Suction Valves Replacement |  | 0 | 0 | 0 | 0 | 0
B2730 | BB4 C&D Absorber/Quencher Pump Suction Valves Replacement |  | 0 | 0 | 0 | 0 | 0
B2732 | BB3 A&B FGD Tower Sparger & Bowl Return Line Modifications ECRC | 782917 | 786669 | 0 | 0 | 0 | 1569586
B2733 | BB3 FGD Inlet Duct Replacement ECRC | 416042 | 452345 | 0 | 0 | 0 | 868387
B2734 | BB3 FGD Outlet Duct Coating System ECRC | 40287 | 1386745 | 0 | 0 | 0 | 1427032
B2735 | BB3 A&B FGD Tower Inlet Duct Replacement | 571653 | 403367 | 0 | 0 | 0 | 975020
B2737 | BB4 FGD Outlet Duct Replacement |  | 820800 | 9914035 | 4295 | 0 | 10739130
B2738 | BB4 C&D FGD Tower Inlet Duct Replacement |  | 2642 | 1004617 | 1983 | 0 | 1009242
B2740 | BB Waste Water Treatment Reliability Upgrades ECRC | 966000 | 0 | 0 | 0 | 0 | 966000
B2751 | BB4 Tank Liner Repalcement (TLR) - Absorber Feed Tanks (2 Total) |  | 0 | 221007 | 756 | 0 | 221763
B2752 | BB3 TLR - Absorber Feed Tanks (2 Total) |  | 208654 | 0 | 0 | 0 | 208654
B2753 | BB3 TLR - Quencher Blowdown Tank |  | 0 | 0 | 0 | 0 | 0
B2754 | BB4 TLR - Quencher Blowdown Tank |  | 0 | 0 | 0 | 0 | 0
B2755 | BB TLR - Reagent Feed Tank Unit 1&2 ECRC |  | 141561 | 0 | 0 | 0 | 141561
B2756 | BB TLR - Reagent Feed Tank Unit 3 |  | 0 | 111786 | 0 | 0 | 111786
B2757 | BB TLR - Reagent Feed Tank Unit 4 |  | 109881 | 0 | 0 | 0 | 109881
B2758 | BB TLR - Backup Water Tank Unit 1&2 ECRC |  | 93135 | 0 | 0 | 0 | 93135
B2759 | BB TLR - Unit 1&2 Return Water Tank Common |  | 0 | 0 | 0 | 0 | 0
B2760 | BB TLR - Unit 3&4 Return Water Tank Common |  | 0 | 0 | 0 | 0 | 0
B2761 | BB TLR - WWT Equalization Tank Unit 1&2 ECRC | 99148 | 0 | 0 | 0 | 0 | 99148
B2762 | BB TLR - WWT Sludge Storage Tank Unit 1&2 ECRC | 51815 | 0 | 0 | 0 | 0 | 51815
B2763 | BB TLR - Chloride Purge Feed Tank Unit 1&2 ECRC |  | 0 | 0 | 0 | 0 | 0
B2764 | BB Common TLR - Sludge Surge Tanks (2 Total) |  | 0 | 0 | 0 | 0 | 0
B2765 | BB TLR - Reaction Tanks Units 1&2 (3 Total) ECRC |  | 0 | 87257 | 0 | 0 | 87257
B2766 | BB TLR - Secondary Clarifier Tank Units 1&2 ECRC |  | 0 | 75512 | 0 | 0 | 75512
B2767 | BB FGD B Pick Heater Replacement ECRC |  | 0 | 0 | 0 | 0 | 0
B2768 | BB3 A1 Oxidation Air Compressor Replacement |  | 0 | 895815 | 0 | 0 | 895815
B2769 | BB3 A2 Oxidation Air Compressor Replacement |  | 840415 | 0 | 0 | 0 | 840415
B2770 | BB3 B1 Oxidation Air Compressor Replacement | 835000 | 0 | 0 | 0 | 0 | 835000
B2771 | BB3 B2 Oxidation Air Compressor Replacement | 239399 | 0 | 0 | 0 | 0 | 239399
B2772 | BB4 C1 Oxidation Air Compressor Replacement |  | 0 | 895816 | 0 | 0 | 895816
B2773 | BB4 C2 Oxidation Air Compressor Replacement |  | 860616 | 0 | 0 | 0 | 860616
B2774 | BB4 D1 Oxidation Air Compressor Replacement | 322350 | 0 | 0 | 0 | 0 | 322350
B2775 | BB4 D2 Oxidation Air Compressor Replacement | 840417 | 0 | 0 | 0 | 0 | 840417
B2776 | BB3 A&B Tower WFC Nozzles Replacement | 68921 | 319451 | 0 | 0 | 0 | 388372
B2777 | BB4 C&D Tower WFC Nozzles Replacement |  | 0 | 409382 | 2398 | 0 | 411780
| Project Balancing |  | 372389 |  |  |  | 372389
| Total FGD Equipment Replacement & Additions | 8589000 | 9091358 | 20869431 | 94630 | 0 | 38644419
B2741 | Gypsum Storage Relocation ECRC | 5001000 | 12876092 | 21262000 | 7086668 | 0 | 46225760
Q2741 | Gypsum Storage - Demo |  | 0 | 150000 | 453400 | 0 | 603400
B2791 | Flood Compensation |  | 0 | 0 | 3500800 | 0 | 3500800
B2792 | New Liner installation and fill ECRC |  | 0 | 2756700 | 0 | 0 | 2756700
B2793 | New Road Access to Big Bend ECRC |  | 0 | 281700 | 0 | 0 | 281700
B2794 | Lime Emer. Stackout Area ECRC |  | 0 | 1000000 | 0 | 0 | 1000000
B2795 | Rotary Plow & Truck Loadout Silo ECRC |  | 0 | 1213000 | 87000 | 0 | 1300000
| Total Gypsum Storage Area | 5001000 | 12876092 | 26663400 | 11127868 | 0 | 55668360
| Total FGD Equipment Replacement & Additions / Gypsum Storage Area | 13590000 | 21967450 | 47532831 | 11222498 | 0 | 94312779
Big Bend Environmental / Other ECRC Projects
F0575 | BB Recycle Settling Pond |  | 0 | 0 | 0 | 0 | 0
F0875 | Economizer Ash Ponds / LTFA Pond | 1405000 | 0 | 0 | 0 | 0 | 1405000
F1375 | BB 1&2 CEM Replacement |  | 0 | 0 | 0 | 0 | 0
| BB 3&4 CEM Replacement |  | 750000
| BB1&2 PM CEM ECRC |  | 250000
| BB 1&2 Continuous Mercury Monitoring (UMACT) ECRC |  |  | 350000
| BB Unit 3 Continuous Mercury Monitoring (UMACT) ECRC |  |  | 350000
| BB Unit 4 Continuous Mercury Monitoring (UMACT) ECRC |  |  | 350000
| BB 1&2 HCl Continuous Monitoring (UMACT) ECRC |  |  | 85000
| BB Unit 3 HCl Continuous Monitoring (UMACT) ECRC |  |  | 85000
| BB Unit 4 HCl Continuous Monitoring (UMACT) ECRC |  |  | 85000
L8826 | BB3 PM CEM ECRC |  | 0 | 0 | 0 | 0 | 0
L8827 | Unit 1&2 Cross Tie Damper ECRC |  | 0 | 0 | 0 | 0 | 0
L8829 | FGD Vacuum Drum Replacement ECRC |  | 0 | 0 | 0 | 0 | 0
L8832 | Fines Removal and Filtration System (10% Moisture) ECRC | 5473000 | 0 | 0 | 0 | 0 | 5473000
Y8832 | Fines Removal and Filtration System (10% Moisture) | 535000 | 0 | 0 | 0 | 0 | 535000
L8843 | SCR Catalyst ECRC | 2000000 | 2000000 | 2000000 | 2000000 | 2000000 | 10000000
L8836 | Unit 1&2 Rebuild Absorber Recycle Pumps ECRC |  | 0 | 0 | 0 | 0 | 0
L8837 | Big Bend CEM Monitoring Units ECRC |  | 0 | 0 | 0 | 0 | 0
L8839 | BB 1&2 Tower Agitator Replacement ECRC |  | 0 | 0 | 0 | 0 | 0
L8840 | BB1 SCR TRANSPORT COSTS FOR VFD'S ECRC |  | 0 | 0 | 0 | 0 | 0
L8841 | BB2 APH COLD END BASKET ECRC |  | 0 | 0 | 0 | 0 | 0
L8844 | BB3 Air Cannon Addition ECRC | 63949 | 0 | 0 | 0 | 0 | 63949
L8850 | Unit 3 Precip Upgrades (PM Consent Decree) ECRC | 1433051 | 5000000 |  |  | 0 | 6433051
| Unit 1 Precip Upgrades (PM Consent Decree) ECRC |  |  |  | 5000000 | 0 | 5000000
| 316B Study ECRC |  | 0 | 3000000 | 0 | 0 | 3000000
| Total Environmental / Other ECRC Projects | 10910000 | 8000000 | 6305000 | 7000000 | 2000000 | 34215000
0
| Total All Big Bend Power Station | 50715000 | 101842874 | 119362831 | 76957498 | 55640000 | 404518203
Energy Supply Services - Recurring
A2900 | Supply Blanket Maintenance | 949988 | 1000000 | 900000 | 1000000 | 1000000 | 4849988
A2902 | BB Coal Blending Level Instrument |  | 0 | 0 | 0 | 0 | 0
A2903 | BBC L1 Conveyor Motor |  | 0 | 0 | 0 | 0 | 0
A2904 | BBC M1 Tripper Chute Replacement |  | 0 | 0 | 0 | 0 | 0
A2905 | BBC South S/R Auto Lube System |  | 0 | 0 | 0 | 0 | 0
A2906 | BBC South Stacker G1 Transition Chute |  | 0 | 0 | 0 | 0 | 0
A2907 | BBC G1 Conveyor Belt Replacement |  | 0 | 0 | 0 | 0 | 0
A2908 | BBC G1 Tail Pulley Replacement |  | 0 | 0 | 0 | 0 | 0
A2909 | BBC J-1 Conveyor Reducer Replacement |  | 0 | 0 | 0 | 0 | 0
A2910 | BBC South Stacker Bucket Rplc |  | 0 | 0 | 0 | 0 | 0
A2911 | BBC Y to Z Chute Replacement |  | 0 | 0 | 0 | 0 | 0
A2912 | BB J1 Conveyor Grizzly Chutes |  | 0 | 0 | 0 | 0 | 0
A2913 | BBC Replace S2B & S6B Feeder Coal Belt |  | 0 | 0 | 0 | 0 | 0
A2914 | BBC Purchase of 2007 Carryall |  | 0 | 0 | 0 | 0 | 0
B2904 | Rail Crossing Tub Replacement |  | 0 | 0 | 0 | 0 | 0
B2905 | Stevedore Work Flat |  | 0 | 0 | 0 | 0 | 0
B2911 | Mobile Equipment (including: A9223,A9231,A9232,A9241,A9312, A9323) | 750012 | 750000 | 750000 | 750000 | 750000 | 3750012
B2913 | Conveyor(s) (BBC D-CONVEYOR) |  | 0 | 0 | 500000 | 500000 | 1000000
B2918 | Blending Bin Gates (x12) |  | 0 | 0 | 0 | 0 | 0
A2919 / P2919 | Rail System | 300000 | 250000 | 250000 | 250000 | 250000 | 1300000
| Total Recurring | 2000000 | 2000000 | 1900000 | 2500000 | 2500000 | 10900000
Energy Supply Services - Non-Recurring
| Various chutes/belts/conveyors |  | 0 | 0 | 4200000 | 4000000 | 8200000
B20XX | BBC Coal Bunker Level Measurement |  | 0 | 0 | 0 | 0 | 0
B2021 | T1/T2 Conveyor Structure Replc |  | 0 | 0 | 0 | 0 | 0
B2022 | BBC #6 Elevator Moderization |  | 0 | 0 | 0 | 0 | 0
B2065 | Coal Field Transfer Structures Ele Repairs (T-3 Plus) |  | 0 | 0 | 0 | 0 | 0
B2067 | BBC PECO Variable Speed Drives and |  | 0 | 0 | 0 | 0 | 0
B2070 | BBC SO S/R Travel Bogies & Equil |  | 0 | 0 | 0 | 0 | 0
B2076 | Coal Field Controls Replacement |  | 0 | 0 | 0 | 0 | 0
B2901 | Coal Unloading Dock/Seawall Replacement |  | 0 | 0 | 0 | 0 | 0
B2907 | E to F / E to Y Chutes Replacement |  | 0 | 0 | 0 | 0 | 0
B2908 | F to J1 Chute Replacement |  | 0 | 0 | 0 | 0 | 0
B2909 | T1 to W1 Transfer Chute Replacement |  | 0 | 0 | 0 | 0 | 0
B2910 | T2 to W2 Transfer Chute Replacement |  | 0 | 0 | 0 | 0 | 0
B2914 | J2-Conveyor |  | 0 | 0 | 0 | 0 | 0
B2915 | K1A&K1B to L1 Transfer Chute Replacement |  | 0 | 0 | 0 | 0 | 0
B2916 | M1 Tripper Chute Replacement |  | 0 | 0 | 0 | 0 | 0
B2917 | R1 Tripper Chute Replacement |  | 0 | 0 | 0 | 0 | 0
B2919 | P to J2 Chute Replacement |  | 0 | 0 | 0 | 0 | 0
B2920 | T3 Tower Major Refurbishment |  | 0 | 0 | 0 | 0 | 0
B2921 | Y to Z Chute Replacement |  | 0 | 0 | 0 | 0 | 0
B2922 | Z to P Chute Replacement |  | 0 | 0 | 0 | 0 | 0
B2923 | F-Conveyor Belt Replacement |  | 0 | 0 | 0 | 0 | 0
B2924 | L1 Reducer Replacement |  | 0 | 0 | 0 | 0 | 0
B2925 | Q1 Conveyor Reducer Replacement |  | 0 | 0 | 0 | 0 | 0
B2926 | BBC M2 Tripper Chute Replacement |  | 0 | 0 | 0 | 0 | 0
B2927 | BBC R2 Tripper Chute Replacement |  | 0 | 0 | 0 | 0 | 0
B2928 | BB Blending Building 141E Cable Replacement |  | 0 | 0 | 0 | 0 | 0
| Total Non-Recurring | 0 | 0 | 0 | 4200000 | 4000000 | 8200000
Solid Fuel Handling Equipment Replacement & Additions
B2810 | BBC Electrical Upgrades (Plant) |  | 0 | 0 | 0 | 0 | 0
B2811 | Coal Unloading Dock Phase I - Improvement Account | 5618412 | 0 | 0 | 0 | 0 | 5618412
B2812 | North Stacker Replacement - Improvement Account | 4141135 | 6184960 | 0 | 0 | 0 | 10326095
B2813 | South Stacker Replacement - Improvement Account | 650653 | 3815889 | 7486951 | 0 | 0 | 11953493
B2814 | Dravo Refurbishment - Improvement Account |  | 0 | 2339429 | 1149811 | 0 | 3489240
B2815 | PECO Refurbishment - Improvement Account | 2148429 | 819814 | 0 | 0 | 0 | 2968243
B2816 | Cathodic Protection - Improvement Account | 749005 | 0 | 0 | 0 | 0 | 749005
B2817 | K2A&K2B to L2 Transfer Chute Replacement - Improvement Account | 334050 | 0 | 0 | 0 | 0 | 334050
B2818 | S-1 to T-1 chutes and feeders (Yr 1) - Improvement Account | 442020 | 0 | 0 | 0 | 0 | 442020
B2819 | S-2 to T-2 chutes and feeders (Yr 1) - Improvement Account | 442020 | 0 | 0 | 0 | 0 | 442020
B2820 | Blending Bins Re-line (Yr 1) - Improvement Account | 1548460 | 0 | 0 | 0 | 0 | 1548460
B2821 | Blending Bin Bypass System - Improvement Account | 3666329 | 0 | 0 | 0 | 0 | 3666329
B2824 | J2-Q2 Chute - Improvement Account |  | 0 | 0 | 420200 | 0 | 420200
B2825 | Q1-R1 Chute - Improvement Account |  | 0 | 0 | 289440 | 0 | 289440
B2826 | Q2-R2 Chute - Improvement Account |  | 0 | 0 | 289440 | 0 | 289440
B2828 | L1-M1 - Improvement Account | 298820 | 0 | 0 | 0 | 0 | 298820
B2830 | L2-M2 Chute - Improvement Account | 298960 | 0 | 0 | 0 | 0 | 298960
B2832 | Blending Bin MCC replacement - Improvement Account | 157060 | 0 | 0 | 0 | 0 | 157060
B2833 | Arc Flash Remediation - Improvement Account |  | 711760 | 0 | 0 | 0 | 711760
B2834 | PECO Electrical Upgrades - Improvement Account | 1313315 | 75385 | 0 | 0 | 0 | 1388700
B2835 | Sonar Room MCC Replacement - Improvement Account | 134920 | 0 | 0 | 0 | 0 | 134920
B2836 | T-2 Electrical Upgrades - Improvement Account | 1484452 | 0 | 0 | 0 | 0 | 1484452
B2837 | T-2 to T-1 Cable replacement - Improvement Account |  | 0 | 0 | 0 | 0 | 0
B2838 | T-3 Cable replacement - Improvement Account | 60340 | 0 | 0 | 0 | 0 | 60340
B2839 | T-7 Electrical Replacement - Improvement Account | 133620 | 0 | 0 | 0 | 0 | 133620
B2841 | Coal Unloading Dock Phase II - Improvement Account |  | 0 | 0 | 0 | 0 | 0
B2848 | S-1 to T-1 chutes and feeders (Yr 2) - Improvement Account | 135000 | 545920 | 0 | 0 | 0 | 680920
B2849 | S-2 to T-2 chutes and feeders (Yr 2) - Improvement Account | 135000 | 545920 | 0 | 0 | 0 | 680920
B2850 | Blending Bins Re-line (Yr 2) - Improvement Account | 195000 | 1608160 | 0 | 0 | 0 | 1803160
B2858 | S-1 to T-1 chutes and feeders (Yr 3) - Improvement Account |  | 135000 | 546220 | 0 | 0 | 681220
B2859 | S-2 to T-2 chutes and feeders (Yr 3) - Improvement Account |  | 135000 | 546220 | 0 | 0 | 681220
B2860 | Blending Bins Re-line (Yr 3) - Improvement Account |  | 195000 | 1670260 | 0 | 0 | 1865260
| Project Balancing |  | 88440 | 0 | -394390 | 0 | -305950
| Total Solid Fuel Handling Equipment Replacement & Additions | 24087000 | 14861248 | 12589080 | 1754501 | 0 | 53291829
| Total Energy Supply Services | 26087000 | 16861248 | 14489080 | 8454501 | 6500000 | 72391829
Bayside Outage - Unit #1
G1101 | Unit 1A Compressor Repl |  | 0 | 0 | 0 | 0 | 0
G1102 | Unit 1B Compressor Repl |  | 0 | 0 | 0 | 0 | 0
G1103 | Unit 1C Compressor Repl |  | 0 | 0 | 0 | 0 | 0
G1104 | BS 1A Hot Reheat Steam Block Valve |  | 0 | 0 | 0 | 0 | 0
G1105 | BS 1B Hot Reheat Steam Block Valve |  | 0 | 0 | 0 | 0 | 0
G1106 | BS 1C Hot Reheat Steam Block Valve |  | 0 | 0 | 0 | 0 | 0
G1107 | BS 1B Circulating water pump |  | 0 | 0 | 0 | 0 | 0
G1108 | BS 1C IP Reheat Attemperator InstalL |  | 0 | 0 | 0 | 0 | 0
G5501 | Unit 1 HP/IP/LP Steam Turbine ring & seal repl |  | 0 | 0 | 3200000 | 0 | 3200000
G6101 | Bayside Generator Rewind |  | 0 | 0 | 0 | 0 | 0
G6901 | BS I Travlng Wtr Screen Assmbly Rpl |  | 0 | 0 | 0 | 0 | 0
| 1A,1B,1C Inlet Filter repl. |  | 0 | 0 | 375000 | 0 | 375000
| Silencer Repl. 1A, 1B, 1C ( IP only ) |  | 75000 | 150000 | 0 | 0 | 225000
| Silencer Repl. 1A, 1B, 1C ( MS only ) |  | 0 | 0 | 225000 | 0 | 225000
| 1A, B, C HR Attemp. Upgrade |  | 0 | 0 | 600000 | 0 | 600000
| 1A, B, C HP FD water control valve upgrade |  | 0 | 0 | 450000 | 0 | 450000
| 1A, B, C FAC material upgrade |  | 0 | 0 | 225000 | 0 | 225000
| 1A, B, C pipe support & structure |  | 0 | 0 | 100000 | 0 | 100000
| 1A, B, C HR pipe penetration seals |  | 0 | 0 | 150000 | 0 | 150000
| 1A, B, C HRSG Stack Breach Streamline Mod. |  | 0 | 0 | 300000 | 0 | 300000
| 1A, B, C Blow down tank repl. |  | 0 | 0 | 300000 | 0 | 300000
A51xx-A53xx | Bayside Outage - Unit #1A,B,C |  | 0 | 0 | 0 | 0 | 0
| Total Unit # 1 Outage | 0 | 75000 | 150000 | 5925000 | 0 | 6150000
Bayside Outage - Unit #2
A50's | Unit 2 Blow down tanks repl |  | 0 | 0 | 0 | 0 | 0
A50's | Silencer Repl. Hot Reheat only 2C, 2B |  | 0 | 0 | 0 | 0 | 0
A50's | Silencer Repl. Hot Reheat only 2D, 2A |  | 150000 | 0 | 0 | 0 | 150000
G1201 | GE Compressor repl unit 2 | 3221076 | 0 | 0 | 0 | 0 | 3221076
G1202 | BS2 Traveling Water Screen Replacement | 785013 | 0 | 0 | 0 | 0 | 785013
| Unit 2 HP/IP/LP Steam Turbine ring & seal repl |  | 0 | 0 | 0 | 5200000 | 5200000
G1203 | BS2 HP/IP/LP Steam Turbine Seals/Generator Brg | 3050000 |  |  |  |  | 3050000
G1204 | 2A Hot Reheat stop valve mods | 185000 | 0 | 0 | 0 | 0 | 185000
G1205 | 2B Hot Reheat stop valve mods | 185000 | 0 | 0 | 0 | 0 | 185000
G1206 | 2C Hot Reheat stop valve mods | 185000 | 0 | 0 | 0 | 0 | 185000
G1207 | 2D Hot Reheat stop valve mods | 185000 | 0 | 0 | 0 | 0 | 185000
G1211 | Battery Set unit #2 | 272568 | 0 | 0 | 0 | 0 | 272568
| #2 Turbine L.O. Cooler |  | 0 | 0 | 0 | 250000 | 250000
| Condensate pump |  | 0 | 0 | 0 | 115000 | 115000
| Unit 2 Inlet Filters |  | 0 | 0 | 0 | 500000 | 500000
| ST2 Voltage Regulator upgd |  | 0 | 0 | 0 | 0 | 0
| Silencer Repl. 2A, 2B, 2C, 2D ( IP only ) |  | 75000 | 150000 | 75000 | 0 | 300000
| 2A,B,C,D HRSG Piping Penetration seals |  | 0 | 0 | 0 | 288000 | 288000
| GE TIL 132OR-2 |  | 0 | 0 | 0 | 0 | 0
| 2A, B, C, D CT exhaust T/C replacement |  | 0 | 0 | 0 | 0 | 0
| Unit 2 A,B,C,D IP Reheat Attemperator repl. |  | 0 | 0 | 0 | 1000000 | 1000000
| Unit 2 A,B,C,D IP Start up sky vent silencer repl |  | 0 | 0 | 0 | 250000 | 250000
| Unit 2 A,B,C,D IP Main steam startup sky vent silencer repl |  | 0 | 0 | 0 | 300000 | 300000
| Unit 2 A,B,C,D FAC materials upgrd LP evap. Outlet circuits |  | 0 | 0 | 0 | 300000 | 300000
| Unit 2 A,B,C,D HRSG Sidewall baffles |  | 0 | 0 | 0 | 280000 | 280000
| Unit 2 A,B,C,D HRSG Stack Breach streamline flow guide |  | 0 | 0 | 0 | 400000 | 400000
A54xx-A57xx | Bayside Outage - Unit #2A,B,C,D |  | 0 | 0 | 0 | 0 | 0
| Total Unit # 2 Outage | 8068657 | 225000 | 150000 | 75000 | 8883000 | 17401657
Total Non-Outage Projects
G1001 | Bayside Coal Dock Dolphin Rplc |  | 0 | 0 | 0 | 0 | 0
G1210 | BS Diesel Generator steam turbine |  | 0 | 0 | 0 | 0 | 0
G4701 | BSP Reserve Bus 2 Switch Gear |  | 0 | 0 | 0 | 0 | 0
G4801 | BSP Flume Replacement |  | 0 | 0 | 0 | 0 | 0
G5028 | BS Arc Flash Project |  | 0 | 0 | 0 | 0 | 0
G5601 | GSU Repl. Unit 2 | 2045072 | 0 | 0 | 0 | 0 | 2045072
G6201 | BS Arc Flash phase 2 | 217184 | 0 | 0 | 0 | 0 | 217184
G6701 | Steam Turbine Cooling Tower Repl. |  | 3000000 | 0 | 0 | 0 | 3000000
G6801 | BS Natural Gas Redundant Pipeline |  | 0 | 0 | 0 | 0 | 0
G99xx | Transformer Replacement Reserve 2 |  | 1150000 | 0 | 0 | 0 | 1150000
G99xx | GSU Repl. Unit 1 |  | 0 | 2700000 | 2500000 | 0 | 5200000
G99xx | Transformer Repl. Reserve 3 |  | 0 | 1100000 | 0 | 0 | 1100000
G99xx | 316B Fine Mesh screens ECRC |  | 0 | 0 | 5000000 | 6000000 | 11000000
| CEM Analyzers ECRC |  | 176000 | 0 | 0 | 0 | 176000
| Bayside Non-Outage Projects |  | 0 | 0 | 0 | 0 | 0
| ABB Console Conversion PPB to PPA |  | 0 | 360000 | 0 | 0 | 360000
A50xx/P50xx | Recurring Maintenance Capital (&A9695) | 1797087 | 1300000 | 1400000 | 1500000 | 1600000 | 7597087
A58xx/P58xx | Bayside Outage - Common_Blankets |  | 0 | 0 | 0 | 0 | 0
| Total Non-Outage Projects | 4059343 | 5626000 | 5560000 | 9000000 | 7600000 | 31845343
G9878 | GE CSA Unit 1 | 8117000 | 7141983 | 7353561 | 7350000 | 7570500 | 37533044
G9981 | GE CSA Unit 2 | 8018000 | 9522643 | 9962890 | 10287011 | 10595621 | 48386165
| Total CSA | 16135000 | 16664626 | 17316451 | 17637011 | 18166121 | 85919209
108 / W01xx | Dismantlement of Gannon Coal Assets | 5001000 | 5000000 | 5000000 | 4000000 | 0 | 19001000
| Total All Bayside Power Station | 33264000 | 27590626 | 28176451 | 36637011 | 34649121 | 160317209
Polk Unit 1 Outage - Gasification Area
| Maintenance/Reliability Outages | 531196 | 3301000 | 2390000 | 0 | 5000000 | 11222196
H0815 | Polk CT Y-Strainer Addition |  | 0 | 0 | 0 | 0 | 0
H1005 | Emergency Elevator Addition |  | 0 | 0 | 0 | 0 | 0
H1019 | SAP Heat Exchanger |  | 0 | 0 | 0 | 0 | 0
H1020 | Syngas Piping Liner (Ph1-Lower Hairpins) |  | 0 | 0 | 0 | 0 | 0
H1021 | Brine Heat Exchanger |  | 0 | 0 | 0 | 0 | 0
H1025 | Acid Piping Replacement | 125000 | 0 | 0 | 0 | 0 | 125000
H1026 | AGR Vent Flare Piping |  | 0 | 0 | 0 | 0 | 0
H1027 | Brine Evaporator Tube replacement (Ph2) |  | 0 | 0 | 0 | 0 | 0
H1100 | POLK Undefined Capital Projects |  | 0 | 0 | 0 | 0 | 0
H1101 | Syngas Piping Transfer Duct Expansion Joint Replacement | 125000 | 0 | 0 | 0 | 0 | 125000
H1102 | Syngas Piping Liner Replacement - PH 2 |  | 0 | 0 | 0 | 0 | 0
H1103 | Scrubber Blowdown Crusher | 250000 | 0 | 0 | 0 | 0 | 250000
H1104 | SAP Preheater |  | 0 | 0 | 0 | 0 | 0
H1105 | Brine Filtration |  | 0 | 0 | 0 | 0 | 0
H1106 | SAP SO2 Stripper |  | 0 | 0 | 0 | 0 | 0
H1107 | ST Main Steam Line Modifications |  | 0 | 0 | 0 | 0 | 0
H1108 | Slag Recovery System |  | 0 | 0 | 0 | 0 | 0
H1109 | Syngas Block Valve |  | 0 | 0 | 0 | 0 | 0
H1110 | Lockhopper Valve |  | 0 | 0 | 0 | 0 | 0
H1111 | PK Flare Stack Molecular Seal Replacement |  | 0 | 0 | 0 | 0 | 0
H1112 | Radiant Syngas Cooler Seal Replacement |  | 0 | 0 | 0 | 0 | 0
H1113 | PK1 B Slurry Booster Pump Addition |  | 0 | 0 | 0 | 0 | 0
H11xx | RSC Cone replacement |  | 0 | 0 | 0 | 0 | 0
H12x6 | SAP Duct Replacement |  | 0 | 0 | 0 | 0 | 0
H1201 | Gasifer Brick Replacement | 500000 | 0 | 0 | 2500000 | 0 | 3000000
H1203 | Polk 1 RSC Cone Replacement | 75000 | 0 | 0 | 0 | 0 | 75000
H1204 | Control Room Display replacement | 200000 | 0 | 0 | 0 | 0 | 200000
H1205 | CSC Ferrule Replacement | 26000 | 0 | 0 | 0 | 0 | 26000
H1206 | Waterworld Piping replacement | 120000 | 0 | 0 | 0 | 0 | 120000
H1207 | Unit #4 Inlet Air Filter replacement |  | 0 | 0 | 0 | 0 | 0
H1208 | Unit #5 Inlet Air Filter replacement |  | 0 | 0 | 0 | 0 | 0
H1209 | GOX Rotor replacement | 400000 | 0 | 0 | 0 | 0 | 400000
H1210 | Slag Screen Platform replacement | 100000 | 0 | 0 | 0 | 0 | 100000
H1211 | Slag Screen Replacement | 100000 | 0 | 0 | 0 | 0 | 100000
H1213 | Lockhopper Valve Replacement | 150000 | 150000 | 150000 | 150000 | 150000 | 750000
H1215 | Open Loop "A" Pump Internals | 175000 | 0 | 0 | 0 | 0 | 175000
H1216 | Open Loop "B" Pump Internals | 175000 | 0 | 0 | 0 | 0 | 175000
H1217 | MDEA Filtration System | 200000 | 0 | 150000 | 150000 | 0 | 500000
H1218 | HRSG Penthouse Insulation Replacement | 200000 |  |  |  |  | 200000
H1223 | Auxillary Boiler Retube | 150000 | 0 | 0 | 0 | 0 | 150000
H1225 | Sour Gas Piping Replacement | 100000 | 0 | 0 | 0 | 0 | 100000
H1226 | CSC Sootblower Addition | 200000 | 0 | 0 | 0 | 0 | 200000
H1227 | A&B Mill End Liners | 200000 | 0 | 0 | 0 | 0 | 200000
| Amine Storage Tank Liner Addition |  | 0 | 0 | 0 | 0 | 0
H1214 | SAP Demister Replacement | 300000 | 0 | 0 | 0 | 0 | 300000
H1221 | Auxiliary Fuel Conversion | 300000 |  | 0 | 0 | 0 | 300000
H1222 | ASU Intercooler Overhaul | 100000 | 200000 | 0 | 0 | 0 | 300000
| SAP/Aux Boiler Natural Gas Conversion |  | 1000000 | 0 | 0 | 0 | 1000000
| Syngas Transfer Duct Expansion Joint |  | 125000 | 125000 | 125000 |  | 375000
| Brine Crystalizer |  | 400000 | 0 | 0 | 0 | 400000
| Brine Preheater |  | 400000 | 0 | 0 | 0 | 400000
| Brine Filtration Addition |  | 650000 | 0 | 0 | 0 | 650000
| Gasifier Piping Replacement |  | 200000 | 200000 | 200000 | 200000 | 800000
| Brine Grey Water Evaporator |  | 0 | 1500000 | 1500000 | 0 | 3000000
| Slag Air Belt Conveyor |  | 0 | 200000 | 300000 | 0 | 500000
| HRSG Tubing Replacement |  | 0 | 1000000 | 1000000 | 0 | 2000000
| Run Tank Liner Replacement |  | 0 | 300000 | 450000 | 0 | 750000
| Gasifier skin T/C's |  | 0 | 250000 | 200000 | 0 | 450000
| CEM Analyzers |  | 150000 | 0 | 0 | 0 | 150000
| Misc Other Projects |  |  | 0 | 0 | 0 | 0
| Total Polk Unit 1 Outage - Gasification Area | 4802196 | 6576000 | 6265000 | 6575000 | 5350000 | 29568196
Polk Unit 2-5 Outage
H1202 | Polk Units 2-5 Mk Vie Controls System | 1200000 | 0 | 0 | 0 | 0 | 1200000
H1219 | Polk Unit 2 Closed Loop CS Piping Replacement | 150000
H1220 | Polk Unit 3 Closed Loop CS Piping Replacement | 150000
| Polk Unit 3 Filter Replacement |  | 150000 | 0 | 0 | 0 | 150000
| Polk Unit 4 Filter Replacement |  | 0 | 0 | 0 | 0 | 0
| Polk Unit 5 Filter Replacement |  | 0 | 150000 | 0 | 0 | 150000
| Total Polk Unit 2-5 Outage | 1500000 | 150000 | 150000 | 0 | 0 | 1800000
Polk LTSA/CSA
H4788 | Polk LTSA - Unit #1 | 4090520 | 4370269 | 4435749 | 4509086 | 4705886 | 22111510
H4880 | Polk CSA - Unit #2 | 323380 | 397838 | 409772 | 422065 | 434726 | 1987781
H4988 | Polk CSA - Unit #3 | 323380 | 397838 | 409772 | 422065 | 434726 | 1987781
H5088 | Polk CSA - Unit #4 | 396360 | 397838 | 409772 | 422065 | 434726 | 2060761
H5288 | Polk CSA - Unit #5 | 396360 | 397838 | 409772 | 422065 | 434726 | 2060761
| Total PolK LTSA/CSA | 5530000 | 5961621 | 6074837 | 6197346 | 6444790 | 30208594
Polk Non-Outage Projects / Capitalized Maint
H0807 | PK Elevator Replacement |  | 0 | 0 | 0 | 0 | 0
H1006 | Instrument Air Compressor Replacement |  | 0 | 0 | 0 | 0 | 0
H1022 | Brine Impeller |  | 0 | 0 | 0 | 0 | 0
H1024 | DCS Power Panel Replacement |  | 0 | 0 | 0 | 0 | 0
H1028 | Polk Platform Additions |  | 0 | 0 | 0 | 0 | 0
Not L1012 | Alarm Management |  | 0 | 0 | 0 | 0 | 0
| Polk Water Project Maintenance Capital |  | 150000 | 150000 | 200000 | 200000 | 700000
| NERC/CIP Project Support |  | 100000 | 100000 | 100000 | 0 | 300000
A8101 | Amortizable Tools | 98000 |  |  |  |  | 98000
A8102 | Lab & Test Equipment | 40000 |  |  |  |  | 40000
A8100/P8100 | PK Blankets/Retirements (& A9698) | 3263804 | 2950000 | 3050000 | 3400000 | 3250000 | 15913804
A8200/P8200 | PK Blankets/Retirements | 300000 | 0 | 0 | 0 | 0 | 300000
| Total Polk Non-Outage Projects / Capitalized Maint | 3701804 | 3200000 | 3300000 | 3700000 | 3450000 | 17351804
| Total Polk Power Station | 15534000 | 15887621 | 15789837 | 16472346 | 15244790 | 78928594
Planning, Engineering & Construciton
A2800 & Misc Accts. | Capital Program Support | 5491853 | 100000 | 100000 | 100000 | 100000 | 5891853
A2801 | MCS Building Renovations |  | 0 | 0 | 0 | 0 | 0
B2501 | Boiler & Boiler Piping Management System | 50000 | 0 | 0 | 0 | 0 | 50000
Miscellaneous Accounts: H2100,H2200,H2300,L9101,L9102,L9128
L1010 | OSI Soft PI Infrastructure Upgrades |  | 0 | 0 | 0 | 0 | 0
L1011 | Labworks Replacement |  | 0 | 0 | 0 | 0 | 0
L1012 | Energy Supply Critical Alarm Management | 580000 | 0 | 0 | 0 | 0 | 580000
| Furniture, equipment, router, switch, misc. (A8900, A9604, A9622, A9699) |  | 0 | 0 | 0 | 0 | 0
| Total Planning, Engineering & Construciton | 6121853 | 100000 | 100000 | 100000 | 100000 | 6521853
Environmental, Health & Safety
A6900 | EHS Blankets (985 - MVC Only) | 180000 | 0 | 0 | 0 | 0 | 180000
A6903 | EHS Blankets (981 - Lab Services Only) | 60500 | 150000 | 150000 | 150000 | 150000 | 660500
A6903 | EHS Blankets (982 - Air Services Only) | 40500 | 150000 | 150000 | 150000 | 150000 | 640500
A69xx | Solar Charging Station for Tram Trains |  | 0 | 0 | 0 | 0 | 0
A69xx | Purchase new Picnic Tables |  | 6000 | 6000 | 6000 | 6000 | 24000
A69XX | New Manatee Statue |  |  | 15000
A69XX | Sidewalks/Landscaping (if parking lot doesn't happen)
A69XX | New Boat Exhibit |  | 0 | 0 | 73000 | 0
A69XX | Updated MVC Video (teaching & history, played underneath Education Center) |  | 40000 | 0 | 0 | 0
A69XX | Audio system Upgrade (tie throughtout the facility) |  | 0 | 50000 | 0 | 0
A69XX | New Hybrid Vehicle |  | 0 | 0 | 0 | 35000
A69XX | Concession Area Upgrade |  | 60000 | 0 | 0 | 0
B0693 | Replace Restroom Trailer |  | 0 | 0 | 0 | 100000
B0694 | Parking Lot Paving (deferred debit 18610-383)
B0695 | New Golf Cart Trails (MVC to Community Events) (deferred debit 18610-366)
B0696 | Purchase 4 Tram Trains |  | 0 | 0 | 0 | 0 | 0
B0697 | Tram Path |  | 0 | 0 | 0 | 0 | 0
B0698 | New Office / Storage Building |  | 0 | 0 | 0 | 0 | 0
B0699 | MVC Boardwalk / Observation Deck (deferred debit 18610-378) |  | 0 | 0 | 0 | 0 | 0
I9900 | EHS ES Project Support | 109500 | 100000 | 100000 | 100000 | 100000 | 509500
I9900 | EHS ED&G Indeterminates | 109500 | 100000 | 100000 | 100000 | 100000 | 509500
| Total Environmental, Health & Safety | 500000 | 606000 | 571000 | 579000 | 641000 | 2897000
| Capital Programs Support - Ops Management (incl F1009-Chicora/2011) |  | 26404 | 80293 | 62736 | 90089 | 259522
J0290 | Windows 7 Infrastructure - Tampa Electric |  | 0 | 0 | 0 | 0 | 0
| Total Miscellaneous | 0 | 26404 | 80293 | 62736 | 90089 | 259522
| Total All Capital - Excluding Generation Expansion | 132221853 | 162914773 | 178569492 | 139263092 | 112865000 | 725834210
| Total All Capital - Excluding Generation Expansion & ECRC | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 10K Disclosure | 145000000 | 150000000 | 150000000 | 150000000 | 150000000 | 745000000
| Over / (Under) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Generation Expansion
H2000 | Total Reclaimed Water Project | 36353000 | 4071716 | 0 | 0 | 0 | 40424716
183-59 / H30 | Polk Units 2-5 Combined Cycle Addition - Production (In-Service Jan 2017) | 7801167 | 33334591 | 93908487 | 329291532 | 74175313 | 538511090
183-59 / H30 | Polk Units 2-5 Combined Cycle Addition - Transmission (In-Service Jan 2017) | 1708980 | 16928159 | 52274009 | 60366926 | 41531926 | 172810000
| Total All Capital - Excluding Generation Expansion & ECRC | 45863147 | 54334466 | 146182496 | 389658458 | 115707239 | 751745806
| Total All Capital | 178085000 | 217249239 | 324751988 | 528921550 | 228572239 | 1477580016