## Chart 1 E4 v Megahaul 11-4-2003
Starting EFOR Categories (%)

## BIG BEND COHORTS 11-4-2003
PLANT# | BEFORE | [10 empty] | INVEST | [7 empty] | AFTER | [10 empty] | NOT in LIST
| EFOR |  |  |  | Spending | [6 empty] | MEGA CMKWDX | [7 empty] | EFOR |  |  |  | Spending
| START YEAR | END YEAR | SPAN | AVG EFOR | START YEAR | END YEAR | SPAN | yrs excl | CMKWD AVG | MTKWD AVG | MT / CM | YEARS |  |  |  |  | CMKWDX TOTAL | MTKWDX TOTAL | MT / CM | START YEAR | END YEAR | SPAN | AVG EFOR | START YEAR | END YEAR | SPAN | yrs excl | CMKWD AVG | MTKWD AVG | MT / CM
|  |  | #yrs | % |  |  | #yrs |  | $/kW (2000 = 1.0) |  | % | [5 empty] | $/kW (2000=1.0) |  | % |  |  | #yrs | % |  |  | #yrs |  | $/kW (2000 = 1.0) |  | %
404 | 1977 | 1981 | 4 | 44 | 1973 | 1978 | 5 |  | 20 | 17 | 85% | 1980 | 1981 | 1982 |  |  | 325 | 118 | 36.31% | 1982 | 1990 | 8 | 19 |  |  | 0
404 | 1982 | 1990 | 8 | 19 | [7 empty] | 1985 | 1986 | 1987 |  |  | 150 | 88 | 58.67% | 1992 | 2001 | 9 | 7 | 1993 | 2000 | 7 |  | 21 | 14 | 66.67%
656 | 1972 | 1979 | 7 | 26 | 1970 | 1975 | 5 |  | 10 | 8 | 80% | 1976 | 1977 |  |  |  | 97 | 25 | 25.77% | 1980 | 1987 | 7 | 7 | 1978 | 1985 | 7 |  | 20 | 10 | 50%
656 | 1980 | 1987 | 7 | 7 | 1978 | 1985 | 7 |  | 20 | 14 | 70% | 1986 | 1987 |  |  |  | 67 | 23 | 34.33% | 1988 | 1995 | 7 | 3 | 1988 | 1995 | 7 |  | 18 | 11 | 61.11%
902 | 1978 | 1986 | 8 | 23 | 1978 | 1986 | 8 |  | 24 | 21 | 87.5% | 1989 | 1990 | 1991 |  |  | 216 | 95 | 43.98% | 1988 | 1993 | 5 | 3 |  |  | 0 |  |  |  |  | X
906 | 1974 | 1978 | 4 | 10.5 | 1970 | 1977 | 7 |  | 10 | 9 | 90% | 1978 | 1979 |  |  |  | 178 | 38 | 21.35% | 1980 | 1993 | 13 | 3 | 1980 | 1993 | 13 |  | 15 | 13 | 86.67%
912 | 1973 | 1984 | 11 | 31 | 1972 | 1980 | 8 | ex 1978 | 19 | 17 | 89.47% | 1978 | 1981 | 1982 | 1983 | 1984 | 447 | 92 | 20.58% | 1988 | 1991 | 3 | 13 | 1987 | 1991 | 4 |  | 21 | 16 | 76.19% | X
912 | 1988 | 1991 | 3 | 13 | 1987 | 1991 | 4 | ex 1990 | 21 | 16 | 76.19% | 1990 | 1992 |  |  |  | 75 | 33 | 44% | 1992 | 2000 | 8 | 6 | 1993 | 1999 | 6 |  | 18 | 13 | 72.22%
1359 | 1980 | 1985 | 5 | 24 | 1980 | 1985 | 5 |  | 17 | 13 | 76.47% | 1986 | 1987 | 1988 |  |  | 110 | 58 | 52.73% | 1986 | 1995 | 9 | 11 | 1989 | 1995 | 6 |  | 18 | 13 | 72.22%
2158 | 1974 | 1981 | 7 | 18 | 1973 | 1979 | 6 |  | 12 | 9 | 75% | 1981 |  |  |  |  | 87 | 10 | 11.49% | 1985 | 2000 | 15 | 8 | 1985 | 2000 | 15 |  | 20 | 12 | 60%
2620 | 1992 | 2000 | 8 | 10 | 1992 | 1997 | 5 |  | 20 | 13 | 65% | 1999 | 2000 |  |  |  | 191 | 28 | 14.66% | 2001 | 2002 | 1 | 2
2898 | 1974 | 1982 | 8 | 32 | 1974 | 1982 | 8 | ex 1981 | 18 | 14 | 77.78% | 1981 | 1983 |  |  |  | 142 | 55 | 38.73% | 1985 | 1995 | 10 | 7 | 1985 | 1995 | 10 |  | 32 | 19 | 59.38%
2922 | 1974 | 1982 | 8 | 27 | 1972 | 1977 | 5 |  | 16 | 13 | 81.25% | 1978 | 1979 | 1981 |  |  | 211 | 52 | 24.64% | 1983 | 1997 | 14 | 9 | 1982 | 1997 | 15 |  | 22 | 15 | 68.18%
3045 | 1973 | 1981 | 8 | 11 |  |  | 0 |  |  |  |  | 1973 | 1975 | 1978 | 1980 |  | 191 | 79 | 41.36% | 1982 | 1996 | 14 | 3 | 1982 | 1996 | 14 |  | 21 | 18 | 85.71%
3401 | 1988 | 1990 | 2 | 19 | 1985 | 1989 | 4 |  | 13 | 12 | 92.31% | 1990 | 1991 |  |  |  | 135 | 42 | 31.11% | 1991 | 1998 | 7 | 5 | 1994 | 1998 | 4 |  | 20 | 8 | 40%
3411 | 1982 | 1989 | 7 | 13 | 1982 | 1988 | 6 | ex 1987 | 17 | 15 | 88.24% | 1987 | 1990 | 1991 | 1994 |  | 155 | 52 | 33.55% | 1992 | 2000 | 8 | 2 | 1992 | 2000 | 8 |  | 17 | 11 | 64.71% | X
3535 | 1980 | 1991 | 11 | 19 |  |  | 0 |  |  |  |  | 1991 | 1992 | 1994 |  |  | 166 | 69 | 41.57% | 1992 | 1998 | 6 | 5 | 1995 | 1998 | 3 |  | 21 | 19 | 90.48% | X
4441 | 1973 | 1982 | 9 | 32 | 1973 | 1981 | 8 |  | 20 | 14 | 70% | 1982 | 1983 |  |  |  | 137 | 24 | 17.52% | 1983 | 1992 | 9 | 12 | 1984 | 1992 | 8 |  | 11 | 9 | 81.82%
4660 | 1975 | 1980 | 5 | 28 | 1975 | 1978 | 3 |  | 16 | 11 | 68.75% | 1979 | 1982 |  |  |  | 107 | 25 | 23.36% | 1982 | 1992 | 10 | 5 | 1983 | 1992 | 9 |  | 15 | 9 | 60%
5325 | 1984 | 1991 | 7 | 28 | 1984 | 1991 | 7 |  | 17 | 10 | 58.82% | 1992 | 1993 | 1994 |  |  | 108 | 31 | 28.7% | 1992 | 2000 | 8 | 13 | 1995 | 2000 | 5 |  | 21 | 12 | 57.14%
5333 | 1974 | 1983 | 9 | 21 | 1974 | 1982 | 8 |  | 19 | 12 | 63.16% | 1983 |  |  |  |  | 45 | 13 | 28.89% | 1984 | 1994 | 10 | 10 | 1984 | 1993 | 9 |  | 23 | 14 | 60.87%
5333 | 1984 | 1994 | 10 | 10 | 1984 | 1993 | 9 |  | 23 | 14 | 60.87% | 1993 | 1994 |  |  |  | 95 | 30 | 31.58% | 1995 | 2002 | 7 | 3 | 1995 | 2000 | 5 |  | 15 | 11 | 73.33% | X
5535 | 1972 | 1982 | 10 | 25 | 1970 | 1977 | 7 |  | 13 | 10 | 76.92% | 1978 | 1979 | 1982 |  |  | 162 | 46 | 28.4% | 1986 | 1995 | 9 | 4 | 1986 | 1995 | 9 |  | 15 | 13 | 86.67% | X
5802 | 1993 | 1997 | 4 | 14 | 1992 | 1995 | 3 |  | 12 | 12 | 100% | 1996 | 1997 | 1998 |  |  | 223 | 37 | 16.59% | 1999 | 2002 | 3 | 2 | 1999 | 2000 | 1 |  | 21 | 17 | 80.95%
5950 | 1972 | 1983 | 11 | 30 | 1972 | 1981 | 9 |  | 16 | 12 | 75% | 1982 | 1983 | 1984 | 1985 |  | 230 | 78 | 33.91% | 1988 | 1997 | 9 | 6 | 1986 | 1997 | 11 | ex 1992 | 18 | 15 | 83.33%
6061 | 1979 | 1984 | 5 | 18 | 1979 | 1984 | 5 |  | 28 | 20 | 71.43% | 1986 | 1987 | 1988 | 1989 |  | 171 | 80 | 46.78% | 1985 | 2001 | 16 | 8 | 1990 | 2000 | 10 |  | 20 | 15 | 75%
6346 | 1974 | 1981 | 7 | 21 | 1974 | 1984 | 10 |  | 23 | 16 | 69.57% | 1985 | 1986 |  |  |  | 96 | 36 | 37.5% | 1984 | 1996 | 12 | 4 | 1987 | 1996 | 9 |  | 22 | 15 | 68.18%
7516 | 1973 | 1986 | 13 | 14 | 1973 | 1982 | 9 |  | 15 | 10 | 66.67% | 1983 | 1985 |  |  |  | 79 | 37 | 46.84% | 1987 | 1993 | 6 | 9 | 1986 | 1993 | 7 |  | 23 | 15 | 65.22%
7516 | 1987 | 1993 | 6 | 9 | 1986 | 1993 | 7 |  | 23 | 15 | 65.22% | 1994 | 1995 |  |  |  | 96 | 21 | 21.88% | 1995 | 2000 | 5 | 6 | 1996 | 2000 | 4 |  | 20 | 8 | 40%
7855 | 1990 | 1996 | 6 | 23 | 1988 | 1994 | 6 |  | 20 | 15 | 75% | 1995 | 1996 | 1997 |  |  | 154 | 53 | 34.42% | 1997 | 2002 | 5 | 9 |  |  | 0 |  |  |  |  | X
8087 | 1979 | 1986 | 7 | 33 | 1979 | 1986 | 7 |  | 33 | 27 | 81.82% | 1987 | 1988 | 1989 |  |  | 236 | 77 | 32.63% | 1990 | 1992 | 2 | 14 | 1990 | 1992 | 2 |  | 23 | 16 | 69.57%
8087 | 1990 | 1992 | 2 | 14 | 1990 | 1992 | 2 |  | 23 | 16 | 69.57% | 1993 | 1994 |  |  |  | 95 | 35 | 36.84% | 1995 | 2000 | 5 | 8 | 1994 | 1998 | 4 |  | 19 | 14 | 73.68%
8163 | 1974 | 1980 | 6 | 26 | 1970 | 1975 | 5 |  | 16 | 10 | 62.5% | 1976 | 1977 | 1978 |  |  | 225 | 34 | 15.11% | 1981 | 1984 | 3 | 15 | 1979 | 1981 | 2 |  | 17 | 16 | 94.12%
8163 | 1981 | 1984 | 3 | 15 | 1979 | 1981 | 2 |  | 17 | 16 | 94.12% | 1982 |  |  |  |  | 71 | 14 | 19.72% | 1985 | 1994 | 9 | 8 | 1983 | 1994 | 11 |  | 20 | 17 | 85%
8478 | 1974 | 1981 | 7 | 18 | 1978 | 1981 | 3 |  | 16 | 10 | 62.5% | 1973 | 1975 | 1982 |  |  | 136 | 38 | 27.94% | 1982 | 1995 | 13 | 7 | 1987 | 1995 | 8 |  | 18 | 14 | 77.78%
8963 | 1972 | 1984 | 12 | 17 | 1971 | 1976 | 5 |  | 20 | 11 | 55% | 1978 | 1979 |  |  |  | 84 | 34 | 40.48% | 1985 | 1993 | 8 | 6 | 1985 | 1993 | 8 |  | 23 | 16 | 69.57%
9086 | 1987 | 1997 | 10 | 31 | 1985 | 1993 | 8 |  | 20 | 17 | 85% | 1994 | 1995 | 1996 |  |  | 161 | 76 | 47.2% | 1998 | 2002 | 4 | 12 |  |  | 0
9168 | 1989 | 1994 | 5 | 17 | 1986 | 1991 | 5 |  | 19 | 15 | 78.95% | 1992 | 1993 | 1994 |  |  | 107 | 46 | 42.99% | 1995 | 1999 | 4 | 8 | 1995 | 1999 | 4 |  | 22 | 16 | 72.73% | X
9415 | 1989 | 1996 | 7 | 23 | 1989 | 1995 | 6 |  | 29 | 18 | 62.07% | 1996 |  |  |  |  | 149 | 26 | 17.45% | 1997 | 1999 | 2 | 8 | 1997 | 1999 | 2 |  | 24 | 18 | 75%
9489 | 1977 | 1990 | 13 | 13 | 1977 | 1990 | 13 |  | 15 | 12 | 80% | 1991 | 1992 | 1994 |  |  | 210 | 31 | 14.76% | 1991 | 2001 | 10 | 3 | 1995 | 2000 | 5 |  | 14 | 10 | 71.43% | X
9871 | 1972 | 1977 | 5 | 26 | 1972 | 1974 | 2 |  | 13 | 9 | 69.23% | 1975 | 1976 |  |  |  | 94 | 27 | 28.72% | 1979 | 1984 | 5 | 8 | 1977 | 1984 | 7 |  | 22 | 16 | 72.73%
9969 | 1975 | 1979 | 4 | 14 | 1975 | 1979 | 4 |  | 15 | 14 | 93.33% | 1980 |  |  |  |  | 125 | 24 | 19.2% | 1981 | 2000 | 19 | 3 | 1981 | 2000 | 19 |  | 16 | 14 | 87.5%
9980 | 1974 | 1984 | 10 | 17 | 1974 | 1983 | 9 |  | 21 | 13 | 61.9% | 1984 |  |  |  |  | 170 | 26 | 15.29% | 1985 | 1991 | 6 | 7 | 1985 | 1991 | 6 |  | 32 | 26 | 81.25% | X

## data for chart 11-4-2003
AVG EFOR | D E4 | ROUND DE4 | GROUP | CMKWDX TOTAL | 7 | 9 -11 | 13 -15 | 17 -19 | 21 -25 | 26 -28 | 30 -33 | 44 | 1 | 2 | 3 | 4 | 5 | 6
7 | 4 | 4 | 7 | 67 | 4 | [6 empty] | 1: 4
9 | 3 | 3 | 9 -11 | 96 |  | 3 | [5 empty] | 2: 3
10 | 7 | 7 | 9 -11 | 95 |  | 7 | [5 empty] | 4: 7
10 | 8 | 8 | 9 -11 | 191 |  | 8
10.5 | 7.5 | 8 | 9 -11 | 178 |  | 8
11 | 8 | 8 | 9 -11 | 191 |  | 8
13 | 10 | 10 | 13 -15 | 210 |  |  | 10
13 | 11 | 11 | 13 -15 | 155 |  |  | 11
13 | 7 | 7 | 13 -15 | 75 |  |  | 7 |  |  |  |  | 5: 7
14 | 5 | 5 | 13 -15 | 79 |  |  | 5 |  |  |  |  | 2: 5
14 | 11 | 11 | 13 -15 | 125 |  |  | 11
14 | 6 | 6 | 13 -15 | 95 |  |  | 6 |  |  |  |  | 6: 6
14 | 12 | 12 | 13 -15 | 223 |  |  | 12
15 | 7 | 7 | 13 -15 | 71 |  |  | 7 |  |  |  |  | 3: 7
17 | 11 | 11 | 17 -19 | 84 |  |  |  | 11
17 | 10 | 10 | 17 -19 | 170 |  |  |  | 10
17 | 9 | 9 | 17 -19 | 107 |  |  |  | 9
18 | 11 | 11 | 17 -19 | 136 |  |  |  | 11
18 | 10 | 10 | 17 -19 | 87 |  |  |  | 10
18 | 10 | 10 | 17 -19 | 171 |  |  |  | 10
19 | 14 | 14 | 17 -19 | 166 |  |  |  | 14
19 | 12 | 12 | 17 -19 | 150 |  |  |  | 12
19 | 14 | 14 | 17 -19 | 135 |  |  |  | 14
21 | 17 | 17 | 21 -25 | 96 |  |  |  |  | 17
21 | 11 | 11 | 21 -25 | 45 |  |  |  |  | 11 |  |  | 4: 11
23 | 20 | 20 | 21 -25 | 216 |  |  |  |  | 20
23 | 15 | 15 | 21 -25 | 149 |  |  |  |  | 15
23 | 14 | 14 | 21 -25 | 154 |  |  |  |  | 14
24 | 13 | 13 | 21 -25 | 110 |  |  |  |  | 13
25 | 21 | 21 | 21 -25 | 162 |  |  |  |  | 21
26 | 18 | 18 | 26 -28 | 94 | [5 empty] | 18
26 | 19 | 19 | 26 -28 | 97 |  | 97 |  |  |  | 19 |  | 1: 19
26 | 11 | 11 | 26 -28 | 225 | [5 empty] | 11 |  | 3: 11
27 | 18 | 18 | 26 -28 | 211 | [5 empty] | 18
28 | 23 | 23 | 26 -28 | 107 | [5 empty] | 23
28 | 15 | 15 | 26 -28 | 108 | [5 empty] | 15
30 | 24 | 24 | 30 -33 | 230 | [6 empty] | 24
31 | 18 | 18 | 30 -33 | 447 | [6 empty] | 18 | 5: 18
31 | 19 | 19 | 30 -33 | 161 | [6 empty] | 19
32 | 20 | 20 | 30 -33 | 137 | [6 empty] | 20
32 | 25 | 25 | 30 -33 | 142 | [6 empty] | 25
33 | 19 | 19 | 30 -33 | 236 | [6 empty] | 19 | 6: 19
44 | 25 | 25 | 44 | 325 | [7 empty] | 44: 25

## ALL GROUPS 11-17
PLANT# | PERIOD prior to MEGAHAUL | [10 empty] | INVEST | [7 empty] | PERIOD following MEGAHAUL | [10 empty] | NOT in LIST
| EFOR |  |  |  | Spending | [6 empty] | MEGAHAUL SPENDING: CapAdds + Maintenance Exp. | [7 empty] | EFOR |  |  |  | Spending
| START YEAR | END YEAR | SPAN | EFOR AVG | START YEAR | END YEAR | SPAN | yrs excl | CP+MT AVG | MT AVG | MT / CM | MEGAHAUL YEARS |  |  |  |  | CP+MT TOTAL | MT TOTAL | MT / CM | START YEAR | END YEAR | SPAN | EFOR AVG | START YEAR | END YEAR | SPAN | yrs excl | CP+MT AVG | MT AVG | MT / CM
|  |  | #yrs | % |  |  | #yrs |  | $/kW (2000 = 1.0) |  | % | [5 empty] | $/kW (2000=1.0) |  | % |  |  | #yrs | % |  |  | #yrs |  | $/kW (2000 = 1.0) |  | %
404 | 1977 | 1981 | 4 | 44 | 1973 | 1978 | 5 |  | 20 | 17 | 85% | 1980 | 1981 | 1982 |  |  | 325 | 118 | 36.31% | 1982 | 1990 | 8 | 19 |  |  | 0
404 | 1982 | 1990 | 8 | 19 | [7 empty] | 1985 | 1986 | 1987 |  |  | 150 | 88 | 58.67% | 1992 | 2001 | 9 | 7 | 1993 | 2000 | 7 |  | 21 | 14 | 66.67%
656 | 1972 | 1979 | 7 | 26 | 1970 | 1975 | 5 |  | 10 | 8 | 80% | 1976 | 1977 |  |  |  | 97 | 25 | 25.77% | 1980 | 1987 | 7 | 7 | 1978 | 1985 | 7 |  | 20 | 10 | 50%
656 | 1980 | 1987 | 7 | 7 | 1978 | 1985 | 7 |  | 20 | 14 | 70% | 1986 | 1987 |  |  |  | 67 | 23 | 34.33% | 1988 | 1995 | 7 | 3 | 1988 | 1995 | 7 |  | 18 | 11 | 61.11%
657 | 1991 | 1994 | 3 | 11 | 1991 | 1993 | 2 |  | 21 | 12 | 57.14% | 1994 | 1995 |  |  |  | 161 | 31 | 19.25% | 1995 | 2000 | 5 | 7 | 1995 | 2000 | 5 |  | 21 | 15 | 71.43% | X
743 | 1989 | 1993 | 4 | 13 | 1987 | 1991 | 4 |  | 19 | 17 | 89.47% | 1992 | 1993 |  |  |  | 291 | 57 | 19.59% | 1994 | 2000 | 6 | 5 | 1994 | 2000 | 6 |  | 22 | 18 | 81.82% | X
902 | 1978 | 1986 | 8 | 23 | 1978 | 1986 | 8 |  | 24 | 21 | 87.5% | 1989 | 1990 | 1991 |  |  | 216 | 95 | 43.98% | 1988 | 1993 | 5 | 3 |  |  | 0
906 | 1974 | 1978 | 4 | 10.5 | 1970 | 1977 | 7 |  | 10 | 9 | 90% | 1978 | 1979 |  |  |  | 178 | 38 | 21.35% | 1980 | 1993 | 13 | 3 | 1980 | 1993 | 13 |  | 15 | 13 | 86.67%
912 | 1973 | 1984 | 11 | 31 | 1972 | 1980 | 8 | ex 1978 | 19 | 17 | 89.47% | 1978 | 1981 | 1982 | 1983 | 1984 | 447 | 92 | 20.58% | 1988 | 1991 | 3 | 13 | 1987 | 1991 | 4 |  | 21 | 16 | 76.19%
912 | 1988 | 1991 | 3 | 13 | 1987 | 1991 | 4 | ex 1990 | 21 | 16 | 76.19% | 1990 | 1992 |  |  |  | 75 | 33 | 44% | 1992 | 2000 | 8 | 6 | 1993 | 1999 | 6 |  | 18 | 13 | 72.22%
1359 | 1980 | 1985 | 5 | 24 | 1980 | 1985 | 5 |  | 17 | 13 | 76.47% | 1986 | 1987 | 1988 |  |  | 110 | 58 | 52.73% | 1986 | 1995 | 9 | 11 | 1989 | 1995 | 6 |  | 18 | 13 | 72.22% | X
2105 | 1976 | 1982 | 6 | 22 | 1976 | 1980 | 4 |  | 17 | 14 | 82.35% | 1981 |  |  |  |  | 50 | 14 | 28% | 1983 | 2000 | 17 | 4 | 1983 | 2000 | 17 |  | 16 | 13 | 81.25% | X
2158 | 1974 | 1981 | 7 | 18 | 1973 | 1979 | 6 |  | 12 | 9 | 75% | 1981 |  |  |  |  | 87 | 10 | 11.49% | 1985 | 2000 | 15 | 8 | 1985 | 2000 | 15 |  | 20 | 12 | 60%
2433 | 1976 | 1982 | 6 | 38 | 1976 | 1981 | 5 |  | 23 | 17 | 73.91% | 1982 |  |  |  |  | 101 | 13 | 12.87% | 1983 | 1994 | 11 | 19 | 1983 | 1994 | 11 |  | 14 | 8 | 57.14% | X
2433 | 1983 | 1994 | 11 | 19 | 1983 | 1994 | 11 |  | 14 | 8 | 57.14% | 1995 | 1996 |  |  |  | 203 | 17 | 8.374% | 1995 | 2001 | 6 | 5 | 1997 | 1999 | 2 |  | 20 | 9 | 45% | X
2620 | 1992 | 2000 | 8 | 10 | 1992 | 1997 | 5 |  | 20 | 13 | 65% | 1999 | 2000 |  |  |  | 191 | 28 | 14.66% | 2001 | 2002 | 1 | 2 | [7 empty] | X
2898 | 1974 | 1982 | 8 | 32 | 1974 | 1982 | 8 | ex 1981 | 18 | 14 | 77.78% | 1981 | 1983 |  |  |  | 142 | 55 | 38.73% | 1985 | 1995 | 10 | 7 | 1985 | 1995 | 10 |  | 32 | 19 | 59.38%
2922 | 1974 | 1982 | 8 | 27 | 1972 | 1977 | 5 |  | 16 | 13 | 81.25% | 1978 | 1979 | 1981 |  |  | 211 | 52 | 24.64% | 1983 | 1997 | 14 | 9 | 1982 | 1997 | 15 |  | 22 | 15 | 68.18% | X
2952 | 1982 | 1988 | 6 | 17 | 1981 | 1985 | 4 |  | 13 | 10 | 76.92% | 1986 | 1987 | 1988 |  |  | 108 | 55 | 50.93% | 1989 | 1997 | 8 | 6 | 1989 | 1997 | 8 |  | 15 | 12 | 80% | X
3045 | 1973 | 1981 | 8 | 11 |  |  | 0 |  |  |  |  | 1973 | 1975 | 1978 | 1980 |  | 191 | 79 | 41.36% | 1982 | 1996 | 14 | 3 | 1982 | 1996 | 14 |  | 21 | 18 | 85.71%
3129 | 1973 | 1979 | 6 | 27 | 1973 | 1977 | 4 |  | 19 | 12 | 63.16% | 1978 |  |  |  |  | 147 | 14 | 9.524% | 1980 | 1986 | 6 | 15 | 1979 | 1983 | 4 |  | 25 | 20 | 80% | X
3129 | 1980 | 1986 | 6 | 15 | 1979 | 1983 | 4 |  | 25 | 20 | 80% | 1984 | 1985 | 1986 |  |  | 98 | 79 | 80.61% | 1987 | 1999 | 12 | 7 | 1987 | 1999 | 12 |  | 17 | 14 | 82.35% | X
3387 | 1985 | 1991 | 6 | 30 | 1985 | 1991 | 6 |  | 23 | 11 | 47.83% | 1993 | 1994 | 1995 |  |  | 203 | 21 | 10.34% | 1993 | 2000 | 7 | 8 | 1996 | 2000 | 4 | ex 1997 | 24 | 13 | 54.17% | X
3401 | 1988 | 1990 | 2 | 19 | 1985 | 1989 | 4 |  | 13 | 12 | 92.31% | 1990 | 1991 |  |  |  | 135 | 42 | 31.11% | 1991 | 1998 | 7 | 5 | 1994 | 1998 | 4 |  | 20 | 8 | 40%
3411 | 1982 | 1989 | 7 | 13 | 1982 | 1988 | 6 | ex 1987 | 17 | 15 | 88.24% | 1987 | 1990 | 1991 | 1994 |  | 155 | 52 | 33.55% | 1992 | 2000 | 8 | 2 | 1992 | 2000 | 8 |  | 17 | 11 | 64.71%
3535 | 1980 | 1991 | 11 | 19 |  |  | 0 |  |  |  |  | 1991 | 1992 | 1994 |  |  | 166 | 69 | 41.57% | 1992 | 1998 | 6 | 5 | 1995 | 1998 | 3 |  | 21 | 19 | 90.48%
4441 | 1973 | 1982 | 9 | 32 | 1973 | 1981 | 8 |  | 20 | 14 | 70% | 1982 | 1983 |  |  |  | 137 | 24 | 17.52% | 1983 | 1992 | 9 | 12 | 1984 | 1992 | 8 |  | 11 | 9 | 81.82% | X
4660 | 1975 | 1980 | 5 | 28 | 1975 | 1978 | 3 |  | 16 | 11 | 68.75% | 1979 | 1982 |  |  |  | 107 | 25 | 23.36% | 1982 | 1992 | 10 | 5 | 1983 | 1992 | 9 |  | 15 | 9 | 60%
5325 | 1984 | 1991 | 7 | 28 | 1984 | 1991 | 7 |  | 17 | 10 | 58.82% | 1992 | 1993 | 1994 |  |  | 108 | 31 | 28.7% | 1992 | 2000 | 8 | 13 | 1995 | 2000 | 5 |  | 21 | 12 | 57.14% | X
5333 | 1974 | 1983 | 9 | 21 | 1974 | 1982 | 8 |  | 19 | 12 | 63.16% | 1983 |  |  |  |  | 45 | 13 | 28.89% | 1984 | 1994 | 10 | 10 | 1984 | 1993 | 9 |  | 23 | 14 | 60.87%
5333 | 1984 | 1994 | 10 | 10 | 1984 | 1993 | 9 |  | 23 | 14 | 60.87% | 1993 | 1994 |  |  |  | 95 | 30 | 31.58% | 1995 | 2002 | 7 | 3 | 1995 | 2000 | 5 |  | 15 | 11 | 73.33%
5535 | 1972 | 1982 | 10 | 25 | 1970 | 1977 | 7 |  | 13 | 10 | 76.92% | 1978 | 1979 | 1982 |  |  | 162 | 46 | 28.4% | 1986 | 1995 | 9 | 4 | 1986 | 1995 | 9 |  | 15 | 13 | 86.67%
5802 | 1993 | 1997 | 4 | 14 | 1992 | 1995 | 3 |  | 12 | 12 | 100% | 1996 | 1997 | 1998 |  |  | 223 | 37 | 16.59% | 1999 | 2002 | 3 | 2 | 1999 | 2000 | 1 |  | 21 | 17 | 80.95% | X
5950 | 1972 | 1983 | 11 | 30 | 1972 | 1981 | 9 |  | 16 | 12 | 75% | 1982 | 1983 | 1984 | 1985 |  | 230 | 78 | 33.91% | 1988 | 1997 | 9 | 6 | 1986 | 1997 | 11 | ex 1992 | 18 | 15 | 83.33% | X
6061 | 1979 | 1984 | 5 | 18 | 1979 | 1984 | 5 |  | 28 | 20 | 71.43% | 1986 | 1987 | 1988 | 1989 |  | 171 | 80 | 46.78% | 1985 | 2001 | 16 | 8 | 1990 | 2000 | 10 |  | 20 | 15 | 75% | X
6346 | 1974 | 1981 | 7 | 21 | 1974 | 1984 | 10 |  | 23 | 16 | 69.57% | 1985 | 1986 |  |  |  | 96 | 36 | 37.5% | 1984 | 1996 | 12 | 4 | 1987 | 1996 | 9 |  | 22 | 15 | 68.18%
7516 | 1973 | 1986 | 13 | 14 | 1973 | 1982 | 9 |  | 15 | 10 | 66.67% | 1983 | 1985 |  |  |  | 79 | 37 | 46.84% | 1987 | 1993 | 6 | 9 | 1986 | 1993 | 7 |  | 23 | 15 | 65.22%
7516 | 1987 | 1993 | 6 | 9 | 1986 | 1993 | 7 |  | 23 | 15 | 65.22% | 1994 | 1995 |  |  |  | 96 | 21 | 21.88% | 1995 | 2000 | 5 | 6 | 1996 | 2000 | 4 |  | 20 | 8 | 40%
7819 | 1976 | 1985 | 9 | 20 | 1976 | 1983 | 7 |  | 21 | 17 | 80.95% | 1984 | 1985 | 1986 |  |  | 127 | 75 | 59.06% | 1987 | 1994 | 7 | 8 | 1987 | 1994 | 7 |  | 27 | 17 | 62.96% | X
7855 | 1990 | 1996 | 6 | 23 | 1988 | 1994 | 6 |  | 20 | 15 | 75% | 1995 | 1996 | 1997 |  |  | 154 | 53 | 34.42% | 1997 | 2002 | 5 | 9 |  |  | 0
8087 | 1979 | 1986 | 7 | 33 | 1979 | 1986 | 7 |  | 33 | 27 | 81.82% | 1987 | 1988 | 1989 |  |  | 236 | 77 | 32.63% | 1990 | 1992 | 2 | 14 | 1990 | 1992 | 2 |  | 23 | 16 | 69.57%
8087 | 1990 | 1992 | 2 | 14 | 1990 | 1992 | 2 |  | 23 | 16 | 69.57% | 1993 | 1994 |  |  |  | 95 | 35 | 36.84% | 1995 | 2000 | 5 | 8 | 1994 | 1998 | 4 |  | 19 | 14 | 73.68%
8163 | 1974 | 1980 | 6 | 26 | 1970 | 1975 | 5 |  | 16 | 10 | 62.5% | 1976 | 1977 | 1978 |  |  | 225 | 34 | 15.11% | 1981 | 1984 | 3 | 15 | 1979 | 1981 | 2 |  | 17 | 16 | 94.12% | X
8163 | 1981 | 1984 | 3 | 15 | 1979 | 1981 | 2 |  | 17 | 16 | 94.12% | 1982 |  |  |  |  | 71 | 14 | 19.72% | 1985 | 1994 | 9 | 8 | 1983 | 1994 | 11 |  | 20 | 17 | 85% | X
8478 | 1974 | 1981 | 7 | 18 | 1978 | 1981 | 3 |  | 16 | 10 | 62.5% | 1973 | 1975 | 1982 |  |  | 136 | 38 | 27.94% | 1982 | 1995 | 13 | 7 | 1987 | 1995 | 8 |  | 18 | 14 | 77.78%
8963 | 1972 | 1984 | 12 | 17 | 1971 | 1976 | 5 |  | 20 | 11 | 55% | 1978 | 1979 |  |  |  | 84 | 34 | 40.48% | 1985 | 1993 | 8 | 6 | 1985 | 1993 | 8 |  | 23 | 16 | 69.57%
9086 | 1987 | 1997 | 10 | 31 | 1985 | 1993 | 8 |  | 20 | 17 | 85% | 1994 | 1995 | 1996 |  |  | 161 | 76 | 47.2% | 1998 | 2002 | 4 | 12 |  |  | 0
9168 | 1989 | 1994 | 5 | 17 | 1986 | 1991 | 5 |  | 19 | 15 | 78.95% | 1992 | 1993 | 1994 |  |  | 107 | 46 | 42.99% | 1995 | 1999 | 4 | 8 | 1995 | 1999 | 4 |  | 22 | 16 | 72.73%
9415 | 1989 | 1996 | 7 | 23 | 1989 | 1995 | 6 |  | 29 | 18 | 62.07% | 1996 |  |  |  |  | 149 | 26 | 17.45% | 1997 | 1999 | 2 | 8 | 1997 | 1999 | 2 |  | 24 | 18 | 75%
9489 | 1977 | 1990 | 13 | 13 | 1977 | 1990 | 13 |  | 15 | 12 | 80% | 1991 | 1992 | 1994 |  |  | 210 | 31 | 14.76% | 1991 | 2001 | 10 | 3 | 1995 | 2000 | 5 |  | 14 | 10 | 71.43%
9871 | 1972 | 1977 | 5 | 26 | 1972 | 1974 | 2 |  | 13 | 9 | 69.23% | 1975 | 1976 |  |  |  | 94 | 27 | 28.72% | 1979 | 1984 | 5 | 8 | 1977 | 1984 | 7 |  | 22 | 16 | 72.73%
9969 | 1975 | 1979 | 4 | 14 | 1975 | 1979 | 4 |  | 15 | 14 | 93.33% | 1980 |  |  |  |  | 125 | 24 | 19.2% | 1981 | 2000 | 19 | 3 | 1981 | 2000 | 19 |  | 16 | 14 | 87.5%
9980 | 1974 | 1984 | 10 | 17 | 1974 | 1983 | 9 |  | 21 | 13 | 61.9% | 1984 |  |  |  |  | 170 | 26 | 15.29% | 1985 | 1991 | 6 | 7 | 1985 | 1991 | 6 |  | 32 | 26 | 81.25%
9981 | 1980 | 1989 | 9 | 22 | 1980 | 1985 | 5 |  | 15 | 11 | 73.33% | 1986 | 1987 | 1989 |  |  | 274 | 64 | 23.36% | 1990 | 2000 | 10 | 10 | 1990 | 2000 | 10 |  | 18 | 14 | 77.78%

## DATA FOR Ch-1 BB
AVG EFOR | D E4 | ROUND DE4 | GROUP | CMKWDX TOTAL | 7 - 8 | 9 - 12 | 13 - 16 | 17 - 20 | 21 - 25 | 26 - 29 | 30 - 33 | 38 - 44 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
26 | 18 | 18 | 26 - 29 | 94 | [5 empty] | 18
21 | 17 | 17 | 21 - 25 | 96 |  |  |  |  | 17
7 | 4 | 4 | 7 - 8 | 67 | 4 | [7 empty] | 1: 4
26 | 19 | 19 | 26 - 29 | 97 | [5 empty] | 19 |  |  | 1: 19
32 | 20 | 20 | 30 - 33 | 137 | [6 empty] | 20
19 | 14 | 14 | 17 - 20 | 135 |  |  |  | 14
10 | 8 | 8 | 9 - 12 | 191 |  | 8
17 | 11 | 11 | 17 - 20 | 84 |  |  |  | 11
25 | 21 | 21 | 21 - 25 | 162 |  |  |  |  | 21
11 | 8 | 8 | 9 - 12 | 191 |  | 8
23 | 15 | 15 | 21 - 25 | 149 |  |  |  |  | 15
10.5 | 7.5 | 8 | 9 - 12 | 178 |  | 8
18 | 11 | 11 | 17 - 20 | 136 |  |  |  | 11
19 | 12 | 12 | 17 - 20 | 150 |  |  |  | 12
44 | 25 | 25 | 38 - 44 | 325 | [7 empty] | 25
28 | 15 | 15 | 26 - 29 | 108 | [5 empty] | 15
24 | 13 | 13 | 21 - 25 | 110 |  |  |  |  | 13
19 | 14 | 14 | 17 - 20 | 166 |  |  |  | 14
9 | 3 | 3 | 9 - 12 | 96 |  | 3 | [6 empty] | 2: 3
14 | 5 | 5 | 13 - 16 | 79 |  |  | 5 | [5 empty] | 2: 5
17 | 10 | 10 | 17 - 20 | 170 |  |  |  | 10
15 | 7 | 7 | 13 - 16 | 71 |  |  | 7 | [5 empty] | 3: 7
26 | 11 | 11 | 26 - 29 | 225 | [5 empty] | 11 |  |  | 3: 11
10 | 7 | 7 | 9 - 12 | 95 |  | 7 | [6 empty] | 4: 7
21 | 11 | 11 | 21 - 25 | 45 |  |  |  |  | 11 |  |  |  | 4: 11
17 | 9 | 9 | 17 - 20 | 107 |  |  |  | 9
31 | 19 | 19 | 30 - 33 | 161 | [6 empty] | 19
23 | 14 | 14 | 21 - 25 | 154 |  |  |  |  | 14
13 | 10 | 10 | 13 - 16 | 210 |  |  | 10
18 | 10 | 10 | 17 - 20 | 171 |  |  |  | 10
13 | 7 | 7 | 13 - 16 | 75 |  |  | 7 | [5 empty] | 5: 7
31 | 18 | 18 | 30 - 33 | 447 | [6 empty] | 18 |  | 5: 18
18 | 10 | 10 | 17 - 20 | 87 |  |  |  | 10
14 | 11 | 11 | 13 - 16 | 125 |  |  | 11
14 | 6 | 6 | 13 - 16 | 95 |  |  | 6 | [5 empty] | 6: 6
33 | 19 | 19 | 30 - 33 | 236 | [6 empty] | 19 |  | 6: 19
28 | 23 | 23 | 26 - 29 | 107 | [5 empty] | 23
30 | 24 | 24 | 30 - 33 | 230 | [6 empty] | 24
13 | 11 | 11 | 13 - 16 | 155 |  |  | 11
27 | 18 | 18 | 26 - 29 | 211 | [5 empty] | 18
32 | 25 | 25 | 30 - 33 | 142 | [6 empty] | 25
23 | 20 | 20 | 21 - 25 | 216 |  |  |  |  | 20
14 | 12 | 12 | 13 - 16 | 223 |  |  | 12
13 | 8 | 8 | 13 - 16 | 291 |  |  | 8
22 | 18 | 18 | 21 - 25 | 50 |  |  |  |  | 18
15 | 8 | 8 | 13 - 16 | 98 |  |  | 8 | [5 empty] | 7: 8
27 | 12 | 12 | 26 - 29 | 147 | [5 empty] | 12 |  |  | 7: 12
22 | 12 | 12 | 21 - 25 | 274 |  |  |  |  | 12
17 | 11 | 11 | 17 - 20 | 108 |  |  |  | 11
20 | 12 | 12 | 17 - 20 | 127 |  |  |  | 12
30 | 22 | 22 | 30 - 33 | 203 | [6 empty] | 22
19 | 14 | 14 | 17 - 20 | 203 |  |  |  | 14 |  |  |  |  | 8: 14
38 | 19 | 19 | 38 - 44 | 101 | [7 empty] | 19 | 8: 19
11 | 4 | 4 | 9 - 12 | 161 |  | 4

## Chart 1 E4 v Megahaul ALL 11-17
Starting EFOR Categories (%)

## T1 - ALL GROUPS 11-20
ANALYSIS of TRENDS in POWER PLANT COSTS v. RELIABILITY, 1969-2002: COAL PLANTS undertaking MEGAHAULS | [31 empty] | ANALYSIS OF MEGAHAUL COSTS v. IMPROVEMENT in PLANT PERFORMANCE
AER PLANT # | PERIOD prior to MEGAHAUL | [10 empty] | MEGAHAUL INVESTMENT | [7 empty] | PERIOD following MEGAHAUL | [10 empty] | NOT in LIST | AER PLANT # | EFOR |  |  | MEGAHAUL $ (CP + MT) / kW |  | CapAdds (CP) + Maintenance Exp (MT) |  |  | Maintenance Exp (MT)
| EFOR |  |  |  | Spending: CapAdds (CP) + Maintenance Exp (MT) | [6 empty] | MEGAHAUL Spending: CapAdds (CP) + Maintenance Exp (MT) | [7 empty] | EFOR |  |  |  | Spending: CapAdds (CP) + Maintenance Exp (MT) | [8 empty] | Before MEGAHAUL | After MEGAHAUL | Change |  |  | Before MEGAHAUL | After MEGAHAUL | Change | Before MEGAHAUL | After MEGAHAUL | Change
| START YEAR | END YEAR | SPAN | EFOR AVG | START YEAR | END YEAR | SPAN | yrs excl | CP+MT AVG | MT AVG | MT / (CP+MT) | MEGAHAUL YEARS |  |  |  |  | CP+MT TOTAL | MT TOTAL | MT / (CP+MT) | START YEAR | END YEAR | SPAN | EFOR AVG | START YEAR | END YEAR | SPAN | yrs excl | CP+MT AVG | MT AVG | MT / (CP+MT)
[33 empty] | % |  |  | ($/kW) / %pt. chge in EFOR |  | $/kW (2000 = 1.0) |  |  | $/kW (2000 = 1.0)
|  |  | #yrs | % |  |  |  | #yrs | $/kW (2000 = 1.0) |  | % | [5 empty] | $/kW (2000=1.0) |  | % |  |  | #yrs | % |  |  | #yrs |  | $/kW (2000 = 1.0) |  | % |  | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12
[35 empty] | (3) - (2) |  | (5) / (4) |  |  | (8) - (7) |  |  | (11) - (10)
404 | 1977 | 1981 | 4 | 44 | 1973 | 1978 | 5 |  | 20 | 17 | 85% | 1980 | 1981 | 1982 |  |  | 325 | 118 | 36.31% | 1982 | 1990 | 8 | 19 |  |  | 0 | [5 empty] | 404 | 44 | 19 | -25 | 325 | 13 | 20 | N/A |  | 17 | N/A
404 | 1982 | 1990 | 8 | 19 | [7 empty] | 1985 | 1986 | 1987 |  |  | 150 | 88 | 58.67% | 1992 | 2001 | 9 | 7 | 1993 | 2000 | 7 |  | 21 | 14 | 66.67% |  | 404 | 19 | 7 | -12 | 150 | 12.5 | N/A | 21 |  | N/A | 14
656 | 1972 | 1979 | 7 | 26 | 1970 | 1975 | 5 |  | 10 | 8 | 80% | 1976 | 1977 |  |  |  | 97 | 25 | 25.77% | 1980 | 1987 | 7 | 7 | 1978 | 1985 | 7 |  | 20 | 10 | 50% |  | 656 | 26 | 7 | -19 | 97 | 5.1053 | 10 | 20 | 10 | 8 | 10 | 2
656 | 1980 | 1987 | 7 | 7 | 1978 | 1985 | 7 |  | 20 | 14 | 70% | 1986 | 1987 |  |  |  | 67 | 23 | 34.33% | 1988 | 1995 | 7 | 3 | 1988 | 1995 | 7 |  | 18 | 11 | 61.11% |  | 656 | 7 | 3 | -4 | 67 | 16.75 | 20 | 18 | -2 | 14 | 11 | -3
657 | 1991 | 1994 | 3 | 11 | 1991 | 1993 | 2 |  | 21 | 12 | 57.14% | 1994 | 1995 |  |  |  | 161 | 31 | 19.25% | 1995 | 2000 | 5 | 7 | 1995 | 2000 | 5 |  | 21 | 15 | 71.43% | X | 657 | 11 | 7 | -4 | 161 | 40.25 | 21 | 21 | 0 | 12 | 15 | 3
743 | 1989 | 1993 | 4 | 13 | 1987 | 1991 | 4 |  | 19 | 17 | 89.47% | 1992 | 1993 |  |  |  | 291 | 57 | 19.59% | 1994 | 2000 | 6 | 5 | 1994 | 2000 | 6 |  | 22 | 18 | 81.82% | X | 743 | 13 | 5 | -8 | 291 | 36.375 | 19 | 22 | 3 | 17 | 18 | 1
902 | 1978 | 1986 | 8 | 23 | 1978 | 1986 | 8 |  | 24 | 21 | 87.5% | 1989 | 1990 | 1991 |  |  | 216 | 95 | 43.98% | 1988 | 1993 | 5 | 3 |  |  | 0 | [5 empty] | 902 | 23 | 3 | -20 | 216 | 10.8 | 24 | N/A |  | 21 | N/A
906 | 1974 | 1978 | 4 | 10.5 | 1970 | 1977 | 7 |  | 10 | 9 | 90% | 1978 | 1979 |  |  |  | 178 | 38 | 21.35% | 1980 | 1993 | 13 | 3 | 1980 | 1993 | 13 |  | 15 | 13 | 86.67% |  | 906 | 10.5 | 3 | -7.5 | 178 | 23.7333 | 10 | 15 | 5 | 9 | 13 | 4
912 | 1973 | 1984 | 11 | 31 | 1972 | 1980 | 8 | ex 1978 | 19 | 17 | 89.47% | 1978 | 1981 | 1982 | 1983 | 1984 | 447 | 92 | 20.58% | 1988 | 1991 | 3 | 13 | 1987 | 1991 | 4 |  | 21 | 16 | 76.19% |  | 912 | 31 | 13 | -18 | 447 | 24.8333 | 19 | 21 | 2 | 17 | 16 | -1
912 | 1988 | 1991 | 3 | 13 | 1987 | 1991 | 4 | ex 1990 | 21 | 16 | 76.19% | 1990 | 1992 |  |  |  | 75 | 33 | 44% | 1992 | 2000 | 8 | 6 | 1993 | 1999 | 6 |  | 18 | 13 | 72.22% |  | 912 | 13 | 6 | -7 | 75 | 10.7143 | 21 | 18 | -3 | 16 | 13 | -3
1359 | 1980 | 1985 | 5 | 24 | 1980 | 1985 | 5 |  | 17 | 13 | 76.47% | 1986 | 1987 | 1988 |  |  | 110 | 58 | 52.73% | 1986 | 1995 | 9 | 11 | 1989 | 1995 | 6 |  | 18 | 13 | 72.22% | X | 1359 | 24 | 11 | -13 | 110 | 8.4615 | 17 | 18 | 1 | 13 | 13 | 0
2105 | 1976 | 1982 | 6 | 22 | 1976 | 1980 | 4 |  | 17 | 14 | 82.35% | 1981 |  |  |  |  | 50 | 14 | 28% | 1983 | 2000 | 17 | 4 | 1983 | 2000 | 17 |  | 16 | 13 | 81.25% | X | 2105 | 22 | 4 | -18 | 50 | 2.7778 | 17 | 16 | -1 | 14 | 13 | -1
2158 | 1974 | 1981 | 7 | 18 | 1973 | 1979 | 6 |  | 12 | 9 | 75% | 1981 |  |  |  |  | 87 | 10 | 11.49% | 1985 | 2000 | 15 | 8 | 1985 | 2000 | 15 |  | 20 | 12 | 60% |  | 2158 | 18 | 8 | -10 | 87 | 8.7 | 12 | 20 | 8 | 9 | 12 | 3
2433 | 1976 | 1982 | 6 | 38 | 1976 | 1981 | 5 |  | 23 | 17 | 73.91% | 1982 |  |  |  |  | 101 | 13 | 12.87% | 1983 | 1994 | 11 | 19 | 1983 | 1994 | 11 |  | 14 | 8 | 57.14% | X | 2433 | 38 | 19 | -19 | 101 | 5.3158 | 23 | 14 | -9 | 17 | 8 | -9
2433 | 1983 | 1994 | 11 | 19 | 1983 | 1994 | 11 |  | 14 | 8 | 57.14% | 1995 | 1996 |  |  |  | 203 | 17 | 8.374% | 1995 | 2001 | 6 | 5 | 1997 | 1999 | 2 |  | 20 | 9 | 45% | X | 2433 | 19 | 5 | -14 | 203 | 14.5 | 14 | 20 | 6 | 8 | 9 | 1
2620 | 1992 | 2000 | 8 | 10 | 1992 | 1997 | 5 |  | 20 | 13 | 65% | 1999 | 2000 |  |  |  | 191 | 28 | 14.66% | 2001 | 2002 | 1 | 2 | [7 empty] | X | 2620 | 10 | 2 | -8 | 191 | 23.875 | 20 | N/A |  | 13 | N/A
2898 | 1974 | 1982 | 8 | 32 | 1974 | 1982 | 8 | ex 1981 | 18 | 14 | 77.78% | 1981 | 1983 |  |  |  | 142 | 55 | 38.73% | 1985 | 1995 | 10 | 7 | 1985 | 1995 | 10 |  | 32 | 19 | 59.38% |  | 2898 | 32 | 7 | -25 | 142 | 5.68 | 18 | 32 | 14 | 14 | 19 | 5
2922 | 1974 | 1982 | 8 | 27 | 1972 | 1977 | 5 |  | 16 | 13 | 81.25% | 1978 | 1979 | 1981 |  |  | 211 | 52 | 24.64% | 1983 | 1997 | 14 | 9 | 1982 | 1997 | 15 |  | 22 | 15 | 68.18% | X | 2922 | 27 | 9 | -18 | 211 | 11.7222 | 16 | 22 | 6 | 13 | 15 | 2
2952 | 1982 | 1988 | 6 | 17 | 1981 | 1985 | 4 |  | 13 | 10 | 76.92% | 1986 | 1987 | 1988 |  |  | 108 | 55 | 50.93% | 1989 | 1997 | 8 | 6 | 1989 | 1997 | 8 |  | 15 | 12 | 80% | X | 2952 | 17 | 6 | -11 | 108 | 9.8182 | 13 | 15 | 2 | 10 | 12 | 2
3045 | 1973 | 1981 | 8 | 11 |  |  | 0 |  |  |  |  | 1973 | 1975 | 1978 | 1980 |  | 191 | 79 | 41.36% | 1982 | 1996 | 14 | 3 | 1982 | 1996 | 14 |  | 21 | 18 | 85.71% |  | 3045 | 11 | 3 | -8 | 191 | 23.875 | N/A | 21 |  | N/A | 18
3129 | 1973 | 1979 | 6 | 27 | 1973 | 1977 | 4 |  | 19 | 12 | 63.16% | 1978 |  |  |  |  | 147 | 14 | 9.524% | 1980 | 1986 | 6 | 15 | 1979 | 1983 | 4 |  | 25 | 20 | 80% | X | 3129 | 27 | 15 | -12 | 147 | 12.25 | 19 | 25 | 6 | 12 | 20 | 8
3129 | 1980 | 1986 | 6 | 15 | 1979 | 1983 | 4 |  | 25 | 20 | 80% | 1984 | 1985 | 1986 |  |  | 98 | 79 | 80.61% | 1987 | 1999 | 12 | 7 | 1987 | 1999 | 12 |  | 17 | 14 | 82.35% | X | 3129 | 15 | 7 | -8 | 98 | 12.25 | 25 | 17 | -8 | 20 | 14 | -6
3387 | 1985 | 1991 | 6 | 30 | 1985 | 1991 | 6 |  | 23 | 11 | 47.83% | 1993 | 1994 | 1995 |  |  | 203 | 21 | 10.34% | 1993 | 2000 | 7 | 8 | 1996 | 2000 | 4 | ex 1997 | 24 | 13 | 54.17% | X | 3387 | 30 | 8 | -22 | 203 | 9.2273 | 23 | 24 | 1 | 11 | 13 | 2
3401 | 1988 | 1990 | 2 | 19 | 1985 | 1989 | 4 |  | 13 | 12 | 92.31% | 1990 | 1991 |  |  |  | 135 | 42 | 31.11% | 1991 | 1998 | 7 | 5 | 1994 | 1998 | 4 |  | 20 | 8 | 40% |  | 3401 | 19 | 5 | -14 | 135 | 9.6429 | 13 | 20 | 7 | 12 | 8 | -4
3411 | 1982 | 1989 | 7 | 13 | 1982 | 1988 | 6 | ex 1987 | 17 | 15 | 88.24% | 1987 | 1990 | 1991 | 1994 |  | 155 | 52 | 33.55% | 1992 | 2000 | 8 | 2 | 1992 | 2000 | 8 |  | 17 | 11 | 64.71% |  | 3411 | 13 | 2 | -11 | 155 | 14.0909 | 17 | 17 | 0 | 15 | 11 | -4
3535 | 1980 | 1991 | 11 | 19 |  |  | 0 |  |  |  |  | 1991 | 1992 | 1994 |  |  | 166 | 69 | 41.57% | 1992 | 1998 | 6 | 5 | 1995 | 1998 | 3 |  | 21 | 19 | 90.48% |  | 3535 | 19 | 5 | -14 | 166 | 11.8571 | N/A | 21 |  | N/A | 19
4441 | 1973 | 1982 | 9 | 32 | 1973 | 1981 | 8 |  | 20 | 14 | 70% | 1982 | 1983 |  |  |  | 137 | 24 | 17.52% | 1983 | 1992 | 9 | 12 | 1984 | 1992 | 8 |  | 11 | 9 | 81.82% | X | 4441 | 32 | 12 | -20 | 137 | 6.85 | 20 | 11 | -9 | 14 | 9 | -5
4660 | 1975 | 1980 | 5 | 28 | 1975 | 1978 | 3 |  | 16 | 11 | 68.75% | 1979 | 1982 |  |  |  | 107 | 25 | 23.36% | 1982 | 1992 | 10 | 5 | 1983 | 1992 | 9 |  | 15 | 9 | 60% |  | 4660 | 28 | 5 | -23 | 107 | 4.6522 | 16 | 15 | -1 | 11 | 9 | -2
5325 | 1984 | 1991 | 7 | 28 | 1984 | 1991 | 7 |  | 17 | 10 | 58.82% | 1992 | 1993 | 1994 |  |  | 108 | 31 | 28.7% | 1992 | 2000 | 8 | 13 | 1995 | 2000 | 5 |  | 21 | 12 | 57.14% | X | 5325 | 28 | 13 | -15 | 108 | 7.2 | 17 | 21 | 4 | 10 | 12 | 2
5333 | 1974 | 1983 | 9 | 21 | 1974 | 1982 | 8 |  | 19 | 12 | 63.16% | 1983 |  |  |  |  | 45 | 13 | 28.89% | 1984 | 1994 | 10 | 10 | 1984 | 1993 | 9 |  | 23 | 14 | 60.87% |  | 5333 | 21 | 10 | -11 | 45 | 4.0909 | 19 | 23 | 4 | 12 | 14 | 2
5333 | 1984 | 1994 | 10 | 10 | 1984 | 1993 | 9 |  | 23 | 14 | 60.87% | 1993 | 1994 |  |  |  | 95 | 30 | 31.58% | 1995 | 2002 | 7 | 3 | 1995 | 2000 | 5 |  | 15 | 11 | 73.33% |  | 5333 | 10 | 3 | -7 | 95 | 13.5714 | 23 | 15 | -8 | 14 | 11 | -3
5535 | 1972 | 1982 | 10 | 25 | 1970 | 1977 | 7 |  | 13 | 10 | 76.92% | 1978 | 1979 | 1982 |  |  | 162 | 46 | 28.4% | 1986 | 1995 | 9 | 4 | 1986 | 1995 | 9 |  | 15 | 13 | 86.67% |  | 5535 | 25 | 4 | -21 | 162 | 7.7143 | 13 | 15 | 2 | 10 | 13 | 3
5802 | 1993 | 1997 | 4 | 14 | 1992 | 1995 | 3 |  | 12 | 12 | 100% | 1996 | 1997 | 1998 |  |  | 223 | 37 | 16.59% | 1999 | 2002 | 3 | 2 | 1999 | 2000 | 1 |  | 21 | 17 | 80.95% | X | 5802 | 14 | 2 | -12 | 223 | 18.5833 | 12 | 21 | 9 | 12 | 17 | 5
5950 | 1972 | 1983 | 11 | 30 | 1972 | 1981 | 9 |  | 16 | 12 | 75% | 1982 | 1983 | 1984 | 1985 |  | 230 | 78 | 33.91% | 1988 | 1997 | 9 | 6 | 1986 | 1997 | 11 | ex 1992 | 18 | 15 | 83.33% | X | 5950 | 30 | 6 | -24 | 230 | 9.5833 | 16 | 18 | 2 | 12 | 15 | 3
6061 | 1979 | 1984 | 5 | 18 | 1979 | 1984 | 5 |  | 28 | 20 | 71.43% | 1986 | 1987 | 1988 | 1989 |  | 171 | 80 | 46.78% | 1985 | 2001 | 16 | 8 | 1990 | 2000 | 10 |  | 20 | 15 | 75% | X | 6061 | 18 | 8 | -10 | 171 | 17.1 | 28 | 20 | -8 | 20 | 15 | -5
6346 | 1974 | 1981 | 7 | 21 | 1974 | 1984 | 10 |  | 23 | 16 | 69.57% | 1985 | 1986 |  |  |  | 96 | 36 | 37.5% | 1984 | 1996 | 12 | 4 | 1987 | 1996 | 9 |  | 22 | 15 | 68.18% |  | 6346 | 21 | 4 | -17 | 96 | 5.6471 | 23 | 22 | -1 | 16 | 15 | -1
7516 | 1973 | 1986 | 13 | 14 | 1973 | 1982 | 9 |  | 15 | 10 | 66.67% | 1983 | 1985 |  |  |  | 79 | 37 | 46.84% | 1987 | 1993 | 6 | 9 | 1986 | 1993 | 7 |  | 23 | 15 | 65.22% |  | 7516 | 14 | 9 | -5 | 79 | 15.8 | 15 | 23 | 8 | 10 | 15 | 5
7516 | 1987 | 1993 | 6 | 9 | 1986 | 1993 | 7 |  | 23 | 15 | 65.22% | 1994 | 1995 |  |  |  | 96 | 21 | 21.88% | 1995 | 2000 | 5 | 6 | 1996 | 2000 | 4 |  | 20 | 8 | 40% |  | 7516 | 9 | 6 | -3 | 96 | 32 | 23 | 20 | -3 | 15 | 8 | -7
7819 | 1976 | 1985 | 9 | 20 | 1976 | 1983 | 7 |  | 21 | 17 | 80.95% | 1984 | 1985 | 1986 |  |  | 127 | 75 | 59.06% | 1987 | 1994 | 7 | 8 | 1987 | 1994 | 7 |  | 27 | 17 | 62.96% | X | 7819 | 20 | 8 | -12 | 127 | 10.5833 | 21 | 27 | 6 | 17 | 17 | 0
7855 | 1990 | 1996 | 6 | 23 | 1988 | 1994 | 6 |  | 20 | 15 | 75% | 1995 | 1996 | 1997 |  |  | 154 | 53 | 34.42% | 1997 | 2002 | 5 | 9 |  |  | 0 | [5 empty] | 7855 | 23 | 9 | -14 | 154 | 11 | 20 | N/A |  | 15 | N/A
8087 | 1979 | 1986 | 7 | 33 | 1979 | 1986 | 7 |  | 33 | 27 | 81.82% | 1987 | 1988 | 1989 |  |  | 236 | 77 | 32.63% | 1990 | 1992 | 2 | 14 | 1990 | 1992 | 2 |  | 23 | 16 | 69.57% |  | 8087 | 33 | 14 | -19 | 236 | 12.4211 | 33 | 23 | -10 | 27 | 16 | -11
8087 | 1990 | 1992 | 2 | 14 | 1990 | 1992 | 2 |  | 23 | 16 | 69.57% | 1993 | 1994 |  |  |  | 95 | 35 | 36.84% | 1995 | 2000 | 5 | 8 | 1994 | 1998 | 4 |  | 19 | 14 | 73.68% |  | 8087 | 14 | 8 | -6 | 95 | 15.8333 | 23 | 19 | -4 | 16 | 14 | -2
8163 | 1974 | 1980 | 6 | 26 | 1970 | 1975 | 5 |  | 16 | 10 | 62.5% | 1976 | 1977 | 1978 |  |  | 225 | 34 | 15.11% | 1981 | 1984 | 3 | 15 | 1979 | 1981 | 2 |  | 17 | 16 | 94.12% | X | 8163 | 26 | 15 | -11 | 225 | 20.4545 | 16 | 17 | 1 | 10 | 16 | 6
8163 | 1981 | 1984 | 3 | 15 | 1979 | 1981 | 2 |  | 17 | 16 | 94.12% | 1982 |  |  |  |  | 71 | 14 | 19.72% | 1985 | 1994 | 9 | 8 | 1983 | 1994 | 11 |  | 20 | 17 | 85% | X | 8163 | 15 | 8 | -7 | 71 | 10.1429 | 17 | 20 | 3 | 16 | 17 | 1
8478 | 1974 | 1981 | 7 | 18 | 1978 | 1981 | 3 |  | 16 | 10 | 62.5% | 1973 | 1975 | 1982 |  |  | 136 | 38 | 27.94% | 1982 | 1995 | 13 | 7 | 1987 | 1995 | 8 |  | 18 | 14 | 77.78% |  | 8478 | 18 | 7 | -11 | 136 | 12.3636 | 16 | 18 | 2 | 10 | 14 | 4
8963 | 1972 | 1984 | 12 | 17 | 1971 | 1976 | 5 |  | 20 | 11 | 55% | 1978 | 1979 |  |  |  | 84 | 34 | 40.48% | 1985 | 1993 | 8 | 6 | 1985 | 1993 | 8 |  | 23 | 16 | 69.57% |  | 8963 | 17 | 6 | -11 | 84 | 7.6364 | 20 | 23 | 3 | 11 | 16 | 5
9086 | 1987 | 1997 | 10 | 31 | 1985 | 1993 | 8 |  | 20 | 17 | 85% | 1994 | 1995 | 1996 |  |  | 161 | 76 | 47.2% | 1998 | 2002 | 4 | 12 |  |  | 0 | [5 empty] | 9086 | 31 | 12 | -19 | 161 | 8.4737 | 20 | N/A |  | 17 | N/A
9168 | 1989 | 1994 | 5 | 17 | 1986 | 1991 | 5 |  | 19 | 15 | 78.95% | 1992 | 1993 | 1994 |  |  | 107 | 46 | 42.99% | 1995 | 1999 | 4 | 8 | 1995 | 1999 | 4 |  | 22 | 16 | 72.73% |  | 9168 | 17 | 8 | -9 | 107 | 11.8889 | 19 | 22 | 3 | 15 | 16 | 1
9415 | 1989 | 1996 | 7 | 23 | 1989 | 1995 | 6 |  | 29 | 18 | 62.07% | 1996 |  |  |  |  | 149 | 26 | 17.45% | 1997 | 1999 | 2 | 8 | 1997 | 1999 | 2 |  | 24 | 18 | 75% |  | 9415 | 23 | 8 | -15 | 149 | 9.9333 | 29 | 24 | -5 | 18 | 18 | 0
9489 | 1977 | 1990 | 13 | 13 | 1977 | 1990 | 13 |  | 15 | 12 | 80% | 1991 | 1992 | 1994 |  |  | 210 | 31 | 14.76% | 1991 | 2001 | 10 | 3 | 1995 | 2000 | 5 |  | 14 | 10 | 71.43% |  | 9489 | 13 | 3 | -10 | 210 | 21 | 15 | 14 | -1 | 12 | 10 | -2
9871 | 1972 | 1977 | 5 | 26 | 1972 | 1974 | 2 |  | 13 | 9 | 69.23% | 1975 | 1976 |  |  |  | 94 | 27 | 28.72% | 1979 | 1984 | 5 | 8 | 1977 | 1984 | 7 |  | 22 | 16 | 72.73% |  | 9871 | 26 | 8 | -18 | 94 | 5.2222 | 13 | 22 | 9 | 9 | 16 | 7
9969 | 1975 | 1979 | 4 | 14 | 1975 | 1979 | 4 |  | 15 | 14 | 93.33% | 1980 |  |  |  |  | 125 | 24 | 19.2% | 1981 | 2000 | 19 | 3 | 1981 | 2000 | 19 |  | 16 | 14 | 87.5% |  | 9969 | 14 | 3 | -11 | 125 | 11.3636 | 15 | 16 | 1 | 14 | 14 | 0
9980 | 1974 | 1984 | 10 | 17 | 1974 | 1983 | 9 |  | 21 | 13 | 61.9% | 1984 |  |  |  |  | 170 | 26 | 15.29% | 1985 | 1991 | 6 | 7 | 1985 | 1991 | 6 |  | 32 | 26 | 81.25% |  | 9980 | 17 | 7 | -10 | 170 | 17 | 21 | 32 | 11 | 13 | 26 | 13
9981 | 1980 | 1989 | 9 | 22 | 1980 | 1985 | 5 |  | 15 | 11 | 73.33% | 1986 | 1987 | 1989 |  |  | 274 | 64 | 23.36% | 1990 | 2000 | 10 | 10 | 1990 | 2000 | 10 |  | 18 | 14 | 77.78% |  | 9981 | 22 | 10 | -12 | 274 | 22.8333 | 15 | 18 | 3 | 11 | 14 | 3

## data for Ch2-ALL
orisort |  | START E4 | CHGE E4 | END E4 | $/kW / % chge in e4 | CP+MT TOTAL | orisort |  |  | START E4 | CHGE E4 | END E4 | $/kW / % chge in e4 | CP+MT TOTAL |  | START E4 | CHGE E4 | END E4 | $/kW / % chge in e4 | CP+MT TOTAL
1 | 404 | 44 | 25 | 19 | 13 | 325 | 1 | x | 404 | 44 | 25 | 19 | 13 | 325 | 404 | 44 | 37 | 7 | 12.8378 | 475
2 | 404 | 19 | 12 | 7 | 12.5 | 150 | 2 | x | 404 | 19 | 12 | 7 | 12.5 | 150
3 | 656 | 26 | 19 | 7 | 5.1053 | 97 | 3 | x | 656 | 26 | 19 | 7 | 5.1053 | 97 | 656 | 26 | 23 | 3 | 7.1304 | 164
4 | 656 | 7 | 4 | 3 | 16.75 | 67 | 4 | x | 656 | 7 | 4 | 3 | 16.75 | 67
5 | 657 | 11 | 4 | 7 | 40.25 | 161 | 9 | x | 912 | 31 | 18 | 13 | 24.8333 | 447 | 912 | 31 | 25 | 6 | 20.88 | 522
6 | 743 | 13 | 8 | 5 | 36.375 | 291 | 10 | x | 912 | 13 | 7 | 6 | 10.7143 | 75
7 | 902 | 23 | 20 | 3 | 10.8 | 216 | 14 | x | 2433 | 38 | 19 | 19 | 5.3158 | 101
8 | 906 | 10.5 | 7.5 | 3 | 23.7333 | 178 | 15 | x | 2433 | 19 | 14 | 5 | 14.5 | 203
9 | 912 | 31 | 18 | 13 | 24.8333 | 447 | 21 | x | 3129 | 27 | 12 | 15 | 12.25 | 147
10 | 912 | 13 | 7 | 6 | 10.7143 | 75 | 22 | x | 3129 | 15 | 8 | 7 | 12.25 | 98
11 | 1359 | 24 | 13 | 11 | 8.4615 | 110 | 30 | x | 5333 | 21 | 11 | 10 | 4.0909 | 45
12 | 2105 | 22 | 18 | 4 | 2.7778 | 50 | 31 | x | 5333 | 10 | 7 | 3 | 13.5714 | 95
13 | 2158 | 18 | 10 | 8 | 8.7 | 87 | 37 | x | 7516 | 14 | 5 | 9 | 15.8 | 79
14 | 2433 | 38 | 19 | 19 | 5.3158 | 101 | 38 | x | 7516 | 9 | 3 | 6 | 32 | 96
15 | 2433 | 19 | 14 | 5 | 14.5 | 203 | 41 | x | 8087 | 33 | 19 | 14 | 12.4211 | 236
16 | 2620 | 10 | 8 | 2 | 23.875 | 191 | 42 | x | 8087 | 14 | 6 | 8 | 15.8333 | 95
17 | 2898 | 32 | 25 | 7 | 5.68 | 142 | 43 | x | 8163 | 26 | 11 | 15 | 20.4545 | 225
18 | 2922 | 27 | 18 | 9 | 11.7222 | 211 | 44 | x | 8163 | 15 | 7 | 8 | 10.1429 | 71
19 | 2952 | 17 | 11 | 6 | 9.8182 | 108 | 5 |  | 657 | 11 | 4 | 7 | 40.25 | 161
20 | 3045 | 11 | 8 | 3 | 23.875 | 191 | 6 |  | 743 | 13 | 8 | 5 | 36.375 | 291
21 | 3129 | 27 | 12 | 15 | 12.25 | 147 | 7 |  | 902 | 23 | 20 | 3 | 10.8 | 216
22 | 3129 | 15 | 8 | 7 | 12.25 | 98 | 8 |  | 906 | 10.5 | 7.5 | 3 | 23.7333 | 178
23 | 3387 | 30 | 22 | 8 | 9.2273 | 203 | 11 |  | 1359 | 24 | 13 | 11 | 8.4615 | 110
24 | 3401 | 19 | 14 | 5 | 9.6429 | 135 | 12 |  | 2105 | 22 | 18 | 4 | 2.7778 | 50
25 | 3411 | 13 | 11 | 2 | 14.0909 | 155 | 13 |  | 2158 | 18 | 10 | 8 | 8.7 | 87
26 | 3535 | 19 | 14 | 5 | 11.8571 | 166 | 16 |  | 2620 | 10 | 8 | 2 | 23.875 | 191
27 | 4441 | 32 | 20 | 12 | 6.85 | 137 | 17 |  | 2898 | 32 | 25 | 7 | 5.68 | 142
28 | 4660 | 28 | 23 | 5 | 4.6522 | 107 | 18 |  | 2922 | 27 | 18 | 9 | 11.7222 | 211
29 | 5325 | 28 | 15 | 13 | 7.2 | 108 | 19 |  | 2952 | 17 | 11 | 6 | 9.8182 | 108
30 | 5333 | 21 | 11 | 10 | 4.0909 | 45 | 20 |  | 3045 | 11 | 8 | 3 | 23.875 | 191
31 | 5333 | 10 | 7 | 3 | 13.5714 | 95 | 23 |  | 3387 | 30 | 22 | 8 | 9.2273 | 203
32 | 5535 | 25 | 21 | 4 | 7.7143 | 162 | 24 |  | 3401 | 19 | 14 | 5 | 9.6429 | 135
33 | 5802 | 14 | 12 | 2 | 18.5833 | 223 | 25 |  | 3411 | 13 | 11 | 2 | 14.0909 | 155
34 | 5950 | 30 | 24 | 6 | 9.5833 | 230 | 26 |  | 3535 | 19 | 14 | 5 | 11.8571 | 166
35 | 6061 | 18 | 10 | 8 | 17.1 | 171 | 27 |  | 4441 | 32 | 20 | 12 | 6.85 | 137
36 | 6346 | 21 | 17 | 4 | 5.6471 | 96 | 28 |  | 4660 | 28 | 23 | 5 | 4.6522 | 107
37 | 7516 | 14 | 5 | 9 | 15.8 | 79 | 29 |  | 5325 | 28 | 15 | 13 | 7.2 | 108
38 | 7516 | 9 | 3 | 6 | 32 | 96 | 32 |  | 5535 | 25 | 21 | 4 | 7.7143 | 162
39 | 7819 | 20 | 12 | 8 | 10.5833 | 127 | 33 |  | 5802 | 14 | 12 | 2 | 18.5833 | 223
40 | 7855 | 23 | 14 | 9 | 11 | 154 | 34 |  | 5950 | 30 | 24 | 6 | 9.5833 | 230
41 | 8087 | 33 | 19 | 14 | 12.4211 | 236 | 35 |  | 6061 | 18 | 10 | 8 | 17.1 | 171
42 | 8087 | 14 | 6 | 8 | 15.8333 | 95 | 36 |  | 6346 | 21 | 17 | 4 | 5.6471 | 96
43 | 8163 | 26 | 11 | 15 | 20.4545 | 225 | 39 |  | 7819 | 20 | 12 | 8 | 10.5833 | 127
44 | 8163 | 15 | 7 | 8 | 10.1429 | 71 | 40 |  | 7855 | 23 | 14 | 9 | 11 | 154
45 | 8478 | 18 | 11 | 7 | 12.3636 | 136 | 45 |  | 8478 | 18 | 11 | 7 | 12.3636 | 136
46 | 8963 | 17 | 11 | 6 | 7.6364 | 84 | 46 |  | 8963 | 17 | 11 | 6 | 7.6364 | 84
47 | 9086 | 31 | 19 | 12 | 8.4737 | 161 | 47 |  | 9086 | 31 | 19 | 12 | 8.4737 | 161
48 | 9168 | 17 | 9 | 8 | 11.8889 | 107 | 48 |  | 9168 | 17 | 9 | 8 | 11.8889 | 107
49 | 9415 | 23 | 15 | 8 | 9.9333 | 149 | 49 |  | 9415 | 23 | 15 | 8 | 9.9333 | 149
50 | 9489 | 13 | 10 | 3 | 21 | 210 | 50 |  | 9489 | 13 | 10 | 3 | 21 | 210
51 | 9871 | 26 | 18 | 8 | 5.2222 | 94 | 51 |  | 9871 | 26 | 18 | 8 | 5.2222 | 94
52 | 9969 | 14 | 11 | 3 | 11.3636 | 125 | 52 |  | 9969 | 14 | 11 | 3 | 11.3636 | 125
53 | 9980 | 17 | 10 | 7 | 17 | 170 | 53 |  | 9980 | 17 | 10 | 7 | 17 | 170
54 | 9981 | 22 | 12 | 10 | 22.8333 | 274 | 54 |  | 9981 | 22 | 12 | 10 | 22.8333 | 274