## 2013
Unit | Activity | Description of Project/Job | Budget Dollars | Tier 1 - High | Tier 1 - Medium | Tier 1 - Low | Tier 2 - High | Tier 2 - Medium | Tier 2 - Low | Tier 3 - High | Tier 3 - Medium | Tier 3 - Low | % Contract Labor | % Material | % Expenses (Other) | % Rental | Months to Spread
| F1M | MANAGEMENT-OVERSEE PERSONNEL&TASKS | 118500 | 83500 | 0 | 0 | 0 | 0 | 0 | 35000 | 0 | 0 |  |  | 100% |  | Evenly
Common | F1M | Miscellaneous Expenses - EAL | 25000 | 25000 | [10 empty] | 100% |  | Evenly
Common | F1M | Office Supplies - EEX | 8000 | 8000 | [10 empty] | 100% |  | Evenly
Common | F1M | Hotel Travel Costs - EHT | 15000 | 15000 | [10 empty] | 100% |  | Evenly
Common | F1M | Meal Travel Costs - EMN | 9000 | 9000 | [10 empty] | 100% |  | Evenly
Common | F1M | Catered Meals - EMW | 35000 | [6 empty] | 35000 |  |  |  |  | 100% |  | Evenly
Common | F1M | Rental Car Costs - ERV | 18000 | 18000 | [10 empty] | 100% |  | Evenly
Common | F1M | Allowed Covered Mileage - ETA | 2000 | 2000 | [10 empty] | 100% |  | Evenly
Common | F1M | Non-Covered Mileage Reimbursement - ETV | 5000 | 5000 | [10 empty] | 100% |  | Evenly
Common | F1M | Utility Costs - EUT | 1500 | 1500 | [10 empty] | 100% |  | Evenly
| F22 | HUMAN RESOURCES | 3000 | 0 | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F22 | Hotel Travel Costs - EHT | 1000 |  | 1000 | [9 empty] | 100% |  | Evenly
Common | F22 | Rental Car Costs - ERV | 1000 |  | 1000 | [9 empty] | 100% |  | Evenly
Common | F22 | Non-Covered Mileage Reimbursement - ETV | 1000 |  | 1000 | [9 empty] | 100% |  | Evenly
| F23 | GENERAL-DEVELOP NEW COMPUTER | 45000 | 0 | 45000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F23 | Southern Linc Expenses - EAL | 2000 |  | 2000 | [9 empty] | 100% |  | Evenly
Common | F23 | Computer Service Call Outs - EEX | 40000 |  | 40000 | [9 empty] | 100% |  | Evenly
Common | F23 | Plant Computer Equipment - MDP | 3000 |  | 3000 | [8 empty] | 100% |  |  | Evenly
| F24 | SECURITY | 160000 | 160000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F24 | Security Vehicle Costs | 5000 | 5000 | [10 empty] | 100% |  | Evenly
Common | F24 | Securitas Security Costs | 155000 | 155000 | [8 empty] | 100% |  |  |  | Evenly
| F34 | COMPLIANCE-ENVIRONMENTAL | 75000 | 75000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F34 | NPDES Sampling - KCS | 7000 | 7000 | [8 empty] | 100% |  |  |  | Evenly
Common | F34 | NPDES Sampling - KLN | 2000 | 2000 | [8 empty] | 100% |  |  |  | Evenly
Common | F34 | Stormwater Maintenance - KLO | 45000 | 45000 | [8 empty] | 100% |  |  |  | Quarterly
Common | F34 | Compliance Testing - KLS | 1000 | 1000 | [8 empty] | 100% |  |  |  | Evenly
Common | F34 | Fuel Flow Meter Calibrations - MCM | 10000 | 10000 | [9 empty] | 100% |  |  | Evenly
Common | F34 | Well Flow Meter Calibrations - MDP | 10000 | 10000 | [9 empty] | 100% |  |  | Summer
| F35 | COMPLIANCE-OTHER | 102000 | 102000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F35 | Wellness Expenses - EAL | 15000 | 15000 | [10 empty] | 100% |  | Evenly
Common | F35 | Safety Expenses - EEX | 3000 | 3000 | [10 empty] | 100% |  | Evenly
Common | F35 | Hotel Travel Costs - EHT | 3000 | 3000 | [10 empty] | 100% |  | Evenly
Common | F35 | Meal Travel Costs - EMN | 2000 | 2000 | [10 empty] | 100% |  | Evenly
Common | F35 | Rental Car Costs - ERV | 3000 | 3000 | [10 empty] | 100% |  | Evenly
Common | F35 | Rescue Training - KCS | 6000 | 6000 | [8 empty] | 100% |  |  |  | Evenly
Common | F35 | Safety Equipment - MDP | 70000 | 70000 | [9 empty] | 100% |  |  | Evenly
| F3R | Regional Planning Charges | 370416 | 370416 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F3R | Regional Support - SAP | 370416 | 370416 | [10 empty] | 100% |  | Evenly
| F38 | CONDITION BASED MAINTENANCE | 15000 | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unit 1 | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 4500 | 4500 | [8 empty] | 100% |  |  |  | Evenly
Unit 2 | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 4500 | 4500 | [8 empty] | 100% |  |  |  | Evenly
CT | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 500 | 500 | [8 empty] | 100% |  |  |  | Evenly
Unit 3 | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 3000 | 3000 | [8 empty] | 100% |  |  |  | Evenly
Common | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 2500 | 2500 | [8 empty] | 100% |  |  |  | Evenly
| F41 | PURCHASING | 20000 | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F41 | Postage and Mailing Fees - EPS | 20000 | 20000 | [10 empty] | 100% |  | Evenly
| F43 | MATERIALS HANDLING | 35000 | 0 | 35000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F43 | inventory Adjustments - MMN | 35000 |  | 35000 | [8 empty] | 100% |  |  | Evenly
| F52 | FUEL MANAGEMENT | 20000 | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F52 | Coal Analysis - KCS | 20000 | 20000 | [8 empty] | 100% |  |  |  | Evenly
| F61E | ATTENDEE-COMPLIANCE-EXTERNAL | 2000 | 0 | 0 | 2000 | 0 | 0 | 0 | 0 | 0 | 0
Common | F61E | Hotel Travel Costs - EHT | 1000 |  |  | 1000 | [8 empty] | 100% |  | Evenly
Common | F61E | Meal Travel Costs - EMN | 500 |  |  | 500 | [8 empty] | 100% |  | Evenly
Common | F61E | Rental Car Costs - ERV | 500 |  |  | 500 | [8 empty] | 100% |  | Evenly
| F61I | ATTENDEE-COMPLIANCE-EXTERNAL | 1500 | 0 | 0 | 1500 | 0 | 0 | 0 | 0 | 0 | 0
Common | F61I | Hotel Travel Costs - EHT | 500 |  |  | 500 | [8 empty] | 100% |  | Evenly
Common | F61I | Meal Travel Costs - EMN | 500 |  |  | 500 | [8 empty] | 100% |  | Evenly
Common | F61I | Rental Car Costs - ERV | 500 |  |  | 500 | [8 empty] | 100% |  | Evenly
| F62E | ATTENDEE NONTECHNICAL-EXTERNAL | 36500 | 0 | 0 | 36500 | 0 | 0 | 0 | 0 | 0 | 0
Common | F62E | Hotel Travel Costs - EHT | 10000 |  |  | 10000 | [8 empty] | 100% |  | Evenly
Common | F62E | Meal Travel Costs - EMN | 1500 |  |  | 1500 | [8 empty] | 100% |  | Evenly
Common | F62E | Rental Car Costs - ERV | 5000 |  |  | 5000 | [8 empty] | 100% |  | Evenly
Common | F62E | Training Fees - ETC | 20000 |  |  | 20000 | [8 empty] | 100% |  | Evenly
| F62I | ATTENDEE NONTECHNICAL-INTERNAL | 31500 | 0 | 0 | 31500 | 0 | 0 | 0 | 0 | 0 | 0
Common | F62I | Hotel Travel Costs - EHT | 10000 |  |  | 10000 | [8 empty] | 100% |  | Evenly
Common | F62I | Meal Travel Costs - EMN | 500 |  |  | 500 | [8 empty] | 100% |  | Evenly
Common | F62I | Rental Car Costs - ERV | 1000 |  |  | 1000 | [8 empty] | 100% |  | Evenly
Common | F62I | Training Fees - ETC | 20000 |  |  | 20000 | [8 empty] | 100% |  | Evenly
| F63E | ATTENDEE-TECHNICAL-EXTERNAL | 43500 | 0 | 0 | 43500 | 0 | 0 | 0 | 0 | 0 | 0
Common | F63E | Hotel Travel Costs - EHT | 15500 |  |  | 15500 | [8 empty] | 100% |  | Evenly
Common | F63E | Meal Travel Costs - EMN | 10000 |  |  | 10000 | [8 empty] | 100% |  | Evenly
Common | F63E | Rental Car Costs - ERV | 10000 |  |  | 10000 | [8 empty] | 100% |  | Evenly
Common | F63E | Training Fees - ETC | 8000 |  |  | 8000 | [8 empty] | 100% |  | Evenly
| F63I | ATTENDEE-TECHNICAL-EXTERNAL | 30000 | 0 | 0 | 30000 | 0 | 0 | 0 | 0 | 0 | 0
Common | F63I | Hotel Travel Costs - EHT | 12000 |  |  | 12000 | [8 empty] | 100% |  | Evenly
Common | F63I | Meal Travel Costs - EMN | 3000 |  |  | 3000 | [8 empty] | 100% |  | Evenly
Common | F63I | Rental Car Costs - ERV | 5000 |  |  | 5000 | [8 empty] | 100% |  | Evenly
Common | F63I | Training Fees - ETC | 10000 |  |  | 10000 | [8 empty] | 100% |  | Evenly
| F67 | ADMIN/SUPPORT (EDC) (TRAINING) | 12000 | 0 | 0 | 12000 | 0 | 0 | 0 | 0 | 0 | 0
Unit 3 | F67 | Training Fees - ETC | 12000 |  |  | 12000 | [8 empty] | 100% |  | Evenly
| F81 | PLANT CONTROL ROOM | 2000 | 0 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F81 | Control Room Equipment | 2000 |  | 2000 | [8 empty] | 100% |  |  | Evenly
| F83 | FUEL HANDLING | 32000 | 32000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F83 | Taxes and Fees - EFT | 2000 | 2000 | [10 empty] | 100% |  | Evenly
Common | F83 | Non Generational Fuel Oil Consumption - MMN | 30000 | 30000 | [9 empty] | 100% |  |  | Evenly
| F84 | OTHER-OPERATIONS | 20000 | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unit 3 | F84 | Non Generational Fuel Oil Consumption - MMN | 20000 | 20000 | [10 empty] | 100% |  | Evenly
|  | Total "A" System Baseline | 1009500 | 528000 | 71000 | 0 | 60000 | 350000 | 0 | 0 | 0 | 0
Unit 1 | FAA | Oil Changes for Motors and Pumps | 1500 | 1500 | [9 empty] | 100% |  |  | Evenly
Unit 1 | FAC | Cold Fly Ash Valves - Segregating Valves | 20000 |  | 10000 |  | 10000 | [6 empty] | 100% |  |  | Evenly
Unit 1 | FAF | Cold Precip Contol Cards/Fan Belts | 3500 | 2000 | 1500 | [8 empty] | 100% |  |  | Evenly
Unit 1 | FAF | Hot Precip Control Cards/Fan Belts | 5000 | 3000 | 2000 | [8 empty] | 100% |  |  | Evenly
Unit 2 | FAA | Oil Changes for Motors and Pumps | 1500 | 1500 | [9 empty] | 100% |  |  | Evenly
Unit 2 | FAB | Clinker Grinder Rebuild | 15500 | 15000 | [9 empty] | 100% |  |  | Evenly
Unit 2 | FAC | Cold Fly Ash Valves - Segregating Valves | 10000 |  | 10000 | [8 empty] | 100% |  |  | Evenly
Unit 2 | FAC | Economizer Hopper Ash Valves | 10000 |  | 10000 | [8 empty] | 100% |  |  | Evenly
Unit 2 | FAC | Fly Ash Pump B | 34000 |  | 34000 | [7 empty] | 50% | 50% |  |  | Evenly
Unit 2 | FAF | Cold Precip Contol Cards/Fan Belts | 3500 | 2000 | 1500 | [8 empty] | 100% |  |  | Evenly
Unit 2 | FAF | Hot Precip Control Cards/Fan Belts | 5000 | 3000 | 2000 | [8 empty] | 100% |  |  | Evenly
Common | FAD | Ash Pond Maintenance | 50000 |  |  |  | 50000 | [5 empty] | 100% |  |  |  | June
Common | FAD | Ash Removal from Ash Pond | 850000 | 500000 |  |  |  | 350000 |  |  |  |  | 100% |  |  |  | January - June
|  | Total "B" System Baseline | 135000 | 105000 | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | FBH | CEMS Maintenance Contract | 66000 | 66000 | [8 empty] | 100% |  |  |  | Evenly
Unit 1 | FBB | ID Damper Maintenance, Send out Beck Drives | 15000 |  | 15000 | [7 empty] | 50% | 50% |  |  | Evenly
Unit 2 | FBB | ID Damper Maintenance, Send out Beck Drives | 15000 |  | 15000 | [7 empty] | 50% | 50% |  |  | Evenly
Unit 2 | FBA | Sofo Cofa Damper Repairs , Send out Beck Drives | 2000 | 2000 | [8 empty] | 50% | 50% |  |  | Evenly
Unit 1 | FBC | Annual Air Heater Instrumentation (Thermocouples, Sensing Lines, Sootblower Limits) | 2000 | 2000 | [8 empty] | 80% | 20% |  |  | April - May
Unit 2 | FBC | Annual Air Heater Instrumentation (Thermocouples, Sensing Lines, Sootblower Limits) | 5000 | 5000 | [8 empty] | 80% | 20% |  |  | April - May
Common | FBB | Wind Storm Lagging Repairs | 20000 | 20000 | [8 empty] | 80% | 20% |  |  | July - November
Common | FBY | Documentum Migration | 10000 | 10000 | [10 empty] | 100% |  | Evenly
|  | Total "C" System Baseline | 247000 | 181000 | 0 | 6000 | 42000 | 0 | 0 | 18000 | 0 | 0
Common | FCA | Ignitor Oil Pumps and Piping | 12000 | 5000 |  |  | 7000 | [6 empty] | 100% |  |  | Evenly
Common | FCA | Ignitor Oil Gun Parts | 6000 |  |  | 6000 | [7 empty] | 100% |  |  | Evenly
Common | FCB | Coal Piping Elbows, Wear Plates, Norbac Repair Kits | 45000 | 20000 |  |  | 25000 | [6 empty] | 100% |  |  | Evenly
Common | FCE | Feeder Parts, Belts, Weight Rolls, Cleanout Chains, Bearing and Motors | 38000 | 10000 |  |  | 10000 |  |  | 18000 |  |  |  | 100% |  |  | Evenly
Common | FCD | Alstom Fees for Shared Inventory with Plant Kraft and Mitchell | 6000 | 6000 | [8 empty] | 100% |  |  |  | Evenly
Common | FCD | Mill Parts, Roll Rebuild, Weld Overlay, Exhausters, Windbox and Classifier Blades | 140000 | 140000 | [8 empty] | 20% | 80% |  |  | April - May
|  | Total "D" System Baseline | 342500 | 308000 | 12000 | 14500 | 8000 | 0 | 0 | 0 | 0 | 0
Unit 3 | FDD | Natural Gas Solutions Maintenance Contract | 110000 | 110000 | [8 empty] | 100% |  |  |  | Evenly
Unit 3 | FDD | Natural Gas Suplly Valves, Controls, Filters, Corrosion Control | 38000 | 38000 | [9 empty] | 100% |  |  | Evenly
Common | FDL | Thompson TM&R Agreement | 35000 | 35000 | [8 empty] | 100% |  |  |  | Evenly
Common | FDL | Parts for D10, 844 Dosiers and Extended Boom Tractor | 7000 |  | 7000 | [8 empty] | 100% |  |  | Evenly
Common | FDB | C.T. Fuel Oil Supply Piping, Fuel Forwarding Pumps, Valves | 3500 |  |  | 3500 | [7 empty] | 100% |  |  | Evenly
Common | FDC | E-Crane, Motors, Hoses, Cylinders, Oil, Oil Coolers, Filters, Breakers | 125000 | 125000 | [9 empty] | 100% |  |  | Evenly
Common | FDF | Conveyor Belts, Motors, Gear Boxes, Chutes, Belt Magnets, Breakers | 11000 |  |  | 11000 | [7 empty] | 100% |  |  | Evenly
Common | FDH | Coal Belt Scales, Motors, Coal Samplers, Breakers | 5000 |  | 5000 | [8 empty] | 100% |  |  | Evenly
Common | FDJ | Barge Equipment | 8000 |  |  |  | 8000 | [6 empty] | 100% |  |  | Evenly
|  | Total "E" System Baseline | 114000 | 114000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unit 3 | FEF | Bulk Hydrogen | 80000 | 80000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FEF | Hydrogen Tank Rentals | 24000 | 24000 | [11 empty] | 100% | Evenly
Unit 3 | FEA | Generator Brushes | 5000 | 5000 | [9 empty] | 100% |  |  | Evenly
Common | FEA | Generator Brushes | 5000 | 5000 | [9 empty] | 100% |  |  | Evenly
|  | Total "F" System Baseline | 493000 | 398000 | 0 | 40000 | 40000 | 0 | 15000 | 0 | 0 | 0
Unit 3 | FFB | Transmitters and Pressure Switches | 10000 | 8000 |  |  | 2000 | [6 empty] | 100% |  |  | Evenly
Unit 3 | FFY | Enclosure, Misc Painting, and Corossion Repairs | 50000 | 25000 |  | 25000 | [6 empty] | 50% | 50% |  |  | Evenly
Common | FFB | Transmitters and Pressure Switches | 10000 | 5000 |  |  | 5000 | [6 empty] | 100% |  |  | Evenly
Unit 3 | FFF | Filter Change Outs | 12000 | 12000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FFA | Regional System Owner Charges | 15000 | 15000 | [8 empty] | 100% |  |  |  | Evenly
Common | FFF | Turbine Oil | 30000 | 15000 |  |  | 15000 | [6 empty] | 100% |  |  | Evenly
Unit 3 | FFY | Unplanned GE Work | 30000 | 15000 |  |  | 15000 | [5 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FFB | Thermo Couples | 6000 | 3000 |  |  | 3000 | [6 empty] | 100% |  |  | Evenly
Common | FFY | Contingent Maintenance | 30000 |  |  | 15000 |  |  | 15000 |  |  |  | 50% | 50% |  |  | Evenly
Unit 3 | FFA | Paint ST Area Structure - Beams | 300000 | 300000 | [8 empty] | 90% | 10%
|  | Total "G" System Baseline | 5000 | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | FGE | Oil Analysis on Transformers | 2000 | 2000 | [8 empty] | 50% | 50% |  |  | June,July
Unit 3 | FGA | Station Service Tranformer Cabinet Repairs | 3000 | 3000
|  | Total "H" System Baseline | 733000 | 552500 | 0 | 0 | 180500 | 0 | 0 | 0 | 0 | 0
Common | FHC | Chlorine | 200000 | 200000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FHC | Sodium Hypochlorite | 60000 | 60000 | [9 empty] | 100% |  |  | Evenly
Common | FHB | Discharge Canal Seawall Repairs | 60000 | 40000 |  |  | 20000 | [5 empty] | 50% | 50% |  |  | Evenly
Unit 1 | FHD | 1B Circulator Pump/Motor Rebuild | 42500 | 42500 | [8 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FHE | CLCW Piping Cleaning/Painting | 100000 | 50000 |  |  | 50000 | [5 empty] | 70% | 30% |  |  | Evenly
Common | FHG | Soft Starts and Grounding Repairs | 27000 | 15000 |  |  | 12000 | [5 empty] | 40% | 60% |  |  | Evenly
Unit 3 | FHK | Cooling Tower Fan Inspections and Shaft/Hub Repairs | 118500 | 50000 |  |  | 68500 | [5 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FHK | Cooling Tower Lagging and Unistrut Replacement | 40000 | 40000 | [8 empty] | 50% | 50% |  |  | Evenly
Common | FHB | Wash Water Piping Repairs | 25000 | 25000 | [8 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FHK | Makeup Line Leaks | 60000 | 30000 |  |  | 30000 | [5 empty] | 50% |  |  |  | Evenly
|  | Total "J" System Baseline | 253700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | FJH | Instruments and Controls (Bearings, Control Cards, etc.) | 25550 | [10 empty] | 100% |  |  | Evenly
Unit 2 | FJC | Valve Maintenance ( Safety Valves) | 16000 | [9 empty] | 40% | 60% |  |  | Evenly
Unit 2 | FJA | Parts for PMs on Soot blower and Piping | 52000 | [10 empty] | 100% |  |  | Evenly
Unit 1 | FJA | Parts for PMs on Soot blower and Piping | 18500 | [10 empty] | 100% |  |  | Evenly
Unit 1 | FJC | Parts for PMs on Boiler Waterwall Valves & Drains | 30000 | [10 empty] | 100% |  |  | Evenly
Unit 1 | FJA | Parts for PMs on Wall Blowers (lances, bearings, and packing.) | 35000 | [10 empty] | 100% |  |  | Evenly
Unit 2 | FJA | Parts for PMs on Wall Blowers (lances, bearings, and packing.) | 26100 | [10 empty] | 100% |  |  | Evenly
Unit 2 | FJA | Valve and Piping Replacement on Wall Blowers | 25000 | [10 empty] | 100% |  |  | Evenly
Unit 1 | FJA | Valve and Piping Replacement on Wall Blowers | 25550 | [10 empty] | 100% |  |  | Evenly
|  | Total "K" System Baseline | 24000 | 24000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | FKF | Kossen Emergency Generator Service Call | 3000 | 3000 | [8 empty] | 100% |  |  |  | April
Unit 3 | FKF | Fuel for Emergency Generator | 6000 | 6000 | [9 empty] | 100% |  |  | July
Unit 3 | FKD | Limit Amps (GE Service) | 5000 | 5000 | [9 empty] | 100% |  |  | March and August
Common | FKE | Battery and Battery Charger Maintenance | 10000 | 10000 | [8 empty] | 100% |  |  |  | Evenly
|  | Total "L" System Baseline | 181500 | 164000 | 0 | 0 | 17500 | 0 | 0 | 0 | 0 | 0
Unit 3 | FLA | Helium Gas | 6000 | 6000 | [9 empty] | 100% |  |  | Evenly
Unit 2 | FLA | Condeser Door Replacements | 40000 | 40000 | [8 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FLA | Corrosion Repairs and painting | 80000 | 80000 | [8 empty] | 50% | 50% |  |  | Evenly
Common | FLA | Condenser Misc Expenses (PMs, Leak Detection) | 37500 | 20000 |  |  | 17500 | [5 empty] | 30% | 70% |  |  | Evenly
Common | FLC | LP Heater Expenses | 10000 | 10000 | [9 empty] | 100% |  |  | Evenly
Common | FLF | Deaerator Expenses | 2000 | 2000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FLJ | Valves / Actuator Replacement External Piping | 6000 | 6000 | [8 empty] | 40% | 60% |  |  | Evenly
|  | Total "M" System Baseline | 100000 | 100000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unit 1 | FMA | Spraywater Actuator Repairs, Oil Clean-Up on Motors, and Hydraulic Couplings | 25000 | 25000 | [8 empty] | 30% | 70% |  |  | Evenly
Unit 2 | FMA | Spraywater Actuator Repairs, Oil Clean-Up on Motors, and Hydraulic Couplings | 25000 | 25000 | [8 empty] | 30% | 70% |  |  | Evenly
Unit 3 | FMA | Small Bore Piping Repairs due to Corrosion | 10000 | 10000 | [8 empty] | 75% | 25% |  |  | Evenly
Common | FMA | PAG Requirements (Scaffolding and Insulation) | 40000 | 40000 | [9 empty] | 100% |  |  | Evenly
|  | Total "N" System Baseline | 200000 | 108000 | 3000 | 12000 | 37000 | 16000 | 0 | 24000 | 0 | 0
Common | FNC | Monthly Potable Water Sampling | 2000 | 2000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FND | Mixed Bed Rentals | 70000 | 70000 | [11 empty] | 100% | Evenly
Unit 3 | FND | Mixed Bed Purchases | 28000 | 28000 | [9 empty] | 100% |  |  | Evenly
Common | FNA | Maintenance of Water Treatment Pretreatment Subsystem | 12000 |  |  | 6000 | 6000 | [6 empty] | 100% |  |  | Evenly
Common | FNB | Inspect Monscour Filters | 4000 | [6 empty] | 4000 |  |  |  | 100% |  |  | Evenly
Common | FNB | Maintenance of Water Filter Plant | 21000 |  | 3000 | 6000 |  | 6000 |  | 6000 |  |  |  | 100% |  |  | Evenly
Common | FNC | Maintenance of Potable Water Filter Plant | 12000 | 3000 |  |  | 6000 |  |  | 3000 |  |  |  | 100% |  |  | Evenly
Common | FND | Purchase and Install Prefilters and Polymer for RO Systems | 9000 |  |  |  | 9000 | [6 empty] | 100% |  |  | Evenly
Common | FND | Water Treatment Equipment | 15000 | 5000 |  |  | 5000 | 5000 | [5 empty] | 100% |  |  | Evenly
Common | FNE | Maintenance of Demineralizer | 15000 |  |  |  | 5000 | 5000 |  | 5000 |  |  |  | 100% |  |  | Evenly
Common | FNF | Maintenance of WasteWater Treatment System | 12000 |  |  |  | 6000 |  |  | 6000 |  |  |  | 100% |  |  | Evenly
|  | Total "P" System Baseline | 1015000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | FPF | Consumables | 300000 | [10 empty] | 100% |  |  | Evenly
Unit 3 | FPF | Consumables | 15000 | [10 empty] | 100% |  |  | Evenly
Common | FPE | Tools | 55000 | [9 empty] | 10% | 90% |  |  | Evenly
Unit 3 | FPE | Tools | 25000 | [10 empty] | 100% |  |  | Evenly
Common | FPD | Fleet Services Charges | 100000 | [11 empty] | 100% |  | Evenly
Common | FPC | Rolling Stock Maintenance | 70000 | [9 empty] | 50% | 50% |  |  | Evenly
Common | FPC | Waste Management Fee | 60000 | [9 empty] | 100% |  |  |  | Evenly
Common | FPA | Air Conditioner Service Calls | 80000 | [9 empty] | 50% | 50% |  |  | Evenly
Common | FPB | Stotler Lawn Care Maintenance | 60000 | [9 empty] | 100% |  |  |  | May - August
Common | FPA | Building and Structure Repairs | 150000 | [9 empty] | 50% | 50% |  |  | Evenly
Common | FPB | Roads and Grounds Maintenance | 100000 | [9 empty] | 50% | 50% |  |  | Evenly
|  | Total "R" System Baseline | 226820 | 193000 | 0 | 9820 | 24000 | 0 | 0 | 0 | 0 | 0
Common | FRA | Annual International Fire Inspections Cost (Sprinklers, Extinguisher, Alarms) | 120000 | 120000 | [8 empty] | 80% | 20% |  |  | Evenly
Common | FRC | Annual Total Safety Inspections Cost (SCBA, Air Tanks) | 9000 | 9000 | [8 empty] | 100% |  |  |  | Evenly
Unit 3 | FRC | Double Block and Bleed Valve to DCS | 40000 | 40000 | [8 empty] | 75% | 25% |  |  | April
Common | FRA | Diesel Fire Control Panels | 18000 | 9000 |  |  | 9000 | [6 empty] | 100% |  |  | March
Common | FRA | Upgrade Admin. Fire Alarm System | 15000 |  |  |  | 15000 | [5 empty] | 80% | 20% |  |  | May
Common | FRA | Repair Diesel Fire Pumps | 15000 | 15000 | [8 empty] | 50% | 50% |  |  | Feb
Common | FRA | Contigent Maintenance | 9820 |  |  | 9820 | [6 empty] | 80% | 20% |  |  | Evenly
|  | Total "S" System Baseline | 126000 | 76000 | 0 | 50000 | 0 | 0 | 0 | 0 | 0 | 0
Common | FSA | Compressor Annual Maintenance Service Charge | 60000 | 60000 | [8 empty] | 85% | 15% |  |  | Quarterly
Unit 3 | FSA | Dessicant Changeout | 6000 | 6000 | [8 empty] | 30% | 70% |  |  | April
Common | FSA | Contingent Maintenance | 10000 | 10000 | [8 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FSA | Air line corossion repairs & painting | 50000 |  |  | 50000
|  | Total "V" System Baseline | 552000 | 527000 | 0 | 0 | 25000 | 0 | 0 | 0 | 0 | 0
Unit 3 | FVY | LTSA Agreement - KLS | 342000 | 342000 | [8 empty] | 100% |  |  |  | Evenly
Unit 3 | FVY | Transmitters and Pressure Switches | 30000 | 20000 |  |  | 10000 | [5 empty] | 25% | 75% |  |  | Evenly
Unit 3 | FVY | Structural Painting | 110000 | 110000 | [8 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FVY | Valve Repairs and Replacements | 30000 | 15000 |  |  | 15000 | [5 empty] | 25% | 75% |  |  | Evenly
CT | FVA | Gas Filters | 4000 | 4000 | [9 empty] | 100% |  |  | Evenly
CT | FVY | CT Maintenance | 15000 | 15000 | [8 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FVK | Control Cards | 5000 | 5000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FVY | Blade Health Monitoring Maintenance | 16000 | 16000 | [8 empty] | 100% |  |  |  | Evenly
|  | Total "W" System Baseline | 1790000 | 1390000 | 0 | 400000 | 0 | 0 | 0 | 0 | 0 | 0
Unit 3 | FWB | Boiler Valves & Piping - Valves,Transmitters,Insulation | 380000 | 380000 | [8 empty] | 35% | 65% |  |  | Evenly
Unit 3 | FWB | Heat Trace Maintenance | 10000 | 10000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FWB | Fluor and Sunbelt Admin | 250000 | 250000 | [8 empty] | 100% |  |  |  | Evenly
Unit 3 | FWC | Chemicals - Lab Materials | 60000 | 60000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FWD | Uni Strut and Misc Instrument and Electrical Cabinet Replacements* | 100000 |  |  | 100000 | [6 empty] | 60% | 40% |  |  | Evenly
Unit 3 | FWD | Re Skin LCI, A & B PEECC | 150000 | 150000 | [8 empty] | 60% | 40% |  |  | Evenly
Unit 3 | FWD | Paint HRSG A | 600000 | 500000 | [8 empty] | 90% | 10% |  |  | Evenly
Unit 3 | FWD | Paint BOP General Structure*** | 200000 |  |  | 300000 | [6 empty] | 90% | 10% |  |  | Evenly
Unit 3 | FWE | Boiler Water Circulation Pump - Economizer Pumps, Motors & Valves | 20000 | 20000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FWG | Headers/Links/Drums/Vessels | 5000 | 5000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FWH | Duct Burner | 15000 | 15000 | [9 empty] | 100% |  |  | Evenly
|  | Total "Y" System Baseline | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total "Z" System Baseline | 74562 | 29562 | 15000 | 0 | 0 | 0 | 30000 | 0 | 0 | 0
Unit 1 | FZB | Emerson Sure Service Agreement | 29562 | 29562 | [8 empty] | 100% |  |  |  | February
Unit 3 | FZB | Computer System Upgrades | 15000 |  | 15000 | [8 empty] | 100% |  |  | Evenly
Common | FZY | NERC CIP | 30000 | [5 empty] | 30000 |  |  |  | 50% | 50% |  |  | Evenly

## 2014
Unit | Activity | Description of Project/Job | Budget Dollars | Tier 1 - High | Tier 1 - Medium | Tier 1 - Low | Tier 2 - High | Tier 2 - Medium | Tier 2 - Low | Tier 3 - High | Tier 3 - Medium | Tier 3 - Low | % Contract Labor | % Material | % Expenses (Other) | % Rental | Months to Spread
| F1M | MANAGEMENT-OVERSEE PERSONNEL&TASKS | 118500 | 83500 | 0 | 0 | 0 | 0 | 0 | 35000 | 0 | 0 |  |  | 100% |  | Evenly
Common | F1M | Miscellaneous Expenses - EAL | 25000 | 25000 | [10 empty] | 100% |  | Evenly
Common | F1M | Office Supplies - EEX | 8000 | 8000 | [10 empty] | 100% |  | Evenly
Common | F1M | Hotel Travel Costs - EHT | 15000 | 15000 | [10 empty] | 100% |  | Evenly
Common | F1M | Meal Travel Costs - EMN | 9000 | 9000 | [10 empty] | 100% |  | Evenly
Common | F1M | Catered Meals - EMW | 35000 | [6 empty] | 35000 |  |  |  |  | 100% |  | Evenly
Common | F1M | Rental Car Costs - ERV | 18000 | 18000 | [10 empty] | 100% |  | Evenly
Common | F1M | Allowed Covered Mileage - ETA | 2000 | 2000 | [10 empty] | 100% |  | Evenly
Common | F1M | Non-Covered Mileage Reimbursement - ETV | 5000 | 5000 | [10 empty] | 100% |  | Evenly
Common | F1M | Utility Costs - EUT | 1500 | 1500 | [10 empty] | 100% |  | Evenly
| F22 | HUMAN RESOURCES | 3000 | 0 | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F22 | Hotel Travel Costs - EHT | 1000 |  | 1000 | [9 empty] | 100% |  | Evenly
Common | F22 | Rental Car Costs - ERV | 1000 |  | 1000 | [9 empty] | 100% |  | Evenly
Common | F22 | Non-Covered Mileage Reimbursement - ETV | 1000 |  | 1000 | [9 empty] | 100% |  | Evenly
| F23 | GENERAL-DEVELOP NEW COMPUTER | 45000 | 0 | 45000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F23 | Southern Linc Expenses - EAL | 2000 |  | 2000 | [9 empty] | 100% |  | Evenly
Common | F23 | Computer Service Call Outs - EEX | 40000 |  | 40000 | [9 empty] | 100% |  | Evenly
Common | F23 | Plant Computer Equipment - MDP | 3000 |  | 3000 | [8 empty] | 100% |  |  | Evenly
| F24 | SECURITY | 160000 | 160000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F24 | Security Vehicle Costs | 5000 | 5000 | [10 empty] | 100% |  | Evenly
Common | F24 | Securitas Security Costs | 155000 | 155000 | [8 empty] | 100% |  |  |  | Evenly
| F34 | COMPLIANCE-ENVIRONMENTAL | 75000 | 75000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F34 | NPDES Sampling - KCS | 7000 | 7000 | [8 empty] | 100% |  |  |  | Evenly
Common | F34 | NPDES Sampling - KLN | 2000 | 2000 | [8 empty] | 100% |  |  |  | Evenly
Common | F34 | Stormwater Maintenance - KLO | 45000 | 45000 | [8 empty] | 100% |  |  |  | Quarterly
Common | F34 | Compliance Testing - KLS | 1000 | 1000 | [8 empty] | 100% |  |  |  | Evenly
Common | F34 | Fuel Flow Meter Calibrations - MCM | 10000 | 10000 | [9 empty] | 100% |  |  | Evenly
Common | F34 | Well Flow Meter Calibrations - MDP | 10000 | 10000 | [9 empty] | 100% |  |  | Summer
| F35 | COMPLIANCE-OTHER | 102000 | 102000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F35 | Wellness Expenses - EAL | 15000 | 15000 | [10 empty] | 100% |  | Evenly
Common | F35 | Safety Expenses - EEX | 3000 | 3000 | [10 empty] | 100% |  | Evenly
Common | F35 | Hotel Travel Costs - EHT | 3000 | 3000 | [10 empty] | 100% |  | Evenly
Common | F35 | Meal Travel Costs - EMN | 2000 | 2000 | [10 empty] | 100% |  | Evenly
Common | F35 | Rental Car Costs - ERV | 3000 | 3000 | [10 empty] | 100% |  | Evenly
Common | F35 | Rescue Training - KCS | 6000 | 6000 | [8 empty] | 100% |  |  |  | Evenly
Common | F35 | Safety Equipment - MDP | 70000 | 70000 | [9 empty] | 100% |  |  | Evenly
| F3R | Regional Planning Charges | 375416 | 375416 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F3R | Regional Support - SAP | 375416 | 375416 | [10 empty] | 100% |  | Evenly
| F38 | CONDITION BASED MAINTENANCE | 15000 | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unit 1 | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 4500 | 4500 | [8 empty] | 100% |  |  |  | Evenly
Unit 2 | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 4500 | 4500 | [8 empty] | 100% |  |  |  | Evenly
CT | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 500 | 500 | [8 empty] | 100% |  |  |  | Evenly
Unit 3 | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 3000 | 3000 | [8 empty] | 100% |  |  |  | Evenly
Common | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 2500 | 2500 | [8 empty] | 100% |  |  |  | Evenly
| F41 | PURCHASING | 20000 | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F41 | Postage and Mailing Fees - EPS | 20000 | 20000 | [10 empty] | 100% |  | Evenly
| F43 | MATERIALS HANDLING | 35000 | 0 | 35000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F43 | inventory Adjustments - MMN | 35000 |  | 35000 | [8 empty] | 100% |  |  | Evenly
| F52 | FUEL MANAGEMENT | 20000 | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F52 | Coal Analysis - KCS | 20000 | 20000 | [8 empty] | 100% |  |  |  | Evenly
| F61E | ATTENDEE-COMPLIANCE-EXTERNAL | 2000 | 0 | 0 | 2000 | 0 | 0 | 0 | 0 | 0 | 0
Common | F61E | Hotel Travel Costs - EHT | 1000 |  |  | 1000 | [8 empty] | 100% |  | Evenly
Common | F61E | Meal Travel Costs - EMN | 500 |  |  | 500 | [8 empty] | 100% |  | Evenly
Common | F61E | Rental Car Costs - ERV | 500 |  |  | 500 | [8 empty] | 100% |  | Evenly
| F61I | ATTENDEE-COMPLIANCE-EXTERNAL | 1500 | 0 | 0 | 1500 | 0 | 0 | 0 | 0 | 0 | 0
Common | F61I | Hotel Travel Costs - EHT | 500 |  |  | 500 | [8 empty] | 100% |  | Evenly
Common | F61I | Meal Travel Costs - EMN | 500 |  |  | 500 | [8 empty] | 100% |  | Evenly
Common | F61I | Rental Car Costs - ERV | 500 |  |  | 500 | [8 empty] | 100% |  | Evenly
| F62E | ATTENDEE NONTECHNICAL-EXTERNAL | 36500 | 0 | 0 | 36500 | 0 | 0 | 0 | 0 | 0 | 0
Common | F62E | Hotel Travel Costs - EHT | 10000 |  |  | 10000 | [8 empty] | 100% |  | Evenly
Common | F62E | Meal Travel Costs - EMN | 1500 |  |  | 1500 | [8 empty] | 100% |  | Evenly
Common | F62E | Rental Car Costs - ERV | 5000 |  |  | 5000 | [8 empty] | 100% |  | Evenly
Common | F62E | Training Fees - ETC | 20000 |  |  | 20000 | [8 empty] | 100% |  | Evenly
| F62I | ATTENDEE NONTECHNICAL-INTERNAL | 31500 | 0 | 0 | 31500 | 0 | 0 | 0 | 0 | 0 | 0
Common | F62I | Hotel Travel Costs - EHT | 10000 |  |  | 10000 | [8 empty] | 100% |  | Evenly
Common | F62I | Meal Travel Costs - EMN | 500 |  |  | 500 | [8 empty] | 100% |  | Evenly
Common | F62I | Rental Car Costs - ERV | 1000 |  |  | 1000 | [8 empty] | 100% |  | Evenly
Common | F62I | Training Fees - ETC | 20000 |  |  | 20000 | [8 empty] | 100% |  | Evenly
| F63E | ATTENDEE-TECHNICAL-EXTERNAL | 43500 | 0 | 0 | 43500 | 0 | 0 | 0 | 0 | 0 | 0
Common | F63E | Hotel Travel Costs - EHT | 15500 |  |  | 15500 | [8 empty] | 100% |  | Evenly
Common | F63E | Meal Travel Costs - EMN | 10000 |  |  | 10000 | [8 empty] | 100% |  | Evenly
Common | F63E | Rental Car Costs - ERV | 10000 |  |  | 10000 | [8 empty] | 100% |  | Evenly
Common | F63E | Training Fees - ETC | 8000 |  |  | 8000 | [8 empty] | 100% |  | Evenly
| F63I | ATTENDEE-TECHNICAL-EXTERNAL | 30000 | 0 | 0 | 30000 | 0 | 0 | 0 | 0 | 0 | 0
Common | F63I | Hotel Travel Costs - EHT | 12000 |  |  | 12000 | [8 empty] | 100% |  | Evenly
Common | F63I | Meal Travel Costs - EMN | 3000 |  |  | 3000 | [8 empty] | 100% |  | Evenly
Common | F63I | Rental Car Costs - ERV | 5000 |  |  | 5000 | [8 empty] | 100% |  | Evenly
Common | F63I | Training Fees - ETC | 10000 |  |  | 10000 | [8 empty] | 100% |  | Evenly
| F67 | ADMIN/SUPPORT (EDC) (TRAINING) | 12000 | 0 | 0 | 12000 | 0 | 0 | 0 | 0 | 0 | 0
Unit 3 | F67 | Training Fees - ETC | 12000 |  |  | 12000 | [8 empty] | 100% |  | Evenly
| F81 | PLANT CONTROL ROOM | 2000 | 0 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F81 | Control Room Equipment | 2000 |  | 2000 | [8 empty] | 100% |  |  | Evenly
| F83 | FUEL HANDLING | 32000 | 32000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | F83 | Taxes and Fees - EFT | 2000 | 2000 | [10 empty] | 100% |  | Evenly
Common | F83 | Non Generational Fuel Oil Consumption - MMN | 30000 | 30000 | [9 empty] | 100% |  |  | Evenly
| F84 | OTHER-OPERATIONS | 20000 | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unit 3 | F84 | Non Generational Fuel Oil Consumption - MMN | 20000 | 20000 | [10 empty] | 100% |  | Evenly
|  | Total "A" System Baseline | 803000 | 733000 | 20000 | 0 | 50000 | 0 | 0 | 0 | 0 | 0
Unit 1 | FAA | Oil Changes for Motors and Pumps | 1500 | 1500 | [9 empty] | 100% |  |  | Evenly
Unit 1 | FAF | Cold Precip Contol Cards/Fan Belts | 5000 | 2000 | 3000 | [8 empty] | 100% |  |  | Evenly
Unit 1 | FAF | Hot Precip Control Cards/Fan Belts | 5000 | 3000 | 2000 | [8 empty] | 100% |  |  | Evenly
Unit 1 | FAC | Hot and Cold Fly Ash System pipe and fittings. | 15000 | 10000 | 5000 | [8 empty] | 100% |  |  | Evenly
Unit 2 | FAA | Oil Changes for Motors and Pumps | 1500 | 1500 | [9 empty] | 100% |  |  | Evenly
Unit 2 | FAF | Cold Precip Contol Cards/Fan Belts | 5000 | 2000 | 3000 | [8 empty] | 100% |  |  | Evenly
Unit 2 | FAF | Hot Precip Control Cards/Fan Belts | 5000 | 3000 | 2000 | [8 empty] | 100% |  |  | Evenly
Unit 2 | FAC | Hot and Cold Fly Ash System pipe and fittings. | 15000 | 10000 | 5000 | [8 empty] | 100% |  |  | Evenly
Common | FAD | Ash Pond Maintenance | 50000 |  |  |  | 50000 | [5 empty] | 100% |  |  |  | June
Common | FAD | Ash Removal from Ash Pond | 700000 | 700000 | [8 empty] | 100% |  |  |  | January - June
|  | Total "B" System Baseline | 135000 | 105000 | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | FBH | CEMS Maintenance Contract | 66000 | 66000 | [8 empty] | 100% |  |  |  | Evenly
Unit 1 | FBB | ID Damper Maintenance, Send out Beck Drives | 15000 |  | 15000 | [7 empty] | 50% | 50% |  |  | Evenly
Unit 2 | FBB | ID Damper Maintenance, Send out Beck Drives | 15000 |  | 15000 | [7 empty] | 50% | 50% |  |  | Evenly
Unit 2 | FBA | Sofo Cofa Damper Repairs , Send out Beck Drives | 5000 | 2000 | [8 empty] | 50% | 50% |  |  | Evenly
Unit 1 | FBC | Annual Air Heater Instrumentation (Thermocouples, Sensing Lines, Sootblower Limits) | 2000 | 2000 | [8 empty] | 80% | 20% |  |  | April - May
Unit 2 | FBC | Annual Air Heater Instrumentation (Thermocouples, Sensing Lines, Sootblower Limits) | 2000 | 5000 | [8 empty] | 80% | 20% |  |  | April - May
Common | FBB | Wind Storm Lagging Repairs | 20000 | 20000 | [8 empty] | 80% | 20% |  |  | July - November
Common | FBY | Documentum Migration | 10000 | 10000 | [10 empty] | 100% |  | Evenly
|  | Total "C" System Baseline | 249100 | 181100 | 0 | 6000 | 42500 | 0 | 0 | 19500 | 0 | 0
Common | FCA | Ignitor Oil Pumps and Piping | 12000 | 5000 |  |  | 7000 | [6 empty] | 100% |  |  | Evenly
Common | FCA | Ignitor Oil Gun Parts | 6000 |  |  | 6000 | [7 empty] | 100% |  |  | Evenly
Common | FCB | Coal Piping Elbows, Wear Plates, Norbac Repair Kits | 45500 | 20000 |  |  | 25500 | [6 empty] | 100% |  |  | Evenly
Common | FCE | Feeder Parts, Belts, Weight Rolls, Cleanout Chains, Bearing and Motors | 39500 | 10000 |  |  | 10000 |  |  | 19500 |  |  |  | 100% |  |  | Evenly
Common | FCD | Alstom Fees for Shared Inventory with Plant Kraft and Mitchell | 6100 | 6100 | [8 empty] | 100% |  |  |  | Evenly
Common | FCD | Mill Parts, Roll Rebuild, Weld Overlay, Exhausters, Windbox and Classifier Blades | 140000 | 140000 | [8 empty] | 20% | 80% |  |  | April - May
|  | Total "D" System Baseline | 345500 | 308500 | 12800 | 15500 | 8700 | 0 | 0 | 0 | 0 | 0
Unit 3 | FDD | Natural Gas Solutions Maintenance Contract | 110000 | 110000 | [8 empty] | 100% |  |  |  | Evenly
Unit 3 | FDD | Natural Gas Suplly Valves, Controls, Filters, Corrosion Control | 38500 | 38500 | [9 empty] | 100% |  |  | Evenly
Common | FDL | Thompson TM&R Agreement | 35000 | 35000 | [8 empty] | 100% |  |  |  | Evenly
Common | FDL | Parts for D10, 844 Dosiers and Extended Boom Tractor | 7800 |  | 7800 | [8 empty] | 100% |  |  | Evenly
Common | FDB | C.T. Fuel Oil Supply Piping, Fuel Forwarding Pumps, Valves | 3500 |  |  | 3500 | [7 empty] | 100% |  |  | Evenly
Common | FDC | E-Crane, Motors, Hoses, Cylinders, Oil, Oil Coolers, Filters, Breakers | 125000 | 125000 | [9 empty] | 100% |  |  | Evenly
Common | FDF | Conveyor Belts, Motors, Gear Boxes, Chutes, Belt Magnets, Breakers | 12000 |  |  | 12000 | [7 empty] | 100% |  |  | Evenly
Common | FDH | Coal Belt Scales, Motors, Coal Samplers, Breakers | 5000 |  | 5000 | [8 empty] | 100% |  |  | Evenly
Common | FDJ | Barge Equipment | 8700 |  |  |  | 8700 | [6 empty] | 100% |  |  | Evenly
|  | Total "E" System Baseline | 114000 | 114000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unit 3 | FEF | Bulk Hydrogen | 80000 | 80000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FEF | Hydrogen Tank Rentals | 24000 | 24000 | [11 empty] | 100% | Evenly
Unit 3 | FEA | Generator Brushes | 5000 | 5000 | [9 empty] | 100% |  |  | Evenly
Common | FEA | Generator Brushes | 5000 | 5000 | [9 empty] | 100% |  |  | Evenly
|  | Total "F" System Baseline | 343000 | 133000 | 0 | 205000 | 5000 | 0 | 0 | 0 | 0 | 0
Unit 3 | FFB | Transmitters and Pressure Switches | 10000 | 8000 |  |  | 2000 | [6 empty] | 100% |  |  | Evenly
Unit 3 | FFY | Enclosure, Misc Painting, and Corossion Repairs | 50000 | 25000 |  | 25000 | [6 empty] | 50% | 50% |  |  | Evenly
Common | FFB | Transmitters and Pressure Switches | 10000 | 10000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FFF | Filter Change Outs | 12000 | 12000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FFA | Regional System Owner Charges | 15000 | 15000 | [8 empty] | 100% |  |  |  | Evenly
Common | FFF | Turbine Oil | 30000 | 30000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FFY | Unplanned GE Work | 30000 | 30000 | [8 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FFB | Thermo Couples | 6000 | 3000 |  |  | 3000 | [6 empty] | 100% |  |  | Evenly
Common | FFY | Contingent Maintenance | 30000 |  |  | 30000 | [6 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FFA | Paint ST Area Structure - Beams | 150000 |  |  | 150000
|  | Total "G" System Baseline | 2000 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | FGE | Oil Analysis on Transformers | 2000 | 2000 | [8 empty] | 50% | 50% |  |  | June,July
|  | Total "H" System Baseline | 687500 | 542500 | 0 | 50000 | 95000 | 0 | 0 | 0 | 0 | 0
Common | FHC | Chlorine | 225000 | 225000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FHC | Sodium Hypochlorite | 60000 | 60000 | [9 empty] | 100% |  |  | Evenly
Common | FHB | Wash Screen Repairs | 60000 | 30000 |  |  | 30000 | [5 empty] | 50% | 50% |  |  | Evenly
Unit 2 | FHD | Circulator Pump Refurbishment | 42500 | 42500 | [8 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FHE | CLCW Piping Inspections | 25000 | 10000 |  |  | 15000 | [5 empty] | 70% | 30% |  |  | Evenly
Common | FHG | Well Flow Meter Replacements | 15000 | 15000 | [8 empty] | 40% | 60% |  |  | Evenly
Unit 3 | FHK | Cooling Tower Parts and Repairs | 50000 | 50000 | [8 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FHK | Makeup Line Leaks | 60000 | 60000 | [8 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FHK | Makeup Pump Mechanical Seals | 50000 |  |  |  | 50000 | [9 empty] | Evenly
Uni t 3 | FHE | CLCW Piping Corossion Repairs and Painting | 100000 | 50000 |  | 50000
|  | Total "J" System Baseline | 206700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | FJH | Instruments and Controls (Bearings, Control Cards, etc.) | 25550 | [10 empty] | 100% |  |  | Evenly
Unit 2 | FJC | Valve Maintenance ( Safety Valves) | 16000 | [9 empty] | 40% | 60% |  |  | Evenly
Unit 2 | FJA | Parts for PMs on Soot blower and Piping | 40000 | [10 empty] | 100% |  |  | Evenly
Unit 1 | FJA | Parts for PMs on Soot blower and Piping | 18500 | [10 empty] | 100% |  |  | Evenly
Unit 1 | FJC | Parts for PMs on Boiler Waterwall Valves & Drains | 20000 | [10 empty] | 100% |  |  | Evenly
Unit 1 | FJA | Parts for PMs on Wall Blowers (lances, bearings, and packing.) | 20000 | [10 empty] | 100% |  |  | Evenly
Unit 2 | FJA | Parts for PMs on Wall Blowers (lances, bearings, and packing.) | 26100 | [10 empty] | 100% |  |  | Evenly
Unit 2 | FJA | Valve and Piping Replacement on Wall Blowers | 20000 | [10 empty] | 100% |  |  | Evenly
Unit 1 | FJA | Valve and Piping Replacement on Wall Blowers | 20550 | [10 empty] | 100% |  |  | Evenly
|  | Total "K" System Baseline | 24000 | 24000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | FKF | Kossen Emergency Generator Service Call | 3000 | 3000 | [8 empty] | 100% |  |  |  | April
Unit 3 | FKF | Fuel for Emergency Generator | 6000 | 6000 | [9 empty] | 100% |  |  | July
Unit 3 | FKD | Limit Amps (GE Service) | 5000 | 5000 | [9 empty] | 100% |  |  | March and August
Common | FKE | Battery and Battery Charger Maintenance | 10000 | 10000 | [8 empty] | 100% |  |  |  | Evenly
|  | Total "L" System Baseline | 219000 | 67000 | 30000 | 60000 | 62000 | 0 | 0 | 0 | 0 | 0
Unit 3 | FLA | Helium Gas | 6000 | 6000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FLA | PAG Deaerator expesnse | 15000 | 15000 | [8 empty] | 50% | 50% |  |  | Evenly
Unit 1 | FLA | Condenser Inlet/Outlet Valve Repairs | 50000 |  |  |  | 50000 | [5 empty] | 50% | 50% |  |  | Evenly
Common | FLA | Condenser Cleaning (Plugs) | 30000 |  | 30000 | [8 empty] | 100% |  |  | Evenly
Common | FLA | Condenser Misc expenses (PMs, Leak Detection) | 20000 |  |  | 20000 | [6 empty] | 30% | 70% |  |  | Evenly
Common | FLC | LP Heater Expenses | 10000 |  |  |  | 10000 | [6 empty] | 100% |  |  | Evenly
Common | FLF | Deaerator Expenses | 2000 |  |  |  | 2000 | [6 empty] | 100% |  |  | Evenly
Unit 3 | FLJ | Valves / Actuator Replacement External Piping | 6000 | 6000 | [8 empty] | 40% | 60% |  |  | Evenly
Unit 3 | FLA | Corrosion Repairs and Painting | 80000 | 40000 |  | 40000
|  | Total "M" System Baseline | 142000 | 142000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unit 1 | FMA | Spraywater Actuator Repairs, Oil Clean-Up on Motors, and Hydraulic Couplings | 26000 | 26000 | [8 empty] | 30% | 70% |  |  | Evenly
Unit 2 | FMA | Spraywater Actuator Repairs, Oil Clean-Up on Motors, and Hydraulic Couplings | 26000 | 26000 | [8 empty] | 30% | 70% |  |  | Evenly
Unit 3 | FMA | Small Bore Piping Repairs due to Corrosion | 50000 | 50000 | [8 empty] | 75% | 25% |  |  | Evenly
Common | FMA | PAG Requirements (Scaffolding and Insulation) | 40000 | 40000 | [9 empty] | 100% |  |  | Evenly
|  | Total "N" System Baseline | 200000 | 108000 | 3000 | 12000 | 37000 | 16000 | 0 | 24000 | 0 | 0
Common | FNC | Monthly Potable Water Sampling | 2000 | 2000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FND | Mixed Bed Rentals | 70000 | 70000 | [11 empty] | 100% | Evenly
Unit 3 | FND | Mixed Bed Purchases | 28000 | 28000 | [9 empty] | 100% |  |  | Evenly
Common | FNA | Maintenance of Water Treatment Pretreatment Subsystem | 12000 |  |  | 6000 | 6000 | [6 empty] | 100% |  |  | Evenly
Common | FNB | Inspect Monscour Filters | 4000 | [6 empty] | 4000 |  |  |  | 100% |  |  | Evenly
Common | FNB | Maintenance of Water Filter Plant | 21000 |  | 3000 | 6000 |  | 6000 |  | 6000 |  |  |  | 100% |  |  | Evenly
Common | FNC | Maintenance of Potable Water Filter Plant | 12000 | 3000 |  |  | 6000 |  |  | 3000 |  |  |  | 100% |  |  | Evenly
Common | FND | Purchase and Install Prefilters and Polymer for RO Systems | 9000 |  |  |  | 9000 | [6 empty] | 100% |  |  | Evenly
Common | FND | Water Treatment Equipment | 15000 | 5000 |  |  | 5000 | 5000 | [5 empty] | 100% |  |  | Evenly
Common | FNE | Maintenance of Demineralizer | 15000 |  |  |  | 5000 | 5000 |  | 5000 |  |  |  | 100% |  |  | Evenly
Common | FNF | Maintenance of WasteWater Treatment System | 12000 |  |  |  | 6000 |  |  | 6000 |  |  |  | 100% |  |  | Evenly
|  | Total "P" System Baseline | 1055000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Common | FPF | Consumables | 300000 | [10 empty] | 100% |  |  | Evenly
Unit 3 | FPF | Consumables | 35000 | [10 empty] | 100% |  |  | Evenly
Common | FPE | Tools | 55000 | [9 empty] | 10% | 90% |  |  | Evenly
Unit 3 | FPE | Tools | 25000 | [10 empty] | 100% |  |  | Evenly
Common | FPD | Fleet Services Charges | 100000 | [11 empty] | 100% |  | Evenly
Common | FPC | Rolling Stock Maintenance | 90000 | [9 empty] | 50% | 50% |  |  | Evenly
Common | FPC | Waste Management Fee | 60000 | [9 empty] | 100% |  |  |  | Evenly
Common | FPA | Air Conditioner Service Calls | 80000 | [9 empty] | 50% | 50% |  |  | Evenly
Common | FPB | Stotler Lawn Care Maintenance | 60000 | [9 empty] | 100% |  |  |  | May - August
Common | FPA | Building and Structure Repairs | 150000 | [9 empty] | 50% | 50% |  |  | Evenly
Common | FPB | Roads and Grounds Maintenance | 100000 | [9 empty] | 50% | 50% |  |  | Evenly
|  | Total "R" System Baseline | 235820 | 159000 | 3000 | 53820 | 20000 | 0 | 0 | 0 | 0 | 0
Common | FRA | Annual International Fire Inspections Cost (Sprinklers, Extinguisher, Alarms) | 120000 | 120000 | [8 empty] | 80% | 20% |  |  | Evenly
Common | FRC | Annual Total Safety Inspections Cost (SCBA, Air Tanks) | 9000 | 9000 | [8 empty] | 100% |  |  |  | Evenly
Common | FRA | Blast and Paint Fire Hydrants | 20000 |  |  | 20000 | [6 empty] | 75% | 15% |  | 10% | May - August
Unit 3 | FRA | Paint and/or Replace Unit 3 Fire Piping Under Steamer | 40000 | 20000 |  |  | 20000 | [5 empty] | 80% | 20% |  |  | May - August
Unit 3 | FRC | Repair Piping on CO2 Tanks | 10000 | 10000 | [8 empty] | 75% | 25% |  |  | March - April
Common | FRA | Rebuild Jockey Pump | 3000 |  | 3000 | [8 empty] | 100% |  |  | June
Common | FRA | Contigent Maintenance | 33820 |  |  | 33820 | [6 empty] | 80% | 20% |  |  | Evenly
|  | Total "S" System Baseline | 126000 | 126000 | 0 | 50000 | 0 | 0 | 0 | 0 | 0 | 0
Common | FSA | Compressor Annual Maintenance Service Charge | 60000 | 60000 | [8 empty] | 85% | 15% |  |  | Quarterly
Unit 3 | FSA | Dessicant Changeout | 6000 | 6000 | [8 empty] | 30% | 70% |  |  | April
Common | FSA | Contingent Maintenance | 10000 | 10000 | [8 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FSA | Airline Corossion Repairs and Painting | 50000 | 50000 |  | 50000
|  | Total "V" System Baseline | 492000 | 457000 | 0 | 25000 | 10000 | 0 | 0 | 0 | 0 | 0
Unit 3 | FVY | LTSA Agreement - KLS | 342000 | 342000 | [8 empty] | 100% |  |  |  | Evenly
Unit 3 | FVY | Transmitters and Pressure switches | 30000 | 20000 |  |  | 10000 | [5 empty] | 25% | 75% |  |  | Evenly
Unit 3 | FVY | Structural Painting | 50000 | 25000 |  | 25000 | [6 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FVY | Valve Repairs and Replacements | 30000 | 30000 | [8 empty] | 25% | 75% |  |  | Evenly
Unit 3 | FVA | Gas Filters | 4000 | 4000 | [9 empty] | 100% |  |  | Evenly
CT | FVY | CT Maintenance | 15000 | 15000 | [8 empty] | 50% | 50% |  |  | Evenly
Unit 3 | FVK | Control Cards | 5000 | 5000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FVY | Blade Health Monitoring Maintenance | 16000 | 16000 | [8 empty] | 100% |  |  |  | Evenly
|  | Total "W" System Baseline | 1824000 | 1174000 | 0 | 650000 | 0 | 0 | 0 | 0 | 0 | 0
Unit 3 | FWB | Boiler Valves & Piping - Valves,Transmitters,Insulation | 605000 | 605000 | [8 empty] | 35% | 65% |  |  | Evenly
Unit 3 | FWB | Heat Trace Maintenance | 50000 | 50000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FWB | Fluor and Sunbelt Admin | 250000 | 250000 | [8 empty] | 100% |  |  |  | Evenly
Unit 3 | FWC | Chemicals - Lab Materials | 62000 | 62000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FWD | Uni Strut and Misc Instrument and Electrical Cabinet Replacements** | 100000 |  |  | 100000 | [6 empty] | 60% | 40% |  |  | Evenly
Unit 3 | FWD | Paint HRSG A*** | 200000 |  |  | 200000 | [6 empty] | 90% | 10% |  |  | Evenly
Unit 3 | FWD | Paint HRSG B** | 200000 |  |  | 200000 | [6 empty] | 90% | 10% |  |  | Evenly
Unit 3 | FWD | Paint BOP General Structure | 165000 | 165000 | [8 empty] | 90% | 10% |  |  | Evenly
Unit 3 | FWD | Paint Raw, Filter, and Condensate Tanks*** | 150000 |  |  | 150000 | [6 empty] | 90% | 10% |  |  | Evenly
Unit 3 | FWE | Boiler Water Circulation Pump - Economizer Pumps, Motors & Valves | 21000 | 21000 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FWG | Headers/Links/Drums/Vessels | 5500 | 5500 | [9 empty] | 100% |  |  | Evenly
Unit 3 | FWH | Duct Burner | 15500 | 15500 | [9 empty] | 100% |  |  | Evenly
|  | Total "Y" System Baseline | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total "Z" System Baseline | 74562 | 29562 | 15000 | 0 | 0 | 0 | 30000 | 0 | 0 | 0
Unit 1 | FZB | Emerson Sure Service Agreement | 29562 | 29562 | [8 empty] | 100% |  |  |  | February
Unit 3 | FZB | Computer System Upgrades | 15000 |  | 15000 | [8 empty] | 100% |  |  | Evenly
Common | FZY | NERC CIP | 30000 | [5 empty] | 30000 |  |  |  | 50% | 50% |  |  | Evenly

## FUM or FUF
Unit | Activity | Description of Project/Job | Budget Dollars | % Contract Labor | % Material | % Expenses (Other) | % Rental | Months to Spread | Year
Unit 1 | FBB | ID fan speed changer | 10000 | 50% | 50% |  |  | April - May (FUM) | 2013
Unit 1 | FBA | Replace FD fan inlet vane parts | 69000 | 80% | 20% |  |  | April - May (FUM) | 2013
Unit 1 | FBB | ID fan Inlet and outlet damper bearings | 10000 | 100% |  |  |  | April - May (FUM) | 2013
Unit 2 | FBB | Install shaft seals on 2A & 2B ID fan | 8000 | 80% | 20% |  |  | April - May (FUM) | 2013
Unit 1 | FBB | Install shaft seals on 1B ID fan | 2000 | 80% | 20% |  |  | April - May (FUM) | 2013
Unit 1 | FBB | Vacuuming Ductwork | 30000 | 100% |  |  |  | April - May (FUM) | 2013
Unit 1 | FBB | Ductwork Repairs | 12000 | 80% | 20% |  |  | April - May (FUM) | 2013
Unit 1 | FAB | Bottom ash pit refractory FUM | 150000 | 50% | 50% |  |  | April - May (FUM) | 2013
Unit 1 | FAB | Bottom ash pit floor FUM | 50000 |  |  |  |  | April - May (FUM) | 2013
Unit 1 | FAB | Clinker grinder repair | 16000 |  | 100% |  |  | April - May (FUM) | 2013
Unit 1 | FAF | Hot and cold precipitator repairs FUM | 50000 |  | 100% |  |  | April - May (FUM) | 2013
Unit 1 | FJA | Soot Blowing Piping | 10000 | 50% | 50% |  |  | April - May (FUM) | 2013
Unit 1 | FJC | Piping/Waterwall Valves/Safety Valves (inspect safety valves) | 45000 | 50% | 50% |  |  | April - May (FUM) | 2013
Unit 1 | FJD | Boiler Tubing/Superheat Tubes/Reheat Tubes | 15000 | 50% | 50% |  |  | April - May (FUM) | 2013
Unit 1 | FJE | Structure/Insulation/Furnace Supports | 10000 | 50% | 50% |  |  | April - May (FUM) | 2013
Unit 1 | FJH | Headers/Drum | 75000 | 50% | 50% |  |  | April - May (FUM) | 2013
Unit 2 | FBB | ID fan speed changer | 10000 |  |  | 100% |  | April - May (FUM) | 2014
Common | FBB | Stack Clean out (Requires Common Outage) | 52000 | 100% |  |  |  | April - May (FUM) | 2014
Unit 1 | FBB | Vacuuming Ductwork | 40000 | 100% |  |  |  | April - May (FUM) | 2014
Unit 1 | FBB | Ductwork Repairs | 50000 | 80% | 20% |  |  | April - May (FUM) | 2014
Unit 1 | FBA | ID Fan Inspection (NDE) | 6000 |  |  | 100% |  | April - May (FUM) | 2014
Unit 2 | FAB | Bottom ash pit refractory FUM | 150000 | 50% | 50% |  |  | April - May (FUM) | 2014
Unit 2 | FAB | Bottom ash pit floor FUM | 50000 |  |  |  |  | April - May (FUM) | 2014
Unit 2 | FAB | Clinker grinder repair | 16000 |  | 100% |  |  | April - May (FUM) | 2014
Unit 2 | FAF | Hot and cold precipitator repairs FUM | 50000 |  |  |  |  | April - May (FUM) | 2014
Unit 2 | FJA | Soot Blowing Piping | 15000 | 50% | 50% |  |  | April - May (FUM) | 2014
Unit 2 | FJC | Piping/Waterwall Valves (Inspect safety valves) | 56000 | 50% | 50% |  |  | April - May (FUM) | 2014
Unit 2 | FJD | Boiler Tubing/Superheat Tubes/Reheat Tubes | 15000 | 50% | 50% |  |  | April - May (FUM) | 2014
Unit 2 | FJE | Structure/Insulation/Furnace Supports | 10000 | 50% | 50% |  |  | April - May (FUM) | 2014
Unit 2 | FJH | Headers/Drum | 85000 | 50% | 50% |  |  | April - May (FUM) | 2014
Unit 2 | FBB | Vacuuming Ductwork | 20000 | 100% |  |  |  | April - May (FUM) | 2015
Unit 2 | FBB | Ductwork Repairs | 20000 | 80% | 20% |  |  | April - May (FUM) | 2015
Unit 1 | FBA | ID Fan Inspection (NDE) | 6000 |  |  | 100% |  | April - May (FUM) | 2015
Unit 1 | FAB | Bottom ash pit refractory FUM | 150000 | 50% | 50% |  |  | April - May (FUM) | 2015
Unit 1 | FAB | Clinker grinder repair | 16000 |  | 100% |  |  | April - May (FUM) | 2015
Unit 1 | FAF | Hot and cold precipitator repairs FUM | 50000 |  |  |  |  | April - May (FUM) | 2015
Unit 1 | FJA | Soot Blowing Piping | 10000 | 50% | 50% |  |  | April - May (FUM) | 2015
Unit 1 | FJC | Piping/Waterwall Valves/ Safety Valves | 25000 | 50% | 50% |  |  | April - May (FUM) | 2015
Unit 1 | FJD | Boiler Tubing/Superheat Tubes/Reheat Tubes | 20000 | 50% | 50% |  |  | April - May (FUM) | 2015
Unit 1 | FJE | Structure/Insulation/Furnace Supports | 15000 | 50% | 50% |  |  | April - May (FUM) | 2015
Unit 1 | FJH | Headers/Drum | 5000 | 50% | 50% |  |  | April - May (FUM) | 2015
Unit 1 | FBB | Vacuuming Ductwork | 40000 | 100% |  |  |  | April - May (FUM) | 2016
Unit 1 | FBB | Ductwork Repairs | 20000 | 80% | 20% |  |  | April - May (FUM) | 2016
Unit 1 | FBA | ID Fan Inspection (NDE) | 6000 |  |  | 100% |  | April - May (FUM) | 2016
Unit 2 | FAB | Bottom ash pit refractory FUM | 150000 | 50% | 50% |  |  | April - May (FUM) | 2016
Unit 2 | FAB | Clinker grinder repair | 16000 |  | 100% |  |  | April - May (FUM) | 2016
Unit 2 | FAF | Hot and cold precipitator repairs FUM | 50000 |  |  |  |  | April - May (FUM) | 2016
Unit 2 | FJA | Soot Blowing Piping | 15000 | 50% | 50% |  |  | April - May (FUM) | 2016
Unit 2 | FJC | Piping/Waterwall Valves/Safety Valves | 20000 | 50% | 50% |  |  | April - May (FUM) | 2016
Unit 2 | FJD | Boiler Tubing/Superheat Tubes/Reheat Tubes | 15000 | 50% | 50% |  |  | April - May (FUM) | 2016
Unit 2 | FJE | Structure/Insulation/Furnace Supports | 10000 | 50% | 50% |  |  | April - May (FUM) | 2016
Unit 2 | FJH | Headers/Drum | 3500 | 50% | 50% |  |  | April - May (FUM) | 2016
Unit 2 | FBB | Vacuuming Ductwork | 40000 | 100% |  |  |  | April - May (FUM) | 2017
Unit 1 | FBB | Ductwork Repairs | 10000 | 80% | 20% |  |  | April - May (FUM) | 2017
Unit 1 | FBA | ID Fan Inspection (NDE) | 6000 |  |  | 100% |  | April - May (FUM) | 2017
Unit 1 | FAB | Bottom ash pit refractory FUM | 150000 | 50% | 50% |  |  | April - May (FUM) | 2017
Unit 1 | FAB | Clinker grinder repair | 16000 |  | 100% |  |  | April - May (FUM) | 2017
Unit 1 | FAF | Hot and cold precipitator repairs FUM | 50000 | 50% | 50% |  |  | April - May (FUM) | 2017
Unit 1 | FJA | Soot Blowing Piping | 15000 | 50% | 50% |  |  | April - May (FUM) | 2017
Unit 1 | FJC | Piping/Waterwall Valves/Safety Valves | 20000 | 50% | 50% |  |  | April - May (FUM) | 2017
Unit 1 | FJD | Boiler Tubing/Superheat Tubes/Reheat Tubes | 15000 | 50% | 50% |  |  | April - May (FUM) | 2017
Unit 1 | FJE | Structure/Insulation/Furnace Supports | 20000 | 50% | 50% |  |  | April - May (FUM) | 2017
Unit 1 | FJH | Headers/Drum | 3500 | 50% | 50% |  |  | April - May (FUM) | 2017
Note on C9: nmplombo: Need at least 14 day outage for this type of repair. Spot repairs can be made in shorter time frame.
Note on C10: nmplombo: In House Repair
Note on C12: nmplombo: Spread depends on if the shop does the work or contractor. In house could save up to 50%
Note on C23: nmplombo: Need at least 14 day outage for this type of repair. Spot repairs can be made in shorter time frame.
Note on C24: nmplombo: In House Repair
Note on C26: nmplombo: Spread depends on if the shop does the work or contractor. In house could save up to 50%
Note on C35: nmplombo: Need at least 14 day outage for this type of repair. Spot repairs can be made in shorter time frame.
Note on C37: nmplombo: Spread depends on if the shop does the work or contractor. In house could save up to 50%
Note on C46: nmplombo: Need at least 14 day outage for this type of repair. Spot repairs can be made in shorter time frame.
Note on C48: nmplombo: Spread depends on if the shop does the work or contractor. In house could save up to 50%
Note on C57: nmplombo: Need at least 14 day outage for this type of repair. Spot repairs can be made in shorter time frame.
Note on C59: nmplombo: Spread depends on if the shop does the work or contractor. In house could save up to 50%

## Baseline Historicals
System (Baseline ONLY) | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 YTD Thru June | 2013 Budget Request | 2014 Budget Request
Management Activities | 809657 | 788030 | 644754 | 825882 | 1023538 | 461589 | 1017916 | 1022916
Training Activities | 155505 | 109897 | 69553 | 63653 | 133067 | 116943 | 157000 | 157000
A System | 657182 | 195055 | 632788 | 747893 | 1288340 | 97116 | 1009500 | 803000
B System | 103840 | 283775 | 74970 | 120247 | 117999 | 40127 | 135000 | 135000
C System | 101561 | 293121 | 238615 | 368789 | 501318 | 26561 | 247000 | 249100
D System | 721720 | 742387 | 354755 | 344342 | 350083 | 271095 | 342500 | 345500
E System | 247307 | 110435 | 164990 | 166196 | 142235 | 63079 | 114000 | 114000
F System | 579730 | 419969 | 421704 | 371627 | 111771 | 43158 | 493000 | 343000
G System | 0 | 0 | 0 | 0 | 547 | 0 | 5000 | 2000
H System | 379223 | 520278 | 506488 | 508670 | 541880 | 310900 | 733000 | 687500
J System | 289436 | 189215 | 68786 | 72868 | 209845 | 25126 | 253700 | 206700
K System | 10504 | 14518 | 30858 | 22435 | 31640 | 4464 | 24000 | 24000
L System | 185691 | 121237 | 11773 | 61281 | 23783 | 43623 | 181500 | 219000
M System | 21051 | 168756 | 134213 | 22511 | 24748 | 81454 | 100000 | 142000
N System | 191673 | 367946 | 181854 | 195878 | 149588 | 85385 | 200000 | 200000
P System | 943178 | 743383 | 1029807 | 1232865 | 1190874 | 553749 | 1015000 | 1055000
R System | 133192 | 112886 | 218001 | 120347 | 133503 | 96202 | 226820 | 235820
S System | 19956 | 69053 | 75613 | 65538 | 66075 | 95552 | 126000 | 126000
V System | 201939 | 8430 | 2176 | 51266 | 365867 | 190435 | 552000 | 492000
W System | 0 | 56096 | 54297 | 127523 | 1819728 | 818241 | 1790000 | 1824000
Y System | 0 | 0 | 36 | 6470 | 10002 | 17025 | 0 | 0
Z System | 156424 | 12676 | 38739 | 48008 | 46160 | 30410 | 74562 | 74562
[6 empty] | Total Request This Year | 8797498 | 8458098
[6 empty] | Total Request Last Year | 10011058 | 9446539
[6 empty] | Difference | -1213560 | -988441
[6 empty] | FUM Money | 500000 | 500000
[6 empty] | Difference w/FUM | -713560 | -488441
Note on H31: nmplombo: A System 200K B System 150K J System 150K
Note on I31: nmplombo: A System 200K B System 150K J System 150K