## total-with losses
Total GULF | [6 empty] | Total GULF
Annual Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Annual Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
[18 empty] | Peak | Peak
[15 empty] | Energy | Peak | Peak | LF | Energy
Year | Total Load(GWh) | Peak Load(MW) | Load Factor | Month | Day | Hour | Year | Total Load(GWh) | Peak Load(MW) | Load Factor | Month | Day | Hour |  | Diff % | Diff % | Diff MW | Diff | Diff
2012 | 11644.019 | 2361.902 | 56.278 | May | 28 | 16 | 2012 | 12045.559 | 2526.078 | 54.435 | July | 18 | 17 |  | -3.334% | -6.499% | -164.176 | -79.9569 | -84.2191
2013 | 12195.589 | 2532.422 | 54.975 | July | 18 | 17 | 2013 | 12310.767 | 2543.271 | 55.257 | July | 18 | 17 |  | -0.9356% | -0.4266% | -10.849 | 12.9394 | -23.7884
2014 | 12329.544 | 2555.172 | 55.084 | July | 18 | 17 | 2014 | 12480.567 | 2573.58 | 55.36 | July | 18 | 17 |  | -1.21% | -0.7153% | -18.408 | 12.7547 | -31.1627
2015 | 12493.788 | 2594.829 | 54.964 | July | 18 | 17 | 2015 | 12727.662 | 2624.596 | 55.358 | July | 18 | 17 |  | -1.838% | -1.134% | -29.767 | 18.4507 | -48.2177
2016 | 12788.552 | 2649.53 | 55.1 | July | 18 | 17 | 2016 | 12938.726 | 2663.043 | 55.464 | July | 18 | 17 |  | -1.161% | -0.5074% | -13.513 | 17.4076 | -30.9206
2017 | 12979.991 | 2687.39 | 55.137 | July | 18 | 17 | 2017 | 13086.524 | 2693.98 | 55.453 | July | 18 | 17 |  | -0.8141% | -0.2446% | -6.59 | 15.3359 | -21.9259
2018 | 13085.218 | 2709.077 | 55.139 | July | 18 | 17 | 2018 | 13193.233 | 2715.942 | 55.453 | July | 18 | 17 |  | -0.8187% | -0.2528% | -6.865 | 15.361 | -22.226
2019 | 13228.033 | 2738.829 | 55.135 | July | 18 | 17 | 2019 | 13337.571 | 2745.991 | 55.446 | July | 18 | 17 |  | -0.8213% | -0.2608% | -7.162 | 15.3694 | -22.5314
2020 | 13365.829 | 2767.074 | 55.141 | July | 18 | 17 | 2020 | 13476.441 | 2774.432 | 55.449 | July | 18 | 17 |  | -0.8208% | -0.2652% | -7.358 | 15.3931 | -22.7511
2021 | 13504.306 | 2797.516 | 55.106 | July | 18 | 17 | 2021 | 13618.258 | 2805.405 | 55.414 | July | 18 | 17 |  | -0.8368% | -0.2812% | -7.889 | 15.5702 | -23.4592
2022 | 13622.095 | 2822.168 | 55.101 | July | 18 | 17 | 2022 | 13737.156 | 2830.229 | 55.408 | July | 18 | 17 |  | -0.8376% | -0.2848% | -8.061 | 15.6533 | -23.7143
2023 | 13734.465 | 2845.721 | 55.095 | July | 18 | 17 | 2023 | 13850.857 | 2853.984 | 55.401 | July | 18 | 17 |  | -0.8403% | -0.2895% | -8.263 | 15.6975 | -23.9605
2024 | 13853.651 | 2869.917 | 55.105 | July | 18 | 17 | 2024 | 13971.151 | 2878.524 | 55.406 | July | 18 | 17 |  | -0.841% | -0.299% | -8.607 | 15.5925 | -24.1995
2025 | 13959.209 | 2892.736 | 55.087 | July | 18 | 17 | 2025 | 14078.349 | 2901.434 | 55.39 | July | 18 | 17 |  | -0.8463% | -0.2998% | -8.698 | 15.8322 | -24.5302
2026 | 14062.415 | 2914.01 | 55.089 | July | 18 | 17 | 2026 | 14183.235 | 2922.979 | 55.392 | July | 18 | 17 |  | -0.8519% | -0.3068% | -8.969 | 15.9408 | -24.9098
2027 | 14160.061 | 2933.721 | 55.099 | July | 18 | 17 | 2027 | 14282.09 | 2942.978 | 55.399 | July | 18 | 17 |  | -0.8544% | -0.3145% | -9.257 | 15.897 | -25.154
2028 | 14333.747 | 2971.039 | 55.074 | July | 18 | 17 | 2028 | 14457.463 | 2980.626 | 55.371 | July | 18 | 17 |  | -0.8557% | -0.3216% | -9.587 | 15.9317 | -25.5187
2029 | 14434.756 | 2992.587 | 55.063 | July | 18 | 17 | 2029 | 14560.497 | 3002.406 | 55.361 | July | 18 | 17 |  | -0.8636% | -0.327% | -9.819 | 16.1177 | -25.9367
2030 | 14563.303 | 3019.605 | 55.056 | July | 18 | 17 | 2030 | 14691.068 | 3029.81 | 55.352 | July | 18 | 17 |  | -0.8697% | -0.3368% | -10.205 | 16.1408 | -26.3458
2031 | 14690.669 | 3046.527 | 55.047 | July | 18 | 17 | 2031 | 14820.243 | 3056.978 | 55.343 | July | 18 | 17 |  | -0.8743% | -0.3419% | -10.451 | 16.3027 | -26.7537
2032 | 14813.848 | 3071.171 | 55.063 | July | 18 | 17 | 2032 | 14944.527 | 3082.01 | 55.353 | July | 18 | 17 |  | -0.8744% | -0.3517% | -10.839 | 16.0908 | -26.9298
2033 | 14933.358 | 3097.184 | 55.041 | July | 18 | 17 | 2033 | 15066.376 | 3108.294 | 55.333 | July | 18 | 17 |  | -0.8829% | -0.3574% | -11.11 | 16.3439 | -27.4539
2034 | 15042.191 | 3119.68 | 55.042 | July | 18 | 17 | 2034 | 15176.191 | 3130.895 | 55.334 | July | 18 | 17 |  | -0.883% | -0.3582% | -11.215 | 16.4431 | -27.6581
2035 | 15134.688 | 3138.231 | 55.053 | July | 18 | 17 | 2035 | 15270.055 | 3149.729 | 55.343 | July | 18 | 17 |  | -0.8865% | -0.365% | -11.498 | 16.4196 | -27.9176
2036 | 15229.211 | 3156.408 | 55.078 | July | 18 | 17 | 2036 | 15364.837 | 3168.019 | 55.365 | July | 18 | 17 |  | -0.8827% | -0.3665% | -11.611 | 16.3477 | -27.9587
2037 | 15308.878 | 3173.301 | 55.072 | July | 18 | 17 | 2037 | 15446.094 | 3185.106 | 55.359 | July | 18 | 17 |  | -0.8884% | -0.3706% | -11.805 | 16.4723 | -28.2773
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2012 | [6 empty] | Year: 2012 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 854.119 | 2051.055 | 55.972 | 3 | 8 |  | January | 857.076 | 2055.901 | 56.033 | 3 | 8 |  | 744 | -0.345% | -0.2357% | -4.846 | 2.2455 | -7.0915 | 7.335% | 7.115% | 86.84% | 81.39%
February | 762.656 | 1882.207 | 60.296 | 6 | 8 |  | February | 765.271 | 1886.536 | 60.364 | 6 | 8 |  | 672 | -0.3417% | -0.2295% | -4.329 | 2.105 | -6.434 | 6.55% | 6.353% | 79.69% | 74.68%
March | 844.37 | 1745.797 | 65.008 | 15 | 8 |  | March | 847.152 | 1750.396 | 65.051 | 15 | 8 |  | 744 | -0.3284% | -0.2627% | -4.599 | 1.1568 | -5.7558 | 7.252% | 7.033% | 73.91% | 69.29%
April | 846.649 | 1776.045 | 66.209 | 25 | 17 |  | April | 849.384 | 1781.214 | 66.23 | 25 | 17 |  | 720 | -0.322% | -0.2902% | -5.169 | 0.56351 | -5.7325 | 7.271% | 7.051% | 75.2% | 70.51%
May | 1092.617 | 2361.902 | 62.177 | 28 | 16 |  | May | 1092.617 | 2363.363 | 62.139 | 28 | 16 |  | 744 | 0% | -0.06182% | -1.461 | -1.4628 | 0.0017734 | 9.384% | 9.071% | 100% | 93.56%
June | 1108.027 | 2199.394 | 69.97 | 11 | 17 |  | June | 1236.19 | 2469.48 | 69.526 | 11 | 17 |  | 720 | -10.37% | -10.94% | -270.086 | -14.0605 | -256.0255 | 9.516% | 10.26% | 93.12% | 97.76%
July | 1256.855 | 2358.547 | 71.626 | 18 | 17 |  | July | 1330.12 | 2526.078 | 70.774 | 18 | 17 |  | 744 | -5.508% | -6.632% | -167.531 | -28.3765 | -139.1545 | 10.79% | 11.04% | 99.86% | 100%
August | 1184.201 | 2220.36 | 71.685 | 15 | 17 |  | August | 1288.863 | 2443.779 | 70.888 | 15 | 17 |  | 744 | -8.12% | -9.142% | -223.419 | -24.9679 | -198.4511 | 10.17% | 10.7% | 94.01% | 96.74%
September | 1065.434 | 2159.918 | 68.51 | 5 | 15 |  | September | 1128.664 | 2312.44 | 67.789 | 5 | 15 |  | 720 | -5.602% | -6.596% | -152.522 | -22.987 | -129.535 | 9.15% | 9.37% | 91.45% | 91.54%
October | 906.093 | 1906.199 | 63.89 | 22 | 16 |  | October | 898.161 | 1923.208 | 62.77 | 22 | 16 |  | 744 | 0.8831% | -0.8844% | -17.009 | -34.0064 | 16.9974 | 7.782% | 7.456% | 80.71% | 76.13%
November | 820.777 | 1721.696 | 66.212 | 27 | 8 |  | November | 828.939 | 1750.711 | 65.762 | 27 | 8 |  | 720 | -0.9846% | -1.657% | -29.015 | -11.7793 | -17.2357 | 7.049% | 6.882% | 72.89% | 69.31%
December | 902.222 | 2067.014 | 58.667 | 17 | 8 |  | December | 923.121 | 2112.923 | 58.722 | 17 | 8 |  | 744 | -2.264% | -2.173% | -45.909 | 1.9209 | -47.8299 | 7.748% | 7.664% | 87.51% | 83.64%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2013 | [6 empty] | Year: 2013 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 959.87 | 2286.671 | 56.42 | 3 | 8 |  | January | 980.082 | 2337.068 | 56.366 | 3 | 8 |  | 744 | -2.062% | -2.156% | -50.397 | -2.205 | -48.192 | 7.871% | 7.961% | 90.3% | 91.89%
February | 799.225 | 2030.935 | 58.56 | 6 | 8 |  | February | 821.077 | 2086.294 | 58.565 | 6 | 8 |  | 672 | -2.661% | -2.653% | -55.359 | 0.16079 | -55.5198 | 6.553% | 6.67% | 80.2% | 82.03%
March | 827.705 | 1706.888 | 65.177 | 15 | 8 |  | March | 847.189 | 1750.893 | 65.035 | 15 | 8 |  | 744 | -2.3% | -2.513% | -44.005 | -3.7397 | -40.2653 | 6.787% | 6.882% | 67.4% | 68.84%
April | 827.214 | 1718.399 | 66.859 | 25 | 17 |  | April | 840.511 | 1747.904 | 66.787 | 25 | 17 |  | 720 | -1.582% | -1.688% | -29.505 | -1.8584 | -27.6466 | 6.783% | 6.827% | 67.86% | 68.73%
May | 1057.886 | 2278.726 | 62.398 | 28 | 16 |  | May | 1062.457 | 2297.31 | 62.161 | 28 | 16 |  | 744 | -0.4302% | -0.8089% | -18.584 | -8.7047 | -9.8793 | 8.674% | 8.63% | 89.98% | 90.33%
June | 1213.773 | 2421.037 | 69.631 | 11 | 17 |  | June | 1223.226 | 2444.077 | 69.512 | 11 | 17 |  | 720 | -0.7728% | -0.9427% | -23.04 | -4.1498 | -18.8902 | 9.953% | 9.936% | 95.6% | 96.1%
July | 1337.265 | 2532.422 | 70.976 | 18 | 17 |  | July | 1338.514 | 2543.271 | 70.739 | 18 | 17 |  | 744 | -0.09331% | -0.4266% | -10.849 | -8.4666 | -2.3824 | 10.97% | 10.87% | 100% | 100%
August | 1318.496 | 2493.193 | 71.08 | 15 | 17 |  | August | 1319.231 | 2502.295 | 70.861 | 15 | 17 |  | 744 | -0.05571% | -0.3637% | -9.102 | -7.7201 | -1.3819 | 10.81% | 10.72% | 98.45% | 98.39%
September | 1143.649 | 2338.677 | 67.919 | 5 | 15 |  | September | 1144.885 | 2348.371 | 67.712 | 5 | 15 |  | 720 | -0.108% | -0.4128% | -9.694 | -7.1426 | -2.5514 | 9.378% | 9.3% | 92.35% | 92.34%
October | 945.541 | 2022.951 | 62.824 | 22 | 16 |  | October | 948.281 | 2038.422 | 62.527 | 22 | 16 |  | 744 | -0.2889% | -0.759% | -15.471 | -9.5924 | -5.8786 | 7.753% | 7.703% | 79.88% | 80.15%
November | 829.739 | 1751.45 | 65.798 | 27 | 8 |  | November | 837.345 | 1771.824 | 65.637 | 27 | 8 |  | 720 | -0.9083% | -1.15% | -20.374 | -4.2903 | -16.0837 | 6.804% | 6.802% | 69.16% | 69.67%
December | 935.226 | 2145.838 | 58.58 | 17 | 8 |  | December | 947.968 | 2172.311 | 58.654 | 17 | 8 |  | 744 | -1.344% | -1.219% | -26.473 | 2.7204 | -29.1934 | 7.669% | 7.7% | 84.73% | 85.41%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2014 | [6 empty] | Year: 2014 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 983.391 | 2346.033 | 56.34 | 3 | 8 |  | January | 993.239 | 2369.81 | 56.334 | 3 | 8 |  | 744 | -0.9915% | -1.003% | -23.777 | -0.26248 | -23.5145 | 7.976% | 7.958% | 91.82% | 92.08%
February | 816.867 | 2078.149 | 58.493 | 6 | 8 |  | February | 832.202 | 2115.696 | 58.534 | 6 | 8 |  | 672 | -1.843% | -1.775% | -37.547 | 1.4485 | -38.9955 | 6.625% | 6.668% | 81.33% | 82.21%
March | 843.928 | 1741.546 | 65.132 | 15 | 8 |  | March | 858.51 | 1775.017 | 65.008 | 15 | 8 |  | 744 | -1.699% | -1.886% | -33.471 | -3.3344 | -30.1366 | 6.845% | 6.879% | 68.16% | 68.97%
April | 841.058 | 1748.366 | 66.813 | 25 | 17 |  | April | 851.909 | 1772.585 | 66.75 | 25 | 17 |  | 720 | -1.274% | -1.366% | -24.219 | -1.6506 | -22.5684 | 6.821% | 6.826% | 68.42% | 68.88%
May | 1071.7 | 2308.606 | 62.395 | 28 | 16 |  | May | 1076.074 | 2327.319 | 62.146 | 28 | 16 |  | 744 | -0.4065% | -0.8041% | -18.713 | -9.2535 | -9.4595 | 8.692% | 8.622% | 90.35% | 90.43%
June | 1226.881 | 2446.929 | 69.638 | 11 | 17 |  | June | 1238.13 | 2474.053 | 69.506 | 11 | 17 |  | 720 | -0.9085% | -1.096% | -27.124 | -4.6599 | -22.4641 | 9.951% | 9.92% | 95.76% | 96.13%
July | 1349.462 | 2555.172 | 70.985 | 18 | 17 |  | July | 1354.343 | 2573.58 | 70.732 | 18 | 17 |  | 744 | -0.3604% | -0.7153% | -18.408 | -9.1454 | -9.2626 | 10.94% | 10.85% | 100% | 100%
August | 1329.236 | 2512.84 | 71.099 | 15 | 17 |  | August | 1335.991 | 2534.424 | 70.852 | 15 | 17 |  | 744 | -0.5056% | -0.8516% | -21.584 | -8.7649 | -12.8191 | 10.78% | 10.7% | 98.34% | 98.48%
September | 1151.519 | 2353.855 | 67.945 | 5 | 15 |  | September | 1160.56 | 2380.836 | 67.703 | 5 | 15 |  | 720 | -0.779% | -1.133% | -26.981 | -8.4213 | -18.5597 | 9.34% | 9.299% | 92.12% | 92.51%
October | 950.151 | 2030.728 | 62.888 | 22 | 16 |  | October | 962.444 | 2069.569 | 62.506 | 22 | 16 |  | 744 | -1.277% | -1.877% | -38.841 | -12.4113 | -26.4297 | 7.706% | 7.712% | 79.48% | 80.42%
November | 830.722 | 1747.357 | 66.03 | 27 | 8 |  | November | 851.622 | 1802.72 | 65.612 | 27 | 8 |  | 720 | -2.454% | -3.071% | -55.363 | -11.1331 | -44.2299 | 6.738% | 6.824% | 68.39% | 70.05%
December | 934.629 | 2136.177 | 58.807 | 17 | 8 |  | December | 965.544 | 2213.729 | 58.624 | 17 | 8 |  | 744 | -3.202% | -3.503% | -77.552 | -6.6685 | -70.8835 | 7.58% | 7.736% | 83.6% | 86.02%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2015 | [6 empty] | Year: 2015 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 983.905 | 2339.065 | 56.538 | 3 | 8 |  | January | 1012.816 | 2417.691 | 56.306 | 3 | 8 |  | 744 | -2.855% | -3.252% | -78.626 | -9.6242 | -69.0018 | 7.875% | 7.958% | 90.14% | 92.12%
February | 819.769 | 2078.624 | 58.688 | 6 | 8 |  | February | 848.911 | 2159.119 | 58.508 | 6 | 8 |  | 672 | -3.433% | -3.728% | -80.495 | -6.3804 | -74.1146 | 6.561% | 6.67% | 80.11% | 82.26%
March | 848.377 | 1745.063 | 65.344 | 15 | 8 |  | March | 876.383 | 1812.892 | 64.975 | 15 | 8 |  | 744 | -3.196% | -3.741% | -67.829 | -9.9069 | -57.9221 | 6.79% | 6.886% | 67.25% | 69.07%
April | 847.285 | 1759.793 | 66.871 | 25 | 17 |  | April | 869.882 | 1811.908 | 66.679 | 25 | 17 |  | 720 | -2.598% | -2.876% | -52.115 | -5.0576 | -47.0574 | 6.782% | 6.835% | 67.82% | 69.04%
May | 1082.341 | 2329.435 | 62.451 | 28 | 16 |  | May | 1098.362 | 2377.045 | 62.106 | 28 | 16 |  | 744 | -1.459% | -2.003% | -47.61 | -12.9464 | -34.6636 | 8.663% | 8.63% | 89.77% | 90.57%
June | 1243.294 | 2479.303 | 69.648 | 11 | 17 |  | June | 1262.747 | 2524.16 | 69.481 | 11 | 17 |  | 720 | -1.541% | -1.777% | -44.857 | -5.9767 | -38.8803 | 9.951% | 9.921% | 95.55% | 96.17%
July | 1370.246 | 2594.829 | 70.977 | 18 | 17 |  | July | 1380.698 | 2624.596 | 70.707 | 18 | 17 |  | 744 | -0.757% | -1.134% | -29.767 | -9.9039 | -19.8631 | 10.97% | 10.85% | 100% | 100%
August | 1351.727 | 2555.995 | 71.081 | 15 | 17 |  | August | 1361.757 | 2584.24 | 70.826 | 15 | 17 |  | 744 | -0.7365% | -1.093% | -28.245 | -9.2174 | -19.0276 | 10.82% | 10.7% | 98.5% | 98.46%
September | 1172.397 | 2397.412 | 67.92 | 5 | 15 |  | September | 1182.854 | 2427.298 | 67.682 | 5 | 15 |  | 720 | -0.884% | -1.231% | -29.886 | -8.4406 | -21.4454 | 9.384% | 9.294% | 92.39% | 92.48%
October | 968.703 | 2071.316 | 62.86 | 22 | 16 |  | October | 980.942 | 2110.106 | 62.484 | 22 | 16 |  | 744 | -1.248% | -1.838% | -38.79 | -12.4497 | -26.3403 | 7.753% | 7.707% | 79.82% | 80.4%
November | 848.701 | 1785.271 | 66.027 | 27 | 8 |  | November | 868.128 | 1837.151 | 65.631 | 27 | 8 |  | 720 | -2.238% | -2.824% | -51.88 | -10.7574 | -41.1226 | 6.793% | 6.821% | 68.8% | 70%
December | 957.044 | 2188.702 | 58.772 | 17 | 8 |  | December | 984.184 | 2256.042 | 58.635 | 17 | 8 |  | 744 | -2.758% | -2.985% | -67.34 | -5.1233 | -62.2167 | 7.66% | 7.733% | 84.35% | 85.96%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2016 | [6 empty] | Year: 2016 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1008.064 | 2398.033 | 56.502 | 3 | 8 |  | January | 1031.95 | 2463.283 | 56.308 | 3 | 8 |  | 744 | -2.315% | -2.649% | -65.25 | -8.2409 | -57.0091 | 7.883% | 7.976% | 90.51% | 92.5%
February | 880.778 | 2241.734 | 58.467 | 6 | 8 |  | February | 906.508 | 2312.535 | 58.333 | 6 | 8 |  | 672 | -2.838% | -3.062% | -70.801 | -5.1615 | -65.6395 | 6.887% | 7.006% | 84.61% | 86.84%
March | 856.335 | 1758.955 | 65.436 | 15 | 8 |  | March | 878.557 | 1813.127 | 65.128 | 15 | 8 |  | 744 | -2.529% | -2.988% | -54.172 | -8.3155 | -45.8565 | 6.696% | 6.79% | 66.39% | 68.08%
April | 867.292 | 1803.194 | 66.802 | 25 | 17 |  | April | 884.342 | 1842.794 | 66.652 | 25 | 17 |  | 720 | -1.928% | -2.149% | -39.6 | -4.0619 | -35.5381 | 6.782% | 6.835% | 68.06% | 69.2%
May | 1106.869 | 2383.86 | 62.408 | 28 | 16 |  | May | 1115.615 | 2414.389 | 62.106 | 28 | 16 |  | 744 | -0.784% | -1.264% | -30.529 | -11.6044 | -18.9246 | 8.655% | 8.622% | 89.97% | 90.66%
June | 1270.057 | 2533.746 | 69.619 | 11 | 17 |  | June | 1281.883 | 2562.623 | 69.475 | 11 | 17 |  | 720 | -0.9225% | -1.127% | -28.877 | -5.2508 | -23.6262 | 9.931% | 9.907% | 95.63% | 96.23%
July | 1398.502 | 2649.53 | 70.945 | 18 | 17 |  | July | 1400.795 | 2663.043 | 70.701 | 18 | 17 |  | 744 | -0.1637% | -0.5074% | -13.513 | -9.141 | -4.372 | 10.94% | 10.83% | 100% | 100%
August | 1378.798 | 2608.232 | 71.053 | 15 | 17 |  | August | 1380.611 | 2620.144 | 70.823 | 15 | 17 |  | 744 | -0.1313% | -0.4546% | -11.912 | -8.4647 | -3.4473 | 10.78% | 10.67% | 98.44% | 98.39%
September | 1195.6 | 2445.666 | 67.898 | 5 | 15 |  | September | 1198.384 | 2459.056 | 67.685 | 5 | 15 |  | 720 | -0.2323% | -0.5445% | -13.39 | -7.6923 | -5.6977 | 9.349% | 9.262% | 92.31% | 92.34%
October | 987.361 | 2112.216 | 62.83 | 22 | 16 |  | October | 992.453 | 2134.311 | 62.5 | 22 | 16 |  | 744 | -0.5131% | -1.035% | -22.095 | -11.141 | -10.954 | 7.721% | 7.67% | 79.72% | 80.15%
November | 864.595 | 1818.064 | 66.05 | 27 | 8 |  | November | 876.045 | 1851.062 | 65.731 | 27 | 8 |  | 720 | -1.307% | -1.783% | -32.998 | -8.8158 | -24.1822 | 6.761% | 6.771% | 68.62% | 69.51%
December | 974.301 | 2227.203 | 58.798 | 17 | 8 |  | December | 991.583 | 2269.217 | 58.733 | 17 | 8 |  | 744 | -1.743% | -1.851% | -42.014 | -2.4538 | -39.5602 | 7.619% | 7.664% | 84.06% | 85.21%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2017 | [6 empty] | Year: 2017 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1023.671 | 2430.861 | 56.601 | 3 | 8 |  | January | 1044.179 | 2490.506 | 56.353 | 3 | 8 |  | 744 | -1.964% | -2.395% | -59.645 | -10.716 | -48.929 | 7.887% | 7.979% | 90.45% | 92.45%
February | 865.183 | 2193.669 | 58.69 | 6 | 8 |  | February | 886.957 | 2256.816 | 58.484 | 6 | 8 |  | 672 | -2.455% | -2.798% | -63.147 | -7.7446 | -55.4024 | 6.666% | 6.778% | 81.63% | 83.77%
March | 895.555 | 1841.892 | 65.351 | 15 | 8 |  | March | 915.003 | 1892.868 | 64.972 | 15 | 8 |  | 744 | -2.125% | -2.693% | -50.976 | -10.7568 | -40.2192 | 6.9% | 6.992% | 68.54% | 70.26%
April | 881.737 | 1832.239 | 66.838 | 25 | 17 |  | April | 895.006 | 1865.028 | 66.651 | 25 | 17 |  | 720 | -1.483% | -1.758% | -32.789 | -5.1449 | -27.6441 | 6.793% | 6.839% | 68.18% | 69.23%
May | 1123.731 | 2418.273 | 62.457 | 28 | 16 |  | May | 1128.914 | 2442.405 | 62.126 | 28 | 16 |  | 744 | -0.4591% | -0.988% | -24.132 | -12.901 | -11.231 | 8.657% | 8.627% | 89.99% | 90.66%
June | 1288.989 | 2570.205 | 69.654 | 11 | 17 |  | June | 1296.943 | 2592.424 | 69.484 | 11 | 17 |  | 720 | -0.6133% | -0.8571% | -22.219 | -6.3054 | -15.9136 | 9.931% | 9.911% | 95.64% | 96.23%
July | 1419.027 | 2687.39 | 70.972 | 18 | 17 |  | July | 1417.105 | 2693.98 | 70.702 | 18 | 17 |  | 744 | 0.1356% | -0.2446% | -6.59 | -10.2626 | 3.6726 | 10.93% | 10.83% | 100% | 100%
August | 1399.031 | 2645.452 | 71.081 | 15 | 17 |  | August | 1396.612 | 2650.371 | 70.827 | 15 | 17 |  | 744 | 0.1732% | -0.1856% | -4.919 | -9.4932 | 4.5742 | 10.78% | 10.67% | 98.44% | 98.38%
September | 1213.626 | 2481.615 | 67.923 | 5 | 15 |  | September | 1212.45 | 2487.808 | 67.688 | 5 | 15 |  | 720 | 0.09699% | -0.2489% | -6.193 | -8.6221 | 2.4291 | 9.35% | 9.265% | 92.34% | 92.35%
October | 1002.45 | 2143.183 | 62.868 | 22 | 16 |  | October | 1004.183 | 2159.206 | 62.509 | 22 | 16 |  | 744 | -0.1726% | -0.7421% | -16.023 | -12.3131 | -3.7099 | 7.723% | 7.673% | 79.75% | 80.15%
November | 878.016 | 1843.33 | 66.156 | 27 | 8 |  | November | 886.221 | 1871.17 | 65.78 | 27 | 8 |  | 720 | -0.9258% | -1.488% | -27.84 | -10.5263 | -17.3137 | 6.764% | 6.772% | 68.59% | 69.46%
December | 988.976 | 2256.94 | 58.897 | 17 | 8 |  | December | 1002.95 | 2293.628 | 58.774 | 17 | 8 |  | 744 | -1.393% | -1.6% | -36.688 | -4.7213 | -31.9667 | 7.619% | 7.664% | 83.98% | 85.14%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2018 | [6 empty] | Year: 2018 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1031.889 | 2449.49 | 56.622 | 3 | 8 |  | January | 1052.541 | 2509.494 | 56.374 | 3 | 8 |  | 744 | -1.962% | -2.391% | -60.004 | -10.7711 | -49.2329 | 7.886% | 7.978% | 90.42% | 92.4%
February | 872.175 | 2210.471 | 58.715 | 6 | 8 |  | February | 894.075 | 2273.893 | 58.511 | 6 | 8 |  | 672 | -2.449% | -2.789% | -63.422 | -7.7093 | -55.7127 | 6.665% | 6.777% | 81.59% | 83.72%
March | 902.784 | 1856.017 | 65.378 | 15 | 8 |  | March | 922.357 | 1907.236 | 65.001 | 15 | 8 |  | 744 | -2.122% | -2.686% | -51.219 | -10.7533 | -40.4657 | 6.899% | 6.991% | 68.51% | 70.22%
April | 888.854 | 1847.17 | 66.833 | 25 | 17 |  | April | 902.265 | 1880.293 | 66.646 | 25 | 17 |  | 720 | -1.486% | -1.762% | -33.123 | -5.1834 | -27.9396 | 6.793% | 6.839% | 68.18% | 69.23%
May | 1132.797 | 2437.392 | 62.467 | 28 | 16 |  | May | 1138.13 | 2461.837 | 62.138 | 28 | 16 |  | 744 | -0.4686% | -0.993% | -24.445 | -12.9228 | -11.5222 | 8.657% | 8.627% | 89.97% | 90.64%
June | 1299.494 | 2590.961 | 69.66 | 11 | 17 |  | June | 1307.603 | 2613.484 | 69.49 | 11 | 17 |  | 720 | -0.6201% | -0.8618% | -22.523 | -6.3232 | -16.1998 | 9.931% | 9.911% | 95.64% | 96.23%
July | 1430.508 | 2709.077 | 70.973 | 18 | 17 |  | July | 1428.728 | 2715.942 | 70.706 | 18 | 17 |  | 744 | 0.1246% | -0.2528% | -6.865 | -10.2478 | 3.3828 | 10.93% | 10.83% | 100% | 100%
August | 1410.322 | 2666.719 | 71.083 | 15 | 17 |  | August | 1408.03 | 2671.877 | 70.831 | 15 | 17 |  | 744 | 0.1628% | -0.193% | -5.158 | -9.502 | 4.344 | 10.78% | 10.67% | 98.44% | 98.38%
September | 1223.502 | 2501.617 | 67.928 | 5 | 15 |  | September | 1222.451 | 2507.983 | 67.698 | 5 | 15 |  | 720 | 0.08597% | -0.2538% | -6.366 | -8.5138 | 2.1478 | 9.35% | 9.266% | 92.34% | 92.34%
October | 1010.607 | 2160.434 | 62.874 | 22 | 16 |  | October | 1012.466 | 2176.723 | 62.518 | 22 | 16 |  | 744 | -0.1836% | -0.7483% | -16.289 | -12.2886 | -4.0004 | 7.723% | 7.674% | 79.75% | 80.15%
November | 885.186 | 1857.555 | 66.185 | 27 | 8 |  | November | 893.459 | 1885.587 | 65.811 | 27 | 8 |  | 720 | -0.926% | -1.487% | -28.032 | -10.5598 | -17.4722 | 6.765% | 6.772% | 68.57% | 69.43%
December | 997.099 | 2274.466 | 58.923 | 17 | 8 |  | December | 1011.129 | 2311.279 | 58.801 | 17 | 8 |  | 744 | -1.388% | -1.593% | -36.813 | -4.7245 | -32.0885 | 7.62% | 7.664% | 83.96% | 85.1%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2019 | [6 empty] | Year: 2019 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1043.178 | 2475.924 | 56.63 | 3 | 8 |  | January | 1064.039 | 2536.49 | 56.383 | 3 | 8 |  | 744 | -1.961% | -2.388% | -60.566 | -10.8556 | -49.7104 | 7.886% | 7.978% | 90.4% | 92.37%
February | 881.779 | 2234.258 | 58.73 | 6 | 8 |  | February | 903.863 | 2298.268 | 58.524 | 6 | 8 |  | 672 | -2.443% | -2.785% | -64.01 | -7.8497 | -56.1603 | 6.666% | 6.777% | 81.58% | 83.7%
March | 912.669 | 1875.9 | 65.393 | 15 | 8 |  | March | 932.426 | 1927.53 | 65.019 | 15 | 8 |  | 744 | -2.119% | -2.679% | -51.63 | -10.788 | -40.842 | 6.9% | 6.991% | 68.49% | 70.19%
April | 898.542 | 1867.734 | 66.818 | 25 | 17 |  | April | 912.075 | 1901.282 | 66.627 | 25 | 17 |  | 720 | -1.484% | -1.764% | -33.548 | -5.343 | -28.205 | 6.793% | 6.838% | 68.19% | 69.24%
May | 1145.152 | 2463.943 | 62.468 | 28 | 16 |  | May | 1150.607 | 2488.78 | 62.139 | 28 | 16 |  | 744 | -0.4741% | -0.998% | -24.837 | -13.0566 | -11.7804 | 8.657% | 8.627% | 89.96% | 90.63%
June | 1313.749 | 2619.447 | 69.658 | 11 | 17 |  | June | 1321.986 | 2642.322 | 69.488 | 11 | 17 |  | 720 | -0.6231% | -0.8657% | -22.875 | -6.4041 | -16.4709 | 9.932% | 9.912% | 95.64% | 96.22%
July | 1446.097 | 2738.829 | 70.968 | 18 | 17 |  | July | 1444.424 | 2745.991 | 70.701 | 18 | 17 |  | 744 | 0.1158% | -0.2608% | -7.162 | -10.3241 | 3.1621 | 10.93% | 10.83% | 100% | 100%
August | 1425.643 | 2695.89 | 71.078 | 15 | 17 |  | August | 1423.436 | 2701.228 | 70.828 | 15 | 17 |  | 744 | 0.155% | -0.1976% | -5.338 | -9.5186 | 4.1806 | 10.78% | 10.67% | 98.43% | 98.37%
September | 1236.876 | 2528.957 | 67.929 | 5 | 15 |  | September | 1235.915 | 2535.497 | 67.701 | 5 | 15 |  | 720 | 0.07776% | -0.2579% | -6.54 | -8.4994 | 1.9594 | 9.35% | 9.266% | 92.34% | 92.33%
October | 1021.592 | 2183.958 | 62.872 | 22 | 16 |  | October | 1023.548 | 2200.48 | 62.52 | 22 | 16 |  | 744 | -0.1911% | -0.7508% | -16.522 | -12.3112 | -4.2108 | 7.723% | 7.674% | 79.74% | 80.13%
November | 894.763 | 1877.148 | 66.203 | 27 | 8 |  | November | 903.14 | 1905.42 | 65.831 | 27 | 8 |  | 720 | -0.9275% | -1.484% | -28.272 | -10.6046 | -17.6674 | 6.764% | 6.771% | 68.54% | 69.39%
December | 1007.993 | 2298.713 | 58.939 | 17 | 8 |  | December | 1022.111 | 2335.763 | 58.816 | 17 | 8 |  | 744 | -1.381% | -1.586% | -37.05 | -4.7917 | -32.2583 | 7.62% | 7.663% | 83.93% | 85.06%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2020 | [6 empty] | Year: 2020 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1053.724 | 2500.769 | 56.634 | 3 | 8 |  | January | 1074.762 | 2561.847 | 56.388 | 3 | 8 |  | 744 | -1.957% | -2.384% | -61.078 | -10.928 | -50.15 | 7.884% | 7.975% | 90.38% | 92.34%
February | 921.406 | 2338.662 | 58.629 | 6 | 8 |  | February | 944.287 | 2404.795 | 58.433 | 6 | 8 |  | 672 | -2.423% | -2.75% | -66.133 | -7.8543 | -58.2787 | 6.894% | 7.007% | 84.52% | 86.68%
March | 896.013 | 1835.723 | 65.605 | 15 | 8 |  | March | 914.898 | 1885.03 | 65.235 | 15 | 8 |  | 744 | -2.064% | -2.616% | -49.307 | -10.4003 | -38.9067 | 6.704% | 6.789% | 66.34% | 67.94%
April | 907.467 | 1886.866 | 66.797 | 25 | 17 |  | April | 921.128 | 1920.645 | 66.61 | 25 | 17 |  | 720 | -1.483% | -1.759% | -33.779 | -5.2986 | -28.4804 | 6.789% | 6.835% | 68.19% | 69.23%
May | 1156.612 | 2489.101 | 62.456 | 28 | 16 |  | May | 1162.2 | 2514.168 | 62.132 | 28 | 16 |  | 744 | -0.4808% | -0.997% | -25.067 | -12.9688 | -12.0982 | 8.653% | 8.624% | 89.95% | 90.62%
June | 1327.087 | 2646.455 | 69.647 | 11 | 17 |  | June | 1335.461 | 2669.553 | 69.48 | 11 | 17 |  | 720 | -0.627% | -0.8652% | -23.098 | -6.3608 | -16.7372 | 9.929% | 9.91% | 95.64% | 96.22%
July | 1460.702 | 2767.074 | 70.952 | 18 | 17 |  | July | 1459.15 | 2774.432 | 70.689 | 18 | 17 |  | 744 | 0.1064% | -0.2652% | -7.358 | -10.3159 | 2.9579 | 10.93% | 10.83% | 100% | 100%
August | 1439.978 | 2723.637 | 71.061 | 15 | 17 |  | August | 1437.873 | 2729.203 | 70.813 | 15 | 17 |  | 744 | 0.1464% | -0.2039% | -5.566 | -9.5537 | 3.9877 | 10.77% | 10.67% | 98.43% | 98.37%
September | 1249.344 | 2555.049 | 67.913 | 5 | 15 |  | September | 1248.484 | 2561.878 | 67.685 | 5 | 15 |  | 720 | 0.06888% | -0.2666% | -6.829 | -8.5914 | 1.7624 | 9.347% | 9.264% | 92.34% | 92.34%
October | 1031.754 | 2206.539 | 62.848 | 22 | 16 |  | October | 1033.817 | 2223.352 | 62.498 | 22 | 16 |  | 744 | -0.1996% | -0.7562% | -16.813 | -12.3578 | -4.4552 | 7.719% | 7.671% | 79.74% | 80.14%
November | 903.644 | 1896.463 | 66.179 | 27 | 8 |  | November | 912.098 | 1924.997 | 65.808 | 27 | 8 |  | 720 | -0.9269% | -1.482% | -28.534 | -10.6928 | -17.8412 | 6.761% | 6.768% | 68.54% | 69.38%
December | 1018.1 | 2322.752 | 58.913 | 17 | 8 |  | December | 1032.284 | 2360.046 | 58.79 | 17 | 8 |  | 744 | -1.374% | -1.58% | -37.294 | -4.8785 | -32.4155 | 7.617% | 7.66% | 83.94% | 85.06%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2021 | [6 empty] | Year: 2021 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1065.132 | 2528.836 | 56.612 | 3 | 8 |  | January | 1086.418 | 2590.588 | 56.367 | 3 | 8 |  | 744 | -1.959% | -2.384% | -61.752 | -10.9994 | -50.7526 | 7.887% | 7.978% | 90.4% | 92.34%
February | 900.352 | 2281.934 | 58.714 | 6 | 8 |  | February | 922.838 | 2347.078 | 58.51 | 6 | 8 |  | 672 | -2.437% | -2.776% | -65.144 | -7.9473 | -57.1967 | 6.667% | 6.776% | 81.57% | 83.66%
March | 931.677 | 1915.537 | 65.373 | 15 | 8 |  | March | 951.841 | 1968.23 | 65 | 15 | 8 |  | 744 | -2.118% | -2.677% | -52.693 | -11.0077 | -41.6853 | 6.899% | 6.989% | 68.47% | 70.16%
April | 917.114 | 1907.469 | 66.778 | 25 | 17 |  | April | 931.008 | 1941.778 | 66.592 | 25 | 17 |  | 720 | -1.492% | -1.767% | -34.309 | -5.3275 | -28.9815 | 6.791% | 6.836% | 68.18% | 69.22%
May | 1168.945 | 2516.661 | 62.43 | 28 | 16 |  | May | 1174.812 | 2542.355 | 62.11 | 28 | 16 |  | 744 | -0.4994% | -1.011% | -25.694 | -12.9842 | -12.7098 | 8.656% | 8.627% | 89.96% | 90.62%
June | 1341.436 | 2675.723 | 69.63 | 11 | 17 |  | June | 1350.097 | 2699.346 | 69.466 | 11 | 17 |  | 720 | -0.6415% | -0.8751% | -23.623 | -6.3165 | -17.3065 | 9.933% | 9.914% | 95.65% | 96.22%
July | 1476.397 | 2797.516 | 70.935 | 18 | 17 |  | July | 1475.118 | 2805.405 | 70.674 | 18 | 17 |  | 744 | 0.0867% | -0.2812% | -7.889 | -10.3123 | 2.4233 | 10.93% | 10.83% | 100% | 100%
August | 1455.381 | 2753.532 | 71.042 | 15 | 17 |  | August | 1453.527 | 2759.582 | 70.796 | 15 | 17 |  | 744 | 0.1276% | -0.2192% | -6.05 | -9.5581 | 3.5081 | 10.78% | 10.67% | 98.43% | 98.37%
September | 1262.751 | 2583.236 | 67.892 | 5 | 15 |  | September | 1262.136 | 2590.56 | 67.667 | 5 | 15 |  | 720 | 0.04873% | -0.2827% | -7.324 | -8.6047 | 1.2807 | 9.351% | 9.268% | 92.34% | 92.34%
October | 1042.722 | 2230.84 | 62.824 | 22 | 16 |  | October | 1045.031 | 2248.138 | 62.479 | 22 | 16 |  | 744 | -0.221% | -0.7694% | -17.298 | -12.3266 | -4.9714 | 7.721% | 7.674% | 79.74% | 80.14%
November | 913.261 | 1917.325 | 66.156 | 27 | 8 |  | November | 921.924 | 1946.376 | 65.786 | 27 | 8 |  | 720 | -0.9397% | -1.493% | -29.051 | -10.7722 | -18.2788 | 6.763% | 6.77% | 68.54% | 69.38%
December | 1029.137 | 2348.819 | 58.891 | 17 | 8 |  | December | 1043.509 | 2386.55 | 58.77 | 17 | 8 |  | 744 | -1.377% | -1.581% | -37.731 | -4.8455 | -32.8855 | 7.621% | 7.663% | 83.96% | 85.07%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2022 | [6 empty] | Year: 2022 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1074.48 | 2551.381 | 56.604 | 3 | 8 |  | January | 1095.967 | 2613.532 | 56.363 | 3 | 8 |  | 744 | -1.961% | -2.378% | -62.151 | -10.9268 | -51.2242 | 7.888% | 7.978% | 90.41% | 92.34%
February | 908.297 | 2302.274 | 58.709 | 6 | 8 |  | February | 930.932 | 2367.878 | 58.505 | 6 | 8 |  | 672 | -2.431% | -2.771% | -65.604 | -8.0113 | -57.5927 | 6.668% | 6.777% | 81.58% | 83.66%
March | 939.86 | 1932.592 | 65.366 | 15 | 8 |  | March | 960.174 | 1985.715 | 64.992 | 15 | 8 |  | 744 | -2.116% | -2.675% | -53.123 | -11.1129 | -42.0101 | 6.9% | 6.99% | 68.48% | 70.16%
April | 925.136 | 1924.294 | 66.773 | 25 | 17 |  | April | 939.158 | 1959.03 | 66.583 | 25 | 17 |  | 720 | -1.493% | -1.773% | -34.736 | -5.4946 | -29.2414 | 6.791% | 6.837% | 68.18% | 69.22%
May | 1179.138 | 2539.128 | 62.418 | 28 | 16 |  | May | 1185.097 | 2564.996 | 62.1 | 28 | 16 |  | 744 | -0.5028% | -1.009% | -25.868 | -12.9862 | -12.8818 | 8.656% | 8.627% | 89.97% | 90.63%
June | 1353.152 | 2699.342 | 69.624 | 11 | 17 |  | June | 1361.909 | 2723.176 | 69.461 | 11 | 17 |  | 720 | -0.643% | -0.8752% | -23.834 | -6.317 | -17.517 | 9.934% | 9.914% | 95.65% | 96.22%
July | 1489.195 | 2822.168 | 70.924 | 18 | 17 |  | July | 1487.995 | 2830.229 | 70.665 | 18 | 17 |  | 744 | 0.08065% | -0.2848% | -8.061 | -10.3604 | 2.2994 | 10.93% | 10.83% | 100% | 100%
August | 1467.975 | 2777.703 | 71.033 | 15 | 17 |  | August | 1466.163 | 2783.903 | 70.787 | 15 | 17 |  | 744 | 0.1236% | -0.2227% | -6.2 | -9.6516 | 3.4516 | 10.78% | 10.67% | 98.42% | 98.36%
September | 1273.751 | 2606.161 | 67.881 | 5 | 15 |  | September | 1273.185 | 2613.523 | 67.66 | 5 | 15 |  | 720 | 0.04446% | -0.2817% | -7.362 | -8.528 | 1.166 | 9.351% | 9.268% | 92.35% | 92.34%
October | 1051.781 | 2250.52 | 62.816 | 22 | 16 |  | October | 1054.148 | 2268.042 | 62.471 | 22 | 16 |  | 744 | -0.2245% | -0.7726% | -17.522 | -12.4246 | -5.0974 | 7.721% | 7.674% | 79.74% | 80.14%
November | 921.195 | 1934.161 | 66.149 | 27 | 8 |  | November | 929.896 | 1963.336 | 65.782 | 27 | 8 |  | 720 | -0.9357% | -1.486% | -29.175 | -10.8049 | -18.3701 | 6.763% | 6.769% | 68.53% | 69.37%
December | 1038.137 | 2369.548 | 58.887 | 17 | 8 |  | December | 1052.532 | 2407.272 | 58.767 | 17 | 8 |  | 744 | -1.368% | -1.567% | -37.724 | -4.821 | -32.903 | 7.621% | 7.662% | 83.96% | 85.06%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2023 | [6 empty] | Year: 2023 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1083.406 | 2572.538 | 56.605 | 3 | 8 |  | January | 1105.039 | 2635.26 | 56.361 | 3 | 8 |  | 744 | -1.958% | -2.38% | -62.722 | -11.1473 | -51.5747 | 7.888% | 7.978% | 90.4% | 92.34%
February | 915.883 | 2321.519 | 58.708 | 6 | 8 |  | February | 938.645 | 2387.581 | 58.502 | 6 | 8 |  | 672 | -2.425% | -2.767% | -66.062 | -8.1811 | -57.8809 | 6.669% | 6.777% | 81.58% | 83.66%
March | 947.672 | 1948.755 | 65.362 | 15 | 8 |  | March | 968.112 | 2002.224 | 64.989 | 15 | 8 |  | 744 | -2.111% | -2.67% | -53.469 | -11.1962 | -42.2728 | 6.9% | 6.99% | 68.48% | 70.16%
April | 932.785 | 1940.467 | 66.764 | 25 | 17 |  | April | 946.913 | 1975.247 | 66.582 | 25 | 17 |  | 720 | -1.492% | -1.761% | -34.78 | -5.3062 | -29.4738 | 6.792% | 6.836% | 68.19% | 69.21%
May | 1188.852 | 2560.541 | 62.406 | 28 | 16 |  | May | 1194.918 | 2586.67 | 62.09 | 28 | 16 |  | 744 | -0.5076% | -1.01% | -26.129 | -13.0125 | -13.1165 | 8.656% | 8.627% | 89.98% | 90.63%
June | 1364.354 | 2721.971 | 69.616 | 11 | 17 |  | June | 1373.222 | 2746.091 | 69.453 | 11 | 17 |  | 720 | -0.6458% | -0.8783% | -24.12 | -6.4009 | -17.7191 | 9.934% | 9.914% | 95.65% | 96.22%
July | 1501.425 | 2845.721 | 70.915 | 18 | 17 |  | July | 1500.32 | 2853.984 | 70.658 | 18 | 17 |  | 744 | 0.07365% | -0.2895% | -8.263 | -10.3524 | 2.0894 | 10.93% | 10.83% | 100% | 100%
August | 1479.97 | 2800.773 | 71.023 | 15 | 17 |  | August | 1478.257 | 2807.176 | 70.779 | 15 | 17 |  | 744 | 0.1159% | -0.2281% | -6.403 | -9.675 | 3.272 | 10.78% | 10.67% | 98.42% | 98.36%
September | 1284.229 | 2627.942 | 67.873 | 5 | 15 |  | September | 1283.763 | 2635.568 | 67.652 | 5 | 15 |  | 720 | 0.0363% | -0.2893% | -7.626 | -8.5675 | 0.94147 | 9.35% | 9.268% | 92.35% | 92.35%
October | 1060.414 | 2269.478 | 62.802 | 22 | 16 |  | October | 1062.884 | 2287.119 | 62.463 | 22 | 16 |  | 744 | -0.2324% | -0.7713% | -17.641 | -12.333 | -5.308 | 7.721% | 7.674% | 79.75% | 80.14%
November | 928.758 | 1950.256 | 66.142 | 27 | 8 |  | November | 937.571 | 1979.678 | 65.777 | 27 | 8 |  | 720 | -0.94% | -1.486% | -29.422 | -10.8272 | -18.5948 | 6.762% | 6.769% | 68.53% | 69.37%
December | 1046.719 | 2389.285 | 58.883 | 17 | 8 |  | December | 1061.214 | 2427.386 | 58.761 | 17 | 8 |  | 744 | -1.366% | -1.57% | -38.101 | -4.9567 | -33.1443 | 7.621% | 7.662% | 83.96% | 85.05%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2024 | [6 empty] | Year: 2024 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1092.44 | 2594.616 | 56.592 | 3 | 8 |  | January | 1114.249 | 2657.844 | 56.348 | 3 | 8 |  | 744 | -1.957% | -2.379% | -63.228 | -11.2144 | -52.0136 | 7.886% | 7.975% | 90.41% | 92.33%
February | 955.467 | 2426.643 | 58.592 | 6 | 8 |  | February | 979.037 | 2494.863 | 58.396 | 6 | 8 |  | 672 | -2.407% | -2.734% | -68.22 | -8.1571 | -60.0629 | 6.897% | 7.008% | 84.55% | 86.67%
March | 928.653 | 1904.102 | 65.553 | 15 | 8 |  | March | 948.186 | 1955.118 | 65.185 | 15 | 8 |  | 744 | -2.06% | -2.609% | -51.016 | -10.7396 | -40.2764 | 6.703% | 6.787% | 66.35% | 67.92%
April | 940.457 | 1956.798 | 66.751 | 25 | 17 |  | April | 954.722 | 1991.987 | 66.567 | 25 | 17 |  | 720 | -1.494% | -1.767% | -35.189 | -5.4209 | -29.7681 | 6.789% | 6.834% | 68.18% | 69.2%
May | 1198.717 | 2582.487 | 62.389 | 28 | 16 |  | May | 1204.928 | 2608.979 | 62.075 | 28 | 16 |  | 744 | -0.5155% | -1.015% | -26.492 | -13.0487 | -13.4433 | 8.653% | 8.624% | 89.98% | 90.64%
June | 1375.802 | 2745.273 | 69.605 | 11 | 17 |  | June | 1384.819 | 2769.669 | 69.444 | 11 | 17 |  | 720 | -0.6511% | -0.8808% | -24.396 | -6.3486 | -18.0474 | 9.931% | 9.912% | 95.66% | 96.22%
July | 1513.95 | 2869.917 | 70.904 | 18 | 17 |  | July | 1512.983 | 2878.524 | 70.647 | 18 | 17 |  | 744 | 0.06391% | -0.299% | -8.607 | -10.4304 | 1.8234 | 10.93% | 10.83% | 100% | 100%
August | 1492.266 | 2824.545 | 71.011 | 15 | 17 |  | August | 1490.673 | 2831.107 | 70.771 | 15 | 17 |  | 744 | 0.1069% | -0.2318% | -6.562 | -9.5733 | 3.0113 | 10.77% | 10.67% | 98.42% | 98.35%
September | 1294.933 | 2650.417 | 67.858 | 5 | 15 |  | September | 1294.583 | 2658.178 | 67.642 | 5 | 15 |  | 720 | 0.02704% | -0.292% | -7.761 | -8.4607 | 0.6997 | 9.347% | 9.266% | 92.35% | 92.35%
October | 1069.161 | 2288.721 | 62.788 | 22 | 16 |  | October | 1071.751 | 2306.8 | 62.447 | 22 | 16 |  | 744 | -0.2417% | -0.7837% | -18.079 | -12.5014 | -5.5776 | 7.718% | 7.671% | 79.75% | 80.14%
November | 936.406 | 1966.679 | 66.13 | 27 | 8 |  | November | 945.277 | 1996.373 | 65.764 | 27 | 8 |  | 720 | -0.9385% | -1.487% | -29.694 | -10.9438 | -18.7502 | 6.759% | 6.766% | 68.53% | 69.35%
December | 1055.4 | 2409.618 | 58.87 | 17 | 8 |  | December | 1069.944 | 2447.652 | 58.754 | 17 | 8 |  | 744 | -1.359% | -1.554% | -38.034 | -4.7681 | -33.2659 | 7.618% | 7.658% | 83.96% | 85.03%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2025 | [6 empty] | Year: 2025 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1101.174 | 2614.99 | 56.6 | 3 | 8 |  | January | 1123.163 | 2678.618 | 56.358 | 3 | 8 |  | 744 | -1.958% | -2.375% | -63.628 | -11.2078 | -52.4202 | 7.889% | 7.978% | 90.4% | 92.32%
February | 931.015 | 2360.033 | 58.704 | 6 | 8 |  | February | 954.061 | 2426.908 | 58.5 | 6 | 8 |  | 672 | -2.416% | -2.756% | -66.875 | -8.2388 | -58.6362 | 6.67% | 6.777% | 81.58% | 83.65%
March | 963.253 | 1981.071 | 65.353 | 15 | 8 |  | March | 983.977 | 2035.252 | 64.982 | 15 | 8 |  | 744 | -2.106% | -2.662% | -54.181 | -11.319 | -42.862 | 6.9% | 6.989% | 68.48% | 70.15%
April | 948.045 | 1972.457 | 66.756 | 25 | 17 |  | April | 962.418 | 2007.955 | 66.57 | 25 | 17 |  | 720 | -1.493% | -1.768% | -35.498 | -5.5048 | -29.9932 | 6.792% | 6.836% | 68.19% | 69.21%
May | 1208.247 | 2603.1 | 62.387 | 28 | 16 |  | May | 1214.564 | 2629.835 | 62.075 | 28 | 16 |  | 744 | -0.5201% | -1.017% | -26.735 | -13.0706 | -13.6644 | 8.656% | 8.627% | 89.99% | 90.64%
June | 1386.738 | 2767.089 | 69.605 | 11 | 17 |  | June | 1395.866 | 2791.658 | 69.446 | 11 | 17 |  | 720 | -0.6539% | -0.8801% | -24.569 | -6.3249 | -18.2441 | 9.934% | 9.915% | 95.66% | 96.22%
July | 1525.886 | 2892.736 | 70.899 | 18 | 17 |  | July | 1525.013 | 2901.434 | 70.646 | 18 | 17 |  | 744 | 0.05725% | -0.2998% | -8.698 | -10.3612 | 1.6632 | 10.93% | 10.83% | 100% | 100%
August | 1504.013 | 2846.861 | 71.009 | 15 | 17 |  | August | 1502.497 | 2853.674 | 70.768 | 15 | 17 |  | 744 | 0.1009% | -0.2387% | -6.813 | -9.6884 | 2.8754 | 10.77% | 10.67% | 98.41% | 98.35%
September | 1305.236 | 2671.581 | 67.856 | 5 | 15 |  | September | 1304.97 | 2679.56 | 67.64 | 5 | 15 |  | 720 | 0.02038% | -0.2978% | -7.979 | -8.531 | 0.55203 | 9.35% | 9.269% | 92.35% | 92.35%
October | 1077.726 | 2307.142 | 62.786 | 22 | 16 |  | October | 1080.405 | 2325.293 | 62.451 | 22 | 16 |  | 744 | -0.248% | -0.7806% | -18.151 | -12.3668 | -5.7842 | 7.721% | 7.674% | 79.76% | 80.14%
November | 943.933 | 1982.3 | 66.136 | 27 | 8 |  | November | 952.875 | 2012.16 | 65.772 | 27 | 8 |  | 720 | -0.9384% | -1.484% | -29.86 | -10.9769 | -18.8831 | 6.762% | 6.768% | 68.53% | 69.35%
December | 1063.944 | 2428.832 | 58.877 | 17 | 8 |  | December | 1078.541 | 2467.145 | 58.758 | 17 | 8 |  | 744 | -1.353% | -1.553% | -38.313 | -4.9341 | -33.3789 | 7.622% | 7.661% | 83.96% | 85.03%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2026 | [6 empty] | Year: 2026 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1109.335 | 2634.121 | 56.605 | 3 | 8 |  | January | 1131.426 | 2698.06 | 56.364 | 3 | 8 |  | 744 | -1.952% | -2.37% | -63.939 | -11.2584 | -52.6806 | 7.889% | 7.977% | 90.4% | 92.31%
February | 937.953 | 2377.286 | 58.712 | 6 | 8 |  | February | 961.147 | 2444.646 | 58.507 | 6 | 8 |  | 672 | -2.413% | -2.755% | -67.36 | -8.3489 | -59.0111 | 6.67% | 6.777% | 81.58% | 83.64%
March | 970.448 | 1995.673 | 65.36 | 15 | 8 |  | March | 991.322 | 2050.219 | 64.989 | 15 | 8 |  | 744 | -2.106% | -2.66% | -54.546 | -11.383 | -43.163 | 6.901% | 6.989% | 68.49% | 70.14%
April | 955.116 | 1987.198 | 66.755 | 25 | 17 |  | April | 969.624 | 2022.903 | 66.573 | 25 | 17 |  | 720 | -1.496% | -1.765% | -35.705 | -5.4266 | -30.2784 | 6.792% | 6.836% | 68.19% | 69.21%
May | 1217.172 | 2622.462 | 62.383 | 28 | 16 |  | May | 1223.63 | 2649.587 | 62.072 | 28 | 16 |  | 744 | -0.5278% | -1.024% | -27.125 | -13.1609 | -13.9641 | 8.655% | 8.627% | 89.99% | 90.65%
June | 1396.968 | 2787.535 | 69.604 | 11 | 17 |  | June | 1406.243 | 2812.507 | 69.444 | 11 | 17 |  | 720 | -0.6596% | -0.8879% | -24.972 | -6.4189 | -18.5531 | 9.934% | 9.915% | 95.66% | 96.22%
July | 1537.041 | 2914.01 | 70.896 | 18 | 17 |  | July | 1536.302 | 2922.979 | 70.644 | 18 | 17 |  | 744 | 0.0481% | -0.3068% | -8.969 | -10.3931 | 1.4241 | 10.93% | 10.83% | 100% | 100%
August | 1514.986 | 2867.748 | 71.006 | 15 | 17 |  | August | 1513.633 | 2874.832 | 70.768 | 15 | 17 |  | 744 | 0.08939% | -0.2464% | -7.084 | -9.6422 | 2.5582 | 10.77% | 10.67% | 98.41% | 98.35%
September | 1314.863 | 2691.441 | 67.852 | 5 | 15 |  | September | 1314.754 | 2699.746 | 67.638 | 5 | 15 |  | 720 | 0.008291% | -0.3076% | -8.305 | -8.5185 | 0.21351 | 9.35% | 9.27% | 92.36% | 92.36%
October | 1085.733 | 2324.401 | 62.783 | 22 | 16 |  | October | 1088.567 | 2342.975 | 62.447 | 22 | 16 |  | 744 | -0.2603% | -0.7928% | -18.574 | -12.4904 | -6.0836 | 7.721% | 7.675% | 79.77% | 80.16%
November | 950.953 | 1996.836 | 66.143 | 27 | 8 |  | November | 960.024 | 2027.029 | 65.779 | 27 | 8 |  | 720 | -0.9449% | -1.49% | -30.193 | -11.0511 | -19.1419 | 6.762% | 6.769% | 68.53% | 69.35%
December | 1071.85 | 2446.577 | 58.885 | 17 | 8 |  | December | 1086.564 | 2485.229 | 58.765 | 17 | 8 |  | 744 | -1.354% | -1.555% | -38.652 | -4.9819 | -33.6701 | 7.622% | 7.661% | 83.96% | 85.02%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2027 | [6 empty] | Year: 2027 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1116.988 | 2651.531 | 56.621 | 3 | 8 |  | January | 1139.258 | 2715.85 | 56.382 | 3 | 8 |  | 744 | -1.955% | -2.368% | -64.319 | -11.2478 | -53.0712 | 7.888% | 7.977% | 90.38% | 92.28%
February | 944.517 | 2393.228 | 58.73 | 6 | 8 |  | February | 967.841 | 2460.839 | 58.526 | 6 | 8 |  | 672 | -2.41% | -2.747% | -67.611 | -8.3222 | -59.2888 | 6.67% | 6.777% | 81.58% | 83.62%
March | 977.333 | 2009.288 | 65.377 | 15 | 8 |  | March | 998.338 | 2064.189 | 65.006 | 15 | 8 |  | 744 | -2.104% | -2.66% | -54.901 | -11.4787 | -43.4223 | 6.902% | 6.99% | 68.49% | 70.14%
April | 961.895 | 2001.132 | 66.76 | 25 | 17 |  | April | 976.522 | 2037.175 | 66.577 | 25 | 17 |  | 720 | -1.498% | -1.769% | -36.043 | -5.5149 | -30.5281 | 6.793% | 6.837% | 68.21% | 69.22%
May | 1225.643 | 2640.675 | 62.384 | 28 | 16 |  | May | 1232.227 | 2667.867 | 62.08 | 28 | 16 |  | 744 | -0.5343% | -1.019% | -27.192 | -12.9487 | -14.2433 | 8.656% | 8.628% | 90.01% | 90.65%
June | 1406.595 | 2806.626 | 69.607 | 11 | 17 |  | June | 1415.999 | 2831.737 | 69.451 | 11 | 17 |  | 720 | -0.6641% | -0.8868% | -25.111 | -6.2985 | -18.8125 | 9.934% | 9.915% | 95.67% | 96.22%
July | 1547.513 | 2933.721 | 70.899 | 18 | 17 |  | July | 1546.892 | 2942.978 | 70.648 | 18 | 17 |  | 744 | 0.04015% | -0.3145% | -9.257 | -10.4396 | 1.1826 | 10.93% | 10.83% | 100% | 100%
August | 1525.299 | 2887.206 | 71.008 | 15 | 17 |  | August | 1524.007 | 2894.419 | 70.771 | 15 | 17 |  | 744 | 0.08478% | -0.2492% | -7.213 | -9.6487 | 2.4357 | 10.77% | 10.67% | 98.41% | 98.35%
September | 1323.951 | 2709.99 | 67.853 | 5 | 15 |  | September | 1323.907 | 2718.427 | 67.641 | 5 | 15 |  | 720 | 0.003323% | -0.3104% | -8.437 | -8.5104 | 0.073367 | 9.35% | 9.27% | 92.37% | 92.37%
October | 1093.364 | 2340.576 | 62.787 | 22 | 16 |  | October | 1096.265 | 2359.253 | 62.455 | 22 | 16 |  | 744 | -0.2646% | -0.7916% | -18.677 | -12.4386 | -6.2384 | 7.721% | 7.676% | 79.78% | 80.17%
November | 957.642 | 2010.32 | 66.162 | 27 | 8 |  | November | 966.761 | 2040.595 | 65.801 | 27 | 8 |  | 720 | -0.9433% | -1.484% | -30.275 | -11.0145 | -19.2605 | 6.763% | 6.769% | 68.52% | 69.34%
December | 1079.32 | 2462.729 | 58.906 | 17 | 8 |  | December | 1094.072 | 2501.561 | 58.784 | 17 | 8 |  | 744 | -1.348% | -1.552% | -38.832 | -5.1176 | -33.7144 | 7.622% | 7.66% | 83.95% | 85%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2028 | [6 empty] | Year: 2028 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1130.6 | 2687.081 | 56.553 | 3 | 8 |  | January | 1153.185 | 2752.379 | 56.314 | 3 | 8 |  | 744 | -1.958% | -2.372% | -65.298 | -11.4019 | -53.8961 | 7.888% | 7.976% | 90.44% | 92.34%
February | 988.972 | 2513.383 | 58.554 | 6 | 8 |  | February | 1013.236 | 2583.698 | 58.358 | 6 | 8 |  | 672 | -2.395% | -2.721% | -70.315 | -8.4384 | -61.8766 | 6.9% | 7.008% | 84.6% | 86.68%
March | 960.732 | 1971.486 | 65.499 | 15 | 8 |  | March | 980.853 | 2024.119 | 65.132 | 15 | 8 |  | 744 | -2.051% | -2.6% | -52.633 | -11.1131 | -41.5199 | 6.703% | 6.784% | 66.36% | 67.91%
April | 972.82 | 2025.04 | 66.722 | 25 | 17 |  | April | 987.621 | 2061.567 | 66.537 | 25 | 17 |  | 720 | -1.499% | -1.772% | -36.527 | -5.618 | -30.909 | 6.787% | 6.831% | 68.16% | 69.17%
May | 1240.033 | 2673.743 | 62.336 | 28 | 16 |  | May | 1246.79 | 2701.658 | 62.028 | 28 | 16 |  | 744 | -0.542% | -1.033% | -27.915 | -13.2871 | -14.6279 | 8.651% | 8.624% | 89.99% | 90.64%
June | 1423.734 | 2842.16 | 69.574 | 11 | 17 |  | June | 1433.315 | 2867.726 | 69.418 | 11 | 17 |  | 720 | -0.6685% | -0.8915% | -25.566 | -6.3927 | -19.1733 | 9.933% | 9.914% | 95.66% | 96.21%
July | 1566.4 | 2971.039 | 70.863 | 18 | 17 |  | July | 1565.939 | 2980.626 | 70.615 | 18 | 17 |  | 744 | 0.02944% | -0.3216% | -9.587 | -10.447 | 0.86001 | 10.93% | 10.83% | 100% | 100%
August | 1543.767 | 2923.646 | 70.971 | 15 | 17 |  | August | 1542.609 | 2931.183 | 70.736 | 15 | 17 |  | 744 | 0.07507% | -0.2571% | -7.537 | -9.734 | 2.197 | 10.77% | 10.67% | 98.4% | 98.34%
September | 1339.794 | 2743.56 | 67.825 | 5 | 15 |  | September | 1339.883 | 2752.319 | 67.614 | 5 | 15 |  | 720 | -0.006642% | -0.3182% | -8.759 | -8.5697 | -0.18926 | 9.347% | 9.268% | 92.34% | 92.34%
October | 1105.912 | 2369.13 | 62.742 | 22 | 16 |  | October | 1108.962 | 2388.237 | 62.412 | 22 | 16 |  | 744 | -0.275% | -0.8% | -19.107 | -12.5288 | -6.5782 | 7.715% | 7.671% | 79.74% | 80.13%
November | 968.69 | 2035.981 | 66.081 | 27 | 8 |  | November | 977.924 | 2066.722 | 65.719 | 27 | 8 |  | 720 | -0.9442% | -1.487% | -30.741 | -11.2242 | -19.5168 | 6.758% | 6.764% | 68.53% | 69.34%
December | 1092.295 | 2495.513 | 58.831 | 17 | 8 |  | December | 1107.146 | 2534.63 | 58.711 | 17 | 8 |  | 744 | -1.341% | -1.543% | -39.117 | -5.106 | -34.011 | 7.62% | 7.658% | 83.99% | 85.04%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2029 | [6 empty] | Year: 2029 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1139.025 | 2706.289 | 56.57 | 3 | 8 |  | January | 1161.702 | 2771.941 | 56.33 | 3 | 8 |  | 744 | -1.952% | -2.368% | -65.652 | -11.5302 | -54.1218 | 7.891% | 7.978% | 90.43% | 92.32%
February | 963.057 | 2442.413 | 58.676 | 6 | 8 |  | February | 986.736 | 2511.289 | 58.47 | 6 | 8 |  | 672 | -2.4% | -2.743% | -68.876 | -8.6226 | -60.2534 | 6.672% | 6.777% | 81.62% | 83.64%
March | 996.107 | 2049.942 | 65.312 | 15 | 8 |  | March | 1017.471 | 2105.812 | 64.943 | 15 | 8 |  | 744 | -2.1% | -2.653% | -55.87 | -11.6405 | -44.2295 | 6.901% | 6.988% | 68.5% | 70.14%
April | 980.163 | 2040.137 | 66.728 | 25 | 17 |  | April | 995.09 | 2076.886 | 66.545 | 25 | 17 |  | 720 | -1.5% | -1.769% | -36.749 | -5.6027 | -31.1463 | 6.79% | 6.834% | 68.17% | 69.17%
May | 1249.219 | 2693.387 | 62.34 | 28 | 16 |  | May | 1256.142 | 2721.667 | 62.034 | 28 | 16 |  | 744 | -0.5511% | -1.039% | -28.28 | -13.2864 | -14.9936 | 8.654% | 8.627% | 90% | 90.65%
June | 1434.183 | 2862.859 | 69.578 | 11 | 17 |  | June | 1443.936 | 2888.683 | 69.425 | 11 | 17 |  | 720 | -0.6754% | -0.894% | -25.824 | -6.3104 | -19.5136 | 9.936% | 9.917% | 95.67% | 96.21%
July | 1577.768 | 2992.587 | 70.864 | 18 | 17 |  | July | 1577.465 | 3002.406 | 70.618 | 18 | 17 |  | 744 | 0.01921% | -0.327% | -9.819 | -10.4093 | 0.59028 | 10.93% | 10.83% | 100% | 100%
August | 1554.956 | 2944.763 | 70.973 | 15 | 17 |  | August | 1553.941 | 2952.494 | 70.741 | 15 | 17 |  | 744 | 0.06532% | -0.2618% | -7.731 | -9.6688 | 1.9378 | 10.77% | 10.67% | 98.4% | 98.34%
September | 1349.648 | 2763.781 | 67.824 | 5 | 15 |  | September | 1349.88 | 2772.653 | 67.619 | 5 | 15 |  | 720 | -0.01719% | -0.32% | -8.872 | -8.3853 | -0.48673 | 9.35% | 9.271% | 92.35% | 92.35%
October | 1114.185 | 2386.725 | 62.745 | 22 | 16 |  | October | 1117.377 | 2406.094 | 62.419 | 22 | 16 |  | 744 | -0.2857% | -0.805% | -19.369 | -12.4811 | -6.8879 | 7.719% | 7.674% | 79.75% | 80.14%
November | 975.962 | 2050.755 | 66.098 | 27 | 8 |  | November | 985.316 | 2081.667 | 65.74 | 27 | 8 |  | 720 | -0.9493% | -1.485% | -30.912 | -11.1598 | -19.7522 | 6.761% | 6.767% | 68.53% | 69.33%
December | 1100.485 | 2513.547 | 58.847 | 17 | 8 |  | December | 1115.439 | 2552.765 | 58.73 | 17 | 8 |  | 744 | -1.341% | -1.536% | -39.218 | -5.0066 | -34.2114 | 7.624% | 7.661% | 83.99% | 85.02%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2030 | [6 empty] | Year: 2030 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1149.286 | 2731.1 | 56.561 | 3 | 8 |  | January | 1172.198 | 2797.405 | 56.321 | 3 | 8 |  | 744 | -1.955% | -2.37% | -66.305 | -11.6412 | -54.6638 | 7.892% | 7.979% | 90.45% | 92.33%
February | 971.729 | 2464.816 | 58.667 | 6 | 8 |  | February | 995.617 | 2534.317 | 58.46 | 6 | 8 |  | 672 | -2.399% | -2.742% | -69.501 | -8.7134 | -60.7876 | 6.672% | 6.777% | 81.63% | 83.65%
March | 1004.966 | 2068.608 | 65.298 | 15 | 8 |  | March | 1026.544 | 2125.021 | 64.929 | 15 | 8 |  | 744 | -2.102% | -2.655% | -56.413 | -11.7579 | -44.6551 | 6.901% | 6.988% | 68.51% | 70.14%
April | 988.806 | 2058.315 | 66.722 | 25 | 17 |  | April | 1003.925 | 2095.581 | 66.537 | 25 | 17 |  | 720 | -1.506% | -1.778% | -37.266 | -5.712 | -31.554 | 6.79% | 6.834% | 68.17% | 69.17%
May | 1260.276 | 2717.837 | 62.326 | 28 | 16 |  | May | 1267.359 | 2746.39 | 62.025 | 28 | 16 |  | 744 | -0.5589% | -1.04% | -28.553 | -13.1898 | -15.3632 | 8.654% | 8.627% | 90.01% | 90.65%
June | 1447.027 | 2888.789 | 69.571 | 11 | 17 |  | June | 1456.945 | 2915.096 | 69.416 | 11 | 17 |  | 720 | -0.6807% | -0.9024% | -26.307 | -6.4509 | -19.8561 | 9.936% | 9.917% | 95.67% | 96.21%
July | 1591.827 | 3019.605 | 70.855 | 18 | 17 |  | July | 1591.674 | 3029.81 | 70.61 | 18 | 17 |  | 744 | 0.009613% | -0.3368% | -10.205 | -10.4933 | 0.28831 | 10.93% | 10.83% | 100% | 100%
August | 1568.756 | 2971.337 | 70.963 | 15 | 17 |  | August | 1567.872 | 2979.369 | 70.732 | 15 | 17 |  | 744 | 0.05638% | -0.2696% | -8.032 | -9.6942 | 1.6622 | 10.77% | 10.67% | 98.4% | 98.34%
September | 1361.655 | 2788.661 | 67.817 | 5 | 15 |  | September | 1362.018 | 2797.914 | 67.611 | 5 | 15 |  | 720 | -0.02665% | -0.3307% | -9.253 | -8.4985 | -0.75451 | 9.35% | 9.271% | 92.35% | 92.35%
October | 1124.003 | 2408.072 | 62.737 | 22 | 16 |  | October | 1127.368 | 2427.97 | 62.409 | 22 | 16 |  | 744 | -0.2985% | -0.8195% | -19.898 | -12.6633 | -7.2347 | 7.718% | 7.674% | 79.75% | 80.14%
November | 984.595 | 2069.32 | 66.084 | 27 | 8 |  | November | 994.09 | 2100.669 | 65.726 | 27 | 8 |  | 720 | -0.9551% | -1.492% | -31.349 | -11.2768 | -20.0722 | 6.761% | 6.767% | 68.53% | 69.33%
December | 1110.379 | 2536.526 | 58.838 | 17 | 8 |  | December | 1125.46 | 2576.275 | 58.717 | 17 | 8 |  | 744 | -1.34% | -1.543% | -39.749 | -5.2334 | -34.5156 | 7.624% | 7.661% | 84% | 85.03%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2031 | [6 empty] | Year: 2031 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1159.45 | 2755.905 | 56.548 | 3 | 8 |  | January | 1182.598 | 2822.792 | 56.31 | 3 | 8 |  | 744 | -1.957% | -2.37% | -66.887 | -11.6328 | -55.2542 | 7.892% | 7.98% | 90.46% | 92.34%
February | 980.319 | 2487.189 | 58.653 | 6 | 8 |  | February | 1004.416 | 2557.318 | 58.447 | 6 | 8 |  | 672 | -2.399% | -2.742% | -70.129 | -8.7612 | -61.3678 | 6.673% | 6.777% | 81.64% | 83.66%
March | 1013.732 | 2087.174 | 65.282 | 15 | 8 |  | March | 1035.525 | 2144.13 | 64.914 | 15 | 8 |  | 744 | -2.105% | -2.656% | -56.956 | -11.8232 | -45.1328 | 6.901% | 6.987% | 68.51% | 70.14%
April | 997.381 | 2076.462 | 66.712 | 25 | 17 |  | April | 1012.658 | 2114.06 | 66.529 | 25 | 17 |  | 720 | -1.509% | -1.778% | -37.598 | -5.7148 | -31.8832 | 6.789% | 6.833% | 68.16% | 69.16%
May | 1271.244 | 2742.084 | 62.312 | 28 | 16 |  | May | 1278.488 | 2771.094 | 62.012 | 28 | 16 |  | 744 | -0.5666% | -1.047% | -29.01 | -13.288 | -15.722 | 8.653% | 8.627% | 90.01% | 90.65%
June | 1459.768 | 2914.547 | 69.563 | 11 | 17 |  | June | 1469.852 | 2941.129 | 69.411 | 11 | 17 |  | 720 | -0.6861% | -0.9038% | -26.582 | -6.3957 | -20.1863 | 9.937% | 9.918% | 95.67% | 96.21%
July | 1605.772 | 3046.527 | 70.844 | 18 | 17 |  | July | 1605.771 | 3056.978 | 70.602 | 18 | 17 |  | 744 | 6.228e-05% | -0.3419% | -10.451 | -10.4625 | 0.011461 | 10.93% | 10.83% | 100% | 100%
August | 1582.437 | 2997.669 | 70.953 | 15 | 17 |  | August | 1581.686 | 3005.95 | 70.724 | 15 | 17 |  | 744 | 0.04748% | -0.2755% | -8.281 | -9.6997 | 1.4187 | 10.77% | 10.67% | 98.4% | 98.33%
September | 1373.55 | 2813.346 | 67.809 | 5 | 15 |  | September | 1374.046 | 2822.775 | 67.607 | 5 | 15 |  | 720 | -0.0361% | -0.334% | -9.429 | -8.4156 | -1.0134 | 9.35% | 9.271% | 92.35% | 92.34%
October | 1133.717 | 2429.379 | 62.724 | 22 | 16 |  | October | 1137.184 | 2449.36 | 62.403 | 22 | 16 |  | 744 | -0.3049% | -0.8158% | -19.981 | -12.5119 | -7.4691 | 7.717% | 7.673% | 79.74% | 80.12%
November | 993.134 | 2087.768 | 66.068 | 27 | 8 |  | November | 1002.707 | 2119.303 | 65.713 | 27 | 8 |  | 720 | -0.9547% | -1.488% | -31.535 | -11.2882 | -20.2468 | 6.76% | 6.766% | 68.53% | 69.33%
December | 1120.165 | 2559.512 | 58.824 | 17 | 8 |  | December | 1135.31 | 2599.285 | 58.707 | 17 | 8 |  | 744 | -1.334% | -1.53% | -39.773 | -5.0853 | -34.6877 | 7.625% | 7.661% | 84.01% | 85.03%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2032 | [6 empty] | Year: 2032 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1168.82 | 2778.287 | 56.545 | 3 | 8 |  | January | 1192.118 | 2845.718 | 56.306 | 3 | 8 |  | 744 | -1.954% | -2.37% | -67.431 | -11.8146 | -55.6164 | 7.89% | 7.977% | 90.46% | 92.33%
February | 1022.6 | 2598.995 | 58.551 | 6 | 8 |  | February | 1047.502 | 2671.311 | 58.353 | 6 | 8 |  | 672 | -2.377% | -2.707% | -72.316 | -8.7993 | -63.5167 | 6.903% | 7.009% | 84.63% | 86.67%
March | 992.92 | 2038.243 | 65.476 | 15 | 8 |  | March | 1013.704 | 2092.554 | 65.112 | 15 | 8 |  | 744 | -2.05% | -2.595% | -54.311 | -11.4097 | -42.9013 | 6.703% | 6.783% | 66.37% | 67.9%
April | 1005.306 | 2093.031 | 66.71 | 25 | 17 |  | April | 1020.727 | 2130.999 | 66.526 | 25 | 17 |  | 720 | -1.511% | -1.782% | -37.968 | -5.785 | -32.183 | 6.786% | 6.83% | 68.15% | 69.14%
May | 1281.377 | 2764.359 | 62.303 | 28 | 16 |  | May | 1288.774 | 2793.695 | 62.005 | 28 | 16 |  | 744 | -0.574% | -1.05% | -29.336 | -13.2894 | -16.0466 | 8.65% | 8.624% | 90.01% | 90.65%
June | 1471.523 | 2938.16 | 69.56 | 11 | 17 |  | June | 1481.763 | 2965.169 | 69.406 | 11 | 17 |  | 720 | -0.6911% | -0.9109% | -27.009 | -6.5162 | -20.4928 | 9.933% | 9.915% | 95.67% | 96.21%
July | 1618.63 | 3071.171 | 70.839 | 18 | 17 |  | July | 1618.775 | 3082.01 | 70.596 | 18 | 17 |  | 744 | -0.008957% | -0.3517% | -10.839 | -10.5588 | -0.28022 | 10.93% | 10.83% | 100% | 100%
August | 1595.062 | 3021.872 | 70.946 | 15 | 17 |  | August | 1594.439 | 3030.459 | 70.717 | 15 | 17 |  | 744 | 0.03907% | -0.2834% | -8.587 | -9.7902 | 1.2032 | 10.77% | 10.67% | 98.39% | 98.33%
September | 1384.554 | 2835.978 | 67.807 | 5 | 15 |  | September | 1385.173 | 2845.852 | 67.602 | 5 | 15 |  | 720 | -0.04469% | -0.347% | -9.874 | -8.6001 | -1.2739 | 9.346% | 9.269% | 92.34% | 92.34%
October | 1142.775 | 2449.015 | 62.719 | 22 | 16 |  | October | 1146.368 | 2469.44 | 62.395 | 22 | 16 |  | 744 | -0.3134% | -0.8271% | -20.425 | -12.7013 | -7.7237 | 7.714% | 7.671% | 79.74% | 80.12%
November | 1001.088 | 2104.663 | 66.063 | 27 | 8 |  | November | 1010.758 | 2136.587 | 65.704 | 27 | 8 |  | 720 | -0.9567% | -1.494% | -31.924 | -11.4943 | -20.4297 | 6.758% | 6.763% | 68.53% | 69.32%
December | 1129.195 | 2580.285 | 58.82 | 17 | 8 |  | December | 1144.429 | 2620.466 | 58.7 | 17 | 8 |  | 744 | -1.331% | -1.533% | -40.181 | -5.2946 | -34.8864 | 7.623% | 7.658% | 84.02% | 85.02%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2033 | [6 empty] | Year: 2033 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1178.815 | 2802.281 | 56.541 | 3 | 8 |  | January | 1202.335 | 2870.243 | 56.303 | 3 | 8 |  | 744 | -1.956% | -2.368% | -67.962 | -11.8297 | -56.1323 | 7.894% | 7.98% | 90.48% | 92.34%
February | 996.716 | 2529.119 | 58.645 | 6 | 8 |  | February | 1021.141 | 2600.218 | 58.44 | 6 | 8 |  | 672 | -2.392% | -2.734% | -71.099 | -8.8829 | -62.2161 | 6.674% | 6.778% | 81.66% | 83.65%
March | 1030.532 | 2122.273 | 65.266 | 15 | 8 |  | March | 1052.657 | 2180.118 | 64.898 | 15 | 8 |  | 744 | -2.102% | -2.653% | -57.845 | -12.0357 | -45.8093 | 6.901% | 6.987% | 68.52% | 70.14%
April | 1013.755 | 2110.693 | 66.708 | 25 | 17 |  | April | 1029.355 | 2149.073 | 66.525 | 25 | 17 |  | 720 | -1.516% | -1.786% | -38.38 | -5.7941 | -32.5859 | 6.789% | 6.832% | 68.15% | 69.14%
May | 1292.122 | 2787.836 | 62.296 | 28 | 16 |  | May | 1299.7 | 2817.488 | 62.002 | 28 | 16 |  | 744 | -0.5831% | -1.052% | -29.652 | -13.24 | -16.412 | 8.653% | 8.626% | 90.01% | 90.64%
June | 1483.939 | 2963.177 | 69.555 | 11 | 17 |  | June | 1494.367 | 2990.436 | 69.405 | 11 | 17 |  | 720 | -0.6978% | -0.9115% | -27.259 | -6.3877 | -20.8713 | 9.937% | 9.919% | 95.67% | 96.21%
July | 1632.196 | 3097.184 | 70.832 | 18 | 17 |  | July | 1632.513 | 3108.294 | 70.593 | 18 | 17 |  | 744 | -0.01942% | -0.3574% | -11.11 | -10.5063 | -0.60368 | 10.93% | 10.84% | 100% | 100%
August | 1608.417 | 3047.44 | 70.94 | 15 | 17 |  | August | 1607.905 | 3056.173 | 70.715 | 15 | 17 |  | 744 | 0.03184% | -0.2857% | -8.733 | -9.6919 | 0.95888 | 10.77% | 10.67% | 98.39% | 98.32%
September | 1396.197 | 2860.006 | 67.803 | 5 | 15 |  | September | 1396.932 | 2869.941 | 67.604 | 5 | 15 |  | 720 | -0.05262% | -0.3462% | -9.935 | -8.4079 | -1.5271 | 9.35% | 9.272% | 92.34% | 92.33%
October | 1152.316 | 2469.692 | 62.713 | 22 | 16 |  | October | 1156.032 | 2490.289 | 62.395 | 22 | 16 |  | 744 | -0.3214% | -0.8271% | -20.597 | -12.5771 | -8.0199 | 7.716% | 7.673% | 79.74% | 80.12%
November | 1009.502 | 2122.661 | 66.053 | 27 | 8 |  | November | 1019.273 | 2154.765 | 65.699 | 27 | 8 |  | 720 | -0.9586% | -1.49% | -32.104 | -11.4447 | -20.6593 | 6.76% | 6.765% | 68.54% | 69.32%
December | 1138.853 | 2602.479 | 58.818 | 17 | 8 |  | December | 1154.169 | 2642.757 | 58.7 | 17 | 8 |  | 744 | -1.327% | -1.524% | -40.278 | -5.215 | -35.063 | 7.626% | 7.661% | 84.03% | 85.02%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2034 | [6 empty] | Year: 2034 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1187.494 | 2822.747 | 56.544 | 3 | 8 |  | January | 1211.142 | 2890.93 | 56.31 | 3 | 8 |  | 744 | -1.953% | -2.359% | -68.183 | -11.7302 | -56.4528 | 7.894% | 7.981% | 90.48% | 92.34%
February | 1004.086 | 2547.526 | 58.652 | 6 | 8 |  | February | 1028.621 | 2618.995 | 58.446 | 6 | 8 |  | 672 | -2.385% | -2.729% | -71.469 | -8.9802 | -62.4888 | 6.675% | 6.778% | 81.66% | 83.65%
March | 1038.113 | 2137.765 | 65.27 | 15 | 8 |  | March | 1060.346 | 2195.925 | 64.902 | 15 | 8 |  | 744 | -2.097% | -2.649% | -58.16 | -12.112 | -46.048 | 6.901% | 6.987% | 68.53% | 70.14%
April | 1021.202 | 2125.923 | 66.716 | 25 | 17 |  | April | 1036.852 | 2164.456 | 66.533 | 25 | 17 |  | 720 | -1.509% | -1.78% | -38.533 | -5.8554 | -32.6776 | 6.789% | 6.832% | 68.15% | 69.13%
May | 1301.546 | 2808.203 | 62.296 | 28 | 16 |  | May | 1309.168 | 2838.092 | 62.001 | 28 | 16 |  | 744 | -0.5822% | -1.053% | -29.889 | -13.3479 | -16.5411 | 8.653% | 8.626% | 90.02% | 90.65%
June | 1494.783 | 2984.765 | 69.556 | 11 | 17 |  | June | 1505.259 | 3012.22 | 69.405 | 11 | 17 |  | 720 | -0.696% | -0.9115% | -27.455 | -6.5 | -20.955 | 9.937% | 9.919% | 95.68% | 96.21%
July | 1644.031 | 3119.68 | 70.832 | 18 | 17 |  | July | 1644.378 | 3130.895 | 70.593 | 18 | 17 |  | 744 | -0.0211% | -0.3582% | -11.215 | -10.5441 | -0.67092 | 10.93% | 10.84% | 100% | 100%
August | 1619.993 | 3069.3 | 70.942 | 15 | 17 |  | August | 1619.584 | 3078.321 | 70.716 | 15 | 17 |  | 744 | 0.02525% | -0.293% | -9.021 | -9.7909 | 0.76994 | 10.77% | 10.67% | 98.39% | 98.32%
September | 1406.305 | 2880.663 | 67.804 | 5 | 15 |  | September | 1407.142 | 2890.913 | 67.604 | 5 | 15 |  | 720 | -0.05948% | -0.3546% | -10.25 | -8.5172 | -1.7328 | 9.349% | 9.272% | 92.34% | 92.34%
October | 1160.652 | 2487.517 | 62.714 | 22 | 16 |  | October | 1164.473 | 2508.484 | 62.394 | 22 | 16 |  | 744 | -0.3281% | -0.8358% | -20.967 | -12.7493 | -8.2177 | 7.716% | 7.673% | 79.74% | 80.12%
November | 1016.823 | 2137.897 | 66.058 | 27 | 8 |  | November | 1026.678 | 2170.266 | 65.704 | 27 | 8 |  | 720 | -0.9599% | -1.491% | -32.369 | -11.5219 | -20.8471 | 6.76% | 6.765% | 68.53% | 69.32%
December | 1147.163 | 2621.237 | 58.823 | 17 | 8 |  | December | 1162.549 | 2661.847 | 58.702 | 17 | 8 |  | 744 | -1.323% | -1.526% | -40.61 | -5.3954 | -35.2146 | 7.626% | 7.66% | 84.02% | 85.02%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2035 | [6 empty] | Year: 2035 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1194.868 | 2839.068 | 56.568 | 3 | 8 |  | January | 1218.623 | 2907.714 | 56.331 | 3 | 8 |  | 744 | -1.949% | -2.361% | -68.646 | -11.9472 | -56.6988 | 7.895% | 7.98% | 90.47% | 92.32%
February | 1010.405 | 2562.57 | 58.675 | 6 | 8 |  | February | 1035.035 | 2634.132 | 58.472 | 6 | 8 |  | 672 | -2.38% | -2.717% | -71.562 | -8.8811 | -62.6809 | 6.676% | 6.778% | 81.66% | 83.63%
March | 1044.695 | 2150.546 | 65.293 | 15 | 8 |  | March | 1067.02 | 2208.862 | 64.928 | 15 | 8 |  | 744 | -2.092% | -2.64% | -58.316 | -12.0956 | -46.2204 | 6.903% | 6.988% | 68.53% | 70.13%
April | 1027.622 | 2138.955 | 66.727 | 25 | 17 |  | April | 1043.422 | 2177.719 | 66.547 | 25 | 17 |  | 720 | -1.514% | -1.78% | -38.764 | -5.774 | -32.99 | 6.79% | 6.833% | 68.16% | 69.14%
May | 1309.548 | 2825.143 | 62.303 | 28 | 16 |  | May | 1317.331 | 2855.285 | 62.012 | 28 | 16 |  | 744 | -0.5908% | -1.056% | -30.142 | -13.2514 | -16.8906 | 8.653% | 8.627% | 90.02% | 90.65%
June | 1503.87 | 3002.475 | 69.566 | 11 | 17 |  | June | 1514.511 | 3030.183 | 69.418 | 11 | 17 |  | 720 | -0.7026% | -0.9144% | -27.708 | -6.4108 | -21.2972 | 9.937% | 9.918% | 95.67% | 96.2%
July | 1653.956 | 3138.231 | 70.838 | 18 | 17 |  | July | 1654.459 | 3149.729 | 70.601 | 18 | 17 |  | 744 | -0.0304% | -0.365% | -11.498 | -10.5334 | -0.96462 | 10.93% | 10.83% | 100% | 100%
August | 1629.759 | 3087.595 | 70.946 | 15 | 17 |  | August | 1629.448 | 3096.686 | 70.725 | 15 | 17 |  | 744 | 0.01909% | -0.2936% | -9.091 | -9.6638 | 0.57281 | 10.77% | 10.67% | 98.39% | 98.32%
September | 1414.89 | 2898.018 | 67.809 | 5 | 15 |  | September | 1415.826 | 2908.364 | 67.613 | 5 | 15 |  | 720 | -0.06611% | -0.3557% | -10.346 | -8.4127 | -1.9333 | 9.349% | 9.272% | 92.35% | 92.34%
October | 1167.831 | 2502.508 | 62.724 | 22 | 16 |  | October | 1171.75 | 2523.589 | 62.408 | 22 | 16 |  | 744 | -0.3345% | -0.8354% | -21.081 | -12.6588 | -8.4222 | 7.716% | 7.674% | 79.74% | 80.12%
November | 1023.092 | 2150.419 | 66.078 | 27 | 8 |  | November | 1033.024 | 2182.945 | 65.726 | 27 | 8 |  | 720 | -0.9614% | -1.49% | -32.526 | -11.5277 | -20.9983 | 6.76% | 6.765% | 68.52% | 69.31%
December | 1154.153 | 2636.356 | 58.842 | 17 | 8 |  | December | 1169.607 | 2676.943 | 58.726 | 17 | 8 |  | 744 | -1.321% | -1.516% | -40.587 | -5.2013 | -35.3857 | 7.626% | 7.659% | 84.01% | 84.99%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2036 | [6 empty] | Year: 2036 | [10 empty] | LF | Energy | B13S2A | B13S2 | B13S2A | B13S2
[15 empty] | Energy | Peak | Peak | Peak | Peak | Energy | Energy | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff | % of YR | % of YR | % of YR | % of YR
January | 1201.97 | 2854.998 | 56.587 | 3 | 8 |  | January | 1225.848 | 2924.003 | 56.349 | 3 | 8 |  | 744 | -1.948% | -2.36% | -69.005 | -12.0468 | -56.9582 | 7.893% | 7.978% | 90.45% | 92.3%
February | 1051.863 | 2671.351 | 58.595 | 6 | 8 |  | February | 1077.28 | 2745.264 | 58.395 | 6 | 8 |  | 672 | -2.359% | -2.692% | -73.913 | -9.1393 | -64.7737 | 6.907% | 7.011% | 84.63% | 86.66%
March | 1021.131 | 2095.112 | 65.509 | 15 | 8 |  | March | 1042.391 | 2150.693 | 65.145 | 15 | 8 |  | 744 | -2.04% | -2.584% | -55.581 | -11.708 | -43.873 | 6.705% | 6.784% | 66.38% | 67.89%
April | 1033.783 | 2151.459 | 66.737 | 25 | 17 |  | April | 1049.642 | 2190.509 | 66.552 | 25 | 17 |  | 720 | -1.511% | -1.783% | -39.05 | -5.9664 | -33.0836 | 6.788% | 6.831% | 68.16% | 69.14%
May | 1317.319 | 2841.607 | 62.309 | 28 | 16 |  | May | 1325.164 | 2871.97 | 62.018 | 28 | 16 |  | 744 | -0.592% | -1.057% | -30.363 | -13.3545 | -17.0085 | 8.65% | 8.625% | 90.03% | 90.66%
June | 1512.767 | 3020.032 | 69.571 | 11 | 17 |  | June | 1523.473 | 3047.98 | 69.421 | 11 | 17 |  | 720 | -0.7027% | -0.9169% | -27.948 | -6.5238 | -21.4242 | 9.933% | 9.915% | 95.68% | 96.21%
July | 1663.589 | 3156.408 | 70.84 | 18 | 17 |  | July | 1664.146 | 3168.019 | 70.604 | 18 | 17 |  | 744 | -0.03347% | -0.3665% | -11.611 | -10.5609 | -1.0501 | 10.92% | 10.83% | 100% | 100%
August | 1639.208 | 3105.229 | 70.952 | 15 | 17 |  | August | 1638.938 | 3114.552 | 70.728 | 15 | 17 |  | 744 | 0.01647% | -0.2993% | -9.323 | -9.8549 | 0.53193 | 10.76% | 10.67% | 98.38% | 98.31%
September | 1423.147 | 2914.715 | 67.814 | 5 | 15 |  | September | 1424.124 | 2925.27 | 67.616 | 5 | 15 |  | 720 | -0.0686% | -0.3608% | -10.555 | -8.5473 | -2.0077 | 9.345% | 9.269% | 92.34% | 92.34%
October | 1174.64 | 2516.855 | 62.73 | 22 | 16 |  | October | 1178.605 | 2538.012 | 62.417 | 22 | 16 |  | 744 | -0.3364% | -0.8336% | -21.157 | -12.6117 | -8.5453 | 7.713% | 7.671% | 79.74% | 80.11%
November | 1029.021 | 2162.51 | 66.09 | 27 | 8 |  | November | 1038.979 | 2195.157 | 65.737 | 27 | 8 |  | 720 | -0.9584% | -1.487% | -32.647 | -11.6017 | -21.0453 | 6.757% | 6.762% | 68.51% | 69.29%
December | 1160.773 | 2650.801 | 58.857 | 17 | 8 |  | December | 1176.248 | 2691.561 | 58.738 | 17 | 8 |  | 744 | -1.316% | -1.514% | -40.76 | -5.365 | -35.395 | 7.622% | 7.655% | 83.98% | 84.96%
Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2a\total. | [6 empty] | Monthly Load and Peak (Non-Coincident) Information for c:\helm\absolute\gulf\b13s2\total.
Year: 2037 | [6 empty] | Year: 2037 | [10 empty] | LF | Energy
[15 empty] | Energy | Peak | Peak | Peak | Peak
Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  | Month | Total Load(GWh) | Peak Load(MW) | Load Factor | Day | Hour |  |  | Diff % | Diff % | Diff MW | Diff | Diff
January | 1208.641 | 2869.722 | 56.609 | 3 | 8 |  | January | 1232.644 | 2938.801 | 56.376 | 3 | 8 |  | 744 | -1.947% | -2.351% | -69.079 | -11.8543 | -57.2247
February | 1022.187 | 2590.487 | 58.719 | 6 | 8 |  | February | 1047.035 | 2662.753 | 58.514 | 6 | 8 |  | 672 | -2.373% | -2.714% | -72.266 | -9.0817 | -63.1843
March | 1056.986 | 2174.527 | 65.333 | 15 | 8 |  | March | 1079.528 | 2233.394 | 64.967 | 15 | 8 |  | 744 | -2.088% | -2.636% | -58.867 | -12.2449 | -46.6221
April | 1039.715 | 2163.308 | 66.752 | 25 | 17 |  | April | 1055.672 | 2202.406 | 66.573 | 25 | 17 |  | 720 | -1.512% | -1.775% | -39.098 | -5.8125 | -33.2855
May | 1324.722 | 2856.977 | 62.323 | 28 | 16 |  | May | 1332.666 | 2887.517 | 62.033 | 28 | 16 |  | 744 | -0.5961% | -1.058% | -30.54 | -13.3345 | -17.2055
June | 1521.16 | 3036.313 | 69.582 | 11 | 17 |  | June | 1531.971 | 3064.335 | 69.436 | 11 | 17 |  | 720 | -0.7057% | -0.9145% | -28.022 | -6.377 | -21.645
July | 1672.715 | 3173.301 | 70.85 | 18 | 17 |  | July | 1673.361 | 3185.106 | 70.614 | 18 | 17 |  | 744 | -0.0386% | -0.3706% | -11.805 | -10.5901 | -1.2149
August | 1648.198 | 3121.956 | 70.959 | 15 | 17 |  | August | 1648.005 | 3131.25 | 70.74 | 15 | 17 |  | 744 | 0.01171% | -0.2968% | -9.294 | -9.6808 | 0.38683
September | 1431.074 | 2930.553 | 67.823 | 5 | 15 |  | September | 1432.132 | 2941.16 | 67.629 | 5 | 15 |  | 720 | -0.07388% | -0.3606% | -10.607 | -8.427 | -2.18
October | 1181.307 | 2530.478 | 62.746 | 22 | 16 |  | October | 1185.354 | 2551.934 | 62.432 | 22 | 16 |  | 744 | -0.3414% | -0.8408% | -21.456 | -12.7342 | -8.7218
November | 1034.856 | 2173.902 | 66.116 | 27 | 8 |  | November | 1044.882 | 2206.755 | 65.763 | 27 | 8 |  | 720 | -0.9595% | -1.489% | -32.853 | -11.6735 | -21.1795
December | 1167.318 | 2664.525 | 58.884 | 17 | 8 |  | December | 1182.845 | 2705.484 | 58.764 | 17 | 8 |  | 744 | -1.313% | -1.514% | -40.959 | -5.4359 | -35.5231