## Unit & Fin Data-input
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 2
Tab 1 of 9
Table Staff-18b
Unit Operating and Cost Data
Natural Gas Combined Cycle
Operating and Cost Data
| Technology | Combined Cycle
| Fuel | Natural Gas
| Fuel Type Number (see fuel price pages) | 1
| Geographic location (for Gas) | (1)
| Gas MMBTU/day (e.g 200,000 per 3x1 CC) | 0
| Gas Transportation Cost $/MMBTU | 0
| Transportation Cost $/KW | 0
| Base Operation (MW) annual average rating | 1269
| Base Op 'Heat Rate, 75 deg. F (BTU/KWH) | 6334
| Capacity payment ($/kw month) | N
| Fixed O&M ($/KW-yr) see note | 0
| Capital Replace ($/kW-Yr) | 0
| VOM ($/MWh) | 0
| Nox emission rate (lb/mmbtu) | 0.01
| SO2 emission rate (lb/mmbtu) | 0.006
| CO2 emission rate (lb/mmbtu) | 119
| Hg emission rate (lb/ trillion btu) | 0
Financial Data
| Discount rate | 7.54%
| I/S Year of Units for comparison | 2022
| Book Life (from EDM) or length of proposal | 31
| Costs entered in year $ (FOM and Cap. Repl.) | 2022
| Note: | The costs in this page for units can be input in different years and the costs will be automatically adjusted to
the i/s year of the analysis.

## O&M escalators-input
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 2
Tab 2 of 9
Table Staff-18b
Screening Curve Analysis : O&M Escalators
Cost escalation
[5 empty] | Interim step Unit 1 |  |  | interim step Unit 1 |  |  | Cumulative esc Unit 1 |  |  | Interim step Unit 2 |  |  | interim step Unit 2
| Year | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI) | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI) | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI) | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI) | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI) | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI)
| 2014 | 1.025 | 1.025 | 1.025 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2015 | 1.025 | 1.025 | 1.025 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2016 | 1.025 | 1.025 | 1.025 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2017 | 1.025 | 1.025 | 1.025 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2018 | 1.025 | 1.025 | 1.025 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2019 | 1.025 | 1.025 | 1.025 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2020 | 1.025 | 1.025 | 1.025 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2021 | 1.025 | 1.025 | 1.025 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2022 | 1.025 | 1.025 | 1.025 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2023 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2024 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.0506 | 1.0506 | 1.0506 | 1.0506 | 1.0506 | 1.0506 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.0769 | 1.0769 | 1.0769 | 1.0769 | 1.0769 | 1.0769 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2026 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.1038 | 1.1038 | 1.1038 | 1.1038 | 1.1038 | 1.1038 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2027 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2028 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.1597 | 1.1597 | 1.1597 | 1.1597 | 1.1597 | 1.1597 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2029 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.1887 | 1.1887 | 1.1887 | 1.1887 | 1.1887 | 1.1887 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2030 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.2184 | 1.2184 | 1.2184 | 1.2184 | 1.2184 | 1.2184 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2031 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.2489 | 1.2489 | 1.2489 | 1.2489 | 1.2489 | 1.2489 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2032 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.2801 | 1.2801 | 1.2801 | 1.2801 | 1.2801 | 1.2801 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2033 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.3121 | 1.3121 | 1.3121 | 1.3121 | 1.3121 | 1.3121 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2034 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.3449 | 1.3449 | 1.3449 | 1.3449 | 1.3449 | 1.3449 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2035 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.3785 | 1.3785 | 1.3785 | 1.3785 | 1.3785 | 1.3785 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2036 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.413 | 1.413 | 1.413 | 1.413 | 1.413 | 1.413 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2037 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.4483 | 1.4483 | 1.4483 | 1.4483 | 1.4483 | 1.4483 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2038 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.4845 | 1.4845 | 1.4845 | 1.4845 | 1.4845 | 1.4845 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2039 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.5216 | 1.5216 | 1.5216 | 1.5216 | 1.5216 | 1.5216 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2040 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.5597 | 1.5597 | 1.5597 | 1.5597 | 1.5597 | 1.5597 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2041 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.5987 | 1.5987 | 1.5987 | 1.5987 | 1.5987 | 1.5987 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2042 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.6386 | 1.6386 | 1.6386 | 1.6386 | 1.6386 | 1.6386 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2043 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.6796 | 1.6796 | 1.6796 | 1.6796 | 1.6796 | 1.6796 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2044 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.7216 | 1.7216 | 1.7216 | 1.7216 | 1.7216 | 1.7216 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2045 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.7646 | 1.7646 | 1.7646 | 1.7646 | 1.7646 | 1.7646 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2046 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.8087 | 1.8087 | 1.8087 | 1.8087 | 1.8087 | 1.8087 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2047 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.8539 | 1.8539 | 1.8539 | 1.8539 | 1.8539 | 1.8539 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2048 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.9003 | 1.9003 | 1.9003 | 1.9003 | 1.9003 | 1.9003 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2049 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.9478 | 1.9478 | 1.9478 | 1.9478 | 1.9478 | 1.9478 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2050 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.9965 | 1.9965 | 1.9965 | 1.9965 | 1.9965 | 1.9965 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2051 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.0464 | 2.0464 | 2.0464 | 2.0464 | 2.0464 | 2.0464 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2052 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.0976 | 2.0976 | 2.0976 | 2.0976 | 2.0976 | 2.0976 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2053 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.15 | 2.15 | 2.15 | 2.15 | 2.15 | 2.15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2054 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.2038 | 2.2038 | 2.2038 | 2.2038 | 2.2038 | 2.2038 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2055 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.2589 | 2.2589 | 2.2589 | 2.2589 | 2.2589 | 2.2589 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2056 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.3153 | 2.3153 | 2.3153 | 2.3153 | 2.3153 | 2.3153 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2057 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.3732 | 2.3732 | 2.3732 | 2.3732 | 2.3732 | 2.3732 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2058 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.4325 | 2.4325 | 2.4325 | 2.4325 | 2.4325 | 2.4325 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2059 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.4933 | 2.4933 | 2.4933 | 2.4933 | 2.4933 | 2.4933 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2060 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.5557 | 2.5557 | 2.5557 | 2.5557 | 2.5557 | 2.5557 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2061 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.6196 | 2.6196 | 2.6196 | 2.6196 | 2.6196 | 2.6196 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2062 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.6851 | 2.6851 | 2.6851 | 2.6851 | 2.6851 | 2.6851 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2063 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.7522 | 2.7522 | 2.7522 | 2.7522 | 2.7522 | 2.7522 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## Fuel prices-input
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 2
Tab 3 of 9
Table Staff-18b
Fuel prices $/MMBTU nominal
Fuel Source: October 7, 2013 Fuel Forecast
do not remove |  | Natural Gas
1 |  | 1
2 | 2014 | 4.0929
3 | 2015 | 4.2581
4 | 2016 | 4.5075
5 | 2017 | 4.9309
6 | 2018 | 5.9995
7 | 2019 | 6.154
8 | 2020 | 6.3084
9 | 2021 | 6.4114
10 | 2022 | 6.6173
11 | 2023 | 6.9263
12 | 2024 | 7.3382
13 | 2025 | 7.6471
14 | 2026 | 7.956
15 | 2027 | 8.265
16 | 2028 | 8.6769
17 | 2029 | 8.9858
18 | 2030 | 9.1917
19 | 2031 | 9.5389
20 | 2032 | 9.8993
21 | 2033 | 10.2733
22 | 2034 | 10.6614
23 | 2035 | 11.0643
24 | 2036 | 11.4824
25 | 2037 | 11.9163
26 | 2038 | 12.3667
27 | 2039 | 12.8342
28 | 2040 | 13.3194
29 | 2041 | 13.8229
30 | 2042 | 14.3455
31 | 2043 | 14.888
32 | 2044 | 15.4509
33 | 2045 | 16.0352
34 | 2046 | 16.6416
35 | 2047 | 17.271
36 | 2048 | 17.9243
37 | 2049 | 18.6023
38 | 2050 | 19.306
39 | 2051 | 20.0363
40 | 2052 | 20.7943
41 | 2053 | 21.581
42 | 2054 | 22.3975
43 | 2055 | 23.2449
44 | 2056 | 24.1245
45 | 2057 | 25.0374
46 | 2058 | 25.9848
47 | 2059 | 26.9681
48 | 2060 | 27.9887
49 | 2061 | 29.048
50 | 2062 | 30.1474
51 | 2063 | 31.2884

## Emission costs-input
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 2
Tab 4 of 9
Table Staff-18b
Emission prices $/ton nominal
source: | 2014 ICF ENV II
Year | Nox Emission Cost in $ per ton | SO2 Emission Cost in $ per ton | CO2 Emission Cost in $ per ton | Hg Emission Cost in $ per pound
2014 | 496.7158 | 369.9981 | 0 | 0
2015 | 509.1337 | 246.1944 | 0 | 0
2016 | 521.862 | 57.9847 | 0 | 0
2017 | 534.9086 | 59.4343 | 0 | 0
2018 | 548.2813 | 60.9201 | 0 | 0
2019 | 561.9883 | 62.4431 | 0 | 0
2020 | 576.038 | 64.0042 | 0 | 0
2021 | 590.439 | 65.6043 | 0 | 0
2022 | 605.2 | 67.2444 | 0 | 0
2023 | 620.33 | 68.9256 | 8.5054 | 0
2024 | 635.8382 | 70.6487 | 9.7778 | 0
2025 | 651.7342 | 72.4149 | 11.1953 | 0
2026 | 668.0275 | 74.2253 | 12.7667 | 0
2027 | 684.7282 | 76.0809 | 14.501 | 0
2028 | 701.8464 | 77.9829 | 16.4232 | 0
2029 | 719.3926 | 79.9325 | 18.7522 | 0
2030 | 737.3774 | 81.9308 | 21.3676 | 0
2031 | 755.8118 | 83.9791 | 24.1729 | 0
2032 | 774.7071 | 86.0786 | 27.2628 | 0
2033 | 794.0748 | 88.2305 | 30.6538 | 0
2034 | 813.9267 | 90.4363 | 34.3629 | 0
2035 | 834.2748 | 92.6972 | 38.4082 | 0
2036 | 855.1317 | 95.0146 | 42.8083 | 0
2037 | 876.51 | 97.39 | 47.5828 | 0
2038 | 898.4228 | 99.8248 | 52.7522 | 0
2039 | 920.8833 | 102.3204 | 58.3378 | 0
2040 | 943.9054 | 104.8784 | 64.3618 | 0
2041 | 967.503 | 107.5003 | 70.8475 | 0
2042 | 991.6906 | 110.1878 | 77.8191 | 0
2043 | 1016.4829 | 112.9425 | 85.3019 | 0
2044 | 1041.895 | 115.7661 | 93.3223 | 0
2045 | 1067.9423 | 118.6603 | 101.9078 | 0
2046 | 1094.6409 | 121.6268 | 111.0871 | 0
2047 | 1122.0069 | 124.6674 | 120.89 | 0
2048 | 1150.0571 | 127.7841 | 131.3478 | 0
2049 | 1178.8085 | 130.9787 | 142.4928 | 0
2050 | 1208.2787 | 134.2532 | 154.3589 | 0
2051 | 1238.4857 | 137.6095 | 166.9814 | 0
2052 | 1269.4478 | 141.0498 | 180.397 | 0
2053 | 1301.184 | 144.576 | 194.6438 | 0
2054 | 1333.7136 | 148.1904 | 209.7617 | 0
2055 | 1367.0565 | 151.8952 | 225.7922 | 0
2056 | 1401.2329 | 155.6925 | 242.7782 | 0
2057 | 1436.2637 | 159.5849 | 260.7648 | 0
2058 | 1472.1703 | 163.5745 | 279.7987 | 0
2059 | 1508.9746 | 167.6638 | 299.9285 | 0
2060 | 1546.6989 | 171.8554 | 321.2047 | 0
2061 | 1585.3664 | 176.1518 | 343.68 | 0
2062 | 1625.0006 | 180.5556 | 367.409 | 0
2063 | 1665.6256 | 185.0695 | 376.5942 | 0

## Capital costs-input
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 2
Tab 5 of 9
Table Staff-18b
Capital Revenue Requirements (nominal $000)
Natural Gas Combined Cycle
0
| in-service date |  | 2022
| Year | Book Life | rev req or cap pay
| 2014 | 0 | 0
| 2015 | 0 | 0
| 2016 | 0 | 0
| 2017 | 0 | 0
| 2018 | 0 | 0
| 2019 | 0 | 0
| 2020 | 0 | 0
| 2021 | 0 | 0
| 2022 | 1 | 125952.0309
| 2023 | 2 | 209924.1224
| 2024 | 3 | 202141.5268
| 2025 | 4 | 194645.5295
| 2026 | 5 | 187414.7841
| 2027 | 6 | 180429.3704
| 2028 | 7 | 173671.1839
| 2029 | 8 | 167123.5482
| 2030 | 9 | 160693.6225
| 2031 | 10 | 154281.2139
| 2032 | 11 | 147869.491
| 2033 | 12 | 141459.0319
| 2034 | 13 | 135049.0507
| 2035 | 14 | 128639.1866
| 2036 | 15 | 122230.0488
| 2037 | 16 | 115821.1494
| 2038 | 17 | 109412.6913
| 2039 | 18 | 103005.4807
| 2040 | 19 | 96599.4404
| 2041 | 20 | 90194.2049
| 2042 | 21 | 84403.0977
| 2043 | 22 | 79840.0839
| 2044 | 23 | 75891.7664
| 2045 | 24 | 71944.1955
| 2046 | 25 | 67997.3906
| 2047 | 26 | 64486.141
| 2048 | 27 | 61286.2472
| 2049 | 28 | 58087.1804
| 2050 | 29 | 54888.9619
| 2051 | 30 | 51691.6137
| 2052 | 31 | 20599.075
| 2053 | 0 | 0
| 2054 | 0 | 0
| 2055 | 0 | 0
| 2056 | 0 | 0
| 2057 | 0 | 0
| 2058 | 0 | 0
| 2059 | 0 | 0
| 2060 | 0 | 0
| 2061 | 0 | 0
| 2062 | 0 | 0
| 2063 | 0 | 0

## O&M costs
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 2
Tab 6 of 9
Table Staff-18b
O&M Costs
Natural Gas Combined Cycle
|  | 0 |  | in year $s | 2022
| Year |  | FOM $/kW | CAP REP $/KW | VOM $/KW at 100% CF
| 2014 |  | 0 | 0 | 0
| 2015 |  | 0 | 0 | 0
| 2016 |  | 0 | 0 | 0
| 2017 |  | 0 | 0 | 0
| 2018 |  | 0 | 0 | 0
| 2019 |  | 0 | 0 | 0
| 2020 |  | 0 | 0 | 0
| 2021 |  | 0 | 0 | 0
| 2022 |  | 0 | 0 | 0
| 2023 |  | 0 | 0 | 0
| 2024 |  | 0 | 0 | 0
| 2025 |  | 0 | 0 | 0
| 2026 |  | 0 | 0 | 0
| 2027 |  | 0 | 0 | 0
| 2028 |  | 0 | 0 | 0
| 2029 |  | 0 | 0 | 0
| 2030 |  | 0 | 0 | 0
| 2031 |  | 0 | 0 | 0
| 2032 |  | 0 | 0 | 0
| 2033 |  | 0 | 0 | 0
| 2034 |  | 0 | 0 | 0
| 2035 |  | 0 | 0 | 0
| 2036 |  | 0 | 0 | 0
| 2037 |  | 0 | 0 | 0
| 2038 |  | 0 | 0 | 0
| 2039 |  | 0 | 0 | 0
| 2040 |  | 0 | 0 | 0
| 2041 |  | 0 | 0 | 0
| 2042 |  | 0 | 0 | 0
| 2043 |  | 0 | 0 | 0
| 2044 |  | 0 | 0 | 0
| 2045 |  | 0 | 0 | 0
| 2046 |  | 0 | 0 | 0
| 2047 |  | 0 | 0 | 0
| 2048 |  | 0 | 0 | 0
| 2049 |  | 0 | 0 | 0
| 2050 |  | 0 | 0 | 0
| 2051 |  | 0 | 0 | 0
| 2052 |  | 0 | 0 | 0
| 2053 |  | 0 | 0 | 0
| 2054 |  | 0 | 0 | 0
| 2055 |  | 0 | 0 | 0
| 2056 |  | 0 | 0 | 0
| 2057 |  | 0 | 0 | 0
| 2058 |  | 0 | 0 | 0
| 2059 |  | 0 | 0 | 0
| 2060 |  | 0 | 0 | 0
| 2061 |  | 0 | 0 | 0
| 2062 |  | 0 | 0 | 0
| 2063 |  | 0 | 0 | 0

## Levelized Cost
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 2
Tab 7 of 9
Table Staff-18b
Natural Gas Combined Cycle
| Natural Gas Combined Cycle | [17 empty] | 1
[7 empty] | Fixed Costs |  |  |  |  | Variable Costs
|  | Discount Factor: | 7.54% | [5 empty] | Fixed | Capital | Firm Gas | NOx | SO2 | CO2 | Hg | Fuel | Variable
|  | Base (MW) | 1269 |  |  | counter | In-Service | Capital | O&M | Replacement | Transportation | Emission | Emission | Emission | Emission | Costs | O&M | Total
|  | Heat Rate | 6334 | Year |  | (hide col) | Year | $000 | $000 | $000 | $000 | $000 | $000 | $000 | $000 | $000 | $000 | $000
|  | Fixed O&M ($/KW-yr) | 0 | 2014 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Capital Replace ($/kW-Yr) | 0 | 2015 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | VOM ($/MWh) | 0 | 2016 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Gas Transportation | 0 | 2017 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | in-service year | 2022 | 2018 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | book life | 31 | 2019 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | costs in entered in year $s | 2022 | 2020 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2021 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Capacity |  |  | 2022 | 9 | 1 | 1 | 125952.0309 | 9766.9554 | 28.0614 | 87841.4927 | 213.0653 | 14.2044 | 0 | 0 | 451435.1869 | 7602.8621 | 682853.8591
| Factor | Levelized | Levelized | 2023 | 10 | 1 | 2 | 209924.1224 | 9098.984 | 4656.1982 | 87594.8103 | 218.3919 | 14.5595 | 35633.3101 | 0 | 465936.8507 | 7792.9337 | 820870.1608
| (%) | $/KW | $/MWh | 2024 | 11 | 1 | 3 | 202141.5268 | 10350.0251 | 5100.9113 | 87829.569 | 223.8517 | 14.9234 | 40963.8685 | 0 | 487688.8439 | 7987.757 | 842301.2768
| 0 | 224.9057 | 0 | 2025 | 12 | 1 | 4 | 194645.5295 | 9300.5319 | 24156.7743 | 87823.8298 | 229.448 | 15.2965 | 46902.7414 | 0 | 516691.6763 | 8187.451 | 887953.2787
| 5 | 258.5551 | 590.3085 | 2026 | 13 | 1 | 5 | 187414.7841 | 9560.8141 | 23269.7878 | 87818.234 | 235.1842 | 15.6789 | 53486.1146 | 0 | 538443.996 | 8392.1372 | 908636.7311
| 10 | 292.2045 | 333.5667 | 2027 | 14 | 1 | 6 | 180429.3704 | 13041.2239 | 23811.298 | 87572.1952 | 241.0638 | 16.0709 | 60751.8301 | 0 | 560195.907 | 8601.9407 | 934660.9
| 15 | 325.8538 | 247.9862 | 2028 | 15 | 1 | 7 | 173671.1839 | 10088.3592 | 28770.5743 | 87807.4587 | 247.0904 | 16.4727 | 68804.7944 | 0 | 581948.572 | 8816.9892 | 960171.4947
| 20 | 359.5032 | 205.1959 | 2029 | 16 | 1 | 8 | 167123.5482 | 10370.912 | 31413.2763 | 87802.2723 | 253.2677 | 16.8845 | 78561.9415 | 0 | 610951.3523 | 9037.4139 | 995530.8687
| 25 | 393.1525 | 179.5217 | 2030 | 17 | 1 | 9 | 160693.6225 | 11819.7879 | 30925.0177 | 87797.2155 | 259.5994 | 17.3066 | 89519.0887 | 0 | 632703.8792 | 9263.3493 | 1022998.8666
| 30 | 426.8019 | 162.4056 | 2031 | 18 | 1 | 10 | 154281.2139 | 10960.1666 | 30173.4665 | 87551.7583 | 266.0893 | 17.7393 | 101271.9359 | 0 | 647204.807 | 9494.933 | 1041222.1099
| 35 | 460.4512 | 150.1798 | 2032 | 19 | 1 | 11 | 147869.491 | 11267.3283 | 35953.9381 | 87787.478 | 272.7416 | 18.1828 | 114217.1409 | 0 | 671650.5372 | 9732.3063 | 1078769.1441
| 40 | 494.1006 | 141.0104 | 2033 | 20 | 1 | 12 | 141459.0319 | 20610.5534 | 43647.2655 | 87782.791 | 279.5601 | 18.6373 | 128423.4929 | 0 | 697022.4882 | 9975.614 | 1129219.4342
| 45 | 527.7499 | 133.8787 | 2034 | 21 | 1 | 13 | 135049.0507 | 11907.9197 | 46966.1042 | 87778.2212 | 286.5491 | 19.1033 | 143962.8878 | 0 | 723355.2811 | 10225.0043 | 1159550.1214
| 50 | 561.3993 | 128.1734 | 2035 | 22 | 1 | 14 | 128639.1866 | 12259.975 | 82310.1494 | 87533.2896 | 293.7128 | 19.5809 | 160910.4517 | 0 | 750686.1911 | 10480.6294 | 1233133.1666
| 55 | 595.0486 | 123.5053 | 2036 | 23 | 1 | 15 | 122230.0488 | 13924.5028 | 82044.516 | 87769.4216 | 301.0557 | 20.0704 | 179344.6674 | 0 | 779051.9122 | 10742.6452 | 1275428.8399
| 60 | 628.698 | 119.6153 | 2037 | 24 | 1 | 16 | 115821.1494 | 12957.3269 | 84073.3346 | 87765.186 | 308.5821 | 20.5721 | 199347.5067 | 0 | 808492.5781 | 11011.2113 | 1319797.4473
| 65 | 662.3473 | 116.3237 | 2038 | 25 | 1 | 17 | 109412.6913 | 13320.8519 | 93698.6444 | 87761.0564 | 316.2966 | 21.0864 | 221004.5663 | 0 | 839048.0725 | 11286.4916 | 1375869.7575
| 70 | 695.9967 | 113.5024 | 2039 | 26 | 1 | 18 | 103005.4807 | 18015.4948 | 95889.8881 | 87516.5997 | 324.204 | 21.6136 | 244405.2097 | 0 | 870760.9697 | 11568.6539 | 1431508.1142
| 75 | 729.646 | 111.0572 | 2040 | 27 | 1 | 19 | 96599.4404 | 14058.515 | 84337.605 | 87753.1042 | 332.3091 | 22.1539 | 269642.7135 | 0 | 903675.1057 | 11857.8702 | 1468278.817
| 80 | 763.2954 | 108.9177 | 2041 | 28 | 1 | 20 | 90194.2049 | 14453.2409 | 82057.5197 | 87749.2766 | 340.6169 | 22.7078 | 296814.4192 | 0 | 937837.2882 | 12154.317 | 1521623.5912
| 85 | 796.9448 | 107.0299 | 2042 | 29 | 1 | 21 | 84403.0977 | 16412.2959 | 89154.3851 | 87745.5447 | 349.1323 | 23.2755 | 326021.8905 | 0 | 973292.1502 | 12458.1749 | 1589859.9467
| 90 | 830.5941 | 105.3519 | 2043 | 30 | 1 | 22 | 79840.0839 | 15298.5928 | 86833.8954 | 87501.5173 | 357.8606 | 23.8574 | 357371.076 | 0 | 1010091.0331 | 12769.6293 | 1650087.5456
| 95 | 864.2435 | 103.8505 | 2044 | 31 | 1 | 23 | 75891.7664 | 15728.3323 | 89086.7565 | 87738.3584 | 366.8071 | 24.4538 | 390972.478 | 0 | 1048283.7547 | 13088.87 | 1721181.5772
| 100 | 897.8928 | 102.4992 | 2045 | 32 | 1 | 24 | 71944.1955 | 28287.8671 | 86408.5022 | 87734.8995 | 375.9773 | 25.0652 | 426941.3271 | 0 | 1087922.7359 | 13416.0917 | 1803056.6615
|  |  |  | 2046 | 33 | 1 | 25 | 67997.3906 | 16600.8612 | 82349.9265 | 87731.527 | 385.3767 | 25.6918 | 465397.7631 | 0 | 1129064.2596 | 13751.494 | 1863304.2904
|  |  |  | 2047 | 34 | 1 | 26 | 64486.141 | 17067.541 | 76103.7059 | 65647.8875 | 395.0111 | 26.3341 | 506467.0225 | 0 | 1171763.5078 | 14095.2814 | 1916052.4322
|  |  |  | 2048 | 35 | 1 | 27 | 61286.2472 | 19354.0667 | 75402.2665 | 65825.0328 | 404.8864 | 26.9924 | 550279.632 | 0 | 1216080.5598 | 14447.6634 | 2003107.3474
|  |  |  | 2049 | 36 | 1 | 28 | 58087.1804 | 18040.9279 | 79236.6476 | 65821.907 | 415.0086 | 27.6672 | 596971.61 | 0 | 1262076.5618 | 14808.855 | 2095486.3655
|  |  |  | 2050 | 37 | 1 | 29 | 54888.9619 | 18548.3995 | 60674.2836 | 65818.8593 | 425.3838 | 28.3589 | 646684.674 | 0 | 1309815.0428 | 15179.0764 | 2172063.0402
|  |  |  | 2051 | 38 | 1 | 30 | 51691.6137 | 19070.2514 | 55690.3262 | 65635.5703 | 436.0184 | 29.0679 | 699566.456 | 0 | 1359362.4982 | 15558.5533 | 2267040.3554
|  |  |  | 2052 | 39 | 1 | 31 | 20599.075 | 0 | 49839.2431 | 65812.9907 | 446.9188 | 29.7946 | 755770.7257 | 0 | 1410785.5442 | 15947.5171 | 2319231.8091
|  |  |  | 2053 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2054 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2055 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2056 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2057 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2058 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2059 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2060 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2061 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2062 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2063 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | NPV 2014 | 1039695.9255 | 88398.5819 | 292501.6041 | 616010.9662 | 1967.5782 | 131.1719 | 1082498.6633 | 0 | 4939346.8255 | 70209.5884 | 8130760.905
[7 empty] | NPV i/s year | 1859801.5234 | 158126.8265 | 523225.0273 | 1101916.5367 | 3519.5915 | 234.6394 | 1936366.7912 | 0 | 8835472.4932 | 125590.4695 | 14544253.8988
|  | . |  |  |  |  | Levelized $/KW i/s year | 114.8153 | 9.762 | 32.3014 | 68.0271 | 0.21728 | 0.014486 | 119.542 | 0 | 545.4599 | 7.7534 | 897.8928
|  |  |  | Note: |  |  | A typical levelized cost calculation, such as this one, does not account for numerous system cost impacts that must be accounted for in order to obtain a complete picture of the true cost
impact of resource options.

## Chart Data
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 2
Tab 8 of 9
Table Staff-18b
Data Tables Used in Chart
Natural Gas Combined Cycle
Capacity
Factor | Levelized | Levelized
(%) | $/KW | $/MWh
0 | 224.9057 | 0
5 | 258.5551 | 590.3085
10 | 292.2045 | 333.5667
15 | 325.8538 | 247.9862
20 | 359.5032 | 205.1959
25 | 393.1525 | 179.5217
30 | 426.8019 | 162.4056
35 | 460.4512 | 150.1798
40 | 494.1006 | 141.0104
45 | 527.7499 | 133.8787
50 | 561.3993 | 128.1734
55 | 595.0486 | 123.5053
60 | 628.698 | 119.6153
65 | 662.3473 | 116.3237
70 | 695.9967 | 113.5024
75 | 729.646 | 111.0572
80 | 763.2954 | 108.9177
85 | 796.9448 | 107.0299
90 | 830.5941 | 105.3519
95 | 864.2435 | 103.8505
100 | 897.8928 | 102.4992

## Chart $MWH
Note: A typical levelized cost calculation, such as this one, does not account for numerous system cost impacts that must be accounted for in order to obtain a complete picture of the true cost impact of resource options.
Table Staff-18b
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 2
Tab 9 of 9