## PGD NFOM vs CPI Benchmark & Ind
OPC 010079
FPL RC-16
Comparison of PGD NF O&M to CPI Benchmark ($/kW capacity) | [9 empty] | Industry Fossil NF O&M $/kW
| Consumer Price Index (82-84) | % Growth | PGD Total NF O&M $ (1) | PGD Installed Capacity (Summer MW) - incl. Solar (2) | PGD Total NF O&M $/kw | % Change from 1990 of PGD Total NF O&M $/kw | PGD Total NF O&M $/kw at CPI growth since 1990 (absent operating efficiences) | Change of PGD Total NF O&M $/kw (Actual/ forecast vs '90 cost escalated by CPI | % Change of PGD Total NF O&M $/kw (Actual/ forecast vs '90 cost escalated by CPI | Tot Fos Non-Fuel O&M Cost $ (1) | Tot Fossil Cap. MW | Tot Fos Ind. Non-Fuel O&M Cost $/KW | Change of PGD Total NF O&M $/kw (Actual vs Ind. Avg) | % Change of PGD Total NF O&M $/kw (Actual vs Ind. Avg)
1988 | 118.3
1989 | 124 | 4.818%
1990 | 130.7 | 5.403% | 199021930 | 10737 | 18.5361 | 0% | 18.5361 |  |  | 9319406464 | 448210.58 | 20.7925
1991 | 136.2 | 4.208% | 207797488 | 10872 | 19.1131 | 3.113% | 19.3161 |  |  | 9458998809 | 451309.07 | 20.959
1992 | 140.3 | 3.01% | 169498289 | 10887 | 15.5689 | -16.01% | 19.8976 |  |  | 10026389218 | 476356.67 | 21.0481
1993 | 144.5 | 2.994% | 168409446 | 11744 | 14.34 | -22.64% | 20.4932 |  |  | 10557808792 | 483564.09 | 21.8333
1994 | 148.2 | 2.561% | 151452037 | 13345 | 11.349 | -38.77% | 21.018 |  |  | 10471598126 | 486758.7 | 21.5129
1995 | 152.4 | 2.834% | 158132176 | 13427 | 11.7772 | -36.46% | 21.6136 |  |  | 10276562938 | 490044.38 | 20.9707
1996 | 156.9 | 2.953% | 169347977 | 13430 | 12.6097 | -31.97% | 22.2518 |  |  | 10123628216 | 490164.79 | 20.6535
1997 | 160.5 | 2.294% | 178297456 | 13477 | 13.2298 | -28.63% | 22.7624 |  |  | 10254211094 | 490947.39 | 20.8866
1998 | 163 | 1.558% | 170990268 | 13387 | 12.7729 | -31.09% | 23.1169 |  |  | 10462540992 | 468662.73 | 22.3242
1999 | 166.6 | 2.209% | 186694138 | 13505 | 13.8241 | -25.42% | 23.6275 |  |  | 10133102506 | 427628.07 | 23.6961
2000 | 172.2 | 3.361% | 145906790 | 13925 | 10.478 | -43.47% | 24.4217 |  |  | 9843583445 | 412569.6 | 23.8592
2001 | 177.1 | 2.846% | 150878921 | 13689 | 11.0219 | -40.54% | 25.1166 |  |  | 7952704314 | 333291.89 | 23.8611
2002 | 179.9 | 1.581% | 160938777 | 14702 | 10.9467 | -40.94% | 25.5137 |  |  | 7813540585 | 302619.84 | 25.8197
2003 | 184 | 2.279% | 160619540 | 16117 | 9.9658 | -46.24% | 26.0952 |  |  | 6617339900 | 263593.95 | 25.1043
2004 | 188.9 | 2.663% | 162786023 | 16001 | 10.1735 | -45.12% | 26.7901 |  |  | 6975765527 | 260958.97 | 26.7313
2005 | 195.3 | 3.388% | 184702624 | 17838 | 10.3544 | -44.14% | 27.6978 |  |  | 7741446646 | 276285.75 | 28.0197
2006 | 201.6 | 3.226% | 186700238 | 18042 | 10.3481 | -44.17% | 28.5912 |  |  | 8278096731 | 279400.66 | 29.6281
2007 | 207.342 | 2.848% | 199698554 | 19196.26 | 10.403 | -43.88% | 29.4056 |  |  | 8960289731 | 281401.72 | 31.8416
2008 | 215.2485 | 3.813% | 203227860 | 19148.41 | 10.6133 | -42.74% | 30.5269 |  |  | 9327104524 | 299005.63 | 31.1937
2009 | 214.5478 | -0.3255% | 191929946 | 20372 | 9.4213 | -49.17% | 30.4275 |  |  | 9449366357 | 301216.08 | 31.3707
2010 | 218.079 | 1.646% | 232251642 | 20783 | 11.1751 | -39.71% | 30.9283 |  |  | 9836375701 | 303895.968 | 32.3676
2011 | 224.937 | 3.145% | 235016906 | 21490 | 10.9361 | -41% | 31.9009 |  |  | 10053097237 | 309127.86 | 32.5208
2012 | 229.5963 | 2.071% | 240244297.03 | 20739 | 11.5842 | -37.5% | 32.5617 |  |  | 9590714942 | 313302 | 30.6117
2013 | 232.962 | 1.466% | 237244103.79 | 20821 | 11.3945 | -38.53% | 33.039 | 21.6446 | -65.51% | 9628391960 | 305684.26 | 31.4978
2014 | 236.712 | 1.61% | 247914921.9 | 22137 | 11.1991 | -39.58% | 33.5709 | 22.3718 | -66.64% | 10385943193 | 304802.54 | 34.0743 | 22.8752 | 67.13%
2015 | 237 | 0.1217% | 247997150.25 | 21800 | 11.376 | -38.63% | 33.6117 | 22.2357 | -66.15%
2016 | 241.714 | 1.989% | 261744862.74 | 22676 | 11.5428 | -37.73% | 34.2803 | 22.7375 | -66.33%
2017 | 247.732 | 2.49% | 251848407.78 | 22663 | 11.1128 | -40.05% | 35.1337 | 24.021 | -68.37%
2018 | 254.251 | 2.631% | 261731925.77 | 22659 | 11.5509 | -37.68% | 36.0583 | 24.5074 | -67.97%
1990-2015 | 1.8133 | 81.33%
2013-2018 | 1.0914 | 9.138%
2001-2015 | 1.3382 | 33.82%
2013-2017 | 1.0634
(1) (Source: '90-'14 FERC 1 - pg 320-321)
(2) Source: FPL 10 Yr Site Plans to PSC (Schedules 1 & 7.1 - Total minus Nuclear)