## C1 Page 1
OPC 006736
FPL RC-16
Docket No. 120002-EG
Exhibit No. __________
Florida Power & Light Co.
(AS-2)
Schedule C-1
Page 1 of 3
Energy Conservation Cost Recovery
Summary of ECCR Calculation
for the Period:
January 2013 through December 2013
TOTAL COSTS
1. Projected Costs (Schedule C-2, page 3, Line 31, AS-2)
2. Less True-up Over/(Under) Recoveries (Schedule C-3, page 9, Line 11, AS-2)
3. Subtotal (Line 1 minus Line 2)
4. Less Load Management Rebates Not Subject To Revenue Taxes
(Schedule C-2, page 3, Rebates Column, Program Nos. 7,15,16,17, AS-2)
5. Project Costs Subject To Revenue Taxes (Line 3 minus Line 4)
6. Revenue Tax Multiplier
7. Subtotal (Line 5 * Line 6)
8. Total Recoverable Costs (Line 7 + Line 4)
Costs are split in proportion to the current period split of energy-related (54.54%) and demand-related (45.46%) costs. The allocation of ECCR costs between demand and energy is shown on schedule C-2, page 2, AS-2, and is consistent with the methodology set forth in Order No. PSC-93-1845-FOF-EG.
9. Total Cost with assessment fee | 115995839.0546 | Project Allocation
10. Energy Related Costs | 32919619.1237 | 0.2838
11. Demand-Related Costs (total) | 83076219.8487 | 0.7162
12. Demand costs allocated on 12 CP | 62307164.8865
13. Demand Costs allocated on 25% | 20769054.9622 | 83076219.8487 | CHECK
CHECK | 115995838.9724

## page 2& 3
OPC 006737
FPL RC-16
FLORIDA POWER & LIGHT COMPANY | [9 empty] | FLORIDA POWER & LIGHT COMPANY
CALCULATION OF ENERGY & DEMAND ALLOCATION % BY RATE CLASS | [9 empty] | CALCULATION OF ENERGY CONSERVATION FACTORS
JANUARY 2020 THROUGH DECEMBER 2020 | [9 empty] | JANUARY 2020 THROUGH DECEMBER 2020
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) |  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
| AVG 12CP | Projected | Projected | Demand | Energy | Projected | Projected | Percentage | Percentage |  | Percentage | Percentage |  |  |  | Total | Projected | Billing KW | Projected | Conservation | Conservation
Rate Class | Load Factor | Sales at | AVG 12 CP | Loss | Loss | Sales at | AVG 12 CP | of Sales at | of Demand at | Rate Class | of Sales at | of Demand at | Demand Allocation |  | Energy | Recoverable | Sales at | Load Factor | Billed KW | Recovery | Recovery
| at Meter | Meter | at Meter | Expansion | Expansion | Generation | at Generation | Generation | Generation |  | Generation | Generation | 12CP | 25% | Allocation | Costs | Meter |  | at Meter | Factor | Factor
| (%) | (kwh) | (kW) | Factor | Factor | (kwh) | (kW) | (%) | (%) |  | (%) | (%) | ($) | ($) | ($) | ($) | (kwh) | (%) | (kw) | ($/KW) | ($/kwh)
RS1/RST1 | 58.6% | 58440270496 | 11384304 | 1.0647 | 1.0487 | 61283709482 | 12120517 | 53.36% | 59.07% | RS1/RST1 | 53.36% | 59.07% | 36804157 | 11082188 | 17565624 | 65451969 | 58440270496 |  |  | - | 0.00112
GS1/GST1 | 64.43% | 6085932828 | 1078346 | 1.0647 | 1.0487 | 6382046767 | 1148082 | 5.557% | 5.595% | GS1/GST1 | 5.557% | 5.595% | 3486171 | 1154092 | 1829273 | 6469536 | 6085932828 |  |  | - | 0.001063
GSD1/GSDT1/HLFT1 (21-499 kW) | 72.1% | 26303800774 | 4164903 | 1.0646 | 1.0486 | 27581945579 | 4433886 | 24.02% | 21.61% | GSD1/GSDT1/HLTF(21-499 kW) | 24.02% | 21.61% | 13463570 | 4987758 | 7905756 | 26357084 | 26303800774 | 50.16% | 71842365 | 0.36687 | -
OS2 | 91.44% | 10731982 | 1340 | 1.0572 | 1.0266 | 11017801 | 1417 | 0.009593% | 0.006906% | OS2 | 0.009593% | 0.006906% | 4303 | 1992 | 3158 | 9453 | 10731982 |  |  |  | 0.00088083
GSLD1/GSLDT1/CS1/CST1/HLFT2 (500-1,999 kW) | 72.58% | 10711232894 | 1684571 | 1.0635 | 1.0478 | 11223330106 | 1791534 | 9.772% | 8.731% | GSLD1/GSLDT1/CS1/CST1/HLTF(500-1,999 kW) | 9.772% | 8.731% | 5440030 | 2029561 | 3216920 | 10686511 | 10711232894 | 56.71% | 25872574 | 0.41304 | -
GSLD2/GSLDT2/CS2/CST2/HLFT3 (2,000+ kW) | 86.84% | 2556310055 | 336032 | 1.055 | 1.0411 | 2661448968 | 354505 | 2.317% | 1.728% | GSLD2/GSLDT2/CS2/CST2/HLTF(2,000+ kW) | 2.317% | 1.728% | 1076460 | 481281 | 762846 | 2320587 | 2556310055 | 65.79% | 5322852 | 0.43597 | -
GSLD3/GSLDT3/CS3/CST3 | 85.3% | 179386360 | 24008 | 1.0219 | 1.017 | 182438138 | 24534 | 0.1588% | 0.1196% | GSLD3/GSLDT3/CS3/CST3 | 0.1588% | 0.1196% | 74498 | 32991 | 52292 | 159781 | 179386360 | 66.11% | 371701 | 0.42986 | -
SST1D | 77.57% | 11856926 | 1745 | 1.0349 | 1.0266 | 12172705 | 1806 | 0.0106% | 0.008801% | ISST1D | 0.0106% | 0.008801% | 5484 | 2201 | 3489 | 11174 | 11856926 | 29.68% | 54718 | 0.20421 | -
SST1T | 106.4% | 89667754 | 9618 | 1.0219 | 1.017 | 91193210 | 9829 | 0.0794% | 0.0479% | ISST1T | 0.0794% | 0.0479% | 29846 | 16491 | 26139 | 72476 | 89667754 | 11.32% | 1085123 | 0.066791 | -
CILC D/CILC G | 86.5% | 2789864163 | 368168 | 1.0534 | 1.0405 | 2902935545 | 387828 | 2.528% | 1.89% | CILC D/CILC G | 2.528% | 1.89% | 1177646 | 524950 | 832062 | 2534658 | 2789864163 | 74.14% | 5154546 | 0.49173 | -
CILC T | 90.41% | 1564963142 | 197608 | 1.0219 | 1.017 | 1591586795 | 201939 | 1.386% | 0.9841% | CILC T | 1.386% | 0.9841% | 613191 | 287813 | 456193 | 1357197 | 1564963142 | 76.34% | 2808338 | 0.48327 | -
MET | 71.01% | 91232930 | 14667 | 1.0349 | 1.0266 | 93662684 | 15178 | 0.08155% | 0.07396% | MET | 0.08155% | 0.07396% | 46082 | 16937 | 26846 | 89865 | 91232930 | 64.57% | 193544 | 0.46431 | -
OL1/SL1/PL1 | 581.5% | 687698248 | 13500 | 1.0647 | 1.0487 | 721158531 | 14373 | 0.6279% | 0.07005% | OL1/SL1/PL1 | 0.6279% | 0.07005% | 43644 | 130410 | 206704 | 380758 | 687698248 |  |  |  | 0.00055367
SL2, GSCU1 | 94.28% | 107515874 | 13017 | 1.0647 | 1.0487 | 112747110 | 13859 | 0.09817% | 0.06754% | SL2, GSCU1 | 0.09817% | 0.06754% | 42083 | 20389 | 32316 | 94788 | 107515874 |  |  |  | 0.00088162
TOTAL |  | 109630464426 | 19291827 |  |  | 114851393421 | 20519287 | 100% | 100% | TOTAL |  |  | 62307165 | 20769054 | 32919618 | 115995837 | 109630464426 | - | 112705761
Notes - There are currently no customers taking service on Schedules ISST1(D) or ISST1(T). Should any customer begin
taking service on these schedules during the period, they will be billed using the applicable SST1 Factor.
Note: Total may not add due to rounding . | [9 empty] | Note: Totals may not add due to rounding.
(1) AVG 12 CP load factor based on 2011 load research data. | [9 empty] | (1) Obtained from Schedule C-1, page 2 of 3, Col (8) | (7): Demand =; (8): (C-1 pg 3 of 3, total col 6)/(C-1, pg 2 of 3, total col 7)(.10) (C-1, pg 2 of 3, col 4)
(2) Projected kwh sales for the period January 2013 through December 2013 | [9 empty] | (2) Obtained from Schedule C-1, page 2 of 3, Col (9) | (7): Charge (RDD); (10): 12 months
(3) Calculated: Col (2)/(8760 hours * Col (1)) , 8760 hours = annual hours | [9 empty] | (3) Total from C-1,page 1, line 12 X Col (2)
(4) Based on 2011 demand losses. | [9 empty] | (4) Total from C-1,page 1, line 13 X Col (1) | (7): Sum of Daily
(5) Based on 2011 energy losses. | [9 empty] | (5) Total from C-1, page 1, line 10 X Col (1) | (7): Demand =; (8): (C-1 pg 3 of 3, total col 6)/(C-1, pg 2 of 3, total col 7)/(21 onpk days) (C-1, pg 2 of 3, col 4)
(6) Col (2) * Col (5) | [9 empty] | (6) Total Recoverable Costs | (7): Charge (DDC); (10): 12 months
(7) Col (3) * Col (4) | [9 empty] | (7) Projected kwh sales for the period January 2013 through December 2013, From C-1 Page 2, Total of Column 2
(8) Col (6) / total for Col (6) | [9 empty] | (8) Billing Kw load factor | (8): CONSERVATION RECOVERY FACTOR
(9) Col (7) / total for Col (7) | [9 empty] | (9) Col (6) / (7) *(730) | (8): RDC; (9): SDD
[10 empty] | (10) Col (6)/(9) | (8): ** ($/kw); (9): ** ($/kw)
[10 empty] | (11) Col (6)/(7) | (7): ISST1D; (8): 0.048363; (9): 0.02303
[17 empty] | ISST1T | 0.04791 | 0.022814
[17 empty] | SST1T | 0.049018 | 0.023342
[17 empty] | SST1D1/SST1D2/ SST1D3 | 0.04791 | 0.022814
Note on A20: no customers on rate isst-1d no customer data available
Note on A21: no customers on rate isst-1t no customer data available
Note on Q20: no customers on rate isst-1d no customer data available
Note on Q21: no customers on rate isst-1t no customer data available