## LLS_GNCP_Demand_Losses_by_Rate
OPC 015184
FPL RC-16
| Distribution GCP Demand | Expansion Factor | Distribution GCP Demand at Generation | Delivered Efficiency | Losses | Cost Recovery Multiplier
CILC-1D
Primary | 147260.7867 | 1.0379 | 152844.5855 | 0.96347 | 5583.7988 | 0
Secondary | 228293.9032 | 1.0709 | 244473.6974 | 0.93382 | 16179.7942 | 0
Total | 375554.6898 | 1.058 | 397318.2829 | 0.94522 | 21763.5931 | 0.98848
CILC-1G
Primary | 207.2528 | 1.0379 | 215.1113 | 0.96347 | 7.8586 | 0
Secondary | 14310.1911 | 1.0709 | 15324.3923 | 0.93382 | 1014.2012 | 0
Total | 14517.4439 | 1.0704 | 15539.5036 | 0.93423 | 1022.0597 | 1.0001
GS(T)-1
Secondary | 1302479.8836 | 1.0709 | 1394790.0865 | 0.93382 | 92310.2029 | 0
Total | 1302479.8836 | 1.0709 | 1394790.0865 | 0.93382 | 92310.2029 | 1.0005
GSCU-1
Secondary | 8881.3556 | 1.0709 | 9510.8008 | 0.93382 | 629.4452 | 0
Total | 8881.3556 | 1.0709 | 9510.8008 | 0.93382 | 629.4452 | 1.0005
GSD(T)-1
Primary | 13496.8409 | 1.0379 | 14008.6109 | 0.96347 | 511.7699 | 0
Secondary | 4670918.6789 | 1.0709 | 5001959.0707 | 0.93382 | 331040.3918 | 0
Total | 4684415.5198 | 1.0708 | 5015967.6815 | 0.9339 | 331552.1617 | 1.0005
GSLD(T)-1
Primary | 75844.5084 | 1.0379 | 78720.3621 | 0.96347 | 2875.8537 | 0
Secondary | 1851364.5341 | 1.0709 | 1982575.6476 | 0.93382 | 131211.1135 | 0
Total | 1927209.0426 | 1.0696 | 2061296.0097 | 0.93495 | 134086.9671 | 0.99934
GSLD(T)-2
Primary | 120008.5228 | 1.0379 | 124558.9769 | 0.96347 | 4550.4541 | 0
Secondary | 249008.7509 | 1.0709 | 266656.6613 | 0.93382 | 17647.9104 | 0
Total | 369017.2737 | 1.0602 | 391215.6382 | 0.94326 | 22198.3645 | 0.99054
MET
Primary | 17139.2 | 1.0379 | 17789.0801 | 0.96347 | 649.88 | 0
Total | 17139.2 | 1.0379 | 17789.0801 | 0.96347 | 649.88 | 0.96976
OL-1
Secondary | 26393.5073 | 1.0709 | 28264.0852 | 0.93382 | 1870.5778 | 0
Total | 26393.5073 | 1.0709 | 28264.0852 | 0.93382 | 1870.5778 | 1.0005
OS-2
Primary | 11767.8131 | 1.0379 | 12214.0222 | 0.96347 | 446.2091 | 0
Total | 11767.8131 | 1.0379 | 12214.0222 | 0.96347 | 446.2091 | 0.96976
RS(T)-1
Secondary | 13187357.9851 | 1.0709 | 14121981.012 | 0.93382 | 934623.0269 | 0
Total | 13187357.9851 | 1.0709 | 14121981.012 | 0.93382 | 934623.0269 | 1.0005
SL-1
Secondary | 154156.9734 | 1.0709 | 165082.4869 | 0.93382 | 10925.5135 | 0
Total | 154156.9734 | 1.0709 | 165082.4869 | 0.93382 | 10925.5135 | 1.0005
SL-2
Secondary | 4081.4904 | 1.0709 | 4370.7564 | 0.93382 | 289.266 | 0
Total | 4081.4904 | 1.0709 | 4370.7564 | 0.93382 | 289.266 | 1.0005
SST-DST
Primary | 8201.2538 | 1.0379 | 8512.227 | 0.96347 | 310.9732 | 0
Total | 8201.2538 | 1.0379 | 8512.227 | 0.96347 | 310.9732 | 0.96976
TOTAL FPSC
Total | 22091173.4322 | 1.0703 | 23643851.673 | 0.93433 | 1552678.2408 | 1
COMPANY USE
Total | 23706.8394 | 1.0709 | 25387.0059 | 0.93382 | 1680.1666 | 1.0005
TOTAL FPL
Total | 22114880.2716 | 1.0703 | 23669238.6789 | 0.93433 | 1554358.4074 | 1
TOTAL COMPANY
Total | 22091173.4322 | 1.0703 | 23643851.673 | 0.93433 | 1552678.2408 | 1

## LLS_Demand_Losses_by_Rate_Grou
OPC 015185
FPL RC-16
Line No. | Rate Class | Voltage Level (Note 1) | 12 CP Demand | Expansion Factor | 12 CP Demand at Generation | Delivered Efficiency | Losses | Fuel Cost Recovery Multiplier
1
2 | Rate Class Group - | 0 | 0 | 0 | 0 | 0 | 0 | 0
3
4 | CILC-1D / CILC-1G | 0 | 365959.8286 | 1.0532 | 385437.9874 | 0.94946 | 19478.1589 | 0.99244
5
6 | GSD-1 / CILC-1G | 0 | 4079565.8831 | 1.0643 | 4341978.639 | 0.93956 | 262412.7559 | 1.0029
7
8 | GSLD-2 / OS-2 / MET | 0 | 344674.2318 | 1.054 | 363270.1211 | 0.94881 | 18595.8894 | 0.99313
9
10 | GSLD-3 / CILC-1T | 0 | 212392.3363 | 1.0218 | 217030.2601 | 0.97863 | 4637.9238 | 0.96287
11
12 | OL-1 / SL-1 | 0 | 12852.793 | 1.0644 | 13680.6423 | 0.93949 | 827.8493 | 1.003
13
14 | SL-2 / GSCU-1 | 0 | 12400.1465 | 1.0644 | 13198.8408 | 0.93949 | 798.6943 | 1.003

## LLS_KWH_12CP_GNCP
OPC 015186
FPL RC-16
Rate Class | Line Loss - Delivered Sales, 12CP & GNCP By Rate Class & Voltage Level | Delivered Sales by Voltage Level | Delivered Sales - KWH - Transmission | Delivered Sales - KWH - Primary | Delivered Sales - KWH - Secondary | 12 CP Demand by Voltage Level | 12 CP Demand - MW - Transmission | 12 CP Demand - MW - Primary | 12 CP Demand - MW - Secondary | GNCP Demand by Voltage Level | GNCP Demand - MW - Transmission | GNCP Demand - MW - Primary | GNCP Demand - MW - Secondary
BLOUNTSTOWN | 0 | 0 | 2907.7454 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CILC-1D | 0 | 0 | 0 | 1027851.2689 | 1659940.1279 | 0 | 0 | 138154.4872 | 214176.685 | 0 | 0 | 147260.7867 | 228293.9032 | 0
CILC-1G | 0 | 0 | 0 | 1364.9415 | 100272.5899 | 0 | 0 | 194.5643 | 13434.092 | 0 | 0 | 207.2528 | 14310.1911 | 0
CILC-1T | 0 | 0 | 1508543.5439 | 0 | 0 | 0 | 189373.0219 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FKEC | 0 | 0 | 808783.6367 | 0 | 0 | 0 | 130882.078 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GS(T)-1 | 0 | 0 | 0 | 0 | 5969616.1303 | 0 | 0 | 0 | 1051580.9376 | 0 | 0 | 0 | 1302479.8836 | 0
GSCU-1 | 0 | 0 | 0 | 0 | 70251.5151 | 0 | 0 | 0 | 8458.0133 | 0 | 0 | 0 | 8881.3556 | 0
GSD(T)-1 | 0 | 0 | 0 | 74864.6098 | 25754129.4461 | 0 | 0 | 11714.8677 | 4054222.359 | 0 | 0 | 13496.8409 | 4670918.6789 | 0
GSLD(T)-1 | 0 | 0 | 0 | 403746.6716 | 10105201.6235 | 0 | 0 | 64665.2016 | 1578477.6419 | 0 | 0 | 75844.5084 | 1851364.5341 | 0
GSLD(T)-2 | 0 | 0 | 0 | 859772.3317 | 1656045.861 | 0 | 0 | 106914.7697 | 221840.188 | 0 | 0 | 120008.5228 | 249008.7509 | 0
GSLD(T)-3 | 0 | 0 | 173016.1421 | 0 | 0 | 0 | 23019.3145 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HOMESTEAD | 0 | 0 | 166.8878 | 0 | 0 | 0 | 3425.2052 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LCEC | 0 | 0 | 3998552.3831 | 0 | 0 | 0 | 664342.8031 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MET | 0 | 0 | 0 | 91220.8876 | 0 | 0 | 0 | 14578.7142 | 0 | 0 | 0 | 17139.2 | 0 | 0
NEW SMRYNA BEACH | 0 | 0 | 18834.4782 | 0 | 0 | 0 | 7339.7254 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OL-1 | 0 | 0 | 0 | 0 | 97913.4994 | 0 | 0 | 0 | 1868.0434 | 0 | 0 | 0 | 26393.5073 | 0
OS-2 | 0 | 0 | 0 | 10794.803 | 0 | 0 | 0 | 336.9412 | 1003.6186 | 0 | 0 | 11767.8131 | 0 | 0
QUINCY | 0 | 0 | 150.9937 | 0 | 0 | 0 | 3098.9952 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RS(T)-1 | 0 | 0 | 0 | 0 | 57001546.642 | 0 | 0 | 0 | 11039191.551 | 0 | 0 | 0 | 13187357.9851 | 0
SEMINOLE | 0 | 0 | 1095042.1283 | 0 | 0 | 0 | 195726.012 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SL-1 | 0 | 0 | 0 | 0 | 560884.379 | 0 | 0 | 0 | 10984.7496 | 0 | 0 | 0 | 154156.9734 | 0
SL-2 | 0 | 0 | 0 | 0 | 32767.149 | 0 | 0 | 0 | 3942.1332 | 0 | 0 | 0 | 4081.4904 | 0
SST-DST | 0 | 0 | 0 | 11858.5629 | 0 | 0 | 0 | 1735.3398 | 0 | 0 | 0 | 8201.2538 | 0 | 0
SST-TST | 0 | 0 | 89680.1329 | 0 | 0 | 0 | 9563.7478 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WAUCHULA | 0 | 0 | 4449.3895 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WINTER PARK | 0 | 0 | 18985.1345 | 0 | 0 | 0 | 9786.3006 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLS_Energy_Losses_by_Rate_Grou
OPC 015187
FPL RC-16
Line No. | Rate Class | Voltage Level (Note 1) | Delivered MWH Sales | Expansion Factor | Delivered Energy at Generation | Delivered Efficiency | Losses | Cost Recovery Multiplier
1
2 | Rate Class Group - | 0 | 0 | 0 | 0 | 0 | 0 | 0
3
4 | CILC-1D / CILC-1G | 0 | 2789428.9282 | 1.0405 | 2902498.2503 | 0.96104 | 113069.3221 | 0.99478
5
6 | GSD-1 / CILC-1G | 0 | 25930631.5873 | 1.0486 | 27189939.6006 | 0.95368 | 1259308.0134 | 1.0025
7
8 | GSLD-2 / OS-2 / MET | 0 | 2617833.8833 | 1.0406 | 2724037.8755 | 0.96101 | 106203.9921 | 0.99481
9
10 | GSLD-3 / CILC-1T | 0 | 1681559.6859 | 1.017 | 1710154.9116 | 0.98328 | 28595.2256 | 0.97229
11
12 | OL-1 / SL-1 | 0 | 658797.8783 | 1.0486 | 690834.5493 | 0.95363 | 32036.671 | 1.0025
13
14 | SL-2 / GSCU-1 | 0 | 103018.664 | 1.0486 | 108028.3569 | 0.95363 | 5009.6929 | 1.0025

## LLS_12CP_Demand_Losses_by_Rate
OPC 015188
FPL RC-16
Rate Class | 12 CP Demand | Expansion Factor | 12 CP Demand at Generation | Delivered Efficiency | Losses | Fuel Cost Recovery Multiplier
CILC-1D
Primary | 138154.4872 | 1.0348 | 142965.4449 | 0.96635 | 4810.9577 | 0
Secondary | 214176.685 | 1.0644 | 227971.8201 | 0.93949 | 13795.1351 | 0
Total | 352331.1723 | 1.0528 | 370937.265 | 0.94984 | 18606.0928 | 0.99205
CILC-1G
Primary | 194.5643 | 1.0348 | 201.3397 | 0.96635 | 6.7753 | 0
Secondary | 13434.092 | 1.0644 | 14299.3828 | 0.93949 | 865.2908 | 0
Total | 13628.6563 | 1.064 | 14500.7224 | 0.93986 | 872.0661 | 1.0026
CILC-1T
Transmission | 189373.0219 | 1.0218 | 193508.2824 | 0.97863 | 4135.2605 | 0
Total | 189373.0219 | 1.0218 | 193508.2824 | 0.97863 | 4135.2605 | 0.96287
GS(T)-1
Secondary | 1051580.9376 | 1.0644 | 1119313.3385 | 0.93949 | 67732.4009 | 0
Total | 1051580.9376 | 1.0644 | 1119313.3385 | 0.93949 | 67732.4009 | 1.003
GSCU-1
Secondary | 8458.0133 | 1.0644 | 9002.7945 | 0.93949 | 544.7812 | 0
Total | 8458.0133 | 1.0644 | 9002.7945 | 0.93949 | 544.7812 | 1.003
GSD(T)-1
Primary | 11714.8677 | 1.0348 | 12122.8149 | 0.96635 | 407.9472 | 0
Secondary | 4054222.359 | 1.0644 | 4315355.1017 | 0.93949 | 261132.7426 | 0
Total | 4065937.2267 | 1.0643 | 4327477.9165 | 0.93956 | 261540.6898 | 1.0029
GSLD(T)-1
Primary | 64665.2016 | 1.0348 | 66917.0397 | 0.96635 | 2251.8382 | 0
Secondary | 1578477.6419 | 1.0644 | 1680147.4961 | 0.93949 | 101669.8541 | 0
Total | 1643142.8435 | 1.0632 | 1747064.5358 | 0.94052 | 103921.6923 | 1.0019
GSLD(T)-2
Primary | 106914.7697 | 1.0348 | 110637.8658 | 0.96635 | 3723.0961 | 0
Secondary | 221840.188 | 1.0644 | 236128.9299 | 0.93949 | 14288.7419 | 0
Total | 328754.9578 | 1.0548 | 346766.7957 | 0.94806 | 18011.8379 | 0.99392
GSLD(T)-3
Transmission | 23019.3145 | 1.0218 | 23521.9777 | 0.97863 | 502.6633 | 0
Total | 23019.3145 | 1.0218 | 23521.9777 | 0.97863 | 502.6633 | 0.96287
MET
Primary | 14578.7142 | 1.0348 | 15086.3892 | 0.96635 | 507.675 | 0
Total | 14578.7142 | 1.0348 | 15086.3892 | 0.96635 | 507.675 | 0.97511
OL-1
Secondary | 1868.0434 | 1.0644 | 1988.3642 | 0.93949 | 120.3208 | 0
Total | 1868.0434 | 1.0644 | 1988.3642 | 0.93949 | 120.3208 | 1.003
OS-2
Primary | 336.9412 | 1.0348 | 348.6745 | 0.96635 | 11.7333 | 0
Secondary | 1003.6186 | 1.0644 | 1068.2617 | 0.93949 | 64.6431 | 0
Total | 1340.5598 | 1.057 | 1416.9362 | 0.9461 | 76.3765 | 0.99598
RS(T)-1
Secondary | 11039191.551 | 1.0644 | 11750226.6425 | 0.93949 | 711035.0915 | 0
Total | 11039191.551 | 1.0644 | 11750226.6425 | 0.93949 | 711035.0915 | 1.003
SL-1
Secondary | 10984.7496 | 1.0644 | 11692.2781 | 0.93949 | 707.5285 | 0
Total | 10984.7496 | 1.0644 | 11692.2781 | 0.93949 | 707.5285 | 1.003
SL-2
Secondary | 3942.1332 | 1.0644 | 4196.0463 | 0.93949 | 253.9131 | 0
Total | 3942.1332 | 1.0644 | 4196.0463 | 0.93949 | 253.9131 | 1.003
SST-DST
Primary | 1735.3398 | 1.0348 | 1795.7695 | 0.96635 | 60.4298 | 0
Total | 1735.3398 | 1.0348 | 1795.7695 | 0.96635 | 60.4298 | 0.97511
SST-TST
Transmission | 9563.7478 | 1.0218 | 9772.5874 | 0.97863 | 208.8396 | 0
Total | 9563.7478 | 1.0218 | 9772.5874 | 0.97863 | 208.8396 | 0.96287
TOTAL FPSC
Total | 18759430.9825 | 1.0634 | 19948268.6421 | 0.9404 | 1188837.6595 | 1.002
FKEC
Transmission | 130882.078 | 1.0218 | 133740.096 | 0.97863 | 2858.0179 | 0
Total | 130882.078 | 1.0218 | 133740.096 | 0.97863 | 2858.0179 | 0.96287
SEMINOLE
Transmission | 195726.012 | 1.0218 | 200000.0001 | 0.97863 | 4273.9881 | 0
Total | 195726.012 | 1.0218 | 200000.0001 | 0.97863 | 4273.9881 | 0.96287
LCEC
Transmission | 664342.8031 | 1.0218 | 678849.7827 | 0.97863 | 14506.9796 | 0
Total | 664342.8031 | 1.0218 | 678849.7827 | 0.97863 | 14506.9796 | 0.96287
WINTER PARK
Transmission | 9786.3006 | 1.0218 | 10000 | 0.97863 | 213.6994 | 0
Total | 9786.3006 | 1.0218 | 10000 | 0.97863 | 213.6994 | 0.96287
NEW SMRYNA BEACH
Transmission | 7339.7254 | 1.0218 | 7500 | 0.97863 | 160.2746 | 0
Total | 7339.7254 | 1.0218 | 7500 | 0.97863 | 160.2746 | 0.96287
HOMESTEAD
Transmission | 3425.2052 | 1.0218 | 3500 | 0.97863 | 74.7948 | 0
Total | 3425.2052 | 1.0218 | 3500 | 0.97863 | 74.7948 | 0.96287
QUINCY
Transmission | 3098.9952 | 1.0218 | 3166.6667 | 0.97863 | 67.6715 | 0
Total | 3098.9952 | 1.0218 | 3166.6667 | 0.97863 | 67.6715 | 0.96287
TOTAL FERC
Total | 1014601.1196 | 1.0218 | 1036756.5454 | 0.97863 | 22155.4258 | 0.96287
COMPANY USE
Total | 20576.8511 | 1.0644 | 21902.2075 | 0.93949 | 1325.3564 | 1.003
TOTAL FPL
Total | 19794608.9533 | 1.0612 | 21006927.395 | 0.94229 | 1212318.4418 | 1
TOTAL COMPANY
Total | 19774032.1021 | 1.0612 | 20985025.1875 | 0.94229 | 1210993.0854 | 1

## LLS_Energy_Losses_by_Rate_Clas
OPC 015189
FPL RC-16
Rate Class | Delivered MWH Sales | Expansion Factor | Delivered Energy at Generation | Delivered Efficiency | Losses | Fuel Cost Recovery Multiplier
CILC-1D
Primary | 1027851.2689 | 1.0267 | 1055286.8029 | 0.974 | 27435.534 | 0
Secondary | 1659940.1279 | 1.0486 | 1740661.3287 | 0.95363 | 80721.2008 | 0
Total | 2687791.3968 | 1.0402 | 2795948.1316 | 0.96132 | 108156.7348 | 0.9945
CILC-1G
Primary | 1364.9415 | 1.0267 | 1401.3747 | 0.974 | 36.4332 | 0
Secondary | 100272.5899 | 1.0486 | 105148.744 | 0.95363 | 4876.1541 | 0
Total | 101637.5314 | 1.0483 | 106550.1187 | 0.95389 | 4912.5873 | 1.0022
CILC-1T
Transmission | 1508543.5439 | 1.017 | 1534196.5988 | 0.98328 | 25653.0549 | 0
Total | 1508543.5439 | 1.017 | 1534196.5988 | 0.98328 | 25653.0549 | 0.97229
GS(T)-1
Secondary | 5969616.1303 | 1.0486 | 6259912.4933 | 0.95363 | 290296.3631 | 0
Total | 5969616.1303 | 1.0486 | 6259912.4933 | 0.95363 | 290296.3631 | 1.0025
GSCU-1
Secondary | 70251.5151 | 1.0486 | 73667.7748 | 0.95363 | 3416.2598 | 0
Total | 70251.5151 | 1.0486 | 73667.7748 | 0.95363 | 3416.2598 | 1.0025
GSD(T)-1
Primary | 74864.6098 | 1.0267 | 76862.9053 | 0.974 | 1998.2955 | 0
Secondary | 25754129.4461 | 1.0486 | 27006526.5767 | 0.95363 | 1252397.1306 | 0
Total | 25828994.0559 | 1.0486 | 27083389.4819 | 0.95368 | 1254395.4261 | 1.0025
GSLD(T)-1
Primary | 403746.6716 | 1.0267 | 414523.528 | 0.974 | 10776.8564 | 0
Secondary | 10105201.6235 | 1.0486 | 10596607.3045 | 0.95363 | 491405.6809 | 0
Total | 10508948.2951 | 1.0478 | 11011130.8325 | 0.95439 | 502182.5374 | 1.0017
GSLD(T)-2
Primary | 859772.3317 | 1.0267 | 882721.4818 | 0.974 | 22949.1501 | 0
Secondary | 1656045.861 | 1.0486 | 1736577.6875 | 0.95363 | 80531.8265 | 0
Total | 2515818.1927 | 1.0411 | 2619299.1693 | 0.96049 | 103480.9766 | 0.99535
GSLD(T)-3
Transmission | 173016.1421 | 1.017 | 175958.3128 | 0.98328 | 2942.1707 | 0
Total | 173016.1421 | 1.017 | 175958.3128 | 0.98328 | 2942.1707 | 0.97229
MET
Primary | 91220.8876 | 1.0267 | 93655.7668 | 0.974 | 2434.8793 | 0
Total | 91220.8876 | 1.0267 | 93655.7668 | 0.974 | 2434.8793 | 0.98155
OL-1
Secondary | 97913.4994 | 1.0486 | 102674.9333 | 0.95363 | 4761.4339 | 0
Total | 97913.4994 | 1.0486 | 102674.9333 | 0.95363 | 4761.4339 | 1.0025
OS-2
Primary | 10794.803 | 1.0267 | 11082.9393 | 0.974 | 288.1362 | 0
Total | 10794.803 | 1.0267 | 11082.9393 | 0.974 | 288.1362 | 0.98155
RS(T)-1
Secondary | 57001546.642 | 1.0486 | 59773473.9014 | 0.95363 | 2771927.2594 | 0
Total | 57001546.642 | 1.0486 | 59773473.9014 | 0.95363 | 2771927.2594 | 1.0025
SL-1
Secondary | 560884.379 | 1.0486 | 588159.616 | 0.95363 | 27275.2371 | 0
Total | 560884.379 | 1.0486 | 588159.616 | 0.95363 | 27275.2371 | 1.0025
SL-2
Secondary | 32767.149 | 1.0486 | 34360.5821 | 0.95363 | 1593.4331 | 0
Total | 32767.149 | 1.0486 | 34360.5821 | 0.95363 | 1593.4331 | 1.0025
SST-DST
Primary | 11858.5629 | 1.0267 | 12175.0931 | 0.974 | 316.5302 | 0
Total | 11858.5629 | 1.0267 | 12175.0931 | 0.974 | 316.5302 | 0.98155
SST-TST
Transmission | 89680.1329 | 1.017 | 91205.1597 | 0.98328 | 1525.0268 | 0
Total | 89680.1329 | 1.017 | 91205.1597 | 0.98328 | 1525.0268 | 0.97229
TOTAL FPSC
Total | 107261282.8588 | 1.0476 | 112366840.9055 | 0.95456 | 5105558.0467 | 1.0015
BLOUNTSTOWN
Transmission | 2907.7454 | 1.017 | 2957.1922 | 0.98328 | 49.4467 | 0
Total | 2907.7454 | 1.017 | 2957.1922 | 0.98328 | 49.4467 | 0.97229
FKEC
Transmission | 808783.6367 | 1.017 | 822537.1483 | 0.98328 | 13753.5116 | 0
Total | 808783.6367 | 1.017 | 822537.1483 | 0.98328 | 13753.5116 | 0.97229
SEMINOLE
Transmission | 1095042.1283 | 1.017 | 1113663.5171 | 0.98328 | 18621.3888 | 0
Total | 1095042.1283 | 1.017 | 1113663.5171 | 0.98328 | 18621.3888 | 0.97229
LCEC
Transmission | 3998552.3831 | 1.017 | 4066548.4873 | 0.98328 | 67996.1042 | 0
Total | 3998552.3831 | 1.017 | 4066548.4873 | 0.98328 | 67996.1042 | 0.97229
WAUCHULA
Transmission | 4449.3895 | 1.017 | 4525.0522 | 0.98328 | 75.6627 | 0
Total | 4449.3895 | 1.017 | 4525.0522 | 0.98328 | 75.6627 | 0.97229
WINTER PARK
Transmission | 18985.1345 | 1.017 | 19307.9801 | 0.98328 | 322.8456 | 0
Total | 18985.1345 | 1.017 | 19307.9801 | 0.98328 | 322.8456 | 0.97229
NEW SMRYNA BEACH
Transmission | 18834.4782 | 1.017 | 19154.7619 | 0.98328 | 320.2837 | 0
Total | 18834.4782 | 1.017 | 19154.7619 | 0.98328 | 320.2837 | 0.97229
HOMESTEAD
Transmission | 166.8878 | 1.017 | 169.7257 | 0.98328 | 2.838 | 0
Total | 166.8878 | 1.017 | 169.7257 | 0.98328 | 2.838 | 0.97229
QUINCY
Transmission | 150.9937 | 1.017 | 153.5614 | 0.98328 | 2.5677 | 0
Total | 150.9937 | 1.017 | 153.5614 | 0.98328 | 2.5677 | 0.97229
TOTAL FERC
Total | 5947872.7772 | 1.017 | 6049017.4261 | 0.98328 | 101144.649 | 0.97229
COMPANY USE
Total | 130715.0936 | 1.0486 | 137071.6357 | 0.95363 | 6356.5421 | 1.0025
TOTAL FPL
Total | 113339870.7296 | 1.046 | 118552929.9674 | 0.95603 | 5213059.2378 | 1
TOTAL COMPANY
Total | 113209155.636 | 1.046 | 118415858.3316 | 0.95603 | 5206702.6957 | 1

## MFR_E_10_Attachment_2_FPL101
OPC 015190
FPL RC-16
December 2017
JURISDICTIONAL SEPARATION STUDY AND RETAIL COST OF SERVICE STUDY
FPL101 - Average of the 12 Months CP Demand
TRANSMISSION
Explanation: The total class contribution to the average of the 12 monthly Coincident Peak (12CP) demands, adjusted for losses, including transmission services.
Purpose: Used to separate transmission plant and related costs between Retail and Wholesale jurisdictions.
| 12 CP @ METER |  |  | VOLTAGE LEVEL % |  |  | LOSS EXPANSION FACTOR |  |  | 12 CP @ GENERATION |  |  |  | % OF TOTAL
| @ METER | ADJ | ADJUSTED | TRANS | PRIMARY | SECOND | TRANS | PRIMARY | SECOND | TRANS | PRIMARY | SECOND | TOTAL | RETAIL | SYSTEM
CILC-1D | 352331.1723 | 0 | 352331.1723 | 0 | 0.39212 | 0.60788 | 1.0218 | 1.0348 | 1.0644 | 0 | 142966.6946 | 227970.0894 | 370936.7841 | 1.859% | 1.667%
CILC-1G | 13628.6563 | 0 | 13628.6563 | 0 | 0.01428 | 0.98572 | 1.0218 | 1.0348 | 1.0644 | 0 | 201.3938 | 14299.3256 | 14500.7194 | 0.07269% | 0.06519%
CILC-1T | 189373.0219 | 0 | 189373.0219 | 1 | 0 | 0 | 1.0218 | 1.0348 | 1.0644 | 193508.9287 | 0 | 0 | 193508.9287 | 0.9701% | 0.8699%
GSCU-1 | 8458.0133 | 0 | 8458.0133 | 0 | 0 | 1 | 1.0218 | 1.0348 | 1.0644 | 0 | 0 | 9002.7939 | 9002.7939 | 0.04513% | 0.04047%
GSD(T)-1 | 4065937.2267 | 0 | 4065937.2267 | 0 | 0.00288 | 0.99712 | 1.0218 | 1.0348 | 1.0644 | 0 | 12117.6379 | 4315360.1097 | 4327477.7476 | 21.69% | 19.45%
GSLD(T)-1 | 1643142.8435 | 0 | 1643142.8435 | 0 | 0.03935 | 0.96065 | 1.0218 | 1.0348 | 1.0644 | 0 | 66909.051 | 1680155.4026 | 1747064.4536 | 8.758% | 7.854%
GSLD(T)-2 | 328754.9578 | 0 | 328754.9578 | 0 | 0.32521 | 0.67479 | 1.0218 | 1.0348 | 1.0644 | 0 | 110637.1592 | 236129.3083 | 346766.4675 | 1.738% | 1.559%
GSLD(T)-3 | 23019.3145 | 0 | 23019.3145 | 1 | 0 | 0 | 1.0218 | 1.0348 | 1.0644 | 23522.0563 | 0 | 0 | 23522.0563 | 0.1179% | 0.1057%
GS(T)-1 | 1051580.9376 | 0 | 1051580.9376 | 0 | 0 | 1 | 1.0218 | 1.0348 | 1.0644 | 0 | 0 | 1119313.2657 | 1119313.2657 | 5.611% | 5.032%
MET | 14578.7142 | 0 | 14578.7142 | 0 | 1 | 0 | 1.0218 | 1.0348 | 1.0644 | 0 | 15086.3451 | 0 | 15086.3451 | 0.07563% | 0.06782%
OL-1 | 1868.0434 | 0 | 1868.0434 | 0 | 0 | 1 | 1.0218 | 1.0348 | 1.0644 | 0 | 0 | 1988.364 | 1988.364 | 0.009968% | 0.008938%
OS-2 | 1340.5598 | 0 | 1340.5598 | 0 | 1 | 0 | 1.0218 | 1.0348 | 1.0644 | 0 | 1387.2381 | 0 | 1387.2381 | 0.006954% | 0.006236%
RS(T)-1 | 11039191.551 | 0 | 11039191.551 | 0 | 0 | 1 | 1.0218 | 1.0348 | 1.0644 | 0 | 0 | 11750225.8788 | 11750225.8788 | 58.9% | 52.82%
SL-1 | 10984.7496 | 0 | 10984.7496 | 0 | 0 | 1 | 1.0218 | 1.0348 | 1.0644 | 0 | 0 | 11692.2774 | 11692.2774 | 0.05861% | 0.05256%
SL-2 | 3942.1332 | 0 | 3942.1332 | 0 | 0 | 1 | 1.0218 | 1.0348 | 1.0644 | 0 | 0 | 4196.046 | 4196.046 | 0.02103% | 0.01886%
SST-DST | 1735.3398 | 0 | 1735.3398 | 0 | 1 | 0 | 1.0218 | 1.0348 | 1.0644 | 0 | 1795.7643 | 0 | 1795.7643 | 0.009002% | 0.008073%
SST-TST | 9563.7478 | 0 | 9563.7478 | 1 | 0 | 0 | 1.0218 | 1.0348 | 1.0644 | 9772.6201 | 0 | 0 | 9772.6201 | 0.04899% | 0.04393%
TOTAL RETAIL | 18759430.9825 | 2e-08 | 18759430.9825 | [6 empty] | 226803.605 | 351101.284 | 19370332.8614 | 19948237.7504 | 100% | 89.67%
BLOUNTSTOWN | 0 | 0 | 0 | 1 | 0 | 0 | 1.0218 | 1.0348 | 1.0644 | 0 | 0 | 0 | 0 |  | 0%
FKEC | 130882.078 | 0 | 130882.078 | 1 | 0 | 0 | 1.0218 | 1.0348 | 1.0644 | 133740.5426 | 0 | 0 | 133740.5426 |  | 0.6012%
HOMESTEAD | 3425.2052 | 0 | 3425.2052 | 1 | 0 | 0 | 1.0218 | 1.0348 | 1.0644 | 3500.0117 | 0 | 0 | 3500.0117 |  | 0.01573%
KWEST | 0 | 0 | 0 | 1 | 0 | 0 | 1.0218 | 1.0348 | 1.0644 | 0 | 0 | 0 | 0 |  | 0%
LCEC | 664342.8031 | 0 | 664342.8031 | 1 | 0 | 0 | 1.0218 | 1.0348 | 1.0644 | 678852.05 | 0 | 0 | 678852.05 |  | 3.052%
MDCSWM | 0 | 0 | 0 | 1 | 0 | 0 | 1.0218 | 1.0348 | 1.0644 | 0 | 0 | 0 | 0 |  | 0%
NEW SMRYNA BEACH | 7339.7254 | 0 | 7339.7254 | 1 | 0 | 0 | 1.0218 | 1.0348 | 1.0644 | 7500.0251 | 0 | 0 | 7500.0251 |  | 0.03372%
QUINCY | 3098.9952 | 0 | 3098.9952 | 1 | 0 | 0 | 1.0218 | 1.0348 | 1.0644 | 3166.6772 | 0 | 0 | 3166.6772 |  | 0.01424%
SEMINOLE | 195726.012 | 0 | 195726.012 | 1 | 0 | 0 | 1.0218 | 1.0348 | 1.0644 | 200000.6681 | 0 | 0 | 200000.6681 |  | 0.8991%
WAUCHULA | 0 | 0 | 0 | 1 | 0 | 0 | 1.0218 | 1.0348 | 1.0644 | 0 | 0 | 0 | 0 |  | 0%
WINTER PARK | 9786.3006 | 0 | 9786.3006 | 1 | 0 | 0 | 1.0218 | 1.0348 | 1.0644 | 10000.0334 | 0 | 0 | 10000.0334 |  | 0.04495%
TRANS-SERV | [9 empty] | 1260266.8081 |  |  | 1260266.8081 |  | 5.665%
TOTAL WHOLESALE | 1014601.1196 | 1.3e-08 | 1014601.1196 | [6 empty] | 2297026.8162 | 0 | 0 | 2297026.8162 |  | 10.33%
TOTAL FPL | 19774032.1021 | 3.2e-08 | 19774032.1021 | [6 empty] | 2523830.4212 | 351101.284 | 19370332.8614 | 22245264.5666 |  | 100%
JURISDICTIONAL SEPARATION FACTOR | [12 empty] | 0.89674
Totals may not add due to rounding.

## MFR_E_10_Attachment_2_FPL201
OPC 015191
FPL RC-16
December 2017
JURISDICTIONAL SEPARATION STUDY AND RETAIL COST OF SERVICE STUDY
FPL201 - MWH Sales
Explanation: The total 12-month MWH Sales, adjusted for losses.
| MWH SALES @ METER |  |  | VOLTAGE LEVEL % |  |  | LOSS EXPANSION FACTOR |  |  | MWH SALES @ GENERATION |  |  |  | % OF TOTAL
| @ METER | ADJ | ADJUSTED | TRANS | PRIMARY | SECOND | TRANS | PRIMARY | SECOND | TRANS | PRIMARY | SECOND | TOTAL | SYSTEM | RETAIL
CILC-1D | 2687420.391 | 0 | 2687420.391 | 0 | 0.38241 | 0.61759 | 1.017 | 1.0267 | 1.0486 | 0 | 1055127.8328 | 1740434.648 | 2795562.4808 |  | 2.488%
CILC-1G | 101623.502 | 0 | 101623.502 | 0 | 0.01343 | 0.98657 | 1.017 | 1.0267 | 1.0486 | 0 | 1401.2331 | 105134.1769 | 106535.4101 |  | 0.09482%
CILC-1T | 1508335.314 | 0 | 1508335.314 | 1 | 0 | 0 | 1.017 | 1.0267 | 1.0486 | 1533984.828 | 0 | 0 | 1533984.828 |  | 1.365%
GSCU-1 | 70241.818 | 0 | 70241.818 | 0 | 0 | 1 | 1.017 | 1.0267 | 1.0486 | 0 | 0 | 73657.6062 | 73657.6062 |  | 0.06556%
GSD(T)-1 | 25825428.784 | 0 | 25825428.784 | 0 | 0.0029 | 0.9971 | 1.017 | 1.0267 | 1.0486 | 0 | 76892.8166 | 27002757.3788 | 27079650.1954 |  | 24.1%
GSLD(T)-1 | 10507497.706 | 0 | 10507497.706 | 0 | 0.03842 | 0.96158 | 1.017 | 1.0267 | 1.0486 | 0 | 414473.6208 | 10595137.1482 | 11009610.769 |  | 9.799%
GSLD(T)-2 | 2515470.925 | 0 | 2515470.925 | 0 | 0.34175 | 0.65825 | 1.017 | 1.0267 | 1.0486 | 0 | 882608.3988 | 1736329.0318 | 2618937.4305 |  | 2.331%
GSLD(T)-3 | 172992.26 | 0 | 172992.26 | 1 | 0 | 0 | 1.017 | 1.0267 | 1.0486 | 175934.0246 | 0 | 0 | 175934.0246 |  | 0.1566%
GS(T)-1 | 5968792.122 | 0 | 5968792.122 | 0 | 0 | 1 | 1.017 | 1.0267 | 1.0486 | 0 | 0 | 6259048.4144 | 6259048.4144 |  | 5.571%
MET | 91208.296 | 0 | 91208.296 | 0 | 1 | 0 | 1.017 | 1.0267 | 1.0486 | 0 | 93642.8392 | 0 | 93642.8392 |  | 0.08335%
OL-1 | 97899.984 | 0 | 97899.984 | 0 | 0 | 1 | 1.017 | 1.0267 | 1.0486 | 0 | 0 | 102660.7607 | 102660.7607 |  | 0.09137%
OS-2 | 10793.313 | 0 | 10793.313 | 0 | 1 | 0 | 1.017 | 1.0267 | 1.0486 | 0 | 11081.4095 | 0 | 11081.4095 |  | 0.009863%
RS(T)-1 | 56993678.507 | 0 | 56993678.507 | 0 | 0 | 1 | 1.017 | 1.0267 | 1.0486 | 0 | 0 | 59765223.147 | 59765223.147 |  | 53.19%
SL-1 | 560806.958 | 0 | 560806.958 | 0 | 0 | 1 | 1.017 | 1.0267 | 1.0486 | 0 | 0 | 588078.4302 | 588078.4302 |  | 0.5234%
SL-2 | 32762.626 | 0 | 32762.626 | 0 | 0 | 1 | 1.017 | 1.0267 | 1.0486 | 0 | 0 | 34355.8392 | 34355.8392 |  | 0.03058%
SST-DST | 11856.926 | 0 | 11856.926 | 0 | 1 | 0 | 1.017 | 1.0267 | 1.0486 | 0 | 12173.4125 | 0 | 12173.4125 |  | 0.01084%
SST-TST | 89667.754 | 0 | 89667.754 | 1 | 0 | 0 | 1.017 | 1.0267 | 1.0486 | 91192.5703 | 0 | 0 | 91192.5703 |  | 0.08117%
TOTAL RETAIL | 107246477.186 | 0 | 107246477.186 | [6 empty] | 1801111.4229 | 2547401.5633 | 108002816.5813 | 112351329.5675 | 94.86% | 100%
BLOUNTSTOWN | 2927.124 | 0 | 2927.124 | 1 | 0 | 0 | 1.017 | 1.0267 | 1.0486 | 2976.9003 | 0 | 0 | 2976.9003
FKEC | 814173.7483 | 0 | 814173.7483 | 1 | 0 | 0 | 1.017 | 1.0267 | 1.0486 | 828018.9197 | 0 | 0 | 828018.9197
HOMESTEAD | 168 | 0 | 168 | 1 | 0 | 0 | 1.017 | 1.0267 | 1.0486 | 170.8569 | 0 | 0 | 170.8569
KWEST | 0 | 0 | 0 | 1 | 0 | 0 | 1.017 | 1.0267 | 1.0486 | 0 | 0 | 0 | 0
LCEC | 4025200.602 | 0 | 4025200.602 | 1 | 0 | 0 | 1.017 | 1.0267 | 1.0486 | 4093649.864 | 0 | 0 | 4093649.864
MDCSWM | 0 | 0 | 0 | 1 | 0 | 0 | 1.017 | 1.0267 | 1.0486 | 0 | 0 | 0 | 0
NEW SMRYNA BEACH | 18960 | 0 | 18960 | 1 | 0 | 0 | 1.017 | 1.0267 | 1.0486 | 19282.4182 | 0 | 0 | 19282.4182
QUINCY | 152 | 0 | 152 | 1 | 0 | 0 | 1.017 | 1.0267 | 1.0486 | 154.5848 | 0 | 0 | 154.5848
SEMINOLE | 1102340 | 0 | 1102340 | 1 | 0 | 0 | 1.017 | 1.0267 | 1.0486 | 1121085.4904 | 0 | 0 | 1121085.4904
WAUCHULA | 4479.0423 | 0 | 4479.0423 | 1 | 0 | 0 | 1.017 | 1.0267 | 1.0486 | 4555.2092 | 0 | 0 | 4555.2092
WINTER PARK | 19111.6603 | 0 | 19111.6603 | 1 | 0 | 0 | 1.017 | 1.0267 | 1.0486 | 19436.6575 | 0 | 0 | 19436.6575
TOTAL WHOLESALE | 5987512.1768 | 0 | 5987512.1768 | [6 empty] | 6089330.9009 | 0 | 0 | 6089330.9009 | 5.141%
TOTAL FPL | 113233989.3628 | 0 | 113233989.3628 | [6 empty] | 7890442.3238 | 2547401.5633 | 108002816.5813 | 118440660.4684 | 100%
JURISDICTIONAL SEPARATION FACTOR | [12 empty] | 0.94859
Totals may not add due to rounding.