## Northwest Florida - Data (hidden)
Northwest Florida
Forecast | Rate | 12 month sales | 12 month sales | 12 month purchases | 2013 Sales | Var. 2011 - 2012 | 2013 Sales | Variance budget to
Headings | Headings | Dec. 2012 | Dec. 2012 | with losses (2012) | OCT. 2013 12 mths | 12 mths actual | Budget Forecast | 2012 Nov. 12 mths
Residential | Residential | 119995480 | 119995480 | 127315204.28 | 120622307 | 0.5224% | 134124529 | -10.07%
Comm. & Indus. | Gen. Serv. | 28309555 | 178288798 | 189164414.678 | 178383663 | 0.05321% | 180766507 | -1.318%
| Gen. Serv. Dem. | 83052082
| Gen. Serv. Large Dem. | 62767684
| Outdoor Lighting | 3950705
| Interdepartmental | 208772
Lighting | Street Lighting | 1242227 | 1242227 | 1318002.847 | 1252654 | 0.8394% | 1156220 | 8.34%
Mills | Industrial | 0 | 0 | 0 | 0 | 0% | 0 | 0%
Total | Total | 299526505 | 299526505 | 317797621.805 | 300258624 | 0.2444% | 316047256 | -4.996%
|  |  | Line Losses (est.) | 6.1%
|  | Purchases from 12 months ending December 2012 |  | 314104385
|  |  | Line Losses (calc.) | 4.641%
Sales Volumes (MWh)
Year | R | C&I | Mills | Lighting | TOTAL
1991 | 101817.075 | 134628.926 | 0 | 1191.428 | 237637.429
1992 | 105268.442 | 134545.888 | 0 | 1189.326 | 241003.656
1993 | 111517.687 | 140238.263 | 0 | 1185.749 | 252941.699
1994 | 110621.879 | 142798.297 | 0 | 1182.401 | 254602.577
1995 | 119998.221 | 149954.782 | 0 | 1176.432 | 271129.435
1996 | 125658.45 | 153042.541 | 0 | 1149.074 | 279850.065
1997 | 121356.774 | 151504.887 | 0 | 1150.816 | 274012.477
1998 | 131743.365 | 156375.601 | 0 | 1153.949 | 289272.915
1999 | 128278.062 | 149084.124 | 0 | 1155.664 | 278517.85
2000 | 134278.39 | 156030.588 | 0 | 1070.911 | 291379.889
2001 | 132626.676 | 157978.692 | 0 | 958.456 | 291563.824
2002 | 144884.281 | 169443.995 | 0 | 1119.557 | 315447.833
2003 | 141256.758 | 163350.428 | 0 | 1173.555 | 305780.741
2004 | 143944.164 | 167586.836 | 0 | 1179.856 | 312710.856
2005 | 149015.984 | 190042.51 | 0 | 1200.319 | 340258.813
2006 | 151089.112 | 192180.54 | 0 | 1140.699 | 344410.351
2007 | 153677.165 | 191706.991 | 0 | 1132.465 | 346516.621
2008 | 143796.362 | 181216.19 | 0 | 1133.293 | 326145.845
2009 | 133594 | 175482 | 0 | 1137 | 310213
2010 | 145399 | 185955 | 0 | 1147 | 332501
2011 | 134605 | 181888 | 0 | 1134 | 317627
2012 | 119995 | 178289 | 0 | 1242 | 299526
2013 | 120622 | 178384 | 0 | 1253 | 300259 | 12 months ending Oct. 2013
2014 Forecast
1998 - 2013 | 135662.6015 | 191588.4186 | 0 | 1204.7078 | 328455.728 |  | 124799.4975
2000 - 2013 | 131866.6356 | 189528.7325 | 0 | 1226.9637 | 322622.3318
2004 - 2013 | 121890.3193 | 180288.0081 | 0 | 1202.0925 | 303380.42
2008 - 2013 | 116255.6127 | 179221.67 | 0 | 1264.4357 | 296741.7183
Forecast | 2013 Load | 1998 - 2013 | 2000 - 2013 | 2004 - 2013 | 2008 - 2013 | 12 months ending | 12 month purchases | 2012 Load | 2012 load forecast
Headings | Trended 2013 | trended 2014 | trended 2014 | trended 2014 | trended 2014 | Dec. 2012 | with losses (2012) | trended 2012 | with losses
Residential | 120622307 | 135662601.55 | 131866635.5714 | 121890319.3333 | 116255612.6667 | 119995480 | 127315204.28 | 120622307 | 127980267.727
Comm. & Indus. | 178383663 | 191588418.65 | 189528732.5385 | 180288008.1333 | 179221670 | 178288798 | 189164414.678 | 178383663 | 189265066.443
Lighting | 1252654 | 1204707.825 | 1226963.7143 | 1202092.5333 | 1264435.6667 | 1242227 | 1318002.847 | 1252654 | 1329065.894
(Street Lgt only)
Mills | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 300258624 | 328455728.025 | 322622331.8242 | 303380420 | 296741718.3333 | 299526505 | 317797621.805 | 300258624 | 318574400.064
[6 empty] | Purchases from 12 months ending Dec. 2011 |  | 314104385

## Northwest Florida Forecast (hidden)
FLORIDA PUBLIC UTILITIES COMPANY - Northwest Florida Division
MWH RETAIL SALES
Year | Residential | % Growth | Commercial | % Growth | Industrial | % Growth | Street Lighting | % Growth | TOTAL
1991 | 101817.075 | 0% | 134628.926 | 0% | 0 | 0% | 1191.428 | 0% | 237637.429
1992 | 105268.442 | 0% | 134545.888 | 0% | 0 | 0% | 1189.326 | 0% | 241003.656
1993 | 111517.687 | 0% | 140238.263 | 0% | 0 | 0% | 1185.749 | 0% | 252941.699
1994 | 110621.879 | 0% | 142798.297 | 0% | 0 | 0% | 1182.401 | 0% | 254602.577
1995 | 119998.221 | 0% | 149954.782 | 0% | 0 | 0% | 1176.432 | 0% | 271129.435
1996 | 125658.45 | 0% | 153042.541 | 0% | 0 | 0% | 1149.074 | 0% | 279850.065
1997 | 121356.774 | 0% | 151504.887 | 0% | 0 | 0% | 1150.816 | 0% | 274012.477
1998 | 131743.365 | 0% | 156375.601 | 0% | 0 | 0% | 1153.949 | 0% | 289272.915
1999 | 128278.062 | 0% | 149084.124 | 0% | 0 | 0% | 1155.664 | 0% | 278517.85
2000 | 134278.39 | 0% | 156030.588 | 0% | 0 | 0% | 1070.911 | 0% | 291379.889
2001 | 132626.676 | 0% | 157978.692 | 0% | 0 | 0% | 958.456 | 0% | 291563.824
2002 | 144884.281 | 0% | 169443.995 | 0% | 0 | 0% | 1119.557 | 0% | 315447.833
2003 | 141256.758 | 0% | 163350.428 | 0% | 0 | 0% | 1173.555 | 0% | 305780.741
2004 | 143944.164 | 0% | 167586.836 | 0% | 0 | 0% | 1179.856 | 0% | 312710.856
2005 | 149015.984 | 0% | 190042.51 | 0% | 0 | 0% | 1200.319 | 0% | 340258.813
2006 | 151089.112 | 0% | 192180.54 | 0% | 0 | 0% | 1140.699 | 0% | 344410.351
2007 | 153677.165 | 0% | 191706.991 | 0% | 0 | 0% | 1132.465 | 0% | 346516.621
2008 | 143796.362 | 0% | 181216.19 | 0% | 0 | 0% | 1133.293 | 0% | 326145.845
2009 | 133594 | 0% | 175482 | 0% | 0 | 0% | 1137 | 0% | 310213
2010 | 145399 | 0% | 185955 | 0% | 0 | 0% | 1147 | 0% | 332501
2011 | 134605 | 0% | 181888 | 0% | 0 | 0% | 1134 | 0% | 317627
2012 | 119995 | 0% | 178289 | 0% | 0 | 0% | 1242 | 0% | 299526
2013 | 120622 | 0% | 178384 | 0% | 0 | 0% | 1253 | 0% | 300259 | Oct. 2013 12 Mnths Ending
2014 | 119073 | 0% | 179755 | 0% | 0 | 0% | 1233 | 0% | 300061
2015 | 120263.73 | 1% | 181552.55 | 1% | 0 | -10% | 1233 | 0% | 303049.28
2016 | 121466.3673 | 1% | 183368.0755 | 1% | 0 | -5% | 1233 | 0% | 306067.4428
2017 | 122681.031 | 1% | 185201.7563 | 1% | 0 | 0% | 1233 | 0% | 309115.7872
2018 | 123294.4361 | 0.5% | 186127.765 | 0.5% | 0 | 0% | 1233 | 0% | 310655.2012
2019 | 123910.9083 | 0.5% | 187058.4039 | 0.5% | 0 | 0% | 1233 | 0% | 312202.3122
2020 | 124530.4629 | 0.5% | 187993.6959 | 0.5% | 0 | 0% | 1233 | 0% | 313757.1587
2021 | 125153.1152 | 0.5% | 188933.6644 | 0.5% | 0 | 0% | 1233 | 0% | 315319.7795
2022 | 125778.8807 | 0.5% | 189878.3327 | 0.5% | 0 | 0% | 1233 | 0% | 316890.2134
2023 | 126407.7751 | 0.5% | 190827.7243 | 0.5% | 0 | 0% | 1233 | 0% | 318468.4995
2024 | 127039.814 | 0.5% | 191781.863 | 0.5% | 0 | 0% | 1233 | 0% | 320054.677
2025 | 127675.0131 | 0.5% | 192740.7723 | 0.5% | 0 | 0% | 1233 | 0% | 321648.7854
2026 | 128313.3882 | 0.5% | 193704.4761 | 0.5% | 0 | 0% | 1233 | 0% | 323250.8643
2027 | 128954.9551 | 0.5% | 194672.9985 | 0.5% | 0 | 0% | 1233 | 0% | 324860.9536
2028 | 129599.7299 | 0.5% | 195646.3635 | 0.5% | 0 | 0% | 1233 | 0% | 326479.0934
2029 | 130247.7285 | 0.5% | 196624.5953 | 0.5% | 0 | 0% | 1233 | 0% | 328105.3239
2030 | 130898.9672 | 0.5% | 197607.7183 | 0.5% | 0 | 0% | 1233 | 0% | 329739.6855
2031 | 131553.462 | 0.5% | 198595.7569 | 0.5% | 0 | 0% | 1233 | 0% | 331382.2189
2032 | 132211.2293 | 0.5% | 199588.7357 | 0.5% | 0 | 0% | 1233 | 0% | 333032.965
2033 | 132872.2855 | 0.5% | 200586.6794 | 0.5% | 0 | 0% | 1233 | 0% | 334691.9648
2034 | 133536.6469 | 0.5% | 201589.6128 | 0.5% | 0 | 0% | 1233 | 0% | 336359.2596
FLORIDA PUBLIC UTILITIES COMPANY - Northwest Florida Division
MWH Purchases
Year | Residential | % Loss | Commercial | % Loss | Industrial | % Loss | Street Lighting | % Loss | TOTAL
2014 | 126336.453 | 6.1% | 190720.055 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 318364.721
2015 | 127599.8175 | 6.1% | 192627.2555 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 321535.2861
2016 | 128875.8157 | 6.1% | 194553.5281 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 324737.5568
2017 | 130164.5739 | 6.1% | 196499.0634 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 327971.8502
2018 | 130815.3967 | 6.1% | 197481.5587 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 329605.1684
2019 | 131469.4737 | 6.1% | 198468.9665 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 331246.6532
2020 | 132126.8211 | 6.1% | 199461.3113 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 332896.3454
2021 | 132787.4552 | 6.1% | 200458.6179 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 334554.2861
2022 | 133451.3925 | 6.1% | 201460.911 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 336220.5164
2023 | 134118.6494 | 6.1% | 202468.2155 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 337895.078
2024 | 134789.2427 | 6.1% | 203480.5566 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 339578.0123
2025 | 135463.1889 | 6.1% | 204497.9594 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 341269.3613
2026 | 136140.5048 | 6.1% | 205520.4492 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 342969.167
2027 | 136821.2074 | 6.1% | 206548.0514 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 344677.4718
2028 | 137505.3134 | 6.1% | 207580.7917 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 346394.3181
2029 | 138192.84 | 6.1% | 208618.6956 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 348119.7486
2030 | 138883.8042 | 6.1% | 209661.7891 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 349853.8063
2031 | 139578.2232 | 6.1% | 210710.0981 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 351596.5343
2032 | 140276.1143 | 6.1% | 211763.6486 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 353347.9759
2033 | 140977.4949 | 6.1% | 212822.4668 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 355108.1747
2034 | 141682.3823 | 6.1% | 213886.5791 | 6.1% | 0 | 0% | 1308.213 | 6.1% | 356877.1745

## NW Monthly Energy & Demand (hidden)
MONTHLY ENERGY PURCHASES (MWh) by LRCA
| January | February | March | April | May | June | July | August | September | October | November | December
% per month | 7.97% | 7.849% | 7.659% | 6.874% | 8.455% | 9.277% | 10.1% | 10.53% | 9.011% | 8.345% | 6.712% | 7.227% | 100%
MONTHLY ENERGY PURCHASES (MWh) by 2011 Actual Amounts
| January | February | March | April | May | June | July | August | September | October | November | December
% per month | 9.709% | 7.326% | 6.746% | 7.05% | 8.355% | 10.05% | 9.946% | 10.65% | 8.429% | 7.129% | 6.937% | 7.672% | 100%
MONTHLY ENERGY PURCHASES (MWh) by 2012 Actual Amounts
| January | February | March | April | May | June | July | August | September | October | November | December
% per month | 8.066% | 7.154% | 7.339% | 7.187% | 8.896% | 9.177% | 10.38% | 9.824% | 8.69% | 7.726% | 7.379% | 8.18% | 100%
[15 empty] | 2011 | 2012 | 2013
| MONTHLY ENERGY PURCHASES (MWh) by 2012 Actual Amounts January: MONTHLY ENERGY PURCHASES (MWh) by 2013 Actual Amounts |  |  | 9.709% | 8.066% | 8.042%
| January | February | March | April | May | June | July | August | September | October | November | December |  |  | 7.326% | 7.155% | 7.266%
% per month | 8.042% | 7.266% | 7.862% | 7.084% | 8.191% | 9.532% | 9.537% | 9.921% | 9.123% | 7.722% | 7.452% | 8.267% | 100% |  | 6.746% | 7.339% | 7.862%
[15 empty] | 7.05% | 7.188% | 7.084%
[15 empty] | 8.355% | 8.896% | 8.191%
| MONTHLY ENERGY PURCHASES (MWh) by 2013 Actual Amounts January: MONTHLY ENERGY PURCHASES (MWh) Average from 2011, 2012 and 2013 |  |  | 10.05% | 9.177% | 9.532%
| January | February | March | April | May | June | July | August | September | October | November | December |  |  | 9.946% | 10.38% | 9.537%
% per month | 8.605% | 7.249% | 7.316% | 7.107% | 8.481% | 9.587% | 9.955% | 10.13% | 8.747% | 7.525% | 7.256% | 8.04% | 100% |  | 10.65% | 9.824% | 9.922%
[15 empty] | 8.429% | 8.69% | 9.123%
[15 empty] | 7.129% | 7.726% | 7.722%
[15 empty] | 6.937% | 7.379% | 7.452%
| MONTHLY ENERGY PURCHASES (MWh) Average from 2011, 2012 and 2013 January: FPUC MONTHLY ENERGY PURCHASES (MWh) FORECAST 2014 - 2034 |  |  | 7.671% | 8.18% | 8.267%
Year | January | February | March | April | May | June | July | August | September | October | November | December | Total
2014 | 27397 | 23078 | 23291 | 22627 | 27000 | 30522 | 31692 | 32256 | 27848 | 23958 | 23101 | 25595 | 318365
2015 | 27669 | 23308 | 23523 | 22853 | 27269 | 30826 | 32008 | 32577 | 28126 | 24197 | 23331 | 25850 | 321537
2016 | 27945 | 23540 | 23757 | 23080 | 27540 | 31133 | 32327 | 32901 | 28406 | 24438 | 23563 | 26107 | 324737
2017 | 28223 | 23774 | 23994 | 23310 | 27815 | 31443 | 32649 | 33229 | 28689 | 24681 | 23798 | 26367 | 327972
2018 | 28364 | 23893 | 24113 | 23426 | 27953 | 31600 | 32811 | 33395 | 28832 | 24804 | 23916 | 26499 | 329606
2019 | 28505 | 24012 | 24233 | 23543 | 28092 | 31757 | 32975 | 33561 | 28975 | 24928 | 24035 | 26631 | 331247
2020 | 28647 | 24131 | 24354 | 23660 | 28232 | 31915 | 33139 | 33728 | 29119 | 25052 | 24155 | 26763 | 332895
2021 | 28790 | 24251 | 24475 | 23778 | 28373 | 32074 | 33304 | 33896 | 29264 | 25177 | 24275 | 26897 | 334554
2022 | 28933 | 24372 | 24597 | 23896 | 28514 | 32234 | 33470 | 34065 | 29410 | 25302 | 24396 | 27031 | 336220
2023 | 29077 | 24494 | 24719 | 24015 | 28656 | 32394 | 33636 | 34234 | 29557 | 25428 | 24518 | 27165 | 337893
2024 | 29222 | 24616 | 24843 | 24135 | 28799 | 32556 | 33804 | 34405 | 29704 | 25555 | 24640 | 27300 | 339579
2025 | 29368 | 24738 | 24966 | 24255 | 28942 | 32718 | 33972 | 34576 | 29852 | 25682 | 24763 | 27436 | 341268
2026 | 29514 | 24861 | 25091 | 24376 | 29086 | 32881 | 34142 | 34749 | 30001 | 25810 | 24886 | 27573 | 342970
2027 | 29661 | 24985 | 25216 | 24498 | 29231 | 33045 | 34312 | 34922 | 30150 | 25939 | 25010 | 27710 | 344679
2028 | 29809 | 25110 | 25341 | 24620 | 29377 | 33209 | 34483 | 35096 | 30300 | 26068 | 25135 | 27848 | 346396
2029 | 29957 | 25235 | 25468 | 24742 | 29523 | 33375 | 34654 | 35270 | 30451 | 26198 | 25260 | 27987 | 348120
2030 | 30106 | 25360 | 25594 | 24865 | 29670 | 33541 | 34827 | 35446 | 30603 | 26328 | 25386 | 28127 | 349853
2031 | 30256 | 25487 | 25722 | 24989 | 29818 | 33708 | 35000 | 35623 | 30755 | 26459 | 25512 | 28267 | 351596
2032 | 30407 | 25614 | 25850 | 25114 | 29967 | 33876 | 35175 | 35800 | 30908 | 26591 | 25639 | 28408 | 353349
2033 | 30558 | 25741 | 25979 | 25239 | 30116 | 34045 | 35350 | 35978 | 31062 | 26724 | 25767 | 28549 | 355108
2034 | 30711 | 25870 | 26108 | 25365 | 30266 | 34214 | 35526 | 36158 | 31217 | 26857 | 25895 | 28691 | 356878
Load Factor by LRCA
| January | February | March | April | May | June | July | August | September | October | November | December
% per month | 51.83% | 52.13% | 55.08% | 56.91% | 57.37% | 58.43% | 59.95% | 63.32% | 63.32% | 62.5% | 53.87% | 52.58%
Load Factor from 2011 Actual Amounts
| January | February | March | April | May | June | July | August | September | October | November | December
% per month | 53.53% | 59.48% | 64.52% | 61.06% | 58.89% | 65.15% | 66.98% | 67.83% | 61.31% | 67.8% | 62.67% | 55.22%
Load Factor from 2012 Actual Amounts
| January | February | March | April | May | June | July | August | September | October | November | December
% per month | 48.2% | 50.03% | 70.27% | 57.36% | 60.98% | 63.83% | 66.16% | 63.28% | 63.29% | 66.58% | 65.21% | 60.51%
[15 empty] | 2011 | 2012 | 2013
| Load Factor from 2012 Actual Amounts January: Load Factor from 2013 Actual Amounts |  |  | 53.53% | 48.2% | 58.16%
| January | February | March | April | May | June | July | August | September | October | November | December |  |  | 59.48% | 50.03% | 55.26%
% per month | 58.16% | 55.26% | 53.26% | 66.72% | 59.94% | 63.82% | 64.19% | 64.59% | 63.42% | 58.38% | 59.35% | 59.13% |  |  | 64.52% | 70.27% | 53.26%
[15 empty] | 61.06% | 57.36% | 66.72%
[15 empty] | 58.89% | 60.98% | 59.94%
| Load Factor from 2013 Actual Amounts January: Average Load Factor from 2011, 2012 and 2013 Actual |  |  | 65.15% | 63.83% | 63.82%
| January | February | March | April | May | June | July | August | September | October | November | December |  |  | 66.98% | 66.16% | 64.19%
% per month | 53.3% | 54.92% | 62.68% | 61.71% | 59.94% | 64.27% | 65.78% | 65.23% | 62.67% | 64.25% | 62.41% | 58.29% |  |  | 67.83% | 63.28% | 64.59%
[15 empty] | 61.31% | 63.29% | 63.42%
[15 empty] | 67.8% | 66.58% | 58.38%
[15 empty] | 62.67% | 65.21% | 59.35%
| Average Load Factor from 2011, 2012 and 2013 Actual January: FPUC MONTHLY DEMAND (MW) FORECAST 2014 - 2034 |  |  | 55.22% | 60.51% | 59.13%
[13 empty] | Annual | Summer
Year | January | February | March | April | May | June | July | August | September | October | November | December | Peak | Peak
2014 | 69088 | 62531 | 49944 | 50926 | 60544 | 65959 | 64756 | 66465 | 61717 | 50119 | 51410 | 59018 | 69088 | 66465
2015 | 69774 | 63155 | 50442 | 51435 | 61148 | 66616 | 65402 | 67126 | 62333 | 50619 | 51921 | 59606 | 69774 | 67126
2016 | 70470 | 63783 | 50944 | 51945 | 61755 | 67279 | 66054 | 67794 | 62953 | 51123 | 52438 | 60199 | 70470 | 67794
2017 | 71171 | 64417 | 51452 | 52463 | 62372 | 67949 | 66712 | 68469 | 63580 | 51632 | 52961 | 60799 | 71171 | 68469
2018 | 71527 | 64740 | 51707 | 52724 | 62681 | 68288 | 67043 | 68812 | 63897 | 51889 | 53223 | 61103 | 71527 | 68812
2019 | 71882 | 65062 | 51964 | 52988 | 62993 | 68628 | 67378 | 69154 | 64214 | 52148 | 53488 | 61407 | 71882 | 69154
2020 | 72240 | 65385 | 52224 | 53251 | 63307 | 68969 | 67713 | 69498 | 64533 | 52408 | 53755 | 61712 | 72240 | 69498
2021 | 72601 | 65710 | 52483 | 53516 | 63623 | 69313 | 68050 | 69844 | 64855 | 52669 | 54022 | 62021 | 72601 | 69844
2022 | 72961 | 66038 | 52745 | 53782 | 63939 | 69658 | 68389 | 70192 | 65178 | 52931 | 54292 | 62330 | 72961 | 70192
2023 | 73325 | 66368 | 53006 | 54050 | 64258 | 70004 | 68729 | 70540 | 65504 | 53194 | 54563 | 62639 | 73325 | 70540
2024 | 73690 | 66699 | 53272 | 54320 | 64578 | 70354 | 69072 | 70893 | 65830 | 53460 | 54835 | 62950 | 73690 | 70893
2025 | 74058 | 67029 | 53536 | 54590 | 64899 | 70704 | 69415 | 71245 | 66158 | 53726 | 55108 | 63264 | 74058 | 71245
2026 | 74427 | 67363 | 53804 | 54862 | 65222 | 71057 | 69763 | 71601 | 66488 | 53994 | 55382 | 63579 | 74427 | 71601
2027 | 74797 | 67699 | 54072 | 55137 | 65547 | 71411 | 70110 | 71958 | 66818 | 54263 | 55658 | 63895 | 74797 | 71958
2028 | 75170 | 68037 | 54340 | 55412 | 65875 | 71765 | 70459 | 72316 | 67151 | 54533 | 55936 | 64214 | 75170 | 72316
2029 | 75544 | 68376 | 54613 | 55686 | 66202 | 72124 | 70809 | 72675 | 67485 | 54805 | 56214 | 64534 | 75544 | 72675
2030 | 75919 | 68715 | 54883 | 55963 | 66532 | 72483 | 71162 | 73038 | 67822 | 55077 | 56495 | 64857 | 75919 | 73038
2031 | 76298 | 69059 | 55157 | 56242 | 66863 | 72844 | 71516 | 73402 | 68159 | 55351 | 56775 | 65180 | 76298 | 73402
2032 | 76678 | 69403 | 55432 | 56523 | 67198 | 73207 | 71873 | 73767 | 68498 | 55627 | 57058 | 65505 | 76678 | 73767
2033 | 77059 | 69747 | 55708 | 56805 | 67532 | 73572 | 72231 | 74134 | 68839 | 55906 | 57343 | 65830 | 77059 | 74134
2034 | 77445 | 70097 | 55985 | 57088 | 67868 | 73937 | 72590 | 74505 | 69183 | 56184 | 57627 | 66157 | 77445 | 74505

## NW Fl History
Gulf & Southern CO (Actual Cost) 2010
| Demand (Gen) | KWH | Demand (Transm.) | Cost Generation | Cost Transmission | Total Cost | cent/KWH | KWH/month | Load Factor
2010-01-01 | 87515 | 33851597 | 63595 | 3209750.47 | 233833.64 | 3443584.11 | 0.10173 | 9.687% | 51.99%
2010-02-01 | 70325 | 28384679 | 63378 | 2825045.59 | 233617.21 | 3058662.8 | 0.10776 | 8.123% | 60.06%
2010-03-01 | 62818 | 24102788 | 64289 | 2523730.59 | 235412.75 | 2759143.34 | 0.11447 | 6.897% | 51.57%
2010-04-01 | 43584 | 21713023 | 63050 | 2355563.76 | 232165.77 | 2587729.53 | 0.11918 | 6.213% | 69.19%
2010-05-05 | 60313 | 28360497 | 62976 | 2823343.91 | 231825.24 | 3055169.15 | 0.10773 | 8.116% | 63.2%
2010-06-05 | 68211 | 32769007 | 62578 | 3133569.04 | 231374.68 | 3364943.72 | 0.10269 | 9.377% | 66.72%
2010-07-05 | 69581 | 34579737 | 62886 | 3260989.4 | 232370.29 | 3493359.69 | 0.10102 | 9.895% | 66.8%
2010-08-05 | 68863 | 34257673 | 62322 | 3238325.88 | 231150.55 | 3469476.43 | 0.10128 | 9.803% | 66.86%
2010-09-05 | 66570 | 31064821 | 62772 | 3013646.13 | 232200.87 | 3245847 | 0.10449 | 8.89% | 64.81%
2010-10-05 | 54903 | 23985155 | 61794 | 2515452.8 | 229650.73 | 2745103.53 | 0.11445 | 6.864% | 58.72%
2010-11-05 | 49575 | 23014599 | 62203 | 2447155.15 | 230515.66 | 2677670.81 | 0.11635 | 6.586% | 64.48%
2010-12-05 | 76543 | 33366376 | 61524 | 3175605.66 | 228815.53 | 3404421.19 | 0.10203 | 9.548% | 58.59%
TOTAL | 778801 | 349449952 | 753367 | 34522178.38 | 2782932.92 | 37305111.3 | 0.09879 | 100% | 61.92%
Gulf & Southern CO (Actual Cost) 2011
| Demand (Gen) | KWH | Demand (Transm.) | Cost Generation | Cost Transmission | Total Cost | cent/KWH | KWH/month | Load Factor
2011-01-01 | 79973 | 31851354 | 61869 | 2877407.76 | 236307.32 | 3113715.08 | 0.097758 | 9.709% | 53.53%
2011-02-01 | 60129 | 24032652 | 63130 | 2365419.24 | 239465.84 | 2604885.08 | 0.10839 | 7.326% | 59.48%
2011-03-01 | 46103 | 22130833 | 62499 | 2240883.29 | 237080.02 | 2477963.31 | 0.11197 | 6.746% | 64.52%
2011-04-01 | 52612 | 23129569 | 62080 | 2306283.07 | 235881.68 | 2542164.75 | 0.10991 | 7.05% | 61.06%
2011-05-05 | 62557 | 27409563 | 60408 | 2586547.98 | 231824.57 | 2818372.55 | 0.10282 | 8.355% | 58.89%
2011-06-05 | 70301 | 32977154 | 60710 | 2951128.01 | 232933.84 | 3184061.85 | 0.096554 | 10.05% | 65.15%
2011-07-05 | 65474 | 32627976 | 60903 | 2928262.95 | 233881.78 | 3162144.73 | 0.096915 | 9.946% | 66.98%
2011-08-05 | 69234 | 34937001 | 61024 | 3079463.78 | 234152.01 | 3313615.79 | 0.094845 | 10.65% | 67.83%
2011-09-05 | 62640 | 27651837 | 60568 | 2602412.69 | 233217.43 | 2835630.12 | 0.10255 | 8.429% | 61.31%
2011-10-05 | 46366 | 23388313 | 61585 | 2323226.29 | 235121.58 | 2558347.87 | 0.10939 | 7.129% | 67.8%
2011-11-05 | 50431 | 22757139 | 61256 | 2281895.41 | 233738.68 | 2515634.09 | 0.11054 | 6.937% | 62.67%
2011-12-05 | 61257 | 25167124 | 60697 | 2439707.36 | 232306.43 | 2672013.79 | 0.10617 | 7.671% | 55.22%
TOTAL | 727077 | 328060515 | 736729 | 30982637.83 | 2815911.18 | 33798549.01 | 0.094442 | 100% | 62.04%
Gulf & Southern CO (Actual Cost) 2012
| Demand (Gen) | KWH | Demand (Transm.) | Cost Generation | Cost Transmission | Total Cost | cent/KWH | KWH/month | Load Factor
2012-01-01 | 70644 | 25334508 | 60722 | 2462431.73 | 230131.14 | 2692562.87 | 0.10628 | 8.066% | 48.2%
2012-02-01 | 66843 | 22472613 | 59442 | 2283842.43 | 227024.34 | 2510866.77 | 0.11173 | 7.155% | 50.03%
2012-03-01 | 44096 | 23052445 | 58004 | 2320025.37 | 218573.19 | 2538598.56 | 0.11012 | 7.339% | 70.27%
2012-04-01 | 54663 | 22576393 | 58567 | 2290318.55 | 224719.6 | 2515038.15 | 0.1114 | 7.188% | 57.36%
2012-05-05 | 61595 | 27942808 | 58634 | 3381240.75 | 225242.85 | 3606483.6 | 0.12907 | 8.896% | 60.98%
2012-06-05 | 62723 | 28825730 | 59278 | 2680292.58 | 226821.59 | 2907114.17 | 0.10085 | 9.177% | 63.83%
2012-07-05 | 66243 | 32608586 | 59197 | 2665259.31 | 221654.35 | 2886913.66 | 0.088532 | 10.38% | 66.16%
2012-08-05 | 65544 | 30857455 | 58806 | 2569468.49 | 221020.33 | 2790488.82 | 0.090432 | 9.824% | 63.28%
2012-09-05 | 59900 | 27295395 | 58866 | 2374615.76 | 221029.24 | 2595645 | 0.095095 | 8.69% | 63.29%
2012-10-05 | 48989 | 24266224 | 58545 | 2208913.26 | 220005.33 | 2428918.59 | 0.10009 | 7.726% | 66.58%
2012-11-05 | 49365 | 23178568 | 58346 | 2149416.02 | 219136.28 | 2368552.3 | 0.10219 | 7.379% | 65.21%
2012-12-05 | 57068 | 25693660 | 58284 | 2286997.24 | 218916.06 | 2505913.3 | 0.09753 | 8.18% | 60.51%
TOTAL | 707673 | 314104385 | 706691 | 29672821.49 | 2674274.3 | 32347095.79 | 0.094468 | 100% | 61.31%
Gulf & Southern CO (Actual Cost) 2013
| Demand (Gen) | KWH | Demand (Transm.) | Cost Generation | Cost Transmission | Total Cost | cent/KWH | KWH/month | Load Factor
2013-01-01 | 57581 | 24917444 | 58600 | 2193480.54 | 223676.06 | 2417156.6 | 0.097007 | 8.042% | 58.16%
2013-02-01 | 60632 | 22515414 | 57108 | 2071726.72 | 220015.92 | 2291742.64 | 0.10179 | 7.266% | 55.26%
2013-03-01 | 61473 | 24361046 | 55639 | 1234809.9 | 216300.16 | 1451110.06 | 0.059567 | 7.862% | 53.26%
2013-04-01 | 45697 | 21950706 | 55119 | 210510.99 | 215169.25 | 425680.24 | 0.019393 | 7.084% | 66.72%
2013-05-05 | 56912 | 25381308 | 56630 | 2151024.82 | 218657.38 | 2369682.2 | 0.093363 | 8.191% | 59.94%
2013-06-05 | 64280 | 29535698 | 55599 | 2361602.06 | 216399.48 | 2578001.54 | 0.087284 | 9.532% | 63.82%
2013-07-05 | 61879 | 29550909 | 55207 | 2362373.08 | 215735.94 | 2578109.02 | 0.087243 | 9.537% | 64.19%
2013-08-05 | 63972 | 30742395 | 55338 | 2422766.98 | 216053.69 | 2638820.67 | 0.085837 | 9.922% | 64.59%
2013-09-05 | 61904 | 28268462 | 55100 | 2297368.55 | 215559.8 | 2512928.35 | 0.088895 | 9.123% | 63.42%
2013-10-05 | 55085 | 23925987 | 54730 | 2077257.68 | 214496.07 | 2291753.75 | 0.095785 | 7.722% | 58.38%
2013-11-05 | 54034 | 23090567 | 54648 | 2034912 | 213969.71 | 2248881.71 | 0.097394 | 7.452% | 59.35%
2013-12-05 | 58226 | 25616104 | 55539 | 2162926.13 | 216067.71 | 2378993.84 | 0.092871 | 8.267% | 59.13%
TOTAL | 701675 | 309856040 | 669257 | 23580759.45 | 2602101.17 | 26182860.62 | 0.076102 | 100% | 60.52%
Gulf & Southern CO (Actual Cost) 2014
| Demand (Gen) | KWH | Demand (Transm.) | Cost Generation | Cost Transmission | Total Cost | cent/KWH | KWH/month | Load Factor
2014-01-01 | 80416 | 32651753 | 56046 | 2754982.48 | 228196.28 | 2983178.76 | 0.091364 | 10.42% | 54.57%
2014-02-01 | 60352 | 22559528 | 57285 | 2186129.14 | 231901.06 | 2418030.2 | 0.10718 | 7.2% | 55.62%
2014-03-01 | 47686 | 23396311 | 59557 | 2233294.84 | 237151.77 | 2470446.61 | 0.10559 | 7.467% | 65.94%
2014-04-01 | 38849 | 18952601 | 59533 | 1982822.89 | 237145.28 | 2219968.17 | 0.11713 | 6.049% | 67.76%
2014-05-05 | 54606 | 25562899 | 58122 | 2355415.66 | 233165.66 | 2588581.32 | 0.10126 | 8.159% | 62.92%
2014-06-05 | 63415 | 29040143 | 57805 | 2551412.27 | 232784.07 | 2784196.34 | 0.095874 | 9.268% | 63.6%
2014-07-05 | 64897 | 30776863 | 57612 | 2649303.37 | 232511.9 | 2881815.27 | 0.093636 | 9.823% | 63.74%
2014-08-05 | 64448 | 32087806 | 56998 | 2723195.33 | 231026.44 | 2954221.77 | 0.092067 | 10.24% | 66.92%
2014-09-05 | 63815 | 27520883 | 57360 | 2465778.42 | 232058.9 | 2697837.32 | 0.098029 | 8.784% | 59.9%
2014-10-05 | 52685 | 21326010 | 57580 | 2116601.28 | 232339.51 | 2348940.79 | 0.11014 | 6.806% | 54.41%
2014-11-05 | 70220 | 24694074 | 57576 | 2306443.9 | 231947.27 | 2538391.17 | 0.10279 | 7.881% | 48.84%
2014-12-05 | 56482 | 24754801 | 56888 | 2440211.08 | 230545.87 | 2670756.95 | 0.10789 | 7.901% | 58.91%
TOTAL | 717871 | 313323672 | 692362 | 28765590.66 | 2790774.01 | 31556364.67 | 0.091808 | 100% | 60.26%
Gulf & Southern CO (Actual Cost) 2015
| Demand (Gen) | KWH | Demand (Transm.) | Cost Generation | Cost Transmission | Total Cost | cent/KWH | KWH/month | Load Factor
2015-01-01 | 74944 | 27519518 | 58275 | 2534934.94 | 246195.7 | 2781130.64 | 0.10106 | 8.749% | 49.35%
2015-02-01 | 69841 | 25318858 | 57911 | 2408995.73 | 245361.46 | 2654357.19 | 0.10484 | 8.049% | 53.95%
2015-03-01 | 50613 | 21757928 | 57437 | 2205211.1 | 243873.1 | 2449084.2 | 0.11256 | 6.917% | 57.78%
2015-04-01 | 48408 | 22465423 | 57844 | 2245699.57 | 244773.36 | 2490472.93 | 0.11086 | 7.142% | 64.46%
2015-05-01 | 58248 | 26605236 | 58233 | 2482612.48 | 245918.68 | 2728531.16 | 0.10256 | 8.458% | 61.39%
2015-06-01 | 66721 | 29770105 | 58976 | 2663731.37 | 248299.53 | 2912030.9 | 0.097817 | 9.464% | 61.97%
2015-07-01 | 68460 | 33084608 | 59232 | 2853413.5 | 249124.33 | 3102537.83 | 0.093776 | 10.52% | 64.96%
2015-08-01 | 65680 | 32164697 | 60050 | 2800768.9 | 251775.34 | 3052544.24 | 0.094904 | 10.23% | 65.82%
2015-09-01 | 63888 | 27125234 | 60250 | 2512370.89 | 252689.53 | 2765060.42 | 0.10194 | 8.624% | 58.97%
2015-10-01 | 48051 | 23046822 | 59819 | 2278971.83 | 250733.52 | 2529705.35 | 0.10976 | 7.327% | 64.47%
2015-11-01 | 49304 | 22292503 | 59892 | 2235803.71 | 251095.06 | 2486898.77 | 0.11156 | 7.087% | 62.8%
2015-12-01 | 47939 | 23396033 | 59566 | 2298956.45 | 249913.08 | 2548869.53 | 0.10894 | 7.438% | 65.6%
TOTAL | 712097 | 314546965 | 707485 | 29521470.47 | 2979752.69 | 32501223.16 | 0.093854 | 100% | 60.96%
Gulf & Southern CO (Actual Cost) 2016
| Demand (Gen) | KWH | Demand (Transm.) | Cost Generation | Cost Transmission | Total Cost | cent/KWH | KWH/month | Load Factor
2016-01-01 | 64728 | 27628571 | 57572 | 2616766.72 | 251118.85 | 2867885.57 | 0.1038 | 15.1% | 57.37%
2016-02-01 | 62440 | 23343210 | 56605 | 2368268.58 | 248665.9 | 2616934.48 | 0.11211 | 12.76% | 55.63%
2016-03-01 | 45985 | 21801748 | 55545 | 2278882.78 | 245164.85 | 2524047.63 | 0.11577 | 11.92% | 63.72%
2016-04-01 | 51451 | 21366561 | 55215 | 2253647.29 | 244072.13 | 2497719.42 | 0.1169 | 11.68% | 57.68%
2016-05-01 | 59426 | 25996698 | 54940 | 2522138.2 | 243229.9 | 2765368.1 | 0.10637 | 14.21% | 58.8%
2016-06-01 | 64824 | 30120479 | 55276 | 2761266.69 | 244588.87 | 3005855.56 | 0.099794 | 16.46% | 64.53%
2016-07-01 | 66607 | 32703259 | 55375 | 2911036.11 | 245211.43 | 3156247.54 | 0.096512 | 17.87% | 65.99%
2016-08-01 | [5 empty] | 0 | #DIV/0! | 0% | #DIV/0!
2016-09-01 | [5 empty] | 0 | #DIV/0! | 0% | #DIV/0!
2016-10-01 | [5 empty] | 0 | #DIV/0! | 0% | #DIV/0!
2016-11-01 | [5 empty] | 0 | #DIV/0! | 0% | #DIV/0!
2016-12-01 | [5 empty] | 0 | #DIV/0! | 0% | #DIV/0!
TOTAL | 415461 | 182960526 | 390528 | 17712006.37 | 1722051.93 | 19434058.3 | 0.096808 | 100% | #DIV/0!

## Sheet1 (hidden)
Gulf & Southern CO (Actual Cost) 2011
| Demand (Gen) | KWH | Demand (Transm.) | Cost Generation | Cost Transmission | Total Cost | cent/KWH
2011-01-01 | 79973 | 31851354 | 61869 | 2877407.76 | 236307.32 | 3113715.08 | 0.097758
2011-02-01 | 60129 | 24032652 | 63130 | 2365419.24 | 239465.84 | 2604885.08 | 0.10839
2011-03-01 | 46103 | 22130833 | 62499 | 2240883.29 | 237080.02 | 2477963.31 | 0.11197
2011-04-01 | 52612 | 23129569 | 62080 | 2306283.07 | 235881.68 | 2542164.75 | 0.10991
2011-05-05 | 62557 | 27409563 | 60408 | 2586547.98 | 231824.57 | 2818372.55 | 0.10282
2011-06-05 | 70301 | 32977154 | 60710 | 2951128.01 | 232933.84 | 3184061.85 | 0.096554
2011-07-05 | 65474 | 32627976 | 60903 | 2928262.95 | 233881.78 | 3162144.73 | 0.096915
2011-08-05 | 69234 | 34937001 | 61024 | 3079463.78 | 234152.01 | 3313615.79 | 0.094845
2011-09-05 | 62640 | 27651837 | 60568 | 2602412.69 | 233217.43 | 2835630.12 | 0.10255
2011-10-05 | 46366 | 23388313 | 61585 | 2323226.29 | 235121.58 | 2558347.87 | 0.10939
2011-11-05 | 50431 | 22757139 | 61256 | 2281895.41 | 233738.68 | 2515634.09 | 0.11054
2011-12-05 | 61257 | 25167124 | 60697 | 2439707.36 | 232306.43 | 2672013.79 | 0.10617
TOTAL | 727077 | 328060515 | 736729 | 30982637.83 | 2815911.18 | 33798549.01 | 0.094442
Gulf & Southern CO (Actual Cost) 2012
| Demand (Gen) | KWH | Demand (Transm.) | Cost Generation | Cost Transmission | Total Cost | cent/KWH
2012-01-01 | 70644 | 25334508 | 60722 | 2462431.73 | 230131.14 | 2692562.87 | 0.10628
2012-02-01 | 66843 | 22472613 | 59442 | 2283842.43 | 227024.34 | 2510866.77 | 0.11173
2012-03-01 | 44096 | 23052445 | 58004 | 2320025.37 | 218573.19 | 2538598.56 | 0.11012
2012-04-01 | 54663 | 22576393 | 58567 | 2290318.55 | 224719.6 | 2515038.15 | 0.1114
2012-05-05 | 61595 | 27942808 | 58634 | 3381240.75 | 225242.85 | 3606483.6 | 0.12907
2012-06-05 | 62723 | 28825730 | 59278 | 2680292.58 | 226821.59 | 2907114.17 | 0.10085
2012-07-05 | 66243 | 32608586 | 59197 | 2665259.31 | 221654.35 | 2886913.66 | 0.088532
2012-08-05 | 65544 | 30857455 | 58806 | 2569468.49 | 221020.33 | 2790488.82 | 0.090432
2012-09-05 | 59900 | 27295395 | 58866 | 2374615.76 | 221029.24 | 2595645 | 0.095095
2012-10-05 | 48989 | 24266224 | 58545 | 2208913.26 | 220005.33 | 2428918.59 | 0.10009
2012-11-05 | 49365 | 23178568 | 58346 | 2149416.02 | 219136.28 | 2368552.3 | 0.10219
2012-12-05 | 57068 | 25693660 | 58284 | 2286997.24 | 218916.06 | 2505913.3 | 0.09753
TOTAL | 707673 | 314104385 | 706691 | 29672821.49 | 2674274.3 | 32347095.79 | 0.094468
Gulf & Southern CO (Actual Cost) 2013
| Demand (Gen) | KWH | Demand (Transm.) | Cost Generation | Cost Transmission | Total Cost | cent/KWH
2013-01-01 | 57581 | 24917444 | 58600 | 2193480.54 | 223676.06 | 2417156.6 | 0.097007
2013-02-01 | 60632 | 22515414 | 57108 | 2071726.72 | 220015.92 | 2291742.64 | 0.10179
2013-03-01 | 61473 | 24361046 | 55639 | 1234809.9 | 216300.16 | 1451110.06 | 0.059567
2013-04-01 | 45697 | 21950706 | 55119 | 210510.99 | 215169.25 | 425680.24 | 0.019393
2013-05-05 | 56912 | 25381308 | 56630 | 2151024.82 | 218657.38 | 2369682.2 | 0.093363
2013-06-05 | 64280 | 29535698 | 55599 | 2361602.06 | 216399.48 | 2578001.54 | 0.087284
2013-07-05 | 61879 | 29550909 | 55207 | 2362373.08 | 215735.94 | 2578109.02 | 0.087243
2013-08-05 | 63972 | 30742395 | 55338 | 2422766.98 | 216053.69 | 2638820.67 | 0.085837
2013-09-05 | 61904 | 28268462 | 55100 | 2297368.55 | 215559.8 | 2512928.35 | 0.088895
2013-10-05 | 55085 | 23925987 | 54730 | 2077257.68 | 214496.07 | 2291753.75 | 0.095785
2013-11-05 | 54034 | 23090567 | 54648 | 2034912 | 213969.71 | 2248881.71 | 0.097394
2013-12-05 | 58226 | 25616104 | 55539 | 2162926.13 | 216067.71 | 2378993.84 | 0.092871
TOTAL | 701675 | 309856040 | 669257 | 23580759.45 | 2602101.17 | 26182860.62 | 0.076102
|  |  | 6 Mnth Moving Ave | 6 Mnth Moving Ave
2011-01-01 | 79973 | 31851354
2011-02-01 | 60129 | 24032652
2011-03-01 | 46103 | 22130833
2011-04-01 | 52612 | 23129569
2011-05-05 | 62557 | 27409563
2011-06-05 | 70301 | 32977154
2011-07-05 | 65474 | 32627976 | 59529.3333 | 27051291.1667 | 1.0999 | 1.2062
2011-08-05 | 69234 | 34937001 | 61046.8333 | 28868682.6667 | 1.1341 | 1.2102
2011-09-05 | 62640 | 27651837 | 63803 | 29788850 | 0.98177 | 0.92826
2011-10-05 | 46366 | 23388313 | 62762 | 29831974 | 0.73876 | 0.784
2011-11-05 | 50431 | 22757139 | 60741 | 29056570 | 0.83026 | 0.7832
2011-12-05 | 61257 | 25167124 | 59233.6667 | 27754898.3333 | 1.0342 | 0.90676
2012-01-01 | 70644 | 25334508 | 60095.3333 | 26539320.3333 | 1.1755 | 0.9546
2012-02-01 | 66843 | 22472613 | 59696.8333 | 24461922.3333 | 1.1197 | 0.91868
2012-03-01 | 44096 | 23052445 | 56606.1667 | 23695357 | 0.779 | 0.97287
2012-04-01 | 54663 | 22576393 | 57989 | 23560037 | 0.94264 | 0.95825
2012-05-05 | 61595 | 27942808 | 59849.6667 | 24424315.1667 | 1.0292 | 1.1441
2012-06-05 | 62723 | 28825730 | 60094 | 25034082.8333 | 1.0437 | 1.1515
2012-07-05 | 66243 | 32608586 | 59360.5 | 26246429.1667 | 1.1159 | 1.2424
2012-08-05 | 65544 | 30857455 | 59144 | 27643902.8333 | 1.1082 | 1.1162
2012-09-05 | 59900 | 27295395 | 61778 | 28351061.1667 | 0.9696 | 0.96276
2012-10-05 | 48989 | 24266224 | 60832.3333 | 28632699.6667 | 0.80531 | 0.8475
2012-11-05 | 49365 | 23178568 | 58794 | 27838659.6667 | 0.83963 | 0.8326
2012-12-05 | 57068 | 25693660 | 57851.5 | 27316648 | 0.98646 | 0.94059
2013-01-01 | 57581 | 24917444 | 56407.8333 | 26034791 | 1.0208 | 0.95708
2013-02-01 | 60632 | 22515414 | 55589.1667 | 24644450.8333 | 1.0907 | 0.91361
2013-03-01 | 61473 | 24361046 | 55851.3333 | 24155392.6667 | 1.1007 | 1.0085
2013-04-01 | 45697 | 21950706 | 55302.6667 | 23769473 | 0.82631 | 0.92348
2013-05-05 | 56912 | 25381308 | 56560.5 | 24136596.3333 | 1.0062 | 1.0516
2013-06-05 | 64280 | 29535698 | 57762.5 | 24776936 | 1.1128 | 1.1921
2013-07-05 | 61879 | 29550909 | 58478.8333 | 25549180.1667 | 1.0581 | 1.1566
2013-08-05 | 63972 | 30742395 | 59035.5 | 26920343.6667 | 1.0836 | 1.142
2013-09-05 | 61904 | 28268462 | 59107.3333 | 27571579.6667 | 1.0473 | 1.0253
2013-10-05 | 55085 | 23925987 | 60672 | 27900793.1667 | 0.90791 | 0.85754
2013-11-05 | 54034 | 23090567 | 60192.3333 | 27519003 | 0.89769 | 0.83908
2013-12-05 | 58226 | 25616104 | 59183.3333 | 26865737.3333 | 0.98382 | 0.95349
| Without Weather Factors |  |  |  | With Weather Factors
Forecast | Kw | KWh | Factor Ave | Factor Ave | Kw | KWh
2014-01-01 | 57596.4829 | 25724743.2001 | 1.0982 | 0.95584 | 63250.446 | 24588806.5484
2014-02-01 | 57496.452 | 25671491.3262 | 1.1052 | 0.91614 | 63545.7615 | 23518772.4697
2014-03-01 | 57406.1014 | 25623392.8595 | 0.93983 | 0.99069 | 53951.7041 | 25384856.5064
2014-04-01 | 57306.0704 | 25570140.9856 | 0.88448 | 0.94087 | 50685.8338 | 24058083.2443
2014-05-01 | 57209.2663 | 25518606.9141 | 1.0177 | 1.0978 | 58221.1992 | 28014664.1227
2014-06-01 | 57109.2353 | 25465355.0403 | 1.0783 | 1.1718 | 61580.3415 | 29839330.0592
2014-07-01 | 57012.4311 | 25413820.9688 | 1.087 | 1.1995 | 61975.0112 | 30484250.7816
2014-08-01 | 56912.4001 | 25360569.0949 | 1.0959 | 1.1291 | 62371.143 | 28634928.6728
2014-09-01 | 56812.3692 | 25307317.2211 | 1.0085 | 0.99402 | 57292.8849 | 25155977.9263
2014-10-01 | 56715.565 | 25255783.1496 | 0.85661 | 0.85252 | 48583.3061 | 21531038.3351
2014-11-01 | 56615.534 | 25202531.2757 | 0.86866 | 0.83584 | 49179.5243 | 21065293.2553
2014-12-01 | 56518.7298 | 25150997.2043 | 0.98514 | 0.94704 | 55678.8892 | 23818901.1188
Sum: | 684710.6376 | 305264749.2403 | n/a | n/a | 686316.0447 | 306094903.0406

## Forecast 5 Year
Month | Demand (Gen) | KWH
2011-01-01 | 79973 | 31851354
2011-02-01 | 60129 | 24032652
2011-03-01 | 46103 | 22130833
2011-04-01 | 52612 | 23129569
2011-05-01 | 62557 | 27409563
2011-06-01 | 70301 | 32977154
2011-07-01 | 65474 | 32627976
2011-08-01 | 69234 | 34937001
2011-09-01 | 62640 | 27651837
2011-10-01 | 46366 | 23388313
2011-11-01 | 50431 | 22757139 |  |  | kW factor | kWh factor
2011-12-01 | 61257 | 25167124 | 60589.75 | 27338376.25 | 1.011 | 0.921
2012-01-01 | 70644 | 25334508 | 59812.3333 | 26795305.75 | 1.181 | 0.945
2012-02-01 | 66843 | 22472613 | 60371.8333 | 26665302.5 | 1.107 | 0.843
2012-03-01 | 44096 | 23052445 | 60204.5833 | 26742103.5 | 0.732 | 0.862
2012-04-01 | 54663 | 22576393 | 60375.5 | 26696005.5 | 0.905 | 0.846
2012-05-01 | 61595 | 27942808 | 60295.3333 | 26740442.5833 | 1.022 | 1.045
2012-06-01 | 62723 | 28825730 | 59663.8333 | 26394490.5833 | 1.051 | 1.092
2012-07-01 | 66243 | 32608586 | 59727.9167 | 26392874.75 | 1.109 | 1.236
2012-08-01 | 65544 | 30857455 | 59420.4167 | 26052912.5833 | 1.103 | 1.184
2012-09-01 | 59900 | 27295395 | 59192.0833 | 26023209.0833 | 1.012 | 1.049
2012-10-01 | 48989 | 24266224 | 59410.6667 | 26096368.3333 | 0.825 | 0.93
2012-11-01 | 49365 | 23178568 | 59321.8333 | 26131487.4167 | 0.832 | 0.887
2012-12-01 | 57068 | 25693660 | 58972.75 | 26175365.4167 | 0.968 | 0.982
2013-01-01 | 57581 | 24917444 | 57884.1667 | 26140610.0833 | 0.995 | 0.953
2013-02-01 | 60632 | 22515414 | 57366.5833 | 26144176.8333 | 1.057 | 0.861
2013-03-01 | 61473 | 24361046 | 58814.6667 | 26253226.9167 | 1.045 | 0.928
2013-04-01 | 45697 | 21950706 | 58067.5 | 26201086.3333 | 0.787 | 0.838
2013-05-01 | 56912 | 25381308 | 57677.25 | 25987628 | 0.987 | 0.977
2013-06-01 | 64280 | 29535698 | 57807 | 26046792 | 1.112 | 1.134
2013-07-01 | 61879 | 29550909 | 57443.3333 | 25791985.5833 | 1.077 | 1.146
2013-08-01 | 63972 | 30742395 | 57312.3333 | 25782397.25 | 1.116 | 1.192
2013-09-01 | 61904 | 28268462 | 57479.3333 | 25863486.1667 | 1.077 | 1.093
2013-10-01 | 55085 | 23925987 | 57987.3333 | 25835133.0833 | 0.95 | 0.926
2013-11-01 | 54034 | 23090567 | 58376.4167 | 25827799.6667 | 0.926 | 0.894
2013-12-01 | 58226 | 25616104 | 58472.9167 | 25821336.6667 | 0.996 | 0.992
2014-01-01 | 80416 | 32651753 | 60375.8333 | 26465862.4167 | 1.332 | 1.234
2014-02-01 | 60352 | 22559528 | 60352.5 | 26469538.5833 | 1 | 0.852
2014-03-01 | 47686 | 23396311 | 59203.5833 | 26389144 | 0.805 | 0.887
2014-04-01 | 38849 | 18952601 | 58632.9167 | 26139301.9167 | 0.663 | 0.725
2014-05-05 | 54606 | 25562899 | 58440.75 | 26154434.5 | 0.934 | 0.977
2014-06-05 | 63415 | 29040143 | 58368.6667 | 26113138.25 | 1.086 | 1.112
2014-07-05 | 64897 | 30776863 | 58620.1667 | 26215301.0833 | 1.107 | 1.174
2014-08-05 | 64448 | 32087806 | 58659.8333 | 26327418.6667 | 1.099 | 1.219
2014-09-05 | 63815 | 27520883 | 58819.0833 | 26265120.4167 | 1.085 | 1.048
2014-10-05 | 52685 | 21326010 | 58619.0833 | 26048455.6667 | 0.899 | 0.819
2014-11-05 | 70220 | 24694074 | 59967.9167 | 26182081.25 | 1.171 | 0.943
2014-12-05 | 56482 | 24754801 | 59822.5833 | 26110306 | 0.944 | 0.948
2015-01-01 | 74944 | 27519518 | 59366.5833 | 25682619.75 | 1.262 | 1.072
2015-02-01 | 69841 | 25318858 | 60157.3333 | 25912563.9167 | 1.161 | 0.977
2015-03-01 | 50613 | 21757928 | 60401.25 | 25776032 | 0.838 | 0.844
2015-04-01 | 48408 | 22465423 | 61197.8333 | 26068767.1667 | 0.791 | 0.862
2015-05-01 | 58248 | 26605236 | 61501.3333 | 26155628.5833 | 0.947 | 1.017
2015-06-01 | 66721 | 29770105 | 61776.8333 | 26216458.75 | 1.08 | 1.136
2015-07-01 | 68460 | 33084608 | 62073.75 | 26408770.8333 | 1.103 | 1.253
2015-08-01 | 65680 | 32164697 | 62176.4167 | 26415178.4167 | 1.056 | 1.218
2015-09-01 | 63888 | 27125234 | 62182.5 | 26382207.6667 | 1.027 | 1.028
2015-10-01 | 48051 | 23046822 | 61796.3333 | 26525608.6667 | 0.778 | 0.869
2015-11-01 | 49304 | 22292503 | 60053.3333 | 26325477.75 | 0.821 | 0.847
2015-12-01 | 47939 | 23396033 | 59341.4167 | 26212247.0833 | 0.808 | 0.893
[5 empty] | #DIV/0! | #DIV/0!
| Yearly Totals | KW | KWh
Actual | 2011 | 727077 | 328060515
Projected | 2012 | 707673 | 314104385
| 2013 | 701675 | 309856040
| 2014 | 717871 | 313323672
| 2015 | 712097 | 314546965
| 2016 | 722342 | 310666058
| 2017 | 727102 | 309628429
| 2018 | 710062 | 313563949
| 2019 | 717162 | 316699588
| 2020 | 724337 | 319866585
| 2121 | 731576 | 323065251
Forcast 2016
| Without Seasonal Effects |  |  |  | With Seasonal Effects
Complete | kW | kWh | Factor Ave | Factor Ave | kW | kWh | Yearly Peak |  | Summer Peak
2016-01-01 | 60298 | 26041587 | 1.193 | 1.051 | 71936 | 27369708 | 71936 | January | 66486 | July
2016-02-01 | 60332 | 26034214 | 1.081 | 0.883 | 65219 | 22988211
2016-03-01 | 60364 | 26027317 | 0.855 | 0.88 | 51611 | 22904039
2016-04-01 | 60398 | 26019945 | 0.787 | 0.818 | 47533 | 21284315
2016-05-01 | 60430 | 26012810 | 0.973 | 1.004 | 58798 | 26116861
2016-06-01 | 60464 | 26005437 | 1.082 | 1.119 | 65422 | 29100084
2016-07-01 | 60497 | 25998302 | 1.099 | 1.202 | 66486 | 31249959
2016-08-01 | 60531 | 25990930 | 1.094 | 1.203 | 66221 | 31267089
2016-09-01 | 60564 | 25983557 | 1.05 | 1.055 | 63592 | 27412653
2016-10-01 | 60597 | 25976422 | 0.863 | 0.886 | 52295 | 23015110
2016-11-01 | 60631 | 25969050 | 0.938 | 0.893 | 56872 | 23190362
2016-12-01 | 60664 | 25961915 | 0.929 | 0.954 | 56357 | 24767667
2016 Sum: | 725770 | 312021486 | n/a | n/a | 722342 | 310666058
Forecast 2017
| Without Seasonal Effects |  |  |  | With Seasonal Effects
Complete | kW | kWh | Factor Ave | Factor Ave | kW | kWh | Yearly Peak |  | Summer Peak
2017-01-01 | 60698 | 25954542 | 1.193 | 1.051 | 72413 | 27278224 | 72413 | January | 66924 | July
2017-02-01 | 60731 | 25947170 | 1.081 | 0.883 | 65650 | 22911351
2017-03-01 | 60762 | 25940510 | 0.855 | 0.88 | 51952 | 22827649
2017-04-01 | 60796 | 25933138 | 0.787 | 0.818 | 47846 | 21213307
2017-05-01 | 60828 | 25926003 | 0.973 | 1.004 | 59186 | 26029707
2017-06-01 | 60862 | 25918630 | 1.082 | 1.119 | 65853 | 29002947
2017-07-01 | 60895 | 25911496 | 1.099 | 1.202 | 66924 | 31145618
2017-08-01 | 60929 | 25904123 | 1.094 | 1.203 | 66656 | 31162660
2017-09-01 | 60963 | 25896750 | 1.05 | 1.055 | 64011 | 27321071
2017-10-01 | 60995 | 25889615 | 0.863 | 0.886 | 52639 | 22938199
2017-11-01 | 61029 | 25882243 | 0.938 | 0.893 | 57245 | 23112843
2017-12-01 | 61062 | 25875108 | 0.929 | 0.954 | 56727 | 24684853
2017 Sum: | 730550 | 310979328 | n/a | n/a | 727102 | 309628429
Forcast 2018 using 1% Growth and .5% added to Factors During Winter and Summer
KW Calculated Using Average Load Factor (ALF)
| Without Seasonal Effects |  |  |  | With Seasonal Effects
Complete | kW | kWh | Factor Ave | Factor Ave | kW | kWh |  |  | ALF | Hours/month | Yearly Peak |  | Summer Peak
2018-01-01 | 66775 | 26214087 | 1.193 | 1.051 | 80061 | 27688760 | 1% | 0.5% | 52.77% | 744 | 80061 | January | 62091 | June
2018-02-01 | 71076 | 26206642 | 1.081 | 0.883 | 77217 | 23256167 | 1% | 0.5% | 54.87% | 672
2018-03-01 | 56475 | 26199915 | 0.855 | 0.88 | 48286 | 23055925 | 1% |  | 62.36% | 744
2018-04-01 | 57316 | 26192469 | 0.787 | 0.818 | 45108 | 21425440 | 1% |  | 63.47% | 720
2018-05-01 | 57864 | 26185263 | 0.973 | 1.004 | 56302 | 26290004 | 1% |  | 60.82% | 744
2018-06-01 | 57100 | 26177816 | 1.082 | 1.119 | 62091 | 29439441 | 1% | 0.5% | 63.67% | 720
2018-07-01 | 53945 | 26170611 | 1.099 | 1.202 | 59582 | 31614360 | 1% | 0.5% | 65.21% | 744
2018-08-01 | 53535 | 26163164 | 1.094 | 1.203 | 58860 | 31631658 | 1% | 0.5% | 65.69% | 744
2018-09-01 | 59186 | 26155718 | 1.05 | 1.055 | 62145 | 27594282 | 1% |  | 61.38% | 720
2018-10-01 | 56390 | 26148511 | 0.863 | 0.886 | 48665 | 23167581 | 1% |  | 62.33% | 744
2018-11-01 | 60738 | 26141065 | 0.938 | 0.893 | 56972 | 23343971 | 1% |  | 59.78% | 720
2018-12-01 | 58666 | 26133859 | 0.929 | 0.954 | 54773 | 25056360 | 1% | 0.5% | 59.87% | 744
2018 Sum: | 709066 | 314089120 | n/a | n/a | 710062 | 313563949
Forcast 2019 using 1% Growth and .5% added to Factors During Winter and Summer
KW Calculated Using Average Load Factor
| Without Seasonal Effects |  |  |  | With Seasonal Effects
Complete | kW | kWh | Factor Ave | Factor Ave | kW | kWh |  |  | ALF | Hours/month | Yearly Peak |  | Summer Peak
2019-01-01 | 67442 | 26476228 | 1.193 | 1.051 | 80861 | 27965648 | 1% | 0.5% | 52.77% | 744 | 80861 | January | 62712 | June
2019-02-01 | 71787 | 26468708 | 1.081 | 0.883 | 77990 | 23488729 | 1% | 0.5% | 54.87% | 672
2019-03-01 | 57039 | 26461914 | 0.855 | 0.88 | 48768 | 23286484 | 1% |  | 62.36% | 744
2019-04-01 | 57889 | 26454394 | 0.787 | 0.818 | 45559 | 21639694 | 1% |  | 63.47% | 720
2019-05-01 | 58442 | 26447116 | 0.973 | 1.004 | 56864 | 26552904 | 1% |  | 60.82% | 744
2019-06-01 | 57671 | 26439594 | 1.082 | 1.119 | 62712 | 29733835 | 1% | 0.5% | 63.67% | 720
2019-07-01 | 54485 | 26432317 | 1.099 | 1.202 | 60178 | 31930503 | 1% | 0.5% | 65.21% | 744
2019-08-01 | 54070 | 26424796 | 1.094 | 1.203 | 59448 | 31947975 | 1% | 0.5% | 65.69% | 744
2019-09-01 | 59778 | 26417275 | 1.05 | 1.055 | 62767 | 27870225 | 1% |  | 61.38% | 720
2019-10-01 | 56954 | 26409996 | 0.863 | 0.886 | 49151 | 23399256 | 1% |  | 62.33% | 744
2019-11-01 | 61346 | 26402476 | 0.938 | 0.893 | 57543 | 23577411 | 1% |  | 59.78% | 720
2019-12-01 | 59253 | 26395198 | 0.929 | 0.954 | 55321 | 25306924 | 1% | 0.5% | 59.87% | 744
2019 Sum: | 716156 | 317230012 | n/a | n/a | 717162 | 316699588
Forcast 2020 using 1% Growth and .5% added to Factors During Winter and Summer
KW Calculated Using Average Load Factor
Complete | kW | kWh | Factor Ave | Factor Ave | kW | kWh |  |  | ALF | Hours/month | Yearly Peak |  | Summer Peak
2020-01-01 | 68117 | 26740990 | 1.193 | 1.051 | 81670 | 28245304 | 1% | 0.5% | 52.77% | 744 | 81670 | January | 63339 | June
2020-02-01 | 72505 | 26733395 | 1.081 | 0.883 | 78770 | 23723616 | 1% | 0.5% | 54.87% | 672
2020-03-01 | 57610 | 26726533 | 0.855 | 0.88 | 49257 | 23519349 | 1% |  | 62.36% | 744
2020-04-01 | 58468 | 26718938 | 0.787 | 0.818 | 46014 | 21856091 | 1% |  | 63.47% | 720
2020-05-01 | 59027 | 26711587 | 0.973 | 1.004 | 57433 | 26818433 | 1% |  | 60.82% | 744
2020-06-01 | 58248 | 26703990 | 1.082 | 1.119 | 63339 | 30031174 | 1% | 0.5% | 63.67% | 720
2020-07-01 | 55030 | 26696640 | 1.099 | 1.202 | 60780 | 32249808 | 1% | 0.5% | 65.21% | 744
2020-08-01 | 54611 | 26689044 | 1.094 | 1.203 | 60043 | 32267455 | 1% | 0.5% | 65.69% | 744
2020-09-01 | 60376 | 26681448 | 1.05 | 1.055 | 63395 | 28148928 | 1% |  | 61.38% | 720
2020-10-01 | 57524 | 26674096 | 0.863 | 0.886 | 49643 | 23633249 | 1% |  | 62.33% | 744
2020-11-01 | 61959 | 26666501 | 0.938 | 0.893 | 58118 | 23813185 | 1% |  | 59.78% | 720
2020-12-01 | 59846 | 26659150 | 0.929 | 0.954 | 55875 | 25559993 | 1% | 0.5% | 59.87% | 744
2020 Sum: | 723321 | 320402312 | n/a | n/a | 724337 | 319866585
Forcast 2021 using 1% Growth and .5% added to Factors During Winter and Summer
KW Calculated Using Average Load Factor
Working | kW | kWh | Factor Ave | Factor Ave | kW | kWh |  |  | ALF | Hours/month | Yearly Peak |  | Summer Peak
2021-01-01 | 68798 | 27008400 | 1.193 | 1.051 | 82486 | 28527758 | 1% | 0.5% | 52.77% | 744 | 82486 | January | 63972 | June
2021-02-01 | 73230 | 27000729 | 1.081 | 0.883 | 79557 | 23960852 | 1% | 0.5% | 54.87% | 672
2021-03-01 | 58186 | 26993798 | 0.855 | 0.88 | 49749 | 23754542 | 1% |  | 62.36% | 744
2021-04-01 | 59052 | 26986127 | 0.787 | 0.818 | 46474 | 22074652 | 1% |  | 63.47% | 720
2021-05-01 | 59617 | 26978703 | 0.973 | 1.004 | 58007 | 27086618 | 1% |  | 60.82% | 744
2021-06-01 | 58830 | 26971030 | 1.082 | 1.119 | 63972 | 30331485 | 1% | 0.5% | 63.67% | 720
2021-07-01 | 55580 | 26963606 | 1.099 | 1.202 | 61388 | 32572306 | 1% | 0.5% | 65.21% | 744
2021-08-01 | 55157 | 26955934 | 1.094 | 1.203 | 60643 | 32590129 | 1% | 0.5% | 65.69% | 744
2021-09-01 | 60980 | 26948262 | 1.05 | 1.055 | 64029 | 28430416 | 1% |  | 61.38% | 720
2021-10-01 | 58099 | 26940837 | 0.863 | 0.886 | 50139 | 23869582 | 1% |  | 62.33% | 744
2021-11-01 | 62579 | 26933166 | 0.938 | 0.893 | 58699 | 24051317 | 1% |  | 59.78% | 720
2021-12-01 | 60444 | 26925742 | 0.929 | 0.954 | 56433 | 25815594 | 1% | 0.5% | 59.87% | 744
2021 Sum: | 730552 | 323606334 | n/a | n/a | 731576 | 323065251
24895997
24796073
24705819
24605895
24509195
24409270
24312569
24212646
24112722
24016019
23916096
23819396
Formulas:
Month = EDATE([Month, row above],1)

## Forecast 10 year
| Yearly Totals | kW | kWh
Forecasted | 2016 | 722342 | 310666058
| 2017 | 727102 | 309628429
| 2018 | 710062 | 313563949
| 2019 | 717162 | 316699588
| 2020 | 724337 | 319866585
| 2121 | 731576 | 323065251
| 2022 | 733216 | 323811586
| 2023 | 736878 | 325430645
| 2024 | 740564 | 327057799
| 2025 | 744266 | 328693088
| 2026 | 747987 | 330336556
Forcast 2022 using .5% Growth and 0% added to Factors During Winter and Summer
KW Calculated Using Average Load Factor
Complete | kW | kWh | Factor Ave | Factor Ave | kW | kWh |  |  | ALF | Hours/month | Yearly Peak |  | Summer Peak
2022-01-01 | 69142 | 27143442 | 1.193 | 1.051 | 82486 | 28527758 | 0.5% | 0% | 52.77% | 744 | 82486 | January | 63973 | June
2022-02-01 | 73596 | 27135733 | 1.081 | 0.883 | 79557 | 23960852 | 0.5% | 0% | 54.87% | 672
2022-03-01 | 58477 | 27128767 | 0.855 | 0.88 | 49998 | 23873315 | 0.5% |  | 62.36% | 744
2022-04-01 | 59348 | 27121058 | 0.787 | 0.818 | 46707 | 22185025 | 0.5% |  | 63.47% | 720
2022-05-01 | 59915 | 27113597 | 0.973 | 1.004 | 58297 | 27222051 | 0.5% |  | 60.82% | 744
2022-06-01 | 59125 | 27105885 | 1.082 | 1.119 | 63973 | 30331485 | 0.5% | 0% | 63.67% | 720
2022-07-01 | 55858 | 27098424 | 1.099 | 1.202 | 61388 | 32572306 | 0.5% | 0% | 65.21% | 744
2022-08-01 | 55433 | 27090714 | 1.094 | 1.203 | 60644 | 32590129 | 0.5% | 0% | 65.69% | 744
2022-09-01 | 61285 | 27083003 | 1.05 | 1.055 | 64349 | 28572568 | 0.5% |  | 61.38% | 720
2022-10-01 | 58390 | 27075541 | 0.863 | 0.886 | 50391 | 23988929 | 0.5% |  | 62.33% | 744
2022-11-01 | 62892 | 27067832 | 0.938 | 0.893 | 58993 | 24171574 | 0.5% |  | 59.78% | 720
2022-12-01 | 60746 | 27060371 | 0.929 | 0.954 | 56433 | 25815594 | 0.5% | 0% | 59.87% | 744
2022 Sum: | 734207 | 325224367 | n/a | n/a | 733216 | 323811586
Forcast 2023 using .5% Growth and 0% added to Factors During Winter and Summer
KW Calculated Using Average Load Factor
Working | kW | kWh | Factor Ave | Factor Ave | kW | kWh |  |  | ALF | Hours/month | Yearly Peak |  | Summer Peak
2023-01-01 | 69488 | 27279159 | 1.193 | 1.051 | 82899 | 28670396 | 0.5% | 0% | 52.77% | 744 | 82899 | January | 64292 | June
2023-02-01 | 73964 | 27271412 | 1.081 | 0.883 | 79955 | 24080657 | 0.5% | 0% | 54.87% | 672
2023-03-01 | 58769 | 27264411 | 0.855 | 0.88 | 50247 | 23992682 | 0.5% |  | 62.36% | 744
2023-04-01 | 59644 | 27256663 | 0.787 | 0.818 | 46940 | 22295950 | 0.5% |  | 63.47% | 720
2023-05-01 | 60214 | 27249165 | 0.973 | 1.004 | 58588 | 27358162 | 0.5% |  | 60.82% | 744
2023-06-01 | 59420 | 27241414 | 1.082 | 1.119 | 64292 | 30483142 | 0.5% | 0% | 63.67% | 720
2023-07-01 | 56137 | 27233916 | 1.099 | 1.202 | 61695 | 32735167 | 0.5% | 0% | 65.21% | 744
2023-08-01 | 55710 | 27226168 | 1.094 | 1.203 | 60947 | 32753080 | 0.5% | 0% | 65.69% | 744
2023-09-01 | 61591 | 27218418 | 1.05 | 1.055 | 64671 | 28715431 | 0.5% |  | 61.38% | 720
2023-10-01 | 58681 | 27210919 | 0.863 | 0.886 | 50642 | 24108874 | 0.5% |  | 62.33% | 744
2023-11-01 | 63206 | 27203171 | 0.938 | 0.893 | 59287 | 24292432 | 0.5% |  | 59.78% | 720
2023-12-01 | 61050 | 27195673 | 0.929 | 0.954 | 56715 | 25944672 | 0.5% | 0% | 59.87% | 744
2023 Sum: | 737874 | 326850489 | n/a | n/a | 736878 | 325430645
Forcast 2024 using .5% Growth and 0% added to Factors During Winter and Summer
KW Calculated Using Average Load Factor
| kW | kWh | Factor Ave | Factor Ave | kW | kWh |  |  | ALF | Hours/month | Yearly Peak |  | Summer Peak
2024-01-01 | 69835 | 27415555 | 1.193 | 1.051 | 83313 | 28813748 | 0.5% | 0% | 52.77% | 744 | 83313 | January | 64614 | June
2024-02-01 | 74334 | 27407769 | 1.081 | 0.883 | 80355 | 24201060 | 0.5% | 0% | 54.87% | 672
2024-03-01 | 59063 | 27400733 | 0.855 | 0.88 | 50499 | 24112645 | 0.5% |  | 62.36% | 744
2024-04-01 | 59943 | 27392946 | 0.787 | 0.818 | 47175 | 22407430 | 0.5% |  | 63.47% | 720
2024-05-01 | 60516 | 27385411 | 0.973 | 1.004 | 58882 | 27494953 | 0.5% |  | 60.82% | 744
2024-06-01 | 59717 | 27377621 | 1.082 | 1.119 | 64614 | 30635558 | 0.5% | 0% | 63.67% | 720
2024-07-01 | 56418 | 27370086 | 1.099 | 1.202 | 62003 | 32898843 | 0.5% | 0% | 65.21% | 744
2024-08-01 | 55988 | 27362299 | 1.094 | 1.203 | 61251 | 32916846 | 0.5% | 0% | 65.69% | 744
2024-09-01 | 61899 | 27354510 | 1.05 | 1.055 | 64994 | 28859008 | 0.5% |  | 61.38% | 720
2024-10-01 | 58975 | 27346974 | 0.863 | 0.886 | 50895 | 24229419 | 0.5% |  | 62.33% | 744
2024-11-01 | 63522 | 27339187 | 0.938 | 0.893 | 59584 | 24413894 | 0.5% |  | 59.78% | 720
2024-12-01 | 61355 | 27331651 | 0.929 | 0.954 | 56999 | 26074395 | 0.5% | 0% | 59.87% | 744
2024 Sum: | 741565 | 328484742 | n/a | n/a | 740564 | 327057799
Forcast 2025 using .5% Growth and 0% added to Factors During Winter and Summer
KW Calculated Using Average Load Factor
| kW | kWh | Factor Ave | Factor Ave | kW | kWh |  |  | ALF | Hours/month | Yearly Peak |  | Summer Peak
2025-01-01 | 70184 | 27552633 | 1.193 | 1.051 | 83730 | 28957817 | 0.5% | 0% | 52.77% | 744 | 83730 | January | 64937 | June
2025-02-01 | 74706 | 27544808 | 1.081 | 0.883 | 80757 | 24322065 | 0.5% | 0% | 54.87% | 672
2025-03-01 | 59358 | 27537737 | 0.855 | 0.88 | 50751 | 24233209 | 0.5% |  | 62.36% | 744
2025-04-01 | 60242 | 27529911 | 0.787 | 0.818 | 47410 | 22519467 | 0.5% |  | 63.47% | 720
2025-05-01 | 60818 | 27522338 | 0.973 | 1.004 | 59176 | 27632427 | 0.5% |  | 60.82% | 744
2025-06-01 | 60016 | 27514509 | 1.082 | 1.119 | 64937 | 30788736 | 0.5% | 0% | 63.67% | 720
2025-07-01 | 56700 | 27506936 | 1.099 | 1.202 | 62313 | 33063337 | 0.5% | 0% | 65.21% | 744
2025-08-01 | 56268 | 27499110 | 1.094 | 1.203 | 61557 | 33081429 | 0.5% | 0% | 65.69% | 744
2025-09-01 | 62209 | 27491283 | 1.05 | 1.055 | 65319 | 29003304 | 0.5% |  | 61.38% | 720
2025-10-01 | 59270 | 27483709 | 0.863 | 0.886 | 51150 | 24350566 | 0.5% |  | 62.33% | 744
2025-11-01 | 63840 | 27475883 | 0.938 | 0.893 | 59882 | 24535964 | 0.5% |  | 59.78% | 720
2025-12-01 | 61662 | 27468309 | 0.929 | 0.954 | 57284 | 26204767 | 0.5% | 0% | 59.87% | 744
2025 Sum: | 745273 | 330127166 | n/a | n/a | 744266 | 328693088
Forcast 2026 using .5% Growth and 0% added to Factors During Winter and Summer
KW Calculated Using Average Load Factor
| kW | kWh | Factor Ave | Factor Ave | kW | kWh |  |  | ALF | Hours/month | Yearly Peak |  | Summer Peak
2026-01-01 | 70535 | 27690396 | 1.193 | 1.051 | 84148 | 29102606 | 0.5% | 0% | 52.77% | 744 | 84148 | January | 65262 | June
2026-02-01 | 75079 | 27682532 | 1.081 | 0.883 | 81160 | 24443676 | 0.5% | 0% | 54.87% | 672
2026-03-01 | 59655 | 27675426 | 0.855 | 0.88 | 51005 | 24354375 | 0.5% |  | 62.36% | 744
2026-04-01 | 60544 | 27667561 | 0.787 | 0.818 | 47648 | 22632065 | 0.5% |  | 63.47% | 720
2026-05-01 | 61122 | 27659950 | 0.973 | 1.004 | 59472 | 27770590 | 0.5% |  | 60.82% | 744
2026-06-01 | 60316 | 27652082 | 1.082 | 1.119 | 65262 | 30942680 | 0.5% | 0% | 63.67% | 720
2026-07-01 | 56983 | 27644471 | 1.099 | 1.202 | 62624 | 33228654 | 0.5% | 0% | 65.21% | 744
2026-08-01 | 56550 | 27636606 | 1.094 | 1.203 | 61866 | 33246837 | 0.5% | 0% | 65.69% | 744
2026-09-01 | 62520 | 27628739 | 1.05 | 1.055 | 65646 | 29148320 | 0.5% |  | 61.38% | 720
2026-10-01 | 59566 | 27621128 | 0.863 | 0.886 | 51405 | 24472319 | 0.5% |  | 62.33% | 744
2026-11-01 | 64159 | 27613262 | 0.938 | 0.893 | 60181 | 24658643 | 0.5% |  | 59.78% | 720
2026-12-01 | 61970 | 27605651 | 0.929 | 0.954 | 57570 | 26335791 | 0.5% | 0% | 59.87% | 744
2026 Sum: | 748999 | 331777804 | n/a | n/a | 747987 | 330336556
Formulas:
Complete = EDATE([Complete, row above],1)

## Forecast 20 Year
| Yearly Totals | kW | kWh
Forecasted | 2016 | 722342 | 310666058
| 2017 | 727102 | 309628429 |  |  |  |  | .5% Growth | 0.5%
| 2018 | 710062 | 313563949
| 2019 | 717162 | 316699588
| 2020 | 724337 | 319866585
| 2121 | 731576 | 323065251
| 2022 | 733216 | 323811586
| 2023 | 736878 | 325430645
| 2024 | 740564 | 327057799
| 2025 | 744266 | 328693088
| 2026 | 747987 | 330336556
| 2027 | 751727 | 331988238
| 2028 | 755488 | 333648178
| 2029 | 759262 | 335316419
| 2030 | 763060 | 336992999
| 2031 | 766876 | 338677964
| 2032 | 770709 | 340371356
| 2033 | 774568 | 342073211
| 2034 | 778435 | 343783577
| 2035 | 782328 | 345502496
| 2036 | 786241 | 347230006
2026 | 27690396 | 27682532 | 27675426 | 27667561 | 27659950 | 27652082 | 27644471 | 27636606 | 27628739 | 27621128 | 27613262 | 27605651 | *No factor applied*
KWh w/o Factor | January | February | March | April | May | June | July | August | September | October | November | December
2027 | 27828848 | 27820945 | 27813803 | 27805899 | 27798250 | 27790342 | 27782693 | 27774789 | 27766883 | 27759234 | 27751328 | 27743679
2028 | 27967992 | 27960050 | 27952872 | 27944928 | 27937241 | 27929294 | 27921606 | 27913663 | 27905717 | 27898030 | 27890085 | 27882397
2029 | 28107832 | 28099850 | 28092636 | 28084653 | 28076927 | 28068940 | 28061214 | 28053231 | 28045246 | 28037520 | 28029535 | 28021809
2030 | 28248371 | 28240349 | 28233099 | 28225076 | 28217312 | 28209285 | 28201520 | 28193497 | 28185472 | 28177708 | 28169683 | 28161918
2031 | 28389613 | 28381551 | 28374264 | 28366201 | 28358399 | 28350331 | 28342528 | 28334464 | 28326399 | 28318597 | 28310531 | 28302728
2032 | 28531561 | 28523459 | 28516135 | 28508032 | 28500191 | 28492083 | 28484241 | 28476136 | 28468031 | 28460190 | 28452084 | 28444242
2033 | 28674219 | 28666076 | 28658716 | 28650572 | 28642692 | 28634543 | 28626662 | 28618517 | 28610371 | 28602491 | 28594344 | 28586463
2034 | 28817590 | 28809406 | 28802010 | 28793825 | 28785905 | 28777716 | 28769795 | 28761610 | 28753423 | 28745503 | 28737316 | 28729395
2035 | 28961678 | 28953453 | 28946020 | 28937794 | 28929835 | 28921605 | 28913644 | 28905418 | 28897190 | 28889231 | 28881003 | 28873042
2036 | 29106486 | 29098220 | 29090750 | 29082483 | 29074484 | 29066213 | 29058212 | 29049945 | 29041676 | 29033677 | 29025408 | 29017407
KWH Factor | 1.051 | 0.883 | 0.88 | 0.818 | 1.004 | 1.119 | 1.202 | 1.203 | 1.055 | 0.886 | 0.893 | 0.954
KWh w/ Factor
2026 | 29248119 | 24565894 | 24476147 | 22745225 | 27909443 | 31097393 | 33394797 | 33413071 | 29294062 | 24594681 | 24781936 | 26467470
2027 | 29394360 | 24688724 | 24598527 | 22858951 | 28048990 | 31252880 | 33561770 | 33580137 | 29440531 | 24717655 | 24905846 | 26599807
2028 | 29541331 | 24812168 | 24721520 | 22973246 | 28189235 | 31409144 | 33729579 | 33748037 | 29587735 | 24841243 | 25030375 | 26732806
2029 | 29689038 | 24936228 | 24845127 | 23088112 | 28330181 | 31566190 | 33898227 | 33916777 | 29735673 | 24965449 | 25155527 | 26866470
2030 | 29837483 | 25060910 | 24969352 | 23203552 | 28471833 | 31724020 | 34067719 | 34086360 | 29884351 | 25090277 | 25281304 | 27000803
2031 | 29986671 | 25186214 | 25094199 | 23319570 | 28614192 | 31882641 | 34238058 | 34256792 | 30033773 | 25215728 | 25407711 | 27135807
2032 | 30136604 | 25312145 | 25219670 | 23436168 | 28757263 | 32042054 | 34409248 | 34428076 | 30183941 | 25341807 | 25534749 | 27271486
2033 | 30287287 | 25438705 | 25345769 | 23553349 | 28901049 | 32202264 | 34581294 | 34600217 | 30334861 | 25468516 | 25662423 | 27407843
2034 | 30438724 | 25565899 | 25472498 | 23671115 | 29045554 | 32363276 | 34754200 | 34773218 | 30486535 | 25595859 | 25790736 | 27544882
2035 | 30590917 | 25693728 | 25599860 | 23789471 | 29190782 | 32525092 | 34927971 | 34947084 | 30638968 | 25723838 | 25919689 | 27682606
ALF | 52.77% | 54.87% | 62.36% | 63.47% | 60.82% | 63.67% | 65.21% | 65.69% | 61.38% | 62.33% | 59.78% | 59.87%
Hours | 744 | 672 | 744 | 720 | 744 | 720 | 744 | 744 | 720 | 744 | 720 | 744
KW w/o Factor | January | February | March | April | May | June | July | August | September | October | November | December
2026 | 70888 | 75454 | 59953 | 60846 | 61428 | 60617 | 57268 | 56832 | 62832 | 59864 | 64480 | 62280
2027 | 71242 | 75832 | 60253 | 61151 | 61735 | 60921 | 57555 | 57117 | 63146 | 60163 | 64802 | 62592
2028 | 71598 | 76211 | 60554 | 61456 | 62044 | 61225 | 57842 | 57402 | 63462 | 60464 | 65126 | 62905
2029 | 71956 | 76592 | 60857 | 61764 | 62354 | 61531 | 58132 | 57689 | 63779 | 60766 | 65452 | 63219
2030 | 72316 | 76975 | 61161 | 62072 | 62666 | 61839 | 58422 | 57978 | 64098 | 61070 | 65779 | 63535
2031 | 72678 | 77360 | 61467 | 62383 | 62979 | 62148 | 58714 | 58267 | 64419 | 61376 | 66108 | 63853
2032 | 73041 | 77747 | 61775 | 62695 | 63294 | 62459 | 59008 | 58559 | 64741 | 61682 | 66439 | 64172
2033 | 73406 | 78135 | 62083 | 63008 | 63610 | 62771 | 59303 | 58852 | 65065 | 61991 | 66771 | 64493
2034 | 73773 | 78526 | 62394 | 63323 | 63928 | 63085 | 59599 | 59146 | 65390 | 62301 | 67105 | 64815
2035 | 74142 | 78919 | 62706 | 63640 | 64248 | 63400 | 59897 | 59442 | 65717 | 62612 | 67440 | 65140
KW Factor | 1.193 | 1.081 | 0.855 | 0.787 | 0.973 | 1.082 | 1.099 | 1.094 | 1.05 | 0.863 | 0.938 | 0.929
KW w/ Factor | [12 empty] | Yearly Peak |  | Summer Peak
2026 | 84569 | 81566 | 51260 | 47886 | 59769 | 65588 | 62938 | 62174 | 65974 | 51663 | 60482 | 57858 | 84569 | January | 65588 | June
2027 | 84992 | 81974 | 51516 | 48126 | 60068 | 65917 | 63253 | 62486 | 66303 | 51921 | 60784 | 58148 | 84992 | January | 65917 | June
2028 | 85416 | 82384 | 51774 | 48366 | 60369 | 66245 | 63568 | 62798 | 66635 | 52180 | 61088 | 58439 | 85416 | January | 66245 | June
2029 | 85844 | 82796 | 52033 | 48608 | 60670 | 66577 | 63887 | 63112 | 66968 | 52441 | 61394 | 58730 | 85844 | January | 66577 | June
2030 | 86273 | 83210 | 52293 | 48851 | 60974 | 66910 | 64206 | 63428 | 67303 | 52703 | 61701 | 59024 | 86273 | January | 66910 | June
2031 | 86705 | 83626 | 52554 | 49095 | 61279 | 67244 | 64527 | 63744 | 67640 | 52967 | 62009 | 59319 | 86705 | January | 67244 | June
2032 | 87138 | 84045 | 52818 | 49341 | 61585 | 67581 | 64850 | 64064 | 67978 | 53232 | 62320 | 59616 | 87138 | January | 67581 | June
2033 | 87573 | 84464 | 53081 | 49587 | 61893 | 67918 | 65174 | 64384 | 68318 | 53498 | 62631 | 59914 | 87573 | January | 67918 | June
2034 | 88011 | 84887 | 53347 | 49835 | 62202 | 68258 | 65499 | 64706 | 68660 | 53766 | 62944 | 60213 | 88011 | January | 68258 | June
2035 | 88451 | 85311 | 53614 | 50085 | 62513 | 68599 | 65827 | 65030 | 69003 | 54034 | 63259 | 60515 | 88451 | January | 68599 | June
Totals | January: KW; February: KWh
2026 | January: 751727; February: 331988238
2027 | January: 755488; February: 333648178
2028 | January: 759262; February: 335316419
2029 | January: 763060; February: 336992999
2030 | January: 766876; February: 338677964
2031 | January: 770709; February: 340371356
2032 | January: 774568; February: 342073211
2033 | January: 778435; February: 343783577
2034 | January: 782328; February: 345502496
2035 | January: 786241; February: 347230006

## Peak Forecast
Year | Annual Peak(KW) | Month | Summer Peak(KW) | Month
2016 | 71936 | January | 66486 | July
2017 | 72413 | January | 66924 | July
2018 | 80061 | January | 62091 | June
2019 | 80861 | January | 62712 | June
2020 | 81670 | January | 63339 | June
2021 | 82486 | January | 63972 | June
2022 | 82486 | January | 63973 | June
2023 | 82899 | January | 64292 | June
2024 | 83313 | January | 64614 | June
2025 | 83730 | January | 64937 | June
2026 | 84148 | January | 65262 | June
2027 | 84569 | January | 65588 | June
2028 | 84992 | January | 65917 | June
2029 | 85416 | January | 66245 | June
2030 | 85844 | January | 66577 | June
2031 | 86273 | January | 66910 | June
2032 | 86705 | January | 67244 | June
2033 | 87138 | January | 67581 | June
2034 | 87573 | January | 67918 | June
2035 | 88011 | January | 68258 | June
2036 | 88451 | January | 68599 | June

## Yearly Comparison
Forcast 2015
| Without Seasonal Effects |  |  |  | With Seasonal Effects
| Kw | KWh | Factor Ave | Factor Ave | Kw | KWh
2015-01-01 | 58380 | 25946516 | 1.169 | 1.044 | 68246 | 27088163 | Peak |  | Summer Peak
2015-02-01 | 58348 | 25930860 | 1.055 | 0.852 | 61557 | 22093093 | 68246 | January | 64328 | August
2015-03-01 | 58320 | 25916719 | 0.861 | 0.892 | 50214 | 23117713
2015-04-01 | 58288 | 25901063 | 0.785 | 0.803 | 45756 | 20798554 | Actual Peak |  | Actual Summer Peak
2015-05-01 | 58257 | 25885913 | 0.981 | 1 | 57150 | 25885913 | 2015-01-01 | 74944 | 2015-06-01 | 66721
2015-06-01 | 58226 | 25870257 | 1.083 | 1.113 | 63059 | 28793596
2015-07-01 | 58195 | 25855106 | 1.098 | 1.185 | 63898 | 30638301
2015-08-01 | 58163 | 25839450 | 1.106 | 1.198 | 64328 | 30955661
2015-09-01 | 58132 | 25823795 | 1.058 | 1.063 | 61504 | 27450694
2015-10-01 | 58101 | 25808644 | 0.891 | 0.892 | 51768 | 23021310
2015-11-01 | 58069 | 25792988 | 0.976 | 0.908 | 56675 | 23420033
2015-12-01 | 58039 | 25777838 | 0.969 | 0.974 | 56240 | 25107614
2015 Sum: | 854298 | 320311365 | n/a | n/a | 838712 | 306949115