## Schedule_8
DUKE ENERGY FLORIDA
SCHEDULE 8
PLANNED AND PROSPECTIVE GENERATING FACILITY ADDITIONS AND CHANGES
AS OF JANUARY 1, 2019 THROUGH DECEMBER 31, 2043
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16)
FIRM
[8 empty] | CONST. | COM'L IN- | EXPECTED | GEN. MAX. | NET CAPABILITY
| UNIT | LOCATION | UNIT | FUEL |  | FUEL TRANSPORT |  | START | SERVICE | RETIREMENT | NAMEPLATE | SUMMER | WINTER
PLANT NAME | NO. | (COUNTY) | TYPE | PRI. | ALT. | PRI. | ALT. | MO. / YR | MO. / YR | MO. / YR | KW | MW | MW | STATUSa | NOTESb
ST PETERSBURG PIER | 1 | PINELLAS | PV | SO |  |  |  | 2019-01-01 | 2019-12-01 |  | 350 | 0.1575 | 0 | P | (1) and (2)
TRENTON | 1 | GILCHRIST | PV | SO |  |  |  | 2019-04-01 | 2019-12-01 |  | 74900 | 42.693 | 0 | P | (1)
LAKE PLACID | 1 | HIGHLANDS | PV | SO |  |  |  | 2019-05-01 | 2019-12-01 |  | 45000 | 25.65 | 0 | P | (1)
DEBARY | 1 | VOLUSIA | PV | SO |  |  |  | 2019-07-01 | 2020-03-01 |  | 74500 | 33.525 | 0 | P | (1) | Update to 79.5 MW was done later
COLUMBIA | 1 | COLUMBIA | PV | SO |  |  |  | 2019-08-01 | 2020-03-01 |  | 74900 | 42.693 | 0 | P | (1)
UNKNOWN | 1 | UNKNOWN | PV | SO |  |  |  | 2020-04-01 | 2020-12-01 |  | 74900 | 42.693 | 0 | P | (1)
UNKNOWN | 1 | UNKNOWN | PV | SO |  |  |  | 2020-04-01 | 2020-12-01 |  | 74900 | 42.693 | 0 | P | (1)
AVON PARK | P 1 | HIGHLANDS | GT | NG | DFO | PL | TK |  |  | 2020-06-01 |  | -24 | -25 | RT | (1)
AVON PARK | P 2 | HIGHLANDS | CT | DFO |  | TK |  |  |  | 2020-06-01 |  | -24 | -25 | RT | (1)
HIGGINS | P 1-4 | PINELLAS | GT | NG | DFO | PL | TK |  |  | 2020-06-01 |  | 0 | 0 | RT | (3)
UNKNOWN | 1 | UNKNOWN | PV | SO |  |  |  | 2021-04-01 | 2021-12-01 |  | 74900 | 42.693 | 0 | P | (1)
UNKNOWN | 1 | UNKNOWN | PV | SO |  |  |  | 2021-04-01 | 2021-12-01 |  | 74900 | 42.693 | 0 | P | (1)
UNKNOWN | 1 | UNKNOWN | PV | SO |  |  |  | 2021-04-01 | 2021-12-01 |  | 55000 | 31.35 | 0 | P | (1)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -0.97534 |  |  | (4)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.3974 |  |  | (4)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.9741 |  |  | (4)
OSPREY CC | 1 | POLK | CC | NG | DFO | PL | TK |  | 2024-05-01 |  |  | 336.6 | 354.6 | P | (5)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.9642 |  |  | (4)
BAYBORO | P1 - P4 | PINELLAS | CT | DFO |  | WA |  |  |  | 12/2025 |  | -171 | -238 | RT
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.9544 |  |  | (4)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.9446 |  |  | (4)
DEBARY | P2 - P6 | VOLUSIA | CT | DFO |  | TK |  |  |  | 06/2027 |  | -249 | -324 | RT
BARTOW | P1, P3 | PINELLAS | CT | DFO |  | WA |  |  |  | 06/2027 |  | -82 | -105 | RT
UNKNOWN | P 1 | UNKNOWN | GT | NG | DFO | PL | TK | 2025-01-01 | 2027-06-01 |  | 229400 | 218.4 | 233.3 | P | (1)
UNKNOWN | P 2 | UNKNOWN | GT | NG | DFO | PL | TK | 2025-01-01 | 2027-06-01 |  | 229400 | 218.4 | 233.3 | P | (1)
UNKNOWN | P 3 | UNKNOWN | GT | NG | DFO | PL | TK | 2025-01-01 | 2027-06-01 |  | 229400 | 218.4 | 233.3 | P | (1)
UNKNOWN | P 4 | UNKNOWN | GT | NG | DFO | PL | TK | 2025-01-01 | 2027-06-01 |  | 229400 | 218.4 | 233.3 | P | (1)
UNKNOWN | P 5 | UNKNOWN | GT | NG | DFO | PL | TK | 2025-01-01 | 2027-06-01 |  | 229400 | 218.4 | 233.3 | P | (1)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.9349 |  |  | (4)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.9252 |  |  | (4)
UNIT RETIREMENTS | [9 empty] | 6/2029 |  | -1003 | -1025 | RT
UNKNOWN | 1 | UNKNOWN | CC | NG | DFO | PL | TK | 2026-01-01 | 2029-06-01 |  | 1335000 | 1240.6 | 1366 | P | (1)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.9156 |  |  | (4)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.906 |  |  | (4)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.8965 |  |  | (4)
UNKNOWN | P 6 | UNKNOWN | GT | NG | DFO | PL | TK | 2030-01-01 | 2032-06-01 |  | 229400 | 218.4 | 233.3 | P | (1)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.887 |  |  | (4)
UNKNOWN | P 7 | UNKNOWN | GT | NG | DFO | PL | TK | 2031-01-01 | 2033-06-01 |  | 229400 | 218.4 | 233.3 | P | (1)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.8776 |  |  | (4)
UNIT RETIREMENTS | [9 empty] | 06/2034 |  | -512 | -700 | RT
UNKNOWN | P 8 | UNKNOWN | GT | NG | DFO | PL | TK | 2032-01-01 | 2034-06-01 |  | 229400 | 218.4 | 233.3 | P | (1)
UNKNOWN | P 9 | UNKNOWN | GT | NG | DFO | PL | TK | 2032-01-01 | 2034-06-01 |  | 229400 | 218.4 | 233.3 | P | (1)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.8682 |  |  | (4)
UNIT RETIREMENTS | [8 empty] | 06/2035 |  |  | -1422 | -1442 | RT
UNKNOWN | 2 | UNKNOWN | CC | NG | DFO | PL | TK | 2032-01-01 | 2035-06-01 |  | 1335000 | 1240.6 | 1366 | P | (1)
UNKNOWN | P 10 | UNKNOWN | GT | NG | DFO | PL | TK | 2033-01-01 | 2035-06-01 |  | 229400 | 218.4 | 233.3 | P
UNKNOWN | P 11 | UNKNOWN | GT | NG | DFO | PL | TK | 2033-01-01 | 2035-06-01 |  | 229400 | 218.4 | 233.3 | P
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.8588 |  |  | (4)
UNIT RETIREMENTS | [9 empty] | 06/2036 |  | -312 | -388 | RT
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.8495 |  |  | (4)
UNKNOWN | P 12 | UNKNOWN | GT | NG | DFO | PL | TK | 2035-01-01 | 2037-06-01 |  | 229400 | 218.4 | 233.3 | P | (1)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.8403 |  |  | (4)
UNIT RETIREMENTS | [9 empty] | 2038-06-01 |  | -314 | -383 | RT | (1)
UNKNOWN | P 13 | UNKNOWN | GT | NG | DFO | PL | TK | 2036-01-01 | 2038-06-01 |  | 229400 | 218.4 | 233.3 | P | (1)
UNKNOWN | P 14 | UNKNOWN | GT | NG | DFO | PL | TK | 2036-01-01 | 2038-06-01 |  | 229400 | 218.4 | 233.3 | P
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.8311 |  |  | (4)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.8219 |  |  | (4)
UNKNOWN | P 15 | UNKNOWN | GT | NG | DFO | PL | TK | 2038-01-01 | 2040-06-01 |  | 229400 | 218.4 | 233.3 | P | (1)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.8128 |  |  | (4)
UNKNOWN | P 16 | UNKNOWN | GT | NG | DFO | PL | TK | 2039-01-01 | 2041-06-01 |  | 229400 | 218.4 | 233.3 | P | (1)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.8038 |  |  | (4)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.7948 |  |  | (4)
UNKNOWN | P 17 | UNKNOWN | GT | NG | DFO | PL | TK | 2041-01-01 | 2043-06-01 |  | 229400 | 218.4 | 233.3 | P | (1)
SOLAR DEGRADATION | N/A | N/A | N/A | N/A |  | N/A |  | N/A | N/A | N/A | N/A | -1.7858 |  |  | (4)
a. See page v. for Code Legend of Future Generating Unit Status.
b. NOTES
| (1) | Planned, Prospective, or Committed project.
| (2) | St Petersburg Pier Firm Capacity is 0.16 Mw for the Summer and 0 for the Winter
| (3) | Higgins P1 20 MW, P2 25 MW, P3 31 MW & P4 31 MW (Summer MW) is non-frim capacity and shown as 0 MW each due to non-firm fuel source.
Higgins P1 20 MW, P2 25 MW, P3 36 MW & P4 38 MW (Winter MW) is non-frim capacity and shown as 0 MW each due to non-firm fuel source.
| (4) | Solar capacity degrades by 0.5% every year
| (5) | Osprey CC Acquisition total capacity is available once Transmission Upgrades are in service, total Summer capacity goes up to 582MW and total Winter capacity goes up to 600MW

## Solar_Capacity
Capacity after degradation |  | Degradation | 0.5% | 2016-08-01 | 2017-08-01 | 2018-08-01 | 2019-08-01 | 2020-08-01 | 2021-08-01 | 2022-08-01 | 2023-08-01 | 2024-08-01 | 2025-08-01 | 2026-08-01 | 2027-08-01 | 2028-08-01 | 2029-08-01 | 2030-08-01 | 2031-08-01 | 2032-08-01 | 2033-08-01 | 2034-08-01 | 8/1/2035. | 2036-08-01 | 2037-08-01 | 2038-08-01 | 2039-08-01 | 2040-08-01 | 2041-08-01 | 2042-08-01 | 2043-08-01
Osceola | 3.8 | 1.71 | 2016-05-12 | 1.71 | 1.7014 | 1.6929 | 1.6845 | 1.6761 | 1.6677 | 1.6593 | 1.651 | 1.6428 | 1.6346 | 1.6264 | 1.6183 | 1.6102 | 1.6021 | 1.5941 | 1.5861 | 1.5782 | 1.5703 | 1.5625 | 1.5547 | 1.5469 | 1.5391 | 1.5315 | 1.5238 | 1.5162 | 1.5086 | 1.5011 | 1.4935
Perry | 5 | 2.25 | 2016-08-22 | 2.25 | 2.2388 | 2.2276 | 2.2164 | 2.2053 | 2.1943 | 2.1833 | 2.1724 | 2.1616 | 2.1508 | 2.14 | 2.1293 | 2.1187 | 2.1081 | 2.0975 | 2.087 | 2.0766 | 2.0662 | 2.0559 | 2.0456 | 2.0354 | 2.0252 | 2.0151 | 2.005 | 1.995 | 1.985 | 1.9751 | 1.9652
Suwannee | 8.8 | 3.96 | 2017-11-21 |  |  | 3.96 | 3.9402 | 3.9205 | 3.9009 | 3.8814 | 3.862 | 3.8427 | 3.8235 | 3.8043 | 3.7853 | 3.7664 | 3.7476 | 3.7288 | 3.7102 | 3.6916 | 3.6732 | 3.6548 | 3.6365 | 3.6184 | 3.6003 | 3.5823 | 3.5643 | 3.5465 | 3.5288 | 3.5111 | 3.4936
SOLAR DEGRADATION |  |  |  | 2017-08-01: -0.0198; 2018-08-01: -0.019701; 2019-08-01: -0.039402
HAMILTON | 74.9 | 42.693 | 2018-12-01 |  |  |  | 42.693 | 42.4795 | 42.2671 | 42.0558 | 41.8455 | 41.6363 | 41.4281 | 41.221 | 41.0149 | 40.8098 | 40.6057 | 40.4027 | 40.2007 | 39.9997 | 39.7997 | 39.6007 | 39.4027 | 39.2057 | 39.0097 | 38.8146 | 38.6205 | 38.4274 | 38.2353 | 38.0441 | 37.8539
SOLAR DEGRADATION |  |  |  | 2020-08-01: -0.25267
ST PETERSBURG PIER | 0.5 | 0.225 | 2019-12-01 |  |  |  |  | 0.225 | 0.22387 | 0.22276 | 0.22164 | 0.22053 | 0.21943 | 0.21833 | 0.21724 | 0.21616 | 0.21508 | 0.214 | 0.21293 | 0.21187 | 0.21081 | 0.20975 | 0.2087 | 0.20766 | 0.20662 | 0.20559 | 0.20456 | 0.20354 | 0.20252 | 0.20151 | 0.2005
TRENTON | 74.9 | 42.693 | 2019-12-01 |  |  |  |  | 42.693 | 42.4795 | 42.2671 | 42.0558 | 41.8455 | 41.6363 | 41.4281 | 41.221 | 41.0149 | 40.8098 | 40.6057 | 40.4027 | 40.2007 | 39.9997 | 39.7997 | 39.6007 | 39.4027 | 39.2057 | 39.0097 | 38.8146 | 38.6205 | 38.4274 | 38.2353 | 38.0441
LAKE PLACID | 45 | 25.65 | 2019-12-01 |  |  |  |  | 25.65 | 25.5217 | 25.3941 | 25.2672 | 25.1408 | 25.0151 | 24.8901 | 24.7656 | 24.6418 | 24.5186 | 24.396 | 24.274 | 24.1526 | 24.0319 | 23.9117 | 23.7921 | 23.6732 | 23.5548 | 23.437 | 23.3199 | 23.2033 | 23.0872 | 22.9718 | 22.8569
SOLAR DEGRADATION |  |  |  | 2021-08-01: -0.97534
COLUMBIA | 74.9 | 42.693 | 2020-03-01 |  |  |  |  | 42.693 | 42.4795 | 42.2671 | 42.0558 | 41.8455 | 41.6363 | 41.4281 | 41.221 | 41.0149 | 40.8098 | 40.6057 | 40.4027 | 40.2007 | 39.9997 | 39.7997 | 39.6007 | 39.4027 | 39.2057 | 39.0097 | 38.8146 | 38.6205 | 38.4274 | 38.2353 | 38.0441
DEBARY | 74.5 | 33.525 | 2020-03-01 |  |  |  |  | 33.525 | 33.3574 | 33.1906 | 33.0246 | 32.8595 | 32.6952 | 32.5317 | 32.3691 | 32.2072 | 32.0462 | 31.886 | 31.7265 | 31.5679 | 31.4101 | 31.253 | 31.0967 | 30.9413 | 30.7866 | 30.6326 | 30.4795 | 30.3271 | 30.1754 | 30.0246 | 29.8744
UNKNOWN | 74.9 | 42.693 | 2020-12-01 | [5 empty] | 42.693 | 42.4795 | 42.2671 | 42.0558 | 41.8455 | 41.6363 | 41.4281 | 41.221 | 41.0149 | 40.8098 | 40.6057 | 40.4027 | 40.2007 | 39.9997 | 39.7997 | 39.6007 | 39.4027 | 39.2057 | 39.0097 | 38.8146 | 38.6205 | 38.4274 | 38.2353
UNKNOWN | 74.9 | 42.693 | 2020-12-01 | [5 empty] | 42.693 | 42.4795 | 42.2671 | 42.0558 | 41.8455 | 41.6363 | 41.4281 | 41.221 | 41.0149 | 40.8098 | 40.6057 | 40.4027 | 40.2007 | 39.9997 | 39.7997 | 39.6007 | 39.4027 | 39.2057 | 39.0097 | 38.8146 | 38.6205 | 38.4274 | 38.2353
SOLAR DEGRADATION | N/A |  | N/A | 2022-08-01: -1.3974
UNKNOWN | 74.9 | 42.693 | 2021-12-01 | [6 empty] | 42.693 | 42.4795 | 42.2671 | 42.0558 | 41.8455 | 41.6363 | 41.4281 | 41.221 | 41.0149 | 40.8098 | 40.6057 | 40.4027 | 40.2007 | 39.9997 | 39.7997 | 39.6007 | 39.4027 | 39.2057 | 39.0097 | 38.8146 | 38.6205 | 38.4274
UNKNOWN | 74.9 | 42.693 | 2021-12-01 | [6 empty] | 42.693 | 42.4795 | 42.2671 | 42.0558 | 41.8455 | 41.6363 | 41.4281 | 41.221 | 41.0149 | 40.8098 | 40.6057 | 40.4027 | 40.2007 | 39.9997 | 39.7997 | 39.6007 | 39.4027 | 39.2057 | 39.0097 | 38.8146 | 38.6205 | 38.4274
UNKNOWN | 55 | 31.35 | 2021-12-01 | [6 empty] | 31.35 | 31.1932 | 31.0373 | 30.8821 | 30.7277 | 30.574 | 30.4212 | 30.2691 | 30.1177 | 29.9671 | 29.8173 | 29.6682 | 29.5199 | 29.3723 | 29.2254 | 29.0793 | 28.9339 | 28.7892 | 28.6453 | 28.502 | 28.3595 | 28.2177
SOLAR DEGRADATION | N/A |  | N/A
SOLAR DEGRADATION | N/A |  | N/A | 2023-08-01: -1.9741
SOLAR DEGRADATION | N/A |  | N/A | 2024-08-01: -1.9642
SOLAR DEGRADATION | N/A |  | N/A | 2025-08-01: -1.9544
SOLAR DEGRADATION | N/A |  | N/A | 2026-08-01: -1.9446
SOLAR DEGRADATION | N/A |  | N/A | 2027-08-01: -1.9349
SOLAR DEGRADATION | N/A |  | N/A | 2028-08-01: -1.9252; 2029-08-01: -1.9156; 2030-08-01: -1.906; 2031-08-01: -1.8965; 2032-08-01: -1.887; 2033-08-01: -1.8776; 2034-08-01: -1.8682 | -1.8588 | -1.8495 | -1.8403 | -1.8311 | -1.8219 | -1.8128 | -1.8038 | -1.7948 | -1.7858

## Solar_Degradation
Capacity after degradation |  | Degradation | 0.5% | 2016-08-01 | 2017-08-01 | 2018-08-01 | 2019-08-01 | 2020-08-01 | 2021-08-01 | 2022-08-01 | 2023-08-01 | 2024-08-01 | 2025-08-01 | 2026-08-01 | 2027-08-01 | 2028-08-01
Osceola | 3.8 | 1.71 | 2016-05-12 |  | -0.00855 | -0.0085073 | -0.0084647 | -0.0084224 | -0.0083803 | -0.0083384 | -0.0082967 | -0.0082552 | -0.0082139 | -0.0081729 | -0.008132 | -0.0080913
Perry | 5 | 2.25 | 2016-08-22 |  | -0.01125 | -0.011194 | -0.011138 | -0.011082 | -0.011027 | -0.010972 | -0.010917 | -0.010862 | -0.010808 | -0.010754 | -0.0107 | -0.010646
Suwannee | 8.8 | 3.96 | 2017-11-21 |  |  |  | -0.0198 | -0.019701 | -0.019602 | -0.019504 | -0.019407 | -0.01931 | -0.019213 | -0.019117 | -0.019022 | -0.018927
SOLAR DEGRADATION |  |  |  | 2017-08-01: -0.0198; 2018-08-01: -0.019701; 2019-08-01: -0.039402
HAMILTON | 74.9 | 42.693 | 2018-12-01 |  |  |  |  | -0.21346 | -0.2124 | -0.21134 | -0.21028 | -0.20923 | -0.20818 | -0.20714 | -0.2061 | -0.20507
SOLAR DEGRADATION |  |  |  | 2020-08-01: -0.25267
ST PETERSBURG PIER | 0.5 | 0.225 | 2019-12-01 | [5 empty] | -0.001125 | -0.0011194 | -0.0011138 | -0.0011082 | -0.0011027 | -0.0010972 | -0.0010917 | -0.0010862
TRENTON | 74.9 | 42.693 | 2019-12-01 | [5 empty] | -0.21346 | -0.2124 | -0.21134 | -0.21028 | -0.20923 | -0.20818 | -0.20714 | -0.2061
LAKE PLACID | 45 | 25.65 | 2019-12-01 | [5 empty] | -0.12825 | -0.12761 | -0.12697 | -0.12634 | -0.1257 | -0.12508 | -0.12445 | -0.12383
SOLAR DEGRADATION |  |  |  | 2021-08-01: -0.97534
COLUMBIA | 74.9 | 42.693 | 2020-03-01 | [5 empty] | -0.21346 | -0.2124 | -0.21134 | -0.21028 | -0.20923 | -0.20818 | -0.20714 | -0.2061
DEBARY | 74.5 | 33.525 | 2020-03-01 | [5 empty] | -0.16763 | -0.16679 | -0.16595 | -0.16512 | -0.1643 | -0.16348 | -0.16266 | -0.16185
UNKNOWN | 74.9 | 42.693 | 2020-12-01 | 2022-08-01: -0.21346; 2023-08-01: -0.2124; 2024-08-01: -0.21134; 2025-08-01: -0.21028; 2026-08-01: -0.20923; 2027-08-01: -0.20818; 2028-08-01: -0.20714
UNKNOWN | 74.9 | 42.693 | 2020-12-01 | 2022-08-01: -0.21346; 2023-08-01: -0.2124; 2024-08-01: -0.21134; 2025-08-01: -0.21028; 2026-08-01: -0.20923; 2027-08-01: -0.20818; 2028-08-01: -0.20714
SOLAR DEGRADATION | N/A |  | N/A | 2022-08-01: -1.3974
UNKNOWN | 74.9 | 42.693 | 2021-12-01 | 2023-08-01: -0.21346; 2024-08-01: -0.2124; 2025-08-01: -0.21134; 2026-08-01: -0.21028; 2027-08-01: -0.20923; 2028-08-01: -0.20818
UNKNOWN | 74.9 | 42.693 | 2021-12-01 | 2023-08-01: -0.21346; 2024-08-01: -0.2124; 2025-08-01: -0.21134; 2026-08-01: -0.21028; 2027-08-01: -0.20923; 2028-08-01: -0.20818
UNKNOWN | 55 | 31.35 | 2021-12-01 | 2023-08-01: -0.15675; 2024-08-01: -0.15597; 2025-08-01: -0.15519; 2026-08-01: -0.15441; 2027-08-01: -0.15364; 2028-08-01: -0.15287
SOLAR DEGRADATION | N/A |  | N/A
SOLAR DEGRADATION | N/A |  | N/A | 2023-08-01: -1.9741
SOLAR DEGRADATION | N/A |  | N/A | 2024-08-01: -1.9642
SOLAR DEGRADATION | N/A |  | N/A | 2025-08-01: -1.9544
SOLAR DEGRADATION | N/A |  | N/A | 2026-08-01: -1.9446
SOLAR DEGRADATION | N/A |  | N/A | 2027-08-01: -1.9349
SOLAR DEGRADATION | N/A |  | N/A | 2028-08-01: -1.9252
698.8