## Fuel
Fuel Values from Table 1 Provided by Resource Planning
|  | REDUCED KWH | REPLACE. | Carbon
| UTIL AVG | PROGRAM | FUEL COST
| SYS. FUEL | MARGINAL | OF AVOIDED
| ADJ. COST | FUEL COST | GENERATOR |  |  |  | System average $/MWh |  | Total marginal $/MWh |  | Replacement fuel average system $/MWh (Future Total $/MWh
| (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) |  |  | Conversion to cents per kWh and copy and paste |  | Conversion to cents per kWh and copy and paste |  | Conversion to cents per kWh and copy and paste
2020 | 2.4346 | 2.9007 | 2.8789 | 0 | Change first year to base year | 2020 | 24.3461 | 2.4346 | 29.0071 | 2.9007 | 28.7892 | 2.8789
2021 | 2.5505 | 2.8771 | 3.0378 | 0 |  |  | 25.5048 | 2.5505 | 28.7712 | 2.8771 | 30.3778 | 3.0378
2022 | 2.6444 | 2.9694 | 3.1562 | 0 |  |  | 26.4443 | 2.6444 | 29.6938 | 2.9694 | 31.5623 | 3.1562
2023 | 2.6228 | 3.0912 | 3.1726 | 0 |  |  | 26.2275 | 2.6228 | 30.9119 | 3.0912 | 31.7263 | 3.1726
2024 | 2.7715 | 3.2127 | 3.3146 | 0 |  |  | 27.7152 | 2.7715 | 32.1266 | 3.2127 | 33.1455 | 3.3146
2025 | 2.9306 | 3.4494 | 3.4459 | 0 |  |  | 29.306 | 2.9306 | 34.4943 | 3.4494 | 34.459 | 3.4459
2026 | 3.0631 | 3.5601 | 3.5576 | 0 |  |  | 30.631 | 3.0631 | 35.6007 | 3.5601 | 35.5755 | 3.5576
2027 | 3.2435 | 3.7826 | 3.7168 | 0 |  |  | 32.4346 | 3.2435 | 37.8256 | 3.7826 | 37.1679 | 3.7168
2028 | 3.5506 | 4.1915 | 4.0002 | 0 |  |  | 35.506 | 3.5506 | 41.9151 | 4.1915 | 40.0025 | 4.0002
2029 | 3.7315 | 4.4906 | 4.1758 | 0 |  |  | 37.315 | 3.7315 | 44.9064 | 4.4906 | 41.758 | 4.1758
2030 | 4.0657 | 5.0158 | 4.4863 | 0 |  |  | 40.6566 | 4.0657 | 50.158 | 5.0158 | 44.8628 | 4.4863
2031 | 4.2058 | 4.9971 | 4.5978 | 0 |  |  | 42.0581 | 4.2058 | 49.9714 | 4.9971 | 45.9784 | 4.5978
2032 | 4.5059 | 5.4614 | 4.8738 | 0 |  |  | 45.059 | 4.5059 | 54.6141 | 5.4614 | 48.7376 | 4.8738
2033 | 4.6004 | 5.8241 | 4.9849 | 0 |  |  | 46.0041 | 4.6004 | 58.241 | 5.8241 | 49.8492 | 4.9849
2034 | 4.9042 | 6.0953 | 5.3066 | 0 |  |  | 49.0425 | 4.9042 | 60.9529 | 6.0953 | 53.0658 | 5.3066
2035 | 5.1129 | 6.713 | 5.51 | 0 |  |  | 51.1291 | 5.1129 | 67.1303 | 6.713 | 55.1005 | 5.51
2036 | 5.2848 | 6.6305 | 5.6211 | 0 |  |  | 52.8477 | 5.2848 | 66.3047 | 6.6305 | 56.2114 | 5.6211
2037 | 5.5808 | 7.0768 | 5.9258 | 0 |  |  | 55.8078 | 5.5808 | 70.768 | 7.0768 | 59.258 | 5.9258
2038 | 5.7122 | 7.1036 | 6.0486 | 0 |  |  | 57.122 | 5.7122 | 71.036 | 7.1036 | 60.4856 | 6.0486
2039 | 5.9311 | 7.111 | 6.3 | 0 |  |  | 59.3114 | 5.9311 | 71.1096 | 7.111 | 62.9999 | 6.3
2040 | 5.9994 | 7.6517 | 6.2928 | 0 |  |  | 59.9936 | 5.9994 | 76.5172 | 7.6517 | 62.9279 | 6.2928
2041 | 6.2973 | 7.8807 | 6.6911 | 0 |  |  | 62.9728 | 6.2973 | 78.8067 | 7.8807 | 66.9109 | 6.6911
2042 | 6.5926 | 8.4253 | 7.0452 | 0 |  |  | 65.9265 | 6.5926 | 84.2527 | 8.4253 | 70.4523 | 7.0452
2043 | 6.7828 | 8.6253 | 7.3416 | 0 |  |  | 67.828 | 6.7828 | 86.2527 | 8.6253 | 73.4159 | 7.3416
2044 | 6.683 | 8.2933 | 7.2669 | 0 |  |  | 66.8298 | 6.683 | 82.9329 | 8.2933 | 72.6692 | 7.2669
2045 | 6.9426 | 8.6795 | 7.4645 | 0 |  |  | 69.4259 | 6.9426 | 86.7946 | 8.6795 | 74.6447 | 7.4645
2046 | 7.185 | 8.825 | 7.687 | 0 |  |  | 71.8501 | 7.185 | 88.2504 | 8.825 | 76.8699 | 7.687
2047 | 7.1737 | 8.9505 | 7.6738 | 0 |  |  | 71.7367 | 7.1737 | 89.5052 | 8.9505 | 76.7381 | 7.6738
2048 | 7.174 | 8.951 | 7.674 | 0 |  |  | 71.74 | 7.174 | 89.51 | 8.951 | 76.74 | 7.674
2049 | 7.174 | 8.951 | 7.674 | 0 |  |  | 71.74 | 7.174 | 89.51 | 8.951 | 76.74 | 7.674
2050 | 0 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0
2054 | 0 | 0 | 0 | 0
2055 | 0 | 0 | 0 | 0
2056 | 0 | 0 | 0 | 0
2057 | 0 | 0 | 0 | 0
2058 | 0 | 0 | 0 | 0

## Spending Curve
[7 empty] | ACCUM. | BOOK
|  | Spending Curve |  | CONSTR. |  | ACCUM. | CONSTR. | VALUE
|  |  | YEAR | EXPEND. | AFUDC | AFUDC | EXPEND. | NOT CLOSED
|  | 19.51% | 2020 | 25757 | 832 | 832 | 25757 | 26589
|  | 55.94% | 2021 | 73851 | 4049 | 4881 | 99608 | 77900
|  | 24.55% | 2022 | 32410 | 7482 | 12363 | 132018 | 39892
|  |  | 2023 | 0 | 0 | 0 | 0 | 0
| Check | 100% |  |  |  | 12363 | 132018 | 144381
|  | Year 1 | 0.1951 | 109.2942 | 3.6332 |  |  | 112.8246
|  | Year 2 | 0.5594 | 313.3706 | 17.6812 |  |  | 330.5516
|  | Year 3 | 0.2455 | 137.5248 | 32.6725 |  |  | 169.273
|  | Year 4 |  | 0 | 0 |  |  | 0
|  |  |  | 560.1895 |  |  |  | 612.6492
Spending for Avoided Unit Tab on replacement fuel (from Resource Planning)
7FA.05 CT
Three years construction for 2023 unit
| 7FA.05 CT | 2020 | 2021 | 2022 |  |  | Winter Capacity |  | 245000
| 1st year | 832 | 0 | 0 |  | Check | Summer Capacity |  | 229000
| 2nd year | 0 | 4049 | 0 |  |  | Average Capacity |  | 235666.6667 | uses 7 by 5 for summer winter methodology
| 3rd year | 0 | 0 | 7482 | [5 empty] | Check formula if 7x5 changes
| 4th year | 0 | 0 | 0
| 5th year | 0 | 0 | 0
| 6th year | 0 | 0 | 0
| 7th year | 0 | 0 | 0 | [5 empty] | Feed F11B
| 8th year | 0 | 0 | 0 | Cummulative AFUDC
| Total AFUDC | 832 | 4049 | 7482 | 12363 |  |  | Check
| 7FA.05 CT | 2020 | 2021 | 2022
| 1st year | 25757 | 0 | 0
| 2nd year | 0 | 73851 | 0
| 3rd year | 0 | 0 | 32410
| 4th year | 0 | 0 | 0 | Check
| 5th year | 0 | 0 | 0
| 6th year | 0 | 0 | 0
| 7th year | 0 | 0 | 0
| 8th year | 0 | 0 | 0 | Cummulative Cap Ex
| Total Cap Ex | 25757 | 73851 | 32410 | 132018
144381
Total

## T&D Costs
Inflation Rate | 2.8%
| Data Provided | Base Year
| 2020 | 2020
Avoided Transmission Cost | 11.24 | 34.9
Avoided Distribution Cost | 54.63 | 82.37
O&M Escalation rate | 2.4% | 2020
Transmission Fixed O&M Costs |  | 2.78
Distribution Fixed O&M Costs |  | 11.34

## EUE_Line Losses
EUE
Summer | 79.59%
Winter | 20.41%
Line Losses
Gen KW
| Residential | Commercial
kW | 7.3 | 7
kWh | 5.6 | 5.2
Residential
Forced Outage Rate | 0.034 | 0.966
Line Loss | 7.3% | 0.927
Multiplier | 0.89548
Commercial
Forced Outage Rate | 0.034 | 0.966
Line Loss | 7% | 0.93
Multiplier | 0.89838
0.013675 | Residential
0.013631 | Commercial

## Revenue Requirements
Generation
| Comb. Cycle | Tran & Dist
| Rev Reqm't | Rev Reqm't | See Column N (K Factor Test)
| K FACTORS | K FACTORS
2023 | 0.13759 | 0.13759
2024 | 0.13353 | 0.13353
2025 | 0.12904 | 0.12904
2026 | 0.12477 | 0.12477
2027 | 0.12069 | 0.12069
2028 | 0.11679 | 0.11679
2029 | 0.11301 | 0.11301
2030 | 0.10927 | 0.10927
2031 | 0.10552 | 0.10552
2032 | 0.10178 | 0.10178
2033 | 0.098037 | 0.098037
2034 | 0.094294 | 0.094294
2035 | 0.090552 | 0.090552
2036 | 0.086809 | 0.086809
2037 | 0.083066 | 0.083066
2038 | 0.079674 | 0.079674
2039 | 0.076986 | 0.076986
2040 | 0.074649 | 0.074649
2041 | 0.072311 | 0.072311
2042 | 0.069974 | 0.069974
2043 | 0.067637 | 0.067637
2044 | 0.0653 | 0.0653
2045 | 0.062963 | 0.062963
2046 | 0.060625 | 0.060625
2047 | 0.058288 | 0.058288
2048 | 0.055951 | 0.055951
2049 | 0 | 0
2050 | 0 | 0
2051 | 0 | 0
2052 | 0 | 0
2053 | 0 | 0

## Title Results Update
ECONOMIC LIFE & K FACTORS
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS
II. | (4) K FACTOR FOR GENERATION | 1.5213
II. | (5) K FACTOR FOR T & D | 1.5213
UTILITY & CUSTOMER COSTS
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | %
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.3 | %
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.3 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0708
III. | (13)* UTILITY AFUDC RATE | 0.0646
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | %
AVOIDED GENERATOR, TRANS. & DIST COSTS
IV. | (1) BASE YEAR | 2020
IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2023
IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2021
IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 526.3 | $/KW
IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 34.9 | $/KW
IV. | (6) BASE YEAR AVOIDED DISTRIBUTION COST | 82.37 | $/KW
IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 2.4 | %
IV. | (8) GENERATOR FIXED O & M COST | 5.83 | $/KW/YR
IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | %
IV. | (10) TRANSMISSION FIXED O & M COST | 2.78 | $/KW/YR
IV. | (11) DISTRIBUTION FIXED O & M COST | 11.34 | $/KW/YR
IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.21 | CENTS/KWH | 0.2
IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
IV. | (15) GENERATOR CAPACITY FACTOR | 9.1 | % | See Table1 - column j
IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 3.75 | CENTS/KWH
IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 4.54 | % | See Table1
IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %

## Rates
|  |  | Energy | Demand
|  | Residential | Commercial GSD Secondary kWh | Commercial GSD Secondary kW
| Base Rate | 5.3583 | 1.596 | 0
| Demand Charge | 0 | 0 | 10.59
| Fuel | 0 | 0 | 0
| ECCR | 0.271 | 0 | 0.96
| Capacity | 0.085 | 0 | 0.32
| ECRC | 0.222 | 0.222 | 0
Energy | 1.818 | 5.9363 | 1.818 | 10.0895
Demand | 10.0895

## Input
Answer questions 1 thru 16 to complete evaluation. Press RUN for results. (See Title & Results). |  |  |  | Do Not Print this page
1 | Program Title | ECM Motors on Furnaces
2 | Demand & Energy Savings
| Winter kW | 0.06
| Summer kW | 0
| kWh | 1139.58
3 | Switch (1=Conservation, 0=Load Management) | 1
4 | Switch (1=Residential, 0=Commercial) | 0 |  |  | avoided unit comes online in 2020
ADJUSTED
5 | Participation | Annual |  |  |  |  | Cumulative | CUMULATIVE
|  | Total Partic. |  |  |  |  | Total Partic. | PARTICIPATING
| YEAR | Customers |  |  |  | YEAR | Customers | CUSTOMERS
| 2020 | 1000 |  |  |  | 2020 | 1000 | 1000
| 2021 | 1000 |  |  |  | 2021 | 2000 | 2000
| 2022 | 1000 |  |  |  | 2022 | 3000 | 3000
| 2023 | 0 |  |  |  | 2023 | 3000 | 3000
| 2024 | 0 |  |  |  | 2024 | 3000 | 3000
| 2025 | 0 |  |  |  | 2025 | 3000 | 3000
| 2026 | 0 |  |  |  | 2026 | 3000 | 3000
| 2027 | 0 |  |  |  | 2027 | 3000 | 3000
| 2028 | 0 |  |  |  | 2028 | 3000 | 3000
| 2029 | 0 |  |  |  | 2029 | 3000 | 3000
| 2030 | 0 |  |  |  | 2030 | 3000 | 3000
| 2031 | 0 |  |  |  | 2031 | 3000 | 3000
| 2032 | 0 |  |  |  | 2032 | 3000 | 3000
| 2033 | 0 |  |  |  | 2033 | 3000 | 3000
| 2034 | 0 |  |  |  | 2034 | 3000 | 3000
[6 empty] | 2035 | 3000 | 3000
[6 empty] | 2036 | 3000 | 3000
6 | Free Riders | 0% |  |  |  | 2037 | 3000 | 3000
7 | Study Period for Conservation Program | 15 | Years |  |  | 2038 | 3000 | 3000
8 | Utility Non Recurring Cost Per Customer | 125 | $/CUST |  |  | 2039 | 3000 | 3000
9 | Utility Recurring Cost Per Customer (Load Management) | 0 | $/CUST/YR |  |  | 2040 | 3000 | 3000
10 | Customer Equipment Cost | 287 | $/CUST |  |  | 2041 | 3000 | 3000
11 | Customer O & M Cost | 0 | $/CUST/YR |  |  | 2042 | 3000 | 3000
12 | Customer Tax Credit Per Installation | 0 | $/CUST |  |  | 2043 | 3000 | 3000
13 | Increased Supply Costs | 0 | $/CUST/YR |  |  | 2044 | 3000 | 3000
14 | Utility Non Recurring Rebate/Incentive | 49.6732 | $/CUST |  |  | 2045 | 3000 | 3000
15 | Utility Recurring Rebate/Incentive (Load Management) | 0 | $/CUST/YR
16 | Diversity and Annual Demand | 1
Adjustment Factor for Customer Bill:
See Participation C,D,E,F 73
See Participation F_22 F5,6

## Title_RESULTS
|  | INPUT DATA - PART 1 |  |  |  | PSC FORM CE 1.1
|  | PROGRAM TITLE: | ECM Motors on Furnaces |  |  | PAGE 1 OF 1
[6 empty] | RUN DATE: | 2026-07-29 09:09
| PROGRAM DEMAND SAVINGS & LINE LOSSES |  |  |  | AVOIDED GENERATOR, TRANS. & DIST COSTS
I. | (1) CUSTOMER KW REDUCTION AT THE METER | 0.06 | KW /CUST | IV. | (1) BASE YEAR | 2020
I. | (2) GENERATOR KW REDUCTION PER CUSTOMER | 0.013631 | KW GEN/CUST | IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2023
I. | (3) KW LINE LOSS PERCENTAGE | 7 | % | IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2021
I. | (4) GENERATION KWH REDUCTION PER CUSTOMER | 1202.0886 | KWH/CUST/YR | IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 526.3 | $/KW
I. | (5) KWH LINE LOSS PERCENTAGE | 5.2 | % | IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 34.9 | $/KW
I. | (6) GROUP LINE LOSS MULTIPLIER | 1 |  | IV. | (6) BASE YEAR DISTRIBUTION COST | 82.37 | $/KW
I. | (7) CUSTOMER KWH PROGRAM INCREASE AT METER | 0 | KWH/CUST/YR | IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 2.4 | %
I. | (8)* CUSTOMER KWH REDUCTION AT METER | 1139.58 | KWH/CUST/YR | IV. | (8) GENERATOR FIXED O & M COST | 5.83 | $/KW/YR
|  |  |  | IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | %
| ECONOMIC LIFE & K FACTORS |  |  | IV. | (10) TRANSMISSION FIXED O & M COST | 2.78 | $/KW/YR
II. | (1) STUDY PERIOD FOR CONSERVATION PROGRAM | 15 | YEARS | IV. | (11) DISTRIBUTION FIXED O & M COST | 11.34 | $/KW/YR
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS | IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS | IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.21 | CENTS/KWH
II. | (4) K FACTOR FOR GENERATION | 1.5213 |  | IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
II. | (5) K FACTOR FOR T & D | 1.5213 |  | IV. | (15) GENERATOR CAPACITY FACTOR | 9.1 | %
| (6)* SWITCH REV REQ(0) OR VAL-OF-DEF (1) | 1 |  | IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 3.75 | CENTS/KWH
|  |  |  | IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 4.54 | %
|  |  |  | IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
| UTILITY & CUSTOMER COSTS |  |  | IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %
III. | (1) UTILITY NONRECURRING COST PER CUSTOMER | 125 | $/CUST
III. | (2) UTILITY RECURRING COST PER CUSTOMER | 0 | $/CUST/YR
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | %
III. | (4) CUSTOMER EQUIPMENT COST | 287 | $/CUST |  | NON-FUEL ENERGY AND DEMAND CHARGES
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.3 | % | V. | (1) NON-FUEL COST IN CUSTOMER BILL | 1.818 | CENTS/KWH
III. | (6) CUSTOMER O & M COST | 0 | $/CUST/YR | V. | (2) NON-FUEL ESCALATION RATE | 1 | %
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.3 | % | V. | (3) CUSTOMER DEMAND CHARGE PER KW | 10.0895 | $/KW/MO
III. | (8)* CUSTOMER TAX CREDIT PER INSTALLATION | 0 | $/CUST | V. | (4) DEMAND CHARGE ESCALATION RATE | 1 | %
III. | (9)* CUSTOMER TAX CREDIT ESCALATION RATE | 0 | % | V. | (5)* DIVERSITY and ANNUAL DEMAND ADJUSTMENT
III. | (10)* INCREASED SUPPLY COSTS | 0 | $/CUST/YR |  | FACTOR FOR CUSTOMER BILL | 1
III. | (11)* SUPPLY COSTS ESCALATION RATE | 0 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0708
III. | (13)* UTILITY AFUDC RATE | 0.0646 |  |  | CALCULATED BENEFITS AND COSTS
III. | (14)* UTILITY NON RECURRING REBATE/INCENTIVE | 49.6732 | $/CUST |  | (1)* TRC TEST - BENEFIT/COST RATIO | 1.0594
III. | (15)* UTILITY RECURRING REBATE/INCENTIVE | 0 | $/CUST/YR |  | (2)* PARTICIPANT NET BENEFITS (NPV) | 1006.041
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | % |  | (3)* RIM TEST - BENEFIT/COST RATIO | 1.0103
END OF EDITING AREA
YEARLY INPUT DATA: GO TO H5..Q76 & INPUT (Page 2)
PLEASE NOTE: UTILITY NON-LEVELIZED REVENUE REQUIREMENT
FACTORS AT RANGE NAMES GEN_RRTBL AND TRAN_RRTBL.

## Partcipation
[6 empty] | See N16 for Rev Requirements |  | Do Not Print
PROGRAM TITLE:
2026-07-29 09:09
VI. YEARLY INPUT DATA
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
| CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
| TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 2.8789 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0.44431
2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 3.0378 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0.48729
2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 3.1562 | 1 | 1 | 0 | 0 | 0 | 3.1238 |  | 0.5118
2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 3.1726 | 1 | 1 | 0 | 0 | 0 | 3.28 |  | 0.54987
2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 3.3146 | 1 | 1 | 0 | 0 | 0 | 3.444 |  | 0.54304
2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 3.4459 | 1 | 1 | 0 | 0 | 0 | 3.6162 |  | 0.51531
2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 3.5576 | 1 | 1 | 0 | 0 | 0 | 3.797 |  | 0.49445
2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 3.7168 | 1 | 1 | 0 | 0 | 0 | 3.9869 |  | 0.47333
2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 4.0002 | 1 | 1 | 0 | 0 | 0 | 4.1862 |  | 0.44964
2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 4.1758 | 1 | 1 | 0 | 0 | 0 | 4.3955 |  | 0.4443
2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 4.4863 | 1 | 1 | 0 | 0 | 0 | 4.6153 |  | 0.42062
2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 4.5978 | 1 | 1 | 0 | 0 | 0 | 4.8461 |  | 0.39203
2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 4.8738 | 1 | 1 | 0 | 0 | 0 | 5.0884 |  | 0.36786
2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 4.9849 | 1 | 1 | 0 | 0 | 0 | 5.3428 |  | 0.3845
2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 5.3066 | 1 | 1 | 0 | 0 | 0 | 5.6099 |  | 0.40233
2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 5.51 | 1 | 1 | 0 | 0 | 0 | 5.8904 | 2010 Carbon, not used in 2015 | 0.39714
2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 5.6211 | 1 | 1 | 0 | 0 | 0 | 6.1849 |  | 0.33637
2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 5.9258 | 1 | 1 | 0 | 0 | 0 | 6.4942 |  | 0.34503
2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 6.0486 | 1 | 1 | 0 | 0 | 0 | 6.8189 |  | 0.33636
2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 6.3 | 1 | 1 | 0 | 0 | 0 | 7.1598 |  | 0.36885
2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 6.2928 | 1 | 1 | 0 | 0 | 0 | 7.5178 |  | 0.29344
2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 6.6911 | 1 | 1 | 0 | 0 | 0 | 7.8937 |  | 0.39381
2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 7.0452 | 1 | 1 | 0 | 0 | 0 | 8.2884 |  | 0.45259
2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 7.3416 | 1 | 1 | 0 | 0 | 0 | 8.7028 |  | 0.55879
2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 7.2669 | 1 | 1 | 0 | 0 | 0 | 9.138 |  | 0.58395
2045 | 3000 | 3000 | 6.9426 | 8.6795 | 0 | 7.4645 | 1 | 1 | 0 | 0 | 0 | 9.5949 |  | 0.52188
2046 | 0 | 0 | 7.185 | 8.825 | 0 | 7.687 | 1 | 1 | 0 | 0 | 0 | 10.0746 |  | 0.50198
2047 | 0 | 0 | 7.1737 | 8.9505 | 0 | 7.6738 | 1 | 1 | 0 | 0 | 0 | 10.5783 |  | 0.50014
2048 | 0 | 0 | 7.174 | 8.951 | 0 | 7.674 | 1 | 1 | 0 | 0 | 0 | 11.1072 |  | 0.5
2049 | 0 | 0 | 7.174 | 8.951 | 0 | 7.674 | 1 | 1 | 0 | 0 | 0 | 11.6626 |  | 0.5
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2054 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2055 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2056 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2057 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2058 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
4
3
Unit Size of Avoided Generation Unit | (2): 41
|  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  |  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
|  | CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
|  | TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
| YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | 0 | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
| 2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 0 | 1 | 1 | 0 | 0 | 2.02
| 2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 0 | 1 | 1 | 0 | 0 | 2.1
| 2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 0 | 1 | 1 | 0 | 0 | 2.4
| 2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 0 | 1 | 1 | 0 | 0 | 2.41
| 2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 0 | 1 | 1 | 0 | 0 | 2.79
| 2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 0 | 1 | 1 | 0 | 0 | 3.05
| 2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 0 | 1 | 1 | 0 | 0 | 3.18
| 2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 0 | 1 | 1 | 0 | 0 | 3.07
| 2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 0 | 1 | 1 | 0 | 0 | 3.49
| 2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 0 | 1 | 1 | 0 | 0 | 3.53
| 2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 0 | 1 | 1 | 0 | 0 | 3.81
| 2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 0 | 1 | 1 | 0 | 0 | 4.29
| 2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 0 | 1 | 1 | 0 | 0 | 4.43
| 2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 0 | 1 | 1 | 0 | 0 | 4.61
| 2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 0 | 1 | 1 | 0 | 0 | 5.23
| 2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 0 | 1 | 1 | 0 | 0 | 5.38
| 2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 0 | 1 | 1 | 0 | 0 | 5.63
| 2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 0 | 1 | 1 | 0 | 0 | 6.18
| 2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 0 | 1 | 1 | 0 | 0 | 6.57
| 2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 0 | 1 | 1 | 0 | 0 | 6.76
| 2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 0 | 1 | 1 | 0 | 0 | 7.26
| 2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 0 | 1 | 1 | 0 | 0 | 7.3
| 2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 0 | 1 | 1 | 0 | 0 | 7.35
| 2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 0 | 1 | 1 | 0 | 0 | 8.21
| 2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 0 | 1 | 1 | 0 | 0 | 8.04
| 2045 | 3000 | 3000 | 6.9426 | 8.6795 | 0 | 0 | 1 | 1 | 0 | 0 | 8.31
| 2046 | 0 | 0 | 7.185 | 8.825 | 0 | 0 | 1 | 1 | 0 | 0 | 9.05
| 2047 | 0 | 0 | 7.1737 | 8.9505 | 0 | 0 | 1 | 1 | 0 | 0 | 8.99
| 2048 | 0 | 0 | 7.174 | 8.951 | 0 | 0 | 1 | 1 | 0 | 0 | 9.37
| 2049 | 0 | 0 | 7.174 | 8.951 | 0 | 0 | 1 | 1 | 0 | 0 | 9.75
| 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2054 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2055 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2056 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2057 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2058 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0

## f-11B
|  | CALCULATION OF AFUDC AND IN-SERVICE COST OF PLANT | [7 empty] | PSC FORM CE 1.1B
|  |  |  | PLANT: | 2023 | Avoided Unit |  |  |  | PAGE 1 OF 1
2026-07-29 09:09
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
| NO. YEARS | PLANT | CUMULATIVE |  |  | CUMULATIVE | CUMULATIVE | YEARLY | INCREMENTAL | CUMULATIVE | <-- INPUTS FOR OTHER COSTS & BENEFITS - EXTERNALLY CALC., FORMS 2.3, 2.4, & 2.5 -->
| BEFORE | ESCALATION | ESCALATION | YEARLY | ANNUAL | AVERAGE | SPENDING | TOTAL | YEAR-END | YEAR-END |  | (1) | (2) | (3) | (4) | (5) | (6)
| INSERVICE | RATE | FACTOR | EXPENDITURE | SPENDING | SPENDING | WITH AFUDC | AFUDC | BOOK VALUE | BOOK VALUE |  | (1): <-- FORM 2.3 --->; (3): <---- FORM 2.4 --->; (5): <---- FORM 2.5 ---->
YEAR |  | (%) |  | (%) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | YEAR | OTHER COST | OTHER BEN | OTH COST | OTHER BENEFITS | COSTS | BENEFITS
2011 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ($000) | ($000) | ($000) | ($000) | ($000) | ($000)
2012 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0
2014 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0
2015 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0
2016 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2024 | 0 | 0 | 0 | 0 | 0 | 0
2017 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2025 | 0 | 0 | 0 | 0 | 0 | 0
2018 | -5 | 0.024 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0
2019 | -4 | 0.024 | 1.024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2027 | 0 | 0 | 0 | 0 | 0 | 0
2020 | -3 | 0.024 | 1.0486 | 0.1951 | 112.8246 | 109.2942 | 112.8246 | 3.5304 | 112.8246 | 112.8246 | 2028 | 0 | 0 | 0 | 0 | 0 | 0
2021 | -2 | 0.024 | 1.0737 | 0.5594 | 330.5516 | 313.3706 | 330.5516 | 17.181 | 330.5516 | 443.3762 | 2029 | 0 | 0 | 0 | 0 | 0 | 0
2022 | -1 | 0.024 | 1.0995 | 0.2455 | 169.273 | 137.5248 | 169.273 | 31.7482 | 169.273 | 612.6492 | 2030 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0 | 0.024 | 1.1259 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2031 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2032 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2033 | 0 | 0 | 0 | 0 | 0 | 0
IN-SERVICE YEAR = |  | 2023 | [6 empty] | 612.6492 |  | 2034 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2035 | 0 | 0 | 0 | 0 | 0 | 0
PLANT COSTS (2023$) |  | 526.3 | [8 empty] | 2036 | 0 | 0 | 0 | 0 | 0 | 0
AFUDC RATE: |  | 6.46% | [8 empty] | 2037 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2038 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2039 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2040 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2041 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2042 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2043 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2044 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2045 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2046 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2047 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2048 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2049 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2050 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2051 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2052 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2053 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2054 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2055 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2056 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2057 | 0 | 0 | 0 | 0 | 0 | 0
PSC FORM CE 1.1
PAGE 1 OF 1 | bar: (2)
[11 empty] | Run date: | (1): 37062
[12 empty] | 37062.5552 | *
*
2001 | bar: (2)
2004
16.2994

## Sheet3(F_21)
|  |  | AVOIDED GENERATION UNIT BENEFITS | [5 empty] | PSC FORM CE 2.1
|  |  | PROGRAM: | ECM Motors on Furnaces |  |  |  |  | Page 1 of 1
2026-07-29 09:09
|  | * UNIT SIZE OF AVOIDED GENERATION UNIT = |  |  |  | 41 | KW
|  | * INSERVICE COSTS OF AVOIDED GEN. UNIT (000) = |  |  |  | 25.1186
(1) | (1A)* | (2) | (2A)* | (3) | (4) | (5) | (6) | (6A)* | (7)
|  | AVOIDED | AVOIDED | AVOIDED | AVOIDED | AVOIDED |  | AVOIDED
| REVENUE | GEN UNIT | ANNUAL | UNIT | GEN UNIT | GEN UNIT |  | PURCHASED | AVOIDED
| REQUIREMENT | CAPACITY | UNIT | FIXED | VARIABLE | FUEL | REPLACEMENT | CAPACITY | GEN UNIT
| FACTOR | COST | KWH GEN | O&M COST | O&M COST | COST | FUEL COST | COSTS | BENEFITS
YEAR |  | $(000) | (000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0.098822 | 2.4823 | 32.5987 | 0.25682 | 0.073506 | 1.3966 | 1.0342 | 0 | 3.175
2024 | 0.10119 | 2.5419 | 32.5987 | 0.26298 | 0.07527 | 1.46 | 1.0805 | 0 | 3.2596
2025 | 0.10362 | 2.6029 | 32.5987 | 0.26929 | 0.077076 | 1.5263 | 1.1233 | 0 | 3.3522
2026 | 0.10611 | 2.6653 | 32.5987 | 0.27576 | 0.078926 | 1.5956 | 1.1597 | 0 | 3.4559
2027 | 0.10866 | 2.7293 | 32.5987 | 0.28238 | 0.08082 | 1.6681 | 1.2116 | 0 | 3.5489
2028 | 0.11126 | 2.7948 | 32.5987 | 0.28915 | 0.08276 | 1.7438 | 1.304 | 0 | 3.6065
2029 | 0.11393 | 2.8619 | 32.5987 | 0.29609 | 0.084746 | 1.8229 | 1.3613 | 0 | 3.7044
2030 | 0.11667 | 2.9306 | 32.5987 | 0.3032 | 0.08678 | 1.9057 | 1.4625 | 0 | 3.7638
2031 | 0.11947 | 3.0009 | 32.5987 | 0.31048 | 0.088863 | 1.9922 | 1.4988 | 0 | 3.8936
2032 | 0.12234 | 3.0729 | 32.5987 | 0.31793 | 0.090995 | 2.0827 | 1.5888 | 0 | 3.9757
2033 | 0.12527 | 3.1467 | 32.5987 | 0.32556 | 0.093179 | 2.1772 | 1.625 | 0 | 4.1176
2034 | 0.12828 | 3.2222 | 32.5987 | 0.33337 | 0.095416 | 2.2761 | 1.7299 | 0 | 4.1972
NOMINAL |  | 34.0515 | 391.185 | 3.523 | 1.0083 | 21.6473 | 16.1797 | 0 | 44.0504
NPV |  | 19.2007 |  | 1.9865 | 0.56857 | 12.0028 | 8.947 | 0 | 24.8116
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet5(p_5)
| * WORKSHEET : DSM PROGRAM FUEL SAVINGS |  |  |  | WORKSHEET FOR FORM CE 2.2
| PROGRAM: | ECM Motors on Furnaces |  |  | Page 1 of 1
2026-07-29 09:09
(1) | (2) | (3) | (4) | (5) | (6) | (7)
| REDUCTION |  | INCREASE |  | NET
| IN KWH | AVOIDED | IN KWH | INCREASED | AVOIDED | EFFECTIVE
| GENERATION | MARGINAL | GENERATION | MARGINAL | PROGRAM | PROGRAM
| NET NEW CUST | FUEL COST - | NET NEW CUST | FUEL COST - | FUEL | FUEL
| KWH | REDUCED KWH | KWH | INCREASE KWH | SAVINGS | SAVINGS
YEAR | (000) | $(000) | (000) | $(000) | $(000) | $(000)
2020 | 601.0443 | 17.4345 | 0 | 0 | 17.4345 | 17.4345
2021 | 1803.1329 | 51.8782 | 0 | 0 | 51.8782 | 51.8782
2022 | 3005.2215 | 89.2363 | 0 | 0 | 89.2363 | 89.2363
2023 | 3606.2658 | 111.4766 | 0 | 0 | 111.4766 | 111.4766
2024 | 3606.2658 | 115.8572 | 0 | 0 | 115.8572 | 115.8572
2025 | 3606.2658 | 124.3957 | 0 | 0 | 124.3957 | 124.3957
2026 | 3606.2658 | 128.3857 | 0 | 0 | 128.3857 | 128.3857
2027 | 3606.2658 | 136.4092 | 0 | 0 | 136.4092 | 136.4092
2028 | 3606.2658 | 151.1572 | 0 | 0 | 151.1572 | 151.1572
2029 | 3606.2658 | 161.9444 | 0 | 0 | 161.9444 | 161.9444
2030 | 3606.2658 | 180.8829 | 0 | 0 | 180.8829 | 180.8829
2031 | 3606.2658 | 180.2102 | 0 | 0 | 180.2102 | 180.2102
2032 | 3606.2658 | 196.9531 | 0 | 0 | 196.9531 | 196.9531
2033 | 3606.2658 | 210.0326 | 0 | 0 | 210.0326 | 210.0326
2034 | 3606.2658 | 219.8122 | 0 | 0 | 219.8122 | 219.8122
NOMINAL | 48684.5886 | 2076.0661 | 0 | 0 | 2076.0661 | 2076.0661
NPV: |  | 1189.1305 |  | 0 | 1189.1305 | 1189.1305
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet2(F_12)
|  |  | INPUT DATA -- PART 2 | [5 empty] | PSC FORM CE 1.2
|  |  | PROGRAM: | ECM Motors on Furnaces |  |  |  |  | PAGE 1 OF 1
2026-07-29 09:09
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
UTILITY
AVERAGE
| CUMULATIVE | ADJUSTED | SYSTEM | AVOIDED | INCREASED |  | PROGRAM | PROGRAM | OTHER | OTHER
| TOTAL | CUMULATIVE | FUEL | MARGINAL | MARGINAL | REPLACEMENT | KW | KWH | COSTS | BENEFITS
| PARTICIPATING | PARTICIPATING | COSTS | FUEL COST | FUEL COST | FUEL COST | EFFECTIVENESS | EFFECTIVENESS |  | (CO2)
YEAR | CUSTOMERS | CUSTOMERS | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | FACTOR | FACTOR | ($000) | ($000)
2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 2.8789 | 1 | 1 | 0 | 0
2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 3.0378 | 1 | 1 | 0 | 0
2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 3.1562 | 1 | 1 | 0 | 0
2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 3.1726 | 1 | 1 | 0 | 0
2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 3.3146 | 1 | 1 | 0 | 0
2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 3.4459 | 1 | 1 | 0 | 0
2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 3.5576 | 1 | 1 | 0 | 0
2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 3.7168 | 1 | 1 | 0 | 0
2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 4.0002 | 1 | 1 | 0 | 0
2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 4.1758 | 1 | 1 | 0 | 0
2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 4.4863 | 1 | 1 | 0 | 0
2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 4.5978 | 1 | 1 | 0 | 0
2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 4.8738 | 1 | 1 | 0 | 0
2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 4.9849 | 1 | 1 | 0 | 0
2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 5.3066 | 1 | 1 | 0 | 0

## Sheet4(F_22)
|  | AVOIDED T & D AND PROGRAM FUEL SAVINGS |  |  |  |  | PSC FORM CE 2.2
|  | PROGRAM: | ECM Motors on Furnaces |  |  |  | Page 1 of 2
2026-07-29 09:09
|  | * INSERVICE COSTS OF AVOIDED TRANS. (000) = |  |  | 1.4652
|  | * INSERVICE COSTS OF AVOIDED DIST. (000) = |  |  | 15.1824
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
| AVOIDED | AVOIDED |  | AVOIDED | AVOIDED
| TRANSMISSION | TRANSMISSION | TOTAL AVOIDED | DISTRIBUTION | DISTRIBUTION | TOTAL AVOIDED | PROGRAM
| CAPACITY | O&M | TRANSMISSION | CAPACITY | O&M | DISTRIBUTION | FUEL
| COST | COST | COST | COST | COST | COST | SAVINGS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 17.4345
2021 | 0.1448 | 0.11641 | 0.26121 | 1.5004 | 2.0902 | 3.5906 | 51.8782
2022 | 0.14827 | 0.11921 | 0.26748 | 1.5364 | 2.1404 | 3.6767 | 89.2363
2023 | 0.15183 | 0.12207 | 0.2739 | 1.5732 | 2.1917 | 3.765 | 111.4766
2024 | 0.15548 | 0.125 | 0.28047 | 1.611 | 2.2443 | 3.8553 | 115.8572
2025 | 0.15921 | 0.128 | 0.2872 | 1.6497 | 2.2982 | 3.9479 | 124.3957
2026 | 0.16303 | 0.13107 | 0.2941 | 1.6893 | 2.3533 | 4.0426 | 128.3857
2027 | 0.16694 | 0.13421 | 0.30116 | 1.7298 | 2.4098 | 4.1396 | 136.4092
2028 | 0.17095 | 0.13744 | 0.30838 | 1.7713 | 2.4677 | 4.239 | 151.1572
2029 | 0.17505 | 0.14073 | 0.31578 | 1.8138 | 2.5269 | 4.3407 | 161.9444
2030 | 0.17925 | 0.14411 | 0.32336 | 1.8574 | 2.5875 | 4.4449 | 180.8829
2031 | 0.18355 | 0.14757 | 0.33112 | 1.9019 | 2.6496 | 4.5516 | 180.2102
2032 | 0.18796 | 0.15111 | 0.33907 | 1.9476 | 2.7132 | 4.6608 | 196.9531
2033 | 0.19247 | 0.15474 | 0.34721 | 1.9943 | 2.7783 | 4.7727 | 210.0326
2034 | 0.19709 | 0.15845 | 0.35554 | 2.0422 | 2.845 | 4.8872 | 219.8122
NOMINAL | 2.3759 | 1.9101 | 4.286 | 24.6183 | 34.2962 | 58.9145 | 2076.0661
NPV: | 1.439 | 1.1569 | 2.5959 | 14.9103 | 20.7718 | 35.6821 | 1189.1305
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet6(p_6)
|  | * WORKSHEET: UTILITY COSTS AND PARTICIPANT COSTS AND REV LOSS/GAIN | [12 empty] | WORKSHEET FOR FORM CE 2.2
|  | PROGRAM: |  | ECM Motors on Furnaces | [10 empty] | Page 2 of 2
2026-07-29 09:09
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18)
| <----- UTILITY PROGRAM COSTS & REBATES -------> | [5 empty] | <------------------ PARTICIPATING CUSTOMER COSTS & BENEFITS ---------------------->
|  |  | TOTAL |  |  | TOTAL | PARTIC. | PARTIC. | TOTAL | REDUCT. | RED. | RED. | EFFECT. | INC. | INC. | INC. | EFFECT.
| UTIL | UTIL | UTIL | UTIL | UTIL | REBATE/ | CUST | CUST | COSTS | IN | REV. | REV. | REV. | IN | REV. | REV. | REVENUE
| NONREC. | RECUR | PGM | NONREC. | RECUR. | INCENT. | EQUIP | O & M | PARTIC. | CUST. | - FUEL | NONFUEL | REDUCT. | CUST. | - FUEL | NONFUEL | INC.
| COSTS | COSTS | COSTS | REBATES | REBATES | COSTS | COSTS | COSTS | CUST | KWH | PORTION | PORTION | TO CUST | KWH | PORTION | PORTION | IN BILL
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | (000) | $(000) | $(000) | $(000) | (000) | $(000) |  | $(000)
2020 | 125 | 0 | 125 | 49.6732 | 0 | 49.6732 | 287 | 0 | 287 | 569.79 | 13.8722 | 13.991 | 27.8632 | 0 | 0 | 0 | 0
2021 | 128 | 0 | 128 | 49.6732 | 0 | 49.6732 | 293.601 | 0 | 293.601 | 1709.37 | 43.5972 | 42.3927 | 85.9899 | 0 | 0 | 0 | 0
2022 | 131.072 | 0 | 131.072 | 49.6732 | 0 | 49.6732 | 300.3538 | 0 | 300.3538 | 2848.95 | 75.3386 | 71.3611 | 146.6997 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3418.74 | 89.6652 | 86.4897 | 176.1548 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3418.74 | 94.751 | 87.3546 | 182.1055 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3418.74 | 100.1895 | 88.2281 | 188.4176 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3418.74 | 104.7195 | 89.1104 | 193.8299 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3418.74 | 110.8855 | 90.0015 | 200.887 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3418.74 | 121.3858 | 90.9015 | 212.2873 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3418.74 | 127.5702 | 91.8105 | 219.3807 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3418.74 | 138.9943 | 92.7286 | 231.7229 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3418.74 | 143.7857 | 93.6559 | 237.4417 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3418.74 | 154.045 | 94.5925 | 248.6375 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3418.74 | 157.2762 | 95.5384 | 252.8146 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3418.74 | 167.6634 | 96.4938 | 264.1572 | 0 | 0 | 0 | 0
NOMINAL | 384.072 | 0 | 384.072 | 149.0196 | 0 | 149.0196 | 880.9548 | 0 | 880.9548 | 46152.99 | 1643.7393 | 1224.6502 | 2868.3895 | 0 | 0 | 0 | 0
NPV | 358.8492 | 0 | 358.8492 | 139.3837 | 0 | 139.3837 | 823.1373 | 0 | 823.1373 |  | 948.5196 | 741.2749 | 1689.7945 |  | 0 | 0 | 0
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet7(F_23)
|  |  | TOTAL RESOURCE COST TESTS | [8 empty] | PSC FORM CE 2.3
|  |  | PROGRAM: | ECM Motors on Furnaces | [7 empty] | Page 1 of 1
2026-07-29 09:09
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
CUMULATIVE
| INCREASED | UTILITY | PARTICIPANT |  |  |  |  | PROGRAM |  |  |  | DISCOUNTED
| SUPPLY | PROGRAM | PROGRAM | OTHER | TOTAL | AVOIDED | AVOIDED | FUEL | OTHER | TOTAL | NET | NET
| COSTS | COSTS | COSTS | COSTS | COSTS | GEN UNIT | T & D | SAVINGS | BENEFITS | BENEFITS | BENEFITS | BENEFITS
[6 empty] | BENEFITS | BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 125 | 287 | 0 | 412 | 0 | 0 | 17.4345 | 0 | 17.4345 | -394.5655 | -394.5655
2021 | 0 | 128 | 293.601 | 0 | 421.601 | 0 | 3.8518 | 51.8782 | 0 | 55.73 | -365.871 | -736.2455
2022 | 0 | 131.072 | 300.3538 | 0 | 431.4258 | 0 | 3.9442 | 89.2363 | 0 | 93.1805 | -338.2453 | -1031.2408
2023 | 0 | 0 | 0 | 0 | 0 | 3.175 | 4.0389 | 111.4766 | 0 | 118.6904 | 118.6904 | -934.571
2024 | 0 | 0 | 0 | 0 | 0 | 3.2596 | 4.1358 | 115.8572 | 0 | 123.2526 | 123.2526 | -840.8229
2025 | 0 | 0 | 0 | 0 | 0 | 3.3522 | 4.2351 | 124.3957 | 0 | 131.983 | 131.983 | -747.0718
2026 | 0 | 0 | 0 | 0 | 0 | 3.4559 | 4.3367 | 128.3857 | 0 | 136.1783 | 136.1783 | -656.7365
2027 | 0 | 0 | 0 | 0 | 0 | 3.5489 | 4.4408 | 136.4092 | 0 | 144.3989 | 144.3989 | -567.2813
2028 | 0 | 0 | 0 | 0 | 0 | 3.6065 | 4.5474 | 151.1572 | 0 | 159.311 | 159.311 | -475.1136
2029 | 0 | 0 | 0 | 0 | 0 | 3.7044 | 4.6565 | 161.9444 | 0 | 170.3053 | 170.3053 | -383.0998
2030 | 0 | 0 | 0 | 0 | 0 | 3.7638 | 4.7683 | 180.8829 | 0 | 189.4149 | 189.4149 | -287.5279
2031 | 0 | 0 | 0 | 0 | 0 | 3.8936 | 4.8827 | 180.2102 | 0 | 188.9865 | 188.9865 | -198.4768
2032 | 0 | 0 | 0 | 0 | 0 | 3.9757 | 4.9999 | 196.9531 | 0 | 205.9287 | 205.9287 | -107.8584
2033 | 0 | 0 | 0 | 0 | 0 | 4.1176 | 5.1199 | 210.0326 | 0 | 219.2701 | 219.2701 | -17.7489
2034 | 0 | 0 | 0 | 0 | 0 | 4.1972 | 5.2427 | 219.8122 | 0 | 229.2521 | 229.2521 | 70.2336
NOMINAL | 0 | 384.072 | 880.9548 | 0 | 1265.0268 | 44.0504 | 63.2005 | 2076.0661 | 0 | 2183.317 | 918.2902
NPV: | 0 | 358.8492 | 823.1373 | 0 | 1181.9864 | 24.8116 | 38.278 | 1189.1305 | 0 | 1252.2201 | 70.2336
Discount Rate |  | 0.0708 | Benefit/Cost Ratio - [col (11)/col (6)]: |  |  |  | 1.0594

## Sheet8(F_24)
|  |  |  | PARTICIPANT COSTS AND BENEFITS | [6 empty] | PSC FORM CE 2.4
|  |  |  | PROGRAM: | ECM Motors on Furnaces | [5 empty] | Page 1 of 1
2026-07-29 09:09
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12)
SAVINGS
| IN |  |  |  |  | CUSTOMER | CUSTOMER |  |  |  | CUMULATIVE
| PARTICIPANTS | TAX | UTILITY | OTHER | TOTAL | EQUIPMENT | O & M | OTHER | TOTAL | NET | DISCOUNTED
| BILL | CREDITS | REBATES | BENEFITS | BENEFITS | COSTS | COSTS | COSTS | COSTS | BENEFITS | NET BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 27.8632 | 0 | 49.6732 | 0 | 77.5364 | 287 | 0 | 0 | 287 | -209.4636 | -209.4636
2021 | 85.9899 | 0 | 49.6732 | 0 | 135.6631 | 293.601 | 0 | 0 | 293.601 | -157.9379 | -356.9588
2022 | 146.6997 | 0 | 49.6732 | 0 | 196.3728 | 300.3538 | 0 | 0 | 300.3538 | -103.981 | -447.6442
2023 | 176.1548 | 0 | 0 | 0 | 176.1548 | 0 | 0 | 0 | 0 | 176.1548 | -304.1714
2024 | 182.1055 | 0 | 0 | 0 | 182.1055 | 0 | 0 | 0 | 0 | 182.1055 | -165.6587
2025 | 188.4176 | 0 | 0 | 0 | 188.4176 | 0 | 0 | 0 | 0 | 188.4176 | -31.8206
2026 | 193.8299 | 0 | 0 | 0 | 193.8299 | 0 | 0 | 0 | 0 | 193.8299 | 96.7586
2027 | 200.887 | 0 | 0 | 0 | 200.887 | 0 | 0 | 0 | 0 | 200.887 | 221.2081
2028 | 212.2873 | 0 | 0 | 0 | 212.2873 | 0 | 0 | 0 | 0 | 212.2873 | 344.0247
2029 | 219.3807 | 0 | 0 | 0 | 219.3807 | 0 | 0 | 0 | 0 | 219.3807 | 462.5533
2030 | 231.7229 | 0 | 0 | 0 | 231.7229 | 0 | 0 | 0 | 0 | 231.7229 | 579.4724
2031 | 237.4417 | 0 | 0 | 0 | 237.4417 | 0 | 0 | 0 | 0 | 237.4417 | 691.3556
2032 | 248.6375 | 0 | 0 | 0 | 248.6375 | 0 | 0 | 0 | 0 | 248.6375 | 800.7679
2033 | 252.8146 | 0 | 0 | 0 | 252.8146 | 0 | 0 | 0 | 0 | 252.8146 | 904.6626
2034 | 264.1572 | 0 | 0 | 0 | 264.1572 | 0 | 0 | 0 | 0 | 264.1572 | 1006.041
NOMINAL | 2868.3895 | 0 | 149.0196 | 0 | 3017.4091 | 880.9548 | 0 | 0 | 880.9548 | 2136.4542
NPV: | 1689.7945 | 0 | 139.3837 | 0 | 1829.1783 | 823.1373 | 0 | 0 | 823.1373 | 1006.041
In service year of gen unit: |  |  | 2023 |  | 2.2222
Discount rate: |  |  | 0.0708

## Sheet9(F_25)
[5 empty] | RATE IMPACT TEST | [7 empty] | PSC FORM CE 2.5
[5 empty] | PROGRAM: | ECM Motors on Furnaces | [6 empty] | Page 1 of 1
2026-07-29 09:09
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
[7 empty] | AVOIDED |  |  |  |  | NET | CUMULATIVE
| INCREASED | UTILITY |  |  |  |  | GEN UNIT | AVOIDED |  |  |  | BENEFITS | DISCOUNTED
| SUPPLY | PROGRAM |  | REVENUE | OTHER | TOTAL | UNIT & FUEL | T & D | REVENUE | OTHER | TOTAL | TO ALL | NET
| COSTS | COSTS | INCENTIVES | LOSSES | COSTS | COSTS | BENEFITS | BENEFITS | GAINS | BENEFITS | BENEFITS | CUSTOMERS | BENEFIT
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 125 | 49.6732 | 13.991 | 0 | 188.6642 | 17.4345 | 0 | 0 | 0 | 17.4345 | -171.2296 | -171.2296
2021 | 0 | 128 | 49.6732 | 42.3927 | 0 | 220.0659 | 51.8782 | 3.8518 | 0 | 0 | 55.73 | -164.3359 | -324.6999
2022 | 0 | 131.072 | 49.6732 | 71.3611 | 0 | 252.1063 | 89.2363 | 3.9442 | 0 | 0 | 93.1805 | -158.9258 | -463.3045
2023 | 0 | 0 | 0 | 86.4897 | 0 | 86.4897 | 114.6516 | 4.0389 | 0 | 0 | 118.6904 | 32.2008 | -437.0779
2024 | 0 | 0 | 0 | 87.3546 | 0 | 87.3546 | 119.1168 | 4.1358 | 0 | 0 | 123.2526 | 35.8981 | -409.7732
2025 | 0 | 0 | 0 | 88.2281 | 0 | 88.2281 | 127.7479 | 4.2351 | 0 | 0 | 131.983 | 43.7549 | -378.6929
2026 | 0 | 0 | 0 | 89.1104 | 0 | 89.1104 | 131.8416 | 4.3367 | 0 | 0 | 136.1783 | 47.0679 | -347.4699
2027 | 0 | 0 | 0 | 90.0015 | 0 | 90.0015 | 139.9581 | 4.4408 | 0 | 0 | 144.3989 | 54.3974 | -313.7707
2028 | 0 | 0 | 0 | 90.9015 | 0 | 90.9015 | 154.7636 | 4.5474 | 0 | 0 | 159.311 | 68.4095 | -274.1931
2029 | 0 | 0 | 0 | 91.8105 | 0 | 91.8105 | 165.6488 | 4.6565 | 0 | 0 | 170.3053 | 78.4948 | -231.7834
2030 | 0 | 0 | 0 | 92.7286 | 0 | 92.7286 | 184.6467 | 4.7683 | 0 | 0 | 189.4149 | 96.6863 | -182.999
2031 | 0 | 0 | 0 | 93.6559 | 0 | 93.6559 | 184.1039 | 4.8827 | 0 | 0 | 188.9865 | 95.3306 | -138.0789
2032 | 0 | 0 | 0 | 94.5925 | 0 | 94.5925 | 200.9289 | 4.9999 | 0 | 0 | 205.9287 | 111.3363 | -89.0856
2033 | 0 | 0 | 0 | 95.5384 | 0 | 95.5384 | 214.1502 | 5.1199 | 0 | 0 | 219.2701 | 123.7317 | -38.2378
2034 | 0 | 0 | 0 | 96.4938 | 0 | 96.4938 | 224.0094 | 5.2427 | 0 | 0 | 229.2521 | 132.7583 | 12.7122
NOMINAL | 0 | 384.072 | 149.0196 | 1224.6502 | 0 | 1757.7418 | 2120.1165 | 63.2005 | 0 | 0 | 2183.317 | 425.5752
NPV: | 0 | 358.8492 | 139.3837 | 741.2749 | 0 | 1239.5078 | 1213.9421 | 38.278 | 0 | 0 | 1252.2201 | 12.7122
Discount rate: |  |  | 0.0708 |  | Benefit/Cost Ratio - [col (12)/col (7)]: |  |  |  | 1.0103

## Value of Defferal
GEN: | [7 empty] | COMPUTATION OF CONSTRUCTION CASH FLOW AND PLANT |  |  |  |  | Do Not Print
COMPUTATION OF GENERATION COSTS & REV. REQUIREMENTS | [7 empty] | IN-SERVICE COSTS FOR AVOIDED TRANS & DIST PLANT
IN-SERVICE AVOIDED GEN. PLANT ($000) = |  |  |  | 25.1186 |  |  |  | -----------------------------------------------
------------------------------------------ |  |  |  |  | GENERATION |  |  | TRAN: | Avoided Trans. = |  | 1.4652
|  |  |  | COMPUTATION OF VALUE DEFERRAL PAYMENTS |  |  |  |  | Avoided Dist. = |  | 15.1824 |  | TRANSMISSION & DIST.
COMPUTATION OF VALUE DEFERRAL CREDITS
|  |  |  | ip= | 0.024 | Esc. rate | [5 empty] | ip= | 0.024 | Esc. rate
| Gen |  |  | r= | 0.0708 | Disc rate |  | TRAN |  |  |  | r= | 0.0708 | Disc rate
| Offset Cost | 5 |  | l= | 25 | Econ life |  | Offset Cost |  | 7 |  | l= | 25 | Econ life
| Offset Factor | 4 |  | c= | 1 | Risk factor |  | Offset Factor |  | 5 |  | c= | 1 | Risk factor
|  |  |  | k= | 1.5213 | K factor |  | DIST |  |  |  | k= | 1.5213 | K factor
|  |  |  | Ratio= | 0.95629 | calculated ratio |  | Offset Cost |  | 8 |  | Ratio= | 0.95629 | calculated ratio
[8 empty] | Offset Factor |  | 5
|  |  |  | VALUE of DEFERRAL | [7 empty] | VALUE DEFERRAL STARTING
|  |  |  | Factor = | 0.098822 | [6 empty] | FACTOR = | 0.098822
[5 empty] | AVOIDED |  |  |  |  | TRANS | DIST |  | AVOIDED | AVOIDED
|  | CARRYING | ANNUAL | Value | GEN. |  |  |  | CARRYING | ANNUAL | ANNUAL |  | TRANS. | DIST
|  | CHARGE | REV REQ | of Def | V OF D |  |  |  | CHARGE | REV REQ | REV REQ |  | V OF D | V OF D
N | Year | % | COSTS(000) | Factors | ($000) |  | N | Year | % | COSTS(000) | COSTS(000) | Factors | ($000) | $(000)
-- | ---- | ------ | ------ | ------ | ----- |  |  |  | ------ | ------ | ------
1 | 2020 | 0 | 0 | 0 | 0 |  | 1 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2021 | 0 | 0 | 0 | 0 |  | 2 | 2021 | 0 | 0 | 0 | 0.098822 | 0.1448 | 1.5004
3 | 2022 | 0 | 0 | 0 | 0 |  | 3 | 2022 | 0 | 0 | 0 | 0.10119 | 0.14827 | 1.5364
4 | 2023 | 0.13759 | 3.4561 | 0.098822 | 2.4823 |  | 4 | 2023 | 0.13759 | 0.2016 | 2.089 | 0.10362 | 0.15183 | 1.5732
5 | 2024 | 0.13353 | 3.354 | 0.10119 | 2.5419 |  | 5 | 2024 | 0.13353 | 0.19565 | 2.0273 | 0.10611 | 0.15548 | 1.611
6 | 2025 | 0.12904 | 3.2414 | 0.10362 | 2.6029 |  | 6 | 2025 | 0.12904 | 0.18908 | 1.9592 | 0.10866 | 0.15921 | 1.6497
7 | 2026 | 0.12477 | 3.1341 | 0.10611 | 2.6653 |  | 7 | 2026 | 0.12477 | 0.18282 | 1.8943 | 0.11126 | 0.16303 | 1.6893
8 | 2027 | 0.12069 | 3.0317 | 0.10866 | 2.7293 |  | 8 | 2027 | 0.12069 | 0.17685 | 1.8324 | 0.11393 | 0.16694 | 1.7298
9 | 2028 | 0.11679 | 2.9336 | 0.11126 | 2.7948 |  | 9 | 2028 | 0.11679 | 0.17113 | 1.7732 | 0.11667 | 0.17095 | 1.7713
10 | 2029 | 0.11301 | 2.8386 | 0.11393 | 2.8619 |  | 10 | 2029 | 0.11301 | 0.16559 | 1.7157 | 0.11947 | 0.17505 | 1.8138
11 | 2030 | 0.10927 | 2.7446 | 0.11667 | 2.9306 |  | 11 | 2030 | 0.10927 | 0.1601 | 1.6589 | 0.12234 | 0.17925 | 1.8574
12 | 2031 | 0.10552 | 2.6506 | 0.11947 | 3.0009 |  | 12 | 2031 | 0.10552 | 0.15462 | 1.6021 | 0.12527 | 0.18355 | 1.9019
13 | 2032 | 0.10178 | 2.5566 | 0.12234 | 3.0729 |  | 13 | 2032 | 0.10178 | 0.14913 | 1.5453 | 0.12828 | 0.18796 | 1.9476
14 | 2033 | 0.098037 | 2.4626 | 0.12527 | 3.1467 |  | 14 | 2033 | 0.098037 | 0.14365 | 1.4884 | 0.13136 | 0.19247 | 1.9943
15 | 2034 | 0.094294 | 2.3685 | 0.12828 | 3.2222 |  | 15 | 2034 | 0.094294 | 0.13816 | 1.4316 | 0.13451 | 0.19709 | 2.0422
16 | 2035 | 0.090552 | 2.2745 | 0.13136 | 3.2995 |  | 16 | 2035 | 0.090552 | 0.13268 | 1.3748 | 0.13774 | 0.20182 | 2.0912
17 | 2036 | 0.086809 | 2.1805 | 0.13451 | 3.3787 |  | 17 | 2036 | 0.086809 | 0.1272 | 1.318 | 0.14104 | 0.20666 | 2.1414
18 | 2037 | 0.083066 | 2.0865 | 0.13774 | 3.4598 |  | 18 | 2037 | 0.083066 | 0.12171 | 1.2611 | 0.14443 | 0.21162 | 2.1928
19 | 2038 | 0.079674 | 2.0013 | 0.14104 | 3.5428 |  | 19 | 2038 | 0.079674 | 0.11674 | 1.2097 | 0.1479 | 0.2167 | 2.2454
20 | 2039 | 0.076986 | 1.9338 | 0.14443 | 3.6279 |  | 20 | 2039 | 0.076986 | 0.1128 | 1.1688 | 0.15144 | 0.2219 | 2.2993
21 | 2040 | 0.074649 | 1.8751 | 0.1479 | 3.7149 |  | 21 | 2040 | 0.074649 | 0.10938 | 1.1333 | 0.15508 | 0.22723 | 2.3545
22 | 2041 | 0.072311 | 1.8164 | 0.15144 | 3.8041 |  | 22 | 2041 | 0.072311 | 0.10595 | 1.0979 | 0.1588 | 0.23268 | 2.411
23 | 2042 | 0.069974 | 1.7577 | 0.15508 | 3.8954 |  | 23 | 2042 | 0.069974 | 0.10253 | 1.0624 | 0.16261 | 0.23827 | 2.4689
24 | 2043 | 0.067637 | 1.6989 | 0.1588 | 3.9889 |  | 24 | 2043 | 0.067637 | 0.099105 | 1.0269 | 0.16652 | 0.24399 | 2.5281
25 | 2044 | 0.0653 | 1.6402 | 0.16261 | 4.0846 |  | 25 | 2044 | 0.0653 | 0.09568 | 0.99141 | 0.17051 | 0.24984 | 2.5888
26 | 2045 | 0.062963 | 1.5815 | 0.16652 | 4.1826 |  | 26 | 2045 | 0.062963 | 0.092255 | 0.95592 | 0.1746 | 0.25584 | 2.6509
27 | 2046 | 0.060625 | 1.5228 | 0.17051 | 4.283 |  | 27 | 2046 | 0.060625 | 0.088831 | 0.92044 | 0 | 0 | 0
28 | 2047 | 0.058288 | 1.4641 | 0.1746 | 4.3858 |  | 28 | 2047 | 0.058288 | 0.085406 | 0.88496 | 0 | 0 | 0
29 | 2048 | 0.055951 | 1.4054 | 0 | 0 |  | 29 | 2048 | 0.055951 | 0.081982 | 0.84947 | 0 | 0 | 0
30 | 2049 | 0 | 0 | 0 | 0 |  | 30 | 2049 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2050 | 0 | 0 | 0 | 0 |  | 31 | 2050 | 0 | 0 | 0 | 0 | 0 | 0
32 | 2051 | 0 | 0 | 0 | 0 |  | 32 | 2051 | 0 | 0 | 0 | 0 | 0 | 0
33 | 2052 | 0 | 0 | 0 | 0 |  | 33 | 2052 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2053 | 0 | 0 | 0 | 0 |  | 34 | 2053 | 0 | 0 | 0 | 0 | 0 | 0
35 | 2054 | 0 | 0 | 0 | 0 |  | 35 | 2054 | 0 | 0 | 0 | 0 | 0 | 0
36 | 2055 | 0 | 0 | 0 | 0 |  | 36 | 2055 | 0 | 0 | 0 | 0 | 0 | 0
37 | 2056 | 0 | 0 | 0 | 0 |  | 37 | 2056 | 0 | 0 | 0 | 0 | 0 | 0
38 | 2057 | 0 | 0 | 0 | 0 |  | 38 | 2057 | 0 | 0 | 0 | 0 | 0 | 0
39 | 2058 | 0 | 0 | 0 | 0 |  | 39 | 2058 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ----- |  | ----- |  |  |  |  | ----- |  |  | ----
|  | NOMINAL | 60.0111 |  | 83.6995 |  |  |  | NOMINAL | 3.5006 |  |  | 4.8824
|  | NPV | 26.7953 |  | 31.1233 |  |  |  | NPV | 1.563 |  |  | 2.0817