## Fuel
Fuel Values from Table 1 Provided by Resource Planning
|  | REDUCED KWH | REPLACE. | Carbon
| UTIL AVG | PROGRAM | FUEL COST
| SYS. FUEL | MARGINAL | OF AVOIDED
| ADJ. COST | FUEL COST | GENERATOR |  |  |  | System average $/MWh |  | Total marginal $/MWh |  | Replacement fuel average system $/MWh (Future Total $/MWh
| (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) |  |  | Conversion to cents per kWh and copy and paste |  | Conversion to cents per kWh and copy and paste |  | Conversion to cents per kWh and copy and paste
2020 | 2.4346 | 2.9007 | 2.8789 | 0 | Change first year to base year | 2020 | 24.3461 | 2.4346 | 29.0071 | 2.9007 | 28.7892 | 2.8789
2021 | 2.5505 | 2.8771 | 3.0378 | 0 |  |  | 25.5048 | 2.5505 | 28.7712 | 2.8771 | 30.3778 | 3.0378
2022 | 2.6444 | 2.9694 | 3.1562 | 0 |  |  | 26.4443 | 2.6444 | 29.6938 | 2.9694 | 31.5623 | 3.1562
2023 | 2.6228 | 3.0912 | 3.1726 | 0 |  |  | 26.2275 | 2.6228 | 30.9119 | 3.0912 | 31.7263 | 3.1726
2024 | 2.7715 | 3.2127 | 3.3146 | 0 |  |  | 27.7152 | 2.7715 | 32.1266 | 3.2127 | 33.1455 | 3.3146
2025 | 2.9306 | 3.4494 | 3.4459 | 0 |  |  | 29.306 | 2.9306 | 34.4943 | 3.4494 | 34.459 | 3.4459
2026 | 3.0631 | 3.5601 | 3.5576 | 0 |  |  | 30.631 | 3.0631 | 35.6007 | 3.5601 | 35.5755 | 3.5576
2027 | 3.2435 | 3.7826 | 3.7168 | 0 |  |  | 32.4346 | 3.2435 | 37.8256 | 3.7826 | 37.1679 | 3.7168
2028 | 3.5506 | 4.1915 | 4.0002 | 0 |  |  | 35.506 | 3.5506 | 41.9151 | 4.1915 | 40.0025 | 4.0002
2029 | 3.7315 | 4.4906 | 4.1758 | 0 |  |  | 37.315 | 3.7315 | 44.9064 | 4.4906 | 41.758 | 4.1758
2030 | 4.0657 | 5.0158 | 4.4863 | 0 |  |  | 40.6566 | 4.0657 | 50.158 | 5.0158 | 44.8628 | 4.4863
2031 | 4.2058 | 4.9971 | 4.5978 | 0 |  |  | 42.0581 | 4.2058 | 49.9714 | 4.9971 | 45.9784 | 4.5978
2032 | 4.5059 | 5.4614 | 4.8738 | 0 |  |  | 45.059 | 4.5059 | 54.6141 | 5.4614 | 48.7376 | 4.8738
2033 | 4.6004 | 5.8241 | 4.9849 | 0 |  |  | 46.0041 | 4.6004 | 58.241 | 5.8241 | 49.8492 | 4.9849
2034 | 4.9042 | 6.0953 | 5.3066 | 0 |  |  | 49.0425 | 4.9042 | 60.9529 | 6.0953 | 53.0658 | 5.3066
2035 | 5.1129 | 6.713 | 5.51 | 0 |  |  | 51.1291 | 5.1129 | 67.1303 | 6.713 | 55.1005 | 5.51
2036 | 5.2848 | 6.6305 | 5.6211 | 0 |  |  | 52.8477 | 5.2848 | 66.3047 | 6.6305 | 56.2114 | 5.6211
2037 | 5.5808 | 7.0768 | 5.9258 | 0 |  |  | 55.8078 | 5.5808 | 70.768 | 7.0768 | 59.258 | 5.9258
2038 | 5.7122 | 7.1036 | 6.0486 | 0 |  |  | 57.122 | 5.7122 | 71.036 | 7.1036 | 60.4856 | 6.0486
2039 | 5.9311 | 7.111 | 6.3 | 0 |  |  | 59.3114 | 5.9311 | 71.1096 | 7.111 | 62.9999 | 6.3
2040 | 5.9994 | 7.6517 | 6.2928 | 0 |  |  | 59.9936 | 5.9994 | 76.5172 | 7.6517 | 62.9279 | 6.2928
2041 | 6.2973 | 7.8807 | 6.6911 | 0 |  |  | 62.9728 | 6.2973 | 78.8067 | 7.8807 | 66.9109 | 6.6911
2042 | 6.5926 | 8.4253 | 7.0452 | 0 |  |  | 65.9265 | 6.5926 | 84.2527 | 8.4253 | 70.4523 | 7.0452
2043 | 6.7828 | 8.6253 | 7.3416 | 0 |  |  | 67.828 | 6.7828 | 86.2527 | 8.6253 | 73.4159 | 7.3416
2044 | 6.683 | 8.2933 | 7.2669 | 0 |  |  | 66.8298 | 6.683 | 82.9329 | 8.2933 | 72.6692 | 7.2669
2045 | 6.9426 | 8.6795 | 7.4645 | 0 |  |  | 69.4259 | 6.9426 | 86.7946 | 8.6795 | 74.6447 | 7.4645
2046 | 7.185 | 8.825 | 7.687 | 0 |  |  | 71.8501 | 7.185 | 88.2504 | 8.825 | 76.8699 | 7.687
2047 | 7.1737 | 8.9505 | 7.6738 | 0 |  |  | 71.7367 | 7.1737 | 89.5052 | 8.9505 | 76.7381 | 7.6738
2048 | 7.174 | 8.951 | 7.674 | 0 |  |  | 71.74 | 7.174 | 89.51 | 8.951 | 76.74 | 7.674
2049 | 7.174 | 8.951 | 7.674 | 0 |  |  | 71.74 | 7.174 | 89.51 | 8.951 | 76.74 | 7.674
2050 | 0 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0
2054 | 0 | 0 | 0 | 0
2055 | 0 | 0 | 0 | 0
2056 | 0 | 0 | 0 | 0
2057 | 0 | 0 | 0 | 0
2058 | 0 | 0 | 0 | 0

## Spending Curve
[7 empty] | ACCUM. | BOOK
|  | Spending Curve |  | CONSTR. |  | ACCUM. | CONSTR. | VALUE
|  |  | YEAR | EXPEND. | AFUDC | AFUDC | EXPEND. | NOT CLOSED
|  | 19.51% | 2020 | 25757 | 832 | 832 | 25757 | 26589
|  | 55.94% | 2021 | 73851 | 4049 | 4881 | 99608 | 77900
|  | 24.55% | 2022 | 32410 | 7482 | 12363 | 132018 | 39892
|  |  | 2023 | 0 | 0 | 0 | 0 | 0
| Check | 100% |  |  |  | 12363 | 132018 | 144381
|  | Year 1 | 0.1951 | 109.2942 | 3.6332 |  |  | 112.8246
|  | Year 2 | 0.5594 | 313.3706 | 17.6812 |  |  | 330.5516
|  | Year 3 | 0.2455 | 137.5248 | 32.6725 |  |  | 169.273
|  | Year 4 |  | 0 | 0 |  |  | 0
|  |  |  | 560.1895 |  |  |  | 612.6492
Spending for Avoided Unit Tab on replacement fuel (from Resource Planning)
7FA.05 CT
Three years construction for 2023 unit
| 7FA.05 CT | 2020 | 2021 | 2022 |  |  | Winter Capacity |  | 245000
| 1st year | 832 | 0 | 0 |  | Check | Summer Capacity |  | 229000
| 2nd year | 0 | 4049 | 0 |  |  | Average Capacity |  | 235666.6667 | uses 7 by 5 for summer winter methodology
| 3rd year | 0 | 0 | 7482 | [5 empty] | Check formula if 7x5 changes
| 4th year | 0 | 0 | 0
| 5th year | 0 | 0 | 0
| 6th year | 0 | 0 | 0
| 7th year | 0 | 0 | 0 | [5 empty] | Feed F11B
| 8th year | 0 | 0 | 0 | Cummulative AFUDC
| Total AFUDC | 832 | 4049 | 7482 | 12363 |  |  | Check
| 7FA.05 CT | 2020 | 2021 | 2022
| 1st year | 25757 | 0 | 0
| 2nd year | 0 | 73851 | 0
| 3rd year | 0 | 0 | 32410
| 4th year | 0 | 0 | 0 | Check
| 5th year | 0 | 0 | 0
| 6th year | 0 | 0 | 0
| 7th year | 0 | 0 | 0
| 8th year | 0 | 0 | 0 | Cummulative Cap Ex
| Total Cap Ex | 25757 | 73851 | 32410 | 132018
144381
Total

## T&D Costs
Inflation Rate | 2.8%
| Data Provided | Base Year
| 2020 | 2020
Avoided Transmission Cost | 11.24 | 34.9
Avoided Distribution Cost | 54.63 | 82.37
O&M Escalation rate | 2.4% | 2020
Transmission Fixed O&M Costs |  | 2.78
Distribution Fixed O&M Costs |  | 11.34

## EUE_Line Losses
EUE
Summer | 79.59%
Winter | 20.41%
Line Losses
Gen KW
| Residential | Commercial
kW | 7.3 | 7
kWh | 5.6 | 5.2
Residential
Forced Outage Rate | 0.034 | 0.966
Line Loss | 7.3% | 0.927
Multiplier | 0.89548
Commercial
Forced Outage Rate | 0.034 | 0.966
Line Loss | 7% | 0.93
Multiplier | 0.89838
1.6883 | Residential
1.6828 | Commercial

## Revenue Requirements
Generation
| Comb. Cycle | Tran & Dist
| Rev Reqm't | Rev Reqm't | See Column N (K Factor Test)
| K FACTORS | K FACTORS
2023 | 0.13759 | 0.13759
2024 | 0.13353 | 0.13353
2025 | 0.12904 | 0.12904
2026 | 0.12477 | 0.12477
2027 | 0.12069 | 0.12069
2028 | 0.11679 | 0.11679
2029 | 0.11301 | 0.11301
2030 | 0.10927 | 0.10927
2031 | 0.10552 | 0.10552
2032 | 0.10178 | 0.10178
2033 | 0.098037 | 0.098037
2034 | 0.094294 | 0.094294
2035 | 0.090552 | 0.090552
2036 | 0.086809 | 0.086809
2037 | 0.083066 | 0.083066
2038 | 0.079674 | 0.079674
2039 | 0.076986 | 0.076986
2040 | 0.074649 | 0.074649
2041 | 0.072311 | 0.072311
2042 | 0.069974 | 0.069974
2043 | 0.067637 | 0.067637
2044 | 0.0653 | 0.0653
2045 | 0.062963 | 0.062963
2046 | 0.060625 | 0.060625
2047 | 0.058288 | 0.058288
2048 | 0.055951 | 0.055951
2049 | 0 | 0
2050 | 0 | 0
2051 | 0 | 0
2052 | 0 | 0
2053 | 0 | 0

## Title Results Update
ECONOMIC LIFE & K FACTORS
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS
II. | (4) K FACTOR FOR GENERATION | 1.5213
II. | (5) K FACTOR FOR T & D | 1.5213
UTILITY & CUSTOMER COSTS
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | %
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.3 | %
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.3 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0708
III. | (13)* UTILITY AFUDC RATE | 0.0646
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | %
AVOIDED GENERATOR, TRANS. & DIST COSTS
IV. | (1) BASE YEAR | 2020
IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2023
IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2021
IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 526.3 | $/KW
IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 34.9 | $/KW
IV. | (6) BASE YEAR AVOIDED DISTRIBUTION COST | 82.37 | $/KW
IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 2.4 | %
IV. | (8) GENERATOR FIXED O & M COST | 5.83 | $/KW/YR
IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | %
IV. | (10) TRANSMISSION FIXED O & M COST | 2.78 | $/KW/YR
IV. | (11) DISTRIBUTION FIXED O & M COST | 11.34 | $/KW/YR
IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.21 | CENTS/KWH | 0.2
IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
IV. | (15) GENERATOR CAPACITY FACTOR | 9.1 | % | See Table1 - column j
IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 3.75 | CENTS/KWH
IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 4.54 | % | See Table1
IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %

## Rates
|  |  | Energy | Demand
|  | Residential | Commercial GSD Secondary kWh | Commercial GSD Secondary kW
| Base Rate | 5.3583 | 1.596 | 0
| Demand Charge | 0 | 0 | 10.59
| Fuel | 0 | 0 | 0
| ECCR | 0.271 | 0 | 0.96
| Capacity | 0.085 | 0 | 0.32
| ECRC | 0.222 | 0.222 | 0
Energy | 1.818 | 5.9363 | 1.818 | 11.87
Demand | 10.0895

## Input
Answer questions 1 thru 16 to complete evaluation. Press RUN for results. (See Title & Results). |  |  |  | Do Not Print this page
1 | Program Title | Pump Equipment Upgrade
2 | Demand & Energy Savings
| Winter kW | 1.48
| Summer kW | 1.52
| kWh | 11309
3 | Switch (1=Conservation, 0=Load Management) | 1
4 | Switch (1=Residential, 0=Commercial) | 0 |  |  | avoided unit comes online in 2020
ADJUSTED
5 | Participation | Annual |  |  |  |  | Cumulative | CUMULATIVE
|  | Total Partic. |  |  |  |  | Total Partic. | PARTICIPATING
| YEAR | Customers |  |  |  | YEAR | Customers | CUSTOMERS
| 2020 | 1000 |  |  |  | 2020 | 1000 | 1000
| 2021 | 1000 |  |  |  | 2021 | 2000 | 2000
| 2022 | 1000 |  |  |  | 2022 | 3000 | 3000
| 2023 | 0 |  |  |  | 2023 | 3000 | 3000
| 2024 | 0 |  |  |  | 2024 | 3000 | 3000
| 2025 | 0 |  |  |  | 2025 | 3000 | 3000
| 2026 | 0 |  |  |  | 2026 | 3000 | 3000
| 2027 | 0 |  |  |  | 2027 | 3000 | 3000
| 2028 | 0 |  |  |  | 2028 | 3000 | 3000
| 2029 | 0 |  |  |  | 2029 | 3000 | 3000
| 2030 | 0 |  |  |  | 2030 | 3000 | 3000
| 2031 | 0 |  |  |  | 2031 | 3000 | 3000
| 2032 | 0 |  |  |  | 2032 | 3000 | 3000
| 2033 | 0 |  |  |  | 2033 | 3000 | 3000
| 2034 | 0 |  |  |  | 2034 | 3000 | 3000
[6 empty] | 2035 | 3000 | 3000
[6 empty] | 2036 | 3000 | 3000
6 | Free Riders | 0% |  |  |  | 2037 | 3000 | 3000
7 | Study Period for Conservation Program | 15 | Years |  |  | 2038 | 3000 | 3000
8 | Utility Non Recurring Cost Per Customer | 125 | $/CUST |  |  | 2039 | 3000 | 3000
9 | Utility Recurring Cost Per Customer (Load Management) | 0 | $/CUST/YR |  |  | 2040 | 3000 | 3000
10 | Customer Equipment Cost | 2577.52 | $/CUST |  |  | 2041 | 3000 | 3000
11 | Customer O & M Cost | 0 | $/CUST/YR |  |  | 2042 | 3000 | 3000
12 | Customer Tax Credit Per Installation | 0 | $/CUST |  |  | 2043 | 3000 | 3000
13 | Increased Supply Costs | 0 | $/CUST/YR |  |  | 2044 | 3000 | 3000
14 | Utility Non Recurring Rebate/Incentive | 1123.07 | $/CUST |  |  | 2045 | 3000 | 3000
15 | Utility Recurring Rebate/Incentive (Load Management) | 0 | $/CUST/YR
16 | Diversity and Annual Demand | 1
Adjustment Factor for Customer Bill:
See Participation C,D,E,F 73
See Participation F_22 F5,6

## Title_RESULTS
|  | INPUT DATA - PART 1 |  |  |  | PSC FORM CE 1.1
|  | PROGRAM TITLE: | Pump Equipment Upgrade |  |  | PAGE 1 OF 1
[6 empty] | RUN DATE: | 2026-07-29 09:40
| PROGRAM DEMAND SAVINGS & LINE LOSSES |  |  |  | AVOIDED GENERATOR, TRANS. & DIST COSTS
I. | (1) CUSTOMER KW REDUCTION AT THE METER | 1.52 | KW /CUST | IV. | (1) BASE YEAR | 2020
I. | (2) GENERATOR KW REDUCTION PER CUSTOMER | 1.6828 | KW GEN/CUST | IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2023
I. | (3) KW LINE LOSS PERCENTAGE | 7 | % | IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2021
I. | (4) GENERATION KWH REDUCTION PER CUSTOMER | 11929.3249 | KWH/CUST/YR | IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 526.3 | $/KW
I. | (5) KWH LINE LOSS PERCENTAGE | 5.2 | % | IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 34.9 | $/KW
I. | (6) GROUP LINE LOSS MULTIPLIER | 1 |  | IV. | (6) BASE YEAR DISTRIBUTION COST | 82.37 | $/KW
I. | (7) CUSTOMER KWH PROGRAM INCREASE AT METER | 0 | KWH/CUST/YR | IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 2.4 | %
I. | (8)* CUSTOMER KWH REDUCTION AT METER | 11309 | KWH/CUST/YR | IV. | (8) GENERATOR FIXED O & M COST | 5.83 | $/KW/YR
|  |  |  | IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | %
| ECONOMIC LIFE & K FACTORS |  |  | IV. | (10) TRANSMISSION FIXED O & M COST | 2.78 | $/KW/YR
II. | (1) STUDY PERIOD FOR CONSERVATION PROGRAM | 15 | YEARS | IV. | (11) DISTRIBUTION FIXED O & M COST | 11.34 | $/KW/YR
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS | IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS | IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.21 | CENTS/KWH
II. | (4) K FACTOR FOR GENERATION | 1.5213 |  | IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
II. | (5) K FACTOR FOR T & D | 1.5213 |  | IV. | (15) GENERATOR CAPACITY FACTOR | 9.1 | %
| (6)* SWITCH REV REQ(0) OR VAL-OF-DEF (1) | 1 |  | IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 3.75 | CENTS/KWH
|  |  |  | IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 4.54 | %
|  |  |  | IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
| UTILITY & CUSTOMER COSTS |  |  | IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %
III. | (1) UTILITY NONRECURRING COST PER CUSTOMER | 125 | $/CUST
III. | (2) UTILITY RECURRING COST PER CUSTOMER | 0 | $/CUST/YR
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | %
III. | (4) CUSTOMER EQUIPMENT COST | 2577.52 | $/CUST |  | NON-FUEL ENERGY AND DEMAND CHARGES
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.3 | % | V. | (1) NON-FUEL COST IN CUSTOMER BILL | 1.818 | CENTS/KWH
III. | (6) CUSTOMER O & M COST | 0 | $/CUST/YR | V. | (2) NON-FUEL ESCALATION RATE | 1 | %
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.3 | % | V. | (3) CUSTOMER DEMAND CHARGE PER KW | 11.87 | $/KW/MO
III. | (8)* CUSTOMER TAX CREDIT PER INSTALLATION | 0 | $/CUST | V. | (4) DEMAND CHARGE ESCALATION RATE | 1 | %
III. | (9)* CUSTOMER TAX CREDIT ESCALATION RATE | 0 | % | V. | (5)* DIVERSITY and ANNUAL DEMAND ADJUSTMENT
III. | (10)* INCREASED SUPPLY COSTS | 0 | $/CUST/YR |  | FACTOR FOR CUSTOMER BILL | 1
III. | (11)* SUPPLY COSTS ESCALATION RATE | 0 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0708
III. | (13)* UTILITY AFUDC RATE | 0.0646 |  |  | CALCULATED BENEFITS AND COSTS
III. | (14)* UTILITY NON RECURRING REBATE/INCENTIVE | 1123.07 | $/CUST |  | (1)* TRC TEST - BENEFIT/COST RATIO | 2.0747
III. | (15)* UTILITY RECURRING REBATE/INCENTIVE | 0 | $/CUST/YR |  | (2)* PARTICIPANT NET BENEFITS (NPV) | 16353.8584
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | % |  | (3)* RIM TEST - BENEFIT/COST RATIO | 1.0946
END OF EDITING AREA
YEARLY INPUT DATA: GO TO H5..Q76 & INPUT (Page 2)
PLEASE NOTE: UTILITY NON-LEVELIZED REVENUE REQUIREMENT
FACTORS AT RANGE NAMES GEN_RRTBL AND TRAN_RRTBL.

## Partcipation
[6 empty] | See N16 for Rev Requirements |  | Do Not Print
PROGRAM TITLE:
2026-07-29 09:40
VI. YEARLY INPUT DATA
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
| CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
| TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 2.8789 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0.44431
2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 3.0378 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0.48729
2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 3.1562 | 1 | 1 | 0 | 0 | 0 | 3.1238 |  | 0.5118
2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 3.1726 | 1 | 1 | 0 | 0 | 0 | 3.28 |  | 0.54987
2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 3.3146 | 1 | 1 | 0 | 0 | 0 | 3.444 |  | 0.54304
2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 3.4459 | 1 | 1 | 0 | 0 | 0 | 3.6162 |  | 0.51531
2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 3.5576 | 1 | 1 | 0 | 0 | 0 | 3.797 |  | 0.49445
2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 3.7168 | 1 | 1 | 0 | 0 | 0 | 3.9869 |  | 0.47333
2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 4.0002 | 1 | 1 | 0 | 0 | 0 | 4.1862 |  | 0.44964
2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 4.1758 | 1 | 1 | 0 | 0 | 0 | 4.3955 |  | 0.4443
2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 4.4863 | 1 | 1 | 0 | 0 | 0 | 4.6153 |  | 0.42062
2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 4.5978 | 1 | 1 | 0 | 0 | 0 | 4.8461 |  | 0.39203
2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 4.8738 | 1 | 1 | 0 | 0 | 0 | 5.0884 |  | 0.36786
2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 4.9849 | 1 | 1 | 0 | 0 | 0 | 5.3428 |  | 0.3845
2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 5.3066 | 1 | 1 | 0 | 0 | 0 | 5.6099 |  | 0.40233
2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 5.51 | 1 | 1 | 0 | 0 | 0 | 5.8904 | 2010 Carbon, not used in 2015 | 0.39714
2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 5.6211 | 1 | 1 | 0 | 0 | 0 | 6.1849 |  | 0.33637
2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 5.9258 | 1 | 1 | 0 | 0 | 0 | 6.4942 |  | 0.34503
2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 6.0486 | 1 | 1 | 0 | 0 | 0 | 6.8189 |  | 0.33636
2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 6.3 | 1 | 1 | 0 | 0 | 0 | 7.1598 |  | 0.36885
2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 6.2928 | 1 | 1 | 0 | 0 | 0 | 7.5178 |  | 0.29344
2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 6.6911 | 1 | 1 | 0 | 0 | 0 | 7.8937 |  | 0.39381
2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 7.0452 | 1 | 1 | 0 | 0 | 0 | 8.2884 |  | 0.45259
2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 7.3416 | 1 | 1 | 0 | 0 | 0 | 8.7028 |  | 0.55879
2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 7.2669 | 1 | 1 | 0 | 0 | 0 | 9.138 |  | 0.58395
2045 | 3000 | 3000 | 6.9426 | 8.6795 | 0 | 7.4645 | 1 | 1 | 0 | 0 | 0 | 9.5949 |  | 0.52188
2046 | 0 | 0 | 7.185 | 8.825 | 0 | 7.687 | 1 | 1 | 0 | 0 | 0 | 10.0746 |  | 0.50198
2047 | 0 | 0 | 7.1737 | 8.9505 | 0 | 7.6738 | 1 | 1 | 0 | 0 | 0 | 10.5783 |  | 0.50014
2048 | 0 | 0 | 7.174 | 8.951 | 0 | 7.674 | 1 | 1 | 0 | 0 | 0 | 11.1072 |  | 0.5
2049 | 0 | 0 | 7.174 | 8.951 | 0 | 7.674 | 1 | 1 | 0 | 0 | 0 | 11.6626 |  | 0.5
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2054 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2055 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2056 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2057 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2058 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
4
3
Unit Size of Avoided Generation Unit | (2): 5049
|  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  |  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
|  | CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
|  | TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
| YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | 0 | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
| 2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 0 | 1 | 1 | 0 | 0 | 2.02
| 2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 0 | 1 | 1 | 0 | 0 | 2.1
| 2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 0 | 1 | 1 | 0 | 0 | 2.4
| 2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 0 | 1 | 1 | 0 | 0 | 2.41
| 2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 0 | 1 | 1 | 0 | 0 | 2.79
| 2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 0 | 1 | 1 | 0 | 0 | 3.05
| 2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 0 | 1 | 1 | 0 | 0 | 3.18
| 2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 0 | 1 | 1 | 0 | 0 | 3.07
| 2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 0 | 1 | 1 | 0 | 0 | 3.49
| 2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 0 | 1 | 1 | 0 | 0 | 3.53
| 2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 0 | 1 | 1 | 0 | 0 | 3.81
| 2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 0 | 1 | 1 | 0 | 0 | 4.29
| 2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 0 | 1 | 1 | 0 | 0 | 4.43
| 2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 0 | 1 | 1 | 0 | 0 | 4.61
| 2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 0 | 1 | 1 | 0 | 0 | 5.23
| 2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 0 | 1 | 1 | 0 | 0 | 5.38
| 2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 0 | 1 | 1 | 0 | 0 | 5.63
| 2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 0 | 1 | 1 | 0 | 0 | 6.18
| 2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 0 | 1 | 1 | 0 | 0 | 6.57
| 2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 0 | 1 | 1 | 0 | 0 | 6.76
| 2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 0 | 1 | 1 | 0 | 0 | 7.26
| 2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 0 | 1 | 1 | 0 | 0 | 7.3
| 2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 0 | 1 | 1 | 0 | 0 | 7.35
| 2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 0 | 1 | 1 | 0 | 0 | 8.21
| 2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 0 | 1 | 1 | 0 | 0 | 8.04
| 2045 | 3000 | 3000 | 6.9426 | 8.6795 | 0 | 0 | 1 | 1 | 0 | 0 | 8.31
| 2046 | 0 | 0 | 7.185 | 8.825 | 0 | 0 | 1 | 1 | 0 | 0 | 9.05
| 2047 | 0 | 0 | 7.1737 | 8.9505 | 0 | 0 | 1 | 1 | 0 | 0 | 8.99
| 2048 | 0 | 0 | 7.174 | 8.951 | 0 | 0 | 1 | 1 | 0 | 0 | 9.37
| 2049 | 0 | 0 | 7.174 | 8.951 | 0 | 0 | 1 | 1 | 0 | 0 | 9.75
| 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2054 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2055 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2056 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2057 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2058 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0

## f-11B
|  | CALCULATION OF AFUDC AND IN-SERVICE COST OF PLANT | [7 empty] | PSC FORM CE 1.1B
|  |  |  | PLANT: | 2023 | Avoided Unit |  |  |  | PAGE 1 OF 1
2026-07-29 09:40
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
| NO. YEARS | PLANT | CUMULATIVE |  |  | CUMULATIVE | CUMULATIVE | YEARLY | INCREMENTAL | CUMULATIVE | <-- INPUTS FOR OTHER COSTS & BENEFITS - EXTERNALLY CALC., FORMS 2.3, 2.4, & 2.5 -->
| BEFORE | ESCALATION | ESCALATION | YEARLY | ANNUAL | AVERAGE | SPENDING | TOTAL | YEAR-END | YEAR-END |  | (1) | (2) | (3) | (4) | (5) | (6)
| INSERVICE | RATE | FACTOR | EXPENDITURE | SPENDING | SPENDING | WITH AFUDC | AFUDC | BOOK VALUE | BOOK VALUE |  | (1): <-- FORM 2.3 --->; (3): <---- FORM 2.4 --->; (5): <---- FORM 2.5 ---->
YEAR |  | (%) |  | (%) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | YEAR | OTHER COST | OTHER BEN | OTH COST | OTHER BENEFITS | COSTS | BENEFITS
2011 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ($000) | ($000) | ($000) | ($000) | ($000) | ($000)
2012 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0
2014 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0
2015 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0
2016 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2024 | 0 | 0 | 0 | 0 | 0 | 0
2017 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2025 | 0 | 0 | 0 | 0 | 0 | 0
2018 | -5 | 0.024 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0
2019 | -4 | 0.024 | 1.024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2027 | 0 | 0 | 0 | 0 | 0 | 0
2020 | -3 | 0.024 | 1.0486 | 0.1951 | 112.8246 | 109.2942 | 112.8246 | 3.5304 | 112.8246 | 112.8246 | 2028 | 0 | 0 | 0 | 0 | 0 | 0
2021 | -2 | 0.024 | 1.0737 | 0.5594 | 330.5516 | 313.3706 | 330.5516 | 17.181 | 330.5516 | 443.3762 | 2029 | 0 | 0 | 0 | 0 | 0 | 0
2022 | -1 | 0.024 | 1.0995 | 0.2455 | 169.273 | 137.5248 | 169.273 | 31.7482 | 169.273 | 612.6492 | 2030 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0 | 0.024 | 1.1259 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2031 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2032 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2033 | 0 | 0 | 0 | 0 | 0 | 0
IN-SERVICE YEAR = |  | 2023 | [6 empty] | 612.6492 |  | 2034 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2035 | 0 | 0 | 0 | 0 | 0 | 0
PLANT COSTS (2023$) |  | 526.3 | [8 empty] | 2036 | 0 | 0 | 0 | 0 | 0 | 0
AFUDC RATE: |  | 6.46% | [8 empty] | 2037 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2038 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2039 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2040 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2041 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2042 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2043 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2044 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2045 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2046 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2047 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2048 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2049 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2050 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2051 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2052 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2053 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2054 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2055 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2056 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2057 | 0 | 0 | 0 | 0 | 0 | 0
PSC FORM CE 1.1
PAGE 1 OF 1 | bar: (2)
[11 empty] | Run date: | (1): 37062
[12 empty] | 37062.5552 | *
*
2001 | bar: (2)
2004
16.2994

## Sheet3(F_21)
|  |  | AVOIDED GENERATION UNIT BENEFITS | [5 empty] | PSC FORM CE 2.1
|  |  | PROGRAM: | Pump Equipment Upgrade |  |  |  |  | Page 1 of 1
2026-07-29 09:40
|  | * UNIT SIZE OF AVOIDED GENERATION UNIT = |  |  |  | 5049 | KW
|  | * INSERVICE COSTS OF AVOIDED GEN. UNIT (000) = |  |  |  | 3093.2659
(1) | (1A)* | (2) | (2A)* | (3) | (4) | (5) | (6) | (6A)* | (7)
|  | AVOIDED | AVOIDED | AVOIDED | AVOIDED | AVOIDED |  | AVOIDED
| REVENUE | GEN UNIT | ANNUAL | UNIT | GEN UNIT | GEN UNIT |  | PURCHASED | AVOIDED
| REQUIREMENT | CAPACITY | UNIT | FIXED | VARIABLE | FUEL | REPLACEMENT | CAPACITY | GEN UNIT
| FACTOR | COST | KWH GEN | O&M COST | O&M COST | COST | FUEL COST | COSTS | BENEFITS
YEAR |  | $(000) | (000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0.098822 | 305.6837 | 4024.4947 | 31.7057 | 9.0747 | 172.421 | 127.6822 | 0 | 391.2028
2024 | 0.10119 | 313.0201 | 4024.4947 | 32.4666 | 9.2925 | 180.2489 | 133.394 | 0 | 401.6341
2025 | 0.10362 | 320.5326 | 4024.4947 | 33.2458 | 9.5155 | 188.4322 | 138.6802 | 0 | 413.0459
2026 | 0.10611 | 328.2253 | 4024.4947 | 34.0437 | 9.7438 | 196.987 | 143.1735 | 0 | 425.8265
2027 | 0.10866 | 336.1027 | 4024.4947 | 34.8608 | 9.9777 | 205.9302 | 149.5819 | 0 | 437.2896
2028 | 0.11126 | 344.1692 | 4024.4947 | 35.6975 | 10.2172 | 215.2795 | 160.9897 | 0 | 444.3736
2029 | 0.11393 | 352.4293 | 4024.4947 | 36.5542 | 10.4624 | 225.0531 | 168.0548 | 0 | 456.4442
2030 | 0.11667 | 360.8876 | 4024.4947 | 37.4315 | 10.7135 | 235.2706 | 180.5502 | 0 | 463.7529
2031 | 0.11947 | 369.5489 | 4024.4947 | 38.3299 | 10.9706 | 245.9518 | 185.0399 | 0 | 479.7613
2032 | 0.12234 | 378.418 | 4024.4947 | 39.2498 | 11.2339 | 257.1181 | 196.1441 | 0 | 489.8756
2033 | 0.12527 | 387.5001 | 4024.4947 | 40.1918 | 11.5035 | 268.7912 | 200.6177 | 0 | 507.3689
2034 | 0.12828 | 396.8001 | 4024.4947 | 41.1564 | 11.7796 | 280.9943 | 213.563 | 0 | 517.1674
NOMINAL |  | 4193.3175 | 48293.9365 | 434.9337 | 124.4847 | 2672.4779 | 1997.4711 | 0 | 5427.7427
NPV |  | 2364.4913 |  | 245.2466 | 70.1934 | 1481.816 | 1104.5507 | 0 | 3057.1965
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet5(p_5)
| * WORKSHEET : DSM PROGRAM FUEL SAVINGS |  |  |  | WORKSHEET FOR FORM CE 2.2
| PROGRAM: | Pump Equipment Upgrade |  |  | Page 1 of 1
2026-07-29 09:40
(1) | (2) | (3) | (4) | (5) | (6) | (7)
| REDUCTION |  | INCREASE |  | NET
| IN KWH | AVOIDED | IN KWH | INCREASED | AVOIDED | EFFECTIVE
| GENERATION | MARGINAL | GENERATION | MARGINAL | PROGRAM | PROGRAM
| NET NEW CUST | FUEL COST - | NET NEW CUST | FUEL COST - | FUEL | FUEL
| KWH | REDUCED KWH | KWH | INCREASE KWH | SAVINGS | SAVINGS
YEAR | (000) | $(000) | (000) | $(000) | $(000) | $(000)
2020 | 5964.6624 | 173.0175 | 0 | 0 | 173.0175 | 173.0175
2021 | 17893.9873 | 514.8307 | 0 | 0 | 514.8307 | 514.8307
2022 | 29823.3122 | 885.5663 | 0 | 0 | 885.5663 | 885.5663
2023 | 35787.9747 | 1106.2747 | 0 | 0 | 1106.2747 | 1106.2747
2024 | 35787.9747 | 1149.7471 | 0 | 0 | 1149.7471 | 1149.7471
2025 | 35787.9747 | 1234.4822 | 0 | 0 | 1234.4822 | 1234.4822
2026 | 35787.9747 | 1274.0778 | 0 | 0 | 1274.0778 | 1274.0778
2027 | 35787.9747 | 1353.7019 | 0 | 0 | 1353.7019 | 1353.7019
2028 | 35787.9747 | 1500.0583 | 0 | 0 | 1500.0583 | 1500.0583
2029 | 35787.9747 | 1607.1088 | 0 | 0 | 1607.1088 | 1607.1088
2030 | 35787.9747 | 1795.0515 | 0 | 0 | 1795.0515 | 1795.0515
2031 | 35787.9747 | 1788.376 | 0 | 0 | 1788.376 | 1788.376
2032 | 35787.9747 | 1954.5297 | 0 | 0 | 1954.5297 | 1954.5297
2033 | 35787.9747 | 2084.3281 | 0 | 0 | 2084.3281 | 2084.3281
2034 | 35787.9747 | 2181.3792 | 0 | 0 | 2181.3792 | 2181.3792
NOMINAL | 483137.6582 | 20602.5299 | 0 | 0 | 20602.5299 | 20602.5299
NPV: |  | 11800.7303 |  | 0 | 11800.7303 | 11800.7303
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet2(F_12)
|  |  | INPUT DATA -- PART 2 | [5 empty] | PSC FORM CE 1.2
|  |  | PROGRAM: | Pump Equipment Upgrade |  |  |  |  | PAGE 1 OF 1
2026-07-29 09:40
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
UTILITY
AVERAGE
| CUMULATIVE | ADJUSTED | SYSTEM | AVOIDED | INCREASED |  | PROGRAM | PROGRAM | OTHER | OTHER
| TOTAL | CUMULATIVE | FUEL | MARGINAL | MARGINAL | REPLACEMENT | KW | KWH | COSTS | BENEFITS
| PARTICIPATING | PARTICIPATING | COSTS | FUEL COST | FUEL COST | FUEL COST | EFFECTIVENESS | EFFECTIVENESS |  | (CO2)
YEAR | CUSTOMERS | CUSTOMERS | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | FACTOR | FACTOR | ($000) | ($000)
2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 2.8789 | 1 | 1 | 0 | 0
2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 3.0378 | 1 | 1 | 0 | 0
2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 3.1562 | 1 | 1 | 0 | 0
2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 3.1726 | 1 | 1 | 0 | 0
2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 3.3146 | 1 | 1 | 0 | 0
2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 3.4459 | 1 | 1 | 0 | 0
2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 3.5576 | 1 | 1 | 0 | 0
2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 3.7168 | 1 | 1 | 0 | 0
2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 4.0002 | 1 | 1 | 0 | 0
2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 4.1758 | 1 | 1 | 0 | 0
2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 4.4863 | 1 | 1 | 0 | 0
2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 4.5978 | 1 | 1 | 0 | 0
2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 4.8738 | 1 | 1 | 0 | 0
2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 4.9849 | 1 | 1 | 0 | 0
2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 5.3066 | 1 | 1 | 0 | 0

## Sheet4(F_22)
|  | AVOIDED T & D AND PROGRAM FUEL SAVINGS |  |  |  |  | PSC FORM CE 2.2
|  | PROGRAM: | Pump Equipment Upgrade |  |  |  | Page 1 of 2
2026-07-29 09:40
|  | * INSERVICE COSTS OF AVOIDED TRANS. (000) = |  |  | 180.4391
|  | * INSERVICE COSTS OF AVOIDED DIST. (000) = |  |  | 384.6218
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
| AVOIDED | AVOIDED |  | AVOIDED | AVOIDED
| TRANSMISSION | TRANSMISSION | TOTAL AVOIDED | DISTRIBUTION | DISTRIBUTION | TOTAL AVOIDED | PROGRAM
| CAPACITY | O&M | TRANSMISSION | CAPACITY | O&M | DISTRIBUTION | FUEL
| COST | COST | COST | COST | COST | COST | SAVINGS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 173.0175
2021 | 17.8314 | 14.3718 | 32.2032 | 38.0092 | 52.9514 | 90.9607 | 514.8307
2022 | 18.2594 | 14.7167 | 32.9761 | 38.9214 | 54.2223 | 93.1437 | 885.5663
2023 | 18.6976 | 15.0699 | 33.7675 | 39.8555 | 55.5236 | 95.3792 | 1106.2747
2024 | 19.1463 | 15.4316 | 34.5779 | 40.8121 | 56.8562 | 97.6683 | 1149.7471
2025 | 19.6058 | 15.8019 | 35.4078 | 41.7916 | 58.2207 | 100.0123 | 1234.4822
2026 | 20.0764 | 16.1812 | 36.2576 | 42.7946 | 59.618 | 102.4126 | 1274.0778
2027 | 20.5582 | 16.5695 | 37.1278 | 43.8216 | 61.0489 | 104.8705 | 1353.7019
2028 | 21.0516 | 16.9672 | 38.0188 | 44.8734 | 62.514 | 107.3874 | 1500.0583
2029 | 21.5569 | 17.3744 | 38.9313 | 45.9503 | 64.0144 | 109.9647 | 1607.1088
2030 | 22.0742 | 17.7914 | 39.8656 | 47.0531 | 65.5507 | 112.6038 | 1795.0515
2031 | 22.604 | 18.2184 | 40.8224 | 48.1824 | 67.1239 | 115.3063 | 1788.376
2032 | 23.1465 | 18.6556 | 41.8021 | 49.3388 | 68.7349 | 118.0737 | 1954.5297
2033 | 23.702 | 19.1034 | 42.8054 | 50.5229 | 70.3845 | 120.9075 | 2084.3281
2034 | 24.2709 | 19.5619 | 43.8327 | 51.7355 | 72.0738 | 123.8092 | 2181.3792
NOMINAL | 292.5812 | 235.8149 | 528.3961 | 623.6624 | 868.8375 | 1492.4998 | 20602.5299
NPV: | 177.2046 | 142.8236 | 320.0282 | 377.7271 | 526.2198 | 903.9469 | 11800.7303
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet6(p_6)
|  | * WORKSHEET: UTILITY COSTS AND PARTICIPANT COSTS AND REV LOSS/GAIN | [12 empty] | WORKSHEET FOR FORM CE 2.2
|  | PROGRAM: |  | Pump Equipment Upgrade | [10 empty] | Page 2 of 2
2026-07-29 09:40
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18)
| <----- UTILITY PROGRAM COSTS & REBATES -------> | [5 empty] | <------------------ PARTICIPATING CUSTOMER COSTS & BENEFITS ---------------------->
|  |  | TOTAL |  |  | TOTAL | PARTIC. | PARTIC. | TOTAL | REDUCT. | RED. | RED. | EFFECT. | INC. | INC. | INC. | EFFECT.
| UTIL | UTIL | UTIL | UTIL | UTIL | REBATE/ | CUST | CUST | COSTS | IN | REV. | REV. | REV. | IN | REV. | REV. | REVENUE
| NONREC. | RECUR | PGM | NONREC. | RECUR. | INCENT. | EQUIP | O & M | PARTIC. | CUST. | - FUEL | NONFUEL | REDUCT. | CUST. | - FUEL | NONFUEL | INC.
| COSTS | COSTS | COSTS | REBATES | REBATES | COSTS | COSTS | COSTS | CUST | KWH | PORTION | PORTION | TO CUST | KWH | PORTION | PORTION | IN BILL
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | (000) | $(000) | $(000) | $(000) | (000) | $(000) |  | $(000)
2020 | 125 | 0 | 125 | 1123.07 | 0 | 1123.07 | 2577.52 | 0 | 2577.52 | 5654.5 | 137.6652 | 211.0532 | 348.7184 | 0 | 0 | 0 | 0
2021 | 128 | 0 | 128 | 1123.07 | 0 | 1123.07 | 2636.803 | 0 | 2636.803 | 16963.5 | 432.6514 | 639.4912 | 1072.1426 | 0 | 0 | 0 | 0
2022 | 131.072 | 0 | 131.072 | 1123.07 | 0 | 1123.07 | 2697.4494 | 0 | 2697.4494 | 28272.5 | 747.6471 | 1076.4769 | 1824.124 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33927 | 889.822 | 1304.69 | 2194.512 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33927 | 940.2925 | 1317.7369 | 2258.0294 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33927 | 994.2641 | 1330.9143 | 2325.1783 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33927 | 1039.2189 | 1344.2234 | 2383.4423 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33927 | 1100.4091 | 1357.6656 | 2458.0747 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33927 | 1204.6125 | 1371.2423 | 2575.8548 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33927 | 1265.9847 | 1384.9547 | 2650.9395 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33927 | 1379.3562 | 1398.8043 | 2778.1605 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33927 | 1426.9055 | 1412.7923 | 2839.6978 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33927 | 1528.7167 | 1426.9202 | 2955.6369 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33927 | 1560.7821 | 1441.1894 | 3001.9715 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33927 | 1663.8636 | 1455.6013 | 3119.4649 | 0 | 0 | 0 | 0
NOMINAL | 384.072 | 0 | 384.072 | 3369.21 | 0 | 3369.21 | 7911.7724 | 0 | 7911.7724 | 458014.5 | 16312.1915 | 18473.7562 | 34785.9477 | 0 | 0 | 0 | 0
NPV | 358.8492 | 0 | 358.8492 | 3151.3516 | 0 | 3151.3516 | 7392.5184 | 0 | 7392.5184 |  | 9412.9488 | 11182.0763 | 20595.0252 |  | 0 | 0 | 0
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet7(F_23)
|  |  | TOTAL RESOURCE COST TESTS | [8 empty] | PSC FORM CE 2.3
|  |  | PROGRAM: | Pump Equipment Upgrade | [7 empty] | Page 1 of 1
2026-07-29 09:40
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
CUMULATIVE
| INCREASED | UTILITY | PARTICIPANT |  |  |  |  | PROGRAM |  |  |  | DISCOUNTED
| SUPPLY | PROGRAM | PROGRAM | OTHER | TOTAL | AVOIDED | AVOIDED | FUEL | OTHER | TOTAL | NET | NET
| COSTS | COSTS | COSTS | COSTS | COSTS | GEN UNIT | T & D | SAVINGS | BENEFITS | BENEFITS | BENEFITS | BENEFITS
[6 empty] | BENEFITS | BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 125 | 2577.52 | 0 | 2702.52 | 0 | 0 | 173.0175 | 0 | 173.0175 | -2529.5025 | -2529.5025
2021 | 0 | 128 | 2636.803 | 0 | 2764.803 | 0 | 123.1639 | 514.8307 | 0 | 637.9946 | -2126.8084 | -4515.6889
2022 | 0 | 131.072 | 2697.4494 | 0 | 2828.5214 | 0 | 126.1198 | 885.5663 | 0 | 1011.686 | -1816.8354 | -6100.213
2023 | 0 | 0 | 0 | 0 | 0 | 391.2028 | 129.1467 | 1106.2747 | 0 | 1626.6241 | 1626.6241 | -4775.377
2024 | 0 | 0 | 0 | 0 | 0 | 401.6341 | 132.2462 | 1149.7471 | 0 | 1683.6273 | 1683.6273 | -3494.7799
2025 | 0 | 0 | 0 | 0 | 0 | 413.0459 | 135.4201 | 1234.4822 | 0 | 1782.9482 | 1782.9482 | -2228.304
2026 | 0 | 0 | 0 | 0 | 0 | 425.8265 | 138.6702 | 1274.0778 | 0 | 1838.5744 | 1838.5744 | -1008.6658
2027 | 0 | 0 | 0 | 0 | 0 | 437.2896 | 141.9983 | 1353.7019 | 0 | 1932.9898 | 1932.9898 | 188.8218
2028 | 0 | 0 | 0 | 0 | 0 | 444.3736 | 145.4062 | 1500.0583 | 0 | 2089.8381 | 2089.8381 | 1397.8759
2029 | 0 | 0 | 0 | 0 | 0 | 456.4442 | 148.896 | 1607.1088 | 0 | 2212.449 | 2212.449 | 2593.234
2030 | 0 | 0 | 0 | 0 | 0 | 463.7529 | 152.4695 | 1795.0515 | 0 | 2411.274 | 2411.274 | 3809.8763
2031 | 0 | 0 | 0 | 0 | 0 | 479.7613 | 156.1287 | 1788.376 | 0 | 2424.266 | 2424.266 | 4952.1976
2032 | 0 | 0 | 0 | 0 | 0 | 489.8756 | 159.8758 | 1954.5297 | 0 | 2604.2812 | 2604.2812 | 6098.2053
2033 | 0 | 0 | 0 | 0 | 0 | 507.3689 | 163.7128 | 2084.3281 | 0 | 2755.4099 | 2755.4099 | 7230.547
2034 | 0 | 0 | 0 | 0 | 0 | 517.1674 | 167.6419 | 2181.3792 | 0 | 2866.1886 | 2866.1886 | 8330.5343
NOMINAL | 0 | 384.072 | 7911.7724 | 0 | 8295.8444 | 5427.7427 | 2020.896 | 20602.5299 | 0 | 28051.1686 | 19755.3242
NPV: | 0 | 358.8492 | 7392.5184 | 0 | 7751.3676 | 3057.1965 | 1223.9751 | 11800.7303 | 0 | 16081.9019 | 8330.5343
Discount Rate |  | 0.0708 | Benefit/Cost Ratio - [col (11)/col (6)]: |  |  |  | 2.0747

## Sheet8(F_24)
|  |  |  | PARTICIPANT COSTS AND BENEFITS | [6 empty] | PSC FORM CE 2.4
|  |  |  | PROGRAM: | Pump Equipment Upgrade | [5 empty] | Page 1 of 1
2026-07-29 09:40
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12)
SAVINGS
| IN |  |  |  |  | CUSTOMER | CUSTOMER |  |  |  | CUMULATIVE
| PARTICIPANTS | TAX | UTILITY | OTHER | TOTAL | EQUIPMENT | O & M | OTHER | TOTAL | NET | DISCOUNTED
| BILL | CREDITS | REBATES | BENEFITS | BENEFITS | COSTS | COSTS | COSTS | COSTS | BENEFITS | NET BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 348.7184 | 0 | 1123.07 | 0 | 1471.7884 | 2577.52 | 0 | 0 | 2577.52 | -1105.7316 | -1105.7316
2021 | 1072.1426 | 0 | 1123.07 | 0 | 2195.2126 | 2636.803 | 0 | 0 | 2636.803 | -441.5903 | -1518.1245
2022 | 1824.124 | 0 | 1123.07 | 0 | 2947.194 | 2697.4494 | 0 | 0 | 2697.4494 | 249.7446 | -1300.3138
2023 | 2194.512 | 0 | 0 | 0 | 2194.512 | 0 | 0 | 0 | 0 | 2194.512 | 487.0497
2024 | 2258.0294 | 0 | 0 | 0 | 2258.0294 | 0 | 0 | 0 | 0 | 2258.0294 | 2204.5473
2025 | 2325.1783 | 0 | 0 | 0 | 2325.1783 | 0 | 0 | 0 | 0 | 2325.1783 | 3856.1838
2026 | 2383.4423 | 0 | 0 | 0 | 2383.4423 | 0 | 0 | 0 | 0 | 2383.4423 | 5437.266
2027 | 2458.0747 | 0 | 0 | 0 | 2458.0747 | 0 | 0 | 0 | 0 | 2458.0747 | 6960.0439
2028 | 2575.8548 | 0 | 0 | 0 | 2575.8548 | 0 | 0 | 0 | 0 | 2575.8548 | 8450.2779
2029 | 2650.9395 | 0 | 0 | 0 | 2650.9395 | 0 | 0 | 0 | 0 | 2650.9395 | 9882.5467
2030 | 2778.1605 | 0 | 0 | 0 | 2778.1605 | 0 | 0 | 0 | 0 | 2778.1605 | 11284.3069
2031 | 2839.6978 | 0 | 0 | 0 | 2839.6978 | 0 | 0 | 0 | 0 | 2839.6978 | 12622.3809
2032 | 2955.6369 | 0 | 0 | 0 | 2955.6369 | 0 | 0 | 0 | 0 | 2955.6369 | 13923.0018
2033 | 3001.9715 | 0 | 0 | 0 | 3001.9715 | 0 | 0 | 0 | 0 | 3001.9715 | 15156.6685
2034 | 3119.4649 | 0 | 0 | 0 | 3119.4649 | 0 | 0 | 0 | 0 | 3119.4649 | 16353.8584
NOMINAL | 34785.9477 | 0 | 3369.21 | 0 | 38155.1577 | 7911.7724 | 0 | 0 | 7911.7724 | 30243.3853
NPV: | 20595.0252 | 0 | 3151.3516 | 0 | 23746.3768 | 7392.5184 | 0 | 0 | 7392.5184 | 16353.8584
In service year of gen unit: |  |  | 2023 |  | 3.2122
Discount rate: |  |  | 0.0708

## Sheet9(F_25)
[5 empty] | RATE IMPACT TEST | [7 empty] | PSC FORM CE 2.5
[5 empty] | PROGRAM: | Pump Equipment Upgrade | [6 empty] | Page 1 of 1
2026-07-29 09:40
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
[7 empty] | AVOIDED |  |  |  |  | NET | CUMULATIVE
| INCREASED | UTILITY |  |  |  |  | GEN UNIT | AVOIDED |  |  |  | BENEFITS | DISCOUNTED
| SUPPLY | PROGRAM |  | REVENUE | OTHER | TOTAL | UNIT & FUEL | T & D | REVENUE | OTHER | TOTAL | TO ALL | NET
| COSTS | COSTS | INCENTIVES | LOSSES | COSTS | COSTS | BENEFITS | BENEFITS | GAINS | BENEFITS | BENEFITS | CUSTOMERS | BENEFIT
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 125 | 1123.07 | 211.0532 | 0 | 1459.1232 | 173.0175 | 0 | 0 | 0 | 173.0175 | -1286.1057 | -1286.1057
2021 | 0 | 128 | 1123.07 | 639.4912 | 0 | 1890.5612 | 514.8307 | 123.1639 | 0 | 0 | 637.9946 | -1252.5667 | -2455.8541
2022 | 0 | 131.072 | 1123.07 | 1076.4769 | 0 | 2330.6189 | 885.5663 | 126.1198 | 0 | 0 | 1011.686 | -1318.9329 | -3606.1405
2023 | 0 | 0 | 0 | 1304.69 | 0 | 1304.69 | 1497.4775 | 129.1467 | 0 | 0 | 1626.6241 | 321.9341 | -3343.9349
2024 | 0 | 0 | 0 | 1317.7369 | 0 | 1317.7369 | 1551.3811 | 132.2462 | 0 | 0 | 1683.6273 | 365.8904 | -3065.6321
2025 | 0 | 0 | 0 | 1330.9143 | 0 | 1330.9143 | 1647.5281 | 135.4201 | 0 | 0 | 1782.9482 | 452.0339 | -2744.5403
2026 | 0 | 0 | 0 | 1344.2234 | 0 | 1344.2234 | 1699.9042 | 138.6702 | 0 | 0 | 1838.5744 | 494.351 | -2416.6072
2027 | 0 | 0 | 0 | 1357.6656 | 0 | 1357.6656 | 1790.9915 | 141.9983 | 0 | 0 | 1932.9898 | 575.3241 | -2060.1938
2028 | 0 | 0 | 0 | 1371.2423 | 0 | 1371.2423 | 1944.4319 | 145.4062 | 0 | 0 | 2089.8381 | 718.5958 | -1644.4577
2029 | 0 | 0 | 0 | 1384.9547 | 0 | 1384.9547 | 2063.553 | 148.896 | 0 | 0 | 2212.449 | 827.4943 | -1197.373
2030 | 0 | 0 | 0 | 1398.8043 | 0 | 1398.8043 | 2258.8045 | 152.4695 | 0 | 0 | 2411.274 | 1012.4697 | -686.5171
2031 | 0 | 0 | 0 | 1412.7923 | 0 | 1412.7923 | 2268.1373 | 156.1287 | 0 | 0 | 2424.266 | 1011.4737 | -209.9077
2032 | 0 | 0 | 0 | 1426.9202 | 0 | 1426.9202 | 2444.4053 | 159.8758 | 0 | 0 | 2604.2812 | 1177.3609 | 308.1871
2033 | 0 | 0 | 0 | 1441.1894 | 0 | 1441.1894 | 2591.697 | 163.7128 | 0 | 0 | 2755.4099 | 1314.2204 | 848.2689
2034 | 0 | 0 | 0 | 1455.6013 | 0 | 1455.6013 | 2698.5466 | 167.6419 | 0 | 0 | 2866.1886 | 1410.5872 | 1389.6248
NOMINAL | 0 | 384.072 | 3369.21 | 18473.7562 | 0 | 22227.0382 | 26030.2727 | 2020.896 | 0 | 0 | 28051.1686 | 5824.1304
NPV: | 0 | 358.8492 | 3151.3516 | 11182.0763 | 0 | 14692.2771 | 14857.9268 | 1223.9751 | 0 | 0 | 16081.9019 | 1389.6248
Discount rate: |  |  | 0.0708 |  | Benefit/Cost Ratio - [col (12)/col (7)]: |  |  |  | 1.0946

## Value of Defferal
GEN: | [7 empty] | COMPUTATION OF CONSTRUCTION CASH FLOW AND PLANT |  |  |  |  | Do Not Print
COMPUTATION OF GENERATION COSTS & REV. REQUIREMENTS | [7 empty] | IN-SERVICE COSTS FOR AVOIDED TRANS & DIST PLANT
IN-SERVICE AVOIDED GEN. PLANT ($000) = |  |  |  | 3093.2659 |  |  |  | -----------------------------------------------
------------------------------------------ |  |  |  |  | GENERATION |  |  | TRAN: | Avoided Trans. = |  | 180.4391
|  |  |  | COMPUTATION OF VALUE DEFERRAL PAYMENTS |  |  |  |  | Avoided Dist. = |  | 384.6218 |  | TRANSMISSION & DIST.
COMPUTATION OF VALUE DEFERRAL CREDITS
|  |  |  | ip= | 0.024 | Esc. rate | [5 empty] | ip= | 0.024 | Esc. rate
| Gen |  |  | r= | 0.0708 | Disc rate |  | TRAN |  |  |  | r= | 0.0708 | Disc rate
| Offset Cost | 5 |  | l= | 25 | Econ life |  | Offset Cost |  | 7 |  | l= | 25 | Econ life
| Offset Factor | 4 |  | c= | 1 | Risk factor |  | Offset Factor |  | 5 |  | c= | 1 | Risk factor
|  |  |  | k= | 1.5213 | K factor |  | DIST |  |  |  | k= | 1.5213 | K factor
|  |  |  | Ratio= | 0.95629 | calculated ratio |  | Offset Cost |  | 8 |  | Ratio= | 0.95629 | calculated ratio
[8 empty] | Offset Factor |  | 5
|  |  |  | VALUE of DEFERRAL | [7 empty] | VALUE DEFERRAL STARTING
|  |  |  | Factor = | 0.098822 | [6 empty] | FACTOR = | 0.098822
[5 empty] | AVOIDED |  |  |  |  | TRANS | DIST |  | AVOIDED | AVOIDED
|  | CARRYING | ANNUAL | Value | GEN. |  |  |  | CARRYING | ANNUAL | ANNUAL |  | TRANS. | DIST
|  | CHARGE | REV REQ | of Def | V OF D |  |  |  | CHARGE | REV REQ | REV REQ |  | V OF D | V OF D
N | Year | % | COSTS(000) | Factors | ($000) |  | N | Year | % | COSTS(000) | COSTS(000) | Factors | ($000) | $(000)
-- | ---- | ------ | ------ | ------ | ----- |  |  |  | ------ | ------ | ------
1 | 2020 | 0 | 0 | 0 | 0 |  | 1 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2021 | 0 | 0 | 0 | 0 |  | 2 | 2021 | 0 | 0 | 0 | 0.098822 | 17.8314 | 38.0092
3 | 2022 | 0 | 0 | 0 | 0 |  | 3 | 2022 | 0 | 0 | 0 | 0.10119 | 18.2594 | 38.9214
4 | 2023 | 0.13759 | 425.6045 | 0.098822 | 305.6837 |  | 4 | 2023 | 0.13759 | 24.8267 | 52.9204 | 0.10362 | 18.6976 | 39.8555
5 | 2024 | 0.13353 | 413.0365 | 0.10119 | 313.0201 |  | 5 | 2024 | 0.13353 | 24.0936 | 51.3576 | 0.10611 | 19.1463 | 40.8121
6 | 2025 | 0.12904 | 399.1614 | 0.10362 | 320.5326 |  | 6 | 2025 | 0.12904 | 23.2842 | 49.6324 | 0.10866 | 19.6058 | 41.7916
7 | 2026 | 0.12477 | 385.9509 | 0.10611 | 328.2253 |  | 7 | 2026 | 0.12477 | 22.5136 | 47.9898 | 0.11126 | 20.0764 | 42.7946
8 | 2027 | 0.12069 | 373.3383 | 0.10866 | 336.1027 |  | 8 | 2027 | 0.12069 | 21.7779 | 46.4215 | 0.11393 | 20.5582 | 43.8216
9 | 2028 | 0.11679 | 361.2643 | 0.11126 | 344.1692 |  | 9 | 2028 | 0.11679 | 21.0736 | 44.9202 | 0.11667 | 21.0516 | 44.8734
10 | 2029 | 0.11301 | 349.5663 | 0.11393 | 352.4293 |  | 10 | 2029 | 0.11301 | 20.3912 | 43.4656 | 0.11947 | 21.5569 | 45.9503
11 | 2030 | 0.10927 | 337.9886 | 0.11667 | 360.8876 |  | 11 | 2030 | 0.10927 | 19.7159 | 42.0261 | 0.12234 | 22.0742 | 47.0531
12 | 2031 | 0.10552 | 326.4109 | 0.11947 | 369.5489 |  | 12 | 2031 | 0.10552 | 19.0405 | 40.5865 | 0.12527 | 22.604 | 48.1824
13 | 2032 | 0.10178 | 314.8332 | 0.12234 | 378.418 |  | 13 | 2032 | 0.10178 | 18.3651 | 39.1469 | 0.12828 | 23.1465 | 49.3388
14 | 2033 | 0.098037 | 303.2555 | 0.12527 | 387.5001 |  | 14 | 2033 | 0.098037 | 17.6898 | 37.7073 | 0.13136 | 23.702 | 50.5229
15 | 2034 | 0.094294 | 291.6778 | 0.12828 | 396.8001 |  | 15 | 2034 | 0.094294 | 17.0144 | 36.2677 | 0.13451 | 24.2709 | 51.7355
16 | 2035 | 0.090552 | 280.1001 | 0.13136 | 406.3233 |  | 16 | 2035 | 0.090552 | 16.3391 | 34.8281 | 0.13774 | 24.8534 | 52.9771
17 | 2036 | 0.086809 | 268.5225 | 0.13451 | 416.075 |  | 17 | 2036 | 0.086809 | 15.6637 | 33.3885 | 0.14104 | 25.4498 | 54.2486
18 | 2037 | 0.083066 | 256.9448 | 0.13774 | 426.0608 |  | 18 | 2037 | 0.083066 | 14.9883 | 31.9489 | 0.14443 | 26.0606 | 55.5505
19 | 2038 | 0.079674 | 246.4543 | 0.14104 | 436.2863 |  | 19 | 2038 | 0.079674 | 14.3764 | 30.6445 | 0.1479 | 26.6861 | 56.8837
20 | 2039 | 0.076986 | 238.1378 | 0.14443 | 446.7572 |  | 20 | 2039 | 0.076986 | 13.8913 | 29.6104 | 0.15144 | 27.3266 | 58.2489
21 | 2040 | 0.074649 | 230.9081 | 0.1479 | 457.4793 |  | 21 | 2040 | 0.074649 | 13.4695 | 28.7115 | 0.15508 | 27.9824 | 59.6469
22 | 2041 | 0.072311 | 223.6785 | 0.15144 | 468.4589 |  | 22 | 2041 | 0.072311 | 13.0478 | 27.8125 | 0.1588 | 28.654 | 61.0784
23 | 2042 | 0.069974 | 216.4488 | 0.15508 | 479.7019 |  | 23 | 2042 | 0.069974 | 12.6261 | 26.9136 | 0.16261 | 29.3417 | 62.5443
24 | 2043 | 0.067637 | 209.2191 | 0.1588 | 491.2147 |  | 24 | 2043 | 0.067637 | 12.2044 | 26.0147 | 0.16652 | 30.0459 | 64.0454
25 | 2044 | 0.0653 | 201.9895 | 0.16261 | 503.0039 |  | 25 | 2044 | 0.0653 | 11.7826 | 25.1157 | 0.17051 | 30.767 | 65.5825
26 | 2045 | 0.062963 | 194.7598 | 0.16652 | 515.076 |  | 26 | 2045 | 0.062963 | 11.3609 | 24.2168 | 0.1746 | 31.5054 | 67.1565
27 | 2046 | 0.060625 | 187.5302 | 0.17051 | 527.4378 |  | 27 | 2046 | 0.060625 | 10.9392 | 23.3178 | 0 | 0 | 0
28 | 2047 | 0.058288 | 180.3005 | 0.1746 | 540.0963 |  | 28 | 2047 | 0.058288 | 10.5174 | 22.4189 | 0 | 0 | 0
29 | 2048 | 0.055951 | 173.0708 | 0 | 0 |  | 29 | 2048 | 0.055951 | 10.0957 | 21.5199 | 0 | 0 | 0
30 | 2049 | 0 | 0 | 0 | 0 |  | 30 | 2049 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2050 | 0 | 0 | 0 | 0 |  | 31 | 2050 | 0 | 0 | 0 | 0 | 0 | 0
32 | 2051 | 0 | 0 | 0 | 0 |  | 32 | 2051 | 0 | 0 | 0 | 0 | 0 | 0
33 | 2052 | 0 | 0 | 0 | 0 |  | 33 | 2052 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2053 | 0 | 0 | 0 | 0 |  | 34 | 2053 | 0 | 0 | 0 | 0 | 0 | 0
35 | 2054 | 0 | 0 | 0 | 0 |  | 35 | 2054 | 0 | 0 | 0 | 0 | 0 | 0
36 | 2055 | 0 | 0 | 0 | 0 |  | 36 | 2055 | 0 | 0 | 0 | 0 | 0 | 0
37 | 2056 | 0 | 0 | 0 | 0 |  | 37 | 2056 | 0 | 0 | 0 | 0 | 0 | 0
38 | 2057 | 0 | 0 | 0 | 0 |  | 38 | 2057 | 0 | 0 | 0 | 0 | 0 | 0
39 | 2058 | 0 | 0 | 0 | 0 |  | 39 | 2058 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ----- |  | ----- |  |  |  |  | ----- |  |  | ----
|  | NOMINAL | 7390.153 |  | 10307.2888 |  |  |  | NOMINAL | 431.089 |  |  | 601.2539
|  | NPV | 3299.748 |  | 3832.7195 |  |  |  | NPV | 192.4838 |  |  | 256.3523