## Fuel
Fuel Values from Table 1 Provided by Resource Planning
|  | REDUCED KWH | REPLACE. | Carbon
| UTIL AVG | PROGRAM | FUEL COST
| SYS. FUEL | MARGINAL | OF AVOIDED
| ADJ. COST | FUEL COST | GENERATOR |  |  |  | System average $/MWh |  | Total marginal $/MWh |  | Replacement fuel average system $/MWh (Future Total $/MWh
| (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) |  |  | Conversion to cents per kWh and copy and paste |  | Conversion to cents per kWh and copy and paste |  | Conversion to cents per kWh and copy and paste
2020 | 2.4346 | 2.9007 | 2.8789 | 0 | Change first year to base year | 2020 | 24.3461 | 2.4346 | 29.0071 | 2.9007 | 28.7892 | 2.8789
2021 | 2.5505 | 2.8771 | 3.0378 | 0 |  |  | 25.5048 | 2.5505 | 28.7712 | 2.8771 | 30.3778 | 3.0378
2022 | 2.6444 | 2.9694 | 3.1562 | 0 |  |  | 26.4443 | 2.6444 | 29.6938 | 2.9694 | 31.5623 | 3.1562
2023 | 2.6228 | 3.0912 | 3.1726 | 0 |  |  | 26.2275 | 2.6228 | 30.9119 | 3.0912 | 31.7263 | 3.1726
2024 | 2.7715 | 3.2127 | 3.3146 | 0 |  |  | 27.7152 | 2.7715 | 32.1266 | 3.2127 | 33.1455 | 3.3146
2025 | 2.9306 | 3.4494 | 3.4459 | 0 |  |  | 29.306 | 2.9306 | 34.4943 | 3.4494 | 34.459 | 3.4459
2026 | 3.0631 | 3.5601 | 3.5576 | 0 |  |  | 30.631 | 3.0631 | 35.6007 | 3.5601 | 35.5755 | 3.5576
2027 | 3.2435 | 3.7826 | 3.7168 | 0 |  |  | 32.4346 | 3.2435 | 37.8256 | 3.7826 | 37.1679 | 3.7168
2028 | 3.5506 | 4.1915 | 4.0002 | 0 |  |  | 35.506 | 3.5506 | 41.9151 | 4.1915 | 40.0025 | 4.0002
2029 | 3.7315 | 4.4906 | 4.1758 | 0 |  |  | 37.315 | 3.7315 | 44.9064 | 4.4906 | 41.758 | 4.1758
2030 | 4.0657 | 5.0158 | 4.4863 | 0 |  |  | 40.6566 | 4.0657 | 50.158 | 5.0158 | 44.8628 | 4.4863
2031 | 4.2058 | 4.9971 | 4.5978 | 0 |  |  | 42.0581 | 4.2058 | 49.9714 | 4.9971 | 45.9784 | 4.5978
2032 | 4.5059 | 5.4614 | 4.8738 | 0 |  |  | 45.059 | 4.5059 | 54.6141 | 5.4614 | 48.7376 | 4.8738
2033 | 4.6004 | 5.8241 | 4.9849 | 0 |  |  | 46.0041 | 4.6004 | 58.241 | 5.8241 | 49.8492 | 4.9849
2034 | 4.9042 | 6.0953 | 5.3066 | 0 |  |  | 49.0425 | 4.9042 | 60.9529 | 6.0953 | 53.0658 | 5.3066
2035 | 5.1129 | 6.713 | 5.51 | 0 |  |  | 51.1291 | 5.1129 | 67.1303 | 6.713 | 55.1005 | 5.51
2036 | 5.2848 | 6.6305 | 5.6211 | 0 |  |  | 52.8477 | 5.2848 | 66.3047 | 6.6305 | 56.2114 | 5.6211
2037 | 5.5808 | 7.0768 | 5.9258 | 0 |  |  | 55.8078 | 5.5808 | 70.768 | 7.0768 | 59.258 | 5.9258
2038 | 5.7122 | 7.1036 | 6.0486 | 0 |  |  | 57.122 | 5.7122 | 71.036 | 7.1036 | 60.4856 | 6.0486
2039 | 5.9311 | 7.111 | 6.3 | 0 |  |  | 59.3114 | 5.9311 | 71.1096 | 7.111 | 62.9999 | 6.3
2040 | 5.9994 | 7.6517 | 6.2928 | 0 |  |  | 59.9936 | 5.9994 | 76.5172 | 7.6517 | 62.9279 | 6.2928
2041 | 6.2973 | 7.8807 | 6.6911 | 0 |  |  | 62.9728 | 6.2973 | 78.8067 | 7.8807 | 66.9109 | 6.6911
2042 | 6.5926 | 8.4253 | 7.0452 | 0 |  |  | 65.9265 | 6.5926 | 84.2527 | 8.4253 | 70.4523 | 7.0452
2043 | 6.7828 | 8.6253 | 7.3416 | 0 |  |  | 67.828 | 6.7828 | 86.2527 | 8.6253 | 73.4159 | 7.3416
2044 | 6.683 | 8.2933 | 7.2669 | 0 |  |  | 66.8298 | 6.683 | 82.9329 | 8.2933 | 72.6692 | 7.2669
2045 | 6.9426 | 8.6795 | 7.4645 | 0 |  |  | 69.4259 | 6.9426 | 86.7946 | 8.6795 | 74.6447 | 7.4645
2046 | 7.185 | 8.825 | 7.687 | 0 |  |  | 71.8501 | 7.185 | 88.2504 | 8.825 | 76.8699 | 7.687
2047 | 7.1737 | 8.9505 | 7.6738 | 0 |  |  | 71.7367 | 7.1737 | 89.5052 | 8.9505 | 76.7381 | 7.6738
2048 | 7.174 | 8.951 | 7.674 | 0 |  |  | 71.74 | 7.174 | 89.51 | 8.951 | 76.74 | 7.674
2049 | 7.174 | 8.951 | 7.674 | 0 |  |  | 71.74 | 7.174 | 89.51 | 8.951 | 76.74 | 7.674
2050 | 0 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0
2054 | 0 | 0 | 0 | 0
2055 | 0 | 0 | 0 | 0
2056 | 0 | 0 | 0 | 0
2057 | 0 | 0 | 0 | 0
2058 | 0 | 0 | 0 | 0

## Spending Curve
[7 empty] | ACCUM. | BOOK
|  | Spending Curve |  | CONSTR. |  | ACCUM. | CONSTR. | VALUE
|  |  | YEAR | EXPEND. | AFUDC | AFUDC | EXPEND. | NOT CLOSED
|  | 19.51% | 2020 | 25757 | 832 | 832 | 25757 | 26589
|  | 55.94% | 2021 | 73851 | 4049 | 4881 | 99608 | 77900
|  | 24.55% | 2022 | 32410 | 7482 | 12363 | 132018 | 39892
|  |  | 2023 | 0 | 0 | 0 | 0 | 0
| Check | 100% |  |  |  | 12363 | 132018 | 144381
|  | Year 1 | 0.1951 | 109.2942 | 3.6332 |  |  | 112.8246
|  | Year 2 | 0.5594 | 313.3706 | 17.6812 |  |  | 330.5516
|  | Year 3 | 0.2455 | 137.5248 | 32.6725 |  |  | 169.273
|  | Year 4 |  | 0 | 0 |  |  | 0
|  |  |  | 560.1895 |  |  |  | 612.6492
Spending for Avoided Unit Tab on replacement fuel (from Resource Planning)
7FA.05 CT
Three years construction for 2023 unit
| 7FA.05 CT | 2020 | 2021 | 2022 |  |  | Winter Capacity |  | 245000
| 1st year | 832 | 0 | 0 |  | Check | Summer Capacity |  | 229000
| 2nd year | 0 | 4049 | 0 |  |  | Average Capacity |  | 235666.6667 | uses 7 by 5 for summer winter methodology
| 3rd year | 0 | 0 | 7482 | [5 empty] | Check formula if 7x5 changes
| 4th year | 0 | 0 | 0
| 5th year | 0 | 0 | 0
| 6th year | 0 | 0 | 0
| 7th year | 0 | 0 | 0 | [5 empty] | Feed F11B
| 8th year | 0 | 0 | 0 | Cummulative AFUDC
| Total AFUDC | 832 | 4049 | 7482 | 12363 |  |  | Check
| 7FA.05 CT | 2020 | 2021 | 2022
| 1st year | 25757 | 0 | 0
| 2nd year | 0 | 73851 | 0
| 3rd year | 0 | 0 | 32410
| 4th year | 0 | 0 | 0 | Check
| 5th year | 0 | 0 | 0
| 6th year | 0 | 0 | 0
| 7th year | 0 | 0 | 0
| 8th year | 0 | 0 | 0 | Cummulative Cap Ex
| Total Cap Ex | 25757 | 73851 | 32410 | 132018
144381
Total

## T&D Costs
Inflation Rate | 2.8%
| Data Provided | Base Year
| 2020 | 2020
Avoided Transmission Cost | 11.24 | 34.9
Avoided Distribution Cost | 54.63 | 82.37
O&M Escalation rate | 2.4% | 2020
Transmission Fixed O&M Costs |  | 2.78
Distribution Fixed O&M Costs |  | 11.34

## EUE_Line Losses
EUE
Summer | 79.59%
Winter | 20.41%
Line Losses
Gen KW
| Residential | Commercial
kW | 7.3 | 7
kWh | 5.6 | 5.2
Residential
Forced Outage Rate | 0.034 | 0.966
Line Loss | 7.3% | 0.927
Multiplier | 0.89548
Commercial
Forced Outage Rate | 0.034 | 0.966
Line Loss | 7% | 0.93
Multiplier | 0.89838
4.4887 | Residential
4.4743 | Commercial

## Revenue Requirements
Generation
| Comb. Cycle | Tran & Dist
| Rev Reqm't | Rev Reqm't | See Column N (K Factor Test)
| K FACTORS | K FACTORS
2023 | 0.13759 | 0.13759
2024 | 0.13353 | 0.13353
2025 | 0.12904 | 0.12904
2026 | 0.12477 | 0.12477
2027 | 0.12069 | 0.12069
2028 | 0.11679 | 0.11679
2029 | 0.11301 | 0.11301
2030 | 0.10927 | 0.10927
2031 | 0.10552 | 0.10552
2032 | 0.10178 | 0.10178
2033 | 0.098037 | 0.098037
2034 | 0.094294 | 0.094294
2035 | 0.090552 | 0.090552
2036 | 0.086809 | 0.086809
2037 | 0.083066 | 0.083066
2038 | 0.079674 | 0.079674
2039 | 0.076986 | 0.076986
2040 | 0.074649 | 0.074649
2041 | 0.072311 | 0.072311
2042 | 0.069974 | 0.069974
2043 | 0.067637 | 0.067637
2044 | 0.0653 | 0.0653
2045 | 0.062963 | 0.062963
2046 | 0.060625 | 0.060625
2047 | 0.058288 | 0.058288
2048 | 0.055951 | 0.055951
2049 | 0 | 0
2050 | 0 | 0
2051 | 0 | 0
2052 | 0 | 0
2053 | 0 | 0

## Title Results Update
ECONOMIC LIFE & K FACTORS
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS
II. | (4) K FACTOR FOR GENERATION | 1.5213
II. | (5) K FACTOR FOR T & D | 1.5213
UTILITY & CUSTOMER COSTS
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | %
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.3 | %
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.3 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0708
III. | (13)* UTILITY AFUDC RATE | 0.0646
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | %
AVOIDED GENERATOR, TRANS. & DIST COSTS
IV. | (1) BASE YEAR | 2020
IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2023
IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2021
IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 526.3 | $/KW
IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 34.9 | $/KW
IV. | (6) BASE YEAR AVOIDED DISTRIBUTION COST | 82.37 | $/KW
IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 2.4 | %
IV. | (8) GENERATOR FIXED O & M COST | 5.83 | $/KW/YR
IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | %
IV. | (10) TRANSMISSION FIXED O & M COST | 2.78 | $/KW/YR
IV. | (11) DISTRIBUTION FIXED O & M COST | 11.34 | $/KW/YR
IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.21 | CENTS/KWH | 0.2
IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
IV. | (15) GENERATOR CAPACITY FACTOR | 9.1 | % | See Table1 - column j
IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 3.75 | CENTS/KWH
IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 4.54 | % | See Table1
IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %

## Rates
|  |  | Energy | Demand
|  | Residential | Commercial GSD Secondary kWh | Commercial GSD Secondary kW
| Base Rate | 5.3583 | 1.596 | 0
| Demand Charge | 0 | 0 | 10.59
| Fuel | 0 | 0 | 0
| ECCR | 0.271 | 0 | 0.96
| Capacity | 0.085 | 0 | 0.32
| ECRC | 0.222 | 0.222 | 0
Energy | 1.818 | 5.9363 | 1.818 | 11.87
Demand | 10.0895

## Input
Answer questions 1 thru 16 to complete evaluation. Press RUN for results. (See Title & Results). |  |  |  | Do Not Print this page
1 | Program Title | HVAC Equipment Upgrades
2 | Demand & Energy Savings
| Winter kW | 3.94
| Summer kW | 4.04
| kWh | 28372
3 | Switch (1=Conservation, 0=Load Management) | 1
4 | Switch (1=Residential, 0=Commercial) | 0 |  |  | avoided unit comes online in 2020
ADJUSTED
5 | Participation | Annual |  |  |  |  | Cumulative | CUMULATIVE
|  | Total Partic. |  |  |  |  | Total Partic. | PARTICIPATING
| YEAR | Customers |  |  |  | YEAR | Customers | CUSTOMERS
| 2020 | 1000 |  |  |  | 2020 | 1000 | 1000
| 2021 | 1000 |  |  |  | 2021 | 2000 | 2000
| 2022 | 1000 |  |  |  | 2022 | 3000 | 3000
| 2023 | 0 |  |  |  | 2023 | 3000 | 3000
| 2024 | 0 |  |  |  | 2024 | 3000 | 3000
| 2025 | 0 |  |  |  | 2025 | 3000 | 3000
| 2026 | 0 |  |  |  | 2026 | 3000 | 3000
| 2027 | 0 |  |  |  | 2027 | 3000 | 3000
| 2028 | 0 |  |  |  | 2028 | 3000 | 3000
| 2029 | 0 |  |  |  | 2029 | 3000 | 3000
| 2030 | 0 |  |  |  | 2030 | 3000 | 3000
| 2031 | 0 |  |  |  | 2031 | 3000 | 3000
| 2032 | 0 |  |  |  | 2032 | 3000 | 3000
| 2033 | 0 |  |  |  | 2033 | 3000 | 3000
| 2034 | 0 |  |  |  | 2034 | 3000 | 3000
[6 empty] | 2035 | 3000 | 3000
[6 empty] | 2036 | 3000 | 3000
6 | Free Riders | 0% |  |  |  | 2037 | 3000 | 3000
7 | Study Period for Conservation Program | 18 | Years |  |  | 2038 | 3000 | 3000
8 | Utility Non Recurring Cost Per Customer | 125 | $/CUST |  |  | 2039 | 3000 | 3000
9 | Utility Recurring Cost Per Customer (Load Management) | 0 | $/CUST/YR |  |  | 2040 | 3000 | 3000
10 | Customer Equipment Cost | 6629.48 | $/CUST |  |  | 2041 | 3000 | 3000
11 | Customer O & M Cost | 0 | $/CUST/YR |  |  | 2042 | 3000 | 3000
12 | Customer Tax Credit Per Installation | 0 | $/CUST |  |  | 2043 | 3000 | 3000
13 | Increased Supply Costs | 0 | $/CUST/YR |  |  | 2044 | 3000 | 3000
14 | Utility Non Recurring Rebate/Incentive | 2915.96 | $/CUST |  |  | 2045 | 3000 | 3000
15 | Utility Recurring Rebate/Incentive (Load Management) | 0 | $/CUST/YR
16 | Diversity and Annual Demand | 1
Adjustment Factor for Customer Bill:
See Participation C,D,E,F 73
See Participation F_22 F5,6

## Title_RESULTS
|  | INPUT DATA - PART 1 |  |  |  | PSC FORM CE 1.1
|  | PROGRAM TITLE: | HVAC Equipment Upgrades |  |  | PAGE 1 OF 1
[6 empty] | RUN DATE: | 2026-07-29 05:40
| PROGRAM DEMAND SAVINGS & LINE LOSSES |  |  |  | AVOIDED GENERATOR, TRANS. & DIST COSTS
I. | (1) CUSTOMER KW REDUCTION AT THE METER | 4.04 | KW /CUST | IV. | (1) BASE YEAR | 2020
I. | (2) GENERATOR KW REDUCTION PER CUSTOMER | 4.4743 | KW GEN/CUST | IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2023
I. | (3) KW LINE LOSS PERCENTAGE | 7 | % | IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2021
I. | (4) GENERATION KWH REDUCTION PER CUSTOMER | 29928.27 | KWH/CUST/YR | IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 526.3 | $/KW
I. | (5) KWH LINE LOSS PERCENTAGE | 5.2 | % | IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 34.9 | $/KW
I. | (6) GROUP LINE LOSS MULTIPLIER | 1 |  | IV. | (6) BASE YEAR DISTRIBUTION COST | 82.37 | $/KW
I. | (7) CUSTOMER KWH PROGRAM INCREASE AT METER | 0 | KWH/CUST/YR | IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 2.4 | %
I. | (8)* CUSTOMER KWH REDUCTION AT METER | 28372 | KWH/CUST/YR | IV. | (8) GENERATOR FIXED O & M COST | 5.83 | $/KW/YR
|  |  |  | IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | %
| ECONOMIC LIFE & K FACTORS |  |  | IV. | (10) TRANSMISSION FIXED O & M COST | 2.78 | $/KW/YR
II. | (1) STUDY PERIOD FOR CONSERVATION PROGRAM | 18 | YEARS | IV. | (11) DISTRIBUTION FIXED O & M COST | 11.34 | $/KW/YR
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS | IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS | IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.21 | CENTS/KWH
II. | (4) K FACTOR FOR GENERATION | 1.5213 |  | IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
II. | (5) K FACTOR FOR T & D | 1.5213 |  | IV. | (15) GENERATOR CAPACITY FACTOR | 9.1 | %
| (6)* SWITCH REV REQ(0) OR VAL-OF-DEF (1) | 1 |  | IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 3.75 | CENTS/KWH
|  |  |  | IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 4.54 | %
|  |  |  | IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
| UTILITY & CUSTOMER COSTS |  |  | IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %
III. | (1) UTILITY NONRECURRING COST PER CUSTOMER | 125 | $/CUST
III. | (2) UTILITY RECURRING COST PER CUSTOMER | 0 | $/CUST/YR
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | %
III. | (4) CUSTOMER EQUIPMENT COST | 6629.48 | $/CUST |  | NON-FUEL ENERGY AND DEMAND CHARGES
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.3 | % | V. | (1) NON-FUEL COST IN CUSTOMER BILL | 1.818 | CENTS/KWH
III. | (6) CUSTOMER O & M COST | 0 | $/CUST/YR | V. | (2) NON-FUEL ESCALATION RATE | 1 | %
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.3 | % | V. | (3) CUSTOMER DEMAND CHARGE PER KW | 11.87 | $/KW/MO
III. | (8)* CUSTOMER TAX CREDIT PER INSTALLATION | 0 | $/CUST | V. | (4) DEMAND CHARGE ESCALATION RATE | 1 | %
III. | (9)* CUSTOMER TAX CREDIT ESCALATION RATE | 0 | % | V. | (5)* DIVERSITY and ANNUAL DEMAND ADJUSTMENT
III. | (10)* INCREASED SUPPLY COSTS | 0 | $/CUST/YR |  | FACTOR FOR CUSTOMER BILL | 1
III. | (11)* SUPPLY COSTS ESCALATION RATE | 0 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0708
III. | (13)* UTILITY AFUDC RATE | 0.0646 |  |  | CALCULATED BENEFITS AND COSTS
III. | (14)* UTILITY NON RECURRING REBATE/INCENTIVE | 2915.96 | $/CUST |  | (1)* TRC TEST - BENEFIT/COST RATIO | 2.5326
III. | (15)* UTILITY RECURRING REBATE/INCENTIVE | 0 | $/CUST/YR |  | (2)* PARTICIPANT NET BENEFITS (NPV) | 50101.4057
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | % |  | (3)* RIM TEST - BENEFIT/COST RATIO | 1.1877
END OF EDITING AREA
YEARLY INPUT DATA: GO TO H5..Q76 & INPUT (Page 2)
PLEASE NOTE: UTILITY NON-LEVELIZED REVENUE REQUIREMENT
FACTORS AT RANGE NAMES GEN_RRTBL AND TRAN_RRTBL.

## Partcipation
[6 empty] | See N16 for Rev Requirements |  | Do Not Print
PROGRAM TITLE:
2026-07-29 05:40
VI. YEARLY INPUT DATA
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
| CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
| TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 2.8789 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0.44431
2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 3.0378 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0.48729
2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 3.1562 | 1 | 1 | 0 | 0 | 0 | 3.1238 |  | 0.5118
2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 3.1726 | 1 | 1 | 0 | 0 | 0 | 3.28 |  | 0.54987
2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 3.3146 | 1 | 1 | 0 | 0 | 0 | 3.444 |  | 0.54304
2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 3.4459 | 1 | 1 | 0 | 0 | 0 | 3.6162 |  | 0.51531
2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 3.5576 | 1 | 1 | 0 | 0 | 0 | 3.797 |  | 0.49445
2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 3.7168 | 1 | 1 | 0 | 0 | 0 | 3.9869 |  | 0.47333
2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 4.0002 | 1 | 1 | 0 | 0 | 0 | 4.1862 |  | 0.44964
2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 4.1758 | 1 | 1 | 0 | 0 | 0 | 4.3955 |  | 0.4443
2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 4.4863 | 1 | 1 | 0 | 0 | 0 | 4.6153 |  | 0.42062
2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 4.5978 | 1 | 1 | 0 | 0 | 0 | 4.8461 |  | 0.39203
2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 4.8738 | 1 | 1 | 0 | 0 | 0 | 5.0884 |  | 0.36786
2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 4.9849 | 1 | 1 | 0 | 0 | 0 | 5.3428 |  | 0.3845
2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 5.3066 | 1 | 1 | 0 | 0 | 0 | 5.6099 |  | 0.40233
2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 5.51 | 1 | 1 | 0 | 0 | 0 | 5.8904 | 2010 Carbon, not used in 2015 | 0.39714
2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 5.6211 | 1 | 1 | 0 | 0 | 0 | 6.1849 |  | 0.33637
2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 5.9258 | 1 | 1 | 0 | 0 | 0 | 6.4942 |  | 0.34503
2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 6.0486 | 1 | 1 | 0 | 0 | 0 | 6.8189 |  | 0.33636
2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 6.3 | 1 | 1 | 0 | 0 | 0 | 7.1598 |  | 0.36885
2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 6.2928 | 1 | 1 | 0 | 0 | 0 | 7.5178 |  | 0.29344
2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 6.6911 | 1 | 1 | 0 | 0 | 0 | 7.8937 |  | 0.39381
2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 7.0452 | 1 | 1 | 0 | 0 | 0 | 8.2884 |  | 0.45259
2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 7.3416 | 1 | 1 | 0 | 0 | 0 | 8.7028 |  | 0.55879
2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 7.2669 | 1 | 1 | 0 | 0 | 0 | 9.138 |  | 0.58395
2045 | 3000 | 3000 | 6.9426 | 8.6795 | 0 | 7.4645 | 1 | 1 | 0 | 0 | 0 | 9.5949 |  | 0.52188
2046 | 0 | 0 | 7.185 | 8.825 | 0 | 7.687 | 1 | 1 | 0 | 0 | 0 | 10.0746 |  | 0.50198
2047 | 0 | 0 | 7.1737 | 8.9505 | 0 | 7.6738 | 1 | 1 | 0 | 0 | 0 | 10.5783 |  | 0.50014
2048 | 0 | 0 | 7.174 | 8.951 | 0 | 7.674 | 1 | 1 | 0 | 0 | 0 | 11.1072 |  | 0.5
2049 | 0 | 0 | 7.174 | 8.951 | 0 | 7.674 | 1 | 1 | 0 | 0 | 0 | 11.6626 |  | 0.5
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2054 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2055 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2056 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2057 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2058 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
4
3
Unit Size of Avoided Generation Unit | (2): 13423
|  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  |  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
|  | CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
|  | TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
| YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | 0 | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
| 2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 0 | 1 | 1 | 0 | 0 | 2.02
| 2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 0 | 1 | 1 | 0 | 0 | 2.1
| 2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 0 | 1 | 1 | 0 | 0 | 2.4
| 2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 0 | 1 | 1 | 0 | 0 | 2.41
| 2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 0 | 1 | 1 | 0 | 0 | 2.79
| 2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 0 | 1 | 1 | 0 | 0 | 3.05
| 2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 0 | 1 | 1 | 0 | 0 | 3.18
| 2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 0 | 1 | 1 | 0 | 0 | 3.07
| 2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 0 | 1 | 1 | 0 | 0 | 3.49
| 2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 0 | 1 | 1 | 0 | 0 | 3.53
| 2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 0 | 1 | 1 | 0 | 0 | 3.81
| 2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 0 | 1 | 1 | 0 | 0 | 4.29
| 2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 0 | 1 | 1 | 0 | 0 | 4.43
| 2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 0 | 1 | 1 | 0 | 0 | 4.61
| 2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 0 | 1 | 1 | 0 | 0 | 5.23
| 2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 0 | 1 | 1 | 0 | 0 | 5.38
| 2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 0 | 1 | 1 | 0 | 0 | 5.63
| 2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 0 | 1 | 1 | 0 | 0 | 6.18
| 2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 0 | 1 | 1 | 0 | 0 | 6.57
| 2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 0 | 1 | 1 | 0 | 0 | 6.76
| 2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 0 | 1 | 1 | 0 | 0 | 7.26
| 2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 0 | 1 | 1 | 0 | 0 | 7.3
| 2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 0 | 1 | 1 | 0 | 0 | 7.35
| 2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 0 | 1 | 1 | 0 | 0 | 8.21
| 2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 0 | 1 | 1 | 0 | 0 | 8.04
| 2045 | 3000 | 3000 | 6.9426 | 8.6795 | 0 | 0 | 1 | 1 | 0 | 0 | 8.31
| 2046 | 0 | 0 | 7.185 | 8.825 | 0 | 0 | 1 | 1 | 0 | 0 | 9.05
| 2047 | 0 | 0 | 7.1737 | 8.9505 | 0 | 0 | 1 | 1 | 0 | 0 | 8.99
| 2048 | 0 | 0 | 7.174 | 8.951 | 0 | 0 | 1 | 1 | 0 | 0 | 9.37
| 2049 | 0 | 0 | 7.174 | 8.951 | 0 | 0 | 1 | 1 | 0 | 0 | 9.75
| 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2054 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2055 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2056 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2057 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2058 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0

## f-11B
|  | CALCULATION OF AFUDC AND IN-SERVICE COST OF PLANT | [7 empty] | PSC FORM CE 1.1B
|  |  |  | PLANT: | 2023 | Avoided Unit |  |  |  | PAGE 1 OF 1
2026-07-29 05:40
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
| NO. YEARS | PLANT | CUMULATIVE |  |  | CUMULATIVE | CUMULATIVE | YEARLY | INCREMENTAL | CUMULATIVE | <-- INPUTS FOR OTHER COSTS & BENEFITS - EXTERNALLY CALC., FORMS 2.3, 2.4, & 2.5 -->
| BEFORE | ESCALATION | ESCALATION | YEARLY | ANNUAL | AVERAGE | SPENDING | TOTAL | YEAR-END | YEAR-END |  | (1) | (2) | (3) | (4) | (5) | (6)
| INSERVICE | RATE | FACTOR | EXPENDITURE | SPENDING | SPENDING | WITH AFUDC | AFUDC | BOOK VALUE | BOOK VALUE |  | (1): <-- FORM 2.3 --->; (3): <---- FORM 2.4 --->; (5): <---- FORM 2.5 ---->
YEAR |  | (%) |  | (%) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | YEAR | OTHER COST | OTHER BEN | OTH COST | OTHER BENEFITS | COSTS | BENEFITS
2011 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ($000) | ($000) | ($000) | ($000) | ($000) | ($000)
2012 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0
2014 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0
2015 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0
2016 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2024 | 0 | 0 | 0 | 0 | 0 | 0
2017 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2025 | 0 | 0 | 0 | 0 | 0 | 0
2018 | -5 | 0.024 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0
2019 | -4 | 0.024 | 1.024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2027 | 0 | 0 | 0 | 0 | 0 | 0
2020 | -3 | 0.024 | 1.0486 | 0.1951 | 112.8246 | 109.2942 | 112.8246 | 3.5304 | 112.8246 | 112.8246 | 2028 | 0 | 0 | 0 | 0 | 0 | 0
2021 | -2 | 0.024 | 1.0737 | 0.5594 | 330.5516 | 313.3706 | 330.5516 | 17.181 | 330.5516 | 443.3762 | 2029 | 0 | 0 | 0 | 0 | 0 | 0
2022 | -1 | 0.024 | 1.0995 | 0.2455 | 169.273 | 137.5248 | 169.273 | 31.7482 | 169.273 | 612.6492 | 2030 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0 | 0.024 | 1.1259 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2031 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2032 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2033 | 0 | 0 | 0 | 0 | 0 | 0
IN-SERVICE YEAR = |  | 2023 | [6 empty] | 612.6492 |  | 2034 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2035 | 0 | 0 | 0 | 0 | 0 | 0
PLANT COSTS (2023$) |  | 526.3 | [8 empty] | 2036 | 0 | 0 | 0 | 0 | 0 | 0
AFUDC RATE: |  | 6.46% | [8 empty] | 2037 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2038 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2039 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2040 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2041 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2042 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2043 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2044 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2045 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2046 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2047 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2048 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2049 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2050 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2051 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2052 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2053 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2054 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2055 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2056 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2057 | 0 | 0 | 0 | 0 | 0 | 0
PSC FORM CE 1.1
PAGE 1 OF 1 | bar: (2)
[11 empty] | Run date: | (1): 37062
[12 empty] | 37062.5552 | *
*
2001 | bar: (2)
2004
16.2994

## Sheet3(F_21)
|  |  | AVOIDED GENERATION UNIT BENEFITS | [5 empty] | PSC FORM CE 2.1
|  |  | PROGRAM: | HVAC Equipment Upgrades |  |  |  |  | Page 1 of 1
2026-07-29 05:40
|  | * UNIT SIZE OF AVOIDED GENERATION UNIT = |  |  |  | 13423 | KW
|  | * INSERVICE COSTS OF AVOIDED GEN. UNIT (000) = |  |  |  | 8223.5905
(1) | (1A)* | (2) | (2A)* | (3) | (4) | (5) | (6) | (6A)* | (7)
|  | AVOIDED | AVOIDED | AVOIDED | AVOIDED | AVOIDED |  | AVOIDED
| REVENUE | GEN UNIT | ANNUAL | UNIT | GEN UNIT | GEN UNIT |  | PURCHASED | AVOIDED
| REQUIREMENT | CAPACITY | UNIT | FIXED | VARIABLE | FUEL | REPLACEMENT | CAPACITY | GEN UNIT
| FACTOR | COST | KWH GEN | O&M COST | O&M COST | COST | FUEL COST | COSTS | BENEFITS
YEAR |  | $(000) | (000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0.098822 | 812.6742 | 10700.1148 | 84.2975 | 24.1272 | 458.4238 | 339.4748 | 0 | 1040.0479
2024 | 0.10119 | 832.1783 | 10700.1148 | 86.3206 | 24.7063 | 479.2363 | 354.661 | 0 | 1067.7805
2025 | 0.10362 | 852.1506 | 10700.1148 | 88.3923 | 25.2992 | 500.9936 | 368.7156 | 0 | 1098.1202
2026 | 0.10611 | 872.6022 | 10700.1148 | 90.5137 | 25.9064 | 523.7387 | 380.6621 | 0 | 1132.099
2027 | 0.10866 | 893.5447 | 10700.1148 | 92.6861 | 26.5282 | 547.5165 | 397.7004 | 0 | 1162.5749
2028 | 0.11126 | 914.9898 | 10700.1148 | 94.9105 | 27.1649 | 572.3737 | 428.0308 | 0 | 1181.408
2029 | 0.11393 | 936.9495 | 10700.1148 | 97.1884 | 27.8168 | 598.3595 | 446.8152 | 0 | 1213.4989
2030 | 0.11667 | 959.4363 | 10700.1148 | 99.5209 | 28.4844 | 625.525 | 480.0372 | 0 | 1232.9294
2031 | 0.11947 | 982.4628 | 10700.1148 | 101.9094 | 29.168 | 653.9238 | 491.9744 | 0 | 1275.4897
2032 | 0.12234 | 1006.0419 | 10700.1148 | 104.3552 | 29.8681 | 683.612 | 521.4977 | 0 | 1302.3794
2033 | 0.12527 | 1030.1869 | 10700.1148 | 106.8597 | 30.5849 | 714.6479 | 533.3917 | 0 | 1348.8877
2034 | 0.12828 | 1054.9114 | 10700.1148 | 109.4244 | 31.3189 | 747.093 | 567.81 | 0 | 1374.9377
2035 | 0.13136 | 1080.2292 | 10700.1148 | 112.0506 | 32.0706 | 781.011 | 589.5816 | 0 | 1415.7798
2036 | 0.13451 | 1106.1547 | 10700.1148 | 114.7398 | 32.8403 | 816.4689 | 601.4686 | 0 | 1468.7351
2037 | 0.13774 | 1132.7025 | 10700.1148 | 117.4935 | 33.6285 | 853.5366 | 634.0677 | 0 | 1503.2934
NOMINAL |  | 14467.2149 | 160501.7213 | 1500.6626 | 429.5128 | 9556.4601 | 7135.8888 | 0 | 18817.9616
NPV |  | 7397.5657 |  | 767.3384 | 219.6241 | 4759.768 | 3547.5422 | 0 | 9596.754
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet5(p_5)
| * WORKSHEET : DSM PROGRAM FUEL SAVINGS |  |  |  | WORKSHEET FOR FORM CE 2.2
| PROGRAM: | HVAC Equipment Upgrades |  |  | Page 1 of 1
2026-07-29 05:40
(1) | (2) | (3) | (4) | (5) | (6) | (7)
| REDUCTION |  | INCREASE |  | NET
| IN KWH | AVOIDED | IN KWH | INCREASED | AVOIDED | EFFECTIVE
| GENERATION | MARGINAL | GENERATION | MARGINAL | PROGRAM | PROGRAM
| NET NEW CUST | FUEL COST - | NET NEW CUST | FUEL COST - | FUEL | FUEL
| KWH | REDUCED KWH | KWH | INCREASE KWH | SAVINGS | SAVINGS
YEAR | (000) | $(000) | (000) | $(000) | $(000) | $(000)
2020 | 14964.135 | 434.0661 | 0 | 0 | 434.0661 | 434.0661
2021 | 44892.4051 | 1291.6064 | 0 | 0 | 1291.6064 | 1291.6064
2022 | 74820.6751 | 2221.7071 | 0 | 0 | 2221.7071 | 2221.7071
2023 | 89784.8101 | 2775.42 | 0 | 0 | 2775.42 | 2775.42
2024 | 89784.8101 | 2884.4835 | 0 | 0 | 2884.4835 | 2884.4835
2025 | 89784.8101 | 3097.0669 | 0 | 0 | 3097.0669 | 3097.0669
2026 | 89784.8101 | 3196.4042 | 0 | 0 | 3196.4042 | 3196.4042
2027 | 89784.8101 | 3396.1651 | 0 | 0 | 3396.1651 | 3396.1651
2028 | 89784.8101 | 3763.3437 | 0 | 0 | 3763.3437 | 3763.3437
2029 | 89784.8101 | 4031.9119 | 0 | 0 | 4031.9119 | 4031.9119
2030 | 89784.8101 | 4503.4223 | 0 | 0 | 4503.4223 | 4503.4223
2031 | 89784.8101 | 4486.6747 | 0 | 0 | 4486.6747 | 4486.6747
2032 | 89784.8101 | 4903.5208 | 0 | 0 | 4903.5208 | 4903.5208
2033 | 89784.8101 | 5229.1589 | 0 | 0 | 5229.1589 | 5229.1589
2034 | 89784.8101 | 5472.6404 | 0 | 0 | 5472.6404 | 5472.6404
2035 | 89784.8101 | 6027.2769 | 0 | 0 | 6027.2769 | 6027.2769
2036 | 89784.8101 | 5953.1568 | 0 | 0 | 5953.1568 | 5953.1568
2037 | 89784.8101 | 6353.8913 | 0 | 0 | 6353.8913 | 6353.8913
NOMINAL | 1481449.3671 | 70021.917 | 0 | 0 | 70021.917 | 70021.917
NPV: |  | 35744.5146 |  | 0 | 35744.5146 | 35744.5146
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet2(F_12)
|  |  | INPUT DATA -- PART 2 | [5 empty] | PSC FORM CE 1.2
|  |  | PROGRAM: | HVAC Equipment Upgrades |  |  |  |  | PAGE 1 OF 1
2026-07-29 05:40
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
UTILITY
AVERAGE
| CUMULATIVE | ADJUSTED | SYSTEM | AVOIDED | INCREASED |  | PROGRAM | PROGRAM | OTHER | OTHER
| TOTAL | CUMULATIVE | FUEL | MARGINAL | MARGINAL | REPLACEMENT | KW | KWH | COSTS | BENEFITS
| PARTICIPATING | PARTICIPATING | COSTS | FUEL COST | FUEL COST | FUEL COST | EFFECTIVENESS | EFFECTIVENESS |  | (CO2)
YEAR | CUSTOMERS | CUSTOMERS | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | FACTOR | FACTOR | ($000) | ($000)
2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 2.8789 | 1 | 1 | 0 | 0
2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 3.0378 | 1 | 1 | 0 | 0
2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 3.1562 | 1 | 1 | 0 | 0
2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 3.1726 | 1 | 1 | 0 | 0
2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 3.3146 | 1 | 1 | 0 | 0
2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 3.4459 | 1 | 1 | 0 | 0
2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 3.5576 | 1 | 1 | 0 | 0
2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 3.7168 | 1 | 1 | 0 | 0
2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 4.0002 | 1 | 1 | 0 | 0
2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 4.1758 | 1 | 1 | 0 | 0
2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 4.4863 | 1 | 1 | 0 | 0
2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 4.5978 | 1 | 1 | 0 | 0
2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 4.8738 | 1 | 1 | 0 | 0
2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 4.9849 | 1 | 1 | 0 | 0
2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 5.3066 | 1 | 1 | 0 | 0
2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 5.51 | 1 | 1 | 0 | 0
2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 5.6211 | 1 | 1 | 0 | 0
2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 5.9258 | 1 | 1 | 0 | 0

## Sheet4(F_22)
|  | AVOIDED T & D AND PROGRAM FUEL SAVINGS |  |  |  |  | PSC FORM CE 2.2
|  | PROGRAM: | HVAC Equipment Upgrades |  |  |  | Page 1 of 2
2026-07-29 05:40
|  | * INSERVICE COSTS OF AVOIDED TRANS. (000) = |  |  | 479.7058
|  | * INSERVICE COSTS OF AVOIDED DIST. (000) = |  |  | 1022.2842
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
| AVOIDED | AVOIDED |  | AVOIDED | AVOIDED
| TRANSMISSION | TRANSMISSION | TOTAL AVOIDED | DISTRIBUTION | DISTRIBUTION | TOTAL AVOIDED | PROGRAM
| CAPACITY | O&M | TRANSMISSION | CAPACITY | O&M | DISTRIBUTION | FUEL
| COST | COST | COST | COST | COST | COST | SAVINGS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 434.0661
2021 | 47.4056 | 38.2109 | 85.6166 | 101.0245 | 140.7394 | 241.7639 | 1291.6064
2022 | 48.5434 | 39.128 | 87.6714 | 103.4491 | 144.1171 | 247.5662 | 2221.7071
2023 | 49.7084 | 40.0671 | 89.7755 | 105.9318 | 147.5759 | 253.5078 | 2775.42
2024 | 50.9014 | 41.0287 | 91.9301 | 108.4742 | 151.1178 | 259.592 | 2884.4835
2025 | 52.123 | 42.0134 | 94.1364 | 111.0776 | 154.7446 | 265.8222 | 3097.0669
2026 | 53.374 | 43.0217 | 96.3957 | 113.7435 | 158.4585 | 272.2019 | 3196.4042
2027 | 54.655 | 44.0542 | 98.7092 | 116.4733 | 162.2615 | 278.7348 | 3396.1651
2028 | 55.9667 | 45.1115 | 101.0782 | 119.2687 | 166.1557 | 285.4244 | 3763.3437
2029 | 57.3099 | 46.1942 | 103.5041 | 122.1311 | 170.1435 | 292.2746 | 4031.9119
2030 | 58.6853 | 47.3028 | 105.9882 | 125.0622 | 174.2269 | 299.2892 | 4503.4223
2031 | 60.0938 | 48.4381 | 108.5319 | 128.0637 | 178.4084 | 306.4721 | 4486.6747
2032 | 61.536 | 49.6006 | 111.1367 | 131.1373 | 182.6902 | 313.8274 | 4903.5208
2033 | 63.0129 | 50.791 | 113.8039 | 134.2846 | 187.0747 | 321.3593 | 5229.1589
2034 | 64.5252 | 52.01 | 116.5352 | 137.5074 | 191.5645 | 329.0719 | 5472.6404
2035 | 66.0738 | 53.2583 | 119.3321 | 140.8076 | 196.1621 | 336.9696 | 6027.2769
2036 | 67.6596 | 54.5365 | 122.1961 | 144.187 | 200.87 | 345.0569 | 5953.1568
2037 | 69.2834 | 55.8453 | 125.1288 | 147.6474 | 205.6908 | 353.3383 | 6353.8913
NOMINAL | 980.8575 | 790.6124 | 1771.4699 | 2090.2709 | 2912.0014 | 5002.2723 | 70021.917
NPV: | 539.0905 | 434.5297 | 973.6202 | 1148.8369 | 1600.4694 | 2749.3063 | 35744.5146
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet6(p_6)
|  | * WORKSHEET: UTILITY COSTS AND PARTICIPANT COSTS AND REV LOSS/GAIN | [12 empty] | WORKSHEET FOR FORM CE 2.2
|  | PROGRAM: |  | HVAC Equipment Upgrades | [10 empty] | Page 2 of 2
2026-07-29 05:40
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18)
| <----- UTILITY PROGRAM COSTS & REBATES -------> | [5 empty] | <------------------ PARTICIPATING CUSTOMER COSTS & BENEFITS ---------------------->
|  |  | TOTAL |  |  | TOTAL | PARTIC. | PARTIC. | TOTAL | REDUCT. | RED. | RED. | EFFECT. | INC. | INC. | INC. | EFFECT.
| UTIL | UTIL | UTIL | UTIL | UTIL | REBATE/ | CUST | CUST | COSTS | IN | REV. | REV. | REV. | IN | REV. | REV. | REVENUE
| NONREC. | RECUR | PGM | NONREC. | RECUR. | INCENT. | EQUIP | O & M | PARTIC. | CUST. | - FUEL | NONFUEL | REDUCT. | CUST. | - FUEL | NONFUEL | INC.
| COSTS | COSTS | COSTS | REBATES | REBATES | COSTS | COSTS | COSTS | CUST | KWH | PORTION | PORTION | TO CUST | KWH | PORTION | PORTION | IN BILL
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | (000) | $(000) | $(000) | $(000) | (000) | $(000) |  | $(000)
2020 | 125 | 0 | 125 | 2915.96 | 0 | 2915.96 | 6629.48 | 0 | 6629.48 | 14186 | 345.3741 | 545.6303 | 891.0044 | 0 | 0 | 0 | 0
2021 | 128 | 0 | 128 | 2915.96 | 0 | 2915.96 | 6781.958 | 0 | 6781.958 | 42558 | 1085.4351 | 1653.2597 | 2738.6948 | 0 | 0 | 0 | 0
2022 | 131.072 | 0 | 131.072 | 2915.96 | 0 | 2915.96 | 6937.9431 | 0 | 6937.9431 | 70930 | 1875.6958 | 2782.9872 | 4658.6831 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85116 | 2232.384 | 3372.9805 | 5605.3646 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85116 | 2359.0043 | 3406.7103 | 5765.7146 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85116 | 2494.408 | 3440.7774 | 5935.1854 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85116 | 2607.1906 | 3475.1852 | 6082.3758 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85116 | 2760.7045 | 3509.9371 | 6270.6415 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85116 | 3022.1297 | 3545.0364 | 6567.1661 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85116 | 3176.1004 | 3580.4868 | 6756.5872 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85116 | 3460.5265 | 3616.2917 | 7076.8182 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85116 | 3579.818 | 3652.4546 | 7232.2726 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85116 | 3835.2418 | 3688.9791 | 7524.221 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85116 | 3915.6875 | 3725.8689 | 7641.5564 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85116 | 4174.2981 | 3763.1276 | 7937.4258 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85116 | 4351.9019 | 3800.7589 | 8152.6608 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85116 | 4498.1887 | 3838.7665 | 8336.9551 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85116 | 4750.1342 | 3877.1542 | 8627.2884 | 0 | 0 | 0 | 0
NOMINAL | 384.072 | 0 | 384.072 | 8747.88 | 0 | 8747.88 | 20349.3811 | 0 | 20349.3811 | 1404414 | 54524.2232 | 59276.3927 | 113800.6159 | 0 | 0 | 0 | 0
NPV | 358.8492 | 0 | 358.8492 | 8182.2284 | 0 | 8182.2284 | 19013.84 | 0 | 19013.84 |  | 28165.3009 | 32767.7164 | 60933.0173 |  | 0 | 0 | 0
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet7(F_23)
|  |  | TOTAL RESOURCE COST TESTS | [8 empty] | PSC FORM CE 2.3
|  |  | PROGRAM: | HVAC Equipment Upgrades | [7 empty] | Page 1 of 1
2026-07-29 05:40
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
CUMULATIVE
| INCREASED | UTILITY | PARTICIPANT |  |  |  |  | PROGRAM |  |  |  | DISCOUNTED
| SUPPLY | PROGRAM | PROGRAM | OTHER | TOTAL | AVOIDED | AVOIDED | FUEL | OTHER | TOTAL | NET | NET
| COSTS | COSTS | COSTS | COSTS | COSTS | GEN UNIT | T & D | SAVINGS | BENEFITS | BENEFITS | BENEFITS | BENEFITS
[6 empty] | BENEFITS | BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 125 | 6629.48 | 0 | 6754.48 | 0 | 0 | 434.0661 | 0 | 434.0661 | -6320.4139 | -6320.4139
2021 | 0 | 128 | 6781.958 | 0 | 6909.958 | 0 | 327.3804 | 1291.6064 | 0 | 1618.9869 | -5290.9712 | -11261.5525
2022 | 0 | 131.072 | 6937.9431 | 0 | 7069.0151 | 0 | 335.2376 | 2221.7071 | 0 | 2556.9447 | -4512.0704 | -15196.683
2023 | 0 | 0 | 0 | 0 | 0 | 1040.0479 | 343.2833 | 2775.42 | 0 | 4158.7512 | 4158.7512 | -11809.5063
2024 | 0 | 0 | 0 | 0 | 0 | 1067.7805 | 351.5221 | 2884.4835 | 0 | 4303.7861 | 4303.7861 | -8535.9695
2025 | 0 | 0 | 0 | 0 | 0 | 1098.1202 | 359.9586 | 3097.0669 | 0 | 4555.1456 | 4555.1456 | -5300.3276
2026 | 0 | 0 | 0 | 0 | 0 | 1132.099 | 368.5976 | 3196.4042 | 0 | 4697.1007 | 4697.1007 | -2184.4549
2027 | 0 | 0 | 0 | 0 | 0 | 1162.5749 | 377.4439 | 3396.1651 | 0 | 4936.184 | 4936.184 | 873.5121
2028 | 0 | 0 | 0 | 0 | 0 | 1181.408 | 386.5026 | 3763.3437 | 0 | 5331.2543 | 5331.2543 | 3957.8539
2029 | 0 | 0 | 0 | 0 | 0 | 1213.4989 | 395.7787 | 4031.9119 | 0 | 5641.1895 | 5641.1895 | 7005.7168
2030 | 0 | 0 | 0 | 0 | 0 | 1232.9294 | 405.2773 | 4503.4223 | 0 | 6141.629 | 6141.629 | 10104.5625
2031 | 0 | 0 | 0 | 0 | 0 | 1275.4897 | 415.004 | 4486.6747 | 0 | 6177.1684 | 6177.1684 | 13015.2625
2032 | 0 | 0 | 0 | 0 | 0 | 1302.3794 | 424.9641 | 4903.5208 | 0 | 6630.8643 | 6630.8643 | 15933.1584
2033 | 0 | 0 | 0 | 0 | 0 | 1348.8877 | 435.1632 | 5229.1589 | 0 | 7013.2099 | 7013.2099 | 18815.2523
2034 | 0 | 0 | 0 | 0 | 0 | 1374.9377 | 445.6071 | 5472.6404 | 0 | 7293.1853 | 7293.1853 | 21614.2347
2035 | 0 | 0 | 0 | 0 | 0 | 1415.7798 | 456.3017 | 6027.2769 | 0 | 7899.3583 | 7899.3583 | 24445.4075
2036 | 0 | 0 | 0 | 0 | 0 | 1468.7351 | 467.253 | 5953.1568 | 0 | 7889.1449 | 7889.1449 | 27085.9681
2037 | 0 | 0 | 0 | 0 | 0 | 1503.2934 | 478.467 | 6353.8913 | 0 | 8335.6517 | 8335.6517 | 29691.506
NOMINAL | 0 | 384.072 | 20349.3811 | 0 | 20733.4531 | 18817.9616 | 6773.7422 | 70021.917 | 0 | 95613.6208 | 74880.1677
NPV: | 0 | 358.8492 | 19013.84 | 0 | 19372.6892 | 9596.754 | 3722.9266 | 35744.5146 | 0 | 49064.1952 | 29691.506
Discount Rate |  | 0.0708 | Benefit/Cost Ratio - [col (11)/col (6)]: |  |  |  | 2.5326

## Sheet8(F_24)
|  |  |  | PARTICIPANT COSTS AND BENEFITS | [6 empty] | PSC FORM CE 2.4
|  |  |  | PROGRAM: | HVAC Equipment Upgrades | [5 empty] | Page 1 of 1
2026-07-29 05:40
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12)
SAVINGS
| IN |  |  |  |  | CUSTOMER | CUSTOMER |  |  |  | CUMULATIVE
| PARTICIPANTS | TAX | UTILITY | OTHER | TOTAL | EQUIPMENT | O & M | OTHER | TOTAL | NET | DISCOUNTED
| BILL | CREDITS | REBATES | BENEFITS | BENEFITS | COSTS | COSTS | COSTS | COSTS | BENEFITS | NET BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 891.0044 | 0 | 2915.96 | 0 | 3806.9644 | 6629.48 | 0 | 0 | 6629.48 | -2822.5156 | -2822.5156
2021 | 2738.6948 | 0 | 2915.96 | 0 | 5654.6548 | 6781.958 | 0 | 0 | 6781.958 | -1127.3032 | -3875.2829
2022 | 4658.6831 | 0 | 2915.96 | 0 | 7574.6431 | 6937.9431 | 0 | 0 | 6937.9431 | 636.7 | -3319.9951
2023 | 5605.3646 | 0 | 0 | 0 | 5605.3646 | 0 | 0 | 0 | 0 | 5605.3646 | 1245.4043
2024 | 5765.7146 | 0 | 0 | 0 | 5765.7146 | 0 | 0 | 0 | 0 | 5765.7146 | 5630.9101
2025 | 5935.1854 | 0 | 0 | 0 | 5935.1854 | 0 | 0 | 0 | 0 | 5935.1854 | 9846.8313
2026 | 6082.3758 | 0 | 0 | 0 | 6082.3758 | 0 | 0 | 0 | 0 | 6082.3758 | 13881.6412
2027 | 6270.6415 | 0 | 0 | 0 | 6270.6415 | 0 | 0 | 0 | 0 | 6270.6415 | 17766.3049
2028 | 6567.1661 | 0 | 0 | 0 | 6567.1661 | 0 | 0 | 0 | 0 | 6567.1661 | 21565.6707
2029 | 6756.5872 | 0 | 0 | 0 | 6756.5872 | 0 | 0 | 0 | 0 | 6756.5872 | 25216.1688
2030 | 7076.8182 | 0 | 0 | 0 | 7076.8182 | 0 | 0 | 0 | 0 | 7076.8182 | 28786.8774
2031 | 7232.2726 | 0 | 0 | 0 | 7232.2726 | 0 | 0 | 0 | 0 | 7232.2726 | 32194.7457
2032 | 7524.221 | 0 | 0 | 0 | 7524.221 | 0 | 0 | 0 | 0 | 7524.221 | 35505.761
2033 | 7641.5564 | 0 | 0 | 0 | 7641.5564 | 0 | 0 | 0 | 0 | 7641.5564 | 38646.0753
2034 | 7937.4258 | 0 | 0 | 0 | 7937.4258 | 0 | 0 | 0 | 0 | 7937.4258 | 41692.3046
2035 | 8152.6608 | 0 | 0 | 0 | 8152.6608 | 0 | 0 | 0 | 0 | 8152.6608 | 44614.2624
2036 | 8336.9551 | 0 | 0 | 0 | 8336.9551 | 0 | 0 | 0 | 0 | 8336.9551 | 47404.7087
2037 | 8627.2884 | 0 | 0 | 0 | 8627.2884 | 0 | 0 | 0 | 0 | 8627.2884 | 50101.4057
NOMINAL | 113800.6159 | 0 | 8747.88 | 0 | 122548.4959 | 20349.3811 | 0 | 0 | 20349.3811 | 102199.1148
NPV: | 60933.0173 | 0 | 8182.2284 | 0 | 69115.2457 | 19013.84 | 0 | 0 | 19013.84 | 50101.4057
In service year of gen unit: |  |  | 2023 |  | 3.635
Discount rate: |  |  | 0.0708

## Sheet9(F_25)
[5 empty] | RATE IMPACT TEST | [7 empty] | PSC FORM CE 2.5
[5 empty] | PROGRAM: | HVAC Equipment Upgrades | [6 empty] | Page 1 of 1
2026-07-29 05:40
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
[7 empty] | AVOIDED |  |  |  |  | NET | CUMULATIVE
| INCREASED | UTILITY |  |  |  |  | GEN UNIT | AVOIDED |  |  |  | BENEFITS | DISCOUNTED
| SUPPLY | PROGRAM |  | REVENUE | OTHER | TOTAL | UNIT & FUEL | T & D | REVENUE | OTHER | TOTAL | TO ALL | NET
| COSTS | COSTS | INCENTIVES | LOSSES | COSTS | COSTS | BENEFITS | BENEFITS | GAINS | BENEFITS | BENEFITS | CUSTOMERS | BENEFIT
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 125 | 2915.96 | 545.6303 | 0 | 3586.5903 | 434.0661 | 0 | 0 | 0 | 434.0661 | -3152.5242 | -3152.5242
2021 | 0 | 128 | 2915.96 | 1653.2597 | 0 | 4697.2197 | 1291.6064 | 327.3804 | 0 | 0 | 1618.9869 | -3078.2329 | -6027.228
2022 | 0 | 131.072 | 2915.96 | 2782.9872 | 0 | 5830.0192 | 2221.7071 | 335.2376 | 0 | 0 | 2556.9447 | -3273.0746 | -8881.788
2023 | 0 | 0 | 0 | 3372.9805 | 0 | 3372.9805 | 3815.4679 | 343.2833 | 0 | 0 | 4158.7512 | 785.7706 | -8241.8017
2024 | 0 | 0 | 0 | 3406.7103 | 0 | 3406.7103 | 3952.2641 | 351.5221 | 0 | 0 | 4303.7861 | 897.0758 | -7559.4698
2025 | 0 | 0 | 0 | 3440.7774 | 0 | 3440.7774 | 4195.1871 | 359.9586 | 0 | 0 | 4555.1456 | 1114.3682 | -6767.9042
2026 | 0 | 0 | 0 | 3475.1852 | 0 | 3475.1852 | 4328.5031 | 368.5976 | 0 | 0 | 4697.1007 | 1221.9155 | -5957.3333
2027 | 0 | 0 | 0 | 3509.9371 | 0 | 3509.9371 | 4558.74 | 377.4439 | 0 | 0 | 4936.184 | 1426.2469 | -5073.7731
2028 | 0 | 0 | 0 | 3545.0364 | 0 | 3545.0364 | 4944.7517 | 386.5026 | 0 | 0 | 5331.2543 | 1786.2178 | -4040.3753
2029 | 0 | 0 | 0 | 3580.4868 | 0 | 3580.4868 | 5245.4109 | 395.7787 | 0 | 0 | 5641.1895 | 2060.7027 | -2927.0038
2030 | 0 | 0 | 0 | 3616.2917 | 0 | 3616.2917 | 5736.3516 | 405.2773 | 0 | 0 | 6141.629 | 2525.3373 | -1652.8092
2031 | 0 | 0 | 0 | 3652.4546 | 0 | 3652.4546 | 5762.1644 | 415.004 | 0 | 0 | 6177.1684 | 2524.7138 | -463.1566
2032 | 0 | 0 | 0 | 3688.9791 | 0 | 3688.9791 | 6205.9003 | 424.9641 | 0 | 0 | 6630.8643 | 2941.8852 | 831.4129
2033 | 0 | 0 | 0 | 3725.8689 | 0 | 3725.8689 | 6578.0467 | 435.1632 | 0 | 0 | 7013.2099 | 3287.3409 | 2182.3528
2034 | 0 | 0 | 0 | 3763.1276 | 0 | 3763.1276 | 6847.5781 | 445.6071 | 0 | 0 | 7293.1853 | 3530.0576 | 3537.1202
2035 | 0 | 0 | 0 | 3800.7589 | 0 | 3800.7589 | 7443.0566 | 456.3017 | 0 | 0 | 7899.3583 | 4098.5994 | 5006.0804
2036 | 0 | 0 | 0 | 3838.7665 | 0 | 3838.7665 | 7421.8919 | 467.253 | 0 | 0 | 7889.1449 | 4050.3784 | 6361.7748
2037 | 0 | 0 | 0 | 3877.1542 | 0 | 3877.1542 | 7857.1847 | 478.467 | 0 | 0 | 8335.6517 | 4458.4975 | 7755.4012
NOMINAL | 0 | 384.072 | 8747.88 | 59276.3927 | 0 | 68408.3447 | 88839.8786 | 6773.7422 | 0 | 0 | 95613.6208 | 27205.2761
NPV: | 0 | 358.8492 | 8182.2284 | 32767.7164 | 0 | 41308.794 | 45341.2686 | 3722.9266 | 0 | 0 | 49064.1952 | 7755.4012
Discount rate: |  |  | 0.0708 |  | Benefit/Cost Ratio - [col (12)/col (7)]: |  |  |  | 1.1877

## Value of Defferal
GEN: | [7 empty] | COMPUTATION OF CONSTRUCTION CASH FLOW AND PLANT |  |  |  |  | Do Not Print
COMPUTATION OF GENERATION COSTS & REV. REQUIREMENTS | [7 empty] | IN-SERVICE COSTS FOR AVOIDED TRANS & DIST PLANT
IN-SERVICE AVOIDED GEN. PLANT ($000) = |  |  |  | 8223.5905 |  |  |  | -----------------------------------------------
------------------------------------------ |  |  |  |  | GENERATION |  |  | TRAN: | Avoided Trans. = |  | 479.7058
|  |  |  | COMPUTATION OF VALUE DEFERRAL PAYMENTS |  |  |  |  | Avoided Dist. = |  | 1022.2842 |  | TRANSMISSION & DIST.
COMPUTATION OF VALUE DEFERRAL CREDITS
|  |  |  | ip= | 0.024 | Esc. rate | [5 empty] | ip= | 0.024 | Esc. rate
| Gen |  |  | r= | 0.0708 | Disc rate |  | TRAN |  |  |  | r= | 0.0708 | Disc rate
| Offset Cost | 5 |  | l= | 25 | Econ life |  | Offset Cost |  | 7 |  | l= | 25 | Econ life
| Offset Factor | 4 |  | c= | 1 | Risk factor |  | Offset Factor |  | 5 |  | c= | 1 | Risk factor
|  |  |  | k= | 1.5213 | K factor |  | DIST |  |  |  | k= | 1.5213 | K factor
|  |  |  | Ratio= | 0.95629 | calculated ratio |  | Offset Cost |  | 8 |  | Ratio= | 0.95629 | calculated ratio
[8 empty] | Offset Factor |  | 5
|  |  |  | VALUE of DEFERRAL | [7 empty] | VALUE DEFERRAL STARTING
|  |  |  | Factor = | 0.098822 | [6 empty] | FACTOR = | 0.098822
[5 empty] | AVOIDED |  |  |  |  | TRANS | DIST |  | AVOIDED | AVOIDED
|  | CARRYING | ANNUAL | Value | GEN. |  |  |  | CARRYING | ANNUAL | ANNUAL |  | TRANS. | DIST
|  | CHARGE | REV REQ | of Def | V OF D |  |  |  | CHARGE | REV REQ | REV REQ |  | V OF D | V OF D
N | Year | % | COSTS(000) | Factors | ($000) |  | N | Year | % | COSTS(000) | COSTS(000) | Factors | ($000) | $(000)
-- | ---- | ------ | ------ | ------ | ----- |  |  |  | ------ | ------ | ------
1 | 2020 | 0 | 0 | 0 | 0 |  | 1 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2021 | 0 | 0 | 0 | 0 |  | 2 | 2021 | 0 | 0 | 0 | 0.098822 | 47.4056 | 101.0245
3 | 2022 | 0 | 0 | 0 | 0 |  | 3 | 2022 | 0 | 0 | 0 | 0.10119 | 48.5434 | 103.4491
4 | 2023 | 0.13759 | 1131.4893 | 0.098822 | 812.6742 |  | 4 | 2023 | 0.13759 | 66.003 | 140.6568 | 0.10362 | 49.7084 | 105.9318
5 | 2024 | 0.13353 | 1098.0765 | 0.10119 | 832.1783 |  | 5 | 2024 | 0.13353 | 64.054 | 136.5032 | 0.10611 | 50.9014 | 108.4742
6 | 2025 | 0.12904 | 1061.1891 | 0.10362 | 852.1506 |  | 6 | 2025 | 0.12904 | 61.9022 | 131.9177 | 0.10866 | 52.123 | 111.0776
7 | 2026 | 0.12477 | 1026.0684 | 0.10611 | 872.6022 |  | 7 | 2026 | 0.12477 | 59.8535 | 127.5518 | 0.11126 | 53.374 | 113.7435
8 | 2027 | 0.12069 | 992.5372 | 0.10866 | 893.5447 |  | 8 | 2027 | 0.12069 | 57.8976 | 123.3835 | 0.11393 | 54.655 | 116.4733
9 | 2028 | 0.11679 | 960.438 | 0.11126 | 914.9898 |  | 9 | 2028 | 0.11679 | 56.0251 | 119.3932 | 0.11667 | 55.9667 | 119.2687
10 | 2029 | 0.11301 | 929.3381 | 0.11393 | 936.9495 |  | 10 | 2029 | 0.11301 | 54.211 | 115.5271 | 0.11947 | 57.3099 | 122.1311
11 | 2030 | 0.10927 | 898.5583 | 0.11667 | 959.4363 |  | 11 | 2030 | 0.10927 | 52.4155 | 111.7008 | 0.12234 | 58.6853 | 125.0622
12 | 2031 | 0.10552 | 867.7784 | 0.11947 | 982.4628 |  | 12 | 2031 | 0.10552 | 50.62 | 107.8746 | 0.12527 | 60.0938 | 128.0637
13 | 2032 | 0.10178 | 836.9986 | 0.12234 | 1006.0419 |  | 13 | 2032 | 0.10178 | 48.8245 | 104.0483 | 0.12828 | 61.536 | 131.1373
14 | 2033 | 0.098037 | 806.2188 | 0.12527 | 1030.1869 |  | 14 | 2033 | 0.098037 | 47.0291 | 100.222 | 0.13136 | 63.0129 | 134.2846
15 | 2034 | 0.094294 | 775.439 | 0.12828 | 1054.9114 |  | 15 | 2034 | 0.094294 | 45.2336 | 96.3957 | 0.13451 | 64.5252 | 137.5074
16 | 2035 | 0.090552 | 744.6592 | 0.13136 | 1080.2292 |  | 16 | 2035 | 0.090552 | 43.4381 | 92.5695 | 0.13774 | 66.0738 | 140.8076
17 | 2036 | 0.086809 | 713.8794 | 0.13451 | 1106.1547 |  | 17 | 2036 | 0.086809 | 41.6426 | 88.7432 | 0.14104 | 67.6596 | 144.187
18 | 2037 | 0.083066 | 683.0995 | 0.13774 | 1132.7025 |  | 18 | 2037 | 0.083066 | 39.8472 | 84.9169 | 0.14443 | 69.2834 | 147.6474
19 | 2038 | 0.079674 | 655.2101 | 0.14104 | 1159.8873 |  | 19 | 2038 | 0.079674 | 38.2203 | 81.4499 | 0.1479 | 70.9462 | 151.191
20 | 2039 | 0.076986 | 633.1003 | 0.14443 | 1187.7246 |  | 20 | 2039 | 0.076986 | 36.9306 | 78.7014 | 0.15144 | 72.6489 | 154.8196
21 | 2040 | 0.074649 | 613.8799 | 0.1479 | 1216.23 |  | 21 | 2040 | 0.074649 | 35.8094 | 76.3121 | 0.15508 | 74.3925 | 158.5352
22 | 2041 | 0.072311 | 594.6595 | 0.15144 | 1245.4195 |  | 22 | 2041 | 0.072311 | 34.6882 | 73.9228 | 0.1588 | 76.1779 | 162.3401
23 | 2042 | 0.069974 | 575.4392 | 0.15508 | 1275.3096 |  | 23 | 2042 | 0.069974 | 33.567 | 71.5335 | 0.16261 | 78.0062 | 166.2362
24 | 2043 | 0.067637 | 556.2188 | 0.1588 | 1305.917 |  | 24 | 2043 | 0.067637 | 32.4458 | 69.1442 | 0.16652 | 79.8783 | 170.2259
25 | 2044 | 0.0653 | 536.9984 | 0.16261 | 1337.259 |  | 25 | 2044 | 0.0653 | 31.3247 | 66.7549 | 0.17051 | 81.7954 | 174.3113
26 | 2045 | 0.062963 | 517.778 | 0.16652 | 1369.3532 |  | 26 | 2045 | 0.062963 | 30.2035 | 64.3656 | 0.1746 | 83.7585 | 178.4948
27 | 2046 | 0.060625 | 498.5576 | 0.17051 | 1402.2177 |  | 27 | 2046 | 0.060625 | 29.0823 | 61.9763 | 0 | 0 | 0
28 | 2047 | 0.058288 | 479.3372 | 0.1746 | 1435.8709 |  | 28 | 2047 | 0.058288 | 27.9611 | 59.587 | 0 | 0 | 0
29 | 2048 | 0.055951 | 460.1169 | 0 | 0 |  | 29 | 2048 | 0.055951 | 26.8399 | 57.1977 | 0 | 0 | 0
30 | 2049 | 0 | 0 | 0 | 0 |  | 30 | 2049 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2050 | 0 | 0 | 0 | 0 |  | 31 | 2050 | 0 | 0 | 0 | 0 | 0 | 0
32 | 2051 | 0 | 0 | 0 | 0 |  | 32 | 2051 | 0 | 0 | 0 | 0 | 0 | 0
33 | 2052 | 0 | 0 | 0 | 0 |  | 33 | 2052 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2053 | 0 | 0 | 0 | 0 |  | 34 | 2053 | 0 | 0 | 0 | 0 | 0 | 0
35 | 2054 | 0 | 0 | 0 | 0 |  | 35 | 2054 | 0 | 0 | 0 | 0 | 0 | 0
36 | 2055 | 0 | 0 | 0 | 0 |  | 36 | 2055 | 0 | 0 | 0 | 0 | 0 | 0
37 | 2056 | 0 | 0 | 0 | 0 |  | 37 | 2056 | 0 | 0 | 0 | 0 | 0 | 0
38 | 2057 | 0 | 0 | 0 | 0 |  | 38 | 2057 | 0 | 0 | 0 | 0 | 0 | 0
39 | 2058 | 0 | 0 | 0 | 0 |  | 39 | 2058 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ----- |  | ----- |  |  |  |  | ----- |  |  | ----
|  | NOMINAL | 19647.0636 |  | 27402.404 |  |  |  | NOMINAL | 1146.07 |  |  | 1598.4614
|  | NPV | 8772.5327 |  | 10189.462 |  |  |  | NPV | 511.7272 |  |  | 681.5245