## Fuel
Fuel Values from Table 1 Provided by Resource Planning
|  | REDUCED KWH | REPLACE. | Carbon
| UTIL AVG | PROGRAM | FUEL COST
| SYS. FUEL | MARGINAL | OF AVOIDED
| ADJ. COST | FUEL COST | GENERATOR |  |  |  | System average $/MWh |  | Total marginal $/MWh |  | Replacement fuel average system $/MWh (Future Total $/MWh
| (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) |  |  | Conversion to cents per kWh and copy and paste |  | Conversion to cents per kWh and copy and paste |  | Conversion to cents per kWh and copy and paste
2020 | 2.4346 | 2.9007 | 2.8789 | 0 | Change first year to base year | 2020 | 24.3461 | 2.4346 | 29.0071 | 2.9007 | 28.7892 | 2.8789
2021 | 2.5505 | 2.8771 | 3.0378 | 0 |  |  | 25.5048 | 2.5505 | 28.7712 | 2.8771 | 30.3778 | 3.0378
2022 | 2.6444 | 2.9694 | 3.1562 | 0 |  |  | 26.4443 | 2.6444 | 29.6938 | 2.9694 | 31.5623 | 3.1562
2023 | 2.6228 | 3.0912 | 3.1726 | 0 |  |  | 26.2275 | 2.6228 | 30.9119 | 3.0912 | 31.7263 | 3.1726
2024 | 2.7715 | 3.2127 | 3.3146 | 0 |  |  | 27.7152 | 2.7715 | 32.1266 | 3.2127 | 33.1455 | 3.3146
2025 | 2.9306 | 3.4494 | 3.4459 | 0 |  |  | 29.306 | 2.9306 | 34.4943 | 3.4494 | 34.459 | 3.4459
2026 | 3.0631 | 3.5601 | 3.5576 | 0 |  |  | 30.631 | 3.0631 | 35.6007 | 3.5601 | 35.5755 | 3.5576
2027 | 3.2435 | 3.7826 | 3.7168 | 0 |  |  | 32.4346 | 3.2435 | 37.8256 | 3.7826 | 37.1679 | 3.7168
2028 | 3.5506 | 4.1915 | 4.0002 | 0 |  |  | 35.506 | 3.5506 | 41.9151 | 4.1915 | 40.0025 | 4.0002
2029 | 3.7315 | 4.4906 | 4.1758 | 0 |  |  | 37.315 | 3.7315 | 44.9064 | 4.4906 | 41.758 | 4.1758
2030 | 4.0657 | 5.0158 | 4.4863 | 0 |  |  | 40.6566 | 4.0657 | 50.158 | 5.0158 | 44.8628 | 4.4863
2031 | 4.2058 | 4.9971 | 4.5978 | 0 |  |  | 42.0581 | 4.2058 | 49.9714 | 4.9971 | 45.9784 | 4.5978
2032 | 4.5059 | 5.4614 | 4.8738 | 0 |  |  | 45.059 | 4.5059 | 54.6141 | 5.4614 | 48.7376 | 4.8738
2033 | 4.6004 | 5.8241 | 4.9849 | 0 |  |  | 46.0041 | 4.6004 | 58.241 | 5.8241 | 49.8492 | 4.9849
2034 | 4.9042 | 6.0953 | 5.3066 | 0 |  |  | 49.0425 | 4.9042 | 60.9529 | 6.0953 | 53.0658 | 5.3066
2035 | 5.1129 | 6.713 | 5.51 | 0 |  |  | 51.1291 | 5.1129 | 67.1303 | 6.713 | 55.1005 | 5.51
2036 | 5.2848 | 6.6305 | 5.6211 | 0 |  |  | 52.8477 | 5.2848 | 66.3047 | 6.6305 | 56.2114 | 5.6211
2037 | 5.5808 | 7.0768 | 5.9258 | 0 |  |  | 55.8078 | 5.5808 | 70.768 | 7.0768 | 59.258 | 5.9258
2038 | 5.7122 | 7.1036 | 6.0486 | 0 |  |  | 57.122 | 5.7122 | 71.036 | 7.1036 | 60.4856 | 6.0486
2039 | 5.9311 | 7.111 | 6.3 | 0 |  |  | 59.3114 | 5.9311 | 71.1096 | 7.111 | 62.9999 | 6.3
2040 | 5.9994 | 7.6517 | 6.2928 | 0 |  |  | 59.9936 | 5.9994 | 76.5172 | 7.6517 | 62.9279 | 6.2928
2041 | 6.2973 | 7.8807 | 6.6911 | 0 |  |  | 62.9728 | 6.2973 | 78.8067 | 7.8807 | 66.9109 | 6.6911
2042 | 6.5926 | 8.4253 | 7.0452 | 0 |  |  | 65.9265 | 6.5926 | 84.2527 | 8.4253 | 70.4523 | 7.0452
2043 | 6.7828 | 8.6253 | 7.3416 | 0 |  |  | 67.828 | 6.7828 | 86.2527 | 8.6253 | 73.4159 | 7.3416
2044 | 6.683 | 8.2933 | 7.2669 | 0 |  |  | 66.8298 | 6.683 | 82.9329 | 8.2933 | 72.6692 | 7.2669
2045 | 6.9426 | 8.6795 | 7.4645 | 0 |  |  | 69.4259 | 6.9426 | 86.7946 | 8.6795 | 74.6447 | 7.4645
2046 | 7.185 | 8.825 | 7.687 | 0 |  |  | 71.8501 | 7.185 | 88.2504 | 8.825 | 76.8699 | 7.687
2047 | 7.1737 | 8.9505 | 7.6738 | 0 |  |  | 71.7367 | 7.1737 | 89.5052 | 8.9505 | 76.7381 | 7.6738
2048 | 7.174 | 8.951 | 7.674 | 0 |  |  | 71.74 | 7.174 | 89.51 | 8.951 | 76.74 | 7.674
2049 | 7.174 | 8.951 | 7.674 | 0 |  |  | 71.74 | 7.174 | 89.51 | 8.951 | 76.74 | 7.674
2050 | 0 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0
2054 | 0 | 0 | 0 | 0
2055 | 0 | 0 | 0 | 0
2056 | 0 | 0 | 0 | 0
2057 | 0 | 0 | 0 | 0
2058 | 0 | 0 | 0 | 0

## Spending Curve
[7 empty] | ACCUM. | BOOK
|  | Spending Curve |  | CONSTR. |  | ACCUM. | CONSTR. | VALUE
|  |  | YEAR | EXPEND. | AFUDC | AFUDC | EXPEND. | NOT CLOSED
|  | 19.51% | 2020 | 25757 | 832 | 832 | 25757 | 26589
|  | 55.94% | 2021 | 73851 | 4049 | 4881 | 99608 | 77900
|  | 24.55% | 2022 | 32410 | 7482 | 12363 | 132018 | 39892
|  |  | 2023 | 0 | 0 | 0 | 0 | 0
| Check | 100% |  |  |  | 12363 | 132018 | 144381
|  | Year 1 | 0.1951 | 109.2942 | 3.6332 |  |  | 112.8246
|  | Year 2 | 0.5594 | 313.3706 | 17.6812 |  |  | 330.5516
|  | Year 3 | 0.2455 | 137.5248 | 32.6725 |  |  | 169.273
|  | Year 4 |  | 0 | 0 |  |  | 0
|  |  |  | 560.1895 |  |  |  | 612.6492
Spending for Avoided Unit Tab on replacement fuel (from Resource Planning)
7FA.05 CT
Three years construction for 2023 unit
| 7FA.05 CT | 2020 | 2021 | 2022 |  |  | Winter Capacity |  | 245000
| 1st year | 832 | 0 | 0 |  | Check | Summer Capacity |  | 229000
| 2nd year | 0 | 4049 | 0 |  |  | Average Capacity |  | 235666.6667 | uses 7 by 5 for summer winter methodology
| 3rd year | 0 | 0 | 7482 | [5 empty] | Check formula if 7x5 changes
| 4th year | 0 | 0 | 0
| 5th year | 0 | 0 | 0
| 6th year | 0 | 0 | 0
| 7th year | 0 | 0 | 0 | [5 empty] | Feed F11B
| 8th year | 0 | 0 | 0 | Cummulative AFUDC
| Total AFUDC | 832 | 4049 | 7482 | 12363 |  |  | Check
| 7FA.05 CT | 2020 | 2021 | 2022
| 1st year | 25757 | 0 | 0
| 2nd year | 0 | 73851 | 0
| 3rd year | 0 | 0 | 32410
| 4th year | 0 | 0 | 0 | Check
| 5th year | 0 | 0 | 0
| 6th year | 0 | 0 | 0
| 7th year | 0 | 0 | 0
| 8th year | 0 | 0 | 0 | Cummulative Cap Ex
| Total Cap Ex | 25757 | 73851 | 32410 | 132018
144381
Total

## T&D Costs
Inflation Rate | 2.8%
| Data Provided | Base Year
| 2020 | 2020
Avoided Transmission Cost | 11.24 | 34.9
Avoided Distribution Cost | 54.63 | 82.37
O&M Escalation rate | 2.4% | 2020
Transmission Fixed O&M Costs |  | 2.78
Distribution Fixed O&M Costs |  | 11.34

## EUE_Line Losses
EUE
Summer | 79.59%
Winter | 20.41%
Line Losses
Gen KW
| Residential | Commercial
kW | 7.3 | 7
kWh | 5.6 | 5.2
Residential
Forced Outage Rate | 0.034 | 0.966
Line Loss | 7.3% | 0.927
Multiplier | 0.89548
Commercial
Forced Outage Rate | 0.034 | 0.966
Line Loss | 7% | 0.93
Multiplier | 0.89838
0.10695 | Residential
0.1066 | Commercial

## Revenue Requirements
Generation
| Comb. Cycle | Tran & Dist
| Rev Reqm't | Rev Reqm't | See Column N (K Factor Test)
| K FACTORS | K FACTORS
2023 | 0.13759 | 0.13759
2024 | 0.13353 | 0.13353
2025 | 0.12904 | 0.12904
2026 | 0.12477 | 0.12477
2027 | 0.12069 | 0.12069
2028 | 0.11679 | 0.11679
2029 | 0.11301 | 0.11301
2030 | 0.10927 | 0.10927
2031 | 0.10552 | 0.10552
2032 | 0.10178 | 0.10178
2033 | 0.098037 | 0.098037
2034 | 0.094294 | 0.094294
2035 | 0.090552 | 0.090552
2036 | 0.086809 | 0.086809
2037 | 0.083066 | 0.083066
2038 | 0.079674 | 0.079674
2039 | 0.076986 | 0.076986
2040 | 0.074649 | 0.074649
2041 | 0.072311 | 0.072311
2042 | 0.069974 | 0.069974
2043 | 0.067637 | 0.067637
2044 | 0.0653 | 0.0653
2045 | 0.062963 | 0.062963
2046 | 0.060625 | 0.060625
2047 | 0.058288 | 0.058288
2048 | 0.055951 | 0.055951
2049 | 0 | 0
2050 | 0 | 0
2051 | 0 | 0
2052 | 0 | 0
2053 | 0 | 0

## Title Results Update
ECONOMIC LIFE & K FACTORS
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS
II. | (4) K FACTOR FOR GENERATION | 1.5213
II. | (5) K FACTOR FOR T & D | 1.5213
UTILITY & CUSTOMER COSTS
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | %
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.3 | %
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.3 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0708
III. | (13)* UTILITY AFUDC RATE | 0.0646
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | %
AVOIDED GENERATOR, TRANS. & DIST COSTS
IV. | (1) BASE YEAR | 2020
IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2023
IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2021
IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 526.3 | $/KW
IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 34.9 | $/KW
IV. | (6) BASE YEAR AVOIDED DISTRIBUTION COST | 82.37 | $/KW
IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 2.4 | %
IV. | (8) GENERATOR FIXED O & M COST | 5.83 | $/KW/YR
IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | %
IV. | (10) TRANSMISSION FIXED O & M COST | 2.78 | $/KW/YR
IV. | (11) DISTRIBUTION FIXED O & M COST | 11.34 | $/KW/YR
IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.21 | CENTS/KWH | 0.2
IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
IV. | (15) GENERATOR CAPACITY FACTOR | 9.1 | % | See Table1 - column j
IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 3.75 | CENTS/KWH
IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 4.54 | % | See Table1
IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %

## Rates
|  |  | Energy | Demand
|  | Residential | Commercial GSD Secondary kWh | Commercial GSD Secondary kW
| Base Rate | 5.3583 | 1.596 | 0
| Demand Charge | 0 | 0 | 10.59
| Fuel | 0 | 0 | 0
| ECCR | 0.271 | 0 | 0.96
| Capacity | 0.085 | 0 | 0.32
| ECRC | 0.222 | 0.222 | 0
Energy | 1.818 | 5.9363 | 1.818 | 11.87
Demand | 10.0895

## Input
Answer questions 1 thru 16 to complete evaluation. Press RUN for results. (See Title & Results). |  |  |  | Do Not Print this page
1 | Program Title | ENERGY STAR Windows
2 | Demand & Energy Savings
| Winter kW | 0.18568
| Summer kW | 0.072717
| kWh | 577.4358
3 | Switch (1=Conservation, 0=Load Management) | 1
4 | Switch (1=Residential, 0=Commercial) | 1 |  |  | avoided unit comes online in 2020
ADJUSTED
5 | Participation | Annual |  |  |  |  | Cumulative | CUMULATIVE
|  | Total Partic. |  |  |  |  | Total Partic. | PARTICIPATING
| YEAR | Customers |  |  |  | YEAR | Customers | CUSTOMERS
| 2020 | 1000 |  |  |  | 2020 | 1000 | 1000
| 2021 | 1000 |  |  |  | 2021 | 2000 | 2000
| 2022 | 1000 |  |  |  | 2022 | 3000 | 3000
| 2023 | 0 |  |  |  | 2023 | 3000 | 3000
| 2024 | 0 |  |  |  | 2024 | 3000 | 3000
| 2025 | 0 |  |  |  | 2025 | 3000 | 3000
| 2026 | 0 |  |  |  | 2026 | 3000 | 3000
| 2027 | 0 |  |  |  | 2027 | 3000 | 3000
| 2028 | 0 |  |  |  | 2028 | 3000 | 3000
| 2029 | 0 |  |  |  | 2029 | 3000 | 3000
| 2030 | 0 |  |  |  | 2030 | 3000 | 3000
| 2031 | 0 |  |  |  | 2031 | 3000 | 3000
| 2032 | 0 |  |  |  | 2032 | 3000 | 3000
| 2033 | 0 |  |  |  | 2033 | 3000 | 3000
| 2034 | 0 |  |  |  | 2034 | 3000 | 3000
[6 empty] | 2035 | 3000 | 3000
[6 empty] | 2036 | 3000 | 3000
6 | Free Riders | 0% |  |  |  | 2037 | 3000 | 3000
7 | Study Period for Conservation Program | 25 | Years |  |  | 2038 | 3000 | 3000
8 | Utility Non Recurring Cost Per Customer | 55 | $/CUST |  |  | 2039 | 3000 | 3000
9 | Utility Recurring Cost Per Customer (Load Management) | 0 | $/CUST/YR |  |  | 2040 | 3000 | 3000
10 | Customer Equipment Cost | 360 | $/CUST |  |  | 2041 | 3000 | 3000
11 | Customer O & M Cost | 0 | $/CUST/YR |  |  | 2042 | 3000 | 3000
12 | Customer Tax Credit Per Installation | 0 | $/CUST |  |  | 2043 | 3000 | 3000
13 | Increased Supply Costs | 0 | $/CUST/YR |  |  | 2044 | 3000 | 3000
14 | Utility Non Recurring Rebate/Incentive | 0 | $/CUST |  |  | 2045 | 3000 | 3000
15 | Utility Recurring Rebate/Incentive (Load Management) | 0 | $/CUST/YR
16 | Diversity and Annual Demand | 1
Adjustment Factor for Customer Bill:
See Participation C,D,E,F 73
See Participation F_22 F5,6

## Title_RESULTS
|  | INPUT DATA - PART 1 |  |  |  | PSC FORM CE 1.1
|  | PROGRAM TITLE: | ENERGY STAR Windows |  |  | PAGE 1 OF 1
[6 empty] | RUN DATE: | 2026-07-29 07:08
| PROGRAM DEMAND SAVINGS & LINE LOSSES |  |  |  | AVOIDED GENERATOR, TRANS. & DIST COSTS
I. | (1) CUSTOMER KW REDUCTION AT THE METER | 0.18568 | KW /CUST | IV. | (1) BASE YEAR | 2020
I. | (2) GENERATOR KW REDUCTION PER CUSTOMER | 0.10695 | KW GEN/CUST | IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2023
I. | (3) KW LINE LOSS PERCENTAGE | 7.3 | % | IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2021
I. | (4) GENERATION KWH REDUCTION PER CUSTOMER | 611.6905 | KWH/CUST/YR | IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 526.3 | $/KW
I. | (5) KWH LINE LOSS PERCENTAGE | 5.6 | % | IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 34.9 | $/KW
I. | (6) GROUP LINE LOSS MULTIPLIER | 1 |  | IV. | (6) BASE YEAR DISTRIBUTION COST | 82.37 | $/KW
I. | (7) CUSTOMER KWH PROGRAM INCREASE AT METER | 0 | KWH/CUST/YR | IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 2.4 | %
I. | (8)* CUSTOMER KWH REDUCTION AT METER | 577.4358 | KWH/CUST/YR | IV. | (8) GENERATOR FIXED O & M COST | 5.83 | $/KW/YR
|  |  |  | IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | %
| ECONOMIC LIFE & K FACTORS |  |  | IV. | (10) TRANSMISSION FIXED O & M COST | 2.78 | $/KW/YR
II. | (1) STUDY PERIOD FOR CONSERVATION PROGRAM | 25 | YEARS | IV. | (11) DISTRIBUTION FIXED O & M COST | 11.34 | $/KW/YR
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS | IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS | IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.21 | CENTS/KWH
II. | (4) K FACTOR FOR GENERATION | 1.5213 |  | IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
II. | (5) K FACTOR FOR T & D | 1.5213 |  | IV. | (15) GENERATOR CAPACITY FACTOR | 9.1 | %
| (6)* SWITCH REV REQ(0) OR VAL-OF-DEF (1) | 0 |  | IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 3.75 | CENTS/KWH
|  |  |  | IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 4.54 | %
|  |  |  | IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
| UTILITY & CUSTOMER COSTS |  |  | IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %
III. | (1) UTILITY NONRECURRING COST PER CUSTOMER | 55 | $/CUST
III. | (2) UTILITY RECURRING COST PER CUSTOMER | 0 | $/CUST/YR
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | %
III. | (4) CUSTOMER EQUIPMENT COST | 360 | $/CUST |  | NON-FUEL ENERGY AND DEMAND CHARGES
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.3 | % | V. | (1) NON-FUEL COST IN CUSTOMER BILL | 5.9363 | CENTS/KWH
III. | (6) CUSTOMER O & M COST | 0 | $/CUST/YR | V. | (2) NON-FUEL ESCALATION RATE | 1 | %
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.3 | % | V. | (3) CUSTOMER DEMAND CHARGE PER KW | 0 | $/KW/MO
III. | (8)* CUSTOMER TAX CREDIT PER INSTALLATION | 0 | $/CUST | V. | (4) DEMAND CHARGE ESCALATION RATE | 1 | %
III. | (9)* CUSTOMER TAX CREDIT ESCALATION RATE | 0 | % | V. | (5)* DIVERSITY and ANNUAL DEMAND ADJUSTMENT
III. | (10)* INCREASED SUPPLY COSTS | 0 | $/CUST/YR |  | FACTOR FOR CUSTOMER BILL | 1
III. | (11)* SUPPLY COSTS ESCALATION RATE | 0 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0708
III. | (13)* UTILITY AFUDC RATE | 0.0646 |  |  | CALCULATED BENEFITS AND COSTS
III. | (14)* UTILITY NON RECURRING REBATE/INCENTIVE | 0 | $/CUST |  | (1)* TRC TEST - BENEFIT/COST RATIO | 1.1828
III. | (15)* UTILITY RECURRING REBATE/INCENTIVE | 0 | $/CUST/YR |  | (2)* PARTICIPANT NET BENEFITS (NPV) | 963.8004
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | % |  | (3)* RIM TEST - BENEFIT/COST RATIO | 1.0061
END OF EDITING AREA
YEARLY INPUT DATA: GO TO H5..Q76 & INPUT (Page 2)
PLEASE NOTE: UTILITY NON-LEVELIZED REVENUE REQUIREMENT
FACTORS AT RANGE NAMES GEN_RRTBL AND TRAN_RRTBL.

## Partcipation
[6 empty] | See N16 for Rev Requirements |  | Do Not Print
PROGRAM TITLE:
2026-07-29 07:08
VI. YEARLY INPUT DATA
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
| CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
| TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 2.8789 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0.44431
2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 3.0378 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0.48729
2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 3.1562 | 1 | 1 | 0 | 0 | 0 | 3.1238 |  | 0.5118
2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 3.1726 | 1 | 1 | 0 | 0 | 0 | 3.28 |  | 0.54987
2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 3.3146 | 1 | 1 | 0 | 0 | 0 | 3.444 |  | 0.54304
2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 3.4459 | 1 | 1 | 0 | 0 | 0 | 3.6162 |  | 0.51531
2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 3.5576 | 1 | 1 | 0 | 0 | 0 | 3.797 |  | 0.49445
2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 3.7168 | 1 | 1 | 0 | 0 | 0 | 3.9869 |  | 0.47333
2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 4.0002 | 1 | 1 | 0 | 0 | 0 | 4.1862 |  | 0.44964
2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 4.1758 | 1 | 1 | 0 | 0 | 0 | 4.3955 |  | 0.4443
2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 4.4863 | 1 | 1 | 0 | 0 | 0 | 4.6153 |  | 0.42062
2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 4.5978 | 1 | 1 | 0 | 0 | 0 | 4.8461 |  | 0.39203
2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 4.8738 | 1 | 1 | 0 | 0 | 0 | 5.0884 |  | 0.36786
2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 4.9849 | 1 | 1 | 0 | 0 | 0 | 5.3428 |  | 0.3845
2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 5.3066 | 1 | 1 | 0 | 0 | 0 | 5.6099 |  | 0.40233
2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 5.51 | 1 | 1 | 0 | 0 | 0 | 5.8904 | 2010 Carbon, not used in 2015 | 0.39714
2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 5.6211 | 1 | 1 | 0 | 0 | 0 | 6.1849 |  | 0.33637
2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 5.9258 | 1 | 1 | 0 | 0 | 0 | 6.4942 |  | 0.34503
2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 6.0486 | 1 | 1 | 0 | 0 | 0 | 6.8189 |  | 0.33636
2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 6.3 | 1 | 1 | 0 | 0 | 0 | 7.1598 |  | 0.36885
2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 6.2928 | 1 | 1 | 0 | 0 | 0 | 7.5178 |  | 0.29344
2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 6.6911 | 1 | 1 | 0 | 0 | 0 | 7.8937 |  | 0.39381
2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 7.0452 | 1 | 1 | 0 | 0 | 0 | 8.2884 |  | 0.45259
2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 7.3416 | 1 | 1 | 0 | 0 | 0 | 8.7028 |  | 0.55879
2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 7.2669 | 1 | 1 | 0 | 0 | 0 | 9.138 |  | 0.58395
2045 | 3000 | 3000 | 6.9426 | 8.6795 | 0 | 7.4645 | 1 | 1 | 0 | 0 | 0 | 9.5949 |  | 0.52188
2046 | 0 | 0 | 7.185 | 8.825 | 0 | 7.687 | 1 | 1 | 0 | 0 | 0 | 10.0746 |  | 0.50198
2047 | 0 | 0 | 7.1737 | 8.9505 | 0 | 7.6738 | 1 | 1 | 0 | 0 | 0 | 10.5783 |  | 0.50014
2048 | 0 | 0 | 7.174 | 8.951 | 0 | 7.674 | 1 | 1 | 0 | 0 | 0 | 11.1072 |  | 0.5
2049 | 0 | 0 | 7.174 | 8.951 | 0 | 7.674 | 1 | 1 | 0 | 0 | 0 | 11.6626 |  | 0.5
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2054 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2055 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2056 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2057 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2058 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2
1
Unit Size of Avoided Generation Unit | (2): 321
|  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  |  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
|  | CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
|  | TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
| YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | 0 | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
| 2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 0 | 1 | 1 | 0 | 0 | 2.02
| 2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 0 | 1 | 1 | 0 | 0 | 2.1
| 2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 0 | 1 | 1 | 0 | 0 | 2.4
| 2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 0 | 1 | 1 | 0 | 0 | 2.41
| 2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 0 | 1 | 1 | 0 | 0 | 2.79
| 2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 0 | 1 | 1 | 0 | 0 | 3.05
| 2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 0 | 1 | 1 | 0 | 0 | 3.18
| 2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 0 | 1 | 1 | 0 | 0 | 3.07
| 2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 0 | 1 | 1 | 0 | 0 | 3.49
| 2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 0 | 1 | 1 | 0 | 0 | 3.53
| 2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 0 | 1 | 1 | 0 | 0 | 3.81
| 2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 0 | 1 | 1 | 0 | 0 | 4.29
| 2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 0 | 1 | 1 | 0 | 0 | 4.43
| 2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 0 | 1 | 1 | 0 | 0 | 4.61
| 2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 0 | 1 | 1 | 0 | 0 | 5.23
| 2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 0 | 1 | 1 | 0 | 0 | 5.38
| 2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 0 | 1 | 1 | 0 | 0 | 5.63
| 2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 0 | 1 | 1 | 0 | 0 | 6.18
| 2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 0 | 1 | 1 | 0 | 0 | 6.57
| 2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 0 | 1 | 1 | 0 | 0 | 6.76
| 2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 0 | 1 | 1 | 0 | 0 | 7.26
| 2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 0 | 1 | 1 | 0 | 0 | 7.3
| 2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 0 | 1 | 1 | 0 | 0 | 7.35
| 2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 0 | 1 | 1 | 0 | 0 | 8.21
| 2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 0 | 1 | 1 | 0 | 0 | 8.04
| 2045 | 3000 | 3000 | 6.9426 | 8.6795 | 0 | 0 | 1 | 1 | 0 | 0 | 8.31
| 2046 | 0 | 0 | 7.185 | 8.825 | 0 | 0 | 1 | 1 | 0 | 0 | 9.05
| 2047 | 0 | 0 | 7.1737 | 8.9505 | 0 | 0 | 1 | 1 | 0 | 0 | 8.99
| 2048 | 0 | 0 | 7.174 | 8.951 | 0 | 0 | 1 | 1 | 0 | 0 | 9.37
| 2049 | 0 | 0 | 7.174 | 8.951 | 0 | 0 | 1 | 1 | 0 | 0 | 9.75
| 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2054 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2055 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2056 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2057 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2058 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0

## f-11B
|  | CALCULATION OF AFUDC AND IN-SERVICE COST OF PLANT | [7 empty] | PSC FORM CE 1.1B
|  |  |  | PLANT: | 2023 | Avoided Unit |  |  |  | PAGE 1 OF 1
2026-07-29 07:08
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
| NO. YEARS | PLANT | CUMULATIVE |  |  | CUMULATIVE | CUMULATIVE | YEARLY | INCREMENTAL | CUMULATIVE | <-- INPUTS FOR OTHER COSTS & BENEFITS - EXTERNALLY CALC., FORMS 2.3, 2.4, & 2.5 -->
| BEFORE | ESCALATION | ESCALATION | YEARLY | ANNUAL | AVERAGE | SPENDING | TOTAL | YEAR-END | YEAR-END |  | (1) | (2) | (3) | (4) | (5) | (6)
| INSERVICE | RATE | FACTOR | EXPENDITURE | SPENDING | SPENDING | WITH AFUDC | AFUDC | BOOK VALUE | BOOK VALUE |  | (1): <-- FORM 2.3 --->; (3): <---- FORM 2.4 --->; (5): <---- FORM 2.5 ---->
YEAR |  | (%) |  | (%) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | YEAR | OTHER COST | OTHER BEN | OTH COST | OTHER BENEFITS | COSTS | BENEFITS
2011 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ($000) | ($000) | ($000) | ($000) | ($000) | ($000)
2012 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0
2014 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0
2015 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0
2016 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2024 | 0 | 0 | 0 | 0 | 0 | 0
2017 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2025 | 0 | 0 | 0 | 0 | 0 | 0
2018 | -5 | 0.024 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0
2019 | -4 | 0.024 | 1.024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2027 | 0 | 0 | 0 | 0 | 0 | 0
2020 | -3 | 0.024 | 1.0486 | 0.1951 | 112.8246 | 109.2942 | 112.8246 | 3.5304 | 112.8246 | 112.8246 | 2028 | 0 | 0 | 0 | 0 | 0 | 0
2021 | -2 | 0.024 | 1.0737 | 0.5594 | 330.5516 | 313.3706 | 330.5516 | 17.181 | 330.5516 | 443.3762 | 2029 | 0 | 0 | 0 | 0 | 0 | 0
2022 | -1 | 0.024 | 1.0995 | 0.2455 | 169.273 | 137.5248 | 169.273 | 31.7482 | 169.273 | 612.6492 | 2030 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0 | 0.024 | 1.1259 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2031 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2032 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2033 | 0 | 0 | 0 | 0 | 0 | 0
IN-SERVICE YEAR = |  | 2023 | [6 empty] | 612.6492 |  | 2034 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2035 | 0 | 0 | 0 | 0 | 0 | 0
PLANT COSTS (2023$) |  | 526.3 | [8 empty] | 2036 | 0 | 0 | 0 | 0 | 0 | 0
AFUDC RATE: |  | 6.46% | [8 empty] | 2037 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2038 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2039 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2040 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2041 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2042 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2043 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2044 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2045 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2046 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2047 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2048 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2049 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2050 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2051 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2052 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2053 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2054 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2055 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2056 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2057 | 0 | 0 | 0 | 0 | 0 | 0
PSC FORM CE 1.1
PAGE 1 OF 1 | bar: (2)
[11 empty] | Run date: | (1): 37062
[12 empty] | 37062.5552 | *
*
2001 | bar: (2)
2004
16.2994

## Sheet3(F_21)
|  |  | AVOIDED GENERATION UNIT BENEFITS | [5 empty] | PSC FORM CE 2.1
|  |  | PROGRAM: | ENERGY STAR Windows |  |  |  |  | Page 1 of 1
2026-07-29 07:08
|  | * UNIT SIZE OF AVOIDED GENERATION UNIT = |  |  |  | 321 | KW
|  | * INSERVICE COSTS OF AVOIDED GEN. UNIT (000) = |  |  |  | 196.6604
(1) | (1A)* | (2) | (2A)* | (3) | (4) | (5) | (6) | (6A)* | (7)
|  | AVOIDED | AVOIDED | AVOIDED | AVOIDED | AVOIDED |  | AVOIDED
| REVENUE | GEN UNIT | ANNUAL | UNIT | GEN UNIT | GEN UNIT |  | PURCHASED | AVOIDED
| REQUIREMENT | CAPACITY | UNIT | FIXED | VARIABLE | FUEL | REPLACEMENT | CAPACITY | GEN UNIT
| FACTOR | COST | KWH GEN | O&M COST | O&M COST | COST | FUEL COST | COSTS | BENEFITS
YEAR |  | $(000) | (000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0.13759 | 27.0586 | 255.7686 | 2.0085 | 0.57672 | 10.9579 | 8.1146 | 0 | 32.4871
2024 | 0.13353 | 26.2596 | 255.7686 | 2.0567 | 0.59056 | 11.4554 | 8.4776 | 0 | 31.8846
2025 | 0.12904 | 25.3775 | 255.7686 | 2.1061 | 0.60474 | 11.9754 | 8.8135 | 0 | 31.2501
2026 | 0.12477 | 24.5376 | 255.7686 | 2.1566 | 0.61925 | 12.5191 | 9.0991 | 0 | 30.7334
2027 | 0.12069 | 23.7357 | 255.7686 | 2.2084 | 0.63411 | 13.0875 | 9.5064 | 0 | 30.1593
2028 | 0.11679 | 22.9681 | 255.7686 | 2.2614 | 0.64933 | 13.6816 | 10.2314 | 0 | 29.3291
2029 | 0.11301 | 22.2244 | 255.7686 | 2.3156 | 0.66491 | 14.3028 | 10.6804 | 0 | 28.8273
2030 | 0.10927 | 21.4883 | 255.7686 | 2.3712 | 0.68087 | 14.9521 | 11.4745 | 0 | 28.018
2031 | 0.10552 | 20.7522 | 255.7686 | 2.4281 | 0.69721 | 15.631 | 11.7598 | 0 | 27.7487
2032 | 0.10178 | 20.0161 | 255.7686 | 2.4864 | 0.71395 | 16.3406 | 12.4655 | 0 | 27.0915
2033 | 0.098037 | 19.2801 | 255.7686 | 2.5461 | 0.73108 | 17.0825 | 12.7498 | 0 | 26.8898
2034 | 0.094294 | 18.544 | 255.7686 | 2.6072 | 0.74863 | 17.858 | 13.5726 | 0 | 26.1852
2035 | 0.090552 | 17.8079 | 255.7686 | 2.6697 | 0.76659 | 18.6688 | 14.093 | 0 | 25.8201
2036 | 0.086809 | 17.0718 | 255.7686 | 2.7338 | 0.78499 | 19.5163 | 14.3771 | 0 | 25.7299
2037 | 0.083066 | 16.3358 | 255.7686 | 2.7994 | 0.80383 | 20.4024 | 15.1563 | 0 | 25.1851
2038 | 0.079674 | 15.6688 | 255.7686 | 2.8666 | 0.82312 | 21.3287 | 15.4703 | 0 | 25.2169
2039 | 0.076986 | 15.1401 | 255.7686 | 2.9354 | 0.84288 | 22.297 | 16.1134 | 0 | 25.1019
2040 | 0.074649 | 14.6804 | 255.7686 | 3.0059 | 0.86311 | 23.3093 | 16.095 | 0 | 25.7637
2041 | 0.072311 | 14.2208 | 255.7686 | 3.078 | 0.88382 | 24.3675 | 17.1137 | 0 | 25.4364
2042 | 0.069974 | 13.7612 | 255.7686 | 3.1519 | 0.90504 | 25.4738 | 18.0195 | 0 | 25.2723
2043 | 0.067637 | 13.3015 | 255.7686 | 3.2275 | 0.92676 | 26.6303 | 18.7775 | 0 | 25.3086
2044 | 0.0653 | 12.8419 | 255.7686 | 3.305 | 0.949 | 27.8393 | 18.5865 | 0 | 26.3487
NOMINAL |  | 423.0723 | 5626.9091 | 57.3254 | 16.4605 | 399.6772 | 290.7475 | 0 | 605.7878
NPV |  | 202.1067 |  | 23.4259 | 6.7266 | 154.3751 | 113.3667 | 0 | 273.2675
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet5(p_5)
| * WORKSHEET : DSM PROGRAM FUEL SAVINGS |  |  |  | WORKSHEET FOR FORM CE 2.2
| PROGRAM: | ENERGY STAR Windows |  |  | Page 1 of 1
2026-07-29 07:08
(1) | (2) | (3) | (4) | (5) | (6) | (7)
| REDUCTION |  | INCREASE |  | NET
| IN KWH | AVOIDED | IN KWH | INCREASED | AVOIDED | EFFECTIVE
| GENERATION | MARGINAL | GENERATION | MARGINAL | PROGRAM | PROGRAM
| NET NEW CUST | FUEL COST - | NET NEW CUST | FUEL COST - | FUEL | FUEL
| KWH | REDUCED KWH | KWH | INCREASE KWH | SAVINGS | SAVINGS
YEAR | (000) | $(000) | (000) | $(000) | $(000) | $(000)
2020 | 305.8452 | 8.8717 | 0 | 0 | 8.8717 | 8.8717
2021 | 917.5357 | 26.3986 | 0 | 0 | 26.3986 | 26.3986
2022 | 1529.2262 | 45.4085 | 0 | 0 | 45.4085 | 45.4085
2023 | 1835.0714 | 56.7256 | 0 | 0 | 56.7256 | 56.7256
2024 | 1835.0714 | 58.9547 | 0 | 0 | 58.9547 | 58.9547
2025 | 1835.0714 | 63.2996 | 0 | 0 | 63.2996 | 63.2996
2026 | 1835.0714 | 65.3299 | 0 | 0 | 65.3299 | 65.3299
2027 | 1835.0714 | 69.4127 | 0 | 0 | 69.4127 | 69.4127
2028 | 1835.0714 | 76.9173 | 0 | 0 | 76.9173 | 76.9173
2029 | 1835.0714 | 82.4064 | 0 | 0 | 82.4064 | 82.4064
2030 | 1835.0714 | 92.0434 | 0 | 0 | 92.0434 | 92.0434
2031 | 1835.0714 | 91.7011 | 0 | 0 | 91.7011 | 91.7011
2032 | 1835.0714 | 100.2209 | 0 | 0 | 100.2209 | 100.2209
2033 | 1835.0714 | 106.8764 | 0 | 0 | 106.8764 | 106.8764
2034 | 1835.0714 | 111.8528 | 0 | 0 | 111.8528 | 111.8528
2035 | 1835.0714 | 123.1888 | 0 | 0 | 123.1888 | 123.1888
2036 | 1835.0714 | 121.6739 | 0 | 0 | 121.6739 | 121.6739
2037 | 1835.0714 | 129.8643 | 0 | 0 | 129.8643 | 129.8643
2038 | 1835.0714 | 130.3562 | 0 | 0 | 130.3562 | 130.3562
2039 | 1835.0714 | 130.4911 | 0 | 0 | 130.4911 | 130.4911
2040 | 1835.0714 | 140.4145 | 0 | 0 | 140.4145 | 140.4145
2041 | 1835.0714 | 144.6159 | 0 | 0 | 144.6159 | 144.6159
2042 | 1835.0714 | 154.6097 | 0 | 0 | 154.6097 | 154.6097
2043 | 1835.0714 | 158.2798 | 0 | 0 | 158.2798 | 158.2798
2044 | 1835.0714 | 152.1879 | 0 | 0 | 152.1879 | 152.1879
NOMINAL | 43124.1779 | 2442.1016 | 0 | 0 | 2442.1016 | 2442.1016
NPV: |  | 970.9395 |  | 0 | 970.9395 | 970.9395
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet2(F_12)
|  |  | INPUT DATA -- PART 2 | [5 empty] | PSC FORM CE 1.2
|  |  | PROGRAM: | ENERGY STAR Windows |  |  |  |  | PAGE 1 OF 1
2026-07-29 07:08
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
UTILITY
AVERAGE
| CUMULATIVE | ADJUSTED | SYSTEM | AVOIDED | INCREASED |  | PROGRAM | PROGRAM | OTHER | OTHER
| TOTAL | CUMULATIVE | FUEL | MARGINAL | MARGINAL | REPLACEMENT | KW | KWH | COSTS | BENEFITS
| PARTICIPATING | PARTICIPATING | COSTS | FUEL COST | FUEL COST | FUEL COST | EFFECTIVENESS | EFFECTIVENESS |  | (CO2)
YEAR | CUSTOMERS | CUSTOMERS | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | FACTOR | FACTOR | ($000) | ($000)
2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 2.8789 | 1 | 1 | 0 | 0
2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 3.0378 | 1 | 1 | 0 | 0
2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 3.1562 | 1 | 1 | 0 | 0
2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 3.1726 | 1 | 1 | 0 | 0
2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 3.3146 | 1 | 1 | 0 | 0
2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 3.4459 | 1 | 1 | 0 | 0
2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 3.5576 | 1 | 1 | 0 | 0
2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 3.7168 | 1 | 1 | 0 | 0
2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 4.0002 | 1 | 1 | 0 | 0
2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 4.1758 | 1 | 1 | 0 | 0
2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 4.4863 | 1 | 1 | 0 | 0
2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 4.5978 | 1 | 1 | 0 | 0
2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 4.8738 | 1 | 1 | 0 | 0
2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 4.9849 | 1 | 1 | 0 | 0
2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 5.3066 | 1 | 1 | 0 | 0
2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 5.51 | 1 | 1 | 0 | 0
2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 5.6211 | 1 | 1 | 0 | 0
2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 5.9258 | 1 | 1 | 0 | 0
2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 6.0486 | 1 | 1 | 0 | 0
2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 6.3 | 1 | 1 | 0 | 0
2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 6.2928 | 1 | 1 | 0 | 0
2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 6.6911 | 1 | 1 | 0 | 0
2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 7.0452 | 1 | 1 | 0 | 0
2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 7.3416 | 1 | 1 | 0 | 0
2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 7.2669 | 1 | 1 | 0 | 0

## Sheet4(F_22)
|  | AVOIDED T & D AND PROGRAM FUEL SAVINGS |  |  |  |  | PSC FORM CE 2.2
|  | PROGRAM: | ENERGY STAR Windows |  |  |  | Page 1 of 2
2026-07-29 07:08
|  | * INSERVICE COSTS OF AVOIDED TRANS. (000) = |  |  | 11.4718
|  | * INSERVICE COSTS OF AVOIDED DIST. (000) = |  |  | 46.9833
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
| AVOIDED | AVOIDED |  | AVOIDED | AVOIDED
| TRANSMISSION | TRANSMISSION | TOTAL AVOIDED | DISTRIBUTION | DISTRIBUTION | TOTAL AVOIDED | PROGRAM
| CAPACITY | O&M | TRANSMISSION | CAPACITY | O&M | DISTRIBUTION | FUEL
| COST | COST | COST | COST | COST | COST | SAVINGS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8717
2021 | 0 | 0.91337 | 0.91337 | 0 | 6.4683 | 6.4683 | 26.3986
2022 | 0 | 0.93529 | 0.93529 | 0 | 6.6235 | 6.6235 | 45.4085
2023 | 1.5784 | 0.95774 | 2.5361 | 6.4645 | 6.7825 | 13.2469 | 56.7256
2024 | 1.5318 | 0.98072 | 2.5125 | 6.2736 | 6.9452 | 13.2188 | 58.9547
2025 | 1.4803 | 1.0043 | 2.4846 | 6.0628 | 7.1119 | 13.1748 | 63.2996
2026 | 1.4313 | 1.0284 | 2.4597 | 5.8622 | 7.2826 | 13.1448 | 65.3299
2027 | 1.3846 | 1.053 | 2.4376 | 5.6706 | 7.4574 | 13.128 | 69.4127
2028 | 1.3398 | 1.0783 | 2.4181 | 5.4872 | 7.6364 | 13.1236 | 76.9173
2029 | 1.2964 | 1.1042 | 2.4006 | 5.3095 | 7.8197 | 13.1292 | 82.4064
2030 | 1.2535 | 1.1307 | 2.3842 | 5.1337 | 8.0073 | 13.141 | 92.0434
2031 | 1.2105 | 1.1578 | 2.3684 | 4.9578 | 8.1995 | 13.1573 | 91.7011
2032 | 1.1676 | 1.1856 | 2.3532 | 4.782 | 8.3963 | 13.1783 | 100.2209
2033 | 1.1247 | 1.2141 | 2.3387 | 4.6061 | 8.5978 | 13.2039 | 106.8764
2034 | 1.0817 | 1.2432 | 2.3249 | 4.4303 | 8.8041 | 13.2344 | 111.8528
2035 | 1.0388 | 1.2731 | 2.3118 | 4.2544 | 9.0154 | 13.2699 | 123.1888
2036 | 0.99585 | 1.3036 | 2.2995 | 4.0786 | 9.2318 | 13.3104 | 121.6739
2037 | 0.95291 | 1.3349 | 2.2878 | 3.9027 | 9.4534 | 13.3561 | 129.8643
2038 | 0.91401 | 1.3669 | 2.2809 | 3.7434 | 9.6803 | 13.4236 | 130.3562
2039 | 0.88316 | 1.3997 | 2.2829 | 3.6171 | 9.9126 | 13.5296 | 130.4911
2040 | 0.85635 | 1.4333 | 2.2897 | 3.5072 | 10.1505 | 13.6577 | 140.4145
2041 | 0.82954 | 1.4677 | 2.2973 | 3.3974 | 10.3941 | 13.7915 | 144.6159
2042 | 0.80273 | 1.503 | 2.3057 | 3.2876 | 10.6436 | 13.9312 | 154.6097
2043 | 0.77592 | 1.539 | 2.3149 | 3.1778 | 10.899 | 14.0768 | 158.2798
2044 | 0.7491 | 1.576 | 2.3251 | 3.068 | 11.1606 | 14.2286 | 152.1879
NOMINAL | 24.679 | 29.1839 | 53.863 | 101.0744 | 206.6737 | 307.7481 | 2442.1016
NPV: | 11.7895 | 12.8392 | 24.6286 | 48.2845 | 90.9239 | 139.2084 | 970.9395
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet6(p_6)
|  | * WORKSHEET: UTILITY COSTS AND PARTICIPANT COSTS AND REV LOSS/GAIN | [12 empty] | WORKSHEET FOR FORM CE 2.2
|  | PROGRAM: |  | ENERGY STAR Windows | [10 empty] | Page 2 of 2
2026-07-29 07:08
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18)
| <----- UTILITY PROGRAM COSTS & REBATES -------> | [5 empty] | <------------------ PARTICIPATING CUSTOMER COSTS & BENEFITS ---------------------->
|  |  | TOTAL |  |  | TOTAL | PARTIC. | PARTIC. | TOTAL | REDUCT. | RED. | RED. | EFFECT. | INC. | INC. | INC. | EFFECT.
| UTIL | UTIL | UTIL | UTIL | UTIL | REBATE/ | CUST | CUST | COSTS | IN | REV. | REV. | REV. | IN | REV. | REV. | REVENUE
| NONREC. | RECUR | PGM | NONREC. | RECUR. | INCENT. | EQUIP | O & M | PARTIC. | CUST. | - FUEL | NONFUEL | REDUCT. | CUST. | - FUEL | NONFUEL | INC.
| COSTS | COSTS | COSTS | REBATES | REBATES | COSTS | COSTS | COSTS | CUST | KWH | PORTION | PORTION | TO CUST | KWH | PORTION | PORTION | IN BILL
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | (000) | $(000) | $(000) | $(000) | (000) | $(000) |  | $(000)
2020 | 55 | 0 | 55 | 0 | 0 | 0 | 360 | 0 | 360 | 288.7179 | 7.0292 | 17.1392 | 24.1683 | 0 | 0 | 0 | 0
2021 | 56.32 | 0 | 56.32 | 0 | 0 | 0 | 368.28 | 0 | 368.28 | 866.1537 | 22.0911 | 51.9317 | 74.0228 | 0 | 0 | 0 | 0
2022 | 57.6717 | 0 | 57.6717 | 0 | 0 | 0 | 376.7504 | 0 | 376.7504 | 1443.5895 | 38.1747 | 87.4183 | 125.593 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 45.4342 | 105.951 | 151.3851 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 48.0112 | 107.0105 | 155.0217 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 50.767 | 108.0806 | 158.8476 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 53.0624 | 109.1614 | 162.2237 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 56.1867 | 110.253 | 166.4397 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 61.5073 | 111.3555 | 172.8629 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 64.641 | 112.4691 | 177.1101 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 70.4297 | 113.5938 | 184.0235 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 72.8576 | 114.7297 | 187.5873 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 78.056 | 115.877 | 193.9331 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 79.6933 | 117.0358 | 196.7291 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 84.9566 | 118.2061 | 203.1628 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 88.5713 | 119.3882 | 207.9595 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 91.5485 | 120.5821 | 212.1306 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 96.6762 | 121.7879 | 218.4641 | 0 | 0 | 0 | 0
2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 98.9529 | 123.0058 | 221.9587 | 0 | 0 | 0 | 0
2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 102.7456 | 124.2358 | 226.9815 | 0 | 0 | 0 | 0
2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 103.9273 | 125.4782 | 229.4055 | 0 | 0 | 0 | 0
2041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 109.0883 | 126.733 | 235.8212 | 0 | 0 | 0 | 0
2042 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 114.2049 | 128.0003 | 242.2052 | 0 | 0 | 0 | 0
2043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 117.4989 | 129.2803 | 246.7792 | 0 | 0 | 0 | 0
2044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.3074 | 115.7697 | 130.5731 | 246.3428 | 0 | 0 | 0 | 0
NOMINAL | 168.9917 | 0 | 168.9917 | 0 | 0 | 0 | 1105.0304 | 0 | 1105.0304 | 40709.2239 | 1871.8816 | 2749.2773 | 4621.1589 | 0 | 0 | 0 | 0
NPV | 157.8936 | 0 | 157.8936 | 0 | 0 | 0 | 1032.5067 | 0 | 1032.5067 |  | 754.6567 | 1241.6504 | 1996.3071 |  | 0 | 0 | 0
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet7(F_23)
|  |  | TOTAL RESOURCE COST TESTS | [8 empty] | PSC FORM CE 2.3
|  |  | PROGRAM: | ENERGY STAR Windows | [7 empty] | Page 1 of 1
2026-07-29 07:08
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
CUMULATIVE
| INCREASED | UTILITY | PARTICIPANT |  |  |  |  | PROGRAM |  |  |  | DISCOUNTED
| SUPPLY | PROGRAM | PROGRAM | OTHER | TOTAL | AVOIDED | AVOIDED | FUEL | OTHER | TOTAL | NET | NET
| COSTS | COSTS | COSTS | COSTS | COSTS | GEN UNIT | T & D | SAVINGS | BENEFITS | BENEFITS | BENEFITS | BENEFITS
[6 empty] | BENEFITS | BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 55 | 360 | 0 | 415 | 0 | 0 | 8.8717 | 0 | 8.8717 | -406.1283 | -406.1283
2021 | 0 | 56.32 | 368.28 | 0 | 424.6 | 0 | 7.3816 | 26.3986 | 0 | 33.7802 | -390.8198 | -771.1076
2022 | 0 | 57.6717 | 376.7504 | 0 | 434.4221 | 0 | 7.5588 | 45.4085 | 0 | 52.9673 | -381.4549 | -1103.7874
2023 | 0 | 0 | 0 | 0 | 0 | 32.4871 | 15.7831 | 56.7256 | 0 | 104.9958 | 104.9958 | -1018.2715
2024 | 0 | 0 | 0 | 0 | 0 | 31.8846 | 15.7313 | 58.9547 | 0 | 106.5706 | 106.5706 | -937.212
2025 | 0 | 0 | 0 | 0 | 0 | 31.2501 | 15.6594 | 63.2996 | 0 | 110.2091 | 110.2091 | -858.9275
2026 | 0 | 0 | 0 | 0 | 0 | 30.7334 | 15.6045 | 65.3299 | 0 | 111.6678 | 111.6678 | -784.8515
2027 | 0 | 0 | 0 | 0 | 0 | 30.1593 | 15.5656 | 69.4127 | 0 | 115.1376 | 115.1376 | -713.5237
2028 | 0 | 0 | 0 | 0 | 0 | 29.3291 | 15.5417 | 76.9173 | 0 | 121.788 | 121.788 | -643.0645
2029 | 0 | 0 | 0 | 0 | 0 | 28.8273 | 15.5298 | 82.4064 | 0 | 126.7635 | 126.7635 | -574.5758
2030 | 0 | 0 | 0 | 0 | 0 | 28.018 | 15.5252 | 92.0434 | 0 | 135.5866 | 135.5866 | -506.1637
2031 | 0 | 0 | 0 | 0 | 0 | 27.7487 | 15.5257 | 91.7011 | 0 | 134.9755 | 134.9755 | -442.5628
2032 | 0 | 0 | 0 | 0 | 0 | 27.0915 | 15.5315 | 100.2209 | 0 | 142.8439 | 142.8439 | -379.7047
2033 | 0 | 0 | 0 | 0 | 0 | 26.8898 | 15.5427 | 106.8764 | 0 | 149.3089 | 149.3089 | -318.3459
2034 | 0 | 0 | 0 | 0 | 0 | 26.1852 | 15.5593 | 111.8528 | 0 | 153.5974 | 153.5974 | -259.3982
2035 | 0 | 0 | 0 | 0 | 0 | 25.8201 | 15.5817 | 123.1888 | 0 | 164.5906 | 164.5906 | -200.408
2036 | 0 | 0 | 0 | 0 | 0 | 25.7299 | 15.6098 | 121.6739 | 0 | 163.0136 | 163.0136 | -145.846
2037 | 0 | 0 | 0 | 0 | 0 | 25.1851 | 15.6439 | 129.8643 | 0 | 170.6933 | 170.6933 | -92.4911
2038 | 0 | 0 | 0 | 0 | 0 | 25.2169 | 15.7046 | 130.3562 | 0 | 171.2777 | 171.2777 | -42.4934
2039 | 0 | 0 | 0 | 0 | 0 | 25.1019 | 15.8125 | 130.4911 | 0 | 171.4056 | 171.4056 | 4.2334
2040 | 0 | 0 | 0 | 0 | 0 | 25.7637 | 15.9474 | 140.4145 | 0 | 182.1256 | 182.1256 | 50.5998
2041 | 0 | 0 | 0 | 0 | 0 | 25.4364 | 16.0888 | 144.6159 | 0 | 186.1411 | 186.1411 | 94.8553
2042 | 0 | 0 | 0 | 0 | 0 | 25.2723 | 16.2369 | 154.6097 | 0 | 196.1189 | 196.1189 | 138.4
2043 | 0 | 0 | 0 | 0 | 0 | 25.3086 | 16.3918 | 158.2798 | 0 | 199.9802 | 199.9802 | 179.8662
2044 | 0 | 0 | 0 | 0 | 0 | 26.3487 | 16.5536 | 152.1879 | 0 | 195.0902 | 195.0902 | 217.6438
NOMINAL | 0 | 168.9917 | 1105.0304 | 0 | 1274.0221 | 605.7878 | 361.6111 | 2442.1016 | 0 | 3409.5005 | 2135.4784
NPV: | 0 | 157.8936 | 1032.5067 | 0 | 1190.4003 | 273.2675 | 163.837 | 970.9395 | 0 | 1408.0441 | 217.6438
Discount Rate |  | 0.0708 | Benefit/Cost Ratio - [col (11)/col (6)]: |  |  |  | 1.1828

## Sheet8(F_24)
|  |  |  | PARTICIPANT COSTS AND BENEFITS | [6 empty] | PSC FORM CE 2.4
|  |  |  | PROGRAM: | ENERGY STAR Windows | [5 empty] | Page 1 of 1
2026-07-29 07:08
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12)
SAVINGS
| IN |  |  |  |  | CUSTOMER | CUSTOMER |  |  |  | CUMULATIVE
| PARTICIPANTS | TAX | UTILITY | OTHER | TOTAL | EQUIPMENT | O & M | OTHER | TOTAL | NET | DISCOUNTED
| BILL | CREDITS | REBATES | BENEFITS | BENEFITS | COSTS | COSTS | COSTS | COSTS | BENEFITS | NET BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 24.1683 | 0 | 0 | 0 | 24.1683 | 360 | 0 | 0 | 360 | -335.8317 | -335.8317
2021 | 74.0228 | 0 | 0 | 0 | 74.0228 | 368.28 | 0 | 0 | 368.28 | -294.2572 | -610.633
2022 | 125.593 | 0 | 0 | 0 | 125.593 | 376.7504 | 0 | 0 | 376.7504 | -251.1574 | -829.6759
2023 | 151.3851 | 0 | 0 | 0 | 151.3851 | 0 | 0 | 0 | 0 | 151.3851 | -706.3773
2024 | 155.0217 | 0 | 0 | 0 | 155.0217 | 0 | 0 | 0 | 0 | 155.0217 | -588.4651
2025 | 158.8476 | 0 | 0 | 0 | 158.8476 | 0 | 0 | 0 | 0 | 158.8476 | -475.6314
2026 | 162.2237 | 0 | 0 | 0 | 162.2237 | 0 | 0 | 0 | 0 | 162.2237 | -368.0185
2027 | 166.4397 | 0 | 0 | 0 | 166.4397 | 0 | 0 | 0 | 0 | 166.4397 | -264.9091
2028 | 172.8629 | 0 | 0 | 0 | 172.8629 | 0 | 0 | 0 | 0 | 172.8629 | -164.9011
2029 | 177.1101 | 0 | 0 | 0 | 177.1101 | 0 | 0 | 0 | 0 | 177.1101 | -69.2107
2030 | 184.0235 | 0 | 0 | 0 | 184.0235 | 0 | 0 | 0 | 0 | 184.0235 | 23.6409
2031 | 187.5873 | 0 | 0 | 0 | 187.5873 | 0 | 0 | 0 | 0 | 187.5873 | 112.0326
2032 | 193.9331 | 0 | 0 | 0 | 193.9331 | 0 | 0 | 0 | 0 | 193.9331 | 197.3724
2033 | 196.7291 | 0 | 0 | 0 | 196.7291 | 0 | 0 | 0 | 0 | 196.7291 | 278.2186
2034 | 203.1628 | 0 | 0 | 0 | 203.1628 | 0 | 0 | 0 | 0 | 203.1628 | 356.1885
2035 | 207.9595 | 0 | 0 | 0 | 207.9595 | 0 | 0 | 0 | 0 | 207.9595 | 430.7223
2036 | 212.1306 | 0 | 0 | 0 | 212.1306 | 0 | 0 | 0 | 0 | 212.1306 | 501.7242
2037 | 218.4641 | 0 | 0 | 0 | 218.4641 | 0 | 0 | 0 | 0 | 218.4641 | 570.0111
2038 | 221.9587 | 0 | 0 | 0 | 221.9587 | 0 | 0 | 0 | 0 | 221.9587 | 634.8032
2039 | 226.9815 | 0 | 0 | 0 | 226.9815 | 0 | 0 | 0 | 0 | 226.9815 | 696.6805
2040 | 229.4055 | 0 | 0 | 0 | 229.4055 | 0 | 0 | 0 | 0 | 229.4055 | 755.0837
2041 | 235.8212 | 0 | 0 | 0 | 235.8212 | 0 | 0 | 0 | 0 | 235.8212 | 811.1507
2042 | 242.2052 | 0 | 0 | 0 | 242.2052 | 0 | 0 | 0 | 0 | 242.2052 | 864.9281
2043 | 246.7792 | 0 | 0 | 0 | 246.7792 | 0 | 0 | 0 | 0 | 246.7792 | 916.0982
2044 | 246.3428 | 0 | 0 | 0 | 246.3428 | 0 | 0 | 0 | 0 | 246.3428 | 963.8004
NOMINAL | 4621.1589 | 0 | 0 | 0 | 4621.1589 | 1105.0304 | 0 | 0 | 1105.0304 | 3516.1285
NPV: | 1996.3071 | 0 | 0 | 0 | 1996.3071 | 1032.5067 | 0 | 0 | 1032.5067 | 963.8004
In service year of gen unit: |  |  | 2023 |  | 1.9335
Discount rate: |  |  | 0.0708

## Sheet9(F_25)
[5 empty] | RATE IMPACT TEST | [7 empty] | PSC FORM CE 2.5
[5 empty] | PROGRAM: | ENERGY STAR Windows | [6 empty] | Page 1 of 1
2026-07-29 07:08
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
[7 empty] | AVOIDED |  |  |  |  | NET | CUMULATIVE
| INCREASED | UTILITY |  |  |  |  | GEN UNIT | AVOIDED |  |  |  | BENEFITS | DISCOUNTED
| SUPPLY | PROGRAM |  | REVENUE | OTHER | TOTAL | UNIT & FUEL | T & D | REVENUE | OTHER | TOTAL | TO ALL | NET
| COSTS | COSTS | INCENTIVES | LOSSES | COSTS | COSTS | BENEFITS | BENEFITS | GAINS | BENEFITS | BENEFITS | CUSTOMERS | BENEFIT
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 55 | 0 | 17.1392 | 0 | 72.1392 | 8.8717 | 0 | 0 | 0 | 8.8717 | -63.2675 | -63.2675
2021 | 0 | 56.32 | 0 | 51.9317 | 0 | 108.2517 | 26.3986 | 7.3816 | 0 | 0 | 33.7802 | -74.4715 | -132.815
2022 | 0 | 57.6717 | 0 | 87.4183 | 0 | 145.09 | 45.4085 | 7.5588 | 0 | 0 | 52.9673 | -92.1227 | -213.1583
2023 | 0 | 0 | 0 | 105.951 | 0 | 105.951 | 89.2127 | 15.7831 | 0 | 0 | 104.9958 | -0.9552 | -213.9363
2024 | 0 | 0 | 0 | 107.0105 | 0 | 107.0105 | 90.8393 | 15.7313 | 0 | 0 | 106.5706 | -0.43985 | -214.2709
2025 | 0 | 0 | 0 | 108.0806 | 0 | 108.0806 | 94.5497 | 15.6594 | 0 | 0 | 110.2091 | 2.1285 | -212.759
2026 | 0 | 0 | 0 | 109.1614 | 0 | 109.1614 | 96.0633 | 15.6045 | 0 | 0 | 111.6678 | 2.5064 | -211.0963
2027 | 0 | 0 | 0 | 110.253 | 0 | 110.253 | 99.572 | 15.5656 | 0 | 0 | 115.1376 | 4.8846 | -208.0703
2028 | 0 | 0 | 0 | 111.3555 | 0 | 111.3555 | 106.2463 | 15.5417 | 0 | 0 | 121.788 | 10.4325 | -202.0347
2029 | 0 | 0 | 0 | 112.4691 | 0 | 112.4691 | 111.2338 | 15.5298 | 0 | 0 | 126.7635 | 14.2945 | -194.3115
2030 | 0 | 0 | 0 | 113.5938 | 0 | 113.5938 | 120.0614 | 15.5252 | 0 | 0 | 135.5866 | 21.9928 | -183.2148
2031 | 0 | 0 | 0 | 114.7297 | 0 | 114.7297 | 119.4498 | 15.5257 | 0 | 0 | 134.9755 | 20.2458 | -173.6749
2032 | 0 | 0 | 0 | 115.877 | 0 | 115.877 | 127.3124 | 15.5315 | 0 | 0 | 142.8439 | 26.9669 | -161.8082
2033 | 0 | 0 | 0 | 117.0358 | 0 | 117.0358 | 133.7663 | 15.5427 | 0 | 0 | 149.3089 | 32.2731 | -148.5455
2034 | 0 | 0 | 0 | 118.2061 | 0 | 118.2061 | 138.0381 | 15.5593 | 0 | 0 | 153.5974 | 35.3913 | -134.963
2035 | 0 | 0 | 0 | 119.3882 | 0 | 119.3882 | 149.0089 | 15.5817 | 0 | 0 | 164.5906 | 45.2024 | -118.7622
2036 | 0 | 0 | 0 | 120.5821 | 0 | 120.5821 | 147.4038 | 15.6098 | 0 | 0 | 163.0136 | 42.4315 | -104.56
2037 | 0 | 0 | 0 | 121.7879 | 0 | 121.7879 | 155.0494 | 15.6439 | 0 | 0 | 170.6933 | 48.9054 | -89.2733
2038 | 0 | 0 | 0 | 123.0058 | 0 | 123.0058 | 155.5731 | 15.7046 | 0 | 0 | 171.2777 | 48.2719 | -75.1822
2039 | 0 | 0 | 0 | 124.2358 | 0 | 124.2358 | 155.593 | 15.8125 | 0 | 0 | 171.4056 | 47.1697 | -62.3233
2040 | 0 | 0 | 0 | 125.4782 | 0 | 125.4782 | 166.1782 | 15.9474 | 0 | 0 | 182.1256 | 56.6474 | -47.9018
2041 | 0 | 0 | 0 | 126.733 | 0 | 126.733 | 170.0523 | 16.0888 | 0 | 0 | 186.1411 | 59.4081 | -33.7773
2042 | 0 | 0 | 0 | 128.0003 | 0 | 128.0003 | 179.882 | 16.2369 | 0 | 0 | 196.1189 | 68.1186 | -18.6528
2043 | 0 | 0 | 0 | 129.2803 | 0 | 129.2803 | 183.5884 | 16.3918 | 0 | 0 | 199.9802 | 70.6998 | -3.9931
2044 | 0 | 0 | 0 | 130.5731 | 0 | 130.5731 | 178.5365 | 16.5536 | 0 | 0 | 195.0902 | 64.5171 | 8.5001
NOMINAL | 0 | 168.9917 | 0 | 2749.2773 | 0 | 2918.269 | 3047.8894 | 361.6111 | 0 | 0 | 3409.5005 | 491.2315
NPV: | 0 | 157.8936 | 0 | 1241.6504 | 0 | 1399.544 | 1244.2071 | 163.837 | 0 | 0 | 1408.0441 | 8.5001
Discount rate: |  |  | 0.0708 |  | Benefit/Cost Ratio - [col (12)/col (7)]: |  |  |  | 1.0061

## Value of Defferal
GEN: | [7 empty] | COMPUTATION OF CONSTRUCTION CASH FLOW AND PLANT |  |  |  |  | Do Not Print
COMPUTATION OF GENERATION COSTS & REV. REQUIREMENTS | [7 empty] | IN-SERVICE COSTS FOR AVOIDED TRANS & DIST PLANT
IN-SERVICE AVOIDED GEN. PLANT ($000) = |  |  |  | 196.6604 |  |  |  | -----------------------------------------------
------------------------------------------ |  |  |  |  | GENERATION |  |  | TRAN: | Avoided Trans. = |  | 11.4718
|  |  |  | COMPUTATION OF VALUE DEFERRAL PAYMENTS |  |  |  |  | Avoided Dist. = |  | 46.9833 |  | TRANSMISSION & DIST.
COMPUTATION OF VALUE DEFERRAL CREDITS
|  |  |  | ip= | 0.024 | Esc. rate | [5 empty] | ip= | 0.024 | Esc. rate
| Gen |  |  | r= | 0.0708 | Disc rate |  | TRAN |  |  |  | r= | 0.0708 | Disc rate
| Offset Cost | 3 |  | l= | 25 | Econ life |  | Offset Cost |  | 3 |  | l= | 25 | Econ life
| Offset Factor | 2 |  | c= | 1 | Risk factor |  | Offset Factor |  | 1 |  | c= | 1 | Risk factor
|  |  |  | k= | 1.5213 | K factor |  | DIST |  |  |  | k= | 1.5213 | K factor
|  |  |  | Ratio= | 0.95629 | calculated ratio |  | Offset Cost |  | 4 |  | Ratio= | 0.95629 | calculated ratio
[8 empty] | Offset Factor |  | 1
|  |  |  | VALUE of DEFERRAL | [7 empty] | VALUE DEFERRAL STARTING
|  |  |  | Factor = | 0.098822 | [6 empty] | FACTOR = | 0.098822
[5 empty] | AVOIDED |  |  |  |  | TRANS | DIST |  | AVOIDED | AVOIDED
|  | CARRYING | ANNUAL | Value | GEN. |  |  |  | CARRYING | ANNUAL | ANNUAL |  | TRANS. | DIST
|  | CHARGE | REV REQ | of Def | V OF D |  |  |  | CHARGE | REV REQ | REV REQ |  | V OF D | V OF D
N | Year | % | COSTS(000) | Factors | ($000) |  | N | Year | % | COSTS(000) | COSTS(000) | Factors | ($000) | $(000)
-- | ---- | ------ | ------ | ------ | ----- |  |  |  | ------ | ------ | ------
1 | 2020 | 0 | 0 | 0 | 0 |  | 1 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2021 | 0 | 0 | 0 | 0 |  | 2 | 2021 | 0 | 0 | 0 | 0.098822 | 1.1337 | 4.643
3 | 2022 | 0 | 0 | 0 | 0 |  | 3 | 2022 | 0 | 0 | 0 | 0.10119 | 1.1609 | 4.7544
4 | 2023 | 0.13759 | 27.0586 | 0.098822 | 19.4344 |  | 4 | 2023 | 0.13759 | 1.5784 | 6.4645 | 0.10362 | 1.1887 | 4.8685
5 | 2024 | 0.13353 | 26.2596 | 0.10119 | 19.9009 |  | 5 | 2024 | 0.13353 | 1.5318 | 6.2736 | 0.10611 | 1.2173 | 4.9854
6 | 2025 | 0.12904 | 25.3775 | 0.10362 | 20.3785 |  | 6 | 2025 | 0.12904 | 1.4803 | 6.0628 | 0.10866 | 1.2465 | 5.105
7 | 2026 | 0.12477 | 24.5376 | 0.10611 | 20.8676 |  | 7 | 2026 | 0.12477 | 1.4313 | 5.8622 | 0.11126 | 1.2764 | 5.2276
8 | 2027 | 0.12069 | 23.7357 | 0.10866 | 21.3684 |  | 8 | 2027 | 0.12069 | 1.3846 | 5.6706 | 0.11393 | 1.307 | 5.353
9 | 2028 | 0.11679 | 22.9681 | 0.11126 | 21.8812 |  | 9 | 2028 | 0.11679 | 1.3398 | 5.4872 | 0.11667 | 1.3384 | 5.4815
10 | 2029 | 0.11301 | 22.2244 | 0.11393 | 22.4064 |  | 10 | 2029 | 0.11301 | 1.2964 | 5.3095 | 0.11947 | 1.3705 | 5.613
11 | 2030 | 0.10927 | 21.4883 | 0.11667 | 22.9441 |  | 11 | 2030 | 0.10927 | 1.2535 | 5.1337 | 0.12234 | 1.4034 | 5.7478
12 | 2031 | 0.10552 | 20.7522 | 0.11947 | 23.4948 |  | 12 | 2031 | 0.10552 | 1.2105 | 4.9578 | 0.12527 | 1.4371 | 5.8857
13 | 2032 | 0.10178 | 20.0161 | 0.12234 | 24.0587 |  | 13 | 2032 | 0.10178 | 1.1676 | 4.782 | 0.12828 | 1.4716 | 6.027
14 | 2033 | 0.098037 | 19.2801 | 0.12527 | 24.6361 |  | 14 | 2033 | 0.098037 | 1.1247 | 4.6061 | 0.13136 | 1.5069 | 6.1716
15 | 2034 | 0.094294 | 18.544 | 0.12828 | 25.2273 |  | 15 | 2034 | 0.094294 | 1.0817 | 4.4303 | 0.13451 | 1.5431 | 6.3197
16 | 2035 | 0.090552 | 17.8079 | 0.13136 | 25.8328 |  | 16 | 2035 | 0.090552 | 1.0388 | 4.2544 | 0.13774 | 1.5801 | 6.4714
17 | 2036 | 0.086809 | 17.0718 | 0.13451 | 26.4528 |  | 17 | 2036 | 0.086809 | 0.99585 | 4.0786 | 0.14104 | 1.618 | 6.6267
18 | 2037 | 0.083066 | 16.3358 | 0.13774 | 27.0876 |  | 18 | 2037 | 0.083066 | 0.95291 | 3.9027 | 0.14443 | 1.6569 | 6.7858
19 | 2038 | 0.079674 | 15.6688 | 0.14104 | 27.7378 |  | 19 | 2038 | 0.079674 | 0.91401 | 3.7434 | 0.1479 | 1.6966 | 6.9486
20 | 2039 | 0.076986 | 15.1401 | 0.14443 | 28.4035 |  | 20 | 2039 | 0.076986 | 0.88316 | 3.6171 | 0.15144 | 1.7373 | 7.1154
21 | 2040 | 0.074649 | 14.6804 | 0.1479 | 29.0851 |  | 21 | 2040 | 0.074649 | 0.85635 | 3.5072 | 0.15508 | 1.779 | 7.2861
22 | 2041 | 0.072311 | 14.2208 | 0.15144 | 29.7832 |  | 22 | 2041 | 0.072311 | 0.82954 | 3.3974 | 0.1588 | 1.8217 | 7.461
23 | 2042 | 0.069974 | 13.7612 | 0.15508 | 30.498 |  | 23 | 2042 | 0.069974 | 0.80273 | 3.2876 | 0.16261 | 1.8655 | 7.6401
24 | 2043 | 0.067637 | 13.3015 | 0.1588 | 31.2299 |  | 24 | 2043 | 0.067637 | 0.77592 | 3.1778 | 0.16652 | 1.9102 | 7.8234
25 | 2044 | 0.0653 | 12.8419 | 0.16261 | 31.9794 |  | 25 | 2044 | 0.0653 | 0.7491 | 3.068 | 0.17051 | 1.9561 | 8.0112
26 | 2045 | 0.062963 | 12.3822 | 0.16652 | 32.747 |  | 26 | 2045 | 0.062963 | 0.72229 | 2.9582 | 0.1746 | 2.003 | 8.2035
27 | 2046 | 0.060625 | 11.9226 | 0.17051 | 33.5329 |  | 27 | 2046 | 0.060625 | 0.69548 | 2.8484 | 0 | 0 | 0
28 | 2047 | 0.058288 | 11.463 | 0.1746 | 34.3377 |  | 28 | 2047 | 0.058288 | 0.66867 | 2.7386 | 0 | 0 | 0
29 | 2048 | 0.055951 | 11.0033 | 0 | 0 |  | 29 | 2048 | 0.055951 | 0.64186 | 2.6288 | 0 | 0 | 0
30 | 2049 | 0 | 0 | 0 | 0 |  | 30 | 2049 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2050 | 0 | 0 | 0 | 0 |  | 31 | 2050 | 0 | 0 | 0 | 0 | 0 | 0
32 | 2051 | 0 | 0 | 0 | 0 |  | 32 | 2051 | 0 | 0 | 0 | 0 | 0 | 0
33 | 2052 | 0 | 0 | 0 | 0 |  | 33 | 2052 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2053 | 0 | 0 | 0 | 0 |  | 34 | 2053 | 0 | 0 | 0 | 0 | 0 | 0
35 | 2054 | 0 | 0 | 0 | 0 |  | 35 | 2054 | 0 | 0 | 0 | 0 | 0 | 0
36 | 2055 | 0 | 0 | 0 | 0 |  | 36 | 2055 | 0 | 0 | 0 | 0 | 0 | 0
37 | 2056 | 0 | 0 | 0 | 0 |  | 37 | 2056 | 0 | 0 | 0 | 0 | 0 | 0
38 | 2057 | 0 | 0 | 0 | 0 |  | 38 | 2057 | 0 | 0 | 0 | 0 | 0 | 0
39 | 2058 | 0 | 0 | 0 | 0 |  | 39 | 2058 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ----- |  | ----- |  |  |  |  | ----- |  |  | ----
|  | NOMINAL | 469.8434 |  | 655.3059 |  |  |  | NOMINAL | 27.4073 |  |  | 38.2259
|  | NPV | 209.7879 |  | 243.6726 |  |  |  | NPV | 12.2375 |  |  | 16.2981