## Fuel
Fuel Values from Table 1 Provided by Resource Planning
|  | REDUCED KWH | REPLACE. | Carbon
| UTIL AVG | PROGRAM | FUEL COST
| SYS. FUEL | MARGINAL | OF AVOIDED
| ADJ. COST | FUEL COST | GENERATOR |  |  |  | System average $/MWh |  | Total marginal $/MWh |  | Replacement fuel average system $/MWh (Future Total $/MWh
| (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) |  |  | Conversion to cents per kWh and copy and paste |  | Conversion to cents per kWh and copy and paste |  | Conversion to cents per kWh and copy and paste
2020 | 2.4346 | 2.9007 | 2.8789 | 0 | Change first year to base year | 2020 | 24.3461 | 2.4346 | 29.0071 | 2.9007 | 28.7892 | 2.8789
2021 | 2.5505 | 2.8771 | 3.0378 | 0 |  |  | 25.5048 | 2.5505 | 28.7712 | 2.8771 | 30.3778 | 3.0378
2022 | 2.6444 | 2.9694 | 3.1562 | 0 |  |  | 26.4443 | 2.6444 | 29.6938 | 2.9694 | 31.5623 | 3.1562
2023 | 2.6228 | 3.0912 | 3.1726 | 0 |  |  | 26.2275 | 2.6228 | 30.9119 | 3.0912 | 31.7263 | 3.1726
2024 | 2.7715 | 3.2127 | 3.3146 | 0 |  |  | 27.7152 | 2.7715 | 32.1266 | 3.2127 | 33.1455 | 3.3146
2025 | 2.9306 | 3.4494 | 3.4459 | 0 |  |  | 29.306 | 2.9306 | 34.4943 | 3.4494 | 34.459 | 3.4459
2026 | 3.0631 | 3.5601 | 3.5576 | 0 |  |  | 30.631 | 3.0631 | 35.6007 | 3.5601 | 35.5755 | 3.5576
2027 | 3.2435 | 3.7826 | 3.7168 | 0 |  |  | 32.4346 | 3.2435 | 37.8256 | 3.7826 | 37.1679 | 3.7168
2028 | 3.5506 | 4.1915 | 4.0002 | 0 |  |  | 35.506 | 3.5506 | 41.9151 | 4.1915 | 40.0025 | 4.0002
2029 | 3.7315 | 4.4906 | 4.1758 | 0 |  |  | 37.315 | 3.7315 | 44.9064 | 4.4906 | 41.758 | 4.1758
2030 | 4.0657 | 5.0158 | 4.4863 | 0 |  |  | 40.6566 | 4.0657 | 50.158 | 5.0158 | 44.8628 | 4.4863
2031 | 4.2058 | 4.9971 | 4.5978 | 0 |  |  | 42.0581 | 4.2058 | 49.9714 | 4.9971 | 45.9784 | 4.5978
2032 | 4.5059 | 5.4614 | 4.8738 | 0 |  |  | 45.059 | 4.5059 | 54.6141 | 5.4614 | 48.7376 | 4.8738
2033 | 4.6004 | 5.8241 | 4.9849 | 0 |  |  | 46.0041 | 4.6004 | 58.241 | 5.8241 | 49.8492 | 4.9849
2034 | 4.9042 | 6.0953 | 5.3066 | 0 |  |  | 49.0425 | 4.9042 | 60.9529 | 6.0953 | 53.0658 | 5.3066
2035 | 5.1129 | 6.713 | 5.51 | 0 |  |  | 51.1291 | 5.1129 | 67.1303 | 6.713 | 55.1005 | 5.51
2036 | 5.2848 | 6.6305 | 5.6211 | 0 |  |  | 52.8477 | 5.2848 | 66.3047 | 6.6305 | 56.2114 | 5.6211
2037 | 5.5808 | 7.0768 | 5.9258 | 0 |  |  | 55.8078 | 5.5808 | 70.768 | 7.0768 | 59.258 | 5.9258
2038 | 5.7122 | 7.1036 | 6.0486 | 0 |  |  | 57.122 | 5.7122 | 71.036 | 7.1036 | 60.4856 | 6.0486
2039 | 5.9311 | 7.111 | 6.3 | 0 |  |  | 59.3114 | 5.9311 | 71.1096 | 7.111 | 62.9999 | 6.3
2040 | 5.9994 | 7.6517 | 6.2928 | 0 |  |  | 59.9936 | 5.9994 | 76.5172 | 7.6517 | 62.9279 | 6.2928
2041 | 6.2973 | 7.8807 | 6.6911 | 0 |  |  | 62.9728 | 6.2973 | 78.8067 | 7.8807 | 66.9109 | 6.6911
2042 | 6.5926 | 8.4253 | 7.0452 | 0 |  |  | 65.9265 | 6.5926 | 84.2527 | 8.4253 | 70.4523 | 7.0452
2043 | 6.7828 | 8.6253 | 7.3416 | 0 |  |  | 67.828 | 6.7828 | 86.2527 | 8.6253 | 73.4159 | 7.3416
2044 | 6.683 | 8.2933 | 7.2669 | 0 |  |  | 66.8298 | 6.683 | 82.9329 | 8.2933 | 72.6692 | 7.2669
2045 | 6.9426 | 8.6795 | 7.4645 | 0 |  |  | 69.4259 | 6.9426 | 86.7946 | 8.6795 | 74.6447 | 7.4645
2046 | 7.185 | 8.825 | 7.687 | 0 |  |  | 71.8501 | 7.185 | 88.2504 | 8.825 | 76.8699 | 7.687
2047 | 7.1737 | 8.9505 | 7.6738 | 0 |  |  | 71.7367 | 7.1737 | 89.5052 | 8.9505 | 76.7381 | 7.6738
2048 | 7.174 | 8.951 | 7.674 | 0 |  |  | 71.74 | 7.174 | 89.51 | 8.951 | 76.74 | 7.674
2049 | 7.174 | 8.951 | 7.674 | 0 |  |  | 71.74 | 7.174 | 89.51 | 8.951 | 76.74 | 7.674
2050 | 0 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0
2054 | 0 | 0 | 0 | 0
2055 | 0 | 0 | 0 | 0
2056 | 0 | 0 | 0 | 0
2057 | 0 | 0 | 0 | 0
2058 | 0 | 0 | 0 | 0

## Spending Curve
[7 empty] | ACCUM. | BOOK
|  | Spending Curve |  | CONSTR. |  | ACCUM. | CONSTR. | VALUE
|  |  | YEAR | EXPEND. | AFUDC | AFUDC | EXPEND. | NOT CLOSED
|  | 19.51% | 2020 | 25757 | 832 | 832 | 25757 | 26589
|  | 55.94% | 2021 | 73851 | 4049 | 4881 | 99608 | 77900
|  | 24.55% | 2022 | 32410 | 7482 | 12363 | 132018 | 39892
|  |  | 2023 | 0 | 0 | 0 | 0 | 0
| Check | 100% |  |  |  | 12363 | 132018 | 144381
|  | Year 1 | 0.1951 | 109.2942 | 3.6332 |  |  | 112.8246
|  | Year 2 | 0.5594 | 313.3706 | 17.6812 |  |  | 330.5516
|  | Year 3 | 0.2455 | 137.5248 | 32.6725 |  |  | 169.273
|  | Year 4 |  | 0 | 0 |  |  | 0
|  |  |  | 560.1895 |  |  |  | 612.6492
Spending for Avoided Unit Tab on replacement fuel (from Resource Planning)
7FA.05 CT
Three years construction for 2023 unit
| 7FA.05 CT | 2020 | 2021 | 2022 |  |  | Winter Capacity |  | 245000
| 1st year | 832 | 0 | 0 |  | Check | Summer Capacity |  | 229000
| 2nd year | 0 | 4049 | 0 |  |  | Average Capacity |  | 235666.6667 | uses 7 by 5 for summer winter methodology
| 3rd year | 0 | 0 | 7482 | [5 empty] | Check formula if 7x5 changes
| 4th year | 0 | 0 | 0
| 5th year | 0 | 0 | 0
| 6th year | 0 | 0 | 0
| 7th year | 0 | 0 | 0 | [5 empty] | Feed F11B
| 8th year | 0 | 0 | 0 | Cummulative AFUDC
| Total AFUDC | 832 | 4049 | 7482 | 12363 |  |  | Check
| 7FA.05 CT | 2020 | 2021 | 2022
| 1st year | 25757 | 0 | 0
| 2nd year | 0 | 73851 | 0
| 3rd year | 0 | 0 | 32410
| 4th year | 0 | 0 | 0 | Check
| 5th year | 0 | 0 | 0
| 6th year | 0 | 0 | 0
| 7th year | 0 | 0 | 0
| 8th year | 0 | 0 | 0 | Cummulative Cap Ex
| Total Cap Ex | 25757 | 73851 | 32410 | 132018
144381
Total

## T&D Costs
Inflation Rate | 2.8%
| Data Provided | Base Year
| 2020 | 2020
Avoided Transmission Cost | 11.24 | 34.9
Avoided Distribution Cost | 54.63 | 82.37
O&M Escalation rate | 2.4% | 2020
Transmission Fixed O&M Costs |  | 2.78
Distribution Fixed O&M Costs |  | 11.34

## EUE_Line Losses
EUE
Summer | 79.59%
Winter | 20.41%
Line Losses
Gen KW
| Residential | Commercial
kW | 7.3 | 7
kWh | 5.6 | 5.2
Residential
Forced Outage Rate | 0.034 | 0.966
Line Loss | 7.3% | 0.927
Multiplier | 0.89548
Commercial
Forced Outage Rate | 0.034 | 0.966
Line Loss | 7% | 0.93
Multiplier | 0.89838
0.67533 | Residential
0.67315 | Commercial

## Revenue Requirements
Generation
| Comb. Cycle | Tran & Dist
| Rev Reqm't | Rev Reqm't | See Column N (K Factor Test)
| K FACTORS | K FACTORS
2023 | 0.13759 | 0.13759
2024 | 0.13353 | 0.13353
2025 | 0.12904 | 0.12904
2026 | 0.12477 | 0.12477
2027 | 0.12069 | 0.12069
2028 | 0.11679 | 0.11679
2029 | 0.11301 | 0.11301
2030 | 0.10927 | 0.10927
2031 | 0.10552 | 0.10552
2032 | 0.10178 | 0.10178
2033 | 0.098037 | 0.098037
2034 | 0.094294 | 0.094294
2035 | 0.090552 | 0.090552
2036 | 0.086809 | 0.086809
2037 | 0.083066 | 0.083066
2038 | 0.079674 | 0.079674
2039 | 0.076986 | 0.076986
2040 | 0.074649 | 0.074649
2041 | 0.072311 | 0.072311
2042 | 0.069974 | 0.069974
2043 | 0.067637 | 0.067637
2044 | 0.0653 | 0.0653
2045 | 0.062963 | 0.062963
2046 | 0.060625 | 0.060625
2047 | 0.058288 | 0.058288
2048 | 0.055951 | 0.055951
2049 | 0 | 0
2050 | 0 | 0
2051 | 0 | 0
2052 | 0 | 0
2053 | 0 | 0

## Title Results Update
ECONOMIC LIFE & K FACTORS
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS
II. | (4) K FACTOR FOR GENERATION | 1.5213
II. | (5) K FACTOR FOR T & D | 1.5213
UTILITY & CUSTOMER COSTS
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | %
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.3 | %
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.3 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0708
III. | (13)* UTILITY AFUDC RATE | 0.0646
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | %
AVOIDED GENERATOR, TRANS. & DIST COSTS
IV. | (1) BASE YEAR | 2020
IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2023
IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2021
IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 526.3 | $/KW
IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 34.9 | $/KW
IV. | (6) BASE YEAR AVOIDED DISTRIBUTION COST | 82.37 | $/KW
IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 2.4 | %
IV. | (8) GENERATOR FIXED O & M COST | 5.83 | $/KW/YR
IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | %
IV. | (10) TRANSMISSION FIXED O & M COST | 2.78 | $/KW/YR
IV. | (11) DISTRIBUTION FIXED O & M COST | 11.34 | $/KW/YR
IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.21 | CENTS/KWH | 0.2
IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
IV. | (15) GENERATOR CAPACITY FACTOR | 9.1 | % | See Table1 - column j
IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 3.75 | CENTS/KWH
IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 4.54 | % | See Table1
IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %

## Rates
|  |  | Energy | Demand
|  | Residential | Commercial GSD Secondary kWh | Commercial GSD Secondary kW
| Base Rate | 5.3583 | 1.596 | 0
| Demand Charge | 0 | 0 | 10.59
| Fuel | 0 | 0 | 0
| ECCR | 0.271 | 0 | 0.96
| Capacity | 0.085 | 0 | 0.32
| ECRC | 0.222 | 0.222 | 0
Energy | 1.818 | 5.9363 | 1.818 | 11.87
Demand | 10.0895

## Input
Answer questions 1 thru 16 to complete evaluation. Press RUN for results. (See Title & Results). |  |  |  | Do Not Print this page
1 | Program Title | Residential Ceiling Insulation
2 | Demand & Energy Savings
| Winter kW | 0.9282
| Summer kW | 0.5218
| kWh | 2008.903
3 | Switch (1=Conservation, 0=Load Management) | 1
4 | Switch (1=Residential, 0=Commercial) | 1 |  |  | avoided unit comes online in 2020
ADJUSTED
5 | Participation | Annual |  |  |  |  | Cumulative | CUMULATIVE
|  | Total Partic. |  |  |  |  | Total Partic. | PARTICIPATING
| YEAR | Customers |  |  |  | YEAR | Customers | CUSTOMERS
| 2020 | 1000 |  |  |  | 2020 | 1000 | 1000
| 2021 | 1000 |  |  |  | 2021 | 2000 | 2000
| 2022 | 1000 |  |  |  | 2022 | 3000 | 3000
| 2023 | 0 |  |  |  | 2023 | 3000 | 3000
| 2024 | 0 |  |  |  | 2024 | 3000 | 3000
| 2025 | 0 |  |  |  | 2025 | 3000 | 3000
| 2026 | 0 |  |  |  | 2026 | 3000 | 3000
| 2027 | 0 |  |  |  | 2027 | 3000 | 3000
| 2028 | 0 |  |  |  | 2028 | 3000 | 3000
| 2029 | 0 |  |  |  | 2029 | 3000 | 3000
| 2030 | 0 |  |  |  | 2030 | 3000 | 3000
| 2031 | 0 |  |  |  | 2031 | 3000 | 3000
| 2032 | 0 |  |  |  | 2032 | 3000 | 3000
| 2033 | 0 |  |  |  | 2033 | 3000 | 3000
| 2034 | 0 |  |  |  | 2034 | 3000 | 3000
[6 empty] | 2035 | 3000 | 3000
[6 empty] | 2036 | 3000 | 3000
6 | Free Riders | 0% |  |  |  | 2037 | 3000 | 3000
7 | Study Period for Conservation Program | 25 | Years |  |  | 2038 | 3000 | 3000
8 | Utility Non Recurring Cost Per Customer | 50 | $/CUST |  |  | 2039 | 3000 | 3000
9 | Utility Recurring Cost Per Customer (Load Management) | 0 | $/CUST/YR |  |  | 2040 | 3000 | 3000
10 | Customer Equipment Cost | 896.76 | $/CUST |  |  | 2041 | 3000 | 3000
11 | Customer O & M Cost | 0 | $/CUST/YR |  |  | 2042 | 3000 | 3000
12 | Customer Tax Credit Per Installation | 0 | $/CUST |  |  | 2043 | 3000 | 3000
13 | Increased Supply Costs | 0 | $/CUST/YR |  |  | 2044 | 3000 | 3000
14 | Utility Non Recurring Rebate/Incentive | 561.64 | $/CUST |  |  | 2045 | 3000 | 3000
15 | Utility Recurring Rebate/Incentive (Load Management) | 0 | $/CUST/YR
16 | Diversity and Annual Demand | 1
Adjustment Factor for Customer Bill:
See Participation C,D,E,F 73
See Participation F_22 F5,6

## Title_RESULTS
|  | INPUT DATA - PART 1 |  |  |  | PSC FORM CE 1.1
|  | PROGRAM TITLE: | Residential Ceiling Insulation |  |  | PAGE 1 OF 1
[6 empty] | RUN DATE: | 2026-07-29 12:29
| PROGRAM DEMAND SAVINGS & LINE LOSSES |  |  |  | AVOIDED GENERATOR, TRANS. & DIST COSTS
I. | (1) CUSTOMER KW REDUCTION AT THE METER | 0.9282 | KW /CUST | IV. | (1) BASE YEAR | 2020
I. | (2) GENERATOR KW REDUCTION PER CUSTOMER | 0.67533 | KW GEN/CUST | IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2023
I. | (3) KW LINE LOSS PERCENTAGE | 7.3 | % | IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2021
I. | (4) GENERATION KWH REDUCTION PER CUSTOMER | 2128.0752 | KWH/CUST/YR | IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 526.3 | $/KW
I. | (5) KWH LINE LOSS PERCENTAGE | 5.6 | % | IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 34.9 | $/KW
I. | (6) GROUP LINE LOSS MULTIPLIER | 1 |  | IV. | (6) BASE YEAR DISTRIBUTION COST | 82.37 | $/KW
I. | (7) CUSTOMER KWH PROGRAM INCREASE AT METER | 0 | KWH/CUST/YR | IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 2.4 | %
I. | (8)* CUSTOMER KWH REDUCTION AT METER | 2008.903 | KWH/CUST/YR | IV. | (8) GENERATOR FIXED O & M COST | 5.83 | $/KW/YR
|  |  |  | IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | %
| ECONOMIC LIFE & K FACTORS |  |  | IV. | (10) TRANSMISSION FIXED O & M COST | 2.78 | $/KW/YR
II. | (1) STUDY PERIOD FOR CONSERVATION PROGRAM | 25 | YEARS | IV. | (11) DISTRIBUTION FIXED O & M COST | 11.34 | $/KW/YR
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS | IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS | IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.21 | CENTS/KWH
II. | (4) K FACTOR FOR GENERATION | 1.5213 |  | IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
II. | (5) K FACTOR FOR T & D | 1.5213 |  | IV. | (15) GENERATOR CAPACITY FACTOR | 9.1 | %
| (6)* SWITCH REV REQ(0) OR VAL-OF-DEF (1) | 0 |  | IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 3.75 | CENTS/KWH
|  |  |  | IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 4.54 | %
|  |  |  | IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
| UTILITY & CUSTOMER COSTS |  |  | IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %
III. | (1) UTILITY NONRECURRING COST PER CUSTOMER | 50 | $/CUST
III. | (2) UTILITY RECURRING COST PER CUSTOMER | 0 | $/CUST/YR
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | %
III. | (4) CUSTOMER EQUIPMENT COST | 896.76 | $/CUST |  | NON-FUEL ENERGY AND DEMAND CHARGES
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.3 | % | V. | (1) NON-FUEL COST IN CUSTOMER BILL | 5.9363 | CENTS/KWH
III. | (6) CUSTOMER O & M COST | 0 | $/CUST/YR | V. | (2) NON-FUEL ESCALATION RATE | 1 | %
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.3 | % | V. | (3) CUSTOMER DEMAND CHARGE PER KW | 0 | $/KW/MO
III. | (8)* CUSTOMER TAX CREDIT PER INSTALLATION | 0 | $/CUST | V. | (4) DEMAND CHARGE ESCALATION RATE | 1 | %
III. | (9)* CUSTOMER TAX CREDIT ESCALATION RATE | 0 | % | V. | (5)* DIVERSITY and ANNUAL DEMAND ADJUSTMENT
III. | (10)* INCREASED SUPPLY COSTS | 0 | $/CUST/YR |  | FACTOR FOR CUSTOMER BILL | 1
III. | (11)* SUPPLY COSTS ESCALATION RATE | 0 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0708
III. | (13)* UTILITY AFUDC RATE | 0.0646 |  |  | CALCULATED BENEFITS AND COSTS
III. | (14)* UTILITY NON RECURRING REBATE/INCENTIVE | 561.64 | $/CUST |  | (1)* TRC TEST - BENEFIT/COST RATIO | 2.1927
III. | (15)* UTILITY RECURRING REBATE/INCENTIVE | 0 | $/CUST/YR |  | (2)* PARTICIPANT NET BENEFITS (NPV) | 5949.1621
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | % |  | (3)* RIM TEST - BENEFIT/COST RATIO | 0.98593
END OF EDITING AREA
YEARLY INPUT DATA: GO TO H5..Q76 & INPUT (Page 2)
PLEASE NOTE: UTILITY NON-LEVELIZED REVENUE REQUIREMENT
FACTORS AT RANGE NAMES GEN_RRTBL AND TRAN_RRTBL.

## Partcipation
[6 empty] | See N16 for Rev Requirements |  | Do Not Print
PROGRAM TITLE:
2026-07-29 12:29
VI. YEARLY INPUT DATA
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
| CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
| TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 2.8789 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0.44431
2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 3.0378 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0.48729
2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 3.1562 | 1 | 1 | 0 | 0 | 0 | 3.1238 |  | 0.5118
2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 3.1726 | 1 | 1 | 0 | 0 | 0 | 3.28 |  | 0.54987
2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 3.3146 | 1 | 1 | 0 | 0 | 0 | 3.444 |  | 0.54304
2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 3.4459 | 1 | 1 | 0 | 0 | 0 | 3.6162 |  | 0.51531
2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 3.5576 | 1 | 1 | 0 | 0 | 0 | 3.797 |  | 0.49445
2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 3.7168 | 1 | 1 | 0 | 0 | 0 | 3.9869 |  | 0.47333
2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 4.0002 | 1 | 1 | 0 | 0 | 0 | 4.1862 |  | 0.44964
2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 4.1758 | 1 | 1 | 0 | 0 | 0 | 4.3955 |  | 0.4443
2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 4.4863 | 1 | 1 | 0 | 0 | 0 | 4.6153 |  | 0.42062
2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 4.5978 | 1 | 1 | 0 | 0 | 0 | 4.8461 |  | 0.39203
2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 4.8738 | 1 | 1 | 0 | 0 | 0 | 5.0884 |  | 0.36786
2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 4.9849 | 1 | 1 | 0 | 0 | 0 | 5.3428 |  | 0.3845
2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 5.3066 | 1 | 1 | 0 | 0 | 0 | 5.6099 |  | 0.40233
2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 5.51 | 1 | 1 | 0 | 0 | 0 | 5.8904 | 2010 Carbon, not used in 2015 | 0.39714
2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 5.6211 | 1 | 1 | 0 | 0 | 0 | 6.1849 |  | 0.33637
2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 5.9258 | 1 | 1 | 0 | 0 | 0 | 6.4942 |  | 0.34503
2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 6.0486 | 1 | 1 | 0 | 0 | 0 | 6.8189 |  | 0.33636
2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 6.3 | 1 | 1 | 0 | 0 | 0 | 7.1598 |  | 0.36885
2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 6.2928 | 1 | 1 | 0 | 0 | 0 | 7.5178 |  | 0.29344
2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 6.6911 | 1 | 1 | 0 | 0 | 0 | 7.8937 |  | 0.39381
2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 7.0452 | 1 | 1 | 0 | 0 | 0 | 8.2884 |  | 0.45259
2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 7.3416 | 1 | 1 | 0 | 0 | 0 | 8.7028 |  | 0.55879
2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 7.2669 | 1 | 1 | 0 | 0 | 0 | 9.138 |  | 0.58395
2045 | 3000 | 3000 | 6.9426 | 8.6795 | 0 | 7.4645 | 1 | 1 | 0 | 0 | 0 | 9.5949 |  | 0.52188
2046 | 0 | 0 | 7.185 | 8.825 | 0 | 7.687 | 1 | 1 | 0 | 0 | 0 | 10.0746 |  | 0.50198
2047 | 0 | 0 | 7.1737 | 8.9505 | 0 | 7.6738 | 1 | 1 | 0 | 0 | 0 | 10.5783 |  | 0.50014
2048 | 0 | 0 | 7.174 | 8.951 | 0 | 7.674 | 1 | 1 | 0 | 0 | 0 | 11.1072 |  | 0.5
2049 | 0 | 0 | 7.174 | 8.951 | 0 | 7.674 | 1 | 1 | 0 | 0 | 0 | 11.6626 |  | 0.5
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2054 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2055 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2056 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2057 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2058 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2
1
Unit Size of Avoided Generation Unit | (2): 2026
|  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  |  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
|  | CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
|  | TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
| YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | 0 | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
| 2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 0 | 1 | 1 | 0 | 0 | 2.02
| 2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 0 | 1 | 1 | 0 | 0 | 2.1
| 2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 0 | 1 | 1 | 0 | 0 | 2.4
| 2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 0 | 1 | 1 | 0 | 0 | 2.41
| 2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 0 | 1 | 1 | 0 | 0 | 2.79
| 2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 0 | 1 | 1 | 0 | 0 | 3.05
| 2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 0 | 1 | 1 | 0 | 0 | 3.18
| 2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 0 | 1 | 1 | 0 | 0 | 3.07
| 2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 0 | 1 | 1 | 0 | 0 | 3.49
| 2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 0 | 1 | 1 | 0 | 0 | 3.53
| 2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 0 | 1 | 1 | 0 | 0 | 3.81
| 2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 0 | 1 | 1 | 0 | 0 | 4.29
| 2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 0 | 1 | 1 | 0 | 0 | 4.43
| 2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 0 | 1 | 1 | 0 | 0 | 4.61
| 2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 0 | 1 | 1 | 0 | 0 | 5.23
| 2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 0 | 1 | 1 | 0 | 0 | 5.38
| 2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 0 | 1 | 1 | 0 | 0 | 5.63
| 2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 0 | 1 | 1 | 0 | 0 | 6.18
| 2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 0 | 1 | 1 | 0 | 0 | 6.57
| 2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 0 | 1 | 1 | 0 | 0 | 6.76
| 2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 0 | 1 | 1 | 0 | 0 | 7.26
| 2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 0 | 1 | 1 | 0 | 0 | 7.3
| 2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 0 | 1 | 1 | 0 | 0 | 7.35
| 2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 0 | 1 | 1 | 0 | 0 | 8.21
| 2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 0 | 1 | 1 | 0 | 0 | 8.04
| 2045 | 3000 | 3000 | 6.9426 | 8.6795 | 0 | 0 | 1 | 1 | 0 | 0 | 8.31
| 2046 | 0 | 0 | 7.185 | 8.825 | 0 | 0 | 1 | 1 | 0 | 0 | 9.05
| 2047 | 0 | 0 | 7.1737 | 8.9505 | 0 | 0 | 1 | 1 | 0 | 0 | 8.99
| 2048 | 0 | 0 | 7.174 | 8.951 | 0 | 0 | 1 | 1 | 0 | 0 | 9.37
| 2049 | 0 | 0 | 7.174 | 8.951 | 0 | 0 | 1 | 1 | 0 | 0 | 9.75
| 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2054 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2055 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2056 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2057 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2058 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0

## f-11B
|  | CALCULATION OF AFUDC AND IN-SERVICE COST OF PLANT | [7 empty] | PSC FORM CE 1.1B
|  |  |  | PLANT: | 2023 | Avoided Unit |  |  |  | PAGE 1 OF 1
2026-07-29 12:29
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
| NO. YEARS | PLANT | CUMULATIVE |  |  | CUMULATIVE | CUMULATIVE | YEARLY | INCREMENTAL | CUMULATIVE | <-- INPUTS FOR OTHER COSTS & BENEFITS - EXTERNALLY CALC., FORMS 2.3, 2.4, & 2.5 -->
| BEFORE | ESCALATION | ESCALATION | YEARLY | ANNUAL | AVERAGE | SPENDING | TOTAL | YEAR-END | YEAR-END |  | (1) | (2) | (3) | (4) | (5) | (6)
| INSERVICE | RATE | FACTOR | EXPENDITURE | SPENDING | SPENDING | WITH AFUDC | AFUDC | BOOK VALUE | BOOK VALUE |  | (1): <-- FORM 2.3 --->; (3): <---- FORM 2.4 --->; (5): <---- FORM 2.5 ---->
YEAR |  | (%) |  | (%) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | YEAR | OTHER COST | OTHER BEN | OTH COST | OTHER BENEFITS | COSTS | BENEFITS
2011 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ($000) | ($000) | ($000) | ($000) | ($000) | ($000)
2012 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0
2014 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0
2015 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0
2016 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2024 | 0 | 0 | 0 | 0 | 0 | 0
2017 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2025 | 0 | 0 | 0 | 0 | 0 | 0
2018 | -5 | 0.024 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0
2019 | -4 | 0.024 | 1.024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2027 | 0 | 0 | 0 | 0 | 0 | 0
2020 | -3 | 0.024 | 1.0486 | 0.1951 | 112.8246 | 109.2942 | 112.8246 | 3.5304 | 112.8246 | 112.8246 | 2028 | 0 | 0 | 0 | 0 | 0 | 0
2021 | -2 | 0.024 | 1.0737 | 0.5594 | 330.5516 | 313.3706 | 330.5516 | 17.181 | 330.5516 | 443.3762 | 2029 | 0 | 0 | 0 | 0 | 0 | 0
2022 | -1 | 0.024 | 1.0995 | 0.2455 | 169.273 | 137.5248 | 169.273 | 31.7482 | 169.273 | 612.6492 | 2030 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0 | 0.024 | 1.1259 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2031 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2032 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2033 | 0 | 0 | 0 | 0 | 0 | 0
IN-SERVICE YEAR = |  | 2023 | [6 empty] | 612.6492 |  | 2034 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2035 | 0 | 0 | 0 | 0 | 0 | 0
PLANT COSTS (2023$) |  | 526.3 | [8 empty] | 2036 | 0 | 0 | 0 | 0 | 0 | 0
AFUDC RATE: |  | 6.46% | [8 empty] | 2037 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2038 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2039 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2040 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2041 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2042 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2043 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2044 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2045 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2046 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2047 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2048 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2049 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2050 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2051 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2052 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2053 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2054 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2055 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2056 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2057 | 0 | 0 | 0 | 0 | 0 | 0
PSC FORM CE 1.1
PAGE 1 OF 1 | bar: (2)
[11 empty] | Run date: | (1): 37062
[12 empty] | 37062.5552 | *
*
2001 | bar: (2)
2004
16.2994

## Sheet3(F_21)
|  |  | AVOIDED GENERATION UNIT BENEFITS | [5 empty] | PSC FORM CE 2.1
|  |  | PROGRAM: | Residential Ceiling Insulation |  |  |  |  | Page 1 of 1
2026-07-29 12:29
|  | * UNIT SIZE OF AVOIDED GENERATION UNIT = |  |  |  | 2026 | KW
|  | * INSERVICE COSTS OF AVOIDED GEN. UNIT (000) = |  |  |  | 1241.2273
(1) | (1A)* | (2) | (2A)* | (3) | (4) | (5) | (6) | (6A)* | (7)
|  | AVOIDED | AVOIDED | AVOIDED | AVOIDED | AVOIDED |  | AVOIDED
| REVENUE | GEN UNIT | ANNUAL | UNIT | GEN UNIT | GEN UNIT |  | PURCHASED | AVOIDED
| REQUIREMENT | CAPACITY | UNIT | FIXED | VARIABLE | FUEL | REPLACEMENT | CAPACITY | GEN UNIT
| FACTOR | COST | KWH GEN | O&M COST | O&M COST | COST | FUEL COST | COSTS | BENEFITS
YEAR |  | $(000) | (000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0.13759 | 170.7813 | 1615.0392 | 12.6825 | 3.6417 | 69.1929 | 51.2392 | 0 | 205.0593
2024 | 0.13353 | 165.7381 | 1615.0392 | 12.9869 | 3.7291 | 72.3343 | 53.5313 | 0 | 201.2571
2025 | 0.12904 | 160.1705 | 1615.0392 | 13.2986 | 3.8186 | 75.6183 | 55.6527 | 0 | 197.2533
2026 | 0.12477 | 154.8696 | 1615.0392 | 13.6178 | 3.9102 | 79.0514 | 57.4559 | 0 | 193.9931
2027 | 0.12069 | 149.8086 | 1615.0392 | 13.9446 | 4.0041 | 82.6403 | 60.0276 | 0 | 190.37
2028 | 0.11679 | 144.9637 | 1615.0392 | 14.2793 | 4.1002 | 86.3922 | 64.6055 | 0 | 185.1297
2029 | 0.11301 | 140.2696 | 1615.0392 | 14.622 | 4.1986 | 90.3144 | 67.4408 | 0 | 181.9637
2030 | 0.10927 | 135.6239 | 1615.0392 | 14.9729 | 4.2993 | 94.4146 | 72.4552 | 0 | 176.8555
2031 | 0.10552 | 130.9781 | 1615.0392 | 15.3322 | 4.4025 | 98.7011 | 74.2569 | 0 | 175.157
2032 | 0.10178 | 126.3324 | 1615.0392 | 15.7002 | 4.5082 | 103.1821 | 78.7131 | 0 | 171.0097
2033 | 0.098037 | 121.6866 | 1615.0392 | 16.077 | 4.6164 | 107.8665 | 80.5083 | 0 | 169.7382
2034 | 0.094294 | 117.0409 | 1615.0392 | 16.4629 | 4.7272 | 112.7637 | 85.7033 | 0 | 165.2913
2035 | 0.090552 | 112.3951 | 1615.0392 | 16.858 | 4.8406 | 117.8832 | 88.9895 | 0 | 162.9874
2036 | 0.086809 | 107.7494 | 1615.0392 | 17.2626 | 4.9568 | 123.2351 | 90.7836 | 0 | 162.4201
2037 | 0.083066 | 103.1036 | 1615.0392 | 17.6769 | 5.0758 | 128.8299 | 95.704 | 0 | 158.9821
2038 | 0.079674 | 98.8941 | 1615.0392 | 18.1011 | 5.1976 | 134.6788 | 97.6866 | 0 | 159.185
2039 | 0.076986 | 95.557 | 1615.0392 | 18.5355 | 5.3223 | 140.7932 | 101.7474 | 0 | 158.4607
2040 | 0.074649 | 92.6559 | 1615.0392 | 18.9804 | 5.4501 | 147.1852 | 101.6311 | 0 | 162.6406
2041 | 0.072311 | 89.7549 | 1615.0392 | 19.4359 | 5.5809 | 153.8674 | 108.0637 | 0 | 160.5755
2042 | 0.069974 | 86.8539 | 1615.0392 | 19.9024 | 5.7148 | 160.853 | 113.7833 | 0 | 159.5408
2043 | 0.067637 | 83.9529 | 1615.0392 | 20.38 | 5.852 | 168.1558 | 118.5695 | 0 | 159.7711
2044 | 0.0653 | 81.0518 | 1615.0392 | 20.8692 | 5.9924 | 175.79 | 117.3637 | 0 | 166.3398
NOMINAL |  | 2670.2317 | 35530.8625 | 361.9789 | 103.9392 | 2523.7434 | 1835.9122 | 0 | 3823.981
NPV |  | 1275.6016 |  | 147.9217 | 42.4745 | 974.7948 | 715.8489 | 0 | 1724.9437
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet5(p_5)
| * WORKSHEET : DSM PROGRAM FUEL SAVINGS |  |  |  | WORKSHEET FOR FORM CE 2.2
| PROGRAM: | Residential Ceiling Insulation |  |  | Page 1 of 1
2026-07-29 12:29
(1) | (2) | (3) | (4) | (5) | (6) | (7)
| REDUCTION |  | INCREASE |  | NET
| IN KWH | AVOIDED | IN KWH | INCREASED | AVOIDED | EFFECTIVE
| GENERATION | MARGINAL | GENERATION | MARGINAL | PROGRAM | PROGRAM
| NET NEW CUST | FUEL COST - | NET NEW CUST | FUEL COST - | FUEL | FUEL
| KWH | REDUCED KWH | KWH | INCREASE KWH | SAVINGS | SAVINGS
YEAR | (000) | $(000) | (000) | $(000) | $(000) | $(000)
2020 | 1064.0376 | 30.8646 | 0 | 0 | 30.8646 | 30.8646
2021 | 3192.1128 | 91.8408 | 0 | 0 | 91.8408 | 91.8408
2022 | 5320.188 | 157.9764 | 0 | 0 | 157.9764 | 157.9764
2023 | 6384.2256 | 197.3486 | 0 | 0 | 197.3486 | 197.3486
2024 | 6384.2256 | 205.1037 | 0 | 0 | 205.1037 | 205.1037
2025 | 6384.2256 | 220.2196 | 0 | 0 | 220.2196 | 220.2196
2026 | 6384.2256 | 227.283 | 0 | 0 | 227.283 | 227.283
2027 | 6384.2256 | 241.4872 | 0 | 0 | 241.4872 | 241.4872
2028 | 6384.2256 | 267.5958 | 0 | 0 | 267.5958 | 267.5958
2029 | 6384.2256 | 286.6925 | 0 | 0 | 286.6925 | 286.6925
2030 | 6384.2256 | 320.2197 | 0 | 0 | 320.2197 | 320.2197
2031 | 6384.2256 | 319.0288 | 0 | 0 | 319.0288 | 319.0288
2032 | 6384.2256 | 348.669 | 0 | 0 | 348.669 | 348.669
2033 | 6384.2256 | 371.8238 | 0 | 0 | 371.8238 | 371.8238
2034 | 6384.2256 | 389.1368 | 0 | 0 | 389.1368 | 389.1368
2035 | 6384.2256 | 428.5747 | 0 | 0 | 428.5747 | 428.5747
2036 | 6384.2256 | 423.3043 | 0 | 0 | 423.3043 | 423.3043
2037 | 6384.2256 | 451.7989 | 0 | 0 | 451.7989 | 451.7989
2038 | 6384.2256 | 453.5101 | 0 | 0 | 453.5101 | 453.5101
2039 | 6384.2256 | 453.9794 | 0 | 0 | 453.9794 | 453.9794
2040 | 6384.2256 | 488.503 | 0 | 0 | 488.503 | 488.503
2041 | 6384.2256 | 503.1197 | 0 | 0 | 503.1197 | 503.1197
2042 | 6384.2256 | 537.888 | 0 | 0 | 537.888 | 537.888
2043 | 6384.2256 | 550.6565 | 0 | 0 | 550.6565 | 550.6565
2044 | 6384.2256 | 529.4626 | 0 | 0 | 529.4626 | 529.4626
NOMINAL | 150029.3024 | 8496.0876 | 0 | 0 | 8496.0876 | 8496.0876
NPV: |  | 3377.9052 |  | 0 | 3377.9052 | 3377.9052
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet2(F_12)
|  |  | INPUT DATA -- PART 2 | [5 empty] | PSC FORM CE 1.2
|  |  | PROGRAM: | Residential Ceiling Insulation |  |  |  |  | PAGE 1 OF 1
2026-07-29 12:29
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
UTILITY
AVERAGE
| CUMULATIVE | ADJUSTED | SYSTEM | AVOIDED | INCREASED |  | PROGRAM | PROGRAM | OTHER | OTHER
| TOTAL | CUMULATIVE | FUEL | MARGINAL | MARGINAL | REPLACEMENT | KW | KWH | COSTS | BENEFITS
| PARTICIPATING | PARTICIPATING | COSTS | FUEL COST | FUEL COST | FUEL COST | EFFECTIVENESS | EFFECTIVENESS |  | (CO2)
YEAR | CUSTOMERS | CUSTOMERS | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | FACTOR | FACTOR | ($000) | ($000)
2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 2.8789 | 1 | 1 | 0 | 0
2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 3.0378 | 1 | 1 | 0 | 0
2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 3.1562 | 1 | 1 | 0 | 0
2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 3.1726 | 1 | 1 | 0 | 0
2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 3.3146 | 1 | 1 | 0 | 0
2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 3.4459 | 1 | 1 | 0 | 0
2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 3.5576 | 1 | 1 | 0 | 0
2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 3.7168 | 1 | 1 | 0 | 0
2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 4.0002 | 1 | 1 | 0 | 0
2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 4.1758 | 1 | 1 | 0 | 0
2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 4.4863 | 1 | 1 | 0 | 0
2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 4.5978 | 1 | 1 | 0 | 0
2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 4.8738 | 1 | 1 | 0 | 0
2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 4.9849 | 1 | 1 | 0 | 0
2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 5.3066 | 1 | 1 | 0 | 0
2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 5.51 | 1 | 1 | 0 | 0
2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 5.6211 | 1 | 1 | 0 | 0
2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 5.9258 | 1 | 1 | 0 | 0
2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 6.0486 | 1 | 1 | 0 | 0
2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 6.3 | 1 | 1 | 0 | 0
2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 6.2928 | 1 | 1 | 0 | 0
2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 6.6911 | 1 | 1 | 0 | 0
2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 7.0452 | 1 | 1 | 0 | 0
2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 7.3416 | 1 | 1 | 0 | 0
2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 7.2669 | 1 | 1 | 0 | 0

## Sheet4(F_22)
|  | AVOIDED T & D AND PROGRAM FUEL SAVINGS |  |  |  |  | PSC FORM CE 2.2
|  | PROGRAM: | Residential Ceiling Insulation |  |  |  | Page 1 of 2
2026-07-29 12:29
|  | * INSERVICE COSTS OF AVOIDED TRANS. (000) = |  |  | 72.4044
|  | * INSERVICE COSTS OF AVOIDED DIST. (000) = |  |  | 234.8723
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
| AVOIDED | AVOIDED |  | AVOIDED | AVOIDED
| TRANSMISSION | TRANSMISSION | TOTAL AVOIDED | DISTRIBUTION | DISTRIBUTION | TOTAL AVOIDED | PROGRAM
| CAPACITY | O&M | TRANSMISSION | CAPACITY | O&M | DISTRIBUTION | FUEL
| COST | COST | COST | COST | COST | COST | SAVINGS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 30.8646
2021 | 0 | 5.7674 | 5.7674 | 0 | 32.3352 | 32.3352 | 91.8408
2022 | 0 | 5.9058 | 5.9058 | 0 | 33.1113 | 33.1113 | 157.9764
2023 | 9.9622 | 6.0476 | 16.0098 | 32.3162 | 33.9059 | 66.2222 | 197.3486
2024 | 9.668 | 6.1927 | 15.8607 | 31.3619 | 34.7197 | 66.0816 | 205.1037
2025 | 9.3432 | 6.3414 | 15.6846 | 30.3084 | 35.553 | 65.8614 | 220.2196
2026 | 9.034 | 6.4935 | 15.5275 | 29.3053 | 36.4062 | 65.7116 | 227.283
2027 | 8.7388 | 6.6494 | 15.3882 | 28.3477 | 37.28 | 65.6276 | 241.4872
2028 | 8.4561 | 6.809 | 15.2651 | 27.4309 | 38.1747 | 65.6056 | 267.5958
2029 | 8.1823 | 6.9724 | 15.1547 | 26.5426 | 39.0909 | 65.6335 | 286.6925
2030 | 7.9113 | 7.1397 | 15.0511 | 25.6635 | 40.0291 | 65.6926 | 320.2197
2031 | 7.6403 | 7.3111 | 14.9514 | 24.7844 | 40.9898 | 65.7742 | 319.0288
2032 | 7.3693 | 7.4866 | 14.8559 | 23.9054 | 41.9735 | 65.8789 | 348.669
2033 | 7.0983 | 7.6662 | 14.7646 | 23.0263 | 42.9809 | 66.0071 | 371.8238
2034 | 6.8273 | 7.8502 | 14.6776 | 22.1472 | 44.0124 | 66.1596 | 389.1368
2035 | 6.5563 | 8.0386 | 14.595 | 21.2681 | 45.0687 | 66.3368 | 428.5747
2036 | 6.2853 | 8.2316 | 14.5169 | 20.389 | 46.1504 | 66.5393 | 423.3043
2037 | 6.0143 | 8.4291 | 14.4434 | 19.5099 | 47.258 | 66.7678 | 451.7989
2038 | 5.7688 | 8.6314 | 14.4002 | 18.7133 | 48.3922 | 67.1055 | 453.5101
2039 | 5.5741 | 8.8386 | 14.4127 | 18.0819 | 49.5536 | 67.6354 | 453.9794
2040 | 5.4049 | 9.0507 | 14.4556 | 17.5329 | 50.7429 | 68.2758 | 488.503
2041 | 5.2357 | 9.2679 | 14.5036 | 16.984 | 51.9607 | 68.9446 | 503.1197
2042 | 5.0664 | 9.4903 | 14.5568 | 16.435 | 53.2078 | 69.6428 | 537.888
2043 | 4.8972 | 9.7181 | 14.6153 | 15.8861 | 54.4847 | 70.3708 | 550.6565
2044 | 4.728 | 9.9513 | 14.6793 | 15.3371 | 55.7924 | 71.1295 | 529.4626
NOMINAL | 155.7623 | 184.2807 | 340.043 | 505.2769 | 1033.1737 | 1538.4506 | 8496.0876
NPV: | 74.4095 | 81.0724 | 155.4819 | 241.3768 | 454.534 | 695.9108 | 3377.9052
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet6(p_6)
|  | * WORKSHEET: UTILITY COSTS AND PARTICIPANT COSTS AND REV LOSS/GAIN | [12 empty] | WORKSHEET FOR FORM CE 2.2
|  | PROGRAM: |  | Residential Ceiling Insulation | [10 empty] | Page 2 of 2
2026-07-29 12:29
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18)
| <----- UTILITY PROGRAM COSTS & REBATES -------> | [5 empty] | <------------------ PARTICIPATING CUSTOMER COSTS & BENEFITS ---------------------->
|  |  | TOTAL |  |  | TOTAL | PARTIC. | PARTIC. | TOTAL | REDUCT. | RED. | RED. | EFFECT. | INC. | INC. | INC. | EFFECT.
| UTIL | UTIL | UTIL | UTIL | UTIL | REBATE/ | CUST | CUST | COSTS | IN | REV. | REV. | REV. | IN | REV. | REV. | REVENUE
| NONREC. | RECUR | PGM | NONREC. | RECUR. | INCENT. | EQUIP | O & M | PARTIC. | CUST. | - FUEL | NONFUEL | REDUCT. | CUST. | - FUEL | NONFUEL | INC.
| COSTS | COSTS | COSTS | REBATES | REBATES | COSTS | COSTS | COSTS | CUST | KWH | PORTION | PORTION | TO CUST | KWH | PORTION | PORTION | IN BILL
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | (000) | $(000) | $(000) | $(000) | (000) | $(000) |  | $(000)
2020 | 50 | 0 | 50 | 561.64 | 0 | 561.64 | 896.76 | 0 | 896.76 | 1004.4515 | 24.4545 | 59.6273 | 84.0818 | 0 | 0 | 0 | 0
2021 | 51.2 | 0 | 51.2 | 561.64 | 0 | 561.64 | 917.3855 | 0 | 917.3855 | 3013.3545 | 76.8551 | 180.6706 | 257.5257 | 0 | 0 | 0 | 0
2022 | 52.4288 | 0 | 52.4288 | 561.64 | 0 | 561.64 | 938.4853 | 0 | 938.4853 | 5022.2575 | 132.8102 | 304.1288 | 436.939 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 158.0658 | 368.6041 | 526.6699 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 167.0313 | 372.2902 | 539.3214 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 176.6186 | 376.0131 | 552.6317 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 184.6043 | 379.7732 | 564.3775 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 195.474 | 383.5709 | 579.0449 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 213.9844 | 387.4066 | 601.391 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 224.8864 | 391.2807 | 616.1671 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 245.0254 | 395.1935 | 640.219 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 253.472 | 399.1454 | 652.6174 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 271.5575 | 403.1369 | 674.6944 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 277.2535 | 407.1683 | 684.4218 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 295.5646 | 411.2399 | 706.8046 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 308.14 | 415.3523 | 723.4924 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 318.498 | 419.5059 | 738.0039 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 336.3372 | 423.7009 | 760.0381 | 0 | 0 | 0 | 0
2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 344.2578 | 427.9379 | 772.1957 | 0 | 0 | 0 | 0
2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 357.4528 | 432.2173 | 789.6701 | 0 | 0 | 0 | 0
2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 361.5637 | 436.5395 | 798.1032 | 0 | 0 | 0 | 0
2041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 379.5188 | 440.9049 | 820.4237 | 0 | 0 | 0 | 0
2042 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 397.3196 | 445.3139 | 842.6336 | 0 | 0 | 0 | 0
2043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 408.7795 | 449.7671 | 858.5466 | 0 | 0 | 0 | 0
2044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6026.709 | 402.7636 | 454.2647 | 857.0283 | 0 | 0 | 0 | 0
NOMINAL | 153.6288 | 0 | 153.6288 | 1684.92 | 0 | 1684.92 | 2752.6308 | 0 | 2752.6308 | 141627.6615 | 6512.2886 | 9564.754 | 16077.0426 | 0 | 0 | 0 | 0
NPV | 143.5397 | 0 | 143.5397 | 1575.9704 | 0 | 1575.9704 | 2571.9741 | 0 | 2571.9741 |  | 2625.4558 | 4319.71 | 6945.1658 |  | 0 | 0 | 0
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet7(F_23)
|  |  | TOTAL RESOURCE COST TESTS | [8 empty] | PSC FORM CE 2.3
|  |  | PROGRAM: | Residential Ceiling Insulation | [7 empty] | Page 1 of 1
2026-07-29 12:29
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
CUMULATIVE
| INCREASED | UTILITY | PARTICIPANT |  |  |  |  | PROGRAM |  |  |  | DISCOUNTED
| SUPPLY | PROGRAM | PROGRAM | OTHER | TOTAL | AVOIDED | AVOIDED | FUEL | OTHER | TOTAL | NET | NET
| COSTS | COSTS | COSTS | COSTS | COSTS | GEN UNIT | T & D | SAVINGS | BENEFITS | BENEFITS | BENEFITS | BENEFITS
[6 empty] | BENEFITS | BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 50 | 896.76 | 0 | 946.76 | 0 | 0 | 30.8646 | 0 | 30.8646 | -915.8954 | -915.8954
2021 | 0 | 51.2 | 917.3855 | 0 | 968.5855 | 0 | 38.1027 | 91.8408 | 0 | 129.9434 | -838.6421 | -1699.0874
2022 | 0 | 52.4288 | 938.4853 | 0 | 990.9141 | 0 | 39.0171 | 157.9764 | 0 | 196.9935 | -793.9206 | -2391.4927
2023 | 0 | 0 | 0 | 0 | 0 | 205.0593 | 82.2319 | 197.3486 | 0 | 484.6398 | 484.6398 | -1996.7683
2024 | 0 | 0 | 0 | 0 | 0 | 201.2571 | 81.9423 | 205.1037 | 0 | 488.3031 | 488.3031 | -1625.3562
2025 | 0 | 0 | 0 | 0 | 0 | 197.2533 | 81.5459 | 220.2196 | 0 | 499.0188 | 499.0188 | -1270.8897
2026 | 0 | 0 | 0 | 0 | 0 | 193.9931 | 81.2391 | 227.283 | 0 | 502.5152 | 502.5152 | -937.5408
2027 | 0 | 0 | 0 | 0 | 0 | 190.37 | 81.0158 | 241.4872 | 0 | 512.873 | 512.873 | -619.8159
2028 | 0 | 0 | 0 | 0 | 0 | 185.1297 | 80.8707 | 267.5958 | 0 | 533.5962 | 533.5962 | -311.1094
2029 | 0 | 0 | 0 | 0 | 0 | 181.9637 | 80.7882 | 286.6925 | 0 | 549.4445 | 549.4445 | -14.2515
2030 | 0 | 0 | 0 | 0 | 0 | 176.8555 | 80.7437 | 320.2197 | 0 | 577.8189 | 577.8189 | 277.2952
2031 | 0 | 0 | 0 | 0 | 0 | 175.157 | 80.7256 | 319.0288 | 0 | 574.9114 | 574.9114 | 548.1952
2032 | 0 | 0 | 0 | 0 | 0 | 171.0097 | 80.7348 | 348.669 | 0 | 600.4135 | 600.4135 | 812.4057
2033 | 0 | 0 | 0 | 0 | 0 | 169.7382 | 80.7717 | 371.8238 | 0 | 622.3337 | 622.3337 | 1068.1551
2034 | 0 | 0 | 0 | 0 | 0 | 165.2913 | 80.8371 | 389.1368 | 0 | 635.2652 | 635.2652 | 1311.9575
2035 | 0 | 0 | 0 | 0 | 0 | 162.9874 | 80.9317 | 428.5747 | 0 | 672.4938 | 672.4938 | 1552.9829
2036 | 0 | 0 | 0 | 0 | 0 | 162.4201 | 81.0562 | 423.3043 | 0 | 666.7807 | 666.7807 | 1776.1598
2037 | 0 | 0 | 0 | 0 | 0 | 158.9821 | 81.2113 | 451.7989 | 0 | 691.9923 | 691.9923 | 1992.4611
2038 | 0 | 0 | 0 | 0 | 0 | 159.185 | 81.5057 | 453.5101 | 0 | 694.2008 | 694.2008 | 2195.1054
2039 | 0 | 0 | 0 | 0 | 0 | 158.4607 | 82.0481 | 453.9794 | 0 | 694.4882 | 694.4882 | 2384.4296
2040 | 0 | 0 | 0 | 0 | 0 | 162.6406 | 82.7313 | 488.503 | 0 | 733.8749 | 733.8749 | 2571.2631
2041 | 0 | 0 | 0 | 0 | 0 | 160.5755 | 83.4482 | 503.1197 | 0 | 747.1434 | 747.1434 | 2748.898
2042 | 0 | 0 | 0 | 0 | 0 | 159.5408 | 84.1995 | 537.888 | 0 | 781.6284 | 781.6284 | 2922.4447
2043 | 0 | 0 | 0 | 0 | 0 | 159.7711 | 84.9861 | 550.6565 | 0 | 795.4137 | 795.4137 | 3087.3751
2044 | 0 | 0 | 0 | 0 | 0 | 166.3398 | 85.8088 | 529.4626 | 0 | 781.6112 | 781.6112 | 3238.7278
NOMINAL | 0 | 153.6288 | 2752.6308 | 0 | 2906.2596 | 3823.981 | 1878.4937 | 8496.0876 | 0 | 14198.5623 | 11292.3026
NPV: | 0 | 143.5397 | 2571.9741 | 0 | 2715.5138 | 1724.9437 | 851.3927 | 3377.9052 | 0 | 5954.2416 | 3238.7278
Discount Rate |  | 0.0708 | Benefit/Cost Ratio - [col (11)/col (6)]: |  |  |  | 2.1927

## Sheet8(F_24)
|  |  |  | PARTICIPANT COSTS AND BENEFITS | [6 empty] | PSC FORM CE 2.4
|  |  |  | PROGRAM: | Residential Ceiling Insulation | [5 empty] | Page 1 of 1
2026-07-29 12:29
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12)
SAVINGS
| IN |  |  |  |  | CUSTOMER | CUSTOMER |  |  |  | CUMULATIVE
| PARTICIPANTS | TAX | UTILITY | OTHER | TOTAL | EQUIPMENT | O & M | OTHER | TOTAL | NET | DISCOUNTED
| BILL | CREDITS | REBATES | BENEFITS | BENEFITS | COSTS | COSTS | COSTS | COSTS | BENEFITS | NET BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 84.0818 | 0 | 561.64 | 0 | 645.7218 | 896.76 | 0 | 0 | 896.76 | -251.0382 | -251.0382
2021 | 257.5257 | 0 | 561.64 | 0 | 819.1657 | 917.3855 | 0 | 0 | 917.3855 | -98.2198 | -342.7638
2022 | 436.939 | 0 | 561.64 | 0 | 998.579 | 938.4853 | 0 | 0 | 938.4853 | 60.0937 | -290.3541
2023 | 526.6699 | 0 | 0 | 0 | 526.6699 | 0 | 0 | 0 | 0 | 526.6699 | 138.6026
2024 | 539.3214 | 0 | 0 | 0 | 539.3214 | 0 | 0 | 0 | 0 | 539.3214 | 548.8201
2025 | 552.6317 | 0 | 0 | 0 | 552.6317 | 0 | 0 | 0 | 0 | 552.6317 | 941.3692
2026 | 564.3775 | 0 | 0 | 0 | 564.3775 | 0 | 0 | 0 | 0 | 564.3775 | 1315.7551
2027 | 579.0449 | 0 | 0 | 0 | 579.0449 | 0 | 0 | 0 | 0 | 579.0449 | 1674.4735
2028 | 601.391 | 0 | 0 | 0 | 601.391 | 0 | 0 | 0 | 0 | 601.391 | 2022.4021
2029 | 616.1671 | 0 | 0 | 0 | 616.1671 | 0 | 0 | 0 | 0 | 616.1671 | 2355.3093
2030 | 640.219 | 0 | 0 | 0 | 640.219 | 0 | 0 | 0 | 0 | 640.219 | 2678.3409
2031 | 652.6174 | 0 | 0 | 0 | 652.6174 | 0 | 0 | 0 | 0 | 652.6174 | 2985.8561
2032 | 674.6944 | 0 | 0 | 0 | 674.6944 | 0 | 0 | 0 | 0 | 674.6944 | 3282.7538
2033 | 684.4218 | 0 | 0 | 0 | 684.4218 | 0 | 0 | 0 | 0 | 684.4218 | 3564.0184
2034 | 706.8046 | 0 | 0 | 0 | 706.8046 | 0 | 0 | 0 | 0 | 706.8046 | 3835.2762
2035 | 723.4924 | 0 | 0 | 0 | 723.4924 | 0 | 0 | 0 | 0 | 723.4924 | 4094.5798
2036 | 738.0039 | 0 | 0 | 0 | 738.0039 | 0 | 0 | 0 | 0 | 738.0039 | 4341.5956
2037 | 760.0381 | 0 | 0 | 0 | 760.0381 | 0 | 0 | 0 | 0 | 760.0381 | 4579.1665
2038 | 772.1957 | 0 | 0 | 0 | 772.1957 | 0 | 0 | 0 | 0 | 772.1957 | 4804.5784
2039 | 789.6701 | 0 | 0 | 0 | 789.6701 | 0 | 0 | 0 | 0 | 789.6701 | 5019.8501
2040 | 798.1032 | 0 | 0 | 0 | 798.1032 | 0 | 0 | 0 | 0 | 798.1032 | 5223.0351
2041 | 820.4237 | 0 | 0 | 0 | 820.4237 | 0 | 0 | 0 | 0 | 820.4237 | 5418.0926
2042 | 842.6336 | 0 | 0 | 0 | 842.6336 | 0 | 0 | 0 | 0 | 842.6336 | 5605.1844
2043 | 858.5466 | 0 | 0 | 0 | 858.5466 | 0 | 0 | 0 | 0 | 858.5466 | 5783.2055
2044 | 857.0283 | 0 | 0 | 0 | 857.0283 | 0 | 0 | 0 | 0 | 857.0283 | 5949.1621
NOMINAL | 16077.0426 | 0 | 1684.92 | 0 | 17761.9626 | 2752.6308 | 0 | 0 | 2752.6308 | 15009.3318
NPV: | 6945.1658 | 0 | 1575.9704 | 0 | 8521.1363 | 2571.9741 | 0 | 0 | 2571.9741 | 5949.1621
In service year of gen unit: |  |  | 2023 |  | 3.3131
Discount rate: |  |  | 0.0708

## Sheet9(F_25)
[5 empty] | RATE IMPACT TEST | [7 empty] | PSC FORM CE 2.5
[5 empty] | PROGRAM: | Residential Ceiling Insulation | [6 empty] | Page 1 of 1
2026-07-29 12:29
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
[7 empty] | AVOIDED |  |  |  |  | NET | CUMULATIVE
| INCREASED | UTILITY |  |  |  |  | GEN UNIT | AVOIDED |  |  |  | BENEFITS | DISCOUNTED
| SUPPLY | PROGRAM |  | REVENUE | OTHER | TOTAL | UNIT & FUEL | T & D | REVENUE | OTHER | TOTAL | TO ALL | NET
| COSTS | COSTS | INCENTIVES | LOSSES | COSTS | COSTS | BENEFITS | BENEFITS | GAINS | BENEFITS | BENEFITS | CUSTOMERS | BENEFIT
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 50 | 561.64 | 59.6273 | 0 | 671.2673 | 30.8646 | 0 | 0 | 0 | 30.8646 | -640.4026 | -640.4026
2021 | 0 | 51.2 | 561.64 | 180.6706 | 0 | 793.5106 | 91.8408 | 38.1027 | 0 | 0 | 129.9434 | -663.5672 | -1260.0955
2022 | 0 | 52.4288 | 561.64 | 304.1288 | 0 | 918.1976 | 157.9764 | 39.0171 | 0 | 0 | 196.9935 | -721.2041 | -1889.0822
2023 | 0 | 0 | 0 | 368.6041 | 0 | 368.6041 | 402.4079 | 82.2319 | 0 | 0 | 484.6398 | 116.0357 | -1794.5747
2024 | 0 | 0 | 0 | 372.2902 | 0 | 372.2902 | 406.3608 | 81.9423 | 0 | 0 | 488.3031 | 116.013 | -1706.3331
2025 | 0 | 0 | 0 | 376.0131 | 0 | 376.0131 | 417.4729 | 81.5459 | 0 | 0 | 499.0188 | 123.0058 | -1618.9588
2026 | 0 | 0 | 0 | 379.7732 | 0 | 379.7732 | 421.2761 | 81.2391 | 0 | 0 | 502.5152 | 122.742 | -1537.5366
2027 | 0 | 0 | 0 | 383.5709 | 0 | 383.5709 | 431.8572 | 81.0158 | 0 | 0 | 512.873 | 129.302 | -1457.434
2028 | 0 | 0 | 0 | 387.4066 | 0 | 387.4066 | 452.7255 | 80.8707 | 0 | 0 | 533.5962 | 146.1896 | -1372.8575
2029 | 0 | 0 | 0 | 391.2807 | 0 | 391.2807 | 468.6563 | 80.7882 | 0 | 0 | 549.4445 | 158.1638 | -1287.4036
2030 | 0 | 0 | 0 | 395.1935 | 0 | 395.1935 | 497.0752 | 80.7437 | 0 | 0 | 577.8189 | 182.6254 | -1195.2574
2031 | 0 | 0 | 0 | 399.1454 | 0 | 399.1454 | 494.1858 | 80.7256 | 0 | 0 | 574.9114 | 175.766 | -1112.4359
2032 | 0 | 0 | 0 | 403.1369 | 0 | 403.1369 | 519.6788 | 80.7348 | 0 | 0 | 600.4135 | 197.2766 | -1025.6248
2033 | 0 | 0 | 0 | 407.1683 | 0 | 407.1683 | 541.562 | 80.7717 | 0 | 0 | 622.3337 | 215.1655 | -937.2021
2034 | 0 | 0 | 0 | 411.2399 | 0 | 411.2399 | 554.428 | 80.8371 | 0 | 0 | 635.2652 | 224.0252 | -851.2256
2035 | 0 | 0 | 0 | 415.3523 | 0 | 415.3523 | 591.5621 | 80.9317 | 0 | 0 | 672.4938 | 257.1415 | -759.0647
2036 | 0 | 0 | 0 | 419.5059 | 0 | 419.5059 | 585.7244 | 81.0562 | 0 | 0 | 666.7807 | 247.2748 | -676.2998
2037 | 0 | 0 | 0 | 423.7009 | 0 | 423.7009 | 610.781 | 81.2113 | 0 | 0 | 691.9923 | 268.2914 | -592.438
2038 | 0 | 0 | 0 | 427.9379 | 0 | 427.9379 | 612.6951 | 81.5057 | 0 | 0 | 694.2008 | 266.2628 | -514.7131
2039 | 0 | 0 | 0 | 432.2173 | 0 | 432.2173 | 612.4401 | 82.0481 | 0 | 0 | 694.4882 | 262.2709 | -443.2155
2040 | 0 | 0 | 0 | 436.5395 | 0 | 436.5395 | 651.1436 | 82.7313 | 0 | 0 | 733.8749 | 297.3354 | -367.5184
2041 | 0 | 0 | 0 | 440.9049 | 0 | 440.9049 | 663.6952 | 83.4482 | 0 | 0 | 747.1434 | 306.2385 | -294.7096
2042 | 0 | 0 | 0 | 445.3139 | 0 | 445.3139 | 697.4288 | 84.1995 | 0 | 0 | 781.6284 | 336.3144 | -220.0369
2043 | 0 | 0 | 0 | 449.7671 | 0 | 449.7671 | 710.4276 | 84.9861 | 0 | 0 | 795.4137 | 345.6466 | -148.3665
2044 | 0 | 0 | 0 | 454.2647 | 0 | 454.2647 | 695.8024 | 85.8088 | 0 | 0 | 781.6112 | 327.3465 | -84.9785
NOMINAL | 0 | 153.6288 | 1684.92 | 9564.754 | 0 | 11403.3028 | 12320.0686 | 1878.4937 | 0 | 0 | 14198.5623 | 2795.2594
NPV: | 0 | 143.5397 | 1575.9704 | 4319.71 | 0 | 6039.2201 | 5102.8489 | 851.3927 | 0 | 0 | 5954.2416 | -84.9785
Discount rate: |  |  | 0.0708 |  | Benefit/Cost Ratio - [col (12)/col (7)]: |  |  |  | 0.98593

## Value of Defferal
GEN: | [7 empty] | COMPUTATION OF CONSTRUCTION CASH FLOW AND PLANT |  |  |  |  | Do Not Print
COMPUTATION OF GENERATION COSTS & REV. REQUIREMENTS | [7 empty] | IN-SERVICE COSTS FOR AVOIDED TRANS & DIST PLANT
IN-SERVICE AVOIDED GEN. PLANT ($000) = |  |  |  | 1241.2273 |  |  |  | -----------------------------------------------
------------------------------------------ |  |  |  |  | GENERATION |  |  | TRAN: | Avoided Trans. = |  | 72.4044
|  |  |  | COMPUTATION OF VALUE DEFERRAL PAYMENTS |  |  |  |  | Avoided Dist. = |  | 234.8723 |  | TRANSMISSION & DIST.
COMPUTATION OF VALUE DEFERRAL CREDITS
|  |  |  | ip= | 0.024 | Esc. rate | [5 empty] | ip= | 0.024 | Esc. rate
| Gen |  |  | r= | 0.0708 | Disc rate |  | TRAN |  |  |  | r= | 0.0708 | Disc rate
| Offset Cost | 3 |  | l= | 25 | Econ life |  | Offset Cost |  | 3 |  | l= | 25 | Econ life
| Offset Factor | 2 |  | c= | 1 | Risk factor |  | Offset Factor |  | 1 |  | c= | 1 | Risk factor
|  |  |  | k= | 1.5213 | K factor |  | DIST |  |  |  | k= | 1.5213 | K factor
|  |  |  | Ratio= | 0.95629 | calculated ratio |  | Offset Cost |  | 4 |  | Ratio= | 0.95629 | calculated ratio
[8 empty] | Offset Factor |  | 1
|  |  |  | VALUE of DEFERRAL | [7 empty] | VALUE DEFERRAL STARTING
|  |  |  | Factor = | 0.098822 | [6 empty] | FACTOR = | 0.098822
[5 empty] | AVOIDED |  |  |  |  | TRANS | DIST |  | AVOIDED | AVOIDED
|  | CARRYING | ANNUAL | Value | GEN. |  |  |  | CARRYING | ANNUAL | ANNUAL |  | TRANS. | DIST
|  | CHARGE | REV REQ | of Def | V OF D |  |  |  | CHARGE | REV REQ | REV REQ |  | V OF D | V OF D
N | Year | % | COSTS(000) | Factors | ($000) |  | N | Year | % | COSTS(000) | COSTS(000) | Factors | ($000) | $(000)
-- | ---- | ------ | ------ | ------ | ----- |  |  |  | ------ | ------ | ------
1 | 2020 | 0 | 0 | 0 | 0 |  | 1 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2021 | 0 | 0 | 0 | 0 |  | 2 | 2021 | 0 | 0 | 0 | 0.098822 | 7.1552 | 23.2106
3 | 2022 | 0 | 0 | 0 | 0 |  | 3 | 2022 | 0 | 0 | 0 | 0.10119 | 7.3269 | 23.7677
4 | 2023 | 0.13759 | 170.7813 | 0.098822 | 122.6609 |  | 4 | 2023 | 0.13759 | 9.9622 | 32.3162 | 0.10362 | 7.5027 | 24.3381
5 | 2024 | 0.13353 | 165.7381 | 0.10119 | 125.6048 |  | 5 | 2024 | 0.13353 | 9.668 | 31.3619 | 0.10611 | 7.6828 | 24.9222
6 | 2025 | 0.12904 | 160.1705 | 0.10362 | 128.6193 |  | 6 | 2025 | 0.12904 | 9.3432 | 30.3084 | 0.10866 | 7.8672 | 25.5204
7 | 2026 | 0.12477 | 154.8696 | 0.10611 | 131.7062 |  | 7 | 2026 | 0.12477 | 9.034 | 29.3053 | 0.11126 | 8.056 | 26.1328
8 | 2027 | 0.12069 | 149.8086 | 0.10866 | 134.8671 |  | 8 | 2027 | 0.12069 | 8.7388 | 28.3477 | 0.11393 | 8.2493 | 26.76
9 | 2028 | 0.11679 | 144.9637 | 0.11126 | 138.1039 |  | 9 | 2028 | 0.11679 | 8.4561 | 27.4309 | 0.11667 | 8.4473 | 27.4023
10 | 2029 | 0.11301 | 140.2696 | 0.11393 | 141.4184 |  | 10 | 2029 | 0.11301 | 8.1823 | 26.5426 | 0.11947 | 8.6501 | 28.0599
11 | 2030 | 0.10927 | 135.6239 | 0.11667 | 144.8125 |  | 11 | 2030 | 0.10927 | 7.9113 | 25.6635 | 0.12234 | 8.8577 | 28.7334
12 | 2031 | 0.10552 | 130.9781 | 0.11947 | 148.288 |  | 12 | 2031 | 0.10552 | 7.6403 | 24.7844 | 0.12527 | 9.0703 | 29.423
13 | 2032 | 0.10178 | 126.3324 | 0.12234 | 151.8469 |  | 13 | 2032 | 0.10178 | 7.3693 | 23.9054 | 0.12828 | 9.2879 | 30.1291
14 | 2033 | 0.098037 | 121.6866 | 0.12527 | 155.4912 |  | 14 | 2033 | 0.098037 | 7.0983 | 23.0263 | 0.13136 | 9.5108 | 30.8522
15 | 2034 | 0.094294 | 117.0409 | 0.12828 | 159.223 |  | 15 | 2034 | 0.094294 | 6.8273 | 22.1472 | 0.13451 | 9.7391 | 31.5927
16 | 2035 | 0.090552 | 112.3951 | 0.13136 | 163.0444 |  | 16 | 2035 | 0.090552 | 6.5563 | 21.2681 | 0.13774 | 9.9728 | 32.3509
17 | 2036 | 0.086809 | 107.7494 | 0.13451 | 166.9574 |  | 17 | 2036 | 0.086809 | 6.2853 | 20.389 | 0.14104 | 10.2122 | 33.1273
18 | 2037 | 0.083066 | 103.1036 | 0.13774 | 170.9644 |  | 18 | 2037 | 0.083066 | 6.0143 | 19.5099 | 0.14443 | 10.4573 | 33.9224
19 | 2038 | 0.079674 | 98.8941 | 0.14104 | 175.0675 |  | 19 | 2038 | 0.079674 | 5.7688 | 18.7133 | 0.1479 | 10.7083 | 34.7365
20 | 2039 | 0.076986 | 95.557 | 0.14443 | 179.2692 |  | 20 | 2039 | 0.076986 | 5.5741 | 18.0819 | 0.15144 | 10.9653 | 35.5702
21 | 2040 | 0.074649 | 92.6559 | 0.1479 | 183.5716 |  | 21 | 2040 | 0.074649 | 5.4049 | 17.5329 | 0.15508 | 11.2284 | 36.4239
22 | 2041 | 0.072311 | 89.7549 | 0.15144 | 187.9773 |  | 22 | 2041 | 0.072311 | 5.2357 | 16.984 | 0.1588 | 11.4979 | 37.298
23 | 2042 | 0.069974 | 86.8539 | 0.15508 | 192.4888 |  | 23 | 2042 | 0.069974 | 5.0664 | 16.435 | 0.16261 | 11.7739 | 38.1932
24 | 2043 | 0.067637 | 83.9529 | 0.1588 | 197.1085 |  | 24 | 2043 | 0.067637 | 4.8972 | 15.8861 | 0.16652 | 12.0564 | 39.1098
25 | 2044 | 0.0653 | 81.0518 | 0.16261 | 201.8391 |  | 25 | 2044 | 0.0653 | 4.728 | 15.3371 | 0.17051 | 12.3458 | 40.0485
26 | 2045 | 0.062963 | 78.1508 | 0.16652 | 206.6833 |  | 26 | 2045 | 0.062963 | 4.5588 | 14.7882 | 0.1746 | 12.6421 | 41.0096
27 | 2046 | 0.060625 | 75.2498 | 0.17051 | 211.6437 |  | 27 | 2046 | 0.060625 | 4.3895 | 14.2392 | 0 | 0 | 0
28 | 2047 | 0.058288 | 72.3487 | 0.1746 | 216.7231 |  | 28 | 2047 | 0.058288 | 4.2203 | 13.6903 | 0 | 0 | 0
29 | 2048 | 0.055951 | 69.4477 | 0 | 0 |  | 29 | 2048 | 0.055951 | 4.0511 | 13.1413 | 0 | 0 | 0
30 | 2049 | 0 | 0 | 0 | 0 |  | 30 | 2049 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2050 | 0 | 0 | 0 | 0 |  | 31 | 2050 | 0 | 0 | 0 | 0 | 0 | 0
32 | 2051 | 0 | 0 | 0 | 0 |  | 32 | 2051 | 0 | 0 | 0 | 0 | 0 | 0
33 | 2052 | 0 | 0 | 0 | 0 |  | 33 | 2052 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2053 | 0 | 0 | 0 | 0 |  | 34 | 2053 | 0 | 0 | 0 | 0 | 0 | 0
35 | 2054 | 0 | 0 | 0 | 0 |  | 35 | 2054 | 0 | 0 | 0 | 0 | 0 | 0
36 | 2055 | 0 | 0 | 0 | 0 |  | 36 | 2055 | 0 | 0 | 0 | 0 | 0 | 0
37 | 2056 | 0 | 0 | 0 | 0 |  | 37 | 2056 | 0 | 0 | 0 | 0 | 0 | 0
38 | 2057 | 0 | 0 | 0 | 0 |  | 38 | 2057 | 0 | 0 | 0 | 0 | 0 | 0
39 | 2058 | 0 | 0 | 0 | 0 |  | 39 | 2058 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ----- |  | ----- |  |  |  |  | ----- |  |  | ----
|  | NOMINAL | 2965.4288 |  | 4135.9808 |  |  |  | NOMINAL | 172.982 |  |  | 241.2637
|  | NPV | 1324.0819 |  | 1537.9461 |  |  |  | NPV | 77.2375 |  |  | 102.8659