## Fuel
Fuel Values from Table 1 Provided by Resource Planning
|  | REDUCED KWH | REPLACE. | Carbon
| UTIL AVG | PROGRAM | FUEL COST
| SYS. FUEL | MARGINAL | OF AVOIDED
| ADJ. COST | FUEL COST | GENERATOR |  |  |  | System average $/MWh |  | Total marginal $/MWh |  | Replacement fuel average system $/MWh (Future Total $/MWh
| (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) |  |  | Conversion to cents per kWh and copy and paste |  | Conversion to cents per kWh and copy and paste |  | Conversion to cents per kWh and copy and paste
2020 | 2.4346 | 2.9007 | 2.8789 | 0 | Change first year to base year | 2020 | 24.3461 | 2.4346 | 29.0071 | 2.9007 | 28.7892 | 2.8789
2021 | 2.5505 | 2.8771 | 3.0378 | 0 |  |  | 25.5048 | 2.5505 | 28.7712 | 2.8771 | 30.3778 | 3.0378
2022 | 2.6444 | 2.9694 | 3.1562 | 0 |  |  | 26.4443 | 2.6444 | 29.6938 | 2.9694 | 31.5623 | 3.1562
2023 | 2.6228 | 3.0912 | 3.1726 | 0 |  |  | 26.2275 | 2.6228 | 30.9119 | 3.0912 | 31.7263 | 3.1726
2024 | 2.7715 | 3.2127 | 3.3146 | 0 |  |  | 27.7152 | 2.7715 | 32.1266 | 3.2127 | 33.1455 | 3.3146
2025 | 2.9306 | 3.4494 | 3.4459 | 0 |  |  | 29.306 | 2.9306 | 34.4943 | 3.4494 | 34.459 | 3.4459
2026 | 3.0631 | 3.5601 | 3.5576 | 0 |  |  | 30.631 | 3.0631 | 35.6007 | 3.5601 | 35.5755 | 3.5576
2027 | 3.2435 | 3.7826 | 3.7168 | 0 |  |  | 32.4346 | 3.2435 | 37.8256 | 3.7826 | 37.1679 | 3.7168
2028 | 3.5506 | 4.1915 | 4.0002 | 0 |  |  | 35.506 | 3.5506 | 41.9151 | 4.1915 | 40.0025 | 4.0002
2029 | 3.7315 | 4.4906 | 4.1758 | 0 |  |  | 37.315 | 3.7315 | 44.9064 | 4.4906 | 41.758 | 4.1758
2030 | 4.0657 | 5.0158 | 4.4863 | 0 |  |  | 40.6566 | 4.0657 | 50.158 | 5.0158 | 44.8628 | 4.4863
2031 | 4.2058 | 4.9971 | 4.5978 | 0 |  |  | 42.0581 | 4.2058 | 49.9714 | 4.9971 | 45.9784 | 4.5978
2032 | 4.5059 | 5.4614 | 4.8738 | 0 |  |  | 45.059 | 4.5059 | 54.6141 | 5.4614 | 48.7376 | 4.8738
2033 | 4.6004 | 5.8241 | 4.9849 | 0 |  |  | 46.0041 | 4.6004 | 58.241 | 5.8241 | 49.8492 | 4.9849
2034 | 4.9042 | 6.0953 | 5.3066 | 0 |  |  | 49.0425 | 4.9042 | 60.9529 | 6.0953 | 53.0658 | 5.3066
2035 | 5.1129 | 6.713 | 5.51 | 0 |  |  | 51.1291 | 5.1129 | 67.1303 | 6.713 | 55.1005 | 5.51
2036 | 5.2848 | 6.6305 | 5.6211 | 0 |  |  | 52.8477 | 5.2848 | 66.3047 | 6.6305 | 56.2114 | 5.6211
2037 | 5.5808 | 7.0768 | 5.9258 | 0 |  |  | 55.8078 | 5.5808 | 70.768 | 7.0768 | 59.258 | 5.9258
2038 | 5.7122 | 7.1036 | 6.0486 | 0 |  |  | 57.122 | 5.7122 | 71.036 | 7.1036 | 60.4856 | 6.0486
2039 | 5.9311 | 7.111 | 6.3 | 0 |  |  | 59.3114 | 5.9311 | 71.1096 | 7.111 | 62.9999 | 6.3
2040 | 5.9994 | 7.6517 | 6.2928 | 0 |  |  | 59.9936 | 5.9994 | 76.5172 | 7.6517 | 62.9279 | 6.2928
2041 | 6.2973 | 7.8807 | 6.6911 | 0 |  |  | 62.9728 | 6.2973 | 78.8067 | 7.8807 | 66.9109 | 6.6911
2042 | 6.5926 | 8.4253 | 7.0452 | 0 |  |  | 65.9265 | 6.5926 | 84.2527 | 8.4253 | 70.4523 | 7.0452
2043 | 6.7828 | 8.6253 | 7.3416 | 0 |  |  | 67.828 | 6.7828 | 86.2527 | 8.6253 | 73.4159 | 7.3416
2044 | 6.683 | 8.2933 | 7.2669 | 0 |  |  | 66.8298 | 6.683 | 82.9329 | 8.2933 | 72.6692 | 7.2669
2045 | 6.9426 | 8.6795 | 7.4645 | 0 |  |  | 69.4259 | 6.9426 | 86.7946 | 8.6795 | 74.6447 | 7.4645
2046 | 7.185 | 8.825 | 7.687 | 0 |  |  | 71.8501 | 7.185 | 88.2504 | 8.825 | 76.8699 | 7.687
2047 | 7.1737 | 8.9505 | 7.6738 | 0 |  |  | 71.7367 | 7.1737 | 89.5052 | 8.9505 | 76.7381 | 7.6738
2048 | 7.174 | 8.951 | 7.674 | 0 |  |  | 71.74 | 7.174 | 89.51 | 8.951 | 76.74 | 7.674
2049 | 7.174 | 8.951 | 7.674 | 0 |  |  | 71.74 | 7.174 | 89.51 | 8.951 | 76.74 | 7.674
2050 | 0 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0
2054 | 0 | 0 | 0 | 0
2055 | 0 | 0 | 0 | 0
2056 | 0 | 0 | 0 | 0
2057 | 0 | 0 | 0 | 0
2058 | 0 | 0 | 0 | 0

## Spending Curve
[7 empty] | ACCUM. | BOOK
|  | Spending Curve |  | CONSTR. |  | ACCUM. | CONSTR. | VALUE
|  |  | YEAR | EXPEND. | AFUDC | AFUDC | EXPEND. | NOT CLOSED
|  | 19.51% | 2020 | 25757 | 832 | 832 | 25757 | 26589
|  | 55.94% | 2021 | 73851 | 4049 | 4881 | 99608 | 77900
|  | 24.55% | 2022 | 32410 | 7482 | 12363 | 132018 | 39892
|  |  | 2023 | 0 | 0 | 0 | 0 | 0
| Check | 100% |  |  |  | 12363 | 132018 | 144381
|  | Year 1 | 0.1951 | 109.2942 | 3.6332 |  |  | 112.8246
|  | Year 2 | 0.5594 | 313.3706 | 17.6812 |  |  | 330.5516
|  | Year 3 | 0.2455 | 137.5248 | 32.6725 |  |  | 169.273
|  | Year 4 |  | 0 | 0 |  |  | 0
|  |  |  | 560.1895 |  |  |  | 612.6492
Spending for Avoided Unit Tab on replacement fuel (from Resource Planning)
7FA.05 CT
Three years construction for 2023 unit
| 7FA.05 CT | 2020 | 2021 | 2022 |  |  | Winter Capacity |  | 245000
| 1st year | 832 | 0 | 0 |  | Check | Summer Capacity |  | 229000
| 2nd year | 0 | 4049 | 0 |  |  | Average Capacity |  | 235666.6667 | uses 7 by 5 for summer winter methodology
| 3rd year | 0 | 0 | 7482 | [5 empty] | Check formula if 7x5 changes
| 4th year | 0 | 0 | 0
| 5th year | 0 | 0 | 0
| 6th year | 0 | 0 | 0
| 7th year | 0 | 0 | 0 | [5 empty] | Feed F11B
| 8th year | 0 | 0 | 0 | Cummulative AFUDC
| Total AFUDC | 832 | 4049 | 7482 | 12363 |  |  | Check
| 7FA.05 CT | 2020 | 2021 | 2022
| 1st year | 25757 | 0 | 0
| 2nd year | 0 | 73851 | 0
| 3rd year | 0 | 0 | 32410
| 4th year | 0 | 0 | 0 | Check
| 5th year | 0 | 0 | 0
| 6th year | 0 | 0 | 0
| 7th year | 0 | 0 | 0
| 8th year | 0 | 0 | 0 | Cummulative Cap Ex
| Total Cap Ex | 25757 | 73851 | 32410 | 132018
144381
Total

## T&D Costs
Inflation Rate | 2.8%
| Data Provided | Base Year
| 2020 | 2020
Avoided Transmission Cost | 11.24 | 34.9
Avoided Distribution Cost | 54.63 | 82.37
O&M Escalation rate | 2.4% | 2020
Transmission Fixed O&M Costs |  | 2.78
Distribution Fixed O&M Costs |  | 11.34

## EUE_Line Losses
EUE
Summer | 79.59%
Winter | 20.41%
Line Losses
Gen KW
| Residential | Commercial
kW | 7.3 | 7
kWh | 5.6 | 5.2
Residential
Forced Outage Rate | 0.034 | 0.966
Line Loss | 7.3% | 0.927
Multiplier | 0.89548
Commercial
Forced Outage Rate | 0.034 | 0.966
Line Loss | 7% | 0.93
Multiplier | 0.89838
1.8968 | Residential
1.8906 | Commercial

## Revenue Requirements
Generation
| Comb. Cycle | Tran & Dist
| Rev Reqm't | Rev Reqm't | See Column N (K Factor Test)
| K FACTORS | K FACTORS
2023 | 0.13759 | 0.13759
2024 | 0.13353 | 0.13353
2025 | 0.12904 | 0.12904
2026 | 0.12477 | 0.12477
2027 | 0.12069 | 0.12069
2028 | 0.11679 | 0.11679
2029 | 0.11301 | 0.11301
2030 | 0.10927 | 0.10927
2031 | 0.10552 | 0.10552
2032 | 0.10178 | 0.10178
2033 | 0.098037 | 0.098037
2034 | 0.094294 | 0.094294
2035 | 0.090552 | 0.090552
2036 | 0.086809 | 0.086809
2037 | 0.083066 | 0.083066
2038 | 0.079674 | 0.079674
2039 | 0.076986 | 0.076986
2040 | 0.074649 | 0.074649
2041 | 0.072311 | 0.072311
2042 | 0.069974 | 0.069974
2043 | 0.067637 | 0.067637
2044 | 0.0653 | 0.0653
2045 | 0.062963 | 0.062963
2046 | 0.060625 | 0.060625
2047 | 0.058288 | 0.058288
2048 | 0.055951 | 0.055951
2049 | 0 | 0
2050 | 0 | 0
2051 | 0 | 0
2052 | 0 | 0
2053 | 0 | 0

## Title Results Update
ECONOMIC LIFE & K FACTORS
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS
II. | (4) K FACTOR FOR GENERATION | 1.5213
II. | (5) K FACTOR FOR T & D | 1.5213
UTILITY & CUSTOMER COSTS
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | %
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.3 | %
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.3 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0708
III. | (13)* UTILITY AFUDC RATE | 0.0646
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | %
AVOIDED GENERATOR, TRANS. & DIST COSTS
IV. | (1) BASE YEAR | 2020
IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2023
IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2021
IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 526.3 | $/KW
IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 34.9 | $/KW
IV. | (6) BASE YEAR AVOIDED DISTRIBUTION COST | 82.37 | $/KW
IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 2.4 | %
IV. | (8) GENERATOR FIXED O & M COST | 5.83 | $/KW/YR
IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | %
IV. | (10) TRANSMISSION FIXED O & M COST | 2.78 | $/KW/YR
IV. | (11) DISTRIBUTION FIXED O & M COST | 11.34 | $/KW/YR
IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.21 | CENTS/KWH | 0.2
IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
IV. | (15) GENERATOR CAPACITY FACTOR | 9.1 | % | See Table1 - column j
IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 3.75 | CENTS/KWH
IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 4.54 | % | See Table1
IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %

## Rates
|  |  | Energy | Demand
|  | Residential | Commercial GSD Secondary kWh | Commercial GSD Secondary kW
| Base Rate | 5.3583 | 1.596 | 0
| Demand Charge | 0 | 0 | 10.59
| Fuel | 0 | 0 | 0
| ECCR | 0.271 | 0 | 0.96
| Capacity | 0.085 | 0 | 0.32
| ECRC | 0.222 | 0.222 | 0
Energy | 1.818 | 5.9363 | 1.818 | 11.87
Demand | 10.0895

## Input
Answer questions 1 thru 16 to complete evaluation. Press RUN for results. (See Title & Results). |  |  |  | Do Not Print this page
1 | Program Title | ENERGY STAR Certified Home
2 | Demand & Energy Savings
| Winter kW | 0.60051
| Summer kW | 1.9801
| kWh | 5378.259
3 | Switch (1=Conservation, 0=Load Management) | 1
4 | Switch (1=Residential, 0=Commercial) | 1 |  |  | avoided unit comes online in 2020
ADJUSTED
5 | Participation | Annual |  |  |  |  | Cumulative | CUMULATIVE
|  | Total Partic. |  |  |  |  | Total Partic. | PARTICIPATING
| YEAR | Customers |  |  |  | YEAR | Customers | CUSTOMERS
| 2020 | 1000 |  |  |  | 2020 | 1000 | 1000
| 2021 | 1000 |  |  |  | 2021 | 2000 | 2000
| 2022 | 1000 |  |  |  | 2022 | 3000 | 3000
| 2023 | 0 |  |  |  | 2023 | 3000 | 3000
| 2024 | 0 |  |  |  | 2024 | 3000 | 3000
| 2025 | 0 |  |  |  | 2025 | 3000 | 3000
| 2026 | 0 |  |  |  | 2026 | 3000 | 3000
| 2027 | 0 |  |  |  | 2027 | 3000 | 3000
| 2028 | 0 |  |  |  | 2028 | 3000 | 3000
| 2029 | 0 |  |  |  | 2029 | 3000 | 3000
| 2030 | 0 |  |  |  | 2030 | 3000 | 3000
| 2031 | 0 |  |  |  | 2031 | 3000 | 3000
| 2032 | 0 |  |  |  | 2032 | 3000 | 3000
| 2033 | 0 |  |  |  | 2033 | 3000 | 3000
| 2034 | 0 |  |  |  | 2034 | 3000 | 3000
[6 empty] | 2035 | 3000 | 3000
[6 empty] | 2036 | 3000 | 3000
6 | Free Riders | 0% |  |  |  | 2037 | 3000 | 3000
7 | Study Period for Conservation Program | 25 | Years |  |  | 2038 | 3000 | 3000
8 | Utility Non Recurring Cost Per Customer | 25 | $/CUST |  |  | 2039 | 3000 | 3000
9 | Utility Recurring Cost Per Customer (Load Management) | 0 | $/CUST/YR |  |  | 2040 | 3000 | 3000
10 | Customer Equipment Cost | 4987.25 | $/CUST |  |  | 2041 | 3000 | 3000
11 | Customer O & M Cost | 0 | $/CUST/YR |  |  | 2042 | 3000 | 3000
12 | Customer Tax Credit Per Installation | 0 | $/CUST |  |  | 2043 | 3000 | 3000
13 | Increased Supply Costs | 0 | $/CUST/YR |  |  | 2044 | 3000 | 3000
14 | Utility Non Recurring Rebate/Incentive | 4090.05 | $/CUST |  |  | 2045 | 3000 | 3000
15 | Utility Recurring Rebate/Incentive (Load Management) | 0 | $/CUST/YR
16 | Diversity and Annual Demand | 1
Adjustment Factor for Customer Bill:
See Participation C,D,E,F 73
See Participation F_22 F5,6

## Title_RESULTS
|  | INPUT DATA - PART 1 |  |  |  | PSC FORM CE 1.1
|  | PROGRAM TITLE: | ENERGY STAR Certified Home |  |  | PAGE 1 OF 1
[6 empty] | RUN DATE: | 2026-07-29 00:19
| PROGRAM DEMAND SAVINGS & LINE LOSSES |  |  |  | AVOIDED GENERATOR, TRANS. & DIST COSTS
I. | (1) CUSTOMER KW REDUCTION AT THE METER | 1.9801 | KW /CUST | IV. | (1) BASE YEAR | 2020
I. | (2) GENERATOR KW REDUCTION PER CUSTOMER | 1.8968 | KW GEN/CUST | IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2023
I. | (3) KW LINE LOSS PERCENTAGE | 7.3 | % | IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2021
I. | (4) GENERATION KWH REDUCTION PER CUSTOMER | 5697.3083 | KWH/CUST/YR | IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 526.3 | $/KW
I. | (5) KWH LINE LOSS PERCENTAGE | 5.6 | % | IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 34.9 | $/KW
I. | (6) GROUP LINE LOSS MULTIPLIER | 1 |  | IV. | (6) BASE YEAR DISTRIBUTION COST | 82.37 | $/KW
I. | (7) CUSTOMER KWH PROGRAM INCREASE AT METER | 0 | KWH/CUST/YR | IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 2.4 | %
I. | (8)* CUSTOMER KWH REDUCTION AT METER | 5378.259 | KWH/CUST/YR | IV. | (8) GENERATOR FIXED O & M COST | 5.83 | $/KW/YR
|  |  |  | IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | %
| ECONOMIC LIFE & K FACTORS |  |  | IV. | (10) TRANSMISSION FIXED O & M COST | 2.78 | $/KW/YR
II. | (1) STUDY PERIOD FOR CONSERVATION PROGRAM | 25 | YEARS | IV. | (11) DISTRIBUTION FIXED O & M COST | 11.34 | $/KW/YR
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS | IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS | IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.21 | CENTS/KWH
II. | (4) K FACTOR FOR GENERATION | 1.5213 |  | IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
II. | (5) K FACTOR FOR T & D | 1.5213 |  | IV. | (15) GENERATOR CAPACITY FACTOR | 9.1 | %
| (6)* SWITCH REV REQ(0) OR VAL-OF-DEF (1) | 0 |  | IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 3.75 | CENTS/KWH
|  |  |  | IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 4.54 | %
|  |  |  | IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
| UTILITY & CUSTOMER COSTS |  |  | IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %
III. | (1) UTILITY NONRECURRING COST PER CUSTOMER | 25 | $/CUST
III. | (2) UTILITY RECURRING COST PER CUSTOMER | 0 | $/CUST/YR
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | %
III. | (4) CUSTOMER EQUIPMENT COST | 4987.25 | $/CUST |  | NON-FUEL ENERGY AND DEMAND CHARGES
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.3 | % | V. | (1) NON-FUEL COST IN CUSTOMER BILL | 5.9363 | CENTS/KWH
III. | (6) CUSTOMER O & M COST | 0 | $/CUST/YR | V. | (2) NON-FUEL ESCALATION RATE | 1 | %
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.3 | % | V. | (3) CUSTOMER DEMAND CHARGE PER KW | 0 | $/KW/MO
III. | (8)* CUSTOMER TAX CREDIT PER INSTALLATION | 0 | $/CUST | V. | (4) DEMAND CHARGE ESCALATION RATE | 1 | %
III. | (9)* CUSTOMER TAX CREDIT ESCALATION RATE | 0 | % | V. | (5)* DIVERSITY and ANNUAL DEMAND ADJUSTMENT
III. | (10)* INCREASED SUPPLY COSTS | 0 | $/CUST/YR |  | FACTOR FOR CUSTOMER BILL | 1
III. | (11)* SUPPLY COSTS ESCALATION RATE | 0 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0708
III. | (13)* UTILITY AFUDC RATE | 0.0646 |  |  | CALCULATED BENEFITS AND COSTS
III. | (14)* UTILITY NON RECURRING REBATE/INCENTIVE | 4090.05 | $/CUST |  | (1)* TRC TEST - BENEFIT/COST RATIO | 1.0997
III. | (15)* UTILITY RECURRING REBATE/INCENTIVE | 0 | $/CUST/YR |  | (2)* PARTICIPANT NET BENEFITS (NPV) | 15766.6208
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | % |  | (3)* RIM TEST - BENEFIT/COST RATIO | 0.68398
END OF EDITING AREA
YEARLY INPUT DATA: GO TO H5..Q76 & INPUT (Page 2)
PLEASE NOTE: UTILITY NON-LEVELIZED REVENUE REQUIREMENT
FACTORS AT RANGE NAMES GEN_RRTBL AND TRAN_RRTBL.

## Partcipation
[6 empty] | See N16 for Rev Requirements |  | Do Not Print
PROGRAM TITLE:
2026-07-29 00:19
VI. YEARLY INPUT DATA
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
| CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
| TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 2.8789 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0.44431
2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 3.0378 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0.48729
2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 3.1562 | 1 | 1 | 0 | 0 | 0 | 3.1238 |  | 0.5118
2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 3.1726 | 1 | 1 | 0 | 0 | 0 | 3.28 |  | 0.54987
2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 3.3146 | 1 | 1 | 0 | 0 | 0 | 3.444 |  | 0.54304
2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 3.4459 | 1 | 1 | 0 | 0 | 0 | 3.6162 |  | 0.51531
2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 3.5576 | 1 | 1 | 0 | 0 | 0 | 3.797 |  | 0.49445
2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 3.7168 | 1 | 1 | 0 | 0 | 0 | 3.9869 |  | 0.47333
2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 4.0002 | 1 | 1 | 0 | 0 | 0 | 4.1862 |  | 0.44964
2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 4.1758 | 1 | 1 | 0 | 0 | 0 | 4.3955 |  | 0.4443
2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 4.4863 | 1 | 1 | 0 | 0 | 0 | 4.6153 |  | 0.42062
2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 4.5978 | 1 | 1 | 0 | 0 | 0 | 4.8461 |  | 0.39203
2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 4.8738 | 1 | 1 | 0 | 0 | 0 | 5.0884 |  | 0.36786
2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 4.9849 | 1 | 1 | 0 | 0 | 0 | 5.3428 |  | 0.3845
2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 5.3066 | 1 | 1 | 0 | 0 | 0 | 5.6099 |  | 0.40233
2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 5.51 | 1 | 1 | 0 | 0 | 0 | 5.8904 | 2010 Carbon, not used in 2015 | 0.39714
2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 5.6211 | 1 | 1 | 0 | 0 | 0 | 6.1849 |  | 0.33637
2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 5.9258 | 1 | 1 | 0 | 0 | 0 | 6.4942 |  | 0.34503
2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 6.0486 | 1 | 1 | 0 | 0 | 0 | 6.8189 |  | 0.33636
2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 6.3 | 1 | 1 | 0 | 0 | 0 | 7.1598 |  | 0.36885
2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 6.2928 | 1 | 1 | 0 | 0 | 0 | 7.5178 |  | 0.29344
2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 6.6911 | 1 | 1 | 0 | 0 | 0 | 7.8937 |  | 0.39381
2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 7.0452 | 1 | 1 | 0 | 0 | 0 | 8.2884 |  | 0.45259
2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 7.3416 | 1 | 1 | 0 | 0 | 0 | 8.7028 |  | 0.55879
2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 7.2669 | 1 | 1 | 0 | 0 | 0 | 9.138 |  | 0.58395
2045 | 3000 | 3000 | 6.9426 | 8.6795 | 0 | 7.4645 | 1 | 1 | 0 | 0 | 0 | 9.5949 |  | 0.52188
2046 | 0 | 0 | 7.185 | 8.825 | 0 | 7.687 | 1 | 1 | 0 | 0 | 0 | 10.0746 |  | 0.50198
2047 | 0 | 0 | 7.1737 | 8.9505 | 0 | 7.6738 | 1 | 1 | 0 | 0 | 0 | 10.5783 |  | 0.50014
2048 | 0 | 0 | 7.174 | 8.951 | 0 | 7.674 | 1 | 1 | 0 | 0 | 0 | 11.1072 |  | 0.5
2049 | 0 | 0 | 7.174 | 8.951 | 0 | 7.674 | 1 | 1 | 0 | 0 | 0 | 11.6626 |  | 0.5
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2054 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2055 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2056 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2057 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2058 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2
1
Unit Size of Avoided Generation Unit | (2): 5690
|  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  |  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
|  | CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
|  | TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
| YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | 0 | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
| 2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 0 | 1 | 1 | 0 | 0 | 2.02
| 2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 0 | 1 | 1 | 0 | 0 | 2.1
| 2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 0 | 1 | 1 | 0 | 0 | 2.4
| 2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 0 | 1 | 1 | 0 | 0 | 2.41
| 2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 0 | 1 | 1 | 0 | 0 | 2.79
| 2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 0 | 1 | 1 | 0 | 0 | 3.05
| 2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 0 | 1 | 1 | 0 | 0 | 3.18
| 2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 0 | 1 | 1 | 0 | 0 | 3.07
| 2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 0 | 1 | 1 | 0 | 0 | 3.49
| 2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 0 | 1 | 1 | 0 | 0 | 3.53
| 2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 0 | 1 | 1 | 0 | 0 | 3.81
| 2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 0 | 1 | 1 | 0 | 0 | 4.29
| 2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 0 | 1 | 1 | 0 | 0 | 4.43
| 2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 0 | 1 | 1 | 0 | 0 | 4.61
| 2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 0 | 1 | 1 | 0 | 0 | 5.23
| 2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 0 | 1 | 1 | 0 | 0 | 5.38
| 2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 0 | 1 | 1 | 0 | 0 | 5.63
| 2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 0 | 1 | 1 | 0 | 0 | 6.18
| 2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 0 | 1 | 1 | 0 | 0 | 6.57
| 2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 0 | 1 | 1 | 0 | 0 | 6.76
| 2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 0 | 1 | 1 | 0 | 0 | 7.26
| 2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 0 | 1 | 1 | 0 | 0 | 7.3
| 2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 0 | 1 | 1 | 0 | 0 | 7.35
| 2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 0 | 1 | 1 | 0 | 0 | 8.21
| 2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 0 | 1 | 1 | 0 | 0 | 8.04
| 2045 | 3000 | 3000 | 6.9426 | 8.6795 | 0 | 0 | 1 | 1 | 0 | 0 | 8.31
| 2046 | 0 | 0 | 7.185 | 8.825 | 0 | 0 | 1 | 1 | 0 | 0 | 9.05
| 2047 | 0 | 0 | 7.1737 | 8.9505 | 0 | 0 | 1 | 1 | 0 | 0 | 8.99
| 2048 | 0 | 0 | 7.174 | 8.951 | 0 | 0 | 1 | 1 | 0 | 0 | 9.37
| 2049 | 0 | 0 | 7.174 | 8.951 | 0 | 0 | 1 | 1 | 0 | 0 | 9.75
| 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2054 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2055 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2056 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2057 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2058 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0

## f-11B
|  | CALCULATION OF AFUDC AND IN-SERVICE COST OF PLANT | [7 empty] | PSC FORM CE 1.1B
|  |  |  | PLANT: | 2023 | Avoided Unit |  |  |  | PAGE 1 OF 1
2026-07-29 00:19
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
| NO. YEARS | PLANT | CUMULATIVE |  |  | CUMULATIVE | CUMULATIVE | YEARLY | INCREMENTAL | CUMULATIVE | <-- INPUTS FOR OTHER COSTS & BENEFITS - EXTERNALLY CALC., FORMS 2.3, 2.4, & 2.5 -->
| BEFORE | ESCALATION | ESCALATION | YEARLY | ANNUAL | AVERAGE | SPENDING | TOTAL | YEAR-END | YEAR-END |  | (1) | (2) | (3) | (4) | (5) | (6)
| INSERVICE | RATE | FACTOR | EXPENDITURE | SPENDING | SPENDING | WITH AFUDC | AFUDC | BOOK VALUE | BOOK VALUE |  | (1): <-- FORM 2.3 --->; (3): <---- FORM 2.4 --->; (5): <---- FORM 2.5 ---->
YEAR |  | (%) |  | (%) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | YEAR | OTHER COST | OTHER BEN | OTH COST | OTHER BENEFITS | COSTS | BENEFITS
2011 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ($000) | ($000) | ($000) | ($000) | ($000) | ($000)
2012 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0
2014 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0
2015 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0
2016 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2024 | 0 | 0 | 0 | 0 | 0 | 0
2017 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2025 | 0 | 0 | 0 | 0 | 0 | 0
2018 | -5 | 0.024 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0
2019 | -4 | 0.024 | 1.024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2027 | 0 | 0 | 0 | 0 | 0 | 0
2020 | -3 | 0.024 | 1.0486 | 0.1951 | 112.8246 | 109.2942 | 112.8246 | 3.5304 | 112.8246 | 112.8246 | 2028 | 0 | 0 | 0 | 0 | 0 | 0
2021 | -2 | 0.024 | 1.0737 | 0.5594 | 330.5516 | 313.3706 | 330.5516 | 17.181 | 330.5516 | 443.3762 | 2029 | 0 | 0 | 0 | 0 | 0 | 0
2022 | -1 | 0.024 | 1.0995 | 0.2455 | 169.273 | 137.5248 | 169.273 | 31.7482 | 169.273 | 612.6492 | 2030 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0 | 0.024 | 1.1259 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2031 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2032 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2033 | 0 | 0 | 0 | 0 | 0 | 0
IN-SERVICE YEAR = |  | 2023 | [6 empty] | 612.6492 |  | 2034 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2035 | 0 | 0 | 0 | 0 | 0 | 0
PLANT COSTS (2023$) |  | 526.3 | [8 empty] | 2036 | 0 | 0 | 0 | 0 | 0 | 0
AFUDC RATE: |  | 6.46% | [8 empty] | 2037 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2038 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2039 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2040 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2041 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2042 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2043 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2044 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2045 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2046 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2047 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2048 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2049 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2050 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2051 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2052 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2053 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2054 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2055 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2056 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2057 | 0 | 0 | 0 | 0 | 0 | 0
PSC FORM CE 1.1
PAGE 1 OF 1 | bar: (2)
[11 empty] | Run date: | (1): 37062
[12 empty] | 37062.5552 | *
*
2001 | bar: (2)
2004
16.2994

## Sheet3(F_21)
|  |  | AVOIDED GENERATION UNIT BENEFITS | [5 empty] | PSC FORM CE 2.1
|  |  | PROGRAM: | ENERGY STAR Certified Home |  |  |  |  | Page 1 of 1
2026-07-29 00:19
|  | * UNIT SIZE OF AVOIDED GENERATION UNIT = |  |  |  | 5690 | KW
|  | * INSERVICE COSTS OF AVOIDED GEN. UNIT (000) = |  |  |  | 3485.9741
(1) | (1A)* | (2) | (2A)* | (3) | (4) | (5) | (6) | (6A)* | (7)
|  | AVOIDED | AVOIDED | AVOIDED | AVOIDED | AVOIDED |  | AVOIDED
| REVENUE | GEN UNIT | ANNUAL | UNIT | GEN UNIT | GEN UNIT |  | PURCHASED | AVOIDED
| REQUIREMENT | CAPACITY | UNIT | FIXED | VARIABLE | FUEL | REPLACEMENT | CAPACITY | GEN UNIT
| FACTOR | COST | KWH GEN | O&M COST | O&M COST | COST | FUEL COST | COSTS | BENEFITS
YEAR |  | $(000) | (000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0.13759 | 479.6375 | 4536.0437 | 35.6205 | 10.2281 | 194.3372 | 143.9118 | 0 | 575.9116
2024 | 0.13353 | 465.4738 | 4536.0437 | 36.4754 | 10.4736 | 203.1601 | 150.3496 | 0 | 565.2334
2025 | 0.12904 | 449.8373 | 4536.0437 | 37.3508 | 10.725 | 212.3836 | 156.3077 | 0 | 553.989
2026 | 0.12477 | 434.9496 | 4536.0437 | 38.2472 | 10.9824 | 222.0258 | 161.3721 | 0 | 544.833
2027 | 0.12069 | 420.7358 | 4536.0437 | 39.1652 | 11.246 | 232.1058 | 168.5951 | 0 | 534.6576
2028 | 0.11679 | 407.129 | 4536.0437 | 40.1051 | 11.5159 | 242.6434 | 181.4529 | 0 | 519.9405
2029 | 0.11301 | 393.9457 | 4536.0437 | 41.0677 | 11.7922 | 253.6594 | 189.416 | 0 | 511.049
2030 | 0.10927 | 380.8982 | 4536.0437 | 42.0533 | 12.0752 | 265.1755 | 203.4997 | 0 | 496.7026
2031 | 0.10552 | 367.8507 | 4536.0437 | 43.0626 | 12.3651 | 277.2145 | 208.5601 | 0 | 491.9327
2032 | 0.10178 | 354.8031 | 4536.0437 | 44.0961 | 12.6618 | 289.8 | 221.0758 | 0 | 480.2852
2033 | 0.098037 | 341.7556 | 4536.0437 | 45.1544 | 12.9657 | 302.957 | 226.118 | 0 | 476.7146
2034 | 0.094294 | 328.708 | 4536.0437 | 46.2381 | 13.2769 | 316.7112 | 240.7087 | 0 | 464.2255
2035 | 0.090552 | 315.6605 | 4536.0437 | 47.3478 | 13.5955 | 331.0899 | 249.9382 | 0 | 457.7554
2036 | 0.086809 | 302.6129 | 4536.0437 | 48.4841 | 13.9218 | 346.1214 | 254.9774 | 0 | 456.1628
2037 | 0.083066 | 289.5654 | 4536.0437 | 49.6477 | 14.2559 | 361.8353 | 268.797 | 0 | 446.5074
2038 | 0.079674 | 277.7431 | 4536.0437 | 50.8393 | 14.5981 | 378.2626 | 274.3652 | 0 | 447.0778
2039 | 0.076986 | 268.3708 | 4536.0437 | 52.0594 | 14.9484 | 395.4357 | 285.7705 | 0 | 445.0439
2040 | 0.074649 | 260.2233 | 4536.0437 | 53.3089 | 15.3072 | 413.3885 | 285.4439 | 0 | 456.784
2041 | 0.072311 | 252.0758 | 4536.0437 | 54.5883 | 15.6746 | 432.1564 | 303.5107 | 0 | 450.9843
2042 | 0.069974 | 243.9282 | 4536.0437 | 55.8984 | 16.0508 | 451.7763 | 319.5749 | 0 | 448.0787
2043 | 0.067637 | 235.7807 | 4536.0437 | 57.24 | 16.436 | 472.2869 | 333.0176 | 0 | 448.7259
2044 | 0.0653 | 227.6332 | 4536.0437 | 58.6137 | 16.8304 | 493.7287 | 329.6308 | 0 | 467.1753
NOMINAL |  | 7499.3182 | 99792.9603 | 1016.6638 | 291.9266 | 7088.2552 | 5156.3937 | 0 | 10739.7701
NPV |  | 3582.5139 |  | 415.4571 | 119.295 | 2737.8354 | 2010.5529 | 0 | 4844.5486
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet5(p_5)
| * WORKSHEET : DSM PROGRAM FUEL SAVINGS |  |  |  | WORKSHEET FOR FORM CE 2.2
| PROGRAM: | ENERGY STAR Certified Home |  |  | Page 1 of 1
2026-07-29 00:19
(1) | (2) | (3) | (4) | (5) | (6) | (7)
| REDUCTION |  | INCREASE |  | NET
| IN KWH | AVOIDED | IN KWH | INCREASED | AVOIDED | EFFECTIVE
| GENERATION | MARGINAL | GENERATION | MARGINAL | PROGRAM | PROGRAM
| NET NEW CUST | FUEL COST - | NET NEW CUST | FUEL COST - | FUEL | FUEL
| KWH | REDUCED KWH | KWH | INCREASE KWH | SAVINGS | SAVINGS
YEAR | (000) | $(000) | (000) | $(000) | $(000) | $(000)
2020 | 2848.6541 | 82.6312 | 0 | 0 | 82.6312 | 82.6312
2021 | 8545.9624 | 245.8772 | 0 | 0 | 245.8772 | 245.8772
2022 | 14243.2707 | 422.9363 | 0 | 0 | 422.9363 | 422.9363
2023 | 17091.9248 | 528.344 | 0 | 0 | 528.344 | 528.344
2024 | 17091.9248 | 549.106 | 0 | 0 | 549.106 | 549.106
2025 | 17091.9248 | 589.5745 | 0 | 0 | 589.5745 | 589.5745
2026 | 17091.9248 | 608.4849 | 0 | 0 | 608.4849 | 608.4849
2027 | 17091.9248 | 646.5125 | 0 | 0 | 646.5125 | 646.5125
2028 | 17091.9248 | 716.4106 | 0 | 0 | 716.4106 | 716.4106
2029 | 17091.9248 | 767.5367 | 0 | 0 | 767.5367 | 767.5367
2030 | 17091.9248 | 857.296 | 0 | 0 | 857.296 | 857.296
2031 | 17091.9248 | 854.1078 | 0 | 0 | 854.1078 | 854.1078
2032 | 17091.9248 | 933.4609 | 0 | 0 | 933.4609 | 933.4609
2033 | 17091.9248 | 995.4511 | 0 | 0 | 995.4511 | 995.4511
2034 | 17091.9248 | 1041.8016 | 0 | 0 | 1041.8016 | 1041.8016
2035 | 17091.9248 | 1147.3852 | 0 | 0 | 1147.3852 | 1147.3852
2036 | 17091.9248 | 1133.2753 | 0 | 0 | 1133.2753 | 1133.2753
2037 | 17091.9248 | 1209.5613 | 0 | 0 | 1209.5613 | 1209.5613
2038 | 17091.9248 | 1214.1426 | 0 | 0 | 1214.1426 | 1214.1426
2039 | 17091.9248 | 1215.3991 | 0 | 0 | 1215.3991 | 1215.3991
2040 | 17091.9248 | 1307.8261 | 0 | 0 | 1307.8261 | 1307.8261
2041 | 17091.9248 | 1346.9581 | 0 | 0 | 1346.9581 | 1346.9581
2042 | 17091.9248 | 1440.0402 | 0 | 0 | 1440.0402 | 1440.0402
2043 | 17091.9248 | 1474.224 | 0 | 0 | 1474.224 | 1474.224
2044 | 17091.9248 | 1417.4837 | 0 | 0 | 1417.4837 | 1417.4837
NOMINAL | 401660.2325 | 22745.8267 | 0 | 0 | 22745.8267 | 22745.8267
NPV: |  | 9043.3679 |  | 0 | 9043.3679 | 9043.3679
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet2(F_12)
|  |  | INPUT DATA -- PART 2 | [5 empty] | PSC FORM CE 1.2
|  |  | PROGRAM: | ENERGY STAR Certified Home |  |  |  |  | PAGE 1 OF 1
2026-07-29 00:19
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
UTILITY
AVERAGE
| CUMULATIVE | ADJUSTED | SYSTEM | AVOIDED | INCREASED |  | PROGRAM | PROGRAM | OTHER | OTHER
| TOTAL | CUMULATIVE | FUEL | MARGINAL | MARGINAL | REPLACEMENT | KW | KWH | COSTS | BENEFITS
| PARTICIPATING | PARTICIPATING | COSTS | FUEL COST | FUEL COST | FUEL COST | EFFECTIVENESS | EFFECTIVENESS |  | (CO2)
YEAR | CUSTOMERS | CUSTOMERS | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | FACTOR | FACTOR | ($000) | ($000)
2020 | 1000 | 1000 | 2.4346 | 2.9007 | 0 | 2.8789 | 1 | 1 | 0 | 0
2021 | 2000 | 2000 | 2.5505 | 2.8771 | 0 | 3.0378 | 1 | 1 | 0 | 0
2022 | 3000 | 3000 | 2.6444 | 2.9694 | 0 | 3.1562 | 1 | 1 | 0 | 0
2023 | 3000 | 3000 | 2.6228 | 3.0912 | 0 | 3.1726 | 1 | 1 | 0 | 0
2024 | 3000 | 3000 | 2.7715 | 3.2127 | 0 | 3.3146 | 1 | 1 | 0 | 0
2025 | 3000 | 3000 | 2.9306 | 3.4494 | 0 | 3.4459 | 1 | 1 | 0 | 0
2026 | 3000 | 3000 | 3.0631 | 3.5601 | 0 | 3.5576 | 1 | 1 | 0 | 0
2027 | 3000 | 3000 | 3.2435 | 3.7826 | 0 | 3.7168 | 1 | 1 | 0 | 0
2028 | 3000 | 3000 | 3.5506 | 4.1915 | 0 | 4.0002 | 1 | 1 | 0 | 0
2029 | 3000 | 3000 | 3.7315 | 4.4906 | 0 | 4.1758 | 1 | 1 | 0 | 0
2030 | 3000 | 3000 | 4.0657 | 5.0158 | 0 | 4.4863 | 1 | 1 | 0 | 0
2031 | 3000 | 3000 | 4.2058 | 4.9971 | 0 | 4.5978 | 1 | 1 | 0 | 0
2032 | 3000 | 3000 | 4.5059 | 5.4614 | 0 | 4.8738 | 1 | 1 | 0 | 0
2033 | 3000 | 3000 | 4.6004 | 5.8241 | 0 | 4.9849 | 1 | 1 | 0 | 0
2034 | 3000 | 3000 | 4.9042 | 6.0953 | 0 | 5.3066 | 1 | 1 | 0 | 0
2035 | 3000 | 3000 | 5.1129 | 6.713 | 0 | 5.51 | 1 | 1 | 0 | 0
2036 | 3000 | 3000 | 5.2848 | 6.6305 | 0 | 5.6211 | 1 | 1 | 0 | 0
2037 | 3000 | 3000 | 5.5808 | 7.0768 | 0 | 5.9258 | 1 | 1 | 0 | 0
2038 | 3000 | 3000 | 5.7122 | 7.1036 | 0 | 6.0486 | 1 | 1 | 0 | 0
2039 | 3000 | 3000 | 5.9311 | 7.111 | 0 | 6.3 | 1 | 1 | 0 | 0
2040 | 3000 | 3000 | 5.9994 | 7.6517 | 0 | 6.2928 | 1 | 1 | 0 | 0
2041 | 3000 | 3000 | 6.2973 | 7.8807 | 0 | 6.6911 | 1 | 1 | 0 | 0
2042 | 3000 | 3000 | 6.5926 | 8.4253 | 0 | 7.0452 | 1 | 1 | 0 | 0
2043 | 3000 | 3000 | 6.7828 | 8.6253 | 0 | 7.3416 | 1 | 1 | 0 | 0
2044 | 3000 | 3000 | 6.683 | 8.2933 | 0 | 7.2669 | 1 | 1 | 0 | 0

## Sheet4(F_22)
|  | AVOIDED T & D AND PROGRAM FUEL SAVINGS |  |  |  |  | PSC FORM CE 2.2
|  | PROGRAM: | ENERGY STAR Certified Home |  |  |  | Page 1 of 2
2026-07-29 00:19
|  | * INSERVICE COSTS OF AVOIDED TRANS. (000) = |  |  | 203.3469
|  | * INSERVICE COSTS OF AVOIDED DIST. (000) = |  |  | 501.04
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
| AVOIDED | AVOIDED |  | AVOIDED | AVOIDED
| TRANSMISSION | TRANSMISSION | TOTAL AVOIDED | DISTRIBUTION | DISTRIBUTION | TOTAL AVOIDED | PROGRAM
| CAPACITY | O&M | TRANSMISSION | CAPACITY | O&M | DISTRIBUTION | FUEL
| COST | COST | COST | COST | COST | COST | SAVINGS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 82.6312
2021 | 0 | 16.1986 | 16.1986 | 0 | 68.9789 | 68.9789 | 245.8772
2022 | 0 | 16.5873 | 16.5873 | 0 | 70.6344 | 70.6344 | 422.9363
2023 | 27.9786 | 16.9854 | 44.9641 | 68.9384 | 72.3296 | 141.2681 | 528.344
2024 | 27.1524 | 17.3931 | 44.5455 | 66.9027 | 74.0655 | 140.9682 | 549.106
2025 | 26.2403 | 17.8105 | 44.0508 | 64.6552 | 75.8431 | 140.4983 | 589.5745
2026 | 25.3719 | 18.238 | 43.6098 | 62.5154 | 77.6634 | 140.1788 | 608.4849
2027 | 24.5427 | 18.6757 | 43.2184 | 60.4725 | 79.5273 | 139.9997 | 646.5125
2028 | 23.749 | 19.1239 | 42.8729 | 58.5168 | 81.4359 | 139.9527 | 716.4106
2029 | 22.98 | 19.5829 | 42.5629 | 56.6219 | 83.3904 | 140.0123 | 767.5367
2030 | 22.2189 | 20.0528 | 42.2717 | 54.7466 | 85.3918 | 140.1384 | 857.296
2031 | 21.4578 | 20.5341 | 41.9919 | 52.8713 | 87.4412 | 140.3124 | 854.1078
2032 | 20.6967 | 21.0269 | 41.7236 | 50.9959 | 89.5397 | 140.5357 | 933.4609
2033 | 19.9356 | 21.5316 | 41.4672 | 49.1206 | 91.6887 | 140.8093 | 995.4511
2034 | 19.1745 | 22.0483 | 41.2228 | 47.2453 | 93.8892 | 141.1345 | 1041.8016
2035 | 18.4134 | 22.5775 | 40.9909 | 45.37 | 96.1426 | 141.5125 | 1147.3852
2036 | 17.6523 | 23.1194 | 40.7716 | 43.4946 | 98.45 | 141.9446 | 1133.2753
2037 | 16.8912 | 23.6742 | 40.5654 | 41.6193 | 100.8128 | 142.4321 | 1209.5613
2038 | 16.2016 | 24.2424 | 40.444 | 39.9201 | 103.2323 | 143.1524 | 1214.1426
2039 | 15.6548 | 24.8242 | 40.4791 | 38.573 | 105.7099 | 144.2829 | 1215.3991
2040 | 15.1796 | 25.42 | 40.5996 | 37.402 | 108.2469 | 145.6489 | 1307.8261
2041 | 14.7043 | 26.0301 | 40.7344 | 36.2309 | 110.8448 | 147.0758 | 1346.9581
2042 | 14.229 | 26.6548 | 40.8838 | 35.0599 | 113.5051 | 148.565 | 1440.0402
2043 | 13.7538 | 27.2945 | 41.0483 | 33.8888 | 116.2292 | 150.1181 | 1474.224
2044 | 13.2785 | 27.9496 | 41.2281 | 32.7178 | 119.0187 | 151.7365 | 1417.4837
NOMINAL | 437.4569 | 517.5758 | 955.0327 | 1077.8789 | 2204.0115 | 3281.8905 | 22745.8267
NPV: | 208.9784 | 227.7021 | 436.6805 | 514.9156 | 969.6319 | 1484.5475 | 9043.3679
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet6(p_6)
|  | * WORKSHEET: UTILITY COSTS AND PARTICIPANT COSTS AND REV LOSS/GAIN | [12 empty] | WORKSHEET FOR FORM CE 2.2
|  | PROGRAM: |  | ENERGY STAR Certified Home | [10 empty] | Page 2 of 2
2026-07-29 00:19
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18)
| <----- UTILITY PROGRAM COSTS & REBATES -------> | [5 empty] | <------------------ PARTICIPATING CUSTOMER COSTS & BENEFITS ---------------------->
|  |  | TOTAL |  |  | TOTAL | PARTIC. | PARTIC. | TOTAL | REDUCT. | RED. | RED. | EFFECT. | INC. | INC. | INC. | EFFECT.
| UTIL | UTIL | UTIL | UTIL | UTIL | REBATE/ | CUST | CUST | COSTS | IN | REV. | REV. | REV. | IN | REV. | REV. | REVENUE
| NONREC. | RECUR | PGM | NONREC. | RECUR. | INCENT. | EQUIP | O & M | PARTIC. | CUST. | - FUEL | NONFUEL | REDUCT. | CUST. | - FUEL | NONFUEL | INC.
| COSTS | COSTS | COSTS | REBATES | REBATES | COSTS | COSTS | COSTS | CUST | KWH | PORTION | PORTION | TO CUST | KWH | PORTION | PORTION | IN BILL
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | (000) | $(000) | $(000) | $(000) | (000) | $(000) |  | $(000)
2020 | 25 | 0 | 25 | 4090.05 | 0 | 4090.05 | 4987.25 | 0 | 4987.25 | 2689.1295 | 65.4699 | 159.6348 | 225.1047 | 0 | 0 | 0 | 0
2021 | 25.6 | 0 | 25.6 | 4090.05 | 0 | 4090.05 | 5101.9568 | 0 | 5101.9568 | 8067.3885 | 205.7575 | 483.6934 | 689.4509 | 0 | 0 | 0 | 0
2022 | 26.2144 | 0 | 26.2144 | 4090.05 | 0 | 4090.05 | 5219.3018 | 0 | 5219.3018 | 13445.6475 | 355.561 | 814.2173 | 1169.7783 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 423.1756 | 986.8313 | 1410.007 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 447.1781 | 996.6996 | 1443.8777 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 472.8455 | 1006.6666 | 1479.5121 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 494.2248 | 1016.7333 | 1510.9581 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 523.3252 | 1026.9006 | 1550.2259 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 572.8816 | 1037.1696 | 1610.0512 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 602.0686 | 1047.5413 | 1649.6099 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 655.985 | 1058.0168 | 1714.0018 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 678.5982 | 1068.5969 | 1747.1951 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 727.0169 | 1079.2829 | 1806.2998 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 742.2664 | 1090.0757 | 1832.3421 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 791.2892 | 1100.9765 | 1892.2657 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 824.9561 | 1111.9862 | 1936.9424 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 852.6866 | 1123.1061 | 1975.7927 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 900.4459 | 1134.3372 | 2034.7831 | 0 | 0 | 0 | 0
2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 921.6509 | 1145.6805 | 2067.3315 | 0 | 0 | 0 | 0
2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 956.9769 | 1157.1373 | 2114.1142 | 0 | 0 | 0 | 0
2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 967.9827 | 1168.7087 | 2136.6914 | 0 | 0 | 0 | 0
2041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 1016.0523 | 1180.3958 | 2196.4481 | 0 | 0 | 0 | 0
2042 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 1063.7089 | 1192.1998 | 2255.9086 | 0 | 0 | 0 | 0
2043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 1094.3893 | 1204.1218 | 2298.5111 | 0 | 0 | 0 | 0
2044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16134.777 | 1078.2834 | 1216.163 | 2294.4464 | 0 | 0 | 0 | 0
NOMINAL | 76.8144 | 0 | 76.8144 | 12270.15 | 0 | 12270.15 | 15308.5085 | 0 | 15308.5085 | 379167.2595 | 17434.7765 | 25606.8732 | 43041.6498 | 0 | 0 | 0 | 0
NPV | 71.7698 | 0 | 71.7698 | 11476.743 | 0 | 11476.743 | 14303.8027 | 0 | 14303.8027 |  | 7028.9016 | 11564.7789 | 18593.6805 |  | 0 | 0 | 0
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet7(F_23)
|  |  | TOTAL RESOURCE COST TESTS | [8 empty] | PSC FORM CE 2.3
|  |  | PROGRAM: | ENERGY STAR Certified Home | [7 empty] | Page 1 of 1
2026-07-29 00:19
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
CUMULATIVE
| INCREASED | UTILITY | PARTICIPANT |  |  |  |  | PROGRAM |  |  |  | DISCOUNTED
| SUPPLY | PROGRAM | PROGRAM | OTHER | TOTAL | AVOIDED | AVOIDED | FUEL | OTHER | TOTAL | NET | NET
| COSTS | COSTS | COSTS | COSTS | COSTS | GEN UNIT | T & D | SAVINGS | BENEFITS | BENEFITS | BENEFITS | BENEFITS
[6 empty] | BENEFITS | BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 25 | 4987.25 | 0 | 5012.25 | 0 | 0 | 82.6312 | 0 | 82.6312 | -4929.6188 | -4929.6188
2021 | 0 | 25.6 | 5101.9568 | 0 | 5127.5567 | 0 | 85.1775 | 245.8772 | 0 | 331.0547 | -4796.5021 | -9408.982
2022 | 0 | 26.2144 | 5219.3018 | 0 | 5245.5162 | 0 | 87.2217 | 422.9363 | 0 | 510.158 | -4735.3582 | -13538.8494
2023 | 0 | 0 | 0 | 0 | 0 | 575.9116 | 186.2321 | 528.344 | 0 | 1290.4877 | 1290.4877 | -12487.7863
2024 | 0 | 0 | 0 | 0 | 0 | 565.2334 | 185.5137 | 549.106 | 0 | 1299.8531 | 1299.8531 | -11499.0947
2025 | 0 | 0 | 0 | 0 | 0 | 553.989 | 184.5492 | 589.5745 | 0 | 1328.1127 | 1328.1127 | -10555.7007
2026 | 0 | 0 | 0 | 0 | 0 | 544.833 | 183.7886 | 608.4849 | 0 | 1337.1064 | 1337.1064 | -9668.7167
2027 | 0 | 0 | 0 | 0 | 0 | 534.6576 | 183.2181 | 646.5125 | 0 | 1364.3882 | 1364.3882 | -8823.4779
2028 | 0 | 0 | 0 | 0 | 0 | 519.9405 | 182.8256 | 716.4106 | 0 | 1419.1766 | 1419.1766 | -8002.428
2029 | 0 | 0 | 0 | 0 | 0 | 511.049 | 182.5752 | 767.5367 | 0 | 1461.1608 | 1461.1608 | -7212.9814
2030 | 0 | 0 | 0 | 0 | 0 | 496.7026 | 182.4101 | 857.296 | 0 | 1536.4086 | 1536.4086 | -6437.7647
2031 | 0 | 0 | 0 | 0 | 0 | 491.9327 | 182.3043 | 854.1078 | 0 | 1528.3448 | 1528.3448 | -5717.6041
2032 | 0 | 0 | 0 | 0 | 0 | 480.2852 | 182.2593 | 933.4609 | 0 | 1596.0054 | 1596.0054 | -5015.2857
2033 | 0 | 0 | 0 | 0 | 0 | 476.7146 | 182.2765 | 995.4511 | 0 | 1654.4423 | 1654.4423 | -4335.3891
2034 | 0 | 0 | 0 | 0 | 0 | 464.2255 | 182.3574 | 1041.8016 | 0 | 1688.3844 | 1688.3844 | -3687.42
2035 | 0 | 0 | 0 | 0 | 0 | 457.7554 | 182.5034 | 1147.3852 | 0 | 1787.6441 | 1787.6441 | -3046.7187
2036 | 0 | 0 | 0 | 0 | 0 | 456.1628 | 182.7163 | 1133.2753 | 0 | 1772.1544 | 1772.1544 | -2453.5643
2037 | 0 | 0 | 0 | 0 | 0 | 446.5074 | 182.9975 | 1209.5613 | 0 | 1839.0662 | 1839.0662 | -1878.7134
2038 | 0 | 0 | 0 | 0 | 0 | 447.0778 | 183.5963 | 1214.1426 | 0 | 1844.8167 | 1844.8167 | -1340.1924
2039 | 0 | 0 | 0 | 0 | 0 | 445.0439 | 184.7619 | 1215.3991 | 0 | 1845.2049 | 1845.2049 | -837.1718
2040 | 0 | 0 | 0 | 0 | 0 | 456.784 | 186.2485 | 1307.8261 | 0 | 1950.8585 | 1950.8585 | -340.5126
2041 | 0 | 0 | 0 | 0 | 0 | 450.9843 | 187.8101 | 1346.9581 | 0 | 1985.7526 | 1985.7526 | 131.6043
2042 | 0 | 0 | 0 | 0 | 0 | 448.0787 | 189.4488 | 1440.0402 | 0 | 2077.5678 | 2077.5678 | 592.8913
2043 | 0 | 0 | 0 | 0 | 0 | 448.7259 | 191.1664 | 1474.224 | 0 | 2114.1163 | 2114.1163 | 1031.257
2044 | 0 | 0 | 0 | 0 | 0 | 467.1753 | 192.9646 | 1417.4837 | 0 | 2077.6236 | 2077.6236 | 1433.5719
NOMINAL | 0 | 76.8144 | 15308.5085 | 0 | 15385.3229 | 10739.7701 | 4236.9232 | 22745.8267 | 0 | 37722.5201 | 22337.1972
NPV: | 0 | 71.7698 | 14303.8027 | 0 | 14375.5725 | 4844.5486 | 1921.228 | 9043.3679 | 0 | 15809.1444 | 1433.5719
Discount Rate |  | 0.0708 | Benefit/Cost Ratio - [col (11)/col (6)]: |  |  |  | 1.0997

## Sheet8(F_24)
|  |  |  | PARTICIPANT COSTS AND BENEFITS | [6 empty] | PSC FORM CE 2.4
|  |  |  | PROGRAM: | ENERGY STAR Certified Home | [5 empty] | Page 1 of 1
2026-07-29 00:19
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12)
SAVINGS
| IN |  |  |  |  | CUSTOMER | CUSTOMER |  |  |  | CUMULATIVE
| PARTICIPANTS | TAX | UTILITY | OTHER | TOTAL | EQUIPMENT | O & M | OTHER | TOTAL | NET | DISCOUNTED
| BILL | CREDITS | REBATES | BENEFITS | BENEFITS | COSTS | COSTS | COSTS | COSTS | BENEFITS | NET BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 225.1047 | 0 | 4090.05 | 0 | 4315.1547 | 4987.25 | 0 | 0 | 4987.25 | -672.0953 | -672.0953
2021 | 689.4509 | 0 | 4090.05 | 0 | 4779.5009 | 5101.9568 | 0 | 0 | 5101.9568 | -322.4559 | -973.2308
2022 | 1169.7783 | 0 | 4090.05 | 0 | 5259.8283 | 5219.3018 | 0 | 0 | 5219.3018 | 40.5266 | -937.8862
2023 | 1410.007 | 0 | 0 | 0 | 1410.007 | 0 | 0 | 0 | 0 | 1410.007 | 210.5217
2024 | 1443.8777 | 0 | 0 | 0 | 1443.8777 | 0 | 0 | 0 | 0 | 1443.8777 | 1308.761
2025 | 1479.5121 | 0 | 0 | 0 | 1479.5121 | 0 | 0 | 0 | 0 | 1479.5121 | 2359.6981
2026 | 1510.9581 | 0 | 0 | 0 | 1510.9581 | 0 | 0 | 0 | 0 | 1510.9581 | 3362.0085
2027 | 1550.2259 | 0 | 0 | 0 | 1550.2259 | 0 | 0 | 0 | 0 | 1550.2259 | 4322.3738
2028 | 1610.0512 | 0 | 0 | 0 | 1610.0512 | 0 | 0 | 0 | 0 | 1610.0512 | 5253.8522
2029 | 1649.6099 | 0 | 0 | 0 | 1649.6099 | 0 | 0 | 0 | 0 | 1649.6099 | 6145.1154
2030 | 1714.0018 | 0 | 0 | 0 | 1714.0018 | 0 | 0 | 0 | 0 | 1714.0018 | 7009.9393
2031 | 1747.1951 | 0 | 0 | 0 | 1747.1951 | 0 | 0 | 0 | 0 | 1747.1951 | 7833.2228
2032 | 1806.2998 | 0 | 0 | 0 | 1806.2998 | 0 | 0 | 0 | 0 | 1806.2998 | 8628.0807
2033 | 1832.3421 | 0 | 0 | 0 | 1832.3421 | 0 | 0 | 0 | 0 | 1832.3421 | 9381.0856
2034 | 1892.2657 | 0 | 0 | 0 | 1892.2657 | 0 | 0 | 0 | 0 | 1892.2657 | 10107.3003
2035 | 1936.9424 | 0 | 0 | 0 | 1936.9424 | 0 | 0 | 0 | 0 | 1936.9424 | 10801.511
2036 | 1975.7927 | 0 | 0 | 0 | 1975.7927 | 0 | 0 | 0 | 0 | 1975.7927 | 11462.8248
2037 | 2034.7831 | 0 | 0 | 0 | 2034.7831 | 0 | 0 | 0 | 0 | 2034.7831 | 12098.8524
2038 | 2067.3315 | 0 | 0 | 0 | 2067.3315 | 0 | 0 | 0 | 0 | 2067.3315 | 12702.3278
2039 | 2114.1142 | 0 | 0 | 0 | 2114.1142 | 0 | 0 | 0 | 0 | 2114.1142 | 13278.6556
2040 | 2136.6914 | 0 | 0 | 0 | 2136.6914 | 0 | 0 | 0 | 0 | 2136.6914 | 13822.6251
2041 | 2196.4481 | 0 | 0 | 0 | 2196.4481 | 0 | 0 | 0 | 0 | 2196.4481 | 14344.8352
2042 | 2255.9086 | 0 | 0 | 0 | 2255.9086 | 0 | 0 | 0 | 0 | 2255.9086 | 14845.7197
2043 | 2298.5111 | 0 | 0 | 0 | 2298.5111 | 0 | 0 | 0 | 0 | 2298.5111 | 15322.3199
2044 | 2294.4464 | 0 | 0 | 0 | 2294.4464 | 0 | 0 | 0 | 0 | 2294.4464 | 15766.6208
NOMINAL | 43041.6498 | 0 | 12270.15 | 0 | 55311.7998 | 15308.5085 | 0 | 0 | 15308.5085 | 40003.2913
NPV: | 18593.6805 | 0 | 11476.743 | 0 | 30070.4235 | 14303.8027 | 0 | 0 | 14303.8027 | 15766.6208
In service year of gen unit: |  |  | 2023 |  | 2.1023
Discount rate: |  |  | 0.0708

## Sheet9(F_25)
[5 empty] | RATE IMPACT TEST | [7 empty] | PSC FORM CE 2.5
[5 empty] | PROGRAM: | ENERGY STAR Certified Home | [6 empty] | Page 1 of 1
2026-07-29 00:19
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
[7 empty] | AVOIDED |  |  |  |  | NET | CUMULATIVE
| INCREASED | UTILITY |  |  |  |  | GEN UNIT | AVOIDED |  |  |  | BENEFITS | DISCOUNTED
| SUPPLY | PROGRAM |  | REVENUE | OTHER | TOTAL | UNIT & FUEL | T & D | REVENUE | OTHER | TOTAL | TO ALL | NET
| COSTS | COSTS | INCENTIVES | LOSSES | COSTS | COSTS | BENEFITS | BENEFITS | GAINS | BENEFITS | BENEFITS | CUSTOMERS | BENEFIT
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2020 | 0 | 25 | 4090.05 | 159.6348 | 0 | 4274.6848 | 82.6312 | 0 | 0 | 0 | 82.6312 | -4192.0536 | -4192.0536
2021 | 0 | 25.6 | 4090.05 | 483.6934 | 0 | 4599.3434 | 245.8772 | 85.1775 | 0 | 0 | 331.0547 | -4268.2887 | -8178.1283
2022 | 0 | 26.2144 | 4090.05 | 814.2173 | 0 | 4930.4817 | 422.9363 | 87.2217 | 0 | 0 | 510.158 | -4420.3237 | -12033.2433
2023 | 0 | 0 | 0 | 986.8313 | 0 | 986.8313 | 1104.2556 | 186.2321 | 0 | 0 | 1290.4877 | 303.6564 | -11785.9244
2024 | 0 | 0 | 0 | 996.6996 | 0 | 996.6996 | 1114.3394 | 185.5137 | 0 | 0 | 1299.8531 | 303.1535 | -11555.3405
2025 | 0 | 0 | 0 | 1006.6666 | 0 | 1006.6666 | 1143.5635 | 184.5492 | 0 | 0 | 1328.1127 | 321.446 | -11327.0087
2026 | 0 | 0 | 0 | 1016.7333 | 0 | 1016.7333 | 1153.3178 | 183.7886 | 0 | 0 | 1337.1064 | 320.3731 | -11114.4858
2027 | 0 | 0 | 0 | 1026.9006 | 0 | 1026.9006 | 1181.1701 | 183.2181 | 0 | 0 | 1364.3882 | 337.4876 | -10905.4121
2028 | 0 | 0 | 0 | 1037.1696 | 0 | 1037.1696 | 1236.351 | 182.8256 | 0 | 0 | 1419.1766 | 382.007 | -10684.406
2029 | 0 | 0 | 0 | 1047.5413 | 0 | 1047.5413 | 1278.5857 | 182.5752 | 0 | 0 | 1461.1608 | 413.6195 | -10460.9326
2030 | 0 | 0 | 0 | 1058.0168 | 0 | 1058.0168 | 1353.9985 | 182.4101 | 0 | 0 | 1536.4086 | 478.3919 | -10219.5532
2031 | 0 | 0 | 0 | 1068.5969 | 0 | 1068.5969 | 1346.0405 | 182.3043 | 0 | 0 | 1528.3448 | 459.7479 | -10002.9187
2032 | 0 | 0 | 0 | 1079.2829 | 0 | 1079.2829 | 1413.7461 | 182.2593 | 0 | 0 | 1596.0054 | 516.7226 | -9775.5361
2033 | 0 | 0 | 0 | 1090.0757 | 0 | 1090.0757 | 1472.1658 | 182.2765 | 0 | 0 | 1654.4423 | 564.3665 | -9543.6085
2034 | 0 | 0 | 0 | 1100.9765 | 0 | 1100.9765 | 1506.0271 | 182.3574 | 0 | 0 | 1688.3844 | 587.4079 | -9318.1728
2035 | 0 | 0 | 0 | 1111.9862 | 0 | 1111.9862 | 1605.1406 | 182.5034 | 0 | 0 | 1787.6441 | 675.6578 | -9076.0133
2036 | 0 | 0 | 0 | 1123.1061 | 0 | 1123.1061 | 1589.4381 | 182.7163 | 0 | 0 | 1772.1544 | 649.0483 | -8858.7716
2037 | 0 | 0 | 0 | 1134.3372 | 0 | 1134.3372 | 1656.0687 | 182.9975 | 0 | 0 | 1839.0662 | 704.729 | -8638.4891
2038 | 0 | 0 | 0 | 1145.6805 | 0 | 1145.6805 | 1661.2204 | 183.5963 | 0 | 0 | 1844.8167 | 699.1362 | -8434.404
2039 | 0 | 0 | 0 | 1157.1373 | 0 | 1157.1373 | 1660.4429 | 184.7619 | 0 | 0 | 1845.2049 | 688.0675 | -8246.8302
2040 | 0 | 0 | 0 | 1168.7087 | 0 | 1168.7087 | 1764.61 | 186.2485 | 0 | 0 | 1950.8585 | 782.1498 | -8047.7067
2041 | 0 | 0 | 0 | 1180.3958 | 0 | 1180.3958 | 1797.9424 | 187.8101 | 0 | 0 | 1985.7526 | 805.3567 | -7856.2314
2042 | 0 | 0 | 0 | 1192.1998 | 0 | 1192.1998 | 1888.1189 | 189.4488 | 0 | 0 | 2077.5678 | 885.368 | -7659.6512
2043 | 0 | 0 | 0 | 1204.1218 | 0 | 1204.1218 | 1922.95 | 191.1664 | 0 | 0 | 2114.1163 | 909.9946 | -7470.9622
2044 | 0 | 0 | 0 | 1216.163 | 0 | 1216.163 | 1884.659 | 192.9646 | 0 | 0 | 2077.6236 | 861.4606 | -7304.1474
NOMINAL | 0 | 76.8144 | 12270.15 | 25606.8732 | 0 | 37953.8376 | 33485.5969 | 4236.9232 | 0 | 0 | 37722.5201 | -231.3175
NPV: | 0 | 71.7698 | 11476.743 | 11564.7789 | 0 | 23113.2918 | 13887.9164 | 1921.228 | 0 | 0 | 15809.1444 | -7304.1474
Discount rate: |  |  | 0.0708 |  | Benefit/Cost Ratio - [col (12)/col (7)]: |  |  |  | 0.68398

## Value of Defferal
GEN: | [7 empty] | COMPUTATION OF CONSTRUCTION CASH FLOW AND PLANT |  |  |  |  | Do Not Print
COMPUTATION OF GENERATION COSTS & REV. REQUIREMENTS | [7 empty] | IN-SERVICE COSTS FOR AVOIDED TRANS & DIST PLANT
IN-SERVICE AVOIDED GEN. PLANT ($000) = |  |  |  | 3485.9741 |  |  |  | -----------------------------------------------
------------------------------------------ |  |  |  |  | GENERATION |  |  | TRAN: | Avoided Trans. = |  | 203.3469
|  |  |  | COMPUTATION OF VALUE DEFERRAL PAYMENTS |  |  |  |  | Avoided Dist. = |  | 501.04 |  | TRANSMISSION & DIST.
COMPUTATION OF VALUE DEFERRAL CREDITS
|  |  |  | ip= | 0.024 | Esc. rate | [5 empty] | ip= | 0.024 | Esc. rate
| Gen |  |  | r= | 0.0708 | Disc rate |  | TRAN |  |  |  | r= | 0.0708 | Disc rate
| Offset Cost | 3 |  | l= | 25 | Econ life |  | Offset Cost |  | 3 |  | l= | 25 | Econ life
| Offset Factor | 2 |  | c= | 1 | Risk factor |  | Offset Factor |  | 1 |  | c= | 1 | Risk factor
|  |  |  | k= | 1.5213 | K factor |  | DIST |  |  |  | k= | 1.5213 | K factor
|  |  |  | Ratio= | 0.95629 | calculated ratio |  | Offset Cost |  | 4 |  | Ratio= | 0.95629 | calculated ratio
[8 empty] | Offset Factor |  | 1
|  |  |  | VALUE of DEFERRAL | [7 empty] | VALUE DEFERRAL STARTING
|  |  |  | Factor = | 0.098822 | [6 empty] | FACTOR = | 0.098822
[5 empty] | AVOIDED |  |  |  |  | TRANS | DIST |  | AVOIDED | AVOIDED
|  | CARRYING | ANNUAL | Value | GEN. |  |  |  | CARRYING | ANNUAL | ANNUAL |  | TRANS. | DIST
|  | CHARGE | REV REQ | of Def | V OF D |  |  |  | CHARGE | REV REQ | REV REQ |  | V OF D | V OF D
N | Year | % | COSTS(000) | Factors | ($000) |  | N | Year | % | COSTS(000) | COSTS(000) | Factors | ($000) | $(000)
-- | ---- | ------ | ------ | ------ | ----- |  |  |  | ------ | ------ | ------
1 | 2020 | 0 | 0 | 0 | 0 |  | 1 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2021 | 0 | 0 | 0 | 0 |  | 2 | 2021 | 0 | 0 | 0 | 0.098822 | 20.0952 | 49.5139
3 | 2022 | 0 | 0 | 0 | 0 |  | 3 | 2022 | 0 | 0 | 0 | 0.10119 | 20.5775 | 50.7023
4 | 2023 | 0.13759 | 479.6375 | 0.098822 | 344.492 |  | 4 | 2023 | 0.13759 | 27.9786 | 68.9384 | 0.10362 | 21.0714 | 51.9191
5 | 2024 | 0.13353 | 465.4738 | 0.10119 | 352.7598 |  | 5 | 2024 | 0.13353 | 27.1524 | 66.9027 | 0.10611 | 21.5771 | 53.1652
6 | 2025 | 0.12904 | 449.8373 | 0.10362 | 361.226 |  | 6 | 2025 | 0.12904 | 26.2403 | 64.6552 | 0.10866 | 22.0949 | 54.4411
7 | 2026 | 0.12477 | 434.9496 | 0.10611 | 369.8955 |  | 7 | 2026 | 0.12477 | 25.3719 | 62.5154 | 0.11126 | 22.6252 | 55.7477
8 | 2027 | 0.12069 | 420.7358 | 0.10866 | 378.7729 |  | 8 | 2027 | 0.12069 | 24.5427 | 60.4725 | 0.11393 | 23.1682 | 57.0857
9 | 2028 | 0.11679 | 407.129 | 0.11126 | 387.8635 |  | 9 | 2028 | 0.11679 | 23.749 | 58.5168 | 0.11667 | 23.7242 | 58.4557
10 | 2029 | 0.11301 | 393.9457 | 0.11393 | 397.1722 |  | 10 | 2029 | 0.11301 | 22.98 | 56.6219 | 0.11947 | 24.2936 | 59.8587
11 | 2030 | 0.10927 | 380.8982 | 0.11667 | 406.7044 |  | 11 | 2030 | 0.10927 | 22.2189 | 54.7466 | 0.12234 | 24.8767 | 61.2953
12 | 2031 | 0.10552 | 367.8507 | 0.11947 | 416.4653 |  | 12 | 2031 | 0.10552 | 21.4578 | 52.8713 | 0.12527 | 25.4737 | 62.7664
13 | 2032 | 0.10178 | 354.8031 | 0.12234 | 426.4604 |  | 13 | 2032 | 0.10178 | 20.6967 | 50.9959 | 0.12828 | 26.0851 | 64.2727
14 | 2033 | 0.098037 | 341.7556 | 0.12527 | 436.6955 |  | 14 | 2033 | 0.098037 | 19.9356 | 49.1206 | 0.13136 | 26.7111 | 65.8153
15 | 2034 | 0.094294 | 328.708 | 0.12828 | 447.1762 |  | 15 | 2034 | 0.094294 | 19.1745 | 47.2453 | 0.13451 | 27.3522 | 67.3949
16 | 2035 | 0.090552 | 315.6605 | 0.13136 | 457.9084 |  | 16 | 2035 | 0.090552 | 18.4134 | 45.37 | 0.13774 | 28.0086 | 69.0123
17 | 2036 | 0.086809 | 302.6129 | 0.13451 | 468.8982 |  | 17 | 2036 | 0.086809 | 17.6523 | 43.4946 | 0.14104 | 28.6808 | 70.6686
18 | 2037 | 0.083066 | 289.5654 | 0.13774 | 480.1518 |  | 18 | 2037 | 0.083066 | 16.8912 | 41.6193 | 0.14443 | 29.3692 | 72.3647
19 | 2038 | 0.079674 | 277.7431 | 0.14104 | 491.6754 |  | 19 | 2038 | 0.079674 | 16.2016 | 39.9201 | 0.1479 | 30.074 | 74.1014
20 | 2039 | 0.076986 | 268.3708 | 0.14443 | 503.4756 |  | 20 | 2039 | 0.076986 | 15.6548 | 38.573 | 0.15144 | 30.7958 | 75.8799
21 | 2040 | 0.074649 | 260.2233 | 0.1479 | 515.559 |  | 21 | 2040 | 0.074649 | 15.1796 | 37.402 | 0.15508 | 31.5349 | 77.701
22 | 2041 | 0.072311 | 252.0758 | 0.15144 | 527.9324 |  | 22 | 2041 | 0.072311 | 14.7043 | 36.2309 | 0.1588 | 32.2918 | 79.5658
23 | 2042 | 0.069974 | 243.9282 | 0.15508 | 540.6028 |  | 23 | 2042 | 0.069974 | 14.229 | 35.0599 | 0.16261 | 33.0668 | 81.4754
24 | 2043 | 0.067637 | 235.7807 | 0.1588 | 553.5773 |  | 24 | 2043 | 0.067637 | 13.7538 | 33.8888 | 0.16652 | 33.8604 | 83.4308
25 | 2044 | 0.0653 | 227.6332 | 0.16261 | 566.8631 |  | 25 | 2044 | 0.0653 | 13.2785 | 32.7178 | 0.17051 | 34.673 | 85.4331
26 | 2045 | 0.062963 | 219.4857 | 0.16652 | 580.4679 |  | 26 | 2045 | 0.062963 | 12.8032 | 31.5467 | 0.1746 | 35.5052 | 87.4835
27 | 2046 | 0.060625 | 211.3382 | 0.17051 | 594.3991 |  | 27 | 2046 | 0.060625 | 12.328 | 30.3757 | 0 | 0 | 0
28 | 2047 | 0.058288 | 203.1907 | 0.1746 | 608.6647 |  | 28 | 2047 | 0.058288 | 11.8527 | 29.2047 | 0 | 0 | 0
29 | 2048 | 0.055951 | 195.0432 | 0 | 0 |  | 29 | 2048 | 0.055951 | 11.3774 | 28.0336 | 0 | 0 | 0
30 | 2049 | 0 | 0 | 0 | 0 |  | 30 | 2049 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2050 | 0 | 0 | 0 | 0 |  | 31 | 2050 | 0 | 0 | 0 | 0 | 0 | 0
32 | 2051 | 0 | 0 | 0 | 0 |  | 32 | 2051 | 0 | 0 | 0 | 0 | 0 | 0
33 | 2052 | 0 | 0 | 0 | 0 |  | 33 | 2052 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2053 | 0 | 0 | 0 | 0 |  | 34 | 2053 | 0 | 0 | 0 | 0 | 0 | 0
35 | 2054 | 0 | 0 | 0 | 0 |  | 35 | 2054 | 0 | 0 | 0 | 0 | 0 | 0
36 | 2055 | 0 | 0 | 0 | 0 |  | 36 | 2055 | 0 | 0 | 0 | 0 | 0 | 0
37 | 2056 | 0 | 0 | 0 | 0 |  | 37 | 2056 | 0 | 0 | 0 | 0 | 0 | 0
38 | 2057 | 0 | 0 | 0 | 0 |  | 38 | 2057 | 0 | 0 | 0 | 0 | 0 | 0
39 | 2058 | 0 | 0 | 0 | 0 |  | 39 | 2058 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ----- |  | ----- |  |  |  |  | ----- |  |  | ----
|  | NOMINAL | 8328.376 |  | 11615.8592 |  |  |  | NOMINAL | 485.8182 |  |  | 677.5866
|  | NPV | 3718.6703 |  | 4319.3056 |  |  |  | NPV | 216.9208 |  |  | 288.8977