## Avoided cost
Florida Power & Light Company
Docket No. 20190061-EI
Staff's Eighth Set of Interrogatories
Interrogatory No. 227
Attachment No. 2
Tab 1 of 2
|  | deg factor | 0.997
|  | 1 | 2 | 3 | 4 | 5
| Year | Average hourly gas generation avoided | New CC heat-rate btu/kWH | Avoided gas on peak day MMCF/day | Cost of gas transport $/MMBTU | Annual firm gas transport cost avoided $ MM
| 2019 | 0 | 0 | 0 | 0 | 0
| 2020 | 169.56 | 0 | 0 | 0 | 0
| 2021 | 169.0513 | 0 | 0 | 0 | 0
| 2022 | 168.5441 | 0 | 0 | 0 | 0
| 2023 | 168.0385 | 0 | 0 | 0 | 0
| 2024 | 167.5344 | 0 | 0 | 0 | 0
| 2025 | 167.0318 | 0 | 0 | 0 | 0
| 2026 | 166.5307 | 6131 | 24.504 | 1.5404 | 13.7769
| 2027 |  |  | 24.504 | 1.5318 | 13.7008
| 2028 |  |  | 24.504 | 1.5235 | 13.6266
| 2029 |  |  | 24.504 | 1.5155 | 13.5542
| 2030 |  |  | 24.504 | 1.5076 | 13.4837
| 2031 |  |  | 24.504 | 1.4999 | 13.4149
| 2032 |  |  | 24.504 | 1.4924 | 13.3478
| 2033 |  |  | 24.504 | 1.4851 | 13.2825
| 2034 |  |  | 24.504 | 1.478 | 13.2187
| 2035 |  |  | 24.504 | 1.471 | 13.1566
| 2036 |  |  | 24.504 | 1.4642 | 13.096
| 2037 |  |  | 24.504 | 1.4576 | 13.0369
| 2038 |  |  | 24.504 | 1.4512 | 12.9793
| 2039 |  |  | 24.504 | 1.4449 | 12.9231
| 2040 |  |  | 24.504 | 1.4388 | 12.8684
| 2041 |  |  | 24.504 | 1.4328 | 12.815
| 2042 |  |  | 24.504 | 1.427 | 12.7629
| 2043 |  |  | 24.504 | 1.4213 | 12.7122
| 2044 |  |  | 24.504 | 1.4158 | 12.6627
| 2045 |  |  | 24.504 | 1.4104 | 12.6144
| 2046 |  |  | 24.504 | 1.4051 | 12.5674
| 2047 |  |  | 24.504 | 1.4 | 12.5215
| 2048 |  |  | 24.504 | 1.395 | 12.4768
| 2049 |  |  | 24.504 | 1.3901 | 12.4332
| 2050 |  |  | 24.504 | 1.3854 | 12.3907

## Backup
Florida Power & Light Company
Docket No. 20190061-EI
Staff's Eighth Set of Interrogatories
Interrogatory No. 227
Attachment No. 2
Tab 2 of 2
| August % of nameplate capacity |  |  |  |  | August Solar Generation MWH
| Southfork = | Echo River = | Hibiscus = | Okeechobee = |  | Southfork = | Echo River = | Hibiscus = | Okeechobee =
1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
8 | 9.3043 | 9.9379 | 2.7141 | 2.5525 |  | 6.9317 | 7.4038 | 2.022 | 1.9016
9 | 54.4227 | 52.2687 | 22.2924 | 22.4601 |  | 40.5449 | 38.9402 | 16.6078 | 16.7328
10 | 78.3836 | 72.0007 | 49.0819 | 53.9784 |  | 58.3958 | 53.6405 | 36.566 | 40.2139
11 | 83.8302 | 79.751 | 70.7267 | 76.416 |  | 62.4535 | 59.4145 | 52.6914 | 56.9299
12 | 85.9869 | 84.2265 | 84.7569 | 89.6758 |  | 64.0602 | 62.7487 | 63.1439 | 66.8085
13 | 85.9267 | 86.4001 | 86.4162 | 91.1079 |  | 64.0154 | 64.3681 | 64.3801 | 67.8754
14 | 83.6253 | 85.6741 | 84.0068 | 88.2799 |  | 62.3009 | 63.8272 | 62.585 | 65.7685
15 | 80.7942 | 82.6472 | 79.8077 | 80.4141 |  | 60.1917 | 61.5722 | 59.4568 | 59.9085
16 | 74.8374 | 76.7576 | 73.3152 | 71.9044 |  | 55.7538 | 57.1844 | 54.6198 | 53.5688
17 | 64.5069 | 68.5892 | 57.4799 | 53.8363 |  | 48.0576 | 51.0989 | 42.8225 | 40.108
18 | 50.5552 | 57.7721 | 37.6462 | 35.529 |  | 37.6637 | 43.0402 | 28.0464 | 26.4691
19 | 34.9657 | 42.1162 | 17.5605 | 17.2551 |  | 26.0494 | 31.3766 | 13.0826 | 12.8551
20 | 7.7 | 12.0023 | 2.0411 | 2.5263 |  | 5.7365 | 8.9417 | 1.5206 | 1.8821
21 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | average hourly solar generation (hr 8-20) | 45.5504 | 46.4275 | 38.2727 | 39.3094
[10 empty] | average hourly solar generation (hr 8-20) all 4 projects | 169.56
[10 empty] | firm gas transport avoided | 4069.439