## Additions - Distribution
Gulf Power Company
Docket No. 20190038-EI
OPC's First Set of Interrogatories
Interrogatory No. 27
Attachment No. 1
Tab 1 of 4
Hurricane Michael Distribution Poles - Capital Additions
Function | Charge Type | Utility Account Description | Location | RUC | Description | Material | Qty | Total $ Amount
Distribution | Addition | 36400 - Poles, Towers & Fixtures | Bay County Mass Property | 1006 | 35 Ft. | 1591.69 | 260 | 413839.4
|  |  |  | 1007 | 40 Ft. | 1620.86 | 1858 | 3011557.88
|  |  |  | 1008 | 45 Ft. | 1872.77 | 2549 | 4773690.73
|  |  |  | 1009 | 50 Ft. | 2266.01 | 623 | 1411724.23
|  |  |  | 1010 | 55 Ft. | 2735.57 | 130 | 355624.1
|  |  |  | 1011 | 60 Ft. | 5953.67 | 75 | 446525.25
|  |  |  | 1012 | 65 Ft. | 1932.39 | 4 | 7729.56
|  |  |  | 1013 | 70 Ft. | 7812.23 | 2 | 15624.46
|  |  |  | 1014 | 75 Ft. | 5142.27 | 4 | 20569.08
|  | 36400 - Poles, Towers & Fixtures Total |  |  |  |  | 5505 | 10456884.69
|  | 373 - Street Lights & Signal System | Bay County Mass Property | 4002 | 35' Wood Pole - Lighting | 595.55 | 322 | 191767.1
|  |  |  | 4003 | 40' Wood Pole - Lighting | 19534.72 | 32 | 19534.72
|  |  |  | 5102 | 15' 0" - 19' 11" Pole Concrete Lighting | 1459.56 | 43 | 62761.08
|  |  |  | 5105 | 30' 0" - 34' 11" Pole Concrete Lighting | 814.55 | 96 | 78196.8
|  |  |  | 5106 | 35' 0" - 39' 11" Pole Concrete Lighting | 483.5 | 91 | 43998.5
|  |  |  | 5302 | 15' 0" - 19' 11" - Pole Aluminum Lighting | 684.06 | 23 | 15733.38
|  |  |  | 5303 | 20' 0" - 24' 11" - Pole Aluminum Lighting | 624.68 | 58 | 36231.44
|  |  |  | 5702 | 15' 0" - 19' 11" - Fiberglass Pole Lighting | 611.71 | 1 | 611.71
|  | 373 - Street Lights & Signal System Total |  |  |  |  | 666 | 448834.73
Distribution Total | [6 empty] | 6171 | 10905719.42
Grand Total | [6 empty] | 6171 | 10905719.42
The methodology employed for capitalization of distribution poles used a fully loaded cost derived from the Continuing Property Record (CPR). Due to the
fuly loaded nature of the charges this value provides no way to differentiate between the installer, materials, or labor.
The assets were charged to the appropriate FERC account and retirement unit.
Distribution Assets are tracked to the county location level; therefore, Bay County is lowest level of detail available for Distribution.

## Additions - Transmission
Gulf Power Company
Docket No. 20190038-EI
OPC's First Set of Interrogatories
Interrogatory No. 27
Attachment No. 1
Tab 2 of 4
Hurricane Michael Transmission Poles - Capital Additions
Function | Charge Type | Location | Utility Account Description | RUC | Description | Qty | Material $ | Labor $ | Total $ Amount
Transmission | Addition | Altha-Blountstown Calhoun | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 4 | 3360 | 16962 | 20322
|  |  | 355 - Poles, Towers & Fixtures1114 | 1114 | 75 Ft Concrete Pole | 1 | 5798.4 | 6728.4 | 12526.8
|  | Altha-Blountstown Calhoun Total |  |  |  | 5 | 9158.4 | 23690.4 | 32848.8
|  | TL1-Alford Tap Jackson | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 8 | 7744.8 | 28051.2 | 35796
|  | TL1-Alford Tap Jackson Total |  |  |  | 8 | 7744.8 | 28051.2 | 35796
|  | TL1-Callaway-Wewa Rd Bay | 355 - Poles, Towers & Fixtures1124 | 1124 | 125 Ft Concrete Pole | 2 | 25279.65 | 13180.29 | 38459.94
|  |  | 355 - Poles, Towers & Fixtures1111 | 1111 | 60 Ft Concrete Pole | 1 | 5334.03 | 5740.59 | 11074.62
|  |  | 355 - Poles, Towers & Fixtures1114 | 1114 | 75 Ft Concrete Pole | 3 | 17523.73 | 19770.44 | 37294.17
|  |  | 355 - Poles, Towers & Fixtures1118 | 1118 | 95 Ft Concrete Pole | 4 | 33047.04 | 26360.58 | 59407.62
|  |  | 355 - Poles, Towers & Fixtures1119 | 1119 | 100 Ft Concrete Pole | 2 | 18299.19 | 13180.29 | 31479.48
|  |  | 355 - Poles, Towers & Fixtures1120 | 1120 | 105 Ft Concrete Pole | 12 | 114737 | 79081.74 | 193818.74
|  |  | 355 - Poles, Towers & Fixtures1121 | 1121 | 110 Ft Concrete Pole | 2 | 18891.3 | 13180.29 | 32071.59
|  |  | 355 - Poles, Towers & Fixtures1123 | 1123 | 120 Ft Concrete Pole | 2 | 23756.73 | 13180.29 | 36937.02
|  | TL1-Callaway-Wewa Rd Bay Total |  |  |  | 28 | 256868.67 | 183674.51 | 440543.18
|  | TL1-Highland City-Greenwood Bay | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 1 | 852.23 | 3890.89 | 4743.12
|  |  | 355 - Poles, Towers & Fixtures1014 | 1014 | 75 Ft Wood Pole | 2 | 4217.18 | 13819.28 | 18036.46
|  |  | 355 - Poles, Towers & Fixtures1013 | 1013 | 70 Ft Wood Pole | 2 | 3590.83 | 13817.81 | 17408.64
|  |  | 355 - Poles, Towers & Fixtures1010 | 1010 | 55 Ft Wood Pole | 2 | 924.26 | 7780.32 | 8704.58
|  | TL1-Highland City-Greenwood Bay Total |  |  |  | 7 | 9584.5 | 39308.3 | 48892.8
|  | TL1-Parker Bay | 355 - Poles, Towers & Fixtures5516 | 5516 | 85 Ft Steel Pole | 8 | 71289.57 | 95484.11 | 166773.68
|  |  | 355 - Poles, Towers & Fixtures5517 | 5517 | 90 Ft Steel Pole | 2 | 21330.03 | 23854.69 | 45184.72
|  | TL1-Parker Bay Total |  |  |  | 10 | 92619.6 | 119338.8 | 211958.4
|  | TL1-Redwood #2 Bay | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 6 | 5888.46 | 28339.04 | 34227.5
|  |  | 355 - Poles, Towers & Fixtures1014 | 1014 | 75 Ft Wood Pole | 2 | 4856.38 | 12650.99 | 17507.37
|  |  | 355 - Poles, Towers & Fixtures1016 | 1016 | 85 Ft Wood Pole | 2 | 6282.79 | 12650.99 | 18933.78
|  | TL1-Redwood #2 Bay Total |  |  |  | 10 | 17027.63 | 53641.02 | 70668.65
|  | TL1-Redwood Loop Bay | 355 - Poles, Towers & Fixtures1007 | 1007 | 40 Ft Wood Pole | 1 | 375.6 | 7971.6 | 8347.2
|  |  | 355 - Poles, Towers & Fixtures1013 | 1013 | 70 Ft Wood Pole | 1 | 2016 | 14160 | 16176
|  | TL1-Redwood Loop Bay Total |  |  |  | 2 | 2391.6 | 22131.6 | 24523.2
|  | TL1-Scholz-Highland City #2 Calhoun | 355 - Poles, Towers & Fixtures1011 | 1011 | 60 Ft Wood Pole | 4 | 2839.2 | 12609.6 | 15448.8
|  |  | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 104 | 104215.2 | 327849.6 | 432064.8
|  |  | 355 - Poles, Towers & Fixtures1014 | 1014 | 75 Ft Wood Pole | 4 | 9417.6 | 22401.6 | 31819.2
|  |  | 355 - Poles, Towers & Fixtures1013 | 1013 | 70 Ft Wood Pole | 18 | 30403.2 | 95158.8 | 125562
|  |  | 355 - Poles, Towers & Fixtures1015 | 1015 | 80 Ft Wood Pole | 2 | 5889.6 | 11200 | 17089.6
|  | TL1-Scholz-Highland City #2 Calhoun Total |  |  |  | 132 | 152764.8 | 469219.6 | 621984.4
|  | TL1-Scholz-Wewa Rd #1 Calhoun | 355 - Poles, Towers & Fixtures1011 | 1011 | 60 Ft Wood Pole | 2 | 1419.6 | 7976.4 | 9396
|  |  | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 55 | 44247.2 | 236037.6 | 280284.8
|  |  | 355 - Poles, Towers & Fixtures1014 | 1014 | 75 Ft Wood Pole | 2 | 6217.2 | 11331.6 | 17548.8
|  |  | 355 - Poles, Towers & Fixtures1013 | 1013 | 70 Ft Wood Pole | 6 | 10192.8 | 42512.4 | 52705.2
|  | TL1-Scholz-Wewa Rd #1 Calhoun Total |  |  |  | 65 | 62076.8 | 297858 | 359934.8
|  | TL1-Scholz-Wewa Rd Calhoun | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 8 | 8326.97 | 48095.81 | 56422.78
|  | TL1-Scholz-Wewa Rd Calhoun Total |  |  |  | 8 | 8326.97 | 48095.81 | 56422.78
|  | TL1-Sinai Cemetery-GA (Bainbridge) Gadsden | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 3 | 2976.82 | 18064.64 | 21041.46
|  |  | 355 - Poles, Towers & Fixtures1014 | 1014 | 75 Ft Wood Pole | 2 | 4763.91 | 14200.68 | 18964.59
|  |  | 355 - Poles, Towers & Fixtures1009 | 1009 | 50 Ft Wood Pole | 1 | 458.93 | 6023.14 | 6482.07
|  |  | 355 - Poles, Towers & Fixtures1015 | 1015 | 80 Ft Wood Pole | 2 | 6286.62 | 14202.27 | 20488.89
|  |  | 355 - Poles, Towers & Fixtures1113 | 1113 | 70 Ft Concrete Pole | 2 | 10885.91 | 19103.71 | 29989.62
|  |  | 355 - Poles, Towers & Fixtures1117 | 1117 | 90 Ft Concrete Pole | 1 | 7041.11 | 9551.86 | 16592.97
|  | TL1-Sinai Cemetery-GA (Bainbridge) Gadsden Total |  |  |  | 11 | 32413.3 | 81146.3 | 113559.6
|  | TL1-South Crestview-Highland Walton | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 3 | 3679.04 | 11054.5 | 14733.54
|  |  | 355 - Poles, Towers & Fixtures1013 | 1013 | 70 Ft Wood Pole | 18 | 36169.89 | 78217.48 | 114387.37
|  |  | 355 - Poles, Towers & Fixtures1116 | 1116 | 85 Ft Concrete Pole | 1 | 7134 | 5845.29 | 12979.29
|  | TL1-South Crestview-Highland Walton Total |  |  |  | 22 | 46982.93 | 95117.27 | 142100.2
|  | TL2-Callaway-Port Saint Joe Bay | 355 - Poles, Towers & Fixtures5521 | 5521 | 110 Ft Steel Pole | 2 | 38030.4 | 69381.6 | 107412
|  |  | 355 - Poles, Towers & Fixtures5522 | 5522 | 115 Ft Steel Pole | 6 | 118724.4 | 208148.4 | 326872.8
|  |  | 355 - Poles, Towers & Fixtures1124 | 1124 | 125 Ft Concrete Pole | 2 | 23823.6 | 69381.6 | 93205.2
|  | TL2-Callaway-Port Saint Joe Bay Total |  |  |  | 10 | 180578.4 | 346911.6 | 527490
|  | TL4-Arizona Chemical Tap Bay | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 1 | 996.87 | 9243.51 | 10240.38
|  | TL4-Arizona Chemical Tap Bay Total |  |  |  | 1 | 996.87 | 9243.51 | 10240.38
|  | TL4-Wewa-Tyndall (East Circuit) Bay | 355 - Poles, Towers & Fixtures1011 | 1011 | 60 Ft Wood Pole | 6 | 3673.66 | 37630.09 | 41303.75
|  |  | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 1 | 703.74 | 6271.68 | 6975.42
|  |  | 355 - Poles, Towers & Fixtures1010 | 1010 | 55 Ft Wood Pole | 10 | 4489.18 | 62716.81 | 67205.99
|  | TL4-Wewa-Tyndall (East Circuit) Bay Total |  |  |  | 17 | 8866.58 | 106618.58 | 115485.16
|  | TL4-Wewa-Tyndall (West Circuit) Bay | 355 - Poles, Towers & Fixtures1011 | 1011 | 60 Ft Wood Pole | 2 | 1493.19 | 17844.08 | 19337.27
|  |  | 355 - Poles, Towers & Fixtures1010 | 1010 | 55 Ft Wood Pole | 1 | 543.55 | 8923.12 | 9466.67
|  | TL4-Wewa-Tyndall (West Circuit) Bay Total |  |  |  | 3 | 2036.74 | 26767.2 | 28803.94
Transmission Total | [5 empty] | 339 | 890438.59 | 1950813.7 | 2841252.29
Grand Total | [5 empty] | 339 | 890438.59 | 1950813.7 | 2841252.29
The capitalization of transmission poles used a Transmission Work Management System. The breakout by labor and materials is an estimate
using material average prices, Current Labor rates, and standard man hours for each retirement unit.
The assets were charged to the appropriate FERC account and retirement unit.

## Details
Gulf Power Company
Docket No. 20190038-EI
OPC's First Set of Interrogatories
Interrogatory No. 27
Attachment No. 1
Tab 3 of 4
Charge Type | Function | Utility Account Description | RUC | Description | Qty | Material | Labor | Total Amount | Location
Addition | Distribution | 36400 - Poles, Towers & Fixtures | 1006 | 35 Ft. | 260 | 1591.69 |  | 413839.4 | Bay County Mass Property
Addition | Distribution | 36400 - Poles, Towers & Fixtures | 1007 | 40 Ft. | 1858 | 1620.86 |  | 3011557.88 | Bay County Mass Property
Addition | Distribution | 36400 - Poles, Towers & Fixtures | 1008 | 45 Ft. | 2549 | 1872.77 |  | 4773690.73 | Bay County Mass Property
Addition | Distribution | 36400 - Poles, Towers & Fixtures | 1009 | 50 Ft. | 623 | 2266.01 |  | 1411724.23 | Bay County Mass Property
Addition | Distribution | 36400 - Poles, Towers & Fixtures | 1010 | 55 Ft. | 130 | 2735.57 |  | 355624.1 | Bay County Mass Property
Addition | Distribution | 36400 - Poles, Towers & Fixtures | 1011 | 60 Ft. | 75 | 5953.67 |  | 446525.25 | Bay County Mass Property
Addition | Distribution | 36400 - Poles, Towers & Fixtures | 1012 | 65 Ft. | 4 | 1932.39 |  | 7729.56 | Bay County Mass Property
Addition | Distribution | 36400 - Poles, Towers & Fixtures | 1013 | 70 Ft. | 2 | 7812.23 |  | 15624.46 | Bay County Mass Property
Addition | Distribution | 36400 - Poles, Towers & Fixtures | 1014 | 75 Ft. | 4 | 5142.27 |  | 20569.08 | Bay County Mass Property
Addition | Distribution | 373 - Street Lights & Signal System | 4002 | 35' Wood Pole - Lighting | 322 | 595.55 |  | 191767.1 | Bay County Mass Property
Addition | Distribution | 373 - Street Lights & Signal System | 4003 | 40' Wood Pole - Lighting | 32 | 19534.72 |  | 19534.72 | Bay County Mass Property
Addition | Distribution | 373 - Street Lights & Signal System | 5102 | 15' 0" - 19' 11" Pole Concrete Lighting | 43 | 1459.56 |  | 62761.08 | Bay County Mass Property
Addition | Distribution | 373 - Street Lights & Signal System | 5105 | 30' 0" - 34' 11" Pole Concrete Lighting | 96 | 814.55 |  | 78196.8 | Bay County Mass Property
Addition | Distribution | 373 - Street Lights & Signal System | 5106 | 35' 0" - 39' 11" Pole Concrete Lighting | 91 | 483.5 |  | 43998.5 | Bay County Mass Property
Addition | Distribution | 373 - Street Lights & Signal System | 5302 | 15' 0" - 19' 11" - Pole Aluminum Lighting | 23 | 684.06 |  | 15733.38 | Bay County Mass Property
Addition | Distribution | 373 - Street Lights & Signal System | 5303 | 20' 0" - 24' 11" - Pole Aluminum Lighting | 58 | 624.68 |  | 36231.44 | Bay County Mass Property
Addition | Distribution | 373 - Street Lights & Signal System | 5702 | 15' 0" - 19' 11" - Fiberglass Pole Lighting | 1 | 611.71 |  | 611.71 | Bay County Mass Property
Addition | Transmission | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 4 | 4159.71 | 21466.62 | 25626.33 | TL1-Redwood #2 Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1014 | 1014 | 75 Ft Wood Pole | 2 | 4856.38 | 12650.99 | 17507.37 | TL1-Redwood #2 Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1016 | 1016 | 85 Ft Wood Pole | 2 | 6282.79 | 12650.99 | 18933.78 | TL1-Redwood #2 Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1007 | 1007 | 40 Ft Wood Pole | 1 | 375.6 | 7971.6 | 8347.2 | TL1-Redwood Loop Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1013 | 1013 | 70 Ft Wood Pole | 1 | 2016 | 14160 | 16176 | TL1-Redwood Loop Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures5521 | 5521 | 110 Ft Steel Pole | 2 | 38030.4 | 69381.6 | 107412 | TL2-Callaway-Port Saint Joe Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures5522 | 5522 | 115 Ft Steel Pole | 6 | 118724.4 | 208148.4 | 326872.8 | TL2-Callaway-Port Saint Joe Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1124 | 1124 | 125 Ft Concrete Pole | 2 | 23823.6 | 69381.6 | 93205.2 | TL2-Callaway-Port Saint Joe Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1111 | 1111 | 60 Ft Concrete Pole | 1 | 5334.03 | 5740.59 | 11074.62 | TL1-Callaway-Wewa Rd Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1114 | 1114 | 75 Ft Concrete Pole | 3 | 17523.73 | 19770.44 | 37294.17 | TL1-Callaway-Wewa Rd Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1118 | 1118 | 95 Ft Concrete Pole | 4 | 33047.04 | 26360.58 | 59407.62 | TL1-Callaway-Wewa Rd Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1119 | 1119 | 100 Ft Concrete Pole | 2 | 18299.19 | 13180.29 | 31479.48 | TL1-Callaway-Wewa Rd Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1120 | 1120 | 105 Ft Concrete Pole | 12 | 114737 | 79081.74 | 193818.74 | TL1-Callaway-Wewa Rd Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1121 | 1121 | 110 Ft Concrete Pole | 2 | 18891.3 | 13180.29 | 32071.59 | TL1-Callaway-Wewa Rd Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1123 | 1123 | 120 Ft Concrete Pole | 2 | 23756.73 | 13180.29 | 36937.02 | TL1-Callaway-Wewa Rd Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1124 | 1124 | 125 Ft Concrete Pole | 2 | 25279.65 | 13180.29 | 38459.94 | TL1-Callaway-Wewa Rd Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 8 | 8326.97 | 48095.81 | 56422.78 | TL1-Scholz-Wewa Rd Calhoun
Addition | Transmission | 355 - Poles, Towers & Fixtures1009 | 1009 | 50 Ft Wood Pole | 1 | 458.93 | 6023.14 | 6482.07 | TL1-Sinai Cemetery-GA (Bainbridge) Gadsden
Addition | Transmission | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 3 | 2976.82 | 18064.64 | 21041.46 | TL1-Sinai Cemetery-GA (Bainbridge) Gadsden
Addition | Transmission | 355 - Poles, Towers & Fixtures1014 | 1014 | 75 Ft Wood Pole | 2 | 4763.91 | 14200.68 | 18964.59 | TL1-Sinai Cemetery-GA (Bainbridge) Gadsden
Addition | Transmission | 355 - Poles, Towers & Fixtures1015 | 1015 | 80 Ft Wood Pole | 2 | 6286.62 | 14202.27 | 20488.89 | TL1-Sinai Cemetery-GA (Bainbridge) Gadsden
Addition | Transmission | 355 - Poles, Towers & Fixtures1113 | 1113 | 70 Ft Concrete Pole | 2 | 10885.91 | 19103.71 | 29989.62 | TL1-Sinai Cemetery-GA (Bainbridge) Gadsden
Addition | Transmission | 355 - Poles, Towers & Fixtures1117 | 1117 | 90 Ft Concrete Pole | 1 | 7041.11 | 9551.86 | 16592.97 | TL1-Sinai Cemetery-GA (Bainbridge) Gadsden
Addition | Transmission | 355 - Poles, Towers & Fixtures1011 | 1011 | 60 Ft Wood Pole | 4 | 2839.2 | 12609.6 | 15448.8 | TL1-Scholz-Highland City #2 Calhoun
Addition | Transmission | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 104 | 104215.2 | 327849.6 | 432064.8 | TL1-Scholz-Highland City #2 Calhoun
Addition | Transmission | 355 - Poles, Towers & Fixtures1013 | 1013 | 70 Ft Wood Pole | 18 | 30403.2 | 95158.8 | 125562 | TL1-Scholz-Highland City #2 Calhoun
Addition | Transmission | 355 - Poles, Towers & Fixtures1014 | 1014 | 75 Ft Wood Pole | 4 | 9417.6 | 22401.6 | 31819.2 | TL1-Scholz-Highland City #2 Calhoun
Addition | Transmission | 355 - Poles, Towers & Fixtures1015 | 1015 | 80 Ft Wood Pole | 2 | 5889.6 | 11200 | 17089.6 | TL1-Scholz-Highland City #2 Calhoun
Addition | Transmission | 355 - Poles, Towers & Fixtures1011 | 1011 | 60 Ft Wood Pole | 2 | 1419.6 | 7976.4 | 9396 | TL1-Scholz-Wewa Rd #1 Calhoun
Addition | Transmission | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 38 | 36619.2 | 151555.2 | 188174.4 | TL1-Scholz-Wewa Rd #1 Calhoun
Addition | Transmission | 355 - Poles, Towers & Fixtures1013 | 1013 | 70 Ft Wood Pole | 6 | 10192.8 | 42512.4 | 52705.2 | TL1-Scholz-Wewa Rd #1 Calhoun
Addition | Transmission | 355 - Poles, Towers & Fixtures5516 | 5516 | 85 Ft Steel Pole | 8 | 71289.57 | 95484.11 | 166773.68 | TL1-Parker Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures5517 | 5517 | 90 Ft Steel Pole | 2 | 21330.03 | 23854.69 | 45184.72 | TL1-Parker Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 2 | 1728.75 | 6872.42 | 8601.17 | TL1-Redwood #2 Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 6 | 6105.6 | 28832.4 | 34938 | TL1-Scholz-Wewa Rd #1 Calhoun
Addition | Transmission | 355 - Poles, Towers & Fixtures1014 | 1014 | 75 Ft Wood Pole | 2 | 6217.2 | 11331.6 | 17548.8 | TL1-Scholz-Wewa Rd #1 Calhoun
Addition | Transmission | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 11 | 1522.4 | 55650 | 57172.4 | TL1-Scholz-Wewa Rd #1 Calhoun
Addition | Transmission | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 4 | 3360 | 16962 | 20322 | Altha-Blountstown Calhoun
Addition | Transmission | 355 - Poles, Towers & Fixtures1114 | 1114 | 75 Ft Concrete Pole | 1 | 5798.4 | 6728.4 | 12526.8 | Altha-Blountstown Calhoun
Addition | Transmission | 355 - Poles, Towers & Fixtures1010 | 1010 | 55 Ft Wood Pole | 2 | 924.26 | 7780.32 | 8704.58 | TL1-Highland City-Greenwood Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 1 | 852.23 | 3890.89 | 4743.12 | TL1-Highland City-Greenwood Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1013 | 1013 | 70 Ft Wood Pole | 2 | 3590.83 | 13817.81 | 17408.64 | TL1-Highland City-Greenwood Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1014 | 1014 | 75 Ft Wood Pole | 2 | 4217.18 | 13819.28 | 18036.46 | TL1-Highland City-Greenwood Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 8 | 7744.8 | 28051.2 | 35796 | TL1-Alford Tap Jackson
Addition | Transmission | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 3 | 3679.04 | 11054.5 | 14733.54 | TL1-South Crestview-Highland Walton
Addition | Transmission | 355 - Poles, Towers & Fixtures1013 | 1013 | 70 Ft Wood Pole | 18 | 36169.89 | 78217.48 | 114387.37 | TL1-South Crestview-Highland Walton
Addition | Transmission | 355 - Poles, Towers & Fixtures1116 | 1116 | 85 Ft Concrete Pole | 1 | 7134 | 5845.29 | 12979.29 | TL1-South Crestview-Highland Walton
Addition | Transmission | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 1 | 996.87 | 9243.51 | 10240.38 | TL4-Arizona Chemical Tap Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1010 | 1010 | 55 Ft Wood Pole | 1 | 543.55 | 8923.12 | 9466.67 | TL4-Wewa-Tyndall (West Circuit) Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1011 | 1011 | 60 Ft Wood Pole | 2 | 1493.19 | 17844.08 | 19337.27 | TL4-Wewa-Tyndall (West Circuit) Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1010 | 1010 | 55 Ft Wood Pole | 10 | 4489.18 | 62716.81 | 67205.99 | TL4-Wewa-Tyndall (East Circuit) Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1011 | 1011 | 60 Ft Wood Pole | 6 | 3673.66 | 37630.09 | 41303.75 | TL4-Wewa-Tyndall (East Circuit) Bay
Addition | Transmission | 355 - Poles, Towers & Fixtures1012 | 1012 | 65 Ft Wood Pole | 1 | 703.74 | 6271.68 | 6975.42 | TL4-Wewa-Tyndall (East Circuit) Bay

## RFL FERC RUC
Gulf Power Company
Docket No. 20190038-EI
OPC's First Set of Interrogatories
Interrogatory No. 27
Attachment No. 1
Tab 4 of 4
Roll Forward Ledger
2018
Additions
FERC | RUC | DESCRIPTION | FERC RUC |  | AUC
Account 364 - Poles, Towers, and Fixtures
364 |  | Pole - Wood
364 | 1005 | 30 Ft. | 364 1005 | 30 Ft. Pole - Wood | 846.12
364 | 1006 | 35 | 364 1006 | 35' Pole - Wood | 1591.69
364 | 1007 | 40 | 364 1007 | 40' Pole - Wood | 1620.86
364 | 1008 | 45 | 364 1008 | 45' Pole - Wood | 1872.77
364 | 1009 | 50 | 364 1009 | 50' Pole - Wood | 2266.01
364 | 1010 | 55 | 364 1010 | 55' Pole - Wood | 2735.57
364 | 1011 | 60 | 364 1011 | 60' Pole - Wood | 5953.67
364 | 1012 | 65 | 364 1012 | 65' Pole - Wood | 1932.39
364 | 1013 | 70 | 364 1013 | 70' Pole - Wood | 7812.23
364 | 1014 | 75 | 364 1014 | 75' Pole - Wood | 5142.27
364 | 1015 | 80 | 364 1015 | 80' Pole - Wood | 0
364 | 1016 | 85 | 364 1016 | 85' Pole - Wood | 0
364 | 1017 | 90 | 364 1017 | 90' Pole - Wood | 0
364 | 1018 | 95 | 364 1018 | 95' Pole - Wood | 0
364 | 1019 | 100 | 364 1019 | 100' Pole - Wood | 0
Pole - Concrete
364 | 1306 | 35 Ft. | 364 1306 | 35 Ft. Pole - Concrete | 0
364 | 1307 | 40 | 364 1307 | 40' Pole - Concrete | 0
364 | 1308 | 45 | 364 1308 | 45' Pole - Concrete | 0
364 | 1309 | 50 | 364 1309 | 50' Pole - Concrete | 3559.52
364 | 1310 | 55 | 364 1310 | 55' Pole - Concrete | 95587.29
364 | 1311 | 60 | 364 1311 | 60' Pole - Concrete | 73573.68
364 | 1312 | 65 | 364 1312 | 65' Pole - Concrete | 122938.51
364 | 1313 | 70 | 364 1313 | 70' Pole - Concrete | 0
364 | 1314 | 75 | 364 1314 | 75' Pole - Concrete | 0
364 | 1324 | 125 | 364 1324 | 125' Pole - Concrete | 0
364 | 1500 | Pole Truss, Steel Reinforced | 364 1500 | Pole Truss, Steel Reinforced | 1106.53
364 | 2300 | Set of Pole Fixtures | 364 2300 | Set of Pole Fixtures | 823.45
Account 365 - Overhead Conductors & Devices
Wire
365 | 1000 | Copper, Bare | 365 1000 | Copper, Bare Wire | 73.93
365 | 1100 | Copper, Covered | 365 1100 | Copper, Covered Wire | 15.7
365 | 1200 | Aluminum, Bare | 365 1200 | Aluminum, Bare Wire | 22.48
365 | 1300 | Aluminum, Covered | 365 1300 | Aluminum, Covered Wire | 0
Cable
365 | 2100 | Duplex | 365 2100 | Duplex Cable | 4.55
365 | 2200 | Triplex | 365 2200 | Triplex Cable | 6.1
365 | 2300 | Quadruplex | 365 2300 | Quadruplex Cable | 12.07
Aerial Cable
365 | 2403 | 3 Conductor | 365 2403 | 3 Conductor Aerial Cable | 0
SPST Switch
365 | 5001 | 0 - 5 KV | 365 5001 | 0 - 5 KV SPST Switch | 0
365 | 5002 | 5.1 - 15 KV | 365 5002 | 5.1 - 15 KV SPST Switch | 1010.92
365 | 5003 | 15.1 - 25 KV | 365 5003 | 15.1 - 25 KV SPST Switch | 2565.89
365 | 5005 | Over 35 KV | 365 5005 | Over 35 KV SPST Switch | 0
Gang Operated Switch
365 | 5101 | 0 - 5 KV | 365 5101 | 0 - 5 KV Gang Operated Switch | 0
365 | 5102 | 5.1 - 15 KV | 365 5102 | 5.1 - 15 KV Gang Operated Switch | 12918.01
365 | 5103 | 15.1 - 25 KV | 365 5103 | 15.1 - 25 KV Gang Operated Switch | 9387.99
365 | 5105 | Over 35 KV | 365 5105 | Over 35 KV Gang Operated Switch | 0
365 | 5200 | Repeater Fuse - 3 Shot | 365 5200 | Repeater Fuse - 3 Shot | 0
Oil Circuit Recloser
365 | 5311 | 1 Phase 0 - 15KV | 365 5311 | 1 Phase 0 - 15KV Oil Circuit Recloser | 0
365 | 5312 | 1 Phase 15.1 - 25KV | 365 5312 | 1 Phase 15.1 - 25KV Oil Circuit Recloser | 0
365 | 5331 | 3 Phase 0 - 15KV | 365 5331 | 3 Phase 0 - 15KV Oil Circuit Recloser | 0
365 | 5335 | 3 Phase Electronic | 365 5335 | 3 Phase Electronic Oil Circuit Recloser | 0
Sectionalizer
365 | 5410 | 1 Phase | 365 5410 | 1 Phase Sectionalizer | 2260.49
365 | 5430 | 3 Phase | 365 5430 | 3 Phase Sectionalizer | 0
Vacuum Recloser
365 | 5510 | 1 Phase | 365 5510 | 1 Phase Vacuum Recloser | 7076.59
365 | 5530 | 3 Phase | 365 5530 | 3 Phase Vacuum Recloser | 0
365 | 5535 | 3 Phase Electronic | 365 5535 | 3 Phase Electronic Vacuum Recloser | 20378.86
Automatic Transfer Switch (Complete)
365 | 5710 | 1 Phase | 365 5710 | 1 Phase Automatic Transfer Switch (Complete) | 0
365 | 5730 | 3 Phase | 365 5730 | 3 Phase Automatic Transfer Switch (Complete) | 0
365 | 5800 | Recloser By-Pass Switch | 365 5800 | Recloser By-Pass Switch | 2615.83
365 | 6101 | Open Conductor, Sensoring Equipment | 365 6101 | Open Conductor, Sensoring Equipment | 1483.59
365 | 6200 | Control Box, Sensoring Equipment | 365 6200 | Control Box, Sensoring Equipment | 12429.93
365 | 6300 | Remote Terminal Unit, Sensoring Equipment | 365 6300 | Remote Terminal Unit, Sensoring Equipment | 3166.25
365 | 6400 | Radio, Sensoring Equipment | 365 6400 | Radio, Sensoring Equipment | 5490.76
Account 366 - Underground Conduit
Duct - Plastic or Concrete
366 | 1000 | Duct - Plastic or Concrete | 366 1000 | Duct - Plastic or Concrete | 0
Transformer Vault
366 | 1701 | For 1 Transformer | 366 1701 | For 1 Transformer Transformer Vault | 0
366 | 1702 | For 2 Transformers | 366 1702 | For 2 Transformers Transformer Vault | 0
Manhole
366 | 1800 | Manhole | 366 1800 | Manhole | 0
Service Hole/Splicing Chamber
366 | 1900 | Service Hole / Splicing Chamber | 366 1900 | Service Hole / Splicing Chamber | 0
Sump Pump
366 | 2300 | Sump Pump | 366 2300 | Sump Pump | 7739.06
Account 367 - Underground Conductors and Devices
0-4.9 KV Cable, Lead Covered, 1 Cond.
367 | 1001 | #1/0 & Below | 367 1001 | #1/0 & Below 0-4.9 KV Cable, Lead Covered, 1 Cond. | 0
5-15 KV Cable, Lead Covered, 1 Cond.
367 | 1201 | #1/0 & Below | 367 1201 | #1/0 & Below 5-15 KV Cable, Lead Covered, 1 Cond. | 0
5-15 KV Cable, Lead Covered, 3 Cond.
367 | 1302 | #2/0 - 4/0 | 367 1302 | #2/0 - 4/0 5-15 KV Cable, Lead Covered, 3 Cond. | 0
0-4.9 KV Cable, Non-Lead Covered, 1 Cond.
367 | 1551 | #1/0 & Below | 367 1551 | #1/0 & Below 0-4.9 KV Cable, Non-Lead Covered, 1 Cond. | 0
367 | 1552 | #2/0 - 4/0 | 367 1552 | #2/0 - 4/0 0-4.9 KV Cable, Non-Lead Covered, 1 Cond. | 27.19
367 | 1555 | 300 MCM | 367 1555 | 300 MCM 0-4.9 KV Cable, Non-Lead Covered, 1 Cond. | 0
367 | 1556 | 350 MCM | 367 1556 | 350 MCM 0-4.9 KV Cable, Non-Lead Covered, 1 Cond. | 0
367 | 1558 | 500 MCM | 367 1558 | 500 MCM 0-4.9 KV Cable, Non-Lead Covered, 1 Cond. | 0
0-4.9 KV Cable, Non-Lead Covered, 2 Cond.
367 | 1601 | #1/0 & Below | 367 1601 | #1/0 & Below 0-4.9 KV Cable, Non-Lead Covered, 2 Cond. | 0
367 | 1602 | #2/0 - 4/0 | 367 1602 | #2/0 - 4/0 0-4.9 KV Cable, Non-Lead Covered, 2 Cond. | 0
0-4.9 KV Cable, Non-Lead Covered, 3 Cond.
367 | 1651 | #1/0 & Below | 367 1651 | #1/0 & Below 0-4.9 KV Cable, Non-Lead Covered, 3 Cond. | 13.88
367 | 1652 | #2/0 - 4/0 | 367 1652 | #2/0 - 4/0 0-4.9 KV Cable, Non-Lead Covered, 3 Cond. | 15.79
367 | 1658 | 500 MCM | 367 1658 | 500 MCM 0-4.9 KV Cable, Non-Lead Covered, 3 Cond. | 18.89
0-4.9 KV Cable, Non-Lead Covered, 4 Cond.
367 | 1671 | #1/0 & Below | 367 1671 | #1/0 & Below 0-4.9 KV Cable, Non-Lead Covered, 4 Cond. | 0
367 | 1672 | #2/0 - 4/0 | 367 1672 | #2/0 - 4/0 0-4.9 KV Cable, Non-Lead Covered, 4 Cond. | 14.76
367 | 1675 | 500 MCM | 367 1675 | 500 MCM 0-4.9 KV Cable, Non-Lead Covered, 4 Cond. | 7.79
5-15 KV Cable, Non-Lead Covered, 1 Cond.
367 | 1751 | #1/0 & Below | 367 1751 | #1/0 & Below 5-15 KV Cable, Non-Lead Covered, 1 Cond. | 0
367 | 1752 | #2/0 - 4/0 | 367 1752 | #2/0 - 4/0 5-15 KV Cable, Non-Lead Covered, 1 Cond. | 0
367 | 1758 | 500 MCM | 367 1758 | 500 MCM 5-15 KV Cable, Non-Lead Covered, 1 Cond. | 0
367 | 1764 | 1000 MCM | 367 1764 | 1000 MCM 5-15 KV Cable, Non-Lead Covered, 1 Cond. | 0
5-15 KV Cable, Non-Lead Covered, 2 Cond.
367 | 1801 | #1/0 & Below | 367 1801 | #1/0 & Below 5-15 KV Cable, Non-Lead Covered, 2 Cond. | 0
5-15 KV Cable, Non-Lead Covered, 3 Cond.
367 | 1851 | #1/0 & Below | 367 1851 | #1/0 & Below 5-15 KV Cable, Non-Lead Covered, 3 Cond. | 0
367 | 1858 | 500 MCM | 367 1858 | 500 MCM 5-15 KV Cable, Non-Lead Covered, 3 Cond. | 0
0-4.9 KV Cable, 2 Cond. with Concentric Neutral
367 | 2901 | #1/0 & Below | 367 2901 | #1/0 & Below 0-4.9 KV Cable, 2 Cond. with Concentric Neutral | 0
367 | 2902 | #2/0 - 4/0 | 367 2902 | #2/0 - 4/0 0-4.9 KV Cable, 2 Cond. with Concentric Neutral | 0
0-4.9 KV Cable, 3 Cond. with Concentric Neutral
367 | 3001 | #1/0 & Below | 367 3001 | #1/0 & Below 0-4.9 KV Cable, 3 Cond. with Concentric Neutral | 0
367 | 3002 | #2/0 - 4/0 | 367 3002 | #2/0 - 4/0 0-4.9 KV Cable, 3 Cond. with Concentric Neutral | 0
5-15 KV Cable, 1 Cond. w/CN or Type LC Shield
367 | 3101 | #1/0 & Below | 367 3101 | #1/0 & Below 5-15 KV Cable, 1 Cond. w/CN or Type LC Shield | 14.92
367 | 3106 | 350 MCM | 367 3106 | 350 MCM 5-15 KV Cable, 1 Cond. w/CN or Type LC Shield | 0
367 | 3108 | 500 MCM | 367 3108 | 500 MCM 5-15 KV Cable, 1 Cond. w/CN or Type LC Shield | 0
5-15 KV Cable, 3 Cond. w/CN or Type LC Shield
367 | 3301 | #1/0 & Below | 367 3301 | #1/0 & Below 5-15 KV Cable, 3 Cond. w/CN or Type LC Shield | 0
367 | 3302 | #2/0 - 4/0 | 367 3302 | #2/0 - 4/0 5-15 KV Cable, 3 Cond. w/CN or Type LC Shield | 0
367 | 3306 | 350 MCM | 367 3306 | 350 MCM 5-15 KV Cable, 3 Cond. w/CN or Type LC Shield | 0
15.1-25 KV Cable, 1 Cond. w/CN or Type LC Shield
367 | 3401 | #1/0 & Below | 367 3401 | #1/0 & Below 15.1-25 KV Cable, 1 Cond. w/CN or Type LC Shield | 14.91
367 | 3411 | 750 MCM | 367 3411 | 750 MCM 15.1-25 KV Cable, 1 Cond. w/CN or Type LC Shield | 0
367 | 3414 | 1000 MCM | 367 3414 | 1000 MCM 15.1-25 KV Cable, 1 Cond. w/CN or Type LC Shield | 34.41
Neutral Conductor, Bare or Weatherproof
367 | 4001 | #1/0 & Below | 367 4001 | #1/0 & Below Neutral Conductor, Bare or Weatherproof | 0
367 | 4002 | #2/0 - 4/0 | 367 4002 | #2/0 - 4/0 Neutral Conductor, Bare or Weatherproof | 0
367 | 4004 | 250 MCM | 367 4004 | 250 MCM Neutral Conductor, Bare or Weatherproof | 0
367 | 4006 | 350 MCM | 367 4006 | 350 MCM Neutral Conductor, Bare or Weatherproof | 0
367 | 4008 | 500 MCM | 367 4008 | 500 MCM Neutral Conductor, Bare or Weatherproof | 0
5-15 KV Submarine Cable, 1 Cond.
367 | 4404 | 250 MCM | 367 4404 | 250 MCM 5-15 KV Submarine Cable, 1 Cond. | 0
367 | 4408 | 500 MCM | 367 4408 | 500 MCM 5-15 KV Submarine Cable, 1 Cond. | 0
367 | 4414 | 1000 MCM | 367 4414 | 1000 MCM 5-15 KV Submarine Cable, 1 Cond. | 0
5-15 KV Submarine Cable, 3 Cond.
367 | 4608 | 500 MCM | 367 4608 | 500 MCM 5-15 KV Submarine Cable, 3 Cond. | 0
15.1-25 KV Submarine Cable, 1 Cond.
367 | 4702 | #2/0 - 4/0 | 367 4702 | #2/0 - 4/0 15.1-25 KV Submarine Cable, 1 Cond. | 0
367 | 4709 | 750 MCM | 367 4709 | 750 MCM 15.1-25 KV Submarine Cable, 1 Cond. | 0
367 | 5000 | Silicone Cable Treatment | 367 5000 | Silicone Cable Treatment | 0
Distribution Line Sensoring Equipment
367 | 6100 | Conductor Sensor (Insulator) | 367 6100 | Conductor Sensor (Insulator) | 0
367 | 6200 | Control Box, Including Wiring | 367 6200 | Control Box, Including Wiring | 3795.11
367 | 6300 | Remote Terminal Unit | 367 6300 | Remote Terminal Unit | 0
367 | 6400 | Radio | 367 6400 | Radio | 0
3 Phase Oil Switch
367 | 7032 | 5.1 - 15 KV | 367 7032 | 5.1 - 15 KV 3 Phase Oil Switch | 0
367 | 7033 | 15.1 - 25 KV | 367 7033 | 15.1 - 25 KV 3 Phase Oil Switch | 0
Fused Switch
367 | 7052 | 5.1 - 15 KV | 367 7052 | 5.1 - 15 KV Fused Switch | 1633.501
367 | 7100 | Switch Panel or Cabinet | 367 7100 | Switch Panel or Cabinet | 13058.9
Switchgear Assembly, Enclosed
367 | 7111 | 0 - 5 KV | 367 7111 | 0 - 5 KV Switchgear Assembly, Enclosed | 0
367 | 7112 | 5.1 - 15 KV | 367 7112 | 5.1 - 15 KV Switchgear Assembly, Enclosed | 89789.16
367 | 7113 | 15.1 - 25 KV | 367 7113 | 15.1 - 25 KV Switchgear Assembly, Enclosed | 0
Automatic Transfer Switch - Vacuum, 3 Phase
367 | 7271 | 0 - 15 KV | 367 7271 | 0 - 15 KV Automatic Transfer Switch - Vacuum, 3 Phase | 0
367 | 7301 | Junction Box, Dry | 367 7301 | Junction Box, Dry | 2302.95
367 | 7450 | Demand Meter Assembly | 367 7450 | Demand Meter Assembly | 0
367 | 7540 | Switch Pad | 367 7540 | Switch Pad | 2126.62
367 | 7560 | Pedestal | 367 7560 | Pedestal | 0
Terminating Cabinet
367 | 7571 | 1 Phase | 367 7571 | 1 Phase Terminating Cabinet | 848.66
367 | 7573 | 3 Phase | 367 7573 | 3 Phase Terminating Cabinet | 2317.98
367 | 7625 | Network Underground Supervisory Control Equipment | 367 7625 | Network Underground Supervisory Control Equipment | 0
Account 368 - Line Transformers
Overhead Transformer - 1 Phase
368 | 1001 | 5 KVA & Below | 368 1001 | 5 KVA & Below Overhead Transformer - 1 Phase | 1226.8
368 | 1002 | 7.5 | 368 1002 | 7.5 kVA Overhead Transformer - 1 Phase | 0
368 | 1003 | 10 | 368 1003 | 10 kVA Overhead Transformer - 1 Phase | 0
368 | 1004 | 15 | 368 1004 | 15 kVA Overhead Transformer - 1 Phase | 956.48
368 | 1006 | 25 | 368 1006 | 25 kVA Overhead Transformer - 1 Phase | 1126.26
368 | 1008 | 37.5 | 368 1008 | 37.5 kVA Overhead Transformer - 1 Phase | 1373.93
368 | 1010 | 50 | 368 1010 | 50 kVA Overhead Transformer - 1 Phase | 1836.9
368 | 1013 | 75 | 368 1013 | 75 kVA Overhead Transformer - 1 Phase | 2482.43
368 | 1016 | 100 | 368 1016 | 100 kVA Overhead Transformer - 1 Phase | 3167.6
368 | 1020 | 150 | 368 1020 | 150 kVA Overhead Transformer - 1 Phase | 0
368 | 1021 | 167 | 368 1021 | 167 kVA Overhead Transformer - 1 Phase | 4229.61
368 | 1023 | 200 | 368 1023 | 200 kVA Overhead Transformer - 1 Phase | 0
368 | 1026 | 250 | 368 1026 | 250 kVA Overhead Transformer - 1 Phase | 0
368 | 1029 | 333 | 368 1029 | 333 kVA Overhead Transformer - 1 Phase | 0
368 | 1035 | 500 | 368 1035 | 500 kVA Overhead Transformer - 1 Phase | 0
368 | 1039 | 833 | 368 1039 | 833 kVA Overhead Transformer - 1 Phase | 0
Overhead Transformer - 3 Phase
368 | 1110 | 50 | 368 1110 | 50 kVA Overhead Transformer - 3 Phase | 0
368 | 1113 | 75 | 368 1113 | 75 kVA Overhead Transformer - 3 Phase | 0
368 | 1116 | 100 | 368 1116 | 100 kVA Overhead Transformer - 3 Phase | 0
368 | 1120 | 150 | 368 1120 | 150 kVA Overhead Transformer - 3 Phase | 0
368 | 1128 | 300 | 368 1128 | 300 kVA Overhead Transformer - 3 Phase | 0
368 | 1143 | 2500 | 368 1143 | 2500 kVA Overhead Transformer - 3 Phase | 0
Transformer - Vault Type - 1 Phase
368 | 1208 | 37.5 KVA | 368 1208 | 37.5 KVA Transformer - Vault Type - 1 Phase | 0
368 | 1210 | 50 | 368 1210 | 50 kVA Transformer - Vault Type - 1 Phase | 0
368 | 1213 | 75 | 368 1213 | 75 kVA Transformer - Vault Type - 1 Phase | 0
368 | 1216 | 100 | 368 1216 | 100 kVA Transformer - Vault Type - 1 Phase | 0
Transformer - Vault Type - 3 Phase
368 | 1335 | 500 KVA | 368 1335 | 500 KVA Transformer - Vault Type - 3 Phase | 40737.57
368 | 1338 | 750 | 368 1338 | 750 kVA Transformer - Vault Type - 3 Phase | 0
Transformer - Pad Mount - 1 Phase
368 | 1406 | 25 KVA | 368 1406 | 25 KVA Transformer - Pad Mount - 1 Phase | 1740.79
368 | 1408 | 37.5 | 368 1408 | 37.5 kVA Transformer - Pad Mount - 1 Phase | 1850.42
368 | 1410 | 50 | 368 1410 | 50 kVA Transformer - Pad Mount - 1 Phase | 2121.32
368 | 1413 | 75 | 368 1413 | 75 kVA Transformer - Pad Mount - 1 Phase | 2529.37
368 | 1416 | 100 | 368 1416 | 100 kVA Transformer - Pad Mount - 1 Phase | 3807.11
368 | 1421 | 167 | 368 1421 | 167 kVA Transformer - Pad Mount - 1 Phase | 4810.59
368 | 1430 | 333 | 368 1430 | 333 kVA Transformer - Pad Mount - 1 Phase | 0
Transformer - Pad Mount - 3 Phase
368 | 1510 | 50 KVA | 368 1510 | 50 KVA Transformer - Pad Mount - 3 Phase | 0
368 | 1513 | 75 | 368 1513 | 75 kVA Transformer - Pad Mount - 3 Phase | 0
368 | 1518 | 112.5 | 368 1518 | 112.5 kVA Transformer - Pad Mount - 3 Phase | 9358.42
368 | 1520 | 150 | 368 1520 | 150 kVA Transformer - Pad Mount - 3 Phase | 10445.8
368 | 1524 | 225 | 368 1524 | 225 kVA Transformer - Pad Mount - 3 Phase | 10692.85
368 | 1528 | 300 | 368 1528 | 300 kVA Transformer - Pad Mount - 3 Phase | 13224.75
368 | 1535 | 500 | 368 1535 | 500 kVA Transformer - Pad Mount - 3 Phase | 16157.26
368 | 1538 | 750 | 368 1538 | 750 kVA Transformer - Pad Mount - 3 Phase | 23606.44
368 | 1540 | 1000 | 368 1540 | 1000 kVA Transformer - Pad Mount - 3 Phase | 27019.12
368 | 1541 | 1500 | 368 1541 | 1500 kVA Transformer - Pad Mount - 3 Phase | 35064.21
368 | 1542 | 2000 | 368 1542 | 2000 kVA Transformer - Pad Mount - 3 Phase | 0
368 | 1543 | 2500 | 368 1543 | 2500 kVA Transformer - Pad Mount - 3 Phase | 50417.26
368 | 1544 | 3000 | 368 1544 | 3000 kVA Transformer - Pad Mount - 3 Phase | 0
Transformer - UG Dry Type - 1 Phase
368 | 1601 | 5 KVA | 368 1601 | 5 KVA Transformer - UG Dry Type - 1 Phase | 3163.67
368 | 1621 | 167 | 368 1621 | 167 kVA Transformer - UG Dry Type - 1 Phase | 0
368 | 1626 | 250 | 368 1626 | 250 kVA Transformer - UG Dry Type - 1 Phase | 0
368 | 1629 | 333 | 368 1629 | 333 kVA Transformer - UG Dry Type - 1 Phase | 0
Transformer - UG Dry Type - 3 Phase
368 | 1735 | 500 KVA | 368 1735 | 500 KVA Transformer - UG Dry Type - 3 Phase | 0
Transformer - Duplex Pad Mount - 3 Phase
368 | 1808 | 37.5 / 10 KVA | 368 1808 | 37.5 / 10 KVA Transformer - Duplex Pad Mount - 3 Phase | 0
368 | 1821 | 167 / 37.5 | 368 1821 | 167 / 37.5 kVA Transformer - Duplex Pad Mount - 3 Phase | 0
368 | 1826 | 250 / 37.5 | 368 1826 | 250 / 37.5 kVA Transformer - Duplex Pad Mount - 3 Phase | 0
Network Protector Equipment
368 | 1901 | Network Protector Relay | 368 1901 | Network Protector Relay | 5013.28
368 | 1905 | 216 V / 1600 A Network Protector | 368 1905 | 216 V / 1600 A Network Protector | 37031.14
Regulator - 1 Phase
368 | 4015 | 38.1 KVA | 368 4015 | 38.1 KVA Regulator - 1 Phase | 0
368 | 4023 | 76.2 | 368 4023 | 76.2 kVA Regulator - 1 Phase | 0
368 | 4025 | 100 | 368 4025 | 100 kVA Regulator - 1 Phase | 0
368 | 4027 | 114.3 | 368 4027 | 114.3 kVA Regulator - 1 Phase | 17937.93
368 | 4028 | 167 | 368 4028 | 167 kVA Regulator - 1 Phase | 19471.24
368 | 4030 | 250 - 300 | 368 4030 | 250 - 300 kVA Regulator - 1 Phase | 15206
368 | 4032 | 301 - 333 | 368 4032 | 301 - 333 kVA Regulator - 1 Phase | 16852.59
368 | 4045 | Conventional Regulator Controls | 368 4045 | Conventional Regulator Controls | 3825.64
Auto Booster - 1 Phase
368 | 4202 | 50 AMP | 368 4202 | 50 AMP Auto Booster - 1 Phase | 0
Capacitor - 1 Phase and 3 Phase
368 | 4501 | 0 - 75 KVAR | 368 4501 | 0 - 75 KVAR Capacitor - 1 Phase and 3 Phase | 0
368 | 4502 | 100 - 150 | 368 4502 | 100 - 150 kVAR Capacitor - 1 Phase and 3 Phase | 0
368 | 4503 | 200 - 300 | 368 4503 | 200 - 300 kVAR Capacitor - 1 Phase and 3 Phase | 1559.26
368 | 4504 | 400 | 368 4504 | 400 kVAR Capacitor - 1 Phase and 3 Phase | 2080.02
368 | 4700 | Capacitor Control Unit | 368 4700 | Capacitor Control Unit | 4213.13
Cutout
368 | 5001 | 0 - 5 KV | 368 5001 | 0 - 5 KV Cutout | 0
368 | 5002 | 5.1 - 27 KV | 368 5002 | 5.1 - 27 KV Cutout | 751.73
Arrester
368 | 5021 | 0 - 5 KV | 368 5021 | 0 - 5 KV Arrester | 577.99
368 | 5022 | 5.1 - 15 KV | 368 5022 | 5.1 - 15 KV Arrester | 669.43
368 | 5023 | 15.1 - 25 KV | 368 5023 | 15.1 - 25 KV Arrester | 513.99
368 | 5024 | Over 25 KV | 368 5024 | Over 25 KV Arrester | 0
368 | 5029 | Special (Deion) | 368 5029 | Special (Deion) Arrester | 0
Oil Switch
368 | 5060 | 1 Phase | 368 5060 | 1 Phase Oil Switch | 3146.69
368 | 5070 | 3 Phase | 368 5070 | 3 Phase Oil Switch | 0
Transformer Enclosure
368 | 5122 | 2-Unit | 368 5122 | 2-Unit Transformer Enclosure | 0
368 | 5123 | 3-Unit | 368 5123 | 3-Unit Transformer Enclosure | 0
Transformer Pad
368 | 5141 | 1 Phase | 368 5141 | 1 Phase Transformer Pad | 517.38
368 | 5143 | 3 Phase | 368 5143 | 3 Phase Transformer Pad | 711.76
Transformer Connection Cabinet
368 | 5161 | Type 1 - 2 Compartment | 368 5161 | Type 1 - 2 Compartment Transformer Connection Cabinet | 0
368 | 5180 | Regulator By-Pass Switch | 368 5180 | Regulator By-Pass Switch | 2751.53
Account 369 - Services
Service - Overhead
369 | 1002 | 2 Wire | 369 1002 | 2 Wire Service - Overhead | 733.35
369 | 1003 | 3 Wire | 369 1003 | 3 Wire Service - Overhead | 553.02
369 | 1004 | 4 Wire | 369 1004 | 4 Wire Service - Overhead | 588.65
Service Entrance Installation
369 | 2010 | All | 369 2010 | All Service Entrance Installation | 0
369 | 2011 | 100A - 1 Phase | 369 2011 | 100A - 1 Phase Service Entrance Installation | 0
369 | 2012 | 150A - 1 Phase | 369 2012 | 150A - 1 Phase Service Entrance Installation | 0
369 | 2013 | 200A - 1 Phase | 369 2013 | 200A - 1 Phase Service Entrance Installation | 0
369 | 2014 | Other - 1 Phase | 369 2014 | Other - 1 Phase Service Entrance Installation | 0
369 | 2033 | 200A - 3 Phase | 369 2033 | 200A - 3 Phase Service Entrance Installation | 0
Service - Direct Burial
369 | 3002 | 2 Wire | 369 3002 | 2 Wire Service - Direct Burial | 1797.9
369 | 3003 | 3 Wire | 369 3003 | 3 Wire Service - Direct Burial | 1029.02
369 | 3004 | 4 Wire | 369 3004 | 4 Wire Service - Direct Burial | 1654.22
369 | 6359 | 750 MCM, 1C, 5 - 15 KV, Non-Lead Covered Cable | 369 6359 | 750 MCM, 1C, 5 - 15 KV, Non-Lead Covered Cable | 0
Account 370 - Meters
Meter - One Phase
370 | 1001 | Self Contained, Not: IT, Demand, TOU or Undgl Rec | 370 1001 | Self Contained, Not: IT, Demand, TOU or Undgl Rec Meter - One Phase | 0
370 | 1002 | All Not Included In Ruc 1001 | 370 1002 | All Not Included In Ruc 1001 Meter - One Phase | 0
Meter - Three Phase
370 | 3001 | Self Contained Or IT, Not: Demand, TOU or Undgl Rec | 370 3001 | Self Contained Or IT, Not: Demand, TOU or Undgl Rec Meter - Three Phase | 389.59
370 | 3002 | All Not Included In Ruc 3001 | 370 3002 | All Not Included In Ruc 3001 Meter - Three Phase | 1511.76
370 | 4001 | Instrument Transformer (C.T. Or P.T) | 370 4001 | Instrument Transformer (C.T. Or P.T) | 122.85
370 | 4200 | Pedestal, Enclosure Or Pad | 370 4200 | Pedestal, Enclosure Or Pad | 27030.04
370 | 5001 | Auxiliary Equipment | 370 5001 | Auxiliary Equipment | 0
370 | 5200 | Whole House Surge Arrester | 370 5200 | Whole House Surge Arrester | 165.4
370 | 6001 | Accessory Equipment | 370 6001 | Accessory Equipment | 889.3
Advanced Metering Infrastructure (AMI) Equipment
370 | 6501 | 1 Phase AMI Meter | 370 6501 | 1 Phase AMI Meter | 144.06
370 | 6503 | 3 Phase AMI Meter | 370 6503 | 3 Phase AMI Meter | 208.52
370 | 6507 | Tower Gateway Base Station | 370 6507 | Tower Gateway Base Station | 0
370 | 6508 | Pole Mounted Gateway | 370 6508 | Pole Mounted Gateway | 0
Advanced Energy Management (AEM) Equipment
370 | 6200 | Set of Advanced Energy Management Meter Accessories | 370 6200 | Set of Advanced Energy Management Meter Accessories | 854.86
370 | 7200 | Advanced Energy Management Meter | 370 7200 | Advanced Energy Management Meter | 0
370 | 8200 | Advanced Energy Management Host System | 370 8200 | Advanced Energy Management Host System | 0
Account 373 - Street Lighting and Signal Systems
373 | 0001 | Smart Control System for Monitoring | 373 0001 | Smart Control System for Monitoring | 0
373 | 1001 | Cable - lead Covered, 1 Cond. - 600V | 373 1001 | Cable - lead Covered, 1 Cond. - 600V | 0
Cable - Non-lead Covered
373 | 1201 | 1 Cond. - 600 V | 373 1201 | 1 Cond. - 600 V Cable - Non-lead Covered | 0
373 | 1202 | 2 Cond. - 600 V | 373 1202 | 2 Cond. - 600 V Cable - Non-lead Covered | 0
373 | 2000 | Relay - Series or Multiple | 373 2000 | Relay - Series or Multiple | 2864.18
373 | 2100 | Time Switch | 373 2100 | Time Switch | 0
373 | 2300 | Open Circuit Protector | 373 2300 | Open Circuit Protector | 0
373 | 2600 | Transformer IL - All Sizes | 373 2600 | Transformer IL - All Sizes | 0
373 | 2800 | Transformer - Constant Current - All Sizes | 373 2800 | Transformer - Constant Current - All Sizes | 0
Pole - Wood
373 | 4001 | 30' | 373 4001 | 30' Pole - Wood | 0
373 | 4002 | 35' | 373 4002 | 35' Pole - Wood | 595.55
373 | 4003 | 40' | 373 4003 | 40' Pole - Wood | 610.46
373 | 4100 | Set of Street Light Fixtures | 373 4100 | Set of Street Light Fixtures | 23.74
Wire/Cable
373 | 4201 | Bare Wire | 373 4201 | Bare Wire Wire/Cable | 9.87
373 | 4202 | Duplex Cable | 373 4202 | Duplex Cable Wire/Cable | 1.77
373 | 4203 | Triplex Cable | 373 4203 | Triplex Cable Wire/Cable | 1.08
Pole - Concrete
373 | 5101 | 0' 0" - 14' 11" | 373 5101 | 0' 0" - 14' 11" Pole - Concrete | 0
373 | 5102 | 15' 0" - 19' 11" | 373 5102 | 15' 0" - 19' 11" Pole - Concrete | 1459.56
373 | 5105 | 30' 0" - 34' 11" | 373 5105 | 30' 0" - 34' 11" Pole - Concrete | 814.55
373 | 5106 | 35' 0" - 39' 11" | 373 5106 | 35' 0" - 39' 11" Pole - Concrete | 483.5
373 | 5107 | 40' 0" - 44' 11" | 373 5107 | 40' 0" - 44' 11" Pole - Concrete | 0
373 | 5108 | 45' 0" - 49' 11" | 373 5108 | 45' 0" - 49' 11" Pole - Concrete | 2161.61
Pole - Aluminum
373 | 5302 | 15' 0" - 19' 11" | 373 5302 | 15' 0" - 19' 11" Pole - Aluminum | 684.06
373 | 5303 | 20' 0" - 24' 11" | 373 5303 | 20' 0" - 24' 11" Pole - Aluminum | 624.68
373 | 5305 | 30' 0" - 34' 11" | 373 5305 | 30' 0" - 34' 11" Pole - Aluminum | 1600.46
373 | 5306 | 35' 0" - 39' 11" | 373 5306 | 35' 0" - 39' 11" Pole - Aluminum | 1326.32
Pole - Fiberglass
373 | 5702 | 15' 0" - 19' 11" | 373 5702 | 15' 0" - 19' 11" Pole - Fiberglass | 611.71
373 | 5705 | 30' 0" - 34' 11" | 373 5705 | 30' 0" - 34' 11" Pole - Fiberglass | 2211.98
373 | 5706 | 35' 0" - 39' 11" | 373 5706 | 35' 0" - 39' 11" Pole - Fiberglass | 0
Vapor Light
373 | 6201 | 0 - 9,000 Lumen | 373 6201 | 0 - 9,000 Lumen Vapor Light | 0
373 | 6202 | 9,001 - 19,000 | 373 6202 | 9,001 - 19,000 Vapor Light | 0
373 | 6203 | 19,001 - 39,000 | 373 6203 | 19,001 - 39,000 Vapor Light | 0
373 | 6204 | 39,001 - 100,000 | 373 6204 | 39,001 - 100,000 Vapor Light | 0
Metal Halide Light, Closed
373 | 6236 | 29,001 - 39,000 Lumen | 373 6236 | 29,001 - 39,000 Lumen Metal Halide Light, Closed | 633.83
373 | 6238 | 70,001 - 100,000 Lumen | 373 6238 | 70,001 - 100,000 Lumen Metal Halide Light, Closed | 1027.76
Vapor Floodlight, Pole Mounted
373 | 6253 | 19,001 - 39,000 Lumen | 373 6253 | 19,001 - 39,000 Lumen Vapor Floodlight, Pole Mounted | 0
373 | 6255 | 100,001 and above Lumen | 373 6255 | 100,001 and above Lumen Vapor Floodlight, Pole Mounted | 577.76
High Pressure Sodium Floodlight - Pole Mounted
373 | 6274 | 15,000 Lumen | 373 6274 | 15,000 Lumen High Pressure Sodium Floodlight - Pole Mounted | 362.25
Metal Halide Floodlight, Closed
373 | 6283 | 9,001 - 14,000 Lumen | 373 6283 | 9,001 - 14,000 Lumen Metal Halide Floodlight, Closed | 671.92
373 | 6286 | 29,001 - 39,000 Lumen | 373 6286 | 29,001 - 39,000 Lumen Metal Halide Floodlight, Closed | 414.31
373 | 6287 | 39,001 - 70,000 Lumen | 373 6287 | 39,001 - 70,000 Lumen Metal Halide Floodlight, Closed | 452.35
373 | 6288 | 70,001 - 100,000 Lumen | 373 6288 | 70,001 - 100,000 Lumen Metal Halide Floodlight, Closed | 601.88
Light Emitting Diode (LED) Light
373 | 8001 | 0 - 4,500 Lumen | 373 8001 | 0 - 4,500 Lumen Light Emitting Diode (LED) Light | 278.67
373 | 8002 | 4,501 - 9,000 Lumen | 373 8002 | 4,501 - 9,000 Lumen Light Emitting Diode (LED) Light | 110.26
373 | 8003 | 9,001 - 14,000 Lumen | 373 8003 | 9,001 - 14,000 Lumen Light Emitting Diode (LED) Light | 392.09
373 | 8004 | 14,001 - 19,000 Lumen | 373 8004 | 14,001 - 19,000 Lumen Light Emitting Diode (LED) Light | 808.68
373 | 8005 | 19,001 - 29,000 Lumen | 373 8005 | 19,001 - 29,000 Lumen Light Emitting Diode (LED) Light | 1071.88
373 | 8006 | 29,001 - 39,000 Lumen | 373 8006 | 29,001 - 39,000 Lumen Light Emitting Diode (LED) Light | 1272.08
High Pressure Sodium Light
373 | 9003 | 5,400LU 70W OL | 373 9003 | 5,400LU 70W OL High Pressure Sodium Light | 0
373 | 9004 | 8,800LU 100W OL | 373 9004 | 8,800LU 100W OL High Pressure Sodium Light | 189.26
373 | 9053 | 5,400LU 70W SL | 373 9053 | 5,400LU 70W SL High Pressure Sodium Light | 0
373 | 9054 | 8,800LU 100W SL | 373 9054 | 8,800LU 100W SL High Pressure Sodium Light | 182.85
373 | 9056 | 20,000 - 25,000 LU 200 - 250W SL | 373 9056 | 20,000 - 25,000 LU 200 - 250W SL High Pressure Sodium Light | 328.97
373 | 9059 | 46,000LU 400W SL | 373 9059 | 46,000LU 400W SL High Pressure Sodium Light | 403.73