## PERMIT NUMBERS
WATER SYSTEM NAME | GENSET | I/C | CO# | PWS ID# | CUP PERMIT # | SYSTEM START DATE | COUNTY | ISSUED | EXPIRES | TERM | CUP ANN AVG | DAILY MAX | ANNUAL TOTAL | WMD | DEP DIST | CORROSION INHIBITOR USED
UIF - BEAR LAKE |  | Y | 252 | 3590069 | 8348 | 1958 | SEMINOLE | 2000-11-15 | 2020-11-15 | 20.0137 | 0.0792 |  |  | SJR | CENTRAL
UIF - LITTLE WEKIVA |  |  | 252 | 3590762 | 8349 | 1965 | SEMINOLE | 2000-11-15 | 2020-11-15 | 20.0137 | 0.024 |  |  | SJR | CENTRAL
UIF - OAKLAND SHORES |  | Y | 252 | 3590912 | 8345 | 1957 | SEMINOLE | 2000-11-15 | 2020-11-15 | 20.0137 | 0.0969 |  |  | SJR | CENTRAL
UIF - PARK RIDGE |  |  | 252 | 3590993 | 8353 | 1959 | SEMINOLE | 2000-11-15 | 2020-11-15 | 20.0137 | 0.0257 |  |  | SJR | CENTRAL | AQUADENE-L&C
UIF - RAVENNA PARK |  | Y | 252 | 3591061 | 8352 | 1958 | SEMINOLE | 2018-12-21 | 2020-11-15 | 1.9041 | 0.1714 |  |  | SJR | CENTRAL
UIF - LUSI N (CUP: combined N&S) | YES |  | 251 | 3354883 | 2700 | 1980 | LAKE | 2014-08-14 | 2024-08-12 | 10.0027 | 5.316 |  |  | SJR | CENTRAL | AQ'DN@ ORANGES-L&C
UIF - PENNBROOKE FAIRWAYS | YES |  | 260 | 3354653 | 2717 | 1986 | LAKE | 2005-09-14 | 2025-09-14 | 20.0137 | 0.454 |  |  | SJR | CENTRAL | AQUADENE-IRON SEQ'T
UIF - SANLANDO | YES | Y | 255 | 3591121 | 160 | 1965 | SEMINOLE | 2005-09-14 | 2025-09-14 | 20.0137 | 10.375 |  |  | SJR | CENTRAL | AQUADENE-L&C
ACME WATER (non-potable) |  | N | 254 | N/A | 64455 | 1998 | LAKE | 2018-12-10 | 2028-12-05 | 9.9945 | 0.9609 |  | 350.75 | SJR | N/A
UIF - LABRADOR | YES |  | 259 | 6514842 | 6867 | 1982 | PASCO | 2011-04-22 | 2031-02-17 | 19.8384 | 0.099785 | 0.1607 Peak Mo |  | SWF | SOUTHWEST | AQUADENE-IRON SEQ'T
UIF - ORANGEWOOD | YES |  | 252 | 6511311 | 3590 | 1963 | PASCO | 2013-09-12 | 2033-09-12 | 20.0137 | 0.26 | 0.3460 Peak Mo |  | SWF | SOUTHWEST
UIF - LAKE TARPON |  | Y | 252 | 6521000 | 10350 | 1928 | PINELLAS | 2014-01-27 | 2034-01-27 | 20.0137 | 0.0843 | 0.1720 Peak Mo |  | SWF | SOUTHWEST
UIF - GOLDEN HILLS | YES |  | 252 | 6424076 | 5643 | 1973 | MARION | 2016-02-23 | 2036-02-23 | 20.0137 | 0.1884 | 0.2449 Peak Mo |  | SWF | CENTRAL
UIF - JANSEN | YES |  | 252 | 3590615 | 8347 | 1958 | SEMINOLE | 2016-05-27 | 2036-06-07 | 20.0438 | 0.075 |  |  | SJR | CENTRAL | AQUADENE-IRON SEQ'T
UIF - WEATHERSFIELD | YES | Y | 252 | 3591451 | 8346 | 1958 | SEMINOLE | 2016-06-07 | 2036-06-07 | 20.0137 | 0.237 |  |  | SJR | CENTRAL
UIF - CYPRESS LAKES | YES |  | 248 | 6535055 | 13043 | 1987 | POLK | 2017-09-01 | 2037-09-01 | 20.0137 | 0.2983 | 0.382 Peak Mo |  | SWF | SOUTHWEST
UIF - LAKE SAUNDERS | YES |  | 252 | 3354695 | 50094 | 1984 | LAKE | 2018-05-03 | 2038-05-05 | 20.0192 | 0.012329 |  | 4.5 | SJR | CENTRAL | IRON FILTERS
UIF - LAKE PLACID | YES |  | 242 | 6280273 | N/A | 1969 | HIGHLANDS | N/A | N/A | N/A | N/A |  |  | N/A | SOUTH | N/A
UIF - FOUR LAKES | YES |  | 251 | 3354647 | N/A | 1980 | LAKE | N/A | N/A | N/A | N/A |  |  | N/A | CENTRAL
UIF - LUSI S (CUP: combined N&S) | YES |  | 251 | 3354881 | 2879 | 1991 | LAKE | N/A | N/A | N/A | 3.887 |  |  | SJR | CENTRAL
CONSECUTIVE SYSTEMS
UIF - SUMMERTREE | NO | Y | 252 | 6511423 | N/A | 1971 | PASCO | [6 empty] | SWF
UIF - CRESCENT HEIGHTS | NO | Y | 252 | 3480255 | N/A | 1959 | ORANGE | [6 empty] | SJR | CENTRAL
UIF - DAVIS SHORE | NO | Y | 252 | 3480272 | N/A | 1953 | ORANGE | [6 empty] | SJR | CENTRAL
COLLECTION SYSTEMS | [16 empty] | LIFT STNS
UIF - WEATHERSFIELD | YES |  | 252 | N/A | N/A | 1958 | SEMINOLE | [7 empty] | CENTRAL |  | 7
UIF - LINCOLN HTS/RAVENNA | NO |  | 252 | N/A | N/A | 1958 | SEMINOLE | [7 empty] | CENTRAL |  | 4
UIF - SHADOW HILLS | NO |  | 246 | N/A | N/A | 1973 | SEMINOLE | [7 empty] | CENTRAL |  | 13
UIF - WIS-BAR (Orangewood) | YES |  | 252 | N/A | N/A | 1969 | PASCO | [7 empty] | SOUTHWEST |  | 2
UIF - SUMMERTREE | YES |  | 252 | N/A | N/A | 1971 | PASCO | [7 empty] | SOUTHWEST |  | 6
UIF - SANDALHAVEN | YES |  | 256 | N/A | N/A | 1980 | CHARLOTTE | [7 empty] | SOUTH |  | 13
UIF - TIERRA VERDE | NO |  | 241 | N/A | N/A | 1963 | PINELLAS | [7 empty] | SOUTHWEST |  | 7
WWTP'S |  |  |  | OPERATING PMT# | DISTRICT OFFICE | PERMIT EFFECTIVE DATE | EXPIRE DATE | RENEW APP DATE | CONSULTANT | PERMITED CAPACITY (mgd) | DAYS SINCE RENEWAL APP SUBMITTED |  |  | DISPOSAL METHOD | COMMENTS |  |  | REV# | PREVIOUS EXP DATE | PREVIOUS APP DATE | DAYS TO PROCESS | YRS TO PROCESS | TN & TP
WEKIVA HUNT CLUB | YES |  | 255 | FL0036251-022 | C | 2016-03-31 | 2021-03-30 | 2020-10-01 | Excel Eng | 2.9 |  | CENTRAL |  | REUSE, RIBS, CRK | NPDES: 2.900 (reuse), 0.400 (RIBs), 0.870 (Surface) |  | 59 | -22 | 2016-03-31 | 2015-09-30 | 183 | 0.50137 | YES
MID-COUNTY | YES |  | 250 | FL0034789-013 | SW | 2016-08-05 | 2021-08-04 | 2021-02-05 | Excel Eng | 0.9 |  | SOUTHWEST |  | CURLEW CREEK | NPDES permit |  | 19 | -13 | 2016-08-05 | 2016-02-01 | 186 | 0.50959 | YES
LAKE GROVES | YES |  | 251 | FLA010630-007 | C | 2012-05-30 | 2022-05-29 | 2021-11-30 | CPH Eng | 1 |  | CENTRAL |  | REUSE & RIBs | 1.000 res reuse |  | 25 | -7 | 2007-07-03 | 2012-02-06 | 114 | 0.31233 | NO
EAGLE RIDGE | YES |  | 249 | FLA014498-014 | S | 2018-03-30 | 2023-03-29 | 2022-09-30 | Excel Eng | 0.318 |  | SOUTH |  | REUSE | golf course only |  | 11 | -14 | 2008-10-14 | 2017-12-14 | 106 | 0.29041 | NO
CROSS CREEK | YES |  | 249 | FLA014505-006 | S | 2013-04-24 | 2023-04-23 | 2022-10-25 | Excel Eng | 0.249 |  | SOUTH |  | REUSE | golf course only |  | 2 | -6 | 2008-10-14 | 2012-12-30 | 115 | 0.31507 | NO
UIF - CROWNWOOD | NO |  | 252 | FLA012680-004 | C | 2013-07-15 | 2023-07-08 | 2023-01-09 | Excel Eng | 0.04 |  | CENTRAL |  | PERC PONDS |  |  | 1 | -4 | 2009-03-22 | 2013-06-20 | 25 | 0.068493 | NO
LABRADOR | YES |  | 259 | FLA012801-007 | SW | 2015-03-25 | 2025-03-22 | 2024-09-23 | Excel Eng | 0.216 |  | SOUTHWEST |  | SPRAY FLD |  |  | 2 | -7 | 2015-03-22 | 2014-09-01 | 205 | 0.56164 | YES
LAKE PLACID, SUN 'N LAKES OF | NO |  | 242 | FLA014386-006 | S | 2015-06-19 | 2025-06-18 | 2024-12-20 | Excel Eng | 0.09 |  | SOUTH |  | PERC PONDS |  |  | 4 | -6 | 2015-10-18 | 2015-04-01 | 79 | 0.21644 | TN ONLY
PENNBROOKE FAIRWAYS | YES |  | 260 | FLA010570-010 | C | 2015-10-02 | 2025-10-01 | 2025-04-04 | TL Knight | 0.18 |  | CENTRAL |  | REUSE + RIBs | golf course only |  | 6 | -10 | 2004-03-15 | 2015-04-20 | 165 | 0.45205 | YES
BARRINGTON ESTATES | NO |  | 251 | FLA416207-004 | C | 2016-06-08 | 2026-06-07 | 2025-12-09 | Bolivar Consltg | 0.049 |  | CENTRAL |  | RIBs |  |  | 2 | -4 | 2016-09-14 | 2016-03-18 | 82 | 0.22466 | YES
CYPRESS LAKES | YES |  | 248 | FLA013123-009 | SW | 2019-04-30 | 2029-04-29 | 2028-10-31 | Excel Eng | 0.19 |  | SOUTHWEST |  | REUSE | golf course only |  | 7 | -11 | 2009-01-12 | 2018-09-07 | 235 | 0.64384 | YES
AVERAGE | [7 empty] | Renewal in process | [12 empty] | 126 | 0.34521
NOTE: | [5 empty] | 10-year term | [9 empty] | TOTAL L/S | 190
1. 3-DIGIT# IN PERMIT# REPRESENTS THE PERMIT REVISION #
2. DW#= DOMESTIC WASTEWATER PERMIT TYPE (1, 2, OR 3) OF PLANT
DEP WWTP ID #s
MID-COUNTY |  |  |  | FL0034789
WEKIVA HUNT CLUB |  |  |  | FL0036251
PENNBROOKE FAIRWAYS |  |  |  | FLA010570
LAKE GROVES |  |  |  | FLA010630
CROWNWOOD |  |  |  | FLA012680
LABRADOR |  |  |  | FLA012801
CYPRESS LAKES |  |  |  | FLA013123
LAKE PLACID, SUN 'N LAKES OF |  |  |  | FLA014386
EAGLE RIDGE |  |  |  | FLA014498
CROSS CREEK COMM ASSN |  |  |  | FLA014505
CANCELLED WWTP PERMITS DUE TO DIVESTMENTS OR DIVERSION OF FLOWS
MILES GRANT | SOLD |  | 253 | FLA013842 | SE | 2006-10-16 | 2011-10-15 | 2011-04-18 | MacDonald | 0.3 |  | SOUTHEAST |  | REUSE | golf course only |  | 6 | -6 | 2005-04-25 | 2004-10-27 | 719 | 1.9699 | NO
PEBBLE CREEK VILLAGE | SOLD |  | 244 | FL0039896 | SW | 2009-02-13 | 2014-02-12 | 2013-08-16 | MacDonald | 0.4 |  | SOUTHWEST |  | REUSE, PEBBLE CREEK | golf course, common areas, refill ponds |  | 7 | -8 | 2007-12-31 | 2007-06-28 | 596 | 1.6329 | YES
HUTCHINSON ISLAND (IRP) | SOLD |  | 261 | FLA013792 | SE | 2009-04-08 | 2014-04-07 | 2013-10-09 | MacDonald | 0.3 |  | SOUTHEAST |  | REUSE, PERC POND | golf course only |  | 16 | -4 | 2002-12-27 | 2007-09-22 | 564 | 1.5452 | NO
WEDGEFIELD | SOLD |  | 247 | FLA010900 | C | 2010-01-29 | 2015-01-27 | 2014-07-31 | Excel Eng | 0.368 |  | CENTRAL |  | REUSE, PERC POND | golf course, wetland spray sites, power line r/w |  | 10 | -5 | 2004-01-25 | 2008-11-25 | 430 | 1.1781 | NO
ALAFAYA | SOLD |  | 245 | FLA011074 | C | 2009-11-12 | 2014-11-08 | 2014-05-12 | Excel Eng | 1.535 |  | CENTRAL |  | REUSE, PERC PONDS | 0.995 to ponds, 1.000 to res. reuse, 0.100 to g.c. |  | 32 | -11 | 2009-03-16 | 2008-09-17 | 421 | 1.1534 | YES
SANDY CREEK RANCH | SOLD |  | 262 | FLA010019 | NW | 2006-09-23 | 2011-09-21 | 2011-03-25 | Excel Eng | 0.075 |  | NORTHWEST |  | REUSE | 0.028 mgd ext air mode |  | 16 | -6 | 2001-09-01 | 2001-09-04 | 1845 | 5.0548 | NO
DES PINAR | DIVERT |  | 255 | FLA011080 | C | 2009-12-14 | 2014-12-13 | 2014-06-16 | CPH Eng | 0.499 |  | CENTRAL |  | RIBs & SPRAY FLD | 0.400 -RIBs, 0.100 -s/f |  | 16 | -14 | 2009-09-27 | 2009-03-31 | 258 | 0.70685 | YES
SANDALHAVEN | DIVERT |  | 256 | FLA014053 | S | 2012-02-15 | 2017-02-14 | 2016-08-18 | Excel Eng | 0.045 |  | SOUTH |  | PERC PONDS | 0.045 to ponds |  | 14 | -11 | 2012-02-09 | 2011-08-26 | 173 | 0.47397 | NO
LONGWOOD SHADOW HILLS | DIVERT |  | 246 | FLA011105 | C | 2013-07-12 | 2023-07-09 | 2023-01-10 | CPH Eng | 0.47 |  | CENTRAL |  | PERC PONDS | 0.470 to ponds |  | 13 | -7 | 2008-07-08 | 2013-06-04 | 38 | 0.10411 | TN ONLY
CANCELLED PWS AND/OR CUPS/WUPS AFTER INTERCONNECTS OR DIVESTMENTS
SANDY CREEK CUP | SOLD |  | 262 | 1030817 | 19980055 | 1981 | BAY | 2011-10-14 | 2016-11-01 | 0.093 | 0.19 | NWF
BAYSIDE | SOLD |  |  | 1034016 | N/A | 1974 | BAY | N/A | N/A | N/A | N/A | NORTHWEST |  | NW | NORTHWEST |  | 1
UIF - BUENA VISTA Trailer Park | I/C |  | 252 | 6510117 | 3590 | 1957 | PASCO | N/A | N/A | 10 | 0.17 | SOUTHWEST |  | SWF | SOUTHWEST |  | N/A
UIF - WIS-BAR (BUENA VISTA MANOR MHP) | I/C |  | 252 | 6515221 | N/A |  | PASCO | N/A | N/A | N/A | N/A | SOUTHWEST |  | SWF | SOUTHWEST |  | 2
CITRUS VALLEY CAMPGROUND | REDEV |  | 251 | 3350663 | 2873 | 1980 | LAKE | 1997-02-11 | 2012-02-11 | 20 | 0.034 | CENTRAL |  | SJR | CENTRAL |  | 0
UIF - CRYSTAL LAKE | I/C |  | 252 | 3590258 | 8351 | 1955 | SEMINOLE | 2000-11-15 | 2020-11-15 | 20 | 0.0553 | CENTRAL |  | SJR | CENTRAL | AQUADENE-IRON SEQ'T | 0
UIF - PHILLIPS | I/C |  | 252 | 3591008 | 8350 | 1955 | SEMINOLE | 2016-05-27 | 2036-05-27 | 20 | 0.022 | CENTRAL |  | SJR | CENTRAL |  | 0
Formulas:
ISSUED = [COUNTY]-180
PREVIOUS APP DATE = [PREVIOUS EXP DATE]-180
Note on C2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: SemCo ES, executed agreement
Note on B3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Genset to be added in 1Q20
Note on C4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: City of Altamonte Springs, executed agreement
Note on B5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Genset to be added in 1Q20
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 2 ea City of Sanford (4" & 6"), executed agreement
Note on I6: Patrick Flynn: Withdrawal permit increased on 11/20/17 reflecting the closure of the Crystal Lake well and the transfer of a portion of the CL withdrawal amount to RP. CUP increased on 12/18/18 reflecting the merge of Phillips PWS into RP after completing I/C between the two.
Note on L6: Patrick Flynn: Daily avg withdrawal increased from 0.150 to 0.1714 mgd reflecting Phillips being interconnected.
Note on G7: LUSI N Well dates CL I: 1940/1980 CL II: 1939/1962 AH: 1985 LR: 1990 VI: 1988 OR: 1986 CB: 1987 CS: 1987 LCH: 1992 HP: 1986
Note on L7: Patrick Flynn: Was 4.239 Was 5.690
Note on C9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: SemCo ES at Lynwood (8"); OCU at Canterclub Trail (8"), executed agreements for both
Note on G10: Patrick Flynn: Legends GC (secondary pmt #114037) Per CUP app, the wells were drilled in 1945 for citrus irrigation (3 each) Lennar applied for a CUP for landscape irrigation in May 1998.
Note on N10: Patrick Flynn: GC+L+N=380.10 MG/YR (2018) Legands + Nottingham 142.90 MG (2013) 0.37 mgd 151.20 MG (2014) 0.40 mgd 159.50 MG (2015) 0.44 mgd 167.80 MG (2016) 0.46 mgd 176.10 MG (2017) 0.48 mgd 184.40 MG (2018) 0.51 mgd GL+L+N=350.75 mg/yr If no GC use, 184.1 mg/yr = 0.5044 mgd
Note on A12: pcflynn: BV merged with OW Water Use Permit as of 9/12/13.
Note on C13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Pinellas Co Util agreement expired.
Note on I14: pcflynn: Revised November 2013
Note on C16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: City of Altamonte Springs, executed agreement
Note on I17: Patrick Flynn: WUP revised 9/6/11
Note on C23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Pasco Co Util, 12" meter, executed agreement
Note on F23: Patrick Flynn: Was 3668
Note on C24: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: OUC water, 2 each 6" meters, executed agreement
Note on C25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Orange County Utilities bulk water, 2" meter, executed agreement
Note on B27: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: LS #7 at Regional Office
Note on C27: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: City of Alt. Springs, sewer bill is 70% of aggregate of monthly water sales.
Note on B28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Manifolded FM from Beth Dr & Lincoln Ave. LS's
Note on C28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Executed agreement with City of Sanford
Note on B29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Manifolded FM to Des Pinar EQ tank, genset at DP EQ pumps and screen.
Note on C29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: No agreement, diverted flow to our Wekiva Plant
Note on B30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Master LS
Note on C30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Executed agreement with Pasco Co Utilities
Note on B31: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Master LS
Note on C31: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Executed 25-yr agreement with Pasco Co Utilities expired in 2015
Note on B32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: LS SH-4 & LS SH-13
Note on C32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Executed agreement with Englewood Water District
Note on B33: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Master LS owned by City of St. Pete, has genset
Note on C33: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Executed agreement with City of St. Pete
Note on R33: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: add Coloney Dr when accepted in 2019
Note on B44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Genset to be installed in 2020
Note on R44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added LS at WWTP in 2019
Note on A64: pcflynn: Transferred to Martin Co Utilities after closing 11/6/09
Note on A65: pcflynn: Transferred to Pluris PCU, Inc. Nov09
Note on A66: pcflynn: Transferred to Martin Co Utilities after closing 11/6/09
Note on A67: pcflynn: Transferred to Pluris Wedgefield, Inc. after closing on 11/13/09
Note on A68: Patrick Flynn: Transferred to City of Oviedo after closing on 9/15/10.
Note on B70: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Flow diverted to Wekiva in 2012, plant demo'd in 2014
Note on H70: Patrick Flynn: Permit was inactivated on 8/15/14 by FDEP.
Note on A71: Susan DiPasquale: Flow now goes to EDW permit # FLA014126
Note on B71: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Diverted remaining flow to EWD in November 2015
Note on K71: Patrick Flynn: Feb 2012, Reduction to 0.099 w/permit renewal May 2014, reduced to 0.045
Note on B72: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Flow diverted to Wekiva in 1Q18 (proforma in 2016 RC), Shadow Hills dem'd in 2018
Note on B77: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Interconnected with Orangewood
Note on B78: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Interconnected with Orangewood
Note on G79: Patrick Flynn: Cal-Flor Properties incorporated in 1980. Name changed to Citrus Highlands LLC 1/31/2011.
Note on L79: Patrick Flynn: Permit rescinded 11/18/2011
Note on B80: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Interconnected with Ravenna Park
Note on B81: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Interconnected with Ravenna Park

## MODIFIED LIST
Customner count as of 12/31/17
| SYSTEM NAME | COUNTY | WATER CUSTOMERS | SEWER CUSTOMERS | IRRIG ONLY CUSTOMERS | FIRM WATER PRODUCTION (GPM) | HYDRANT COUNT | FINISHED STORAGE VOL | HSP CAPACITY (GPM)
WATER SYSTEMS
1 | LAKE PLACID | HIGHLANDS | 135 | 136
2 | LUSI SOUTH (LAKE GROVES) | LAKE |  | 3513
3 | LUSI NORTH | LAKE | 10369
4 | LUSI FOUR LAKES | LAKE | 70
5 | LUSI LAKE SAUNDERS | LAKE | 45
6 | PENNBROOKE FAIRWAYS | LAKE | 1390 | 1246
7 | CYPRESS LAKES | POLK | 1562 | 1546
8 | LABRADOR | PASCO | 901 | 896
9 | SANLANDO | SEMINOLE | 10350 | 8400
10 | UIF - GOLDEN HILLS/CROWNWOOD | MARION | 538 | 86
11 | UIF - CRESCENT HEIGHTS | ORANGE | 284
12 | UIF - DAVIS SHORES | ORANGE | 45
13 | UIF - SUMMERTREE | PASCO | 1205 | 1202
14 | UIF - OW/BVTP/WB | PASCO | 1848 | 168
15 | UIF - LAKE TARPON | PINELLAS | 513
16 | UIF - BEAR LAKE | SEMINOLE | 224
17 | UIF - JANSEN | SEMINOLE | 261
18 | UIF - LITTLE WEKIVA | SEMINOLE | 61
19 | UIF - OAKLAND SHORES | SEMINOLE | 230
20 | UIF - PARK RIDGE | SEMINOLE | 107
21 | UIF - PHILLIPS | SEMINOLE | 86
22 | UIF - RAVENNA PARK/CRYSTAL LK | SEMINOLE | 523 | 240
23 | UIF - WEATHERSFIELD | SEMINOLE | 1200 | 1188
| SUBTOTAL |  | 31947 | 18621
SEWER ONLY SYSTEMS
1 | CROSS CREEK | LEE |  | 905
2 | EAGLE RIDGE | LEE |  | 865
3 | LONGWOOD SHADOW HILLS | SEMINOLE |  | 1726
4 | MID-COUNTY | PINELLAS |  | 2257
5 | SANDALHAVEN | CHARLOTTE |  | 899
6 | TIERRA VERDE | PINELLAS |  | 1051
| SUBTOTAL |  | 0 | 7703
UNREGULATED
| ACME WATER MANAGEMENT | LAKE
| SUBTOTAL |  | 0
| TOTAL |  | 31947 | 26324
NOTE: CUSTOMER COUNT AS OF 12/31/15