## Summary Table
FPL 002660
20240012-EG
Proposed
|  | RIM | TRC | PT
| Business On-Call | 1.0473 | 3.3265 | INFINITE
| Residential On-Call | 1.2608 | 3.0442 | INFINITE
| CDR | 0.72494 | 40.0579 | INFINITE
| On Bill HVAC | 1.4332 | 3.1313 | 1.2662
| Business HVAC | 0.43741 | 1.3977 | 3.9746
| Business Lighting | 0.42998 | 1.3867 | 3.9099
| Residential A/C | 0.42566 | 2.654 | 10.2262
| Residential Ceiling Insulation | 0.74183 | 2.5791 | 4.8555
| BuildSmart | 0.61574 | 1.8609 | 4.6677
| Low Income | 0.61708 | 3.3962 | INFINITE
| Low Income Renter Pilot | 0.30019 | 1.4478 | 12.2549
TRC
|  | RIM | TRC | PT
| Res Building Envelope | 0.7252 | 2.2406 | 4.2917
| Res HVAC | 0.44062 | 2.0203 | 6.5422
| Res Retail | 0.41126 | 1.0553 | 3.7594
| Res Whole Home | 0.54382 | 2.0022 | 5.3225
| Business Cooking | 0.45423 | 1.5728 | 4.8607
| Business Motors | 0.37788 | 1.2546 | 4.5151
| Business HVAC | 0.45331 | 1.4214 | 3.9078
| Business Refrigeration | 0.38863 | 1.154 | 3.9287
| Business Lighting | 0.42748 | 1.4296 | 4.0528
| Business Water Heating | 0.38364 | 1.2403 | 4.2774
| Business Custom | 0.38717 | 1.1718 | 3.9926

## Business On Call
FPL 002661
20240012-EG
BOC |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 10.1175 | 4282.0428 | 4292.1604 | 4491.0531 | 4.3065 | 0 | 4495.3595 | 0
Demand: | 0 | 1351.3253 | :Administrative
Energy: | 10.1175 | 2930.7176 | :Incentive
|  | RIM TEST = | 1.0473
|  | TOTAL RESOURCE = | 3.3265
|  | PARTICIPANTS = | Infinite
BOC | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | bar: Run 1
Winter kW | Run 1: 0
Annual kWh | Run 1: 1.0125
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 6120.1621
Avoided Gen Unit Fixed O&M | Run 1: 1166.6735
Avoided Gen Unit Variable O&M | Run 1: 55.3437
Avoided Gen Unit Fuel Cost | Run 1: 28640.6337
Replacement Fuel Cost | Run 1: -31491.76
Avoided Transmission Cap Cost | Run 1: 0
Avoided Transmission O&M Cost | Run 1: 0
Avoided Distribution Cap Cost | Run 1: 0
Avoided Distribution O&M Cost | Run 1: 0
Program Fuel Savings | Run 1: 4.3065
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 1.4417
Replacement Emission Cost | Run 1: -1.6203
Program Emission Benefit | Run 1: 0.00031852
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 4495.1812
Costs CPVRR $(000):
Utility Program Cost | Run 1: 1351.3253
Participant Equipment Costs | Run 1: 0
Incentive Cost | Run 1: 2930.7176
Savings in Participants Bills | Run 1: 12.1898
Energy Charge Revenue Losses | Run 1: 10.1175
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 4292.1604
Total TRC Costs = | Run 1: 1351.3253
Total Participant Benefits = | Run 1: 2942.9074
RIM Ratio = | Run 1: 1.0473
TRC Ratio = | Run 1: 3.3265
Participant Test Ratio = | Run 1: INFINITE

## Residential On Call
FPL 002662
20240012-EG
Residential On-Call (ROC) |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 3.7433 | 39334.1188 | 39337.8621 | 49595.8484 | 5.2408 | 0 | 49601.0891 | 0
Demand: | 0 | 16293.086 | :Administrative
Energy: | 3.7433 | 23041.0329 | :Incentive
|  | RIM TEST = | 1.2608
|  | TOTAL RESOURCE = | 3.0442
|  | PARTICIPANTS = | Infinite
Residential On-Call (ROC) | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | Run 1: 2.67
Winter kW | Run 1: 2.49
Annual kWh | Run 1: 2.3
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 67586.516
Avoided Gen Unit Fixed O&M | Run 1: 12883.8743
Avoided Gen Unit Variable O&M | Run 1: 611.1752
Avoided Gen Unit Fuel Cost | Run 1: 316285.8487
Replacement Fuel Cost | Run 1: -347771.5657
Avoided Transmission Cap Cost | Run 1: 0
Avoided Transmission O&M Cost | Run 1: 0
Avoided Distribution Cap Cost | Run 1: 0
Avoided Distribution O&M Cost | Run 1: 0
Program Fuel Savings | Run 1: 34.8131
Program Off-Peak Payback | Run 1: -29.5723
Avoided Gen Unit Emission Benefit | Run 1: 15.921
Replacement Emission Cost | Run 1: -17.8938
Program Emission Benefit | Run 1: 0.002541
Off-Peak Emissions Payback Cost | Run 1: -0.0024487
Total RIM and TRC Benefits = | Run 1: 49599.1164
Costs CPVRR $(000):
Utility Program Cost | Run 1: 16293.086
Participant Equipment Costs | Run 1: 0
Incentive Cost | Run 1: 23041.0329
Savings in Participants Bills | Run 1: 4.9253
Energy Charge Revenue Losses | Run 1: 3.7433
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 39337.8621
Total TRC Costs = | Run 1: 16293.086
Total Participant Benefits = | Run 1: 23045.9582
RIM Ratio = | Run 1: 1.2608
TRC Ratio = | Run 1: 3.0442
Participant Test Ratio = | Run 1: INFINITE

## On Bill HVAC
FPL 002663
20240012-EG
16 SEER + ROC
| Summer kW Reduction: | 2.5331
| Winter kW Reduction: | 0.001
| Annual kWh Reduction: | 308.25
| Incremental Cost: | 408
Life of Measure:
Participation:
| 2025 | 300
| 2026 | 500
| 2027 | 750
| 2028 | 825
| 2029 | 908
| 2030 | 998
| 2031 | 1098
| 2032 | 1208
Benefits CPVRR $(000):
| Avoided Gen Unit Capacity Cost | 12007.6228
| Avoided Gen Unit Fixed O&M | 2288.9877
| Avoided Gen Unit Variable O&M | 108.5832
| Avoided Gen Unit Fuel Cost | 56192.2909
| Replacement Fuel Cost | -61786.1376
| Avoided Transmission Cap Cost | 423.1448
| Avoided Transmission O&M Cost | 40.1229
| Avoided Distribution Cap Cost | 132.4503
| Avoided Distribution O&M Cost | 40.3735
| Program Fuel Savings | 992.7848
| Program Off-Peak Payback | -3.6438
| Avoided Gen Unit Emission Benefit | 9382.0069
| Replacement Emission Cost | -10544.5503
| Program Emission Benefit | 160.319
| Off-Peak Emissions Payback Cost | -0.6752
| Total RIM and TRC Benefits = | 9433.68
Costs CPVRR $(000):
| Utility Program Cost | 1180.0468
| Participant Equipment Costs | 3012.6749
| Incentive Cost | 0
| Savings in Participants Bills | 3814.578
| Energy Charge Revenue Losses | 2899.0793
| Demand Charge Revenue Losses | 0
| IT Costs | 2503.1379
| Total RIM Costs = | 6582.264
| Total TRC Costs = | 3012.6749
| Total Participant Benefits = | 3814.578
| RIM Ratio = | 1.4332
| TRC Ratio = | 3.1313
| Participant Test Ratio = | 1.2662
| CPVRR Differential: | 2851415.922

## CDR
FPL 002664
20240012-EG
CDR |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 349.6762 | 37751.4675 | 38101.1437 | 27361.6457 | 260.5561 | 0 | 27622.2018 | 0
Demand: | 0 | 689.5308 | :Administrative
Energy: | 349.6762 | 37061.9366 | :Incentive
|  | RIM TEST = | 0.72494
|  | TOTAL RESOURCE = | 40.0579
|  | PARTICIPANTS = | Infinite
CDR | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | bar: Run 1
Winter kW | Run 1: 0.61
Annual kWh | Run 1: 11
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 37286.9578
Avoided Gen Unit Fixed O&M | Run 1: 7107.9337
Avoided Gen Unit Variable O&M | Run 1: 337.1806
Avoided Gen Unit Fuel Cost | Run 1: 174492.455
Replacement Fuel Cost | Run 1: -191862.8814
Avoided Transmission Cap Cost | Run 1: 0
Avoided Transmission O&M Cost | Run 1: 0
Avoided Distribution Cap Cost | Run 1: 0
Avoided Distribution O&M Cost | Run 1: 0
Program Fuel Savings | Run 1: 263.0302
Program Off-Peak Payback | Run 1: -2.4741
Avoided Gen Unit Emission Benefit | Run 1: 8.7835
Replacement Emission Cost | Run 1: -9.8719
Program Emission Benefit | Run 1: 0.01962
Off-Peak Emissions Payback Cost | Run 1: -0.00020771
Total RIM and TRC Benefits = | Run 1: 27621.1328
Costs CPVRR $(000):
Utility Program Cost | Run 1: 689.5308
Participant Equipment Costs | Run 1: 0
Incentive Cost | Run 1: 37061.9366
Savings in Participants Bills | Run 1: 421.2966
Energy Charge Revenue Losses | Run 1: 349.6762
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 38101.1437
Total TRC Costs = | Run 1: 689.5308
Total Participant Benefits = | Run 1: 37483.2333
RIM Ratio = | Run 1: 0.72494
TRC Ratio = | Run 1: 40.0579
Participant Test Ratio = | Run 1: INFINITE

## Business HVAC
FPL 002665
20240012-EG
Business HVAC |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 270413.8781 | 16705.1835 | 287119.0616 | 17638.6778 | 81645.337 | 26298.2444 | 125582.2593 | 84937.3601
Demand: | 0 | 4916.2782 | :Administrative
Energy: | 270413.8781 | 11788.9053 | :Incentive
|  | RIM TEST = | 0.43741
|  | TOTAL RESOURCE = | 1.3977
|  | PARTICIPANTS = | 3.9746
Business HVAC | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | bar: Run 1
Winter kW | Run 1: 0.50767
Annual kWh | Run 1: 6018.5764
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 24037.0277
Avoided Gen Unit Fixed O&M | Run 1: 4582.1276
Avoided Gen Unit Variable O&M | Run 1: 217.3634
Avoided Gen Unit Fuel Cost | Run 1: 112486.5159
Replacement Fuel Cost | Run 1: -123684.3568
Avoided Transmission Cap Cost | Run 1: 17486.2495
Avoided Transmission O&M Cost | Run 1: 1664.079
Avoided Distribution Cap Cost | Run 1: 5473.4432
Avoided Distribution O&M Cost | Run 1: 1674.4727
Program Fuel Savings | Run 1: 81645.337
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 5.6623
Replacement Emission Cost | Run 1: -6.3639
Program Emission Benefit | Run 1: 6.7783
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 125588.336
Costs CPVRR $(000):
Utility Program Cost | Run 1: 4916.2782
Participant Equipment Costs | Run 1: 84937.3601
Incentive Cost | Run 1: 11788.9053
Savings in Participants Bills | Run 1: 325799.8531
Energy Charge Revenue Losses | Run 1: 270413.8781
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 287119.0616
Total TRC Costs = | Run 1: 89853.6383
Total Participant Benefits = | Run 1: 337588.7585
RIM Ratio = | Run 1: 0.43741
TRC Ratio = | Run 1: 1.3977
Participant Test Ratio = | Run 1: 3.9746

## Business Lighting
FPL 002666
20240012-EG
Business Lighting |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 300425.483 | 2798.3186 | 303223.8016 | 16106.9463 | 90312.1535 | 23953.8067 | 130372.9065 | 93040.1914
Demand: | 0 | 981.9295 | :Administrative
Energy: | 300425.483 | 1816.3891 | :Incentive
|  | RIM TEST = | 0.42998
|  | TOTAL RESOURCE = | 1.3867
|  | PARTICIPANTS = | 3.9099
Business Lighting | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | Run 1: 1.004
Winter kW | Run 1: 0.87
Annual kWh | Run 1: 7800.9
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 21949.6675
Avoided Gen Unit Fixed O&M | Run 1: 4184.2186
Avoided Gen Unit Variable O&M | Run 1: 198.4877
Avoided Gen Unit Fuel Cost | Run 1: 102718.2586
Replacement Fuel Cost | Run 1: -112943.6861
Avoided Transmission Cap Cost | Run 1: 15927.96
Avoided Transmission O&M Cost | Run 1: 1515.3527
Avoided Distribution Cap Cost | Run 1: 4985.6765
Avoided Distribution O&M Cost | Run 1: 1524.8175
Program Fuel Savings | Run 1: 90312.1535
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 5.1706
Replacement Emission Cost | Run 1: -5.8113
Program Emission Benefit | Run 1: 7.5213
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 130379.7871
Costs CPVRR $(000):
Utility Program Cost | Run 1: 981.9295
Participant Equipment Costs | Run 1: 93040.1914
Incentive Cost | Run 1: 1816.3891
Savings in Participants Bills | Run 1: 361958.4132
Energy Charge Revenue Losses | Run 1: 300425.483
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 303223.8016
Total TRC Costs = | Run 1: 94022.1209
Total Participant Benefits = | Run 1: 363774.8023
RIM Ratio = | Run 1: 0.42998
TRC Ratio = | Run 1: 1.3867
Participant Test Ratio = | Run 1: 3.9099

## Residential AC
FPL 002667
20240012-EG
Residential Air Conditioning |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 167814.0987 | 37233.2722 | 205047.3709 | 14978.7507 | 49965.7433 | 22332.4475 | 87276.9415 | 24403.8923
Demand: | 0 | 8482.3772 | :Administrative
Energy: | 167814.0987 | 28750.895 | :Incentive
|  | RIM TEST = | 0.42566
|  | TOTAL RESOURCE = | 2.654
|  | PARTICIPANTS = | 10.2262
Residential Air Conditioning | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | Run 1: 0.12
Winter kW | Run 1: 0.29
Annual kWh | Run 1: 676
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 20412.2242
Avoided Gen Unit Fixed O&M | Run 1: 3891.139
Avoided Gen Unit Variable O&M | Run 1: 184.5848
Avoided Gen Unit Fuel Cost | Run 1: 95523.4569
Replacement Fuel Cost | Run 1: -105032.6542
Avoided Transmission Cap Cost | Run 1: 14849.3087
Avoided Transmission O&M Cost | Run 1: 1413.1345
Avoided Distribution Cap Cost | Run 1: 4648.0434
Avoided Distribution O&M Cost | Run 1: 1421.9608
Program Fuel Savings | Run 1: 49965.7433
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 4.8084
Replacement Emission Cost | Run 1: -5.4042
Program Emission Benefit | Run 1: 4.1153
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 87280.4611
Costs CPVRR $(000):
Utility Program Cost | Run 1: 8482.3772
Participant Equipment Costs | Run 1: 24403.8923
Incentive Cost | Run 1: 28750.895
Savings in Participants Bills | Run 1: 220808.0246
Energy Charge Revenue Losses | Run 1: 167814.0987
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 205047.3709
Total TRC Costs = | Run 1: 32886.2695
Total Participant Benefits = | Run 1: 249558.9196
RIM Ratio = | Run 1: 0.42566
TRC Ratio = | Run 1: 2.654
Participant Test Ratio = | Run 1: 10.2262

## Residential Ceiling Insulation
FPL 002668
20240012-EG
Residential Ceiling Insulation |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 88291.1151 | 5714.4756 | 94005.5907 | 15547.8669 | 30323.3335 | 23863.53 | 69734.7303 | 24600.5119
Demand: | 0 | 2438.3225 | :Administrative
Energy: | 88291.1151 | 3276.1531 | :Incentive
|  | RIM TEST = | 0.74183
|  | TOTAL RESOURCE = | 2.5791
|  | PARTICIPANTS = | 4.8555
Residential Ceiling Insulation | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | Run 1: 1.6179
Winter kW | Run 1: 0.59713
Annual kWh | Run 1: 3331.2981
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 21187.7846
Avoided Gen Unit Fixed O&M | Run 1: 4038.9825
Avoided Gen Unit Variable O&M | Run 1: 191.5981
Avoided Gen Unit Fuel Cost | Run 1: 99152.8612
Replacement Fuel Cost | Run 1: -109023.3595
Avoided Transmission Cap Cost | Run 1: 15861.247
Avoided Transmission O&M Cost | Run 1: 1514.0161
Avoided Distribution Cap Cost | Run 1: 4964.7944
Avoided Distribution O&M Cost | Run 1: 1523.4725
Program Fuel Savings | Run 1: 30323.3335
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 4.9911
Replacement Emission Cost | Run 1: -5.6095
Program Emission Benefit | Run 1: 2.1904
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 69736.3023
Costs CPVRR $(000):
Utility Program Cost | Run 1: 2438.3225
Participant Equipment Costs | Run 1: 24600.5119
Incentive Cost | Run 1: 3276.1531
Savings in Participants Bills | Run 1: 116172.5199
Energy Charge Revenue Losses | Run 1: 88291.1151
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 94005.5907
Total TRC Costs = | Run 1: 27038.8344
Total Participant Benefits = | Run 1: 119448.6729
RIM Ratio = | Run 1: 0.74183
TRC Ratio = | Run 1: 2.5791
Participant Test Ratio = | Run 1: 4.8555

## BuildSmart
FPL 002669
20240012-EG
Residential New Construction |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 48680.9834 | 3656.6433 | 52337.6267 | 6361.0791 | 16380.2019 | 9483.9995 | 32225.2805 | 13739.9332
Demand: | 0 | 3577.3624 | :Administrative
Energy: | 48680.9834 | 79.2809 | :Incentive
|  | RIM TEST = | 0.61574
|  | TOTAL RESOURCE = | 1.8609
|  | PARTICIPANTS = | 4.6677
Residential New Construction | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | Run 1: 0.37
Winter kW | Run 1: 0.13
Annual kWh | Run 1: 1060
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 8668.5315
Avoided Gen Unit Fixed O&M | Run 1: 1652.4638
Avoided Gen Unit Variable O&M | Run 1: 78.3883
Avoided Gen Unit Fuel Cost | Run 1: 40566.2845
Replacement Fuel Cost | Run 1: -44604.589
Avoided Transmission Cap Cost | Run 1: 6306.1085
Avoided Transmission O&M Cost | Run 1: 600.1208
Avoided Distribution Cap Cost | Run 1: 1973.9011
Avoided Distribution O&M Cost | Run 1: 603.8691
Program Fuel Savings | Run 1: 16380.2019
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 2.042
Replacement Emission Cost | Run 1: -2.295
Program Emission Benefit | Run 1: 1.1938
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 32226.2213
Costs CPVRR $(000):
Utility Program Cost | Run 1: 3577.3624
Participant Equipment Costs | Run 1: 13739.9332
Incentive Cost | Run 1: 79.2809
Savings in Participants Bills | Run 1: 64053.9255
Energy Charge Revenue Losses | Run 1: 48680.9834
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 52337.6267
Total TRC Costs = | Run 1: 17317.2956
Total Participant Benefits = | Run 1: 64133.2064
RIM Ratio = | Run 1: 0.61574
TRC Ratio = | Run 1: 1.8609
Participant Test Ratio = | Run 1: 4.6677

## Low Income
FPL 002670
20240012-EG
Residential Low Income |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 121388.3983 | 42231.7255 | 163620.1238 | 23710.7949 | 41902.0166 | 35351.4183 | 100964.2298 | 0
Demand: | 0 | 29729.406 | :Administrative
Energy: | 121388.3983 | 12502.3194 | :Incentive
|  | RIM TEST = | 0.61708
|  | TOTAL RESOURCE = | 3.3962
|  | PARTICIPANTS = | Infinite
Residential Low Income | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | Run 1: 0.47982
Winter kW | Run 1: 0.072771
Annual kWh | Run 1: 889.0634
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 32311.7775
Avoided Gen Unit Fixed O&M | Run 1: 6159.5256
Avoided Gen Unit Variable O&M | Run 1: 292.1908
Avoided Gen Unit Fuel Cost | Run 1: 151210.013
Replacement Fuel Cost | Run 1: -166262.712
Avoided Transmission Cap Cost | Run 1: 23505.8931
Avoided Transmission O&M Cost | Run 1: 2236.9384
Avoided Distribution Cap Cost | Run 1: 7357.6767
Avoided Distribution O&M Cost | Run 1: 2250.9101
Program Fuel Savings | Run 1: 41902.0166
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 7.6115
Replacement Emission Cost | Run 1: -8.5547
Program Emission Benefit | Run 1: 2.9768
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 100966.2635
Costs CPVRR $(000):
Utility Program Cost | Run 1: 29729.406
Participant Equipment Costs | Run 1: 0
Incentive Cost | Run 1: 12502.3194
Savings in Participants Bills | Run 1: 159721.5768
Energy Charge Revenue Losses | Run 1: 121388.3983
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 163620.1238
Total TRC Costs = | Run 1: 29729.406
Total Participant Benefits = | Run 1: 172223.8962
RIM Ratio = | Run 1: 0.61708
TRC Ratio = | Run 1: 3.3962
Participant Test Ratio = | Run 1: INFINITE

## Low Income Renter Pilot
FPL 002671
20240012-EG
Residential Low Income Renter Pilot |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 1751.4824 | 1178.9771 | 2930.4594 | 135.5842 | 516.256 | 227.8132 | 879.6534 | 255.5283
Demand: | 0 | 352.0727 | :Administrative
Energy: | 1751.4824 | 826.9044 | :Incentive
|  | RIM TEST = | 0.30019
|  | TOTAL RESOURCE = | 1.4478
|  | PARTICIPANTS = | 12.2549
Residential Low Income Renter Pilot | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | Run 1: 0.12
Winter kW | Run 1: 0.29
Annual kWh | Run 1: 676
# of Signups (years) | Run 1: 3
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 184.7668
Avoided Gen Unit Fixed O&M | Run 1: 35.2217
Avoided Gen Unit Variable O&M | Run 1: 1.6708
Avoided Gen Unit Fuel Cost | Run 1: 864.6565
Replacement Fuel Cost | Run 1: -950.7316
Avoided Transmission Cap Cost | Run 1: 151.2319
Avoided Transmission O&M Cost | Run 1: 14.5763
Avoided Distribution Cap Cost | Run 1: 47.3377
Avoided Distribution O&M Cost | Run 1: 14.6673
Program Fuel Savings | Run 1: 516.256
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 0.043524
Replacement Emission Cost | Run 1: -0.048918
Program Emission Benefit | Run 1: 0.044927
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 879.6929
Costs CPVRR $(000):
Utility Program Cost | Run 1: 352.0727
Participant Equipment Costs | Run 1: 255.5283
Incentive Cost | Run 1: 826.9044
Savings in Participants Bills | Run 1: 2304.5821
Energy Charge Revenue Losses | Run 1: 1751.4824
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 2930.4594
Total TRC Costs = | Run 1: 607.601
Total Participant Benefits = | Run 1: 3131.4864
RIM Ratio = | Run 1: 0.30019
TRC Ratio = | Run 1: 1.4478
Participant Test Ratio = | Run 1: 12.2549

## TRC Res Building Env
FPL 002672
20240012-EG
TRC Residential Building Envelope |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 86140.6543 | 7871.631 | 94012.2853 | 15313.5229 | 29608.5158 | 23253.8482 | 68175.887 | 27580.2594
Demand: | 0 | 2848.5485 | :Administrative
Energy: | 86140.6543 | 5023.0825 | :Incentive
|  | RIM TEST = | 0.7252
|  | TOTAL RESOURCE = | 2.2406
|  | PARTICIPANTS = | 4.2917
TRC Residential Building Envelope | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | Run 1: 1.3616
Winter kW | Run 1: 0.51118
Annual kWh | Run 1: 2815.9372
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 20868.4335
Avoided Gen Unit Fixed O&M | Run 1: 3978.1052
Avoided Gen Unit Variable O&M | Run 1: 188.7103
Avoided Gen Unit Fuel Cost | Run 1: 97658.3879
Replacement Fuel Cost | Run 1: -107380.114
Avoided Transmission Cap Cost | Run 1: 15458.2827
Avoided Transmission O&M Cost | Run 1: 1473.8495
Avoided Distribution Cap Cost | Run 1: 4838.6609
Avoided Distribution O&M Cost | Run 1: 1483.055
Program Fuel Savings | Run 1: 29608.5158
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 4.9159
Replacement Emission Cost | Run 1: -5.525
Program Emission Benefit | Run 1: 2.1282
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 68177.406
Costs CPVRR $(000):
Utility Program Cost | Run 1: 2848.5485
Participant Equipment Costs | Run 1: 27580.2594
Incentive Cost | Run 1: 5023.0825
Savings in Participants Bills | Run 1: 113342.9661
Energy Charge Revenue Losses | Run 1: 86140.6543
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 94012.2853
Total TRC Costs = | Run 1: 30428.8079
Total Participant Benefits = | Run 1: 118366.0486
RIM Ratio = | Run 1: 0.7252
TRC Ratio = | Run 1: 2.2406
Participant Test Ratio = | Run 1: 4.2917

## TRC Res HVAC
FPL 002673
20240012-EG
TRC Residential HVAC |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 375688.7906 | 61221.8635 | 436910.6541 | 32828.6492 | 111043.2372 | 48632.018 | 192503.9045 | 83045.62
Demand: | 0 | 12244.8428 | :Administrative
Energy: | 375688.7906 | 48977.0207 | :Incentive
|  | RIM TEST = | 0.44062
|  | TOTAL RESOURCE = | 2.0203
|  | PARTICIPANTS = | 6.5422
TRC Residential HVAC | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | Run 1: 0.1839
Winter kW | Run 1: 0.51496
Annual kWh | Run 1: 1117.0156
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 44737.0919
Avoided Gen Unit Fixed O&M | Run 1: 8528.137
Avoided Gen Unit Variable O&M | Run 1: 404.5511
Avoided Gen Unit Fuel Cost | Run 1: 209356.983
Replacement Fuel Cost | Run 1: -230198.1137
Avoided Transmission Cap Cost | Run 1: 32339.4192
Avoided Transmission O&M Cost | Run 1: 3075.3477
Avoided Distribution Cap Cost | Run 1: 10122.6951
Avoided Distribution O&M Cost | Run 1: 3094.556
Program Fuel Savings | Run 1: 111043.2372
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 10.5385
Replacement Emission Cost | Run 1: -11.8443
Program Emission Benefit | Run 1: 9.189
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 192511.7876
Costs CPVRR $(000):
Utility Program Cost | Run 1: 12244.8428
Participant Equipment Costs | Run 1: 83045.62
Incentive Cost | Run 1: 48977.0207
Savings in Participants Bills | Run 1: 494327.356
Energy Charge Revenue Losses | Run 1: 375688.7906
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 436910.6541
Total TRC Costs = | Run 1: 95290.4629
Total Participant Benefits = | Run 1: 543304.3767
RIM Ratio = | Run 1: 0.44062
TRC Ratio = | Run 1: 2.0203
Participant Test Ratio = | Run 1: 6.5422

## TRC Res Retail
FPL 002674
20240012-EG
TRC Residential Retail |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 76757.3898 | 7141.8451 | 83899.2349 | 4823.8735 | 22554.0096 | 7124.786 | 34502.6691 | 27340.59
Demand: | 0 | 5354.2286 | :Administrative
Energy: | 76757.3898 | 1787.6165 | :Incentive
|  | RIM TEST = | 0.41126
|  | TOTAL RESOURCE = | 1.0553
|  | PARTICIPANTS = | 3.7594
TRC Residential Retail | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | Run 1: 0.0031481
Winter kW | Run 1: 0.0033165
Annual kWh | Run 1: 21.1785
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 6573.7116
Avoided Gen Unit Fixed O&M | Run 1: 1253.1327
Avoided Gen Unit Variable O&M | Run 1: 59.4451
Avoided Gen Unit Fuel Cost | Run 1: 30763.1178
Replacement Fuel Cost | Run 1: -33825.5337
Avoided Transmission Cap Cost | Run 1: 4738.0662
Avoided Transmission O&M Cost | Run 1: 450.4124
Avoided Distribution Cap Cost | Run 1: 1483.0817
Avoided Distribution O&M Cost | Run 1: 453.2257
Program Fuel Savings | Run 1: 22554.0096
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 1.5485
Replacement Emission Cost | Run 1: -1.7404
Program Emission Benefit | Run 1: 1.8751
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 34504.3524
Costs CPVRR $(000):
Utility Program Cost | Run 1: 5354.2286
Participant Equipment Costs | Run 1: 27340.59
Incentive Cost | Run 1: 1787.6165
Savings in Participants Bills | Run 1: 100996.5655
Energy Charge Revenue Losses | Run 1: 76757.3898
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 83899.2349
Total TRC Costs = | Run 1: 32694.8186
Total Participant Benefits = | Run 1: 102784.182
RIM Ratio = | Run 1: 0.41126
TRC Ratio = | Run 1: 1.0553
Participant Test Ratio = | Run 1: 3.7594

## TRC Res Whole Home
FPL 002675
20240012-EG
TRC Residential Whole Home |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 121346.8525 | 10035.7351 | 131382.5876 | 12797.2346 | 39574.0483 | 19075.1555 | 71446.4384 | 31005.0572
Demand: | 0 | 4679.3714 | :Administrative
Energy: | 121346.8525 | 5356.3637 | :Incentive
|  | RIM TEST = | 0.54382
|  | TOTAL RESOURCE = | 2.0022
|  | PARTICIPANTS = | 5.3225
TRC Residential Whole Home | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | Run 1: 0.57189
Winter kW | Run 1: 0.25524
Annual kWh | Run 1: 2062.6681
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 17439.373
Avoided Gen Unit Fixed O&M | Run 1: 3324.4307
Avoided Gen Unit Variable O&M | Run 1: 157.7017
Avoided Gen Unit Fuel Cost | Run 1: 81611.3511
Replacement Fuel Cost | Run 1: -89735.6219
Avoided Transmission Cap Cost | Run 1: 12683.5416
Avoided Transmission O&M Cost | Run 1: 1206.9738
Avoided Distribution Cap Cost | Run 1: 3970.1277
Avoided Distribution O&M Cost | Run 1: 1214.5124
Program Fuel Savings | Run 1: 39574.0483
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 4.1081
Replacement Emission Cost | Run 1: -4.6171
Program Emission Benefit | Run 1: 2.9756
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 71448.9049
Costs CPVRR $(000):
Utility Program Cost | Run 1: 4679.3714
Participant Equipment Costs | Run 1: 31005.0572
Incentive Cost | Run 1: 5356.3637
Savings in Participants Bills | Run 1: 159666.9112
Energy Charge Revenue Losses | Run 1: 121346.8525
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 131382.5876
Total TRC Costs = | Run 1: 35684.4286
Total Participant Benefits = | Run 1: 165023.2749
RIM Ratio = | Run 1: 0.54382
TRC Ratio = | Run 1: 2.0022
Participant Test Ratio = | Run 1: 5.3225

## TRC Business Cooking
FPL 002676
20240012-EG
TRC Business Cooking |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 10975.7332 | 851.4752 | 11827.2084 | 828.294 | 3356.7026 | 1187.0781 | 5372.0748 | 2761.0455
Demand: | 0 | 654.6401 | :Administrative
Energy: | 10975.7332 | 196.8351 | :Incentive
|  | RIM TEST = | 0.45423
|  | TOTAL RESOURCE = | 1.5728
|  | PARTICIPANTS = | 4.8607
TRC Business Cooking | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | bar: Run 1
Winter kW | Run 1: 0.51662
Annual kWh | Run 1: 5445.9058
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 1128.7539
Avoided Gen Unit Fixed O&M | Run 1: 215.172
Avoided Gen Unit Variable O&M | Run 1: 10.2072
Avoided Gen Unit Fuel Cost | Run 1: 5282.25
Replacement Fuel Cost | Run 1: -5808.089
Avoided Transmission Cap Cost | Run 1: 789.7548
Avoided Transmission O&M Cost | Run 1: 74.8258
Avoided Distribution Cap Cost | Run 1: 247.2044
Avoided Distribution O&M Cost | Run 1: 75.2931
Program Fuel Savings | Run 1: 3356.7026
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 0.26589
Replacement Emission Cost | Run 1: -0.29884
Program Emission Benefit | Run 1: 0.26962
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 5372.3114
Costs CPVRR $(000):
Utility Program Cost | Run 1: 654.6401
Participant Equipment Costs | Run 1: 2761.0455
Incentive Cost | Run 1: 196.8351
Savings in Participants Bills | Run 1: 13223.7749
Energy Charge Revenue Losses | Run 1: 10975.7332
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 11827.2084
Total TRC Costs = | Run 1: 3415.6856
Total Participant Benefits = | Run 1: 13420.61
RIM Ratio = | Run 1: 0.45423
TRC Ratio = | Run 1: 1.5728
Participant Test Ratio = | Run 1: 4.8607

## TRC Business HVAC
FPL 002677
20240012-EG
TRC Business HVAC |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 424150.6594 | 35922.4614 | 460073.1208 | 32105.0934 | 128741.6365 | 47699.3752 | 208546.1051 | 137637.3355
Demand: | 0 | 9084.2205 | :Administrative
Energy: | 424150.6594 | 26838.2409 | :Incentive
|  | RIM TEST = | 0.45331
|  | TOTAL RESOURCE = | 1.4214
|  | PARTICIPANTS = | 3.9078
TRC Business HVAC | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | bar: Run 1
Winter kW | Run 1: 1.1294
Annual kWh | Run 1: 5731.1878
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 43751.0695
Avoided Gen Unit Fixed O&M | Run 1: 8340.1736
Avoided Gen Unit Variable O&M | Run 1: 395.6346
Avoided Gen Unit Fuel Cost | Run 1: 204742.6763
Replacement Fuel Cost | Run 1: -225124.4607
Avoided Transmission Cap Cost | Run 1: 31717.9905
Avoided Transmission O&M Cost | Run 1: 3017.1803
Avoided Distribution Cap Cost | Run 1: 9928.1792
Avoided Distribution O&M Cost | Run 1: 3036.0252
Program Fuel Savings | Run 1: 128741.6365
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 10.3062
Replacement Emission Cost | Run 1: -11.5833
Program Emission Benefit | Run 1: 10.6139
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 208555.4419
Costs CPVRR $(000):
Utility Program Cost | Run 1: 9084.2205
Participant Equipment Costs | Run 1: 137637.3355
Incentive Cost | Run 1: 26838.2409
Savings in Participants Bills | Run 1: 511024.8908
Energy Charge Revenue Losses | Run 1: 424150.6594
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 460073.1208
Total TRC Costs = | Run 1: 146721.556
Total Participant Benefits = | Run 1: 537863.1318
RIM Ratio = | Run 1: 0.45331
TRC Ratio = | Run 1: 1.4214
Participant Test Ratio = | Run 1: 3.9078

## TRC Business Motors
FPL 002678
20240012-EG
TRC Business Motors/Drives |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 50084.9576 | 7184.9697 | 57269.9272 | 2629.6229 | 15081.6407 | 3928.6098 | 21639.8735 | 14303.9789
Demand: | 0 | 2944.9505 | :Administrative
Energy: | 50084.9576 | 4240.0192 | :Incentive
|  | RIM TEST = | 0.37788
|  | TOTAL RESOURCE = | 1.2546
|  | PARTICIPANTS = | 4.5151
TRC Business Motors/Drives | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | bar: Run 1
Winter kW | Run 1: 0.89078
Annual kWh | Run 1: 7922.686
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 3583.5067
Avoided Gen Unit Fixed O&M | Run 1: 683.1163
Avoided Gen Unit Variable O&M | Run 1: 32.4051
Avoided Gen Unit Fuel Cost | Run 1: 16769.8014
Replacement Fuel Cost | Run 1: -18439.2065
Avoided Transmission Cap Cost | Run 1: 2612.2474
Avoided Transmission O&M Cost | Run 1: 248.5698
Avoided Distribution Cap Cost | Run 1: 817.6703
Avoided Distribution O&M Cost | Run 1: 250.1223
Program Fuel Savings | Run 1: 15081.6407
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 0.84415
Replacement Emission Cost | Run 1: -0.94875
Program Emission Benefit | Run 1: 1.257
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 21641.0259
Costs CPVRR $(000):
Utility Program Cost | Run 1: 2944.9505
Participant Equipment Costs | Run 1: 14303.9789
Incentive Cost | Run 1: 4240.0192
Savings in Participants Bills | Run 1: 60343.3224
Energy Charge Revenue Losses | Run 1: 50084.9576
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 57269.9272
Total TRC Costs = | Run 1: 17248.9294
Total Participant Benefits = | Run 1: 64583.3416
RIM Ratio = | Run 1: 0.37788
TRC Ratio = | Run 1: 1.2546
Participant Test Ratio = | Run 1: 4.5151

## TRC Business Refrigeration
FPL 002679
20240012-EG
TRC Business Refrigeration |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 6694.8377 | 1118.3841 | 7813.2218 | 411.7275 | 2010.5212 | 614.0283 | 3036.2769 | 2237.5843
Demand: | 0 | 393.744 | :Administrative
Energy: | 6694.8377 | 724.6401 | :Incentive
|  | RIM TEST = | 0.38863
|  | TOTAL RESOURCE = | 1.154
|  | PARTICIPANTS = | 3.9287
TRC Business Refrigeration | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | bar: Run 1
Winter kW | Run 1: 0.79105
Annual kWh | Run 1: 6674.4878
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 561.0798
Avoided Gen Unit Fixed O&M | Run 1: 106.9574
Avoided Gen Unit Variable O&M | Run 1: 5.0738
Avoided Gen Unit Fuel Cost | Run 1: 2625.6951
Replacement Fuel Cost | Run 1: -2887.0786
Avoided Transmission Cap Cost | Run 1: 408.2782
Avoided Transmission O&M Cost | Run 1: 38.8553
Avoided Distribution Cap Cost | Run 1: 127.7968
Avoided Distribution O&M Cost | Run 1: 39.0979
Program Fuel Savings | Run 1: 2010.5212
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 0.13217
Replacement Emission Cost | Run 1: -0.14855
Program Emission Benefit | Run 1: 0.16784
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 3036.4284
Costs CPVRR $(000):
Utility Program Cost | Run 1: 393.744
Participant Equipment Costs | Run 1: 2237.5843
Incentive Cost | Run 1: 724.6401
Savings in Participants Bills | Run 1: 8066.0695
Energy Charge Revenue Losses | Run 1: 6694.8377
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 7813.2218
Total TRC Costs = | Run 1: 2631.3282
Total Participant Benefits = | Run 1: 8790.7096
RIM Ratio = | Run 1: 0.38863
TRC Ratio = | Run 1: 1.154
Participant Test Ratio = | Run 1: 3.9287

## TRC Business Lighting
FPL 002680
20240012-EG
TRC Business Lighting |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 341841.0707 | 4924.4665 | 346765.5373 | 18233.8391 | 102851.6479 | 27142.3764 | 148227.8634 | 102559.1895
Demand: | 0 | 1127.9041 | :Administrative
Energy: | 341841.0707 | 3796.5624 | :Incentive
|  | RIM TEST = | 0.42748
|  | TOTAL RESOURCE = | 1.4296
|  | PARTICIPANTS = | 4.0528
TRC Business Lighting | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | bar: Run 1
Winter kW | Run 1: 0.88061
Annual kWh | Run 1: 7818.4168
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 24848.081
Avoided Gen Unit Fixed O&M | Run 1: 4736.737
Avoided Gen Unit Variable O&M | Run 1: 224.6976
Avoided Gen Unit Fuel Cost | Run 1: 116282.0169
Replacement Fuel Cost | Run 1: -127857.6935
Avoided Transmission Cap Cost | Run 1: 18047.9545
Avoided Transmission O&M Cost | Run 1: 1717.2158
Avoided Distribution Cap Cost | Run 1: 5649.2648
Avoided Distribution O&M Cost | Run 1: 1727.9413
Program Fuel Savings | Run 1: 102851.6479
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 5.8533
Replacement Emission Cost | Run 1: -6.5786
Program Emission Benefit | Run 1: 8.5621
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 148235.7002
Costs CPVRR $(000):
Utility Program Cost | Run 1: 1127.9041
Participant Equipment Costs | Run 1: 102559.1895
Incentive Cost | Run 1: 3796.5624
Savings in Participants Bills | Run 1: 411856.7117
Energy Charge Revenue Losses | Run 1: 341841.0707
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 346765.5373
Total TRC Costs = | Run 1: 103687.0937
Total Participant Benefits = | Run 1: 415653.2741
RIM Ratio = | Run 1: 0.42748
TRC Ratio = | Run 1: 1.4296
Participant Test Ratio = | Run 1: 4.0528

## TRC Business Water Heating
FPL 002681
20240012-EG
TRC Business Water Heating |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 44200.9149 | 6799.6233 | 51000.5381 | 2543.3873 | 13362.5748 | 3658.888 | 19564.8501 | 13510.405
Demand: | 0 | 2264.5681 | :Administrative
Energy: | 44200.9149 | 4535.0552 | :Incentive
|  | RIM TEST = | 0.38364
|  | TOTAL RESOURCE = | 1.2403
|  | PARTICIPANTS = | 4.2774
TRC Business Water Heating | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | bar: Run 1
Winter kW | Run 1: 1.5349
Annual kWh | Run 1: 8283.2435
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 3465.9895
Avoided Gen Unit Fixed O&M | Run 1: 660.7142
Avoided Gen Unit Variable O&M | Run 1: 31.3424
Avoided Gen Unit Fuel Cost | Run 1: 16219.8539
Replacement Fuel Cost | Run 1: -17834.5127
Avoided Transmission Cap Cost | Run 1: 2434.1045
Avoided Transmission O&M Cost | Run 1: 230.7167
Avoided Distribution Cap Cost | Run 1: 761.9091
Avoided Distribution O&M Cost | Run 1: 232.1577
Program Fuel Savings | Run 1: 13362.5748
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 0.81646
Replacement Emission Cost | Run 1: -0.91763
Program Emission Benefit | Run 1: 1.088
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 19565.8369
Costs CPVRR $(000):
Utility Program Cost | Run 1: 2264.5681
Participant Equipment Costs | Run 1: 13510.405
Incentive Cost | Run 1: 4535.0552
Savings in Participants Bills | Run 1: 53254.1143
Energy Charge Revenue Losses | Run 1: 44200.9149
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 51000.5381
Total TRC Costs = | Run 1: 15774.9731
Total Participant Benefits = | Run 1: 57789.1694
RIM Ratio = | Run 1: 0.38364
TRC Ratio = | Run 1: 1.2403
Participant Test Ratio = | Run 1: 4.2774

## TRC Business Custom
FPL 002682
20240012-EG
TRC Custom |  | Total
|  | Utility |  | Avoided
| Revenue | Program | Total | Generator | Fuel | Avoided | Total | Participant
| Losses | Costs | Costs | Benefits | Benefits | T&D | Benefits | Costs
| 9641.3939 | 1571.2236 | 11212.6175 | 591.0508 | 2895.2841 | 854.6372 | 4340.9721 | 3168.6564
Demand: | 0 | 536.1539 | :Administrative
Energy: | 9641.3939 | 1035.0697 | :Incentive
|  | RIM TEST = | 0.38717
|  | TOTAL RESOURCE = | 1.1718
|  | PARTICIPANTS = | 3.9926
TRC Custom | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11
sensitivities/input changes = | Run 1: base case
Summer kW | bar: Run 1
Winter kW | Run 1: 0.88065
Annual kWh | Run 1: 7027.6713
# of Signups (years) | Run 1: 8
Benefits CPVRR $(000):
Avoided Gen Unit Capacity Cost | Run 1: 805.4518
Avoided Gen Unit Fixed O&M | Run 1: 153.5416
Avoided Gen Unit Variable O&M | Run 1: 7.2836
Avoided Gen Unit Fuel Cost | Run 1: 3769.2875
Replacement Fuel Cost | Run 1: -4144.5136
Avoided Transmission Cap Cost | Run 1: 568.529
Avoided Transmission O&M Cost | Run 1: 53.9069
Avoided Distribution Cap Cost | Run 1: 177.9576
Avoided Distribution O&M Cost | Run 1: 54.2436
Program Fuel Savings | Run 1: 2895.2841
Program Off-Peak Payback | Run 1: 0
Avoided Gen Unit Emission Benefit | Run 1: 0.18974
Replacement Emission Cost | Run 1: -0.21325
Program Emission Benefit | Run 1: 0.238
Off-Peak Emissions Payback Cost | Run 1: 0
Total RIM and TRC Benefits = | Run 1: 4341.1866
Costs CPVRR $(000):
Utility Program Cost | Run 1: 536.1539
Participant Equipment Costs | Run 1: 3168.6564
Incentive Cost | Run 1: 1035.0697
Savings in Participants Bills | Run 1: 11616.1372
Energy Charge Revenue Losses | Run 1: 9641.3939
Demand Charge Revenue Losses | Run 1: 0
Total RIM Costs = | Run 1: 11212.6175
Total TRC Costs = | Run 1: 3704.8103
Total Participant Benefits = | Run 1: 12651.2069
RIM Ratio = | Run 1: 0.38717
TRC Ratio = | Run 1: 1.1718
Participant Test Ratio = | Run 1: 3.9926