## E-11
SCHEDULE | E-11 |  |  | DEVELOPMENT OF COINCIDENT AND NON-COINCIDENT DEMAND FOR COST STUDY | Page 1 of 1
FLORIDA PUBLIC SERVICE COMMISSION |  |  | EXPLANATION: | Provide a description of how coincident and non-coincident demands for the test year | Type of Data Shown:
|  |  |  | were developed. Include an explanation of how the demands at the meter for each class | __X__ Projected Test Year Ended 12/31/27
COMPANY: DUKE ENERGY FLORIDA |  |  |  | were developed and how they were expanded from the meter level to the generation | __X__ Projected Test Year Ended 12/31/26
|  |  |  | level. Provide the workpapers for the actual calculations. If a methodology other than the | __X__ Projected Test Year Ended 12/31/25
DOCKET NO.: 20240025-EI |  |  |  | application of ratios of classes coincident and non-coincident load to actual MWH sales is
|  |  |  | used to derive projected demand, provide justification for the use of the methodology. | Witness: Borsch, Olivier
For purposes of preparing the Jurisdictional Separation Study, coincident monthly peak load information for individual Wholesale
load and the total Retail load is developed in MFR E-10
For purposes of preparing the Allocated Class Cost of Service and Rate of Return Studies, the Company relied on the most recent
Load Research Study for the twelve month period ending December 31, 2022. This information is provided in MFR Schedule E-17. From
this load research data, load factors for each class were derived for application to each class' projected annual MWH sales to derive
the coincident and non-coincident class demands for the test period. These calculations are in MFR E-10.
Supporting Schedules: |  |  |  |  | Recap Schedules: