|  |  |  |  |
| --- | --- | --- | --- |
| State of Florida  pscSEAL | | Public Service Commission  Capital Circle Office Center ● 2540 Shumard Oak Boulevard Tallahassee, Florida 32399-0850  -M-E-M-O-R-A-N-D-U-M- | |
| DATE: | April 24, 2025 | | |
| TO: | Office of Commission Clerk (Teitzman) | | |
| FROM: | Division of Engineering (Sanchez, Ellis)  Office of the General Counsel (Farooqi, Marquez) | | |
| RE: | Docket No. 20250053-EQ – Petition for approval of revisions to standard offer contract and rate schedule COG-2, by Tampa Electric Company. | | |
| AGENDA: | 05/06/25 – Regular Agenda – Tariff Suspension – Participation is at the Commission’s Discretion | | |
| COMMISSIONERS ASSIGNED: | | | All Commissioners |
| PREHEARING OFFICER: | | | Administrative |
| CRITICAL DATES: | | | 05/31/25 (60-Day Suspension Date) |
| SPECIAL INSTRUCTIONS: | | | Staff recommends the Commission simultaneously consider Docket Nos. 20250053-EQ, 20250054-EQ, 20250055-EQ, and 20250056-EQ. |

Case Background

Section 366.91(3), Florida Statutes (F.S.), requires each investor-owned utility to continuously offer to purchase capacity and energy from renewable generating facilities and small qualifying facilities. Rules 25-17.200 through 25-17.310, Florida Administrative Code (F.A.C.), implement the statute and require each investor-owned utility to file with the Commission, by April 1 of each year, a revised standard offer contract based on the next avoidable fossil-fueled generating unit of each technology type identified in the utility’s current Ten-Year Site Plan (TYSP). On April 1, 2025, Tampa Electric Company (TECO) filed a petition for approval of its amended standard offer contract based on its 2025 TYSP.

This is staff’s recommendation to suspend the proposed revisions and associated tariffs. The Commission has jurisdiction over this amended standard offer contract, pursuant to Sections 366.04, 366.041, 366.05, 366.055, 366.06, and 366.91, F.S.

Discussion of Issues

Issue 1:

 Should the Commission suspend TECO's proposed revisions to its standard offer contract and associated tariffs?

Recommendation:

 Yes. Staff recommends that TECO’s proposed revisions to its standard offer contract and associated tariffs be suspended to allow staff sufficient time to review the petition and gather all information in order to present the Commission with an informed recommendation on the tariff proposals. (Sanchez)

Staff Analysis:

 Staff recommends that TECO’s proposed revisions to its standard offer contract and associated tariffs be suspended to allow staff sufficient time to review the petition and gather all information in order to present the Commission with an informed recommendation on the tariff proposals.

Pursuant to Section 366.06(3), F.S., the Commission may withhold consent to the operation of all or any portion of a new rate schedule, delivering to the utility requesting such change a reason or written statement of good cause for doing so within 60 days. Staff believes that the reason stated above is a good cause consistent with the requirement of Section 366.06(3), F.S.

Issue 2:

 Should this docket be closed?

Recommendation:

 No. The docket should remain open pending the Commission’s decision on TECO’s revised standard offer contract. (Farooqi, Marquez)

Staff Analysis:

 The docket should remain open pending the Commission’s decision on TECO’s revised standard offer contract.